## README
AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
Final report for 2019-20
This spreadsheet performs the calculation of the Benchmark Reserve Capacity Price (BRCP). It has been published to improve the transparency of the BRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by GHD, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by GHD.
* The M sheet contains the margin M for legal, financing and approval costs as provided by GHD.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by GHD and Western Power.
The following worksheets perform or display the calculations that lead to the BRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The BRCP_Calculation sheet displays the final BRCP equation and the various input values.

## BRCP_Calculation
BENCHMARK RESERVE CAPACITY PRICE
BRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 149849.8418 | $AUD/MW/Year
Where
BRCP
The Benchmark Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 30143.2019 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 17776436.0318 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 148.5 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 810228.5258 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 17.19% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 148.5 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 175444 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 6803923.691 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2430525.5458 | $AUD
is the Land Cost as determined in step 1.11
WACC | 5.295% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 180893141.2087 | $AUD
WACC | 5.295% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 17776436.0318 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10061200
6 to 10 years |  | 10061200
11 to 15 years |  | 10061200
16 to 20 years |  | 10061200
21 to 25 years |  | 10061200
26 to 30 years |  | 10061200
31 to 35 years |  | 10061200
36 to 40 years |  | 10061200
41 to 45 years |  | 10061200
46 to 50 years |  | 10061200
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200 | 10061200
Yearly Cost |  | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240 | 2012240
WACC |  | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295%
Present Value |  | 1911056.8065 | 1814961.4945 | 1723698.2256 | 1637024.0262 | 1554708.14 | 1476531.4143 | 1402285.716 | 1331773.3781 | 1264806.6726 | 1201207.3115 | 1140805.9718 | 1083441.8446 | 1028962.2071 | 977222.016 | 928083.5214
Total PV (Sum) |  | 10061200 1: 20476568.7461
Anuity |  | 10061200 1: 2012240
Escalation Type |  | 10061200 1: Generation_O&M
Prices as at |  | 10061200 1: 2016-06-30
To be escalated to |  | 10061200 1: 2019-10-01
Escalation (Financial Year ending) | 2017-06-30 | 10061200 1: 2.58%
| 2018-06-30 | 10061200 1: 1.85%
| 2019-06-30 | 10061200 1: 2.33%
| 2020-06-30 | 10061200 1: 2.33%
Cost Per MW Per Year |  | 10061200 1: 14572.0873; 10061200 2: Per MW Per Year
Transmission | bar: 10061200 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 10061200 1
1 to 5 years |  | 10061200 1: 371000
6 to 10 years |  | 10061200 1: 371000
11 to 15 years |  | 10061200 1: 371000
16 to 20 years |  | 10061200 1: 371000
21 to 25 years |  | 10061200 1: 371000
26 to 30 years |  | 10061200 1: 371000
31 to 35 years |  | 10061200 1: 371000
36 to 40 years |  | 10061200 1: 371000
41 to 45 years |  | 10061200 1: 371000
46 to 50 years |  | 10061200 1: 371000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000 | 371000
Yearly Cost |  | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200 | 74200
WACC |  | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295%
Present Value |  | 70468.9376 | 66925.4875 | 63560.2157 | 60364.1627 | 57328.8196 | 54446.1053 | 51708.345 | 49108.2498 | 46638.8975 | 44293.7137 | 42066.4549 | 39951.1911 | 37942.2911 | 36034.4062 | 34222.4572
Total PV (Sum) |  | 371000 1: 755059.7349
Anuity |  | 371000 1: 74200
Escalation Type |  | 371000 1: Connection_O&M
Prices as at |  | 371000 1: 2016-06-30
To be escalated to |  | 371000 1: 2019-10-01
Escalation (Financial Year ending) | 2017-06-30 | 371000 1: 1.6%
| 2018-06-30 | 371000 1: 1.6%
| 2019-06-30 | 371000 1: 1.9%
| 2020-06-30 | 371000 1: 1.9%
Cost Per MW Per Year |  | 371000 1: 528.0999; 371000 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 371000 1
1 to 5 years |  | 371000 1: 23000
6 to 10 years |  | 371000 1: 23000
11 to 15 years |  | 371000 1: 23000
16 to 20 years |  | 371000 1: 23000
21 to 25 years |  | 371000 1: 23000
26 to 30 years |  | 371000 1: 23000
31 to 35 years |  | 371000 1: 23000
36 to 40 years |  | 371000 1: 23000
41 to 45 years |  | 371000 1: 23000
46 to 50 years |  | 371000 1: 23000
51 to 55 years |  | 371000 1: 23000
56 to 60 years |  | 371000 1: 23000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000 | 23000
Yearly Cost |  | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600 | 4600
WACC |  | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295% | 5.295%
Present Value |  | 4368.6942 | 4149.0194 | 3940.3907 | 3742.2527 | 3554.0778 | 3375.365 | 3205.6386 | 3044.4468 | 2891.3602 | 2745.9715 | 2607.8934 | 2476.7585 | 2352.2175 | 2233.9389 | 2121.6079
Total PV (Sum) |  | 23000 1: 46809.6332
Anuity |  | 23000 1: 4600
Escalation Type |  | 23000 1: Connection_O&M
Prices as at |  | 23000 1: 2016-06-30
To be escalated to |  | 23000 1: 2019-10-01
Escalation (Financial Year ending) | 2017-06-30 | 23000 1: 1.6%
| 2018-06-30 | 23000 1: 1.6%
| 2019-06-30 | 23000 1: 1.9%
| 2020-06-30 | 23000 1: 1.9%
Cost Per MW Per Year |  | 23000 1: 32.7393; 23000 2: Per MW Per Year
Asset Insurance Costs | bar: 23000 1
Total cost of Power Stn build | 140998598.2774
Fixed Fuel Costs | 6803923.691
Asset Replacement Insurance Percentage | 0.258%
Terrorism Levy Mark up | 1.026
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 23000 2: Actual MRCP; 23000 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 23000 1: 430369.6098
Estimated BRCP | 149849.7011 | 23000 2: 149849.8418; 23000 3: TRUE
Business interruption insurance |  | 23000 1: 129590.1768
Public and products liability insurance | 114406.875
Annual insurance site survey | 20951.6925 | 23000 1: 143207.8004
Yearly cost |  | 23000 1: 703167.587
Escalation Type |  | 23000 1: CPI
Prices as at |  | 23000 1: 2019-04-01
To be escalated to |  | 23000 1: 2019-10-01
Escalation (Financial Year ending) | 2017-06-30 | bar: 23000 1
2018-06-30 | bar: 23000 1
| 2019-06-30 | 23000 1: 2.25%
| 2020-06-30 | 23000 1: 2.5%
Cost per MW Per Year |  | 23000 1: 4791.153; 23000 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 23000 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00199 | 23000 1: 107862.975
Transmission Metering (unit price is $/meter/day) | 42.3314 | 23000 1: 15450.95
Use of system Charge (unit price is $/kW/day) | 0.02388 | 23000 1: 1294355.7
Total WP Charges |  | 23000 1: 1417669.625
Escalation Type |  | 23000 1: CPI
Prices as at |  | 23000 1: 2016-07-01
To be escalated to |  | 23000 1: 2019-10-01
Escalation (Financial Year ending) | 2017-06-30 | bar: 23000 1
2018-06-30 | bar: 23000 1
| 2019-06-30 | 23000 1: 2.25%
| 2020-06-30 | 23000 1: 2.5%
Cost Per MW Per year |  | 23000 1: 10219.1223; 23000 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 23000 1: 30143.2019
Note on B108: Asset replacement insurance percentage as at 30 June 2015 - then increased by 7.5% for the June 2016 value (as per insurance advice)
Note on B109: Katelyn Rigden: Increased by .06% as per insurance advice
Note on B110: Katelyn Rigden: https://www.finance.wa.gov.au/cms/State_Revenue/Duties/Insurance_Duty.aspx
Note on B114: As at 30 June 2015 Calculated as Premium (plus 7.5% as per 2016 insurance advice) + 10% stamp duty
Note on B115: As at 30 June 2015 escalated to April 2019 (CPI) as per insurnace advice
Note on B133: WP price list 2016-17 section 6.3.3 Control system services Table 16
Note on B134: WP price list 2016-17 metering prices table 18
Note on B135: WP price access Table 14 - Muja PWS highest price of power stations located in the regions listed in the Market Procedure.

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 2.57 | 0.0257
Expected Inflation (%) | Annual | 2.39 | 0.0239
Real risk free rate of return (%) | Annual | 0.1758 | 0.001758
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.22 | 0.0222
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 4.915%
Nominal post-tax Cost of Equity (Nominal return on equity) | 7.55%
WACC (Nominal) | 7.811%
WACC (Real) | 5.295%

## PC
PC
GHD Total EPC Cost ($) |  | 116849050
Capacity (MW) |  | 148.5
Total Cost Per MW |  | 786862.2896
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2016-06-30
To be escalated to |  | 2019-04-01
Escalation (Financial Year ending) | 2017-06-30 | -1.01%
| 2018-06-30 | 2.51%
| 2019-06-30 | 1.96%
PC |  | 810228.5258

## M
M
Total M as a percentage of CAPEX | 17.19%

## TC
TC (Western Power Costing)
Total Transmission Costs | 175444
Escalation type | Transmission_Connection
Prices as at | 2019-04-01
To be escalated to | 2019-04-01
Escalation | -0.02%
TC | 175444

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 5997000
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 434000
Total |  | 6431000
Escalation Type |  | CPI
Prices as at |  | 2016-06-30
To be escalated to |  | 2019-04-01
Escalation (Financial Year ending) | 2017-06-30 | 2%
| 2018-06-30 | 2%
| 2019-06-30 | 2.25%
FFC |  | 6803923.691

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://rol.osr.wa.gov.au/Calculators/faces/Calculators?_afrLoop=482854060468439&_afrWindowMode=0&_adf.ctrl-state=1bjwmmsfw6_4
Pinjar | 3 | 1500000 | 225665 | 4725665
Kwinana | 3 | 2100000 | 318365 | 6618365
Kemerton | 5 | 300000 | 71165 | 1571165
Collie | 3 | 100000 | 10165 | 310165
Geraldton | 3 | 125000 | 13727.5 | 388727.5
Eneabba | 3 | 35000 | 2280 | 107280
Kalgoorlie | 3 | 750000 | 109790 | 2359790
Average Cost |  |  |  | 2297308.2143
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2016-06-30
To be escalated to |  |  |  | 2019-04-01
Escalation |  | Financial year ending | 2017-06-30 | 2%
|  |  | 2018-06-30 | 2%
|  |  | 2019-06-30 | 2.25%
LC |  |  |  | 2430525.5458
Average Land Parcel Cost | 2297308.2143
Average Land Cost | 765769.4048
Total easement cost as at 30 June 2016 | 4594616.4286
Total easement cost as at 30 June 2017 | 4686508.7571
Note on C3: Neetika Kapani: Based on Landgate report
Note on D3: Use Transfer duty Calculator Rate Type: General Rate
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2017-06-30 | 2018-06-30 | 2019-06-30 | 2020-06-30
Power_Station_Capital | -1.01% | 2.51% | 1.96% | 2.81%
Generation_O&M | 2.58% | 1.85% | 2.33% | 2.33%
Connection_O&M | 1.6% | 1.6% | 1.9% | 1.9%
CPI | 2% | 2% | 2.25% | 2.5%
Transmission_Connection | -0.02% | -0.02% | -0.02% | -0.02%