## README
IMO Calculation Spreadsheet for Maximum Reserve Capacity Price (2015/16) - Draft Report
This spreadsheet performs the calculation of the Maximum Reserve Capacity Price (MRCP). It has been published to improve the transparency of the MRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by SKM, Western Power and the IMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by the IMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by SKM.
* The M sheet contains the margin M for legal, financing and approval costs as provided by SKM.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by SKM.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by SKM and Western Power.
The following worksheets perform or display the calculations that lead to the MRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The MRCP_Calculation sheet displays the final MRCP equation and the various input values.

## MRCP_Calculation
MAXIMUM RESERVE CAPACITY PRICE
MRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 152831.1919 | $AUD/MW/Year
Where
MRCP
The Maximum Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 34054.9224 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 18956692.6134 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 159.6 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 829446.7467 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 18.77% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 159.6 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 115124 | $AUD
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 7069232.0816 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2693872.2795 | $AUD
is the Land Cost as determined in step 1.11
WACC | 5.492% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 190385950.8595 | $AUD
WACC | 5.492% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 18956692.6134 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (SKM Power Station Elements - Table 3-2)
1 to 5 years |  | 10463467
6 to 10 years |  | 10463467
11 to 15 years |  | 10463467
16 to 20 years |  | 10463467
21 to 25 years |  | 10463467
26 to 30 years |  | 10463467
31 to 35 years |  | 10463467
36 to 40 years |  | 10463467
41 to 45 years |  | 10463467
46 to 50 years |  | 10463467
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467 | 10463467
Yearly Cost |  | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4 | 2092693.4
WACC |  | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492%
Present Value |  | 1983754.1057 | 1880485.8618 | 1782593.4506 | 1689797.0225 | 1601831.296 | 1518444.7995 | 1439399.1519 | 1364468.3819 | 1293438.2813 | 1226105.7931 | 1162278.4308 | 1101773.7281 | 1044418.7173 | 990049.4351 | 938510.4534
Total PV (Sum) |  | 10463467 1: 21017348.909
Anuity |  | 10463467 1: 2092693.4
Escalation Type |  | 10463467 1: Generation_O&M
Prices as at |  | 10463467 1: 2012-06-30
To be escalated to |  | 10463467 1: 2015-10-01
Escalation (Financial Year ending) | 2013-06-30 | 10463467 1: 3.79%
| 2014-06-30 | 10463467 1: 3.6%
| 2015-06-30 | 10463467 1: 3.61%
| 2016-06-30 | 10463467 1: 3.62%
Cost Per MW Per Year |  | 10463467 1: 14740.5555; 10463467 2: Per MW Per Year
Transmission | bar: 10463467 1
Switchyard O&M Costs (SKM Non Power Station Elements - Table 4-1) | bar: 10463467 1
1 to 5 years |  | 10463467 1: 290000
6 to 10 years |  | 10463467 1: 290000
11 to 15 years |  | 10463467 1: 290000
16 to 20 years |  | 10463467 1: 290000
21 to 25 years |  | 10463467 1: 290000
26 to 30 years |  | 10463467 1: 290000
31 to 35 years |  | 10463467 1: 290000
36 to 40 years |  | 10463467 1: 290000
41 to 45 years |  | 10463467 1: 290000
46 to 50 years |  | 10463467 1: 290000
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000 | 290000
Yearly Cost |  | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000 | 58000
WACC |  | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492%
Present Value |  | 54980.6953 | 52118.5664 | 49405.4314 | 46833.5339 | 44395.5217 | 42084.425 | 39893.637 | 37816.8948 | 35848.2615 | 33982.1094 | 32213.1035 | 30536.1866 | 28946.565 | 27439.6943 | 26011.2668
Total PV (Sum) |  | 290000 1: 582505.8925
Anuity |  | 290000 1: 58000
Escalation Type |  | 290000 1: Connection_O&M
Prices as at |  | 290000 1: 2012-06-30
To be escalated to |  | 290000 1: 2015-10-01
Escalation (Financial Year ending) | 2013-06-30 | 290000 1: 4.32%
| 2014-06-30 | 290000 1: 4.32%
| 2015-06-30 | 290000 1: 4.32%
| 2016-06-30 | 290000 1: 4.32%
Cost Per MW Per Year |  | 290000 1: 417.0278; 290000 2: Per MW Per Year
Transmission Line O&M Costs (SKM Non Power Station Elements - Table 4-2) | bar: 290000 1
1 to 5 years |  | 290000 1: 5650
6 to 10 years |  | 290000 1: 5650
11 to 15 years |  | 290000 1: 5650
16 to 20 years |  | 290000 1: 5650
21 to 25 years |  | 290000 1: 5650
26 to 30 years |  | 290000 1: 5650
31 to 35 years |  | 290000 1: 5650
36 to 40 years |  | 290000 1: 5650
41 to 45 years |  | 290000 1: 5650
46 to 50 years |  | 290000 1: 5650
51 to 55 years |  | 290000 1: 5650
56 to 60 years |  | 290000 1: 5650
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650 | 5650
Yearly Cost |  | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130 | 1130
WACC |  | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492% | 5.492%
Present Value |  | 1071.1756 | 1015.4134 | 962.5541 | 912.4464 | 864.9472 | 819.9207 | 777.2381 | 736.7774 | 698.423 | 662.0652 | 627.6001 | 594.9292 | 563.9589 | 534.6009 | 506.7712
Total PV (Sum) |  | 5650 1: 11348.8217
Anuity |  | 5650 1: 1130
Escalation Type |  | 5650 1: Connection_O&M
Prices as at |  | 5650 1: 2012-06-30
To be escalated to |  | 5650 1: 2015-10-01
Escalation (Financial Year ending) | 2013-06-30 | 5650 1: 4.32%
| 2014-06-30 | 5650 1: 4.32%
| 2015-06-30 | 5650 1: 4.32%
| 2016-06-30 | 5650 1: 4.32%
Cost Per MW Per Year |  | 5650 1: 8.1249; 5650 2: Per MW Per Year
Asset Insurance Costs | bar: 5650 1
Asset replacement insurance |  | 5650 1: 690678.9466
Public and products liability insurance |  | 5650 1: 129382.2789
Business interruption insurance |  | 5650 1: 0
Yearly cost |  | 5650 1: 820061.2255
Escalation Type |  | 5650 1: CPI
Prices as at |  | 5650 1: 2015-04-01
To be escalated to |  | 5650 1: 2015-10-01
Escalation (Financial Year ending) | 2013-06-30 | 5650 1: 3.25%
| 2014-06-30 | 5650 1: 2.5%
| 2015-06-30 | 5650 1: 2.5%
| 2016-06-30 | 5650 1: 2.5%
Cost per MW Per Year |  | 5650 1: 5202.1461; 5650 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 5650 1
Western Power Charges
Control system service charge (unit price is $/kW/day) | 0.00133 | 5650 1: 77477.82
Transmission Metering (unit price is $/meter/day) | 42.3314 | 5650 1: 15450.95
Use of system Charge (unit price is $/kW/day) | 0.03276 | 5650 1: 1908401.04
Total WP Charges |  | 5650 1: 2001329.81
Escalation Type |  | 5650 1: CPI
Prices as at |  | 5650 1: 2012-07-01
To be escalated to |  | 5650 1: 2015-10-01
Escalation (Financial Year ending) | 2013-06-30 | 5650 1: 3.25%
| 2014-06-30 | 5650 1: 2.5%
| 2015-06-30 | 5650 1: 2.5%
| 2016-06-30 | 5650 1: 2.5%
Cost Per MW Per year |  | 5650 1: 13687.0682; 5650 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 5650 1: 34054.9224
Note on B128: Greg Ruthven: Price for Bluewaters - the maximum rate for power stations located in the regions listed in the Market Procedure
Note on C107: Greg Ruthven: This cell calculated as: $120,000 as at 30 June 2012, escalated forward to 1 April 2015 for consistency with the Asset replacement insurance above. 2% mark-up for terrorism levy 10% mark-up for stamp duty (also applies to terrorism levy)
Note on C108: Greg Ruthven: Included within the asset replacement insurance
Note on C106: Greg Ruthven: Includes business interruption insurance Premium calculated as 0.28% of maximum liability, price as at 1 April 2015. Maximum liability calculated as (PC x (1+M) x CC) + FFC (non-fuel portion) + 2 years of capacity refunds (2 x $153,400 x CAP) 2% mark-up for terrorism levy 10% mark-up for stamp duty (also applies to terrorism levy)

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 3.13 | 0.0313
Expected Inflation (%) | Annual | 2.57 | 0.0257
Real risk free rate of return (%) | Annual | 0.55 | 0.0055
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.94 | 0.0294
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.5 | 0.5
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 6.195%
Nominal post-tax Cost of Equity (Nominal return on equity) | 8.11%
WACC (Nominal) | 8.203%
WACC (Real) | 5.492%

## PC
PC
SKM Total EPC Cost ($) |  | 121748821
Capacity (MW) |  | 159.6
Total Cost Per MW |  | 762837.2243
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2012-06-30
To be escalated to |  | 2015-04-01
Escalation (Financial Year ending) | 2013-06-30 | 1.62%
| 2014-06-30 | 4.39%
| 2015-06-30 | 3.33%
PC |  | 829446.7467

## M
M
Total M as a percentage of CAPEX | 18.77%

## TC
TC (Western Power Costing)
Total Transmission Costs | 115124
Escalation type | Transmission_Connection
Prices as at | 2015-04-01
To be escalated to | 2015-04-01
Escalation | -2.91%
TC | 115124

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility intallation |  | 5812800
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 743800
Total |  | 6556600
Escalation Type |  | CPI
Prices as at |  | 2012-06-30
To be escalated to |  | 2015-04-01
Escalation (Financial Year ending) | 2013-06-30 | 3.25%
| 2014-06-30 | 2.5%
| 2015-06-30 | 2.5%
FFC |  | 7069232.0816

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Assessed Value
Pinjar | 3 | 1785521.6667 | 5356565
Kwinana | 3 | 2416421.6667 | 7249265
Kemerton | 5 | 261658 | 1308290
Collie | 3 | 103388.3333 | 310165
Geraldton | 3 | 155763.3333 | 467290
Eneabba | 3 | 40950 | 122850
Kalgoorlie | 3 | 891746.6667 | 2675240
Average Cost |  |  | 2498523.5714
Escalation Type |  |  | CPI
Prices as at |  |  | 2012-06-30
To be escalated to |  |  | 2015-04-01
Escalation | Financial year ending | 2013-06-30 | 3.25%
|  | 2014-06-30 | 2.5%
|  | 2015-06-30 | 2.5%
LC |  |  | 2693872.2795
Note on C5: van Niekerk: These numbers have been updated based on the 2012 Landgate report

## ESCALATION_FACTORS
ESCALATION FACTORS
Financial Year ending
| 2013-06-30 | 2014-06-30 | 2015-06-30 | 2016-06-30
Power_Station_Capital | 1.62% | 4.39% | 3.33% | 2.85%
Generation_O&M | 3.79% | 3.6% | 3.61% | 3.62%
Connection_O&M | 4.32% | 4.32% | 4.32% | 4.32%
CPI | 3.25% | 2.5% | 2.5% | 2.5%
Transmission_Connection | -2.91% | -2.91% | -2.91% | -2.91%
Note on B5: van Niekerk: As per SKM report dated 30/10/2012
Note on B9: As per WP report dated 8/10/2012
Note on B8: Greg Ruthven: As per Reserve Bank of Australia Statement on Monetary Policy, November 2012