## All Regions Summary
All Regions Summary
There are currently over 600 MW of committed projects across the NEM, including the Mortons Lane wind farm (20.3 MW), the Macarthur Wind Farm (420 MW) and the Qenos Cogeneration Facility (21 MW) in Victoria, the Eraring Power Station Upgrade (60 MW) in New South Wales, and Musselroe Wind Farm (168 MW) in Tasmania.
Gas projects represent the highest technology interest (by capacity), with nearly 15,000 MW proposed across the NEM that AEMO is aware of, with more than half of the gas projects proposed from Queensland. Wind powered generation developments represent the second highest investment interest with over 14,000 MW across the NEM. Publicly announced proposals totalled over 34,500 MW spread across all regions.
In this report, references to winter indicate the period 1 June–31 August, and references to summer indicate the period 1 November–31 March. In Tasmania the summer period covers 1 December–28 February.
The table below summarises the projected available scheduled and semi-scheduled generation capacity in each region to meet the projected maximum demand in summer 2012–13 and winter 2013.
Available capacities for 2012–13
Region | Summer (MW) | Winter (MW)
| 2012–13 | 2013
Queensland | 12209 | 12495
New South Wales | 16327 | 16388
Victoria | 11311 | 11738
South Australia | 4091 | 4433.1
Tasmania | 2601 | 2682
NEM Total | 46539 | 47736.1
Generation Projects - completed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Oaklands Hill Wind Farm Pty Ltd | Oaklands Hill | 67.2 | Wind | 2012-02-01
Origin Energy Power Limited | Mortlake Stage 1 | 566 | Gas - OCGT | 2011-07-01
South Australia
Eurus Energy | Hallett 5 (The Bluff) | 52.5 | Wind | 2011-12-01
Generation Projects - completed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 1) | 60 | Steam Turbine - Black Coal | 2012
Generation Projects - committed new developments since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
Victoria
Macarthur Wind Farm Unincorporated Joint Venture | Macarthur | 420 | Wind | 2013-01-01
Mortons Lane Wind Farm Pty Ltd | Mortons Lane | 19.5 | Wind | TBA
AGL | Qenos Cogeneration Facility | 21 | Gas - CCGT | 2012-10-01
Tasmania
Hydro Tasmania Wind Operations Pty Ltd | Musselroe | 168 | Wind | 2013-06-01
Generation Projects - committed upgrades since 2011
Registered Participant | Power Station | Project Capacity (MW) | Fuel/Technology | Commissioning Date
New South Wales
Eraring Energy | Eraring - Upgrade (Unit 4) | 60 | Steam Turbine - Black Coal | 2012-10-01

## New South Wales Summary
New South Wales Summary
Committed project developments
AEMO has not been advised of any scheduled or semi-scheduled generation projects in New South Wales that are currently classified as committed according to AEMO’s commitment criteria.
Plant retirements
Munmorah Power Station: Delta Electricity advises that Munmorah plant will retire in July 2012.
Changes since the 2011 ESOO (existing generation)
Eraring Power Station: Eraring Energy advises that the upgrade of unit 1 and 4 are progressing as follows:
• Unit 1 is now complete.
• Unit 4 upgrade is expected to be completed by October 2012.
Hume Power Station: Hume has two units located near the Victoria and New South Wales border, which can be dispatched to either region. Eraring Energy has requested that Hume be treated as two separate generators, where half the capacity is being dispatched to Victoria and the other half to New South Wales.
Tallawarra Power Station: TRUEnergy advises that the Tallawarra's available capacity has been revised from 420 MW to 435 MW (+15 MW) in winter due to improvements to its cooling system.
Wallerawang C Power Station: TRUEnergy advises that Wallerawang C's available capacity has been revised from 960 MW to 1,000 MW (+40 MW) for both summer and winter, as the plant can contract for 1,000 MW, although normal operation is 960 MW.
Plant limitations
Blowering Power Station: Snowy Hydro Ltd advises that Blowering's available capacity has been revised from 80 MW to 0 MW (-80 MW) in winter 2013, due to a controls refurbishment project.
Guthega Power Station: Snowy Hydro Ltd advises that Guthega's available capacity has been revised from 64 MW to 38 MW (-26 MW) in summer 2020-21, due to major unit refurbishment.
Upper Tumut Power Station: Snowy Hydro advises that Upper Tumut‘s output will be limited to:
• 534 MW during summer 2016–17 to 2019-20 due to consecutive outages of Unit 5, Unit 6, Unit 7 and Unit 8, and
• 544 MW during winters 2013 to 2016 due to consecutive outages of Unit 1, Unit 2, Unit 3, and Unit 4.

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register as a generator. A generating system’s registered capacity is the nominal megawatt (MW) capacity registered with AEMO.
The registered capacity is often the same as a generating system’s nameplate capacity. The nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. The nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating systems are classified as scheduled, semi-scheduled, or non-scheduled.
Scheduled (S) generation refers to any generating system with an aggregate nameplate capacity of 30 MW or more, unless classified as semi-scheduled, or AEMO is permitted to classify it as non-scheduled.
Semi-scheduled (SS) generation refers to any generating system with intermittent output (such as wind or run-of-river hydro) with an aggregate nameplate capacity of 30 MW or more. A semi-scheduled classification gives AEMO the power to limit generation output that may exceed network capabilities, but reduces the participating generator’s requirement to provide information.
Non-scheduled (NS) generation refers to generating systems with an aggregate nameplate capacity of less than 30 MW and equal to or greater than 5 MW.
Generating systems greater than 30 MW may be classified as non-scheduled if:
· the primary purpose of the generating unit is for local use and the aggregate sent-out generation rarely exceeds 30 MW, or
· it is not practicable for the generating unit to participate in central dispatch.
A generating unit that has a nameplate rating less than 30 MW may also be exempted by AEMO if it exports less than 20 GWh into the grid in a year or extenuating circumstances apply.
Measuring generation capacity
Generation capacity can be measured as either:
· as-generated capacity, representing the output measured at a generating unit’s terminals, or
· sent-out capacity, representing the output after allowing for the consumption of some energy by auxiliary equipment (used to help produce and transmit the electricity).
For more information about the basis for measuring generation.
For the purposes of the ESOO and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis. Non-scheduled generation is measured as sent-out because it can include co-generation plants, where the bulk of the capacity is consumed by the local process.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant, which includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency with increasing temperature.
Temperature can affect plant generation capacities in different ways. Basing generation capacities on a region-specific reference temperature facilitates a more effective assessment of the capability of the available generation under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO in consultation with the Jurisdictional Planning Bodies (JPBs):
· uses historical data to estimate the typical weather conditions, and to determine reference temperatures that are frequently associated with times of 10% probability of exceedence (POE) maximum demand in the major load centres for each region, and
· asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer, with the exception of Tasmania, where the maximum demand periods occur during winter. The summer maximum demands in Tasmania occur during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Project proposals involve a range of projects at different stages of development.
Generation is categorised as:
· existing generation, representing generation that is commissioned and operating and requires that the operator be a registered market participant
· committed projects, representing generation that is considered to be proceeding, or
· proposed projects, which are further identified as either:
- advanced proposals, representing generation at an intermediate stage of development, or
- publicly announced proposals, representing generation at an early stage of development.
Projects are categorised based on AEMO’s commitment criteria, which cover site acquisition, contracts for major components, planning approval, financing, and the date set for construction. Committed projects meet all five of the commitment criteria, advanced proposals meet at least three, and publicly announced proposals meet less than three.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of the major components of plant or equipment (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning consents/construction approvals/EIS | The proponent has obtained all required planning consents, construction approvals, and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Final construction date set | Construction of the proposal must either have commenced or a firm commencement date must have been set.

## Existing S & SS Generation
Existing & committed scheduled generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Bayswater | Macquarie Generation | 4 x 660 | 2640 | Steam Sub Critical | Black Coal | S
Blowering | Snowy Hydro Ltd | 1 x 70 | 70 | Hydro - Gravity | Water | S
Colongra | Delta Electricity | 4 x 181 | 724 | OCGT | Natural Gas Pipeline | S
Eraring | Eraring Energy | 3 x 720 1 x 660 | 2820 | Steam Sub Critical | Black Coal | S
Gunning | Gunning Wind Energy Developments | 31 x 1.5 | 46.5 | Wind | Wind | SS
Guthega | Snowy Hydro Ltd | 2 x 30 | 60 | Hydro - Gravity | Water | S
Hume NSW | Eraring Energy | 1 x 29 | 29 | Hydro - Gravity | Water | S
Hunter Valley GT | Macquarie Generation | 2 x 25 | 50 | OCGT | Fuel Oil | S
Liddell | Macquarie Generation | 4 x 500 | 2000 | Steam Sub Critical | Black Coal | S
Mt Piper | Delta | 2 x 700 | 1400 | Steam Sub Critical | Black Coal | S
Redbank | Redbank Energy Ltd | 1 x 143.8 | 143.8 | Steam Sub Critical | Black Coal | S
Shoalhaven | Eraring Energy | 2 x 40 2 x 80 | 240 | Pump Storage | Water | S
Smithfield Energy Facility | Smithfield Power Partnership | 1 x 62 3 x 36.3 | 170.9 | CCGT | Natural Gas Pipeline | S
Tallawarra | TRUenergy Tallwarra Pty Ltd | 1 x 420 | 420 | CCGT | Natural Gas Pipeline | S
Tumut 3 | Snowy Hydro Ltd | 6 x 250 | 1500 | Hydro - Gravity | Water | S
Upper Tumut | Snowy Hydro Ltd | 4 x 96 4 x 84 | 720 | Hydro - Gravity | Water | S
Uranquinty | Origin Energy Uranquinty Power Pty.Ltd. | 4 x 166 | 664 | OCGT | Natural Gas Pipeline | S
Vales Point B | Delta Electricity | 2 x 660 | 1320 | Steam Sub Critical | Black Coal | S
Wallerawang C | Delta | 2 x 500 | 1000 | Steam Sub Critical | Black Coal | S
Woodlawn | Woodlawn Wind Pty Ltd | 23 x 2.1 | 48.3 | Wind | Wind | SS
Committed
Eraring (Upgrade) | Eraring Energy | 1 x 60 | 60 | Steam Sub Critical | Black Coal | S
Total |  |  | 16126.5

## Existing Wind Generation
Existing & commited wind generation
Power Station | Owner | Unit Numbers and Nameplate Capacity (MW) | Installed | Plant Type | Fuel | Dispatch Type
Capacity (MW)
Gunning | Gunning Wind Energy Developments | 31 x 1.5 | 46.5 | Wind | Wind | SS
Woodlawn | Woodlawn Wind Pty Ltd | 23 x 2.1 | 48.3 | Wind | Wind | SS
Blayney | Eraring Energy | 15 x 0.66 | 9.9 | Wind | Wind | NS
Capital Wind Farm | Renewable Power Ventures Pty Ltd | 67 x 2.1 | 140.7 | Wind | Wind | NS
Crookwell | Eraring Energy | 8 x 4.6 | 4.8 | Wind | Wind | NS
Cullerin Range | Cullerin Range Wind Farm Pty. Ltd. | 15 x 2 | 30 | Wind | Wind | NS
Kooragang | Ausgrid | 1 x 0.6 | 0.6 | Wind | Wind | NS
Total |  |  | 280.8

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation – New South Wales (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Bayswater | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 34 | 34 | S
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Hunter Valley GT | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | S
Liddell | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | S
Tallawarra | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 616 | 616 | 616 | 616 | 534 | 534 | 534 | 534 | 616 | 616 | S
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Total | 16326.8 | 16326.8 | 16326.8 | 16326.8 | 16244.8 | 16244.8 | 16244.8 | 16244.8 | 16292.8 | 16292.8
The table above list the latest summer capacities for New South Wales generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 2.2% of the installed capacity during summer, and 4.6% during winter.
The two tables below have been included to better represent the supply availability in New South Wales, by taking into account the firm contribution by wind. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Summer total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation – New South Wales (MW)
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Bayswater | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | 668 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 34 | 34 | S
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S
Hunter Valley GT | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | 44 | S
Liddell | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | 145 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | 162 | S
Tallawarra | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 616 | 616 | 616 | 616 | 534 | 534 | 534 | 534 | 616 | 616 | S
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Firm Wind Capacity | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | 2.0856 | SS
Total | 16234.0856 | 16234.0856 | 16234.0856 | 16234.0856 | 16152.0856 | 16152.0856 | 16152.0856 | 16152.0856 | 16200.0856 | 16200.0856
Summer aggregate available semi-scheduled capacity by power station
Power Station | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | Dispatch Type
Barcaldine | –13 | –14 | –15 | –16 | –17 | –18 | –19 | –20 | –21 | -22 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Total | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation – New South Wales (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Bayswater | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S
Hunter Valley GT | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S
Liddell | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | S
Tallawarra | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 544 | 544 | 544 | 544 | 616 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Total | 16387.8 | 16387.8 | 16387.8 | 16387.8 | 16459.8 | 16459.8 | 16459.8 | 16459.8 | 16459.8 | 16459.8
The table above list the latest winter capacities for New South Wales generation.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the firm contribution from wind generators during peak periods. For 2011-12 these figures have been updated to 2.2% of the installed capacity during summer, and 4.6% during winter.
The two tables below have been included to better represent the supply availability in New South Wales, by taking into account the firm contribution by wind. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm wind generation. The Winter total available semi-scheduled capacity by power station table lists the total available capacity for semi-scheduled wind generation for the summer period. The total available refers to the maximum amount that can be generated from the wind farms at the summer reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation – New South Wales (MW)
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Bayswater | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | 2760 | S
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S
Guthega | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S
Hunter Valley GT | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | S
Liddell | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | 2060 | S
Mt Piper | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | 1340 | S
Redbank | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | S
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S
Smithfield Energy Facility | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | 178 | S
Tallawarra | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | 435 | S
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S
Upper Tumut | 544 | 544 | 544 | 544 | 616 | 616 | 616 | 616 | 616 | 616 | S
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S
Wallerawang C | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | S
Firm Wind Capacity | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | 4.3608 | SS
Total | 16297.3608 | 16297.3608 | 16297.3608 | 16297.3608 | 16369.3608 | 16369.3608 | 16369.3608 | 16369.3608 | 16369.3608 | 16369.3608
Winter total available semi-scheduled capacity by power station
Project Station | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | Dispatch Type
Gunning | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS
Total | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8 | 94.8

## New Developments
Projects under development – New South Wales
Project | Owner | Unit ID | Fuel Type | Generation Type | Land | Equip | Plan | Finance | Date | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Commissioning Start Date
Bango Wind Farm | Bango Wind Farm Pty Ltd | up to 150 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Bamarang Power station | Infratil Energy Australia Pty Ltd | All Units | Natural Gas Pipeline | OCGT | ü |  |  |  |  | Pub An | 320 | S | TBA
Bannaby Gas Fired Power Station | Snowy Hydro Ltd | 1 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 600 | S | TBA
Bayswater B | Macquarie Generation | All Units | Black Coal | TBA | ü |  |  |  |  | Pub An | 2000 | S | TBA
Ben Lomond | AGL Energy | 1-67 | Wind | Wind | [5 empty] | Pub An | 200 | SS | TBA
Birrema Wind Farm | Epuron Pty Ltd | Units 1-80 | Wind | Wind | [5 empty] | Pub An | 240 | SS | TBA
Boco Rock | Boco Rock Wind Farm Pty Ltd | All Units | Wind | Wind | [5 empty] | Pub An | 270 | SS | TBA
Bodangora Wind Farm | Infigen Energy | All Units | Wind | Wind | [5 empty] | Pub An | 100 | SS | TBA
Box Hill | AGL Energy | All Units | Wind | Wind | [5 empty] | Pub An | 25 | NS | TBA
Broken Hill | AGL Energy | All Units | Solar | PV panels | [5 empty] | Pub An | 53 | SS | TBA
Buronga | International Power Pty Ltd | station | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 150 | S | TBA
Capital 2 Wind Farm | Infigen Energy | Units 1-33 | Wind | Wind | [5 empty] | Pub An | 112 | SS | 2014-04-01
Capital East Solar Farm | Infigen Energy | Inverter 1 | Solar | PV panels | ü |  |  |  |  | Pub An | 1 | NS | 2012-09-01
Capital Solar Farm | Infigen Suntech Australia Pty Ltd | All Units | Solar | PV panels | [5 empty] | Pub An | 50 | SS | TBA
Collector | Ratch Australia | Station | Wind | Wind | [5 empty] | Pub An | 120-235 | SS | TBA
Conroys Gap | Origin Energy | 1-15 | Wind | Wind | [5 empty] | Pub An | 30 | SS | TBA
Crookwell 2 | Crookwell Development Pty Ltd | Units 1-46 | Wind | Wind | [5 empty] | Pub An | 92 | SS | TBA
Crookwell 3 | Crookwell Development Pty Ltd | Units 1-30 | Wind | Wind | [5 empty] | Pub An | 102 | SS | TBA
Crudine Ridge Wind Farm | Crudine Ridge Wind Farm Pty Ltd | 1-106 | Wind | Wind | [5 empty] | Pub An | 159-261 | SS | TBA
Dalton | AGL | 1-2 | Natural Gas Pipeline | OCGT | ü |  |  | ü |  | Pub An | 500 | S | TBA
Eden Wind Farm | Epuron Projects | All Units | Wind | Wind | [5 empty] | Pub An | 14 | NS | TBA
Eraring (Upgrade) | Eraring Energy | 4 | Black Coal | Steam Sub Critical | ü | ü | ü | ü | ü | Com | 60 | S | 2012-10-01
Flyers Creek Wind Farm | Infigen Energy | Units 1-43 | Wind | Wind | [5 empty] | Pub An | 108-120 | SS | 2015-04-01
Glen Innes Wind Farm | Glen Innes WindPower Pty Ltd | Units 1-25 | Wind | Wind | ü |  |  |  |  | Pub An | 50-75 | SS | TBA
Gloucester Gas Project | AGL Energy | All Units | Natural Gas - Unprocessed | Compression Reciprocating Engine | [5 empty] | Pub An | 15 | SS | TBA
Golspie Wind Farm | Golspie Wind Farm Pty Ltd | 1-100 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Gullen Range | Gullen Range Wind Farm Pty Ltd | Units 1-73 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Kerrawawy GT | Origin Energy | 1 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 1000 | S | TBA
Kyoto Energy Park | Pamada Pty Ltd | Units 1-20 | Wind | Wind | [5 empty] | Pub An | 32 | SS | TBA
|  | Units 21-25 | Wind | Wind | [5 empty] | Pub An | 13.75 | SS | TBA
Leafs Gully | AGL Energy | 2 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 360 | S | TBA
Liverpool Range Wind Farm | EPURON PTY LTD | Units 1-270 | Wind | Wind | [5 empty] | Pub An | 810 | SS | TBA
Manildra Photovoltaic Solar Farm | Infigen Suntech Australia Pty Ltd | All Units | Solar | PV panels | [5 empty] | Pub An | 50 | SS | TBA
Marulan - OCGT | TRUenergy | All Units | Natural Gas Pipeline | OCGT | ü |  |  |  | ü | Pub An | 700 | S | TBA
Mildura Solar Farm | Infigen Energy | Inverters 1-237 | Solar | PV panels | [5 empty] | Pub An | 180 | SS | 2017-01-01
Moree Photovoltaic Solar Farm | Infigen Energy | Inverters 1-79 | Solar | PV panels | [5 empty] | Pub An | 60 | SS | 2016-04-01
Munmorah Rehabilitation | Delta Electricity | 1-2 | Black Coal | Steam Sub Critical | ü |  |  |  |  | Pub An | 700 | S | TBA
Nyngan Solar Farm | AGL Energy | All Units | Solar | PV panels | [5 empty] | Pub An | 106 | SS | TBA
Nyngan Photovoltaic Solar Farm | Infigen Suntech Australia Pty Ltd | All Units | Solar | PV panels | [5 empty] | Pub An | 100 | SS | TBA
Paling Yards | Union Fenosa Wind Australia | Units 1-65 | Wind | Wind | [5 empty] | Pub An | 221 | SS | TBA
Parkes Peaking | International Power Pty. Ltd. | 1-3 | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | 150 | S | TBA
Rye Park | Epuron Pty Ltd | 1 - 110 | Wind | Wind | [5 empty] | Pub An | 220-240 | SS | TBA
Sapphire Wind Farm | Sapphire Wind Farm Pty Ltd | 1-159 | Wind | Wind | [5 empty] | Pub An | 238-425 | SS | TBA
Silverton Wind Farm | Silverton Wind Farm Developments Pty Ltd | 1-598 | Wind | Wind | [5 empty] | Pub An | 897 | SS | TBA
Tallawarra B | TRUenergy | All Units | Natural Gas Pipeline | CCGT | ü |  |  |  |  | Pub An | 450 | S | TBA
Taralga | RES Southern Cross Pty Ltd | 1-61 | Wind | Wind | ü |  | ü |  |  | Pub An | 122 | SS | 2013-09-30
Tomago GT | Macquarie Generation | station | Natural Gas Pipeline | OCGT | [5 empty] | Pub An | TBA | S | TBA
Uungula Wind Farm | Uungula Wind Farm Pty Ltd | 1-250 | Wind | Wind | [5 empty] | Pub An | TBA | SS | TBA
Wellington | ERM Power Limited | 1 | Coal Seam Methane | OCGT | [5 empty] | Pub An | 275 | S | TBA
|  | 2 | Coal Seam Methane | OCGT | [5 empty] | Pub An | 275 | S | TBA
White Rock Wind Farm | White Rock Wind Farm Pty Ltd | 1-119 | Wind | Wind | [5 empty] | Pub An | 238 | SS | TBA
Yass Valley Wind Farm | Origin Energy | All Units | Wind | Wind | [5 empty] | Pub An | 222 | SS | TBA

## Non-Scheduled Generation
Existing non-scheduled generation – New South Wales
Power Station | Owner | Fuel Type | Technology Type | Nameplate Capacity (MW)
101 Miller St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 2.4
133 Castleragh St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
40 Mount St | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Appin | EDL CSM NSW Pty Ltd | Waste Coal Mine Gas | Spark Ignition Reciprocating Engine | 59.74
Awaba | LMS Generation | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.123
Bankstown Sports Club | Bankstown Sports Club | Diesel | Compression Reciprocating Engine | 2.14
Belconnen | EDL LFG ACT Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.03
Blackmores | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Blayney | Eraring Energy | Wind | Wind | 9.9
Broadwater | Ferrier Hodgeson, Sunshine Electricity joint venture in receivership | Bagasse | Steam Sub Critical | 30
Broken Hill GT | Essential Energy | Diesel | OCGT | 50
Brown Mountain | Eraring Energy | Water | Hydro - Gravity | 5.35
Burrendong | AGL | Water | Hydro - Gravity | 18
Burrinjuck | Eraring Energy | Water | Hydro - Gravity | 27.2
Capital Wind Farm | Renewable Power Ventures Pty Ltd | Wind | Wind | 140.7
Charlestown Square Cogeneration | GPT RE Limited | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 2.808
Club Merrylands | Club Merrylands | Diesel | TBA | 0.8
Condong | Ferrier Hodgeson, Sunshine Electricity joint venture in receivership | Bagasse | Steam Sub Critical | 30
Copeton | AGL | Water | Hydro - Gravity | 20
Crookwell | Eraring Energy | Wind | Wind | 4.8
Cullerin Range | Cullerin Range Wind Farm Pty. Ltd. | Wind | Wind | 30
EarthPower Biomass Plant | EarthPower Technologies Sydney Pty Ltd | Biomass recycled municipal and industrial materials | Spark Ignition Reciprocating Engine | 3.9
Eastern Creek | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 5
Eastern Creek 2 Gas Utilisation Facility | LMS Generation PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 7.7
Eraring GT | Eraring Energy | Diesel | OCGT | 42
Erskine Park | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.4
Glenbawn | AGL | Water | Hydro - Gravity | 5
Grange Ave | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1.26
Grange Avenue | AGL Energy | Landfill Methane / Landfill Gas | Compression Reciprocating Engine | 2
Hunter Economic Zone | Infratil Energy Australia Pty Ltd | Diesel | Compression Reciprocating Engine | 29
Jacks Gully | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.3
Jacks Gully | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.3
Jindabyne | Snowy Hydro Ltd | Water | Hydro - Gravity | 1.1
Jounama | Snowy Hydro Ltd | Water | Hydro - Gravity | 14.4
Keepit | Eraring Energy | Water | Hydro - Gravity | 6.5
Kooragang | Ausgrid | Wind | Wind | 0.6
Lucas Heights I | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 5.39
Lucas Heights II | EDL LFG NSW Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 4.1
Mugga Lane | EDL LFG ACT Pty Ltd | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 3.09
Nine Network Willoughby | Nine Network | Diesel | Compression Reciprocating Engine | 3.2
Nymboida | Essential Energy | Water | Hydro - Gravity | 33.6
Oaky | Essential Energy | Water | Hydro - Gravity | 4.8
Pindari | AGL | Water | Hydro - Gravity | 5.7
Revesby Workers Club | Revesby Workers Club | Diesel | Compression Reciprocating Engine | 2.5
St George Leagues Club | St George Leagues Club | Diesel | Compression Reciprocating Engine | 1.48
Summer Hill | LMS Generation PTY LTD | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 2.2
Tahmoor | Envirogen Pty Lld | Coal Seam Methane | CCGT | 7
The Drop | Pacific Hydro Investments Pty Ltd | Water | Hydro - Gravity | 2.5
Tower | EDL NSW CSM Pty Ltd | Waste Coal Mine Gas | Spark Ignition Reciprocating Engine | 41.2
UNSW | Cogent Energy | Natural Gas Pipeline | Spark Ignition Reciprocating Engine | 0.8
Warragamba | Eraring Energy | Water | Hydro - Gravity | 50
West Illawarra Leagues Club | Wests Illawarra Leagues Club | Diesel | Compression Reciprocating Engine | 0.99
West Nowra Landfill Gas Power Generation Facility | AGL | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 1
Western Suburbs League Club Campbelltown | Western Suburbs League Club Campbelltown | Diesel | Compression Reciprocating Engine | 1.32
Wilga Park A | Santos | Waste Coal Mine Gas | Compression Reciprocating Engine | 4
Wilga Park Power Station | Santos | Natural Gas - Unprocessed | Spark Ignition Reciprocating Engine | 10
Woodlawn Bioreactor Energy Generation | Veolia Environmental Services Aust P/L | Landfill Methane / Landfill Gas | Spark Ignition Reciprocating Engine | 4.26
Wyangala A | Hydro Power Pty Ltd | Water | Hydro - Gravity | 20
Wyangala B | AGL | Water | Hydro - Gravity | 4
Total |  |  |  | 774.981