## New South Wales Summary
NSW
Disclaimer
This document is subject to an important disclaimer that limits or excludes AEMO's liability.
Please read the full disclaimer at:
http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information
Data presented is current as at 1 July 2018
New South Wales Summary
Changes since last update
Beryl Solar Farm: FS NSW Project No 1 AT Pty Ltd advises that Beryl Solar Farm (98.4 MW) is now a committed project.
Coleambally Solar Farm: Coleambally Solar Farm (180 MW) is now reported as committed since Neoen advises that it has commenced construction.
Crudine Ridge Wind Farm: Crudine Ridge Wind Farm (135 MW) is now reported as committed since CRWF Nominees Pty Ltd advises that it has commenced construction.
Generation withdrawals
Withdrawn
None to report.
Announced withdrawals (i.e. Mothballed, Seasonal Shut down etc.)
Liddell Power Station: AGL Energy Limited advises that Liddell C Power Station (2000 MW) is to shut down in 2022.
Committed projects
Coal, Diesel, CCGT, OCGT, Gas other, Water, Biomass, Geo-thermal, Other : None to report.
Solar: Beryl Solar Farm (98.4 MW), Coleambally Solar Farm (180 MW)
Wind: Bodangora Wind Farm (113 MW), Crookwell 2 Wind Farm (91 MW), Crudine Ridge Wind Farm (135 MW).
Proposed projects
Please refer to information presented in the worksheet titled 'New Developments'.
Plant limitations
AEMO has not been advised of any plant limitations for this region.
New South Wales existing and potential new developments by generation type (MW)
| Status | Coal | CCGT | OCGT | Gas other | Solar* | Wind | Water | Biomass | Storage | Other | Total
| Existing | 10160 | 605.9 | 1530 | 147.268 | 452.0227 | 1307 | 2706.1 | 162.874 | 0 | 9.13 | 17080.2947
| Announced Withdrawal | 2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2000
| Existing less Announced Withdrawal | 8160 | 605.9 | 1530 | 147.268 | 452.0227 | 1307 | 2706.1 | 162.874 | 0 | 9.13 | 15080.2947
| Upgrade | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100
| Committed | 0 | 0 | 0 | 0 | 278.4 | 339.19 | 0 | 0 | 0 | 0 | 617.59
| Proposed | 0 | 15 | 0 | 975 | 6799.9 | 5444.52 | 2000 | 180.6 | 0 | 28.8 | 15443.82
| Withdrawn | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note: Existing includes Announced Withdrawal
* Solar excludes rooftop PV installations

## Change Log
New South Wales Change Log
Lists all updates to new development projects and existing generation information since the 2012 ESOO.
Publication date: | 2012-12-20
Eraring Power Station: Eraring Energy advises that the upgrade of unit 4 was completed in November 2012.
Publication date: | 2013-02-22
Wallerawang Power Station: Energy Australia advises that the Wallerawang plant has revised its available capacity from 1,000 MW to 500 MW (-500 MW) for summer 2013–14 and winter 2013, due to the unit with DUID (dispatchable unit ID) WW7 being unavailable and only being brought back into service under extreme weather conditions.
Colongra Power Station: Delta Electricity advises that the Colongra plant available capacity has been revised from 668 MW to 724 MW (+56 MW) in summer, based on operating with distillate fuel.
Publication date: | 2013-06-30
Wallerawang Power Station: Energy Australia advises that the Wallerawang plant available capacity has been revised from 500 MW to 1,000 MW (+500 MW) in summer 2013–14, where both units are available dependant on demand.
Liddell Power Station: Energy Australia advises that the Liddell plant available capacity has been revised from 2,060 MW to 2,020 MW (-40 MW) in summer and winter due to a reassessment of plant capacity.
Tallawarra Power Station: Energy Australia advises that the Tallawarra plant's available capacity has been revised from 435 MW to 440 MW (+5 MW) in winter.
Gullen Range Wind Farm: Gullen Range Wind Farm Pty Ltd advises that this is a committed project. Construction at the site has commenced and commissioning is planned for July 2014.
Capital East Solar Farm P1: Infigen's Capital East Solar Farm demonstration facility is a committed project. Construction at site has commenced.
Publication date: | 2013-08-13
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that this is a committed project. Construction of the first phase of 113 MW at the site has commenced and commissioning is planned for December 2014.
Taralga Wind Farm: CBD Energy/Banco Santander advises that this 106.7 MW Wind Farm is a committed project. Construction at the site has commenced and commissioning is planned for October 2014.
Publication date: | 2013-11-15
Capital East Solar Farm P1: Infigen's Capital East Solar Farm (0.13 MW) demonstration facility project is was completed in June 2013.
Broken Hill: AGL Energy Limited advises that both the Broken Hill (53 MW) large-scale solar photovoltaic (PV) project is set to proceed after achieving financial close. Construction of the Broken Hill project is expected to commence in July 2014, and is scheduled to be completed around November 2015.
Nyngan: AGL Energy Limited advises that both the Nyngan (102 MW) large-scale solar photovoltaic (PV) projects is set to proceed after achieving financial close. Construction of the Nyngan project is expected to commence in February 2014, with completion scheduled by mid 2015.
Royalla Solar Farm: Royalla Asset Pty Ltd ATF Royalla Asset Trust advises that Royalla Solar Farm (20 MW) in ACT is now classified as a committed project, and construction at the site has commenced, with full commissioning planned for August 2014.
Onesun Capital Solar Farm: Elementus Energy Pty Ltd advises that Onesun Capital Solar Farm (7 MW) in ACT expects construction to commence in June 2014, with full commissioning planned for April 2015.
Mugga Lane Solar Facility: Zhenfa Canberra Solar Farm One Pty Ltd advises that Mugga Lane Solar Facility (13 MW) in ACT expects construction to commence in June 2014, with full commissioning planned for Q4 2014.
Publication date: | 2014-02-28
Nyngan Solar Plant: AGL Engergy Limited advises the Nyngan Solar Plant (102 MW solar) is now classified as a committed project. Construction has commenced, and full commissioning is planned for July 2015.
Jupiter Wind Farm Project: EPYC Pty Ltd has announced the Jupiter Wind Farm Project (up to 100 wind turbines). If approved, construction and commissioning of the wind farm near Tarago would be completed by the end of 2016. The capacity of the project is yet to be advised.
Wallerawang C: EnergyAustralia advises that Wallerawang C unit 7 (500 MW black coal) has been removed from service in January 2014. Unit 8 (500 MW) will remain available until the end of March 2014, and will then be placed on a three-month recall should market conditions change.
Publication date: | 2014-05-30
Bayswater Power Station: Macquarie Generation advises that the Bayswater Power Station available capacity has been revised from 2,720 MW to 2,700 MW (-20 MW) in summer and winter due to a reassessment of plant capacity.
Guthega Power Station: Snowy Hydro Ltd advises that Guthega's available capacity has been revised from 68 MW to 34 MW (-34 MW) for summer 2022–23, due to major refurbishment of unit 1; and 68 MW to 34 MW (-34 MW) for summer 2023–24, due to major refurbishment of unit 2.
Broken Hill Solar Plant: AGL PV Solar Development Pty Limited advises that Broken Hill Solar Plant (53 MW) is a committed project. Construction of the 53 MW at the site is to commence in July 2014 and commissioning is planned for August 2015.
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that Boco Rock Wind Farm (113 MW) is a committed project. Construction of the first phase at the site has commenced and commissioning is planned for March 2015.
Publication date: | 2014-08-07
Moree Solar Farm: Moree Solar Farm advises that Moree Solar Farm (56 MW) is a committed project. Construction is to commence in July 2014 and commissioning is planned for February 2016.
OneSun Capital: Elementus Energy Pty Ltd advises that OneSun Capital (10 MW) construction is to commence in October 2014 and commissioning is planned for April 2015.
Publication date: | 2014-12-10
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that Boco Rock Wind Farm (113 MW) is a committed project. Construction of the first phase at the site has commenced and commissioning is planned for January 2015.
Taralga Wind Farm: CBD Energy/Banco Santander advises that Taralga Wind Farm (106.7 MW) is a committed project. Construction at the site has commenced and commissioning is planned for May 2015.
Royalla Solar Farm: Royalla Asset Pty Ltd ATF Royalla Asset Trust advises that Royalla Solar Farm (20 MW) is a committed project. Construction has commenced, and full commissioning is planned for February 2015.
Moree Solar Farm: Moree Solar Farm advises that Moree Solar Farm (56 MW) is a committed project. Construction commenced in November 2014 and commissioning is planned for February 2016.
Wallerawang C Power Station: EnergyAustralia advises that Wallerawang C Power Station (1000 MW black coal) has been removed from service in January 2014 (Unit 8 500 MW) and March 2014 (Unit 7 500 MW), and will permanently closed and decommissioned.
Redbank Power Station: Redbank Energy Ltd advises that Redbank Power Station (143.8 MW black coal) has been removed from service from August 2014 and shut down. There are no future plans at this stage for Redbank to return to service.
Gullen Range Wind Farm: Gullen Range Wind Farm Pty Ltd advises that Gullen Range Wind Farm (165.5 MW) project has been completed and in full commercial operation since November 2014.
Wilga Park Power Station B: Santos advises the Wilga Park Power Station B (6 MW) project has been completed and in full commercial operation since September 2014.
Publication date: | 2015-04-15
Taralga Wind Farm: CBD Energy/Banco Santander advises that Taralga Wind Farm (106.7 MW) is under construction and full commercial operation is planned for May 2015.
Moree Solar Farm: Moree Solar Farm advises that Moree Solar Farm (56 MW) is under construction since November 2014 and full commercial operation is planned for the end of March 2016.
Boco Rock Wind Farm: Boco Rock Wind Farm Pty Ltd advises that Boco Rock Wind Farm (113 MW) has been completed and in full commercial operation since March 2015.
Royalla Solar Farm: Royalla Asset Pty Ltd ATF Royalla Asset Trust advises that Royalla Solar Farm (20 MW) has been completed and in full commercial operation since February 2015.
Wilga Park Power Station B: Santos advises the Wilga Park Power Station B (6 MW) project has been completed and in full commercial operation since January 2015.
Gullen Range Solar Project: Goldwind Australia Pty Ltd advises has announced plans to add a solar plant at the Gullen Range wind farm site.
Publication date: | 2015-08-13
Taralga Wind Farm: CBD Energy/Banco Santander advises that Taralga Wind Farm (106.7 MW) has been completed and in full commercial operation since May 2015.
Nyngan Solar Plant: AGL Energy Limited advises the Nyngan Solar Plant (102 MW) has been completed and in full commercial operation since July 2015.
Wallerawang C Power Station: EnergyAustralia advises that Wallerawang C Power Station (1000 MW black coal) has permanently closed in November 2014.
Liddell Power Station: AGL Energy Limited advises that Liddell C Power Station (2000 MW) is to shut down in 2022.
SmithField Energy Facility: Smithfield Power Partnership advises that SmithField Energy Facility 170.9 MW) is to retire in 2017.
Redbank Power Station: Redbank Energy Ltd advises that Redbank Power Station (143.8 MW black coal) has been removed from service from August 2014 and shut down. There are no future plans at this stage for Redbank to return to service.
Publication date: | 2015-10-23
Broken Hill Solar Plant: AGL PV Solar Development Pty Limited advises that Broken Hill Solar Plant (53 MW) has been in full commercial operation since October 2015.
Publication date: | 2016-03-03
SmithField Energy Facility: Smithfield Power Partnership advises that SmithField Energy Facility 170.9 MW) is to close on 31 July 2017.
Moree Solar Farm: Moree Solar Farm advises that Moree Solar Farm (56 MW) full commercial operation is planned for the end of March 2016.
New Development: Gidginbung Solar Farm, White Rock Solar Farm, Manildra Solar Farm, Capital Solar Farm, Parkes Solar Farm, Griffith Solar Farm, Dubbo Solar Hub, Griffith Solar Farm.
Publication date: | 2016-04-15
SmithField Energy Facility: Smithfield Power Partnership advises that SmithField Energy Facility 170.9 MW) is to close on 31 July 2017.
Moree Solar Farm: Moree Solar Farm advises that Moree Solar Farm (56 MW) full commercial operation is planned for the end of March 2016.
New Development: Gidginbung Solar Farm, White Rock Solar Farm, Manildra Solar Farm, Capital Solar Farm, Parkes Solar Farm, Griffith Solar Farm, Dubbo Solar Hub, Griffith Solar Farm.
Publication date: | 2016-08-11
Moree Solar Farm: Moree Solar Farm Pty Ltd advises that Moree Solar Farm (56 MW) has been completed and is in full commercial operation since late March 2016.
White Rock Wind Farm: Goldwind Australia advises that White Rock Wind Farm (175 MW) is a committed project.
Williamsdale Solar Farm: Elementus Energy Ptd Ltd. advises that Williamsdale Solar Farm (10MW) is a committed project.
Mugga Lane Solar Park: Zhenfa Canberra Solar Farm One advises that Mugga Lane Solar Park (13MW) is a committed project.
New Development: Gullen Solar Project, Narromine Solar Farm, South Keswick Solar Farm, Boco Rock Wind Farm (expansion), Woodlawn Bioreactor Energy Generation (expansion).
Publication date: | 2016-11-18
Eraring GT: AEMO has corrected the entry on the worksheet titled 'Existing NS Generation' to show OCGT for the Technology Type. This also updates the capacity totals shown below, moving 42 MW of Existing/Existing less announced withdrawal capacity from the "Other" category to the "OCGT" category.
Publication date: | 2017-02-27
Griffith Solar Farm: Griffith Solar Farm Pty Ltd advises that Griffith Solar Farm (29 MW) is now a committed project.
Parkes Solar Farm: Parkes Solar Farm Pty Ltd advises that Parkes Solar Farm (55 MW) is now a committed project.
Williamsdale Solar Farm: OneSun advises that Williamsdale Solar Farm (10MW) is now completed and is undergoing commissioning tests with full commercial operation expected in March 2017.
Woodlawn Bioreactor Energy Generation (expansion): AEMO has corrected the capacity totals shown below to include this existing new development (7.455 MW) in the Biomass (Proposed) category.
Publication date: | 2017-06-05
Manildra Photovoltaic Solar Farm: Manildra Prop Pty Ltd as trustee for the Manildra Asset Trust advises that Manildra Photovoltaic Solar Farm (50 MW) is now a committed project.
Gullen Range Solar Farm: New Gullen Range Wind Farm Pty Ltd advises that Gullen Range Solar Farm (10 MW) is now a committed project.
Mugga Lane Solar Park: Mugga Lane Solar Park Pty Ltd advises that Mugga Lane Solar Park (13 MW) is now an existing generator with full commercial operation having commenced in 2017.
Publication date: | 2017-12-22
Smithfield Energy Facility: Visy Power Generation advises that Smithfield Energy Facility, which closed in July 2017, has been brought back into service with up to 109 MW of capacity available, with a further 62 MW available on recall with lead time to be determined.
Bodangora Wind Farm: Bodangora Wind Farm (113 MW) is now reported as committed since Infigen Energy has advised construction has commenced.
Silverton Wind Farm: PARF Company Pty Ltd as trustee for the Silverton Project Trust advises that Silverton Wind Farm (198.94 MW) is now a committed project.
White Rock Solar Farm: White Rock Solar Farm (20 MW) is now reported as committed since White Rock Wind Farm Pty Ltd has advised construction has commenced.
Sapphire Wind Farm Phase 1 and 2: Sapphire Wind Farm Pty Ltd advises that Sapphire Wind Farm Phase 1 and 2 (270 MW) is now committed.
Hunter Economic Zone Diesel: Hunter Economic Zone Diesels (28.8 MW) is now reported at committed as Snowy Hydro Ltd advises construction has commenced.
Crookwell 2 Wind Farm: Crookwell 2 Wind Farm (91 MW) is reported as committed as Crookwell Development Pty Ltd has advised construction has commenced.
Bayswater: AGL has advised Bayswater Power Station will increase capacity by 25 MW each Winter from 2019 to 2022
Publication date: | 2017-03-16
None to report.
Publication date: | 2018-07-31
Beryl Solar Farm: FS NSW Project No 1 AT Pty Ltd advises that Beryl Solar Farm (98.4 MW) is now a committed project.
Coleambally Solar Farm: Coleambally Solar Farm (180 MW) is now reported as committed since Neoen advises that it has commenced construction.
Crudine Ridge Wind Farm: Crudine Ridge Wind Farm (135 MW) is now reported as committed since CRWF Nominees Pty Ltd advises that it has commenced construction.
Note: Updated “Background Information” with changes to categories of proposed generation in the NEM.

## Existing S & SS Generation
Existing & committed scheduled and semi-scheduled generation
Power Station | Owner | Unit Number and Nameplate Capacity (MW) | Nameplate Capacity (MW) | Technology Type | Fuel Type | Dispatch Type | Service Status | Region | summary_status | summary_bucket
Bayswater | AGL Energy | 4 x 660 | 2640 | Steam Sub Critical | Black Coal | S | In Service | NSW | Existing less Announced Withdrawal | Coal
Blowering | Snowy Hydro Ltd | 1 x 80 | 80 | Hydro - Gravity | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Boco Rock Wind Farm | Electricity Generating Public Company Limited | 9 x 1.6 58 x 1.7 | 113 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Broken Hill Solar Plant | PARF Company 6 Pty Limited | 40 x 1.325 | 53 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Colongra | Snowy Hydro Ltd | 4 x 181 | 724 | OCGT | Natural Gas Pipeline | S | In Service | NSW | Existing less Announced Withdrawal | OCGT
Eraring | Origin Energy Eraring Pty Ltd | 4 x 720 | 2880 | Steam Sub Critical | Black Coal | S | In Service | NSW | Existing less Announced Withdrawal | Coal
Gullen Range Solar Farm | New Gullen Range Wind Farm Pty Ltd | 4 x 2.5 | 10 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Gullen Range Wind Farm | New Gullen Range Wind Farm Pty Ltd | 17 x 1.5 56 x 2.5 | 165.5 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Gunning Wind Farm | Gunning Wind Energy Developments | 31 x 1.5 | 46.5 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Guthega | Snowy Hydro Ltd | 2 x 30 | 60 | Hydro - Gravity | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Hume NSW | GSP Energy Pty Ltd | 1 x 29 | 29 | Hydro - Gravity | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Hunter Valley GT | AGL Energy | 2 x 25 | 50 | OCGT | Diesel | S | In Service | NSW | Existing less Announced Withdrawal | OCGT
Liddell | AGL Energy | 4 x 500 | 2000 | Steam Sub Critical | Black Coal | S | Announced Withdrawal | NSW | Announced Withdrawal | Coal
Manildra Photovoltaic Solar Farm | Manildra Prop Pty Ltd as trustee for the Manildra Asset Trust | 20 x 2.5 | 50 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Moree Solar Farm | Moree Solar Farm Pty Ltd | 56 x 1 | 56 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Mt Piper | EnergyAustralia | 2 x 660 | 1320 | Steam Sub Critical | Black Coal | S | In Service | NSW | Existing less Announced Withdrawal | Coal
Nyngan Solar Plant | PARF Company 6 Pty Limited | 77 x 1.325 | 102 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Parkes Solar Farm | Parkes Solar Farm Pty Ltd | 1 x 50.5 | 50.5 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
Sapphire Wind Farm | SWF Nominees Pty Ltd as Trustee for SWF Asset Trust | 75 x 3.6 | 270 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Shoalhaven | Origin Energy Eraring Pty Ltd | 2 x 40 2 x 80 | 240 | Pump Storage | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Silverton Wind Farm | PARF Company 8 Pty Ltd as trustee for the Silverton Project Trust | 58 x 3.43 | 199 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Smithfield Energy Facility | Visy Power Generation | 3 x 36.3 1 x 62 | 170.9 | CCGT | Natural Gas Pipeline | S | In Service | NSW | Existing less Announced Withdrawal | CCGT
Tallawarra | EnergyAustralia | 1 x 435 | 435 | CCGT | Natural Gas Pipeline | S | In Service | NSW | Existing less Announced Withdrawal | CCGT
Taralga Wind Farm | Energy Pacific Vic Pty Ltd | 9 x 3 21 x 1.8 21 x 2 | 106.8 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Tumut 3 | Snowy Hydro Ltd | 6 x 250 | 1500 | Hydro - Gravity | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Upper Tumut | Snowy Hydro Ltd | 4 x 72 4 x 82 | 616 | Hydro - Gravity | Water | S | In Service | NSW | Existing less Announced Withdrawal | Water
Uranquinty | Origin Energy Uranquinty Power Pty Ltd | 4 x 166 | 664 | OCGT | Natural Gas Pipeline | S | In Service | NSW | Existing less Announced Withdrawal | OCGT
Vales Point B | Delta Electricity | 2 x 660 | 1320 | Steam Sub Critical | Black Coal | S | In Service | NSW | Existing less Announced Withdrawal | Coal
White Rock Solar Farm | White Rock Wind Farm Pty Ltd | 8 x 2.5 | 20 | PV panels | Solar | SS | In Service | NSW | Existing less Announced Withdrawal | Solar
White Rock Wind Farm - Stage 1 | White Rock Wind Farm Pty Ltd | 70 x 2.5 | 172.5 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Woodlawn Wind Farm | Woodlawn Wind Pty Ltd | 23 x 2.1 | 48.3 | Wind - Onshore | Wind | SS | In Service | NSW | Existing less Announced Withdrawal | Wind
Total |  |  | 16192

## Summer Scheduled Capacities
Summer aggregate available scheduled and semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Bayswater | 2520 | 2545 | 2570 | 2595 | 2620 | 2620 | 2620 | 2620 | 2620 | 2620 | S | Fossil | NSW | summer
Beryl Solar Farm | 0 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | SS | Solar | NSW | summer
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S | Hydro | NSW | summer
Boco Rock Wind Farm | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | SS | Wind | NSW | summer
Bodangora Wind Farm | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | SS | Wind | NSW | summer
Broken Hill Solar Plant | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | SS | Solar | NSW | summer
Coleambally Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | NSW | summer
Colongra | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | S | Fossil | NSW | summer
Crookwell 2 Wind Farm | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | SS | Wind | NSW | summer
Crudine Ridge Wind Farm | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | SS | Wind | NSW | summer
Eraring | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S | Fossil | NSW | summer
Gullen Range Solar Farm | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | SS | Solar | NSW | summer
Gullen Range Wind Farm | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS | Wind | NSW | summer
Gunning Wind Farm | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS | Wind | NSW | summer
Guthega | 34 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Hydro | NSW | summer
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S | Hydro | NSW | summer
Hunter Valley GT | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Fossil | NSW | summer
Liddell | 1800 | 1800 | 1800 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | NSW | summer
Manildra Photovoltaic Solar Farm | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | SS | Solar | NSW | summer
Moree Solar Farm | 55.6 | 55.2 | 54.8 | 54.4 | 54.1 | 53.7 | 53.3 | 52.9 | 52.6 | 52.2 | SS | Solar | NSW | summer
Mt Piper | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | S | Fossil | NSW | summer
Nyngan Solar Plant | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | SS | Solar | NSW | summer
Parkes Solar Farm | 50.5 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | NSW | summer
Sapphire Wind Farm | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | SS | Wind | NSW | summer
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S | Hydro | NSW | summer
Shoalhaven Expansion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | summer
Silverton Wind Farm | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | SS | Wind | NSW | summer
Smithfield Energy Facility | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | S | Fossil | NSW | summer
Tallawarra | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | S | Fossil | NSW | summer
Taralga Wind Farm | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS | Wind | NSW | summer
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S | Hydro | NSW | summer
Upper Tumut | 616 | 544 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | S | Hydro | NSW | summer
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S | Fossil | NSW | summer
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S | Fossil | NSW | summer
White Rock Solar Farm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SS | Solar | NSW | summer
White Rock Wind Farm - Stage 1 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | SS | Wind | NSW | summer
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS | Wind | NSW | summer
Total | 15964.679 | 16177.779 | 16274.379 | 16298.979 | 14523.679 | 14523.279 | 14522.879 | 14522.479 | 14522.179 | 14521.779
The table above lists the latest Summer capacities for New South Wales generation. Summer conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 6.7% of the installed capacity during summer, and 3.7% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 to 2017.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in the New South Wales. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in New South Wales, by taking into account the firm contribution by semi-scheduled generation. The Summer aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Summer aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Summer period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Summer reference temperatures.
Summer aggregate scheduled and firm semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Bayswater | 2520 | 2545 | 2570 | 2595 | 2620 | 2620 | 2620 | 2620 | 2620 | 2620 | S | Fossil | NSW | summer
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S | Hydro | NSW | summer
Colongra | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | 648 | S | Fossil | NSW | summer
Eraring | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | 2720 | S | Fossil | NSW | summer
Guthega | 34 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Hydro | NSW | summer
Hume NSW | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | 29 | S | Hydro | NSW | summer
Hunter Valley GT | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | S | Fossil | NSW | summer
Liddell | 1800 | 1800 | 1800 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | NSW | summer
Mt Piper | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | 1300 | S | Fossil | NSW | summer
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S | Hydro | NSW | summer
Shoalhaven Expansion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | summer
Smithfield Energy Facility | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | S | Fossil | NSW | summer
Tallawarra | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | 378 | S | Fossil | NSW | summer
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S | Hydro | NSW | summer
Upper Tumut | 616 | 544 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | 616 | S | Hydro | NSW | summer
Uranquinty | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | 640 | S | Fossil | NSW | summer
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S | Fossil | NSW | summer
Firm Wind Capacity | 82.603 | 91.648 | 91.648 | 91.648 | 91.648 | 91.648 | 91.648 | 91.648 | 91.648 | 91.648
Firm Solar Capacity | bar: 2018-19 to 2027-28
Total | 14346.602 | 14342.647 | 14439.647 | 14464.647 | 12689.647 | 12689.647 | 12689.647 | 12689.647 | 12689.647 | 12689.647
Summer aggregate available semi-scheduled generation
Power Station | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24 | 2024-25 | 2025-26 | 2026-27 | 2027-28 | Dispatch Type | FuelType | Region | Season
Beryl Solar Farm | 0 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | 87 | SS | Solar | NSW | summer
Boco Rock Wind Farm | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | 104.09 | SS | Wind | NSW | summer
Bodangora Wind Farm | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | SS | Wind | NSW | summer
Broken Hill Solar Plant | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | SS | Solar | NSW | summer
Coleambally Solar Farm | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | SS | Solar | NSW | summer
Crookwell 2 Wind Farm | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | SS | Wind | NSW | summer
Crudine Ridge Wind Farm | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | SS | Wind | NSW | summer
Gullen Range Solar Farm | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | SS | Solar | NSW | summer
Gullen Range Wind Farm | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS | Wind | NSW | summer
Gunning Wind Farm | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS | Wind | NSW | summer
Manildra Photovoltaic Solar Farm | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | 46.7 | SS | Solar | NSW | summer
Moree Solar Farm | 55.6 | 55.2 | 54.8 | 54.4 | 54.1 | 53.7 | 53.3 | 52.9 | 52.6 | 52.2 | SS | Solar | NSW | summer
Nyngan Solar Plant | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | SS | Solar | NSW | summer
Parkes Solar Farm | 50.5 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | 55 | SS | Solar | NSW | summer
Sapphire Wind Farm | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | 187 | SS | Wind | NSW | summer
Silverton Wind Farm | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | SS | Wind | NSW | summer
Taralga Wind Farm | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS | Wind | NSW | summer
White Rock Solar Farm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SS | Solar | NSW | summer
White Rock Wind Farm - Stage 1 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | SS | Wind | NSW | summer
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS | Wind | NSW | summer
Total (Wind) | 1232.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88 | 1367.88
Total (Solar) | 467.8 | 558.9 | 558.5 | 558.1 | 557.8 | 557.4 | 557 | 556.6 | 556.3 | 555.9

## Winter Scheduled Capacities
Winter aggregate available scheduled and semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Bayswater | 2640 | 2665 | 2690 | 2715 | 2740 | 2740 | 2740 | 2740 | 2740 | 2740 | S | Fossil | NSW | winter
Beryl Solar Farm | 0 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | SS | Solar | NSW | winter
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S | Hydro | NSW | winter
Boco Rock Wind Farm | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | SS | Wind | NSW | winter
Bodangora Wind Farm | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | SS | Wind | NSW | winter
Broken Hill Solar Plant | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | SS | Solar | NSW | winter
Coleambally Solar Farm | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | SS | Solar | NSW | winter
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S | Fossil | NSW | winter
Crookwell 2 Wind Farm | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | SS | Wind | NSW | winter
Crudine Ridge Wind Farm | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | SS | Wind | NSW | winter
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S | Fossil | NSW | winter
Gullen Range Solar Farm | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | SS | Solar | NSW | winter
Gullen Range Wind Farm | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS | Wind | NSW | winter
Gunning Wind Farm | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS | Wind | NSW | winter
Guthega | 34 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Hydro | NSW | winter
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | winter
Hunter Valley GT | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | S | Fossil | NSW | winter
Liddell | 1800 | 1800 | 1800 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | NSW | winter
Manildra Photovoltaic Solar Farm | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | SS | Solar | NSW | winter
Moree Solar Farm | 44.7 | 44.4 | 44.1 | 43.8 | 43.4 | 43.1 | 42.8 | 42.5 | 42.2 | 41.9 | SS | Solar | NSW | winter
Mt Piper | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | NSW | winter
Nyngan Solar Plant | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | SS | Solar | NSW | winter
Parkes Solar Farm | 50.5 | 53.5 | 53.2 | 52.9 | 52.7 | 52.5 | 52.3 | 52.1 | 51.9 | 51.8 | SS | Solar | NSW | winter
Sapphire Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | NSW | winter
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S | Hydro | NSW | winter
Shoalhaven Expansion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | winter
Silverton Wind Farm | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | SS | Wind | NSW | winter
Smithfield Energy Facility | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | S | Fossil | NSW | winter
Tallawarra | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | S | Fossil | NSW | winter
Taralga Wind Farm | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS | Wind | NSW | winter
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S | Hydro | NSW | winter
Upper Tumut | 616 | 616 | 616 | 616 | 544 | 544 | 616 | 616 | 616 | 616 | S | Hydro | NSW | winter
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S | Fossil | NSW | winter
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S | Fossil | NSW | winter
White Rock Solar Farm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SS | Solar | NSW | winter
White Rock Wind Farm - Stage 1 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | SS | Wind | NSW | winter
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS | Wind | NSW | winter
Total | 16547.169 | 16826.869 | 16851.269 | 16875.669 | 15028.069 | 15027.569 | 15099.069 | 15098.569 | 15098.069 | 15097.669
The table above lists the latest Winter capacities for New South Wales generation. Winter conditions relate to statistically predicted contribution under 10% POE maximum demand conditions.
Due to the intermittent nature of wind, wind generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. AEMO refers to this as the "firm contribution" from wind generators during peak periods. These figures are 6.7% of the installed capacity during summer, and 3.7% during winter, based on AEMO's analysis of historical wind output over summer 2012-13 to 2016-17, and winter 2013 to 2017.
Due to the intermittent nature of sunlight, solar generation capacities are de-rated to account for the output most likely to be available during times of maximum demand. However, AEMO has not yet calculated contribution factors for solar, due to there being insufficient historical data to analyse for semi-scheduled solar generation in New South Wales. Thus the Firm Solar Capacity values in the table below are shown as NA, and do not contribute to the total capacity in that table.
The two tables below have been included to better represent the supply availability in New South Wales, by taking into account the firm contribution by semi-scheduled generation. The Winter aggregate scheduled and firm semi-scheduled generation table presents scheduled generation and aggregated firm semi-scheduled generation. The Winter aggregate available semi-scheduled generation table lists the total available capacity for semi-scheduled generation for the Winter period. The total refers to the maximum amount that can be generated from the semi-scheduled generation at the Winter reference temperatures.
Winter aggregate scheduled and firm semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Bayswater | 2640 | 2665 | 2690 | 2715 | 2740 | 2740 | 2740 | 2740 | 2740 | 2740 | S | Fossil | NSW | winter
Blowering | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | S | Hydro | NSW | winter
Colongra | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | 724 | S | Fossil | NSW | winter
Eraring | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | 2880 | S | Fossil | NSW | winter
Guthega | 34 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | 68 | S | Hydro | NSW | winter
Hume NSW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | winter
Hunter Valley GT | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 | S | Fossil | NSW | winter
Liddell | 1800 | 1800 | 1800 | 1800 | 0 | 0 | 0 | 0 | 0 | 0 | S | Fossil | NSW | winter
Mt Piper | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | 1400 | S | Fossil | NSW | winter
Shoalhaven | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | S | Hydro | NSW | winter
Shoalhaven Expansion | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | Hydro | NSW | winter
Smithfield Energy Facility | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | 108.999 | S | Fossil | NSW | winter
Tallawarra | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | 440 | S | Fossil | NSW | winter
Tumut 3 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | 1800 | S | Hydro | NSW | winter
Upper Tumut | 616 | 616 | 616 | 616 | 544 | 544 | 616 | 616 | 616 | 616 | S | Hydro | NSW | winter
Uranquinty | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | 664 | S | Fossil | NSW | winter
Vales Point B | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | 1320 | S | Fossil | NSW | winter
Firm Wind Capacity | 49.0239 | 54.0189 | 54.0189 | 54.0189 | 54.0189 | 54.0189 | 54.0189 | 54.0189 | 54.0189 | 54.0189
Firm Solar Capacity | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Total | 14836.0229 | 14900.0179 | 14925.0179 | 14950.0179 | 13103.0179 | 13103.0179 | 13175.0179 | 13175.0179 | 13175.0179 | 13175.0179
Winter aggregate available semi-scheduled generation
PowerStation | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | DispatchType | FuelType | Region | Season
Beryl Solar Farm | 0 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | 83 | SS | Solar | NSW | winter
Boco Rock Wind Farm | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | 113.18 | SS | Wind | NSW | winter
Bodangora Wind Farm | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | 113.19 | SS | Wind | NSW | winter
Broken Hill Solar Plant | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | 53 | SS | Solar | NSW | winter
Coleambally Solar Farm | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | SS | Solar | NSW | winter
Crookwell 2 Wind Farm | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | 91 | SS | Wind | NSW | winter
Crudine Ridge Wind Farm | 0 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | SS | Wind | NSW | winter
Gullen Range Solar Farm | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | SS | Solar | NSW | winter
Gullen Range Wind Farm | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | 165.5 | SS | Wind | NSW | winter
Gunning Wind Farm | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | 46.5 | SS | Wind | NSW | winter
Manildra Photovoltaic Solar Farm | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | SS | Solar | NSW | winter
Moree Solar Farm | 44.7 | 44.4 | 44.1 | 43.8 | 43.4 | 43.1 | 42.8 | 42.5 | 42.2 | 41.9 | SS | Solar | NSW | winter
Nyngan Solar Plant | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | 102 | SS | Solar | NSW | winter
Parkes Solar Farm | 50.5 | 53.5 | 53.2 | 52.9 | 52.7 | 52.5 | 52.3 | 52.1 | 51.9 | 51.8 | SS | Solar | NSW | winter
Sapphire Wind Farm | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | 270 | SS | Wind | NSW | winter
Silverton Wind Farm | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | 198 | SS | Wind | NSW | winter
Taralga Wind Farm | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | 106.8 | SS | Wind | NSW | winter
White Rock Solar Farm | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SS | Solar | NSW | winter
White Rock Wind Farm - Stage 1 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | 172.5 | SS | Wind | NSW | winter
Woodlawn Wind Farm | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | 48.3 | SS | Wind | NSW | winter
Total (Wind) | 1324.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97 | 1459.97
Total (Solar) | 435.2 | 520.9 | 520.3 | 519.7 | 519.1 | 518.6 | 518.1 | 517.6 | 517.1 | 516.7

## Existing NS Generation
Existing non-scheduled generation
Power Station | Owner | Nameplate Capacity (MW) | Technology Type | Fuel Type | Service Status | Region | summary_bucket | summary_status
101 Miller Street | Cogent Energy Pty Ltd | 2.3 | Spark Ignition Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
133 Castlereagh St | Cogent Energy Pty Ltd | 1 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
20 Bond St | Cogent Energy Pty Ltd | 0.6 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
275 Kent St | Cogent Energy Pty Ltd | 1.2 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
40 Mount St | Cogent Energy Pty Ltd | 0.8 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
8 Chifley Place | Cogent Energy Pty Ltd | 0.4 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
Albury Renewable Energy Facility | LMS Energy Pty Ltd | 1.123 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Appin | EDL CSM NSW Pty Ltd | 55.62 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | NSW | Gas other | Existing less Announced Withdrawal
Awaba | LMS Energy Pty Ltd | 1.123 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Bakers Maison | TBA | 0.2246 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Bankstown Sports Club | Bankstown Sports Club | 2.14 | Compression Reciprocating Engine | Diesel | In service | NSW | Other | Existing less Announced Withdrawal
Belconnen | EDL LFG ACT Pty Ltd | 1.03 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Belrose | EDL LFG NSW Pty Ltd | 1.03 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Blackmores | Cogent Energy Pty Ltd | 0.772 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
Blayney | Blaney and Crookwell WindFarm Pty Ltd | 9.9 | Wind - Onshore | Wind | In service | NSW | Wind | Existing less Announced Withdrawal
Broadwater and Condong Co-generation plants | Cape Byron Management | 68 | Steam Sub Critical | Bagasse | In service | NSW | Biomass | Existing less Announced Withdrawal
Broken Hill GT | Essential Energy | 50 | OCGT | Diesel | In service | NSW | OCGT | Existing less Announced Withdrawal
Brown Mountain Hydro Power Station | Cochrane Dam Pty Ltd | 5 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Burrendong | AGL | 19 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Burrinjuck | Green State Power Pty Ltd | 27.2 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Capital East Solar Farm P1 | Capital East Solar Pty Ltd | 0.705 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Capital Wind Farm | Renewable Power Ventures Pty Ltd | 140.7 | Wind - Onshore | Wind | In service | NSW | Wind | Existing less Announced Withdrawal
Charlestown Square Cogeneration | GPT RE Limited | 2.808 | Spark Ignition Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
Chillamurra | TBA | 4.77 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Condong | Cape Byron Power | 30 | Steam Sub Critical | Bagasse | In service | NSW | Biomass | Existing less Announced Withdrawal
Copeton | AGL | 20 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Crookwell | Blaney and Crookwell WindFarm Pty Ltd | 4.8 | Wind - Onshore | Wind | In service | NSW | Wind | Existing less Announced Withdrawal
Cullerin Range Wind Farm | Cullerin Range Wind Farm Pty Ltd | 30 | Wind - Onshore | Wind | In service | NSW | Wind | Existing less Announced Withdrawal
De Bortoli Wines | TBA | 0.23 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
DHL6 Solar Horsley Park | TBA | 0.1 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Drayton's Family Wines Solar | TBA | 0.2 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Earthpower Technologies Sydney | Earthpower Technologies Sydney | 3.9 | Spark Ignition Reciprocating Engine | Biogas - Sludge captured for combustion methane only | In service | NSW | Biomass | Existing less Announced Withdrawal
Eastern Creek | EDL LFG NSW Pty Ltd | 5.06 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Eastern Creek 2 Gas Utilisation Facility | LMS Energy Pty Ltd | 7.861 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Eraring GT | Origin Energy Eraring Pty Ltd | 42 | OCGT | Diesel | In service | NSW | OCGT | Existing less Announced Withdrawal
Erskine Park | Cogent Energy Pty Ltd | 0.386 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
Glenbawn | AGL | 5 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Glennies Creek | EDL OCI Pty Ltd | 13 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | NSW | Gas other | Existing less Announced Withdrawal
Grange Avenue | EDL LFG NSW Pty Ltd | 1.26 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Griffith Solar Farm | Griffith Solar Farm Pty Ltd | 29.99 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Jacks Gully | EDL LFG NSW Pty Ltd | 2.3 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Jindabyne | Snowy Hydro Ltd | 1.1 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Jounama | Snowy Hydro Ltd | 14.4 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Keepit | GSP Energy Pty Ltd | 7.2 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
LMCC - Works Depot Power Station | TBA | 0.0788 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Lucas Heights 2 | EDL LFG NSW Pty Ltd | 17.25 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Lucas Heights I | EDL LFG NSW Pty Ltd | 5.39 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Mount Majura | Mount Majura Solar Holdings Pty Ltd | 2.3 | PV-Tracking Flat panel | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Mugga Lane | EDL LFG ACT Pty Ltd | 4.6 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Mugga Lane Solar Park | Mugga Lane Solar Park Pty Ltd | 12.85 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Narromine Solar Farm | Dubbo Solar Hub Pty Ltd | 9.2 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Nine Network Willoughby | Nine Network | 3.2 | Compression Reciprocating Engine | Diesel | In service | NSW | Other | Existing less Announced Withdrawal
Parkes Shire Council STP | TBA | 0.1074 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Parkes Shire Council WTP | TBA | 0.1074 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Penrith RSL Solar | TBA | 0.1999 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Pindari | AGL | 5.7 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Proten - Farm 60 | TBA | 0.3588 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Proten - Farm 61 | TBA | 0.3567 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Proten - Farm 74 | TBA | 0.2499 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Proten - Farm 75 - 79 | TBA | 1.211 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Royalla Solar Farm | Royalla Asset Pty Ltd ATF Royalla Asset Trust | 20 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
South Keswick Solar Farm | Dubbo Solar Hub Pty Ltd | 14.5 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
St George Leagues Club | St George Leagues Club | 1.48 | Compression Reciprocating Engine | Diesel | In service | NSW | Other | Existing less Announced Withdrawal
Stockland Development Wetherill Park | TBA | 0.9248 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Summer Hill | LMS Energy Pty Ltd | 2.246 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Tahmoor | EDL TT Pty Ltd | 7.3 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | NSW | Gas other | Existing less Announced Withdrawal
Taronga Western Plains Zoo | TBA | 0.9976 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Teralba | Envirogen Pty Ltd | 3.11 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | NSW | Gas other | Existing less Announced Withdrawal
The Drop | Pacific Hydro Investments Pty Ltd | 2.5 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Todae Solar CSU | TBA | 1.7691 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Todae Solar PE - Llandilo | TBA | 0.795 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Todae Solar- PF Minchinbury | TBA | 0.3204 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Todae Solar SV - Mater Clinic | TBA | 0.1302 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Todae Solar SV - Mater Hospital | TBA | 0.2801 | PV Panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Tower | EDL CSM NSW Pty Ltd | 41.2 | Spark Ignition Reciprocating Engine | Waste Coal Mine Gas | In service | NSW | Gas other | Existing less Announced Withdrawal
UNSW C25 | Cogent Energy Pty Ltd | 0.772 | Compression Reciprocating Engine | Natural Gas Pipeline | In service | NSW | Gas other | Existing less Announced Withdrawal
Warragamba HEPS | Water NSW | 50 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
West Illawarra Leagues Club | Wests Illawarra Leagues Club | 0.99 | Compression Reciprocating Engine | Diesel | In service | NSW | Other | Existing less Announced Withdrawal
West Nowra Landfill Gas Power Generation Facility | AGL | 1 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Western Suburbs League Club Campbelltown | Western Suburbs League Club Campbelltown | 1.32 | Compression Reciprocating Engine | Diesel | In service | NSW | Other | Existing less Announced Withdrawal
Wilga Park Power Station A | Santos | 10 | Spark Ignition Reciprocating Engine | Coal Seam Methane | In service | NSW | Gas other | Existing less Announced Withdrawal
Wilga Park Power Station B | Santos | 6 | Spark Ignition Reciprocating Engine | Coal Seam Methane | In service | NSW | Gas other | Existing less Announced Withdrawal
Williamsdale Solar Farm | OneSun Capital 10MW Operting Pty Ltd | 7.566 | PV panels | Solar | In service | NSW | Solar | Existing less Announced Withdrawal
Woodlawn Bioreactor Energy Generation | Veolia Environmental Services Aust P/L | 7.455 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Wyangala A | Hydro Power Pty Ltd | 20 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Wyangala B | AGL | 4 | Hydro - Gravity | Water | In service | NSW | Water | Existing less Announced Withdrawal
Wyong | LMS ENERGY Pty Ltd | 2.246 | Spark Ignition Reciprocating Engine | Landfill Methane / Landfill Gas | In service | NSW | Biomass | Existing less Announced Withdrawal
Total |  | 888.2947

## New Developments
Projects under development
Project | Owner | Unit ID | Technology Type | Fuel Type | Unit Status | Nameplate Capacity (MW) | Dispatch Type | Full Commercial Use Date | Source | summary_status | nameplatecapacity_mw_max | capacity_empty | region | summary_bucket
Avonile Solar Farm | RES Australia Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 200 | SS |  | http://www.avonlie-solarfarm.com/ | Proposed | 200 | No | NSW | Solar
Bango Wind Farm | Bango Wind Farm Pty Ltd | up to 70 | Wind - Onshore | Wind | Publicly Announced | 280 | SS |  |  | Proposed | 280 | No | NSW | Wind
Bayswater | AGL Energy | TBA | Steam Sub Critical | Black Coal | Upgrade | 100 | S | Winter 2022 |  | Upgrade | 100 | No | NSW | Coal
Beryl Solar Farm | FS NSW Project No 1 AT Pty Ltd as trustee of FS NSW Project No 1 Asset Trust | Inverters 1-60 | PV-Tracking Flat panel | Solar | Committed | 98.4 | SS | Winter 2019 |  | Committed | 98.4 | No | NSW | Solar
Beryl/Gulgong Solar Project | Vena Energy | Units 1 - n | PV panels | Solar | Publicly Announced | TBA | SS |  |  | Proposed | 0 | Yes | NSW | Solar
Biala Wind Farm | BJCE Australia | 1 - 31 | Wind - Onshore | Wind | Publicly Announced | 108.5 | SS | Oct 2019 | http://bialawindfarm.com | Proposed | 108.5 | No | NSW | Wind
Bindaree Beef Biodigestor Pant | Yolarno | 1 | TBA | Biofuel - other | Publicly Announced | 12 | NS |  |  | Proposed | 12 | No | NSW
BluesScope Cogeneration Plant | BlueScope | 1 | Co-generation | Natural Gas | Publicly Announced | 225 | S |  |  | Proposed | 225 | No | NSW | Gas other
Bodangora Wind Farm | Bodangora Wind Farm Pty Ltd | Units 1-33 | Wind - Onshore | Wind | Committed | 113.19 | SS | Summer 2018-19 |  | Committed | 113.19 | No | NSW | Wind
Bogan River | Infigen Energy | Solar Panels | PV panels | Solar | Publicly Announced | 12 | NS |  | https://www.infigenenergy.com/our-business/development-pipeline/solar-energy-projects/ | Proposed | 12 | No | NSW | Solar
Bomen Solar Farm | Renew Estate | 1 | PV-Tracking Flat panel | Solar | Publicly Announced | 120 | NS |  |  | Proposed | 120 | No | NSW | Solar
Brewongle Solar Farm | Photon Energy | TSM-330DD14AII | TBA | Solar | Emerging | 112 | SS |  |  | Proposed | 112 | No | NSW | Solar
Brocklehurst Solar Farm | TBA | 1 | PV panels | Solar | Publicly Announced | 29 | NS |  |  | Proposed | 29 | No | NSW | Solar
Capital 2 Wind Farm | Infigen Energy | Units 1-33 | Wind - Onshore | Wind | Publicly Announced | 100 | SS | Oct 2020 | https://www.infigenenergy.com/about-us/news/infigen-welcomes-project-approval-for-proposed-capital-2-wind-farm/ | Proposed | 100 | No | NSW | Wind
Capital Solar Farm | Capital Solar Farm Pty Ltd | Inverters 1 - 34 | PV panels | Solar | Publicly Announced | 50 | SS |  | https://www.infigenenergy.com/our-business/development-pipeline/solar-energy-projects/ | Proposed | 50 | No | NSW | Solar
Carrick Solar Farm | Photon Energy | LR6-72HV 345 | PV panels | Solar | Emerging | 144 | SS |  |  | Proposed | 144 | No | NSW | Solar
Chipping Norton Waste to Energy | Benedict Indistries P/L | Waste to Energy | Steam Sub Critical | Biomass recycled municipal and industrial materials | Publicly Announced | 8 | NS |  |  | Proposed | 8 | No | NSW | Biomass
Coleambally Solar Farm | Neoen | 1-90 | PV panels | Solar | Com* | 180 | SS | Oct 2018 |  | Committed | 180 | No | NSW | Solar
Collector | Ratch Australia | Station | Wind - Onshore | Wind | Publicly Announced | 189 | SS | Sep 2020 |  | Proposed | 189 | No | NSW | Wind
Coppabella Wind Farm | Goldwind | 1 | Wind - Onshore | Wind | Publicly Announced | 285 | SS |  |  | Proposed | 285 | No | NSW | Wind
Corowa Solar Farm | Corowa Operationsco Pty Ltd as trustee for Corowa Operations Trust | Units 1-6 Units 7-8 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.terrainsolar.com/corowa | Proposed | 0 | Yes | NSW | Solar
Crookwell 2 Wind Farm | Crookwell Development Pty Ltd | Units 1-28 | Wind - Onshore | Wind | Committed | 91 | SS | Winter 2018 |  | Committed | 91 | No | NSW | Wind
Crookwell 3 Wind Farm | Crookwell Development Pty Ltd | Units 1-23 | Wind - Onshore | Wind | Publicly Announced | 88.09 | SS |  |  | Proposed | 88.09 | No | NSW | Wind
CRS Canberra | Benedict Industries PL | 1 | TBA | Landfill Methane / Landfill Gas | Publicly Announced | 15 | NS |  |  | Proposed | 15 | No | NSW | Biomass
Crudine Ridge Wind Farm | CRWF Nominees Pty Ltd | 1-37 | Wind - Onshore | Wind | Com* | 135 | SS | Summer 2019-20 | https://www.crudineridgewindfarm.com.au/ | Committed | 135 | No | NSW | Wind
Currawarra Solar Farm | RES Australia Pty Ltd | 195 | PV panels | Solar | Publicly Announced | 195 | SS |  |  | Proposed | 195 | No | NSW | Solar
Darlington Point Solar Farm | Darlington Point Solar Farm | 1 | PV panels | Solar | Publicly Announced | 275 | SS |  |  | Proposed | 275 | No | NSW | Solar
Dunedoo Solar Farm | ib vogt GmbH | 66 | PV panels | Solar | Publicly Announced | 66 | SS |  |  | Proposed | 66 | No | NSW | Solar
Eastern Creek Energy from Waste Facility | Next Generation NSW | 1 | TBA | Biomass recycled municipal and industrial materials | Publicly Announced | 69 | S |  |  | Proposed | 69 | No | NSW | Biomass
Finley Solar Project | Vena Energy | Units 1 to n | PV panels | Solar | Publicly Announced | 150 | SS |  |  | Proposed | 150 | No | NSW | Solar
Flyers Creek Wind Farm | Infigen Energy | Units 1-42 | Wind - Onshore | Wind | Emerging | 150 | SS | Jul 2020 | https://www.infigenenergy.com/our-business/development-pipeline/wind-energy-projects/ | Proposed | 150 | No | NSW | Wind
Gidginbung | Epho | Gidginbung | PV panels | Solar | Publicly Announced | 15 | NS |  |  | Proposed | 15 | No | NSW | Solar
Gilgandra Solar Farm | Neoen | 120 | PV panels | Solar | Publicly Announced | 40 | SS |  | http://gilgandrasolarfarm.com.au/ | Proposed | 40 | No | NSW | Solar
Glen Innes Wind Farm | Glen Innes WindPower Pty Ltd | Units 1-25 | Wind - Onshore | Wind | Publicly Announced | 90 | SS |  |  | Proposed | 90 | No | NSW | Wind
Gloucester Gas Project | AGL Energy | 0 | CCGT | Coal Seam Methane | Publicly Announced | 15 | SS |  |  | Proposed | 15 | No | NSW | CCGT
Goonumbla Solar Farm | Goonumbla Solar Farm Pty Ltd | 1-31 | PV panels | Solar | Publicly Announced | 70 | SS | Dec 2017 |  | Proposed | 70 | No | NSW | Solar
Goulburn Bioenergy | ReNu Energy Limited | 1 | TBA | Biomass recycled municipal and industrial materials | Publicly Announced | 1.6 | NS |  |  | Proposed | 1.6 | No | NSW | Biomass
Granite Hills Wind Farm | Akuo Energy | 121 | Wind - Onshore | Wind | Publicly Announced | 121 | SS |  |  | Proposed | 121 | No | NSW | Wind
Gregadoo Solar Farm | Gregadoo Solar Farm Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 45 | NS |  |  | Proposed | 45 | No | NSW | Solar
Gunnedah Solar Farm | Photon Energy | CS3U-380MS | TBA | Solar | Emerging | 115 | SS |  |  | Proposed | 115 | No | NSW | Solar
Gunning Solar Farm | Photon Energy | TSM-330DD14AII | TBA | Solar | Emerging | 300 | SS |  |  | Proposed | 300 | No | NSW | Solar
Hay Sun Farm | Overland Sun Farming Pty Ltd | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 110 | SS |  |  | Proposed | 110 | No | NSW | Solar
Hills of Gold Wind Farm | Wind Energy Partners | TBA | Wind - Onshore | Wind | Publicly Announced | 400 | SS |  | https://www.hillsofgoldenergy.com/ | Proposed | 400 | No | NSW | Wind
Hillston | Overland Sun Farming Pty Ltd | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 85 | SS |  |  | Proposed | 85 | No | NSW | Solar
Hunter EconomicZone | Snowy Hydro Ltd | 1-16 | Compression Reciprocating Engine | Diesel | Publicly Announced | 28.8 | NS |  |  | Proposed | 28.8 | No | NSW | Other
Jemalong Solar | Vast Solar | 1 | TBA | Solar | Publicly Announced | TBA | SS |  | http://www.vastsolar.com/portfolio-items/project-2/ | Proposed | 0 | Yes | NSW | Solar
Junee Solar Farm | Junee Operationsco Pty Ltd as trustee for Junee Operations Trust | Units 1-6 Units 7-8 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.terrainsolar.com/junee | Proposed | 0 | Yes | NSW | Solar
Jupiter Wind Farm | EPYC Pty Ltd | 1-88 | Wind - Onshore | Wind | Publicly Announced | 350 | SS |  |  | Proposed | 350 | No | NSW | Wind
Limondale | Overland Sun Farming Pty Ltd | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 250 | SS |  |  | Proposed | 250 | No | NSW | Solar
Liverpool Range Wind Farm | EPURON Pty Ltd | Units 1-267 | Wind - Onshore | Wind | Publicly Announced | 1000 | SS |  | http://epuron.com.au/wind/liverpool-range/ | Proposed | 1000 | No | NSW | Wind
Marulan - OCGT/CCGT | EnergyAustralia | 1 | OCGT | Natural Gas Pipeline | Publicly Announced | TBA | S |  |  | Proposed | 0 | Yes | NSW | OCGT
Maryvale Solar Farm | Photon Energy | LR6-72HV 345Wp | PV panels | Solar | Emerging | 100 | SS |  |  | Proposed | 100 | No | NSW | Solar
Metz Solar Farm | Infigen Energy | 100 | PV panels | Solar | Publicly Announced | 100 | SS |  |  | Proposed | 100 | No | NSW | Solar
Moama Solar Farm | Moama Operationsco Pty Ltd as trustee for Moama Operations Trust | Units 1-6 Units 7-8 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.terrainsolar.com/moama | Proposed | 0 | Yes | NSW | Solar
Molong Solar Farm | Terrain Solar | 1 | PV panels | Solar | Publicly Announced | 25 | NS |  |  | Proposed | 25 | No | NSW | Solar
Moorambilla Solar Farm | Moorambilla Solar Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 5 | NS |  |  | Proposed | 5 | No | NSW | Solar
Mumbil Solar Farm | Photon Energy | LR6-72HV 345 | PV panels | Solar | Emerging | 100 | SS |  |  | Proposed | 100 | No | NSW | Solar
Narrabri South Solar Farm | Canadian Solar | 1 | PV panels | Solar | Publicly Announced | 60 | SS |  |  | Proposed | 60 | No | NSW | Solar
Nevertire Solar Farm | TBA | 1 | PV panels | Solar | Publicly Announced | 105 | SS |  |  | Proposed | 105 | No | NSW | Solar
New England Solar Farm | UPC Renewables | TBA | PV panels | Solar | Publicly Announced | 800 | SS |  | https://www.newenglandsolarfarm.com.au/ | Proposed | 800 | No | NSW | Solar
Newcastle Gas Peaker | AGL Energy Limited | 1 | Compression Reciprocating Engine | Natural Gas / Diesel | Publicly Announced | 250 | S | Dec 2022 |  | Proposed | 250 | No | NSW | Gas other
NSW Energy Cluster | Alinta Energy Retail Sales Pty Ltd | TBA | Wind - Onshore | Wind | Publicly Announced | 500 | SS | Nov 2020 | http://www.nswenergycluster.net/ | Proposed | 500 | No | NSW | Wind
NSW Gas Peaker | AGL Energy Limited | 1 | Compression Reciprocating Engine | Natural Gas / Diesel | Publicly Announced | 500 | S |  |  | Proposed | 500 | No | NSW | Gas other
Orange Grove Sun Farm | Overland Sun Farming Pty Ltd | Solar Panels | PV-Tracking Flat panel | Solar | Publicly Announced | 80 | SS |  | http://www.overlandsunfarming.com.au/orange-grove-sun-farm.html | Proposed | 80 | No | NSW | Solar
Paling Yards Wind Farm | Global Power Generation Australia Pty Ltd | Units 1-55 | Wind - Onshore | Wind | Publicly Announced | 231 | SS |  |  | Proposed | 231 | No | NSW | Wind
Photon Energy Leeton | Photon Energy Leeton | LR6-72HV 345Wp Custom parameters | TBA | Solar | Maturing | 22 | NS |  |  | Proposed | 22 | No | NSW | Solar
Quorn Park Solar Farm | Renewable Energy Developments | TBA | PV panels | Solar | Publicly Announced | 160 | SS |  | https://www.energy.nsw.gov.au/energy-consumers/energy-sources/electricity/electricity-generation | Proposed | 160 | No | NSW | Solar
Riverina Solar Farm | Riverina Solar farm Pty Ltd | STP315 - 24/Vem | PV-Tracking Flat panel | Solar | Publicly Announced | 29.9 | SS |  |  | Proposed | 29.9 | No | NSW | Solar
Rye Park Wind Farm | Tilt Renewables Australia | 1- 109 | Wind - Onshore | Wind | Publicly Announced | 327 | SS | Apr 2021 |  | Proposed | 327 | No | NSW | Wind
Sandigo Solar Farm | ESCO Pacific | 300 | PV panels | Solar | Publicly Announced | 300 | SS |  |  | Proposed | 300 | No | NSW | Solar
Shoalhaven Expansion (expansion) | Origin Energy | Kangaroo Valley 5 | TBA | Water | Publicly Announced | TBA | S |  |  | Proposed | 0 | Yes | NSW | Water
Snowy 2.0 | Snowy Hydro Ltd | 1 | Pump Storage | Water | Publicly Announced | 2000 | S |  |  | Proposed | 2000 | No | NSW | Water
Springdale Solar Farm | Renew Estate | 1 | PV-Tracking Flat panel | Solar | Publicly Announced | 120 | NS |  |  | Proposed | 120 | No | NSW | Solar
Summerhill Solar Farm | Newcastle Council | 1 | PV panels | Solar | Publicly Announced | 5 | NS |  |  | Proposed | 5 | No | NSW | Solar
Sundown Solar Farm | CWP Renewables Pty Ltd | 600 | PV panels | Solar | Publicly Announced | 600 | SS |  |  | Proposed | 600 | No | NSW | Solar
Sunraysia Solar Farm | Sunraysia Solar Project Pty Ltd | Sunraysia Solar Farm | PV-Tracking Flat panel | Solar | Emerging | 200 | SS |  | http://sunraysiasolarfarm.com.au/ | Proposed | 200 | No | NSW | Solar
Suntop Solar Farm | Photon Solar | CS3U-380MS | PV panels | Solar | Emerging | 150 | SS |  |  | Proposed | 150 | No | NSW | Solar
Tarleigh Park Solar Farm | RES Australia Pty Ltd | 1 | PV panels | Solar | Publicly Announced | 90 | SS |  |  | Proposed | 90 | No | NSW | Solar
Tomago GT | AGL Energy | 1 | OCGT | Natural Gas Pipeline | Publicly Announced | TBA | S |  |  | Proposed |  | No | NSW | OCGT
Tumut Pulp and Paper Mill | Visy | 1 | TBA | Biogas - other captured for combustion not methane | Publicly Announced | 32 | S |  |  | Proposed | 32 | No | NSW | Biomass
Upper Hunter Energy Park - Solar | Upper Hunter Energy Park Pty Ltd | Solar | PV panels | Solar | Publicly Announced | 10 | SS |  | http://upperhunterenergypark.com.au/ | Proposed | 10 | No | NSW | Solar
Upper Hunter Energy Park - Wind | Upper Hunter Energy Park Pty Ltd | Units 1-31 | Wind - Onshore | Wind | Publicly Announced | TBA | SS |  | http://upperhunterenergypark.com.au/ | Proposed | 0 | Yes | NSW | Wind
Uungula Wind Farm | Uungula Wind Farm Pty Ltd | 1-249 | Wind - Onshore | Wind | Publicly Announced | 400 - 650 | SS |  |  | Proposed | 650 | No | NSW | Wind
Vales Point Solar | Delta Electricity | Vales Point Solar 1 | PV panels | Solar | Publicly Announced | 55 | SS | Jan 2020 | http://www.de.com.au/sustainability/projects/solar-project | Proposed | 55 | No | NSW | Solar
Wagga North Solar Farm | Wagga Wagga Operationsco Pty Ltd as trustree for Wagga Wagga Operations Trust | 1-10 11-12 | PV-Tracking Flat panel | Solar | Publicly Announced | TBA | SS |  | https://www.terrainsolar.com/wagga | Proposed | 0 | Yes | NSW | Solar
Wagga Wagga Solar Project | Vena Energy | Units 1 - n | PV panels | Solar | Publicly Announced | TBA | SS |  |  | Proposed | 0 | Yes | NSW | Solar
Walgett Solar Farm | TBA | 1 | PV panels | Solar | Publicly Announced | 29 | SS |  |  | Proposed | 29 | No | NSW | Solar
Wee Waa Solar Farm | Overland Sun Farming | 55 | PV panels | Solar | Publicly Announced | 55 | SS |  |  | Proposed | 55 | No | NSW | Solar
Wellington North Solar Farm | AGL Energy | 300 | PV panels | Solar | Publicly Announced | 300 | SS |  |  | Proposed | 300 | No | NSW | Solar
Wellington Solar Farm | First Solar Australia Pty Ltd | Inverter 1 to 132 | PV-Tracking Flat panel | Solar | Publicly Announced | 216 | SS |  |  | Proposed | 216 | No | NSW | Solar
West Narrabi Electricity Generating Facility | Power Generation Partners | 1 | TBA | Biogas - other captured for combustion not methane | Publicly Announced | 55 | S |  |  | Proposed | 55 | No | NSW | Biomass
White Rock Wind Farm - Stage 2 | White Rock Wind Farm Pty Ltd | Stage 2 uncommitted 71-119 | Wind - Onshore | Wind | Publicly Announced | 174.93 | SS |  |  | Proposed | 174.93 | No | NSW | Wind
Wollar Solar Farm | Wollar Solar Development Pty Ltd | TBA | PV panels | Solar | Publicly Announced | 400 | SS |  | https://www.wollarsolarfarm.com.au/ | Proposed | 400 | No | NSW | Solar
Woolbrook Wind Farm | Newtricity | 120 | Wind - Onshore | Wind | Publicly Announced | 120 | SS |  |  | Proposed | 120 | No | NSW | Wind
Yarrabee Solar Power Project | Reach Solar Energy Management Co | Yarrabee Solar | PV-Tracking Flat panel | Solar | Publicly Announced | 300 | SS | Feb 2021 | www.yarrabeesolar.com | Proposed | 300 | No | NSW | Solar
Yass Valley Wind Farm | Goldwind | Wind turbines 1-79 | Wind - Onshore | Wind | Publicly Announced | 280 | SS |  |  | Proposed | 280 | No | NSW | Wind

## Background Information
Generation capacity in the NEM
Any person who owns, controls, or operates a generating system connected to a transmission or distribution network must register with AEMO as a generator unless it has the benefit of an exemption from that requirement. A generating system’s registered capacity is the aggregate megawatt (MW) capacity of all its component generation units, as registered with AEMO.
The registered capacity should be the same as a generating system’s nameplate capacity. Nameplate capacity represents the maximum continuous output or consumption in MW, as specified by the manufacturer, or as subsequently modified. Nameplate capacity can change for a number of reasons, such as upgrade projects, age or a review of performance.
Under the National Electricity Rules (NER), generating units are classified as scheduled (S), semi-scheduled (SS), or non-scheduled (NS).
For further information about generation classification guide, please refer to the AEMO Generation Exemption and Classification Guide on the AEMO website: http://aemo.com.au/-/media/Files/Electricity/NEM/Participant_Information/New-Participants/Generator-Exemption-and-Classification-Guide.pdf
For the purposes of reliability assessments, and consistent with market systems, AEMO measures scheduled and semi-scheduled generation capacity on an as-generated basis, noting that for semi-scheduled systems the generating unit terminals are taken to be at the connection point. Non-scheduled generation is measured as sent-out (at the connection point) because it can include co-generation plants (that usually produce both heat and electricity), where the bulk of the capacity is consumed locally.
Temperature effects on generation
The actual level of generation available at any particular time will depend on the condition of the generating plant. This includes factors such as age, outages, and wear. Another important factor with respect to output is the reduction in thermal efficiency as the temperature increases.
Because temperature can affect plant generation capacities in different ways, basing generation capacities on region-specific reference temperatures facilitates more effective assessment of available generation capacity under weather conditions frequently associated with high demand.
To produce the supply-demand outlook, AEMO — in consultation with the Jurisdictional Planning Bodies (JPBs) — undertakes the following:
· Uses historical data to estimate typical weather conditions, and to determine reference temperatures frequently associated with times of 10% probability of exceedance (POE) maximum demand in the major load centres for each region.
· Asks generators to provide generating unit capacities for summer and winter using these common reference temperatures. The table below lists the common reference temperatures AEMO applies for each region. In general, annual maximum demands occur during summer; the exception is Tasmania, where maximum demand occurs during winter. Summer maximum demand in Tasmania occurs during colder temperatures, resulting in a relatively low summer reference temperature.
Generation capacity reference temperatures
Region | Summer (°C) | Winter (°C)
Queensland | 37 | 15
New South Wales | 42 | 9
Victoria | 41 | 8
South Australia | 43 | 11
Tasmania | 7.7 | 1.2
Maximum capacity
Some thermal (generation that burns fuel) and non-thermal (renewable generation) generating systems can provide additional, short-term capacity that exceeds the registered capacity. This is known as maximum capacity.
Proposed generation in the NEM
In addition to capacity forecasts, generation plant owners advise AEMO about the status of generation projects currently under development in each region.
Generation projects can be at different stages of development, which are assessed using AEMO’s five (5) commitment criteria, covering site acquisition, contracts for major components, planning and other approvals, financing, and date (see table below for a description of the criteria).
Projects are categorised as follows:
· Committed projects, representing generation and storage for which formal commitment has been made for construction or installation. These are further identified as:
- Committed proposals, representing projects that have satisfied all five (5) of AEMO's commitment criteria.
- Committed* proposals, representing projects that don't satisfy all five (5) of AEMO's commitment criteria, but construction or installation has commenced.
· Proposed projects, which are further identified as:
- Advanced proposals, representing projects that are highly likely to proceed, satisfying Site and Finance criteria plus either Planning and approvals or Major components criteria, and have notified AEMO of a scheduled commercial operation date. Typically included in sensitivity analysis for MLF.
- Maturing proposals, representing projects that have progressed with site, planning applications, and finance arrangements, but not to the point that they can be classified as advanced. Maturing projects may be explicitly included in scenario analysis to assess future reliability or market impacts and are tested for economic efficiency in capacity outlook modelling.
- Emerging proposals, representing projects where sites have been identified, planning applications lodged and the development is considered financially and technically viable. However, planning approvals/construction is uncertain, and development maybe subject to changes in policy or commercial environment. These projects may be explicitly included in scenario analysis to assess future market impacts, and are tested for economic efficiency in capacity outlook modelling. However, a higher weighted average cost of capital will be assumed to reflect greater development uncertainty compared to maturing projects.
- Publicly Announced proposals, representing projects that have been announced publicly, but may not yet meet all or any of the commitment criteria. Costs and capabilities of these projects are developed using recently-completed projects and projections of cost components such as raw material supply and labour.
Generation project commitment criteria
Category | Criteria
Site | The project proponent has purchased/settled/acquired (or commenced legal proceedings to purchase/settle/acquire) land for the construction of the project.
Major components | Contracts for the supply and construction of major plant or equipment components (such as generating units, turbines, boilers, transmission towers, conductors, and terminal station equipment) have been finalised and executed, including any provisions for cancellation payments.
Planning and Approvals | The proponent has obtained all required planning consents, construction approvals, connection contracts (including approval of proposed negotiated Generator Performance Standards from AEMO under clause 5.3.4A of the National Electricity Rules), and licences, including completion and acceptance of any necessary environmental impact statements.
Finance | The financing arrangements for the proposal, including any debt plans, must have been concluded and contracts executed.
Date | Construction of the proposal must either have commenced or a firm commencement date must have been set. Commercial use date for full operation must have been set.