## Index
Overview
This file contains the underlying data used in figures and tables from the 2015 South Australian Fuel and Technology Report.
List of Figures
Figure 1 — South Australian electricity capacity by fuel type (as of July 2014)
Figure 2 — South Australian electricity generation share by fuel type (FY2013–14)
Figure 3 — South Australian electricity generation share by fuel type (2009–10 to 2013–14)
Figure 4 — South Australian generation, net imports and residential PV (2009–10 to 2013–14)
Figure 7 — South Australian regional wind farm generation (2009–10 to 2013–14)
Figure 14 — South Australia LCOE versus capacity factor
Figure 15 — NEM LCOE versus capacity factor
Figure 16 — South Australia emissions at minimum LCOE
Figure 17 — NEM emissions at minimum LCOE
List of Tables
Table 1 — South Australian annual energy generation by fuel type changes (2009–10 to 2013–14)
Table 4 — South Australian coal resources
Table 5 — South Australian gas consumption 2011–14
Table 6 — Major gas pipelines relating to South Australia
Table 12 — LCOE and emissions comparison across technologies (renewables)
Table 13 — LCOE and emissions comparison across technologies (non-renewables)
Table 14 — LCOE and emissions comparison across technologies (storage)

## Figure 1
Figure 1 — South Australian electricity capacity by fuel type (as of July 2014)
Fuel type | Registered Capacity (MW) | Share of total South Australian Capacity (%)
Natural Gas | 2672.4 | 46.33%
Wind | 1473 | 25.53%
Coal | 770 | 13.35%
Solar | 565.2 | 9.798%
Diesel | 269.6 | 4.673%
Landfill Gas | 16 | 0.2774%
Hydro | 2.5 | 0.04334%

## Figure 2
Figure 2 — South Australian electricity generation share by fuel type (FY2013–14)
Fuel type | Annual generation (GWh) | Share of total South Australian Generation (%)
Natural Gas | 5545.9643 | 44%
Wind | 4087.8796 | 33%
Coal | 2099.7066 | 17%
Solar | 703.6 | 6%
Diesel | 54.6792 | 0.44%
Landfill Gas | 5.5716 | 0.04%
Hydro | 4.1352 | 0.03%

## Figure 3
Figure 3 — South Australian electricity generation share by fuel type (2009–10 to 2013–14)
Fuel type | Share of total South Australian Generation (%)
| 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
Natural Gas | 49.18% | 47.19% | 48.02% | 51.8% | 44.36%
Wind | 17.32% | 21.62% | 26.91% | 26.59% | 32.7%
Coal | 32.76% | 30.21% | 22.68% | 17.09% | 16.8%
Solar | 0.1948% | 0.4745% | 1.907% | 3.97% | 5.628%
Other | 0.5386% | 0.4976% | 0.4881% | 0.5495% | 0.515%

## Figure 4
Figure 4 — South Australian generation, net imports and residential PV (2009–10 to 2013–14)
Annual Energy (GWh) | 2009–10 | 2010–11 | 2011–12 | 2012–13 | 2013–14
SA generation (excluding residential PV) | 13886.5864 | 14030.7398 | 13006.0729 | 12579.1586 | 11797.9365
Residential PV | 27.1 | 66.9 | 252.9 | 520.1 | 703.6
Net imports | 618.0034 | 566.1377 | 1136.36 | 1405.1042 | 1672.7577

## Figure 7
Figure 7 — South Australian regional wind farm generation (2009–10 to 2013–14)
Annual Energy (GWh) by location | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14
Mid-North | 1085.969 | 1532.7699 | 2031.0066 | 2026.4638 | 2457.4622
South-East | 588.8475 | 740.1207 | 798.4383 | 782.8605 | 853.6884
Coastal Peninsula | 535.7992 | 511.6898 | 541.0306 | 491.0661 | 585.8807
Mt Millar | 178.7509 | 181.981 | 188.4643 | 185.0063 | 203.8906
Total SA Wind Gen | 2389.3666 | 2966.5615 | 3558.9399 | 3485.3968 | 4100.9219

## Figure 14
Figure 14 — South Australia LCOE versus capacity factor
Capacity Factor (%) | LCOE ($/MWh)
| Wind - (100 MW) | Biomass | Geothermal - Enhanced Geothermal System (EGS) | Geothermal - Hot Sedimentary Aquifers (HSA) | Solar PV FFP | Solar PV SAT | Solar PV DAT | Solar Thermal CLF | Solar Thermal CR WS | Solar Thermal PT WS | Wave/Ocean | Integrated Solar Combined Cycle (ISCC) | OCGT - Without CCS | CCGT - Without CCS
0 | 360177.824 | 772397.7338 | 1549167.8708 | 1121031.6451 | 313112.6851 | 385422.8416 | 504682.5514 | 618003.2847 | 893535.7566 | 1185311.5958 | 760144.1175 | 277547.7019 | 92352.596 | 143595.1577
1 | 3580.9624 | 7655.562 | 15338.2692 | 11099.304 | 3100.1202 | 3816.0611 | 4996.8483 | 6133.8833 | 8852.5169 | 11747.0252 | 7545.9683 | 2816.9135 | 1026.6789 | 1485.7929
2 | 1806.8517 | 3850.8812 | 7707.2894 | 5577.2622 | 1557.7718 | 1917.5232 | 2510.8541 | 3089.7622 | 4451.1154 | 5908.4056 | 3801.7055 | 1450.096 | 572.3219 | 778.7824
3 | 1211.5521 | 2574.2275 | 5146.7281 | 3724.3511 | 1040.2397 | 1280.4723 | 1676.6833 | 2068.313 | 2974.2332 | 3949.2675 | 2545.3249 | 991.4629 | 419.8633 | 541.5463
4 | 913.1601 | 1934.3088 | 3863.2548 | 2795.5853 | 780.8283 | 961.1525 | 1258.5578 | 1556.3147 | 2233.9506 | 2967.2557 | 1915.5681 | 761.5745 | 343.4439 | 422.6325
5 | 733.8866 | 1549.8467 | 3092.146 | 2237.5842 | 624.9743 | 769.3057 | 1007.3486 | 1248.707 | 1789.19 | 2377.2645 | 1537.2112 | 623.4579 | 297.5312 | 351.1892
6 | 614.2715 | 1293.3254 | 2577.6459 | 1865.274 | 520.9853 | 641.3014 | 839.7366 | 1043.4646 | 1492.4363 | 1983.6099 | 1284.7634 | 531.3036 | 266.8973 | 303.5207
7 | 528.7834 | 1109.9913 | 2209.936 | 1599.1864 | 446.665 | 549.8176 | 719.9453 | 896.7792 | 1280.3484 | 1702.2675 | 1104.3406 | 465.4415 | 245.0034 | 269.4524
8 | 464.6407 | 972.4336 | 1934.0389 | 1399.5377 | 390.9015 | 481.1762 | 630.0645 | 786.7194 | 1121.2162 | 1491.1729 | 968.9673 | 416.0244 | 228.5762 | 243.8905
9 | 414.7361 | 865.4103 | 1719.3842 | 1244.2061 | 347.5162 | 427.7716 | 560.135 | 701.0901 | 997.4075 | 1326.9362 | 863.6435 | 377.5767 | 215.7954 | 224.0028
10 | 374.8024 | 779.7702 | 1547.6175 | 1119.9098 | 312.7993 | 385.0371 | 504.1775 | 632.5696 | 898.3359 | 1195.514 | 779.3634 | 346.8108 | 205.5682 | 208.0886
11 | 342.1228 | 709.687 | 1407.0528 | 1018.1923 | 284.3889 | 350.0655 | 458.3848 | 576.4961 | 817.2608 | 1087.9651 | 710.3931 | 321.6337 |  | 195.0653
12 | 314.8853 | 651.2746 | 1289.8961 | 933.4136 | 260.7095 | 320.9177 | 420.2179 | 529.7604 | 749.6871 | 998.326 | 652.9082 | 300.6492 |  | 184.2107
13 | 291.8349 | 601.8417 | 1190.7495 | 861.6677 | 240.6704 | 296.2507 | 387.9183 | 490.2092 | 692.5013 | 922.467 | 604.2604 | 282.8907 |  | 175.0248
14 | 272.0751 | 559.4657 | 1105.7567 | 800.1639 | 223.4919 | 275.105 | 360.2296 | 456.3042 | 643.4791 | 857.4372 | 562.5573 | 267.6672 |  | 167.1502
15 | 254.9482 | 522.7361 | 1032.0887 | 746.8552 | 208.6024 | 256.7769 | 336.2303 | 426.9169 | 600.9888 | 801.0723 | 526.4109 | 254.4722 |  | 160.3248
16 | 239.9608 | 490.5948 | 967.6235 | 700.2059 | 195.5729 | 240.7384 | 315.229 | 401.2006 | 563.8065 | 751.7486 | 494.78 | 242.9256 |  | 154.3521
17 | 226.7356 | 462.2325 | 910.7379 | 659.0416 | 184.0753 | 226.5856 | 296.697 | 378.5081 | 530.996 | 708.2243 | 466.8682 | 232.7366 |  | 149.0817
18 | 214.979 | 437.0199 | 860.1694 | 622.4485 | 173.8546 | 214.0045 | 280.223 | 358.3355 | 501.8291 | 669.5333 | 442.056 | 223.679 |  | 144.3965
19 | 204.4593 | 414.4599 | 814.9212 | 589.7053 | 164.7092 | 202.7471 | 265.4822 | 340.2852 | 475.7308 | 634.913 | 419.8542 | 215.5744 |  | 140.2042
20 | 194.9911 | 394.1547 | 774.1955 | 560.2347 | 156.4778 | 192.6148 | 252.2147 | 324.0391 | 452.241 | 603.7529 | 399.8715 | 208.2799 |  | 136.431
21 | 186.4242 | 375.7825 | 737.3466 | 533.5696 | 149.0301 | 183.447 | 240.2102 | 309.3395 | 430.9872 | 575.559 | 381.791 | 201.6797 |  | 133.017
22 | 178.6357 | 359.0797 | 703.8461 | 509.3274 |  |  |  | 295.9756 | 411.6648 | 549.9271 | 365.3534 | 195.6793 |  | 129.9131
23 | 171.5242 | 343.8287 | 673.2574 | 487.1924 |  |  |  | 283.7732 | 394.0218 | 526.523 | 350.3445 | 190.2004 |  | 127.0791
24 | 165.0051 | 329.848 | 645.2166 | 466.9012 |  |  |  |  | 377.8485 | 505.0685 | 336.5859 | 185.1779 |  | 124.4811
25 | 159.0073 | 316.9854 | 619.4183 | 448.2326 |  |  |  |  | 362.9685 | 485.3297 | 323.9275 | 180.5571 |  | 122.0909
26 | 153.4707 | 305.1118 | 595.6037 | 430.9995 |  |  |  |  | 349.2327 | 467.1086 | 312.2425 | 176.2915 |  | 119.8845
27 | 148.344 | 294.1174 | 573.5524 | 415.0425 |  |  |  |  | 336.514 | 450.2368 | 301.4227 | 172.3419 |  | 117.8414
28 | 143.5834 | 283.9081 | 553.0757 | 400.2248 |  |  |  |  | 324.7034 | 434.5696 | 291.3755 | 168.6742 |  | 115.9443
29 | 139.151 | 274.4026 | 534.0107 | 386.4287 |  |  |  |  | 313.7071 | 419.9826 | 282.021 | 165.2594 |  | 114.1779
30 | 135.0141 | 265.5306 | 516.2163 | 373.552 |  |  |  |  | 303.4436 | 406.3677 | 273.2898 | 162.0721 |  | 112.5292
31 | 131.1439 | 257.2308 | 499.5695 | 361.5059 |  |  |  |  | 293.842 | 393.6309 | 265.1218 | 159.0905 |  | 110.9869
32 | 127.5155 | 249.4495 | 483.9629 | 350.2123 |  |  |  |  | 284.8404 | 381.6899 | 257.4642 | 156.2951 |  | 109.5409
33 | 124.107 | 242.1398 | 469.3018 | 339.6031 |  |  |  |  | 276.3842 | 370.4724 | 250.2705 | 153.6691 |  | 108.1826
34 | 120.8989 | 235.2598 | 455.5028 | 329.6177 |  |  |  |  | 268.4252 | 359.9146 | 243.4998 | 151.1975 |  | 106.9041
35 | 117.8741 | 228.773 | 442.4922 | 320.2027 |  |  |  |  | 260.9209 | 349.9599 | 237.1159 | 148.8671 |  | 105.6987
36 | 115.0173 | 222.6463 | 430.2042 | 311.3107 |  |  |  |  | 253.8334 | 340.558 | 231.0866 | 146.6661 |  | 104.5602
37 | 112.3148 | 216.8508 | 418.5802 | 302.8991 |  |  |  |  | 247.1289 | 331.6643 | 225.3831 | 144.5841 |  | 103.4832
38 | 109.7546 | 211.3602 | 407.5678 | 294.9302 |  |  |  |  | 240.7772 | 323.2385 | 219.9797 | 142.6116 |  | 102.4629
39 | 107.3256 | 206.1511 | 397.12 | 287.3698 |  |  |  |  | 234.7511 | 315.2447 | 214.8533 | 140.7403 |  | 101.495
40 | 105.018 | 201.2024 | 387.1945 | 280.1874 |  |  |  |  | 229.0263 | 307.6505 | 209.9832 | 138.9625 |  | 100.5754
41 | 102.823 | 196.4951 | 377.753 | 273.3552 |  |  |  |  | 223.5806 | 300.4266 | 205.3506 | 137.2714 |  | 99.7006
42 | 100.7325 | 192.0118 | 368.761 | 266.8483 |  |  |  |  | 218.3942 | 293.5467 | 200.9385 | 135.6608 |  | 98.8675
43 | 98.7392 | 187.737 | 360.1872 | 260.644 | [6 empty] | 196.7316 | 134.1251 |  | 98.0731
44 |  | 183.6565 | 352.003 | 254.7216 | [6 empty] | 192.7159 | 132.6592 |  | 97.3149
45 |  | 179.7573 | 344.1824 | 249.0624 | [6 empty] | 188.8786 | 131.2584 |  | 96.5903
46 |  | 176.0276 | 336.7018 | 243.6491 | [6 empty] | 185.2082 | 129.9185 |  | 95.8972
47 |  | 172.4566 | 329.5395 | 238.4662 | [6 empty] | 181.6938 | 128.6356 |  | 95.2336
48 |  | 169.0343 | 322.6755 | 233.4992 | [6 empty] | 178.3259 | 127.4062 |  | 94.5977
49 |  | 165.7517 | 316.0916 | 228.7349 | [6 empty] | 175.0954 | 126.2269 |  | 93.9877
50 |  | 162.6004 | 309.7711 | 224.1611 | [6 empty] | 171.9942 | 125.0948 |  | 93.4021
51 |  | 159.5726 | 303.6983 | 219.7667 | [6 empty] | 169.0145 | 124.0071 |  | 92.8394
52 |  | 156.6613 | 297.8591 | 215.5412 | [6 empty] | 166.1494 | 122.9612 |  | 92.2984
53 |  | 153.8598 | 292.2402 | 211.4751 | [6 empty] | 163.3923 | 121.9548 |  | 91.7778
54 |  | 151.162 | 286.8293 | 207.5597 | [6 empty] | 160.7374 | 120.9856 |  | 91.2765
55 |  | 148.5623 | 281.6152 | 203.7865 | [6 empty] | 158.179 | 120.0517 |  | 90.7934
56 |  | 146.0555 | 276.5872 | 200.1481 | [6 empty] | 155.712 | 119.1511 |  | 90.3276
57 |  | 143.6366 | 271.7357 | 196.6374 | [6 empty] | 153.3315 | 118.2822 |  | 89.8781
58 |  | 141.3011 | 267.0514 | 193.2477 | [6 empty] | 151.0331 | 117.4431 |  | 89.4441
59 |  | 139.0447 | 262.5259 | 189.9728 | [6 empty] | 148.8125 | 116.6325 |  | 89.0248
60 |  | 136.8636 | 258.1512 | 186.8071 | [6 empty] | 146.666 | 115.849 |  | 88.6195
61 |  | 134.7539 | 253.9199 | 183.7452 | [7 empty] | 115.0911 |  | 88.2275
62 |  | 132.7123 | 249.8251 | 180.7821 | [7 empty] | 114.3577 |  | 87.8481
63 |  | 130.7355 | 245.8602 | 177.913 | [7 empty] | 113.6475 |  | 87.4807
64 |  | 128.8204 | 242.0192 | 175.1335 | [7 empty] | 112.9595 |  | 87.1249
65 |  | 126.9643 | 238.2964 | 172.4396 | [7 empty] | 112.2927 |  | 86.7799
66 |  | 125.1644 | 234.6864 | 169.8273 | [7 empty] | 111.6461 |  | 86.4455
67 |  | 123.4183 | 231.1842 | 167.2929 | [7 empty] | 111.0188 |  | 86.121
68 |  | 121.7234 | 227.7849 | 164.8331 | [7 empty] | 110.4099 |  | 85.806
69 |  | 120.0777 | 224.4842 | 162.4445 | [7 empty] | 109.8187 |  | 85.5002
70 |  | 118.479 | 221.2777 | 160.1242 | [7 empty] | 109.2444 |  | 85.2032
71 |  |  | 218.1615 | 157.8693 | [7 empty] | 108.6863 |  | 84.9144
72 |  |  | 215.1319 | 155.6769 | [7 empty] | 108.1436 |  | 84.6338
73 |  |  | 212.1853 | 153.5447 | [7 empty] | 107.6158 |  | 84.3607
74 |  |  | 209.3184 | 151.47 | [7 empty] | 107.1023 |  | 84.0951
75 |  |  | 206.5278 | 149.4507 | [7 empty] | 106.6025 |  | 83.8366
76 |  |  | 203.8107 | 147.4845 | [7 empty] | 106.1158 |  | 83.5848
77 |  |  | 201.1642 | 145.5694 | [7 empty] | 105.6418 |  | 83.3396
78 |  |  | 198.5855 | 143.7033 | [7 empty] | 105.1799 |  | 83.1007
79 |  |  | 196.072 | 141.8845 | [7 empty] | 104.7297 |  | 82.8678
80 |  |  | 193.6214 | 140.1112 | [7 empty] | 104.2908 |  | 82.6408
81 |  |  | 191.2313 | 138.3816 | [7 empty] | 103.8627 |  | 82.4194
82 |  |  | 188.8995 | 136.6943 | [7 empty] | 103.445 |  | 82.2033
83 |  |  | 186.6239 | 135.0475 | [7 empty] | 103.0374 |  | 81.9925

## Figure 15
Figure 15 — NEM LCOE versus capacity factor
Capacity Factor (%) | LCOE ($/MWh)
| Wind - (100 MW) | Biomass | Geothermal - Enhanced Geothermal System (EGS) | Geothermal - Hot Sedimentary Aquifers (HSA) | Solar PV FFP | Solar PV SAT | Solar PV DAT | Solar Thermal CLF | Solar Thermal CR WS | Solar Thermal PT WS | Wave/Ocean | Integrated Solar Combined Cycle (ISCC) | CCGT - With CCS | CCGT - Without CCS | OCGT - Without CCS | Supercritical PC - Black coal with CCS | Supercritical PC - Black coal without CCS | Supercritical PC - Brown coal with CCS | Supercritical PC - Brown coal without CCS
0 | 360177.824 | 772397.7338 | 1549167.8708 | 1121031.6451 | 313112.6851 | 385422.8416 | 504682.5514 | 618003.2847 | 893535.7566 | 1185311.5958 | 760144.1175 | 277536.4022 | 375495.8858 | 143586.4196 | 92341.5897 | 735953.6307 | 406425.5706 | 1112500.0586 | 605792.8004
1 | 3580.9624 | 7655.562 | 15338.2692 | 11099.304 | 3100.1202 | 3816.0611 | 4996.8483 | 6133.8833 | 8852.5169 | 11747.0252 | 7545.9683 | 2805.6139 | 3786.53 | 1477.0549 | 1015.6727 | 7337.9079 | 4046.5496 | 11049.2066 | 6016.0936
2 | 1806.8517 | 3850.8812 | 7707.2894 | 5577.2622 | 1557.7718 | 1917.5232 | 2510.8541 | 3089.7622 | 4451.1154 | 5908.4056 | 3801.7055 | 1438.7964 | 1937.2329 | 770.0443 | 561.3157 | 3712.9604 | 2044.6674 | 5569.3611 | 3032.135
3 | 1211.5521 | 2574.2275 | 5146.7281 | 3724.3511 | 1040.2397 | 1280.4723 | 1676.6833 | 2068.313 | 2974.2332 | 3949.2675 | 2545.3249 | 980.1633 | 1316.7047 | 532.8082 | 408.857 | 2496.6159 | 1372.9395 | 3730.609 | 2030.8732
4 | 913.1601 | 1934.3088 | 3863.2548 | 2795.5853 | 780.8283 | 961.1525 | 1258.5578 | 1556.3147 | 2233.9506 | 2967.2557 | 1915.5681 | 750.2749 | 1005.6668 | 413.8944 | 332.4376 | 1886.927 | 1036.238 | 2808.9403 | 1528.9938
5 | 733.8866 | 1549.8467 | 3092.146 | 2237.5842 | 624.9743 | 769.3057 | 1007.3486 | 1248.707 | 1789.19 | 2377.2645 | 1537.2112 | 612.1583 | 818.7958 | 342.4511 | 286.5249 | 1520.6269 | 833.9482 | 2255.2031 | 1227.4655
6 | 614.2715 | 1293.3254 | 2577.6459 | 1865.274 | 520.9853 | 641.3014 | 839.7366 | 1043.4646 | 1492.4363 | 1983.6099 | 1284.7634 | 520.004 | 694.1115 | 294.7827 | 255.891 | 1276.2236 | 698.9762 | 1885.7379 | 1026.2794
7 | 528.7834 | 1109.9913 | 2209.936 | 1599.1864 | 446.665 | 549.8176 | 719.9453 | 896.7792 | 1280.3484 | 1702.2675 | 1104.3406 | 454.1419 | 605.0004 | 260.7143 | 233.9972 | 1101.5503 | 602.5126 | 1621.6836 | 882.493
8 | 464.6407 | 972.4336 | 1934.0389 | 1399.5377 | 390.9015 | 481.1762 | 630.0645 | 786.7194 | 1121.2162 | 1491.1729 | 968.9673 | 404.7248 | 538.1393 | 235.1525 | 217.5699 | 970.4908 | 530.1348 | 1423.5605 | 774.6084
9 | 414.7361 | 865.4103 | 1719.3842 | 1244.2061 | 347.5162 | 427.7716 | 560.135 | 701.0901 | 997.4075 | 1326.9362 | 863.6435 | 366.2771 | 486.1197 | 215.2647 | 204.7892 | 868.5232 | 473.8231 | 1269.4159 | 690.6715
10 | 374.8024 | 779.7702 | 1547.6175 | 1119.9098 | 312.7993 | 385.0371 | 504.1775 | 632.5696 | 898.3359 | 1195.514 | 779.3634 | 335.5112 | 444.4937 | 199.3505 | 194.562 | 786.9289 | 428.7625 | 1146.0694 | 623.5052
11 | 342.1228 | 709.687 | 1407.0528 | 1018.1923 | 284.3889 | 350.0655 | 458.3848 | 576.4961 | 817.2608 | 1087.9651 | 710.3931 | 310.334 | 410.4291 | 186.3272 |  | 720.1563 | 391.8873 | 1045.1291 | 568.5399
12 | 314.8853 | 651.2746 | 1289.8961 | 933.4136 | 260.7095 | 320.9177 | 420.2179 | 529.7604 | 749.6871 | 998.326 | 652.9082 | 289.3496 | 382.0373 | 175.4726 |  | 664.5033 | 361.1528 | 960.9982 | 522.7278
13 | 291.8349 | 601.8417 | 1190.7495 | 861.6677 | 240.6704 | 296.2507 | 387.9183 | 490.2092 | 692.5013 | 922.467 | 604.2604 | 271.591 | 358.01 | 166.2867 |  | 617.4057 | 335.1431 | 889.8006 | 483.9583
14 | 272.0751 | 559.4657 | 1105.7567 | 800.1639 | 223.4919 | 275.105 | 360.2296 | 456.3042 | 643.4791 | 857.4372 | 562.5573 | 256.3676 | 337.4128 | 158.4121 |  | 577.0315 | 312.8464 | 828.7668 | 450.7234
15 | 254.9482 | 522.7361 | 1032.0887 | 746.8552 | 208.6024 | 256.7769 | 336.2303 | 426.9169 | 600.9888 | 801.0723 | 526.4109 | 243.1726 | 319.5601 | 151.5867 |  | 542.037 | 293.5206 | 775.8655 | 421.9169
16 | 239.9608 | 490.5948 | 967.6235 | 700.2059 | 195.5729 | 240.7384 | 315.229 | 401.2006 | 563.8065 | 751.7486 | 494.78 | 231.626 | 303.9375 | 145.614 |  | 511.414 | 276.6091 | 729.5727 | 396.7089
17 | 226.7356 | 462.2325 | 910.7379 | 659.0416 | 184.0753 | 226.5856 | 296.697 | 378.5081 | 530.996 | 708.2243 | 466.8682 | 221.437 | 290.1518 | 140.3436 |  | 484.3916 | 261.6859 | 688.7228 | 374.4648
18 | 214.979 | 437.0199 | 860.1694 | 622.4485 | 173.8546 | 214.0045 | 280.223 | 358.3355 | 501.8291 | 669.5333 | 442.056 | 212.3794 | 277.897 | 135.6584 |  | 460.3701 | 248.42 | 652.4094 | 354.6909
19 | 204.4593 | 414.4599 | 814.9212 | 589.7053 | 164.7092 | 202.7471 | 265.4822 | 340.2852 | 475.7308 | 634.913 | 419.8542 | 204.2748 | 266.9315 | 131.4662 |  | 438.8758 | 236.5497 | 619.9164 | 336.9974
20 | 194.9911 | 394.1547 | 774.1955 | 560.2347 | 156.4778 | 192.6148 | 252.2147 | 324.0391 | 452.241 | 603.7529 | 399.8715 | 196.9803 | 257.062 | 127.6929 |  | 419.5298 | 225.8659 | 590.671 | 321.0723
21 | 186.4242 | 375.7825 | 737.3466 | 533.5696 | 149.0301 | 183.447 | 240.2102 | 309.3395 | 430.9872 | 575.559 | 381.791 | 190.3801 | 248.132 | 124.2789 |  | 402.0255 | 216.1991 | 564.2096 | 306.6632
22 | 178.6357 | 359.0797 | 703.8461 | 509.3274 |  |  |  | 295.9756 | 411.6648 | 549.9271 | 365.3534 | 184.3797 | 240.0135 | 121.1751 |  | 386.1117 | 207.4107 | 540.1527 | 293.5634
23 | 171.5242 | 343.8287 | 673.2574 | 487.1924 |  |  |  | 283.7732 | 394.0218 | 526.523 | 350.3445 | 178.9008 | 232.6006 | 118.341 |  | 371.5812 | 199.3862 | 518.1868 | 281.6022
24 | 165.0051 | 329.848 | 645.2166 | 466.9012 |  |  |  |  | 377.8485 | 505.0685 | 336.5859 | 173.8783 | 225.8052 | 115.743 |  | 358.261 | 192.0301 | 498.0507 | 270.6374
25 | 159.0073 | 316.9854 | 619.4183 | 448.2326 |  |  |  |  | 362.9685 | 485.3297 | 323.9275 | 169.2574 | 219.5532 | 113.3528 |  | 346.006 | 185.2623 | 479.5247 | 260.5494
26 | 153.4707 | 305.1118 | 595.6037 | 430.9995 |  |  |  |  | 349.2327 | 467.1086 | 312.2425 | 164.9919 | 213.782 | 111.1464 |  | 334.6933 | 179.0148 | 462.4233 | 251.2372
27 | 148.344 | 294.1174 | 573.5524 | 415.0425 |  |  |  |  | 336.514 | 450.2368 | 301.4227 | 161.0422 | 208.438 | 109.1033 |  | 324.2183 | 173.23 | 446.5882 | 242.6144
28 | 143.5834 | 283.9081 | 553.0757 | 400.2248 |  |  |  |  | 324.7034 | 434.5696 | 291.3755 | 157.3746 | 203.4757 | 107.2062 |  | 314.4912 | 167.8582 | 431.8838 | 234.6074
29 | 139.151 | 274.4026 | 534.0107 | 386.4287 |  |  |  |  | 313.7071 | 419.9826 | 282.021 | 153.9597 | 198.8555 | 105.4398 |  | 305.4348 | 162.8568 | 418.1931 | 227.1523
30 | 135.0141 | 265.5306 | 516.2163 | 373.552 |  |  |  |  | 303.4436 | 406.3677 | 273.2898 | 150.7725 | 194.5432 | 103.7911 |  | 296.9819 | 158.1886 | 405.4149 | 220.1942
31 | 131.1439 | 257.2308 | 499.5695 | 361.5059 |  |  |  |  | 293.842 | 393.6309 | 265.1218 | 147.7908 | 190.509 | 102.2488 |  | 289.0742 | 153.8216 | 393.4607 | 213.6847
32 | 127.5155 | 249.4495 | 483.9629 | 350.2123 |  |  |  |  | 284.8404 | 381.6899 | 257.4642 | 144.9954 | 186.7268 | 100.8029 |  | 281.6605 | 149.7274 | 382.2535 | 207.582
33 | 124.107 | 242.1398 | 469.3018 | 339.6031 |  |  |  |  | 276.3842 | 370.4724 | 250.2705 | 142.3694 | 183.1739 | 99.4445 |  | 274.6961 | 145.8813 | 371.7253 | 201.8491
34 | 120.8989 | 235.2598 | 455.5028 | 329.6177 |  |  |  |  | 268.4252 | 359.9146 | 243.4998 | 139.8978 | 179.8298 | 98.166 |  | 268.1411 | 142.2613 | 361.8162 | 196.4532
35 | 117.8741 | 228.773 | 442.4922 | 320.2027 |  |  |  |  | 260.9209 | 349.9599 | 237.1159 | 137.5675 | 176.6768 | 96.9606 |  | 261.9607 | 138.8481 | 352.4732 | 191.3656
36 | 115.0173 | 222.6463 | 430.2042 | 311.3107 |  |  |  |  | 253.8334 | 340.558 | 231.0866 | 135.3665 | 173.6989 | 95.8221 |  | 256.1235 | 135.6245 | 343.6491 | 186.5606
37 | 112.3148 | 216.8508 | 418.5802 | 302.8991 |  |  |  |  | 247.1289 | 331.6643 | 225.3831 | 133.2845 | 170.882 | 94.7452 |  | 250.6018 | 132.5751 | 335.3019 | 182.0153
38 | 109.7546 | 211.3602 | 407.5678 | 294.9302 |  |  |  |  | 240.7772 | 323.2385 | 219.9797 | 131.312 | 168.2132 | 93.7249 |  | 245.3705 | 129.6862 | 327.3938 | 177.7091
39 | 107.3256 | 206.1511 | 397.12 | 287.3698 |  |  |  |  | 234.7511 | 315.2447 | 214.8533 | 129.4407 | 165.6813 | 92.7569 |  | 240.4075 | 126.9454 | 319.8912 | 173.6237
40 | 105.018 | 201.2024 | 387.1945 | 280.1874 |  |  |  |  | 229.0263 | 307.6505 | 209.9832 | 127.6628 | 163.2759 | 91.8373 |  | 235.6926 | 124.3416 | 312.7637 | 169.7425
41 | 102.823 | 196.4951 | 377.753 | 273.3552 |  |  |  |  | 223.5806 | 300.4266 | 205.3506 | 125.9717 | 160.9879 | 90.9625 |  | 231.2076 | 121.8647 | 305.9837 | 166.0506
42 | 100.7325 | 192.0118 | 368.761 | 266.8483 |  |  |  |  | 218.3942 | 293.5467 | 200.9385 | 124.3612 | 158.8088 | 90.1294 |  | 226.9362 | 119.5058 | 299.5265 | 162.5344
43 | 98.7392 | 187.737 | 360.1872 | 260.644 | [6 empty] | 196.7316 | 122.8255 | 156.731 | 89.335 |  | 222.8633 | 117.2566 | 293.3696 | 159.1818
44 |  | 183.6565 | 352.003 | 254.7216 | [6 empty] | 192.7159 | 121.3595 | 154.7476 | 88.5768 |  | 218.9756 | 115.1095 | 287.4925 | 155.9815
45 |  | 179.7573 | 344.1824 | 249.0624 | [6 empty] | 188.8786 | 119.9588 | 152.8524 | 87.8522 |  | 215.2606 | 113.0579 | 281.8765 | 152.9234
46 |  | 176.0276 | 336.7018 | 243.6491 | [6 empty] | 185.2082 | 118.6189 | 151.0395 | 87.1591 |  | 211.7071 | 111.0955 | 276.5046 | 149.9982
47 |  | 172.4566 | 329.5395 | 238.4662 | [6 empty] | 181.6938 | 117.336 | 149.3038 | 86.4955 |  | 208.3047 | 109.2166 | 271.3613 | 147.1975
48 |  | 169.0343 | 322.6755 | 233.4992 | [6 empty] | 178.3259 | 116.1066 | 147.6404 | 85.8596 |  | 205.0441 | 107.4159 | 266.4322 | 144.5135
49 |  | 165.7517 | 316.0916 | 228.7349 | [6 empty] | 175.0954 | 114.9273 | 146.0448 | 85.2496 |  | 201.9166 | 105.6887 | 261.7043 | 141.939
50 |  | 162.6004 | 309.7711 | 224.1611 | [6 empty] | 171.9942 | 113.7952 | 144.5131 | 84.664 |  | 198.9141 | 104.0306 | 257.1655 | 139.4674
51 |  | 159.5726 | 303.6983 | 219.7667 | [6 empty] | 169.0145 | 112.7075 | 143.0414 | 84.1013 |  | 196.0294 | 102.4375 | 252.8046 | 137.0928
52 |  | 156.6613 | 297.8591 | 215.5412 | [6 empty] | 166.1494 | 111.6616 | 141.6263 | 83.5603 |  | 193.2556 | 100.9056 | 248.6114 | 134.8095
53 |  | 153.8598 | 292.2402 | 211.4751 | [6 empty] | 163.3923 | 110.6552 | 140.2646 | 83.0398 |  | 190.5864 | 99.4316 | 244.5765 | 132.6123
54 |  | 151.162 | 286.8293 | 207.5597 | [6 empty] | 160.7374 | 109.686 | 138.9534 | 82.5384 |  | 188.0161 | 98.0121 | 240.6909 | 130.4965
55 |  | 148.5623 | 281.6152 | 203.7865 | [6 empty] | 158.179 | 108.7521 | 137.6898 | 82.0553 |  | 185.5392 | 96.6443 | 236.9466 | 128.4576
56 |  | 146.0555 | 276.5872 | 200.1481 | [6 empty] | 155.712 | 107.8515 | 136.4713 | 81.5895 |  | 183.1508 | 95.3253 | 233.336 | 126.4915
57 |  | 143.6366 | 271.7357 | 196.6374 | [6 empty] | 153.3315 | 106.9825 | 135.2956 | 81.14 |  | 180.8462 | 94.0525 | 229.8521 | 124.5944
58 |  | 141.3011 | 267.0514 | 193.2477 | [6 empty] | 151.0331 | 106.1435 | 134.1604 | 80.706 |  | 178.621 | 92.8237 | 226.4883 | 122.7627
59 |  | 139.0447 | 262.5259 | 189.9728 | [6 empty] | 148.8125 | 105.3329 | 133.0636 | 80.2867 |  | 176.4712 | 91.6365 | 223.2385 | 120.993
60 |  | 136.8636 | 258.1512 | 186.8071 | [6 empty] | 146.666 | 104.5493 | 132.0035 | 79.8814 |  | 174.3931 | 90.4888 | 220.097 | 119.2824
61 |  | 134.7539 | 253.9199 | 183.7452 | [7 empty] | 103.7915 | 130.9781 | 79.4894 |  | 172.3831 | 89.3788 | 217.0585 | 117.6278
62 |  | 132.7123 | 249.8251 | 180.7821 | [7 empty] | 103.058 | 129.9857 | 79.11 |  | 170.4379 | 88.3046 | 214.118 | 116.0266
63 |  | 130.7355 | 245.8602 | 177.913 | [7 empty] | 102.3479 | 129.0249 | 78.7426 |  | 168.5545 | 87.2645 | 211.2708 | 114.4762
64 |  | 128.8204 | 242.0192 | 175.1335 | [7 empty] | 101.6599 | 128.0941 | 78.3868 |  | 166.7299 | 86.2568 | 208.5126 | 112.9743
65 |  | 126.9643 | 238.2964 | 172.4396 | [7 empty] | 100.9931 | 127.1919 | 78.0419 |  | 164.9615 | 85.2802 | 205.8392 | 111.5185
66 |  | 125.1644 | 234.6864 | 169.8273 | [7 empty] | 100.3465 | 126.317 | 77.7074 |  | 163.2466 | 84.3332 | 203.2468 | 110.1069
67 |  | 123.4183 | 231.1842 | 167.2929 | [7 empty] | 99.7192 | 125.4683 | 77.3829 |  | 161.583 | 83.4144 | 200.7318 | 108.7374
68 |  | 121.7234 | 227.7849 | 164.8331 | [7 empty] | 99.1103 | 124.6445 | 77.068 |  | 159.9682 | 82.5226 | 198.2908 | 107.4082
69 |  | 120.0777 | 224.4842 | 162.4445 | [7 empty] | 98.5191 | 123.8446 | 76.7622 |  | 158.4002 | 81.6567 | 195.9205 | 106.1175
70 |  | 118.479 | 221.2777 | 160.1242 | [7 empty] | 97.9448 | 123.0675 | 76.4651 |  | 156.8771 | 80.8156 | 193.618 | 104.8637
71 |  |  | 218.1615 | 157.8693 | [7 empty] | 97.3866 | 122.3124 | 76.1764 |  | 155.3968 | 79.9981 | 191.3802 | 103.6452
72 |  |  | 215.1319 | 155.6769 | [7 empty] | 96.844 | 121.5782 | 75.8957 |  | 153.9577 | 79.2033 | 189.2047 | 102.4605
73 |  |  | 212.1853 | 153.5447 | [7 empty] | 96.3162 | 120.8641 | 75.6227 |  | 152.5579 | 78.4303 | 187.0887 | 101.3083
74 |  |  | 209.3184 | 151.47 | [7 empty] | 95.8027 | 120.1693 | 75.357 |  | 151.196 | 77.6782 | 185.0299 | 100.1872
75 |  |  | 206.5278 | 149.4507 | [7 empty] | 95.3029 | 119.493 | 75.0985 |  | 149.8704 | 76.9461 | 183.026 | 99.096
76 |  |  | 203.8107 | 147.4845 | [7 empty] | 94.8162 | 118.8346 | 74.8468 |  | 148.5797 | 76.2333 | 181.0748 | 98.0335
77 |  |  | 201.1642 | 145.5694 | [7 empty] | 94.3422 | 118.1932 | 74.6016 |  | 147.3225 | 75.5391 | 179.1743 | 96.9986
78 |  |  | 198.5855 | 143.7033 | [7 empty] | 93.8803 | 117.5683 | 74.3626 |  | 146.0976 | 74.8626 | 177.3225 | 95.9903
79 |  |  | 196.072 | 141.8845 | [7 empty] | 93.4301 | 116.9592 | 74.1298 |  | 144.9036 | 74.2032 | 175.5176 | 95.0074
80 |  |  | 193.6214 | 140.1112 | [7 empty] | 92.9912 | 116.3653 | 73.9027 |  | 143.7395 | 73.5603 | 173.7579 | 94.0492
81 |  |  | 191.2313 | 138.3816 | [7 empty] | 92.5631 | 115.7861 | 73.6813 |  | 142.6041 | 72.9333 | 172.0415 | 93.1146
82 |  |  | 188.8995 | 136.6943 | [7 empty] | 92.1454 | 115.221 | 73.4652 |  | 141.4965 | 72.3216 | 170.367 | 92.2028
83 |  |  | 186.6239 | 135.0475 | [7 empty] | 91.7378 | 114.6695 | 73.2544 |  | 140.4155 | 71.7246 | 168.7329 | 91.3129

## Figure 16
Figure 16 — South Australia emissions at minimum LCOE
Technology | Capacity Factor (%) | Minimum LCOE ($/MWh) | Emissions (kgCO2-e/MWh)
Wind - (100 MW) | 43% | 97.9335 | 0
Biomass | 70% | 118.479 | 23.3935
Geothermal - Enhanced Geothermal System (EGS) | 83% | 186.6239 | 0
Geothermal - Hot Sedimentary Aquifers (HSA) | 83% | 135.0475 | 0
Solar PV DAT | 21% | 240.2102 | 0
Solar PV FFP | 21% | 149.0301 | 0
Solar PV SAT | 21% | 183.447 | 0
Solar Thermal CLF | 23% | 283.7732 | 0
Solar Thermal CR (with storage) | 42% | 218.3942 | 0
Solar Thermal PT (with storage) | 42% | 293.5467 | 0
Wave/Ocean | 60% | 146.666 | 0
Integrated Solar Combined Cycle (ISCC) | 83% | 103.0374 | 450.5028
OCGT - Without CCS | 10% | 205.5682 | 699.1908
CCGT - Without CCS | 83% | 81.9925 | 478.1028

## Figure 17
Figure 17 — NEM emissions at minimum LCOE
Legend | Capacity Factor (%) | Minimum LCOE ($/MWh) | Emissions (kgCO2-e/MWh)
Wind - (100 MW) | 43% | 97.9335 | 0
Biomass | 70% | 118.479 | 23.3935
Geothermal - Enhanced Geothermal System (EGS) | 83% | 186.6239 | 0
Geothermal - Hot Sedimentary Aquifers (HSA) | 83% | 135.0475 | 0
Solar PV DAT | 21% | 240.2102 | 0
Solar PV FFP | 21% | 149.0301 | 0
Solar PV SAT | 21% | 183.447 | 0
Solar Thermal CLF | 23% | 283.7732 | 0
Solar Thermal CR (with storage) | 42% | 218.3942 | 0
Solar Thermal PT (with storage) | 42% | 293.5467 | 0
Wave/Ocean | 60% | 146.666 | 0
Integrated Solar Combined Cycle (ISCC) | 83% | 91.7378 | 439.7765
OCGT - Without CCS | 10% | 194.562 | 592.0231
CCGT - Without CCS | 83% | 73.2544 | 404.8221
CCGT - With CCS | 83% | 114.6695 | 96.7347
Supercritical PC - Black coal with CCS | 83% | 140.4155 | 133.8462
Supercritical PC - Black coal without CCS | 83% | 71.7246 | 826.6988
Supercritical PC - Brown coal with CCS | 83% | 168.7329 | 174.8077
Supercritical PC - Brown coal without CCS | 83% | 91.3129 | 1213.2872

## Table 1
Table 1 — South Australian annual energy generation by fuel type changes (2009–10 to 2013–14)
Fuel source | % Change (2009-10 to 2013-14) | Compound annual growth rate (CAGR)
Coal | –55% | –18%
Natural gas | –21% | –5%
Wind | 53% | 14%
Solar (residential PV) | 2430% | 126%

## Table 4
Table 4 — South Australian coal resources
Deposit |  | Coal tonnage |  | Proximate analysis |  |  |  | Heat value (MJ/kg) | Impurities
|  | Measured Indicated (million tonnes) | Inferred (million tonnes) | Moisture (%) | Ash (%) | Volatile manner (%) | Fixed carbon (%) |  | Total sulphur (%) | Chlorine (%) | Sodium-in-ash (%)
Sub-bituminous
Arckaringa Coalfield | Wintinna | 1850 | 2270 | 35 | 6 | 25 | 34 | 18.5 | 1.2 | 0.04 | 2
| East Wintinna | 975 | 1200 | 38 | 6 | 22 | 34 | 17.6 | 0.7 | 0.02 | 1
| Murloocoppie | - | 1450 | 35 | 7 | 25 | 33 | 17.6 | 3.1 | - | 2
| Westfield | 140 | 490 | 35 | 7 | 25 | 33 | 17.8 | 3.1 | - | 1
Lake Phillipson |  | - | 4700 | 30 | 13 | 25 | 32 | 17 | 1 | 1.7 | 10
Leigh Creek Coalfield | Copley Basin Lobe A | 11 | - | 37 | 12 | 20 | 31 | 15.2 | 2.9 | - | -
| North Field Lobe C | 12 | - | 29 | 22 | 22 | 27 | 13.3 | 3 | - | -
| Telford Basin Lobe B | 150 | 350 | 33 | 16 | 21 | 30 | 15.8 | 0.4 | 0.27 | 4
Lock |  | 260 | - | 26 | 23 | 30 | 21 | 14.6 | 0.4 | - | 2
Lignite
Northern St Vincent Basin | Bowmans | 1250 | 350 | 56 | 5 | 22 | 17 |  | 2.2 | 0.5 | 14
| Clinton* | 340 | 440 | 53 | 9 | 18 | 20 |  | 1.9 | - | 16
| Beaufort* | 255 | 45 | - | - | - | - |  | - | - | -
| Whitwarta* | 145 | 185 | 55 | 12 | 19 | 14 |  | 2.6 | - | 9
| Lochiel | 585 | - | 61 | 6 | 19 | 14 |  | 1.1 | 0.18 | 6
Kingston+ |  | 985 | - | 53 | 7 | 22 | 18 |  | 1.5 | 0.11 | 6
Anna |  | 58 | - | 54 | 11 | 21 | 14 |  | 1.8 | - | 2
Sedan |  | 231 | - | 58 | 9 | 19 | 14 |  | 2.3 | 0.08 | 3
Moorlands |  | 32 | - | 55 | 9 | 18 | 18 |  | 1.8 | 0.14 | 3

## Table 5
Table 5 — South Australian gas consumption 2011–14
Calendar year | Calculation | Total gas consumption (PJ) | Gas used for electricity generation (GPG)
|  |  | (PJ) | Percent of total
2011 | Actual | 103.8 | 63 | 60.7%
2012 | Actual | 105.2 | 65.6 | 62.4%
2013 | Actual | 96.8 | 58.3 | 60.2%
2014 | Forecast | 85.2 | 47.3 | 55.5%

## Table 6
Table 6 — Major gas pipelines relating to South Australia
Gas pipeline | Length (km) | Year of first gas flow | Capacity reported as at July 2013 (TJ/d)
South West Queensland Pipeline | 937 | 1996 | 385 (west), 198 (east)
Moomba to Adelaide Pipeline | 1185 | 1969 | 253
Moomba to Sydney Pipeline | 2030 | 1998 | 420
South East Australia Gas Pipeline | 680 | 2004 | 314

## Table 12
Table 12 — LCOE and emissions comparison across technologies (renewables)
Technology | Fuel type | Max Capacity factor (%) | 2014 |  | 2015
|  |  | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out) | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out)
Wind (100 MW) | Wind | 43 | - | 99 | - | 99
Biomass | Biomass | 70 | 23 | 100 | 23 | 119
Solar PV (FFP) | Solar | 21 | - | 224 | - | 149
Solar PV (SAT) | Solar | 21 |  |  | - | 183
Solar PV (DAT) | Solar | 21 |  |  | - | 240
Solar thermal (CR with storage) | Solar | 42 | - | 277 | - | 218
Solar thermal (CLF) | Solar | 23 | - | 328 | - | 284
Solar thermal (PT with storage) | Solar | 42 | - | 302 | - | 294
Wave | Oceanic | 60 |  |  | - | 147
Geothermal - HAS | Geothermal | 83 | - | 137
Geothermal - EGS | Geothermal | 83 | - | 137

## Table 13
Table 13 — LCOE and emissions comparison across technologies (non-renewables)
Technology | Fuel type | Capacity factor (%) | Region | 2014 |  | 2015
|  |  |  | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out) | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out)
Open Cycle | Gas | 10 | SA | 700 | 240 | 699 | 205
(OCGT) |  |  | NEM | 700 | 240 | 592 | 195
Combined cycle | Gas | 83 | SA | 499 | 101 | 478 | 82
(CCGT) |  |  | NEM | 499 | 101 | 405 | 73
Combined cycle | Gas | 83 | SA | 213 | 140
(CCGT – with CCS) |  |  | NEM | 213 | 140 | 97 | 115
Supercritical | Brown coal | 83 | SA
(SCPC) |  |  | NEM |  |  | 1213 | 91
Supercritical | Brown coal | 83 | SA
(SCPC – with CCS) |  |  | NEM |  |  | 175 | 169
Supercritical | Black coal | 83 | SA
(SCPC) |  |  | NEM |  |  | 827 | 72
Supercritical | Black coal | 83 | SA
(SCPC – with CCS) |  |  | NEM | 123 | 152 | 134 | 140
Supercritical | Black coal | 83 | SA
(SCPC – with oxy combustion CCS) |  |  | NEM | 22 | 158
Integrated Gasification and Combined Cycle | Black coal | 83 | SA
(IGCC – with CSS) |  |  | NEM | 150 | 191
Integrated solar combined cycle | Gas / Solar | 83 | SA | 446 | 123 | 450 | 103
(ISCC) |  |  | NEM | 376 | 112 | 440 | 92

## Table 14
Table 14 — LCOE and emissions comparison across technologies (storage)
Technology | Fuel type | Max Capacity factor (%) | 2015
|  |  | CO2 emissions (kgCO2-e/MWh) | Minimum LCOE ($/MWh sent out)
Pumped hydro storage | Wind | 20 | - | 201
Grid battery storage | Battery | 20 | - | 295