## Introduction
In December 2018, AER made a final determination on a new Transmission Annual Planning Report (TAPR) Guideline, requiring TNSPs to publish specified information on emerging transmission line and terminal station limitations.
The "Summary Generation data" spreadsheet provides generation connection information on selected areas which may affect Declared Shared Network (DSN) emerging limitations driven by new generation connections based on AEMO’s VAPR and RIT-T reports.
The information provided includes the proposed generator size, technology and approximate location for connection applications and new (completed over the last 12 months as of June 2023) connection agreements in the selected areas.
More generation connection data is available at AEMO website:
• Generation information page, at http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information.
• Victorian Generation maps, at https://www.aemo.com.au/-/media/files/electricity/nem/network_connections/generation-maps/vic-map.pdf?la=en
• Generator Connections layer on AEMO's interactive map, at https://www.aemo.com.au/aemo/apps/visualisations/map.html .

## Summary_generation data
Approximate generator size (MW) | Approximate generator location | Associated generator type and technology | Connection status (note 1) | Project Quantity
1390 | Greater Melbourne & Geelong | BESS | Applications | 4
200 | Greater Melbourne & Geelong | BESS | Agreement | 1
992 | Murray River | BESS, Solar | Applications | 6
0 | Murray River | N/A | Agreement | 0
118.8 | Western Victoria | Solar, BESS | Applications | 1
109.2 | Western Victoria | Wind | Agreement | 1
1855 | South West Victoria | Wind, Solar, BESS | Applications | 6
819.5 | South West Victoria | Wind | Agreement | 2
755 | Gippsland REZ | Wind, BESS | Applications | 4
0 | Gippsland REZ | N/A | Agreement | 0
1156 | Central North REZ | Solar, BESS | Applications | 6
0 | Central North REZ | N/A | Agreement | 0
Note 1:
"Applications" applies to projects for which a connection application is being processed by AEMO, up to and including negotiation and alignment of contracts.
"Agreement" applies to projects that have achieved contract execution, are under construction or commissioned and registered.