## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 7.5519 | 9.3001 | 7.9579 | 8.5108 | 8.4579 | 8.8012 | 11.7435 | 11.5318 | 11.0816 | 10.1306 | 10.0981
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.7457 | 4.8399 | 4.356 | 4.4997 | 4.4096 | 4.4037 | 4.7153 | 4.8358 | 4.5474 | 3.8402 | 4.16
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3268 | 11.3177 | 11.0785 | 11.331 | 12.3218 | 13.7773 | 13.1886 | 12.8481 | 13.2006 | 13.3931 | 13.5342

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.9671 | 62.8322 | 59.5901 | 63.8258 | 64.2974 | 64.2042 | 68.7312 | 67.4388 | 68.0666 | 68.7682 | 63.8218 | 69.2706
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.9153 | 61.5506 | 64.0871 | 60.4567 | 56.0316 | 55.2365 | 58.674 | 64.7581 | 62.4039 | 62.6463 | 64.6936 | 66.35
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 65.3809 | 71.3198 | 69.2081 | 63.6169 | 69.107 | 62.7288 | 62.772 | 66.636 | 66.8293 | 61.3566 | 71.4715 | 71.7152
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4997 | 3.9458 | 4.5868 | 5.6939 | 2.5639 | 2.6579 | 8.022 | 7.5179 | 8.3328 | 10.7775 | 19.2856 | 14.0479
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8427 | 6.0439 | 6.4703 | 9.3916 | 7.4359 | 6.9044 | 7.6517 | 11.0405 | 12.4124 | 13.5431 | 16.9387 | 14.479
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.2157 | 0.20873 | 0.23066 | 0.37094 | 0.1158 | 0.20436 | 0.3814 | 0.17739 | 0.32377 | 0.60426 | 2.3491 | 1.7577
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.9198 | 1.8077 | 1.7701 | 2.3588 | 1.1688 | 1.2048 | 2.3182 | 1.9726 | 1.8853 | 2.4418 | 4.3612 | 3.4441
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9267 | 32.6735 | 32.0869 | 32.5366 | 32.5326 | 32.3649 | 32.2548 | 32.0049 | 32.3431 | 32.5269 | 32.1211 | 32.8355
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3761 | 32.7044 | 33.1662 | 32.8654 | 31.4455 | 30.299 | 30.8265 | 31.5073 | 31.1807 | 30.629 | 31.3641
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.2533 | 33.6547 | 32.6965 | 33.0392 | 32.6067 | 32.5766 | 32.2325 | 30.9829 | 31.0547 | 31.4679 | 31.5535 | 31.719
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.8094 | 32.1394 | 31.1306 | 31.4651 | 31.2225 | 30.9593 | 31.5311 | 30.9914 | 31.0692 | 31.0899 | 29.3921 | 29.6243
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4813 | 35.5125 | 36.0178 | 36.1315 | 36.0816 | 36.4584 | 34.9977 | 35.9213 | 36.1411 | 36.2474 | 36.2333 | 36.5649
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.2997 | 28.4019 | 28.4694 | 28.3102 | 28.38 | 28.4743 | 28.4273 | 28.3181 | 28.1553 | 28.1998 | 28.3871 | 28.2126
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5161 | 30.5094 | 30.4243 | 29.8036 | 27.0939 | 22.9371 | 26.5492 | 26.9028 | 25.4406 | 26.3098 | 25.7386
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9821 | 29.6485 | 29.0978 | 29.0789 | 28.7923 | 29.2163 | 28.981 | 27.2269 | 27.0989 | 27.3727 | 27.6932 | 27.6574
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.3531 | 30.1293 | 29.7464 | 29.9722 | 29.7855 | 29.9813 | 29.6764 | 29.3008 | 29.1597 | 29.5261 | 26.3837 | 26.2301
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6162 | 30.5985 | 30.6012 | 30.5262 | 30.5308 | 30.6246 | 30.5511 | 30.2242 | 30.0854 | 29.9842 | 30.0451 | 29.6841
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3477 | 40.3038 | 40.0249 | 40.5411 | 40.7654 | 40.827 | 39.6881 | 39.7431 | 40.2733 | 40.7529 | 40.6142 | 41.1873
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.816 | 30.7249 | 30.614 | 30.5885 | 29.6975 | 28.9131 | 29.4754 | 29.564 | 29.7377 | 29.5248 | 29.0111
REZ Wind QLD | Capacity Factor | % | 2027: 44.2073; 2028: 43.6252; 2029: 41.4451; 2030: 44.4498; 2031: 44.4071; 2032: 43.5363; 2033: 43.4758; 2034: 43.2515
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.2249 | 30.7496 | 30.6031 | 30.5688 | 30.4069 | 30.6204 | 30.3648 | 30.0944 | 30.0112 | 30.367 | 25.2933 | 25.14
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.6141 | 22.0701 | 19.5791 | 19.7909 | 19.6575 | 19.9375 | 20.2336 | 20.8232 | 21.4684 | 22.3029 | 24.1505 | 24.256
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.5334 | 39.7309 | 38.986 | 39.9109 | 40.1401 | 40.8835 | 41.6764 | 41.94 | 42.4974 | 42.5981 | 42.6617 | 42.6433
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4847 | 15.6823 | 15.5584 | 15.57 | 15.4918 | 15.5638 | 15.6775 | 15.7618 | 15.6216 | 15.5544 | 15.3681 | 15.4716
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0824 | 52.2539 | 51.8958 | 52.2003 | 52.5309 | 52.5635 | 52.0024 | 52.3573 | 52.216 | 52.1077 | 51.8542 | 52.1057
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.7457 | 4.8399 | 4.356 | 4.4997 | 4.4096 | 4.4037 | 4.7153 | 4.8358 | 4.5474 | 3.8402 | 4.16
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.3268 | 11.3177 | 11.0785 | 11.331 | 12.3218 | 13.7773 | 13.1886 | 12.8481 | 13.2006 | 13.3931 | 13.5342
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 7.5519 | 9.3001 | 7.9579 | 8.5108 | 8.4579 | 8.8012 | 11.7435 | 11.5318 | 11.0816 | 10.1306 | 10.0981
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.5335 | 0.20373 | 0.90212 | 0.40826 | 0.19745 | 0.09793 | 0.18767 | 0.086669 | 0.04555 | 0.20018 | 0.35212 | 0.31375
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.6057 | 10.0564 | 9.7804 | 9.4429 | 9.6819 | 10.7951 | 13.0533 | 12.3372 | 11.7167 | 12.0762 | 12.1056 | 11.7643
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.6837 | 13.3612 | 12.7745 | 11.6226 | 11.6047 | 11.1392 | 10.8207 | 10.9623 | 10.8548 | 10.1499 | 9.1891 | 8.9123
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.68871 | 0.29372 | 1.1217 | 0.65447 | 0.34503 | 0.25945 | 0.3591 | 0.29113 | 0.19117 | 0.39793 | 0.95412 | 0.85161
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 14.0186 | 14.6058 | 15.8958 | 13.8826 | 14.6839 | 14.3178 | 14.0859 | 17.0076 | 16.9569 | 15.8641 | 14.211 | 13.7228
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.8151 | 1.7077 | 1.7635 | 2.0282 | 0.95717 | 1.151 | 3.7773 | 3.9414 | 8.961 | 9.794 | 19.9623 | 13.2405
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3611 | 1.1513 | 1.2117 | 1.8987 | 1.2326 | 1.8611 | 2.1072 | 1.2119 | 1.8193 | 3.127 | 14.1277 | 11.2884
New Natural Gas SA | Capacity Factor | % | [5 empty] | 2.8676 | 3.7879 | 1.7003 | 2.3697 | 4.2069 | 3.5132 | 7.3058 | 8.4259 | 18.7601 | 14.2969
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 21.2215 | 21.5075 | 20.9944 | 22.0731 | 22.4716 | 22.8452 | 23.3009 | 23.4425 | 23.1974 | 23.6178
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 10.8754 | 12.1186 | 10.6937 | 11.7788 | 14.2425 | 15.2734 | 16.3204 | 17.2581 | 18.2845 | 18.5417
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0739; 2030: 24.4852; 2031: 24.6611; 2032: 24.6645; 2033: 24.8363; 2034: 24.8358
Pumped Hydro VIC | Capacity Factor | %

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1172857.2743 | 1152956.7353 | 1188112.4863 | 1336710.2609 | 1333304.8642 | 1439290.7595 | 1340589.1566 | 1367748.0292 | 1423205.4425 | 1460206.2233 | 1379030.8754 | 1519237.3162
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1151380.6057 | 1157352.0431 | 1221150.361 | 1159495.0871 | 1089432.4674 | 1122488.0016 | 1205231.7491 | 995398.9151 | 974553.2774 | 1033366.8396 | 1066237.3132 | 1102695.5657
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 288049.5335 | 313315.9306 | 304117.2579 | 276867.3493 | 305017.6157 | 276660.5966 | 275680.435 | 298237.0368 | 301687.1262 | 281099.0479 | 213549.7534 | 214277.4392
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 60948.5617 | 66182.8238 | 76190.6585 | 92769.3634 | 41575.9636 | 44032.9124 | 124105.2679 | 122567.2326 | 140384.7258 | 175931.3302 | 311366.6178 | 225965.4775
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 148359.5346 | 138410.5611 | 130648.0625 | 162396.348 | 129683.1925 | 121033.7245 | 132115.2614 | 222687.9103 | 269657.3149 | 292907.6433 | 369666.2775 | 311863.3671
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7609.0659 | 7011.1287 | 8086.1565 | 13197.849 | 4570.3445 | 8409.8346 | 12244.146 | 7854.7947 | 9900.5078 | 15270.528 | 66211.7725 | 48990.4541
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 337303.1253 | 32175.9991 | 32044.0379 | 42385.4435 | 21361.1462 | 21887.087 | 42222.1109 | 37275.7824 | 44069.8858 | 53953.392 | 89389.2127 | 73810.4927
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 155.559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38417.6667 | 23848.986 | 24805.2871 | 24454.0181 | 26004.7783 | 27878.1404 | 31924.0727 | 35555.9411 | 41495.4022 | 56411.0237 | 58221.746
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11621.1467 | 9669.3818 | 12472.0608 | 13130.4575 | 15203.8029 | 17799.5783 | 18535.5674 | 20513.4771 | 20575.2863 | 20910.5998 | 20563.7176
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23195.373 | 23100.579 | 23074.9701 | 22921.8424 | 23001.1777 | 23264.1176 | 23312.6162 | 23139.7159 | 23019.0756 | 22553.6199 | 22777.8378
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62392.4925 | 62308.3622 | 62274.0117 | 62361.6268 | 62472.2144 | 62308.379 | 62374.1081 | 62310.3089 | 62352.6975 | 62278.65 | 62611.577
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 8974.0188 | 8220.5633 | 8259.6188 | 9244.4248 | 4238.0996 | 5096.4017 | 16725.0328 | 17451.5734 | 39676.7748 | 44860.4964 | 91435.6524 | 60646.8226
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4541.5683 | 3748.7629 | 3844.6022 | 5871.5608 | 3712.4256 | 5605.4248 | 6407.3426 | 3685.0763 | 5573.7029 | 9580.0318 | 43282.7721 | 34583.8592
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2028.6216 | 2596.2848 | 1127.9759 | 1572.1059 | 2842.9919 | 2374.1789 | 4937.1993 | 5885.2905 | 13103.5363 | 9986.1125
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2039.9848 | 2067.5358 | 4729.9707 | 4973.447 | 5063.3782 | 5147.8589 | 5250.559 | 7772.1211 | 21048.1715 | 21437.6919
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 22497.973 | 25050.6666 | 22105.1725 | 24348.1508 | 29440.9883 | 31571.8594 | 33736.3092 | 35674.5663 | 37796.301 | 38340.2221
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3857.8094 | 14223.8544 | 14326.2165 | 14328.1706 | 14430.5035 | 14427.8624
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1374 | 1374 | 1374 | 1374 | 1565 | 1565 | 1797 | 1797 | 2034 | 3104 | 3104
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1537.7 | 2304.7 | 2983.7 | 3827.7 | 4482.7 | 4482.7 | 4482.7 | 4482.7 | 4482.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 490 | 490 | 636 | 636 | 636 | 636 | 636 | 636 | 2044 | 2044
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 179 | 179 | 179 | 306 | 306
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 225 | 225 | 225 | 225 | 225 | 331 | 906 | 906
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 580 | 580 | 580 | 580 | 580
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 77.2749 | 75.8248 | 74.2703 | 64.9283 | 63.5192 | 61.1059 | 77.2837 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 126.442 | 130.2936 | 113.982 | 104.519 | 122.0357 | 127.9586 | 121.3297 | 129.0266 | 135.1839 | 135.1839 | 132.5431
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.192 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010487 | 0.010642 | 0.0093552 | 0.0094783 | 0.0094394 | 0.0096858 | 0.0099157 | 0.010315 | 0.010558 | 0.010814 | 0.011194 | 0.011225
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098543 | 0.0098565 | 0.0098634 | 0.0098504 | 0.0098509 | 0.0098586 | 0.0098556 | 0.0098565 | 0.00986 | 0.0098537 | 0.0098536 | 0.0098548
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011431 | 0.011431 | 0.011431 | 0.011432 | 0.011432 | 0.011433 | 0.011433 | 0.011434 | 0.011433 | 0.011437
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.01159 | 0.011586 | 0.011622 | 0.011592 | 0.011586 | 0.011611 | 0.011632 | 0.011598 | 0.011578 | 0.011597
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011434; 2031: 0.011434; 2032: 0.011434; 2033: 0.011436; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 46002.2489 | 45055.7816 | 42920.1397 | 46134.3803 | 46254.8811 | 46207.8648 | 41538.4211 | 40746.4461 | 41134.467 | 41569.5109 | 38552.7225 | 41888.3443
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46231.266 | 45962.5304 | 47641.9832 | 44871.8259 | 41944.8739 | 41318.9914 | 43191.8388 | 37283.2902 | 35612.8514 | 35847.3733 | 36992.7721 | 38056.1406
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 28250.4858 | 30259.6785 | 29374.9991 | 26651.6664 | 29330.5583 | 26219.8938 | 26112.5177 | 28304.5341 | 28373.6879 | 26609.773 | 20546.4601 | 20616.3288
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 648.6791 | 727.9589 | 860.4228 | 1082.9358 | 486.2914 | 514.3187 | 1437.7873 | 1439.5554 | 1649.8256 | 2022.8776 | 3423.6773 | 2564.4883
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1738.208 | 1775.0182 | 1862.9575 | 2610.5777 | 2085.1703 | 1946.0505 | 2137.7335 | 3029.5619 | 3614.5396 | 3940.7051 | 4983.2273 | 4244.3564
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 60.629 | 56.9159 | 66.7772 | 112.5973 | 39.1377 | 71.7904 | 104.3284 | 66.1279 | 83.6758 | 127.7532 | 553.8347 | 412.9785
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4255.7839 | 347.6497 | 362.7174 | 499.527 | 254.5833 | 245.2782 | 472.2913 | 418.9612 | 495.9866 | 604.0963 | 978.5374 | 817.4267
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.33661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4311.325 | 4284.0894 | 4205.859 | 4263.4961 | 4263.1496 | 4241.3448 | 4233.8881 | 4198.2565 | 4241.9868 | 4262.9598 | 4207.8852 | 4300.9164
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1976.553 | 1936.6756 | 1964.1817 | 1954.0942 | 1876.6722 | 1812.93 | 1816.7649 | 1856.4114 | 1845.2449 | 1808.9333 | 1852.9044
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13748.5681 | 14590.9367 | 14671.261 | 14495.5263 | 15575.8379 | 15391.0418 | 15961.1264 | 16031.4489 | 16178.3519 | 16214.0353 | 16276.4873
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5637.5217 | 5874.0459 | 5686.9603 | 5754.3387 | 5706.0284 | 5659.9075 | 5762.9434 | 5663.9763 | 5679.9748 | 5688.0959 | 5374.4453 | 5422.3318
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1342.046 | 1306.3045 | 1324.7667 | 1329.1479 | 1327.0731 | 1341.0733 | 1287.5046 | 1321.141 | 1329.1698 | 1333.0907 | 1332.4085 | 1344.3155
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.6928 | 1094.4131 | 1097.3713 | 1091.3507 | 1093.5697 | 1096.0914 | 1094.4937 | 1090.0852 | 1084.1067 | 1085.8184 | 1092.7074 | 1086.0324
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3250.549 | 3249.4527 | 3240.641 | 3185.3462 | 2915.3338 | 2480.6961 | 2820.0892 | 2858.5373 | 2717.1413 | 2796.4624 | 2746.1534
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2587.11 | 3586.8426 | 3586.6339 | 3538.0701 | 3834.265 | 3785.3766 | 3981.4554 | 3960.8159 | 4001.9975 | 4066.4952 | 4059.0661
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 820.1252 | 843.9425 | 835.7014 | 839.3456 | 830.6424 | 833.9577 | 824.6582 | 815.0499 | 809.6963 | 823.219 | 692.6277 | 687.5023
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3315.9627 | 3691.3237 | 3690.3797 | 3684.2363 | 3686.124 | 4208.9614 | 4200.4421 | 4776.6037 | 4757.671 | 5374.7927 | 8172.3601 | 8102.1963
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 488.9776 | 476.6332 | 473.3341 | 479.4387 | 482.0919 | 482.8204 | 469.3509 | 470.0023 | 476.2715 | 481.9435 | 480.3032 | 487.0814
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1805.7702 | 1800.4 | 4129.3765 | 6197.6329 | 7996.8504 | 9898.3022 | 11540.6887 | 11592.0304 | 11683.6415 | 11583.2892 | 11358.7839
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 352.4031 | 1054.7521 | 1844.1979 | 2467.8393 | 2463.1522 | 2411.3508 | 2419.4109 | 2404.0113
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1309.419 | 1329.8946 | 1326.2829 | 1324.6594 | 1711.2424 | 1725.3867 | 1709.0357 | 1691.5495 | 1681.5215 | 1712.5285 | 4010.6946 | 3975.7607
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 799.6498 | 807.5633 | 811.778 | 1381.3622 | 1392.246
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3848.4896 | 3995.9936 | 3151.1732 | 3207.8849 | 3188.0206 | 3278.0039 | 3386.3479 | 3609.7263 | 3808.6228 | 4153.1261 | 4997.0233 | 5106.0936
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1017.3168 | 1033.4367 | 921.0293 | 1080.9342 | 1118.4396 | 1236.2168 | 1383.3363 | 1425.4009 | 1535.6726 | 1541.1005 | 1559.6214 | 1540.9422
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3193.7996 | 3180.7473 | 3177.2212 | 3156.1368 | 3167.0606 | 3203.2652 | 3209.943 | 3186.1361 | 3169.525 | 3105.4358 | 3136.3087
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8570.3787 | 8590.8995 | 8579.3155 | 8574.5857 | 8586.6496 | 8601.8765 | 8579.3178 | 8588.3682 | 8579.5836 | 8585.4201 | 8575.2244 | 8621.0655
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 96.2522 | 69.2148 | 69.9915 | 63.0582 | 64.544 | 63.2627 | 63.0138 | 66.2482 | 67.5918 | 63.8027 | 56.437 | 60.1127
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 79.8838 | 81.8128 | 81.3546 | 78.8977 | 82.0639 | 93.4121 | 111.2215 | 105.1621 | 100.4112 | 104.4443 | 106.904 | 107.7519
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 95.208 | 67.3203 | 83.0661 | 70.9216 | 76.2687 | 75.5385 | 78.7773 | 106.3461 | 104.2555 | 100.0799 | 91.066 | 90.7981
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 6.6744 | 3.4989 | 20.0712 | 11.2514 | 6.5313 | 3.7922 | 8.3397 | 4.3531 | 2.5299 | 12.0528 | 22.7971 | 22.0975
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.41 | 88.3341 | 108.1704 | 126.3159 | 152.5502 | 196.4488 | 270.0485 | 286.4378 | 302.0238 | 342.4913 | 374.3699 | 409.3207
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.5918 | 44.0633 | 55.0589 | 62.7528 | 76.0358 | 86.4264 | 97.5114 | 112.9527 | 125.8771 | 130.4004 | 129.0811 | 142.9655
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.35551 | 0.19085 | 0.85786 | 0.55682 | 0.32207 | 0.26136 | 0.38501 | 0.33068 | 0.22885 | 0.49985 | 1.2529 | 1.1766
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 94.5154 | 128.5619 | 175.0317 | 184.553 | 229.644 | 257.6114 | 286.9463 | 387.8223 | 428.6998 | 441.0761 | 430.8732 | 464.9176
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 79.5003 | 74.7956 | 77.2405 | 88.8348 | 41.9241 | 50.4145 | 165.4471 | 172.6342 | 392.49 | 428.9761 | 874.3485 | 579.9319
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 38.1542 | 32.2721 | 33.9666 | 53.2244 | 34.5514 | 52.1695 | 59.0692 | 33.9727 | 50.9983 | 87.6554 | 396.029 | 316.4356
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 18.8405 | 24.8864 | 11.1706 | 15.569 | 27.6393 | 23.0816 | 47.9991 | 55.3579 | 123.2539 | 93.9309
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 178.464 | 180.8699 | 413.8003 | 435.0616 | 442.9147 | 450.2793 | 459.2601 | 679.728 | 1841.0719 | 1874.4428
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1943.4686 | 2165.6478 | 1911.0077 | 2104.9148 | 2545.1942 | 2729.4095 | 2916.5277 | 3084.0914 | 3267.5168 | 3313.4793
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 337.42 | 1244.0436 | 1252.9823 | 1253.1529 | 1261.8834 | 1261.8584
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 142 | 0 | 0 | 0 | 191 | 0 | 232 | 0 | 237 | 1070 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 868 | 767 | 679 | 844 | 655 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 0 | 0 | 146 | 0 | 0 | 0 | 0 | 0 | 1408 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 127 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50269.0191 | 49185.7294 | 46838.7906 | 50362.2077 | 50509.3365 | 50457.3279 | 45414.9453 | 44548.5673 | 44973.2963 | 45449.0741 | 42190.121 | 45798.1764
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97578.1707 | 97226.971 | 101523.3195 | 90646.5048 | 85062.9957 | 89714.6051 | 90027.92 | 86003.3146 | 85890.8773 | 80874.458 | 88174.6779 | 89139.7598
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31983.9945 | 34281.6334 | 33279.5736 | 30237.4974 | 33229.0714 | 29709.1609 | 29589.5502 | 32066.9936 | 32145.6774 | 30122.7178 | 23176.4845 | 23255.1939
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38417.6667 | 23848.986 | 24805.2871 | 24454.0181 | 26004.7783 | 27878.1404 | 31924.0727 | 35555.9411 | 41495.4022 | 56411.0237 | 58221.746
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11621.1467 | 9669.3818 | 12472.0608 | 13130.4575 | 15203.8029 | 17799.5783 | 18535.5674 | 20513.4771 | 20575.2863 | 20910.5998 | 20563.7176
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62392.4925 | 62308.3622 | 62274.0117 | 62361.6268 | 62472.2144 | 62308.379 | 62374.1081 | 62310.3089 | 62352.6975 | 62278.65 | 62611.577
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23195.373 | 23100.579 | 23074.9701 | 22921.8424 | 23001.1777 | 23264.1176 | 23312.6162 | 23139.7159 | 23019.0756 | 22553.6199 | 22777.8378
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.8699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5466.3554 | 6131.5778 | 7257.3533 | 9182.6245 | 4113.3149 | 4389.1937 | 12261.4883 | 12122.0451 | 13299.3162 | 16555.7681 | 28770.06 | 21132.0448
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12839.9289 | 13122.778 | 13781.6868 | 19455.0887 | 15475.9413 | 14401.7913 | 15830.8692 | 22680.5571 | 27150.3688 | 29702.6077 | 37859.966 | 31873.5265
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 28080.1574 | 3960.3724 | 4138.2085 | 5703.6075 | 2910.2456 | 2800.6781 | 5392.0395 | 4784.797 | 5680.0062 | 6915.4268 | 11182.3496 | 9352.1603
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 741.9961 | 684.1251 | 793.414 | 1283.8844 | 443.6359 | 818.7599 | 1177.5942 | 756.6688 | 938.1366 | 1383.6741 | 5998.1609 | 4470.2897
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 815.0789 | 766.8436 | 791.9098 | 910.7808 | 429.8275 | 516.8764 | 1696.2508 | 1769.9365 | 4024.0137 | 4398.0879 | 8964.2796 | 5945.7669
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 197.145 | 260.4097 | 116.8887 | 162.9125 | 289.2159 | 241.5238 | 502.2583 | 579.2609 | 1289.7181 | 982.8851
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 391.1773 | 330.8705 | 348.243 | 545.6841 | 354.2391 | 534.8688 | 605.6089 | 348.3059 | 522.8614 | 898.6897 | 4060.2976 | 3244.2645
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2305 | 2305 | 2305
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2558 | 37.4164 | 41.1173 | 41.3423 | 42.9909 | 45.831 | 48.4957 | 46.1887 | 50.4477 | 50.5026 | 49.3431 | 49.4062 | 51.2029 | 56.7758 | 57.1086
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13748.5681 | 14590.9367 | 14671.261 | 14495.5263 | 15575.8379 | 15391.0418 | 15961.1264 | 16031.4489 | 16178.3519 | 16214.0353 | 16276.4873
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2587.11 | 3586.8426 | 3586.6339 | 3538.0701 | 3834.265 | 3785.3766 | 3981.4554 | 3960.8159 | 4001.9975 | 4066.4952 | 4059.0661
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3193.7996 | 3180.7473 | 3177.2212 | 3156.1368 | 3167.0606 | 3203.2652 | 3209.943 | 3186.1361 | 3169.525 | 3105.4358 | 3136.3087
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 48530.0048 | 53578.744 | 54890.9149 | 52564.4389 | 55211.6992 | 53836.0118 | 53824.3101 | 57048.1051 | 57400.9423 | 56081.9128 | 50939.622 | 51062.6461

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 456 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 4 | 16 | 35 | 4 | 3 | 2 | 4 | 4 | 7 | 8 | 8 | 5 | 3 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 948 | 0 | 2 | 5 | 1 | 4 | 1 | 87 | 94 | 104 | 136 | 145
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 406 | 23 | 13 | 15 | 11 | 92 | 81 | 18 | 11 | 16 | 34 | 28
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 3 | 12 | 12 | 15 | 33 | 31 | 27 | 22 | 36 | 54 | 67
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 85 | 3 | 1 | 4 | 2 | 8 | 2 | 1 | 1 | 1 | 7 | 5
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 211 | 149 | 584 | 611 | 534 | 539 | 507 | 784 | 790 | 823 | 968 | 906
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 3828 | 3435 | 4453 | 3108 | 4300 | 3574 | 3668 | 5313 | 5249 | 4554 | 3709 | 3381