## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.13 | 9.1121 | 7.8778 | 8.3278 | 8.1596 | 8.4638 | 11.3565 | 11.0919 | 10.6814 | 9.9889 | 9.8325
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6258 | 4.9248 | 4.3463 | 4.4346 | 4.3372 | 4.3585 | 4.7032 | 4.8613 | 4.634 | 3.9846 | 4.2377
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.332 | 11.3441 | 11.0634 | 11.3344 | 12.3103 | 13.686 | 13.2663 | 12.9581 | 13.3977 | 13.3938 | 13.5271

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 61.3571 | 59.9611 | 55.555 | 63.9671 | 62.9205 | 59.4848 | 63.7354 | 64.1713 | 64.1221 | 68.6164 | 67.2831 | 68.0295 | 68.6016 | 63.7961 | 69.0973
Black Coal QLD | Capacity Factor | % | 51.7514 | 52.0489 | 56.6249 | 61.9153 | 61.625 | 63.9953 | 60.4189 | 55.9991 | 55.172 | 58.6359 | 64.7516 | 62.374 | 62.6021 | 64.6863 | 66.3193
Brown Coal VIC | Capacity Factor | % | 74.2991 | 71.5711 | 64.601 | 65.3809 | 71.6104 | 69.5089 | 63.844 | 69.3861 | 62.9318 | 62.9147 | 66.8922 | 67.0182 | 61.5472 | 71.5456 | 71.8644
Natural Gas NSW | Capacity Factor | % | 0.1223 | 0.20753 | 1.5722 | 3.4997 | 3.9841 | 4.5278 | 5.6381 | 2.5673 | 2.6196 | 7.9692 | 7.4354 | 8.243 | 10.7727 | 19.1068 | 13.9111
Natural Gas QLD | Capacity Factor | % | 6.8314 | 6.8298 | 6.0449 | 5.8427 | 6.0653 | 6.4678 | 9.3938 | 7.4183 | 6.892 | 7.6388 | 10.9859 | 12.2951 | 13.5005 | 16.8895 | 14.5112
Natural Gas VIC | Capacity Factor | % | 0.16313 | 0.10032 | 0.21882 | 0.2157 | 0.21787 | 0.2292 | 0.37436 | 0.11536 | 0.20561 | 0.37846 | 0.177 | 0.31694 | 0.58788 | 2.3765 | 1.7916
Natural Gas SA | Capacity Factor | % | 11.7326 | 11.6111 | 12.5789 | 9.9198 | 1.83 | 1.775 | 2.3457 | 1.1637 | 1.2049 | 2.3127 | 1.9611 | 1.8864 | 2.4459 | 4.286 | 3.4728
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0.016176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.552 | 32.5155 | 32.1858 | 32.9267 | 32.6785 | 32.0869 | 32.5366 | 32.518 | 32.3552 | 32.2714 | 31.9835 | 32.3336 | 32.5352 | 32.1049 | 32.8465
Wind QLD | Capacity Factor | % | 33.1924 | 33.1921 | 32.9173 | 33.7699 | 33.3756 | 32.7044 | 33.1649 | 32.8473 | 31.5088 | 30.2295 | 30.8759 | 31.5046 | 31.2472 | 30.6341 | 31.3814
Wind VIC | Capacity Factor | % | 33.4748 | 32.9887 | 32.1515 | 32.2533 | 33.0396 | 32.7949 | 33.084 | 32.654 | 32.6323 | 32.2756 | 31.0066 | 31.1299 | 31.4816 | 31.6216 | 31.7097
Wind SA | Capacity Factor | % | 31.9012 | 31.7897 | 31.2022 | 30.8094 | 32.195 | 31.17 | 31.5003 | 31.2622 | 30.9661 | 31.5983 | 31.0146 | 31.1222 | 31.2053 | 29.4541 | 29.6971
Wind TAS | Capacity Factor | % | 36.3601 | 36.1366 | 36.313 | 36.4813 | 35.5094 | 36.0246 | 36.1221 | 36.0947 | 36.4581 | 34.9814 | 35.9313 | 36.1565 | 36.2494 | 36.2175 | 36.572
Solar NSW | Capacity Factor | % | 28.4026 | 28.3955 | 28.5383 | 28.2997 | 28.4082 | 28.4694 | 28.3102 | 28.3491 | 28.4971 | 28.5167 | 28.3236 | 28.1291 | 28.1508 | 28.2855 | 28.2219
Solar QLD | Capacity Factor | % | 30.4668 | 30.4317 | 30.517 | 30.4061 | 30.5087 | 30.5094 | 30.4267 | 29.8214 | 27.0825 | 22.6789 | 26.502 | 26.9551 | 25.4207 | 26.1488 | 25.6983
Solar VIC | Capacity Factor | % | 29.0884 | 29.346 | 29.4043 | 28.9821 | 29.653 | 28.9975 | 28.9489 | 28.7606 | 29.1491 | 28.9024 | 27.1168 | 26.9873 | 27.2854 | 27.5362 | 27.5222
Solar SA | Capacity Factor | % | 30.4986 | 30.1442 | 30.1074 | 29.3531 | 30.2796 | 29.8089 | 30.0164 | 29.7585 | 29.9999 | 29.8397 | 29.3728 | 29.1749 | 29.4953 | 26.5774 | 26.4349
REZ Solar NSW | Capacity Factor | % | 30.6192 | 30.5922 | 30.7762 | 30.6162 | 30.5892 | 30.6012 | 30.5262 | 30.5184 | 30.5948 | 30.5958 | 30.1949 | 30.036 | 29.9043 | 30.0102 | 29.6963
REZ Wind NSW | Capacity Factor | % | 40.5803 | 40.7462 | 40.7147 | 41.3477 | 40.3083 | 40.0249 | 40.5411 | 40.7327 | 40.8448 | 39.7721 | 39.7037 | 40.2759 | 40.7113 | 40.6227 | 41.2025
REZ Solar QLD | Capacity Factor | % | 30.6636 | 30.6607 | 30.7957 | 30.4647 | 30.8234 | 30.7249 | 30.6141 | 30.5664 | 29.6949 | 29.0858 | 29.5117 | 29.5477 | 29.7301 | 29.513 | 29.0213
REZ Wind QLD | Capacity Factor | % | 2027: 44.3164; 2028: 43.5891; 2029: 41.4648; 2030: 44.4061; 2031: 44.4018; 2032: 43.5299; 2033: 43.4548; 2034: 43.2467
REZ Solar SA | Capacity Factor | % | 30.7131 | 30.4766 | 30.53 | 30.2249 | 30.8089 | 30.5063 | 30.5559 | 30.3689 | 30.6302 | 30.4001 | 30.1829 | 29.9766 | 30.2492 | 25.2949 | 25.1667
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.6329 | 19.672 | 20.341 | 21.6141 | 22.0845 | 19.5557 | 19.7827 | 19.64 | 19.9433 | 20.2097 | 20.8651 | 21.4766 | 22.2058 | 24.0876 | 24.2617
Hydro QLD | Capacity Factor | % | 38.1395 | 38.2378 | 38.7026 | 39.5334 | 39.7392 | 38.9673 | 39.8991 | 40.1353 | 40.8775 | 41.6866 | 41.9951 | 42.5091 | 42.6046 | 42.601 | 42.6462
Hydro VIC | Capacity Factor | % | 15.352 | 15.2797 | 15.3329 | 15.4847 | 15.6759 | 15.559 | 15.5674 | 15.4863 | 15.5553 | 15.6689 | 15.7579 | 15.6154 | 15.5542 | 15.3605 | 15.4755
Hydro TAS | Capacity Factor | % | 52.7651 | 51.0487 | 52.3141 | 52.0824 | 52.2547 | 51.9184 | 52.1813 | 52.5114 | 52.586 | 52.0099 | 52.3209 | 52.1985 | 52.1656 | 51.8427 | 52.1484
Large Scale Storage SA | Capacity Factor | % | 6.4036 | 6.5545 | 6.5883 | 7.0056 | 4.6258 | 4.9248 | 4.3463 | 4.4346 | 4.3372 | 4.3585 | 4.7032 | 4.8613 | 4.634 | 3.9846 | 4.2377
Large Scale Storage QLD | Capacity Factor | % | 11.1051 | 9.872 | 10.4859 | 11.0469 | 11.332 | 11.3441 | 11.0634 | 11.3344 | 12.3103 | 13.686 | 13.2663 | 12.9581 | 13.3977 | 13.3938 | 13.5271
Large Scale Storage VIC | Capacity Factor | % | 6.7452 | 9.0196 | 10.8889 | 11.2781 | 9.13 | 9.1121 | 7.8778 | 8.3278 | 8.1596 | 8.4638 | 11.3565 | 11.0919 | 10.6814 | 9.9889 | 9.8325
Distributed Storage NSW | Capacity Factor | % | 0.36824 | 0.47745 | 0.5464 | 0.5335 | 0.21858 | 0.84013 | 0.41439 | 0.18935 | 0.10908 | 0.17754 | 0.076218 | 0.06295 | 0.1679 | 0.35144 | 0.30894
Distributed Storage QLD | Capacity Factor | % | 9.7413 | 9.7634 | 9.4991 | 9.6057 | 10.0319 | 9.7687 | 9.4864 | 9.6583 | 10.7349 | 12.7815 | 12.2723 | 11.6826 | 12.1386 | 12.305 | 11.7808
Distributed Storage SA | Capacity Factor | % | 15.6033 | 15.8179 | 15.6736 | 15.6837 | 13.2723 | 12.8928 | 11.7218 | 11.5855 | 11.0455 | 10.8381 | 10.9385 | 10.8187 | 10.2215 | 9.3481 | 8.8794
Distributed Storage TAS | Capacity Factor | % | 0.39278 | 0.53244 | 0.61902 | 0.68871 | 0.34423 | 1.1084 | 0.68129 | 0.25526 | 0.23579 | 0.36209 | 0.32691 | 0.2225 | 0.46073 | 0.81476 | 0.82631
Distributed Storage VIC | Capacity Factor | % | 13.7144 | 13.8737 | 13.7912 | 14.0186 | 14.7097 | 15.5294 | 13.515 | 14.4528 | 14.1137 | 13.9291 | 16.6021 | 16.3377 | 15.4712 | 13.95 | 13.3539
New Natural Gas NSW | Capacity Factor | % |  |  |  | 1.8151 | 1.7203 | 1.7668 | 2.0318 | 0.94787 | 1.1636 | 3.8512 | 3.9929 | 8.8735 | 9.9122 | 20.0045 | 13.283
New Natural Gas VIC | Capacity Factor | % |  |  |  | 1.3611 | 1.1875 | 1.2162 | 1.9261 | 1.2354 | 1.8727 | 2.1044 | 1.2268 | 1.7927 | 3.1521 | 14.0868 | 11.3876
New Natural Gas SA | Capacity Factor | % | [5 empty] | 2.8606 | 3.7478 | 1.7164 | 2.3466 | 4.1732 | 3.4341 | 7.2672 | 8.4534 | 19.3681 | 14.2861
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 21.3202 | 21.5586 | 21.032 | 22.017 | 22.4444 | 22.7763 | 23.2554 | 23.3676 | 23.2036 | 23.6283
Pumped Hydro NSW | Capacity Factor | % | [5 empty] | 10.8441 | 12.1108 | 10.7688 | 11.8756 | 14.2569 | 15.2142 | 16.2752 | 17.2881 | 18.2904 | 18.5389
Pumped Hydro QLD | Capacity Factor | % | 2029: 24.0524; 2030: 24.483; 2031: 24.6647; 2032: 24.6417; 2033: 24.834; 2034: 24.8284
Pumped Hydro VIC | Capacity Factor | %

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 1133195.3931 | 1132965.188 | 1130667.3749 | 1172857.2743 | 1155038.8973 | 1185738.9892 | 1334508.259 | 1330113.8379 | 1437216.3213 | 1338196.9386 | 1364265.8432 | 1422244.73 | 1456579.2943 | 1378317.3825 | 1514826.6497
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 919031.6472 | 941988.3426 | 1034844.2741 | 1151380.6057 | 1158803.8282 | 1219338.5375 | 1158771.4269 | 1088812.5746 | 1121156.7978 | 1204413.0048 | 995164.3649 | 973989.4572 | 1032567.7054 | 1066026.604 | 1102071.2637
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 319881.556 | 309951.0556 | 283802.9722 | 288049.5335 | 314526.2028 | 305395.4277 | 277820.5387 | 306202.5227 | 277532.8064 | 276313.2046 | 299330.6279 | 302551.7022 | 281949.9339 | 213770.0223 | 214721.5114
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 1972.4216 | 3339.6931 | 27304.5043 | 60948.5617 | 66614.5569 | 75263.7755 | 91887.7215 | 41599.6401 | 43463.7499 | 123500.2114 | 121077.6473 | 138435.2802 | 175729.889 | 310574.8508 | 225040.7537
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 206170.1656 | 206264.5812 | 176511.2864 | 148359.5346 | 138890.2442 | 130722.8872 | 162359.6004 | 129522.0231 | 120865.3625 | 131953.7514 | 221732.0608 | 266851.4022 | 292090.999 | 368621.9522 | 312443.318
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 6833.3884 | 4789.5046 | 10386.0023 | 7609.0659 | 7284.1537 | 8110.2033 | 13388.2384 | 4527.6857 | 8364.0621 | 12239.5606 | 7876.2382 | 9762.4064 | 15005.9223 | 66221.2211 | 49952.7514
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 436876.7312 | 432944.8748 | 441689.9762 | 337303.1253 | 32431.3392 | 32052.4739 | 42248.9455 | 21218.5854 | 21839.5209 | 42248.3579 | 36885.0727 | 43590.2295 | 54259.5482 | 87893.3838 | 74307.0726
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 155.559 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38237.8672 | 23877.7205 | 24811.583 | 24338.9077 | 26098.1441 | 27999.764 | 31978.4943 | 36040.2367 | 40756.7389 | 56549.722 | 57840.5267
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11649.1226 | 9618.4124 | 12435.7482 | 13114.3163 | 15185.2628 | 17808.0973 | 18715.229 | 20547.8298 | 20595.1787 | 20723.2892 | 20581.0408
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23179.5446 | 23102.3405 | 23067.6691 | 22905.0619 | 22976.8399 | 23250.577 | 23306.4986 | 23121.661 | 23006.971 | 22535.8338 | 22787.4007
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62384.9492 | 62308.172 | 62274.3053 | 62359.6639 | 62474.8434 | 62309.9164 | 62373.3428 | 62301.2976 | 62361.4872 | 62280.3522 | 62617.1463
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 8974.0188 | 8281.2995 | 8275.0091 | 9260.6666 | 4196.9176 | 5152.1673 | 17052.1474 | 17679.6769 | 39289.4711 | 45401.9926 | 91629.0901 | 60841.4993
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 4541.5683 | 3866.9185 | 3858.7156 | 5956.3793 | 3721.0587 | 5640.5591 | 6398.9361 | 3730.4496 | 5492.2072 | 9657.1411 | 43157.4143 | 34887.9068
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2023.6407 | 2568.8103 | 1138.6632 | 1556.7904 | 2820.2224 | 2320.7071 | 4911.1411 | 5904.5559 | 13528.193 | 9978.5141
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 2049.4962 | 2072.4486 | 4738.4607 | 4960.7772 | 5057.2484 | 5132.3017 | 5240.2869 | 7747.2377 | 21053.8266 | 21445.8721
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 22433.4348 | 25034.4843 | 22260.3579 | 24548.1997 | 29470.8184 | 31453.654 | 33642.8187 | 35736.5092 | 37808.5352 | 38322.0465
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3854.357 | 14223.1356 | 14328.2731 | 14314.8932 | 14426.808 | 14423.5732
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6499 | 6499 | 6499 | 6499 | 6499
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2671.1 | 2671.1 | 2431.1 | 2431.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1 | 969.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1374 | 1374 | 1374 | 1374 | 1565 | 1565 | 1797 | 1797 | 2034 | 3104 | 3104
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 669.7 | 1537.7 | 2304.7 | 2983.7 | 3827.7 | 4482.7 | 4482.7 | 4482.7 | 4482.7 | 4482.7
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 276 | 503 | 631 | 631 | 631 | 631 | 631
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 490 | 490 | 490 | 490 | 636 | 636 | 636 | 636 | 636 | 636 | 2044 | 2044
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 179 | 179 | 179 | 306 | 306
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 25.1568 | 56.0691 | 95.8798 | 142.8159 | 196.0542 | 253.9814 | 314.6069 | 377.6072 | 442.051 | 507.2804 | 573.3688 | 634.0407 | 687.346 | 739.0638 | 803.9992
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 13.6923 | 30.9345 | 51.8416 | 75.3569 | 100.2728 | 126.2546 | 152.7033 | 179.8653 | 207.739 | 236.1665 | 265.0381 | 294.2611 | 323.755 | 353.0294 | 397.184
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 4.6986 | 10.6141 | 18.2709 | 27.3616 | 37.6467 | 49.2016 | 61.6345 | 74.7964 | 88.5706 | 102.8717 | 117.6225 | 132.3793 | 146.6603 | 160.356 | 183.121
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 1.1074 | 2.4017 | 3.9644 | 5.8927 | 7.4173 | 8.7301 | 9.7122 | 10.6559 | 11.4994 | 12.2389 | 12.9664 | 13.6654 | 14.3392 | 14.99 | 15.7718
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 15.5741 | 34.1933 | 54.664 | 76.9652 | 100.4807 | 125.6983 | 151.7562 | 178.5289 | 205.3924 | 232.5471 | 260.3066 | 288.6046 | 317.3904 | 346.1144 | 386.7479
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500 | 500
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75 | 75
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 225 | 225 | 225 | 225 | 225 | 331 | 906 | 906
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040 | 2040
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 160 | 580 | 580 | 580 | 580 | 580
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 20.1176 | 20.8684 | 21.2403 | 23.3948 | 24.029 | 25.1858 | 25.9795 | 26.8147 | 28.7876 | 29.5429 | 30.791 | 31.7357 | 32.2089 | 32.7015 | 33.2508
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.7667 | 22.3234 | 22.5691 | 22.8742 | 23.1876 | 23.6416 | 24.0684 | 24.4436 | 25.2255 | 25.9959 | 23.8432 | 24.2534 | 24.9436 | 25.5992 | 25.8737
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 99.7281 | 99.7281 | 99.7281 | 96.6123 | 93.4965 | 90.4065 | 87.2564 | 87.2564 | 87.2907 | 87.2907 | 87.2907 | 91.6272 | 91.6272 | 91.6272 | 91.6272
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 85.8312 | 83.6367 | 90.6957 | 78.5227 | 78.965 | 74.1629 | 74.2703 | 67.3007 | 63.5192 | 61.1059 | 77.2837 | 81.4521 | 81.4521 | 81.4521 | 80.144
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 145.6956 | 121.7153 | 137.4545 | 113.2925 | 128.0714 | 129.1724 | 113.982 | 104.519 | 118.302 | 126.8675 | 121.3297 | 129.0266 | 135.1839 | 135.1839 | 132.5431
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 115.6489 | 113.0091 | 116.0837 | 113.192 | 123.5368 | 120.492 | 117.5568 | 117.563 | 117.8069 | 117.8069 | 117.8069 | 121.0926 | 121.0926 | 121.0926 | 121.0926
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh | 2024: 434.3103
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.0093161 | 0.0094227 | 0.0098401 | 0.010487 | 0.010631 | 0.0093763 | 0.0094982 | 0.0093997 | 0.0096942 | 0.0099433 | 0.01032 | 0.010595 | 0.010788 | 0.011192 | 0.011227
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098326 | 0.0098481 | 0.0098521 | 0.0098543 | 0.0098541 | 0.0098592 | 0.009852 | 0.0098557 | 0.0098591 | 0.0098544 | 0.0098556 | 0.0098603 | 0.009854 | 0.0098544 | 0.0098572
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 101.6118 | 98.6683 | 95.7248 | 92.8828 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 89.9393 | 93.3903 | 93.3903 | 93.3903
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 107.7018 | 104.8598 | 101.9163 | 99.0743 | 96.2323 | 96.2323 | 97.2473 | 97.2473 | 98.0593 | 98.0593 | 98.0593 | 98.0593
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | [5 empty] | 94.304 | 91.056 | 87.808 | 87.808 | 89.635 | 89.635 | 89.635 | 92.9845 | 92.9845 | 92.9845
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011431 | 0.011431 | 0.011431 | 0.011432 | 0.011432 | 0.011433 | 0.011433 | 0.011434 | 0.011433 | 0.011436
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh | [5 empty] | 0.011585 | 0.011617 | 0.011598 | 0.01161 | 0.011586 | 0.011611 | 0.011599 | 0.011599 | 0.011585 | 0.01158
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2029: 0.011433; 2030: 0.011434; 2031: 0.011434; 2032: 0.011434; 2033: 0.011434; 2034: 0.011434
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 52502.599 | 51188.8205 | 49162.2064 | 46002.2489 | 45121.755 | 42842.9064 | 46066.7341 | 46162.8082 | 46147.3301 | 41468.0107 | 40650.1891 | 41110.8449 | 41468.0707 | 38536.2494 | 41779.3809
Black Coal QLD | Black Coal | QLD | Generation | GWh | 39553.6445 | 39760.621 | 42656.2256 | 46231.266 | 46013.6708 | 47582.7271 | 44845.6199 | 41922.1143 | 41277.1461 | 43169.1302 | 37280.3978 | 35597.1663 | 35824.806 | 36992.1986 | 38042.9041
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 31437.5941 | 30337.2044 | 27952.3914 | 28250.4858 | 30373.7302 | 29496.4059 | 26741.8486 | 29442.0975 | 26301.5101 | 26172.6638 | 28405.6562 | 28455.4055 | 26689.3754 | 20567.6127 | 20658.9841
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 20.4084 | 36.3003 | 282.5482 | 648.6791 | 732.5363 | 849.9641 | 1072.3128 | 486.1353 | 507.3791 | 1432.3768 | 1422.7177 | 1622.5146 | 2018.9488 | 3413.0256 | 2550.8798
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2014.1156 | 2016.7495 | 1792.0137 | 1738.208 | 1780.9524 | 1863.9185 | 2609.3513 | 2081.9759 | 1943.2719 | 2135.0751 | 3015.015 | 3575.0941 | 3930.0344 | 4965.7132 | 4248.6805
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 51.7831 | 35.6223 | 79.914 | 60.629 | 58.9257 | 66.9615 | 114.1906 | 38.7749 | 71.4235 | 104.2231 | 66.3065 | 82.4877 | 125.9162 | 554.042 | 421.1456
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5453.9765 | 5403.1898 | 5501.9854 | 4255.7839 | 350.3541 | 362.7882 | 498.2986 | 252.65 | 244.7648 | 472.4407 | 414.2326 | 490.1586 | 607.9894 | 961.954 | 822.1429
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0.33661 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4266.9151 | 4261.8973 | 4216.1713 | 4311.325 | 4284.7144 | 4205.859 | 4263.4961 | 4261.2553 | 4240.5678 | 4235.6057 | 4195.5251 | 4240.9117 | 4264.5089 | 4206.6877 | 4301.0538
Wind QLD | Wind | QLD | Generation | GWh | 1965.575 | 1965.5408 | 1949.3365 | 1999.7754 | 1976.4488 | 1936.6756 | 1964.1664 | 1952.7012 | 1880.4049 | 1806.813 | 1817.0219 | 1857.7421 | 1847.9069 | 1810.3521 | 1852.7622
Wind VIC | Wind | VIC | Generation | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13472.828 | 14633.0081 | 14708.2801 | 14529.2401 | 15632.447 | 15428.2362 | 16026.217 | 16118.5494 | 16250.4772 | 16302.3311 | 16346.5726
Wind SA | Wind | SA | Generation | GWh | 5839.0961 | 5814.5072 | 5703.7147 | 5637.5217 | 5881.8248 | 5691.9667 | 5760.416 | 5714.6142 | 5660.2171 | 5774.758 | 5665.6801 | 5687.8206 | 5709.1451 | 5386.1041 | 5434.9584
Wind TAS | Wind | TAS | Generation | GWh | 1337.7315 | 1329.5045 | 1335.9306 | 1342.046 | 1306.166 | 1325.0683 | 1328.7336 | 1327.6544 | 1341.0602 | 1286.7841 | 1321.5849 | 1329.8491 | 1333.182 | 1331.7135 | 1344.6276
Solar NSW | Solar | NSW | Generation | GWh | 1094.6557 | 1094.0869 | 1099.7696 | 1090.6928 | 1094.7667 | 1097.3713 | 1091.3507 | 1092.2171 | 1097.0992 | 1098.3867 | 1090.341 | 1083.0014 | 1083.2306 | 1088.5477 | 1086.7517
Solar QLD | Solar | QLD | Generation | GWh | 3244.9456 | 3241.8568 | 3250.2465 | 3240.0081 | 3249.4437 | 3249.4527 | 3240.8463 | 3187.6865 | 2913.5673 | 2449.6265 | 2817.2866 | 2864.2296 | 2716.8037 | 2784.1004 | 2742.3668
Solar VIC | Solar | VIC | Generation | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2580.5077 | 3576.0155 | 3572.2218 | 3536.3033 | 3825.1701 | 3776.17 | 3959.2953 | 3942.3916 | 3986.4034 | 4038.2049 | 4036.8963
Solar SA | Solar | SA | Generation | GWh | 854.5707 | 845.8054 | 845.1051 | 820.1252 | 847.2963 | 836.4843 | 840.5292 | 827.5893 | 835.2283 | 828.555 | 817.7611 | 808.9832 | 820.0738 | 700.6037 | 694.8634
REZ Solar NSW | Solar | NSW | Generation | GWh | 3309.1182 | 3309.5693 | 3326.4659 | 3315.9627 | 3691.2571 | 3690.3797 | 3684.2363 | 3685.0292 | 4205.2457 | 4206.128 | 4771.6812 | 4751.3663 | 5363.5673 | 8162.6288 | 8106.1962
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.9025 | 481.8647 | 481.4922 | 488.9776 | 476.6856 | 473.3341 | 479.4387 | 481.7048 | 483.0304 | 470.3445 | 469.5356 | 476.3027 | 481.4514 | 480.4036 | 487.2611
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.1432 | 1797.3715 | 1803.9155 | 1785.8335 | 1806.1624 | 1800.4 | 4129.385 | 6196.0054 | 8000.5158 | 9933.2576 | 11554.4784 | 11586.4861 | 11681.0858 | 11582.4797 | 11363.7885
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 353.2724 | 1053.8804 | 1842.3892 | 2466.2042 | 2463.3485 | 2411.158 | 2417.9913 | 2402.759
REZ Solar SA | Solar | SA | Generation | GWh | 444.3344 | 441.3689 | 441.7728 | 1309.419 | 1333.9899 | 1321.424 | 1323.6823 | 1706.3205 | 1728.0955 | 1712.29 | 1697.9817 | 1678.4854 | 1699.9991 | 4009.8146 | 3978.9477
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 629.7705 | 799.6498 | 807.5633 | 811.778 | 1381.3622 | 1392.246
Hydro NSW | Hydro | NSW | Generation | GWh | 3166.2423 | 3195.9695 | 3391.4395 | 3848.4896 | 3989.0249 | 3152.4853 | 3207.5149 | 3180.741 | 3282.8968 | 3392.6164 | 3612.773 | 3835.8494 | 4110.959 | 5005.5165 | 5082.7178
Hydro QLD | Hydro | QLD | Generation | GWh | 758.4069 | 777.4796 | 860.1016 | 1017.3168 | 1035.2142 | 918.1191 | 1078.8754 | 1117.528 | 1235.1656 | 1383.8926 | 1435.558 | 1537.6265 | 1542.2283 | 1549.0015 | 1541.9011
Hydro VIC | Hydro | VIC | Generation | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3191.6202 | 3180.9899 | 3176.2159 | 3153.8263 | 3163.7095 | 3201.4007 | 3209.1006 | 3183.6501 | 3167.8583 | 3102.9869 | 3137.6254
Hydro TAS | Hydro | TAS | Generation | GWh | 8581.4383 | 8584.9549 | 8595.7709 | 8570.3787 | 8589.8609 | 8579.2893 | 8574.6262 | 8586.3793 | 8602.2385 | 8579.5295 | 8588.2628 | 8578.3428 | 8586.6304 | 8575.4588 | 8621.8324
Large Scale Storage SA | Battery | SA | Generation | GWh | 89.3241 | 91.1743 | 91.6483 | 96.2522 | 68.3892 | 70.8397 | 63.1389 | 63.4026 | 62.397 | 62.5626 | 66.5149 | 67.5149 | 64.8941 | 58.249 | 60.3882
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.1414 | 71.3063 | 75.3976 | 79.8838 | 82.0403 | 81.4588 | 78.7128 | 82.0324 | 94.4941 | 110.1859 | 105.5269 | 101.8684 | 107.32 | 106.7455 | 107.3213
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 60.0418 | 76.3725 | 91.274 | 95.208 | 78.7199 | 81.3494 | 70.2444 | 74.6905 | 73.0684 | 76.052 | 102.9342 | 100.3589 | 96.6982 | 90.2079 | 88.5544
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.8115 | 2.3451 | 4.5893 | 6.6744 | 3.754 | 18.6918 | 11.4205 | 6.2634 | 4.2238 | 7.8895 | 3.8282 | 3.4964 | 10.1095 | 22.753 | 21.7587
Distributed Storage QLD | Battery | QLD | Generation | GWh | 11.6841 | 26.4574 | 43.1385 | 63.41 | 88.1191 | 108.0403 | 126.8976 | 152.1777 | 195.3527 | 264.4253 | 284.9294 | 301.1444 | 344.2622 | 380.5352 | 409.892
Distributed Storage SA | Battery | SA | Generation | GWh | 6.4223 | 14.7074 | 25.086 | 37.5918 | 43.7702 | 55.5688 | 63.2882 | 75.91 | 85.6997 | 97.6678 | 112.7077 | 125.4578 | 131.3202 | 131.3142 | 142.4383
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.038102 | 0.11202 | 0.21497 | 0.35551 | 0.22367 | 0.84765 | 0.57963 | 0.23827 | 0.23752 | 0.38821 | 0.37132 | 0.26636 | 0.57872 | 1.0699 | 1.1416
Distributed Storage VIC | Battery | VIC | Generation | GWh | 18.7105 | 41.5563 | 66.0403 | 94.5154 | 129.476 | 170.9973 | 179.6663 | 226.0293 | 253.9395 | 283.7512 | 378.576 | 413.0465 | 430.1515 | 422.9581 | 452.4186
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 79.5003 | 75.3482 | 77.3844 | 88.9909 | 41.5167 | 50.9662 | 168.683 | 174.8906 | 388.6587 | 434.1541 | 876.1982 | 581.7935
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 38.1542 | 33.2893 | 34.0912 | 53.9932 | 34.6317 | 52.4965 | 58.9917 | 34.391 | 50.2526 | 88.361 | 394.882 | 319.2176
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 18.7942 | 24.6231 | 11.2765 | 15.4173 | 27.418 | 22.5617 | 47.7457 | 55.5391 | 127.2482 | 93.8594
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 179.2946 | 181.2989 | 414.5416 | 433.9552 | 442.3794 | 448.9208 | 458.3631 | 677.5577 | 1841.5657 | 1875.2704
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 1937.8784 | 2164.2488 | 1924.4236 | 2122.2091 | 2547.773 | 2718.8334 | 2908.4454 | 3089.4464 | 3268.5745 | 3312.9679
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 337.1185 | 1243.9336 | 1253.1619 | 1251.9935 | 1261.7663 | 1261.4839
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 142 | 0 | 0 | 0 | 191 | 0 | 232 | 0 | 237 | 1070 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 868 | 767 | 679 | 844 | 655 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 91 | 185 | 227 | 128 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 324 | 0 | 0 | 0 | 146 | 0 | 0 | 0 | 0 | 0 | 1408 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 127 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 57231.2176 | 55798.5933 | 53638.9114 | 50269.0191 | 49257.7911 | 46754.4023 | 50288.1279 | 50408.9984 | 50391.1355 | 45337.9372 | 44443.2312 | 44947.3839 | 45338.2736 | 42172.0101 | 45679.0794
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 79958.0698 | 80844.6414 | 87454.3709 | 97578.1707 | 97353.6298 | 101383.7601 | 90588.2391 | 85015.3529 | 89598.8793 | 89980.359 | 85983.641 | 85841.0431 | 80807.2032 | 88153.3338 | 89088.7196
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 35618.5258 | 34370.3957 | 31644.5827 | 31983.9945 | 34411.2538 | 33417.2104 | 30339.9579 | 33355.6362 | 29801.7237 | 29657.5959 | 32181.7479 | 32238.0791 | 30212.8737 | 23200.3162 | 23303.2591
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23968.9039 | 24530.1448 | 27925.5821 | 35795.5628 | 38237.8672 | 23877.7205 | 24811.583 | 24338.9077 | 26098.1441 | 27999.764 | 31978.4943 | 36040.2367 | 40756.7389 | 56549.722 | 57840.5267
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6772.1485 | 7107.0982 | 8574.039 | 11352.2102 | 11649.1226 | 9618.4124 | 12435.7482 | 13114.3163 | 15185.2628 | 17808.0973 | 18715.229 | 20547.8298 | 20595.1787 | 20723.2892 | 20581.0408
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62323.7792 | 62349.3189 | 62427.8713 | 62243.4577 | 62384.9492 | 62308.172 | 62274.3053 | 62359.6639 | 62474.8434 | 62309.9164 | 62373.3428 | 62301.2976 | 62361.4872 | 62280.3522 | 62617.1463
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22582.7755 | 22427.6578 | 22471.5331 | 22901.0255 | 23179.5446 | 23102.3405 | 23067.6691 | 22905.0619 | 22976.8399 | 23250.577 | 23306.4986 | 23121.661 | 23006.971 | 22535.8338 | 22787.4007
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 3.8699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 170.7976 | 291.298 | 2347.7584 | 5466.3554 | 6171.9242 | 7168.5652 | 9086.8841 | 4115.9559 | 4332.6922 | 12204.4944 | 11976.8227 | 13110.2291 | 16538.995 | 28713.8948 | 21042.9503
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16856.1025 | 16884.7921 | 14220.4096 | 12839.9289 | 13171.3959 | 13788.2341 | 19448.4034 | 15452.377 | 14380.5307 | 15810.7163 | 22569.6977 | 26850.5658 | 29616.2374 | 37748.2747 | 31918.3546
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 35090.692 | 34790.7692 | 35651.4305 | 28080.1574 | 3991.0926 | 4138.9754 | 5689.9068 | 2887.8841 | 2794.8597 | 5393.4637 | 4730.4401 | 5612.9471 | 6960.3101 | 10992.4731 | 9405.2322
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 620.7219 | 443.613 | 977.6316 | 741.9961 | 706.5444 | 794.7307 | 1303.2647 | 439.6105 | 814.0342 | 1176.7877 | 758.4951 | 924.6662 | 1363.7591 | 6000.1163 | 4558.8853
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 815.0789 | 772.5093 | 793.3853 | 912.3809 | 425.6509 | 522.5322 | 1729.4267 | 1793.0707 | 3984.7334 | 4451.1757 | 8983.2441 | 5964.8529
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 196.6609 | 257.654 | 117.9962 | 161.3254 | 286.8995 | 236.0841 | 499.6074 | 581.1571 | 1331.5151 | 982.1372
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 391.1773 | 341.2991 | 349.5213 | 553.5669 | 355.0629 | 538.2213 | 604.8144 | 352.5945 | 515.2164 | 905.9232 | 4048.5379 | 3272.7868
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2815 | 2305 | 2305 | 2305
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Battery | MW | 120.5741 | 139.1933 | 159.664 | 181.9652 | 205.4807 | 230.6983 | 256.7562 | 283.5289 | 310.3924 | 337.5471 | 365.3066 | 393.6046 | 422.3904 | 451.1144 | 491.7479
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 9611.02 | 9519.17 | 9340.28 | 9045.48 | 9245.18 | 9219.72 | 9211.17 | 9329.81 | 9261.36 | 9323.11 | 9263.07 | 9277.7 | 9392.05 | 9332.86 | 9143.54
Peak Load + Min Capacity Reserves | MW | 10109.02 | 10017.17 | 9838.28 | 9543.48 | 9743.18 | 9717.72 | 9709.17 | 9827.81 | 9759.36 | 9821.11 | 9761.07 | 9775.7 | 9890.05 | 9830.86 | 9641.54

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.2558 | 37.4164 | 41.1173 | 41.3423 | 42.7256 | 45.7655 | 48.4367 | 46.129 | 50.4177 | 50.4759 | 49.3035 | 49.4127 | 51.1921 | 56.8118 | 57.1065
Wind | GWh | 8447.696 | 10618.8945 | 11746.3436 | 11852.5823 | 13472.828 | 14633.0081 | 14708.2801 | 14529.2401 | 15632.447 | 15428.2362 | 16026.217 | 16118.5494 | 16250.4772 | 16302.3311 | 16346.5726
Solar | GWh | 1802.456 | 1812.8677 | 1810.0103 | 1773.2298 | 2580.5077 | 3576.0155 | 3572.2218 | 3536.3033 | 3825.1701 | 3776.17 | 3959.2953 | 3942.3916 | 3986.4034 | 4038.2049 | 4036.8963
Hydro | GWh | 3109.4503 | 3088.092 | 3094.1332 | 3153.2705 | 3191.6202 | 3180.9899 | 3176.2159 | 3153.8263 | 3163.7095 | 3201.4007 | 3209.1006 | 3183.6501 | 3167.8583 | 3102.9869 | 3137.6254
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 47214.2119 | 48614.2979 | 47753.367 | 48530.0048 | 53423.6144 | 55038.3664 | 52673.0209 | 55347.3995 | 53955.6093 | 53904.4766 | 57179.254 | 57527.3664 | 56200.942 | 51008.6183 | 51150.7401

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 43 | 71 | 423 | 456 | 964 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 11 | 4 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 593 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2284 | 2098 | 2805 | 2246 | 1616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 681 | 692 | 918 | 948 | 39 | 17 | 32 | 35 | 28 | 32 | 23 | 21 | 24 | 179 | 206
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 2 | 2 | 2 | 2 | 5 | 11 | 5 | 2 | 6
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 3 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 111 | 566 | 406 | 330 | 2 | 2 | 1 | 4 | 4 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 2 | 1 | 2 | 3 | 3 | 3 | 0
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 3 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 5 | 85 | 368 | 17 | 15 | 15 | 21 | 11 | 4 | 5 | 3 | 22 | 20
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 61 | 72 | 124 | 211 | 169 | 585 | 602 | 532 | 533 | 491 | 868 | 864 | 915 | 980 | 929
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 2294 | 3326 | 3658 | 3828 | 3810 | 3927 | 2813 | 3882 | 3276 | 3482 | 4887 | 4798 | 4257 | 3498 | 3263