## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 12.5032 | 8.615 | 10.5453 | 9.4073 | 9.8063 | 10.2973 | 10.9037 | 13.3609 | 13.0826 | 13.2171 | 12.0662 | 12.2985
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.8613 | 5.3448 | 4.7569 | 4.2298 | 4.57 | 5.0701 | 5.439 | 6.1648 | 6.5791 | 7.5302 | 7.5719 | 8.2722
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6349 | 10.9492 | 11.039 | 11.0079 | 11.2662 | 11.8103 | 12.2437 | 12.2062 | 12.3184 | 13.1651 | 13.4455 | 14.5967

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 53.554 | 52.3081 | 48.6069 | 56.557 | 55.0659 | 52.346 | 56.1502 | 57.2307 | 57.1565 | 58.1234 | 55.6582 | 54.3548 | 52.6455 | 47.7059 | 48.0553
Black Coal QLD | Capacity Factor | % | 45.8699 | 45.4669 | 47.5048 | 50.1825 | 48.9878 | 49.9433 | 47.5024 | 51.9001 | 50.0127 | 51.5028 | 58.1615 | 54.1327 | 50.8958 | 51.2852 | 49.0363
Brown Coal VIC | Capacity Factor | % | 71.7055 | 68.0728 | 59.9514 | 59.3799 | 64.7214 | 62.3267 | 58.56 | 62.0341 | 56.3938 | 54.1533 | 56.8357 | 56.4244 | 51.5493 | 66.3712 | 65.7621
Natural Gas NSW | Capacity Factor | % | 0.022565 | 0.034789 | 0.22582 | 0.6486 | 0.74159 | 1.2311 | 0.97651 | 0.65738 | 0.67741 | 0.96246 | 0.93685 | 0.83904 | 0.50065 | 0.61089 | 0.18093
Natural Gas QLD | Capacity Factor | % | 6.8429 | 6.8301 | 5.882 | 4.9697 | 4.973 | 5.0244 | 5.3156 | 5.5561 | 5.5903 | 5.4487 | 6.2692 | 6.4201 | 5.7025 | 5.5346 | 4.9904
Natural Gas VIC | Capacity Factor | % | 0.056567 | 0.036227 | 0.050901 | 0.016315 | 0.022093 | 0.037558 | 0.042152 | 0.0090333 | 0.023288 | 0.035615 | 0.016224 | 0.013734 | 0.01054 | 0.044621 | 0.0056999
Natural Gas SA | Capacity Factor | % | 11.2981 | 11.1697 | 11.8422 | 8.9224 | 0.52142 | 0.31887 | 0.20746 | 0.12164 | 0.1583 | 0.14839 | 0.13016 | 0.12545 | 0.087338 | 0.13379 | 0.031412
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5265 | 32.4065 | 32.1246 | 32.8524 | 32.5526 | 31.9609 | 32.4124 | 32.2896 | 31.9996 | 31.8407 | 31.2794 | 31.5326 | 31.3648 | 30.748 | 30.9909
Wind QLD | Capacity Factor | % | 33.1676 | 33.1745 | 32.8656 | 33.7406 | 33.3521 | 32.6655 | 33.1044 | 33.1026 | 32.494 | 32.1349 | 32.0206 | 32.4261 | 32.1662 | 31.4165 | 31.5806
Wind VIC | Capacity Factor | % | 33.4178 | 32.7527 | 31.6441 | 30.931 | 32.3748 | 30.9516 | 31.7263 | 31.1355 | 30.931 | 30.2005 | 28.4878 | 28.7013 | 28.845 | 29.2131 | 28.9927
Wind SA | Capacity Factor | % | 31.5941 | 31.4792 | 30.9298 | 30.7297 | 31.72 | 31.2021 | 31.6368 | 31.485 | 31.249 | 31.7573 | 31.0896 | 31.1615 | 30.9604 | 30.3866 | 30.2785
Wind TAS | Capacity Factor | % | 36.3422 | 36.0987 | 36.2807 | 36.4072 | 35.4532 | 35.9786 | 36.0865 | 36.0631 | 36.4083 | 34.7476 | 35.6238 | 35.8125 | 35.8605 | 35.8419 | 36.1467
Solar NSW | Capacity Factor | % | 28.3728 | 28.2158 | 28.3809 | 28.1525 | 28.2132 | 28.2708 | 28.26 | 27.7655 | 27.6921 | 27.6848 | 27.0446 | 26.6032 | 25.7319 | 25.8405 | 24.5797
Solar QLD | Capacity Factor | % | 30.4446 | 30.4269 | 30.4915 | 30.3862 | 30.5083 | 30.4445 | 30.3542 | 30.2524 | 29.4823 | 28.2236 | 29.1556 | 29.136 | 28.185 | 27.7122 | 25.6494
Solar VIC | Capacity Factor | % | 28.9381 | 29.1182 | 29.0433 | 28.1507 | 29.186 | 28.3923 | 28.6601 | 28.1297 | 28.2724 | 27.7769 | 25.7245 | 25.7302 | 25.3467 | 26.0895 | 25.2489
Solar SA | Capacity Factor | % | 30.3864 | 29.8621 | 29.8335 | 29.4497 | 29.5785 | 30.1445 | 30.5543 | 30.4452 | 30.6166 | 30.4479 | 29.726 | 29.2695 | 29.1726 | 28.975 | 28.0437
REZ Solar NSW | Capacity Factor | % | 30.5836 | 30.493 | 30.6618 | 30.4902 | 30.41 | 30.4061 | 30.2612 | 29.9409 | 29.4514 | 29.4455 | 28.8965 | 28.2819 | 27.581 | 27.2633 | 25.9472
REZ Wind NSW | Capacity Factor | % | 40.5478 | 40.6734 | 40.6029 | 41.2607 | 40.2057 | 39.8841 | 40.3908 | 40.423 | 40.2711 | 39.0016 | 38.762 | 39.0917 | 39.023 | 38.8904 | 39.0251
REZ Solar QLD | Capacity Factor | % | 30.6549 | 30.6581 | 30.7868 | 30.4501 | 30.8236 | 30.7016 | 30.581 | 30.5676 | 30.4256 | 30.071 | 30.1841 | 30.0438 | 29.6292 | 29.2548 | 27.4262
REZ Wind QLD | Capacity Factor | % | 2027: 44.4371; 2028: 44.3248; 2029: 43.6887; 2030: 44.2062; 2031: 44.1337; 2032: 43.7709; 2033: 43.1606; 2034: 42.5136
REZ Solar SA | Capacity Factor | % | 30.4577 | 30.2543 | 30.1458 | 29.8531 | 30.5417 | 30.6878 | 30.9353 | 30.8339 | 31.1033 | 30.7919 | 30.4426 | 29.9785 | 30.128 | 29.7541 | 29.206
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9968 | 51.4959 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.4623 | 19.56 | 19.9747 | 20.3478 | 20.7657 | 20.5632 | 20.6026 | 20.9462 | 21.7589 | 22.528 | 23.037 | 23.4956 | 24.024 | 24.1697 | 24.2827
Hydro QLD | Capacity Factor | % | 37.9849 | 38.0714 | 38.2638 | 38.5124 | 38.9848 | 38.9832 | 39.1544 | 39.9803 | 40.6277 | 40.8021 | 41.1022 | 41.7891 | 41.7997 | 41.252 | 41.3903
Hydro VIC | Capacity Factor | % | 15.3739 | 15.3047 | 15.3142 | 15.1422 | 15.3543 | 15.2864 | 15.3109 | 15.3293 | 15.4237 | 15.3659 | 15.4115 | 15.2761 | 15.339 | 15.3177 | 15.2859
Hydro TAS | Capacity Factor | % | 52.8415 | 50.8901 | 51.7158 | 51.7689 | 52.1773 | 51.9793 | 52.4095 | 52.3368 | 52.4077 | 46.7372 | 42.2698 | 41.0848 | 40.3734 | 40.1546 | 37.067
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.8613 | 5.3448 | 4.7569 | 4.2298 | 4.57 | 5.0701 | 5.439 | 6.1648 | 6.5791 | 7.5302 | 7.5719 | 8.2722
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6349 | 10.9492 | 11.039 | 11.0079 | 11.2662 | 11.8103 | 12.2437 | 12.2062 | 12.3184 | 13.1651 | 13.4455 | 14.5967
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 12.5032 | 8.615 | 10.5453 | 9.4073 | 9.8063 | 10.2973 | 10.9037 | 13.3609 | 13.0826 | 13.2171 | 12.0662 | 12.2985
Distributed Storage NSW | Capacity Factor | % | 0.21391 | 0.38222 | 0.53371 | 0.54432 | 0.12832 | 0.44246 | 0.32208 | 0.13244 | 0.10365 | 1.7851 | 1.2284 | 1.2339 | 1.2112 | 1.0693 | 1.4276
Distributed Storage QLD | Capacity Factor | % | 10.6582 | 10.4717 | 10.1475 | 9.8066 | 9.9196 | 9.5833 | 9.3138 | 9.5681 | 10.1104 | 10.517 | 10.5998 | 10.5931 | 11.2121 | 11.2883 | 12.7538
Distributed Storage SA | Capacity Factor | % | 16.3556 | 16.2252 | 15.4729 | 14.7688 | 14.2023 | 12.9258 | 11.4622 | 11.6131 | 11.5172 | 11.7132 | 12.3747 | 12.3161 | 12.7222 | 12.5509 | 12.4083
Distributed Storage TAS | Capacity Factor | % | 0.2226 | 0.4183 | 0.68251 | 0.83994 | 0.3744 | 0.87297 | 0.64071 | 0.36338 | 0.39853 | 2.9781 | 2.582 | 2.5973 | 2.58 | 2.642 | 3.0557
Distributed Storage VIC | Capacity Factor | % | 14.6949 | 14.3407 | 13.8139 | 16.3183 | 16.7346 | 17.9727 | 16.2399 | 16.7325 | 16.9376 | 17.5384 | 20.2376 | 19.4319 | 19.3865 | 18.1576 | 18.4589
New Natural Gas NSW | Capacity Factor | % |  |  |  | 0.49458 | 0.40932 | 0.97847 | 0.34645 | 0.44802 | 0.45723 | 0.53973 | 0.42132 | 0.51171 | 0.3908 | 0.33663 | 0.0012822
New Natural Gas VIC | Capacity Factor | % |  |  |  | 0.36209 | 0.26473 | 0.34436 | 0.43297 | 0.2075 | 0.26435 | 0.39027 | 0.20985 | 0.15832 | 0.16101 | 0.58697 | 0.087812
New Natural Gas SA | Capacity Factor | %
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 17.4756 | 16.1864 | 17.0414 | 18.3021 | 20.4174 | 20.5305 | 20.952 | 21.5382 | 22.3179 | 21.9728
Pumped Hydro NSW | Capacity Factor | %
Pumped Hydro QLD | Capacity Factor | % | 2030: 22.8452; 2031: 23.2971; 2032: 23.4474; 2033: 23.4111; 2034: 23.5243
Pumped Hydro VIC | Capacity Factor | % | 2033: 16.6907; 2034: 15.9116

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 955942.5211 | 920907.2227 | 898983.9803 | 902245.3933 | 861239.1619 | 852272.9574 | 926026.5389 | 909625.6449 | 915628.7517 | 786709.3931 | 755091.9337 | 737032.3472 | 707960.1062 | 640861.1692 | 631812.9495
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 809889.1222 | 795262.4327 | 830838.4609 | 877544.5245 | 856587.6476 | 870427.3134 | 815933.8518 | 721876.6729 | 706894.6352 | 723348.9986 | 583077.4444 | 543952.4703 | 532174.8036 | 522766.2487 | 503776.2216
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 309344.0245 | 295568.1211 | 264329.0761 | 262231.6803 | 286623.3928 | 276570.2793 | 256767.0758 | 276676.4741 | 251055.1218 | 240731.5691 | 258203.0314 | 259043.1875 | 240526.1182 | 198341.6846 | 196532.4258
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 371.9867 | 376.8746 | 3504.2048 | 10870.398 | 12647.1534 | 19762.9228 | 14539.3042 | 10624.8101 | 10209.5294 | 15289.1627 | 16428.2584 | 13733.6516 | 8053.7602 | 9160.5939 | 3136.4124
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 193104.7521 | 192783.9385 | 158362.4989 | 115580.7408 | 106005.6604 | 97535.2618 | 92705.2384 | 96679.4805 | 97435.6379 | 95165.0018 | 136532.2318 | 139237.2915 | 126542.9391 | 123617.0902 | 114535.6893
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 2375.6763 | 1262.7241 | 2162.3645 | 519.9074 | 688.4587 | 1188.3637 | 1061.3217 | 206.1429 | 535.1543 | 1390.6014 | 597.1109 | 289.0354 | 224.2492 | 888.3246 | 141.7169
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 379846.7828 | 375858.4336 | 375714.8501 | 277301.0088 | 8632.3577 | 6012.6256 | 4356.7283 | 2644.606 | 3585.8648 | 3758.3417 | 3240.3419 | 2850.0851 | 2030.5814 | 3660.2948 | 1009.5133
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27782.6293 | 31324.2184 | 30005.5695 | 30126.9163 | 33132.0513 | 39228.4256 | 44991.7287 | 49178.0608 | 53644.983 | 57655.514 | 59888.2782 | 61358.0514
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8056.8159 | 9227.6316 | 9600.2825 | 10051.7582 | 12552.4421 | 14357.0466 | 15149.4673 | 16180.6905 | 18335.1318 | 18130.6805 | 16657.6775 | 16768.2014
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22140.3104 | 22485.2982 | 22501.1499 | 22491.6282 | 22509.624 | 22590.9147 | 22568.9084 | 22635.0308 | 22526.8841 | 22545.2881 | 22396.1304 | 22294.6391
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 62108.3548 | 62269.3549 | 62270.4306 | 62244.5708 | 62224.7808 | 62356.655 | 58156.349 | 55224.8769 | 53922.7323 | 52604.6585 | 52385.4174 | 46816.5418
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 1591.0799 | 1645.9223 | 3830.5526 | 1320.8856 | 1662.366 | 1696.5368 | 2002.6776 | 1563.3096 | 1898.7136 | 1450.0748 | 1249.0773 | 4.7576
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 385.9462 | 275.8941 | 350.7237 | 430.7058 | 201.4886 | 256.696 | 379.3932 | 204.0049 | 153.9063 | 156.518 | 570.6049 | 85.3647
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 5704.5343 | 9152.3716 | 9636.9719 | 10351.4859 | 11552.2443 | 11614.5072 | 11856.1628 | 12185.6754 | 12627.6297 | 12432.033
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4004.114 | 4085.1564 | 5072.2819 | 10738.4721 | 10790.479
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8352.3917 | 7961.6139

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6719 | 6719 | 6719 | 5039 | 5039 | 5039 | 5039 | 5039
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 443 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1452 | 1452 | 1452 | 1452 | 1561 | 1561 | 1561 | 1561 | 1561 | 1561 | 1561
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 710 | 710
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 1179 | 1824 | 1824 | 1824 | 1824 | 1824 | 1824 | 1824
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 115 | 579 | 1137 | 1137 | 1137 | 1137 | 1137
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 706 | 706 | 706 | 706 | 706 | 706
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 50.31 | 112.14 | 191.76 | 285.63 | 392.11 | 507.96 | 629.21 | 755.21 | 884.1 | 1014.56 | 1146.74 | 1268.08 | 1374.69 | 1478.13 | 1602.842
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 27.3846 | 61.869 | 103.6833 | 150.7139 | 200.5457 | 252.5092 | 305.4067 | 359.7307 | 415.478 | 472.3329 | 530.0762 | 588.5222 | 647.51 | 706.0588 | 776.6681
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 9.3972 | 21.2282 | 36.5418 | 54.7233 | 75.2934 | 98.4033 | 123.269 | 149.5928 | 177.1413 | 205.7433 | 235.245 | 264.7586 | 293.3206 | 320.712 | 366.2419
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 2.2148 | 4.8034 | 7.9288 | 11.7855 | 14.8346 | 17.4601 | 19.4244 | 21.3119 | 22.9989 | 24.4779 | 25.9328 | 27.3307 | 28.6784 | 29.9799 | 31.4826
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 31.1482 | 68.3866 | 109.328 | 153.9304 | 200.9614 | 251.3966 | 303.5124 | 357.0578 | 410.7848 | 465.0942 | 520.6132 | 577.2093 | 634.7808 | 692.2289 | 757.7243
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 355 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 326 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175 | 175 | 216 | 458 | 458
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.7947 | 19.4115 | 19.3783 | 20.4562 | 20.3911 | 20.5803 | 20.5967 | 20.4549 | 20.5488 | 20.5724 | 20.7234 | 20.7612 | 20.7052 | 20.6118 | 20.3473
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.5781 | 21.3651 | 21.3632 | 21.36 | 21.3651 | 21.3315 | 21.381 | 21.2455 | 21.1619 | 21.1934 | 20.2835 | 20.2835 | 20.5604 | 20.8219 | 20.8219
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 78.3474 | 81.8931 | 89.7911 | 88.2366 | 85.6671 | 83.0494 | 80.5057 | 80.5057 | 80.5399 | 80.5399 | 80.5057 | 80.5057 | 80.5057 | 80.5057 | 76.1781
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 88.0776 | 88.0776 | 76.6882 | 62.8261 | 59.0668 | 55.246 | 58.5664 | 60.1652 | 60.1652 | 58.4652 | 67.0675 | 70.3042 | 69.3452 | 62.337 | 54.5542
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 105.2046 | 108.936 | 104.5285 | 98.587 | 96.2236 | 92.5217 | 88.8439 | 89.5502 | 89.5502 | 88.8439 | 89.7005 | 89.7005 | 90.415 | 90.415 | 90.415
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 102.9472 | 83.0718 | 78.4268 | 96.9977 | 110.3737 | 95.2976 | 100.9778 | 86.8558 | 84.4571 | 81.4945 | 86.8641 | 81.4945 | 81.4945 | 81.4945 | 59.4397
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.009233 | 0.0093682 | 0.0095974 | 0.0098281 | 0.010242 | 0.010162 | 0.010133 | 0.010423 | 0.010712 | 0.010934 | 0.011043 | 0.011158 | 0.011193 | 0.01123 | 0.011229
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098472 | 0.0098435 | 0.0098622 | 0.0098424 | 0.0098712 | 0.0098661 | 0.0098495 | 0.0098565 | 0.009861 | 0.0098524 | 0.0098618 | 0.0098616 | 0.0098552 | 0.0098547 | 0.0098552
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 92.2738 | 89.7363 | 87.0973 | 84.5598 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 90.2438 | 88.0108 | 85.7778 | 83.5448 | 81.3118 | 81.3118 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011431 | 0.011424 | 0.011426 | 0.011427 | 0.011432 | 0.01143 | 0.011433 | 0.011431 | 0.011432 | 0.011432
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2030: 0.011433; 2031: 0.011438; 2032: 0.011433; 2033: 0.011433; 2034: 0.011433
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011425; 2034: 0.011424

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 45692.9355 | 44725.0394 | 43050.0862 | 40582.7731 | 39398.3259 | 37657.279 | 40525.212 | 41102.3266 | 41063.3858 | 34989.0571 | 33466.2249 | 32663.3992 | 31605.7183 | 28614.4845 | 28819.8176
Black Coal QLD | Black Coal | QLD | Generation | GWh | 35419.2091 | 34908.3843 | 36245.096 | 38006.8275 | 37006.638 | 37616.4467 | 35896.8262 | 32186.435 | 31020.2308 | 31861.9589 | 26406.8857 | 24384.5257 | 23173.6995 | 23400.753 | 22564.1701
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 30425.6683 | 28963.3683 | 26076.5484 | 25751.6596 | 27780.7066 | 26830.3245 | 24800.3152 | 26751.0976 | 23891.8086 | 22928.3646 | 24696.8775 | 24546.0509 | 22950.6435 | 19085.6592 | 18911.9432
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 4.9875 | 4.8825 | 43.1038 | 129.4823 | 144.3328 | 236.8549 | 182.3795 | 134.233 | 133.8398 | 208.6557 | 214.7575 | 173.6416 | 100.011 | 122.5129 | 43.3627
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2015.672 | 2011.3346 | 1725.8101 | 1452.4527 | 1447.4205 | 1462.2137 | 1543.3748 | 1608.8688 | 1619.9417 | 1584.0575 | 1819.8147 | 1862.5317 | 1649.8598 | 1603.1536 | 1448.4335
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 20.0561 | 10.3148 | 18.3842 | 4.5926 | 6.2676 | 11.143 | 10.3752 | 2.0192 | 5.2413 | 13.5052 | 5.7567 | 2.8103 | 2.1792 | 8.6437 | 1.3734
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5255.1252 | 5194.5153 | 5193.0926 | 3889.4071 | 99.4655 | 73.2098 | 56.0778 | 34.1006 | 47.0259 | 49.7327 | 42.5622 | 37.2405 | 26.7666 | 49.1789 | 13.8685
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4263.8195 | 4249.2062 | 4209.572 | 4303.843 | 4270.5229 | 4191.6769 | 4248.9407 | 4234.2795 | 4199.8547 | 4186.8621 | 4115.7912 | 4149.6403 | 4126.5447 | 4054.6251 | 4085.8786
Wind QLD | Wind | QLD | Generation | GWh | 1964.1524 | 1964.513 | 1946.5868 | 1998.1791 | 1975.2202 | 1935.4241 | 1960.3875 | 1961.2393 | 1931.492 | 1911.6668 | 1903.6454 | 1926.0948 | 1915.5609 | 1872.8545 | 1885.3512
Wind VIC | Wind | VIC | Generation | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 11441.6779 | 13288.5399 | 13917.3635 | 14176.2414 | 13891.6477 | 14909.5356 | 14540.5063 | 14768.3302 | 14921.1457 | 14926.6901 | 15071.8541 | 14915.5498
Wind SA | Wind | SA | Generation | GWh | 5783.5017 | 5756.6032 | 5652.5118 | 5622.426 | 5796.8361 | 5693.2616 | 5781.0725 | 5750.1616 | 5707.0237 | 5799.6436 | 5676.3922 | 5690.2825 | 5658.4645 | 5549.5165 | 5539.8379
Wind TAS | Wind | TAS | Generation | GWh | 1336.9399 | 1327.8316 | 1334.5017 | 1338.7756 | 1303.687 | 1323.039 | 1327.1609 | 1326.2592 | 1338.8604 | 1276.5583 | 1308.0077 | 1314.6625 | 1316.0112 | 1315.1299 | 1325.8542
Solar NSW | Solar | NSW | Generation | GWh | 1093.2397 | 1086.5503 | 1093.159 | 1083.9631 | 1086.2795 | 1088.915 | 1078.6135 | 1067.612 | 1062.6722 | 1062.6576 | 1037.0057 | 1018.0963 | 982.3416 | 983.7666 | 933.2096
Solar QLD | Solar | QLD | Generation | GWh | 3242.6655 | 3241.5002 | 3248.052 | 3238.3641 | 3249.5066 | 3243.6951 | 3233.0566 | 3224.4469 | 3150.5825 | 3027.9615 | 3119.8009 | 3113.4667 | 3018.4871 | 2973.1068 | 2759.2621
Solar VIC | Solar | VIC | Generation | GWh | 1793.455 | 1797.396 | 1778.5248 | 1710.4659 | 2542.1667 | 3482.7053 | 3520.217 | 3441.0056 | 3680.3988 | 3595.6771 | 3728.0464 | 3741.638 | 3674.574 | 3817.3992 | 3683.2335
Solar SA | Solar | SA | Generation | GWh | 851.1289 | 838.1155 | 835.1654 | 822.0853 | 832.7082 | 847.145 | 857.1885 | 854.4692 | 859.7713 | 854.6439 | 837.3882 | 823.2515 | 822.1534 | 815.8669 | 792.9337
REZ Solar NSW | Solar | NSW | Generation | GWh | 3306.1307 | 3300.2477 | 3315.9621 | 3304.9014 | 3878.5534 | 3875.7144 | 3861.2504 | 3822.6818 | 4077.3008 | 4075.5915 | 3996.9975 | 3917.6998 | 3829.7032 | 3794.9385 | 3642.2548
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.518 | 481.0031 | 480.1699 | 487.949 | 475.4727 | 471.6691 | 477.6618 | 478.0424 | 476.2457 | 461.2326 | 458.3994 | 462.298 | 461.4862 | 2418.8258 | 2427.2073
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.4255 | 1797.9831 | 1804.313 | 1785.8149 | 1807.0512 | 1799.8417 | 1793.7328 | 3159.0681 | 4900.5386 | 4862.1674 | 4852.1032 | 4829.0064 | 4773.7215 | 4736.3511 | 4449.0825
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 447.6594 | 446.5285 | 2216.9553 | 4405.4408 | 4395.5539 | 4361.1704 | 4306.187 | 4236.9773
REZ Solar SA | Solar | SA | Generation | GWh | 441.1476 | 438.3862 | 437.1175 | 1021.7241 | 1046.1644 | 1054.6653 | 1063.7367 | 1060.5493 | 1069.6598 | 1058.7175 | 1046.0137 | 1029.5219 | 1033.7915 | 1021.2067 | 1002.0472
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 3087.6249 | 3153.9259 | 3184.7925 | 3201.7614 | 3187.0644 | 3212.1755
Hydro NSW | Hydro | NSW | Generation | GWh | 3134.873 | 3169.5154 | 3276.8206 | 3381.9254 | 3574.5119 | 3496.3885 | 3505.1206 | 3671.9826 | 4020.2613 | 4343.9587 | 4576.2425 | 4826.5486 | 5055.588 | 5174.6495 | 5258.5734
Hydro QLD | Hydro | QLD | Generation | GWh | 733.3337 | 751.7768 | 791.4388 | 830.9024 | 897.7615 | 917.445 | 943.9761 | 1085.9471 | 1188.5966 | 1232.9568 | 1290.6049 | 1412.0611 | 1402.4175 | 1318.1158 | 1325.5401
Hydro VIC | Hydro | VIC | Generation | GWh | 3116.127 | 3094.8103 | 3083.141 | 3048.5267 | 3096.0285 | 3098.2112 | 3096.9001 | 3099.378 | 3110.571 | 3107.5409 | 3116.6454 | 3101.7546 | 3104.2886 | 3083.7509 | 3069.7765
Hydro TAS | Hydro | TAS | Generation | GWh | 8582.6871 | 8574.0064 | 8540.9004 | 8551.7763 | 8573.9445 | 8574.0927 | 8570.532 | 8567.8071 | 8585.965 | 8007.6197 | 7603.9817 | 7424.6878 | 7243.2005 | 7213.013 | 6446.2276
Large Scale Storage SA | Battery | SA | Generation | GWh | 94.6286 | 95.5423 | 91.8829 | 92.4512 | 74.7938 | 67.638 | 61.4465 | 65.3023 | 70.0759 | 74.2573 | 81.8237 | 86.2402 | 96.4983 | 97.573 | 105.0246
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.3714 | 77.4693 | 76.1375 | 76.4236 | 78.1983 | 79.0953 | 79.1222 | 81.5597 | 87.7282 | 92.8986 | 91.8322 | 93.2273 | 101.713 | 105.2825 | 118.5838
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 63.7849 | 77.2795 | 93.7385 | 107.8324 | 77.8422 | 95.4184 | 84.8288 | 88.8572 | 93.2589 | 99.0074 | 121.8138 | 119.3806 | 120.6521 | 110.189 | 112.3667
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.94274 | 3.7547 | 8.9653 | 13.6195 | 4.4076 | 19.6882 | 17.7524 | 8.7615 | 8.0272 | 158.6509 | 123.3982 | 137.0662 | 145.8503 | 138.453 | 200.4538
Distributed Storage QLD | Battery | QLD | Generation | GWh | 25.5679 | 56.7537 | 92.166 | 129.4723 | 174.265 | 211.9802 | 249.1779 | 301.5145 | 367.9757 | 435.1553 | 492.1997 | 546.1203 | 635.9713 | 698.1902 | 867.7188
Distributed Storage SA | Battery | SA | Generation | GWh | 13.4639 | 30.1722 | 49.5295 | 70.7982 | 93.6742 | 111.4224 | 123.7727 | 152.1815 | 178.7188 | 211.1088 | 255.0117 | 285.6449 | 326.8961 | 352.6098 | 398.0921
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.043188 | 0.17601 | 0.47405 | 0.86715 | 0.48654 | 1.3352 | 1.0902 | 0.67839 | 0.80292 | 6.3859 | 5.8655 | 6.2183 | 6.4816 | 6.9385 | 8.4271
Distributed Storage VIC | Battery | VIC | Generation | GWh | 40.0962 | 85.9106 | 132.2978 | 220.0403 | 294.6004 | 395.801 | 431.7823 | 523.364 | 609.4953 | 714.5519 | 922.9495 | 982.5436 | 1078.0188 | 1101.0647 | 1225.2373
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 15.3805 | 16.3149 | 39 | 13.8087 | 17.8571 | 18.2241 | 21.5127 | 16.793 | 20.3959 | 15.5766 | 13.4175 | 0.051106
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 3.8063 | 2.7828 | 3.6199 | 4.5514 | 2.1812 | 2.7788 | 4.1025 | 2.206 | 1.6643 | 1.6925 | 6.1702 | 0.92308
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 499.0607 | 801.131 | 843.4483 | 905.8424 | 1010.5366 | 1016.1344 | 1036.997 | 1066.0111 | 1104.6043 | 1087.524
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 350.2169 | 357.1441 | 443.6618 | 939.2739 | 943.8154
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 731.0539 | 696.9297

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 220 | 0 | 0 | 0 | 109 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 509 | 645 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 0 | 357 | 202 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 562 | 0 | 0 | 0 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 49814.4157 | 48760.9898 | 46973.6311 | 44349.2433 | 43010.1245 | 41095.7398 | 44236.4412 | 44882.4932 | 44839.9209 | 38248.7523 | 36583.3234 | 35705.1381 | 34548.2871 | 31310.1823 | 31502.0115
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 71318.3594 | 68996.0373 | 71624.0491 | 75009.5481 | 73247.9865 | 74310.4623 | 66739.6917 | 54628.8334 | 55201.4122 | 55853.8337 | 50778.318 | 49172.7316 | 40837.0092 | 45767.7619 | 43388.495
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 34469.8114 | 32810.5402 | 29517.7633 | 29154.3562 | 31460.8904 | 30382.1963 | 28127.0695 | 30289.7824 | 27057.7503 | 25964.371 | 27957.7243 | 27785.9307 | 25957.6534 | 21530.4185 | 21334.7216
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27782.6293 | 31324.2184 | 30005.5695 | 30126.9163 | 33132.0513 | 39228.4256 | 44991.7287 | 49178.0608 | 53644.983 | 57655.514 | 59888.2782 | 61358.0514
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8056.8159 | 9227.6316 | 9600.2825 | 10051.7582 | 12552.4421 | 14357.0466 | 15149.4673 | 16180.6905 | 18335.1318 | 18130.6805 | 16657.6775 | 16768.2014
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 62108.3548 | 62269.3549 | 62270.4306 | 62244.5708 | 62224.7808 | 62356.655 | 58156.349 | 55224.8769 | 53922.7323 | 52604.6585 | 52385.4174 | 46816.5418
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22140.3104 | 22485.2982 | 22501.1499 | 22491.6282 | 22509.624 | 22590.9147 | 22568.9084 | 22635.0308 | 22526.8841 | 22545.2881 | 22396.1304 | 22294.6391
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 37.1635 | 36.6246 | 331.1186 | 1059.2649 | 1265.6112 | 2007.2583 | 1543.9471 | 1133.8333 | 1099.8423 | 1662.7368 | 1770.2267 | 1462.4714 | 856.0169 | 983.5524 | 343.805
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16871.9949 | 16843.4925 | 13721.9818 | 10696.2981 | 10658.2111 | 10768.571 | 11372.1563 | 11867.9129 | 11952.793 | 11674.7224 | 13452.0872 | 13795.5153 | 12181.8912 | 11827.9569 | 10665.0856
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 33782.8433 | 33423.9215 | 33467.5455 | 25173.758 | 1132.6924 | 837.1229 | 643.1785 | 391.2226 | 540.4485 | 571.9006 | 489.0024 | 427.9081 | 307.7278 | 566.0631 | 159.8449
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 244.6436 | 129.2184 | 232.7674 | 58.3324 | 78.7174 | 128.5351 | 113.9179 | 21.8036 | 56.5959 | 153.8661 | 63.6356 | 31.2502 | 23.5308 | 93.3346 | 14.8299
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 157.6888 | 167.2685 | 399.8489 | 141.574 | 183.08 | 186.8433 | 220.5592 | 172.1707 | 209.1094 | 159.6999 | 137.5636 | 0.52397
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 39.0239 | 28.5309 | 37.1136 | 46.6637 | 22.3628 | 28.4901 | 42.0613 | 22.6169 | 17.0628 | 17.3523 | 63.26 | 9.4639
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2105 | 2105 | 2105
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2719 | 2719
Battery | MW | 136.1482 | 173.3866 | 214.328 | 258.9304 | 305.9614 | 356.3966 | 408.5124 | 462.0578 | 515.7848 | 570.0942 | 625.6132 | 682.2093 | 739.7808 | 797.2289 | 862.7243
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 8993.2859 | 8923.6992 | 8621.9724 | 8262.8657 | 8451.5772 | 8505.1453 | 8586.1721 | 8652.7299 | 8609.5263 | 8685.1516 | 8733.0712 | 8699.9998 | 8659.4423 | 8548.4421 | 8249.9372
Peak Load + Min Capacity Reserves | MW | 9491.2859 | 9421.6992 | 9119.9724 | 8760.8657 | 8949.5772 | 9003.1453 | 9084.1721 | 9150.7299 | 9107.5263 | 9183.1516 | 9231.0712 | 9197.9998 | 9157.4423 | 9046.4421 | 8747.9372

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.9425 | 38.3562 | 42.475 | 42.8197 | 44.3363 | 47.0567 | 49.5196 | 47.4826 | 51.6506 | 52.2961 | 50.8214 | 51.2294 | 52.8483 | 58.1643 | 58.0765
Wind | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 11441.6779 | 13288.5399 | 13917.3635 | 14176.2414 | 13891.6477 | 14909.5356 | 14540.5063 | 14768.3302 | 14921.1457 | 14926.6901 | 15071.8541 | 14915.5498
Solar | GWh | 1793.455 | 1797.396 | 1778.5248 | 1710.4659 | 2542.1667 | 3482.7053 | 3520.217 | 3441.0056 | 3680.3988 | 3595.6771 | 3728.0464 | 3741.638 | 3674.574 | 3817.3992 | 3683.2335
Hydro | GWh | 3116.127 | 3094.8103 | 3083.141 | 3048.5267 | 3096.0285 | 3098.2112 | 3096.9001 | 3099.378 | 3110.571 | 3107.5409 | 3116.6454 | 3101.7546 | 3104.2886 | 3814.8048 | 3766.7061
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 46164.028 | 47160.7892 | 45634.8813 | 45500.5315 | 50593.4523 | 51633.1345 | 50181.5716 | 52111.3564 | 50884.933 | 49806.2436 | 52359.4028 | 52598.2121 | 51224.4396 | 48551.1777 | 48306.6586

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ararat - Waubra transmission line | Annual hours | 69 | 85 | 436 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Bendigo transmission line | Annual hours | 0 | 11 | 35 | 42 | 2 | 1 | 1 | 1 | 4 | 2 | 3 | 3 | 2 | 1 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 6 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 526 | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2271 | 2050 | 2646 | 1841 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 731 | 700 | 864 | 658 | 0 | 1 | 0 | 0 | 0 | 0 | 82 | 82 | 83 | 83 | 95
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 117 | 563 | 226 | 6 | 5 | 8 | 6 | 26 | 16 | 4 | 5 | 3 | 6 | 4
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 2 | 0
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 9 | 62 | 3 | 2 | 2 | 2 | 1 | 0 | 0 | 0 | 0 | 3 | 3
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 68 | 85 | 163 | 311 | 161 | 572 | 627 | 526 | 459 | 436 | 644 | 651 | 574 | 650 | 563
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 3754 | 4735 | 6204 | 7265 | 6378 | 7461 | 5933 | 7088 | 6109 | 5778 | 6979 | 6546 | 5799 | 3546 | 3445