|  |  |  |  |
| --- | --- | --- | --- |
| **Jurisdiction** | **Submitted by** | **Unmetered Device** | **Load as tested (W)** |
| ALL | Hamilton Lighting Systems | AUS XHYP3 360 30LED | 34.8W |