## Summary
Region | Generator | TNI | 2021/22 Forecast Generator Energy (GWh) based on individual TNI (Note 1) | 2021/22 Forecast Generator Energy (GWh) based on Station
NSW | Bayswater PS Units 1 and 2 (330 kV) | NBAY | 7002.7525 | 12662.0249
NSW | Bayswater PS Units 3 and 4 (500 kV) | NBYW | 5659.2724
NSW | Blowering PS | NBLW | 97.5377 | 97.5377
NSW | Colongra PS | NCLG | 22.8794 | 22.8794
NSW | Eraring PS Units 1 and 2 (330 kV) | NEP3 | 6655.5833 | 12090.7281
NSW | Eraring PS Units 3 and 4 (500 kV) | NEPS | 5435.1448
NSW | Guthega PS | NGUT | 132.2405 | 132.2405
NSW | Hume PS (NSW Share) | NHUM | 51.0514 | 51.0514
NSW | Hunter Valley GT | NLD31 | 1.6515 | 1.6515
NSW | Liddell PS | NLDP | 8429.9283 | 8429.9283
NSW | Lower Tumut PS | NLTS | 314.8905 | 314.8905
NSW | Mount Piper PS | NMTP | 4786.937 | 4786.937
NSW | Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | 14.2313 | 14.2313
NSW | Smithfield Energy Facility | NHD2 | 25.2526 | 25.2526
NSW | Tallawarra PS | NTWA | 1309.4666 | 1309.4666
NSW | Uranquinty PS | NURQ | 427.7945 | 427.7945
NSW | Upper Tumut PS | NUTS | 1166.1227 | 1166.1227
NSW | Vales Point PS | NVPP | 6402.2794 | 6402.2794
VIC | Guthega - Jindabyne Pump | NGJP | -202.5362 | -202.5362
VIC | Murray PS | NMUR | 1372.5247 | 1372.5247
VIC | Laverton PS | VAT2 | 62.0498 | 62.0498
VIC | Bairnsdale PS | VBDL | 103.4167 | 103.4167
VIC | Dartmouth PS | VDPS | 299.4708 | 299.4708
VIC | Eildon PS | VEPS | 100.0339 | 100.0339
VIC | Hume PS (Victorian Share) | VHUM | 60.4515 | 60.4515
VIC | Jeeralang PS A and B | VJLG | 149.008 | 149.008
VIC | Loy Yang PS A | VLYP | 11648.1746 | 19317.6237
VIC | Loy Yang PS B | VLYP | 7669.449
VIC | Mortlake PS | VM0P | 871.8857 | 871.8857
VIC | Morwell PS Units 1, 2 and 3 (66 kV) | VMWG | 0 | 0
VIC | Morwell PS Units 4 and 5 (11 kV) | VMWP | 0 | 0
VIC | Newport PS | VNPS | 768.6 | 768.6
VIC | Somerton PS | VSOM | 93.5758 | 93.5758
VIC | Bogong PS And McKay PS | VT14 | 183.3717 | 183.3717
VIC | West Kiewa PS | VWKP | 144.9355 | 144.9355
VIC | Yallourn PS Units 2, 3 and 4 | VYP2 | 5633.692 | 5633.692
VIC | Yallourn PS Unit 1 220 kV | VYP3 | 197.7002 | 1592.3732
VIC | Yallourn PS Unit 1 500 kV (Note 2) | VYP3 | 1394.673
QLD | Barcaldine PS | QBCG | 0.85289 | 0.85289
QLD | Barron Gorge PS | QBGH | 156.5121 | 156.5121
QLD | Braemar PS Units 1, 2 and 3 | QBRA | 297.0969 | 2582.9078
QLD | Braemar PS Units 5, 6 and 7 | QBRA | 322.3915
QLD | Darling Downs PS | QBRA | 1963.4195
QLD | Callide B PS | QCAB | 3745.8361 | 3745.8361
QLD | Callide C PS | QCAC | 4846.4587 | 4846.4587
QLD | Condamine PS | QCND | 625.3776 | 625.3776
QLD | Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 4113.6822 | 4113.6822
QLD | Gladstone PS Units 3 and 4 (132 kV) | QGLL | 2222.449 | 2222.449
QLD | Kareeya PS | QKYH | 300.4967 | 300.4967
QLD | Mackay GT | QMKG | 0.063195 | 0.063195
QLD | Millmerran PS | QMLN | 5688.2429 | 5688.2429
QLD | Mt Stuart PS unit 1 and 2 | QMSP | 0.47641 | -0.40222
QLD | Mt Stuart PS unit 3 | QMSP | -0.87863
QLD | Oakey PS | QOKY | 25.1278 | 25.1278
QLD | Roma PS | QRMA | 13.8596 | 13.8596
QLD | Stanwell PS | QSTN | 6877.2902 | 6877.2902
QLD | Swanbank E GT | QSWE | 822.1847 | 822.1847
QLD | Tarong North PS | QTNT | 2991.6241 | 2991.6241
QLD | Tarong PS | QTRN | 7355.4819 | 7355.4819
QLD | Yabulu PS (Townsville) | QTYP | 224.7133 | 224.7133
QLD | Kogan Creek PS | QWDN | 3209.7235 | 3209.7235
QLD | Wivenhoe Pump | QWIP | -204.0869 | -204.0869
QLD | Wivenhoe PS | QWIV | 130.4773 | 130.4773
QLD | Yabulu Steam Turbine | QYST | 8.3498 | 8.3498
SA | Angaston PS | SANG | 1.059 | 1.059
SA | Barker Inlet PS | SBPS | 160.6155 | 160.6155
SA | Cummins Lonsdale PS | SMVE | -0.031915 | -0.031915
SA | Dry Creek PS Units 1 and 2 | SDPS | 3.1311 | 6
SA | Dry Creek PS Unit 3 | SDPS | 3.2221
SA | Hallett PS | SHPS | 34.534 | 34.534
SA | Mintaro PS | SMPS | 7.3232 | 7.3232
SA | OCPL PS | SOCP | 645.1657 | 645.1657
SA | Ladbroke Grove PS | SPEW | 139.2035 | 139.2035
SA | Port Lincoln PS Unit 3 (33 kV) | SPL3 | 0.07519 | 0.07519
SA | Port Stanvac PS | SMVE | 2.1176 | 2.1176
SA | Pelican Point PS | SPPT | 2481.8331 | 2481.8331
SA | Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 0.2811 | 0.2811
SA | Quarantine PS | SQPS | 165.5629 | 165.5629
SA | Snuggery PS | SSPS | -0.38404 | -0.38404
SA | Torrens Island PS A and B | STPS | 1603.669 | 1603.669
TAS | Bell Bay and Tamar Valley OCGT | TBB1 | 80.2389 | 80.2389
TAS | Cethana | TCE1 | 308.9136 | 308.9136
TAS | Devils Gate | TDG1 | 209.4291 | 209.4291
TAS | Bastyan | TFA1 | 440.3376 | 440.3376
TAS | Gordon | TGO1 | 1374.1679 | 1374.1679
TAS | John Butters | TJB1 | 693.9644 | 693.9644
TAS | Lake Echo | TLE1 | 40.9169 | 40.9169
TAS | Liapootah, Wayatinah and Catagunya | TLI1 | 839.6277 | 839.6277
TAS | Mackintosh | TMA1 | 433.6174 | 433.6174
TAS | Meadowbank | TMB1 | 90.8851 | 90.8851
TAS | Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 474.2415 | 658.3606
TAS | Poatina 1 and 2 (110 kV) | TPM2 | 184.1191
TAS | Reece 1 | TRCA | 629.4222 | 1150.528
TAS | Reece 2 | TRCB | 521.1058
TAS | Lemonthyme / Wilmot | TSH1 | 314.07 | 314.07
TAS | Tarraleah | TTA1 | 496.7975 | 496.7975
TAS | Tribute | TTI1 | 198.6518 | 198.6518
TAS | Trevallyn | TTR1 | 280.8775 | 280.8775
TAS | Tungatinah | TTU1 | 533.1919 | 533.1919
TAS | Tamar Valley CCGT | TTV1 | 0 | 0
Note 1
Monthly Generator Energy for 2019/20 Historical and 2021/22 Forecast are in 'Detailed' sheet.

## Detailed
[5 empty] | 2019/20 Historical Monthly Generator Energy (GWh) | [13 empty] | 2021/22 Forecast Monthly Generator Energy (GWh) | [10 empty] | Difference in monthly energy (GWh) - if negative, energy has reduced in forecast | [12 empty] | Difference in monthly energy (%) - if negative, energy has reduced in forecast
NSW
Generator | TNI | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total
Bayswater PS Units 1 and 2 (330 kV) | NBAY | 809.5426 | 793.3716 | 345.7417 | 761.7204 | 412.855 | 684.411 | 793.111 | 735.0252 | 586.7202 | 566.0424 | 714.303 | 724.1156 | 7926.9596 | 767.3862 | 724.671 | 296.8764 | 621.9163 | 323.0387 | 594.8171 | 697.096 | 641.1786 | 508.5529 | 478.8071 | 666.4528 | 681.9595 | 7002.7525 | -42.1564 | -68.7006 | -48.8653 | -139.8041 | -89.8163 | -89.5938 | -96.015 | -93.8466 | -78.1672 | -87.2354 | -47.8502 | -42.1561 | -924.207 | -5.207% | -8.659% | -14.13% | -18.35% | -21.75% | -13.09% | -12.11% | -12.77% | -13.32% | -15.41% | -6.699% | -5.822% | -11.66%
Blowering PS | NBLW | -1.35e-05 | 0.36875 | 7.3608 | 19.9805 | 22.6555 | 23.256 | 16.3306 | 7.5329 | 0.052424 | 0 | -2.7e-05 | -1.35e-05 | 97.5374 | -1.5e-05 | 0.36877 | 7.3609 | 19.9805 | 22.6555 | 23.2561 | 16.3308 | 7.5329 | 0.052335 | 0 | -3e-05 | -1.5e-05 | 97.5377 | -1.5e-06 | 1.7e-05 | 7.4e-05 | 6.5e-06 | 2.75e-05 | 0.000126 | 0.0001955 | 2e-05 | -8.9e-05 | 0 | -3e-06 | -1.5e-06 | 0.0003715 | -11.11% | 0.00461% | 0.001005% | 3.253e-05% | 0.0001214% | 0.0005418% | 0.001197% | 0.0002655% | -0.1698% | 0% | -11.11% | -11.11% | 0.0003809%
Bayswater PS Units 3 and 4 (500 kV) | NBYW | 772.4696 | 828.2815 | 712.2201 | 695.89 | 538.3178 | 610.1029 | 644.6575 | 219.2456 | 188.9594 | 370.1505 | 344.5923 | 447.4864 | 6372.3736 | 740.8132 | 773.9898 | 624.9655 | 577.0409 | 426.7843 | 532.6782 | 564.9609 | 190.7297 | 162.5868 | 314.1743 | 323.7178 | 426.8311 | 5659.2724 | -31.6564 | -54.2917 | -87.2546 | -118.8491 | -111.5335 | -77.4248 | -79.6965 | -28.5159 | -26.3726 | -55.9762 | -20.8745 | -20.6554 | -713.1012 | -4.098% | -6.555% | -12.25% | -17.08% | -20.72% | -12.69% | -12.36% | -13.01% | -13.96% | -15.12% | -6.058% | -4.616% | -11.19%
Colongra PS | NCLG | -0.63645 | -0.20654 | 2.7525 | -0.62151 | -0.61221 | -0.6387 | 13.7694 | 0.2455 | 2.2306 | -0.39023 | 1.3396 | 8.5951 | 25.827 | -0.56876 | 0.32367 | 2.4207 | -0.52373 | -0.49691 | -0.5556 | 11.7115 | 0.23884 | 1.7419 | -0.33714 | 1.2499 | 7.675 | 22.8794 | 0.067694 | 0.53021 | -0.33184 | 0.097779 | 0.1153 | 0.083099 | -2.0579 | -0.00665 | -0.48864 | 0.053092 | -0.089638 | -0.92008 | -2.9476 | 10.64% | >100% | -12.06% | 15.73% | 18.83% | 13.01% | -14.95% | -2.709% | -21.91% | 13.61% | -6.691% | -10.7% | -11.41%
Eraring PS Units 1 and 2 (330 kV) | NEP3 | 650.6331 | 786.6032 | 787.7888 | 798.9459 | 673.4932 | 732.8887 | 686.0053 | 676.1981 | 570.9813 | 412.2511 | 381.3974 | 540.4851 | 7697.6713 | 652.3002 | 782.2297 | 649.987 | 426.9398 | 535.2167 | 639.1154 | 604.2759 | 589.0971 | 498.7145 | 360.9921 | 370.6235 | 546.0914 | 6655.5833 | 1.6671 | -4.3735 | -137.8018 | -372.0061 | -138.2765 | -93.7734 | -81.7294 | -87.101 | -72.2668 | -51.259 | -10.7739 | 5.6063 | -1042.088 | 0.2562% | -0.556% | -17.49% | -46.56% | -20.53% | -12.8% | -11.91% | -12.88% | -12.66% | -12.43% | -2.825% | 1.037% | -13.54%
Eraring PS Units 3 and 4 (500 kV) | NEPS | 758.9457 | 561.6039 | 336.0688 | 309.2346 | 575.258 | 628.2549 | 686.742 | 631.7354 | 577.1984 | 553.8285 | 581.4543 | 628.7722 | 6829.0967 | 754.1406 | 464.3218 | 0 | 27.1505 | 408.9717 | 548.1468 | 604.299 | 551.1798 | 463.4993 | 425.4271 | 564.5705 | 623.4379 | 5435.1448 | -4.8051 | -97.2821 | -336.0688 | -282.0842 | -166.2864 | -80.1081 | -82.443 | -80.5556 | -113.6991 | -128.4014 | -16.8839 | -5.3343 | -1393.9519 | -0.6331% | -17.32% | -100% | -91.22% | -28.91% | -12.75% | -12% | -12.75% | -19.7% | -23.18% | -2.904% | -0.8484% | -20.41%
Guthega PS | NGUT | 7.4744 | 3.9555 | 14.9178 | 24.4002 | 18.8609 | 5.3127 | 2.6635 | 5.01 | 6.4002 | 13.5914 | 17.0098 | 12.9913 | 132.5878 | 7.4312 | 3.9119 | 14.8829 | 24.3988 | 18.8358 | 5.2748 | 2.6529 | 4.982 | 6.3683 | 13.5624 | 16.9809 | 12.9587 | 132.2405 | -0.043237 | -0.043631 | -0.034925 | -0.001373 | -0.025092 | -0.037934 | -0.010603 | -0.028034 | -0.031918 | -0.02904 | -0.028871 | -0.032636 | -0.34729 | -0.5785% | -1.103% | -0.2341% | -0.005627% | -0.133% | -0.714% | -0.3981% | -0.5596% | -0.4987% | -0.2137% | -0.1697% | -0.2512% | -0.2619%
Hume PS (NSW Share) | NHUM | 0 | 0 | 1.273 | 4.6412 | 11.3789 | 8.5797 | 8.9821 | 7.8185 | 5.474 | 3.0329 | -0.040229 | -0.067498 | 51.0726 | 0 | 0 | 1.273 | 4.6406 | 11.3738 | 8.5794 | 8.9687 | 7.8173 | 5.4741 | 3.0324 | -0.04038 | -0.06763 | 51.0514 | 0 | 0 | 1.6e-05 | -0.0006015 | -0.005084 | -0.0002985 | -0.013438 | -0.001186 | 0.0001155 | -0.0004585 | -0.0001505 | -0.0001315 | -0.021218 | 0% | 0% | 0.001257% | -0.01296% | -0.04468% | -0.003479% | -0.1496% | -0.01517% | 0.00211% | -0.01512% | -0.3741% | -0.1948% | -0.04154%
Hunter Valley GT | NLD31 | 0.022475 | 0.15056 | 0.20483 | 0.65437 | 0.19748 | 0.01646 | 0.47261 | 0.22271 | 0 | 0 | 0 | 0 | 1.9415 | 0.02323 | 0.16166 | 0.18503 | 0.55637 | 0.14254 | 0.007455 | 0.38958 | 0.18565 | 0 | 0 | 0 | 0 | 1.6515 | 0.000755 | 0.011104 | -0.019795 | -0.097996 | -0.054938 | -0.0090055 | -0.083021 | -0.037057 | 0 | 0 | 0 | 0 | -0.28995 | 3.359% | 7.376% | -9.665% | -14.98% | -27.82% | -54.71% | -17.57% | -16.64% | 0% | 0% | 0% | 0% | -14.93%
Liddell PS | NLDP | 863.1381 | 956.0241 | 1031.2811 | 890.3679 | 911.5642 | 880.9125 | 887.3669 | 781.519 | 739.4883 | 710.3789 | 449.8269 | 408.5449 | 9510.4128 | 859.6028 | 944.3662 | 913.36 | 754.7711 | 739.9831 | 766.0826 | 779.5438 | 682.6284 | 636.1237 | 530.7038 | 424.0028 | 398.76 | 8429.9283 | -3.5353 | -11.6579 | -117.9211 | -135.5968 | -171.581 | -114.8299 | -107.8231 | -98.8906 | -103.3646 | -179.6751 | -25.8241 | -9.7848 | -1080.4844 | -0.4096% | -1.219% | -11.43% | -15.23% | -18.82% | -13.04% | -12.15% | -12.65% | -13.98% | -25.29% | -5.741% | -2.395% | -11.36%
Lower Tumut PS | NLTS | 11.5509 | 37.6018 | 37.4693 | 40.6385 | -6.4396 | 7.3543 | 55.6047 | 14.3646 | 40.6076 | 23.2228 | 14.1304 | 40.7998 | 316.9052 | 11.3824 | 37.3038 | 37.2621 | 40.4665 | -6.4713 | 7.2269 | 55.4788 | 14.2451 | 40.4194 | 23.0472 | 13.9819 | 40.5477 | 314.8905 | -0.16855 | -0.298 | -0.20722 | -0.17203 | -0.031712 | -0.12744 | -0.12592 | -0.11942 | -0.18826 | -0.17558 | -0.14846 | -0.25208 | -2.0147 | -1.459% | -0.7925% | -0.553% | -0.4233% | -0.4925% | -1.733% | -0.2264% | -0.8313% | -0.4636% | -0.7561% | -1.051% | -0.6179% | -0.6357%
Mount Piper PS | NMTP | 481.6121 | 471.1066 | 269.4892 | 291.8889 | 392.7274 | 302.9325 | 323.3564 | 404.4918 | 659.3264 | 652.8392 | 691.4338 | 771.6253 | 5712.8297 | 508.2 | 497.25 | 234.7606 | 62.6965 | 280.2185 | 266.0351 | 284.6496 | 353.768 | 392.453 | 493.09 | 659.6588 | 754.1568 | 4786.937 | 26.5879 | 26.1434 | -34.7286 | -229.1923 | -112.509 | -36.8974 | -38.7069 | -50.7237 | -266.8733 | -159.7492 | -31.7749 | -17.4685 | -925.8927 | 5.521% | 5.549% | -12.89% | -78.52% | -28.65% | -12.18% | -11.97% | -12.54% | -40.48% | -24.47% | -4.596% | -2.264% | -16.21%
Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | -19.895 | -15.2376 | -11.8223 | -21.722 | 2.3859 | 4.2349 | 14.8893 | 13.305 | 9.1183 | 16.3615 | 13.6008 | 9.2432 | 14.4622 | -19.8951 | -15.2468 | -11.8223 | -21.7248 | 2.3653 | 4.2338 | 14.8578 | 13.2887 | 9.1071 | 16.2556 | 13.5917 | 9.2203 | 14.2313 | -0.000133 | -0.009173 | 1.3e-05 | -0.0028455 | -0.020598 | -0.001091 | -0.031483 | -0.016354 | -0.01121 | -0.10587 | -0.0091225 | -0.022982 | -0.23085 | -0.0006685% | -0.0602% | 0.00011% | -0.0131% | -0.8633% | -0.02576% | -0.2114% | -0.1229% | -0.1229% | -0.6471% | -0.06707% | -0.2486% | -1.596%
Smithfield Energy Facility | NHD2 | 0.097772 | 4.8666 | 5.1454 | 5.3356 | 0.041295 | -0.11694 | 3.9303 | 1.1606 | 0.35797 | 0.40242 | 1.4233 | 2.7782 | 25.4224 | 0.20148 | 5.5486 | 5.0605 | 4.7673 | 0.028965 | -0.10175 | 3.4209 | 1.0481 | 0.3237 | 0.36834 | 1.5172 | 3.0694 | 25.2526 | 0.10371 | 0.68205 | -0.084914 | -0.56831 | -0.01233 | 0.0152 | -0.50942 | -0.11251 | -0.034273 | -0.034084 | 0.093877 | 0.29118 | -0.16981 | >100% | 14.02% | -1.65% | -10.65% | -29.86% | 13% | -12.96% | -9.694% | -9.574% | -8.47% | 6.596% | 10.48% | -0.668%
Tallawarra PS | NTWA | 170.3408 | 242.7769 | 194.6417 | 229.3588 | 131.5983 | 13.8216 | 89.2838 | 76.334 | 61.5735 | 55.9196 | 72.3007 | 89.04 | 1426.9898 | 170.1575 | 239.2573 | 177.3327 | 195.5028 | 101.9457 | 12.4057 | 79.3551 | 66.7916 | 54.5493 | 50.1312 | 71.0354 | 91.0025 | 1309.4666 | -0.18335 | -3.5196 | -17.309 | -33.856 | -29.6527 | -1.4159 | -9.9287 | -9.5425 | -7.0242 | -5.7884 | -1.2653 | 1.9625 | -117.5232 | -0.1076% | -1.45% | -8.893% | -14.76% | -22.53% | -10.24% | -11.12% | -12.5% | -11.41% | -10.35% | -1.75% | 2.204% | -8.236%
Uranquinty PS | NURQ | 30.3259 | 40.6098 | 94.2281 | 178.8737 | 56.1986 | 16.2856 | 31.774 | 26.1859 | 4.6048 | 0.1403 | 2.7883 | -0.53183 | 481.4832 | 30.9006 | 41.4876 | 85.4957 | 153.4825 | 44.7807 | 13.8394 | 28.1481 | 23.0762 | 3.9932 | 0.14225 | 2.868 | -0.41985 | 427.7945 | 0.57473 | 0.8778 | -8.7324 | -25.3912 | -11.4179 | -2.4462 | -3.6258 | -3.1096 | -0.61157 | 0.00195 | 0.079672 | 0.11198 | -53.6887 | 1.895% | 2.162% | -9.267% | -14.2% | -20.32% | -15.02% | -11.41% | -11.88% | -13.28% | 1.39% | 2.857% | 21.06% | -11.15%
Upper Tumut PS | NUTS | 102.2578 | 99.3283 | 103.1227 | 129.7295 | 83.741 | 46.5444 | 115.8803 | 162.7309 | 137.9501 | 70.8192 | 9.4189 | 104.741 | 1166.2641 | 102.2423 | 99.3012 | 103.1017 | 129.7196 | 83.7295 | 46.5352 | 115.8535 | 162.7259 | 137.949 | 70.8118 | 9.4152 | 104.7378 | 1166.1227 | -0.015507 | -0.027083 | -0.020956 | -0.009888 | -0.011559 | -0.0091575 | -0.026807 | -0.0049895 | -0.001148 | -0.0073985 | -0.0037005 | -0.0031735 | -0.14137 | -0.01516% | -0.02727% | -0.02032% | -0.007622% | -0.0138% | -0.01967% | -0.02313% | -0.003066% | -0.0008322% | -0.01045% | -0.03929% | -0.00303% | -0.01212%
Vales Point PS | NVPP | 637.5652 | 638.0052 | 422.1006 | 667.5391 | 700.3038 | 604.1886 | 664.3203 | 632.8987 | 661.9307 | 603.9151 | 517.6225 | 552.5975 | 7302.9875 | 637.0401 | 627.4022 | 374.7488 | 564.7086 | 570.4738 | 525.9881 | 584.1871 | 551.4751 | 545.212 | 383.5902 | 500.0958 | 537.3575 | 6402.2794 | -0.52515 | -10.6031 | -47.3518 | -102.8305 | -129.83 | -78.2005 | -80.1332 | -81.4236 | -116.7187 | -220.3249 | -17.5266 | -15.24 | -900.7081 | -0.08237% | -1.662% | -11.22% | -15.4% | -18.54% | -12.94% | -12.06% | -12.87% | -17.63% | -36.48% | -3.386% | -2.758% | -12.33%
NSW wind farms and solar farms (Note 1)
VIC
Generator | TNI | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total
Guthega - Jindabyne Pump | NGJP | -13.7866 | -5.3133 | -4.556 | -0.15574 | -0.17024 | -12.03 | -28.5857 | -31.6317 | -23.4833 | -22.5402 | -28.7323 | -31.5529 | -202.5379 | -13.7865 | -5.3137 | -4.5559 | -0.15437 | -0.16952 | -12.0302 | -28.5857 | -31.6317 | -23.4833 | -22.5401 | -28.7324 | -31.5529 | -202.5362 | 5.7e-05 | -0.0003705 | 0.000168 | 0.001365 | 0.000719 | -0.000182 | 2.35e-05 | -1.2e-05 | -5.1e-05 | 8.35e-05 | -0.0001145 | -3.85e-05 | 0.0016475 | 0.0004134% | -0.006973% | 0.003687% | 0.8765% | 0.4223% | -0.001513% | 8.221e-05% | -3.794e-05% | -0.0002172% | 0.0003704% | -0.0003985% | -0.000122% | 0.0008134%
Murray PS | NMUR | 117.1657 | 106.8934 | 71.9716 | 12.9926 | 30.4451 | 54.8883 | 130.686 | 107.1078 | 73.3736 | 99.8171 | 308.424 | 278.8155 | 1392.5806 | 115.4272 | 91.3697 | 72.0153 | 12.7771 | 30.5122 | 54.8536 | 129.943 | 106.9501 | 73.4656 | 99.8417 | 308.1797 | 277.1894 | 1372.5247 | -1.7384 | -15.5236 | 0.043741 | -0.21552 | 0.067141 | -0.034683 | -0.743 | -0.15767 | 0.092015 | 0.024608 | -0.24429 | -1.6262 | -20.0559 | -1.484% | -14.52% | 0.06078% | -1.659% | 0.2205% | -0.06319% | -0.5685% | -0.1472% | 0.1254% | 0.02465% | -0.07921% | -0.5832% | -1.44%
Laverton PS | VAT2 | 2.974 | 24.8074 | 15.9824 | 1.1596 | -0.12084 | 3.1497 | 9.0439 | -0.23051 | -0.22333 | -0.22636 | 0.32472 | 8.2943 | 64.9351 | 3.0382 | 24.7995 | 14.5419 | 1.0271 | -0.09064 | 2.6967 | 7.8772 | -0.20144 | -0.19247 | -0.19649 | 0.33599 | 8.4141 | 62.0498 | 0.064192 | -0.0078425 | -1.4405 | -0.13245 | 0.030195 | -0.453 | -1.1667 | 0.029065 | 0.030854 | 0.029873 | 0.011271 | 0.11977 | -2.8853 | 2.158% | -0.03161% | -9.013% | -11.42% | 24.99% | -14.38% | -12.9% | 12.61% | 13.82% | 13.2% | 3.471% | 1.444% | -4.443%
Bairnsdale PS | VBDL | 14.274 | 18.7924 | 26.4564 | 14.0925 | 2.7679 | 8.1947 | 7.5368 | 6.2517 | 5.2402 | 2.762 | 1.82 | 6.1857 | 114.3744 | 12.92 | 16.9113 | 23.6519 | 12.8851 | 2.6452 | 7.4956 | 6.7517 | 5.6125 | 4.5934 | 2.6076 | 1.6722 | 5.6702 | 103.4167 | -1.3541 | -1.8811 | -2.8045 | -1.2074 | -0.12272 | -0.69913 | -0.78507 | -0.63918 | -0.64679 | -0.15444 | -0.14777 | -0.51548 | -10.9577 | -9.486% | -10.01% | -10.6% | -8.567% | -4.434% | -8.531% | -10.42% | -10.22% | -12.34% | -5.591% | -8.119% | -8.333% | -9.581%
Dartmouth PS | VDPS | 61.2077 | 59.1339 | 19.8808 | 34.321 | 26.7746 | 34.2815 | 36.9301 | 35.294 | 5.2896 | 2.9539 | 2.3516 | 3.8945 | 322.3133 | 58.644 | 56.1568 | 15.9334 | 30.5238 | 24.4729 | 32.0115 | 35.1924 | 32.9702 | 4.7824 | 2.8123 | 2.3177 | 3.6533 | 299.4708 | -2.5637 | -2.977 | -3.9475 | -3.7972 | -2.3017 | -2.2699 | -1.7378 | -2.3238 | -0.50725 | -0.14157 | -0.033855 | -0.24122 | -22.8425 | -4.189% | -5.034% | -19.86% | -11.06% | -8.596% | -6.621% | -4.706% | -6.584% | -9.59% | -4.793% | -1.44% | -6.194% | -7.087%
Eildon PS | VEPS | 12.8207 | 2.8171 | 12.4009 | 12.9042 | 7.8238 | 15.0653 | 13.6574 | 10.8497 | 7.4609 | 2.9049 | 0.62157 | 0.71426 | 100.0407 | 12.8206 | 2.817 | 12.4008 | 12.904 | 7.8235 | 15.0643 | 13.6564 | 10.8488 | 7.4601 | 2.904 | 0.62122 | 0.71325 | 100.0339 | -0.000155 | -7.8e-05 | -0.00017 | -0.0001885 | -0.000337 | -0.0009795 | -0.0009695 | -0.000962 | -0.0007745 | -0.000849 | -0.000353 | -0.001008 | -0.006824 | -0.001209% | -0.002769% | -0.001371% | -0.001461% | -0.004307% | -0.006502% | -0.007099% | -0.008867% | -0.01038% | -0.02923% | -0.05679% | -0.1411% | -0.006821%
Hume PS (Victorian Share) | VHUM | 3.3687 | 6.9556 | 18.0734 | 12.7931 | 3.8516 | 8.4763 | 4.5983 | 1.5514 | 0.70682 | 0.13195 | -0.026913 | -0.0079225 | 60.4724 | 3.3685 | 6.9556 | 18.0641 | 12.791 | 3.8516 | 8.4735 | 4.5936 | 1.5515 | 0.70519 | 0.13194 | -0.027 | -0.00793 | 60.4515 | -0.0001775 | -8.4e-05 | -0.009319 | -0.0021185 | 2.8e-05 | -0.002792 | -0.0047585 | 3.55e-05 | -0.001631 | -8e-06 | -8.75e-05 | -7.5e-06 | -0.02092 | -0.005269% | -0.001208% | -0.05156% | -0.01656% | 0.000727% | -0.03294% | -0.1035% | 0.002288% | -0.2308% | -0.006063% | -0.3251% | -0.09467% | -0.03459%
Jeeralang PS A and B | VJLG | 11.6074 | 39.3792 | 45.0357 | 19.4966 | 5.5101 | 5.9889 | 6.3212 | 0.91538 | 1.8895 | 1.3841 | 9.8233 | 6.2956 | 153.6471 | 12.4203 | 40.726 | 42.2973 | 17.5494 | 4.5239 | 5.253 | 5.6639 | 0.78278 | 1.7032 | 1.3304 | 10.1255 | 6.6321 | 149.008 | 0.81293 | 1.3468 | -2.7384 | -1.9472 | -0.98622 | -0.73595 | -0.65721 | -0.1326 | -0.18632 | -0.053669 | 0.30226 | 0.33649 | -4.639 | 7.004% | 3.42% | -6.08% | -9.988% | -17.9% | -12.29% | -10.4% | -14.49% | -9.861% | -3.877% | 3.077% | 5.345% | -3.019%
Loy Yang PS A | VLYP | 917.1327 | 983.5529 | 723.0862 | 1059.603 | 1088.4281 | 1112.8344 | 1227.3899 | 1077.5976 | 1133.8193 | 1086.6036 | 1232.6493 | 1400.4961 | 13043.193 | 931.1096 | 967.7078 | 617.941 | 881.8684 | 876.6782 | 959.6914 | 1076.0918 | 939.2351 | 974.5589 | 937.9457 | 1143.3081 | 1342.0386 | 11648.1746 | 13.9769 | -15.8451 | -105.1453 | -177.7346 | -211.7499 | -153.1431 | -151.2981 | -138.3624 | -159.2604 | -148.6578 | -89.3412 | -58.4574 | -1395.0184 | 1.524% | -1.611% | -14.54% | -16.77% | -19.45% | -13.76% | -12.33% | -12.84% | -14.05% | -13.68% | -7.248% | -4.174% | -10.7%
Loy Yang PS B | VLYP | 682.3129 | 537.901 | 744.9396 | 801.068 | 737.4199 | 726.4241 | 726.4628 | 695.8242 | 754.83 | 733.7089 | 756.7 | 726.7221 | 8624.3137 | 692.7112 | 529.2354 | 636.6167 | 666.6992 | 593.9574 | 626.4571 | 636.9131 | 606.4811 | 648.8038 | 633.3305 | 701.8552 | 696.3884 | 7669.449 | 10.3983 | -8.6656 | -108.323 | -134.3687 | -143.4625 | -99.9671 | -89.5497 | -89.3431 | -106.0262 | -100.3784 | -54.8449 | -30.3338 | -954.8647 | 1.524% | -1.611% | -14.54% | -16.77% | -19.45% | -13.76% | -12.33% | -12.84% | -14.05% | -13.68% | -7.248% | -4.174% | -11.07%
Loy Yang PS A and B | VLYP | 1599.4456 | 1521.4539 | 1468.0259 | 1860.671 | 1825.848 | 1839.2586 | 1953.8527 | 1773.4218 | 1888.6493 | 1820.3125 | 1989.3493 | 2127.2182 | 21667.5068 | 1623.8208 | 1496.9432 | 1254.5576 | 1548.5677 | 1470.6356 | 1586.1484 | 1713.0049 | 1545.7162 | 1623.3627 | 1571.2762 | 1845.1632 | 2038.427 | 19317.6237 | 24.3753 | -24.5107 | -213.4682 | -312.1033 | -355.2124 | -253.1101 | -240.8478 | -227.7056 | -265.2866 | -249.0363 | -144.1861 | -88.7912 | -2349.8831 | 1.524% | -1.611% | -14.54% | -16.77% | -19.45% | -13.76% | -12.33% | -12.84% | -14.05% | -13.68% | -7.248% | -4.174% | -10.85%
Mortlake PS | VM0P | 123.2744 | 115.3113 | 47.5263 | 44.102 | 85.3643 | 55.4365 | 62.9315 | 202.8434 | 81.614 | 9.0872 | 55.8916 | 60.9585 | 944.341 | 125.5554 | 118.2398 | 43.946 | 37.8447 | 69.7229 | 47.8657 | 55.2659 | 177.1947 | 71.4215 | 8.7515 | 54.943 | 61.1346 | 871.8857 | 2.281 | 2.9285 | -3.5803 | -6.2573 | -15.6414 | -7.5707 | -7.6656 | -25.6487 | -10.1925 | -0.33574 | -0.94861 | 0.17609 | -72.4552 | 1.85% | 2.54% | -7.533% | -14.19% | -18.32% | -13.66% | -12.18% | -12.64% | -12.49% | -3.695% | -1.697% | 0.2889% | -7.673%
Morwell PS Units 1, 2 and 3 (66 kV) | VMWG | [12 empty] | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Morwell PS Units 4 and 5 (11 kV) | VMWP | [12 empty] | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Newport PS | VNPS | 117.2456 | 150.6524 | 151.5095 | 178.4717 | 21.73 | 37.5372 | 36.5411 | 5.8037 | 30.215 | 35.7987 | 38.0026 | 17.9125 | 821.4199 | 119.139 | 151.4242 | 138.565 | 155.8306 | 18.2956 | 33.0123 | 32.172 | 5.1909 | 25.9526 | 30.7881 | 38.3619 | 19.868 | 768.6 | 1.8934 | 0.77177 | -12.9445 | -22.6411 | -3.4344 | -4.5249 | -4.3691 | -0.61281 | -4.2623 | -5.0106 | 0.35926 | 1.9555 | -52.8198 | 1.615% | 0.5123% | -8.544% | -12.69% | -15.8% | -12.05% | -11.96% | -10.56% | -14.11% | -14% | 0.9454% | 10.92% | -6.43%
Somerton PS | VSOM | 13.7878 | 10.4185 | 21.6843 | 1.3662 | 4.0147 | 8.3308 | 5.7721 | 6.5789 | 2.3877 | 7.3135 | 5.0442 | 6.9031 | 93.6019 | 13.7866 | 10.4174 | 21.6843 | 1.3662 | 4.0137 | 8.3208 | 5.7668 | 6.5746 | 2.3876 | 7.3111 | 5.044 | 6.9028 | 93.5758 | -0.001194 | -0.0011725 | -2.85e-05 | -8.15e-05 | -0.001069 | -0.009963 | -0.0053115 | -0.0043095 | -0.0001235 | -0.002398 | -0.0002315 | -0.000219 | -0.026101 | -0.00866% | -0.01125% | -0.0001314% | -0.005965% | -0.02663% | -0.1196% | -0.09202% | -0.06551% | -0.005172% | -0.03279% | -0.004589% | -0.003173% | -0.02789%
Bogong PS And McKay PS | VT14 | 22.9624 | 16.8766 | 30.3924 | 4.28 | 11.1433 | 4.2239 | 4.8621 | 5.3582 | 1.0247 | 13.9319 | 42.0335 | 26.2911 | 183.3801 | 22.9599 | 16.8766 | 30.3922 | 4.2802 | 11.1398 | 4.2239 | 4.8606 | 5.358 | 1.0245 | 13.9318 | 42.0334 | 26.291 | 183.3717 | -0.0025265 | 3.55e-05 | -0.0002445 | 0.0001765 | -0.003549 | -2.7e-05 | -0.0014395 | -0.000198 | -0.000232 | -9.45e-05 | -0.000158 | -0.0001075 | -0.0083645 | -0.011% | 0.0002104% | -0.0008045% | 0.004124% | -0.03185% | -0.0006392% | -0.02961% | -0.003695% | -0.02264% | -0.0006783% | -0.0003759% | -0.0004089% | -0.004561%
West Kiewa PS | VWKP | 18.473 | 16.1199 | 23.0105 | 12.6437 | 10.5036 | 4.9876 | 3.5094 | 3.5098 | 4.6386 | 7.2915 | 22.9529 | 17.3168 | 144.9572 | 18.4652 | 16.1144 | 23.0067 | 12.6434 | 10.5034 | 4.987 | 3.5086 | 3.5092 | 4.6372 | 7.2912 | 22.9525 | 17.3169 | 144.9355 | -0.0077095 | -0.0055495 | -0.0038145 | -0.0003235 | -0.0002195 | -0.0005875 | -0.0008135 | -0.000693 | -0.001362 | -0.000297 | -0.0004435 | 9.45e-05 | -0.021718 | -0.04173% | -0.03443% | -0.01658% | -0.002559% | -0.00209% | -0.01178% | -0.02318% | -0.01974% | -0.02936% | -0.004073% | -0.001932% | 0.0005457% | -0.01498%
Yallourn PS Units 2, 3 and 4 | VYP2 | 755.4695 | 242.6674 | 631.5371 | 784.3837 | 799.731 | 734.3263 | 654.0043 | 640.5146 | 801.91 | 794.7165 | 408.5252 | 621.1678 | 7868.9535 | 307.1053 | 162.2813 | 479.1178 | 548.456 | 427.7795 | 545.9016 | 574.6038 | 558.038 | 537.4902 | 518.1436 | 377.6468 | 597.128 | 5633.692 | -448.3642 | -80.386 | -152.4193 | -235.9277 | -371.9515 | -188.4248 | -79.4005 | -82.4766 | -264.4198 | -276.573 | -30.8783 | -24.0398 | -2235.2615 | -59.35% | -33.13% | -24.13% | -30.08% | -46.51% | -25.66% | -12.14% | -12.88% | -32.97% | -34.8% | -7.558% | -3.87% | -28.41%
Yallourn PS Unit 1 220 kV | VYP3220 | 9.8599 | 3.6008 | 0.74368 | 12.7089 | 8.9287 | 17.988 | 0 | 0 | 15.3106 | 42.9608 | 50.4556 | 47.4575 | 210.0145 | 0 | 0 | 2.5779 | 10.043 | 6.4895 | 15.3187 | 0.00922 | 0 | 12.7025 | 37.6366 | 54.1645 | 58.7583 | 197.7002 | -9.8599 | -3.6008 | 1.8342 | -2.6659 | -2.4392 | -2.6693 | 0.00922 | 0 | -2.6081 | -5.3242 | 3.7089 | 11.3008 | -12.3143 | -100% | -100% | >100% | -20.98% | -27.32% | -14.84% | 0% | 0% | -17.03% | -12.39% | 7.351% | 23.81% | -5.864%
Yallourn PS Unit 1 500 kV | VYP3500 | 251.4958 | 259.0892 | 167.707 | 111.1188 | 141.4689 | 207.1508 | 236.2416 | 219.9156 | 139.0504 | 117.374 | 123.3611 | 122.4247 | 2096.3979 | 0 | 0 | 143.0632 | 90.1212 | 120.3447 | 179.1817 | 207.1404 | 191.6714 | 121.9679 | 101.385 | 119.5101 | 120.2874 | 1394.673 | -251.4958 | -259.0892 | -24.6438 | -20.9977 | -21.1242 | -27.9691 | -29.1011 | -28.2442 | -17.0825 | -15.989 | -3.851 | -2.1373 | -701.7249 | -100% | -100% | -14.69% | -18.9% | -14.93% | -13.5% | -12.32% | -12.84% | -12.29% | -13.62% | -3.122% | -1.746% | -33.47%
VIC wind farms and solar farms (Note 1)
QLD
Generator | TNI | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total
Barcaldine PS | QBCG | 0.09182 | 0.16169 | -0.000272 | 0.10579 | 0.040227 | 0.076174 | 0.11086 | 0.19456 | -0.025084 | -0.024201 | 0.11874 | 0.11804 | 0.96834 | 0.11819 | 0.14408 | -0.000255 | 0.07569 | 0.02519 | 0.057905 | 0.083925 | 0.14914 | -0.021895 | -0.02082 | 0.10608 | 0.13567 | 0.85289 | 0.02637 | -0.01761 | 1.7e-05 | -0.030103 | -0.015037 | -0.018269 | -0.026934 | -0.04542 | 0.003189 | 0.003381 | -0.012659 | 0.017621 | -0.11545 | 28.72% | -10.89% | 6.25% | -28.45% | -37.38% | -23.98% | -24.3% | -23.34% | 12.71% | 13.97% | -10.66% | 14.93% | -11.92%
Barron Gorge PS | QBGH | 20.1707 | 16.1425 | 12.4128 | 13.7705 | 3.9418 | 4.489 | 14.5377 | 26.0511 | 24.2729 | 5.7475 | 9.4117 | 8.2888 | 159.2371 | 20.1708 | 16.0577 | 12.0157 | 13.4926 | 3.9288 | 4.4864 | 14.0789 | 25.2052 | 23.7646 | 5.7325 | 9.3245 | 8.2543 | 156.5121 | 1.35e-05 | -0.084798 | -0.39706 | -0.27787 | -0.013014 | -0.0026395 | -0.45879 | -0.84597 | -0.50832 | -0.014968 | -0.087175 | -0.034421 | -2.725 | 6.693e-05% | -0.5253% | -3.199% | -2.018% | -0.3301% | -0.0588% | -3.156% | -3.247% | -2.094% | -0.2604% | -0.9262% | -0.4153% | -1.711%
Braemar PS Units 1, 2 and 3 | QBRA | 31.1731 | 45.0542 | 35.3962 | 32.6503 | 16.6799 | 24.9047 | 31.8011 | 25.3039 | 16.5352 | 9.1804 | 14.6684 | 25.1297 | 308.4772 | 33.0439 | 47.5651 | 33.9044 | 29.4796 | 14.9023 | 23.0248 | 28.4827 | 22.7832 | 15.0122 | 8.6436 | 14.651 | 25.6042 | 297.0969 | 1.8707 | 2.5108 | -1.4918 | -3.1707 | -1.7776 | -1.8798 | -3.3184 | -2.5206 | -1.523 | -0.53685 | -0.017416 | 0.47447 | -11.3803 | 6.001% | 5.573% | -4.215% | -9.711% | -10.66% | -7.548% | -10.43% | -9.961% | -9.211% | -5.848% | -0.1187% | 1.888% | -3.689%
Braemar PS Units 5, 6 and 7 | QBRA2 | 36.7986 | 47.985 | 47.3548 | 17.1133 | 13.9475 | 27.4214 | 21.0202 | 25.9916 | 35.0259 | 4.203 | 12.7025 | 44.8871 | 334.451 | 38.9022 | 50.3981 | 43.9305 | 15.4391 | 12.5744 | 25.4491 | 18.9701 | 23.3084 | 31.2679 | 3.9967 | 12.7343 | 45.4207 | 322.3915 | 2.1036 | 2.4131 | -3.4243 | -1.6743 | -1.373 | -1.9723 | -2.0501 | -2.6832 | -3.758 | -0.20633 | 0.031766 | 0.53353 | -12.0595 | 5.716% | 5.029% | -7.231% | -9.783% | -9.844% | -7.193% | -9.753% | -10.32% | -10.73% | -4.909% | 0.2501% | 1.189% | -3.606%
Darling Downs PS | QBRA8D | 140.2356 | 159.9507 | 101.2511 | 177.0276 | 146.4149 | 121.7228 | 184.7398 | 178.4354 | 293.9407 | 197.9967 | 157.6519 | 257.436 | 2116.8032 | 147.0421 | 169.7234 | 95.0075 | 155.9496 | 125.4373 | 110.6921 | 163.8162 | 156.8441 | 253.7483 | 176.5965 | 154.4432 | 254.1192 | 1963.4195 | 6.8065 | 9.7728 | -6.2436 | -21.078 | -20.9776 | -11.0308 | -20.9236 | -21.5914 | -40.1925 | -21.4002 | -3.2087 | -3.3168 | -153.3837 | 4.854% | 6.11% | -6.166% | -11.91% | -14.33% | -9.062% | -11.33% | -12.1% | -13.67% | -10.81% | -2.035% | -1.288% | -7.246%
Callide B PS | QCAB | 241.0967 | 437.6653 | 423.5625 | 440.32 | 392.2669 | 381.1288 | 453.9639 | 363.8194 | 392.1941 | 234.3366 | 232.2187 | 217.3109 | 4209.8839 | 237.7434 | 425.1671 | 371.9691 | 370.2189 | 318.9379 | 333.4708 | 399.6175 | 318.3272 | 338.1276 | 203.9476 | 217.5023 | 210.8066 | 3745.8361 | -3.3533 | -12.4982 | -51.5934 | -70.1011 | -73.329 | -47.658 | -54.3464 | -45.4923 | -54.0664 | -30.389 | -14.7164 | -6.5043 | -464.0478 | -1.391% | -2.856% | -12.18% | -15.92% | -18.69% | -12.5% | -11.97% | -12.5% | -13.79% | -12.97% | -6.337% | -2.993% | -11.02%
Callide C PS | QCAC | 541.115 | 522.8147 | 488.6876 | 518.6795 | 488.6236 | 517.7275 | 548.8021 | 478.5023 | 509.4516 | 409.3431 | 458.6011 | 385.4246 | 5867.7726 | 533.8839 | 511.8565 | 432.9676 | 267.6422 | 231.3078 | 365.8848 | 483.5939 | 418.4507 | 439.4017 | 353.5242 | 434.2027 | 373.7427 | 4846.4587 | -7.2311 | -10.9583 | -55.7199 | -251.0373 | -257.3159 | -151.8427 | -65.2082 | -60.0515 | -70.0499 | -55.8189 | -24.3984 | -11.6819 | -1021.3139 | -1.336% | -2.096% | -11.4% | -48.4% | -52.66% | -29.33% | -11.88% | -12.55% | -13.75% | -13.64% | -5.32% | -3.031% | -17.41%
Condamine PS | QCND | 96.2436 | 92.5077 | 85.1814 | 30.8252 | 37.2238 | 42.3791 | 19.587 | 15.0417 | 52.6196 | 49.9564 | 75.4533 | 78.7649 | 675.7836 | 95.2308 | 90.535 | 75.8757 | 26.4409 | 31.3581 | 37.5557 | 17.4293 | 13.3099 | 45.2148 | 44.227 | 71.7043 | 76.496 | 625.3776 | -1.0128 | -1.9727 | -9.3056 | -4.3843 | -5.8657 | -4.8234 | -2.1577 | -1.7318 | -7.4048 | -5.7294 | -3.749 | -2.2689 | -50.406 | -1.052% | -2.132% | -10.92% | -14.22% | -15.76% | -11.38% | -11.02% | -11.51% | -14.07% | -11.47% | -4.969% | -2.881% | -7.459%
Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 146.3957 | 335.7283 | 429.0317 | 491.6712 | 432.0351 | 441.8096 | 466.0171 | 467.9718 | 460.235 | 441.6679 | 259.5624 | 282.2237 | 4654.3494 | 148.839 | 333.2284 | 382.983 | 390.9715 | 333.4447 | 391.9287 | 412.2227 | 411.0655 | 398.0121 | 384.2986 | 248.1299 | 278.558 | 4113.6822 | 2.4434 | -2.5 | -46.0487 | -100.6996 | -98.5904 | -49.8809 | -53.7944 | -56.9063 | -62.2229 | -57.3693 | -11.4325 | -3.6657 | -540.6672 | 1.669% | -0.7446% | -10.73% | -20.48% | -22.82% | -11.29% | -11.54% | -12.16% | -13.52% | -12.99% | -4.405% | -1.299% | -11.62%
Gladstone PS Units 3 and 4 (132 kV) | QGLL | 257.4297 | 223.6507 | 187.8684 | 304.1361 | 271.7913 | 240.2358 | 274.811 | 168.3347 | 108.5387 | 221.6214 | 124.1156 | 159.0931 | 2541.6266 | 260.7096 | 223.1537 | 167.3508 | 257.4911 | 225.1465 | 212.7472 | 170.2187 | 140.4482 | 94.203 | 193.3278 | 119.6664 | 157.9861 | 2222.449 | 3.2799 | -0.49702 | -20.5177 | -46.645 | -46.6448 | -27.4886 | -104.5923 | -27.8865 | -14.3356 | -28.2936 | -4.4493 | -1.107 | -319.1776 | 1.274% | -0.2222% | -10.92% | -15.34% | -17.16% | -11.44% | -38.06% | -16.57% | -13.21% | -12.77% | -3.585% | -0.6958% | -12.56%
Kareeya PS | QKYH | 61.0737 | 37.5645 | 44.7984 | 27.9093 | 11.8372 | 9.6571 | 11.3548 | 8.4422 | 11.2911 | 17.2285 | 34.7207 | 25.33 | 301.2076 | 60.7735 | 37.4311 | 44.6526 | 27.8369 | 11.8261 | 9.648 | 11.3508 | 8.4413 | 11.2895 | 17.2263 | 34.6993 | 25.3214 | 300.4967 | -0.30026 | -0.13334 | -0.14579 | -0.072337 | -0.011183 | -0.0091635 | -0.004077 | -0.0009595 | -0.0015995 | -0.002174 | -0.021472 | -0.008604 | -0.71096 | -0.4916% | -0.355% | -0.3254% | -0.2592% | -0.09447% | -0.09489% | -0.03591% | -0.01137% | -0.01417% | -0.01262% | -0.06184% | -0.03397% | -0.236%
Mackay GT | QMKG | 0.015962 | 0.021478 | 0.010984 | 0.012124 | 0.005997 | 0.011836 | 0 | 0.013345 | 0.023937 | 0.009264 | 0.0028095 | 0.013199 | 0.14094 | 0.008735 | 0.0172 | -0.000525 | 0.0006 | -0.00025 | 0.007745 | 0 | 0.007105 | 0.01165 | 0.002735 | 0.00245 | 0.00575 | 0.063195 | -0.007227 | -0.004278 | -0.011508 | -0.011524 | -0.006247 | -0.004091 | 0 | -0.00624 | -0.012287 | -0.006529 | -0.0003595 | -0.0074495 | -0.07774 | -45.28% | -19.92% | <-100% | -95.05% | <-100% | -34.56% | 0% | -46.76% | -51.33% | -70.48% | -12.8% | -56.44% | -55.16%
Millmerran PS | QMLN | 586.2383 | 574.4781 | 512.7033 | 568.5353 | 489.4614 | 577.5909 | 586.3965 | 525.6729 | 564.1955 | 576.5135 | 449.5151 | 496.053 | 6507.3538 | 560.2266 | 548.2167 | 446.907 | 472.6508 | 401.4158 | 488.991 | 494.5771 | 439.6007 | 465.3843 | 489.0006 | 411.7103 | 469.562 | 5688.2429 | -26.0116 | -26.2614 | -65.7963 | -95.8845 | -88.0456 | -88.5999 | -91.8194 | -86.0722 | -98.8112 | -87.5128 | -37.8048 | -26.4911 | -819.1109 | -4.437% | -4.571% | -12.83% | -16.87% | -17.99% | -15.34% | -15.66% | -16.37% | -17.51% | -15.18% | -8.41% | -5.34% | -12.59%
Mt Stuart PS unit 1 and 2 | QMSP | 0.90203 | 0.34166 | 0.24193 | -0.08516 | -0.017123 | -0.26849 | -0.19084 | 0.11641 | -0.26854 | -0.25739 | -0.26288 | -0.25449 | -0.002876 | 1.0157 | 0.49535 | 0.27149 | -0.05763 | -0.03131 | -0.23602 | -0.16702 | 0.1079 | -0.23097 | -0.22205 | -0.23701 | -0.23196 | 0.47641 | 0.11363 | 0.15369 | 0.029557 | 0.02753 | -0.014187 | 0.03247 | 0.023812 | -0.008507 | 0.037567 | 0.035342 | 0.025865 | 0.022523 | 0.47929 | 12.6% | 44.98% | 12.22% | 32.33% | -82.86% | 12.09% | 12.48% | -7.308% | 13.99% | 13.73% | 9.839% | 8.85% | >100%
Mt Stuart PS unit 3 | QMSP3 | -0.095089 | 0.37085 | -0.14424 | 0.071051 | -0.15521 | -0.19664 | -0.19084 | -0.18434 | -0.089092 | -0.16288 | -0.15667 | -0.1466 | -1.0797 | -0.085375 | 0.3639 | -0.1258 | 0.085485 | -0.12674 | -0.17283 | -0.16809 | -0.16153 | -0.0721 | -0.14067 | -0.14137 | -0.1335 | -0.87863 | 0.009714 | -0.0069585 | 0.018436 | 0.014434 | 0.028471 | 0.023818 | 0.02276 | 0.022814 | 0.016992 | 0.022202 | 0.015292 | 0.013092 | 0.20107 | 10.22% | -1.876% | 12.78% | 20.31% | 18.34% | 12.11% | 11.93% | 12.38% | 19.07% | 13.63% | 9.761% | 8.93% | 18.62%
Oakey PS | QOKY | -0.22106 | 3.6499 | 3.2901 | 1.6986 | -0.20102 | 5.3928 | 5.933 | 1.8132 | 2.1923 | -0.20379 | 0.063077 | 1.9517 | 25.3589 | -0.19799 | 4.6299 | 3.2685 | 1.544 | -0.16398 | 5.0096 | 5.263 | 1.6772 | 2.0052 | -0.17615 | 0.07101 | 2.1974 | 25.1278 | 0.02307 | 0.98004 | -0.021584 | -0.15455 | 0.037031 | -0.38325 | -0.66999 | -0.13601 | -0.18708 | 0.027635 | 0.007933 | 0.24567 | -0.23109 | 10.44% | 26.85% | -0.656% | -9.099% | 18.42% | -7.107% | -11.29% | -7.501% | -8.533% | 13.56% | 12.58% | 12.59% | -0.9113%
Roma PS | QRMA | 0.64875 | 1.4563 | 1.4305 | 1.5643 | 1.0365 | 1.398 | 1.306 | 2.6429 | 0.76568 | 1.1313 | 1.0542 | 1.2218 | 15.6562 | 0.58603 | 1.3614 | 1.36 | 1.3781 | 0.90253 | 1.2081 | 1.1322 | 2.2412 | 0.63665 | 1.0158 | 0.92988 | 1.1078 | 13.8596 | -0.062719 | -0.094829 | -0.07043 | -0.18629 | -0.13401 | -0.18989 | -0.17378 | -0.40173 | -0.12903 | -0.11546 | -0.12436 | -0.11403 | -1.7966 | -9.668% | -6.512% | -4.924% | -11.91% | -12.93% | -13.58% | -13.31% | -15.2% | -16.85% | -10.21% | -11.8% | -9.333% | -11.48%
Stanwell PS | QSTN | 700.2725 | 562.825 | 596.708 | 748.6322 | 677.3773 | 590.3256 | 678.4567 | 620.8208 | 666.8563 | 530.2361 | 641.106 | 602.209 | 7615.8256 | 698.541 | 554.4968 | 525.7497 | 632.5631 | 557.1189 | 520.9515 | 598.6098 | 543.9985 | 576.0587 | 463.0857 | 611.9338 | 594.1827 | 6877.2902 | -1.7314 | -8.3282 | -70.9583 | -116.0692 | -120.2585 | -69.3742 | -79.8469 | -76.8223 | -90.7976 | -67.1504 | -29.1722 | -8.0263 | -738.5354 | -0.2473% | -1.48% | -11.89% | -15.5% | -17.75% | -11.75% | -11.77% | -12.37% | -13.62% | -12.66% | -4.55% | -1.333% | -9.697%
Swanbank E GT | QSWE | -0.40331 | -0.38169 | -0.36863 | -0.04184 | -0.1646 | 38.8828 | 177.2513 | 181.9524 | 152.7644 | 62.8361 | 107.954 | 183.7008 | 903.9816 | -0.36144 | -0.337 | -0.32143 | -0.03448 | -0.14316 | 34.5459 | 156.3565 | 159.2284 | 132.3925 | 55.6593 | 105.1392 | 180.0604 | 822.1847 | 0.041866 | 0.044691 | 0.047204 | 0.0073595 | 0.021438 | -4.3368 | -20.8947 | -22.724 | -20.3719 | -7.1768 | -2.8148 | -3.6404 | -81.7969 | 10.38% | 11.71% | 12.81% | 17.59% | 13.02% | -11.15% | -11.79% | -12.49% | -13.34% | -11.42% | -2.607% | -1.982% | -9.049%
Tarong North PS | QTNT | 284.571 | 294.5237 | 270.5665 | 294.9237 | 285.9093 | 304.0526 | 263.6695 | 260.8039 | 285.2982 | 292.3779 | 297.1456 | 224.1359 | 3357.978 | 279.0252 | 284.0427 | 236.3554 | 246.3712 | 232.153 | 265.6795 | 231.9688 | 227.7289 | 244.4296 | 250.8296 | 276.5837 | 216.4565 | 2991.6241 | -5.5458 | -10.4811 | -34.2111 | -48.5525 | -53.7562 | -38.3732 | -31.7008 | -33.075 | -40.8686 | -41.5483 | -20.5619 | -7.6795 | -366.3539 | -1.949% | -3.559% | -12.64% | -16.46% | -18.8% | -12.62% | -12.02% | -12.68% | -14.32% | -14.21% | -6.92% | -3.426% | -10.91%
Tarong PS | QTRN | 721.248 | 728.9439 | 703.9522 | 788.3567 | 749.5135 | 732.3284 | 642.3572 | 706.2668 | 744.0351 | 698.5034 | 648.2202 | 498.0237 | 8361.7492 | 719.1108 | 712.9499 | 619.4042 | 597.5407 | 515.5086 | 645.0758 | 566.7644 | 617.8705 | 640.1236 | 607.3786 | 616.5345 | 497.2203 | 7355.4819 | -2.1373 | -15.9939 | -84.548 | -190.816 | -234.005 | -87.2526 | -75.5928 | -88.3962 | -103.9115 | -91.1248 | -31.6857 | -0.80341 | -1006.2673 | -0.2963% | -2.194% | -12.01% | -24.2% | -31.22% | -11.91% | -11.77% | -12.52% | -13.97% | -13.05% | -4.888% | -0.1613% | -12.03%
Yabulu PS (Townsville) | QTYP | 22.6768 | 16.5631 | 24.9677 | 27.0101 | 21.7128 | 17.5998 | 19.0165 | 11.7641 | 25.6151 | 26.4379 | 20.9727 | 8.0512 | 242.3878 | 22.3539 | 16.7037 | 23.1252 | 24.3277 | 19.0294 | 15.9288 | 16.9949 | 10.5354 | 22.7041 | 24.2499 | 20.7189 | 8.0415 | 224.7133 | -0.32298 | 0.14062 | -1.8425 | -2.6825 | -2.6834 | -1.671 | -2.0215 | -1.2288 | -2.911 | -2.188 | -0.25384 | -0.009676 | -17.6746 | -1.424% | 0.849% | -7.379% | -9.931% | -12.36% | -9.494% | -10.63% | -10.45% | -11.36% | -8.276% | -1.21% | -0.1202% | -7.292%
Kogan Creek PS | QWDN | 481.7108 | 486.9362 | 471.7958 | 74.1429 | 468.4674 | 263.7823 | 428.8284 | 452.7584 | 366.3385 | 471.4145 | 485.6996 | 467.5977 | 4919.4723 | 181.3786 | 0 | 0 | 37.2027 | 382.7374 | 229.7569 | 369.395 | 387.1876 | 309.6996 | 407.5177 | 454.4248 | 450.4231 | 3209.7235 | -300.3322 | -486.9362 | -471.7958 | -36.9402 | -85.7299 | -34.0254 | -59.4334 | -65.5708 | -56.6389 | -63.8967 | -31.2748 | -17.1746 | -1709.7488 | -62.35% | -100% | -100% | -49.82% | -18.3% | -12.9% | -13.86% | -14.48% | -15.46% | -13.55% | -6.439% | -3.673% | -34.75%
Wivenhoe Pump | QWIP | -17.6809 | -13.9068 | -3.9409 | -24.6904 | -21.9276 | -19.307 | -17.1507 | -15.0425 | -18.0625 | -15.8153 | -18.7477 | -17.8146 | -204.0869 | -17.6809 | -13.9068 | -3.9409 | -24.6904 | -21.9276 | -19.307 | -17.1507 | -15.0425 | -18.0625 | -15.8153 | -18.7477 | -17.8146 | -204.0869 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Wivenhoe PS | QWIV | 11.0324 | 8.7211 | 1.3406 | 16.545 | 14.8388 | 10.9867 | 12.4225 | 8.1382 | 12.6949 | 11.7368 | 10.445 | 12.4324 | 131.3345 | 10.9406 | 8.6137 | 1.3072 | 16.4285 | 14.7907 | 10.9241 | 12.308 | 8.0591 | 12.6446 | 11.6881 | 10.3961 | 12.3765 | 130.4773 | -0.091833 | -0.10736 | -0.033386 | -0.11657 | -0.048008 | -0.062593 | -0.11452 | -0.079049 | -0.050284 | -0.048726 | -0.048931 | -0.055901 | -0.85716 | -0.8324% | -1.231% | -2.49% | -0.7046% | -0.3235% | -0.5697% | -0.9219% | -0.9713% | -0.3961% | -0.4152% | -0.4685% | -0.4496% | -0.6527%
Yabulu Steam Turbine | QYST | 0.57442 | -0.21685 | -0.15038 | 0.43064 | 0.65891 | 1.9189 | 2.7685 | 2.4012 | 1.2437 | -0.14213 | -0.14393 | -0.10055 | 9.2425 | 0.59165 | -0.13863 | -0.13117 | 0.40157 | 0.512 | 1.6903 | 2.4655 | 2.1794 | 1.1233 | -0.12226 | -0.12994 | -0.091845 | 8.3498 | 0.017237 | 0.078216 | 0.01921 | -0.029075 | -0.1469 | -0.22865 | -0.30302 | -0.2218 | -0.12046 | 0.019871 | 0.013983 | 0.008704 | -0.89269 | 3.001% | 36.07% | 12.77% | -6.752% | -22.29% | -11.92% | -10.95% | -9.237% | -9.685% | 13.98% | 9.716% | 8.656% | -9.659%
QLD wind farms and solar farms (Note 1)
SA
Generator | TNI | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total
Angaston PS | SANG | -0.11339 | -0.13048 | -0.085929 | 0 | 0.42411 | 0.22039 | 0.10696 | 1.162 | -0.097243 | -0.097104 | -0.11656 | -0.012873 | 1.2598 | -0.092515 | -0.099875 | -0.07552 | 0 | 0.3383 | 0.17366 | 0.10224 | 0.99411 | -0.084805 | -0.083685 | -0.10492 | -0.007955 | 1.059 | 0.020874 | 0.030602 | 0.010409 | 0 | -0.085817 | -0.046726 | -0.004724 | -0.16785 | 0.012438 | 0.013419 | 0.011637 | 0.004918 | -0.20082 | 18.41% | 23.45% | 12.11% | 0% | -20.23% | -21.2% | -4.416% | -14.45% | 12.79% | 13.82% | 9.984% | 38.2% | -15.94%
Barker Inlet PS | SBPS | 59.1394 | 45.327 | 16.417 | 24.6536 | 44.4769 | 35.7581 | 47.8588 | 40.8112 | 19.1506 | 18.7584 | 36.4799 | 52.7891 | 441.6201 | 0 | 0 | 0 | 3.2752 | 14.6547 | 29.7645 | 24.9045 | 8.4583 | 9.2633 | 7.0164 | 25.2989 | 37.9798 | 160.6155 | -59.1394 | -45.327 | -16.417 | -21.3783 | -29.8223 | -5.9936 | -22.9544 | -32.3529 | -9.8873 | -11.742 | -11.181 | -14.8094 | -281.0046 | -100% | -100% | -100% | -86.71% | -67.05% | -16.76% | -47.96% | -79.27% | -51.63% | -62.6% | -30.65% | -28.05% | -63.63%
Lonsdale Cummins PS | SMVE1 | -0.058193 | -0.075774 | -0.066741 | -0.024355 | -0.00298 | 0.041326 | 0.002054 | 0.29882 | -0.027759 | -0.01259 | -0.073435 | -0.033533 | -0.033165 | -0.04913 | -0.065485 | -0.05821 | -0.01809 | -0.002845 | 0.03569 | 0.00559 | 0.25248 | -0.026205 | -0.013275 | -0.06607 | -0.02637 | -0.031915 | 0.0090635 | 0.010289 | 0.008531 | 0.0062655 | 0.000135 | -0.005636 | 0.003536 | -0.046332 | 0.0015545 | -0.000685 | 0.007365 | 0.007163 | 0.00125 | 15.57% | 13.58% | 12.78% | 25.73% | 4.53% | -13.64% | >100% | -15.51% | 5.6% | -5.441% | 10.03% | 21.36% | 3.769%
Dry Creek PS Units 1 and 2 | SDPS | 0.041602 | 0.32982 | 0 | 0.5403 | 0.026773 | 1.3688 | 0.56412 | 0.10957 | 0 | 0.10207 | 0.0016355 | 0.13783 | 3.2225 | 0.06645 | 0.37719 | 0 | 0.5064 | 0.025095 | 1.2199 | 0.53252 | 0.09665 | 0 | 0.09227 | 0.001425 | 0.2132 | 3.1311 | 0.024848 | 0.047369 | 0 | -0.033906 | -0.0016785 | -0.14889 | -0.031602 | -0.012925 | 0 | -0.0098035 | -0.0002105 | 0.075368 | -0.091435 | 59.73% | 14.36% | 0% | -6.275% | -6.269% | -10.88% | -5.602% | -11.8% | 0% | -9.604% | -12.87% | 54.68% | -2.837%
Dry Creek PS Unit 3 | SDPS3 | 0.020654 | 0.16637 | 0 | 0.73403 | 0.033184 | 1.0692 | 0.43686 | 0.12273 | 0 | 0.10936 | 0.001094 | 0.66218 | 3.3557 | 0.03276 | 0.29073 | 0 | 0.66809 | 0.0311 | 0.92613 | 0.39515 | 0.1006 | 0 | 0.097895 | 0.000945 | 0.67869 | 3.2221 | 0.012105 | 0.12436 | 0 | -0.06594 | -0.0020845 | -0.14309 | -0.041713 | -0.022126 | 0 | -0.011466 | -0.000149 | 0.016505 | -0.1336 | 58.61% | 74.75% | 0% | -8.983% | -6.282% | -13.38% | -9.548% | -18.03% | 0% | -10.48% | -13.62% | 2.493% | -3.981%
Hallett PS | SHPS | 0.072196 | 5.2614 | 8.4269 | 3.1618 | -0.1453 | 2.4851 | 1.221 | 2.42 | -0.08374 | 1.1175 | 1.6498 | 2.4604 | 28.047 | 0.75724 | 8.6381 | 8.6884 | 2.9733 | -0.11193 | 2.2626 | 1.1654 | 2.0564 | -0.09237 | 0.81943 | 2.642 | 4.7355 | 34.534 | 0.68504 | 3.3766 | 0.26149 | -0.18849 | 0.03337 | -0.22243 | -0.055578 | -0.3636 | -0.00863 | -0.29805 | 0.99219 | 2.2751 | 6.4871 | >100% | 64.18% | 3.103% | -5.962% | 22.97% | -8.951% | -4.552% | -15.02% | -10.31% | -26.67% | 60.14% | 92.47% | 23.13%
Mintaro PS | SMPS | 0 | 0.69594 | 0.056681 | 1.418 | 0.016233 | 2.1088 | 0.50735 | 1.7977 | 0.11011 | 0 | 0 | 1.0135 | 7.7244 | 0 | 0.92937 | 0.05014 | 1.3062 | 0.013915 | 1.8901 | 0.47475 | 1.4054 | 0.09236 | 0 | 0 | 1.161 | 7.3232 | 0 | 0.23342 | -0.006541 | -0.11187 | -0.002318 | -0.21871 | -0.032597 | -0.3923 | -0.017753 | 0 | 0 | 0.14751 | -0.40116 | 0% | 33.54% | -11.54% | -7.889% | -14.28% | -10.37% | -6.425% | -21.82% | -16.12% | 0% | 0% | 14.55% | -5.193%
OCPL PS | SOCP | 96.1255 | 89.0107 | 58.6962 | 89.7812 | 40.478 | 57.5545 | 23.9362 | 37.2953 | 15.5001 | 42.2745 | 67.6861 | 78.3084 | 696.6468 | 95.3086 | 87.7803 | 53.4048 | 76.9113 | 34.4492 | 50.938 | 21.0681 | 32.7844 | 13.5773 | 37.6115 | 65.2011 | 76.1312 | 645.1657 | -0.81684 | -1.2304 | -5.2915 | -12.8699 | -6.0288 | -6.6165 | -2.8681 | -4.5109 | -1.9229 | -4.663 | -2.4851 | -2.1772 | -51.4811 | -0.8498% | -1.382% | -9.015% | -14.33% | -14.89% | -11.5% | -11.98% | -12.1% | -12.41% | -11.03% | -3.671% | -2.78% | -7.39%
Ladbroke Grove PS | SPEW | 19.1378 | 22.2065 | 24.4006 | 25.8762 | 7.6332 | 10.9503 | 7.574 | 2.3604 | 6.9908 | 8.0378 | 10.0258 | 10.8341 | 156.0275 | 18.2834 | 21.084 | 21.5955 | 21.9226 | 6.1036 | 9.0509 | 6.3773 | 1.8781 | 5.6726 | 7.4083 | 9.4848 | 10.3422 | 139.2035 | -0.85434 | -1.1225 | -2.805 | -3.9536 | -1.5296 | -1.8993 | -1.1967 | -0.48234 | -1.3182 | -0.62946 | -0.541 | -0.49189 | -16.824 | -4.464% | -5.055% | -11.5% | -15.28% | -20.04% | -17.35% | -15.8% | -20.43% | -18.86% | -7.831% | -5.396% | -4.54% | -10.78%
Port Lincoln PS Unit 3 (33 kV) | SPL3 | 0.0040305 | -0.0002975 | 0.011577 | 0.072229 | 0.0492 | 0.050871 | 0.05724 | 0.030407 | 0.018391 | -0.0004585 | -0.0048805 | -0.000461 | 0.28785 | 0.003565 | 0.00663 | -0.005625 | 0.00534 | -0.003605 | 0.040115 | 0.045695 | -0.00169 | -0.006315 | -0.00176 | -0.00583 | -0.00133 | 0.07519 | -0.0004655 | 0.0069275 | -0.017202 | -0.066889 | -0.052805 | -0.010756 | -0.011545 | -0.032097 | -0.024706 | -0.0013015 | -0.0009495 | -0.000869 | -0.21266 | -11.55% | >100% | <-100% | -92.61% | <-100% | -21.14% | -20.17% | <-100% | <-100% | <-100% | -19.45% | <-100% | -73.88%
Port Stanvac PS | SMVE3P | 0.019889 | 0.006585 | 0.052573 | 0.21162 | 0.21831 | 0.31773 | 0.20868 | 1.2244 | 0.036875 | 0 | 0.00821 | 0.13508 | 2.4399 | 0.02584 | 0.00605 | 0.03941 | 0.18286 | 0.16128 | 0.25871 | 0.19229 | 1.0521 | 0.027495 | 0 | 0.007725 | 0.16383 | 2.1176 | 0.005951 | -0.000535 | -0.013163 | -0.028757 | -0.057037 | -0.059017 | -0.016386 | -0.1723 | -0.0093795 | 0 | -0.000485 | 0.028754 | -0.32236 | 29.92% | -8.125% | -25.04% | -13.59% | -26.13% | -18.57% | -7.853% | -14.07% | -25.44% | 0% | -5.907% | 21.29% | -13.21%
Pelican Point PS | SPPT | 254.7934 | 279.6579 | 231.6267 | 223.4929 | 195.8248 | 203.7909 | 213.056 | 232.9162 | 220.6236 | 189.0496 | 235.4896 | 248.2217 | 2728.5433 | 251.6381 | 271.7258 | 208.1434 | 193.0992 | 162.5627 | 178.3549 | 187.2067 | 203.778 | 191.3242 | 167.0398 | 224.6945 | 242.2657 | 2481.8331 | -3.1552 | -7.9321 | -23.4833 | -30.3936 | -33.2621 | -25.4361 | -25.8493 | -29.1382 | -29.2994 | -22.0098 | -10.7951 | -5.956 | -246.7102 | -1.238% | -2.836% | -10.14% | -13.6% | -16.99% | -12.48% | -12.13% | -12.51% | -13.28% | -11.64% | -4.584% | -2.399% | -9.042%
Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | -0.0096095 | -0.000257 | -0.008493 | 0.003103 | 0.0031425 | 0.18829 | 0.12639 | 0.005752 | -0.016311 | -0.0051 | -0.013906 | -0.004045 | 0.26895 | -0.00851 | 0.03765 | -0.007765 | 0.002595 | -0.001565 | 0.16988 | 0.12325 | 0.00338 | -0.01516 | -0.00499 | -0.012795 | -0.004865 | 0.2811 | 0.0010995 | 0.037907 | 0.000728 | -0.000508 | -0.0047075 | -0.018408 | -0.00314 | -0.002372 | 0.001151 | 0.00011 | 0.001111 | -0.00082 | 0.012151 | 11.44% | >100% | 8.572% | -16.37% | <-100% | -9.776% | -2.484% | -41.24% | 7.057% | 2.157% | 7.989% | -20.27% | 4.518%
Quarantine PS | SQPS | 13.996 | 25.7134 | 37.7552 | 25.9307 | 5.0065 | 17.2551 | 8.0508 | 31.7278 | 5.3435 | 3.4663 | 9.4686 | 4.0217 | 187.7357 | 12.9334 | 24.6145 | 34.2776 | 21.2813 | 3.8947 | 14.5094 | 6.7961 | 27.5352 | 4.2069 | 2.9134 | 8.9538 | 3.6467 | 165.5629 | -1.0625 | -1.0989 | -3.4776 | -4.6494 | -1.1118 | -2.7458 | -1.2547 | -4.1927 | -1.1366 | -0.55298 | -0.51478 | -0.37501 | -22.1728 | -7.592% | -4.274% | -9.211% | -17.93% | -22.21% | -15.91% | -15.59% | -13.21% | -21.27% | -15.95% | -5.437% | -9.325% | -11.81%
Snuggery PS | SSPS | -0.085761 | -0.050314 | -0.079034 | -0.077049 | -0.08051 | 0.0066235 | 0.1204 | -0.027781 | -0.083824 | -0.072733 | -0.083841 | -0.051926 | -0.56575 | -0.076655 | 0.00674 | -0.06854 | -0.06514 | -0.065185 | 0.00846 | 0.11452 | -0.024815 | -0.072205 | -0.062975 | -0.07528 | -0.00296 | -0.38404 | 0.0091055 | 0.057055 | 0.010494 | 0.011909 | 0.015325 | 0.0018365 | -0.005877 | 0.002966 | 0.011618 | 0.009758 | 0.0085605 | 0.048966 | 0.18172 | 10.62% | >100% | 13.28% | 15.46% | 19.03% | 27.73% | -4.881% | 10.68% | 13.86% | 13.42% | 10.21% | 94.3% | 32.12%
Torrens Island PS A and B | STPS | 186.4659 | 171.4034 | 199.6272 | 150.6256 | 134.6578 | 115.1952 | 114.3304 | 138.2442 | 121.0303 | 119.1866 | 127.7029 | 136.1994 | 1714.669 | 196.1135 | 179.5883 | 181.3522 | 130.2274 | 112.6118 | 101.5831 | 101.2791 | 121.1787 | 105.9442 | 105.4502 | 128.8424 | 139.4981 | 1603.669 | 9.6475 | 8.1848 | -18.2749 | -20.3982 | -22.0461 | -13.6121 | -13.0513 | -17.0655 | -15.0861 | -13.7364 | 1.1395 | 3.2987 | -111 | 5.174% | 4.775% | -9.155% | -13.54% | -16.37% | -11.82% | -11.42% | -12.34% | -12.46% | -11.53% | 0.8923% | 2.422% | -6.474%
SA wind farms and solar farms (Note 1)
TAS
Generator | TNI | 2019-07-01 | 2019-08-01 | 2019-09-01 | 2019-10-01 | 2019-11-01 | 2019-12-01 | 2020-01-01 | 2020-02-01 | 2020-03-01 | 2020-04-01 | 2020-05-01 | 2020-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total
Bell Bay and Tamar Valley OCGT | TBB1 | 19.8699 | 14.5241 | 0.64058 | 19.8666 | 7.997 | 7.8817 | 4.2648 | 3.125 | -0.26708 | 1.0088 | 2.2602 | 10.7646 | 91.9363 | 5.7311 | 3.1208 | 0.2491 | 6.8819 | 1.5054 | 11.0047 | 2.9883 | 6.5944 | 12.1136 | 1.9568 | 5.8654 | 22.2275 | 80.2389 | -14.1388 | -11.4032 | -0.39148 | -12.9848 | -6.4916 | 3.1229 | -1.2766 | 3.4694 | 12.3807 | 0.94806 | 3.6052 | 11.4629 | -11.6974 | -71.16% | -78.51% | -61.11% | -65.36% | -81.18% | 39.62% | -29.93% | >100% | >100% | 93.98% | >100% | >100% | -12.72%
Cethana | TCE1 | 70.4474 | 51.4284 | 44.8249 | 12.4979 | 31.7618 | 24.9245 | 9.5777 | 8.3939 | 21.4226 | 47.145 | 40.2069 | 40.4573 | 403.0884 | 63.9978 | 46.4438 | 39.6705 | 11.614 | 27.6845 | -0.46861 | -0.54777 | -0.6018 | -0.48927 | 43.5828 | 38.351 | 39.6767 | 308.9136 | -6.4496 | -4.9846 | -5.1545 | -0.88395 | -4.0773 | -25.3931 | -10.1255 | -8.9957 | -21.9119 | -3.5622 | -1.8559 | -0.78061 | -94.1748 | -9.155% | -9.692% | -11.5% | -7.073% | -12.84% | <-100% | <-100% | <-100% | <-100% | -7.556% | -4.616% | -1.929% | -23.36%
Devils Gate | TDG1 | -0.0005195 | 19.3013 | 32.9622 | 9.7555 | 23.314 | 16.2378 | 8.0862 | 6.4845 | 18.4767 | 31.0746 | 30.1678 | 29.7109 | 225.5708 | 0.00048 | 17.0941 | 28.8842 | 9.0747 | 20.3068 | 15.532 | 7.3649 | 6.3228 | 17.8394 | 29.0296 | 28.8753 | 29.1048 | 209.4291 | 0.0009995 | -2.2072 | -4.0779 | -0.68072 | -3.0072 | -0.70574 | -0.72131 | -0.16168 | -0.63731 | -2.045 | -1.2925 | -0.60613 | -16.1417 | >100% | -11.44% | -12.37% | -6.978% | -12.9% | -4.346% | -8.92% | -2.493% | -3.449% | -6.581% | -4.284% | -2.04% | -7.156%
Bastyan | TFA1 | 56.3356 | 57.6776 | 48.269 | 15.5194 | 47.126 | 50.5771 | 10.2766 | 15.5513 | 18.7226 | 47.2947 | 52.5278 | 56.6534 | 476.5312 | 52.0203 | 51.972 | 42.5046 | 14.4942 | 41.2922 | 46.2501 | 9.4923 | 15.1324 | 17.904 | 43.7273 | 50.2089 | 55.3393 | 440.3376 | -4.3153 | -5.7056 | -5.7644 | -1.0252 | -5.8339 | -4.3271 | -0.78428 | -0.41889 | -0.81852 | -3.5674 | -2.3189 | -1.3141 | -36.1936 | -7.66% | -9.892% | -11.94% | -6.606% | -12.38% | -8.555% | -7.632% | -2.694% | -4.372% | -7.543% | -4.415% | -2.319% | -7.595%
Gordon | TGO1 | 42.958 | 61.5266 | 32.5308 | 97.6947 | 29.0084 | 20.9467 | 195.1988 | 174.1821 | 213.1372 | 155.8436 | 212.341 | 233.6051 | 1468.9729 | 40.6794 | 57.5731 | 28.9297 | 85.8363 | 25.4333 | 19.503 | 175.2653 | 162.4025 | 198.32 | 146.4861 | 204.4509 | 229.2884 | 1374.1679 | -2.2785 | -3.9535 | -3.6011 | -11.8584 | -3.5751 | -1.4438 | -19.9336 | -11.7796 | -14.8171 | -9.3575 | -7.8902 | -4.3167 | -94.805 | -5.304% | -6.426% | -11.07% | -12.14% | -12.32% | -6.893% | -10.21% | -6.763% | -6.952% | -6.004% | -3.716% | -1.848% | -6.454%
John Butters | TJB1 | 74.7114 | 74.6468 | 38.0601 | 54.8576 | 87.6146 | 97.3327 | 56.9542 | 74.8959 | 51.8799 | 67.2428 | 35.8109 | 43.572 | 757.5789 | 69.2061 | 67.9898 | 33.4819 | 50.2904 | 76.3705 | 88.7501 | 50.3335 | 69.691 | 48.3072 | 62.5179 | 34.0111 | 43.0146 | 693.9644 | -5.5053 | -6.6569 | -4.5782 | -4.5671 | -11.244 | -8.5826 | -6.6207 | -5.2048 | -3.5727 | -4.7249 | -1.7998 | -0.55732 | -63.6145 | -7.369% | -8.918% | -12.03% | -8.325% | -12.83% | -8.818% | -11.62% | -6.949% | -6.886% | -7.027% | -5.026% | -1.279% | -8.397%
Lake Echo | TLE1 | 0 | 0 | 0 | 4.7165 | 6.4143 | 3.8197 | 16.6 | 16.416 | 7.8692 | 0 | 0.83514 | 12.6887 | 69.3596 | 0 | 0 | 0 | 0 | 0 | 3.6146 | 14.8264 | 15.1002 | 7.3824 | 0 | -0.00665 | 0 | 40.9169 | 0 | 0 | 0 | -4.7165 | -6.4143 | -0.20511 | -1.7737 | -1.3158 | -0.4868 | 0 | -0.84179 | -12.6887 | -28.4427 | 0% | 0% | 0% | -100% | -100% | -5.37% | -10.68% | -8.015% | -6.186% | 0% | <-100% | -100% | -41.01%
Liapootah, Wayatinah and Catagunya | TLI1 | 102.7602 | 98.3687 | 96.4173 | 68.3532 | 78.6314 | 82.861 | 57.662 | 44.6 | 53.5915 | 78.6924 | 81.9339 | 76.6185 | 920.4902 | 95.0425 | 88.2936 | 83.9967 | 60.0313 | 68.7107 | 75.5171 | 51.4605 | 41.3661 | 49.8567 | 72.368 | 77.9097 | 75.0748 | 839.6277 | -7.7177 | -10.0751 | -12.4206 | -8.3218 | -9.9207 | -7.344 | -6.2015 | -3.2339 | -3.7348 | -6.3245 | -4.0241 | -1.5437 | -80.8625 | -7.51% | -10.24% | -12.88% | -12.17% | -12.62% | -8.863% | -10.75% | -7.251% | -6.969% | -8.037% | -4.911% | -2.015% | -8.785%
Mackintosh | TMA1 | 55.957 | 60.6012 | 49.6999 | 14.9171 | 49.1813 | 51.9818 | 10.04 | 15.2717 | 18.4897 | 46.1861 | 54.5083 | 53.6056 | 480.4397 | 50.0929 | 52.0328 | 42.7011 | 13.9917 | 41.5634 | 46.3759 | 9.2644 | 14.9114 | 17.592 | 42.4277 | 50.271 | 52.3931 | 433.6174 | -5.8641 | -8.5684 | -6.9988 | -0.92538 | -7.6179 | -5.6058 | -0.77557 | -0.36035 | -0.8977 | -3.7584 | -4.2374 | -1.2125 | -46.8223 | -10.48% | -14.14% | -14.08% | -6.204% | -15.49% | -10.78% | -7.725% | -2.36% | -4.855% | -8.137% | -7.774% | -2.262% | -9.746%
Meadowbank | TMB1 | 23.9811 | 21.2606 | 19.2226 | 11.6696 | 16.555 | 17.2461 | 3.6367 | 0 | 0 | 0 | 0 | 0 | 113.5716 | 11.3758 | 19.1515 | 16.9115 | 10.2376 | 14.342 | 15.7744 | 3.0798 | 0 | 0.00134 | 0 | 0.00026 | 0.010955 | 90.8851 | -12.6053 | -2.1091 | -2.3111 | -1.432 | -2.213 | -1.4716 | -0.55693 | 0 | 0.00134 | 0 | 0.00026 | 0.010955 | -22.6865 | -52.56% | -9.92% | -12.02% | -12.27% | -13.37% | -8.533% | -15.31% | 0% | 0% | 0% | 0% | 0% | -19.98%
Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 30.721 | 43.6476 | 9.241 | 53.5621 | 31.5275 | 43.205 | 65.9149 | 86.059 | 72.1535 | 26.7571 | 24.0937 | 19.3741 | 506.2565 | 29.1296 | 41.2089 | 8.2525 | 48.7614 | 27.8278 | 40.3238 | 60.337 | 81.3175 | 68.6623 | 25.5517 | 23.6226 | 19.2463 | 474.2415 | -1.5914 | -2.4387 | -0.98849 | -4.8007 | -3.6996 | -2.8812 | -5.5779 | -4.7415 | -3.4911 | -1.2055 | -0.47106 | -0.12783 | -32.015 | -5.18% | -5.587% | -10.7% | -8.963% | -11.73% | -6.669% | -8.462% | -5.51% | -4.838% | -4.505% | -1.955% | -0.6598% | -6.324%
Poatina 1 and 2 (110 kV) | TPM2 | 12.1829 | 20.1887 | 1.2804 | 27.8497 | 14.1856 | 12.1657 | 20.9951 | 30.5926 | 28.4984 | 7.3555 | 8.3985 | 11.8659 | 195.5591 | 11.5898 | 19.1575 | 1.1601 | 25.6721 | 12.6841 | 11.4542 | 19.2313 | 28.9781 | 27.1473 | 7.0915 | 8.1696 | 11.7834 | 184.1191 | -0.5931 | -1.0312 | -0.12029 | -2.1776 | -1.5015 | -0.71155 | -1.7638 | -1.6145 | -1.3511 | -0.26399 | -0.22884 | -0.082532 | -11.44 | -4.868% | -5.108% | -9.395% | -7.819% | -10.58% | -5.849% | -8.401% | -5.278% | -4.741% | -3.589% | -2.725% | -0.6955% | -5.85%
Reece 1 | TRCA | 85.7014 | 81.7385 | 68.8294 | 26.3194 | 74.8789 | 62.3704 | 20.8599 | 19.0662 | 26.6871 | 68.8173 | 85.2443 | 65.095 | 685.608 | 78.4757 | 73.2448 | 60.4513 | 24.1529 | 65.1408 | 57.1701 | 19.0042 | 18.4659 | 25.7347 | 63.6106 | 80.0574 | 63.9138 | 629.4222 | -7.2258 | -8.4938 | -8.3781 | -2.1665 | -9.7381 | -5.2003 | -1.8557 | -0.60032 | -0.95246 | -5.2066 | -5.187 | -1.1812 | -56.1858 | -8.431% | -10.39% | -12.17% | -8.232% | -13.01% | -8.338% | -8.896% | -3.149% | -3.569% | -7.566% | -6.085% | -1.815% | -8.195%
Reece 2 | TRCB | 84.4162 | 78.9068 | 46.1698 | 18.7601 | 59.5369 | 56.9699 | 8.0132 | 12.0826 | 19.1021 | 52.7919 | 69.5529 | 58.0397 | 564.3422 | 77.4532 | 71.0454 | 40.987 | 17.4453 | 51.7154 | 52.654 | 7.296 | 11.6829 | 18.4219 | 49.1275 | 66.2423 | 57.0349 | 521.1058 | -6.9629 | -7.8614 | -5.1827 | -1.3148 | -7.8215 | -4.3159 | -0.71715 | -0.39973 | -0.68024 | -3.6644 | -3.3106 | -1.0049 | -43.2364 | -8.248% | -9.963% | -11.23% | -7.008% | -13.14% | -7.576% | -8.95% | -3.308% | -3.561% | -6.941% | -4.76% | -1.731% | -7.661%
Lemonthyme / Wilmot | TSH1 | 62.5504 | 52.9839 | 50.0974 | 11.4875 | 18.8823 | 19.2038 | 10.1274 | 11.0683 | 20.5762 | 33.3061 | 36.0151 | 33.8864 | 360.1849 | 57.8048 | 47.7475 | 44.1119 | 10.6295 | 16.372 | 12.2395 | 6.2103 | 7.3022 | 13.8928 | 30.4742 | 34.1755 | 33.1099 | 314.07 | -4.7456 | -5.2364 | -5.9855 | -0.85804 | -2.5103 | -6.9643 | -3.9171 | -3.7661 | -6.6834 | -2.8318 | -1.8397 | -0.77655 | -46.1149 | -7.587% | -9.883% | -11.95% | -7.469% | -13.29% | -36.27% | -38.68% | -34.03% | -32.48% | -8.503% | -5.108% | -2.292% | -12.8%
Tarraleah | TTA1 | 56.8556 | 58.393 | 54.8832 | 54.5769 | 54.6395 | 55.6601 | 54.0424 | 4.0458 | 18.4363 | 54.2116 | 55.2536 | 55.1759 | 576.1739 | 47.3179 | 48.2102 | 45.2662 | 46.3454 | 44.9469 | 48.5169 | 47.4838 | 2.9809 | 16.9666 | 47.3221 | 50.8524 | 50.5882 | 496.7975 | -9.5376 | -10.1828 | -9.6169 | -8.2315 | -9.6927 | -7.1432 | -6.5586 | -1.0649 | -1.4697 | -6.8895 | -4.4012 | -4.5877 | -79.3764 | -16.78% | -17.44% | -17.52% | -15.08% | -17.74% | -12.83% | -12.14% | -26.32% | -7.972% | -12.71% | -7.965% | -8.315% | -13.78%
Tribute | TTI1 | 52.034 | 22.0851 | 0 | 0 | 0 | 19.9393 | 7.323 | 12.3756 | 10.5022 | 38.4992 | 31.1796 | 16.6942 | 210.6322 | 47.9627 | 20.4225 | 0 | 0 | 0 | 19.232 | 6.8587 | 11.9174 | 10.2323 | 35.7298 | 29.7493 | 16.5469 | 198.6518 | -4.0713 | -1.6626 | 0 | 0 | 0 | -0.70726 | -0.4643 | -0.45813 | -0.26985 | -2.7694 | -1.4303 | -0.14724 | -11.9804 | -7.824% | -7.528% | 0% | 0% | 0% | -3.547% | -6.34% | -3.702% | -2.569% | -7.193% | -4.587% | -0.882% | -5.688%
Trevallyn | TTR1 | 64.1891 | 32.2382 | 26.1427 | 15.2043 | 6.9146 | 3.6567 | 7.0249 | 18.1011 | 28.7388 | 39.1137 | 31.9874 | 35.7624 | 309.074 | 54.392 | 29.1165 | 22.8229 | 13.4799 | 6.0676 | 3.3859 | 6.4864 | 16.9211 | 26.7915 | 35.7868 | 30.5075 | 35.1194 | 280.8775 | -9.7971 | -3.1218 | -3.3198 | -1.7244 | -0.847 | -0.2708 | -0.5385 | -1.18 | -1.9472 | -3.3269 | -1.48 | -0.64299 | -28.1965 | -15.26% | -9.683% | -12.7% | -11.34% | -12.25% | -7.406% | -7.666% | -6.519% | -6.776% | -8.506% | -4.627% | -1.798% | -9.123%
Tungatinah | TTU1 | 92.7796 | 61.2413 | 63.0634 | 29.5727 | 41.3195 | 47.5669 | 17.4866 | 39.2959 | 40.1195 | 52.9833 | 51.939 | 44.8587 | 582.2265 | 81.5706 | 54.7388 | 55.1768 | 27.3767 | 37.0686 | 44.1446 | 16.0591 | 37.8234 | 37.9308 | 48.6208 | 49.0502 | 43.6314 | 533.1919 | -11.2089 | -6.5024 | -7.8866 | -2.196 | -4.2509 | -3.4224 | -1.4275 | -1.4725 | -2.1887 | -4.3625 | -2.8889 | -1.2273 | -49.0346 | -12.08% | -10.62% | -12.51% | -7.426% | -10.29% | -7.195% | -8.163% | -3.747% | -5.455% | -8.234% | -5.562% | -2.736% | -8.422%
Tamar Valley CCGT | TTV1 | 0.000744 | 0.000744 | 0.00072 | 0.000744 | 0.00072 | 0.000744 | 0.000744 | 0.000696 | 0.000744 | 0.00072 | 0.000744 | 0.00072 | 0.008784 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.000744 | -0.000744 | -0.00072 | -0.000744 | -0.00072 | -0.000744 | -0.000744 | -0.000696 | -0.000744 | -0.00072 | -0.000744 | -0.00072 | -0.008784 | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100%
TAS wind farms(Note 1) | [13 empty] | 180821.4566 | [12 empty] | 156932.2921
Fisher/Rowallan (Note 2) | [26 empty] | 86.79%
Note 1
Wind farms and solar farms are currently not reported - inclusion is being considered as part of a review of the FLLF methodology for adoption in 2021.
Note 2
Fisher, a Scheduled generator, and Rowallan, a Non-Scheduled generator, are connected at the same TNI (TFI1).
For simplicity Fisher and Rowallan are combined and defined as a Non-Scheduled generator during MLF calculations. Therefore, these units are not dispatched and their monthly energy not included above.
Note 3
Reference year data is adjusted to reflect past and future outages.