## QLD Load
Queensland (regional reference node is South Pine 275 kV)
Queensland Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
Abermain | 33 | QABM | 0.9985 | 0.9992
Abermain - Dual MLF (Generation) | 110 | QABR | 0.9985 | 0.9995
Abermain - Dual MLF (Load) | 110 | QABR | 0.9985 | 0.998
Alan Sherriff | 132 | QASF | 0.9845 | 1.0027
Algester | 33 | QALG | 1.0174 | 1.0142
Alligator Creek | 132 | QALH | 0.9714 | 0.9885
Alligator Creek | 33 | QALC | 0.9788 | 0.9972
Ashgrove West | 110 | QCBW | 1.0126 | 1.0113
Ashgrove West | 33 | QAGW | 1.0154 | 1.0137
Belmont | 110 | QBMH | 1.0128 | 1.0108
Belmont Wecker Road | 33 | QBBS | 1.0146 | 1.0119
Biloela | 66/11 | QBIL | 0.9261 | 0.9473
Blackstone | 110 | QBKS | 0.998 | 0.9973
Blackwater | 132 | QBWH | 0.9655 | 0.9844
Blackwater | 66/11 | QBWL | 0.9722 | 0.989
Bluff | 132 | QBLF | 0.9663 | 0.9859
Bolingbroke | 132 | QBNB | 0.9571 | 0.9775
Bowen North | 66 | QBNN | 0.9616 | 0.9807
Boyne Island | 132 | QBOL | 0.9485 | 0.9756
Boyne Island | 275 | QBOH | 0.9496 | 0.9794
Braemar – Kumbarilla Park | 275 | QBRE | 0.9723 | 0.9753
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9773 | 0.9748
Bulli Creek (Waggamba) | 132 | QBLK | 0.9773 | 0.9748
Bundamba | 110 | QBDA | 0.9987 | 0.9992
Burton Downs | 132 | QBUR | 0.9716 | 0.9851
Cairns | 22 | QCRN | 0.976 | 0.9954
Cairns City | 132 | QCNS | 0.9684 | 0.986
Callemondah (Rail) | 132 | QCMD | 0.9395 | 0.9676
Calliope River | 132 | QCAR | 0.9386 | 0.9672
Cardwell | 22 | QCDW | 0.9818 | 1.0017
Chinchilla | 132 | QCHA | 0.9692 | 0.9781
Clare | 66 | QCLR | 0.9878 | 1.0003
Collinsville Load | 33 | QCOL | 0.9503 | 0.9719
Columboola | 132 | QCBL | 0.9774 | 0.9828
Columboola 132 (Bellevue LNG load) | 132 | QCBB | 0.9784 | 0.9841
Coppabella (Rail) | 132 | QCOP | 0.9844 | 0.9917
Dan Gleeson | 66 | QDGL | 0.9881 | 1.0031
Duaringa | 132 | QDRG | 0.9627 | 0.966
Dysart | 132 | QDYS | 0.9779 | 0.9939
Eagle Downs Mine | 132 | QEGD | 0.975 | 0.9898
Edmonton | 22 | QEMT | 0.9878 | 1.0039
Egans Hill | 66 | QEGN | 0.9318 | 0.9524
El Arish | 22 | QELA | 0.9822 | 1.0085
Garbutt | 66 | QGAR | 0.9883 | 1.0064
Gin Gin | 132 | QGNG | 0.9621 | 0.9855
Gladstone South | 66/11 | QGST | 0.9411 | 0.9713
Goodna | 33 | QGDA | 1.0042 | 1.0031
Goonyella Riverside Mine | 132 | QGYR | 0.9885 | 1.0015
Grantleigh (Rail) | 132 | QGRN | 0.9264 | 0.9574
Greenland | 132 | QGLD | 0.9735
Gregory (Rail) | 132 | QGRE | 0.9469 | 0.9677
Ingham | 66 | QING | 0.9903 | 1.0113
Innisfail | 22 | QINF | 0.9841 | 1.0053
Invicta Load | 132 | QINV | 0.9317 | 0.9501
Kamerunga | 22 | QKAM | 0.9837 | 1.0065
Kemmis | 66 | QEMS | 0.9704 | 0.9826
King Creek | 132 | QKCK | 0.9569 | 0.9806
Larcom Creek | 275 | QLCH | 0.9261
Lilyvale | 66 | QLIL | 0.9486 | 0.9716
Lilyvale (Barcaldine) | 132 | QLCM | 0.9564 | 0.9786
Loganlea | 110 | QLGH | 1.0118 | 1.0087
Loganlea | 33 | QLGL | 1.0144 | 1.012
Mackay | 33 | QMKA | 0.9735 | 0.9896
Middle Ridge (Energex) | 110 | QMRX | 0.9886 | 0.9823
Middle Ridge (Ergon) | 110 | QMRG | 0.9886 | 0.9823
Mindi (Rail) | 132 | QMND | 0.9527 | 0.9726
Molendinar | 110 | QMAR | 1.0132 | 1.0086
Molendinar | 33 | QMAL | 1.0127 | 1.0084
Moranbah (Mine) | 66 | QMRN | 0.9898 | 1.0014
Moranbah (Town) | 11 | QMRL | 0.9852 | 1.0026
Moranbah Substation | 132 | QMRH | 0.9853 | 0.9926
Moura | 66/11 | QMRA | 0.9443 | 0.9537
Mt McLaren (Rail) | 132 | QMTM | 0.9835 | 0.9785
Mudgeeraba | 110 | QMGB | 1.0126 | 1.0078
Mudgeeraba | 33 | QMGL | 1.0137 | 1.0083
Murarrie (Belmont) | 110 | QMRE | 1.0129 | 1.0101
Nebo | 11 | QNEB | 0.9515 | 0.9718
Newlands | 66 | QNLD | 0.9809 | 1.0056
North Goonyella | 132 | QNGY | 0.9859 | 1.003
Norwich Park (Rail) | 132 | QNOR | 0.9631 | 0.9856
Oakey | 110 | QOKT | 0.9883 | 0.9804
Oonooie (Rail) | 132 | QOON | 0.9743 | 0.9891
Orana LNG | 275 | QORH | 0.9715 | 0.9764
Palmwoods | 132 | QPWD | 1.013 | 1.0095
Pandoin | 132 | QPAN | 0.9267 | 0.9539
Pandoin | 66 | QPAL | 0.9294 | 0.9639
Peak Downs (Rail) | 132 | QPKD | 0.9878 | 0.9996
Pioneer Valley | 66 | QPIV | 0.9886 | 1.0008
Proserpine | 66 | QPRO | 0.9878 | 1.0112
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9445 | 0.9754
Queensland Nickel (Yabulu) | 132 | QQNH | 0.9716 | 0.9899
Raglan | 275 | QRGL | 0.9311 | 0.9571
Redbank Plains | 11 | QRPN | 1.0054 | 1.0034
Richlands | 33 | QRLD | 1.0158 | 1.013
Rockhampton | 66 | QROC | 0.9325 | 0.9575
Rocklea (Archerfield) | 110 | QRLE | 1.0054 | 1.004
Ross | 132 | QROS | 0.9716 | 0.9906
Runcorn | 33 | QRBS | 1.018 | 1.0151
South Pine | 110 | QSPN | 1.0045 | 1.0046
Stony Creek | 132 | QSYC | 0.9727 | 0.9859
Sumner | 110 | QSUM | 1.0064 | 1.005
Tangkem (Dalby) - Dual MLF (Generation) | 110 | QTKM | 0.9892 | 0.9792
Tangkem (Dalby) - Dual MLF (Load) | 110 | QTKM | 0.9892 | 0.9827
Tarong | 66 | QTRL | 0.9712 | 0.9734
Teebar Creek | 132 | QTBC | 0.9816 | 0.9956
Tennyson | 33 | QTNS | 1.0101 | 1.0077
Tennyson (Rail) | 110 | QTNN | 1.0078 | 1.0062
Townsville East | 66 | QTVE | 0.9772 | 0.9975
Townsville South | 66 | QTVS | 0.9778 | 1.0025
Townsville South (KZ) | 132 | QTZS | 0.9979 | 1.0029
Tully | 22 | QTLL | 1.0063 | 1.0223
Turkinje | 66 | QTUL | 1.0029 | 1.0201
Turkinje (Craiglie) | 132 | QTUH | 1.0068 | 1.0235
Wandoan South | 132 | QWSH | 0.9897 | 0.9953
Wandoan South (NW Surat) | 275 | QWST | 0.989 | 0.9946
Wandoo (Rail) | 132 | QWAN | 0.9554 | 0.976
Wivenhoe Pump | 275 | QWIP | 0.9994 | 0.9994
Woolooga (Energex) | 132 | QWLG | 0.98 | 0.9942
Woolooga (Ergon) | 132 | QWLN | 0.98 | 0.9942
Woree | 132 | QWRE | 0.9777 | 0.9938
Wotonga (Rail) | 132 | QWOT | 0.9818 | 0.9938
Wycarbah | 132 | QWCB | 0.9249 | 0.9525
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.9369 | 0.9659
Yarwun – Rio Tinto | 132 | QYAR | 0.9363 | 0.9632

## QLD Gen
Queensland (regional reference node is South Pine 275 kV)
Queensland Generators
Generator | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Baking Board Solar Farm (Chinchilla Solar Farm) | 132 | BAKING1 | QCHS1C | QCHS | 0.9598 | 0.9664
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.938 | 0.935
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.915 | 0.9334
Barron Gorge Power Station Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.959 | 0.9623
Barron Gorge Power Station Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.959 | 0.9623
Bluegrass Solar Farm | 132 | BLUEGSF1 | QCBS1B | QCBS | 0.9546 | 0.96
Bouldercombe BESS (Generation) | 132 | BBATTERY | QBCB1B | QBCB | 0.9198
Bouldercombe BESS (Load) | 132 | BBATRYL1 | QBCB2B | QBCB | 0.9271
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9617 | 0.963
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9617 | 0.963
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9617 | 0.963
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9617 | 0.963
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9617 | 0.963
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9617 | 0.963
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0118 | 1.0087
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9138 | 0.9392
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9138 | 0.9392
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9149 | 0.9404
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9149 | 0.9404
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9096 | 0.9361
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9096 | 0.9361
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9181 | 0.9351
Childers Solar Farm | 132 | CHILDSF1 | QTBS1C | QTBS | 0.9704 | 0.9823
Chinchilla BESS (Generation) | 275 | CHBESSG1 | QWDB1C | QWDB | 0.9588
Chinchilla BESS (Load) | 275 | CHBESSL1 | QWDB2C | QWDB | 0.975
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8981 | 0.9177
Clermont Solar Farm | 132 | CLERMSF1 | QLLV3C | QLLV | 0.915 | 0.9334
Collinsville Solar Farm | 33 | CSPVPS1 | QCOS1C | QCOS | 0.9132 | 0.9268
Columboola Solar Farm | 132 | COLUMSF1 | QCBR1C | QCBR | 0.9746 | 0.9812
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9731 | 0.9744
Coopers Gap Wind Farm | 275 | COOPGWF1 | QCPG1C | QCPG | 0.9658 | 0.9685
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9617 | 0.963
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9762 | 0.9796
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.9098 | 0.9296
Dulacca Wind Farm | 132 | DULAWF1 | QCBF1D | QCBF | 0.9776 | 0.9541
Edenvale Solar Park | 275 | EDENVSF1 | QORS1E | QORS | 0.972 | 0.9753
Emerald Solar Farm | 66 | EMERASF1 | QLIS1E | QLIS | 0.9111 | 0.9333
Gangarri Solar Farm | 132 | GANGARR1 | QWSS1G | QWSS | 0.9837 | 0.9921
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9486 | 0.9716
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9323 | 0.9581
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9323 | 0.9581
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9323 | 0.9581
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9329 | 0.9623
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9329 | 0.9623
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9329 | 0.9623
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9329 | 0.9623
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9821 | 0.9923
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9821 | 0.9923
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.906 | 0.9238
Haughton Solar Farm | 275 | HAUGHT11 | QHAR1H | QHAR | 0.9151 | 0.93
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.9098 | 0.9296
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.9222 | 0.9369
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.9317 | 0.9501
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9816 | 0.9956
Kaban Wind Farm | 275 | KABANWF1 | QTMW1K | QTMW | 0.9575 | 0.9513
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9559 | 0.9702
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9559 | 0.9702
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9559 | 0.9702
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9559 | 0.9702
Kennedy Energy Park Battery (Generation) | 132 | KEPBG1 | QROW3K | QROW | 0.9667 | 0.9808
Kennedy Energy Park Battery (Load) | 132 | KEPBL1 | QROW4K | QROW | 0.9667 | 0.9808
Kennedy Energy Park Solar Farm | 132 | KEPSF1 | QROW2K | QROW | 0.9667 | 0.9808
Kennedy Energy Park Wind Farm | 132 | KEPWF1 | QROW1K | QROW | 0.9667 | 0.9808
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.9222 | 0.9369
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9673 | 0.9698
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9559 | 0.9702
Lilyvale Solar Farm | 33 | LILYSF1 | QBDR1L | QBDR | 0.9064 | 0.9323
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.915 | 0.9334
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9715 | 0.9871
Maryrorough Solar Farm (Brigalow Solar Farm) | 110 | MARYRSF1 | QMRY2M | QMRY | 0.9914 | 0.9861
Middlemount Sun Farm | 66 | MIDDLSF1 | QLIS2M | QLIS | 0.9111 | 0.9333
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9763 | 0.9762
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9763 | 0.9762
Moranbah Generation | 11 | MORANBAH | QMRL1M | QMRL | 0.9852 | 1.0026
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 0.9898 | 1.0014
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.9472 | 0.9575
Moura Solar Farm | 132 | MOUSF1 | QMRR1M | QMRR | 0.9081 | 0.9224
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9164 | 0.916
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9164 | 0.916
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9164 | 0.916
Oakey 1 Solar Farm | 110 | OAKEY1SF | QTKS1O | QTKS | 0.9869 | 0.98
Oakey 2 Solar Farm | 110 | OAKEY2SF | QTKS2O | QTKS | 0.9869 | 0.98
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9628 | 0.953
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9628 | 0.953
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9486 | 0.9716
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9486 | 0.9716
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0118 | 1.0087
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9643 | 0.9761
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9643 | 0.9761
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.9222 | 0.9369
Rugby Run Solar Farm | 132 | RUGBYR1 | QMPL1R | QMPL | 0.9185 | 0.9224
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9265 | 0.9527
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9181 | 0.9409
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9181 | 0.9409
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9181 | 0.9409
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9181 | 0.9409
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0118 | 1.0087
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 0.9979 | 1.0029
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.013 | 1.0095
Susan River Solar Farm | 132 | SRSF1 | QTBS2S | QTBS | 0.9704 | 0.9823
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 0.9987 | 0.9976
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9712 | 0.9737
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9707 | 0.9729
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9707 | 0.9729
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9707 | 0.9729
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9707 | 0.9729
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 0.9985 | 0.9992
Wandoan BESS (Generation) | 132 | WANDBG1 | QWSB1W | QWSB | 0.9751 | 0.9767
Wandoan BESS (Load) | 132 | WANDBL1 | QWSB2W | QWSB | 1.002 | 1.0007
Wandoan South Solar Farm 1 | 275 | WANDSF1 | QWSR1W | QWSR | 0.9832 | 0.9884
Warwick Solar Farm 1 | 110 | WARWSF1 | QMRY3W | QMRY | 0.9914 | 0.9861
Warwick Solar Farm 2 | 110 | WARWSF2 | QMRY4W | QMRY | 0.9914 | 0.9861
Western Downs Green Power Hub | 275 | WDGPH1 | QWDR1W | QWDR | 0.9712 | 0.9757
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.901 | 0.9218
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 1.0029 | 1.0201
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.99 | 0.9913
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.99 | 0.9913
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9994 | 0.9994
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9994 | 0.9994
Wivenhoe Small Hydro - Dual MLF (Generation) | 110 | WIVENSH | QABR1 | QABR | 0.9985 | 0.9995
Wivenhoe Small Hydro - Dual MLF (Load) | 110 | WIVENSH | QABR1 | QABR | 0.9985 | 0.998
Woolooga Solar Farm | 132 | WOOLGSF1 | QWLS1W | QWLS | 0.9736 | 0.9832
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9519 | 0.9572
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9417 | 0.9237
Yarranlea Solar Farm | 110 | YARANSF1 | QMRY1Y | QMRY | 0.9914 | 0.9861
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9349 | 0.9627

## NSW Load
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
Albury | 132 | NALB | 0.9464 | 0.9551
Alexandria | 33 | NALX | 1.0024 | 1.0039
Armidale | 66 | NAR1 | 0.9224 | 0.9429
Australian Newsprint Mill | 132 | NANM | 0.9446 | 0.9426
BHP (Waratah) | 132 | NWR1 | 0.9931 | 0.9949
Balranald | 22 | NBAL | 0.9017 | 0.8998
Beaconsfield North | 132 | NBFN | 1.0021 | 1.0036
Beaconsfield South | 132 | NBFS | 1.0021 | 1.0036
Belmore Park | 132 | NBM1 | 1.0024 | 1.0039
Belmore Park 11 | 11 | NBMP | 1.0042 | 1.0063
Beryl | 66 | NBER | 0.9851 | 0.9813
Boambee South | 132 | NWST | 0.9566 | 0.983
Boggabri East | 132 | NBGE | 0.9463 | 0.9611
Boggabri North | 132 | NBGN | 0.9457 | 0.963
Brandy Hill | 11 | NBHL | 0.9971 | 0.9988
Brandy Hill (Essential Energy) | 11 | NBHX | 0.9971 | 0.9988
Broken Hill | 22 | NBKG | 0.8844 | 0.8685
Broken Hill | 220 | NBKH | 0.871 | 0.86
Bunnerong | 132 | NBG1 | 1.0025 | 1.0039
Bunnerong | 33 | NBG3 | 1.0047 | 1.0055
Buronga | 220 | NBRG | 0.8982 | 0.8866
Burrinjuck | 132 | NBU2 | 0.9458 | 0.9601
Campbell Street | 11 | NCBS | 1.0025 | 1.006
Campbell Street | 132 | NCS1 | 1.0023 | 1.0038
Canterbury | 33 | NCTB | 1.0047 | 1.0175
Carlingford | 132 | NCAR | 1.001 | 1.001
Casino | 132 | NCSN | 0.9532 | 0.9864
Charmhaven | 11 | NCHM | 0.9942 | 0.9967
Coffs Harbour | 66 | NCH1 | 0.9488 | 0.9747
Coleambally | 132 | NCLY | 0.9266 | 0.9268
Cooma | 66 | NCMA | 0.9679 | 0.9625
Cooma (AusNet Services) | 66 | NCM2 | 0.9679 | 0.9625
Cowra - Dual MLF (Generation) | 66 | NCW8 | 0.9378 | 0.9746
Cowra - Dual MLF (Load) | 66 | NCW8 | 0.9713 | 0.9746
Dapto (Endeavour Energy) – (effective prior to 17/10/2023) | 132 | NDT1 | 0.9895 | 0.9934
Dapto (Endeavour Energy) – (effective from 17/10/2023) | 132 | NDT1 | 0.9888 | 0.9934
Dapto (Essential Energy) | 132 | NDT2 | 0.9895 | 0.9934
Darlington Point | 132 | NDNT | 0.9371 | 0.9397
Deniliquin | 66 | NDN7 | 0.972 | 0.9733
Dorrigo | 132 | NDOR | 0.9336 | 0.9692
Dunoon | 132 | NDUN | 0.9632 | 0.9991
Far North VTN |  | NEV1 | 0.9774 | 0.9781
Finley | 66 | NFNY | 0.9687 | 0.9708
Finley - Dual MLF (Generation) | 132 | NFN2 | 0.9797 | 0.9815
Finley - Dual MLF (Load) | 132 | NFN2 | 0.932 | 0.907
Forbes | 66 | NFB2 | 1.0125 | 1.0018
Gadara | 132 | NGAD | 0.958 | 0.9693
Glen Innes | 66 | NGLN | 0.9061 | 0.9346
Gosford | 33 | NGSF | 1.0029 | 1.0053
Gosford | 66 | NGF3 | 1.0023 | 1.0048
Grafton East 132 | 132 | NGFT | 0.9329 | 0.9709
Green Square | 11 | NGSQ | 1.0048 | 1.0063
Griffith | 33 | NGRF | 0.9467 | 0.9473
Gunnedah | 66 | NGN2 | 0.9572 | 0.9833
Haymarket | 132 | NHYM | 1.0022 | 1.0038
Heron's Creek | 132 | NHNC | 1.0176 | 1.035
Holroyd | 132 | NHLD | 1.0018 | 1.002
Holroyd (Ausgrid) | 132 | NHLX | 1.0018 | 1.002
Homebush Bay | 11 | NHBB | 1.015 | 1.0161
Hurstville North | 11 | NHVN | 1.002 | 1.0048
Ilford | 132 | NLFD | 0.9622 | 0.9639
Ingleburn | 66 | NING | 0.9958 | 0.9976
Inverell | 66 | NNVL | 0.9157 | 0.9461
Kemps Creek | 330 | NKCK | 0.9937 | 0.9959
Kempsey | 33 | NKS3 | 0.9871 | 1.0107
Kempsey | 66 | NKS2 | 0.9708 | 1.0008
Kogarah | 11 | NKOG | 1.004 | 1.0066
Koolkhan | 66 | NKL6 | 0.9733 | 1.0008
Kurnell | 132 | NKN1 | 1.0006 | 1.0023
Lake Munmorah | 132 | NMUN | 0.9838 | 0.989
Lane Cove | 132 | NLCV | 1.0112 | 1.013
Liddell | 33 | NLD3 | 0.9661 | 0.9678
Lismore | 132 | NLS2 | 0.9814 | 1.0079
Liverpool | 132 | NLP1 | 0.9999 | 1.0011
Macarthur | 132 | NMC1 | 0.9929 | 0.9954
Macarthur | 66 | NMC2 | 0.9947 | 0.9972
Macksville | 132 | NMCV | 0.9722 | 0.9966
Macquarie Park | 11 | NMQP | 1.0221 | 1.0188
Macquarie Park | 33 | NMQS | 1.011 | 1.0128
Manildra | 132 | NMLD | 1.025 | 1.0025
Marrickville | 11 | NMKV | 1.0071 | 1.0089
Marulan (Endeavour Energy) | 132 | NMR1 | 1.0095 | 1.0118
Marulan (Essential Energy) | 132 | NMR2 | 1.0095 | 1.0118
Mason Park | 132 | NMPK | 1.0123 | 1.0135
Meadowbank | 11 | NMBK | 1.0154 | 1.0167
Molong | 132 | NMOL | 1.0428 | 1.0258
Moree | 66 | NMRE | 0.9563 | 0.9761
Morven | 132 | NMVN | 0.9476 | 0.9431
Mt Piper | 66 | NMP6 | 0.9752 | 0.9744
Mudgee | 132 | NMDG | 0.9853 | 0.9797
Mullumbimby | 11 | NML1 | 0.9533 | 0.9987
Mullumbimby | 132 | NMLB | 0.9471 | 0.9899
Munmorah STS 33 | 33 | NMU3 | 0.9907 | 0.9937
Munyang | 11 | NMY1 | 0.9838 | 0.9633
Munyang | 33 | NMYG | 0.9838 | 0.9633
Murrumbateman | 132 | NMBM | 0.9545 | 0.9645
Murrumburrah | 66 | NMRU | 0.9648 | 0.9719
Muswellbrook | 132 | NMRK | 0.9774 | 0.9788
Nambucca Heads | 132 | NNAM | 0.9685 | 0.9905
Narrabri | 66 | NNB2 | 0.9799 | 0.9926
Newcastle | 132 | NNEW | 0.9926 | 0.9942
Newcastle (Essential Energy) | 132 | NNEX | 0.9926 | 0.9942
North of Broken Bay VTN |  | NEV2 | 0.995 | 0.997
Orange | 66 | NRGE | 1.0645 | 1.0427
Orange North | 132 | NONO | 1.0589 | 1.0348
Ourimbah | 132 | NOR1 | 0.9998 | 1.0007
Ourimbah | 33 | NORB | 0.9991 | 1.0017
Ourimbah | 66 | NOR6 | 0.9987 | 1.0013
Panorama | 66 | NPMA | 1.0398 | 1.0252
Parkes | 132 | NPKS | 1.0022 | 0.9865
Parkes | 66 | NPK6 | 1.0442 | 1.0026
Peakhurst | 33 | NPHT | 1.0013 | 1.0037
Potts Hill 11 | 11 | NPHL | 1.0056 | 1.0072
Potts Hill 132 | 132 | NPO1 | 1.003 | 1.0044
Pt Macquarie | 33 | NPMQ | 1.0105 | 1.0312
Queanbeyan 132 | 132 | NQBY | 0.9861 | 0.9941
Raleigh | 132 | NRAL | 0.9611 | 0.9847
Ravine | 330 | NRVN | 0.9507 | 0.9495
Regentville | 132 | NRGV | 0.9986 | 0.9984
Riverina 415V | 0.42 | NRVA | 0.9376 | 0.9331
Rockdale (Ausgrid) | 11 | NRKD | 1.004 | 1.006
Rookwood Road | 132 | NRWR | 1.0028 | 1.0043
Rose Bay | 11 | NRSB | 1.0053 | 1.0069
Snowy Adit | 132 | NSAD | 0.9771 | 0.955
Somersby | 11 | NSMB | 1.0033 | 1.0057
South of Broken Bay VTN |  | NEV3 | 1.0044 | 1.0057
St Peters | 11 | NSPT | 1.0056 | 1.0069
Strathfield South | 11 | NSFS | 1.0034 | 1.0091
Stroud | 132 | NSRD | 1.0084 | 1.0119
Sydney East | 132 | NSE2 | 1.0063 | 1.0061
Sydney North (Ausgrid) | 132 | NSN1 | 1.0028 | 1.0042
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0028 | 1.0042
Sydney South | 132 | NSYS | 0.9988 | 1.0009
Sydney West (Ausgrid) | 132 | NSW1 | 1.001 | 1.001
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.001 | 1.001
Tamworth | 66 | NTA2 | 0.9516 | 0.966
Taree (Essential Energy) | 132 | NTR2 | 1.0305 | 1.0411
Tenterfield | 132 | NTTF | 0.9341 | 0.96
Terranora | 110 | NTNR | 0.9623 | 0.9771
Tomago | 330 | NTMG | 0.9932 | 0.9953
Tomago (Ausgrid) | 132 | NTME | 0.9965 | 0.998
Tomago (Essential Energy) | 132 | NTMC | 0.9965 | 0.998
Top Ryde | 11 | NTPR | 1.0142 | 1.0157
Tuggerah | 132 | NTG3 | 0.9956 | 0.9974
Tumut | 66 | NTU2 | 0.9559 | 0.9735
Tumut 66 (AusNet DNSP) | 66 | NTUX | 0.9559 | 0.9735
Upper Tumut 11kV (Essential Energy) | 11 | NUT4 | 0.948 | 0.9493
Vales Pt. | 132 | NVP1 | 0.9871 | 0.9924
Vineyard | 132 | NVYD | 0.9998 | 1.0001
Wagga | 66 | NWG2 | 0.9459 | 0.9529
Wagga North | 132 | NWGN | 0.9446 | 0.9487
Wagga North | 66 | NWG6 | 0.9453 | 0.95
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9754 | 0.9747
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9754 | 0.9747
Wallerawang 330 PS Load | 330 | NWWP | 0.9748 | 0.9737
Wallerawang 66 | 66 | NWW7 | 0.9759 | 0.9752
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9759 | 0.9752
Waverley | 11 | NWAV | 1.005 | 1.0066
Wellington | 132 | NWL8 | 0.9897 | 0.9862
West Gosford | 11 | NGWF | 1.0039 | 1.0063
Williamsdale (Essential Energy) (Bogong) | 132 | NWD1 | 0.9407 | 0.9682
Wyong | 11 | NWYG | 0.9972 | 0.9992
Yanco | 33 | NYA3 | 0.9504 | 0.9502
Yass | 66 | NYS6 | 0.9568 | 0.9643
Yass | 132 | NYS1 | 0.9437 | 0.9485

## NSW Gen
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Generators
Generator | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Appin Power Station | 66 | APPIN | NAPP1A | NAPP | 0.995 | 0.9973
Avonlie Solar Farm | 132 | AVLSF1 | NNRN1A | NNRN | 0.8881 | 0.9011
Bango 973 Wind Farm | 132 | BANGOWF1 | NBA21B | NBA2 | 0.9159 | 0.9107
Bango 999 Wind Farm | 132 | BANGOWF2 | NBB21B | NBB2 | 0.9288 | 0.9283
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9646 | 0.9653
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9646 | 0.9653
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9651 | 0.9653
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9651 | 0.9653
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9339 | 0.9289
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.9241 | 0.9064
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9444 | 0.9355
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9622 | 0.9595
Bomen Solar Farm | 132 | BOMENSF1 | NWGS1B | NWGS | 0.911 | 0.9089
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 0.9814 | 1.0079
Broken Hill BESS (Generation) | 22 | BHBG1 | NBKB1B | NBKB | 0.8671
Broken Hill BESS (Load) | 22 | BHBL1 | NBKB2B | NBKB | 0.8919
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8844 | 0.8685
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.8324 | 0.8381
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 0.9679 | 0.9625
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9897 | 0.9862
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.9454 | 0.9459
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 0.9958 | 0.9976
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9575 | 0.9558
Capital BESS (Generation) | 132 | CAPBES1G | NQBC1C | NQBC | 0.9704
Capital BESS (Load) | 132 | CAPBES1L | NQBC2C | NQBC | 1.026
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.8894 | 0.877
Collector Wind Farm | 330 | COLWF01 | NCLW1C | NCLW | 0.9576 | 0.9581
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9831 | 0.9864
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9831 | 0.9864
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9831 | 0.9864
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9831 | 0.9864
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9623 | 0.9771
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9157 | 0.9461
Corowa Solar Farm | 132 | CRWASF1 | NAL11C | NAL1 | 0.9365 | 0.9242
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9608 | 0.9611
Crudine Ridge Wind Farm | 132 | CRURWF1 | NCDS1C | NCDS | 0.926 | 0.9381
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9437 | 0.9485
Darlington Point BESS (Generation) | 33 | DPNTBG1 | NRDP1D | NRDP | 0.9089 | 0.9402
Darlington Point BESS (Load) | 33 | DPNTBL1 | NRDP2D | NRDP | 0.9024 | 0.9476
Darlington Point Solar Farm | 132 | DARLSF1 | NDNS1D | NDNS | 0.8958 | 0.888
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.001 | 1.001
Eastern Creek 2 | 132 | EASTCRK2 | NSW23L | NSW2 | 1.001 | 1.001
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9848 | 0.9865
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9848 | 0.9865
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9848 | 0.9865
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9856 | 0.9877
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9856 | 0.9877
Eraring PS Load | 132 | ERNL1 | NEPSL | NNEW | 0.9926 | 0.9942
Finley Solar Farm | 132 | FINLYSF1 | NFNS1F | NFNS | 0.9255 | 0.9036
Flyers Creek Wind Farm | 132 | FLYCRKWF | NONF1F | NONF | 1.0266
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9774 | 0.9788
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9061 | 0.9346
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9774 | 0.9788
Goonumbla Solar Farm | 66 | GOONSF1 | NPG12G | NPG1 | 0.9 | 0.8818
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9998 | 1.0001
Griffith Solar Farm | 33 | GRIFSF1 | NGG11G | NGG1 | 0.8894 | 0.8862
Gullen Range 1 Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.958 | 0.9592
Gullen Range 2 Wind Farm | 330 | GULLRWF2 | NGUR3G | NGUR | 0.958 | 0.9592
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.958 | 0.9592
Gunnedah Solar Farm | 132 | GNNDHSF1 | NGNE1G | NGNE | 0.8273 | 0.8353
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9437 | 0.9485
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.893 | 0.887
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9838 | 0.9633
Hillston Solar Farm | 132 | HILLSTN1 | NDNH1H | NDNH | 0.8979 | 0.8906
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9205 | 0.9118
Hunter Economic Zone | 132 | HEZ1 | NNEE1H | NNEE | 0.9899 | 0.992
Jemalong Solar Farm | 66 | JEMALNG1 | NFBS1J | NFBS | 0.8964 | 0.8833
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 0.9679 | 0.9625
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 0.9559 | 0.9735
Junee Solar Farm | 132 | JUNEESF1 | NWGJ1J | NWGJ | 0.9108 | 0.9059
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF (Load) | 330 | SHPUMP | NSHP1 | NSHN | 0.9905 | 0.9896
Kangaroo Valley – Bendeela (Shoalhaven) – Dual MLF (Generation) | 330 | SHGEN | NSHL | NSHN | 0.9732 | 0.9733
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9572 | 0.9833
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.966 | 0.9659
Liddell 330 PS Unit 1 (Inactive from 01/05/2023) | 330 | LD01 | NLDP1 | NLDP | 0.966 | 0.9659
Liddell 330 PS Unit 2 (Inactive from 01/05/2023) | 330 | LD02 | NLDP2 | NLDP | 0.966 | 0.9659
Liddell 330 PS Unit 4 (Inactive from 01/05/2023) | 330 | LD04 | NLDP4 | NLDP | 0.966 | 0.9659
Limondale Solar Farm 1 | 220 | LIMOSF11 | NBSF1L | NBSF | 0.8255 | 0.8314
Limondale Solar Farm 2 | 22 | LIMOSF21 | NBL21L | NBL2 | 0.831 | 0.8309
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NMC1 | 0.9929 | 0.9954
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.9559 | 0.9735
Lower Tumut Pumps – Dual MLF (Load) | 330 | SNOWYP | NLTS3 | NLTS | 0.9696 | 0.9895
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.9559 | 0.9735
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.9559 | 0.9735
Lower Tumut – Dual MLF (Generation) | 330 | TUMUT3 | NLTS8 | NLTS | 0.908 | 0.9092
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 0.9988 | 1.0009
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 0.9988 | 1.0009
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9557 | 0.9287
Metz Solar Farm | 132 | METZSF1 | NMTZ1M | NMTZ | 0.8486 | 0.8831
Molong Solar Farm | 66 | MOLNGSF1 | NMOS1M | NMOS | 0.9733 | 0.9433
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.7977 | 0.8275
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9717 | 0.972
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9717 | 0.972
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9717 | 0.972
Narromine Solar Farm | 132 | NASF1 | NWLS1N | NWLS | 0.9439 | 0.9352
Nevertire Solar Farm | 132 | NEVERSF1 | NWLS3N | NWLS | 0.9439 | 0.9352
New England Solar Farm 1 | 330 | NEWENSF1 | NURR1N | NURR | 0.8718 | 0.9007
New England Solar Farm 2 | 330 | NEWENSF2 | NURR2N | NURR | 0.8718 | 0.9007
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9897 | 0.9862
Parkes Solar Farm | 66 | PARSF1 | NPG11P | NPG1 | 0.9 | 0.8818
Queanbeyan BESS (Generation) | 66 | QBYNBG1 | NQBB1Q | NQBB | 0.979 | 0.9752
Queanbeyan BESS (Load) | 66 | QBYNBL1 | NQBB2Q | NQBB | 0.991 | 0.9917
Riverina BESS 1 (Generation) | 33 | RESS1G | NRBB1R | NRBB | 0.9089 | 0.9286
Riverina BESS 1 (Load) | 33 | RESS1L | NRBB2R | NRBB | 0.9024 | 0.9311
Riverina BESS 2 (Generation) | 33 | RIVNBG2 | NRB21R | NRB2 | 0.9106 | 0.9058
Riverina BESS 2 (Load) | 33 | RIVNBL2 | NRB22R | NRB2 | 0.9073 | 0.9185
Rye Park Solar Farm | 330 | RYEPARK1 | NRPK1R | NRPK | 0.9544
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.9086 | 0.947
Sebastopol Solar Farm | 132 | SEBSF1 | NWGJ2S | NWGJ | 0.9108 | 0.9059
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.8101 | 0.7973
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1.0015 | 1.0018
South Keswick Solar Farm | 132 | SKSF1 | NWLS2S | NWLS | 0.9439 | 0.9352
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0013 | 1.0037
Sunraysia Solar farm | 220 | SUNRSF1 | NBSF2S | NBSF | 0.8255 | 0.8314
Suntop Solar Farm | 132 | SUNTPSF1 | NWLW1S | NWLW | 0.9224 | 0.9128
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 0.9999 | 1.0011
Tallawarra B | 132 | TALWB1 | NDTB1T | NDTB | 0.9845
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9856 | 0.9901
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 1.0095 | 1.0118
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 0.9687 | 0.9708
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 0.9999 | 1.0011
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9318 | 0.9347
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.8383 | 0.8673
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.8383 | 0.8673
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.8383 | 0.8673
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.8383 | 0.8673
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9869 | 0.9892
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9869 | 0.9892
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9869 | 0.9892
Wagga North Solar Farm | 66 | WAGGNSF1 | NWGG1W | NWGG | 0.907 | 0.9064
Wallgrove BESS (Generation) | 132 | WALGRVG1 | NSWB1W | NSWG | 1.001 | 1.001
Wallgrove BESS (Load) | 132 | WALGRVL1 | NSWB2W | NSWB | 1.0009 | 1.0009
Wellington Solar Farm | 132 | WELLSF1 | NWLS4W | NWLS | 0.9439 | 0.9352
West Wyalong Solar Farm | 132 | WSTWYSF1 | NWGJ3W | NWGJ | 0.9108 | 0.9059
Wests Illawarra Leagues Club (effective prior to 17/10/2023) | 132 | WESTILL1 | NDT14E | NDT1 | 0.9895 | 0.9934
Wests Illawarra Leagues Club (effective from 17/10/2023) | 132 | WESTILL1 | NDT14E | NDT1 | 0.9888 | 0.9934
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.8289 | 0.8697
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8289 | 0.8697
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 0.9799 | 0.9926
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 0.9799 | 0.9926
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 1.0095 | 1.0118
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9575 | 0.9558
Wyalong Solar Farm | 132 | WYASF1 | NWGJ4W | NWGJ | 0.9108 | 0.9059
Wyangala A PS - Dual MLF (Generation) | 66 | WYANGALA | NCW81A | NCW8 | 0.9378 | 0.9746
Wyangala A PS - Dual MLF (Load) | 66 | WYANGALA | NCW81A | NCW8 | 0.9713 | 0.9746
Wyangala B PS - Dual MLF (Generation) | 66 | WYANGALB | NCW82B | NCW8 | 0.9378 | 0.9746
Wyangala B PS - Dual MLF (Load) | 66 | WYANGALB | NCW82B | NCW8 | 0.9713 | 0.9746

## ACT Load
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
ACT VTN | 132 | AAVT | 0.9663 | 0.9687
Angle Crossing | 132 | AAXG | 0.9645 | 0.9549
Belconnen | 132 | ABCN | 0.9655 | 0.9675
City East | 132 | ACTE | 0.9684 | 0.9695
Civic | 132 | ACVC | 0.9667 | 0.9672
East lake | 132 | AELK | 0.9687 | 0.9681
Gilmore | 132 | AGLM | 0.9665 | 0.9678
Gold Creek | 132 | AGCK | 0.9643 | 0.9693
Latham | 132 | ALTM | 0.964 | 0.9688
Queanbeyan (ACTEW) | 66 | AQB1 | 0.9867 | 0.9866
Queanbeyan (Essential Energy) | 66 | AQB2 | 0.9867 | 0.9866
Telopea Park | 132 | ATLP | 0.9683 | 0.9687
Theodore | 132 | ATDR | 0.9639 | 0.9691
Wanniassa | 132 | AWSA | 0.966 | 0.9693
Woden | 132 | AWDN | 0.9658 | 0.9685

## ACT Gen
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Generators
Generator | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 0.9867 | 0.9866
Mugga Lane Landfill | 132 | MLLFGEF1 | AGLM1M | AAVT | 0.9663 | 0.9687
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 0.9674 | 0.9606
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 0.9668 | 0.9596

## VIC Load
Victoria (regional reference node is Thomastown 66 kV)
Victoria Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
Altona | 220 | VAT2 | 0.9979 | 0.9949
Altona | 66 | VATS | 1.0046 | 1.0108
BHP Western Port | 220 | VJLA | 0.9945 | 0.9926
Ballarat | 66 | VBAT | 0.9759 | 0.9699
Bendigo | 22 | VBE2 | 1.0169 | 1.0072
Bendigo | 66 | VBE6 | 1.0165 | 1.0084
Brooklyn (Jemena) | 22 | VBL2 | 1.002 | 1.0014
Brooklyn (Jemena) | 66 | VBL6 | 1.0032 | 1.0066
Brooklyn (Powercor) | 22 | VBL3 | 1.002 | 1.0014
Brooklyn (Powercor) | 66 | VBL7 | 1.0032 | 1.0066
Brunswick (CitiPower) | 22 | VBT2 | 1.0007 | 0.998
Brunswick (Jemena) | 22 | VBTS | 1.0007 | 0.998
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9997 | 0.9971
Cranbourne | 220 | VCB2 | 0.9931 | 0.9916
Cranbourne (AusNet Services) | 66 | VCBT | 0.9956 | 0.9935
Cranbourne (United Energy) | 66 | VCB5 | 0.9956 | 0.9935
Deer Park | 66 | VDPT | 1.0024 | 0.9994
East Rowville (AusNet Services) | 66 | VER2 | 0.9957 | 0.9962
East Rowville (United Energy) | 66 | VERT | 0.9957 | 0.9962
Fishermens Bend (CitiPower) | 66 | VFBT | 1.0016 | 0.9997
Fishermens Bend (Powercor) | 66 | VFB2 | 1.0016 | 0.9997
Fosterville | 220 | VFVT | 1.0108 | 1.0034
Geelong | 66 | VGT6 | 0.9939 | 0.9933
Glenrowan | 66 | VGNT | 1.0233 | 1.0182
Heatherton | 66 | VHTS | 1.001 | 0.9981
Heywood | 22 | VHY2 | 0.9947 | 0.9923
Horsham | 66 | VHOT | 0.9139 | 0.9092
Keilor (Jemena) | 66 | VKT2 | 1.0005 | 0.9991
Keilor (Powercor) | 66 | VKTS | 1.0005 | 0.9991
Kerang | 22 | VKG2 | 1.0203 | 1.0092
Kerang | 66 | VKG6 | 1.0282 | 1.0136
Khancoban | 330 | NKHN | 1.0386 | 1.0239
Loy Yang Substation | 66 | VLY6 | 0.9828 | 0.9791
Malvern | 22 | VMT2 | 0.9986 | 0.996
Malvern | 66 | VMT6 | 0.9975 | 0.995
Malvern (CitiPower) | 66 | VMT7 | 0.9975 | 0.995
Morwell PS (G4&5) | 11 | VMWP | 0.9805 | 0.9801
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9829 | 0.9756
Morwell TS | 66 | VMWT | 0.9825 | 0.9977
Mt Beauty | 66 | VMBT | 1.0335 | 1.019
Portland | 500 | VAPD | 0.9983 | 0.9945
Red Cliffs | 22 | VRC2 | 0.9845 | 0.9732
Red Cliffs | 66 | VRC6 | 0.9907 | 0.9744
Red Cliffs (Essential Energy) | 66 | VRCA | 0.9907 | 0.9744
Richmond | 22 | VRT2 | 0.9992 | 0.997
Richmond (CitiPower) | 66 | VRT7 | 1 | 0.9973
Richmond (United Energy) | 66 | VRT6 | 1 | 0.9973
Ringwood (AusNet Services) | 22 | VRW3 | 1.0005 | 0.9978
Ringwood (AusNet Services) | 66 | VRW7 | 1.0001 | 1.0002
Ringwood (United Energy) | 22 | VRW2 | 1.0005 | 0.9978
Ringwood (United Energy) | 66 | VRW6 | 1.0001 | 1.0002
Shepparton | 66 | VSHT | 1.041 | 1.0313
South Morang (AusNet Services) | 66 | VSMT | 0.9975 | 0.9951
South Morang (Jemena) | 66 | VSM6 | 0.9975 | 0.9951
Springvale (CitiPower) | 66 | VSVT | 1.0001 | 0.9972
Springvale (United Energy) | 66 | VSV2 | 1.0001 | 0.9972
Templestowe (AusNet Services) | 66 | VTS3 | 1.0007 | 0.9996
Templestowe (CitiPower) | 66 | VTS2 | 1.0007 | 0.9996
Templestowe (Jemena) | 66 | VTST | 1.0007 | 0.9996
Templestowe (United Energy) | 66 | VTS4 | 1.0007 | 0.9996
Terang | 66 | VTGT | 0.9933 | 0.9972
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Tyabb | 66 | VTBT | 0.996 | 0.9938
Wemen 66 (Essential Energy) | 66 | VWEA | 0.9782 | 0.9622
Wemen TS | 66 | VWET | 0.9782 | 0.9622
West Melbourne | 22 | VWM2 | 1 | 0.9995
West Melbourne (CitiPower) | 66 | VWM7 | 1.0004 | 0.9985
West Melbourne (Jemena) | 66 | VWM6 | 1.0004 | 0.9985
Wodonga | 22 | VWO2 | 1.0333 | 1.026
Wodonga | 66 | VWO6 | 1.0246 | 1.0198
Yallourn | 11 | VYP1 | 0.966 | 0.9638

## VIC Gen
Victoria (regional reference node is Thomastown 66 kV)
Victoria Generators
Generator | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.8899 | 0.8894
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9804 | 0.9913
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9804 | 0.9913
Bald Hills Wind Farm | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9825 | 0.9977
Ballarat BESS (Generation) | 22 | BALBG1 | VBA21B | VBA2 | 0.9756 | 0.9663
Ballarat BESS (Load) | 22 | BALBL1 | VBA22B | VBA2 | 0.9691 | 0.9629
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 0.9759 | 0.9699
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9622 | 0.9542
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VWES | 0.8947 | 0.8928
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9755 | 0.9749
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.9826 | 0.9821
Berrybank Wind Farm | 220 | BRYB1WF1 | VBBT1B | VBBT | 0.9397 | 0.9496
Berrybank Wind Farm 2 | 220 | BRYB2WF2 | VBBT2B | VBBT | 0.9397 | 0.9496
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0032 | 1.0066
Bulgana BESS (Generation) | 220 | BULBESG1 | VBGT2B | VBGT | 0.8821 | 0.8839
Bulgana BESS (Load) | 220 | BULBESL1 | VBGT3B | VBGT | 0.8821 | 0.8839
Bulgana Green Power Hub | 220 | BULGANA1 | VBGT1B | VBGT | 0.8821 | 0.8839
Challicum Hills Wind Farm | 66 | CHALLHWF | VHOT1 | VBAT | 0.9759 | 0.9699
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 0.9759 | 0.9699
Cherry Tree Wind Farm | 66 | CHYTWF1 | VSM71C | VSM7 | 0.9974 | 0.9955
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 1.0001 | 0.9972
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 1.0335 | 1.019
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 0.9933 | 0.9972
Cohuna Solar Farm | 66 | COHUNSF1 | VKGS2C | VKGS | 0.9413 | 0.9336
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0165 | 1.0084
Corio LFG PS (Inactive from 09/05/2023) | 66 | CORIO1 | VGT61C | VGT6 | 0.9939 | 0.9933
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.8904 | 0.8877
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9622 | 0.9542
Diapur Wind Farm | 66 | DIAPURWF1 | VHOG2D | VHOG | 0.8827 | 0.8788
Dundonnell Wind Farm 1 | 500 | DUNDWF1 | VM051D | VM05 | 0.987 | 0.9824
Dundonnell Wind Farm 2 | 500 | DUNDWF2 | VM052D | VM05 | 0.987 | 0.9824
Dundonnell Wind Farm 3 | 500 | DUNDWF3 | VM053D | VM05 | 0.987 | 0.9824
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9975 | 0.9951
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.992 | 0.9887
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.992 | 0.9887
Elaine Wind Farm | 220 | ELAINWF1 | VELT3E | VELT | 0.9576 | 0.948
Ferguson North Wind Farm | 66 | FNWF1 | VTGT6F | VTGT | 0.9933 | 0.9972
Ferguson South Wind Farm | 66 | FSWF1 | VTGT7F | VTGT | 0.9933 | 0.9972
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 1.029 | 1.0026
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 0.9849 | 0.9846
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.9413 | 0.9336
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9825 | 0.9977
Glenrowan West Sun Farm | 66 | GLRWNSF1 | VGNS1G | VGNS | 0.9675 | 0.9671
Glenrowan Solar Farm | 220 | GLENSF1 | VGN21G | VGN2 | 0.9627
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VCBT | 0.9956 | 0.9935
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9957 | 0.9962
Hazelwood BESS (Generation) | 220 | HBESSG1 | VHW21H | VHW2 | 0.9789 | 0.9785
Hazelwood BESS (Load) | 220 | HBESSL1 | VHW22H | VHW2 | 0.9828 | 0.9825
Hepburn Community Wind Farm | 66 | HEPWIND1 | VBAT2L | VBAT | 0.9759 | 0.9699
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9389 | 0.9535
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9764 | 0.9727
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9764 | 0.9727
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9764 | 0.9727
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9764 | 0.9727
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9764 | 0.9727
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9764 | 0.9727
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9764 | 0.9727
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.0783 | 1.0914
Karadoc Solar Farm | 66 | KARSF1 | VRCS1K | VRCS | 0.8877 | 0.8886
Kiamal Solar Farm | 220 | KIAMSF1 | VKMT1K | VKMT | 0.8775 | 0.8775
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.8827 | 0.8788
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.9979 | 0.9949
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.9979 | 0.9949
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9825 | 0.9977
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9782 | 0.9783
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9782 | 0.9783
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9782 | 0.9783
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9782 | 0.9783
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9782 | 0.9783
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9782 | 0.9783
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9782 | 0.9783
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9849 | 0.9807
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 0.9759 | 0.9699
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9819 | 0.9665
Moorabool Wind Farm | 220 | MOORAWF1 | VELT2M | VELT | 0.9576 | 0.948
Mortlake South Wind Farm | 220 | MRTLSWF1 | VTG21M | VTG2 | 0.9528 | 0.9573
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9927 | 0.9901
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9927 | 0.9901
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 0.9933 | 0.9972
Mt Gellibrand Windfarm | 66 | MTGELWF1 | VGTW1M | VGTW | 0.9896 | 0.9879
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.9576 | 0.948
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8768 | 0.8661
Murra Warra Wind Farm Stage 2 | 220 | MUWAWF2 | VMRT2M | VMRT | 0.8768 | 0.8661
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.985 | 0.9719
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.985 | 0.9719
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.985 | 0.9719
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.985 | 0.9719
Newport PS | 220 | NPS | VNPS | VNPS | 0.9937 | 0.9919
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9738 | 0.9715
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 0.9933 | 0.9972
Phillip Island BESS (Generation) | 66 | PIBESSG1 | VMWT10 | VMWT | 0.9825 | 0.9977
Phillip Island BESS (Load) | 66 | PIBESSL1 | VMWT11 | VMWT | 0.9825 | 0.9977
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9975 | 0.9951
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9476 | 0.9584
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.041 | 1.0313
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.996 | 0.9924
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 1.0001 | 0.9972
Stockyard Hill Wind Farm | 500 | STOCKYD1 | VHGT1S | VHGT | 0.9869 | 0.9799
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.041 | 1.0313
Timboon West Wind Farm | 66 | TIMWEST | VTGT5T | VTGT | 0.9933 | 0.9972
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9825 | 0.9977
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9825 | 0.9977
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9782 | 0.9783
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9782 | 0.9783
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9782 | 0.9783
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9782 | 0.9783
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9782 | 0.9783
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9782 | 0.9783
Victorian Big Battery (Generation) | 220 | VBBG1 | VMLB1V | VMLB | 0.9885 | 0.9848
Victorian Big Battery (Load) | 220 | VBBL1 | VMLB2V | VMLB | 0.9895 | 0.987
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.924 | 0.9233
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8947 | 0.8928
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 1.011 | 1.0049
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 1.011 | 1.0049
William Hovell Hydro PS | 66 | WILLHOV1 | VW061W | VGNT | 1.0233 | 1.0182
Winton Solar Farm | 66 | WINTSF1 | VGNS2W | VGNS | 0.9675 | 0.9671
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9975 | 0.9951
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9825 | 0.9977
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9624 | 0.9602
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.9696 | 0.969
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9624 | 0.9602
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9624 | 0.9602
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9624 | 0.9602
Yaloak South Wind Farm | 66 | YSWF1 | VBAT4Y | VBAT | 0.9759 | 0.9699
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 0.9933 | 0.9972
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.041 | 1.0313
Yatpool Solar Farm | 66 | YATSF1 | VRCS2Y | VRCS | 0.8877 | 0.8886
Yawong Wind Farm | 66 | YAWWF1 | VBE62Y | VBE6 | 1.0165 | 1.0084
Yendon Wind Farm | 66 | YENDWF1 | VBAW1Y | VBAW | 0.9522 | 0.9497

## SA Load
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
Angas Creek | 33 | SANC | 1.0095 | 1.0096
Ardrossan West | 33 | SARW | 0.9332 | 0.9472
Back Callington | 11 | SBAC | 1.0069 | 1.0063
Baroota - Dual MLF (Generation) | 33 | SBAR | 0.9733 | 0.968
Baroota - Dual MLF (Load) | 33 | SBAR | 0.9868 | 0.9893
Berri | 66 | SBER | 0.9709 | 0.9875
Berri (POWERCOR) | 66 | SBE1 | 0.9709 | 0.9875
Blanche | 33 | SBLA | 1.0201 | 1.0038
Blanche (POWERCOR) | 33 | SBL1 | 1.0201 | 1.0038
Brinkworth | 33 | SBRK | 0.9868 | 0.9876
Bungama Industrial | 33 | SBUN | 0.9797 | 0.9817
Bungama Rural | 33 | SBUR | 0.9888 | 0.9905
City West | 66 | SACR | 1.0069 | 1.0068
Clare North | 33 | SCLN | 0.9813 | 0.9846
Dalrymple | 33 | SDAL | 0.9012 | 0.9127
Davenport | 275 | SDAV | 0.9779 | 0.9788
Davenport | 33 | SDAW | 0.9799 | 0.9812
Dorrien | 33 | SDRN | 1.0049 | 1.0036
East Terrace | 66 | SETC | 1.0013 | 1.0009
Happy Valley | 66 | SHVA | 1.0041 | 1.003
Hummocks | 33 | SHUM | 0.9537 | 0.9587
Kadina East | 33 | SKAD | 0.9672 | 0.9864
Kanmantoo | 11 | SKAN | 1.0113 | 1.0108
Keith | 33 | SKET | 1.0175 | 1.0119
Kilburn | 66 | SKLB | 1.0022 | 1.001
Kincraig | 33 | SKNC | 1.018 | 1.0053
Lefevre | 66 | SLFE | 1.0002 | 1.0003
Leigh Creek South (effective prior to 12/07/2023) | 33 | SLCS | 1.0026 | 1.0033
Leigh Creek South (effective from 12/07/2023) | 11 | SLCS | 1.0026 | 1.0033
Magill | 66 | SMAG | 1.0023 | 1.0026
Mannum | 33 | SMAN | 1.0169 | 1.0185
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0153 | 1.0141
Mannum – Adelaide Pipeline 2 - Dual MLF (Generation) | 3.3 | SMA2 | 0.9943 | 0.9944
Mannum – Adelaide Pipeline 2 - Dual MLF (Load) | 3.3 | SMA2 | 1.0151 | 1.0143
Mannum – Adelaide Pipeline 3 - Dual MLF (Generation) | 3.3 | SMA3 | 0.9946 | 0.9934
Mannum – Adelaide Pipeline 3 - Dual MLF (Load) | 3.3 | SMA3 | 1.0149 | 1.0141
Middleback | 132 | SMBK | 0.9924 | 0.9955
Middleback | 33 | SMDL | 0.9893 | 0.9923
Millbrook | 132 | SMLB | 1.0017 | 1.0019
Mobilong | 33 | SMBL | 1.0108 | 1.0091
Morgan Whyalla Pump Station 1 PV | 3.3 | SMW1 | 0.9847 | 1.0018
Morgan Whyalla Pump Station 2 PV | 3.3 | SMW2 | 0.988 | 0.9999
Morgan Whyalla Pump Station 3 PV - Dual MLF (Generation) | 3.3 | SMW3 | 0.9847 | 0.9717
Morgan Whyalla Pump Station 3 PV - Dual MLF (Load) | 3.3 | SMW3 | 0.9847 | 0.9864
Morgan Whyalla Pump Station 4 PV | 3.3 | SMW4 | 0.9796 | 0.9889
Morphett Vale East | 66 | SMVE | 1.0039 | 1.0036
Mount Barker South | 66 | SMBS | 1.0052 | 1.0038
Mt Barker | 66 | SMBA | 1.0039 | 1.0024
Mt Gambier | 33 | SMGA | 1.024 | 1.006
Mt Gunson | 33 | SMGU | 0.9882 | 0.9883
Mt Gunson South | 132 | SMGS | 0.9781 | 0.9895
Munno Para | 66 | SMUP | 0.9991 | 0.998
Murray Bridge – Hahndorf Pipeline 1 | 11 | SMH1 | 1.0132 | 1.0115
Murray Bridge – Hahndorf Pipeline 2 - Dual MLF (Generation) | 11 | SMH2 | 1.0006 | 1.019
Murray Bridge – Hahndorf Pipeline 2 - Dual MLF (Load) | 11 | SMH2 | 1.0151 | 1.019
Murray Bridge – Hahndorf Pipeline 3 | 11 | SMH3 | 1.0116 | 1.0104
Neuroodla | 33 | SNEU | 0.9939 | 0.9952
New Osborne | 66 | SNBN | 0.9999 | 1.0008
North West Bend | 66 | SNWB | 0.9805 | 0.9892
Northfield | 66 | SNFD | 1.0024 | 1.0023
Para | 66 | SPAR | 0.9998 | 1
Parafield Gardens West | 66 | SPGW | 0.9995 | 1.0002
Penola West 33 | 33 | SPEN | 1.0162 | 1.0009
Pimba | 132 | SPMB | 1.07 | 0.9952
Playford | 132 | SPAA | 0.9766 | 0.9773
Port Lincoln | 33 | SPLN | 0.9779 | 0.9786
Port Pirie | 33 | SPPR | 0.9835 | 0.9867
Roseworthy | 11 | SRSW | 1.0062 | 1.0067
Snuggery Industrial | 33 | SSNN | 1.0526 | 1.0029
Snuggery Rural | 33 | SSNR | 0.9901 | 0.9797
South Australian VTN |  | SJP1 | 0.9964 | 0.9962
Stony Point | 11 | SSPN | 0.9823 | 0.9843
Tailem Bend | 33 | STAL | 1.0087 | 1.011
Templers | 33 | STEM | 1.0164 | 1.0011
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9775 | 0.9786
Whyalla Central Substation | 33 | SWYC | 0.9836 | 0.9845
Whyalla Terminal BHP | 33 | SBHP | 0.9836 | 0.9847
Woomera | 132 | SWMA | 0.9902 | 0.9902
Wudina | 66 | SWUD | 0.9934 | 0.9945
Yadnarie | 66 | SYAD | 0.9786 | 0.9792

## SA Gen
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Generators
Generator | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Adelaide Desalination Plant Battery (Generation) | 66 | ADPBA1G | SMVE4D | SMVE | 1.0039 | 1.0036
Adelaide Desalination Plant Battery (Load) | 66 | ADPBA1L | SMVE5D | SMVE | 1.0039 | 1.0036
Adelaide Desalination Plant Hydro | 66 | ADPMH1 | SMVE9D | SMVE | 1.0039 | 1.0036
Adelaide Desalination Plant PV1 | 66 | ADPPV1 | SMVE6D | SMVE | 1.0039 | 1.0036
Adelaide Desalination Plant PV2 | 66 | ADPPV2 | SMVE7D | SMVE | 1.0039 | 1.0036
Adelaide Desalination Plant PV3 | 66 | ADPPV3 | SMVE8D | SMVE | 1.0039 | 1.0036
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0048 | 1.0027
Barker Inlet PS | 275 | BARKIPS1 | SBPS1B | SBPS | 1 | 0.9996
Bolivar Power Station | 66 | BOLIVPS1 | SPGG1B | SPGG | 0.9949 | 0.9946
Bolivar WWT Plant | 66 | BOLIVAR1 | SPGW1B | SPGW | 0.9995 | 1.0002
Bolivar Wastewater Treatment Plant PV | 66 | BOWWPV1 | SPGW2B | SPGW | 0.9995 | 1.0002
Bolivar Wastewater Treatment Plant Reserve BESS (Generation) | 66 | BOWWBA1G | SPGW3B | SPGW | 0.9995 | 1.0002
Bolivar Wastewater Treatment Plant Reserve BESS (Load) | 66 | BOWWBA1L | SPGW4B | SPGW | 0.9995 | 1.0002
Bolivar Wastewater Treatment Plant Reserve Diesel | 66 | BOWWDG1 | SPGW5B | SPGW | 0.9995 | 1.0002
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9601 | 0.9567
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9601 | 0.9567
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9671 | 0.9742
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.9319 | 0.9281
Christies Beach BESS (Generation) | 66 | CBWWBA1G | SMVE7C | SMVE | 1.0039 | 1.0036
Christies Beach BESS (Load) | 66 | CBWWBA1L | SMVE8C | SMVE | 1.0039 | 1.0036
Christies Beach Biogas | 66 | CBWWBG1 | SMVE11 | SMVE | 1.0039 | 1.0036
Christies Beach Diesel 1 | 66 | CBWWDG1 | SMVE12 | SMVE | 1.0039 | 1.0036
Christies Beach Diesel 2 | 66 | CBWWDG2 | SMVE13 | SMVE | 1.0039 | 1.0036
Christies Beach Solar Farm 1 | 66 | CBWWPV1 | SMVE9C | SMVE | 1.0039 | 1.0036
Christies Beach Solar Farm 2 | 66 | CBWWPV2 | SMVE10 | SMVE | 1.0039 | 1.0036
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9522 | 0.953
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0039 | 1.0036
Dalrymple North BESS (Generation) | 33 | DALNTH01 | SDAN1D | SDAM | 0.8954 | 0.9432
Dalrymple North BESS (Load) | 33 | DALNTHL1 | SDAN2D | SDAN | 0.879 | 0.9113
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 0.9992 | 0.9991
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 0.9992 | 0.9991
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9992 | 0.9991
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 0.9992 | 0.9991
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9599 | 0.9599
Hallett 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.957 | 0.9572
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9599 | 0.9599
Happy Valley BESS (Generation) | 66 | HVWWBA1G | SHVA1H | SHVA | 1.0041 | 1.003
Happy Valley BESS (Load) | 66 | HVWWBA1L | SHVA2H | SHVA | 1.0041 | 1.003
Happy Valley Solar Farm | 66 | HVWWPC1 | SHVA3H | SHVA | 1.0041 | 1.003
Hornsdale Battery (Generation) | 275 | HPRG1 | SMTL1H | SMTL | 0.9653 | 0.9652
Hornsdale Battery (Load) | 275 | HPRL1 | SMTL2H | SMTL | 0.9682 | 0.9681
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9467 | 0.9479
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9467 | 0.9479
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9467 | 0.9479
Goyder South Wind Farm 1B | 275 | GSWF1B1 | SRAB1G | SRAB | 0.9728
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9736 | 0.9553
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9736 | 0.9553
Lake Bonney BESS (Generation) | 33 | LBBG1 | SLBB1L | SLBB | 0.979 | 0.9851
Lake Bonney BESS (Load) | 33 | LBBL1 | SLBB2L | SLBB | 1.029 | 1.023
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9656 | 0.9585
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9656 | 0.9585
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9656 | 0.9585
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.9601 | 0.9628
Lincoln Gap Wind Farm Stage 2 | 275 | LGAPWF2 | SLGW4L | SLGW | 0.9601 | 0.9628
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – Dual MLF (Generation) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 0.9943 | 0.9944
Mannum-Adelaide Pipeline Pumping Station No 2 Solar Farm – Dual MLF (Load) | 3.3 | MAPS2PV1 | SMA21M | SMA2 | 1.0151 | 1.0143
Mannum-Adelaide Pipeline Pumping Station No 3 Solar Farm – Dual MLF (Generation) | 3.3 | MAPS3PV1 | SMA31M | SMA3 | 0.9946 | 0.9934
Mannum-Adelaide Pipeline Pumping Station No 3 Solar Farm – Dual MLF (Load) | 3.3 | MAPS3PV1 | SMA31M | SMA3 | 1.0149 | 1.0141
Mannum Solar Farm 2 | 33 | MANNSF2 | SMAE1M | SMAE | 0.9893
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9746 | 0.9793
Morgan Whyalla Pump Station 1 PV | 3.3 | MWPS1PV1 | SMW11M | SMW1 | 0.9847 | 1.0018
Morgan Whyalla Pump Station 2 PV | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 0.988 | 0.9999
Morgan Whyalla Pump Station 3 PV – Dual MLF (Generation) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9847 | 0.9717
Morgan Whyalla Pump Station 3 PV – Dual MLF (Load) | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 0.9847 | 0.9864
Morgan Whyalla Pump Station 4 PV | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9796 | 0.9889
Morphett Vale East 66 | 66 | SATGS1 | SMVG1L | SMVG | 1.002 | 1.0015
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9259 | 0.9245
Murray Bridge - Hahndorf Pipeline SF 2 - Dual MLF (Generation) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.0006 | 1.019
Murray Bridge - Hahndorf Pipeline SF 2 - Dual MLF (Load) | 11 | MBPS2PV1 | SMH21M | SMH2 | 1.0151 | 1.019
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9508 | 0.9539
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9992 | 0.9999
Para 66 Generation | 66 | SATGN1 | SPAG1E | SPAG | 0.9991 | 0.9996
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9984 | 0.9983
Port Augusta Renewable Energy Park - Solar | 275 | PAREPS1 | SDAP2P | SDAP | 0.9654 | 0.9641
Port Augusta Renewable Energy Park - Wind | 275 | PAREPW1 | SDAP1P | SDAP | 0.9654 | 0.9641
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9799 | 0.9945
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9822 | 0.9899
Pt Stanvac PS | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0039 | 1.0036
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9946 | 0.9871
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9946 | 0.9871
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9946 | 0.9871
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9946 | 0.9871
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9946 | 0.9871
Roberstown 275 kV Wind | 275 | GSWF1A | SROB1G | SROB | 0.9702 | 0.9734
Snapper Point PS | 275 | SNAPPER1 | SNPT1S | SNPT | 0.9993 | 0.999
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.8968 | 0.9162
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9638 | 0.9666
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9638 | 0.9666
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9877 | 0.9388
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0039 | 1.0036
Tailem Bend BESS 2 (Generation) | 132 | TB2BG1 | STBB2T | STBB | 1.0079 | 0.9966
Tailem Bend BESS 2 (Load) | 132 | TB2BL1 | STBB3T | STBB | 1.0079 | 0.9966
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.003 | 1.0029
Tailem Bend Solar Farm 2 | 132 | TB2SF1 | STBB1T | STBB | 1.0079 | 0.9966
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 1.0175 | 1.0119
The Bluff Wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9508 | 0.9539
Torrens Island BESS (Generation) | 275 | TIBG1 | STPB1T | STPB | 0.9996 | 1.0001
Torrens Island BESS (Load) | 275 | TIBL1 | STPB2T | STPB | 0.9997 | 0.999
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9997 | 0.9994
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9997 | 0.9994
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9997 | 0.9994
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9997 | 0.9994
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9599 | 0.9582
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8073 | 0.8174
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9534 | 0.9549
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.0022 | 1.001
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 0.9999 | 1.0008

## TAS Load
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI code | 2023-24 MLF | 2022-23 MLF
Arthurs Lake | 6.6 | TAL2 | 0.9726 | 0.9774
Avoca | 22 | TAV2 | 1.0032 | 1.0104
Boyer SWA | 6.6 | TBYA | 1.0026 | 1.0144
Boyer SWB | 6.6 | TBYB | 1.0116 | 1.0248
Bridgewater | 11 | TBW2 | 1.0266 | 1.0206
Burnie | 22 | TBU3 | 0.9846 | 0.9872
Chapel St. | 11 | TCS3 | 1.0128 | 1.0051
Comalco | 220 | TCO1 | 1.0007 | 1.0006
Creek Road | 33 | TCR2 | 1.0124 | 1.0069
Derby | 22 | TDE2 | 0.9581 | 0.9614
Derwent Bridge | 22 | TDB2 | 0.8965 | 0.9177
Devonport | 22 | TDP2 | 0.9817 | 0.988
Electrona | 11 | TEL2 | 1.0289 | 1.0218
Emu Bay | 11 | TEB2 | 0.9836 | 0.985
Emu Bay 22 | 22 | TEB3 | 0.9836 | 0.985
Fisher (Rowallan) | 220 | TFI1 | 0.9557 | 0.9655
Fisher 220 DNSP | 220 | TFI2 | 0.9557 | 0.9655
George Town | 22 | TGT3 | 1.0025 | 1.0013
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 0.993 | 0.9879
Greater Hobart Area VTN |  | TVN1 | 1.0142 | 1.0092
Hadspen | 22 | THA3 | 0.9878 | 0.9931
Hampshire | 110 | THM2 | 0.9818 | 0.9834
Huon River | 11 | THR2 | 1.0286 | 1.0299
Kermandie | 11 | TKE2 | 1.0326 | 1.0288
Kingston | 11 | TKI2 | 1.0249 | 1.0165
Kingston | 33 | TK13 | 1.0195 | 1.0119
Knights Road | 11 | TKR2 | 1.0301 | 1.0267
Lindisfarne | 33 | TLF2 | 1.0145 | 1.0101
Meadowbank | 22 | TMB2 | 0.9771 | 0.9972
Mornington | 33 | TMT2 | 1.016 | 1.0104
Mowbray | 22 | TMY2 | 0.9867 | 0.9924
New Norfolk | 22 | TNN2 | 0.9988 | 1.0054
Newton | 11 | TNT3 | 0.9373 | 0.9582
Newton | 22 | TNT2 | 0.9635 | 0.9709
North Hobart | 11 | TNH2 | 1.0123 | 1.0066
Norwood | 22 | TNW2 | 0.9863 | 0.9921
Palmerston | 22 | TPM3 | 0.9633 | 0.9759
Port Latta | 22 | TPL2 | 0.9745 | 0.9644
Que | 22 | TQU2 | 0.9685 | 0.9805
Queenstown | 11 | TQT3 | 0.9424 | 0.9623
Queenstown | 22 | TQT2 | 0.9508 | 0.9617
Railton | 22 | TRA2 | 0.9814 | 0.9876
Risdon | 11 | TRI3 | 1.015 | 1.0184
Risdon | 33 | TRI4 | 1.0151 | 1.0133
Rokeby | 11 | TRK2 | 1.0204 | 1.0138
Rosebery | 44 | TRB2 | 0.9599 | 0.9694
Savage River | 22 | TSR2 | 0.9965 | 1.0054
Scottsdale | 22 | TSD2 | 0.967 | 0.9734
Sheffield | 22 | TSH3 | 0.9796 | 0.9813
Smithton | 22 | TST2 | 0.9645 | 0.9507
Sorell | 22 | TSO2 | 1.0361 | 1.03
St Leonard | 22 | TSL2 | 0.9867 | 0.9935
St Leonards 22kV - Scheduled Load | 22 | TSL3 | 0.9857 | 0.9945
St. Marys | 22 | TSM2 | 1.0251 | 1.0271
Starwood | 110 | TSW1 | 1.0011 | 1.0001
Tamar Region VTN |  | TVN2 | 0.9887 | 0.9937
Temco | 110 | TTE1 | 1.0041 | 1.003
Trevallyn | 22 | TTR2 | 0.9878 | 0.9932
Triabunna | 22 | TTB2 | 1.0439 | 1.0395
Tungatinah | 22 | TTU2 | 0.8976 | 0.9176
Ulverstone | 22 | TUL2 | 0.981 | 0.9864
Waddamana | 22 | TWA2 | 0.9295 | 0.9298
Wayatinah | 11 | TWY2 | 0.9819 | 0.991
Wesley Vale | 22 | TWV2 | 0.9781 | 0.9847

## TAS Gen
Tasmania (regional reference node is George Town 220 kV)
Tasmania Generators
Generator description | Voltage (kV) | DUID | Connection Point ID | TNI code | 2023-24 MLF | 2022-23 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9202 | 0.9334
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9968 | 0.9975
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9968 | 0.9975
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9968 | 0.9975
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.9112 | 0.8951
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.8911 | 0.914
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9809 | 0.9845
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9504 | 0.9544
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.9857 | 0.985
Devils Gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9537 | 0.9594
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9557 | 0.9655
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9731 | 0.94
Granville Harbour Wind Farm | 220 | GRANWF1 | TGH11G | TGH1 | 0.9388 | 0.9543
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9208 | 0.9395
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.8888 | 0.9142
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9567 | 0.9672
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9809 | 0.9845
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9059 | 0.9186
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9688 | 0.9824
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9119 | 0.9168
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9572 | 0.9642
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9555 | 0.9625
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9733 | 0.9771
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9052 | 0.9229
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9068 | 0.9195
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.9857 | 0.985
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9557 | 0.9655
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9968 | 0.9975
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.8977 | 0.9216
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9825 | 0.9891
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9089 | 0.9263
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.8782 | 0.8795
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9809 | 0.9845
Wild Cattle Hill Wind Farm | 220 | CTHLWF1 | TWC11C | TWC1 | 0.9836 | 0.9888
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9567 | 0.9672