## Navigation
VGPR 2023 Report Charts - Navigation
Figure Descriptions
Figure | Report Section | Description
Figure 1 & 19 | Executive summary | Historical and forecast annual supply and consumption, and compared to the 2022 VGPR Update, 2023‑27 (PJ/y)
Figure 2 & 21 | Executive summary | Actual monthly production and consumption in 2022, compared to available production in 2023 from the 2022 VGPR Update and 2023 VGPR (PJ/m)
Figure 3 & 22 | Executive summary | Actual and forecast flows out of Victoria 2019-27 (PJ/m)
Figure 4 & 23 | Executive summary | Forecast peak day supply and DTS adequacy, 2023-27 (TJ/d)
Figure 5 | Introduction | Actual 2022 monthly maximum system demands compared to the forecast 1-in-2 and 1-in-20 peak demands
Figure 6 | Introduction | Victorian gas generation during winter 2021 and 2022
Figure 7 | Introduction | Iona storage levels from 2017 to 2022
Figure 8 | Introduction | The Victorian Declared Transmission System
Figure 9 | Gas usage forecast | Historical and forecast total annual gas consumption, 2018-27 (PJ/y)
Figure 10 | Gas usage forecast | Historical and forecast DTS Tariff V consumption, 2019-27 (PJ/y)
Figure 11 | Gas usage forecast | Historical and forecast DTS Tariff V connections, 2014-27
Figure 12 | Gas usage forecast | Forecast average daily 2023 demand compared to 2023 peak day system demand (TJ/d)
Figure 13 | Gas usage forecast | Historical and forecast peak day maximum system demand, 2014-27 (TJ/d)
Figure 14 | Gas usage forecast | Average percentage of weekday winter system demand profile in 2019, 2020, 2021 and 2022
Figure 15 | Gas usage forecast | Historical and forecast Victorian electricity generation, 2018-27, GWh/y
Figure 16 | Gas usage forecast | Historical and forecast minimum and maximum annual DTS gas generation consumption, 2019-2027, PJ
Figure 17 | Gas usage forecast | Historical and forecast monthly DTS-connected gas generation consumption, 2021-23 (PJ/m)
Figure 18 | Gas usage forecast | Historical (2019-22) and forecast (2023-27) seasonal maximum and minimum DTS gas generation demand in summer and winter, TJ/d
Figure 20 | Gas supply adequacy forecast | Monthly production forecast, 2023-27 (PJ/m)
Figure 24 | Declared Transmission System adequacy | Gooding compressor station valving arrangement
Figure 25 | Declared Transmission System adequacy | Schematic of the DTS indicating relative location of Longford, Gooding and Pakenham
Figure 26 | Declared Transmission System adequacy | DTS peak day system capacity (TJ/d)
Figure 27 | Declared Transmission System adequacy | Modelled peak gas generation profile – summer
Figure 28 | Declared Transmission System adequacy | Modelled peak gas generation profile – winter
Figure 29 | Declared Transmission System pipeline capacities | LMP injection capacity (TJ/d) with varying Gooding CS availability
Figure 30 | Declared Transmission System pipeline capacities | SWP injection capacity (TJ/d) (including WTS demand) toward Melbourne with varying Winchelsea CS availability
Figure 31 | Declared Transmission System pipeline capacities | SWP withdrawal capacity (TJ/d) to Port Campbell
Figure 32 | Declared Transmission System pipeline capacities | Victorian Northern Interconnect export capacity (TJ/d)
Figure 33 | Declared Transmission System pipeline capacities | Victorian Northern Interconnect import capacity (TJ/d)
Figure 34 | Appendix A1. System capability modelling | LMP injection capacity to Melbourne (TJ/d)
Figure 35 | Appendix A1. System capability modelling | SWP injection capacity to Melbourne (TJ/d)
Figure 36 | Appendix A1. System capability modelling | SWP withdrawal capacity to Port Campbell (TJ/d)
Figure 37 | Appendix A1. System capability modelling | Victorian Northern Interconnect import capacity (TJ/d)
Figure 38 | Appendix A1. System capability modelling | Victorian Northern Interconnect export capacity (TJ/d)
Figure 39 | Appendix A4. System operating parameters | Total operating hours by compressor station, 2020-22
Figure 40 | Appendix A6. Victorian gas planning approach | System withdrawal zones in the DTS
Figure 41 | Appendix A6. Victorian gas planning approach | Gas planning methodology overview

## Disclaimer
Disclaimer
This workbook contains the charts presented in the 2023 Victorian Gas Planning Report (VGPR). This dataset or the information in it may be subsequently updated or amended.
AEMO has made every reasonable effort to ensure the quality of the information in this document but cannot guarantee that information, forecasts and assumptions are accurate, complete or appropriate for your circumstances. This publication does not include all of the information that an investor, participant or potential participant in the Declared Wholesale Gas Market (DWGM) might require and does not amount to a recommendation of any investment.
Anyone proposing to use the information in this document (which includes information and forecasts from third parties) should independently verify its accuracy, completeness and suitability for purpose, and obtain independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants involved in the preparation of this document:
• make no representation or warranty, express or implied, as to the currency, accuracy, reliability or completeness of the information in this workbook; and
• are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information, representations or other matters contained in or derived from this document, or any omissions from it, or in respect of a person’s use or reliance on the information in it.

## Figure 1 & 19
Figure 1 Historical and forecast annual supply and consumption, and compared to the 2022 VGPR Update, 2023‑27 (PJ/y)
Figure 19 Historical and forecast annual supply and consumption, and compared to the 2022 VGPR Update, 2023‑27 (PJ/y)
| Year | 2022 VGPR Update existing production | 2022 VGPR Update committed production | 2022 VGPR Update anticipated production | 2022 VGPR Update NSW Zone | 2023 VGPR existing production | 2023 VGPR committed production | 2023 VGPR anticipated production | 2023 VGPR forecast consumption | Actual Victorian consumption | Production actuals | Port Campbell production actuals | Gippsland production actuals
| 2020 | [8 empty] | 221.4883 | 307.2211 | 35.4161 | 271.805
| 2021 | [8 empty] | 211.5 | 330.1 | 33.1 | 297
| 2022 | [8 empty] | 214.43 | 373.604 | 47.778 | 325.826
|  | 337.9258 | 22.1 | 0 | 0
| 2023 | 271.7706 | 55.2 | 4.2 | 0
[6 empty] | 311.91 | 3.5532 | 0 | 214.1927
| 2024 | 234.3298 | 72.8688 | 28 | 57
[6 empty] | 245.1115 | 61.5075 | 0 | 206.329
| 2025 | 195.2818 | 62.8344 | 52.2788 | 57
[6 empty] | 223.3727 | 85.0209 | 0 | 201.4384
| 2026 | 183.4154 | 59.1306 | 53.4304 | 57
[6 empty] | 162.7316 | 105.8556 | 12.664 | 200.1217
| 2027 |  |  |  |  | 100.6107 | 89.8786 | 13.595 | 194.7823

## Figure 2 & 21
Figure 2 Actual monthly production and consumption in 2022, compared to available production in 2023 from the 2022 VGPR Update and 2023 VGPR (PJ/m)
Figure 21 Actual monthly production and consumption in 2022, compared to available production in 2023 from the 2022 VGPR Update and 2023 VGPR (PJ/m)
| Month | 2022 Actual system consumption | 2022 Actual gas generation | 2022 Actual production | 2022 VGPR Update forecast available production for 2023 | 2023 VGPR forecast available production for 2023
| January | 8.6255 | 1.9069 | 24.919 | 25.419 | 20.5729
| February | 8.5887 | 1.2367 | 24.978 | 22.8019 | 19.9249
| March | 10.3434 | 2.1505 | 28.394 | 25.3056 | 25.9808
| April | 13.3416 | 1.6561 | 31.063 | 25.758 | 27.2511
| May | 21.0511 | 2.079 | 36.385 | 26.6379 | 28.9409
| June | 25.5882 | 3.1562 | 37.244 | 25.7039 | 28.7749
| July | 27.5498 | 2.3332 | 38.924 | 26.538 | 33.3075
| August | 25.7764 | 1.3744 | 36.694 | 26.5941 | 33.2975
| September | 18.7218 | 1.5458 | 34.107 | 25.6959 | 31.314
| October | 14.5237 | 1.2363 | 31.307 | 26.5564 | 31.0985
| November | 11.6889 | 1.5796 | 25.755 | 25.6821 | 21.3358
| December | 9.5542 | 1.0352 | 23.834 | 23.8245 | 26.2839

## Figure 3 & 22
Figure 3 Actual and forecast flows out of Victoria 2019-27 (PJ/m)
Notes: This chart uses modelling from the 2023 GSOO; using the Orchestrated Step Change (1.8°C) scenario and reference year 2019 - high coincidence of southern demand and NEM gas consumption. Total southern states shortfall data from this chart aligns with Figure 4 in the 2023 GSOO. Please note that "forecast" flows are indicative only and future flows are dependent on market conditions. Gas Bulletin Board (GBB) data was used to calculate historical flows.
| Month | New South Wales - Actual | Tasmania - Actual | South Australia - Actual | New South Wales - Forecast | Tasmania - Forecast | South Australia - Forecast | Total southern states shortfall
| 2019-01-01 | 7.0301 | 0.73635 | 4.0257
| 2019-02-01 | 6.1978 | 1.3645 | 3.2443
| 2019-03-01 | 5.7658 | 1.0556 | 3.5411
| 2019-04-01 | 3.2766 | 1.1507 | 2.7438
| 2019-05-01 | 4.1562 | 1.2419 | 3.7525
| 2019-06-01 | 4.3221 | 0.75557 | 4.026
| 2019-07-01 | 3.1904 | 0.75925 | 3.9396
| 2019-08-01 | 3.1997 | 0.6524 | 4.2891
| 2019-09-01 | 4.7251 | 0.5311 | 3.7916
| 2019-10-01 | 7.6792 | 0.85147 | 2.8494
| 2019-11-01 | 4.2857 | 0.66232 | 2.1876
| 2019-12-01 | 3.7529 | 0.6236 | 2.6365
| 2020-01-01 | 4.0512 | 0.50789 | 2.1976
| 2020-02-01 | 3.7153 | 0.50009 | 2.2608
| 2020-03-01 | 4.0515 | 0.5154 | 1.8954
| 2020-04-01 | 3.506 | 0.56075 | 2.0318
| 2020-05-01 | 2.6378 | 0.65028 | 2.2828
| 2020-06-01 | 1.0811 | 0.66863 | 2.182
| 2020-07-01 | 1.0343 | 0.87803 | 4.1785
| 2020-08-01 | 2.83 | 0.80573 | 2.6742
| 2020-09-01 | 3.7303 | 0.61573 | 1.743
| 2020-10-01 | 7.1688 | 0.6729 | 2.1982
| 2020-11-01 | 6.9337 | 0.50831 | 2.1919
| 2020-12-01 | 8.4148 | 0.61695 | 2.3619
| 2021-01-01 | 7.2383 | 0.52734 | 2.2671
| 2021-02-01 | 6.2818 | 0.49233 | 2.2699
| 2021-03-01 | 7.0084 | 0.48513 | 2.3743
| 2021-04-01 | 6.8366 | 0.59936 | 2.026
| 2021-05-01 | 6.2486 | 0.7687 | 2.7326
| 2021-06-01 | 8.0094 | 0.68779 | 3.1451
| 2021-07-01 | 5.1516 | 0.65052 | 2.2893
| 2021-08-01 | 5.2218 | 0.5507 | 2.5568
| 2021-09-01 | 8.7931 | 0.60931 | 2.2251
| 2021-10-01 | 8.429 | 0.5793 | 2.014
| 2021-11-01 | 8.7912 | 0.59597 | 2.5017
| 2021-12-01 | 8.8284 | 0.64804 | 2.4187
| 2022-01-01 | 9.6697 | 0.45873 | 2.111
| 2022-02-01 | 9.5422 | 0.55252 | 2.4669
| 2022-03-01 | 11.5513 | 0.57962 | 2.9572
| 2022-04-01 | 11.1068 | 0.91987 | 3.5916
| 2022-05-01 | 11.8124 | 0.60388 | 3.7182
| 2022-06-01 | 9.4477 | 0.65396 | 2.3923
| 2022-07-01 | 7.4805 | 0.65362 | 3.1636
| 2022-08-01 | 4.8788 | 0.77051 | 1.8546
| 2022-09-01 | 9.7804 | 0.63786 | 2.9988
| 2022-10-01 | 9.7095 | 0.81362 | 2.5294
| 2022-11-01 | 9.0178 | 0.54882 | 2.2593
| 2022-12-01 | 7.5844 | 0.60631 | 1.4636
| 2023-01-01 |  |  |  | 7.1237 | 0.3932 | 3.3961
| 2023-02-01 |  |  |  | 5.4184 | 0.4429 | 1.649
| 2023-03-01 |  |  |  | 7.297 | 0.4075 | 1.5592
| 2023-04-01 |  |  |  | 10.7285 | 0.3788 | 0.6106
| 2023-05-01 |  |  |  | 8.6026 | 0.4765 | 1.7781
| 2023-06-01 |  |  |  | 4.5494 | 0.6198 | 3.1934 | 0.4511
| 2023-07-01 |  |  |  | 3.2593 | 0.6282 | 2.3113
| 2023-08-01 |  |  |  | 1.911 | 0.577 | 1.1342
| 2023-09-01 |  |  |  | 5.1943 | 0.5615 | 0.7218
| 2023-10-01 |  |  |  | 8.6765 | 0.6813 | 0.4697
| 2023-11-01 |  |  |  | 1.871 | 0.6817 | 2.0685
| 2023-12-01 |  |  |  | 5.5941 | 0.5333 | 0.2988
| 2024-01-01 |  |  |  | 5.0813 | 0.46 | 3.7728
| 2024-02-01 |  |  |  | 3.5462 | 0.5189 | 2.9262
| 2024-03-01 |  |  |  | 5.8203 | 0.4256 | 2.7267
| 2024-04-01 |  |  |  | 4.9497 | 0.4486 | 2.5846
| 2024-05-01 |  |  |  | 5.6381 | 0.5561 | 4.295
| 2024-06-01 |  |  |  | 2.6945 | 0.7088 | 5.2983 | 0.4549
| 2024-07-01 |  |  |  | 2.0034 | 0.7003 | 4.6568
| 2024-08-01 |  |  |  | 1.0074 | 0.6247 | 3.9084
| 2024-09-01 |  |  |  | 3.8631 | 0.6496 | 3.5439
| 2024-10-01 |  |  |  | 6.0983 | 0.7381 | 1.2114
| 2024-11-01 |  |  |  | 6.1076 | 0.7598 | 1.8829
| 2024-12-01 |  |  |  | 4.7719 | 0.5849 | 1.3126
| 2025-01-01 |  |  |  | 7.6538 | 0.5265 | 2.9619
| 2025-02-01 |  |  |  | 5.713 | 0.579 | 2.724
| 2025-03-01 |  |  |  | 6.2079 | 0.5326 | 2.8946
| 2025-04-01 |  |  |  | 7.2645 | 0.4751 | 2.0348
| 2025-05-01 |  |  |  | 5.6791 | 0.6344 | 3.9649
| 2025-06-01 |  |  |  | 1.9348 | 0.8168 | 4.8501 | 0.1323
| 2025-07-01 |  |  |  | 2.804 | 0.8082 | 4.0872
| 2025-08-01 |  |  |  | 1.9587 | 0.7225 | 3.0409
| 2025-09-01 |  |  |  | 4.9153 | 0.7791 | 3.108
| 2025-10-01 |  |  |  | 6.896 | 0.8616 | 2.9226
| 2025-11-01 |  |  |  | 3.9341 | 0.9003 | 3.0705
| 2025-12-01 |  |  |  | 6.6098 | 0.6884 | 1.4279
| 2026-01-01 |  |  |  | 4.0294 | 0.5267 | 2.8298
| 2026-02-01 |  |  |  | 3.7153 | 0.5683 | 2.5958
| 2026-03-01 |  |  |  | 4.0563 | 0.5373 | 2.7259
| 2026-04-01 |  |  |  | 4.2499 | 0.4865 | 2.5916
| 2026-05-01 |  |  |  | 3.7699 | 0.6448 | 4.0921
| 2026-06-01 |  |  |  | 0.1204 | 0.8195 | 3.7975 | 0.1524
| 2026-07-01 |  |  |  | -0.5989 | 0.8064 | 3.0213
| 2026-08-01 |  |  |  | -1.3265 | 0.7334 | 2.5154
| 2026-09-01 |  |  |  | 2.2943 | 0.7789 | 2.2825
| 2026-10-01 |  |  |  | 4.6351 | 0.851 | 1.6657
| 2026-11-01 |  |  |  | 3.0035 | 0.9104 | 1.9516
| 2026-12-01 |  |  |  | 1.9784 | 0.6719 | 1.5448
| 2027-01-01 |  |  |  | 1.8488 | 0.5098 | 0.7649
| 2027-02-01 |  |  |  | 1.5843 | 0.5532 | 0.9263
| 2027-03-01 |  |  |  | 1.043 | 0.5014 | 0.4662
| 2027-04-01 |  |  |  | 1.5218 | 0.4933 | 0.2059
| 2027-05-01 |  |  |  | -1.9347 | 0.4251 | 1.3353 | 0.2261
| 2027-06-01 |  |  |  | -2.7241 | 0.1346 | 2.7032 | 2.2737
| 2027-07-01 |  |  |  | -3.1939 | 0.128 | 2.0465 | 1.812
| 2027-08-01 |  |  |  | -3.7411 | 0 | 1.7244 | 5.6642
| 2027-09-01 |  |  |  | -3.3595 | 0.3907 | 0.5253 | 2.0602
| 2027-10-01 |  |  |  | -1.6683 | 0.7418 | 0.2407 | 0.1402
| 2027-11-01 |  |  |  | -3.1226 | 0.7278 | 0.2461 | 0.2131
| 2027-12-01 |  |  |  | -1.3096 | 0.7045 | 0.224

## Figure 4 & 23
Figure 4 Forecast peak day supply and DTS adequacy, 2023-27 (TJ/d)
Figure 23 Forecast peak day supply and DTS adequacy, 2023-27 (TJ/d)
| Year | Gippsland available supply | Port Campbell available supply | Dandenong LNG supply | Victorian Anticipated supply | Gippsland DTS expected supply | Port Campbell DTS expected supply | Dandenong LNG expected supply | Anticipated DTS expected supply | 2023 VGPR 1-in-2 Demand | 2023 VGPR 1-in-20 Demand
2023
|  | 915.3841 | 784.6438 | 87 | 0
[6 empty] | 853.9311 | 530 | 87 | 0 | 1131.1095 | 1216.8447
2024
|  | 770.9337 | 795.4658 | 87 | 0
[6 empty] | 709.4807 | 530 | 87 | 0 | 1118.0552 | 1200.636
2025
|  | 767.0864 | 792.4521 | 87 | 0
[6 empty] | 705.6334 | 530 | 87 | 0 | 1103.7635 | 1185.2396
2026
|  | 670.4594 | 783.3293 | 87 | 49
[6 empty] | 609.0064 | 530 | 87 | 49 | 1073.7008 | 1157.3963
2027
|  | 424.9304 | 736.6123 | 87 | 51
[6 empty] | 363.4774 | 530 | 87 | 51 | 1014.2373 | 1089.2482

## Figure 5
Figure 5 Actual 2022 monthly maximum system demands compared to the forecast 1-in-2 and 1-in-20 peak demands
| Month | Maximum Demand | 1-in-2 Forecast | 1-in-20 Forecast
| May | 1094.483 | 917 | 1047
| June | 1060.221 | 1082 | 1186
| July | 1091.183 | 1108 | 1221
| August | 948.59 | 1080 | 1231
| September | 846.437 | 903 | 1028

## Figure 6
Figure 6 Victorian gas generation during winter 2021 and 2022
| Date | Year 2021 | Year 2022
| 2022-05-01 | 0.004354 | 0.1134
| 2022-05-02 | 0.004357 | 0.21669
| 2022-05-03 | 0.018137 | 0.22723
| 2022-05-04 | 0.025826 | 0.33177
| 2022-05-05 | 0.025959 | 0.53025
| 2022-05-06 | 0.037211 | 0.68026
| 2022-05-07 | 0.059089 | 0.7729
| 2022-05-08 | 0.11323 | 0.89982
| 2022-05-09 | 0.12623 | 1.0723
| 2022-05-10 | 0.1559 | 1.2022
| 2022-05-11 | 0.17928 | 1.4092
| 2022-05-12 | 0.27935 | 1.6584
| 2022-05-13 | 0.29564 | 1.779
| 2022-05-14 | 0.33918 | 1.7835
| 2022-05-15 | 0.35211 | 1.7835
| 2022-05-16 | 0.37271 | 1.7891
| 2022-05-17 | 0.49854 | 1.7936
| 2022-05-18 | 0.61881 | 1.815
| 2022-05-19 | 0.64423 | 1.9028
| 2022-05-20 | 0.77287 | 1.948
| 2022-05-21 | 0.86287 | 1.9992
| 2022-05-22 | 0.88901 | 2.062
| 2022-05-23 | 0.90714 | 2.1885
| 2022-05-24 | 0.91076 | 2.2417
| 2022-05-25 | 0.91905 | 2.2696
| 2022-05-26 | 0.97085 | 2.3744
| 2022-05-27 | 1.0266 | 2.5375
| 2022-05-28 | 1.1242 | 2.6925
| 2022-05-29 | 1.1985 | 2.8017
| 2022-05-30 | 1.2714 | 2.9817
| 2022-05-31 | 1.3191 | 3.0389
| 2022-06-01 | 1.3648 | 3.1517
| 2022-06-02 | 1.4046 | 3.3786
| 2022-06-03 | 1.4645 | 3.4913
| 2022-06-04 | 1.5299 | 3.5068
| 2022-06-05 | 1.5641 | 3.5304
| 2022-06-06 | 1.5918 | 3.5593
| 2022-06-07 | 1.6092 | 3.5953
| 2022-06-08 | 1.6489 | 3.6728
| 2022-06-09 | 1.6874 | 3.7101
| 2022-06-10 | 1.7249 | 3.7913
| 2022-06-11 | 1.8847 | 3.7947
| 2022-06-12 | 2.0316 | 3.9195
| 2022-06-13 | 2.1682 | 4.1295
| 2022-06-14 | 2.3692 | 4.221
| 2022-06-15 | 2.6109 | 4.3525
| 2022-06-16 | 2.8323 | 4.5693
| 2022-06-17 | 3.1477 | 4.8554
| 2022-06-18 | 3.34 | 5.0781
| 2022-06-19 | 3.4783 | 5.1222
| 2022-06-20 | 3.6531 | 5.1911
| 2022-06-21 | 3.8857 | 5.3375
| 2022-06-22 | 4.0203 | 5.4198
| 2022-06-23 | 4.1049 | 5.4493
| 2022-06-24 | 4.202 | 5.604
| 2022-06-25 | 4.3458 | 5.6203
| 2022-06-26 | 4.3776 | 5.7303
| 2022-06-27 | 4.4806 | 5.9155
| 2022-06-28 | 4.6136 | 6.0248
| 2022-06-29 | 4.6823 | 6.1776
| 2022-06-30 | 4.7492 | 6.3552
| 2022-07-01 | 4.8392 | 6.5583
| 2022-07-02 | 4.8768 | 6.6789
| 2022-07-03 | 4.9191 | 6.7074
| 2022-07-04 | 4.9637 | 6.7484
| 2022-07-05 | 5.1038 | 6.8882
| 2022-07-06 | 5.2298 | 7.0547
| 2022-07-07 | 5.3663 | 7.1534
| 2022-07-08 | 5.4892 | 7.2666
| 2022-07-09 | 5.6506 | 7.4694
| 2022-07-10 | 5.7184 | 7.5575
| 2022-07-11 | 5.7184 | 7.7315
| 2022-07-12 | 5.7323 | 7.995
| 2022-07-13 | 5.753 | 8.2177
| 2022-07-14 | 5.7699 | 8.4603
| 2022-07-15 | 5.7794 | 8.6272
| 2022-07-16 | 5.79 | 8.639
| 2022-07-17 | 5.7901 | 8.6526
| 2022-07-18 | 5.8209 | 8.8299
| 2022-07-19 | 5.8374 | 8.9197
| 2022-07-20 | 5.8429 | 9.0255
| 2022-07-21 | 5.9444 | 9.0856
| 2022-07-22 | 6.0264 | 9.1135
| 2022-07-23 | 6.2284 | 9.1412
| 2022-07-24 | 6.2299 | 9.1576
| 2022-07-25 | 6.2397 | 9.197
| 2022-07-26 | 6.2498 | 9.2461
| 2022-07-27 | 6.2498 | 9.3255
| 2022-07-28 | 6.2735 | 9.4419
| 2022-07-29 | 6.289 | 9.5443
| 2022-07-30 | 6.2927 | 9.5566
| 2022-07-31 | 6.3402 | 9.5683
| 2022-08-01 | 6.3965 | 9.6115
| 2022-08-02 | 6.4304 | 9.6275
| 2022-08-03 | 6.4846 | 9.6337
| 2022-08-04 | 6.5649 | 9.634
| 2022-08-05 | 6.664 | 9.6899
| 2022-08-06 | 6.8011 | 9.8081
| 2022-08-07 | 6.9548 | 9.9528
| 2022-08-08 | 7.0294 | 10.1529
| 2022-08-09 | 7.1139 | 10.2894
| 2022-08-10 | 7.1226 | 10.3543
| 2022-08-11 | 7.1452 | 10.4432
| 2022-08-12 | 7.2277 | 10.5585
| 2022-08-13 | 7.3379 | 10.681
| 2022-08-14 | 7.3864 | 10.702
| 2022-08-15 | 7.3984 | 10.7609
| 2022-08-16 | 7.4001 | 10.9023
| 2022-08-17 | 7.4863 | 10.9352
| 2022-08-18 | 7.58 | 10.9811
| 2022-08-19 | 7.599 | 11.0185
| 2022-08-20 | 7.6187 | 11.2127
| 2022-08-21 | 7.6349 | 11.3001
| 2022-08-22 | 7.6353 | 11.4129
| 2022-08-23 | 7.6369 | 11.5372
| 2022-08-24 | 7.6965 | 11.659
| 2022-08-25 | 7.7582 | 11.8637
| 2022-08-26 | 7.8885 | 11.9871
| 2022-08-27 | 7.9762 | 11.9953
| 2022-08-28 | 7.9869 | 12.0047
| 2022-08-29 | 8.0615 | 12.015
| 2022-08-30 | 8.0771 | 12.1317
| 2022-08-31 | 8.0881 | 12.2453
| 2022-09-01 | 8.0883 | 12.3661
| 2022-09-02 | 8.0885 | 12.4509
| 2022-09-03 | 8.1394 | 12.5264
| 2022-09-04 | 8.1468 | 12.6014
| 2022-09-05 | 8.1499 | 12.6912
| 2022-09-06 | 8.1639 | 12.7714
| 2022-09-07 | 8.1918 | 12.7871
| 2022-09-08 | 8.1923 | 12.7999
| 2022-09-09 | 8.1924 | 12.8103
| 2022-09-10 | 8.1925 | 12.8104
| 2022-09-11 | 8.1926 | 12.8106
| 2022-09-12 | 8.1928 | 12.8611
| 2022-09-13 | 8.2385 | 12.8959
| 2022-09-14 | 8.3249 | 12.8982
| 2022-09-15 | 8.399 | 12.947
| 2022-09-16 | 8.4414 | 12.9471
| 2022-09-17 | 8.4445 | 12.9506
| 2022-09-18 | 8.4446 | 12.958
| 2022-09-19 | 8.4447 | 13.04
| 2022-09-20 | 8.453 | 13.0631
| 2022-09-21 | 8.4611 | 13.1104
| 2022-09-22 | 8.4636 | 13.1235
| 2022-09-23 | 8.4636 | 13.1295
| 2022-09-24 | 8.4655 | 13.1617
| 2022-09-25 | 8.5022 | 13.2154
| 2022-09-26 | 8.5363 | 13.2937
| 2022-09-27 | 8.5609 | 13.3367
| 2022-09-28 | 8.5651 | 13.3961
| 2022-09-29 | 8.5686 | 13.4226
| 2022-09-30 | 8.5875 | 13.4618
952.373

## Figure 7
Figure 7 Iona storage levels from 2017 to 2022
| Date | 2017 | 2018 | 2019 | 2020 | 2021 | 2022
| 2022-01-01 | 13.1343 | 17.5673 | 15.2032 | 16.3573 | 17.5028 | 12.9499
| 2022-01-02 | 13.2949 | 17.6875 | 15.3451 | 16.4844 | 17.639 | 13.065
| 2022-01-03 | 13.4313 | 17.8124 | 15.4369 | 16.5709 | 17.7629 | 13.1961
| 2022-01-04 | 13.5233 | 17.9173 | 15.5414 | 16.6846 | 17.8841 | 13.3406
| 2022-01-05 | 13.6283 | 17.9988 | 15.6835 | 16.7944 | 18.0034 | 13.4853
| 2022-01-06 | 13.5491 | 18.0601 | 15.8305 | 16.8815 | 18.1265 | 13.6244
| 2022-01-07 | 13.6015 | 18.1693 | 15.9622 | 16.9789 | 18.2464 | 13.7716
| 2022-01-08 | 13.6614 | 18.2274 | 16.1056 | 17.0622 | 18.3749 | 13.9261
| 2022-01-09 | 13.6758 | 18.3302 | 16.2238 | 17.1268 | 18.5079 | 14.0727
| 2022-01-10 | 13.7021 | 18.3963 | 16.3349 | 17.1998 | 18.6006 | 14.2059
| 2022-01-11 | 13.7683 | 18.3975 | 16.4362 | 17.3243 | 18.6645 | 14.313
| 2022-01-12 | 13.8225 | 18.4153 | 16.573 | 17.4145 | 18.7437 | 14.4539
| 2022-01-13 | 13.8956 | 18.5235 | 16.7187 | 17.5078 | 18.8382 | 14.6175
| 2022-01-14 | 13.9958 | 18.6292 | 16.6777 | 17.5607 | 18.9304 | 14.7389
| 2022-01-15 | 14.0734 | 18.705 | 16.5104 | 17.5519 | 19.0578 | 14.8916
| 2022-01-16 | 14.0341 | 18.7522 | 16.421 | 17.6907 | 19.21 | 15.0354
| 2022-01-17 | 14.0012 | 18.7583 | 16.3481 | 17.8039 | 19.3286 | 15.1797
| 2022-01-18 | 14.1201 | 18.6336 | 16.3763 | 17.9259 | 19.4419 | 15.3148
| 2022-01-19 | 14.255 | 18.5301 | 16.5306 | 18.026 | 19.5147 | 15.45
| 2022-01-20 | 14.3998 | 18.6128 | 16.6821 | 18.1103 | 19.576 | 15.5905
| 2022-01-21 | 14.4772 | 18.5762 | 16.6895 | 18.1756 | 19.6143 | 15.7311
| 2022-01-22 | 14.5731 | 18.5167 | 16.4699 | 18.2643 | 19.664 | 15.871
| 2022-01-23 | 14.6246 | 18.5144 | 16.2887 | 18.3438 | 19.7193 | 16.0076
| 2022-01-24 | 14.7672 | 18.5063 | 16.0384 | 18.4139 | 19.7559 | 16.1297
| 2022-01-25 | 14.8794 | 18.4786 | 15.7592 | 18.5218 | 19.8291 | 16.2239
| 2022-01-26 | 15.0258 | 18.5478 | 15.8408 | 18.6104 | 19.9449 | 16.3517
| 2022-01-27 | 15.1522 | 18.5364 | 15.9676 | 18.6936 | 20.0556 | 16.4721
| 2022-01-28 | 15.2719 | 18.476 | 16.0796 | 18.7578 | 20.1596 | 16.5044
| 2022-01-29 | 15.3691 | 18.4419 | 15.9997 | 18.7492 | 20.2938 | 16.6171
| 2022-01-30 | 15.378 | 18.5052 | 15.8277 | 18.5995 | 20.4261 | 16.7084
| 2022-01-31 | 15.485 | 18.5869 | 15.9358 | 18.2731 | 20.5636 | 16.6117
| 2022-02-01 | 15.6037 | 18.6941 | 16.0791 | 18.0886 | 20.6892 | 16.6797
| 2022-02-02 | 15.6899 | 18.7925 | 16.1075 | 17.973 | 20.7976 | 16.7656
| 2022-02-03 | 15.7474 | 18.9435 | 16.094 | 17.8405 | 20.9134 | 16.8999
| 2022-02-04 | 15.8617 | 19.0499 | 16.1661 | 17.7907 | 21.0253 | 17.0398
| 2022-02-05 | 15.9866 | 19.0719 | 16.2495 | 17.6769 | 21.1399 | 17.1815
| 2022-02-06 | 16.0739 | 19.0469 | 16.1647 | 17.6901 | 21.2264 | 17.316
| 2022-02-07 | 16.1904 | 18.9955 | 16.1789 | 17.7375 | 21.3187 | 17.4496
| 2022-02-08 | 16.1377 | 18.9882 | 16.2866 | 17.8158 | 21.401 | 17.5627
| 2022-02-09 | 15.9903 | 18.9483 | 16.4288 | 17.8465 | 21.4708 | 17.6064
| 2022-02-10 | 15.9912 | 19.0875 | 16.5899 | 17.8343 | 21.5446 | 17.7122
| 2022-02-11 | 16.063 | 19.2069 | 16.7275 | 17.8694 | 21.6359 | 17.854
| 2022-02-12 | 16.1837 | 19.2598 | 16.8638 | 17.9233 | 21.7339 | 18.0058
| 2022-02-13 | 16.3058 | 19.3032 | 16.9352 | 17.9396 | 21.8471 | 18.1446
| 2022-02-14 | 16.3136 | 19.3565 | 16.9948 | 17.9513 | 21.9423 | 18.2541
| 2022-02-15 | 16.403 | 19.4108 | 17.087 | 18.0372 | 22.0356 | 18.3256
| 2022-02-16 | 16.4344 | 19.4721 | 17.2333 | 18.0969 | 22.1065 | 18.3704
| 2022-02-17 | 16.5287 | 19.5664 | 17.3571 | 18.1299 | 22.1782 | 18.4647
| 2022-02-18 | 16.6397 | 19.6626 | 17.4714 | 18.2419 | 22.2431 | 18.5909
| 2022-02-19 | 16.7438 | 19.7553 | 17.5256 | 18.29 | 22.3013 | 18.7406
| 2022-02-20 | 16.7957 | 19.8816 | 17.5593 | 18.3283 | 22.4027 | 18.8867
| 2022-02-21 | 16.87 | 19.9591 | 17.5763 | 18.3893 | 22.5152 | 18.9797
| 2022-02-22 | 16.9759 | 19.9614 | 17.6705 | 18.4981 | 22.6208 | 19.09
| 2022-02-23 | 17.0664 | 19.9716 | 17.7675 | 18.6059 | 22.7201 | 19.1741
| 2022-02-24 | 17.2072 | 20.0596 | 17.8794 | 18.644 | 22.8018 | 19.3041
| 2022-02-25 | 17.3578 | 20.1799 | 17.9335 | 18.6767 | 22.8547 | 19.4418
| 2022-02-26 | 17.5042 | 20.3131 | 18.0246 | 18.7305 | 22.9137 | 19.5781
| 2022-02-27 | 17.588 | 20.4363 | 18.0572 | 18.7751 | 22.9715 | 19.7171
| 2022-02-28 | 17.6238 | 20.5708 | 17.9775 | 18.8399 | 23.0278 | 19.8003
| 2022-03-01 | 17.7077 | 20.6543 | 18.0137 | 18.9095 | 23.0264 | 19.8874
| 2022-03-02 | 17.8392 | 20.6855 | 18.1103 | 18.9899 | 22.9441 | 19.9807
| 2022-03-03 | 17.9692 | 20.765 | 18.2117 | 19.0062 | 22.9007 | 20.0685
| 2022-03-04 | 18.1086 | 20.839 | 18.1983 | 19.0407 | 22.9116 | 20.1724
| 2022-03-05 | 18.2536 | 20.8937 | 18.2464 | 19.0004 | 22.9219 | 20.3131
| 2022-03-06 | 18.3835 | 20.9157 | 18.3621 | 19.0119 | 22.9566 | 20.4453
| 2022-03-07 | 18.5032 | 20.9514 | 18.507 | 18.9028 | 22.9938 | 20.5711
| 2022-03-08 | 18.6103 | 20.9755 | 18.637 | 18.9773 | 23.0211 | 20.6979
| 2022-03-09 | 18.7071 | 20.9039 | 18.7472 | 19.0575 | 23.0375 | 20.8209
| 2022-03-10 | 18.8163 | 20.9112 | 18.8093 | 19.163 | 23.0389 | 20.9453
| 2022-03-11 | 18.9275 | 20.9847 | 18.871 | 19.258 | 22.9992 | 21.0613
| 2022-03-12 | 19.0452 | 21.0458 | 18.9015 | 19.3305 | 22.9786 | 21.1735
| 2022-03-13 | 19.1527 | 21.1166 | 18.835 | 19.3575 | 22.9966 | 21.3104
| 2022-03-14 | 19.2165 | 21.0895 | 18.6827 | 19.4287 | 22.9312 | 21.4454
| 2022-03-15 | 19.333 | 21.055 | 18.643 | 19.4715 | 22.8559 | 21.5666
| 2022-03-16 | 19.4503 | 21.0195 | 18.6823 | 19.5368 | 22.8117 | 21.6729
| 2022-03-17 | 19.5791 | 21.0164 | 18.6878 | 19.5932 | 22.792 | 21.6833
| 2022-03-18 | 19.7 | 21.0044 | 18.6524 | 19.6144 | 22.7941 | 21.7645
| 2022-03-19 | 19.7644 | 20.991 | 18.6234 | 19.6689 | 22.808 | 21.8575
| 2022-03-20 | 19.7202 | 20.9726 | 18.572 | 19.7343 | 22.9089 | 21.9474
| 2022-03-21 | 19.7367 | 20.9987 | 18.4632 | 19.7719 | 23.0066 | 21.8318
| 2022-03-22 | 19.8088 | 21.059 | 18.3008 | 19.8224 | 22.9807 | 21.9641
| 2022-03-23 | 19.9264 | 21.0912 | 18.2786 | 19.8616 | 23.0107 | 21.9719
| 2022-03-24 | 19.996 | 21.1921 | 18.3189 | 19.838 | 23.0733 | 22.0387
| 2022-03-25 | 20.1083 | 21.2725 | 18.3124 | 19.7064 | 23.1107 | 22.0596
| 2022-03-26 | 20.2051 | 21.274 | 18.2771 | 19.6581 | 23.1127 | 22.1386
| 2022-03-27 | 20.2834 | 21.3108 | 18.1861 | 19.5981 | 23.1544 | 22.179
| 2022-03-28 | 20.2865 | 21.3394 | 18.0856 | 19.55 | 23.2256 | 22.181
| 2022-03-29 | 20.2962 | 21.3559 | 18.1001 | 19.4878 | 23.2101 | 22.2168
| 2022-03-30 | 20.2718 | 21.4493 | 17.9718 | 19.4146 | 23.1648 | 22.2263
| 2022-03-31 | 20.3316 | 21.5444 | 17.8755 | 19.2628 | 23.195 | 22.2659
| 2022-04-01 | 20.4291 | 21.6482 | 17.6884 | 19.1424 | 23.3189 | 22.3539
| 2022-04-02 | 20.5352 | 21.7312 | 17.458 | 18.9813 | 23.4387 | 22.4089
| 2022-04-03 | 20.64 | 21.7666 | 17.356 | 18.8901 | 23.566 | 22.4617
| 2022-04-04 | 20.7432 | 21.8038 | 17.3187 | 18.892 | 23.6901 | 22.501
| 2022-04-05 | 20.7419 | 21.8042 | 17.3943 | 18.853 | 23.7993 | 22.3594
| 2022-04-06 | 20.7763 | 21.7901 | 17.4665 | 18.8196 | 23.8771 | 22.3207
| 2022-04-07 | 20.8396 | 21.7909 | 17.5372 | 18.7031 | 23.9331 | 22.397
| 2022-04-08 | 20.9431 | 21.8145 | 17.592 | 18.6642 | 23.9385 | 22.456
| 2022-04-09 | 21.0337 | 21.818 | 17.5343 | 18.631 | 23.9458 | 22.5624
| 2022-04-10 | 20.9855 | 21.8077 | 17.3843 | 18.6065 | 23.9458 | 22.6859
| 2022-04-11 | 20.9716 | 21.8277 | 17.238 | 18.6403 | 23.9458 | 22.8007
| 2022-04-12 | 20.9352 | 21.8667 | 17.1039 | 18.6296 | 23.9458 | 22.9167
| 2022-04-13 | 20.9779 | 21.9542 | 17.0726 | 18.5581 | 23.945 | 23.0027
| 2022-04-14 | 21.0329 | 21.9866 | 17.0937 | 18.5472 | 23.945 | 23.0856
| 2022-04-15 | 21.0917 | 22.0281 | 17.0909 | 18.602 | 23.945 | 23.1993
| 2022-04-16 | 21.1479 | 22.0949 | 17.1 | 18.6016 | 23.945 | 23.3213
| 2022-04-17 | 21.1482 | 22.105 | 17.1368 | 18.6013 | 23.945 | 23.4452
| 2022-04-18 | 21.1482 | 22.1368 | 17.248 | 18.5917 | 23.945 | 23.5592
| 2022-04-19 | 21.1482 | 22.0939 | 17.4018 | 18.606 | 23.945 | 23.5443
| 2022-04-20 | 21.1482 | 22.0298 | 17.5922 | 18.632 | 23.945 | 23.3824
| 2022-04-21 | 21.1482 | 22.0923 | 17.7839 | 18.6251 | 23.945 | 23.1621
| 2022-04-22 | 21.1482 | 22.1738 | 17.9579 | 18.6117 | 23.945 | 23.0435
| 2022-04-23 | 21.1482 | 22.2539 | 18.0731 | 18.6668 | 23.945 | 23.0214
| 2022-04-24 | 21.1482 | 22.2871 | 18.186 | 18.7155 | 23.945 | 23.0232
| 2022-04-25 | 21.1482 | 22.35 | 18.3407 | 18.7843 | 23.945 | 23.0811
| 2022-04-26 | 21.1482 | 22.3261 | 18.4813 | 18.8536 | 23.945 | 23.0286
| 2022-04-27 | 21.1482 | 22.3793 | 18.5819 | 18.8977 | 23.945 | 22.8554
| 2022-04-28 | 21.1482 | 22.4233 | 18.7066 | 18.8985 | 23.945 | 22.8363
| 2022-04-29 | 21.1482 | 22.4908 | 18.7377 | 18.8966 | 23.945 | 22.8134
| 2022-04-30 | 21.1622 | 22.558 | 18.8502 | 18.9075 | 23.9756 | 22.8097
| 2022-05-01 | 21.2218 | 22.6299 | 18.9599 | 18.9044 | 24.0461 | 22.764
| 2022-05-02 | 21.2419 | 22.6993 | 19.0331 | 18.7755 | 24.1232 | 22.6905
| 2022-05-03 | 21.1567 | 22.765 | 19.1629 | 18.7496 | 24.197 | 22.7382
| 2022-05-04 | 21.1411 | 22.785 | 19.233 | 18.752 | 24.1934 | 22.5716
| 2022-05-05 | 21.2214 | 22.8719 | 19.2648 | 18.6441 | 24.242 | 22.1975
| 2022-05-06 | 21.303 | 22.955 | 19.2549 | 18.7122 | 24.3182 | 21.8448
| 2022-05-07 | 21.291 | 22.9963 | 19.3024 | 18.8332 | 24.4009 | 21.563
| 2022-05-08 | 21.1703 | 22.9884 | 19.2957 | 18.9709 | 24.4478 | 21.3112
| 2022-05-09 | 21.017 | 22.9833 | 19.2665 | 19.0962 | 24.5344 | 21.0104
| 2022-05-10 | 20.9779 | 22.9035 | 19.2128 | 19.167 | 24.5541 | 20.7784
| 2022-05-11 | 20.8617 | 22.8747 | 19.335 | 19.1625 | 24.534 | 20.6148
| 2022-05-12 | 20.672 | 22.9638 | 19.5 | 19.1743 | 24.4486 | 20.4523
| 2022-05-13 | 20.5042 | 23.0347 | 19.5819 | 19.1039 | 24.3161 | 20.4501
| 2022-05-14 | 20.3792 | 22.8703 | 19.6517 | 18.9584 | 24.1953 | 20.5442
| 2022-05-15 | 20.1456 | 22.6996 | 19.6211 | 18.8056 | 24.0376 | 20.5326
| 2022-05-16 | 20.048 | 22.3887 | 19.6436 | 18.7257 | 23.9264 | 20.4642
| 2022-05-17 | 20.0553 | 22.2269 | 19.67 | 18.6619 | 23.6875 | 20.3338
| 2022-05-18 | 20.093 | 22.1567 | 19.8094 | 18.6232 | 23.4116 | 20.1725
| 2022-05-19 | 20.166 | 22.1879 | 19.9681 | 18.5438 | 23.3474 | 20.0074
| 2022-05-20 | 20.2574 | 22.2466 | 20.0016 | 18.5035 | 23.1881 | 20.0085
| 2022-05-21 | 20.3581 | 22.3069 | 20.0137 | 18.4636 | 23.0078 | 19.947
| 2022-05-22 | 20.4576 | 22.2894 | 20.0398 | 18.2061 | 22.9133 | 19.8269
| 2022-05-23 | 20.5478 | 22.1867 | 20.1184 | 17.9942 | 22.8547 | 19.6613
| 2022-05-24 | 20.6024 | 22.0983 | 20.2436 | 18.0381 | 22.8403 | 19.6161
| 2022-05-25 | 20.6639 | 22.0028 | 20.3976 | 18.0727 | 22.8594 | 19.613
| 2022-05-26 | 20.6776 | 22.0638 | 20.5417 | 18.0353 | 22.7364 | 19.5954
| 2022-05-27 | 20.7697 | 22.1194 | 20.499 | 18.0205 | 22.6111 | 19.5309
| 2022-05-28 | 20.8552 | 22.1564 | 20.5178 | 17.9453 | 22.4234 | 19.4954
| 2022-05-29 | 20.808 | 22.1352 | 20.4115 | 17.9545 | 22.2894 | 19.4664
| 2022-05-30 | 20.7484 | 21.9966 | 20.2619 | 17.9347 | 22.0789 | 19.1985
| 2022-05-31 | 20.569 | 21.8343 | 20.1721 | 18.0365 | 21.8431 | 18.8517
| 2022-06-01 | 20.4132 | 21.6421 | 20.2887 | 18.1614 | 21.6007 | 18.5151
| 2022-06-02 | 20.2765 | 21.4881 | 20.3703 | 18.169 | 21.4559 | 18.191
| 2022-06-03 | 20.1921 | 21.3547 | 20.1574 | 18.1886 | 21.305 | 17.9781
| 2022-06-04 | 20.0725 | 21.1437 | 19.9001 | 18.134 | 21.0657 | 17.9723
| 2022-06-05 | 19.9259 | 21.0061 | 19.5888 | 18.1523 | 20.7842 | 17.926
| 2022-06-06 | 19.7853 | 20.9367 | 19.4338 | 18.0589 | 20.6414 | 17.8382
| 2022-06-07 | 19.6151 | 20.9467 | 19.4822 | 18.0845 | 20.4828 | 17.6436
| 2022-06-08 | 19.4187 | 20.8721 | 19.5633 | 18.1153 | 20.2352 | 17.4591
| 2022-06-09 | 19.326 | 20.906 | 19.72 | 18.0654 | 19.9672 | 17.349
| 2022-06-10 | 19.1939 | 20.9528 | 19.8657 | 17.8764 | 19.6417 | 17.2145
| 2022-06-11 | 19.1103 | 21.0383 | 20.0026 | 17.7028 | 19.2946 | 17.0086
| 2022-06-12 | 19.0623 | 21.078 | 20.1081 | 17.4575 | 18.9657 | 16.7848
| 2022-06-13 | 18.9374 | 21.0125 | 20.1489 | 17.4296 | 18.7145 | 16.5718
| 2022-06-14 | 18.8565 | 20.9129 | 20.1582 | 17.5148 | 18.4196 | 16.4195
| 2022-06-15 | 18.765 | 20.809 | 20.1087 | 17.6386 | 18.0763 | 16.2004
| 2022-06-16 | 18.6608 | 20.7001 | 20.0648 | 17.7635 | 17.7335 | 15.9947
| 2022-06-17 | 18.5665 | 20.5147 | 19.9547 | 17.8842 | 17.3055 | 15.7331
| 2022-06-18 | 18.5825 | 20.3174 | 19.6519 | 17.8578 | 16.8834 | 15.5265
| 2022-06-19 | 18.5012 | 20.0479 | 19.2645 | 17.8735 | 16.5734 | 15.5579
| 2022-06-20 | 18.4516 | 19.7362 | 18.9108 | 18 | 16.1909 | 15.5391
| 2022-06-21 | 18.382 | 19.3476 | 18.6374 | 18.1285 | 15.731 | 15.5013
| 2022-06-22 | 18.311 | 19.0824 | 18.453 | 18.1998 | 15.4224 | 15.419
| 2022-06-23 | 18.2205 | 18.7994 | 18.1997 | 18.2087 | 15.2335 | 15.4583
| 2022-06-24 | 18.1246 | 18.6213 | 17.9879 | 18.2166 | 15.1619 | 15.4574
| 2022-06-25 | 18.097 | 18.3607 | 17.7255 | 18.2168 | 15.0606 | 15.5205
| 2022-06-26 | 17.9881 | 18.1125 | 17.6581 | 18.2082 | 15.0441 | 15.4712
| 2022-06-27 | 17.7993 | 17.7538 | 17.773 | 18.1094 | 14.9963 | 15.1819
| 2022-06-28 | 17.6504 | 17.4608 | 17.9419 | 18.1046 | 14.7613 | 14.9022
| 2022-06-29 | 17.3967 | 17.2834 | 18.0914 | 18.0134 | 14.4817 | 14.4959
| 2022-06-30 | 17.177 | 17.164 | 18.1621 | 17.9252 | 14.2766 | 14.1385
| 2022-07-01 | 16.9795 | 17.0009 | 18.1591 | 17.9185 | 13.8604 | 13.7815
| 2022-07-02 | 16.7871 | 16.7568 | 18.0405 | 18.0367 | 13.6111 | 13.5831
| 2022-07-03 | 16.508 | 16.6598 | 17.9544 | 18.0994 | 13.3525 | 13.4447
| 2022-07-04 | 16.3861 | 16.7245 | 17.9222 | 18.0159 | 13.065 | 13.2672
| 2022-07-05 | 16.3426 | 16.8257 | 17.9991 | 17.9933 | 12.7235 | 13.0561
| 2022-07-06 | 16.1234 | 16.9312 | 18.1467 | 17.9474 | 12.3822 | 12.7491
| 2022-07-07 | 15.9345 | 16.9504 | 18.1708 | 17.8393 | 12.086 | 12.4694
| 2022-07-08 | 15.7683 | 16.9397 | 18.1447 | 17.6907 | 11.7801 | 12.1941
| 2022-07-09 | 15.5444 | 16.8158 | 18.0476 | 17.4868 | 11.4613 | 11.9378
| 2022-07-10 | 15.3573 | 16.6396 | 17.9697 | 17.3391 | 11.3162 | 11.8388
| 2022-07-11 | 15.1617 | 16.3683 | 17.8031 | 17.1846 | 11.2706 | 11.5697
| 2022-07-12 | 14.9843 | 16.123 | 17.7056 | 17.0578 | 11.2321 | 11.1945
| 2022-07-13 | 14.8659 | 15.8899 | 17.5197 | 16.9898 | 11.1864 | 10.8142
| 2022-07-14 | 14.7496 | 15.8166 | 17.3478 | 16.8964 | 11.1487 | 10.4322
| 2022-07-15 | 14.6679 | 15.7177 | 17.191 | 16.7792 | 11.1611 | 10.1884
| 2022-07-16 | 14.6111 | 15.5228 | 16.9678 | 16.611 | 11.0838 | 10.1494
| 2022-07-17 | 14.5521 | 15.4431 | 16.7683 | 16.3543 | 10.9918 | 10.1902
| 2022-07-18 | 14.5414 | 15.3507 | 16.6067 | 16.123 | 10.9662 | 9.8586
| 2022-07-19 | 14.4855 | 15.2773 | 16.526 | 16.0006 | 10.8913 | 9.693
| 2022-07-20 | 14.2081 | 15.0691 | 16.6113 | 16.0137 | 10.7091 | 9.5147
| 2022-07-21 | 14.0331 | 14.9149 | 16.7018 | 15.8673 | 10.4294 | 9.4208
| 2022-07-22 | 13.9698 | 14.878 | 16.684 | 15.631 | 10.0878 | 9.5413
| 2022-07-23 | 14.0095 | 14.643 | 16.6708 | 15.3863 | 9.7825 | 9.6816
| 2022-07-24 | 13.9818 | 14.5333 | 16.5271 | 15.0887 | 9.7266 | 9.8328
| 2022-07-25 | 14.0491 | 14.3884 | 16.4137 | 14.9006 | 9.6265 | 9.9005
| 2022-07-26 | 13.9829 | 14.2841 | 16.2056 | 14.7527 | 9.6354 | 9.9281
| 2022-07-27 | 13.8854 | 14.2525 | 16.2125 | 14.6516 | 9.6716 | 10.0003
| 2022-07-28 | 13.9287 | 14.2973 | 16.223 | 14.6013 | 9.7044 | 10.0158
| 2022-07-29 | 14.0505 | 14.3801 | 16.0541 | 14.5438 | 9.721 | 9.978
| 2022-07-30 | 14.1633 | 14.3511 | 15.7361 | 14.5587 | 9.7464 | 9.9941
| 2022-07-31 | 14.0747 | 14.31 | 15.3521 | 14.5142 | 9.7559 | 10.1268
| 2022-08-01 | 13.8853 | 14.2015 | 15.0437 | 14.4614 | 9.933 | 10.2107
| 2022-08-02 | 13.6345 | 14.0304 | 14.7732 | 14.5309 | 9.9749 | 10.3343
| 2022-08-03 | 13.3008 | 13.9684 | 14.5915 | 14.5881 | 10.0272 | 10.5055
| 2022-08-04 | 13.1848 | 13.9554 | 14.4297 | 14.5982 | 10.0313 | 10.6871
| 2022-08-05 | 13.302 | 14.007 | 14.261 | 14.4186 | 10.0471 | 10.8325
| 2022-08-06 | 13.362 | 13.8581 | 14.0467 | 14.2206 | 10.0037 | 10.9269
| 2022-08-07 | 13.2579 | 13.7053 | 13.7417 | 14.017 | 10.0365 | 10.9821
| 2022-08-08 | 13.1976 | 13.5327 | 13.4656 | 13.8446 | 10.0983 | 10.8812
| 2022-08-09 | 13.2678 | 13.3378 | 13.1122 | 13.8389 | 10.1256 | 10.8158
| 2022-08-10 | 13.4045 | 13.3479 | 12.8774 | 13.88 | 10.2078 | 10.7951
| 2022-08-11 | 13.5402 | 13.2885 | 12.6612 | 13.8197 | 10.2701 | 10.8674
| 2022-08-12 | 13.6476 | 13.2355 | 12.3515 | 13.7713 | 10.3141 | 10.9036
| 2022-08-13 | 13.7771 | 13.225 | 12.0608 | 13.8453 | 10.3503 | 11.0186
| 2022-08-14 | 13.8593 | 13.2998 | 11.8792 | 13.979 | 10.4476 | 11.1427
| 2022-08-15 | 13.9542 | 13.3148 | 11.8165 | 14.0605 | 10.5553 | 11.2545
| 2022-08-16 | 14.0654 | 13.1642 | 11.7247 | 14.1319 | 10.6399 | 11.3114
| 2022-08-17 | 14.1366 | 13.1407 | 11.8224 | 14.2096 | 10.6616 | 11.4308
| 2022-08-18 | 14.1325 | 13.0311 | 11.9549 | 14.3063 | 10.7218 | 11.5512
| 2022-08-19 | 14.1336 | 12.7743 | 11.8069 | 14.4183 | 10.8259 | 11.679
| 2022-08-20 | 14.1554 | 12.476 | 11.84 | 14.3616 | 10.9281 | 11.7135
| 2022-08-21 | 13.9679 | 12.19 | 11.9336 | 14.3235 | 11.0548 | 11.8011
| 2022-08-22 | 13.9245 | 11.9924 | 11.8793 | 14.3108 | 11.1892 | 11.848
| 2022-08-23 | 13.9129 | 11.8117 | 11.9218 | 14.1621 | 11.2973 | 11.8461
| 2022-08-24 | 13.7816 | 11.7048 | 12.051 | 13.9807 | 11.3086 | 11.7699
| 2022-08-25 | 13.7307 | 11.595 | 12.0495 | 13.6627 | 11.3174 | 11.6223
| 2022-08-26 | 13.8232 | 11.48 | 11.8386 | 13.3362 | 11.1664 | 11.635
| 2022-08-27 | 13.719 | 11.188 | 11.6656 | 13.2293 | 11.0694 | 11.7288
| 2022-08-28 | 13.4995 | 10.855 | 11.4643 | 13.2533 | 11.1599 | 11.8639
| 2022-08-29 | 13.3299 | 10.588 | 11.2139 | 13.3171 | 11.1955 | 12.007
| 2022-08-30 | 13.1458 | 10.298 | 11.0497 | 13.4828 | 11.2294 | 12.1238
| 2022-08-31 | 13.0181 | 10.053 | 11.1211 | 13.605 | 11.3046 | 12.2077
| 2022-09-01 | 12.968 | 9.765 | 11.1886 | 13.595 | 11.4082 | 12.2889
| 2022-09-02 | 13.0226 | 9.454 | 11.1976 | 13.6581 | 11.5336 | 12.3116
| 2022-09-03 | 13.1357 | 9.118 | 11.2048 | 13.7775 | 11.6039 | 12.3089
| 2022-09-04 | 13.0402 | 8.9102 | 11.0568 | 13.9085 | 11.6609 | 12.1648
| 2022-09-05 | 12.904 | 8.7997 | 10.9975 | 14.0309 | 11.6663 | 12.0493
| 2022-09-06 | 12.8029 | 8.7066 | 11.0067 | 14.1396 | 11.6791 | 11.8868
| 2022-09-07 | 12.7731 | 8.5653 | 10.9859 | 14.2534 | 11.6792 | 11.8412
| 2022-09-08 | 12.6658 | 8.5676 | 10.9448 | 14.3894 | 11.7924 | 11.7754
| 2022-09-09 | 12.6271 | 8.6625 | 10.6868 | 14.5143 | 11.9001 | 11.7726
| 2022-09-10 | 12.6821 | 8.7606 | 10.43 | 14.6114 | 12.0141 | 11.7023
| 2022-09-11 | 12.7522 | 8.8858 | 10.4167 | 14.7222 | 12.1195 | 11.5643
| 2022-09-12 | 12.8352 | 8.99 | 10.4548 | 14.8286 | 12.1457 | 11.3262
| 2022-09-13 | 12.9247 | 9.1046 | 10.4132 | 14.926 | 12.0281 | 11.0562
| 2022-09-14 | 12.931 | 9.2475 | 10.5171 | 15.0318 | 11.889 | 10.9238
| 2022-09-15 | 12.9876 | 9.3561 | 10.6236 | 15.1295 | 11.7587 | 10.8593
| 2022-09-16 | 13.0206 | 9.3981 | 10.5517 | 15.2198 | 11.709 | 10.6888
| 2022-09-17 | 13.1137 | 9.4856 | 10.2058 | 15.3041 | 11.7654 | 10.5483
| 2022-09-18 | 13.2483 | 9.6076 | 10.0073 | 15.3909 | 11.8089 | 10.4794
| 2022-09-19 | 13.2405 | 9.4955 | 10.1508 | 15.4996 | 11.819 | 10.4711
| 2022-09-20 | 13.3693 | 9.3002 | 10.3142 | 15.6035 | 11.6824 | 10.5977
| 2022-09-21 | 13.526 | 9.3248 | 10.4393 | 15.6954 | 11.4379 | 10.733
| 2022-09-22 | 13.6868 | 9.4003 | 10.5087 | 15.8048 | 11.361 | 10.8855
| 2022-09-23 | 13.8247 | 9.422 | 10.418 | 15.9015 | 11.4249 | 11.0274
| 2022-09-24 | 13.9659 | 9.2827 | 10.2744 | 15.9689 | 11.5186 | 11.1489
| 2022-09-25 | 14.1043 | 9.1205 | 10.158 | 15.9899 | 11.4688 | 11.3036
| 2022-09-26 | 14.2656 | 9.058 | 10.1419 | 15.8661 | 11.4282 | 11.4293
| 2022-09-27 | 14.4294 | 9.1683 | 10.1761 | 15.7582 | 11.4473 | 11.5419
| 2022-09-28 | 14.585 | 9.2094 | 10.084 | 15.7176 | 11.5364 | 11.6403
| 2022-09-29 | 14.7217 | 9.2157 | 10.1051 | 15.6065 | 11.6225 | 11.745
| 2022-09-30 | 14.8754 | 9.3182 | 9.9822 | 15.6012 | 11.7167 | 11.8885
| 2022-10-01 | 15.0053 | 9.4331 | 9.9907 | 15.6869 | 11.842 | 12.0125
| 2022-10-02 | 15.1326 | 9.5309 | 10.0734 | 15.7784 | 11.9698 | 12.1319
| 2022-10-03 | 15.2821 | 9.6135 | 10.1601 | 15.8884 | 12.1119 | 12.281
| 2022-10-04 | 15.4234 | 9.5751 | 10.1931 | 15.9958 | 12.1858 | 12.4207
| 2022-10-05 | 15.5554 | 9.6394 | 10.3082 | 16.1021 | 12.1785 | 12.4653
| 2022-10-06 | 15.6231 | 9.7702 | 10.467 | 16.1048 | 12.2685 | 12.5332
| 2022-10-07 | 15.7698 | 9.8939 | 10.5275 | 15.9065 | 12.3116 | 12.5179
| 2022-10-08 | 15.9045 | 9.9368 | 10.2845 | 15.7164 | 12.4255 | 12.505
| 2022-10-09 | 16.027 | 9.9711 | 9.9532 | 15.6672 | 12.5685 | 12.3746
| 2022-10-10 | 16.1238 | 9.9416 | 9.6483 | 15.5276 | 12.6804 | 12.2907
| 2022-10-11 | 16.2299 | 9.9405 | 9.4992 | 15.5086 | 12.673 | 12.3464
| 2022-10-12 | 16.3113 | 10.0703 | 9.5749 | 15.4435 | 12.698 | 12.4147
| 2022-10-13 | 16.4056 | 10.1229 | 9.6879 | 15.3821 | 12.7498 | 12.4486
| 2022-10-14 | 16.5357 | 10.1229 | 9.7433 | 15.3777 | 12.7713 | 12.45
| 2022-10-15 | 16.657 | 10.1229 | 9.7731 | 15.4325 | 12.7351 | 12.5212
| 2022-10-16 | 16.7857 | 10.1229 | 9.8433 | 15.5125 | 12.704 | 12.5966
| 2022-10-17 | 16.9155 | 10.1229 | 9.7662 | 15.4885 | 12.7809 | 12.6587
| 2022-10-18 | 16.9624 | 10.1229 | 9.854 | 15.5467 | 12.8314 | 12.8177
| 2022-10-19 | 17.0348 | 10.1229 | 9.854 | 15.5412 | 12.8844 | 13.0312
| 2022-10-20 | 17.0803 | 10.1229 | 9.854 | 15.4983 | 12.9671 | 13.2434
| 2022-10-21 | 17.1569 | 10.1229 | 9.854 | 15.434 | 13.0554 | 13.4328
| 2022-10-22 | 17.1454 | 10.1229 | 9.854 | 15.4057 | 13.1354 | 13.6229
| 2022-10-23 | 17.1068 | 10.1229 | 9.854 | 15.3843 | 13.0766 | 13.7529
| 2022-10-24 | 17.1321 | 10.1229 | 9.854 | 15.4356 | 12.9691 | 13.8726
| 2022-10-25 | 17.0786 | 10.1229 | 9.854 | 15.4475 | 12.8084 | 13.9873
| 2022-10-26 | 17.0309 | 10.1228 | 9.854 | 15.4393 | 12.7481 | 14.0936
| 2022-10-27 | 17.0753 | 10.1474 | 9.854 | 15.4321 | 12.8062 | 14.1474
| 2022-10-28 | 17.1718 | 10.1887 | 9.854 | 15.3942 | 12.8982 | 14.121
| 2022-10-29 | 17.2887 | 10.2619 | 9.854 | 15.4264 | 12.8638 | 14.1752
| 2022-10-30 | 17.3369 | 10.339 | 9.854 | 15.4897 | 12.7491 | 14.2835
| 2022-10-31 | 17.3002 | 10.3624 | 9.854 | 15.5835 | 12.7017 | 14.3759
| 2022-11-01 | 17.27 | 10.4416 | 9.854 | 15.633 | 12.6211 | 14.3023
| 2022-11-02 | 17.2322 | 10.5672 | 9.8546 | 15.6705 | 12.6841 | 14.1694
| 2022-11-03 | 17.2727 | 10.7015 | 9.9815 | 15.727 | 12.6159 | 14.1099
| 2022-11-04 | 17.3162 | 10.816 | 9.9951 | 15.7772 | 12.5803 | 14.2012
| 2022-11-05 | 17.4268 | 10.884 | 10.0884 | 15.8378 | 12.4765 | 14.3365
| 2022-11-06 | 17.4666 | 10.9485 | 10.2269 | 15.7328 | 12.3846 | 14.4552
| 2022-11-07 | 17.4455 | 10.8661 | 10.3698 | 15.6347 | 12.2044 | 14.4551
| 2022-11-08 | 17.4208 | 10.8483 | 10.4255 | 15.6228 | 11.9808 | 14.4551
| 2022-11-09 | 17.4815 | 10.9118 | 10.3435 | 15.6544 | 11.8689 | 14.4551
| 2022-11-10 | 17.563 | 11.0542 | 10.4061 | 15.6966 | 11.6462 | 14.4551
| 2022-11-11 | 17.6627 | 11.2072 | 10.5008 | 15.7353 | 11.4383 | 14.4551
| 2022-11-12 | 17.7701 | 11.3478 | 10.5738 | 15.8083 | 11.182 | 14.4551
| 2022-11-13 | 17.771 | 11.4241 | 10.6235 | 15.8781 | 10.9784 | 14.4551
| 2022-11-14 | 17.8206 | 11.3686 | 10.759 | 15.9568 | 10.7225 | 14.4551
| 2022-11-15 | 17.9087 | 11.3506 | 10.9101 | 16.0611 | 10.4697 | 14.4551
| 2022-11-16 | 17.9974 | 11.3085 | 11.0583 | 16.1356 | 10.2153 | 14.4551
| 2022-11-17 | 18.0212 | 11.4165 | 11.1838 | 16.2112 | 10.0856 | 14.4551
| 2022-11-18 | 18.101 | 11.5531 | 11.2866 | 16.25 | 10.0611 | 14.4551
| 2022-11-19 | 18.1597 | 11.5677 | 11.3864 | 16.2682 | 10.0512 | 14.4551
| 2022-11-20 | 18.0636 | 11.5191 | 11.5279 | 16.2991 | 10.0906 | 14.4551
| 2022-11-21 | 17.9251 | 11.596 | 11.6615 | 16.3129 | 10.1321 | 14.4551
| 2022-11-22 | 17.7548 | 11.6777 | 11.7344 | 16.352 | 10.1428 | 14.4551
| 2022-11-23 | 17.5515 | 11.6973 | 11.8891 | 16.4112 | 10.1502 | 14.4551
| 2022-11-24 | 17.387 | 11.7775 | 12.0327 | 16.4617 | 10.1737 | 14.4551
| 2022-11-25 | 17.2357 | 11.8399 | 12.1836 | 16.432 | 10.2055 | 14.4551
| 2022-11-26 | 17.2699 | 11.7849 | 12.3275 | 16.3767 | 10.175 | 14.4551
| 2022-11-27 | 17.2938 | 11.7297 | 12.4801 | 16.3483 | 10.2252 | 14.4551
| 2022-11-28 | 17.2267 | 11.8221 | 12.6108 | 16.2067 | 10.2399 | 14.455
| 2022-11-29 | 17.0562 | 11.881 | 12.7664 | 16.1199 | 10.192 | 14.4538
| 2022-11-30 | 16.8026 | 11.961 | 12.9304 | 16.0294 | 10.2246 | 14.4801
| 2022-12-01 | 16.8637 | 12.1033 | 13.0914 | 15.936 | 10.3198 | 14.4929
| 2022-12-02 | 16.9065 | 12.2571 | 13.1999 | 15.8837 | 10.3871 | 14.4641
| 2022-12-03 | 16.9375 | 12.3954 | 13.3205 | 15.8759 | 10.4886 | 14.4825
| 2022-12-04 | 16.8844 | 12.4605 | 13.4613 | 15.9092 | 10.602 | 14.4954
| 2022-12-05 | 16.7632 | 12.5608 | 13.5875 | 15.9625 | 10.7066 | 14.5124
| 2022-12-06 | 16.657 | 12.6142 | 13.6937 | 16.0563 | 10.7589 | 14.4727
| 2022-12-07 | 16.4756 | 12.6838 | 13.815 | 16.0962 | 10.8007 | 14.4627
| 2022-12-08 | 16.3342 | 12.7997 | 13.9454 | 16.1041 | 10.761 | 14.465
| 2022-12-09 | 16.3843 | 12.9076 | 14.0651 | 16.0652 | 10.6678 | 14.6539
| 2022-12-10 | 16.4727 | 12.9918 | 14.1845 | 16.0607 | 10.5821 | 14.8363
| 2022-12-11 | 16.4634 | 12.9791 | 14.3056 | 16.1108 | 10.5606 | 15.0277
| 2022-12-12 | 16.3916 | 13.0121 | 14.4296 | 16.1597 | 10.5412 | 15.2138
| 2022-12-13 | 16.2981 | 13.0852 | 14.56 | 16.2508 | 10.6258 | 15.3716
| 2022-12-14 | 16.2088 | 13.1592 | 14.6832 | 16.345 | 10.6707 | 15.4748
| 2022-12-15 | 16.1617 | 13.1712 | 14.7966 | 16.2993 | 10.6957 | 15.6214
| 2022-12-16 | 16.1635 | 13.1195 | 14.9121 | 16.2433 | 10.7232 | 15.7665
| 2022-12-17 | 16.2052 | 13.0886 | 14.9616 | 16.2178 | 10.8369 | 15.9161
| 2022-12-18 | 16.1615 | 13.1449 | 14.9332 | 16.2722 | 10.9813 | 16.0624
| 2022-12-19 | 16.1274 | 13.2253 | 14.9792 | 16.2985 | 11.1525 | 16.2086
| 2022-12-20 | 16.1369 | 13.3486 | 15.0442 | 16.385 | 11.3353 | 16.3578
| 2022-12-21 | 16.2271 | 13.4913 | 15.187 | 16.446 | 11.4979 | 16.4956
| 2022-12-22 | 16.3165 | 13.6443 | 15.3413 | 16.5061 | 11.6288 | 16.659
| 2022-12-23 | 16.4421 | 13.7819 | 15.4834 | 16.5439 | 11.8024 | 16.8147
| 2022-12-24 | 16.5904 | 13.9359 | 15.6071 | 16.5365 | 11.9474 | 16.9518
| 2022-12-25 | 16.7321 | 14.0923 | 15.7207 | 16.6105 | 12.0854 | 17.0732
| 2022-12-26 | 16.8719 | 14.2446 | 15.8365 | 16.7056 | 12.2157 | 17.2235
| 2022-12-27 | 16.9658 | 14.401 | 15.9502 | 16.8193 | 12.3495 | 17.4291
| 2022-12-28 | 17.0018 | 14.5628 | 16.009 | 16.9355 | 12.4741 | 17.6232
| 2022-12-29 | 17.1415 | 14.7373 | 16.065 | 17.0466 | 12.6006 | 17.8088
| 2022-12-30 | 17.2923 | 14.8872 | 16.1293 | 17.1483 | 12.723 | 17.9972
| 2022-12-31 | 17.4328 | 15.0401 | 16.2464 | 17.2463 | 12.8391 | 18.1928

## Figure 8
Figure 8 The Victorian Declared Transmission System

## Figure 9
Figure 9 Historical and forecast total annual gas consumption, 2018-27 (PJ/y)
| Year | Tariff V Actuals | Tariff D Actuals | Gas Generations Actuals | Tariff V Forecast | Tariff D Forecast | Gas Generation Forecast | Total System Demand without Electrification
| 2018 | 124.4405 | 68.3963 | 9.6152
| 2019 | 127.2757 | 68.9905 | 19.7218
| 2020 | 131.3063 | 69.2338 | 6.8518
| 2021 | 126.866 | 72.7285 | 6.2453
| 2022 | 127.9177 | 64.8179 | 13.8029
| 2023 |  |  |  | 132.1614 | 63.1616 | 8.3521 | 203.9134
| 2024 |  |  |  | 130.7532 | 62.2466 | 5.9441 | 200.7039
| 2025 |  |  |  | 128.4659 | 62.9051 | 4.4753 | 200.4349
| 2026 |  |  |  | 123.8185 | 63.6746 | 5.8408 | 203.6382
| 2027 |  |  |  | 116.605 | 60.9614 | 8.3278 | 203.884

## Figure 10
Figure 10 Historical and forecast DTS Tariff V consumption, 2019-27 (PJ/y)
| Year | Tariff V Actual | Tariff V forecast | Tariff V forecast without electrification
| 2019 | 127.2757
| 2020 | 131.3063
| 2021 | 126.866
| 2022 | 127.9177
| 2023 |  | 132.1614 | 132.1597
| 2024 |  | 130.7532 | 132.0985
| 2025 |  | 128.4659 | 132.8904
| 2026 |  | 123.8185 | 134.0622
| 2027 |  | 116.605 | 134.5621

## Figure 11
Figure 11 Historical and forecast DTS Tariff V connections, 2014-27
| Year | Actual Tariff V Connections | Forecast Tariff V Connections
| 2012 | 1915399
| 2013 | 1946689
| 2014 | 1979160
| 2015 | 2013836
| 2016 | 2049523
| 2017 | 2088176
| 2018 | 2129064
| 2019 | 2171430
| 2020 | 2211664
| 2021 | 2247154
| 2022 | 2278225
| 2023 |  | 2322236
| 2024 |  | 2333066
| 2025 |  | 2310996
| 2026 |  | 2248110
| 2027 |  | 2146106

## Figure 12
Figure 12 Forecast average daily 2023 demand compared to 2023 peak day system demand (TJ/d)
| Month | Average daily Tariff V demand | Average daily Tariff D demand | Peak 1-in-2 | Peak 1-in-20
| Jan | 126.3251 | 151.8907 | 382.8961 | 427.8146
| Feb | 138.1024 | 168.61 | 400.6085 | 451.7328
| Mar | 165.803 | 167.8214 | 458.3507 | 638.9143
| Apr | 273.193 | 171.4653 | 666.1485 | 805.9813
| May | 497.3779 | 181.5747 | 922.6731 | 1053.0961
| Jun | 664.6185 | 188.1647 | 1064.7198 | 1157.3772
| Jul | 698.7246 | 189.8131 | 1100.1222 | 1186.5706
| Aug | 643.4566 | 187.8903 | 1066.303 | 1201.6954
| Sep | 443.933 | 180.0252 | 896.0792 | 1019.0242
| Oct | 296.3285 | 172.1101 | 750.3138 | 860.2262
| Nov | 223.5333 | 166.0449 | 600.1412 | 728.4313
| Dec | 155.8649 | 152.3012 | 433.5643 | 555.684

## Figure 13
Figure 13 Historical and forecast peak day maximum system demand, 2014-27 (TJ/d)
Note: data in this chart is system demand only.
| Year | Actual Maximums | 1-in-2 forecast | 1-in-20 forecast | 1-in-2 forecast without Electrification | 1-in-20 forecast without Electrification
| 2014 | 1193.1222
| 2015 | 1166.3941
| 2016 | 1189.7697
| 2017 | 1156.287
| 2018 | 1074.2196
| 2019 | 1202.5371
| 2020 | 1212.5556
| 2021 | 1133.5245
| 2022 | 1093.1894
| 2023 |  | 1131.0355 | 1216.7617 | 1129.2151 | 1218.9619
| 2024 |  | 1117.9593 | 1200.5307 | 1124.9709 | 1211.8404
| 2025 |  | 1103.6414 | 1185.1055 | 1132.6619 | 1217.9747
| 2026 |  | 1073.5537 | 1157.2349 | 1142.5391 | 1229.2179
| 2027 |  | 1014.1735 | 1089.169 | 1137.8034 | 1226.1808

## Figure 14
Figure 14 Average percentage of weekday winter system demand profile in 2019, 2020, 2021 and 2022
| Hour | 2019 | 2020 | 2021 | 2022
| 6:00 | 0.047829 | 0.041587 | 0.043999 | 0.045273
| 7:00 | 0.06383 | 0.057593 | 0.060836 | 0.062629
| 8:00 | 0.060506 | 0.064662 | 0.064677 | 0.062996
| 9:00 | 0.050336 | 0.059164 | 0.057385 | 0.054227
| 10:00 | 0.043855 | 0.050428 | 0.049376 | 0.046851
| 11:00 | 0.039425 | 0.04352 | 0.043331 | 0.041792
| 12:00 | 0.036528 | 0.039471 | 0.039452 | 0.038677
| 13:00 | 0.034659 | 0.036582 | 0.037029 | 0.036502
| 14:00 | 0.033933 | 0.03488 | 0.035811 | 0.035595
| 15:00 | 0.035411 | 0.036189 | 0.037064 | 0.037021
| 16:00 | 0.042345 | 0.04206 | 0.042967 | 0.043629
| 17:00 | 0.053854 | 0.053659 | 0.053983 | 0.054563
| 18:00 | 0.061677 | 0.061101 | 0.061131 | 0.061454
| 19:00 | 0.062012 | 0.060344 | 0.060411 | 0.060703
| 20:00 | 0.058045 | 0.055377 | 0.055566 | 0.055906
| 21:00 | 0.051043 | 0.048471 | 0.04843 | 0.04833
| 22:00 | 0.039345 | 0.037759 | 0.037403 | 0.037018
| 23:00 | 0.028734 | 0.027921 | 0.02775 | 0.027508
| 24:00 | 0.024075 | 0.023359 | 0.023176 | 0.023116
| 25:00 | 0.022392 | 0.021814 | 0.02161 | 0.02148
| 26:00 | 0.0221 | 0.021511 | 0.021396 | 0.021223
| 27:00 | 0.022703 | 0.022136 | 0.021968 | 0.021901
| 28:00 | 0.025243 | 0.024708 | 0.024564 | 0.024604
| 29:00 | 0.032647 | 0.030554 | 0.030843 | 0.031164

## Figure 15
Figure 15 Historical and forecast Victorian electricity generation, 2018-27, GWh/y
| Year | Coal | Wind and Solar | Gas | Hydro | Large-scale Batteries | Coal Forecast | Wind and Solar Forecast | Gas Forecast | Hydro Forecast | Large-scale Batteries Forecast
| 2017 | 38344.549 | 4865.6105 | 3317.688 | 2331.367 | 0
| 2018 | 36021.44 | 6188.7184 | 2108.103 | 2765.077 | 1.33
| 2019 | 33273.347 | 8088.9571 | 3090.475 | 2140.145 | 9.228
| 2020 | 34261.705 | 10093.2702 | 1469.585 | 2407.104 | 4.541
| 2021 | 33565.876 | 13550.0538 | 902.013 | 2787.263 | 19.97
| 2022 | 32000.146 | 15437.4988 | 1941.795 | 3165.935 | 101.615
| 2023 | [5 empty] | 31260.553 | 19940.0686 | 1538.583 | 2864.306 | 155.0015
| 2024 | [5 empty] | 30561.5522 | 22155.7117 | 1080.0401 | 2984.9473 | 226.3974
| 2025 | [5 empty] | 27249.5144 | 24265.1465 | 757.1831 | 2806.7205 | 311.0258
| 2026 | [5 empty] | 23740.0655 | 27234.1313 | 945.5734 | 2798.2388 | 423.6094
| 2027 | [5 empty] | 20561.9031 | 29596.4505 | 1302.6036 | 2913.8036 | 544.7131

## Figure 16
Figure 16 Historical and forecast minimum and maximum annual DTS gas generation consumption, 2019-2027, PJ
| Year | Actual Gas Generation | Lowest forecast | Highest forecast | Year | Lowest forecast | Forecast Gas Generation
| 2019 | 19.7968 |  |  | 2019
| 2020 | 6.8363 |  |  | 2020
| 2021 | 6.2455 |  |  | 2021
| 2022 | 13.8083 |  |  | 2022
| 2023 |  | 5.4821 | 10.2182 | 2023 | 5.4821 | 4.7361
| 2024 |  | 3.6503 | 7.0192 | 2024 | 3.6503 | 3.3689
| 2025 |  | 2.731 | 5.3244 | 2025 | 2.731 | 2.5934
| 2026 |  | 3.7013 | 6.667 | 2026 | 3.7013 | 2.9657
| 2027 |  | 5.6671 | 10.1113 | 2027 | 5.6671 | 4.4441

## Figure 17
Figure 17 Historical and forecast monthly DTS-connected gas generation consumption, 2021-23 (PJ/m)
| Month | 2022 Gas Generation Actual | 2021 Gas Generation Actual | Lowest forecast | Highest forecast | Month | Lowest forecast | 2023 Gas Generation Forecast Range
| Jan | 0.65568 | 0.2084 | 0.57129 | 1.2193 | Jan | 0.57129 | 0.64801
| Feb | 0.64883 | 0.065974 | 0.335 | 0.73023 | Feb | 0.335 | 0.39523
| Mar | 0.61586 | 0.072449 | 0.37824 | 0.96275 | Mar | 0.37824 | 0.58451
| Apr | 2.2172 | 0.3945 | 0.30142 | 0.69189 | Apr | 0.30142 | 0.39047
| May | 2.5809 | 0.76344 | 0.36771 | 1.1063 | May | 0.36771 | 0.73863
| Jun | 2.2972 | 2.5099 | 0.66373 | 1.6242 | Jun | 0.66373 | 0.96047
| Jul | 1.9814 | 0.75654 | 0.55015 | 1.2735 | Jul | 0.55015 | 0.72338
| Aug | 1.2439 | 0.74941 | 0.3984 | 1.0551 | Aug | 0.3984 | 0.65672
| Sep | 0.69008 | 0.26197 | 0.4235 | 0.71692 | Sep | 0.4235 | 0.29342
| Oct | 0.40653 | 0.16123 | 0.152 | 0.78238 | Oct | 0.152 | 0.63038
| Nov | 0.2386 | 0.09544 | 0.30587 | 0.8395 | Nov | 0.30587 | 0.53363
| Dec | 0.23202 | 0.20621 | 0.21391 | 0.43609 | Dec | 0.21391 | 0.22218

## Figure 18
Figure 18 Historical (2019-22) and forecast (2023-27) seasonal maximum and minimum DTS gas generation demand in summer and winter, TJ/d
Note: Summer months in this chart are December, January, and February. Winter months are June, July, and August.
| Seasons | Year | Gas Generation Actuals | Lowest forecast | Highest forecast | Seasons | Year | Lowest forecast | Gas Generation Forecasts Range
| Summer | 2019 | 317.717 |  |  | Summer | 2019
|  | 2020 | 210.266 |  |  |  | 2020
|  | 2021 | 57.958 |  |  |  | 2021
|  | 2022 | 152.031 |  |  |  | 2022
|  | 2023 |  | 156.145 | 353.4633 |  | 2023 | 156.145 | 197.3184
|  | 2024 |  | 95.2804 | 256.328 |  | 2024 | 95.2804 | 161.0476
|  | 2025 |  | 69.0869 | 168.8035 |  | 2025 | 69.0869 | 99.7165
|  | 2026 |  | 78.6761 | 146.2179 |  | 2026 | 78.6761 | 67.5418
|  | 2027 |  | 107.9364 | 274.0062 |  | 2027 | 107.9364 | 166.0699
| Winter | 2019 | 188.933 |  |  | Winter | 2019
|  | 2020 | 134.484 |  |  |  | 2020
|  | 2021 | 219.883 |  |  |  | 2021
|  | 2022 | 232.325 |  |  |  | 2022
|  | 2023 |  | 127.0829 | 213.2648 |  | 2023 | 127.0829 | 86.182
|  | 2024 |  | 72.8877 | 230.3026 |  | 2024 | 72.8877 | 157.4149
|  | 2025 |  | 78.0351 | 206.6512 |  | 2025 | 78.0351 | 128.6161
|  | 2026 |  | 172.5807 | 244.9267 |  | 2026 | 172.5807 | 72.346
|  | 2027 |  | 224.2095 | 323.4472 |  | 2027 | 224.2095 | 99.2377

## Figure 20
Figure 20 Monthly production forecast, 2023-27 (PJ/m)
| Month | 2023 Available Supply | 2023 Anticipated Supply | 2024 Available Supply | 2024 Anticipated Supply | 2025 Available Supply | 2025 Anticipated Supply | 2026 Available Supply | 2026 Anticipated Supply | 2027 Available Supply | 2027 Anticipated Supply
January
|  | 20.5729 | 0
|  |  |  | 21.7739 | 0
[6 empty] | 25.8928 | 0
[8 empty] | 21.402 | 0
[10 empty] | 18.4125 | 0.682
February
|  | 19.9249 | 0
|  |  |  | 20.3029 | 0
[6 empty] | 23.1274 | 0
[8 empty] | 19.553 | 0
[10 empty] | 16.3856 | 0.728
March
|  | 25.9808 | 0
|  |  |  | 24.545 | 0
[6 empty] | 24.3575 | 0
[8 empty] | 21.8092 | 0
[10 empty] | 13.5541 | 0.062
April
|  | 27.2511 | 0
|  |  |  | 27.135 | 0
[6 empty] | 26.9847 | 0
[8 empty] | 25.3229 | 1.26
[10 empty] | 16.0935 | 1.41
May
|  | 28.9409 | 0
|  |  |  | 29.1172 | 0
[6 empty] | 28.9303 | 0
[8 empty] | 25.8263 | 1.302
[10 empty] | 16.385 | 1.519
June
|  | 28.7749 | 0
|  |  |  | 28.1713 | 0
[6 empty] | 27.9277 | 0
[8 empty] | 24.7852 | 1.29
[10 empty] | 16.0178 | 1.35
July
|  | 33.3075 | 0
|  |  |  | 29.1345 | 0
[6 empty] | 28.8889 | 0
[8 empty] | 25.3099 | 1.395
[10 empty] | 16.1812 | 1.488
August
|  | 33.2975 | 0
|  |  |  | 29.097 | 0
[6 empty] | 28.8879 | 0
[8 empty] | 23.5502 | 1.519
[10 empty] | 15.8785 | 1.581
September
|  | 31.314 | 0
|  |  |  | 28.1525 | 0
[6 empty] | 27.9843 | 0
[8 empty] | 22.4883 | 1.53
[10 empty] | 15.0522 | 1.59
October
|  | 31.0985 | 0
|  |  |  | 29.0844 | 0
[6 empty] | 25.2556 | 0
[8 empty] | 22.879 | 1.674
[10 empty] | 15.2257 | 1.736
November
|  | 21.3358 | 0
|  |  |  | 27.8971 | 0
[6 empty] | 20.926 | 0
[8 empty] | 21.5651 | 1.68
[10 empty] | 11.1776 | 1.47
December
|  | 26.2839 | 0
|  |  |  | 22.5867 | 0
[6 empty] | 26.5508 | 0
[8 empty] | 15.8955 | 0.992
[10 empty] | 13.2508 | 1.457

## Figure 24
Figure 24 Gooding compressor station valving arrangement

## Figure 25
Figure 25 Schematic of the DTS indicating relative location of Longford, Gooding and Pakenham

## Figure 26
Figure 26 DTS peak day system capacity (TJ/d)
| Without Dandenong LNG |  | With Dandenong LNG |  | Total demand graphing points (dashed lines)
| LMP (Longford + BassGas) | Iona CPP | LMP (Longford + BassGas) | Iona CPP | Total demand | LMP (Longford + BassGas) | SWP
| 500 | 532 | 983 | 508 | 1000 | 1000 | 0
| 740 | 532 | 1159.72 | 373 | 1000 | 600 | 400
| 790 | 531.5 | 1202.426 | 319.992 | 1100 | 1100 | 0
| 905 | 522 | 1202 | 0 | 1100 | 600 | 500
| 960 | 507 |  |  | 1200 | 1200 | 0
| 1160 | 363 |  |  | 1200 | 600 | 600
| 1160 | 0 |  |  | 1300 | 1300 | 0
[5 empty] | 1300 | 600 | 700
[5 empty] | 1400 | 1400 | 0
[5 empty] | 1400 | 600 | 800
[5 empty] | 1500 | 1500 | 0
[5 empty] | 1500 | 600 | 900
[5 empty] | 1600 | 1600 | 0
[5 empty] | 1600 | 600 | 1000
905 | 522
983 | 508

## Figure 27
Figure 27 Modelled peak gas generation profile – summer
| Hour | Jeeralang | Laverton | Valley Power | Newport | Somerton
| 6:00 | 0.405 | 0 | 0.021 | 4.833 | 0
| 7:00 | 0.052 | 3.103 | 0.025 | 4.719 | 0.241
| 8:00 | 0.002 | 3.597 | 0.022 | 4.72 | 0.175
| 9:00 | 0 | 3.578 | 0.019 | 2.924 | 0.004
| 10:00 | 0 | 3.59 | 0.005 | 3.126 | 0.002
| 11:00 | 0 | 3.616 | 0.016 | 2.729 | 0
| 12:00 | 0 | 3.568 | 0.024 | 3.184 | 0
| 13:00 | 0.404 | 3.482 | 1.178 | 3.153 | 0
| 14:00 | 3.706 | 3.471 | 3.465 | 3.887 | 1.248
| 15:00 | 4.463 | 3.521 | 3.514 | 4.867 | 1.863
| 16:00 | 4.464 | 3.57 | 4.115 | 4.846 | 1.854
| 17:00 | 4.488 | 3.62 | 4.209 | 4.859 | 1.849
| 18:00 | 4.519 | 3.632 | 4.332 | 4.867 | 1.852
| 19:00 | 4.461 | 3.66 | 4.218 | 4.866 | 1.829
| 20:00 | 4.51 | 3.604 | 2.069 | 4.861 | 1.76
| 21:00 | 4.519 | 3.603 | 0.082 | 4.861 | 1.763
| 22:00 | 4.521 | 0.426 | 0 | 4.898 | 1.719
| 23:00 | 4.488 | 0 | 0 | 4.332 | 1.586
| 24:00 | 1.28 | 0 | 0.001 | 2.573 | 0.215
| 25:00 | 0 | 0 | 0.024 | 2.167 | 0
| 26:00 | 0 | 0 | 0.025 | 1.295 | 0
| 27:00 | 0 | 0 | 0.025 | 1.263 | 0
| 28:00 | 0 | 0 | 0.02 | 3.222 | 0
| 29:00 | 0 | 0 | 0.012 | 4.519 | 0

## Figure 28
Figure 28 Modelled peak gas generation profile – winter
| Hour | Jeeralang | Laverton | Valley Power | Newport | Somerton
| 6:00 | 0.181 | 3.767 | 0 | 4.918 | 1.202
| 7:00 | 3.896 | 3.892 | 0 | 4.929 | 1.865
| 8:00 | 4.696 | 3.886 | 0 | 4.898 | 1.99
| 9:00 | 4.693 | 3.863 | 0 | 4.948 | 1.645
| 10:00 | 3.455 | 3.847 | 0 | 4.926 | 1.453
| 11:00 | 3.26 | 3.837 | 0 | 4.94 | 1.181
| 12:00 | 3.246 | 3.85 | 0 | 4.344 | 1.18
| 13:00 | 3.264 | 3.846 | 0 | 3.081 | 1.438
| 14:00 | 3.273 | 3.848 | 0 | 3.095 | 1.278
| 15:00 | 3.251 | 3.846 | 0 | 3.755 | 1.2
| 16:00 | 4.513 | 3.847 | 0.524 | 4.91 | 1.57
| 17:00 | 4.689 | 3.856 | 3.2 | 4.926 | 2.137
| 18:00 | 4.684 | 3.864 | 3.779 | 4.906 | 2.16
| 19:00 | 4.693 | 3.864 | 3.765 | 4.911 | 2.195
| 20:00 | 3.394 | 3.866 | 3.76 | 4.924 | 2.141
| 21:00 | 3.118 | 2.798 | 3.803 | 4.948 | 2.12
| 22:00 | 3.127 | 2.183 | 3.826 | 4.894 | 1.749
| 23:00 | 0.403 | 0.514 | 3.875 | 4.836 | 1.684
| 24:00 | 0 | 0 | 3.083 | 4.83 | 1.571
| 25:00 | 0 | 0 | 0.414 | 4.84 | 0.225
| 26:00 | 0 | 0 | 0.061 | 4.842 | 0
| 27:00 | 0 | 0 | 0.059 | 4.841 | 0
| 28:00 | 0 | 0 | 0.059 | 4.841 | 0
| 29:00 | 0 | 0 | 0.052 | 2.24 | 0

## Figure 29
Figure 29 LMP injection capacity (TJ/d) with varying Gooding CS availability
| System Demand (TJ/d) | Full compressor availability | No Gooding CS
| 300 | 790 | 728
| 400 | 903 | 838
| 600 | 1028 | 936
| 800 | 1115 | 948
| 1000 | 1142 | 954
| 1128 | 1158 | 972
| 1213 | 1160 | 982

## Figure 30
Figure 30 SWP injection capacity (TJ/d) (including WTS demand) toward Melbourne with varying Winchelsea CS availability
| System Demand (TJ/d) | Full compressor availability | 1 Winchelsea CS unit
| 300 | 466 | 444
| 400 | 480 | 448
| 600 | 500 | 468
| 800 | 509 | 477
| 1000 | 521 | 480
| 1128 | 530 | 475
| 1213 | 530 | 476

## Figure 31
Figure 31 SWP withdrawal capacity (TJ/d) to Port Campbell
| System Demand (TJ/d) | Full compressor availability
| 300 | 328
| 400 | 328
| 600 | 293
| 800 | 223
| 1000 | 84
| 1128 | 36
| 1213 | 0

## Figure 32
Figure 32 Victorian Northern Interconnect export capacity (TJ/d)
| System Demand (TJ/d) | Full compressor availability | No Euroa CS or no Springhurst CS
| 300 | 220 | 150
| 400 | 222 | 150
| 600 | 224 | 150
| 800 | 220 | 150
| 1000 | 220 | 150
| 1128 | 220 | 150
| 1213 | 212 | 150

## Figure 33
Figure 33 Victorian Northern Interconnect import capacity (TJ/d)
| System Demand (TJ/d) | Full compressor availability | No Euroa CS | No Springhurst CS | NSW transmission system capacity
| 300 | 190 | 170 | 130 | 180
| 400 | 203 | 183 | 143 | 180
| 600 | 210 | 190 | 150 | 180
| 800 | 218 | 198 | 158 | 180
| 1000 | 218 | 198 | 158 | 180
| 1128 | 218 | 198 | 158 | 180
| 1213 | 218 | 198 | 158 | 180

## Figure 34
Figure 34 LMP injection capacity to Melbourne (TJ/d)
| System Demand (TJ/d) | Full compressor availability | System Points Capacity (GBB)
| 300 | 790 | 1452
| 400 | 903 | 1452
| 600 | 1028 | 1452
| 800 | 1115 | 1452
| 1000 | 1142 | 1452
| 1128 | 1158 | 1452
| 1213 | 1160 | 1452

## Figure 35
Figure 35 SWP injection capacity to Melbourne (TJ/d)
| System Demand (TJ/d) | Full compressor availability | System Points Capacity (GBB)
| 300 | 466 | 1113
| 400 | 480 | 1113
| 600 | 500 | 1113
| 800 | 509 | 1113
| 1000 | 521 | 1113
| 1128 | 530 | 1113
| 1213 | 530 | 1113

## Figure 36
Figure 36 SWP withdrawal capacity to Port Campbell (TJ/d)
| System Demand (TJ/d) | Full compressor availability | System Points Capacity (GBB)
| 300 | 328 | 299
| 400 | 328 | 299
| 600 | 293 | 299
| 800 | 223 | 299
| 1000 | 84 | 299
| 1128 | 36 | 299
| 1213 | 0 | 299

## Figure 37
Figure 37 Victorian Northern Interconnect import capacity (TJ/d)
| System Demand (TJ/d) | Full compressor availability | System Points Capacity (GBB)
| 300 | 190 | 180
| 400 | 203 | 180
| 600 | 210 | 180
| 800 | 218 | 180
| 1000 | 218 | 180
| 1128 | 218 | 180
| 1213 | 218 | 180

## Figure 38
Figure 38 Victorian Northern Interconnect export capacity (TJ/d)
| System Demand (TJ/d) | Full compressor availability (TJ) | System Points Capacity (GBB)
| 300 | 220 | 200
| 400 | 222 | 200
| 600 | 224 | 200
| 800 | 220 | 200
| 1000 | 220 | 200
| 1128 | 220 | 200
| 1213 | 212 | 200

## Figure 39
Figure 39 Total operating hours by compressor station, 2020-22
| Compressor station | Total Usage (Hours)
|  | 2020 | 2021 | 2022
| Brooklyn | 11983 | 11060 | 11104
| Euroa | 468 | 439 | 1462
| Gooding | 4817 | 5961 | 7065
| Iona | 38 | 8 | 5
| Springhurst | 1594 | 714 | 2206
| Winchelsea | 418 | 872 | 1379
| Wollert (A+B) | 2480 | 5490 | 7622

## Figure 40
Figure 40 System withdrawal zones in the DTS

## Figure 41
Figure 41 Gas planning methodology overview