## Slide 1: Causer Pays Workshop
20 March 2017

## Slide 2: Objectives of the workshop
Discuss with stakeholders the range of issues raised in first round submissions:
  Specific issues AEMO sought feedback on
  Other matters identified
Discuss AEMO’s proposed approach to addressing matters not directly related to causer pays
Discuss how the review fits into broader market considerations

## Slide 3: Agenda
Welcome/confirm agenda
Background to consultation
Submissions to AEMO questions
Other matters raised
Broader framework matters
Meeting close

## Slide 4: Background to consultation

## Slide 5: Driver for the review
During October/November 2015, market outcomes gave rise to very high regulation FCAS costs, particularly with respect to SA local requirements
In January 2016, stakeholders supported a review of the Causer Pays Procedure (CPP) to ensure it remained appropriate and effective
Due to a settlement dispute being raised with respect to regulation FCAS recovery, the review was suspended – the dispute was finalised in October 2016

## Slide 6: Factors during Asynchronous operation
As an outcome of the settlement dispute, the Dispute Resolution Panel required AEMO to amend the CPP to include the calculation of factors to be used during periods of asynchronous operation
  The consultation was limited in scope due to the nature and timing of the requirement, however the current CPP review provides an opportunity to revisit any broader and longer-term issues.
AEMO finalised a consultation on 3 March 2017, with an amended CPP being published
  Details can be found at: http://www.aemo.com.au/Stakeholder-Consultation/Consultations/Causer-Pays-Procedure-Consultation---Factors-For-Asynchronous-Operation

## Slide 7: Consultation Timing
Process stage | Indicative date
Closing date for submissions in response to this Notice and Issues Paper | 24/02/2017
Publication of Draft Report and Determination | 07/04/2017
Closing date for submissions in response to the Draft Report | 19/05/2017
Publication of Final Report and Determination | 30/06/2017

## Slide 8: Submissions to AEMO questions

## Slide 9: Issue 1: Local requirements
Options considered:
  Status quo – global factors calculated for participants, and scaled into regional factors
  Separate factors calculated for participants for all region combinations
  Separate factors calculated for participants in each NEM region, aggregated as required.
Support for AEMO’s proposal that factors should only be aggregated within a local requirement, however mixed support for option 2 and 3

## Slide 10: Issue 2: Portfolio netting
Options considered:
  Status quo – performance netted across portfolio
  No performance netting across portfolio
  Partial performance netting across portfolio
Mixed support for option 1 and 2, and no support for option 3

## Slide 11: Issue 3: Sample Period Netting
Options considered:
  Status quo – performance netted across sample period
  No performance netting across the sample period
General support for option 1

## Slide 12: Issue 4: Size and Timing of Sample Period
Options considered:
  Status quo – 28 day sample period and application period
  Real time factors
  Seven day sample period and application period
Support for all three options, however acknowledging that real time factors would be a longer term option

## Slide 13: Issue 5: Treatment of non-metered market generation
Support for non-metered market generation being included as part of recovery of the residual
A methodology for apportioning between non-metered market generation and non-metered market load has not been developed yet, and would be considered during development of a rule change

## Slide 14: Issue 6: Zero or positive factors
Support for AEMO’s proposal to recover through the residual when all factors are zero or positive
AEMO intends to explicitly include this in the CPP

## Slide 15: Issue 7: Registration changes
Support for AEMO’s proposal for changes in registration to be reflected as a NULL factor (rather than a zero factor)

## Slide 16: Issue 8: Unreliable Data
Support for AEMO’s proposal to continue to disregard data deemed to have been of bad quality, and to include a minimum threshold in the CPP of 20% for a sample period to be considered viable

## Slide 17: Issue 9: Publication of Data
Support for AEMO to continue to publish the raw input data, and for additional data at the 5-minute level to be produced
AEMO will explore other alternatives to the current mechanisms of publishing data

## Slide 18: Issue 10: Causer Pays Documentation
Support for AEMO to consolidate and clean up the CPP
This will be done as part of publishing a draft CPP along with the draft determination

## Slide 19: Other matters raised

## Slide 20: Suitability of input data
Participants raised concerns with respect to the suitability of data being used as the basis of determining performance, including:
  Delays in data communications
  AGC using discrete pulses
  Initial MW and not matching previous DI’s target
  Difficult for participants to estimate FI in real time to understand exposure

## Slide 21: Dispatch of semi-scheduled generators
Participants raised concerns about the material impact that semi-scheduled dispatch targets were having on causer pays performance
AEMO understands that some improvements have been made as part of the ECM guidelines (in particular with respect to local limits), however there may still be some limitations with respect to distribution network limits
AEMO is exploring these issues, however sees the issues as being separate to the CPP review

## Slide 22: Reliability settings
Participants raised concerns about the level of market price cap (MPC) and cumulative price threshold (CPT) which is applied to ancillary services markets
AEMO notes that the MPC and CPT form part of the reliability settings, and are reviewed by the Reliability Panel

## Slide 23: Metered Below Zero
Participants raised an issue related to periods when a generator is not exporting and has on-site consumption (i.e. metered energy is effectively negative)
AEMO is investigating this issue, but would be interested in hearing if there is any difference in how wind farms are treated compared to other types of generation

## Slide 24: Frequency Dead-band
Participants noted the behaviour of system frequency is significantly different when compared to ten years ago, and suggested this is likely the result of generators changing their frequency control settings (such as dead-band)
As a first step, AEMO is seeking to understand the impact that the changed frequency behaviour is having on the power system, however sees this issue as being separate to the CPP review

## Slide 25: Combined Metered unit factor
A suggestion was raised as an alternative to calculating factors, which involves a two stage process:
  All units with SCADA combined to find total factor for metered units
  Total metered unit factor then divided into relevant portfolios
This approach would involve a different treatment of the residual, and AEMO is investigating the merits of this approach

## Slide 26: Wind Coalition Consultant report
AEMO acknowledges the consultant report prepared for the Wind Coalition, and the analysis conducted on:
  Power system frequency distribution
  Dispatch interval profiles
  SCADA time lag
  Dispatch interval forecast
  Aggregation of factors

## Slide 27: Barriers to Entry and complexity
A participant raised concerns with the current causer pays arrangements:
  Potential to create a barrier to entry for new participants
  Increasing complexity, particularly with respect to price signals
AEMO agrees that simplicity should be a guiding principle, however notes that there will generally be a trade-off between simplicity and the efficiency of cost recovery

## Slide 28: Broader framework matters

## Slide 29: MASS Consultation
AEMO is also conducting a consultation on the Market Ancillary Services Specification (MASS), in particular to consider amendments to support the introduction of ancillary services unbundling
Further information is available at: http://www.aemo.com.au/Stakeholder-Consultation/Consultations/Amendment-Of-The-Market-Ancillary-Service-Specification

## Slide 30: Future Power System Security
AEMO’s Future Power System Security (FPSS) program is looking at potential solutions which would likely impact the ancillary services markets
Options being considered may entail more dynamic requirements for regulation, which could result in the current causer pays framework being less suitable
The reports and analysis have been collated at the following page: http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Security-and-reliability/FPSSP-Reports-and-Analysis

## Slide 31: Meeting close

## Slide 32: Next Steps
Further engagement with participants one-on-one with respect to particular concerns and suggestions
Publication of draft determination in April, along with a amended version of the CPP

## Slide 33: Any further questions