## Job Enquiry Codes
| VIC, QLD AND SA DEFINITION AND USAGE | [5 empty] | VIC, QLD AND SA DEFINITION AND USAGE - RESPONSE ACTIVITIES |  |  |  | WA DEFINITIONS AND USAGE
ENQUIRY CODE | BRIEF DESCRIPTION | DETAIL DESCRIPTION | PRIORITY | MIRN - Mandatory (M) Not Required (N) NOTE - The values in this column is relevant to Retailer initiated Service Orders. | VALID REQUESTOR | For relevant Enquiry Codes, successful completion will result in the following MIRN and Meter status changes. | Completion Code Completed (SA Only) | Completion Code Can't do | Completion Code No Access | Completion Code Cancel | WA BRIEF DESCRIPTION | WESTERN AUSTRALIA DETAILED DESCRIPTION | MIRN | WA Comments | For relevant Enquiry Codes, successful completion will result in the following MIRN and Meter status changes. | Completion Code Completed | Completion Code Can't do | Completion Code No Access | Completion Code Cancel
DMS | Downgrade Meter | To be used where a retailer requests a customers meter to be downgraded | F J | M | Current FRO or Distributor | The MCH codes are not applicable here, they should be the same combination as a UMS, as this is the reverse of the UMS JEC transaction. | 10-06 10-10-(31, 33, 34, 37, 44, 42, 45) 10-10-(47) | 10-42 10-46 10-16 10-98 74-98 74-30 | 70-30 | 74-98 | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
MDO | Meter Defective Operation Ordinary | This code is used for meters which are reported as having faults, but are not damaged. Eg: Noisy operations | F | M | Current FRO |  | 10-78 | 10-98 10-42 10-46 10-16 74-98 74-30 | 70-30 | 74-98 | Meter Defective Operation Ordinary | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | M | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
PRE | A request for a pressure change at the meter | This is when a customer requests a change in gas pressure and may involve a regulator. NOTE if a meter change is required to support the pressure change then a DB initiated MCH will be sent supporting the meter change. | F | M | Current FRO or Distributor | NOTE if this results in a meter change then a DB initiated MCH should be used to accomodate as such, otherwise a successful completion is simply 10-78 along with the new pressure informaiton.it shoudl be simply 10-78 as the Completion Code and you can then use the same range of Can't Do codes as an MDO JEC. | 10-06 10-78 22-78 10-10-(31, 33, 34, 37, 44, 42, 45,47) | 10-42 10-46 10-16 10-98 74-98 74-30 | 70-30 | 74-98 | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
UMS | Upgrade Meter Size Request | Used where the increased gas load requires a larger capacity meter to be installed. If a change to an existing service is required this should be requested through a separate service order. NOTE: MAY REQUIRE OTHER DISTRIBUTOR SPECIFIC FORM DEPENDING ON METER SIZE. | J | M | Current FRO |  | 10-10-(47) | 10-98 74-98 74-30 | 70-30 | 74-98 | Upgrade Meter Size or Pressure | Used to initiate a meter set pressure change and/or meter size change (including as required a service size upgrade) NO may initiate SO response where the meter pressure is changed for a non-meter set meter. MIRN Status typically remains as Commissioned | M | Includes upgrade of Service as required, also used as SO response for upgrade pressure |  | 10-10 | 10-98 | 70-30 | 74-98