## README
AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
Draft report for 2022-23
This spreadsheet performs the calculation of the Benchmark Reserve Capacity Price (BRCP). It has been published to improve the transparency of the BRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by GHD, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by GHD.
* The M sheet contains the margin M for legal, financing and approval costs as provided by GHD.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by GHD and Western Power.
The following worksheets perform or display the calculations that lead to the BRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The BRCP_Calculation sheet displays the final BRCP equation and the various input values.

## BRCP_Calculation
BENCHMARK RESERVE CAPACITY PRICE
BRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 136327.0105 | $AUD/MW/Year
Where
BRCP
The Benchmark Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 31987.496 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 15888821.2727 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 152.28 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 816437.1435 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 16.69% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 152.28 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 180927 | $AUD/MW
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 6966443.5115 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2421886.2443 | $AUD
is the Land Cost as determined in step 1.11
WACC | 3.344% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 185038881.1882 | $AUD
WACC | 3.344% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 15888821.2727 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) x CC + TC x CC + FFC + LC) x (1+ WACC)^1/2)
=
Note on A30: MT : PMT= calculate payment for a loan with constant payments and interest rate

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (GHD Fixed O&M cost for OCGT power plant ($2020) - Table 11), http://sharedocs/sites/markets/o/sc/RCM/BRCP/2021/Consultants/GHD/12537125-REP-2021%20BRCP%20for%20the%20SWIS%20170920%20-%20RespRev2.docx?Web=1
1 to 5 years |  | 10529785
6 to 10 years |  | 10529785
11 to 15 years |  | 10529785
16 to 20 years |  | 10529785
21 to 25 years |  | 10529785
26 to 30 years |  | 10529785
31 to 35 years |  | 10529785
36 to 40 years |  | 10529785
41 to 45 years |  | 10529785
46 to 50 years |  | 10529785
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785
Yearly Cost |  | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957
WACC |  | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344%
Present Value |  | 2037803.3352 | 1971855.2814 | 1908041.46 | 1846292.8022 | 1786542.4745 | 1728725.8064 | 1672780.22 | 1618645.1629 | 1566262.0422 | 1515574.1609 | 1466526.6574 | 1419066.4452 | 1373142.1557 | 1328704.083 | 1285704.1297
Total PV (Sum) |  | 10529785 1: 24525666.2167
Anuity |  | 10529785 1: 2105957
Escalation Type |  | 10529785 1: Generation_O&M
Prices as at |  | 10529785 1: 2020-06-30
To be escalated to |  | 10529785 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 10529785 1: -0.73%
| 2022-06-30 | 10529785 1: -0.15%
| 2023-06-30 | 10529785 1: 1.16%
| 2024-06-30 | 10529785 1: 1.84%
Cost Per MW Per Year |  | 10529785 1: 13931.3625; 10529785 2: Per MW Per Year
Transmission | bar: 10529785 1
Switchyard O&M Costs (GHD Five yearly aggregate fixed O&M costs for switchyard assets - Table 12) ,http://sharedocs/sites/markets/o/sc/RCM/BRCP/2021/Consultants/GHD/12537125-REP-2021%20BRCP%20for%20the%20SWIS%20170920%20-%20RespRev2.docx?Web=1 | bar: 10529785 1
1 to 5 years |  | 10529785 1: 396950
6 to 10 years |  | 10529785 1: 396950
11 to 15 years |  | 10529785 1: 396950
16 to 20 years |  | 10529785 1: 396950
21 to 25 years |  | 10529785 1: 396950
26 to 30 years |  | 10529785 1: 396950
31 to 35 years |  | 10529785 1: 396950
36 to 40 years |  | 10529785 1: 396950
41 to 45 years |  | 10529785 1: 396950
46 to 50 years |  | 10529785 1: 396950
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950
Yearly Cost |  | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390
WACC |  | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344%
Present Value |  | 76820.755 | 74334.6568 | 71929.0145 | 69601.2243 | 67348.7669 | 65169.2042 | 63060.1772 | 61019.4033 | 59044.6735 | 57133.8506 | 55284.8664 | 53495.7196 | 51764.4737 | 50089.255 | 48468.2502
Total PV (Sum) |  | 396950 1: 924564.2912
Anuity |  | 396950 1: 79390
Escalation Type |  | 396950 1: Connection_O&M
Prices as at |  | 396950 1: 2020-06-30
To be escalated to |  | 396950 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 396950 1: 0.96%
| 2022-06-30 | 396950 1: 0.95%
| 2023-06-30 | 396950 1: 1.68%
| 2024-06-30 | 396950 1: 2.53%
Cost Per MW Per Year |  | 396950 1: 543.715; 396950 2: Per MW Per Year
Transmission Line O&M Costs (GHD Five yearly aggregate fixed O&M costs for transmission line asset - Table 13), http://sharedocs/sites/markets/o/sc/RCM/BRCP/2021/Consultants/GHD/12537125-REP-2021%20BRCP%20for%20the%20SWIS%20170920%20-%20RespRev2.docx?Web=1 | bar: 396950 1
1 to 5 years |  | 396950 1: 24775
6 to 10 years |  | 396950 1: 24775
11 to 15 years |  | 396950 1: 24775
16 to 20 years |  | 396950 1: 24775
21 to 25 years |  | 396950 1: 24775
26 to 30 years |  | 396950 1: 24775
31 to 35 years |  | 396950 1: 24775
36 to 40 years |  | 396950 1: 24775
41 to 45 years |  | 396950 1: 24775
46 to 50 years |  | 396950 1: 24775
51 to 55 years |  | 396950 1: 24775
56 to 60 years |  | 396950 1: 24775
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775
Yearly Cost |  | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955
WACC |  | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344% | 3.344%
Present Value |  | 4794.6447 | 4639.4788 | 4489.3345 | 4344.0492 | 4203.4657 | 4067.4318 | 3935.8002 | 3808.4286 | 3685.179 | 3565.918 | 3450.5166 | 3338.8499 | 3230.7969 | 3126.2408 | 3025.0684
Total PV (Sum) |  | 24775 1: 57705.203
Anuity |  | 24775 1: 4955
Escalation Type |  | 24775 1: Connection_O&M
Prices as at |  | 24775 1: 2020-06-30
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 24775 1: 0.96%
| 2022-06-30 | 24775 1: 0.95%
| 2023-06-30 | 24775 1: 1.68%
| 2024-06-30 | 24775 1: 2.53%
Cost Per MW Per Year |  | 24775 1: 33.9351; 24775 2: Per MW Per Year
Asset Insurance Costs | bar: 24775 1
Total cost of Power Stn build | 145080219.2115
Fixed Fuel Costs | 6966443.5115
Asset Replacement Insurance Percentage | 0.3686%
Terrorism Levy Mark up | 1.0267
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 24775 2: Actual MRCP; 24775 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 24775 1: 632944.9678
Estimated BRCP | 136300 | 24775 2: 136327.0105; 24775 3: TRUE
Business interruption insurance |  | 24775 1: 172805.5867
Public and products liability insurance | 133089
Annual insurance site survey | 10000 | 24775 1: 151467.0219
Yearly cost |  | 24775 1: 957217.5765
Escalation Type |  | 24775 1: CPI
Prices as at |  | 24775 1: 2023-04-01
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | bar: 24775 1
| 2022-06-30 | 24775 1: 1.25%
2023-06-30 | bar: 24775 1
| 2024-06-30 | 24775 1: 2.5%
Cost per MW Per Year |  | 24775 1: 6356.4305; 24775 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 24775 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00213 | 24775 1: 118390.086
Transmission Metering (unit price is $/meter/day) | 8.9616 | 24775 1: 3270.9803
Use of system Charge (unit price is $/kW/day) | 0.02628 | 24775 1: 1460700.216
Total WP Charges |  | 24775 1: 1582361.2823
Escalation Type |  | 24775 1: CPI
Prices as at |  | 24775 1: 2020-07-01
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | bar: 24775 1
| 2022-06-30 | 24775 1: 1.25%
2023-06-30 | bar: 24775 1
| 2024-06-30 | 24775 1: 2.5%
Cost Per MW Per year |  | 24775 1: 11122.0528; 24775 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 24775 1: 31987.496
Note on B106: Costs escalated to 1/04/2023
Note on B110: https://www.wa.gov.au/service/financial-management/taxation-and-duty/self-assess-and-pay-insurance-duty 10%
Note on B115: 2020 advice
Note on B133: WP price list 2019-20 section 8.3.3 Control system services Table 29 https://westernpower.com.au/media/4302/network-access-prices-2020-21-price-list-20200702.pdf
Note on B134: WP price list 2019-20 metering prices table 21, TRT1 and TRT2 https://westernpower.com.au/about/regulation/network-access-prices/
Note on B135: WP price access Table 26 (Transmission prices TRT1) - Muja PWS highest price of power stations located in the regions listed in the Market Procedure. https://westernpower.com.au/about/regulation/network-access-prices/

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 0.941 | 0.00941
Expected Inflation (%) | Annual | 2.39 | 0.0239
Real risk free rate of return (%) | Annual | -1.4152 | -0.014152
Market Risk Premium (%) | 5- yearly | 6 | 0.06
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.01 | 0.0201
Debt Issuance Costs (%) | 5-yearly | 0.125 | 0.00125
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.25 | 0.25
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 3.076%
Nominal post-tax Cost of Equity (Nominal return on equity) | 5.921%
WACC (Nominal) | 5.814%
WACC (Real) | 3.344%

## PC
PC
GHD Total EPC Cost ($) |  | 140028545
Capacity (MW) |  | 152.28
Total Cost Per MW |  | 919546.5261
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2020-06-30
To be escalated to |  | 2023-04-01
Escalation (Financial Year ending) | 2021-06-30 | -7.837%
| 2022-06-30 | -3.645%
| 2023-06-30 | -0.025%
PC |  | 816437.1435

## M
M
Total M as a percentage of CAPEX | 16.69%

## TC
TC (Western Power Costing)
Total Transmission Costs | 180927
Escalation type | Transmission_Connection
Prices as at | 2023-04-01
To be escalated to | 2023-04-01
Escalation | 0.73%
TC | 180927

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://apps.osr.wa.gov.au/portal/0/home
Pinjar | 3 | 1250000 | 187040 | 3937040
Kwinana | 3 | 2000000 | 302915 | 6302915
Kemerton | 3 | 325000 | 44127.5 | 1019127.5
Collie | 3 | 110000 | 11590 | 341590
Geraldton | 3 | 125000 | 13727.5 | 388727.5
Eneabba | 3 | 30000 | 1805 | 91805
Kalgoorlie | 3 | 600000 | 86615 | 1886615
Average Cost |  |  |  | 2287925.625
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2020-06-30
To be escalated to |  |  |  | 2023-04-01
Escalation |  | Financial year ending | 2021-06-30 | 3%
|  |  | 2022-06-30 | 1.25%
|  |  | 2023-06-30 | 2%
LC |  |  |  | 2421886.2443
Average Land Parcel Cost | 2287925.625
Average Land Cost | 762641.875
Total easement cost as at 30 June 2020 | 4575851.25
Total easement cost as at 30 June 2021 | 4713126.7875
Note on C3: Neetika Kapani: Based on Landgate report
Note on D3: Use Transfer Duty Calculator Rate Type: General Rate
Note on B30: Neetika Kapani: Divides average land parcel size by 3 hectares to give an average price per hectare
Note on B31: Neetika Kapani: Multiplies average price per hectare by 12 hectares (area of easement) and 50% (assumes that easement cost is 50% of purchase cost of land)

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6286336
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 294776
Total |  | 6581112
Escalation Type |  | CPI
Prices as at |  | 2020-06-30
To be escalated to |  | 2023-04-01
Escalation (Financial Year ending) | 2021-06-30 | 3%
| 2022-06-30 | 1.25%
| 2023-06-30 | 2%
FFC |  | 6966443.5115

## ESCALATION_FACTORS
ESCALATION FACTORS
| 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
Power_Station_Capital | -7.837% | -3.645% | -0.025% | 2.983%
Generation_O&M | -0.73% | -0.15% | 1.16% | 1.84%
Connection_O&M | 0.96% | 0.95% | 1.68% | 2.53%
CPI | 3% | 1.25% | 2% | 2.5% | https://www.rba.gov.au/publications/smp/2020/aug/economic-outlook.html | https://www.rba.gov.au/publications/smp/2020/aug/forecasts.html
Transmission_Connection | 0.73% | 0.73% | 0.73% | 0.73%

## WACC nominal risk free rate
RBA Bond Yields
Issue ID | TB155 | TB160
Maturity | 2030-03-21 | 2030-12-21
Date | TB155 | TB160 | Date + 10 years | Interpolated 10 year yield
2020-08-17 | 0.895 | 0.945 | 2030-08-17 | 0.92209
2020-08-18 | 0.87 | 0.915 | 2030-08-18 | 0.89455
2020-08-19 | 0.865 | 0.91 | 2030-08-19 | 0.88971
2020-08-20 | 0.855 | 0.9 | 2030-08-20 | 0.87987
2020-08-21 | 0.88 | 0.925 | 2030-08-21 | 0.90504
2020-08-24 | 0.855 | 0.9 | 2030-08-24 | 0.88053
2020-08-25 | 0.885 | 0.93 | 2030-08-25 | 0.91069
2020-08-26 | 0.95 | 0.995 | 2030-08-26 | 0.97585
2020-08-27 | 0.915 | 0.96 | 2030-08-27 | 0.94102
2020-08-28 | 1.02 | 1.065 | 2030-08-28 | 1.0462
2020-08-31 | 0.98 | 1.025 | 2030-08-31 | 1.0067
2020-09-01 | 0.97 | 1.015 | 2030-09-01 | 0.99684
2020-09-02 | 0.93 | 0.98 | 2030-09-02 | 0.96
2020-09-03 | 0.91 | 0.955 | 2030-09-03 | 0.93716
2020-09-04 | 0.89 | 0.935 | 2030-09-04 | 0.91733
2020-09-08 | 0.97 | 1.015 | 2030-09-08 | 0.99798
2020-09-09 | 0.89 | 0.935 | 2030-09-09 | 0.91815
2020-09-10 | 0.93 | 0.975 | 2030-09-10 | 0.95831
2020-09-11 | 0.91 | 0.955 | 2030-09-11 | 0.93847
2020-09-14 | 0.87 | 0.915 | 2030-09-14 | 0.89896
|  |  | Nominal risk free rate | 0.941%
Note on B2: Sourced from Table F16, available at http://www.rba.gov.au/statistics/tables/
Note on F28: Calculated as the annualised yield, 20-day average

## WACC expected inflation
RBA Statement on Monetary Policy-August 2020
Year ending | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30
CPI | 3% | 1.25% | 2% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
Growth rate | 1.03 | 1.0125 | 1.02 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025
Inflation i | 2021-06-30: 2.386%
Note on C2: Data taken Table 5.1 of the Statement of Monetary Policy (SMP). Source: https://www.rba.gov.au/publications/smp/2020/aug/pdf/forecast-table-2020-08.pdf Where the RBA gives forecasts as a range, CPI is taken as the mid-point of that range.
Note on B4: http://www.rba.gov.au/publications/smp/index.html
Note on E4: Mid-point of RBA target (2-3%) = 2.5%. Calculated as: average of 2.00% ( Dec 2021 forecast) and 2.5% (mid point of target) = 2.25%
Note on C7: Calculated as the geometric mean

## Graph - historical bond yields
Date | Treasury Bond 155 | Treasury Bond 160
2020-05-13 | 0.0096 | 0.01015
2020-05-14 | 0.009 | 0.00955
2020-05-15 | 0.0091 | 0.00965
2020-05-18 | 0.0091 | 0.00965
2020-05-19 | 0.0098 | 0.01035
2020-05-20 | 0.0095 | 0.01005
2020-05-21 | 0.00915 | 0.0097
2020-05-22 | 0.0087 | 0.00925
2020-05-25 | 0.0086 | 0.00915
2020-05-26 | 0.00885 | 0.0094
2020-05-27 | 0.0088 | 0.00935
2020-05-28 | 0.0088 | 0.00935
2020-05-29 | 0.00885 | 0.0094
2020-06-01 | 0.00895 | 0.0095
2020-06-02 | 0.00905 | 0.0096
2020-06-03 | 0.00965 | 0.0102
2020-06-04 | 0.0102 | 0.0107
2020-06-05 | 0.0109 | 0.01145
2020-06-09 | 0.0105 | 0.01105
2020-06-10 | 0.0102 | 0.0107
2020-06-11 | 0.0092 | 0.0097
2020-06-12 | 0.0091 | 0.0096
2020-06-15 | 0.0086 | 0.0091
2020-06-16 | 0.00915 | 0.00965
2020-06-17 | 0.00915 | 0.00965
2020-06-18 | 0.0088 | 0.0093
2020-06-19 | 0.0086 | 0.0091
2020-06-22 | 0.00865 | 0.00915
2020-06-23 | 0.009 | 0.0095
2020-06-24 | 0.0092 | 0.0097
2020-06-25 | 0.0088 | 0.0093
2020-06-26 | 0.00865 | 0.00915
2020-06-29 | 0.0088 | 0.0093
2020-06-30 | 0.0087 | 0.0092
2020-07-01 | 0.00935 | 0.00985
2020-07-02 | 0.0092 | 0.00975
2020-07-03 | 0.00905 | 0.00955
2020-07-06 | 0.0092 | 0.00975
2020-07-07 | 0.00885 | 0.00935
2020-07-08 | 0.0087 | 0.0092
2020-07-09 | 0.009 | 0.0095
2020-07-10 | 0.0086 | 0.0091
2020-07-13 | 0.009 | 0.0095
2020-07-14 | 0.0091 | 0.0096
2020-07-15 | 0.0087 | 0.0092
2020-07-16 | 0.0088 | 0.00935
2020-07-17 | 0.00865 | 0.0092
2020-07-20 | 0.00885 | 0.0094
2020-07-21 | 0.00865 | 0.00915
2020-07-22 | 0.00885 | 0.0094
2020-07-23 | 0.0086 | 0.0091
2020-07-24 | 0.00865 | 0.00915
2020-07-27 | 0.00885 | 0.00935
2020-07-28 | 0.0092 | 0.0097
2020-07-29 | 0.00875 | 0.00925
2020-07-30 | 0.00855 | 0.00905
2020-07-31 | 0.00815 | 0.0086
2020-08-04 | 0.0083 | 0.0088
2020-08-05 | 0.0082 | 0.00865
2020-08-06 | 0.0085 | 0.009
2020-08-07 | 0.0083 | 0.00875
2020-08-10 | 0.0086 | 0.0091
2020-08-11 | 0.00865 | 0.00915
2020-08-12 | 0.00915 | 0.00965
2020-08-13 | 0.00885 | 0.00935
2020-08-14 | 0.0093 | 0.0098
2020-08-17 | 0.00895 | 0.00945
2020-08-18 | 0.0087 | 0.00915
2020-08-19 | 0.00865 | 0.0091
2020-08-20 | 0.00855 | 0.009
2020-08-21 | 0.0088 | 0.00925
2020-08-24 | 0.00855 | 0.009
2020-08-25 | 0.00885 | 0.0093
2020-08-26 | 0.0095 | 0.00995
2020-08-27 | 0.00915 | 0.0096
2020-08-28 | 0.0102 | 0.01065
2020-08-31 | 0.0098 | 0.01025
2020-09-01 | 0.0097 | 0.01015
2020-09-02 | 0.0093 | 0.0098
2020-09-03 | 0.0091 | 0.00955
2020-09-04 | 0.0089 | 0.00935
2020-09-07 | 0.0097 | 0.01015
2020-09-08 | 0.0097 | 0.01015
2020-09-09 | 0.0089 | 0.00935
2020-09-10 | 0.0093 | 0.00975
2020-09-11 | 0.0091 | 0.00955
2020-09-14 | 0.0087 | 0.00915
2020-09-15 | 0.00865 | 0.0091
2020-09-16 | 0.00865 | 0.0091
2020-09-17 | 0.00845 | 0.0089
2020-09-18 | 0.00885 | 0.00935
2020-09-21 | 0.0085 | 0.009
2020-09-22 | 0.00825 | 0.00875
2020-09-23 | 0.00805 | 0.00855
2020-09-24 | 0.008 | 0.00855
2020-09-25 | 0.00795 | 0.0085
2020-09-28 | 0.0077 | 0.00825
2020-09-29 | 0.00775 | 0.0083
2020-09-30 | 0.00785 | 0.00835
2020-10-01 | 0.00845 | 0.00895
2020-10-02 | 0.0078 | 0.0083
2020-10-06 | 0.0083 | 0.0088
2020-03-18 | 0.0119 | 0.01205
2020-03-19 | 0.01455 | 0.01475
2020-03-20 | 0.01105 | 0.01125
2020-03-23 | 0.00875 | 0.00895
2020-03-24 | 0.0087 | 0.00885
2020-03-25 | 0.00945 | 0.0096
2020-03-26 | 0.00885 | 0.00905
2020-03-27 | 0.0088 | 0.00905
2020-03-30 | 0.0072 | 0.0076
2020-03-31 | 0.0071 | 0.00735
2020-04-01 | 0.0062 | 0.0065
2020-04-02 | 0.00705 | 0.00735
2020-04-03 | 0.0071 | 0.00735
2020-04-06 | 0.0072 | 0.0075
2020-04-07 | 0.00855 | 0.00885
2020-04-08 | 0.0085 | 0.0088
2020-04-09 | 0.00835 | 0.00875
2020-04-14 | 0.0086 | 0.00895
2020-04-15 | 0.0085 | 0.00885
2020-04-16 | 0.00785 | 0.00815
2020-04-17 | 0.0079 | 0.0083
2020-04-20 | 0.0078 | 0.0081
2020-04-21 | 0.0079 | 0.0083
2020-04-22 | 0.0078 | 0.00815
2020-04-23 | 0.00815 | 0.0085
2020-04-24 | 0.0081 | 0.00845
2020-04-27 | 0.00845 | 0.00885
2020-04-28 | 0.0086 | 0.00895
2020-04-29 | 0.0085 | 0.0089
2020-04-30 | 0.00825 | 0.00855
2020-05-01 | 0.008 | 0.00835
2020-05-04 | 0.00765 | 0.008
2020-05-05 | 0.008 | 0.00835
2020-05-06 | 0.0084 | 0.00885
2020-05-07 | 0.0085 | 0.0089
2020-05-08 | 0.0082 | 0.00855
2020-05-11 | 0.00885 | 0.00925
2020-05-12 | 0.0088 | 0.0092
2020-05-13 | 0.0088 | 0.0092
2020-05-14 | 0.00825 | 0.00865
2020-05-15 | 0.00835 | 0.00875
2020-05-18 | 0.00835 | 0.00875
2020-05-19 | 0.009 | 0.0094
2020-05-20 | 0.00875 | 0.00915
2020-05-21 | 0.0084 | 0.0088
2020-05-22 | 0.00795 | 0.00835
2020-05-25 | 0.00785 | 0.00825
2020-05-26 | 0.0081 | 0.0085
2020-05-27 | 0.00805 | 0.00845
2020-05-28 | 0.00805 | 0.00845
2020-05-29 | 0.0081 | 0.0085
2020-06-01 | 0.0082 | 0.0086
2020-06-02 | 0.0083 | 0.0087
2020-06-03 | 0.0089 | 0.00935
2020-06-04 | 0.0094 | 0.00985
2020-06-05 | 0.0101 | 0.01055
2020-06-09 | 0.00965 | 0.01015
2020-06-10 | 0.0094 | 0.00985
2020-06-11 | 0.00845 | 0.0089
2020-06-12 | 0.00835 | 0.00875
2020-06-15 | 0.0079 | 0.00825
2020-06-16 | 0.00835 | 0.0088
2020-06-17 | 0.0084 | 0.0088
2020-06-18 | 0.00805 | 0.00845
2020-06-19 | 0.0079 | 0.00825
2020-06-22 | 0.0079 | 0.00835
2020-06-23 | 0.00825 | 0.00865
2020-06-24 | 0.00845 | 0.00885
2020-06-25 | 0.00805 | 0.00845
2020-06-26 | 0.0079 | 0.0083
2020-06-29 | 0.00805 | 0.00845
2020-06-30 | 0.00795 | 0.00835
2020-07-01 | 0.00855 | 0.009
2020-07-02 | 0.0084 | 0.00885
2020-07-03 | 0.00825 | 0.0087
2020-07-06 | 0.0084 | 0.0089
2020-07-07 | 0.00805 | 0.0085
2020-07-08 | 0.00785 | 0.00835
2020-07-09 | 0.00815 | 0.0086
2020-07-10 | 0.0078 | 0.00825
2020-07-13 | 0.0082 | 0.00865
2020-07-14 | 0.0083 | 0.00875
2020-07-15 | 0.0079 | 0.00835
2020-07-16 | 0.00805 | 0.00845
2020-07-17 | 0.0079 | 0.0083
2020-07-20 | 0.00805 | 0.0085
2020-07-21 | 0.00785 | 0.0083
2020-07-22 | 0.0081 | 0.00855
2020-07-23 | 0.0079 | 0.00825
2020-07-24 | 0.00795 | 0.0083
2020-07-27 | 0.00815 | 0.0085
2020-07-28 | 0.00845 | 0.00885
2020-07-29 | 0.00805 | 0.00845
2020-07-30 | 0.00785 | 0.00825
2020-07-31 | 0.00745 | 0.00785
2020-08-04 | 0.0076 | 0.00795
2020-08-05 | 0.0075 | 0.0079
2020-08-06 | 0.00785 | 0.00825
2020-08-07 | 0.0076 | 0.008
2020-08-10 | 0.00795 | 0.00835
2020-08-11 | 0.008 | 0.00835
2020-08-12 | 0.00845 | 0.00885
2020-08-13 | 0.0082 | 0.00855
2020-08-14 | 0.0086 | 0.009
2020-08-17 | 0.00825 | 0.00865
2020-08-18 | 0.00795 | 0.00835
2020-08-19 | 0.00795 | 0.00835
2020-08-20 | 0.00785 | 0.00825
2020-08-21 | 0.00805 | 0.00845
2020-08-24 | 0.00785 | 0.00825
2020-08-25 | 0.00815 | 0.00855
2020-08-26 | 0.00875 | 0.0092
2020-08-27 | 0.00845 | 0.00885
2020-08-28 | 0.0094 | 0.00985
2020-08-31 | 0.00905 | 0.0095
2020-09-01 | 0.00895 | 0.0094
2020-09-02 | 0.00855 | 0.009
2020-09-03 | 0.0083 | 0.00875
2020-09-04 | 0.0081 | 0.0086
2020-09-07 | 0.0089 | 0.00935
2020-09-08 | 0.0089 | 0.0094
2020-09-09 | 0.00815 | 0.0086
2020-09-10 | 0.0085 | 0.009
2020-09-11 | 0.0083 | 0.0088
2020-09-14 | 0.00795 | 0.0084
2020-09-15 | 0.00785 | 0.0083
2020-09-16 | 0.0078 | 0.0083
2020-09-17 | 0.00765 | 0.0081
2020-09-18 | 0.0081 | 0.00855
2020-09-21 | 0.00775 | 0.0082
2020-09-22 | 0.00755 | 0.00795
2020-09-23 | 0.00725 | 0.0077
2020-09-24 | 0.00725 | 0.0077
2020-09-25 | 0.0072 | 0.00765
2020-09-28 | 0.00695 | 0.0074
2020-09-29 | 0.007 | 0.00745
2020-09-30 | 0.0071 | 0.00755
2020-10-01 | 0.00765 | 0.00815
2020-10-02 | 0.0071 | 0.0075
2020-10-06 | 0.00745 | 0.008
Note on C32: Andrei Costache: RBA table F16 https://www.rba.gov.au/statistics/tables/

## Graphs - BRCP breakdown
Capacity Year
| 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
PC ($AUD/MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 829446.75 | 878792.8332 | 865835.5707 | 834781.5319 | 810228.53 | 846751.15 | 843378.53 | 859629.3471 | 816437.1435
M (%) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 18.87% | 20.1% | 19.97% | 20% | 17.19% | 17.12% | 17.15% | 17.16% | 16.69%
CC (MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 159.6 | 150.5 | 150.5 | 150.5 | 148.5 | 151.4 | 151.4 | 152.28 | 152.28
TC ($AUD/MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 115124 | 141910 | 161194 | 160280 | 175444 | 174749 | 179028 | 181760 | 180927
FFC ($AUD) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 7069232.08 | 7206385.6294 | 7282059.8446 | 7089948.3878 | 6803923.69 | 6969444.026 | 7109637.85 | 7213563.7996 | 6966443.5115
LC ($AUD) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 2693872.28 | 2733933.1244 | 2751636.6139 | 2656498.8123 | 2430525.55 | 2394087.9383 | 2295990.53 | 2536249.7758 | 2421886.2443
ANNUALISED_FIXED_O&M ($AUD/Year) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 34238.67 | 33238.0089 | 32307.0168 | 32581.684 | 30143.2 | 30437 | 29776.44 | 31168.0145 | 31987.496
ANNUALISED_CAP_COST ($AUD/Year) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 19599805.92 | 21607991.7001 | 19938595.5093 | 19149362.0563 | 17776436.03 | 18644285.14 | 18835624.58 | 16860715.3925 | 15888821.2727
RESERVE CAPACITY PRICE ($AUD/MW) | 97835 | 108459 | 144235 | 131805 | 186001 | 178477 | 122428 | 120199 | 121888.94 | 111753 | 138760.39 | 126683.47 | 114134.15 | 78573.33
BRCP | 122500 | 142200 | 173400 | 164100 | 238500 | 240600 | 163900 | 157000 | 176800 | 164800 | 159800 | 149800 | 153600 | 154200 | 141900 | 136300
Capacity Year
| 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Power station cost (PC) | 107404 | 135701 | 134091 | 149306 | 158709.6228 | 113971.1198 | 104178.112 | 119941.7519 | 108648.7164 | 103897.6702 | 95744.972 | 99424.9581 | 100002.3339 | 89002.193 | 83164.434
Transmission cost (TC) | 18017 | 20672 | 13151 | 58493 | 51620.5221 | 12329.3428 | 12164.1448 | 16127.0107 | 16860.3036 | 16623.8291 | 17691.1641 | 17520.2376 | 18119.6534 | 16061.7868 | 15793.4018
Fixed O&M cost | 13363.3617 | 14392.0901 | 13431 | 27335 | 26648.64 | 33384.4889 | 34238.67 | 33238.0089 | 32307.0168 | 32581.684 | 30143.2 | 30437 | 29776.44 | 31168.0145 | 31987.496
Fixed fuel cost (FFC) | 3456 | 2631 | 3151 | 2615 | 2824.5858 | 2239.0742 | 4680.0992 | 5441.5406 | 5060.9758 | 4886.0545 | 4620.0946 | 4615.2747 | 4752.8108 | 4186.0321 | 3993.3792
Land cost (LC) | 0 | 0 | 293 | 769 | 817.6146 | 1972.5491 | 1783.4454 | 2064.3924 | 1912.3664 | 1830.7324 | 1650.4092 | 1585.4024 | 1534.8755 | 1471.7861 | 1388.2995
Reserve Capacity Price | 108459 | 144235 | 131805 | 186001 | 178477 | 122428 | 120199 | 121888.94 | 111752.53 | 138760.39 | 126683.47 | 114134.15 | 78573.33
BRCP | 142200 | 173400 | 164100 | 238500 | 240600 | 163900 | 157000 | 176800 | 164800 | 159800 | 149800 | 153600 | 154200 | 141900 | 136300

## Changes from previous BRCP
|  | Impact ($) | Impact (%) | BRCP ($)
1 | 2020 BRCP |  |  | 141900
2 | Escalation factors | -13000 | -9.161% | 128900
3 | Power station cost | 7600 | 5.356% | 136500
4 | Margin M | -400 | -0.2819% | 136100
5 | Fixed fuel cost | -100 | -0.07047% | 136000
6 | Land cost | -100 | -0.07047% | 135900
7 | Transmission cost | -100 | -0.07047% | 135800
8 | WACC | -1300 | -0.9161% | 134500
9 | CC allocation | 0 | 0% | 134500
10 | Fixed O&M | 1800 | 1.268% | 136300
11 | 2021 BRCP | -5600 | -3.946% | 136300
|  | 2020 BRCP | 2021 BRCP - draft | Difference between 2020 BRCP and draft 2021 BRCP [%] | Difference between 2020 BRCP and draft 2021 BRCP [$]
1 | BRCP | 141900 | 136300 | -3.946% | -5600
2 | ANNUALISED_FIXED_O&M | 31168.01 | 31987.496 | 2.629% | 819.486
3 | ANNUALISED_CAP_COST | 16860715.39 | 15888821.2727 | -5.764% | -971894.1173
4 | PC | 859629.35 | 816437.1435 | -5.025% | -43192.2065
5 | M | 17.16% | 16.69% | -2.725%
6 | TC | 181760 | 180927 | -0.4583% | -833
7 | FFC | 7213563.8 | 6966443.5115 | -3.426% | -247120.2885
8 | LC | 2536249.78 | 2421886.2443 | -4.509% | -114363.5357
9 | WACC | 3.51% | 3.344% | -4.716%
10 | CAP_COST | 194116340 | 185038881.1882 | -4.676% | -9077458.8118
11 | Generation O&M Costs | 14600.49 | 13931.3625 | -4.583% | -669.1275
12 | Switchyard O&M Costs | 543.83 | 543.715 | -0.02114% | -0.11496
13 | Transmission Line O&M Costs | 33.95 | 33.9351 | -0.04387% | -0.014894
14 | Asset Insurance Costs | 5393.43 | 6356.4305 | 17.86% | 963.0005
15 | Fixed Network Access/ ongoing charges | 10596.32 | 11122.0528 | 4.961% | 525.7328
16 | Nominal Risk Free Rate of Return | 0.98% | 0.941% | -3.982%
17 | Expected Inflation | 2.36% | 2.386% | 1.081%
18 | Real risk free rate of return | -1.35% | -1.415% | 4.828%
19 | Debt risk premium DRP | 2.23% | 2.01% | -9.865%
20 | Easement costs | 4890364.89 | 4713126.7875 | -3.624% | -177238.1025
21 | Shallow connection | 24101215 | 23223271 | -3.643% | -877944
22 | Diesel (c/L) | 0.814 | 0.464 | -43% | -0.35
23 | CC allocation | 152.28 | 152.28 | 0% | 0
24 | Premium rate | 0.228% | 0.3686% | 61.67%
Note on B34: Andrei Costache: From BRCP spreadsheet WACC tab
Note on B37: Andrei Costache: WP report
Note on B38: Andrei Costache: GHD report

## Waterfall chart
Data for waterfall
| 2020 BRCP | 141900
1 | Power station cost | 7600
2 | Transmission cost | -100
3 | Fixed O&M | 1800
4 | CC allocation | 0
5 | Fixed fuel cost | -100
6 | Land cost | -100
7 | Margin M | -400
8 | WACC | -1300
9 | Escalation Factors | -13000
| Proposed 2021 BRCP | 136300
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.