## 1 Storage_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 12.5032 | 10.0132 | 10.0981 | 9.1717 | 9.4161 | 9.8527 | 10.5345 | 12.9162 | 12.6304 | 12.6466 | 11.8756 | 11.8537
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.8613 | 5.2963 | 4.8335 | 4.1859 | 4.5701 | 5.114 | 5.5791 | 6.1053 | 6.6647 | 7.3933 | 7.4427 | 8.3393
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6349 | 10.9177 | 11.0362 | 11.0331 | 11.2692 | 11.8978 | 12.2654 | 12.1276 | 12.3857 | 13.1318 | 13.453 | 14.6329

## 2 Generator_CapacityFactor
Category | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Capacity Factor | % | 53.554 | 52.3081 | 48.6069 | 56.557 | 55.3039 | 52.1437 | 55.9465 | 56.9792 | 56.9463 | 58.0062 | 55.3593 | 54.1702 | 52.401 | 47.5452 | 47.9617
Black Coal QLD | Capacity Factor | % | 45.8699 | 45.4669 | 47.5048 | 50.1825 | 49.0656 | 49.8075 | 47.4533 | 51.7923 | 49.9436 | 51.4085 | 58.0424 | 54.0615 | 50.7882 | 51.2018 | 48.9421
Brown Coal VIC | Capacity Factor | % | 71.7055 | 68.0728 | 59.9514 | 59.3799 | 64.5492 | 62.8323 | 59.0055 | 62.5705 | 56.8211 | 54.5258 | 57.2169 | 56.8205 | 51.9281 | 66.5648 | 65.9259
Natural Gas NSW | Capacity Factor | % | 0.022565 | 0.034789 | 0.22582 | 0.6486 | 0.68584 | 1.2607 | 0.9458 | 0.65475 | 0.63805 | 0.89768 | 0.93083 | 0.81602 | 0.5286 | 0.61263 | 0.168
Natural Gas QLD | Capacity Factor | % | 6.8429 | 6.8301 | 5.882 | 4.9697 | 4.9622 | 5.0278 | 5.3181 | 5.5449 | 5.5703 | 5.433 | 6.2356 | 6.4039 | 5.7093 | 5.512 | 4.9767
Natural Gas VIC | Capacity Factor | % | 0.056567 | 0.036227 | 0.050901 | 0.016315 | 0.02162 | 0.036842 | 0.042238 | 0.009882 | 0.023422 | 0.035314 | 0.016108 | 0.01359 | 0.010544 | 0.043686 | 0.0056845
Natural Gas SA | Capacity Factor | % | 11.2981 | 11.1697 | 11.8422 | 8.9224 | 0.51524 | 0.3204 | 0.20267 | 0.1248 | 0.14804 | 0.14202 | 0.1324 | 0.12058 | 0.091874 | 0.12781 | 0.032394
Natural Gas TAS | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Capacity Factor | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Capacity Factor | % | 32.5265 | 32.4065 | 32.1246 | 32.8524 | 32.6008 | 31.9364 | 32.3681 | 32.3084 | 32.0044 | 31.7941 | 31.3013 | 31.4559 | 31.42 | 30.6395 | 30.8801
Wind QLD | Capacity Factor | % | 33.1676 | 33.1745 | 32.8656 | 33.7406 | 33.3449 | 32.6417 | 33.1208 | 33.0152 | 32.5339 | 32.1139 | 32.0291 | 32.3495 | 31.9841 | 31.4725 | 31.3662
Wind VIC | Capacity Factor | % | 33.4178 | 32.7527 | 31.6441 | 30.931 | 32.011 | 31.0611 | 31.8204 | 31.1991 | 31.0591 | 30.318 | 28.5833 | 28.7573 | 28.976 | 29.3499 | 29.0651
Wind SA | Capacity Factor | % | 31.5941 | 31.4792 | 30.9298 | 30.7297 | 31.8512 | 31.1914 | 31.6399 | 31.4859 | 31.2352 | 31.7681 | 31.1585 | 31.0131 | 30.8612 | 30.3254 | 30.3117
Wind TAS | Capacity Factor | % | 36.3422 | 36.0987 | 36.2807 | 36.4072 | 35.4509 | 35.965 | 36.0773 | 36.0563 | 36.4139 | 34.7656 | 35.6052 | 35.7586 | 35.8327 | 35.8369 | 36.1419
Solar NSW | Capacity Factor | % | 28.3728 | 28.2158 | 28.3809 | 28.1525 | 28.2328 | 28.2001 | 28.1504 | 27.8134 | 27.693 | 27.5558 | 27.0654 | 26.4605 | 25.8473 | 25.631 | 24.4008
Solar QLD | Capacity Factor | % | 30.4446 | 30.4269 | 30.4915 | 30.3862 | 30.5067 | 30.4295 | 30.3326 | 30.2479 | 29.5013 | 28.2484 | 29.1693 | 28.9735 | 27.8813 | 27.6789 | 25.5688
Solar VIC | Capacity Factor | % | 28.9381 | 29.1182 | 29.0433 | 28.1507 | 29.1285 | 28.348 | 28.5839 | 28.1077 | 28.2175 | 27.6571 | 25.6752 | 25.7176 | 25.5675 | 25.9809 | 25.1792
Solar SA | Capacity Factor | % | 30.3864 | 29.8621 | 29.8335 | 29.4497 | 29.5654 | 30.0829 | 30.6466 | 30.4632 | 30.399 | 30.3208 | 29.9801 | 29.1982 | 28.8314 | 28.7784 | 27.9909
REZ Solar NSW | Capacity Factor | % | 30.5836 | 30.493 | 30.6618 | 30.4902 | 30.4056 | 30.358 | 30.1594 | 30.0118 | 29.5054 | 29.2713 | 28.8084 | 28.2153 | 27.5414 | 27.2306 | 25.8715
REZ Wind NSW | Capacity Factor | % | 40.5478 | 40.6734 | 40.6029 | 41.2607 | 40.2075 | 39.8439 | 40.3425 | 40.482 | 40.2458 | 38.9035 | 38.7465 | 39.1703 | 39.2525 | 38.7959 | 38.958
REZ Solar QLD | Capacity Factor | % | 30.6549 | 30.6581 | 30.7868 | 30.4501 | 30.8009 | 30.7158 | 30.5434 | 30.5842 | 30.4015 | 30.0682 | 30.264 | 29.9795 | 29.396 | 29.4383 | 27.488
REZ Wind QLD | Capacity Factor | % | 2027: 44.3904; 2028: 44.4072; 2029: 43.5841; 2030: 44.2579; 2031: 44.1468; 2032: 43.7194; 2033: 43.208; 2034: 42.4998
REZ Solar SA | Capacity Factor | % | 30.4577 | 30.2543 | 30.1458 | 29.8531 | 30.5171 | 30.6846 | 30.9383 | 30.7918 | 30.982 | 30.8403 | 30.4324 | 30.0077 | 29.8215 | 29.6869 | 29.1258
REZ Wind TAS | Capacity Factor | % | 51.6813 | 51.6441 | 51.5326 | 51.727 | 50.5567 | 51.0763 | 51.3501 | 51.6441 | 51.6416 | 49.9247 | 50.9926 | 51.5014 | 51.7702 | 51.5326 | 51.9386
Hydro NSW | Capacity Factor | % | 19.4623 | 19.56 | 19.9747 | 20.3478 | 20.7632 | 20.5365 | 20.5933 | 20.9592 | 21.8254 | 22.4719 | 23.0965 | 23.4778 | 24.0379 | 24.1752 | 24.248
Hydro QLD | Capacity Factor | % | 37.9849 | 38.0714 | 38.2638 | 38.5124 | 38.908 | 38.9955 | 39.146 | 39.9684 | 40.5862 | 40.8073 | 41.1695 | 41.7717 | 41.8185 | 41.3428 | 41.5438
Hydro VIC | Capacity Factor | % | 15.3739 | 15.3047 | 15.3142 | 15.1422 | 15.3625 | 15.2839 | 15.3082 | 15.3241 | 15.423 | 15.364 | 15.4097 | 15.2774 | 15.33 | 15.32 | 15.2539
Hydro TAS | Capacity Factor | % | 52.8415 | 50.8901 | 51.7158 | 51.7689 | 52.2574 | 51.9696 | 52.3778 | 52.2994 | 52.4192 | 46.5246 | 42.1283 | 40.9451 | 40.2191 | 40.1779 | 36.9872
Large Scale Storage SA | Capacity Factor | % | 6.9176 | 7.0225 | 6.7393 | 6.8613 | 5.2963 | 4.8335 | 4.1859 | 4.5701 | 5.114 | 5.5791 | 6.1053 | 6.6647 | 7.3933 | 7.4427 | 8.3393
Large Scale Storage QLD | Capacity Factor | % | 11.9165 | 10.7097 | 10.6022 | 10.6349 | 10.9177 | 11.0362 | 11.0331 | 11.2692 | 11.8978 | 12.2654 | 12.1276 | 12.3857 | 13.1318 | 13.453 | 14.6329
Large Scale Storage VIC | Capacity Factor | % | 7.1708 | 9.0911 | 11.0862 | 12.5032 | 10.0132 | 10.0981 | 9.1717 | 9.4161 | 9.8527 | 10.5345 | 12.9162 | 12.6304 | 12.6466 | 11.8756 | 11.8537
Distributed Storage NSW | Capacity Factor | % | 0.21391 | 0.38222 | 0.53371 | 0.54432 | 0.12645 | 0.47917 | 0.3018 | 0.14129 | 0.11425 | 1.7664 | 1.2777 | 1.1966 | 1.2203 | 1.1094 | 1.4573
Distributed Storage QLD | Capacity Factor | % | 10.6582 | 10.4717 | 10.1475 | 9.8066 | 9.915 | 9.7064 | 9.3254 | 9.6014 | 10.2377 | 10.4981 | 10.4287 | 10.5152 | 11.0689 | 11.2566 | 12.8435
Distributed Storage SA | Capacity Factor | % | 16.3556 | 16.2252 | 15.4729 | 14.7688 | 14.4512 | 12.6073 | 11.4812 | 11.6441 | 11.4342 | 11.8122 | 12.1591 | 12.4161 | 12.8468 | 12.8065 | 12.5209
Distributed Storage TAS | Capacity Factor | % | 0.2226 | 0.4183 | 0.68251 | 0.83994 | 0.42426 | 0.93609 | 0.54614 | 0.30498 | 0.31793 | 2.9192 | 2.5263 | 2.5114 | 2.576 | 2.5443 | 3.1363
Distributed Storage VIC | Capacity Factor | % | 14.6949 | 14.3407 | 13.8139 | 16.3183 | 16.6953 | 17.38 | 15.5235 | 16.1249 | 16.3311 | 17.3397 | 19.3787 | 19.1169 | 18.9492 | 17.8126 | 17.9733
New Natural Gas NSW | Capacity Factor | % |  |  |  | 0.49458 | 0.37824 | 0.97328 | 0.34859 | 0.39337 | 0.47203 | 0.49064 | 0.41387 | 0.52508 | 0.38402 | 0.30728 | 0
New Natural Gas VIC | Capacity Factor | % |  |  |  | 0.36209 | 0.2571 | 0.34432 | 0.40753 | 0.22332 | 0.27035 | 0.3549 | 0.19938 | 0.18084 | 0.16359 | 0.58474 | 0.087861
New Natural Gas SA | Capacity Factor | %
Pumped Hydro SA | Capacity Factor | % | [5 empty] | 17.6452 | 16.3212 | 17.086 | 18.3882 | 20.336 | 20.4161 | 20.8998 | 21.3383 | 22.3544 | 21.9557
Pumped Hydro NSW | Capacity Factor | %
Pumped Hydro QLD | Capacity Factor | % | 2030: 22.8198; 2031: 23.3331; 2032: 23.4117; 2033: 23.3836; 2034: 23.5901
Pumped Hydro VIC | Capacity Factor | % | 2033: 17.0605; 2034: 16.315

## 3 Generator_GenerationCost
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation Cost | $000 | 955942.5211 | 920907.2227 | 898983.9803 | 902245.3933 | 865401.5965 | 848644.8165 | 922369.2534 | 905126.8519 | 911802.2715 | 784916.8845 | 750501.1082 | 734259.3742 | 704467.1277 | 638536.1341 | 630592.7885
Black Coal QLD | Black Coal | QLD | Generation Cost | $000 | 809889.1222 | 795262.4327 | 830838.4609 | 877544.5245 | 857809.2537 | 868147.9082 | 815167.8741 | 720394.2259 | 705943.9425 | 722016.6381 | 581827.1995 | 543196.8903 | 531064.5258 | 521929.8038 | 502838.0086
Brown Coal VIC | Brown Coal | VIC | Generation Cost | $000 | 309344.0245 | 295568.1211 | 264329.0761 | 262231.6803 | 285963.0927 | 278693.4068 | 258583.5747 | 278935.2335 | 252841.6234 | 242251.9941 | 259843.4053 | 260733.2719 | 242135.1854 | 198917.9118 | 197020.1624
Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 371.9867 | 376.8746 | 3504.2048 | 10870.398 | 11945.4849 | 20050.1743 | 14314.739 | 10475.4667 | 9946.8737 | 14395.3722 | 16290.6869 | 13338.1798 | 8431.101 | 8903.4056 | 2888.1207
Natural Gas QLD | Natural Gas | QLD | Generation Cost | $000 | 193104.7521 | 192783.9385 | 158362.4989 | 115580.7408 | 105823.3314 | 97536.5567 | 92747.8833 | 96537.1025 | 96989.5874 | 94992.1527 | 136109.0825 | 139070.4701 | 126790.2354 | 123221.1002 | 114345.3922
Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 2375.6763 | 1262.7241 | 2162.3645 | 519.9074 | 698.0605 | 1134.486 | 1065.9313 | 231.9386 | 535.3951 | 1377.3446 | 595.0425 | 278.4568 | 224.5329 | 893.6228 | 140.7688
Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 379846.7828 | 375858.4336 | 375714.8501 | 277301.0088 | 8552.9001 | 5978.175 | 4316.5843 | 2689.1131 | 3418.7612 | 3743.0092 | 3324.6223 | 2687.924 | 2100.0772 | 3516.3247 | 1004.1807
Natural Gas TAS | Natural Gas | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | Generation Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27782.6293 | 31596.8984 | 29864.3666 | 29920.9394 | 33457.6161 | 39701.4455 | 44980.7277 | 49556.4969 | 53244.1618 | 57499.1063 | 60224.7609 | 60729.9477
Hydro QLD | Hydro | QLD | Generation Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8056.8159 | 9039.9469 | 9641.0922 | 10025.8706 | 12515.5559 | 14233.3996 | 15165.4606 | 16392.8918 | 18286.0716 | 18185.2567 | 16925.5223 | 17241.2616
Hydro VIC | Hydro | VIC | Generation Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22140.3104 | 22503.2331 | 22493.6376 | 22482.2457 | 22497.4331 | 22591.8954 | 22561.793 | 22630.972 | 22507.9746 | 22519.0713 | 22399.5109 | 22255.4417
Hydro TAS | Hydro | TAS | Generation Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 62108.3548 | 62289.1977 | 62267.6548 | 62229.8357 | 62192.5915 | 62348.0744 | 58035.6742 | 55018.1099 | 53768.39 | 52475.2724 | 52397.3921 | 46763.0538
Large Scale Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | Generation Cost | $000 | 0 | 0 | 0 | 1591.0799 | 1520.9383 | 3810.2128 | 1329.0371 | 1459.6108 | 1751.4844 | 1820.5134 | 1535.6782 | 1948.2923 | 1424.8904 | 1140.1598 | 0
New Natural Gas VIC | Natural Gas | VIC | Generation Cost | $000 | 0 | 0 | 0 | 385.9462 | 267.9455 | 350.68 | 405.3917 | 216.851 | 262.522 | 345.0096 | 193.8188 | 175.8034 | 159.0326 | 568.4368 | 85.4117
New Natural Gas SA | Natural Gas | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 5759.9892 | 9228.7616 | 9662.2314 | 10400.2953 | 11506.4048 | 11549.7014 | 11826.583 | 12072.3536 | 12648.265 | 12422.3303
Pumped Hydro NSW | Hydro | NSW | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3999.6551 | 4091.3458 | 5064.5477 | 10725.8019 | 10820.7056
Pumped Hydro VIC | Hydro | VIC | Generation Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 8537.8658 | 8163.9273

## 4 Installed Capacity
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Installed Capacity | MW | 10040 | 10040 | 10040 | 8240 | 8240 | 8240 | 8240 | 8240 | 8240 | 6920 | 6920 | 6920 | 6920 | 6920 | 6920
Black Coal QLD | Black Coal | QLD | Installed Capacity | MW | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 8179 | 6719 | 6719 | 6719 | 5039 | 5039 | 5039 | 5039 | 5039
Brown Coal VIC | Brown Coal | VIC | Installed Capacity | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006 | 2006
Natural Gas QLD | Natural Gas | QLD | Installed Capacity | MW | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039 | 3039
Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 2495 | 1985 | 1985 | 1985
Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 2665.1 | 2665.1 | 2425.1 | 2425.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1 | 963.1
Natural Gas TAS | Natural Gas | TAS | Installed Capacity | MW | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163 | 163
Liquid Fuel NSW | Liquid Fuel | NSW | Installed Capacity | MW | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
Liquid Fuel QLD | Liquid Fuel | QLD | Installed Capacity | MW | 457.5 | 457.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5 | 423.5
Liquid Fuel SA | Liquid Fuel | SA | Installed Capacity | MW | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2 | 265.2
Wind NSW | Wind | NSW | Installed Capacity | MW | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500 | 1500
Wind QLD | Wind | QLD | Installed Capacity | MW | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676 | 676
Wind VIC | Wind | VIC | Installed Capacity | MW | 2914 | 3730 | 4240 | 4240 | 4640 | 5040 | 5040 | 5040 | 5340 | 5340 | 5740 | 5740 | 5740 | 5740 | 5740
Wind SA | Wind | SA | Installed Capacity | MW | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052 | 2052
Wind TAS | Wind | TAS | Installed Capacity | MW | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420 | 420
Solar NSW | Solar | NSW | Installed Capacity | MW | 446 | 446 | 446 | 446 | 446 | 446 | 443 | 446 | 446 | 446 | 446 | 446 | 446 | 446 | 446
Solar QLD | Solar | QLD | Installed Capacity | MW | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5 | 1224.5
Solar VIC | Solar | VIC | Installed Capacity | MW | 702 | 702 | 702 | 702 | 997 | 1407 | 1407 | 1407 | 1507 | 1507 | 1707 | 1707 | 1707 | 1707 | 1707
Solar SA | Solar | SA | Installed Capacity | MW | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320 | 320
REZ Solar NSW | Solar | NSW | Installed Capacity | MW | 1232 | 1232 | 1232 | 1232 | 1452 | 1452 | 1452 | 1452 | 1561 | 1561 | 1561 | 1561 | 1561 | 1561 | 1561
REZ Wind NSW | Wind | NSW | Installed Capacity | MW | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 135 | 710 | 710
REZ Solar QLD | Solar | QLD | Installed Capacity | MW | 670 | 670 | 670 | 670 | 670 | 670 | 670 | 1179 | 1824 | 1824 | 1824 | 1824 | 1824 | 1824 | 1824
REZ Wind QLD | Wind | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 115 | 579 | 1137 | 1137 | 1137 | 1137 | 1137
REZ Solar SA | Solar | SA | Installed Capacity | MW | 166 | 166 | 166 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389 | 389
REZ Wind TAS | Wind | TAS | Installed Capacity | MW | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 144 | 706 | 706 | 706 | 706 | 706 | 706
Hydro NSW | Hydro | NSW | Installed Capacity | MW | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862 | 2862
Hydro QLD | Hydro | QLD | Installed Capacity | MW | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4 | 652.4
Hydro VIC | Hydro | VIC | Installed Capacity | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219
Hydro TAS | Hydro | TAS | Installed Capacity | MW | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7 | 2191.7
Large Scale Storage SA | Battery | SA | Installed Capacity | MW | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130 | 130
Large Scale Storage QLD | Battery | QLD | Installed Capacity | MW | 3.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4 | 103.4
Large Scale Storage VIC | Battery | VIC | Installed Capacity | MW | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105 | 105
Distributed Storage NSW | Battery | NSW | Installed Capacity | MW | 50.31 | 112.14 | 191.76 | 285.63 | 392.11 | 507.96 | 629.21 | 755.21 | 884.1 | 1014.56 | 1146.74 | 1268.08 | 1374.69 | 1478.13 | 1602.842
Distributed Storage QLD | Battery | QLD | Installed Capacity | MW | 27.3846 | 61.869 | 103.6833 | 150.7139 | 200.5457 | 252.5092 | 305.4067 | 359.7307 | 415.478 | 472.3329 | 530.0762 | 588.5222 | 647.51 | 706.0588 | 776.6681
Distributed Storage SA | Battery | SA | Installed Capacity | MW | 9.3972 | 21.2282 | 36.5418 | 54.7233 | 75.2934 | 98.4033 | 123.269 | 149.5928 | 177.1413 | 205.7433 | 235.245 | 264.7586 | 293.3206 | 320.712 | 366.2419
Distributed Storage TAS | Battery | TAS | Installed Capacity | MW | 2.2148 | 4.8034 | 7.9288 | 11.7855 | 14.8346 | 17.4601 | 19.4244 | 21.3119 | 22.9989 | 24.4779 | 25.9328 | 27.3307 | 28.6784 | 29.9799 | 31.4826
Distributed Storage VIC | Battery | VIC | Installed Capacity | MW | 31.1482 | 68.3866 | 109.328 | 153.9304 | 200.9614 | 251.3966 | 303.5124 | 357.0578 | 410.7848 | 465.0942 | 520.6132 | 577.2093 | 634.7808 | 692.2289 | 757.7243
New Natural Gas NSW | Natural Gas | NSW | Installed Capacity | MW | 0 | 0 | 0 | 355 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455 | 455
New Natural Gas VIC | Natural Gas | VIC | Installed Capacity | MW | 0 | 0 | 0 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120 | 120
New Natural Gas SA | Natural Gas | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 326 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565 | 565
Pumped Hydro NSW | Hydro | NSW | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 175 | 175 | 216 | 458 | 458
Pumped Hydro VIC | Hydro | VIC | Installed Capacity | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 500 | 500

## 5 Generator_SRMC
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | SRMC | $/MWh | 19.7947 | 19.4115 | 19.3783 | 20.4562 | 20.3911 | 20.5803 | 20.5967 | 20.4549 | 20.5488 | 20.5724 | 20.7234 | 20.7612 | 20.7052 | 20.6118 | 20.3473
Black Coal QLD | Black Coal | QLD | SRMC | $/MWh | 21.5781 | 21.3651 | 21.3632 | 21.36 | 21.3651 | 21.3315 | 21.381 | 21.2455 | 21.1619 | 21.1934 | 20.2835 | 20.2835 | 20.5604 | 20.8219 | 20.8219
Brown Coal VIC | Brown Coal | VIC | SRMC | $/MWh | 8.2968 | 8.3525 | 8.3525 | 8.4082 | 8.4819 | 8.4819 | 8.4819 | 8.5376 | 8.6112 | 8.6112 | 8.6669 | 8.7405 | 8.7405 | 8.4674 | 8.4674
Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh | 78.3474 | 81.8931 | 89.7911 | 88.2366 | 85.6671 | 83.0494 | 80.5057 | 80.5057 | 79.7314 | 80.5399 | 80.5057 | 80.5057 | 80.5057 | 80.5057 | 76.1781
Natural Gas QLD | Natural Gas | QLD | SRMC | $/MWh | 88.0776 | 88.0776 | 76.6882 | 62.8261 | 59.0668 | 55.246 | 58.5664 | 60.1652 | 60.1652 | 58.4652 | 67.0675 | 70.3042 | 70.3042 | 62.337 | 54.5988
Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh | 105.2046 | 108.936 | 104.5285 | 98.587 | 96.2236 | 92.5217 | 88.8439 | 89.5502 | 89.5502 | 88.8439 | 89.7005 | 89.7005 | 90.415 | 90.415 | 90.415
Natural Gas SA | Natural Gas | SA | SRMC | $/MWh | 102.9472 | 83.0718 | 78.4268 | 96.9977 | 110.3737 | 95.2976 | 101.9932 | 86.8558 | 84.4571 | 81.4945 | 86.8641 | 81.4945 | 81.4945 | 81.4945 | 80.6123
Natural Gas TAS | Natural Gas | TAS | SRMC | $/MWh
Liquid Fuel NSW | Liquid Fuel | NSW | SRMC | $/MWh
Liquid Fuel QLD | Liquid Fuel | QLD | SRMC | $/MWh
Liquid Fuel SA | Liquid Fuel | SA | SRMC | $/MWh
Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar VIC | Solar | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar NSW | Solar | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar QLD | Solar | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | QLD | SRMC | $/MWh | 2027: 0; 2028: 0; 2029: 0; 2030: 0; 2031: 0; 2032: 0; 2033: 0; 2034: 0
REZ Solar SA | Solar | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro NSW | Hydro | NSW | SRMC | $/MWh | 0.009233 | 0.0093682 | 0.0095974 | 0.0098281 | 0.010273 | 0.01013 | 0.010113 | 0.010438 | 0.010743 | 0.010934 | 0.011065 | 0.011143 | 0.011193 | 0.011242 | 0.011216
Hydro QLD | Hydro | QLD | SRMC | $/MWh | 0.0098472 | 0.0098435 | 0.0098622 | 0.0098424 | 0.00988 | 0.0098609 | 0.0098505 | 0.009854 | 0.009862 | 0.009853 | 0.0098576 | 0.0098604 | 0.0098544 | 0.0098573 | 0.0098543
Hydro VIC | Hydro | VIC | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Hydro TAS | Hydro | TAS | SRMC | $/MWh | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626 | 0.0072626
Large Scale Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Scale Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage NSW | Battery | NSW | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage QLD | Battery | QLD | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage SA | Battery | SA | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage TAS | Battery | TAS | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Distributed Storage VIC | Battery | VIC | SRMC | $/MWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas NSW | Natural Gas | NSW | SRMC | $/MWh |  |  |  | 92.2738 | 89.7363 | 87.0973 | 84.5598 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223 | 82.0223
New Natural Gas VIC | Natural Gas | VIC | SRMC | $/MWh |  |  |  | 90.2438 | 88.0108 | 85.7778 | 83.5448 | 81.3118 | 81.3118 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133 | 81.4133
New Natural Gas SA | Natural Gas | SA | SRMC | $/MWh
Pumped Hydro SA | Hydro | SA | SRMC | $/MWh | [5 empty] | 0.011431 | 0.011425 | 0.011426 | 0.011428 | 0.011432 | 0.01143 | 0.011433 | 0.011431 | 0.011432 | 0.011431
Pumped Hydro NSW | Hydro | NSW | SRMC | $/MWh
Pumped Hydro QLD | Hydro | QLD | SRMC | $/MWh | 2030: 0.011433; 2031: 0.011438; 2032: 0.011433; 2033: 0.011433; 2034: 0.011433
Pumped Hydro VIC | Hydro | VIC | SRMC | $/MWh | 2033: 0.011426; 2034: 0.011425

## 6 Generator_Generation
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Black Coal NSW | Black Coal | NSW | Generation | GWh | 45692.9355 | 44725.0394 | 43050.0862 | 40582.7731 | 39571.0736 | 37509.6783 | 40376.61 | 40917.2685 | 40907.8782 | 34916.3916 | 33281.1533 | 32549.6125 | 31456.6879 | 28516.2895 | 28763.3699
Black Coal QLD | Black Coal | QLD | Generation | GWh | 35419.2091 | 34908.3843 | 36245.096 | 38006.8275 | 37058.6087 | 37526.1248 | 35864.0481 | 32126.1533 | 30980.0221 | 31812.3207 | 26356.2085 | 24355.3539 | 23126.497 | 23367.6498 | 22524.2027
Brown Coal VIC | Brown Coal | VIC | Generation | GWh | 30425.6683 | 28963.3683 | 26076.5484 | 25751.6596 | 27721.2154 | 27030.9144 | 24969.7932 | 26962.6908 | 24056.9036 | 23067.3092 | 24849.213 | 24700.6551 | 23097.5792 | 19140.9626 | 18958.7616
Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 4.9875 | 4.8825 | 43.1038 | 129.4823 | 136.1102 | 239.3421 | 178.4729 | 131.954 | 132.178 | 197.109 | 212.7259 | 166.6265 | 105.4722 | 119.0624 | 39.7344
Natural Gas QLD | Natural Gas | QLD | Generation | GWh | 2015.672 | 2011.3346 | 1725.8101 | 1452.4527 | 1444.6263 | 1462.2865 | 1544.1209 | 1606.2868 | 1613.4833 | 1580.552 | 1813.1179 | 1858.933 | 1653.7071 | 1597.4969 | 1445.264
Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 20.0561 | 10.3148 | 18.3842 | 4.5926 | 6.3506 | 10.6429 | 10.4198 | 2.2708 | 5.2442 | 13.3764 | 5.7365 | 2.7092 | 2.1819 | 8.6906 | 1.3643
Natural Gas SA | Natural Gas | SA | Generation | GWh | 5255.1252 | 5194.5153 | 5193.0926 | 3889.4071 | 98.7234 | 72.7058 | 55.5354 | 34.7552 | 44.7963 | 49.8745 | 43.7622 | 35.042 | 27.6375 | 47.4066 | 13.7679
Natural Gas TAS | Natural Gas | TAS | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | Generation | GWh | 4263.8195 | 4249.2062 | 4209.572 | 4303.843 | 4275.539 | 4189.3128 | 4243.6578 | 4235.7001 | 4199.9025 | 4182.576 | 4120.0762 | 4140.108 | 4134.076 | 4041.6785 | 4071.7795
Wind QLD | Wind | QLD | Generation | GWh | 1964.1524 | 1964.513 | 1946.5868 | 1998.1791 | 1974.7985 | 1933.8613 | 1961.5359 | 1956.1604 | 1931.4122 | 1912.6063 | 1902.9424 | 1924.1372 | 1904.7612 | 1875.7334 | 1871.4595
Wind VIC | Wind | VIC | Generation | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 11441.6779 | 13103.1399 | 13994.9825 | 14237.2734 | 13963.9298 | 15000.733 | 14640.285 | 14908.1709 | 15042.159 | 15071.215 | 15220.32 | 15063.4657
Wind SA | Wind | SA | Generation | GWh | 5783.5017 | 5756.6032 | 5652.5118 | 5622.426 | 5820.3953 | 5692.0868 | 5780.2434 | 5749.4557 | 5705.4024 | 5801.9124 | 5686.6897 | 5666.7218 | 5640.6471 | 5539.1481 | 5543.8937
Wind TAS | Wind | TAS | Generation | GWh | 1336.9399 | 1327.8316 | 1334.5017 | 1338.7756 | 1303.5839 | 1322.4375 | 1326.755 | 1325.9576 | 1339.1115 | 1277.3592 | 1307.2643 | 1312.2855 | 1314.7806 | 1314.9102 | 1325.6551
Solar NSW | Solar | NSW | Generation | GWh | 1093.2397 | 1086.5503 | 1093.159 | 1083.9631 | 1087.2049 | 1085.2632 | 1073.7977 | 1069.5516 | 1062.3552 | 1056.6401 | 1036.6787 | 1013.166 | 987.6816 | 976.0781 | 926.1335
Solar QLD | Solar | QLD | Generation | GWh | 3242.6655 | 3241.5002 | 3248.052 | 3238.3641 | 3249.5185 | 3242.7532 | 3231.3003 | 3223.5506 | 3152.8148 | 3029.8582 | 3119.0383 | 3097.5102 | 2987.5957 | 2967.3857 | 2750.4897
Solar VIC | Solar | VIC | Generation | GWh | 1793.455 | 1797.396 | 1778.5248 | 1710.4659 | 2528.2764 | 3482.1498 | 3518.4002 | 3445.3166 | 3674.9727 | 3576.2098 | 3719.336 | 3736.0734 | 3708.2991 | 3802.8874 | 3683.8029
Solar SA | Solar | SA | Generation | GWh | 851.1289 | 838.1155 | 835.1654 | 822.0853 | 832.2673 | 845.9158 | 859.6178 | 854.4553 | 855.1501 | 851.352 | 841.2069 | 823.1977 | 813.3246 | 810.6002 | 787.803
REZ Solar NSW | Solar | NSW | Generation | GWh | 3306.1307 | 3300.2477 | 3315.9621 | 3304.9014 | 3876.5629 | 3871.2821 | 3849.7535 | 3832.4031 | 4085.3672 | 4054.063 | 3987.9659 | 3897.6562 | 3820.6759 | 3805.9662 | 3635.7265
REZ Wind NSW | Wind | NSW | Generation | GWh | 479.518 | 481.0031 | 480.1699 | 487.949 | 475.4939 | 471.1943 | 477.0905 | 478.7403 | 475.9469 | 460.0725 | 458.216 | 463.2275 | 464.2 | 2412.9492 | 2423.0327
REZ Solar QLD | Solar | QLD | Generation | GWh | 1797.4255 | 1797.9831 | 1804.313 | 1785.8149 | 1805.5182 | 1800.5367 | 1791.2723 | 3162.5488 | 4897.744 | 4860.4529 | 4869.422 | 4825.7697 | 4747.0146 | 4760.5449 | 4447.755
REZ Wind QLD | Wind | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 447.1888 | 447.3583 | 2211.1503 | 4410.1049 | 4396.6383 | 4353.9076 | 4307.8231 | 4239.6784
REZ Solar SA | Solar | SA | Generation | GWh | 441.1476 | 438.3862 | 437.1175 | 1021.7241 | 1044.4784 | 1054.1395 | 1064.1712 | 1058.7209 | 1065.4825 | 1059.2704 | 1046.2311 | 1031.1306 | 1024.0569 | 1018.0786 | 994.4755
REZ Wind TAS | Wind | TAS | Generation | GWh | 651.9291 | 651.4599 | 650.0528 | 652.5051 | 637.7429 | 644.297 | 647.7505 | 651.4599 | 651.4275 | 3087.6249 | 3153.6656 | 3185.138 | 3201.7614 | 3187.0644 | 3212.1755
Hydro NSW | Hydro | NSW | Generation | GWh | 3134.873 | 3169.5154 | 3276.8206 | 3381.9254 | 3590.5819 | 3487.6405 | 3492.7253 | 3690.1534 | 4046.61 | 4342.2457 | 4597.5258 | 4803.6336 | 5045.5601 | 5193.5588 | 5222.7583
Hydro QLD | Hydro | QLD | Generation | GWh | 733.3337 | 751.7768 | 791.4388 | 830.9024 | 886.9717 | 919.6956 | 942.5083 | 1083.8558 | 1181.5437 | 1233.8635 | 1302.6101 | 1409.224 | 1405.5278 | 1333.3384 | 1352.365
Hydro VIC | Hydro | VIC | Generation | GWh | 3116.127 | 3094.8103 | 3083.141 | 3048.5267 | 3098.498 | 3097.1768 | 3095.6082 | 3097.6994 | 3110.706 | 3106.5612 | 3116.0865 | 3099.1509 | 3100.6788 | 3084.2164 | 3064.3793
Hydro TAS | Hydro | TAS | Generation | GWh | 8582.6871 | 8574.0064 | 8540.9004 | 8551.7763 | 8576.6767 | 8573.7105 | 8568.5031 | 8563.3749 | 8584.7835 | 7991.0038 | 7575.5117 | 7403.4362 | 7225.3852 | 7214.6618 | 6438.8628
Large Scale Storage SA | Battery | SA | Generation | GWh | 94.6286 | 95.5423 | 91.8829 | 92.4512 | 73.9234 | 69.1399 | 61.1246 | 65.0891 | 70.6409 | 75.9359 | 81.0462 | 87.2079 | 94.8414 | 95.7503 | 105.6874
Large Scale Storage QLD | Battery | QLD | Generation | GWh | 3.3714 | 77.4693 | 76.1375 | 76.4236 | 78.792 | 79.3885 | 79.6544 | 81.7092 | 87.9107 | 92.5954 | 90.3729 | 92.8548 | 101.8691 | 104.7515 | 117.5173
Large Scale Storage VIC | Battery | VIC | Generation | GWh | 63.7849 | 77.2795 | 93.7385 | 107.8324 | 87.7468 | 91.3371 | 82.6111 | 85.1946 | 89.3545 | 95.7649 | 117.9149 | 115.3916 | 115.6509 | 108.2189 | 108.4934
Distributed Storage NSW | Battery | NSW | Generation | GWh | 0.94274 | 3.7547 | 8.9653 | 13.6195 | 4.3435 | 21.3217 | 16.6348 | 9.3474 | 8.8486 | 156.9853 | 128.3533 | 132.921 | 146.9515 | 143.6464 | 204.6244
Distributed Storage QLD | Battery | QLD | Generation | GWh | 25.5679 | 56.7537 | 92.166 | 129.4723 | 174.185 | 214.7028 | 249.4885 | 302.5619 | 372.6089 | 434.3735 | 484.2546 | 542.1077 | 627.8469 | 696.2285 | 873.8249
Distributed Storage SA | Battery | SA | Generation | GWh | 13.4639 | 30.1722 | 49.5295 | 70.7982 | 95.3155 | 108.6766 | 123.9784 | 152.5886 | 177.4309 | 212.8929 | 250.569 | 287.9652 | 330.0964 | 359.7919 | 401.7041
Distributed Storage TAS | Battery | TAS | Generation | GWh | 0.043188 | 0.17601 | 0.47405 | 0.86715 | 0.55133 | 1.4318 | 0.9293 | 0.56937 | 0.64053 | 6.2596 | 5.7389 | 6.0127 | 6.4715 | 6.6819 | 8.6497
Distributed Storage VIC | Battery | VIC | Generation | GWh | 40.0962 | 85.9106 | 132.2978 | 220.0403 | 293.9081 | 382.7486 | 412.7343 | 504.3588 | 587.6699 | 706.4577 | 883.7797 | 966.6176 | 1053.7029 | 1080.1456 | 1193.0102
New Natural Gas NSW | Natural Gas | NSW | Generation | GWh | 0 | 0 | 0 | 15.3805 | 15.076 | 38.793 | 13.8939 | 15.6791 | 18.8144 | 19.5559 | 16.4962 | 20.9285 | 15.3061 | 12.2475 | 0
New Natural Gas VIC | Natural Gas | VIC | Generation | GWh | 0 | 0 | 0 | 3.8063 | 2.7026 | 3.6195 | 4.2839 | 2.3475 | 2.8419 | 3.7307 | 2.0958 | 1.901 | 1.7197 | 6.1467 | 0.92359
New Natural Gas SA | Natural Gas | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro SA | Hydro | SA | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 503.9033 | 807.8017 | 845.654 | 910.1047 | 1006.5112 | 1010.4753 | 1034.4125 | 1056.1154 | 1106.4062 | 1086.6767
Pumped Hydro NSW | Hydro | NSW | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pumped Hydro QLD | Hydro | QLD | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 349.8275 | 357.6961 | 442.9864 | 938.1675 | 946.4549
Pumped Hydro VIC | Hydro | VIC | Generation | GWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 747.2503 | 714.5965

## 7 REZ_CapacityBuilt
REZ | Category | Property | Units | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
REZ Solar NSW | Solar | Capacity Change | MW | 0 | 0 | 0 | 220 | 0 | 0 | 0 | 109 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 575 | 0
REZ Solar QLD | Solar | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 509 | 645 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind QLD | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 0 | 357 | 202 | 0 | 0 | 0 | 0
REZ Solar SA | Solar | Capacity Change | MW | 0 | 0 | 223 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind TAS | Wind | Capacity Change | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 562 | 0 | 0 | 0 | 0 | 0
REZ Wind VIC | Wind | Capacity Change | MW | 816 | 510 | 0 | 400 | 400 | 0 | 0 | 300 | 0 | 400 | 0 | 0 | 0 | 0
REZ Solar VIC | Solar | Capacity Change | MW | 0 | 0 | 0 | 295 | 410 | 0 | 0 | 100 | 0 | 200 | 0 | 0 | 0 | 0

## 8 Generator_VOM
Category | Technology | State | Property | Units | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034
Biomass NSW | Biomass | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Black Coal NSW | Black Coal | NSW | VO&M Cost | $000 | 49814.4157 | 48760.9898 | 46973.6311 | 44349.2433 | 43198.5979 | 40934.7083 | 44074.2665 | 44680.3032 | 44669.8772 | 38169.3176 | 36380.8763 | 35580.7774 | 34385.4938 | 31202.8255 | 31440.5417
Black Coal QLD | Black Coal | QLD | VO&M Cost | $000 | 71318.3594 | 68996.0373 | 71624.0491 | 75009.5481 | 73324.8012 | 74122.4569 | 66676.0455 | 54520.797 | 55135.5883 | 55756.9919 | 50675.5394 | 49108.686 | 40763.424 | 45707.4342 | 43321.3849
Brown Coal VIC | Brown Coal | VIC | VO&M Cost | $000 | 34469.8114 | 32810.5402 | 29517.7633 | 29154.3562 | 31393.1352 | 30609.7445 | 28319.9447 | 30529.9792 | 27245.2672 | 26122.4378 | 28130.5366 | 27961.4387 | 26124.5068 | 21592.7033 | 21387.4559
Hydro NSW | Hydro | NSW | VO&M Cost | $000 | 23464.3969 | 24135.1081 | 25940.5213 | 27782.6293 | 31596.8984 | 29864.3666 | 29920.9394 | 33457.6161 | 39701.4455 | 44980.7277 | 49556.4969 | 53244.1618 | 57499.1063 | 60224.7609 | 60729.9477
Hydro QLD | Hydro | QLD | VO&M Cost | $000 | 6335.4059 | 6659.1916 | 7375.7415 | 8056.8159 | 9039.9469 | 9641.0922 | 10025.8706 | 12515.5559 | 14233.3996 | 15165.4606 | 16392.8918 | 18286.0716 | 18185.2567 | 16925.5223 | 17241.2616
Hydro TAS | Hydro | TAS | VO&M Cost | $000 | 62332.8487 | 62269.8043 | 62029.3676 | 62108.3548 | 62289.1977 | 62267.6548 | 62229.8357 | 62192.5915 | 62348.0744 | 58035.6742 | 55018.1099 | 53768.39 | 52475.2724 | 52397.3921 | 46763.0538
Hydro VIC | Hydro | VIC | VO&M Cost | $000 | 22631.2657 | 22476.4505 | 22391.701 | 22140.3104 | 22503.2331 | 22493.6376 | 22482.2457 | 22497.4331 | 22591.8954 | 22561.793 | 22630.972 | 22507.9746 | 22519.0713 | 22399.5109 | 22255.4417
Large Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar QLD | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar SA | Solar | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Large Solar VIC | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel NSW | Liquid Fuel | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel QLD | Liquid Fuel | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Liquid Fuel SA | Liquid Fuel | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 37.1635 | 36.6246 | 331.1186 | 1059.2649 | 1196.3632 | 2035.0349 | 1520.1827 | 1117.0622 | 1078.7449 | 1568.5223 | 1755.6997 | 1418.2506 | 897.0148 | 956.1307 | 316.3132
Natural Gas QLD | Gas | QLD | VO&M Cost | $000 | 16871.9949 | 16843.4925 | 13721.9818 | 10696.2981 | 10637.4434 | 10769.1168 | 11377.7657 | 11847.0905 | 11900.3981 | 11648.9193 | 13399.4796 | 13771.1216 | 12210.6082 | 11781.7627 | 10641.3074
Natural Gas SA | Gas | SA | VO&M Cost | $000 | 33782.8433 | 33423.9215 | 33467.5455 | 25173.758 | 1124.4044 | 831.2709 | 636.9336 | 398.7597 | 514.7958 | 573.7779 | 502.8629 | 402.5889 | 317.7085 | 545.7785 | 158.6665
Natural Gas TAS | Gas | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 244.6436 | 129.2184 | 232.7674 | 58.3324 | 79.8645 | 122.7523 | 114.4331 | 24.5197 | 56.6268 | 152.5693 | 63.4176 | 29.9422 | 23.5602 | 93.8405 | 14.7317
New Natural Gas NSW | Gas | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 157.6888 | 154.5669 | 397.7258 | 142.4477 | 160.7501 | 192.8948 | 200.4971 | 169.1276 | 214.5696 | 156.9263 | 125.5683 | 0
New Natural Gas SA | Gas | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New Natural Gas VIC | Gas | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 39.0239 | 27.7089 | 37.109 | 43.9211 | 24.0678 | 29.1367 | 38.2494 | 21.4877 | 19.4904 | 17.6311 | 63.0196 | 9.4691
REZ Solar NSW | Solar | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Qld | Solar | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Solar Vic | Solar | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Qld | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REZ Wind Vic | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind NSW | Wind | NSW | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind QLD | Wind | QLD | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind SA | Wind | SA | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind TAS | Wind | TAS | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Wind VIC | Wind | VIC | VO&M Cost | $000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 9 VIC_Firm Capacity
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Brown Coal | MW | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 4808 | 3280 | 3280
Natural Gas | MW | 2495 | 2495 | 2495 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2615 | 2105 | 2105 | 2105
Wind | MW | 218.55 | 279.75 | 318 | 318 | 348 | 378 | 378 | 378 | 400.5 | 400.5 | 430.5 | 430.5 | 430.5 | 430.5 | 430.5
Solar | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Hydro | MW | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2219 | 2719 | 2719
Battery | MW | 136.1482 | 173.3866 | 214.328 | 258.9304 | 305.9614 | 356.3966 | 408.5124 | 462.0578 | 515.7848 | 570.0942 | 625.6132 | 682.2093 | 739.7808 | 797.2289 | 862.7243
Curtailable Load | MW | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Capacity Interchange | MW | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878 | 878
Peak Load | MW | 8993.2859 | 8923.6992 | 8621.9724 | 8262.8657 | 8451.5772 | 8505.1453 | 8586.1721 | 8652.7299 | 8609.5263 | 8685.1516 | 8733.0712 | 8699.9998 | 8659.4423 | 8548.4421 | 8249.9372
Peak Load + Min Capacity Reserves | MW | 9491.2859 | 9421.6992 | 9119.9724 | 8760.8657 | 8949.5772 | 9003.1453 | 9084.1721 | 9150.7299 | 9107.5263 | 9183.1516 | 9231.0712 | 9197.9998 | 9157.4423 | 9046.4421 | 8747.9372

## 10 VRET
| Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
% of Renewable Generation in VIC | % | 33.9425 | 38.3562 | 42.475 | 42.8197 | 44.3099 | 46.9683 | 49.4322 | 47.3861 | 51.5909 | 52.2388 | 50.8381 | 51.2029 | 52.8875 | 58.2549 | 58.2027
Wind | GWh | 8418.3603 | 10528.0213 | 11538.9864 | 11441.6779 | 13103.1399 | 13994.9825 | 14237.2734 | 13963.9298 | 15000.733 | 14640.285 | 14908.1709 | 15042.159 | 15071.215 | 15220.32 | 15063.4657
Solar | GWh | 1793.455 | 1797.396 | 1778.5248 | 1710.4659 | 2528.2764 | 3482.1498 | 3518.4002 | 3445.3166 | 3674.9727 | 3576.2098 | 3719.336 | 3736.0734 | 3708.2991 | 3802.8874 | 3683.8029
Hydro | GWh | 3116.127 | 3094.8103 | 3083.141 | 3048.5267 | 3098.498 | 3097.1768 | 3095.6082 | 3097.6994 | 3110.706 | 3106.5612 | 3116.0865 | 3099.1509 | 3100.6788 | 3831.4666 | 3778.9758
Rooftop PV | GWh | 2286.4802 | 2603.6883 | 2913.2601 | 3211.9298 | 3504.5176 | 3798.5476 | 4056.3601 | 4311.8059 | 4581.8446 | 4802.9877 | 4996.7772 | 5181.2241 | 5365.7008 | 5535.3927 | 5689.3255
Total Generation | GWh | 46164.028 | 47160.7892 | 45634.8813 | 45500.5315 | 50346.3553 | 51892.1193 | 50387.4843 | 52375.6142 | 51110.2704 | 50012.6827 | 52599.1106 | 52845.8819 | 51516.7283 | 48734.2312 | 48478.1229

## 11 Constraint Binding Hours
Category | Units | 2020-06-30 | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30 | 2032-06-30 | 2033-06-30 | 2034-06-30
Avoid overload of Ararat - Waubra transmission line | Annual hours | 69 | 85 | 436 | 419 | 616 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Elaine transmission line | Annual hours | 0 | 6 | 3 | 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Terang transmission line | Annual hours | 0 | 0 | 526 | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Ballarat - Waubra transmission line | Annual hours | 2271 | 2050 | 2646 | 1841 | 1250 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Balranald - Darlington Point transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Fosterville - Shepparton transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bendigo - Kerang transmission line | Annual hours | 731 | 700 | 864 | 658 | 10 | 4 | 6 | 6 | 5 | 2 | 4 | 5 | 6 | 8 | 19
Avoid overload of Bendigo - North Ballarat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 2 | 13 | 13 | 5 | 1 | 4
Avoid overload of Bulgana - Crowlands transmission line | Annual hours | 0 | 0 | 0 | 1 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Horsham transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Bulgana - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Buronga - Balranald transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Crowlands to Ararat transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Elaine - Moorabool transmission line | Annual hours | 0 | 117 | 563 | 226 | 209 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Keilor transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Geelong - Moorabool transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Bulgana transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of Horsham - Red Cliffs transmission line | Annual hours | 0 | 0 | 9 | 62 | 227 | 4 | 5 | 5 | 3 | 1 | 2 | 2 | 0 | 1 | 5
Avoid overload of Kerang - Wemen - Red Cliffs transmission line | Annual hours | 68 | 85 | 163 | 311 | 182 | 579 | 623 | 554 | 481 | 428 | 758 | 737 | 652 | 753 | 647
Avoid overload of Moorabool - Terang transmission line | Annual hours | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Avoid overload of North Ballarat - Waubra transmission line | Annual hours | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Victoria to New South Wales export stability constraint | Annual hours | 3754 | 4735 | 6204 | 7265 | 6900 | 6923 | 5255 | 6400 | 5454 | 5159 | 6378 | 5907 | 5137 | 3168 | 2986