## Queensland
Queensland (regional reference node is South Pine 275)
Queensland Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Abermain | 33 | QABM | 0.999 | 0.9965
Abermain | 110 | QABR | 0.9951 | 0.9945
Alan Sherriff | 132 | QASF | 1.0781 | 1.0855
Algester | 33 | QALG | 1.0138 | 1.0112
Alligator Creek | 132 | QALH | 1.0383 | 1.0627
Alligator Creek | 33 | QALC | 1.0452 | 1.0627
Ashgrove West | 33 | QAGW | 1.0152 | 1.0152
Ashgrove West | 110 | QCBW | 1.0125 | 1.0141
Belmont | 110 | QBMH | 1.0091 | 1.0067
Belmont Wecker Road | 33 | QBBS | 0.9993 | 1.0012
Belmont Wecker Road | 11 | QMOB | 1.0308 | 1.0313
Biloela | 66/11 | QBIL | 0.9456 | 0.9625
Blackstone | 110 | QBKS | 0.9968 | 0.9953
Blackwater | 66/11 | QBWL | 1.0265 | 1.0575
Blackwater | 132 | QBWH | 1.0262 | 1.0565
Bluff | 132 | QBLF | 1.0252 | 1.0594
Bolingbroke | 132 | QBNB | 1.024 | 1.0447
Bowen North | 66 | QBNN | 1.0337 | 1.0586
Boyne Island | 275 | QBOH | 0.9868 | 1.005
Boyne Island | 132 | QBOL | 0.9824 | 1.0054
Braemar - Kumbarilla Park | 275 | QBRE | 0.9573 | 0.9593
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9638 | 0.9608
Bulli Creek (Waggamba) | 132 | QBLK | 0.9638 | 0.9608
Bundamba | 110 | QBDA | 0.9983 | 0.9961
Burton Downs | 132 | QBUR | 1.0425 | 1.0679
Cairns | 22 | QCRN | 1.0904 | 1.0928
Cairns City | 132 | QCNS | 1.0895 | 1.0914
Callemondah (Rail) | 132 | QCMD | 0.975 | 0.993
Calliope River | 132 | QCAR | 0.9747 | 0.9906
Cardwell | 22 | QCDW | 1.0856 | 1.0893
Chinchilla | 132 | QCHA | 0.9705 | 0.9722
Clare | 66 | QCLR | 1.091 | 1.099
Collinsville Load | 33 | QCOL | 1.0444 | 1.0637
Columboola | 132 | QCBL | 0.9692 | 0.9651
Coppabella (Rail) | 132 | QCOP | 1.061 | 1.0767
Dan Gleeson | 66 | QDGL | 1.0786 | 1.0869
Dingo (Rail) | 132 | QDNG | 1.0059 | 1.0481
Duaringa | 132 | QDRG | 0.9955 | 1.0381
Dysart | 66/22 | QDYS | 1.0494 | 1.0696
Eagle Downs Mine | 132 | QEGD | 1.0617 | 1.0798
Edmonton | 22 | QEMT | 1.0946 | 1.0934
Egans Hill | 66 | QEGN | 0.9686 | 0.988
El Arish | 22 | QELA | 1.0883 | 1.0922
Garbutt | 66 | QGAR | 1.0816 | 1.0887
Gin Gin | 132 | QGNG | 0.9883 | 1.0024
Gladstone South | 66/11 | QGST | 0.9784 | 0.9961
Goodna | 33 | QGDA | 1.0027 | 1.0013
Goonyella Riverside Mine | 132 | QGYR | 1.0813 | 1.0973
Grantleigh (Rail) | 132 | QGRN | 0.9672 | 1.0116
Gregory (Rail) | 132 | QGRE | 1.0091 | 1.0288
Ingham | 66 | QING | 1.126 | 1.0936
Innisfail | 22 | QINF | 1.1001 | 1.096
Invicta Load | 132 | QINV | 1.0327 | 1.1033
Kamerunga | 22 | QKAM | 1.0945 | 1.0949
Kemmis | 132 | QEMS | 1.037 | 1.0581
King Creek | 132 | QKCK | 1.0475 | 1.07
Lilyvale | 66 | QLIL | 1.0122 | 1.0373
Lilyvale (Barcaldine) | 132 | QLCM | 1.0061 | 1.0328
Loganlea | 33 | QLGL | 1.0117 | 1.0118
Loganlea | 110 | QLGH | 1.008 | 1.0078
Mackay | 33 | QMKA | 1.0392 | 1.0602
Middle Ridge (Energex) | 110 | QMRX | 0.9746 | 0.9729
Middle Ridge (Ergon) | 110 | QMRG | 0.9746 | 0.9729
Mindi (Rail) | 132 | QMND | 1.0177 | 1.0365
Molendinar | 110 | QMAR | 1.0106 | 1.0042
Molendinar | 33 | QMAL | 1.0102 | 1.0039
Moranbah (Mine) | 66 | QMRN | 1.0721 | 1.089
Moranbah (Town) | 11 | QMRL | 1.0526 | 1.0824
Moranbah South (Rail) | 132 | QMBS | 1.073 | 1.0871
Moranbah Substation | 132 | QMRH | 1.0719 | 1.0839
Moura | 66/11 | QMRA | 0.9779 | 1.0056
Mt McLaren (Rail) | 132 | QMTM | 1.0783 | 1.0875
Mudgeeraba | 33 | QMGL | 1.0121 | 1.0041
Mudgeeraba | 110 | QMGB | 1.0113 | 1.0036
Murarrie (Belmont) | 110 | QMRE | 1.01 | 1.0069
Nebo | 11 | QNEB | 1.0116 | 1.0343
Newlands | 66 | QNLD | 1.0809 | 1.0977
North Goonyella | 132 | QNGY | 1.082 | 1.0981
Norwich Park (Rail) | 132 | QNOR | 1.0362 | 1.0559
Oakey | 110 | QOKT | 0.9684 | 0.9725
Oonooie (Rail) | 132 | QOON | 1.0399 | 1.0703
Orana LNG | 275 | QORH | 0.9633 | 0.9625
Palmwoods | 132 | QPWD | 1.012 | 1.0124
Pandoin | 132 | QPAN | 0.9699 | 0.9914
Pandoin | 66 | QPAL | 0.97 | 0.9909
Peak Downs (Rail) | 132 | QPKD | 1.0672 | 1.0832
Pioneer Valley | 66 | QPIV | 1.0487 | 1.0568
Proserpine | 66 | QPRO | 1.077 | 1.0937
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9829 | 0.9974
Queensland Nickel (Yabulu) | 132 | QQNH | 1.0735 | 1.0779
Raglan | 275 | QRGL | 0.9686 | 0.9886
Redbank Plains | 11 | QRPN | 1.0007 | 0.9996
Richlands | 33 | QRLD | 1.0129 | 1.0099
Rockhampton | 66 | QROC | 0.9726 | 0.9949
Rocklands (Rail) | 132 | QRCK | 0.9657 | 0.9858
Rocklea (Archerfield) | 110 | QRLE | 1.0052 | 1.0039
Ross | 132 | QROS | 1.0667 | 1.0764
Runcorn | 33 | QRBS | 1.015 | 1.0123
South Pine | 110 | QSPN | 1.0049 | 1.0057
Stony Creek | 132 | QSYC | 1.0449 | 1.0805
Sumner | 110 | QSUM | 1.0057 | 1.0044
Tangkam (Dalby) | 110 | QTKM | 0.9717 | 0.9747
Tarong | 66 | QTRL | 0.9691 | 0.9711
Teebar Creek | 132 | QTBC | 1.0033 | 1.0107
Tennyson | 33 | QTNS | 1.01 | 1.0076
Tennyson (Rail) | 110 | QTNN | 1.0082 | 1.0056
Townsville East | 66 | QTVE | 1.0763 | 1.0886
Townsville South | 66 | QTVS | 1.0774 | 1.0872
Townsville South (KZ) | 132 | QTZS | 1.0765 | 1.0916
Tully | 22 | QTLL | 1.1188 | 1.1003
Turkinje | 66 | QTUL | 1.1103 | 1.1137
Turkinje (Craiglee) | 132 | QTUH | 1.1077 | 1.1127
Wandoan South | 132 | QWSH | 0.981 | 0.9744
Wandoan South (NW Surat) | 275 | QWST | 0.98 | 0.9737
Wandoo (Rail) | 132 | QWAN | 1.0236 | 1.0387
Wivenhoe Pump | 275 | QWIP | 0.994 | 0.9941
Woolooga (Energex) | 132 | QWLG | 0.9984 | 1.0062
Woolooga (Ergon) | 132 | QWLN | 0.9984 | 1.0062
Woree | 132 | QWRE | 1.0887 | 1.0902
Wotonga (Rail) | 132 | QWOT | 1.0616 | 1.0769
Wycarbah | 132 | QWCB | 0.9585 | 0.9901
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.9717 | 0.9901
Yarwun – Rio Tinto | 132 | QYAR | 0.9716 | 0.9889
Queensland Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Barron Gorge PS Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 1.053 | 1.0677
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 1.053 | 1.0677
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9549 | 0.9567
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9549 | 0.9567
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9549 | 0.9567
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9549 | 0.9567
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9549 | 0.9567
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9549 | 0.9567
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9344 | 0.959
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9268 | 0.9563
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9268 | 0.9563
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9456 | 0.9671
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9456 | 0.9671
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.941 | 0.9648
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.941 | 0.9648
Columboola - Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9685 | 0.9642
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9549 | 0.9567
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9603 | 0.9855
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9603 | 0.9855
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9603 | 0.9855
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9662 | 0.9868
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9662 | 0.9868
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9662 | 0.9868
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9662 | 0.9868
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 1.0495 | 1.069
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 1.0495 | 1.069
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 1.0495 | 1.069
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 1.0495 | 1.069
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9588 | 0.9582
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 1.0495 | 1.069
Millmerran PS Unit 1 (Millmerran) | 330 | MPP_1 | QBCK1 | QMLN | 0.9642 | 0.9612
Millmerran PS Unit 2 (Millmerran) | 330 | MPP_2 | QBCK2 | QMLN | 0.9642 | 0.9612
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9834 | 1.0156
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9834 | 1.0156
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9834 | 1.0156
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.942 | 0.9498
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.942 | 0.9498
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9618 | 0.9897
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.9561 | 0.9784
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.9561 | 0.9784
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.9561 | 0.9784
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.9561 | 0.9784
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 0.9984 | 0.9972
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.9678 | 0.9707
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9686 | 0.9708
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9686 | 0.9708
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9686 | 0.9708
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9686 | 0.9708
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9902 | 0.9895
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9902 | 0.9895
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.994 | 0.9941
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.994 | 0.9941
Yabulu PS | 132 | YABULU | QTYP | QTYP | 1.0073 | 1.0337
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9693 | 0.9879
Queensland Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Barcaldine PS - Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.9777 | 0.9935
Barcaldine Solar | 132 | BARCSF1 | QLLV1B | QLLV | 1.0107 | --
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.008 | 1.0078
Daandine PS | 110 | DAANDINE | QTKM1 | QTKM | 0.9717 | 0.9747
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 1.0122 | 1.0373
Grosvenor PS | 66 |  |  | QMRV | 1.0727 | --
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 1.0033 | 1.0107
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.9737 | 1.055
Moranbah Gen | 11 | MORANBAH | QMRL1M | QMRL | 1.0526 | 1.0824
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 1.0721 | 1.089
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 1.0122 | 1.0373
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 1.0122 | 1.0373
Rochedale Renewable Energy Plant | 110 | ROCHEDAL | QBMH2 | QBMH | 1.0091 | 1.0067
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.008 | 1.0078
Roghan Road Generator | 110 | EDLRGNRD | QSPN2 | QSPN | 1.0049 | 1.0057
Roma PS Unit 7 - Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9629 | 0.9591
Roma PS Unit 8 - Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9629 | 0.9591
Southbank Institute Of Technology | 110 | STHBKTEC | QCBD1S | QCBW | 1.0125 | 1.0141
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 0.999 | 0.9965
Whitwood Rd Renewable Energy Plant | 110 | WHIT1 | QSBK1 | QBKS | 0.9968 | 0.9953
Windy Hill WF | 66 | WHILL1 | QTUL | QTUL | 1.1103 | 1.1137
Wivenhoe Small Hydro | 110 | WIVENSH | QABR1 | QABR | 0.9951 | 0.9945
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9992 | 1.0428

## New South Wales
New South Wales (regional reference node is Sydney West 330)
New South Wales Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Albury | 132 | NALB | 1.0305 | 0.9779
Alcan | 132 | NALC | 0.9933 | 0.9943
Armidale | 66 | NAR1 | 0.9435 | 0.9905
Australian Newsprint Mill | 132 | NANM | 1.0294 | 0.9824
Balranald | 22 | NBAL | 1.1166 | 1.0259
Beaconsfield North | 132 | NBFN | 1.0078 | 1.0065
Beaconsfield South | 132 | NBFS | 1.0078 | 1.0065
Beaconsfield West | 132 | NBFW | 1.0078 | 1.0065
Belmore Park | 132 | NBM1 | 1.0079 | 1.0061
Beresfield | 33 | NBRF | 0.9965 | 0.9973
Beryl | 66 | NBER | 1.0145 | 1.0077
BHP (Waratah) | 132 | NWR1 | 0.9898 | 0.9923
Boambee South | 132 | NWST | 0.968 | 1.0157
Boggabri East | 132 | NBGE | 1.0022 | 1.0578
Boggabri North | 132 | NBGN | 1.0056 | 1.0609
Brandy Hill | 11 | NBHL | 0.9941 | 0.9958
Broken Hill | 22 | NBKG | 1.1714 | 1.048
Broken Hill | 220 | NBKH | 1.1632 | 1.0427
Bunnerong | 132 | NBG1 | 1.0076 | 1.0054
Bunnerong | 33 | NBG3 | 1.0097 | 1.009
Burrinjuck | 132 | NBU2 | 1.0045 | 0.9764
Canterbury | 33 | NCTB | 1.0134 | 1.0114
Carlingford | 132 | NCAR | 1.0035 | 1.0018
Casino | 132 | NCSN | 0.9648 | 1.0213
Charmhaven | 11 | NCHM | 0.9935 | 0.9944
Chullora | 132 | NCHU | 1.0077 | 1.0072
Coffs Harbour | 66 | NCH1 | 0.9634 | 1.0124
Coleambally | 132 | NCLY | 1.0477 | 1.0004
Cooma | 66 | NCMA | 1.0106 | 0.9763
Cooma (AusNet Services) | 66 | NCM2 | 1.0106 | 0.9763
Cowra | 66 | NCW8 | 1.0355 | 1.0099
Croydon | 11 | NCRD | 1.0104 | --
Dapto (Endeavour Energy) | 132 | NDT1 | 0.9986 | 0.9916
Dapto (Essential Energy) | 132 | NDT2 | 0.9986 | 0.9916
Darlington Point | 132 | NDNT | 1.047 | 0.9961
Deniliquin | 66 | NDN7 | 1.0715 | 1.0154
Dorrigo | 132 | NDOR | 0.9568 | 1.0044
Drummoyne | 11 | NDRM | 1.009 | 1.0122
Dunoon | 132 | NDUN | 0.9553 | 1.0251
Far North VTN |  | NEV1 | 0.9745 | 0.9819
Finley – Dual MLF - Load | 66 | NFNY | 1.0825 | 1.0235
Finley – Dual MLF - Generation | 66 | NFNY | 1.0157 | 0.967
Forbes | 66 | NFB2 | 1.0535 | 1.0411
Gadara | 132 | NGAD | 1.0328 | 0.9934
Glen Innes | 66 | NGLN | 0.9696 | 1.0217
Gosford | 66 | NGF3 | 1.0015 | 1.0017
Gosford | 33 | NGSF | 1.0021 | 1.0019
Green Square | 11 | NGSQ | 1.0081 | 1.0069
Griffith | 33 | NGRF | 1.0665 | 1.0146
Gunnedah | 66 | NGN2 | 0.9879 | 1.036
Haymarket | 132 | NHYM | 1.0079 | 1.0068
Heron's Creek | 132 | NHNC | 1.0226 | 1.0462
Holroyd | 132 | NHLD | 1.0001 | 1.0029
Hurstville North | 11 | NHVN | 1.0063 | 1.0078
Homebush Bay | 11 | NHBB | 1.0112 | 1.0108
Ilford | 132 | NLFD | 0.9928 | 0.9895
Ingleburn | 66 | NING | 1.0005 | 0.9991
Inverell | 66 | NNVL | 0.9823 | 1.0377
Kemps Creek | 330 | NKCK | 0.9957 | 0.9954
Kempsey | 66 | NKS2 | 0.9976 | 1.036
Kempsey | 33 | NKS3 | 1.0006 | 1.0391
Koolkhan | 66 | NKL6 | 0.9776 | 1.025
Kurnell | 132 | NKN1 | 1.0052 | 1.0039
Kogarah | 11 | NKOG | 1.0086 | 1.0098
Kurri | 33 | NKU3 | 0.9967 | 0.9969
Kurri | 11 | NKU1 | 0.9932 | 0.9942
Kurri - Dual MLF - Generation | 132 | NKUR | 0.9905 | 0.9944
Kurri - Dual MLF - Load | 132 | NKUR | 0.9941 | 0.9944
Lake Munmorah | 132 | NMUN | 0.9791 | 0.9885
Lane Cove | 132 | NLCV | 1.0086 | 1.0082
Liddell | 33 | NLD3 | 0.9679 | 0.974
Lismore | 132 | NLS2 | 0.9661 | 1.0268
Liverpool | 132 | NLP1 | 1.0019 | 1.001
Macarthur | 132 | NMC1 | 0.9953 | 0.9913
Macarthur | 66 | NMC2 | 0.9986 | 0.9959
Macksville | 132 | NMCV | 0.9824 | 1.0272
Macquarie Park | 11 | NMQP | 1.0116 | 1.0109
Manildra | 132 | NMLD | 1.041 | 1.0342
Marrickville | 11 | NMKV | 1.0132 | 1.0117
Marulan (Endeavour Energy) | 132 | NMR1 | 0.9922 | 0.9844
Marulan (Essential Energy) | 132 | NMR2 | 0.9922 | 0.9844
Mason Park | 132 | NMPK | 1.0087 | 1.0086
Meadowbank | 11 | NMBK | 1.0117 | 1.0112
Molong | 132 | NMOL | 1.0359 | 1.0302
Moree | 66 | NMRE | 1.0039 | 1.0847
Morven | 132 | NMVN | 1.0316 | 0.9844
Mt Piper | 66 | NMP6 | 0.9765 | 0.9754
Mudgee | 132 | NMDG | 1.0095 | 1.0042
Mullumbimby | 11 | NML1 | 0.9494 | 1.0346
Mullumbimby | 132 | NMLB | 0.9403 | 1.0336
Munmorah | 330 | NMN1 | 0.9882 | 0.9899
Munmorah STS 33 | 33 | NMU3 | 0.9895 | --
Munyang | 11 | NMY1 | 1.0148 | 0.9549
Munyang | 33 | NMYG | 1.0148 | 0.9549
Murrumbateman | 132 | NMBM | 1.0009 | 0.98
Murrumburrah | 66 | NMRU | 1.0245 | 0.995
Muswellbrook | 132 | NMRK | 0.9754 | 0.9828
Nambucca Heads | 132 | NNAM | 0.9773 | 1.0237
Narrabri | 66 | NNB2 | 1.0154 | 1.0699
Newcastle | 132 | NNEW | 0.9907 | 0.9926
North of Broken Bay VTN |  | NEV2 | 0.9937 | 0.9949
Orange | 66 | NRGE | 1.045 | 1.0398
Orange | 132 | NRG1 | 1.0453 | 1.0387
Orange North | 132 | NONO | 1.0437 | 1.0367
Ourimbah | 33 | NORB | 0.9987 | 0.9994
Ourimbah | 132 | NOR1 | 0.9976 | 0.9981
Ourimbah | 66 | NOR6 | 0.9975 | 0.9981
Panorama | 66 | NPMA | 1.0292 | 1.0246
Parkes | 66 | NPK6 | 1.0527 | 1.0432
Parkes | 132 | NPKS | 1.0506 | 1.0413
Peakhurst | 33 | NPHT | 1.0071 | 1.0059
Pt Macquarie | 33 | NPMQ | 1.0187 | 1.0518
Pyrmont | 33 | NPT3 | 1.0085 | 1.0073
Pyrmont | 132 | NPT1 | 1.008 | 1.0069
Raleigh | 132 | NRAL | 0.9691 | 1.0166
Regentville | 132 | NRGV | 0.9991 | 0.9984
Rookwood Road | 132 | NRWR | 1.0013 | 1.0013
Rozelle | 132 | NRZH | 1.0101 | 1.0085
Rozelle | 33 | NRZL | 1.0098 | 1.0097
Queanbeyan 132 | 132 | NQBY | 1.025 | 0.9924
Snowy Adit | 132 | NSAD | 0.9741 | 0.9763
Somersby | 11 | NSMB | 1.0024 | 1.0027
South of Broken Bay VTN |  | NEV3 | 1.006 | 1.005
St Peters | 11 | NSPT | 1.0109 | 1.0096
Stroud | 132 | NSRD | 1.0057 | 1.0096
Sydney East | 132 | NSE2 | 1.005 | 1.0051
Sydney North (Ausgrid) | 132 | NSN1 | 1.0016 | 1.0013
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0016 | 1.0013
Sydney South | 132 | NSYS | 1.0029 | 1.0016
Sydney West (Ausgrid) | 132 | NSW1 | 1.0035 | 1.0018
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.0035 | 1.0018
Tamworth | 66 | NTA2 | 0.9638 | 0.983
Taree (Essential Energy) | 132 | NTR2 | 1.0295 | 1.0462
Tenterfield | 132 | NTTF | 0.9705 | 1.0259
Terranora | 110 | NTNR | 0.9986 | 1.0347
Tomago | 330 | NTMG | 0.9905 | 0.9931
Tomago (Ausgrid) | 132 | NTME | 0.9923 | 0.9928
Tomago (Essential Energy) | 132 | NTMC | 0.9923 | 0.9928
Top Ryde | 11 | NTPR | 1.0094 | 1.0091
Tuggerah | 132 | NTG3 | 0.9938 | 0.9946
Tumut | 66 | NTU2 | 1.0314 | 0.991
Vales Pt. | 132 | NVP1 | 0.9883 | 0.9898
Vineyard | 132 | NVYD | 0.9991 | 0.9996
Wagga | 66 | NWG2 | 1.0313 | 0.9889
Wagga North | 132 | NWGN | 1.0292 | 0.991
Wagga North | 66 | NWG6 | 1.0319 | 0.9923
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9766 | 0.9741
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9766 | 0.9741
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9771 | 0.9748
Wallerawang 66 | 66 | NWW7 | 0.9771 | 0.9748
Wallerawang 330 PS Load | 330 | NWWP | 0.9798 | 0.976
Wellington | 132 | NWL8 | 0.9909 | 0.9903
West Gosford | 11 | NGWF | 1.0031 | 1.0033
Williamsdale | 132 | NWDL | 1.009 | 0.983
Wyong | 11 | NWYG | 0.9963 | 0.9966
Yanco | 33 | NYA3 | 1.0546 | 1.0049
Yass | 66 | NYS6 | 1.0016 | 0.9806
Yass | 132 | NYS1 | 0.9914 | 0.9742
New South Wales Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.959 | 0.9668
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.959 | 0.9668
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9603 | 0.9668
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9603 | 0.9668
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.9815 | 0.9431
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 1.1714 | 1.048
Burrinjuck | 132 | BURRIN | NBUK | NBUK | 0.9915 | 0.9589
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9931 | 0.9748
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9872 | 0.9793
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9872 | 0.9793
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9872 | 0.9793
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9872 | 0.9793
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9829 | 0.9856
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9829 | 0.9856
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9846 | 0.9867
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9846 | 0.9867
Eraring PS Load | 500 | ERNL1 | NEPSL | NEPS | 0.9846 | 0.9867
Gullen Range Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9909 | 0.977
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9371 | 0.8882
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 1.0148 | 0.9549
Hume (NSW Share) | 132 | HUMENSW | NHUM | NHUM | 1.002 | 0.9483
Kangaroo Valley – Bendeela (Shoalhaven) Generation - dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9904 | 0.9838
Kangaroo Valley (Shoalhaven) Pumps - dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 1.001 | 0.9941
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9593 | 0.9676
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9593 | 0.9676
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9593 | 0.9676
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9593 | 0.9676
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9593 | 0.9676
Lower Tumut Generation - dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9897 | 0.9465
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 1.0314 | 0.991
Lower Tumut Pumps - dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 1.0142 | 0.9773
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 1.0314 | 0.991
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 1.0314 | 0.991
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9753 | 0.9744
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9753 | 0.9744
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9753 | 0.9744
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9943 | 0.9538
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.9291 | 0.897
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.9291 | 0.897
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.9291 | 0.897
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.9291 | 0.897
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9853 | 0.9877
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9853 | 0.9877
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9853 | 0.9877
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9931 | 0.9748
New South Wales Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Appin PS | 66 | APPIN | NAPP1A | NAPP | 0.9986 | 0.9961
Awaba Renewable Energy Facility | 132 | AWABAREF | NNEW2 | NNEW | 0.9907 | 0.9926
Bankstown Sport Club | 132 | BANKSPT1 | NSYS3R | NSYS | 1.0029 | 1.0016
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9882 | 0.9602
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 0.9661 | 1.0268
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 1.122 | 1.015
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 1.0106 | 0.9763
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9909 | 0.9903
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 1.0005 | 0.9991
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 0.9986 | 1.0347
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9823 | 1.0377
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9914 | 0.9742
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.0035 | 1.0018
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9829 | 0.9856
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9754 | 0.9828
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9696 | 1.0217
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9991 | 0.9996
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9914 | 0.9742
HEZ PS | 33 | HEZ | NKU31H | NKU3 | 0.9967 | 0.9969
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 1.0106 | 0.9763
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 1.0314 | 0.991
Keepit | 66 | KEEPIT | NKPT | NKPT | 0.9879 | 1.036
Kincumber Landfill | 66 | KINCUM1 | NGF31K | NGF3 | 1.0015 | 1.0017
Liddell 33 – Hunter Valley GTs | 33 | HVGTS | NLD31 | NLD3 | 0.9679 | 0.974
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.0035 | 1.0018
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0029 | 1.0016
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0029 | 1.0016
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.9433 | 1.0479
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.005 | 1.0051
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9909 | 0.9903
SITA Landfill - Kemps Creek | 132 | AGLSITA1 | NLP13K | NLP1 | 1.0019 | --
Sithe | 132 | SITHE01 | NSYW1 | NSW2 | 1.0035 | 1.0018
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0071 | 1.0059
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0019 | 1.001
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9967 | 0.9912
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 0.9922 | 0.9844
Teralba Power Station | 132 | TERALBA | NNEW1 | NNEW | 0.9907 | 0.9926
The Drop PS – Dual MLF associated to Finley (NFNY) - Load | 66 | THEDROP1 | NFNY1D | NFNY | 1.0825 | 1.0235
The Drop PS – Dual MLF associated to Finley (NFNY) - Generation | 66 | THEDROP1 | NFNY1D | NFNY | 1.0157 | 0.967
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0019 | 1.001
West Nowra | 132 | AGLNOW1 | NDT12 | NDT1 | 0.9986 | 0.9916
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 0.9986 | 0.9916
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 1.0154 | 1.0699
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 1.0154 | 1.0699
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 0.9922 | 0.9844
Woy Woy Landfill | 66 | WOYWOY1 | NGF32W | NGF3 | 1.0015 | 1.0017
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 1.0355 | 1.0099
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 1.0355 | 1.0099

## Australian Capital Territory
Australian Capital Territory (regional reference node is Sydney West 330)
Australian Capital Territory Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Canberra | 132 | ACA1 | 1.0095 | 0.9828
Queanbeyan (ACTEW) | 66 | AQB1 | 1.0257 | 0.9924
Queanbeyan (Essential Energy) | 66 | AQB2 | 1.0257 | 0.9924
Australian Capital Territory Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 1.0257 | 0.9924
Mugga Lane Solar | 132 | MLSP1 | ACA12M | ACA1 | 1.0095 | --
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ACA1 | 1.0095 | 0.9828

## Victoria
Victoria (regional reference node is Thomastown 66)
Victoria Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Altona | 66 | VATS | 1.0068 | 1.0032
Altona | 220 | VAT2 | 1.001 | 0.9985
Ballarat | 66 | VBAT | 1.0209 | 1.0207
Bendigo | 66 | VBE6 | 1.0664 | 1.0672
Bendigo | 22 | VBE2 | 1.0658 | 1.0684
BHP Western Port | 220 | VJLA | 0.9909 | 0.991
Brooklyn (Jemena) | 22 | VBL2 | 1.0064 | 1.0039
Brooklyn (Jemena) | 66 | VBL6 | 1.0054 | 1.0053
Brooklyn (Powercor) | 22 | VBL3 | 1.0064 | 1.0039
Brooklyn (Powercor) | 66 | VBL7 | 1.0054 | 1.0053
Brunswick (CitiPower) | 22 | VBT2 | 1.0003 | 0.9995
Brunswick (Jemena) | 22 | VBTS | 1.0003 | 0.9995
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9987 | --
Cranbourne | 220 | VCB2 | 0.9897 | 0.9901
Cranbourne (AusNet Services) | 66 | VCBT | 0.9919 | 0.9919
Cranbourne (United Energy) | 66 | VCB5 | 0.9919 | 0.9919
East Rowville (AusNet Services) | 66 | VER2 | 0.9932 | 0.9931
East Rowville (United Energy) | 66 | VERT | 0.9932 | 0.9931
Fishermens Bend (CitiPower) | 66 | VFBT | 1.0036 | 1.0043
Fishermens Bend (Powercor) | 66 | VFB2 | 1.0036 | 1.0043
Fosterville | 220 | VFVT | 1.0619 | 1.0649
Geelong | 66 | VGT6 | 1.0048 | 0.9987
Glenrowan | 66 | VGNT | 1.0368 | 1.0532
Heatherton | 66 | VHTS | 0.9986 | 0.9985
Heywood | 22 | VHY2 | 1.0111 | 1.0007
Horsham | 66 | VHOT | 1.0803 | 1.068
Keilor (Jemena) | 66 | VKT2 | 1.0037 | 1.0014
Keilor (Powercor) | 66 | VKTS | 1.0037 | 1.0014
Kerang | 22 | VKG2 | 1.1124 | 1.0988
Kerang | 66 | VKG6 | 1.1118 | 1.0986
Khancoban | 330 | NKHN | 1.0123 | 1.0468
Loy Yang Substation | 66 | VLY6 | 0.9709 | 0.9765
Malvern | 22 | VMT2 | 0.9962 | 0.9964
Malvern | 66 | VMT6 | 0.995 | 0.9953
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9707 | 0.9704
Morwell PS (G4&5) | 11 | VMWP | 0.9708 | 0.9732
Morwell TS | 66 | VMWT | 0.9759 | 0.9799
Mt Beauty | 66 | VMBT | 1.0189 | 1.0368
Portland | 500 | VAPD | 1.0135 | 1.0033
Pt Henry | 220 | VPTH | 1.0023 | 0.9915
Red Cliffs | 22 | VRC2 | 1.1621 | 1.1205
Red Cliffs | 66 | VRC6 | 1.1602 | 1.1212
Red Cliffs (Essential Energy) | 66 | VRCA | 1.1602 | 1.1212
Richmond | 22 | VRT2 | 0.9979 | 0.9977
Richmond (CitiPower) | 66 | VRT7 | 1 | 1.0023
Richmond (United Energy) | 66 | VRT6 | 1 | 1.0023
Ringwood (AusNet Services) | 22 | VRW3 | 0.9989 | 0.9998
Ringwood (AusNet Services) | 66 | VRW7 | 0.999 | 0.9993
Ringwood (United Energy) | 22 | VRW2 | 0.9989 | 0.9998
Ringwood (United Energy) | 66 | VRW6 | 0.999 | 0.9993
Shepparton | 66 | VSHT | 1.0502 | 1.0639
South Morang (Jemena) | 66 | VSM6 | 0.9985 | 0.9987
South Morang (AusNet Services) | 66 | VSMT | 0.9985 | 0.9987
Springvale (CitiPower) | 66 | VSVT | 0.9972 | 0.997
Springvale (United Energy) | 66 | VSV2 | 0.9972 | 0.997
Templestowe (CitiPower) | 66 | VTS2 | 0.9995 | 0.9993
Templestowe (Jemena) | 66 | VTST | 0.9995 | 0.9993
Templestowe (AusNet Services) | 66 | VTS3 | 0.9995 | 0.9993
Templestowe (United Energy) | 66 | VTS4 | 0.9995 | 0.9993
Terang | 66 | VTGT | 1.0339 | 1.03
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.9925 | 0.9924
Wemen TS | 66 | VWET | 1.1513 | 1.1206
Wemen 66 (Ess Engy) | 66 | VWEA | 1.1513 | --
West Melbourne | 22 | VWM2 | 1.0021 | 1.0023
West Melbourne (CitiPower) | 66 | VWM7 | 1.0031 | 1.0039
West Melbourne (Jemena) | 66 | VWM6 | 1.0031 | 1.0039
Wodonga | 22 | VWO2 | 1.0252 | 1.0495
Wodonga | 66 | VWO6 | 1.0235 | 1.048
Yallourn | 11 | VYP1 | 0.9528 | 0.9597
Victoria Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Ararat WF | 220 | ARWF1 | VART1A | VART | 1.0299 | 1.0344
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9812 | 1.0004
Basslink (Loy Yang PS Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.9765 | 0.9828
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9812 | 1.0004
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9945 | 1.0026
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9945 | 1.0026
Hazelwood PS Load | 220 | HWPNL1 | VHWPL | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 1 | 220 | HWPS1 | VHWP1 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 2 | 220 | HWPS2 | VHWP2 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 3 | 220 | HWPS3 | VHWP3 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 4 | 220 | HWPS4 | VHWP4 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 5 | 220 | HWPS5 | VHWP5 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 6 | 220 | HWPS6 | VHWP6 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 7 | 220 | HWPS7 | VHWP7 | VHWP | 0.9701 | 0.9723
Hazelwood PS Unit 8 | 220 | HWPS8 | VHWP8 | VHWP | 0.9701 | 0.9723
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9641 | 0.9667
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9641 | 0.9667
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9641 | 0.9667
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9641 | 0.9667
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9641 | 0.9667
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9641 | 0.9667
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9641 | 0.9667
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.1115 | 1.138
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 1.001 | 0.9985
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 1.001 | 0.9985
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.9723 | 0.9742
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.9723 | 0.9742
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.9723 | 0.9742
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.9723 | 0.9742
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.9723 | 0.9742
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.9723 | 0.9742
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.9723 | 0.9742
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 1.0022 | 0.994
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.9543 | 0.9883
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 1.0015 | 0.9942
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 1.0015 | 0.9942
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 1.0048 | 1.0033
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.959 | 0.9885
Newport PS | 220 | NPS | VNPS | VNPS | 0.9939 | 0.9952
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.9723 | 0.9742
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.9723 | 0.9742
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.9723 | 0.9742
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.9723 | 0.9742
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.9723 | 0.9742
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.9723 | 0.9742
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 1.0111 | 1.0122
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 1.0026 | 1.0247
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 1.0026 | 1.0247
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9509 | 0.9563
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.9541 | 0.9589
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9509 | 0.9563
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9509 | 0.9563
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9509 | 0.9563
Victoria Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9745 | 0.9771
Bairnsdale PS Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9745 | 0.9771
Bald Hills WF | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9759 | 0.9799
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 1.0209 | 1.0207
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0054 | 1.0053
Chepstowe Wind Farm | 66 | CHPSTWF | VBAT3C | VBAT | 1.0209 | 1.0207
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9972 | 0.997
Codrington Wind Farm | 66 | CODRNGTON | VTGT2C | VTGT | 1.0339 | 1.03
Coonooer Bridge WF | 66 | CBWF1 | VBE61C | VBE6 | 1.0664 | 1.0672
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 1.0048 | 0.9987
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9985 | 0.9987
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9759 | 0.9799
Hallam Mini Hydro | 66 | HLMSEW01 | VER21H | VER2 | 0.9932 | 0.9931
Hallam Road Renewable Energy Facility | 66 | HALLAMRD1 | VER22L | VER2 | 0.9932 | 0.9931
Hepburn Community WF | 66 | HEPWIND1 | VBAT2L | VBAT | 1.0209 | 1.0207
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9947 | 0.9768
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9759 | 0.9799
Mornington Landfill Site Generator | 66 | MORNW | VTBT1 | VTBT | 0.9925 | 0.9924
Mortons Lane Wind Farm | 66 | MLWF1 | VTGT4M | VTGT | 1.0339 | 1.03
Oaklands Hill Wind Farm | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0339 | 1.03
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0502 | 1.0639
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9949 | 0.9946
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9972 | 0.997
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0502 | 1.0639
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9759 | 0.9799
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9759 | 0.9799
William Horvell Hydro PS | 66 | WILLHOV1 | VW061W | VWO6 | 1.0235 | 1.048
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9985 | 0.9987
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9759 | 0.9799
Wyndham Landfill Site Generator | 66 | WYNDW | VATS1 | VATS | 1.0068 | 1.0032
Yambuk Wind Farm | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0339 | 1.03
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0502 | 1.0639

## South Australia
South Australia (regional reference node is Torrens Island PS 66)
South Australia Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Angas Creek | 33 | SANC | 1.0093 | 1.0115
Ardrossan West | 33 | SARW | 0.9544 | 0.9382
Back Callington | 11 | SBAC | 1.0071 | 1.0133
Baroota | 33 | SBAR | 1.0125 | 0.9918
Berri | 66 | SBER | 0.9379 | 1.0536
Berri (Powercor) | 66 | SBE1 | 0.9379 | 1.0536
Blanche | 33 | SBLA | 0.9218 | 0.9903
Blanche (Powercor) | 33 | SBL1 | 0.9218 | 0.9903
Brinkworth | 33 | SBRK | 1.0061 | 0.9928
Bungama Industrial | 33 | SBUN | 1.0078 | 0.9874
Bungama Rural | 33 | SBUR | 1.0194 | 0.9984
City West | 66 | SACR | 1.0047 | 1.0054
Clare North | 33 | SCLN | 1.0012 | 0.9906
Dalrymple | 33 | SDAL | 0.9153 | 0.8995
Davenport | 275 | SDAV | 1.0114 | 0.9886
Davenport | 33 | SDAW | 1.0129 | 0.9891
Dorrien | 33 | SDRN | 1.0114 | 1.0082
East Terrace | 66 | SETC | 1.0048 | 1.0055
Happy Valley | 66 | SHVA | 1.005 | 1.0068
Hummocks | 33 | SHUM | 0.9758 | 0.9599
Kadina East | 33 | SKAD | 0.9815 | 0.9648
Kanmantoo | 11 | SKAN | 1.007 | 1.0133
Keith | 33 | SKET | 0.9703 | 1.0062
Kilburn | 66 | SKLB | 1.0017 | 1.0029
Kincraig | 33 | SKNC | 0.9452 | 0.9975
Lefevre | 66 | SLFE | 0.9997 | 1.0002
Leigh Creek | 33 | SLCC | 1.0791 | 1.0482
Leigh Creek South | 33 | SLCS | 1.0719 | 1.0477
Magill | 66 | SMAG | 1.0044 | 1.0053
Mannum | 33 | SMAN | 1.0071 | 1.014
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0137 | 1.0199
Mannum – Adelaide Pipeline 2 | 3.3 | SMA2 | 1.0132 | 1.0191
Mannum – Adelaide Pipeline 3 | 3.3 | SMA3 | 1.0135 | 1.0177
Middleback | 33 | SMDL | 1.017 | 0.988
Middleback | 132 | SMBK | 1.0202 | 0.9893
Millbrook | 132 | SMLB | 1.0046 | 1.0061
Mobilong | 33 | SMBL | 1.0032 | 1.0126
Morgan – Whyalla Pipeline 1 | 3.3 | SMW1 | 0.981 | 1.0292
Morgan – Whyalla Pipeline 2 | 3.3 | SMW2 | 0.9908 | 1.0163
Morgan – Whyalla Pipeline 3 | 3.3 | SMW3 | 0.9972 | 1.0028
Morgan – Whyalla Pipeline 4 | 3.3 | SMW4 | 0.9978 | 0.9957
Morphett Vale East | 66 | SMVE | 1.0051 | 1.0075
Mount Barker South | 66 | SMBS | 1.0037 | 1.0073
Mt Barker | 66 | SMBA | 1.0029 | 1.0072
Mt Gambier | 33 | SMGA | 0.9231 | 0.9908
Mt Gunson | 33 | SMGU | 1.0445 | 0.9969
Munno Para | 66 | SMUP | 1.0044 | 1.0022
Murray Bridge - Hahndorf Pipeline 1 | 11 | SMH1 | 1.0096 | 1.0173
Murray Bridge - Hahndorf Pipeline 2 | 11 | SMH2 | 1.012 | 1.0193
Murray Bridge - Hahndorf Pipeline 3 | 11 | SMH3 | 1.0119 | 1.0166
Neuroodla | 33 | SNEU | 1.0392 | 1.0164
New Osborne | 66 | SNBN | 0.9995 | 0.9998
North West Bend | 66 | SNWB | 0.9754 | 1.0261
Northfield | 66 | SNFD | 1.0037 | 1.0042
Para | 66 | SPAR | 1.0042 | 1.0059
Parafield Gardens West | 66 | SPGW | 1.0054 | 1.0045
Penola West 33 | 33 | SPEN | 0.9241 | 0.9861
Pimba | 132 | SPMB | 1.0493 | 0.9991
Playford | 132 | SPAA | 1.0132 | 0.9929
Port Lincoln | 33 | SPLN | 1.0021 | 0.9645
Port Pirie | 33 | SPPR | 1.015 | 0.9957
Roseworthy | 11 | SRSW | 1.0134 | 1.0111
Snuggery Industrial | 33 | SSNN | 0.9176 | 0.9704
Snuggery Rural | 33 | SSNR | 0.9016 | 0.9701
South Australian VTN |  | SJP1 | 1.0001 | 1.0012
Stony Point | 11 | SSPN | 1.0189 | 0.9947
Tailem Bend | 33 | STAL | 0.9896 | 1.0096
Templers | 33 | STEM | 1.0086 | 1.0062
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9931 | 0.9881
Whyalla Central Substation | 33 | SWYC | 1.0196 | 0.993
Whyalla Terminal BHP | 33 | SBHP | 1.0181 | 0.9943
Woomera | 132 | SWMA | 1.051 | 0.9984
Wudina | 66 | SWUD | 1.0229 | 0.9855
Yadnarie | 66 | SYAD | 1.008 | 0.9731
South Australia Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.8896 | 0.8775
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9822 | 0.9701
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 1.0011 | 1.0018
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 1.0011 | 1.0018
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 1.0011 | 1.0018
Hallett 2 WF | 275 | HALLWF2 | SMOK1H | SMOK | 0.9871 | 0.9811
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.99 | 0.9835
Hallett WF | 275 | HALLWF1 | SHPS2W | SHPS | 0.99 | 0.9835
Hornsdale WF | 275 | HDWF1 | SHDW1H | SHDW | 0.9965 | 0.9793
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.8872 | 0.9563
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.8872 | 0.9563
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.8768 | 0.9352
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.8768 | 0.9352
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.8768 | 0.9352
Leigh Creek Northern PS Load 2 | 33 | NPSNL2 | SLCCL | SLCC | 1.0791 | 1.0482
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9889 | 0.9736
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.912 | 0.9016
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9863 | 0.9767
Northern PS Unit 1 | 275 | NPS1 | SNPA1 | SNPS | 1.0098 | 0.9826
Northern PS Unit 2 | 275 | NPS2 | SNPA2 | SNPS | 1.0098 | 0.9826
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9994 | 0.9995
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 1.0009 | 1.001
Playford Northern PS Load 1 | 132 | NPSNL1 | SPAAL | SPAA | 1.0132 | 0.9929
Playford PS | 275 | PLAYB-AG | SPSD1 | SPPS | 1.0098 | 0.9881
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 1.0064 | 0.8976
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 1.0011 | 0.952
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9864 | 0.9932
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9864 | 0.9932
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9864 | 0.9932
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9864 | 0.9932
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9864 | 0.9932
Snowtown WF Stage 2 - North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9888 | 0.9782
Snowtown WF Stage 2 - South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9888 | 0.9782
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9289 | 0.9198
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.8417 | 0.9829
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9863 | 0.9767
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 1.0014 | 1.0019
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 1.0014 | 1.0019
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 1.0014 | 1.0019
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 1.0014 | 1.0019
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 1.0014 | 1.0019
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 1.0014 | 1.0019
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 1.0014 | 1.0019
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 1.0014 | 1.0019
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9784 | 0.9764
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.8185 | 0.8195
South Australia Embedded Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Amcor Glass UN 1 | 11 | AMCORGR | SRSW1E | SRSW | 1.0134 | 1.0111
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0042 | 1.0061
Blue Lake Milling | 33 | BLULAKE1 | SKET2B | SKET | 0.9703 | 1.0062
Bolivar WWT Plant (NEW) | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0054 | 1.0045
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.885 | 0.9432
Cummins Lonsdale PS | 66 | LONSDALE | SMVE1 | SMVE | 1.0051 | 1.0075
Pedler Creek Landfill Gas PS | 66 | PEDLER1 | SMVE5C | SMVE | 1.0051 | 1.0075
Pt Stanvac Power Station | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0051 | 1.0075
Starfish Hill Wind Farm | 66 | STARHLWF | SMVE2 | SMVE | 1.0051 | 1.0075
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 0.9703 | 1.0062
Terminal Storage Mini-Hydro | 66 | TERMSTOR | SNFD1 | SNFD | 1.0037 | 1.0042
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.0017 | 1.0029
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 0.9995 | 0.9998

## Tasmania
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI | 2016-17 MLF | 2015-16 MLF
Arthurs Lake | 6.6 | TAL2 | 1.0012 | 0.9911
Avoca | 22 | TAV2 | 1.0301 | 1.0167
Boyer SWA | 6.6 | TBYA | 1.0322 | 1.0141
Boyer SWB | 6.6 | TBYB | 1.0325 | 1.0223
Bridgewater | 11 | TBW2 | 1.0278 | 1.0143
Burnie | 22 | TBU3 | 0.9905 | 0.9835
Chapel St. | 11 | TCS3 | 1.0264 | 1.0132
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.0276 | 1.0127
Derby | 22 | TDE2 | 0.9695 | 0.9566
Derwent Bridge | 22 | TDB2 | 0.939 | 0.9438
Devonport | 22 | TDP2 | 0.9895 | 0.9874
Electrona | 11 | TEL2 | 1.0381 | 1.0235
Emu Bay | 11 | TEB2 | 0.9877 | 0.9811
Fisher (Rowallan) | 220 | TFI1 | 0.9755 | 0.9701
George Town | 22 | TGT3 | 1.0021 | 1.0025
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 1.0155 | 0.9903
Greater Hobart Area VTN |  | TVN1 | 1.0287 | 1.0137
Hadspen | 22 | THA3 | 0.9988 | 0.9904
Hampshire | 110 | THM2 | 0.9865 | 0.9796
Huon River | 11 | THR2 | 1.0409 | 1.0179
Kermandie | 11 | TKE2 | 1.0435 | 1.0256
Kingston | 33 | TK13 | 1.0323 | 1.0179
Kingston | 11 | TKI2 | 1.0329 | 1.02
Knights Road | 11 | TKR2 | 1.0455 | 1.0284
Lindisfarne | 33 | TLF2 | 1.0301 | 1.0164
Meadowbank | 22 | TMB2 | 0.9933 | 0.9828
Mornington | 33 | TMT2 | 1.0283 | 1.0145
Mowbray | 22 | TMY2 | 0.9971 | 0.9881
New Norfolk | 22 | TNN2 | 1.0244 | 1.0068
Newton | 22 | TNT2 | 0.9809 | 0.9603
Newton | 11 | TNT3 | 0.971 | 0.9642
North Hobart | 11 | TNH2 | 1.0276 | 1.0119
Norwood | 22 | TNW2 | 0.9974 | 0.9884
Palmerston | 22 | TPM3 | 0.9951 | 0.9844
Port Latta | 22 | TPL2 | 0.9722 | 0.9589
Que | 22 | TQU2 | 0.9759 | 0.9731
Queenstown | 11 | TQT3 | 0.973 | 0.9668
Queenstown | 22 | TQT2 | 0.9687 | 0.9633
Railton | 22 | TRA2 | 0.9895 | 0.9878
Risdon | 33 | TRI4 | 1.0305 | 1.0131
Risdon | 11 | TRI3 | 1.0351 | 1.0152
Rokeby | 11 | TRK2 | 1.0296 | 1.0175
Rosebery | 44 | TRB2 | 0.9753 | 0.9707
Savage River | 22 | TSR2 | 1.0049 | 1.0003
Scottsdale | 22 | TSD2 | 0.9791 | 0.9661
Smithton | 22 | TST2 | 0.9574 | 0.9414
Sorell | 22 | TSO2 | 1.0365 | 1.0207
St Leonard | 22 | TSL2 | 0.9964 | 0.988
St. Marys | 22 | TSM2 | 1.0435 | 1.0324
Starwood | 110 | TSW1 | 1.0008 | 1.001
Tamar Region VTN |  | TVN2 | 0.9982 | 0.9904
Temco | 110 | TTE1 | 1.0037 | 1.0041
Trevallyn | 22 | TTR2 | 0.998 | 0.9886
Triabunna | 22 | TTB2 | 1.0533 | 1.0332
Tungatinah | 22 | TTU2 | 0.9417 | 0.9483
Ulverstone | 22 | TUL2 | 0.9888 | 0.9854
Waddamana | 22 | TWA2 | 0.9667 | 0.9644
Wayatinah | 11 | TWY2 | 1.0079 | 0.9927
Wesley Vale | 22 | TWV2 | 0.981 | 0.9845
Tasmania Generators
Location | Voltage (kV) | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9496 | 0.9466
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 1.0001 | 0.9995
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 1.0001 | 0.9995
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 1.0001 | 0.9995
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.912 | 0.8944
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.9399 | 0.9418
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 1.0028 | 0.9915
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9723 | 0.9671
Cluny | 220 | CLUNY | TCL11 | TCL1 | 1.0055 | 0.9933
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.97 | 0.9719
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9755 | 0.9701
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9676 | 0.94
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.9456 | 0.9384
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.936 | 0.9338
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9749 | 0.9746
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 1.0028 | 0.9915
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9367 | 0.9381
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9756 | 0.9737
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9193 | 0.9039
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9754 | 0.983
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9929 | 0.9725
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9824 | 0.963
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9413 | 0.9425
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.939 | 0.9426
Repulse | 220 | REPULSE | TCL12 | TCL1 | 1.0055 | 0.9933
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9755 | 0.9701
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 0.9996
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 1.0001 | 0.9995
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9453 | 0.9432
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9927 | 0.9857
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9437 | 0.9421
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.9091 | 0.9404
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 1.0028 | 0.9915
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9749 | 0.9746
Tasmania Embedded Generators
Location | Voltage [kV] | DUID | Connection Point ID | TNI | 2016-17 MLF | 2015-16 MLF
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 1.0301 | 1.0167
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9982 | 0.9904