METERING COMPETITION

EMBEDDED NETWORKS

METER REPLACEMENT PROCESSES

PROCEDURE CONSULTATION

SECOND STAGE PARTICIPANT RESPONSE TEMPLATE

Participant: 	AGL

Completion Date:

- Table of Contents

General Comments	3

Feedback on Draft Report and Determination	4

1.	Glossary and Framework	7

2.	Meter Data File Format	12

3.	Metrology Procedure: Part A	19

4.	Metrology Procedure: Part B	25

5.	MSATS Procedures: CATS Procedure Principles and Obligations	33

6.	MSATS Procedures: MDM Procedures	70

7.	MSATS Procedures: Procedure for the Management of WIGS NMIs	76

8.	NEM RoLR Process Part A and B – MSATS Procedure: RoLR Procedures	100

9.	NMI Standing Data Schedule	109

10.	Service Level Procedures for MDP	111

11.	Service Level Procedures for MP	120

12.	Other Issues Related to Consultation Subject Matter	124

# General Comments

| Reference | Comment |
| --- | --- |
| General | The draft procedures released for stage 2 are based on changes made to the draft procedures released for stage 1, rather than being based on the current authorised procedures being consulted on. This means that it is unclear exactly what changes are being made to procedures and has again made comparison and feedback on the procedure changes substantially difficult. AGL has significant concerns about this issue as it could cause flaws in the consultation process that result in consideration not being duly given to the changes between the current procedures to the proposed new procedures. |
| General | New sections and clauses have been added to Procedures which were not consulted on in round 1 without a clear explanation as to why. This has resulted in participants only having one round of consultation to consider and comment on these new additions. Further, these sections and clauses are not included in the feedback template, which could mean that those changes may not be responded to as part of this consultation process. AGL consider this not good consultative practice – especially when there has not been clear communication to industry about the inclusion of these new sections and the reasoning behind the inclusions. |
| General | The mixed and duplicated formatting used in these draft procedures has substantially complicated cross referencing and made the clauses difficult and clumsy to read. A defined multi-heading level formatting is more suitable for documents of this nature. |
| General | AEMO has stated that changes to the Glossary and Framework will not be subject to the Rules Consultation Process under NER Chapter 10. Changes to definitions are subject to the individual Procedures requirements. (Appendix A – Table 9-12, p1, Row 8) Definitions can have significant impact on the interpretation of the regulatory requirements and are fundamental to the various procedures and unconsulted on changes could have substantial impacts on compliance and obligations across industry. AGL’s internal advice is that the Glossary is integral to the procedures which it supports, and therefore must be consulted on prior to any change, and that any change to a definition which is not consulted on may be legally incorrect. AGL requests that either the Glossary is specifically identified as a document to be consulted on or that the definitions are returned to the procedures, allowing them to be considered as part of the consultation process. Clarity about what documents are covered by consultation processes. One of the impacts of changing procedures without consultation is that it could create substantial inefficiencies across industry. |
| General | Insufficient work has been done on establishing the process for meters moving from type 4 to 4A and back again. The combination of customer refusal as well as sustained or intermittent communications issues may require meters to change back and forth. Consistent and clear processes for this are necessary to make these transitions smooth and seamless. |
| General | It is clear from discussion and feedback that there is a lack of clarity ion some of the key CATS transactions. AGL suggests that scenarios showing roles and transactions be mapped to show the transactions required. |
| General | Clarity on how VICAMI meters are to be classified and treated going forward need to be finalised. There are multiple instruments at play, including the Victorian Codes which are leading to confusion and lack of process clarity in this regard. |
| General | There is an inconsistent use of ‘end user’; The understanding of AEMO’s intent was to standardise the term ‘end user’ but throughout the procedures this approach has not been consistent. |

Feedback on Draft Report and Determination

| Reference | Comment |
| --- | --- |
| 4.3 | Embedded Network NMIs The whole purpose of creating new Embedded Network NMIs was to identify EN children separately from the network and clearly identify which network they are associated with. If a connection moves from being network connected to EN connected, then the obligations and potential costs and processes for managing that embedded network child change as a result of that child moving to an EN. Therefore abolishing the LNSP NMI and creating a new EN NMI seems appropriate and will ensure that child NMIs are clearly identifiable. AEMO have noted that NMIs should only be made extinct when the NMI is abolished. However, the process of moving the NMI from an LNSP connection to an EN connection moves that NMI from one network (the LNSP) to another network (the Embedded Network) and therefore the NMI has been abolished as far as the network is concerned. AEMO has stated that ‘It was confirmed that all retailers… would have to accommodate complex and costly processes should a NMI need to be made extinct.”. AGL seeks clarification on the analysis and source of information provided which underpins this statement. |
| 4.4.3 | Metering Installation Identification AEMO notes that the MC is required to maintain records outside MSATS for the installation of Type 4A meters. Customers can opt out – either to the FRMP or the MC as described in the NER. The customer Churn rules enable an MC to churn at the same time as the retail churn, provided the meter is not churned, which means that it is quite possible that at some time in the future – a new FRMP or MC may churn the meter to a type 4 against the customer wishes. It is not acceptable that critical information of this nature is not recorded globally (i.e. NMI discovery stage), as this will have a large impact on possible contracts which may be available to the customer and likely lead to substantial customer complaints. |
| 4.5.3 | Re-En / De-En Status AEMO has proposed that disconnection status be shown at the NMI level and de-energisation meter status at the meter level. Clarity about how a site has been de-energised (or a meter de-energised) is important for an incoming party to understand what action must be taken to re-energise a site. At a NMI level the possible options for de-energisation are: De-energisation Type; Actioning Party. F (fuse removed); LNSP / ENO. S (sticker); LNSP / ENO. R (remote); LNSP / ENO. P (pole-top or pillar); LNSP / ENO. T (technical e.g. meter load tails); LNSP/ENO/ MP. The proposed types do not cover these options and as this will be critical for providing efficient customer service, AGL believes that further work in this area is required. |
| 4.7.4 | Change to Objection Logging Period AEMO has stated that it could not find a compelling argument to maintain the existing Objection Logging Period and can only point to a study which showed that 92 % of Objections were logged within 1 business day. AGL rejects this draft decision for the following reasons: - AGL does not see an obligation arising from the Rule changes for amend the Objection Logging Period and questions the basis for AEMO’s considering this change in amending these procedures, as AEMO has stated that the basis for all changes are those directly related to the Metering Competition Rule Change; - AEMO has not undertaken a review of CRs that are reviewed by industry, but which do not lead to an objection being raised, to determine the number and time required for these CRs to be reviewed; - Industry parties who have reviewed this change have indicated that there are substantial costs associated with the reduction to 1 business day; - AEMO has neither undertaken, nor presented, a cost –benefit for making this change. At this time, AGL does not believe that AEMO has met its obligations to ensure that this change meets the National Electricity Objective and therefore AGL finds compelling reason to object to AEMO’s draft decision. |
| 4.8.3 | Network Tariff Codes In respect to the proposal by AEMO to make the Network Tariff Code mandatory for the MP to update, AGL believes that it is more appropriate for the field to be optional for the MP to update. AGL believes that where the meter changes are simple and there is adequate network tariff information to populate the field correctly, the FRMP can have the MP update that information as part of its contractual arrangements. However, where the meter change is complex, the MP can refer the installation back to the LNSP to establish the network tariff code. Another instance where the assumption is that the MC is contracted with the retailer. If the MC is contracted with the customer (not the retailer), then there is no guarantee of a contractual requirement to ensure this is done. However, the Retailer, LR and LNSP are financially affected by decisions made by the MC and should have a right to be aware of these. |
| 4.8.3 | Contributory Suffix AGL also recommend moving the MDM Contributory Suffix from optional to mandatory within the CATS CR. This will have the effect of making the value mandatory in MSATS when establishing metering Installations. We recommend also providing additional clarity regarding its use by stating that it is to be populated for each register of the meter installation thus ensuring full identification of each registers behaviour and purpose in the metering installation. Additional clarity would be aided by including a definition of MDM Contributory Suffix in the Glossary that refers readers to Sections 6 and 7 of the NMI Procedure regarding its use, perhaps with examples of the types of values that are expected. e.g. E1, B1, Q1, K1 We argue that there will be will be two key benefits from this change: (1) Recipients of Meter Data Notifications (MDN) will be able to check the NMI Suffix of incoming interval data streams against each MDM Contributory Suffix in MSATS for a metering installation, thus helping to identify discrepancies between registers and data streams and instigate corrective actions. (2) Networks will be able to use the MSATS metering installation configuration data to identify network tariff incompatibilities after a meter exchange has occurred. This will help reduce the frequency of costly and disruptive cancel-re-bills for both networks and retailers when a tariff mismatch is eventually detected and the correct tariff reapplied. |
| 4.10.2 | Read Type Codes AGL notes the comments regarding various read type codes, but as the Jurisdictional requirements have not yet been finalised, AGL suggests that these codes not be removed until the Jurisdictional requirements are met. |

# Glossary and Framework

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments - Glossary |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| General |  | Participants have used some terms in their system processes. Aligning the new terms in participant procedures will give rise to additional costs. (i.e. estimation vs forward estimation) therefore consistency in these procedures is important. |  |  |
| Chapter 1 | Introduction |  |  |  |
| 1.1 | Purpose and Scope | The issue of the Glossary changing through consultation was raised by Lumo/Red. AGL is concerned with the response from AEMO that the Glossary will not be consulted on. AEMO notes the comment made by AEMO at the workshop, but also notes AEMOs position that that no decisions would be made at the workshop. AGL strongly supports the position that any changes to the Glossary are consulted on as the Glossary is an integral part of all the procedures. |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.2.1 | Glossary |  |  |  |
| 1.2.2 | Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| Chapter 2 | Framework |  |  |  |
| 2.1 | The Role of the Retail Market in the NEM |  |  |  |
| 2.2 | Retail Electricity Market Procedures |  |  |  |
| 2.2.1 | Metrology Procedure |  |  |  |
| 2.2.2 | B2B Procedures |  |  |  |
| 2.2.3 | MSATS Procedures |  |  |  |
| 2.2.3.1 | CATS Procedures |  |  |  |
| 2.2.3.2 | WIGS Procedures |  |  |  |
| 2.2.3.3 | MDM Procedures |  |  |  |
| 2.2.3.4 | NMI Standing Data Schedule |  |  |  |
| 2.2.3.5 | National Metering Identifier Procedure |  |  |  |
| 2.2.4 | RoLR Procedures |  |  |  |
| 2.2.5 | Metering Services Procedures |  |  |  |
| 2.2.5.1 | Metering Service Level Accreditation Procedure |  |  |  |
| 2.2.5.2 | Service Level Procedures |  |  |  |
| 2.2.5.3 | Service Provider Compliance and Assessment Procedure |  |  |  |
| Chapter 3 | Glossary |  |  |  |
|  | Market Net | MarketNet is not a web browser. AEMO’s own description is: MarketNet; AEMO’s private data network.. In its own publication – GUIDE TO INFORMATION SYSTEMS |  |  |
|  | Change Request | suggested improvement A proposed update submitted to the MSATS system to create or vary information held within MSATS. |  |  |
|  | FRMP | MSGA should be spelt out in the definition |  |  |
|  | MDFF | Review definition MDFF can be provided to registered participants and other parties (see MDP Procedure) Suggest this be defines as a format for delivering metering data, as there are other formats |  |  |
|  | MDM Procedures | Poor definition Eg AEMO document: Meter Data Management Procedures |  |  |
|  | NSP2 | Review definition May change through embedded network discussion |  |  |
|  | VICAMI | Grammar …mandate to …mandated Definition different to CATS procedure Also, the definition is different to the one in the CATS Procedures |  |  |

# Meter Data File Format

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments - MDFF |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | GENERAL RULES AND INFORMATION |  |  |  |
| 3 | TECHNICAL INFORMATION |  |  |  |
| 3.1 | Version details |  |  |  |
| 3.2 | File delivery |  |  |  |
| 3.3 | File construction |  |  |  |
| 3.3.4 | Index Read | An index read is required to be provided to customers on their bills (i.e. the Victorian Energy Retail Code (Cl 25(y)) and should be aligned to read events. Since index reads are required for type 4A and 5, AGL believes that this clause should be amended to require index reads for type 4 as well, as this will be necessary for small customer bills. |  |  |
| 4 | INTERVAL METER READING FILE SPECIFICATION AND VALIDATION (NEM12) |  |  |  |
| 4.1 | Blocking cycle |  |  |  |
| 4.2 | Header record (100) |  |  |  |
| 4.3 | NMI data details record (200) |  |  |  |
| 4.4 | Interval data record (300) |  |  |  |
| 4.5 | Interval event record (400) |  |  |  |
| 4.6 | B2B details record (500) |  |  |  |
| 4.7 | End of data (900) |  |  |  |
| 5 | BASIC METER READING FILE SPECIFICATION AND VALIDATION (NEM13) |  |  |  |
| 5.1 | Blocking cycle | The deleted diagram is clearer than the inserted diagram. Suggest a clearer diagram be inserted |  |  |
| 5.2 | Header record (100) |  |  |  |
| 5.3 | Basic meter data record (250) |  |  |  |
| 5.4 | B2B details record (550) |  |  |  |
| 5.5 | End of data (900) |  |  |  |
| APPENDIX A | TRANSACTION CODES FLAGS |  |  |  |
| APPENDIX B | FORMAT & UNIT OF MEASURE FIELD DETAILS |  |  |  |
| APPENDIX C | QUALITY FLAGS |  |  |  |
| APPENDIX D | METHOD FLAGS |  |  |  |
| APPENDIX E | REASON CODES |  |  |  |
| APPENDIX F | OBSOLETE REASON CODES (ONLY TO BE USED WHEN PROVIDING HISTORICAL DATA) |  |  |  |
| APPENDIX G | SUMMARY OF FILE FORMAT AND BLOCKING |  |  |  |
| APPENDIX H | EXAMPLE INTERVAL DATA FILE (NEM12) |  |  |  |
| H.1 | Actual Interval Data – Metering Installations with Remote Acquisition of Metering Data |  |  |  |
| H.2 | Substituted Interval Data – Metering Installations with Remote Acquisition of Metering Data |  |  |  |
| H.3 | Interval Metering Data – Manually Read Interval Metering Installation Estimate |  |  |  |
| H.4 | Multiple NMIs and Datastreams, Metering Installations with Remote Acquisition of Metering Data – (all actual metering data) |  |  |  |
| H.5 | Interval Metering Data – Remote Read Metering Installations with Remote Acquisition of Metering Data - Multiple QualityMethod/ReasonCode combination |  |  |  |
| H.6 | Metering Data for Meter Change with Configuration Change – Manually Read Interval Metering Installation |  |  |  |
| H.7 | Transfer occurs on the NSRD for Manually Read Interval Metering Installation |  |  |  |
| H.8 | Meter Change: Metering Installation with Accumulated Metering Data to Manaually Read Interval Metering Installation | Check spelling in header Manaually Read Interval |  |  |
| APPENDIX I | EXAMPLE CONSUMPTION DATA FILE (NEM13) |  |  |  |
| I.1 | Actual Meter Rreading | Check spelling in header Actual Meter Rreading |  |  |
| I.2 | Normal Meter Reading with Estimate |  |  |  |
| I.3 | Meter Reading and Meter Change |  |  |  |
| I.4 | Historical Data Values |  |  |  |
| I.5 | Transfer read |  |  |  |
| APPENDIX J | EXAMPLE OF USE OF THE REGISTER READ FIELDS |  |  |  |

# Metrology Procedure: Part A

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments - Metrology Part A |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents | - Retail Electricity Market Procedures – Glossary and Framework TBC – identify a location and add link - Jurisdictional rules addition was agreed after 1st draft consult but not added |  |  |
| 2 | DISPUTE RESOLUTION |  |  |  |
| 3 | RESPONSIBILITY FOR METER PROVISION |  |  |  |
| 3.1 | Overall requirements |  |  |  |
| 4 | METERING INSTALLATION COMPONENTS |  |  |  |
| 4.1 | Requirement under National Measurement Act and Use of Standards | para starting unless otherwise The obligation to ensure valid (and current) pattern approval should apply to any equipment to be installed at a metering installation, not just new equipment (i.e. relocated equipment) at that time when the equipment is installed and commissioned. It would not be appropriate to use equipment which met an outdated specification in a new installation. Equipment in an installation should meet the appropriate standard when the installation is commissioned. |  |  |
| 4.2 | Use of Optical Ports and Pulse Outputs | Grammar 1st Paragraph : Either remove ‘Where requested by a FRMP’….. (as this is superfluous within the paragraph or amend and remove end of sentence Where requested by a FRMP, the MC must provide pulse output facilities representing the quantity of electricity measured in accordance with the relevant Australian Standard for that meter within a reasonable time of being requestedby a FRMP to provide such facilities. |  |  |
| 4.3 | Password Allocation |  |  |  |
| 4.4 | “x” values – Calculation and use | Jurisdictional table - Grammar: The values of “x” applicable for a Jurisdiction This should read…applicable to a Jurisdiction. Applicable for is used when one is applying for something - Para starting : Connection points must not be aggregated…… This section has been removed out of the 3 jurisdictional sections of the table and re-worded In the jurisdictional table the sentence reads: Connection Points may not be aggregated for the purposes of determining the annual consumption. As this is specifically part of the Jurisdictional material it should remain with the Jurisdictional material. - Second jurisdictional table : Clarification sought: ACT: 1) & 2): what is the trigger to select calculation 1) over 2)? The delta is an additional allowance of 2% - given it is the same jurisdiction was justifies the two varied approaches? - Suggestion for easy referencing : Propose a simple numbering or title for each table such as the approach deployed for other tables in the same doc. E.g. Table 5.1 in section 5.2 |  |  |
| 4.5 | “y” values – Calculation and use | Interchanged calculation and estimation - Grammar: The values of “y” applicable for a Jurisdiction This should read…applicable to a Jurisdiction. Applicable for is used when one is applying for something - Suggesting rewording of the following due to awkward grammar/syntax: The manner in which the volumes of electricity flowing through connection points are to be determined are specified in for each Jurisdiction in the following table: Suggest the following amendment: The manner in determining the volume of electricity flowing through connection points is specified for each jurisdiction in the following table - Para starting: Connection points must not be aggregated when calculating ‘y’. This section has been removed out of the 2 jurisdictional sections of the table and re-worded In the jurisdictional table the sentence reads: Connection Points may not be aggregated for the purposes of determining the annual consumption. Therefore this sentence should remain with the jurisdictional material. Feedback for Jurisdictional tables: Also, ACT the original sentence of the paragraph and the start of point 3) does not flow. Suggest changing in 3) the word calculated to calculations; else rewording the first sentence of the paragraph to suit all points - Consistent and Differential use of calculated vs estimated. Using an engineering report one assumes the annual consumption will be calculated. |  |  |
| 4.6 | Grandfathering | Suggest that VICAMI meters be covered by this clause |  |  |
| 4.7 | Data Storage Requirements for Meters |  |  |  |
| 4.8 | Metering Installation Clock |  |  |  |
| 4.9 | Interval Meters |  |  |  |
| 4.10 | Alarm Meters | Alarms identified are not consistent with alarms identified in other documents – eg Metrology Part B, and minimum specification. Some alarms identified are listed elsewhere as obsolete. This needs to be clarified and standardised across the procedures Alarms needs to be tied back to reasons codes in MDFF file. E.g. tamper has been included as a reason code but Met Part A has no mention of it. |  |  |
| 5 | MINIMUM SERVICES SPECIFICATION |  |  |  |
| 5.1 | Minimum Service Levels |  |  |  |
| 5.1.2 | Completion time frames | 2nd paragraph needs a review to insert spaces to separate words. The 2nd paragraph is one long sentence (without even commas), which makes it difficult to follow and understand. Please reword. |  |  |
| 5.2 | Technical Requirements | AGL queries this obligation in light of the large number of type 5 and 6 meters that will be in service post 1 Dec 2017. AGL assumes that this is for the installation of type 4 meters, not the existing small customer meters which will be in service as of that date. |  |  |
| 5.2(a) |  | A note: Acronyms for UOM (units of measurement) should be kept consistent throughout documents. E.g. VArh is used in the MDFF specs and in the ### measures and abbreviations – AEMO www.aemo.com.au/Electricity/Planning/Archive-of…/~/…/2012NTNDPGlossary Suggest varh is replaced with VArh. Or at least the use of UOMs aligned throughout the procedures. |  |  |
| 5.2(b) |  | Please review and reword as syntactically the clause is very awkward to understand. Suggested: Where a poly-phase metering device is installed, the metering installation must (for each and all connected phases) be capable of recording and providing the average voltage and current, over the nominated TI or TIs. Spaces to separate ‘nominated TIs’ is required towards the end of the clause. |  |  |
| 6 | SUMMATION METERING |  |  |  |
| 7 | EMBEDDED NETWORKS | Some clarification /feedback from jurisdictional tables. Table ACT It is unclear what the requirements are for the metering installation in clause (1) are versus the metering installation in clause (2). Noting this is a jurisdictional requirement, AGL is unsure how a selection of options 1 or 2 would be made.. |  |  |
| 7 |  | Table NSW Is it possible for an Embedded Network Parent to have an accumulation meter in the new environment? AGL assumes that an existing meter would remain. Also – what jurisdictional document is referenced by clause 2.5.1[NSW](1)(b) above |  |  |
| 7 |  | ACT Clause (1) and (2) are contradictory |  |  |
| 8 | REVERSION OF METERING INSTALLATION TYPES | General comment regarding MC obligation in table – it’s unclear if the obligations apply to the existing or new MC? |  |  |
| 9 | ROUTINE TESTING AND INSPECTION OF METERING INSTALLATIONS | Para starting ‘Once AEMO approves …’ The MC should also provide the Testing Strategy to the financially affected parties – FRMP, LNSP, LR (as they may be customer appointed). There will be instances where one or more parties will not have a contract agreement with the MC but are affected by MC actions. As parties affected by these actions they should be able to assure themselves that appropriate steps are been undertaken. |  |  |
| 10 | INSTALLATION OF METER(S) | If the meter is installed before the service is installed, then it may be necessary for the DB to access the meter terminals for various tests. DBs need the ability to access meter terminals for safety reasons as needed and would then re-seal the meter terminals. See clause 12.1.3 (c) where MC can access the Network device. There needs to be a consistent approach to these outcomes. AGL also sees no reason why each party needs notification. |  |  |
| 10.1 | Installation by ASPs | Is this section now required? Nothing in the tables. |  |  |
| 11 | METER CHURN |  |  |  |
| 11.1 | Initiation of a Meter Churn |  |  |  |
| 11.2 | Performance of a Meter Churn |  |  |  |
| 11.3 | Meter Churn Process |  |  |  |
| 11.3(b) |  | Obligation that MC must ensure that the roles are aligned within 2 days of the meter churn change. MC may not be aware of other role changes initiated by other parties and therefore may not be able to ensure all role assignments are made I.e. MC of a NMI (Child) will they be notified of role changes? |  |  |
| 12 | DE-COMMISSIONING AND REMOVAL OF METERING EQUIPMENT AND NETWORK DEVICES | New para added It’s not clear what the outcome of a use of system agreement has on the metrology procedure. Does the UoS now take precedence and does this mean the MP cannot potentially remove the network device ? |  |  |
| 12.1 | Network Devices |  |  |  |
| 12.1.2 |  | Clause (c ): This does not flow from the initial sentence. Suggest rewording. Was the intention to read as; …c) in other circumstances as allowed under the NER. |  |  |
| 12.1.3 |  | The same obligations do not appear to apply for each participant’s equipment. Why would an LNSP need to get agreement for isolation/alteration from the MC and MP and not a notification only? If so, why isn’t the same requirement for MC/MP to the LNSP in instance of Network Device alteration? Networks will be monitoring their supply via these devices…. Suggest that the obligations be consistently applied between the parties. For site commissioning purposes, the LNSP may need access to meter terminals to complete testing. Similarly, the MP may require access to the terminals at a network device. Agreement of isolation is onerous – as opposed to notification of isolation. Provision of details of seals seems unnecessary as long as the parties undertaking the various work is authorised. |  |  |
| 13 | RESPONSIBILITY FOR METERING DATA SERVICES |  |  |  |
| 13.1 | Metering Data Services | para starting The MC or Surely this obligation now sits only with the MC or AEMO. If it extends beyond the MC then at best it can only extend to the parties who can engage an MC, which is both FRMP and large customer. |  |  |
| 13.2 | Metering Data Collection | Item 257 – provided in 1st round consult – agreed and not amended. Last para: …each metering installation is read at least once every three months…. This would align it with the feedback provided and also aligns with the MDP SLP 3.4(c ). |  |  |
| 13.3 | Metering Data Storage |  |  |  |
| 13.4 | Access to Metering Data | Numbering not fixed. |  |  |
| 13.5 | Verification of Metering Data for Type 4A, 5, 6 and 7 Metering Installations | As heading has no direct meaning to the clause, the clause as drafted will require sample testing to be undertaken for all meters from type 1 down. |  |  |
| 13.6 | Metering Installation type 7 – sample testing |  |  |  |
| 13.7 | Request for Test of Calculated Metering Data |  |  |  |
| 13.8 | AEMO’s Metering Data Obligations |  |  |  |
| 14 | EMERGENCY PRIORITY PROCEDURES | Procedure need to be clear. Not well written for minimum standards. |  |  |
| 14 |  | This section more properly belongs in the Service Level procedures. The initiation of EPPs will impact Service Levels to LNSPs and impact services provided to FRMPs There also needs to be some sort of obligation to ensure that the other affected parties (eg FRMPs) are advised that the LNSP has triggered the Emergency Priority Procedures as this may affect service orders or meter reads for those NMIs which in turn will affect Customers, |  |  |
| 14.1 | Criteria for determining Emergency Condition |  |  |  |
| 14.2 | Metering Installations Affected |  |  |  |
| 14.3 | Prioritisation of Services by MC in Emergency Condition | What is this clause trying to say? ITEM 297 raised by AusNet about clarity and AEMOs response agreed and redrafted. The redrafting does not provide further clarity to the intent. AGL believes If the EPP is initiated by LNSP an obligation rather than ‘agreement’ should be the trigger for the delivery of services from the MC with respect to Customer safety and Supply load. |  |  |
| 14.4 | Other Laws Prevail |  |  |  |

# Metrology Procedure: Part B

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## Metrology Part B - Participant Comments - AGL |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1. | Purpose and Scope |  |  |  |
| 1.2. | Definitions and Interpretation |  |  |  |
| 1.3. | Related Documents | - Retail Electricity Market Procedures – Glossary and Framework TBC – identify a location and add link - Jurisdictional docs should be included. - MDFF has been referenced and needs to be included. - NER doc - MDP SLP |  |  |
| 2 | PRINCIPLES FOR VALIDATION, SUBSTITUTION AND ESTIMATION |  |  |  |
| 2.1. | General Validation, Substitution and Estimation Requirements |  |  |  |
| 2.2. | Substitution requirement |  |  |  |
| 2.3. | Estimation requirement | The references to Jurisdictional requirements are incomplete |  |  |
| 2.3 |  | How has the MC been authorised to approve those estimations? The MC is not financially affected by the actions it takes in these processes. Its actions however do impact the financial affected parties (FRMP, LR, LNSP) who may not be contracted with the MC e.g. customer appointed MC The MC will be responsible and potentially liable, and should therefore engage the financially affected parties it has commercial arrangements with. |  |  |
| 2.3 |  | Clause 2.3(a): Due to track changes NSRDe …remove ‘e’ |  |  |
| 2.4. | Metering data quality flags | Table Quality Flag descriptors (eg A, S, E) should be spelt out as Actual – etc. to ensure clarity across procedures. |  |  |
| 2.4 |  | para starting (d) Where the... Isn’t it more important that the notice is provided to the MC who then directs the MDP The MC will be responsible and potentially liable, and should therefore engage the financially affected parties it has commercial arrangements with. |  |  |
| 2.4 |  | Para starting (e) As a result Shouldn’t this notice go to the MCs to direct the MDPs The MC will be responsible and potentially liable, and should therefore engage the financially affected parties it has commercial arrangements with. |  |  |
| 2.4 | Final substitution | Clause (b): delete the repeated word ‘metering data’….. |  |  |
| 2.5. | Summary table of Substitution and Estimation Types |  |  |  |
| 3 | SUBSTITUTION FOR METERING INSTALLATION WITH REMOTE ACQUISITION OF METERING DATA |  |  |  |
| 3.1. | Application of section 3 | The clause requires the MDP to ensure the selected Substitution values correctly align with the adjoining intervals of metering data and that any intervals of metering data adjacent to the Substituted period are valid. Aligning the substitution intervals is manually intensive and not appropriate for Mass Market customers. |  |  |
| 3.2. | Substitution Rules | para starting where there is a metering installation… Include NER reference Given that the timeframes have been removed (parenthesis) but the NER periods referenced; suggest to include the reference to the NER Clause. |  |  |
| 3.3. | Substitution Types | VICAMI metrology needs to allow the 50 series substitutions A VICAMI should be able to adopt the type 5 metrology |  |  |
| 3.3 |  | AGL believes the MC should be responsible for organising the agreement for type 18 substitution, rather than the MDP |  |  |
| 3.3 |  | Type 16 AGL believes the MC should be responsible for organising the agreement for type 16 substitution, rather than the MDP |  |  |
|  |  | VIC AMI Meters section: for VICAMI metering installations, w….. The ‘w’ has to be removed. |  |  |
|  |  | Type 20: Redrafting and Reference to Table 1 has not resolved issues of data substitution. See Appendix A table 1-2 row 112 pg 77 for previous comments on this issue. I.e. Ausgrid comment. |  |  |
|  |  | para starting For metering installations installed Accreditation is required for Substitution types 51 and 52. Include this requirement. |  |  |
| 4 | SUBSTITUTION AND ESTIMATION FOR MANUALLY READ INTERVAL METERING INSTALLATIONS |  |  |  |
| 4.1. | Application of section 4 |  |  |  |
| 4.2. | Substitution and Estimation Rules | Para starting MDP must not perform The MC should be responsible for organising the agreement for type 53 & 56 substitution, rather than the MDP |  |  |
| 4.3. | Substitution and Estimation Types |  |  |  |
| 5 | SUBSTITUTION AND ESTIMATION FOR METERING INSTALLATIONS WITH ACCUMULATED METERING DATA |  |  |  |
| 5.1. | Application of section 5 |  |  |  |
| 5.2. | Substitution and Estimation Rules | Para starting The MDP must not perform type 64… Governance The MC has the key role in establishing agreements across the financially affected parties The process of seeking agreements etc. seems to be inconsistently applied across different clauses |  |  |
| 5.3. | Substitution and Estimation Types |  |  |  |
| 6 | SUBSTITUTION AND ESTIMATION FOR CALCULATED METERING DATA |  |  |  |
| 6.1. | Substitution Rules | para starting The MDP must base… clause (b) Poor wording – suggest: ‘Data must be flagged as A metering data’.. change to Data must be flagged as Actual (A) metering data As well as Substituted (S) end of clause. See 2nd paragraph below as an example – ‘final’ (F). |  |  |
| 6.2. | Substitution and Estimation Types |  |  |  |
| 7 | GENERAL DATA VALIDATION REQUIREMENTS |  |  |  |
| 7.1. | Validation requirements for all metering installations |  |  |  |
| 7.2. | Validation of interval metering data alarms | Alarms not consistent with other alarm lists i.e MDFF CRC alarm – checksum alarm – not obsolete. |  |  |
| 8 | VALIDATION WITHIN THE METER READING PROCESS |  |  |  |
| 8.1. | Validations to be performed during collection of metering data from manually read interval metering installations |  |  |  |
| 8.2. | Validations to be performed during collection of accumulated metering data |  |  |  |
| 9 | VALIDATION AS PART THE REGISTRATION PROCESS |  |  |  |
| 9.1. | Validation of metering installations with remote acquisition of metering data | (b) NMI Ranges allocated to LNSP should not be referenced as may be inconsistent. There are NMIs from one LNSP range used by other LNSPs. |  |  |
| 9.2. | Validation for manually read interval metering installations | Clause numbers a & b have been repeated in the same section, needs new numbering to reference the clauses correctly. |  |  |
| 9.3. | Validation for metering installations with accumulated metering data | See clean version Second (b) Validation on load type for end user – not appropriate for mass market Disconnect between marked up and clean versions |  |  |
|  |  | Clause numbers a, b & c b have been repeated in the same section, needs new numbering to reference the clauses correctly. |  |  |
| 9.4. | Validation for metering installations with calculated metering data | There needs to be better obligations on managing the connection information for type 7 connections – too many are not connected and referenced incorrectly to the FRMP/LR All unmetered connections should have individual off market NMIs |  |  |
| 10 | VALIDATION OF METERING DATA |  |  |  |
| 10.1. | General validation requirements |  |  |  |
| 10.2 | Validations to be performed for all metering installations with remote acquisition of metering data |  |  |  |
| 10.3. | Validations to be performed for metering installations with check metering or partial check metering |  |  |  |
| 10.4. | Validations to be performed for manually read interval metering installations with CTs |  |  |  |
| 10.5. | Validations for whole current manually read interval metering installations |  |  |  |
| 10.6. | Validations for metering installations with accumulated metering data |  |  |  |
| 10.7 | Validations for metering installations with calculated metering data |  |  |  |
| 11 | LOAD PROFILING – CONVERSION OF ACCUMULATED METERING DATA |  |  |  |
| 11.1. | Requirements for load profiling |  |  |  |
| 11.2. | Profile Preparation Service - Controlled Load Profile |  |  |  |
| 11.3. | Basic Meter Profiler – Controlled Load |  |  |  |
| 11.4. | Profile Preparation Service - Net System Load Profile |  |  |  |
| 11.5. | Basic Meter Profiler - Net System Load Profile |  |  |  |
| 11.6. | Start Dates and End Dates |  |  |  |
| 12 | UNMETERED LOADS – DETERMINATION OF METERING DATA |  |  |  |
| 12.1. | Requirement to produce calculated metering data |  |  |  |
| 12.2. | Controlled Unmetered Devices |  |  |  |
| 12.3. | Uncontrolled Unmetered Devices |  |  |  |
| 12.4. | ON delay and OFF delay |  |  |  |
| 12.5. | Traffic signal dimming |  |  |  |
| 13 | SUBSTITUTION FOR TRANSFER |  |  |  |
| 13.1. | Application |  |  |  |
| 13.2. | Manually read interval metering installations |  |  |  |
| 13.3. | Manually read accumulation metering installations |  |  |  |

# MSATS Procedures: CATS Procedure Principles and Obligations

Please delete any rows where there are no participant comments

Other – a simple diagram showing the stages a transaction goes through would be a useful tool

| ## Clause | ## Heading | ## MSATS CATS - Participant Comments – AGL |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| General |  | For all CRs with a proposed date, a 1500 CR is also required to be submitted with the actual change date. Any activity with a proposed change date may not occur on that proposed change date, therefore the CR 1500 is required to update the market with the actual change date. This is not clear in the various CR descriptions. |  |  |
| General |  | The numbering in the response template versus the second stage document is misaligned form Cl 7 onwards, and some comments may be incorrectly allocated within this response as a result. |  |  |
|  | QUICK REFERENCE GUIDE |  |  |  |
|  | HOW TO USE THIS DOCUMENT |  |  |  |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | PURPOSE AND SCOPE |  |  |  |
| 1.2 | DEFINITIONS AND INTERPRETATION |  |  |  |
| 1.3 | COMMENCEMENT OF CHANGES |  |  |  |
| 1.4 | RELATED DOCUMENTS |  |  |  |
| 2 | OBLIGATIONS BY ROLE |  |  |  |
| 2.1 | GENERAL OBLIGATIONS | There is no reference to system data inputs up to 11.59 pm etc. MSATS system timeframes are not clear within the procedure and lodging a CR pre 00:00 and post 00:00 has substantially different outcomes on the market. |  |  |
| 2.2 | FINANCIALLY RESPONSIBLE MARKET PARTICIPANT |  |  |  |
| 2.2(r ) |  | Notification of remote service only applies to current FRMP, doesn’t include an obligation on the incoming FRMP who may reconnect a meter remotely for an incoming customer. |  |  |
| 2.3 | LOCAL NETWORK SERVICE PROVIDER |  |  |  |
| 2.3 |  | 2.3(m) AGL queries why the LNSP is responsible for ensuring network tariff codes are stored in MSATS as this is now the responsibility of the Meter Provider, although AGL notes the comments made at the workshop of 7 July and strongly prefers the LNSP to be responsible for network tariffs. 2.3(p) the LNSP should only be responsible for updating certain participant codes which are incorrect. They are not responsible for updating participant types, such as MC, MP, MDP. AGL also notes Ausgrid’s comments about repurposing the controlled load field. If MPs are to apply network tariffs then a process will be required to support this proposition. It is also likely that even with support MPs will only be able to populate network tariff codes for simple installation and that the LNSP will be required to populate the code with network tariffs for the more complex situations. Therefore LNSPs should also have the ability to update the network tariff code. Further, in supporting MPs providing the network tariff, it would be very beneficial to supply the C4 report normally provided at the completion of a role change to the New MPB at the requested stage to allow give them visibility of the current configuration in MSATS. This would provide the current Network Tariff Codes (NTC) associated with the site, facilitate easier alignment of new configuration to existing and support publication of NTC by the MPB. This change would also reduce the need to query LNSP for information via email or SMP transaction moving forward. |  |  |
| 2.4 | METERING DATA PROVIDER |  |  |  |
| 2.4(q) |  | This clause should also be applicable to VICAMI meters. |  |  |
| 2.5 | METERING PROVIDER – CATEGORY B | clause (d) the obligations should be extended to relevant registered participants and the ENM, as well as the LNSP. Many of these parties will not have commercial arrangements with the MPB, but should still be entitled to the information. |  |  |
| 2.6 | MC |  |  |  |
| 2.6 |  |  |  |  |
| 2.7 | RETAILER OF LAST RESORT |  |  |  |
| 2.8 | SECOND NETWORK SERVICE PROVIDER |  |  |  |
| 2.9 | AEMO |  |  |  |
| 2.10 | EMBEDDED NETWORK MANAGER |  |  |  |
| 3 | CATS FUNCTIONALITY |  |  |  |
| 3.1 | OVERVIEW |  |  |  |
| 3.2 | PRINCIPLES |  |  |  |
| 3.3 | TRANSACTION TYPES |  |  |  |
| 3.4 | CHANGE REQUESTS |  |  |  |
| 3.5 | CHANGE REQUEST STATUS LIFE CYCLE |  |  |  |
| 3.6 | TRANSACTION VALIDATION |  |  |  |
| 3.7 | VALID PROPOSED CHANGE DATE FOR PROSPECTIVE AND RETROSPECTIVE CHANGE REQUESTS |  |  |  |
| 4 | CATS CODES AND RULES FOR A CHANGE REQUEST |  |  |  |
| 4.1 | INTRODUCTION |  |  |  |
| 4.2 | CHANGE REASON CODE |  |  |  |
| 4.3 | ROLE CODES | No consistency in application of who can initiate various CRs |  |  |
| 4.4 | CHANGE REQUEST INITIATION RULES |  |  |  |
| 4.5 | JURISDICTION CODES |  |  |  |
| 4.6 | TIMEFRAME RULES |  |  |  |
| 4.7 | OBJECTION CODES |  |  |  |
| 4.8 | OBJECTION RULES |  |  |  |
| 4.9 | NMI CLASSIFICATION CODES |  |  |  |
| 4.10 | END USER CLASSIFICATION | NMI Status code ‘R’ has been removed form cl 4.11, but still shown in cl 4.10 |  |  |
| 4.11 | STATUS CODES (NMI AND DATASTREAM) | Reference in leading sentence missing Code D – alternatively refer all codes to table. |  |  |
| 4.11.3(b) |  | Clause indicates that Meter Register Codes are only C & R, however, code D has been introduced. |  |  |
| 4.12 | METERING INSTALLATION TYPE CODES | Remove VICAMI type code and revert to type 5 |  |  |
| 4.13 | READ TYPE CODE |  |  |  |
| 4.14 | FIELD VALIDATION RULES | Table 4-O dos not exist – where is it? Further clarification of table 4.-15 |  |  |
| 4.15 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 4.16 | MAINTENANCE OF CODES AND RULES | Number on meter faceplate should be put into MSATS. There can be discrepancies between MP asset numbers and manufacturer’s numbers. For clarity – the number on the face plate of the meter (often a manufacturer ID) should also be loaded, as this is sometimes the only number visible on an installed meter. |  |  |
| 4.16(a) |  | Table of data The Controlled Load Table has been introduced, but the information is not provided for in any NMI Standing Data schedule. |  |  |
| 4.17 | DATASTREAM STATUS CODE | Cl(b) (b) The Datastream Status Code makes use of the ‘active’ and ‘inactive’ codes specified in Table 4-I Remove examples ‘active’ and ‘inactive’ |  |  |
| 4.18 | EMBEDDED NETWORK CODES AND RULES |  |  |  |
| 4.19 | OBTAINING ELECTRONIC DOWNLOADS OF CONFIGURATION RULES |  |  |  |
| 5 | REQUEST A REPORT | Section 5.1-5.11 have been removed, yet they give better context and definition than the information of the table. |  |  |
| 6 | GUIDELINES FOR MANAGING CONCURRENT RETAIL TRANSFERS |  |  |  |
| 6.1 | Definition of concurrent retail transfers |  |  |  |
| 6.2 | Guidelines |  |  |  |
|  |  | Response template becomes inconsistent with procedure from this point and some comments provided may be misaligned to clauses |  |  |
| 7 | CHANGE RETAILER – SMALL OR LARGE NMI |  |  |  |
| 7.1 | Application [1000 1010 1020 1030 1040] | 1st sentence should read: Section 7 applies when….. |  |  |
| 7.1 | Conditions Precedent |  |  |  |
| 7.3 | Initiating Roles |  |  |  |
| 7.4 | FRMP Requirements | Clause (d): Given the section is about FRMP requirements shouldn’t it reference the ‘New FRMP’ and not the ‘New Retailer’? Consistency of terms. |  |  |
| 7.5 | MDP Requirements | The only type of meters not requiring a meter reading are type 7. Is this clause meant to cover manually read meters ? Clause (h) (iv); Original comment by AGL: Why isn’t remote type 5 included in the list? AEMO’s response: AEMO clarifies that the definition of type 5 is not remote read meter. AGL Response - There are a substantial number of remotely read type 5 meters in the current Market, separate to VICAMI meters. How does AEMO’s framework propose to incorporate the remote read comms meters in the current Type 5 categories post 1 Dec 2017, or is it assumed that a type 5 can never be remotely read ? If AEMOs intention is that the clause only applies to manual read meters (which would also include type 4A) then this needs to be defined. Otherwise reword accordingly. If we are contemplate remote read Type 5 meters : Many millions of meters do not require a Meter Reading but will not be validated according to the nominated installation type codes identified in the above mentioned clause. Does that mean we would have to identify for each instance an error according to the clause? Or not report on it? |  |  |
| 7.6 | MC Requirements |  |  |  |
| 7.7 | Timeframe Rules |  |  |  |
| 7.8 | Objection Rules | See note at start of feedback |  |  |
| 7.9 | Change Request Status Notification Rules |  |  |  |
| 8 | CHANGE RETAILER - ERROR CORRECTIONS – SMALL NMIS |  |  |  |
| 8.1 | APPLICATION [1021 1022 1023 1024 1025 1026 1027 1028 1029] | 1st Paragraph, last sentence references Section 0 ……????? The following sentence references Section 10 : should this be section 8…..????? |  |  |
| 8.2 | CONDITIONS PRECEDENT |  |  |  |
| 8.3 | Initiation Roles |  |  |  |
| 8.4 | FRMP Requirements | Wording of these clauses should be reviewed - This clause relates to change of retailer – is it a change of retailer or change of FRMP ? The market role is FRMP, which includes retailer and market customer. - When reviewing the requirement to initiate a change of retailer, the initiation rule points to cl 8.4. - In Cl 8.4 the sequence of actions seems disjointed (eg gain consent prior to NMI discovery etc.) which must be undertaken prior to the initiation of a Change Request. Cl 8.4 is effectively the requirements which should be undertaken prior to initiating a change request and the information required for the change request. AGL queries the format / information in all these clauses and suggests that they could be broken into pre-initiation, and requirements to initiate, requirements on other parties receiving the request |  |  |
|  | MDP requirements | MDP Requirements have been fully removed. Can AEMO please provide an explanation as to why this material has been deleted |  |  |
| 8.5 | MC Requirements |  |  |  |
| 8.6 | Timeframe Rules | End of 1st para… A reference link seems to be broken, hence Error displayed. |  |  |
| 8.7 | Objection Rules |  |  |  |
| 8.8 | Change Request Status Notification Rules |  |  |  |
| 9 | CHANGE RETAILER – EMBEDDED NETWORKS – SMALL OR LARGE |  |  |  |
| 9.1 | APPLICATION [1080 1081 1082 1083 1084] |  |  |  |
| 9.2 | CONDITIONS PRECEDENT |  |  |  |
| 9.3 | INITIATION ROLES |  |  |  |
| 9.4 | FRMP Requirements |  |  |  |
| 9.5 | MDP Requirements |  |  |  |
| 9.6 | MC Requirements |  |  |  |
| 9.7 | Timeframe Rules |  |  |  |
| 9.8 | Objection Rules |  |  |  |
| 9.9 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 10 | PROVIDE DATA – PROVIDE ACTUAL CHANGE DATE – SMALL OR LARGE | The below numbering belong to section 10. |  |  |
| 10.1 | APPLICATION [1500] | - 1st sentence should reference Section 10 not 9… - The comment in the table needs to be reworded – it is awkward and needs to be reread more than once for clarity. Suggest: ‘the MDP is required to provide MSATS with the Actual Date of change for the related Change Request’ |  |  |
| 10.2 | CONDITIONS PRECEDENT | The MC may also change the MP / MDP, not just the FRMP. |  |  |
| 10.2 |  | It is not widely known in what instances this CR should be used. New entrants without intimate detailed prior experience in the field (including existing participants entering new roles) will miss the requirement unless it is called out and scenarios are provided. |  |  |
| 10.3 | INITIATION ROLES |  |  |  |
| 10.4 | MDP Requirements |  |  |  |
| 10.5 | TIMEFRAME RULES |  |  |  |
| 10.6 | OBJECTION RULES | See previous comments regarding changes to objection timeframes. |  |  |
| 10.7 | CHANGE REQUEST STATUS NOTIFICATION RULES | Note table shows RP not MC Tables need to be updated |  |  |
| 11 | CREATE NMI – CREATE A NMI – SMALL OR LARGE | Process for managing child NMIs by the ENMs needs further review. NSP2 role would work appropriately for Embedded Networks. |  |  |
|  |  | This section should all be section 11. |  |  |
| 11.1 | APPLICATION [2000 2001] | 1st sentence should reference Section 11 not …10 |  |  |
| 12.2 | CONDITIONS PRECEDENT |  |  |  |
| 12.3 | INITIATION ROLES |  |  |  |
| 11.4 | LNSP Requirements |  |  |  |
| 11.5 | MPB Requirements | The MPB will not always know what the Metering Installation Type Code…. Should not be a mandatory field |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 12 | CREATE NMI – CREATE CHILD NMI - SMALL OR LARGE | This section should all be section 12. |  |  |
| 12.1 | APPLICATION [2020 2021] | - 1st sentence should reference Section 12 not 11….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | ENM Requirements |  |  |  |
|  | MPB OBLIGATIONS |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 13 | CREATE NMI – CREATE NMI, METERING INSTALLATION DETAILS AND NMI DATASTREAM – SMALL OR LARGE | This section should all be section 13. |  |  |
| 13.1 | APPLICATION [2500 2501] | - 1st sentence should reference Section 13 not 12….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | LNSP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 14 | CREATE NMI – CREATE NMI, METERING INSTALLATION DETAILS AND MDM DATASTREAM – SMALL OR LARGE | This section should all be section 14. |  |  |
| 14.1 | Application [2520 2521] |  |  |  |
|  | Conditions Precedent |  |  |  |
|  | Initiating Roles |  |  |  |
|  | ENM Requirements | This section should all be section 14. |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 15 | MAINTAIN METERING – CREATE METERING INSTALLATION DETAILS – SMALL OR LARGE | This section should all be section 15. |  |  |
| 15.1 | APPLICATION [3000 3001] | - 1st sentence should reference Section 15 not 13….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | MPB Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 16 | MAINTAIN METERING – EXCHANGE OF METERING INFORMATION – SMALL OR LARGE | This section should all be section 16. |  |  |
| 16.1 | APPLICATION [3004 3005] | - 1st sentence should reference Section 16 not 14….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MPB Obligations |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 17 | MAINTAIN METERING – CHANGE METERING INSTALLATION DETAILS – SMALL OR LARGE | This section should all be section 17. |  |  |
| 17.1 | APPLICATION [3050 3051] | - 1st sentence should reference Section 17 not 15….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MPB Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 18 | MAINTAIN METERING - ADVANCED CHANGE METERING INSTALLATION DETAILS - SMALL OR LARGE | This section should all be section 18 |  |  |
| 18.1 | APPLICATION [3080 3081] | - 1st sentence should reference Section 18 not 16….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
| 18.4 | MC Requirements | AGL’s original comment: Clause (g) If this is a prospective change for a meter, then a CR 1500 also needs to be raised and should be noted in this section. AEMO’s response: AEMO does not agree with participant suggestion As CR1500 is not relevant in the context to this CR. AGL’s clarification: CR 3080 is about MC providing prospective changes. The prospective date may not be met. Hence, a CR 1500 is required to provide the actual change date. With respect to the above clarification a CR1500 has context to the CR3080. CR3080. is not needed and should not be used. However, if it is used then then a CR1500 is also required. |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 19 | MAINTAIN METERING - ADVANCED EXCHANGE OF METERING - SMALL OR LARGE | This section should all be section 19. |  |  |
| 19.1 | APPLICATION [3090 3091] | - 1st sentence should reference Section 19 not 17….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
| 19.4 | MC Requirements | AGL’s original comment: Clause (g) If this is a prospective change for a meter, then a CR 1500 also needs to be raised and should be noted in this section. AEMO’s response: AEMO does not agree with participant suggestion As CR1500 is not relevant in the context to this CR. AGL’s clarification: CR 3090 is about MC providing prospective changes. The prospective date may not be met. Hence, a CR 1500 is required to provide the actual change date. With respect to the above clarification a CR1500 has context to the CR3090. |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 20 | MAINTAIN METERING – CHANGE NETWORK TARIFF CODE – SMALL OR LARGE | This section should all be section 20. |  |  |
| 20.1 | APPLICATION [3100 3101] | - 1st sentence should reference Section 20 not 18….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | LNSP and ENM Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 21 | MAINTAIN DATASTREAM – CREATE NMIDATASTREAM –SMALL OR LARGE | This section should all be section 21. |  |  |
| 21.1 | APPLICATION [4000 4001] | - 1st sentence should reference Section 21 not 19….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MDP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 22 | MAINTAIN DATASTREAM - EXCHANGE OF DATASTREAM INFORMATION SMALL OR LARGE | This section should all be section 22. |  |  |
| 22.1 | APPLICATION [4004 4005] | - 1st sentence should reference Section 22 not 20….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MDP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 23 | MAINTAIN DATASTREAM – CHANGE NMIDATASTREAM – SMALL OR LARGE | This section should all be section 23. |  |  |
| 23.1 | APPLICATION [4050 4051] | - 1st sentence should reference Section 23 not 21….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MDP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 24 | MAINTAIN NMI – UPDATE NEXT SCHEDULED READ DATE – SMALL OR LARGE | This section should all be section 24. |  |  |
| 24.1 | APPLICATION [5070 5071] | - 1st sentence should reference Section 24 not 22….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
|  | MDP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 25 | MAINTAIN NMI – BACKDATE A NMI – SMALL OR LARGE | This section should all be section 25. |  |  |
| 25.1 | APPLICATION [5001 5021] | - 1st sentence should reference Section 25 not 23….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION RULES |  |  |  |
| 25.4 | LNSP Requirements (5001 ONLY) | Drafting – para starting the New LNSP… Suggest The LNSP assigned under this transaction must have been the current LNSP for the retrospective period the transaction applies to, must.. |  |  |
|  | ENM Requirements (5021 ONLY) |  |  |  |
|  | AEMO Requirements |  |  |  |
|  | MPB Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 26 | MAINTAIN NMI – CHANGE A NMI – SMALL OR LARGE | This section should all be section 26. |  |  |
| 26.1 |  | AGL supports a proposal below that additional fields be included in NMI standing Data and which can be driven by the CR 5050 /CR5051 transaction by the actioning party– Field Name: De-energisation Status Requirement: Mandatory if the NMI Status Code field is “D” and invalid for all other codes. Modifiable By: LNSP or MPB – whoever undertakes the work. Description: This field will allow all market participants to easily identify the method used to de-energise a site and will assist participants in providing clear and correct advice to a customer around the method, timeframes and charges to re-energise a site. Field Name: De-energisation Date Requirement: Mandatory if the NMI Status Code is “D” and invalid for all other codes. Modifiable By: LNSP or MPB – whoever undertakes the work. Description: This field will allow participants, particularly prospective FRMPs, to see how long a site has been de-energised when arranging a re-energisation. This will allow pro-active requests for safety certificates where a site has been disconnected for over 12 months. (Requirement in Victoria) The proposed fields could be: - F (fuse removed) - S (sticker) - R (remote) - P (pole-top or pillar) - T (technical e.g. meter load tails) |  |  |
| 26.1 | APPLICATION [5050 5051] | - 1st sentence should reference Section 26 not 24.... |  |  |
| 26.2 | CONDITIONS PRECEDENT |  |  |  |
| 26.3 | INITIATION ROLES |  |  |  |
| 26.4 | LNSP Requirements |  |  |  |
| 26.5 | TIMEFRAME RULES |  |  |  |
| 26.6 | OBJECTION RULES |  |  |  |
| 26.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 27 | MAINTAIN NMI – CHANGE A NMI - CUSTOMER CLASSIFICATION CODE – SMALL OR LARGE | This section should all be section 27 |  |  |
| 27.1 | APPLICATION [5054 5055] | - 1st sentence should reference Section 27 not 25….. |  |  |
| 27.2 | CONDITIONS PRECEDENT |  |  |  |
| 27.3 | INITIATION ROLES |  |  |  |
| 27.4 | FRMP Requirements |  |  |  |
| 27.5 | TIMEFRAME RULES |  |  |  |
| 27.6 | OBJECTION RULES |  |  |  |
| 27.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 28 | MAINTAIN NMI – CHANGE NMI EMBEDDED NETWORK (CHILD) – SMALL OR LARGE | This section should all be section 28. |  |  |
| 28.1 | APPLICATION [5060 5061] | - 1st sentence should reference Section 28 not 26… |  |  |
| 28.2 | CONDITIONS PRECEDENT |  |  |  |
| 28.3 | INITIATION ROLES |  |  |  |
| 28.4 | ENM Requirements |  |  |  |
| 28.5 | TIMEFRAME RULES |  |  |  |
| 28.6 | OBJECTION RULES |  |  |  |
| 28.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 29 | MAINTAIN NMI – CHANGE PARENT NAME – SMALL OR LARGE | This section should all be section 29. |  |  |
| 29.1 | APPLICATION [5080 5081] | - 1st sentence should reference Section 29 not 27….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | FRMP Requirements |  |  |  |
|  | LNSP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 30 | MAINTAIN NMI – MAKE NMI A CHILD NMI – SMALL OR LARGE | This section should all be section 30. |  |  |
| 30.1 | APPLICATION [5090 5091] | - 1st sentence should reference Section 30 not 28….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
| 30.3 | INITIATION ROLES | References section 31.4 – which is about changing the LNSP role which has no context to these CRs. Perhaps should reference section 30.4 |  |  |
|  | ENM Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 31 | CHANGE ROLE – CHANGE LNSP – SMALL OR LARGE | This section should all be section 31. |  |  |
| 31.1 | APPLICATION [6100 6110] | - 1st sentence should reference Section 31 not 29….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | LNSP or ENM Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 32 | CHANGE ROLE – CHANGE MDP – SMALL OR LARGE | This section should all be section 32. For the proposed change date the prospective period is 65 bus days; which may not be the actual change date. Hence, a CR 1500 is required to provide the actual change date. |  |  |
| 32.1 | APPLICATION [6200 6210] | - 1st sentence should reference Section 32 not 30….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | FRMP Requirements |  |  |  |
|  | METERING COORDINATOR OBLIGATIONS |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 33 | CHANGE ROLE – CHANGE MC – SMALL OR LARGE | This section should all be section 33. |  |  |
| 33.1 | APPLICATION [6300 6301] | - 1st sentence should reference Section 33 not 31… |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | MC Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 34 | CHANGE ROLE – CHANGE LR – SMALL OR LARGE | Change date comment This section should all be section 34. |  |  |
| 34.1 | APPLICATION [6300 6301] | - 1st sentence should reference Section 34 not 32… |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | LR Obligations |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 35 | CHANGE ROLE – CHANGE LR – CHILD NMI – SMALL OR LARGE | This section should all be section 35. |  |  |
| 35.1 | APPLICATION [6421] | - 1st sentence should reference Section 35 not 33….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | LR Obligations |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 36 | CHANGE ROLE – CHANGE ROLR – SMALL OR LARGE | This section should all be section 36. |  |  |
| 36.1 | APPLICATION [6500 6501] | - 1st sentence should reference Section 36 not 34….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | ROLR Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 37 | CHANGE ROLE – CHANGE MPB OR MPC OR BOTH – SMALL OR LARGE | This section should all be section 37. Suggested rewording : MPB and/or MPC which means the same and is more succinct than: MPB or MPC or both |  |  |
| 37.1 | APPLICATION [6700 6701] | - 1st sentence should reference Section 37 not 35….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | MC Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 38 | CHANGE ROLE – CHANGE MULTIPLE ROLES – SMALL OR LARGE | This section should all be section 38. |  |  |
| 38.1 | APPLICATION [6800 6801] | - 1st sentence should reference Section 38 not 36….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | FRMP Requirements |  |  |  |
|  | MC Obligations |  |  |  |
|  | MDP OBLIGATIONS |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 39 | AUTO CHANGE ROLE – CHANGE LOCAL RETAILER EMBEDDED NETWORK CHILD – SMALL OR LARGE | This section should all be section 39. |  |  |
| 39.1 | APPLICATION [ECLR] | - 1st sentence should reference Section 39 not 37….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 40 | AUTO CHANGE ROLE – CHANGE SECONDARY FRMP PARENT – SMALL OR LARGE | This section should all be section 40 |  |  |
| 40.1 | APPLICATION [EPFR] | - 1st sentence should reference Section 40 not 38….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 41 | AEMO ONLY - AEMO-INITIATED STANDING DATA UPDATES – SMALL OR LARGE | This section should all be section 41. |  |  |
| 41.1 | APPLICATION [5100 5101] | - 1st sentence should reference Section 41 not 39….. |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | INITIATION ROLES |  |  |  |
|  | AEMO Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 42 | AEMO ONLY - CHANGE ROLE, TNI OR DLF CODE – BULK CHANGE TOOL (BCT) – SMALL OR LARGE | This section should all be section 42. |  |  |
|  | INTRODUCTION |  |  |  |
|  | CONDITIONS PRECEDENT |  |  |  |
|  | REQUESTING PARTICIPANT Requirements |  |  |  |
|  | IMPACTED PARTICIPANT Requirements |  |  |  |
|  | MDP Requirements |  |  |  |
|  | TIMEFRAME RULES |  |  |  |
|  | OBJECTION RULES |  |  |  |
|  | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 43 | ACCESS TO CATS STANDING DATA | This section should all be section 43 |  |  |
| 43.1 | INTRODUCTION | NMI discovery should be available to MC, MP, MDPs |  |  |
|  | PARTICIPANT |  |  |  |
| 43.3 | Request a NMI Discovery Search | 43.3.1 NMI discovery Search 1-NMI Search Rules cl(j): Need to include MC/MP/MDP in search response as this will be crucial for new FRMPs establishing requirements for customer contracts |  |  |
| 43.3 |  | 43.3.2 NMI discovery Search 2 – - Table 43.3: Need to include MC in search results - Correct the table heading….currently reads…….for a search 2 search. Is this correct or should it read: ……for a Stage 2 search. Also Table 43J The numbering of tables in section 43 is inconsistent - numerical or alpha - consistency |  |  |

# MSATS Procedures: MDM Procedures

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments – MDM Procedures |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
|  |  | Please review for the use of term Basic Meter and update to accumulation meter through procedure Examples provided below in table |  |  |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | OBLIGATIONS |  |  |  |
| 2.1 | General Obligations |  |  |  |
| 2.2 | AEMO |  |  |  |
| 3 | MDM FUNCTIONALITY |  |  |  |
| 3.1 | Introduction |  |  |  |
| 3.2 | Setup Functionality |  |  |  |
| 3.2.3(b) 3.2.3(c) | .. NSLP Profile | Review terminology Change Basic Meter to accumulation meter for consistency Subtract any non-interval (accumulation meter)… |  |  |
| 3.2.8 | Processing Functionality | 2nd para …profile accumulation meter readings. |  |  |
| 3.2.9 | Basic Meter Profiling | Suggest a slight re-wording of this section as the terminology now refers to Accumulation meters. Eg …non Interval datastream (accumulation meters) |  |  |
| 3.2.11(j) |  | … next the system will calculate the accumulation meter interval load…. |  |  |
| 4 | MAINTENANCE OF TNI AND PROFILE AREA |  |  |  |
| 4.1 | Introduction |  |  |  |
| 4.2 | Create a Profile Area |  |  |  |
| 4.3 | Maintain Profile Area Attributes |  |  |  |
| 5 | LOAD DATA – NON-INTERVAL NMI DATASTREAM |  |  |  |
| 5.1 | Conditions Precedent |  |  |  |
| 5.2 | MDP Obligations |  |  |  |
| 6 | LOAD DATA – INTERVAL NMI DATASTREAM |  |  |  |
| 6.1 | Conditions Precedent |  |  |  |
| 6.2 | MDP Obligations |  |  |  |
| 6.3 | Load Sample Meter Data for Defined NMI Datastreams |  |  |  |
| 6.4 | Load Externally Calculated Profile Shape |  |  |  |
| 7 | DEFINE PROFILE |  |  |  |
| 7.1 | Define the Data Source |  |  |  |
| 7.2 | Define the Profile Method |  |  |  |
| 7.3 | Define the Profile Name |  |  |  |
| 8 | PROFILE CALCULATION |  |  |  |
| 8.1 | Settlement Data Scenario |  |  |  |
| 8.2 | Settlement Data Cases |  |  |  |
| 9 | REPORTS |  |  |  |
| 9.1 | Introduction |  |  |  |
| 9.2 | Report Outlines | Note – Stage 1 AEMO response does not align with initial AGL submission – comments re-submitted In general, now that the MP/MDP is contracted to the MC, any report should include MC – either as a recipient or as part of the output. |  |  |
|  | MDM RM9 | MC should have access to this report to manage the quality control of their MDP |  |  |
|  | MDM RM11 | MC should have access to this report to manage the quality control of their MDP |  |  |
|  | MDM RM16 | MC should have access to this report to manage their responsibility for the provision of data by the MDP |  |  |
|  | MDM RM17 | MC should have access to this report to manage their responsibility for the provision of data by the MDP |  |  |
|  | MDM RM18 | This report is required with the MC as one of the output variables |  |  |
|  | MDM RM22 | MC should have access to this report to manage their responsibility for the provision of data by the MDP |  |  |
|  | MDM RM 26 | MC should have access to this report to manage their responsibility for the provision of data by the MDP |  |  |
| APPENDIX A | MDM DATA LOAD TRANSACTION PROCESS |  |  |  |

# MSATS Procedures: Procedure for the Management of WIGS NMIs

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## Participant Comments – AGL – MSATS WIGS |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | Introduction |  |  |  |
| 1.1. | Purpose and Scope |  |  |  |
| 1.2. | Definitions and Interpretation |  |  |  |
| 1.3. | Commencement of Changes |  |  |  |
| 1.4. | Related Documents |  |  |  |
| 2 | Change FRMP - Change FRMP |  |  |  |
| 2.1. | Application [1000 1020] |  |  |  |
| 2.2. | Conditions Precedent |  |  |  |
| 2.3. | Initiating Roles |  |  |  |
| 2.4. | FRMP Requirements |  |  |  |
| 2.5. | LNSP Requirements |  |  |  |
| 2.6. | MDP Requirements |  |  |  |
| 2.7. | MC Requirements |  |  |  |
| 2.8. | MPB Requirements |  |  |  |
| 2.9. | Timeframe Rules |  |  |  |
| 2.10. | Objection Rules |  |  |  |
| 2.11. | Change Request Status Notification Rules |  |  |  |
| 3 | Change FRMP – Embedded Networks – Generator and Wholesale |  |  |  |
| 3.1. | Application [1080,1082] |  |  |  |
| 3.2. | Conditions Precedent |  |  |  |
| 3.3. | Initiating Roles |  |  |  |
| 3.4. | FRMP Requirements | Original comment: clause (f) There is no RP only MC |  |  |
| 3.5. | ENM Requirements |  |  |  |
| 3.6. | MDP Requirements |  |  |  |
| 3.7. | MC Requirements |  |  |  |
| 3.8. | Time Frame Rules |  |  |  |
| 3.9. | Objection Rules |  |  |  |
| 3.10. | Change Request Status Notification Rules |  |  |  |
| 4 | Provide Data – Provide Actual Change Date |  |  |  |
| 4.1. | Application [1500] |  |  |  |
| 4.2. | Conditions Precedent |  |  |  |
| 4.3. | Initiating Roles |  |  |  |
| 4.4. | MDP Requirements |  |  |  |
| 4.5. | Time Frame Rules |  |  |  |
| 4.6. | Objection Rules |  |  |  |
| 4.7. | Change Request Status Notification Rules |  |  |  |
| 5 | CREATE NMI - Create a NMI |  |  |  |
| 5.1. | Application [2000 2001] |  |  |  |
| 5.2. | Conditions Precedent |  |  |  |
| 5.3. | Initiating Roles |  |  |  |
| 5.4. | LNSP Requirements |  |  |  |
| 5.5. | MPB Requirements |  |  |  |
| 5.6. | Timeframe Rules |  |  |  |
| 5.7. | Objection Rules |  |  |  |
| 5.8. | Change Request Status Notification Rules |  |  |  |
| 6 | CREATE NMI – Create NMI Embedded Network (child) – wholesal and generatr |  |  |  |
| 6.1. | Application [2020 2021] |  |  |  |
| 6.2. | Conditions Precedent |  |  |  |
| 6.3. | Initiating Roles |  |  |  |
| 6.4. | ENM Requirements |  |  |  |
| 6.5. | MPB Requirements |  |  |  |
| 6.6. | Timeframe Rules |  |  |  |
| 6.7. | Objection Rules |  |  |  |
| 6.8. | Change Request Status Notification Rules |  |  |  |
| 7 | CREATE NMI – Create NMI, Metering Installation Details and NMI Datastream |  |  |  |
| 7.1. | Application [2500 2501] |  |  |  |
| 7.2. | Conditions Precedent |  |  |  |
| 7.3. | Initiating Roles |  |  |  |
| 7.4. | LNSP Requirements |  |  |  |
| 7.5. | Timeframe Rules |  |  |  |
| 7.6. | Objection Rules |  |  |  |
| 7.7. | Change Request Status Notification Rules |  |  |  |
| 8 | Maintain Profile Shapes – Create and Change External Profile Shape |  |  |  |
| 8.1. | Application [2100 2101 5110 5111] |  |  |  |
| 8.2. | Conditions Precedent |  |  |  |
| 8.3. | Initiating Roles |  |  |  |
| 8.4. | AEMO Requirements |  |  |  |
| 8.5. | Timeframe Rules |  |  |  |
| 8.6. | Objection Rules |  |  |  |
| 8.7. | Change Request Status Notification Rules |  |  |  |
| 9 | Maintain Metering – Create Metering Installation Details |  |  |  |
| 9.1. | Application [3000 3001] |  |  |  |
| 9.2. | Conditions Precedent |  |  |  |
| 9.3. | Initiating Rules |  |  |  |
| 9.4. | MPB Requirements |  |  |  |
| 9.5. | Timeframe Rules |  |  |  |
| 9.6. | Objection Rules |  |  |  |
| 9.7 | Change Request Status Notification Rules |  |  |  |
| 10 | MAINTAIN METERING – EXCHANGE OF METERING INFORMATION |  |  |  |
| 10.1. | Application [3004 3005] |  |  |  |
| 10.2. | Conditions Precedent |  |  |  |
| 10.3. | Initiating Roles |  |  |  |
| 10.4. | MPB Requirements |  |  |  |
| 10.5. | Timeframe Rules |  |  |  |
| 10.6. | Objection Rules |  |  |  |
| 10.7. | Change Request Status Notification Rules |  |  |  |
| 11 | Maintain Metering – Change Metering Installation Details |  |  |  |
| 11.1. | Application [3050 3051] |  |  |  |
| 11.2. | Conditions Precedent |  |  |  |
| 11.3. | Initiating Rules |  |  |  |
| 11.4. | MPB Requirements |  |  |  |
| 11.5. | Timeframe Rules |  |  |  |
| 11.6. | Objection Rules |  |  |  |
| 11.7. | Change Request Status Notification Rules |  |  |  |
| 12 | MAINTAIN METERING – CHANGE NETWORK TARIFF CODE |  |  |  |
| 12.1. | Application [3100 3101] |  |  |  |
| 12.2. | Conditions Precedent |  |  |  |
| 12.3. | Initiating Roles |  |  |  |
| 12.4. | LNSP or ENM Requirements |  |  |  |
| 12.5. | Timeframe Rules |  |  |  |
| 12.6. | Objection Rules |  |  |  |
| 12.7. | Change Request Status Notification Rules |  |  |  |
| 13 | MAINTAIN DATASTREAM – CREATE NMI DATASTREAM |  |  |  |
| 13.1. | Application [4000 4001] |  |  |  |
| 13.2. | Conditions Precedent |  |  |  |
| 13.3. | Initiating Rules |  |  |  |
| 13.4. | MDP Requirements |  |  |  |
| 13.5. | Timeframe Rules |  |  |  |
| 13.6. | Objection Rules |  |  |  |
| 13.7. | Change Request Status Notification Rules |  |  |  |
| 14 | MAINTAIN DATASTREAM – EXCHANGE OF DATASTREAM INFORMATION |  |  |  |
| 14.1. | Application [4004 4005] |  |  |  |
| 14.2. | Conditions Precedent |  |  |  |
| 14.3. | Initiating Roles |  |  |  |
| 14.4. | MDP Requirements |  |  |  |
| 14.5. | Timeframe Rules |  |  |  |
| 14.6. | Objection Rules |  |  |  |
| 14.7. | Change Request Status Notification Rules |  |  |  |
| 15 | MAINTAIN DATASTREAM – CHANGE NMI DATASTREAM |  |  |  |
| 15.1. | Application [4050 4051] |  |  |  |
| 15.2. | Conditions Precedent |  |  |  |
| 15.3. | Initiating Roles |  |  |  |
| 15.4. | MDP Requirements |  |  |  |
| 15.5. | Timeframe Rules |  |  |  |
| 15.6. | Objection Rules |  |  |  |
| 15.7. | Change Request Status Notification Rules |  |  |  |
| 16 | MAINTAIN NMI – BACKDATE A NMI |  |  |  |
| 16.1. | Application [5001, 5021] |  |  |  |
| 16.2. | Conditions Precedent |  |  |  |
| 16.3. | Initiating Roles |  |  |  |
| 16.4. | LNSP Requirements |  |  |  |
| 16.5. | ENM Requirements (5021 only) |  |  |  |
| 16.6. | AEMO Requirements |  |  |  |
| 16.7. | MPB Obligations |  |  |  |
| 16.8. | Timeframe Rules |  |  |  |
| 16.9. | Objection Rules |  |  |  |
| 16.10. | Change Request Status Notification Rules |  |  |  |
| 17 | MAINTAIN NMI – CHANGE A NMI |  |  |  |
| 17.1. | Application [5050 5051] |  |  |  |
| 17.2. | Conditions Precedent |  |  |  |
| 17.3. | Initiating Roles |  |  |  |
| 17.4. | LNSP Requirements |  |  |  |
| 17.5. | Timeframe Rules |  |  |  |
| 17.6. | Objection Rules |  |  |  |
| 17.7. | Change Request Status Notification Rules |  |  |  |
| 18 | MAINTAIN NMI – CHANGE NMI EMBEDDED NETWORK (CHILD) – WHOLESAL OR GENERATR |  |  |  |
| 18.1. | Application [5060 5061] |  |  |  |
| 18.2. | Conditions Precedent |  |  |  |
| 18.3. | Initiating Roles |  |  |  |
| 18.4. | ENM Requirements |  |  |  |
| 18.5. | Timeframe Rules |  |  |  |
| 18.6. | Objection Rules |  |  |  |
| 18.7. | Change Request Status Notification Rules |  |  |  |
| 19 | MAINTAIN NMI – CHANGE PARENT NAME – GENERATOR OR WHOLESALE |  |  |  |
| 19.1. | Application [5080 5081] |  |  |  |
| 19.2. | Conditions Precedent |  |  |  |
| 19.3. | Initiating Roles |  |  |  |
| 19.4. | FRMP Requirements |  |  |  |
| 19.5. | LNSP Requirements |  |  |  |
| 19.6. | Timeframe Rules |  |  |  |
| 19.7. | Objection Rules |  |  |  |
| 19.8. | Change Request Status Notification Rules |  |  |  |
| 20 | MAINTAIN NMI – MAKE NMI A CHILD NMI |  |  |  |
| 20.1. | Application [5090 5091] |  |  |  |
| 20.2. | Conditions Precedent |  |  |  |
| 20.3. | Initiating Roles |  |  |  |
| 20.4. | ENM Requirements |  |  |  |
| 20.5. | Timeframe Rules |  |  |  |
| 20.6. | Objection Rules |  |  |  |
| 20.7. | Change Request Status Notification Rules |  |  |  |
| 21 | CHANGE ROLE – CHANGE LNSP |  |  |  |
| 21.1. | Application [6100 6110] |  |  |  |
| 21.2. | Conditions Precedent |  |  |  |
| 21.3. | Initiating Rules |  |  |  |
| 21.4. | LNSP Requirements |  |  |  |
| 21.5. | Timeframe Rules |  |  |  |
| 21.6. | Objection Rules |  |  |  |
| 21.7. | Change Request Status Notification Rules |  |  |  |
| 22 | CHANGE ROLE – CHANGE MDP |  |  |  |
| 22.1. | Application [6200 6210] |  |  |  |
| 22.2. | Conditions Precedent |  |  |  |
| 22.3. | Initiating Roles |  |  |  |
| 22.4. | FRMP Requirements |  |  |  |
| 22.5. | MC Requirements |  |  |  |
| 22.6. | Timeframe Rules |  |  |  |
| 22.7. | Objection Rules |  |  |  |
| 22.8. | Change Request Status Notification Rules |  |  |  |
| 23 | CHANGE ROLE – CHANGE MC |  |  |  |
| 23.1. | Application [6300 6301] |  |  |  |
| 23.2. | Conditions Precedent |  |  |  |
| 23.3. | Initiating Roles |  |  |  |
| 23.4. | MC Requirements |  |  |  |
| 23.5. | Timeframe Rules |  |  |  |
| 23.6. | Objection Rules |  |  |  |
| 23.7. | Change Request Status Notification Rules |  |  |  |
| 24 | CHANGE ROLE – CHANGE LR |  |  |  |
| 24.1. | Application [6400 6401] |  |  |  |
| 24.2. | Conditions Precedent |  |  |  |
| 24.3. | Initiating Roles |  |  |  |
| 24.4. | LR Requirements |  |  |  |
| 24.5. | Timeframe Rules |  |  |  |
| 24.6. | Objection Rules |  |  |  |
| 24.7. | Change Request Status Notification Rules |  |  |  |
| 25 | CHANGE ROLE – CHANGE LR – CHILD NMI – GENERATOR AND WHOLESALE |  |  |  |
| 25.1. | Application [6421] |  |  |  |
| 25.2. | Conditions Precedent |  |  |  |
| 25.3. | Initiating Roles |  |  |  |
| 25.4. | LR Requirements |  |  |  |
| 25.5. | Timeframe Rules |  |  |  |
| 25.6. | Objection Rules |  |  |  |
| 25.7. | Change Request Status Notification Rules |  |  |  |
| 26 | CHANGE ROLE – Change ROLR |  |  |  |
| 26.1. | Application [6500 6501] |  |  |  |
| 26.2. | Conditions Precedent |  |  |  |
| 26.3. | Initiating Roles |  |  |  |
| 26.4. | ROLR Requirements |  |  |  |
| 26.5. | TimeFrame Rules |  |  |  |
| 26.6. | Objection Rules |  |  |  |
| 26.7. | Change Request Status Notification Rules |  |  |  |
| 27 | CHANGE ROLE – CHANGE MPB AND / OR MPC | Suggest changing the header to: MPB and /or MPC rather than current MPB or MPC or Both |  |  |
| 27.1. | Application [6700 6701] | In the comment of the 6700 and 6701 section : Delete second ‘in’ …information in in … |  |  |
| 27.2. | Conditions Precedent |  |  |  |
| 27.3. | Initiating Roles |  |  |  |
| 27.4. | MC Requirements |  |  |  |
| 27.5. | Timeframe Rules |  |  |  |
| 27.6. | Objection Rules |  |  |  |
| 27.7. | Change Request Status Notification Rules |  |  |  |
| 28 | AEMO ONLY - AEMO-INITIATED STANDING DATA UPDATES |  |  |  |
| 28.1. | Application [5100 5101] |  |  |  |
| 28.2. | Conditions Precedent |  |  |  |
| 28.3. | Initiating Roles |  |  |  |
| 28.4. | AEMO Requirements |  |  |  |
| 28.5. | Timeframe Rules |  |  |  |
| 28.6. | Objection Rules |  |  |  |
| 28.7. | Change Request Status Notification Rules |  |  |  |
| 29 | AEMO ONLY – CHANGE - ROLE, TNI OR DLF – BULK CHANGE TOOL (BCT) |  |  |  |
| 29.1. | Introduction |  |  |  |
| 29.2. | Conditions Precedent |  |  |  |
| 29.3. | Requesting Participant Requirements |  |  |  |
| 29.4. | Impacted Participant/s Requirements |  |  |  |
| 29.5. | MDP Requirements |  |  |  |
| 29.6. | Timeframe Rules |  |  |  |
| 29.7. | Objection Rules |  |  |  |
| 29.8. | Change Request Status Notification Rules |  |  |  |
| 30 | AUTO CHANGE ROLE – CHANGE LOCAL RETAILER EMBEDDED NETWORK CHILD – GENERATOR OR WHOLESALE |  |  |  |
| 30.1. | Application [ECLR] |  |  |  |
| 30.2. | Conditions Precedent |  |  |  |
| 30.3. | Timeframe Rules |  |  |  |
| 30.4. | Objection Rules |  |  |  |
| 30.5. | Change Request Status Notification Rules |  |  |  |
| 31 | AUTO Change Role – Change secondary FRMP embedded network parent – generator and wholesale |  |  |  |
| 31.1. | Application [EPFR] |  |  |  |
| 31.2. | Conditions Precedent |  |  |  |
| 31.3. | Timeframe Rules |  |  |  |
| 31.4. | Objection Rules |  |  |  |
| 31.5. | Change Request Status Notification Rules |  |  |  |

# NEM RoLR Process Part A and B – MSATS Procedure: RoLR Procedures

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## AGL Participant Comments – NEM RoLR |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
|  | General | This procedure does not include the outcome of the MC failing There is an AER consultation on splitting suspension of parties with multiple registration. This needs further consideration and discussion |  |  |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | Summary of ROLR Processes | General comment Review for MC/MP/MDP obligations when the RoLR has not contracted the MC. At the appointment of the RoLR the sites are transferred to the RoLR, and therefore the RoLR could initiate meter churn if necessary. |  |  |
|  | Cl 2 (c) | Review meaning of clause (c) Management of in progress Service Orders associated with the NMIs the Failed Retailer was financially responsible for by the: (i) Failed Retailer. (ii) LNSP, or the ENM in the case of child connection points. (iii) RoLR. Cl 2(c)(i) reads: Management of in progress Service Orders associated with the NMIs the Failed Retailer was financially responsible for by the Failed Retailer The explanatory response (App A, Table 9-12, p26, Row 9) was more suitable drafting that the current drafting |  |  |
|  | Cl 2(c)(ii) |  | The ENM is responsible for maintaining and updating MSATS and does not have a direct link to the network operation relating to a child within an embedded network. Service orders, which relate to physical activity (note – not MSATS CRs), will be undertaken by the EN Operator and or the retailer MC. It is unclear in the new framework what role the ENM will have in respect of En operations. |  |
|  | Cl 2(c)(ii) | Note if a market child customer transfer CR is accelerated, the MC / MP / MDP will also have to undertake their service orders in an accelerated manner. |  |  |
| 2.1 | Preconditions |  |  |  |
| 3 | REPORTS |  |  |  |
| 4 | General MSATS OBLIGATIONS |  |  |  |
| 4.1 | Application |  |  |  |
| 4.2 | General Obligations for MSATS Participants |  |  |  |
| 4.3 | AEMO |  |  |  |
| 4.4 | Failed Retailer |  |  |  |
| 5 | AEMO Notifies ROLR Key Contacts Following ROLR Event |  |  |  |
| 5.1 | AEMO Obligations |  |  |  |
| 5.2 | ROLR Affected MSATS Participant Obligations |  |  |  |
| 6 | AEMO Produces and Delivers Summary ROLR Reports |  |  |  |
| 6.1 | AEMO Obligations |  |  |  |
| 6.2 | ROLR Affected MSATS Participant Obligations |  |  |  |
| 7 | AEMO Produces and Delivers NMI List Reports |  |  |  |
| 7.1 | AEMO Obligations |  |  |  |
| 7.2 | ROLR Affected MSATS Participants Obligations |  |  |  |
| 7.3 | Time Frame Rules |  |  |  |
| 8 | AEMO Cancels Transfers in Progress to the Failed Retailer |  |  |  |
| 8.1 | AEMO Obligations |  |  |  |
| 9 | AEMO Cancels Other MSATS Change Requests in Progress Initiated by the Failed Retailer |  |  |  |
| 9.1 | AEMO Obligations |  |  |  |
| 10 | AEMO Accelerates Transfers in Progress from the Failed Retailer |  |  |  |
| 10.1 | AEMO Obligations |  |  |  |
| 10.2 | Time Frame Rules |  |  |  |
| 11 | AEMO Changes the FRMP for Second Tier NMIs from the Failed Retailer |  |  |  |
| 11.1 | Conditions Precedent |  |  |  |
| 11.2 | AEMO Obligations |  |  |  |
| 11.3 | Time Frame Rules |  |  |  |
| 12 | AEMO Changes the LR for Second Tier NMIs from the Failed Retailer |  |  |  |
| 12.1 | Conditions Precedent |  |  |  |
| 12.2 | AEMO Obligations |  |  |  |
| 12.3 | Time Frame Rules |  |  |  |
| 13 | AEMO Changes FRMP and LR Roles for First Tier NMIs from the Failed Retailer and Completes Other Role Changes as Required |  |  |  |
| 13.1 | Application |  |  |  |
| 13.2 | Conditions Precedent |  |  |  |
| 13.3 | AEMO Obligations |  |  |  |
| 13.4 | Time Frame Rules |  |  |  |
| 14 | AEMO Produces Pending Transfer Request and ROC Transfer Confirmation Email for the ROLR |  |  |  |
| 14.1 | AEMO Obligations |  |  |  |
| 14.2 | ROLR Obligations |  |  |  |
| 15 | MDP Provides Metering Data to MSATS for ROLR Effective Transfer Date |  |  |  |
| 15.1 | Conditions Precedent |  |  |  |
| 15.2 | MDP Obligations |  |  |  |
| 15.3 | Related Part B Section |  |  |  |
| 16 | AEMO Changes ROLR Role in MSATS from the Failed Retailer |  |  |  |
| 16.1 | AEMO Obligations |  |  |  |
| 17 | AEMO Ceases all the Failed Retailer’s Roles as of ROLR Effective Transfer Date |  |  |  |
| 17.1 | Conditions Precedent |  |  |  |
| 17.2 | AEMO Obligations |  |  |  |
| 18 | Participants Perform a Post ROLR Event Reconciliation of MSATS-Related Data and Prepare a Report for AEMO |  |  |  |
| 18.1 | Conditions Precedent |  |  |  |
| 18.2 | ROLR Event Affected MSATS Participants Obligations | Table 18 – last row Not appropriate for a FRMP to be reconciling the MDPs. FRMP should be responsible for reconciling the MCs MCs should be responsible for reconciling the MP/MDPs. |  |  |
| 18.3 | Related Part B Section |  |  |  |
| 19 | AEMO CONDUCTS ROLR POST IMPLEMENTATION REVIEW |  |  |  |
| 19.1 | AEMO Obligations |  |  |  |
| APPENDIX - 1 | SPECIFICATIONS FOR ROLR REPORTS |  |  |  |

# NMI Standing Data Schedule

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments – NMI Standing Data |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | NMI STANDING DATA SCHEDULE |  |  |  |
| 3 | RIGHTS AND OBLIGATIONS |  |  |  |
| 3.1 | Obligations to supply data for the NMI Standing Data Schedule |  |  |  |
| 3.2 | Obligations when using the NMI Standing Data Schedule |  |  |  |
| 4 | Amendments | Note – this is a new section added since round 1 and did not appear in the feedback template. This clause is better suited under after cl 1.1 as it relates to the relevant head of power. |  |  |

# Service Level Procedures for MDP

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments – MDP SLP |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | OBLIGATIONS |  |  |  |
| 2.1 | Metering data services |  |  |  |
| 2.1(f) |  |  | This clause does not cover the ENM. Suggest ENM be added so that MDPs must cooperate with ENMs. |  |
| 2.2 | Use of sub-contractors |  |  |  |
| 2.2(g) |  | Grammar 2.2(g) does not make sense. Isn’t it an AEMO decision if the accreditation review takes place at the next scheduled audit ? The original clauses were clearer. |  |  |
| 2.3 | Specific obligations for MDP - Category D |  |  |  |
| 2.3(i)(ii) |  | It was discussed that when a NMIs become a child the network NMI would be abolished and an EN NMI created. AGL supports this position for the reasons discussed at the AEMO workshop. See AEMO notes for supporting reasoning. |  |  |
| 2.3 p7 |  | AGL notes AEMO’s previous answer, but still does not understand what is intended. The phrase Where the metering installation includes the measurement of reactive energy, the MDP must store this metering data with the metering data in respect of active energy in the metering data services database. Can AEMO please clarify what is meant by … store this metering data with the metering data in respect of active energy in... as it is not clear what is intended. Does this mean that VARh is stored against Wh ? Is active energy the reference point ? |  |  |
| 2.3 p7 |  | In respect of this same clause, AGL considers that it is only necessary for reactive energy to be downloaded, validated and provided when it supports a network or retail product or service. At this point AGL does not see any need for this information to be collected and stored in all cases, but not provided when not required. Suggested wording Where reactive energy is required to support a network or retail product or service, the MDP is required to measure, collect, validate the data, store and deliver the data in consistent time intervals with the real energy. |  |  |
| 2.4 | Specific obligations for MDP - Category C |  |  |  |
| 3 | SERVICE REQUIREMENTS FOR MDPS – CATEGORY D |  |  |  |
| 3.1 | System requirements |  |  |  |
| 3.2 | Collection process requirements |  |  |  |
| 3.3 | Specific collection process requirements for metering installations type 1, 2, 3 and 4 | There should be obligations for the daily delivery of type 4 interval data There is no requirement for data quality or revision. If the type 4 data is not delivered daily, then an NSRD will be required for incoming parties to know when the data will be delivered. |  |  |
| 3.4 | Specific collection process requirements for metering installations type 4A, 5 and 6 | As heading has no meaning – lead in sentences are required. |  |  |
| 3.5 | Metering data processing requirements |  |  |  |
| 3.6 | Specific Metering Data processing requirements for metering installation types 1, 2, 3 and 4 | As heading has no meaning – lead in sentences are required. |  |  |
| 3.7 | Specific Metering Data processing requirements for Special Sites | As heading has no meaning – lead in sentences are required. |  |  |
| 3.8 | Specific Metering Data processing requirements for metering installation type 7 | As heading has no meaning – lead in sentences are required. |  |  |
| 3.9 | Specific Metering Data estimation requirements for metering installation types 4A, 5, 6 and 7 | As heading has no meaning – lead in sentences are required. |  |  |
| 3.10 | Delivery performance requirements for metering data | Initial clauses need to be re-written to establish a better process of data delivery between parties. Substitution of data should apply on meter churn. |  |  |
| 3.10 | P12 | Many participants have indicated that there is an expectation that 100% of data is delivered. The AEMO comment that the FRMP may contract for a higher standard seems inadequate in the operation of a national market. AEMO should also note that the FRMP may not be contracting all MCs, and that the LNSP and LR do not contract the MCs for the delivery of what should be BAU meter data. Retailers and other parties have regulated obligations (eg customer bills) which require that data to be delivered within a reasonable time. Why does AMEO consider it satisfactory that only 98% of meter data is delivered ? Data quality only applies to AEMO – not participants Data delivery for participants What is normal expected data delivery ? Re-instate table 6.11.9 |  |  |
| 3.11 | Delivery of Metering Data for Prudential Purposes | What does the term ‘accepted’ mean ? What is the standard for accepted ? Data should be validated and actual interval metering data. |  |  |
| 3.12 | Interface requirements |  |  |  |
| 3.12(a) |  |  | Need to include ENMs within the list as they are not registered participants but accredited participants and not otherwise captured. |  |
| 4 | SERVICE REQUIREMENTS FOR MDPS - CATEGORY C |  |  |  |
| 4.1 | System Requirements |  |  |  |
| 4.2 | Metering Data Collection and Transfer Requirements |  |  |  |
| 5 | METER CHURN DATA MANAGEMENT |  |  |  |
| 5.1 | Meter churn scenarios |  |  |  |
| 6 | SYSTEM ARCHITECTURE & ADMINISTRATION |  |  |  |
| 6.1 | Metering Data Archival and Recovery |  |  |  |
| 6.2 | Data Backup |  |  |  |
| 6.3 | Disaster Recovery |  |  |  |
| 6.4 | System administration and data management |  |  |  |
| 6.5 | Non-public telecommunications networks |  |  |  |
| 7 | QUALITY CONTROL |  |  |  |
| 7.1 | Scheduled Audits |  |  |  |
| 7.2 | Other audits |  |  |  |
| 7.3 | Corrective action |  |  |  |
| 7.4 | Non-compliance and de-registration |  |  |  |
| 7.5 | Review of accreditation |  |  |  |
| 8 | ADMINISTRATION |  |  |  |
| 8.1 | Bilateral agreements | AGL seeks to understand why AEMO should be able to access bilateral agreements between participants. These are commercial in confidence arrangements between parties which do not impact market operation. AGL does not see an appropriate justification for AEMO to have access to these bilateral arrangements. |  |  |
| 8.2 | Quality systems |  |  |  |
| 8.3 | Disputes |  |  |  |

# Service Level Procedures for MP

Please delete any rows where there are no participant comments

| ## Clause | ## Heading | ## AGL Participant Comments – MP SLP |  |  |
| --- | --- | --- | --- | --- |
|  |  | Metering Competition | Embedded Networks | Meter Replacement Processes |
|  | General | There are no longer any base service level requirements – such as the maximum time to install a meter. AGL believes that the base line previously applicable should be retained within the procedures. |  |  |
| 1 | Introduction |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | General requirements |  |  |  |
| 2.1 | Metering Provider Capability and Competency |  |  |  |
| 2.1(c) |  | Internally provided policies and procedure should be clearly linked to relevant regulatory instruments or good industry practice, and this linkage should be auditable. |  |  |
| 2.2 | Use of sub-contractors |  |  |  |
| 2.3 | Insurance | Since it is a requirement for accreditation as an MP to hold insurance, AGL believes that insurance certificates should be made available to all financially affected parties (MCs, FRMP, etc.) on request. AGL does not understand why an MP would be disadvantaged in this matter given that it’s an accreditation requirement. It must be remembered that as large customers can appoint an MC there Is no contractual relationship between the FRMP and the MC and MP. |  |  |
| 3 | Device management and Test equipment |  |  |  |
| 3.1 | Purchasing |  |  |  |
| 3.2 | Storage, handling and transport |  |  |  |
| 3.3 | Management of test equipment |  |  |  |
| 3.4 | Management of meter programming and authorised software |  |  |  |
| 4 | Installation and commissioning requirements |  |  |  |
| 4.1 | General commissioning requirements | If a customer is left off supply during a meter churn then the FRMP and LNSP must be notified since they are financially responsible and may be subject to regulatory penalties. Also an issue if the MP disconnect supply to other customers, notification should be made to the LNSP. No obligation regarding a field complaint np notification back to FRMP and LNSP. |  |  |
| 4.2 | Metering Data Validation Requirements |  |  |  |
| 4.3 | Notifications following Metering Installation Commissioning |  |  |  |
| 4.4(a)(i) |  | Where a meter has remote acquisition – the MP should make reasonable endeavours to notify LNSP as well as the MDP that meter is being removed. Eg loss of comms to the meter may indicate to the LNSP that there is a power loss rather than a meter churn, and trigger un-necessary / inefficient field actions |  |  |
| 4.4 | Meter Churn | P11 – clause (i) - Incomplete obligation. There is no obligation on the MC to advise the financially affected parties, such as the FRMP, LR or LNSP, of suspected theft or tampering. AEMO have responded that this issuer should be covered by the agreements between retailers and MCs. AGL notes that as large customers can appoint MCs, the retailers will not have contracts with the MCs in these situations. This also applies to LNSPs. Therefore, AGL argues that all financially affected parties (FRMP, LR, LNSP and previous FRMP) should be notified of suspected theft or tampering. |  |  |
| 5 | Metering installation maintenance |  |  |  |
| 5.1 | Test Plan |  |  |  |
| 5.2 | Management of Metering Installation Malfunctions |  |  |  |
| 5.3 | Telecommunications |  |  |  |
| 5.4 | Non-Conforming Test Results or Calibrations |  |  |  |
| 6 | Systems and administration |  |  |  |
| 6.1 | Metering Register |  |  |  |
| 6.2 | Security Controls for Accessing the Metering Installation |  |  |  |
| 6.3 | Disaster Recovery |  |  |  |
| 6.4 | Audits undertaken by AEMO |  |  |  |
| 6.5 | Review of Accreditation |  |  |  |
| 6.6 | Quality Systems |  |  |  |
| 6.8 | Disputes |  |  |  |
|  | service level requirements | Would expect to see some minimum service levels established to provide a baseline. |  |  |

# Other Issues Related to Consultation Subject Matter

| ## Document | ## Clause | ## Heading | ## Participant Comments - AGL |
| --- | --- | --- | --- |