METERING COMPETITION

EMBEDDED NETWORKS

METER REPLACEMENT PROCESSES

PROCEDURE CONSULTATION

SECOND STAGE PARTICIPANT RESPONSE TEMPLATE

Participant:

Completion Date:

- Table of Contents

1.	Glossary and Framework	3

2.	Meter Data File Format	8

3.	Metrology Procedure: Part A	14

4.	Metrology Procedure: Part B	20

5.	MSATS Procedures: CATS Procedure Principles and Obligations	28

6.	MSATS Procedures: MDM Procedures	63

7.	MSATS Procedures: Procedure for the Management of WIGS NMIs	66

8.	NEM RoLR Process Part A and B – MSATS Procedure: RoLR Procedures	87

9.	NMI Standing Data Schedule	94

10.	Service Level Procedures for MDP	95

11.	Service Level Procedures for MP	100

12.	Other Issues Related to Consultation Subject Matter	103

Feedback on Draft Report and Determination

| Reference | Comment |
| --- | --- |
| 4.3 | ENM & Parent NMI TasNetworks note the AEMO’s comments regarding wholesale nmi use of NSP2 & that it should not be used to house ENM and would make the following observations; Wholesale NMI represent the boundary between two networks, the Transmission and Distribution. To accommodate the need to reference both network managers, NSP2 is used to house the downstream Network Manager ie DNSP and LNSP is used to house the upstream network manager, ie TNSP. A parent NMI for an embedded network is the same scenario, ie a boundary of two networks, the Distribution and the Embedded Network. There is a similar need to house both network managers. It makes sense to house the downstream network manager in NSP2, ie the ENM and the LNSP continue to be used to house the upstream network manager, ie the DNSP. Re-use of NMI when an Embedded Network is created. TasNetworks believes that the electrical works required to create an embedded network from an existing set of NMI alters the connection point. To re-use the NMI violates the rules outlined in the NMI Procedure both from the perspective of the new connection point, and from the point of “shifting the LNSP boundary”. 11.3 A NMI cannot be reassigned to another connection point. It is NOT acceptable to reallocate NMIs to accommodate changes to IT systems, changes to assumed associations, changes to network tariffs and charges, changes to LNSP boundaries or because the LNSPs allocation system has changed The existing NMI should be made extinct. Additionally CR 5090/5091 should be removed from the CATS procedure. |
| 4.4 | MSATS Procedures-Type 4 Meter Identification TasNetworks believes the proposed codes are inconsistent and create training and understanding issues. The proposed codes inconsistently include the following attributes; - Existence of communications - Existence of CT/VT (Metering transformers) The inconsistency is that where there are comms, we delineate between existence of CT/VT or not – ie 4C / 4D However where there is no comms we do not delineate between existence of CT/VT. Prospective Retailer should equally be interested in the existence of CT/VT on all 4A meters. TasNetworks propose using 4A/4B instead of MRAM. |
| 4.5 | MSATS Procedures: Disconnection & Reconnection – Site Identifier TasNetworks supports - Moving the status of the meter contactor to meter level. - Achieving the new state by adding a new enumeration - Updating of this to become an MP responsibility |
| 4.6 | MSATS Procedures: Change Request Codes TasNetworks supports maintaining the requirement that CR2000/2001 include all roles. TasNetworks note that CR3080 should be changed to allow its use for changing Meters from 4 to 4A and 4A to 4 without Remove/Create. We note the rules allow that customers moving into a Type 4 premise can request the comms disabled, thus 4A is not a short term issue but an ongoing one that requires supporting market processes and transactions. |
| 4.8 | MSATS Procedures - Network Tariff Code TasNetworks believe that within CR30xx transactions (or any meter create/update transaction) Network tariff Code should be optional not mandatory. We note that across the industry there are a variety of arrangements and inconsistent knowledge within MPB, and to force MPB to enter a code when they do not know what to use will just introduce unnecessary changes to configuration. |
| 4.9 | MSATS Procedures: AEMO Administered Fields TasNetworks do not support these changes because; - They are not related to MC nor Embedded Networks - There has been no cost benefit analysis performed - It will create higher costs for the industry |

# Glossary and Framework

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| Chapter 1 | Introduction |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.2.1 | Glossary |  |  |  |
| 1.2.2 | Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| Chapter 2 | Framework |  |  |  |
| 2.1 | The Role of the Retail Market in the NEM |  |  |  |
| 2.2 | Retail Electricity Market Procedures |  |  |  |
| 2.2.1 | Metrology Procedure |  |  |  |
| 2.2.2 | B2B Procedures |  |  |  |
| 2.2.3 | MSATS Procedures |  |  |  |
| 2.2.3.1 | CATS Procedures |  |  |  |
| 2.2.3.2 | WIGS Procedures |  |  |  |
| 2.2.3.3 | MDM Procedures |  |  |  |
| 2.2.3.4 | NMI Standing Data Schedule |  |  |  |
| 2.2.3.5 | National Metering Identifer Procedure |  |  |  |
| 2.2.4 | RoLR Procedures |  |  |  |
| 2.2.5 | Metering Services Procedures |  |  |  |
| 2.2.5.1 | Metering Service Level Accreditation Procedure |  |  |  |
| 2.2.5.2 | Service Level Procedures |  |  |  |
| 2.2.5.3 | Service Provider Compliance and Assessment Procedure |  |  |  |
| Chapter 3 | Glossary |  |  |  |

# Meter Data File Format

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | GENERAL RULES AND INFORMATION |  |  |  |
| 3 | TECHNICAL INFORMATION |  |  |  |
| 3.1 | Version details |  |  |  |
| 3.2 | File delivery |  |  |  |
| 3.3 | File construction | 3.3.4 Index Reads TasNetworks believes that index reads should be; - Mandatory to collect & deliver. Currently (b) in this section implies that it is optional. - Collected and delivered for Type 4 also to provide consistent processing. |  |  |
| 4 | INTERVAL METER READING FILE SPECIFICATION AND VALIDATION (NEM12) |  |  |  |
| 4.1 | Blocking cycle |  |  |  |
| 4.2 | Header record (100) |  |  |  |
| 4.3 | NMI data details record (200) |  |  |  |
| 4.4 | Interval data record (300) |  |  |  |
| 4.5 | Interval event record (400) |  |  |  |
| 4.6 | B2B details record (500) |  |  |  |
| 4.7 | End of data (900) |  |  |  |
| 5 | BASIC METER READING FILE SPECIFICATION AND VALIDATION (NEM13) |  |  |  |
| 5.1 | Blocking cycle |  |  |  |
| 5.2 | Header record (100) |  |  |  |
| 5.3 | Basic meter data record (250) |  |  |  |
| 5.4 | B2B details record (550) |  |  |  |
| 5.5 | End of data (900) |  |  |  |
| APPENDIX A | TRANSACTION CODES FLAGS |  |  |  |
| APPENDIX B | FORMAT & UNIT OF MEASURE FIELD DETAILS |  |  |  |
| APPENDIX C | QUALITY FLAGS |  |  |  |
| APPENDIX D | METHOD FLAGS |  |  |  |
| APPENDIX E | REASON CODES |  |  |  |
| APPENDIX F | OBSOLETE REASON CODES (ONLY TO BE USED WHEN PROVIDING HISTORICAL DATA) |  |  |  |
| APPENDIX G | SUMMARY OF FILE FORMAT AND BLOCKING |  |  |  |
| APPENDIX H | EXAMPLE INTERVAL DATA FILE (NEM12) |  |  |  |
| H.1 | Actual Interval Data – Metering Installations with Remote Acquisition of Metering Data |  |  |  |
| H.2 | Substituted Interval Data – Metering Installations with Remote Acquisition of Metering Data |  |  |  |
| H.3 | Interval Metering Data – Manually Read Interval Metering Installation Estimate |  |  |  |
| H.4 | Multiple NMIs and Datastreams, Metering Installations with Remote Acquisition of Metering Data – (all actual metering data) |  |  |  |
| H.5 | Interval Metering Data – Remote Read Metering Installations with Remote Acquisition of Metering Data - Multiple QualityMethod/ReasonCode combination |  |  |  |
| H.6 | Metering Data for Meter Change with Configuration Change – Manaually Read Interval Metering Installation |  |  |  |
| H.7 | Transfer occurs on the NSRD for Manually Read Interval Metering Installation |  |  |  |
| H.8 | Meter Change: Metering Installation with Accumulated Metering Data to Manaually Read Interval Metering Installation |  |  |  |
| APPENDIX I | EXAMPLE CONSUMPTION DATA FILE (NEM13) |  |  |  |
| I.1 | Actual Meter Rreading |  |  |  |
| I.2 | Normal Meter Reading with Estimate |  |  |  |
| I.3 | Meter Reading and Meter Change |  |  |  |
| I.4 | Historical Data Values |  |  |  |
| I.5 | Transfer read |  |  |  |
| APPENDIX J | EXAMPLE OF USE OF THE REGISTER READ FIELDS |  |  |  |

# Metrology Procedure: Part A

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | DISPUTE RESOLUTION |  |  |  |
| 3 | RESPONSIBILITY FOR METER PROVISION | TasNetworks believes there should be a general requirement that data from remotely read meters be collected and delivered daily. Allowing data to be delivered in multi-day quantities will require higher compute power increasing costs to the customer. |  |  |
| 3.1 | Overall requirements |  |  |  |
| 4 | METERING INSTALLATION COMPONENTS |  |  |  |
| 4.1 | Requirement under National Measurement Act and Use of Standards |  |  |  |
| 4.2 | Use of Optical Ports and Pulse Outputs |  |  |  |
| 4.3 | Password Allocation |  |  |  |
| 4.4 | “x” values – Calculation and use |  |  |  |
| 4.5 | “y” values – Calculation and use |  |  |  |
| 4.6 | Grandfathering |  |  |  |
| 4.7 | Data Storage Requirements for Meters |  |  |  |
| 4.8 | Metering Installation Clock |  |  |  |
| 4.9 | Interval Meters |  |  |  |
| 4.10 | Alarm Meters |  |  |  |
| 5 | MINIMUM SERVICES SPECIFICATION |  |  |  |
| 5.1 | Minimum Service Levels |  |  |  |
| 5.2 | Technical Requirements |  |  |  |
| 6 | SUMMATION METERING |  |  |  |
| 7 | EMBEDDED NETWORKS |  |  |  |
| 8 | REVERSION OF METERING INSTALLATION TYPES |  |  |  |
| 9 | ROUTINE TESTING AND INSPECTION OF METERING INSTALLATIONS | DNSP may need access to meter terminals to conduct safety tests. Section 9 or 10 should provide DNSP with rights to access the terminals & reseal without obtaining ‘permission’ ie the reverse of 12.1.3 |  |  |
| 10 | INSTALLATION OF METER(S) |  |  |  |
| 10.1 | Installation by ASPs |  |  |  |
| 11 | METER CHURN |  |  |  |
| 11.1 | Initiation of a Meter Churn |  |  |  |
| 11.2 | Performance of a Meter Churn |  |  |  |
| 11.3 | Meter Churn Process |  |  |  |
| 12 | DE-COMMISSIONING AND REMOVAL OF METERING EQUIPMENT AND NETWORK DEVICES |  |  |  |
| 12.1 | Network Devices |  |  |  |
| 13 | RESPONSIBILITY FOR METERING DATA SERVICES |  |  |  |
| 13.1 | Metering Data Services |  |  |  |
| 13.2 | Metering Data Collection |  |  |  |
| 13.3 | Metering Data Storage |  |  |  |
| 13.4 | Access to Metering Data |  |  |  |
| 13.5 | Verification of Metering Data for Type 4A, 5, 6 and 7 Metering Installations |  |  |  |
| 13.6 | Metering Installation type 7 – sample testing |  |  |  |
| 13.7 | Request for Test of Calculated Metering Data |  |  |  |
| 13.8 | AEMO’s Metering Data Obligations |  |  |  |
| 14 | EMERGENCY PRIORITY PROCEDURES |  |  |  |
| 14.1 | Criteria for determining Emergency Condition |  |  |  |
| 14.2 | Metering Installations Affected |  |  |  |
| 14.3 | Prioritisation of Services by MC in Emergency Condition |  |  |  |
| 14.4 | Other Laws Prevail |  |  |  |

# Metrology Procedure: Part B

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1. | Purpose and Scope |  |  |  |
| 1.2. | Definitions and Interpretation |  |  |  |
| 1.3. | Related Documents |  |  |  |
| 2 | PRINCIPLES FOR VALIDATION, SUBSTITUTION AND ESTIMATION |  |  |  |
| 2.1. | General Validation, Substitution and Estimation Requirements |  |  |  |
| 2.2. | Substitution requirement |  |  |  |
| 2.3. | Estimation requirement |  |  |  |
| 2.4. | Metering data quality flags |  |  |  |
| 2.5. | Summary table of Substitution and Estimation Types |  |  |  |
| 3 | SUBSTITUTION FOR METERING INSTALLATION WITH REMOTE ACQUISITION OF METERING DATA |  |  |  |
| 3.1. | Application of section 3 | TasNetworks believes the full application of this section is onerous for mass market customers. Ie "the MDP must ensure the selected Substitution values correctly align with the adjoining intervals of metering data” |  |  |
| 3.2. | Substitution Rules |  |  |  |
| 3.3. | Substitution Types |  |  |  |
| 4 | SUBSTITUTION AND ESTIMATION FOR MANUALLY READ INTERVAL METERING INSTALLATIONS |  |  |  |
| 4.1. | Application of section 4 |  |  |  |
| 4.2. | Substitution and Estimation Rules |  |  |  |
| 4.3. | Substitution and Estimation Types |  |  |  |
| 5 | SUBSTITUTION AND ESTIMATION FOR METERING INSTALLATIONS WITH ACCUMULATED METERING DATA |  |  |  |
| 5.1. | Application of section 5 |  |  |  |
| 5.2. | Substitution and Estimation Rules |  |  |  |
| 5.3. | Substitution and Estimation Types |  |  |  |
| 6 | SUBSTITUTION AND ESTIMATION FOR CALCULATED METERING DATA |  |  |  |
| 6.1. | Substitution Rules |  |  |  |
| 6.2. | Substitution and Estimation Types |  |  |  |
| 7 | GENERAL DATA VALIDATION REQUIREMENTS |  |  |  |
| 7.1. | Validation requirements for all metering installations |  |  |  |
| 7.2. | Validation of interval metering data alarms | TasNetworks believes the full application of this section is onerous for mass market customers. Ie "The MDP must Validate interval metering data against the following Meter Alarms when these are provided in the meter: (a) power failure / meter loss of supply for instrument transformer connected metering installations only The MDP must ensure that all metering data alarm reports are signed off and dated by the person actioning the data exception report review as part of the Validation process." The process of manually signing off is an onerous requirement for what should be an automated process. |  |  |
| 8 | VALIDATION WITHIN THE METER READING PROCESS |  |  |  |
| 8.1. | Validations to be performed during collection of metering data from manually read interval metering installations |  |  |  |
| 8.2. | Validations to be performed during collection of accumulated metering data |  |  |  |
| 9 | VALIDATION AS PART THE REGISTRATION PROCESS |  |  |  |
| 9.1. | Validation of metering installations with remote acquisition of metering data |  |  |  |
| 9.2. | Validation for manually read interval metering installations |  |  |  |
| 9.3. | Validation for metering installations with accumulated metering data | TasNetworks believes the application of the 2nd (b) in this section is onerous for mass market customers. Ie “the metering data acquired is of an expected magnitude and profile for the End User type.” |  |  |
| 9.4. | Validation for metering installations with calculated metering data |  |  |  |
| 10 | VALIDATION OF METERING DATA |  |  |  |
| 10.1. | General validation requirements |  |  |  |
| 10.2. | Validations to be performed for metering installations with check metering or partial check metering |  |  |  |
| 10.3. | Validations to be performed for manually read interval metering installations with CTs |  |  |  |
| 10.4. | Validations to be performed for whole current manually read interval metering installations |  |  |  |
| 10.5. | Validations to be performed for metering installations with accumulated metering data |  |  |  |
| 10.6. | Validations to be performed for metering installations with calculated metering data |  |  |  |
| 11 | LOAD PROFILING – CONVERSION OF ACCUMULATED METERING DATA |  |  |  |
| 11.1. | Requirements for load profiling |  |  |  |
| 11.2. | Profile Preparation Service - Controlled Load Profile |  |  |  |
| 11.3. | Basic Meter Profiler – Controlled Load |  |  |  |
| 11.4. | Profile Preparation Service - Net System Load Profile |  |  |  |
| 11.5. | Basic Meter Profiler - Net System Load Profile |  |  |  |
| 11.6. | Start Dates and End Dates |  |  |  |
| 12 | UNMETERED LOADS – DETERMINATION OF METERING DATA |  |  |  |
| 12.1. | Requirement to produce calculated metering data |  |  |  |
| 12.2. | Controlled Unmetered Devices |  |  |  |
| 12.3. | Uncontrolled Unmetered Devices |  |  |  |
| 12.4. | ON delay and OFF delay |  |  |  |
| 12.5. | Traffic signal dimming |  |  |  |
| 13 | SUBSTITUTION FOR TRANSFER |  |  |  |
| 13.1. | Application |  |  |  |
| 13.2. | Manually read interval metering installations |  |  |  |
| 13.3. | Manually read accumulation metering installations |  |  |  |

# MSATS Procedures: CATS Procedure Principles and Obligations

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
|  | QUICK REFERENCE GUIDE |  |  |  |
|  | HOW TO USE THIS DOCUMENT |  |  |  |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | PURPOSE AND SCOPE |  |  |  |
| 1.2 | DEFINITIONS AND INTERPRETATION |  |  |  |
| 1.3 | COMMENCEMENT OF CHANGES |  |  |  |
| 1.4 | RELATED DOCUMENTS |  |  |  |
| 2 | OBLIGATIONS BY ROLE |  |  |  |
| 2.1 | GENERAL OBLIGATIONS |  |  |  |
| 2.2 | FINANCIALLY RESPONSIBLE MARKET PARTICIPANT | 2.2 (r) - should be removed if meter contactor status now at meter level and updating MSATS is an MPB obligation |  |  |
| 2.3 | LOCAL NETWORK SERVICE PROVIDER | TasNetworks believe the full application of this section is now onerous for mass market customers. Specifically (e) - LNSP to provide ADL to MDP "on creation of NMI” This was an automated process for mass market Type 6 customers as LNSP was the MDP. Now that MC is a separate participant, how is this to be achieved in high volume ? TasNetworks suggests this be removed as an obligation moving forward or modified to allow DNSP to publish a set of default ADL’s for each tariff configuration. |  |  |
| 2.4 | METERING DATA PROVIDER |  |  |  |
| 2.5 | METERING PROVIDER – CATEGORY B |  |  |  |
| 2.6 | MC |  |  |  |
| 2.7 | RETAILER OF LAST RESORT |  |  |  |
| 2.8 | SECOND NETWORK SERVICE PROVIDER |  |  |  |
| 2.9 | AEMO |  |  |  |
| 2.10 | EMBEDDED NETWORK MANAGER |  |  |  |
| 3 | CATS FUNCTIONALITY |  |  |  |
| 3.1 | OVERVIEW |  |  |  |
| 3.2 | PRINCIPLES |  |  |  |
| 3.3 | TRANSACTION TYPES |  |  |  |
| 3.4 | CHANGE REQUESTS |  |  |  |
| 3.5 | CHANGE REQUEST STATUS LIFE CYCLE |  |  |  |
| 3.6 | TRANSACTION VALIDATION |  |  |  |
| 3.7 | VALID PROPOSED CHANGE DATE FOR PROSPECTIVE AND RETROSPECTIVE CHANGE REQUESTS |  |  |  |
| 4 | CATS CODES AND RULES FOR A CHANGE REQUEST |  |  |  |
| 4.1 | INTRODUCTION |  |  |  |
| 4.2 | CHANGE REASON CODE |  |  |  |
| 4.3 | ROLE CODES |  |  |  |
| 4.4 | CHANGE REQUEST INITIATION RULES |  |  |  |
| 4.5 | JURISDICTION CODES |  |  |  |
| 4.6 | TIMEFRAME RULES |  |  |  |
| 4.7 | OBJECTION CODES |  |  |  |
| 4.8 | OBJECTION RULES |  |  |  |
| 4.9 | NMI CLASSIFICATION CODES |  |  |  |
| 4.10 | END USER CLASSIFICATION |  |  |  |
| 4.11 | STATUS CODES (NMI AND DATASTREAM) |  |  |  |
| 4.12 | METERING INSTALLATION TYPE CODES | TasNetworks believes the proposed codes are inconsistent and create training and understanding issues. The proposed codes inconsistently include the following attributes; - Existence of communications - Existence of CT/VT (Metering transformers) The inconsistency is that where there are comms, we delineate between existence of CT/VT or not – ie 4C / 4D However where there is no comms we do not delineate between existence of CT/VT. Prospective Retailer should equally be interested in the existence of CT/VT on all 4A meters. TasNetworks propose using 4A/4B instead of MRAM |  |  |
| 4.13 | READ TYPE CODE |  |  |  |
| 4.14 | FIELD VALIDATION RULES |  |  |  |
| 4.15 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 4.16 | MAINTENANCE OF CODES AND RULES |  |  |  |
| 4.17 | DATASTREAM STATUS CODE |  |  |  |
| 4.18 | EMBEDDED NETWORK CODES AND RULES |  |  |  |
| 4.19 | OBTAINING ELECTRONIC DOWNLOADS OF CONFIGURATION RULES |  |  |  |
| 5 | REQUEST A REPORT |  |  |  |
| 6 | GUIDELINES FOR MANAGING CONCURRENT RETAIL TRANSFERS |  |  |  |
| 6.1 | Definition of concurrent retail transfers |  |  |  |
| 6.2 | Guidelines |  |  |  |
| 7. | AEMO BULK CHANGE TOOL |  |  |  |
| 8. | CHANGE RETAILER – SMALL OR LARGE NMI |  |  |  |
| 8.1 | Application [1000 1010 1020 1030 1040] |  |  |  |
| 8.2 | Conditions Precedent |  |  |  |
| 8.3 | Initating Rules |  |  |  |
| 8.4 | FRMP Requirements |  |  |  |
| 8.5 | MDP Requirements |  |  |  |
| 8.6 | MC Requirements | TasNetworks believes that “MDM Contributory Suffix” should be mandatory within the following transactions; 2500,2501, 2520,2521,3004,3005,3050,3051,3080,3081,3090 |  |  |
| 8.7 | Timeframe Rules |  |  |  |
| 8.8 | Objection Rules |  |  |  |
| 8.9 | Change Request Status Notification Rules |  |  |  |
| 9. | CHANGE RETAILER - ERROR CORRECTIONS – SMALL NMIS |  |  |  |
| 9.1 | APPLICATION [1021 1022 1023 1024 1025 1026 1027 1028 1029] |  |  |  |
| 9.2 | CONDITIONS PRECEDENT |  |  |  |
| 9.3 | Initiation Roles |  |  |  |
| 9.4 | FRMP Requirements |  |  |  |
| 9.5 | MC Requirements |  |  |  |
| 9.6 | Timeframe Rules |  |  |  |
| 9.7 | Objection Rules |  |  |  |
| 9.8 | Change Request Status Notification Rules |  |  |  |
| 10 | CHANGE RETAILER – EMBEDDED NETWORKS – SMALL OR LARGE |  |  |  |
| 10.1 | APPLICATION [1080 1081 1082 1083 1084] |  |  |  |
| 10.2 | CONDITIONS PRECEDENT |  |  |  |
| 10.3 | INITIATION ROLES |  |  |  |
| 10.4 | FRMP Requirements |  |  |  |
| 10.5 | MDP Requirements |  |  |  |
| 10.6 | MC Requirements |  |  |  |
| 10.7 | Timeframe Rules |  |  |  |
| 10.8 | Objection Rules |  |  |  |
| 10.9 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 11. | PROVIDE DATA – PROVIDE ACTUAL CHANGE DATE – SMALL OR LARGE |  |  |  |
| 11.1 | APPLICATION [1500] |  |  |  |
| 11.2 | CONDITIONS PRECEDENT |  |  |  |
| 11.3 | INITIATION ROLES |  |  |  |
| 11.4 | MDP Requirements |  |  |  |
| 11.5 | TIMEFRAME RULES |  |  |  |
| 11.6 | OBJECTION RULES |  |  |  |
| 11.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 12 | CREATE NMI – CREATE A NMI – SMALL OR LARGE |  |  |  |
| 12.1 | APPLICATION [2000 2001] |  |  |  |
| 12.2 | CONDITIONS PRECEDENT |  |  |  |
| 12.3 | INITIATION ROLES |  |  |  |
| 12.4 | LNSP Requirements |  |  |  |
| 12.5 | MPB Requirements |  |  |  |
| 12.6 | TIMEFRAME RULES |  |  |  |
| 12.7 | OBJECTION RULES |  |  |  |
| 12.8 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 13 | CREATE NMI – CREATE CHILD NMI - SMALL OR LARGE |  |  |  |
| 13.1 | APPLICATION [2020 2021] |  |  |  |
| 13.2 | CONDITIONS PRECEDENT |  |  |  |
| 13.3 | INITIATION RULES |  |  |  |
| 13.4 | ENM Requirements |  |  |  |
| 13.5 | MPB OBLIGATIONS |  |  |  |
| 13.6 | TIMEFRAME RULES |  |  |  |
| 13.7 | OBJECTION RULES |  |  |  |
| 13.8 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 14 | CREATE NMI – CREATE NMI, METERING INSTALLATION DETAILS AND NMI DATASTREAM – SMALL OR LARGE |  |  |  |
| 14.1 | APPLICATION [2500 2501] |  |  |  |
| 14.2 | CONDITIONS PRECEDENT |  |  |  |
| 14.3 | INITIATION ROLES |  |  |  |
| 14.4 | LNSP Requirements |  |  |  |
| 14.5 | TIMEFRAME RULES |  |  |  |
| 14.6 | OBJECTION RULES |  |  |  |
| 14.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 15. | CREATE NMI – CREATE NMI, METERING INSTALLATION DETAILS AND MDM DATASTREAM – SMALL OR LARGE |  |  |  |
| 15.1 | Application [2520 2521] |  |  |  |
| 15.2 | Conditions Precedent |  |  |  |
| 15.3 | Initating Roles |  |  |  |
| 15.4 | ENM Requirements |  |  |  |
| 15.5 | TIMEFRAME RULES |  |  |  |
| 15.6 | OBJECTION RULES |  |  |  |
| 15.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 16 | MAINTAIN METERING – CREATE METERING INSTALLATION DETAILS – SMALL OR LARGE |  |  |  |
| 16.1 | APPLICATION [3000 3001] |  |  |  |
| 16.2 | CONDITIONS PRECEDENT |  |  |  |
| 16.3 | INITIATION ROLES |  |  |  |
| 16.4 | MPB Requirements |  |  |  |
| 16.5 | TIMEFRAME RULES |  |  |  |
| 16.6 | OBJECTION RULES |  |  |  |
| 16.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 17 | MAINTAIN METERING – EXCHANGE OF METERING INFORMATION – SMALL OR LARGE |  |  |  |
| 17.1 | APPLICATION [3004 3005] |  |  |  |
| 17.2 | CONDITIONS PRECEDENT |  |  |  |
| 17.3 | INITIATION RULES |  |  |  |
| 17.4 | MPB Obligations |  |  |  |
| 17.5 | TIMEFRAME RULES |  |  |  |
| 17.6 | OBJECTION RULES |  |  |  |
| 17.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 18 | MAINTAIN METERING – CHANGE METERING INSTALLATION DETAILS – SMALL OR LARGE |  |  |  |
| 18.1 | APPLICATION [3050 3051] |  |  |  |
| 18.2 | CONDITIONS PRECEDENT |  |  |  |
| 18.3 | INITIATION RULES |  |  |  |
| 18.4 | MPB Requirements |  |  |  |
| 18.5 | TIMEFRAME RULES |  |  |  |
| 18.6 | OBJECTION RULES |  |  |  |
| 18.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 19 | MAINTAIN METERING - ADVANCED CHANGE METERING INSTALLATION DETAILS - SMALL OR LARGE |  |  |  |
| 19.1 | APPLICATION [3080 3081] |  |  |  |
| 19.2 | CONDITIONS PRECEDENT |  |  |  |
| 19.3 | INITIATION RULES |  |  |  |
| 19.4 | MC Requirements |  |  |  |
| 19.5 | TIMEFRAME RULES |  |  |  |
| 19.6 | OBJECTION RULES |  |  |  |
| 19.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 20 | MAINTAIN METERING - ADVANCED EXCHANGE OF METERING - SMALL OR LARGE |  |  |  |
| 20.1 | APPLICATION [3090 3091] |  |  |  |
| 20.2 | CONDITIONS PRECEDENT |  |  |  |
| 20.3 | INITIATION RULES |  |  |  |
| 20.4 | MC Requirements |  |  |  |
| 20.5 | TIMEFRAME RULES |  |  |  |
| 20.6 | OBJECTION RULES |  |  |  |
| 20.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 21 | MAINTAIN METERING – CHANGE NETWORK TARIFF CODE – SMALL OR LARGE |  |  |  |
| 21.1 | APPLICATION [3100 3101] |  |  |  |
| 21.2 | CONDITIONS PRECEDENT |  |  |  |
| 21.3 | INITIATION RULES |  |  |  |
| 21.4 | LNSP and ENM Requirements |  |  |  |
| 21.5 | TIMEFRAME RULES |  |  |  |
| 21.6 | OBJECTION RULES |  |  |  |
| 21.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 22 | MAINTAIN DATASTREAM – CREATE MDM DATASTREAM –SMALL OR LARGE |  |  |  |
| 22.1 | APPLICATION [4000 4001] |  |  |  |
| 22.2 | CONDITIONS PRECEDENT |  |  |  |
| 22.3 | INITIATION RULES |  |  |  |
| 22.4 | MDP Requirements |  |  |  |
| 22.5 | TIMEFRAME RULES |  |  |  |
| 22.6 | OBJECTION RULES |  |  |  |
| 22.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 23 | MAINTAIN DATASTREAM - EXCHANGE OF DATASTREAM INFORMATION SMALL OR LARGE |  |  |  |
| 23.1 | APPLICATION [4004 4005] |  |  |  |
| 23.2 | CONDITIONS PRECEDENT |  |  |  |
| 23.3 | INITIATION RULES |  |  |  |
| 23.4 | MDP Requirements |  |  |  |
| 23.5 | TIMEFRAME RULES |  |  |  |
| 23.6 | OBJECTION RULES |  |  |  |
| 23.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 24 | MAINTAIN DATASTREAM – CHANGE MDM DATASTREAM – SMALL OR LARGE |  |  |  |
| 24.1 | APPLICATION [4050 4051] |  |  |  |
| 24.2 | CONDITIONS PRECEDENT |  |  |  |
| 24.3 | INITIATION RULES |  |  |  |
| 24.4 | MDP Requirements |  |  |  |
| 24.5 | TIMEFRAME RULES |  |  |  |
| 24.6 | OBJECTION RULES |  |  |  |
| 24.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 25. | MAINTAIN NMI – UPDATE NEXT SCHEDULED READ DATE – SMALL OR LARGE |  |  |  |
| 25.1 | APPLICATION [5070 5071] |  |  |  |
| 25.2 | CONDITIONS PRECEDENT |  |  |  |
| 25.3 | INITIATION RULES |  |  |  |
| 25.4 | MDP Requirements |  |  |  |
| 25.5 | TIMEFRAME RULES |  |  |  |
| 25.6 | OBJECTION RULES |  |  |  |
| 25.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 26 | MAINTAIN NMI – BACKDATE A NMI – SMALL OR LARGE |  |  |  |
| 26.1 | APPLICATION [5001 5021] |  |  |  |
| 26.2 | CONDITIONS PRECEDENT |  |  |  |
| 26.3 | INITIATION RULES |  |  |  |
| 26.4 | LNSP Requirements (5001 ONLY) |  |  |  |
| 26.5 | ENM Requirements (5021 ONLY) |  |  |  |
| 26.6 | AEMO Requirements |  |  |  |
| 26.7 | MPB Requirements |  |  |  |
| 26.8 | TIMEFRAME RULES |  |  |  |
| 26.9 | OBJECTION RULES |  |  |  |
| 26.10 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 27 | MAINTAIN NMI – CHANGE A NMI – SMALL OR LARGE |  |  |  |
| 27.1 | APPLICATION [5050 5051] |  |  |  |
| 27.2 | CONDITIONS PRECEDENT |  |  |  |
| 27.3 | INITIATION ROLES |  |  |  |
| 27.4 | LNSP Requirements |  |  |  |
| 27.5 | TIMEFRAME RULES |  |  |  |
| 27.6 | OBJECTION RULES |  |  |  |
| 27.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 28. | MAINTAIN NMI – CHANGE A NMI - CUSTOMER CLASSIFICATION CODE – SMALL OR LARGE |  |  |  |
| 28.1 | APPLICATION [5054 5055] |  |  |  |
| 28.2 | CONDITIONS PRECEDENT |  |  |  |
| 28.3 | INITIATION ROLES |  |  |  |
| 28.4 | FRMP Requirements |  |  |  |
| 28.5 | TIMEFRAME RULES |  |  |  |
| 28.6 | OBJECTION RULES |  |  |  |
| 28.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 29 | MAINTAIN NMI – CHANGE NMI EMBEDDED NETWORK (CHILD) – SMALL OR LARGE |  |  |  |
| 29.1 | APPLICATION [5060 5061] |  |  |  |
| 29.2 | CONDITIONS PRECEDENT |  |  |  |
| 29.3 | INITIATION ROLES |  |  |  |
| 29.4 | ENM Requirements |  |  |  |
| 29.5 | TIMEFRAME RULES |  |  |  |
| 29.6 | OBJECTION RULES |  |  |  |
| 29.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 30. | MAINTAIN NMI – CHANGE PARENT NAME – SMALL OR LARGE |  |  |  |
| 30.1 | APPLICATION [5080 5081] |  |  |  |
| 30.2 | CONDITIONS PRECEDENT |  |  |  |
| 30.3 | INITIATION ROLES |  |  |  |
| 30.4 | FRMP Requirements |  |  |  |
| 30.5 | LNSP Requirements |  |  |  |
| 30.6 | TIMEFRAME RULES |  |  |  |
| 30.7 | OBJECTION RULES |  |  |  |
| 30.8 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 31. | MAINTAIN NMI – MAKE NMI A CHILD NMI – SMALL OR LARGE |  |  |  |
| 31.1 | APPLICATION [5090 5091] |  |  |  |
| 32.2 | CONDITIONS PRECEDENT |  |  |  |
| 31.3 | INITIATION ROLES |  |  |  |
| 31.4 | ENM Requirements |  |  |  |
| 31.5 | TIMEFRAME RULES |  |  |  |
| 31.6 | OBJECTION RULES |  |  |  |
| 31.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 32 | CHANGE ROLE – CHANGE LNSP – SMALL OR LARGE |  |  |  |
| 32.1 | APPLICATION [6100 6110] |  |  |  |
| 32.2 | CONDITIONS PRECEDENT |  |  |  |
| 32.3 | INITIATION ROLES |  |  |  |
| 32.4 | LNSP or ENM Requirements |  |  |  |
| 32.5 | TIMEFRAME RULES |  |  |  |
| 32.6 | OBJECTION RULES |  |  |  |
| 32.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 33 | CHANGE ROLE – CHANGE MDP – SMALL OR LARGE |  |  |  |
| 33.1 | APPLICATION [6200 6210] |  |  |  |
| 33.2 | CONDITIONS PRECEDENT |  |  |  |
| 33.3 | INITIATION ROLES |  |  |  |
| 33.4 | FRMP Requirements |  |  |  |
| 33.5 | METERING COORDINATOR OBLIGATIONS |  |  |  |
| 33.6 | TIMEFRAME RULES |  |  |  |
| 33.7 | OBJECTION RULES |  |  |  |
| 33.8 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 34 | CHANGE ROLE – CHANGE MC – SMALL OR LARGE |  |  |  |
| 34.1 | APPLICATION [6300 6301] |  |  |  |
| 34.2 | CONDITIONS PRECEDENT |  |  |  |
| 34.3 | INITIATION ROLES |  |  |  |
| 34.4 | MC Requirements |  |  |  |
| 34.5 | TIMEFRAME RULES |  |  |  |
| 34.6 | OBJECTION RULES |  |  |  |
| 34.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 35 | CHANGE ROLE – CHANGE LR – SMALL OR LARGE |  |  |  |
| 35.1 | APPLICATION [6300 6301] |  |  |  |
| 35.2 | CONDITIONS PRECEDENT |  |  |  |
| 35.3 | INITIATION ROLES |  |  |  |
| 35.4 | LR Obligations |  |  |  |
| 35.5 | TIMEFRAME RULES |  |  |  |
| 35.6 | OBJECTION RULES |  |  |  |
| 35.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 36 | CHANGE ROLE – CHANGE LR – CHILD NMI – SMALL OR LARGE |  |  |  |
| 36.1 | APPLICATION [6421] |  |  |  |
| 36.2 | CONDITIONS PRECEDENT |  |  |  |
| 36.3 | INITIATION ROLES |  |  |  |
| 36.4 | LR Obligations |  |  |  |
| 36.5 | TIMEFRAME RULES |  |  |  |
| 36.6 | OBJECTION RULES |  |  |  |
| 36.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 37 | CHANGE ROLE – CHANGE ROLR – SMALL OR LARGE |  |  |  |
| 37.1 | APPLICATION [6500 6501] |  |  |  |
| 37.2 | CONDITIONS PRECEDENT |  |  |  |
| 37.3 | INITIATION ROLES |  |  |  |
| 37.4 | ROLR Requirements |  |  |  |
| 37.5 | TIMEFRAME RULES |  |  |  |
| 37.6 | OBJECTION RULES |  |  |  |
| 37.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 38 | CHANGE ROLE – CHANGE MPB OR MPC OR BOTH – SMALL OR LARGE |  |  |  |
| 38.1 | APPLICATION [6700 6701] |  |  |  |
| 38.2 | CONDITIONS PRECEDENT |  |  |  |
| 38.3 | INITIATION ROLES |  |  |  |
| 38.4 | MC Requirements |  |  |  |
| 38.5 | TIMEFRAME RULES |  |  |  |
| 38.6 | OBJECTION RULES |  |  |  |
| 38.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 39 | CHANGE ROLE – CHANGE MULTIPLE ROLES – SMALL OR LARGE |  |  |  |
| 39.1 | APPLICATION [6800 6801] |  |  |  |
| 39.2 | CONDITIONS PRECEDENT |  |  |  |
| 39.3 | INITIATION ROLES |  |  |  |
| 39.4 | FRMP Requirements |  |  |  |
| 39.5 | MC Obligations |  |  |  |
| 39.6 | MDP OBLIGATIONS |  |  |  |
| 39.7 | TIMEFRAME RULES |  |  |  |
| 39.8 | OBJECTION RULES |  |  |  |
| 39.9 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 40 | AUTO CHANGE ROLE – CHANGE LOCAL RETAILER EMBEDDED NETWORK CHILD – SMALL OR LARGE |  |  |  |
| 40.1 | APPLICATION [ECLR] |  |  |  |
| 40.2 | CONDITIONS PRECEDENT |  |  |  |
| 40.3 | TIMEFRAME RULES |  |  |  |
| 40.4 | OBJECTION RULES |  |  |  |
| 40.5 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 41 | AUTO CHANGE ROLE – CHANGE SECONDARY FRMP PARENT – SMALL OR LARGE |  |  |  |
| 41.1 | APPLICATION [EPFR] |  |  |  |
| 41.2 | CONDITIONS PRECEDENT |  |  |  |
| 41.3 | TIMEFRAME RULES |  |  |  |
| 41.4 | OBJECTION RULES |  |  |  |
| 41.5 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 42 | AEMO ONLY - AEMO-INITIATED STANDING DATA UPDATES – SMALL OR LARGE |  |  |  |
| 42.1 | APPLICATION [5100 5101] |  |  |  |
| 42.2 | CONDITIONS PRECEDENT |  |  |  |
| 42.3 | INITIATION ROLES |  |  |  |
| 42.4 | AEMO Requirements |  |  |  |
| 42.5 | TIMEFRAME RULES |  |  |  |
| 42.6 | OBJECTION RULES |  |  |  |
| 42.7 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 43 | AEMO ONLY - CHANGE ROLE, TNI OR DLF CODE – BULK CHANGE TOOL (BCT) – SMALL OR LARGE |  |  |  |
| 43.1 | INTRODUCTION |  |  |  |
| 43.2 | CONDITIONS PRECEDENT |  |  |  |
| 43.3 | REQUESTING PARTICIPANT Requirements |  |  |  |
| 43.4 | IMPACTED PARTICIPANT Requirements |  |  |  |
| 43.5 | MDP Requirements |  |  |  |
| 43.6 | TIMEFRAME RULES |  |  |  |
| 43.7 | OBJECTION RULES |  |  |  |
| 43.8 | CHANGE REQUEST STATUS NOTIFICATION RULES |  |  |  |
| 44 | ACCESS TO CATS STANDING DATA |  |  |  |
| 44.1 | INTRODUCTION |  |  |  |
| 44.2 | PARTICIPANT |  |  |  |
| 44.3 | Request a NMI Discovery Search |  |  |  |

# MSATS Procedures: MDM Procedures

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | OBLIGATIONS |  |  |  |
| 2.1 | General Obligations |  |  |  |
| 2.2 | AEMO |  |  |  |
| 3 | MDM FUNCTIONALITY |  |  |  |
| 3.1 | Introduction |  |  |  |
| 3.2 | Setup Functionality |  |  |  |
| 4 | MAINTENANCE OF TNI AND PROFILE AREA |  |  |  |
| 4.1 | Introduction |  |  |  |
| 4.2 | Create a Profile Area |  |  |  |
| 4.3 | Maintain Profile Area Attributes |  |  |  |
| 5 | LOAD DATA – NON-INTERVAL NMI DATASTREAM |  |  |  |
| 5.1 | Conditions Precedent |  |  |  |
| 5.2 | MDP Obligations |  |  |  |
| 6 | LOAD DATA – INTERVAL NMI DATASTREAM |  |  |  |
| 6.1 | Conditions Precedent |  |  |  |
| 6.2 | MDP Obligations |  |  |  |
| 6.3 | Load Sample Meter Data for Defined NMI Datastreams |  |  |  |
| 6.4 | Load Externally Calculated Profile Shape |  |  |  |
| 7 | DEFINE PROFILE |  |  |  |
| 7.1 | Define the Data Source |  |  |  |
| 7.2 | Define the Profile Method |  |  |  |
| 7.3 | Define the Profile Name |  |  |  |
| 8 | PROFILE CALCULATION |  |  |  |
| 8.1 | Settlement Data Scenario |  |  |  |
| 8.2 | Settlement Data Cases |  |  |  |
| 9 | REPORTS |  |  |  |
| 9.1 | Introduction |  |  |  |
| 9.2 | Report Outlines |  |  |  |
| APPENDIX A | MDM DATA LOAD TRANSACTION PROCESS |  |  |  |

# MSATS Procedures: Procedure for the Management of WIGS NMIs

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | Introduction |  |  |  |
| 1.1. | Purpose and Scope |  |  |  |
| 1.2. | Definitions and Interpretation |  |  |  |
| 1.3. | Commencement of Changes |  |  |  |
| 1.4. | Related Documents |  |  |  |
| 2 | Change FRMP - Change FRMP |  |  |  |
| 2.1. | Application [1000 1020] |  |  |  |
| 2.2. | Conditions Precedent |  |  |  |
| 2.3. | Initiating Roles |  |  |  |
| 2.4. | FRMP Requirements |  |  |  |
| 2.5. | LNSP Requirements |  |  |  |
| 2.6. | MDP Requirements |  |  |  |
| 2.7. | MC Requirements |  |  |  |
| 2.8. | MPB Requirements |  |  |  |
| 2.9. | Timeframe Rules |  |  |  |
| 2.10. | Objection Rules |  |  |  |
| 2.11. | Change Request Status Notification Rules |  |  |  |
| 3 | Change FRMP – Embedded Networks – Generator and Wholesale |  |  |  |
| 3.1. | Application [1080,1082] |  |  |  |
| 3.2. | Conditions Precedent |  |  |  |
| 3.3. | Initiating Roles |  |  |  |
| 3.4. | FRMP Requirements |  |  |  |
| 3.5. | ENM Requirements |  |  |  |
| 3.6. | MDP Requirements |  |  |  |
| 3.7. | MC Requirements |  |  |  |
| 3.8. | Time Frame Rules |  |  |  |
| 3.9. | Objection Rules |  |  |  |
| 3.10. | Change Request Status Notification Rules |  |  |  |
| 4 | Provide Data – Provide Actual Change Date |  |  |  |
| 4.1. | Application [1500] |  |  |  |
| 4.2. | Conditions Precedent |  |  |  |
| 4.3. | Initiating Roles |  |  |  |
| 4.4. | MDP Requirements |  |  |  |
| 4.5. | Time Frame Rules |  |  |  |
| 4.6. | Objection Rules |  |  |  |
| 4.7. | Change Request Status Notification Rules |  |  |  |
| 5 | CREATE NMI - Create a NMI |  |  |  |
| 5.1. | Application [2000 2001] |  |  |  |
| 5.2. | Conditions Precedent |  |  |  |
| 5.3. | Initiating Roles |  |  |  |
| 5.4. | LNSP Requirements |  |  |  |
| 5.5. | MPB Requirements |  |  |  |
| 5.6. | Timeframe Rules |  |  |  |
| 5.7. | Objection Rules |  |  |  |
| 5.8. | Change Request Status Notification Rules |  |  |  |
| 6 | CREATE NMI – Create NMI Embedded Network (child) – wholesal and generatr |  |  |  |
| 6.1. | Application [2020 2021] |  |  |  |
| 6.2. | Conditions Precedent |  |  |  |
| 6.3. | Initiating Roles |  |  |  |
| 6.4. | ENM Requirements |  |  |  |
| 6.5. | MPB Requirements |  |  |  |
| 6.6. | Timeframe Rules |  |  |  |
| 6.7. | Objection Rules |  |  |  |
| 6.8. | Change Request Status Notification Rules |  |  |  |
| 7 | CREATE NMI – Create NMI, Metering Installation Details and NMI Datastream |  |  |  |
| 7.1. | Application [2500 2501] |  |  |  |
| 7.2. | Conditions Precedent |  |  |  |
| 7.3. | Initiating Roles |  |  |  |
| 7.4. | LNSP Requirements |  |  |  |
| 7.5. | Timeframe Rules |  |  |  |
| 7.6. | Objection Rules |  |  |  |
| 7.7. | Change Request Status Notification Rules |  |  |  |
| 8 | Maintain Profile Shapes – Create and Change External Profile Shape |  |  |  |
| 8.1. | Application [2100 2101 5110 5111] |  |  |  |
| 8.2. | Conditions Precedent |  |  |  |
| 8.3. | Initiating Roles |  |  |  |
| 8.4. | AEMO Requirements |  |  |  |
| 8.5. | Timeframe Rules |  |  |  |
| 8.6. | Objection Rules |  |  |  |
| 8.7. | Change Request Status Notification Rules |  |  |  |
| 9 | Maintain Metering – Create Metering Installation Details |  |  |  |
| 9.1. | Application [3000 3001] |  |  |  |
| 9.2. | Conditions Precedent |  |  |  |
| 9.3. | Initiating Rules |  |  |  |
| 9.4. | MPB Requirements |  |  |  |
| 9.5. | Timeframe Rules |  |  |  |
| 9.6. | Objection Rules |  |  |  |
| 9.7 | Change Request Status Notification Rules |  |  |  |
| 10 | MAINTAIN METERING – EXCHANGE OF METERING INFORMATION |  |  |  |
| 10.1. | Application [3004 3005] |  |  |  |
| 10.2. | Conditions Precedent |  |  |  |
| 10.3. | Initiating Roles |  |  |  |
| 10.4. | MPB Requirements |  |  |  |
| 10.5. | Timeframe Rules |  |  |  |
| 10.6. | Objection Rules |  |  |  |
| 10.7. | Change Request Status Notification Rules |  |  |  |
| 11 | Maintain Metering – Change Metering Installation Details |  |  |  |
| 11.1. | Application [3050 3051] |  |  |  |
| 11.2. | Conditions Precedent |  |  |  |
| 11.3. | Initiating Rules |  |  |  |
| 11.4. | MPB Requirements |  |  |  |
| 11.5. | Timeframe Rules |  |  |  |
| 11.6. | Objection Rules |  |  |  |
| 11.7. | Change Request Status Notification Rules |  |  |  |
| 12 | MAINTAIN METERING – CHANGE NETWORK TARIFF CODE |  |  |  |
| 12.1. | Application [3100 3101] |  |  |  |
| 12.2. | Conditions Precedent |  |  |  |
| 12.3. | Initiating Roles |  |  |  |
| 12.4. | LNSP or ENM Requirements |  |  |  |
| 12.5. | Timeframe Rules |  |  |  |
| 12.6. | Objection Rules |  |  |  |
| 12.7. | Change Request Status Notification Rules |  |  |  |
| 13 | MAINTAIN DATASTREAM – CREATE NMI DATASTREAM |  |  |  |
| 13.1. | Application [4000 4001] |  |  |  |
| 13.2. | Conditions Precedent |  |  |  |
| 13.3. | Initiating Rules |  |  |  |
| 13.4. | MDP Requirements |  |  |  |
| 13.5. | Timeframe Rules |  |  |  |
| 13.6. | Objection Rules |  |  |  |
| 13.7. | Change Request Status Notification Rules |  |  |  |
| 14 | MAINTAIN DATASTREAM – EXCHANGE OF DATASTREAM INFORMATION |  |  |  |
| 14.1. | Application [4004 4005] |  |  |  |
| 14.2. | Conditions Precedent |  |  |  |
| 14.3. | Initiating Roles |  |  |  |
| 14.4. | MDP Requirements |  |  |  |
| 14.5. | Timeframe Rules |  |  |  |
| 14.6. | Objection Rules |  |  |  |
| 14.7. | Change Request Status Notification Rules |  |  |  |
| 15 | MAINTAIN DATASTREAM – CHANGE NMI DATASTREAM |  |  |  |
| 15.1. | Application [4050 4051] |  |  |  |
| 15.2. | Conditions Precedent |  |  |  |
| 15.3. | Initiating Roles |  |  |  |
| 15.4. | MDP Requirements |  |  |  |
| 15.5. | Timeframe Rules |  |  |  |
| 15.6. | Objection Rules |  |  |  |
| 15.7. | Change Request Status Notification Rules |  |  |  |
| 16 | MAINTAIN NMI – BACKDATE A NMI |  |  |  |
| 16.1. | Application [5001, 5021] |  |  |  |
| 16.2. | Conditions Precedent |  |  |  |
| 16.3. | Initiating Roles |  |  |  |
| 16.4. | LNSP Requirements |  |  |  |
| 16.5. | ENM Requirements (5021 only) |  |  |  |
| 16.6. | AEMO Requirements |  |  |  |
| 16.7. | MPB Obligations |  |  |  |
| 16.8. | Timeframe Rules |  |  |  |
| 16.9. | Objection Rules |  |  |  |
| 16.10. | Change Request Status Notification Rules |  |  |  |
| 17 | MAINTAIN NMI – CHANGE A NMI |  |  |  |
| 17.1. | Application [5050 5051] |  |  |  |
| 17.2. | Conditions Precedent |  |  |  |
| 17.3. | Initiating Roles |  |  |  |
| 17.4. | LNSP Requirements |  |  |  |
| 17.5. | Timeframe Rules |  |  |  |
| 17.6. | Objection Rules |  |  |  |
| 17.7. | Change Request Status Notification Rules |  |  |  |
| 18 | MAINTAIN NMI – CHANGE NMI EMBEDDED NETWORK (CHILD) – WHOLESAL OR GENERATR |  |  |  |
| 18.1. | Application [5060 5061] |  |  |  |
| 18.2. | Conditions Precedent |  |  |  |
| 18.3. | Initiating Roles |  |  |  |
| 18.4. | ENM Requirements |  |  |  |
| 18.5. | Timeframe Rules |  |  |  |
| 18.6. | Objection Rules |  |  |  |
| 18.7. | Change Request Status Notification Rules |  |  |  |
| 19 | MAINTAIN NMI – CHANGE PARENT NAME – GENERATOR OR WHOLESALE |  |  |  |
| 19.1. | Application [5080 5081] |  |  |  |
| 19.2. | Conditions Precedent |  |  |  |
| 19.3. | Initiating Roles |  |  |  |
| 19.4. | FRMP Requirements |  |  |  |
| 19.5. | LNSP Requirements |  |  |  |
| 19.6. | Timeframe Rules |  |  |  |
| 19.7. | Objection Rules |  |  |  |
| 19.8. | Change Request Status Notification Rules |  |  |  |
| 20 | MAINTAIN NMI – MAKE NMI A CHILD NMI |  |  |  |
| 20.1. | Application [5090 5091] |  |  |  |
| 20.2. | Conditions Precedent |  |  |  |
| 20.3. | Initiating Roles |  |  |  |
| 20.4. | ENM Requirements |  |  |  |
| 20.5. | Timeframe Rules |  |  |  |
| 20.6. | Objection Rules |  |  |  |
| 20.7. | Change Request Status Notification Rules |  |  |  |
| 21 | CHANGE ROLE – CHANGE LNSP |  |  |  |
| 21.1. | Application [6100 6110] |  |  |  |
| 21.2. | Conditions Precedent |  |  |  |
| 21.3. | Initiating Rules |  |  |  |
| 21.4. | LNSP Requirements |  |  |  |
| 21.5. | Timeframe Rules |  |  |  |
| 21.6. | Objection Rules |  |  |  |
| 21.7. | Change Request Status Notification Rules |  |  |  |
| 22 | CHANGE ROLE – CHANGE MDP |  |  |  |
| 22.1. | Application [6200 6210] |  |  |  |
| 22.2. | Conditions Precedent |  |  |  |
| 22.3. | Initiating Roles |  |  |  |
| 22.4. | FRMP Requirements |  |  |  |
| 22.5. | MC Requirements |  |  |  |
| 22.6. | Timeframe Rules |  |  |  |
| 22.7. | Objection Rules |  |  |  |
| 22.8. | Change Request Status Notification Rules |  |  |  |
| 23 | CHANGE ROLE – CHANGE MC |  |  |  |
| 23.1. | Application [6300 6301] |  |  |  |
| 23.2. | Conditions Precedent |  |  |  |
| 23.3. | Initiating Roles |  |  |  |
| 23.4. | MC Requirements |  |  |  |
| 23.5. | Timeframe Rules |  |  |  |
| 23.6. | Objection Rules |  |  |  |
| 23.7. | Change Request Status Notification Rules |  |  |  |
| 24 | CHANGE ROLE – CHANGE LR |  |  |  |
| 24.1. | Application [6400 6401] |  |  |  |
| 24.2. | Conditions Precedent |  |  |  |
| 24.3. | Initiating Roles |  |  |  |
| 24.4. | LR Requirements |  |  |  |
| 24.5. | Timeframe Rules |  |  |  |
| 24.6. | Objection Rules |  |  |  |
| 24.7. | Change Request Status Notification Rules |  |  |  |
| 25 | CHANGE ROLE – CHANGE LR – CHILD NMI – GENERATOR AND WHOLESALE |  |  |  |
| 25.1. | Application [6421] |  |  |  |
| 25.2. | Conditions Precedent |  |  |  |
| 25.3. | Initiating Roles |  |  |  |
| 25.4. | LR Requirements |  |  |  |
| 25.5. | Timeframe Rules |  |  |  |
| 25.6. | Objection Rules |  |  |  |
| 25.7. | Change Request Status Notification Rules |  |  |  |
| 26 | CHANGE ROLE – Change ROLR |  |  |  |
| 26.1. | Application [6500 6501] |  |  |  |
| 26.2. | Conditions Precedent |  |  |  |
| 26.3. | Initiating Roles |  |  |  |
| 26.4. | ROLR Requirements |  |  |  |
| 26.5. | TimeFrame Rules |  |  |  |
| 26.6. | Objection Rules |  |  |  |
| 26.7. | Change Request Status Notification Rules |  |  |  |
| 27 | CHANGE ROLE – CHANGE MPB AND / OR MPC |  |  |  |
| 27.1. | Application [6700 6701] |  |  |  |
| 27.2. | Conditions Precedent |  |  |  |
| 27.3. | Initiating Roles |  |  |  |
| 27.4. | MC Requirements |  |  |  |
| 27.5. | Timeframe Rules |  |  |  |
| 27.6. | Objection Rules |  |  |  |
| 27.7. | Change Request Status Notification Rules |  |  |  |
| 28 | AEMO ONLY - AEMO-INITIATED STANDING DATA UPDATES |  |  |  |
| 28.1. | Application [5100 5101] |  |  |  |
| 28.2. | Conditions Precedent |  |  |  |
| 28.3. | Initiating Roles |  |  |  |
| 28.4. | AEMO Requirements |  |  |  |
| 28.5. | Timeframe Rules |  |  |  |
| 28.6. | Objection Rules |  |  |  |
| 28.7. | Change Request Status Notification Rules |  |  |  |
| 29 | AEMO ONLY – CHANGE - ROLE, TNI OR DLF – BULK CHANGE TOOL (BCT) |  |  |  |
| 29.1. | Introduction |  |  |  |
| 29.2. | Conditions Precedent |  |  |  |
| 29.3. | Requesting Participant Requirements |  |  |  |
| 29.4. | Impacted Participant/s Requirements |  |  |  |
| 29.5. | MDP Requirements |  |  |  |
| 29.6. | Timeframe Rules |  |  |  |
| 29.7. | Objection Rules |  |  |  |
| 29.8. | Change Request Status Notification Rules |  |  |  |
| 30 | AUTO CHANGE ROLE – CHANGE LOCAL RETAILER EMBEDDED NETWORK CHILD – GENERATOR OR WHOLESALE |  |  |  |
| 30.1. | Application [ECLR] |  |  |  |
| 30.2. | Conditions Precedent |  |  |  |
| 30.3. | Timeframe Rules |  |  |  |
| 30.4. | Objection Rules |  |  |  |
| 30.5. | Change Request Status Notification Rules |  |  |  |
| 31 | AUTO Change Role – Change secondary FRMP embedded network parent – generator and wholesale |  |  |  |
| 31.1. | Application [EPFR] |  |  |  |
| 31.2. | Conditions Precedent |  |  |  |
| 31.3. | Timeframe Rules |  |  |  |
| 31.4. | Objection Rules |  |  |  |
| 31.5. | Change Request Status Notification Rules |  |  |  |

# NEM RoLR Process Part A and B – MSATS Procedure: RoLR Procedures

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | Summary of ROLR Processes |  |  |  |
| 2.1 | Preconditions |  |  |  |
| 3 | REPORTS |  |  |  |
| 4 | General MSATS OBLIGATIONS |  |  |  |
| 4.1 | Application |  |  |  |
| 4.2 | General Obligations for MSATS Participants |  |  |  |
| 4.3 | AEMO |  |  |  |
| 4.4 | Failed Retailer |  |  |  |
| 5 | AEMO Notifies ROLR Key Contacts Following ROLR Event |  |  |  |
| 5.1 | AEMO Obligations |  |  |  |
| 5.2 | ROLR Affected MSATS Participant Obligations |  |  |  |
| 6 | AEMO Produces and Delivers Summary ROLR Reports |  |  |  |
| 6.1 | AEMO Obligations |  |  |  |
| 6.2 | ROLR Affected MSATS Participant Obligations |  |  |  |
| 7 | AEMO Produces and Delivers NMI List Reports |  |  |  |
| 7.1 | AEMO Obligations |  |  |  |
| 7.2 | ROLR Affected MSATS Participants Obligations |  |  |  |
| 7.3 | Time Frame Rules |  |  |  |
| 8 | AEMO Cancels Transfers in Progress to the Failed Retailer |  |  |  |
| 8.1 | AEMO Obligations |  |  |  |
| 9 | AEMO Cancels Other MSATS Change Requests in Progress Initiated by the Failed Retailer |  |  |  |
| 9.1 | AEMO Obligations |  |  |  |
| 10 | AEMO Accelerates Transfers in Progress from the Failed Retailer |  |  |  |
| 10.1 | AEMO Obligations |  |  |  |
| 10.2 | Time Frame Rules |  |  |  |
| 11 | AEMO Changes the FRMP for Second Tier NMIs from the Failed Retailer |  |  |  |
| 11.1 | Conditions Precedent |  |  |  |
| 11.2 | AEMO Obligations |  |  |  |
| 11.3 | Time Frame Rules |  |  |  |
| 12 | AEMO Changes the LR for Second Tier NMIs from the Failed Retailer |  |  |  |
| 12.1 | Conditions Precedent |  |  |  |
| 12.2 | AEMO Obligations |  |  |  |
| 12.3 | Time Frame Rules |  |  |  |
| 13 | AEMO Changes FRMP and LR Roles for First Tier NMIs from the Failed Retailer and Completes Other Role Changes as Required |  |  |  |
| 13.1 | Application |  |  |  |
| 13.2 | Conditions Precedent |  |  |  |
| 13.3 | AEMO Obligations |  |  |  |
| 13.4 | Time Frame Rules |  |  |  |
| 14 | AEMO Produces Pending Transfer Request and ROC Transfer Confirmation Email for the ROLR |  |  |  |
| 14.1 | AEMO Obligations |  |  |  |
| 14.2 | ROLR Obligations |  |  |  |
| 15 | MDP Provides Metering Data to MSATS for ROLR Effective Transfer Date |  |  |  |
| 15.1 | Conditions Precedent |  |  |  |
| 15.2 | MDP Obligations |  |  |  |
| 15.3 | Related Part B Section |  |  |  |
| 16 | AEMO Changes ROLR Role in MSATS from the Failed Retailer |  |  |  |
| 16.1 | AEMO Obligations |  |  |  |
| 17 | AEMO Ceases all the Failed Retailer’s Roles as of ROLR Effective Transfer Date |  |  |  |
| 17.1 | Conditions Precedent |  |  |  |
| 17.2 | AEMO Obligations |  |  |  |
| 18 | Participants Perform a Post ROLR Event Reconciliation of MSATS-Related Data and Prepare a Report for AEMO |  |  |  |
| 18.1 | Conditions Precedent |  |  |  |
| 18.2 | ROLR Event Affected MSATS Participants Obligations |  |  |  |
| 18.3 | Related Part B Section |  |  |  |
| 19 | AEMO CONDUCTS ROLR POST IMPLEMENTATION REVIEW |  |  |  |
| 19.1 | AEMO Obligations |  |  |  |
| APPENDIX - 1 | SPECIFICATIONS FOR ROLR REPORTS |  |  |  |

# NMI Standing Data Schedule

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | NMI STANDING DATA SCHEDULE |  |  |  |
| 3 | RIGHTS AND OBLIGATIONS |  |  |  |
| 3.1 | Obligations to supply data for the NMI Standing Data Schedule |  |  |  |
| 3.2 | Obligations when using the NMI Standing Data Schedule |  |  |  |

# Service Level Procedures for MDP

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | ## Metering Competition | ## Embedded Networks | ## Meter Replacement Processes |
| 1 | INTRODUCTION |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | OBLIGATIONS |  |  |  |
| 2.1 | Metering data services |  |  |  |
| 2.2 | Use of sub-contractors |  |  |  |
| 2.3 | Specific obligations for MDP - Category D |  |  |  |
| 2.4 | Specific obligations for MDP - Category C |  |  |  |
| 3 | SERVICE REQUIREMENTS FOR MDPS – CATEGORY D |  |  |  |
| 3.1 | System requirements |  |  |  |
| 3.2 | Collection process requirements |  |  |  |
| 3.3 | Specific collection process requirements for metering installations type 1, 2, 3 and 4 | TasNetworks believes there should be a general requirement that data from remotely read meters be collected and delivered daily. Allowing data to be delivered in multi-day quantities will require higher compute power increasing costs to the customer. |  |  |
| 3.4 | Specific collection process requirements for metering installations type 4A, 5 and 6 | The heading has no meaning and is not reflected in the content, distorting the intended outcome. |  |  |
| 3.5 | Metering data processing requirements |  |  |  |
| 3.6 | Specific Metering Data processing requirements for metering installation types 1, 2, 3 and 4 | The heading has no meaning and is not reflected in the content, distorting the intended outcome. |  |  |
| 3.7 | Specific Metering Data processing requirements for Special Sites |  |  |  |
| 3.8 | Specific Metering Data processing requirements for metering installation type 7 | The heading has no meaning and is not reflected in the content, distorting the intended outcome. |  |  |
| 3.9 | Specific Metering Data estimation requirements for metering installation types 4A, 5, 6 and 7 | The heading has no meaning and is not reflected in the content, distorting the intended outcome. |  |  |
| 3.10 | Delivery performance requirements for metering data | The result of the changes is that there is no requirement to deliver data to AEMO or participants. The table in 6.11.9 of current SLP should be re-instated. |  |  |
| 3.11 | Delivery of Metering Data for Prudential Purposes |  |  |  |
| 3.12 | Interface requirements |  |  |  |
| 4 | SERVICE REQUIREMENTS FOR MDPS - CATEGORY C |  |  |  |
| 4.1 | System Requirements |  |  |  |
| 4.2 | Metering Data Collection and Transfer Requirements |  |  |  |
| 5 | METER CHURN DATA MANAGEMENT |  |  |  |
| 5.1 | Meter churn scenarios | The result of the rule change is that Scenario 1 is no longer allowed. It should be removed. |  |  |
| 6 | SYSTEM ARCHITECTURE & ADMINISTRATION |  |  |  |
| 6.1 | Metering Data Archival and Recovery |  |  |  |
| 6.2 | Data Backup |  |  |  |
| 6.3 | Disaster Recovery |  |  |  |
| 6.4 | System administration and data management |  |  |  |
| 6.5 | Non-public telecommunications networks |  |  |  |
| 7 | QUALITY CONTROL |  |  |  |
| 7.1 | Scheduled Audits |  |  |  |
| 7.2 | Other audits |  |  |  |
| 7.3 | Corrective action |  |  |  |
| 7.4 | Non-compliance and de-registration |  |  |  |
| 7.5 | Review of accreditation |  |  |  |
| 8 | ADMINISTRATION |  |  |  |
| 8.1 | Bilateral agreements |  |  |  |
| 8.2 | Quality systems |  |  |  |
| 8.3 | Disputes |  |  |  |

# Service Level Procedures for MP

Please delete any rows where there are no particpant comments

| ## Clause | ## Heading | ## Participant Comments |  |  |
| --- | --- | --- | --- | --- |
|  |  | Metering Competition | Embedded Networks | Meter Replacement Processes |
| 1 | Introduction |  |  |  |
| 1.1 | Purpose and Scope |  |  |  |
| 1.2 | Definitions and Interpretation |  |  |  |
| 1.3 | Related Documents |  |  |  |
| 2 | General requirements |  |  |  |
| 2.1 | Metering Provider Capability and Competency |  |  |  |
| 2.2 | Use of sub-contractors |  |  |  |
| 2.3 | Insurance |  |  |  |
| 3 | Device management and Test equipment |  |  |  |
| 3.1 | Purchasing |  |  |  |
| 3.2 | Storage, handling and transport |  |  |  |
| 3.3 | Management of test equipment |  |  |  |
| 3.4 | Management of meter programming and authorised software |  |  |  |
| 4 | Installation and commissioning requirements |  |  |  |
| 4.1 | General commissioning requirements |  |  |  |
| 4.2 | Metering Data Validation Requirements |  |  |  |
| 4.3 | Notifications following Metering Installation Commissioning |  |  |  |
| 4.4 | Meter Churn |  |  |  |
| 5 | Metering installation maintenance |  |  |  |
| 5.1 | Test Plan |  |  |  |
| 5.2 | Management of Metering Installation Malfunctions |  |  |  |
| 5.3 | Telecommunications |  |  |  |
| 5.4 | Non-Conforming Test Results or Calibrations |  |  |  |
| 6 | Systems and administration |  |  |  |
| 6.1 | Metering Register |  |  |  |
| 6.2 | Security Controls for Accessing the Metering Installation |  |  |  |
| 6.3 | Disaster Recovery |  |  |  |
| 6.4 | Audits undertaken by AEMO |  |  |  |
| 6.5 | Review of Accreditation |  |  |  |
| 6.6 | Quality Systems |  |  |  |
| 6.8 | Disputes |  |  |  |

# Other Issues Related to Consultation Subject Matter

| ## Document | ## Clause | ## Heading | ## Participant Comments |
| --- | --- | --- | --- |