## Overview
Gas Statement of Opportunities (GSOO) Update supply-demand modelling results
1-in-20 demand condition
This data file contains the supply-demand modelling output from the 1-in-20 demand condition.
* Unserved energy (potential shortfalls) observed in each modelling year by location
* Remaining reserves
* Pipeline utilisation and capacity
* Processing utilisation and capacity of each facility
* Demand at each location by year
* Supply at each location by year.
The nodal topology of the model is included at right for reference.
Things to note:
* The 'Link Pipeline Details' tab defines the details of each specific link used in the model. Each line on the diagram to the right is a link. Links typically correspond to sections of pipelines.
* The sum of the data on the Supply worksheet may be less than the sum of the data on the Demand worksheet. The difference between the two figures is the amount of unserved energy, or unmet supply.
* Production at certain locations may be de-priortised when the next available reserves move into a higher-cost tranche.

## Link Pipeline Details
While modelling, it is often necessary to split pipelines into smaller segmets, referred to here as links.
The table below contains each link used within the model, the pipeline related to that link and the nodal locations the link connects.
Link | Pipeline | Pipeline description | From Node | To Node
APLNG | APLNG | APLNG main line | APLNG Hub | AP LNG
APLNGSpringGully | FRCP | Fairview-Reedy Creek Pipeline | Spring Gully | AP Woleebee
APWoleebee | APWoleebee | APLNG Combabula lateral | AP Woleebee | APLNG Hub
BellevueQCLNG | QCLNG | QCLNG main line | Bellevue | QC LNG
CGP | CGP | Carpentaria Gas Pipeline | Ballera | Mount Isa
CometRidge | CometRidge | Comet Ridge Pipeline | Fairview | Wallumbilla
Condabri | Condabri | APLNG Condabri lateral | Condabri | APLNG Hub
DaltonCan | DaltonCan | Dalton to Canberra Pipeline | Dalton | Canberra
EGPNorth | EGP | Eastern Gas Pipeline | Hoskintown | Sydney
EGPSouth | EGP | Eastern Gas Pipeline | Gippsland | Hoskintown
FairviewGooimbah | QGPFairview Lateral | QGP Fairview lateral | Fairview | Gooimbah
GLNG | GLNG | GLNG main line | Fairview | G LNG
Gloucester | Gloucester | Stratford to Hexham pipeline (proposed) | Stratford | Newcastle
HoskinCan | HoskinCan | Hoskintown to Canberra lateral | Hoskintown | Canberra
ICNorth | IC | NSW-Vic Interconnect | Young | Wagga
ICSouth | IC | NSW-Vic Interconnect | Wagga | Melbourne
IonaPortCampbell | Iona UGS | Notional connection between Iona UGS and Iona processing facility | Iona UGS | Port Campbell
JordanBellevue | QCLNG | QCLNG main line | Jordan | Bellevue
KenyaKogan | Windibri South | Windibri pipeline | Kenya | Kogan
KenyaRuby | Windibri North | Windibri pipeline | Kenya | Ruby
LMPEast | LMP | Longford to Melbourne Pipeline | Gippsland | Bass
LMPWest | LMP | Longford to Melbourne Pipeline | Bass | Melbourne
MAPSNorth | MAPS | Moomba to Adelaide Pipeline System | Moomba | Hallett
MAPSSouth | MAPS | Moomba to Adelaide Pipeline System | Hallett | Adelaide
MSPCentral | MSP | Moomba to Sydney Pipeline | Young | Dalton
MSPEast | MSP | Moomba to Sydney Pipeline | Dalton | Sydney
MSPWest | MSP | Moomba to Sydney Pipeline | Moomba | Young
NarrabriMSPLink | Narrabri | Narrabri to MSP pipeline (proposed) | Narrabri | Young
NQGP | NQGP | North Queensland Gas Pipeline | Moranbah | Townsville
QCWoleebeeBellevue | QCLNG | QCLNG Woleebee Creek lateral | QC Woleebee | Bellevue
QGPEast | QGP | Queensland Gas Pipeline | Gooimbah | Gladstone
QGPSouth | QGP | Queensland Gas Pipeline | Wallumbilla | Gooimbah
RBPEast | RBP | Roma-Brisbane Pipeline | Kogan | Brisbane
RBPWest | RBP | Roma-Brisbane Pipeline | Wallumbilla | Kogan
RubyJordan | QCLNG | QCLNG main line | Ruby | Jordan
SEAGasEast | SEAGas | South East Australia Gas Pipeline | Port Campbell | Penola
SEAGasWest | SEAGas | South East Australia Gas Pipeline | Penola | Adelaide
SGFairview | SGFV | Spring Gully to Fairview Pipeline | Spring Gully | Fairview
SNP | SNP | Sydny to Newcastle Pipeline | Sydney | Newcastle
SWP | SWP | South West Pipeline | Port Campbell | Melbourne
SWQPEast | SWQP | South West Queensland Pipeline | Wallumbilla | Ballera
SWQPWest | SWQP | South West Queensland Pipeline | Ballera | Moomba
TGP | TGP | Tasmanian Gas Pipeline | Gippsland | Tasmania
Walloons | Walloons | Walloons Pipeline | Condabri | Wallumbilla

## Unserved Energy
Year | Adelaide | Ballera | Condabri | Gladstone | Mount Isa | Sydney | Wallumbilla
2014 |  |  |  | 0.65466 | 0.0005098
2015 |  |  |  | 1.5074 | 0.0069037
2016 |  |  |  | 2.392 | 0.016892
2017 |  |  |  | 3.0193 | 0.034899
2018 |  | 0.007025 | 0.11793 | 3.1643 | 0.065727 |  | 0.0016476
2019 | 0.094596 | 0.038109 | 0.72543 | 8.384 | 2.3335 |  | 0.0057869
2020 | 0.10057 | 0.089326 | 2.2704 | 16.5783 | 4.278 | 0.046575 | 0.0045791

## 2P Reserves
Year | APLNG 2P | Arrow Surat 2P | Bass 2P | Camden 2P | Casino Henry Netherby 2P | Cooper Conventional 2P | Gippsland 2P | GLNG Surat 2P | Gloucester 2P | Gunnedah 2P | La Bella 2C3P | Longtom 2P | Minerva 2P | Moranbah 2P | Otway GP 2P | QCLNG 2P | Qld Conventional 2P | Qld CSG 2P | Santos Surat 2P
2014 | 13079.3927 | 9494.3579 | 242.45 | 130.51 | 221.0318 | 1818.8164 | 3550.9889 | 5369.1945 | 669 | 1426 | 114 | 82.6462 | 92.5198 | 598.4812 | 370.9136 | 12479.7898 | 137.0809 | 1619.1498 | 298.046
2015 | 12920.8044 | 9494.3579 | 216.9 | 121.02 | 218.3344 | 1690.5113 | 3282.8436 | 5256.0091 | 669 | 1426 | 114 | 82.3036 | 80.0925 | 582.3099 | 298.1569 | 12169.6716 | 107.1514 | 1619.1498 | 298.046
2016 | 12442.6092 | 9494.2537 | 191.28 | 111.504 | 215.8053 | 1558.7137 | 3015.2953 | 5008.5514 | 669 | 1426 | 114 | 81.5833 | 68.1627 | 567.5694 | 224.9179 | 11703.2603 | 77.1394 | 1619.0988 | 297.5275
2017 | 11869.3958 | 9492.9221 | 165.73 | 102.014 | 213.3604 | 1405.9521 | 2736.7587 | 4743.7211 | 668.1758 | 1426 | 114 | 80.8513 | 57.1385 | 550.3762 | 152.0546 | 11238.1233 | 47.2094 | 1618.9041 | 296.2581
2018 | 11288.362 | 9467.2372 | 140.18 | 92.524 | 211.4713 | 1233.2889 | 2453.9329 | 4472.2826 | 662.3331 | 1425.1208 | 114 | 79.8043 | 46.3734 | 532.6337 | 79.3064 | 10760.8254 | 17.2794 | 1614.9186 | 285.6551
2019 | 10690.1629 | 9434.0629 | 114.63 | 83.034 | 209.5658 | 1059.9028 | 2167.8772 | 4217.5126 | 655.3907 | 1423.5647 | 114 | 78.5153 | 35.3342 | 516.0694 | 6.4881 | 10279.8641 | 0 | 1609.7944 | 274.7051
2020 | 10082.2356 | 9400.3894 | 89.01 | 73.518 | 157.9195 | 885.4654 | 1878.0652 | 3963.2261 | 647.1357 | 1421.3483 | 113.8437 | 76.9952 | 7.736 | 501.0571 | 0 | 9799.4186 | 0 | 1604.9816 | 263.7251

## 2C3P Reserves
Year | APLNG 2C3P | Arrow Surat 2C3P | Bass 2C3P | Camden 2C3P | Casino Henry Netherby 2C3P | Cooper Conventional 2C3P | Cooper Shale 2C3P | Gippsland 2C3P | GLNG Surat 2C3P | Gunnedah 2C3P | Halladale 2C3P | La Bella 2C3P | Moranbah 2C3P | QCLNG 2C3P | Qld CSG 2C3P
2014 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2015 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2016 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2017 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2018 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2019 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 114 | 136 | 640 | 1051
2020 | 6761 | 5044 | 291 | 46 | 116 | 2006 | 4945 | 2530 | 3085 | 1654 | 55 | 113.8437 | 136 | 640 | 1051

## Pipeline Utilisation
Year | APLNG | APLNGSpringGully | APWoleebee | BellevueQCLNG | CGP | CometRidge | Condabri | DaltonCan | EGPNorth | EGPSouth | GLNG | Gloucester | HoskinCan | ICNorth | ICSouth | IonaPortCampbell | JordanBellevue | KenyaKogan | KenyaRuby | LMPEast | LMPWest | MAPSNorth | MAPSSouth | MSPCentral | MSPEast | MSPWest | NarrabriMSPLink | NQGP | QCWoleebeeBellevue | QGPEast | QGPSouth | RBPEast | RBPWest | RubyJordan | SEAGasEast | SEAGasWest | SGFairview | SNP | SWP | SWQPEast | SWQPWest | TGP | Walloons
2014 | 0.8123% |  | 1.689% | 7.422% | 88.2% |  |  | 46.9% | 70.15% | 94.09% | 2.677% |  | 14.5% | -77.67% | -77.68% | 20.26% |  |  |  | 44.71% | 47.3% | 9.849% | 21.8% | 10.2% | 5.624% | 11.66% |  | 28.16% |  | 95.54% | 38.13% | 69.1% | 58.54% |  | 60.66% | 58.49% | 38.01% |  | 9.64% | -96.01% | -98.51% | 14.75%
2015 | 11.84% |  | 14.29% | 48.33% | 89.01% |  | 21.68% | 44.57% | 70.64% | 87.82% | 19.33% |  | 21.84% | -76.4% | -76.41% | 20.81% | 18.44% | 3.242% | 9.956% | 44.72% | 47.33% | 8.844% | 22.4% | 11.11% | 6.776% | 11.19% |  | 26.48% | 14.77% | 96.8% | 39.27% | 52.8% | 64.87% | 3.039% | 50.69% | 48.32% | 98.82% |  | 11.02% | -60.76% | -62.51% | 14.22%
2016 | 59.85% |  | 43.59% | 88.44% | 89.56% | -3.902% | 75.52% | 55.17% | 74.64% | 88.05% | 54.23% |  | 17.41% | -71.16% | -71.26% | 22.44% | 45.88% |  | 10% | 44.49% | 47.13% | 8.938% | 21.64% | 9.865% | 5.576% | 12% |  | 21.21% | 21.28% | 97.86% | 40.11% | 53.4% | 67.22% | 24.61% | 50.41% | 48.07% | 100% |  | 23.73% | -63.82% | -65.76% | 13.46%
2017 | 88.85% | 18.51% | 78.75% | 92.51% | 90.64% | -12.05% | 97% | 46.83% | 74.36% | 93.08% | 64.23% | 35.53% | 17.77% | -79.48% | -79.83% | 22.32% | 49.95% |  | 10% | 45.94% | 48.55% | 8.728% | 24.42% | 11.01% | 6.495% | 11.24% |  | 27.38% | 21.28% | 98.63% | 40.89% | 54.58% | 64.3% | 28.68% | 48.9% | 46.54% | 100% | -4.06% | 19.16% | -78.51% | -80.84% | 15.07%
2018 | 90.58% | 39.86% | 83.8% | 92.51% | 91.43% | -53.4% | 95.68% | 41.79% | 74.07% | 94.59% | 78.5% | 57.06% | 17.63% | -82.11% | -82.56% | 29.98% | 49.95% | 10% | 9.486% | 46.79% | 49.37% | 8.635% | 16.81% | 8.087% | 4.491% | 5.828% | 23.14% | 28.75% | 21.28% | 98.56% | 40.81% | 56.46% | 29.01% | 28.68% | 47.69% | 45.3% | 100% | -6.521% | 25% | -96.91% | -99.51% | 14.47% | 31.44%
2019 | 90.58% | 65.79% | 89.85% | 92.51% | 87.04% | -66.38% | 90.14% | 42.42% | 74.63% | 95.48% | 82.98% | 60.26% | 15.95% | -83.25% | -83.9% | 21.6% | 49.95% | 10.9% |  | 47.36% | 49.92% | 8.606% | 8.236% | 8.483% | 5.028% | 5.843% | 36.19% | 25.81% | 21.28% | 88.5% | 55.17% | 57.71% | 2.766% | 28.68% | 48% | 45.6% | 100% | -6.887% | 20.88% | -98.6% | -99.67% | 15.04% | 57.64%
2020 | 90.83% | 99.82% | 93.32% | 92.76% | 83.26% | -67.04% | 87.44% | 44.58% | 74.42% | 96% | 83.2% | 61.42% | 15.79% | -83.63% | -84.9% | 47.59% | 50.21% | 6.485% |  | 47.97% | 50.52% | 8.619% | 9.886% | 9.275% | 5.178% | 6.202% | 41.82% | 21.06% | 21.28% | 73.47% | 73.47% | 59.3% |  | 28.93% | 48.07% | 45.66% | 100% | -7.019% | -23.76% | -99.97% | -99.71% | 15.45% | 77.43%

## Pipeline Capacity
Note that nominal capacities were used for APWoleebee, Comet Ridge, Condabri, FRCP, Gloucester, SGFV, SNP, Walloons and Windibri because the true capacities are unknown.
Forward Capacity
| APLNG | APWoleebee | CGP | CometRidge | Condabri | DaltonCan | EGP | FRCP | GLNG | Gloucester | HoskinCan | IC | Iona UGS | LMP | MAPS | MSP | Narrabri | NQGP | QCLNG | QGP | QGPFairview Lateral | RBP | SEAGas | SGFV | SNP | SWP | SWQP | TGP | Walloons | Windibri North | Windibri South
2014 | 1560 | 750 | 119 | 200 | 0 | 56 | 289 | 0 | 1420 | 0 | 77 | 120 | 200 | 1030 | 253 | 420 | 0 | 110 | 1410 | 142 | 1 | 233 | 314 | 100 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2015 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 0 | 77 | 120 | 200 | 1030 | 253 | 420 | 0 | 110 | 1410 | 142 | 1 | 233 | 314 | 100 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2016 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 0 | 77 | 120 | 200 | 1030 | 253 | 420 | 0 | 110 | 1410 | 142 | 1 | 233 | 314 | 155 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2017 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 80 | 77 | 120 | 200 | 1030 | 253 | 420 | 0 | 110 | 1410 | 142 | 1 | 233 | 314 | 155 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2018 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 80 | 77 | 120 | 200 | 1030 | 253 | 420 | 100 | 110 | 1410 | 142 | 1 | 233 | 314 | 155 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2019 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 80 | 77 | 120 | 200 | 1030 | 253 | 420 | 100 | 110 | 1410 | 142 | 1 | 233 | 314 | 155 | 700 | 353 | 385 | 130 | 120 | 300 | 300
2020 | 1560 | 750 | 119 | 200 | 820 | 56 | 289 | 70 | 1420 | 80 | 77 | 120 | 200 | 1030 | 253 | 420 | 100 | 110 | 1410 | 142 | 1 | 233 | 314 | 155 | 700 | 353 | 385 | 130 | 120 | 300 | 300
Reverse Capacity
| APLNG | APWoleebee | CGP | CometRidge | Condabri | DaltonCan | EGP | FRCP | GLNG | Gloucester | HoskinCan | IC | Iona UGS | LMP | MAPS | MSP | Narrabri | NQGP | QCLNG | QGP | QGPFairview Lateral | RBP | SEAGas | SGFV | SNP | SWP | SWQP | TGP | Walloons | Windibri North | Windibri South
2014 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 198 | 0 | 0 | 300 | 0
2015 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0
2016 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0
2017 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0
2018 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0
2019 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0
2020 | 0 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 700 | 129 | 340 | 0 | 0 | 300 | 0

## Processing Utilisation
Year | AP Woleebee | Ballera | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Iona UGS | Jordan | Kenya | Kogan | Moomba | Moranbah | Narrabri | Port Campbell | QC Woleebee | Ruby | Spring Gully | Stratford | Sydney
2014 | 7.04% | 100% | 100% | 34.88% | 8.703% |  | 58.98% | 33.32% | 20.26% |  | 0.192% | 15.56% | 61.6% | 62.53% |  | 34.04% |  |  | 11.13% |  | 100%
2015 | 15.18% | 100% | 100% | 99.21% | 15.74% | 16.2% | 57.82% | 33.33% | 20.81% | 79.09% | 9.091% |  | 64.49% | 65.15% |  | 35.34% | 69.42% | 16.02% | 17.79% |  | 100%
2016 | 27.93% | 100% | 100% | 100% | 19.85% | 22.37% | 56.11% | 33.33% | 22.44% | 100% | 9.091% | 13.46% | 66.69% | 59.23% |  | 36.03% | 100% | 72.86% | 15.45% |  | 100%
2017 | 31.23% | 100% | 100% | 100% | 19.81% | 25% | 58.41% | 33.33% | 22.32% | 100% | 9.091% | 16.71% | 81.67% | 69.27% |  | 36.44% | 100% | 86.06% | 16.03% | 35.53% | 100%
2018 | 32.67% | 100% | 100% | 100% | 19.96% | 25% | 58.77% | 33.33% | 29.98% | 100% | 8.971% | 19.46% | 95.65% | 71.48% | 23.14% | 36.72% | 100% | 91.79% | 16.41% | 57.06% | 100%
2019 | 33.3% | 100% | 100% | 100% | 20% | 25% | 59.18% | 33.29% | 21.6% | 100% | 9.717% | 19.38% | 96.16% | 66.74% | 36.19% | 36.83% | 100% | 92.95% | 17.58% | 60.26% | 100%
2020 | 33.33% | 100% | 100% | 100% | 20% | 25% | 59.85% |  | 47.59% | 100% | 5.895% | 19.49% | 96.57% | 60.32% | 41.82% | 21.82% | 100% | 93.78% | 17.11% | 61.42% | 100%

## Processing Capacity
Year | AP Woleebee | Ballera | Bass | Bellevue | Condabri | Fairview | Gippsland | Gooimbah | Iona UGS | Jordan | Kenya | Kogan | Moomba | Moranbah | Narrabri | Port Campbell | QC Woleebee | Ruby | Spring Gully | Stratford | Sydney
2014 | 180 | 100 | 70 | 300 | 630 | 133 | 1245 | 82 | 200 | 0 | 300 | 143 | 390 | 68 | 0 | 346 | 0 | 0 | 208 | 0 | 26
2015 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 0 | 346 | 300 | 435 | 208 | 0 | 26
2016 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 0 | 346 | 300 | 435 | 263 | 0 | 26
2017 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 0 | 346 | 300 | 435 | 263 | 80 | 26
2018 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 100 | 346 | 300 | 435 | 263 | 80 | 26
2019 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 100 | 346 | 300 | 435 | 263 | 80 | 26
2020 | 630 | 100 | 70 | 300 | 810 | 698 | 1245 | 82 | 200 | 300 | 330 | 143 | 390 | 68 | 100 | 346 | 300 | 435 | 263 | 80 | 26

## Demand
Year | Adelaide | AP LNG | Ballera | Bass | Brisbane | Canberra | Condabri | G LNG | Gippsland | Gladstone | Hallett | Hoskintown | Kenya | Kogan | Melbourne | Moranbah | Mount Isa | Penola | Port Campbell | QC LNG | Sydney | Tasmania | Townsville | Wagga | Wallumbilla | Young
2014 | 68.3 | 4.6 | 0.0009606 | 15.8085 | 58.7635 | 8.047 | 20.0128 | 13.8 | 1.0165 | 50.1731 | 7.8267 | 22.8536 | 0.21024 | 9.4683 | 157.78 | 4.2133 | 38.3112 | 2.4939 | 29.9413 | 62 | 87.0512 | 6.999 | 11.3055 | 0.00078868 | 0.00018764 | 18.3081
2015 | 55.8316 | 106.45 | 0.0030611 | 15.7241 | 44.9068 | 8.0966 | 16.0701 | 149.2536 | 0.99304 | 51.6779 | 7.7138 | 14.0226 | 0 | 10.3081 | 158.2116 | 5.54 | 38.668 | 2.712 | 29.7134 | 321.0196 | 87.4732 | 6.7492 | 10.6313 | 0.0034733 | 0.0010158 | 18.3975
2016 | 55.7873 | 418.0435 | 0.0071923 | 15.6651 | 45.5371 | 8.199 | 3.4217 | 305.4304 | 1.0244 | 53.2517 | 7.7288 | 9.6966 | 0 | 12.4645 | 159.2437 | 6.2 | 39.0221 | 2.6939 | 29.6805 | 477.3913 | 89.726 | 6.3871 | 8.5405 | 0.026447 | 0.00062081 | 18.6099
2017 | 53.6502 | 515.7609 | 0.021422 | 15.7192 | 46.4187 | 8.3566 | 0.87751 | 342.9489 | 1.2167 | 54.1414 | 7.7514 | 16.8246 | 0 | 11.064 | 161.9876 | 6.2 | 39.4056 | 2.7083 | 30.1475 | 476.087 | 92.8973 | 7.1525 | 10.9932 | 0.091496 | 0.0027088 | 18.906
2018 | 52.0836 | 515.7609 | 0.024335 | 15.835 | 48.0141 | 8.5516 | 1.2694 | 423.5109 | 1.3195 | 54.2487 | 7.8042 | 18.3628 | 0 | 6.7431 | 164.4037 | 6.2 | 39.7764 | 2.7396 | 30.5728 | 476.087 | 95.8394 | 6.8657 | 11.5425 | 0.11808 | 0.004672 | 19.2154
2019 | 52.4421 | 515.7609 | 0.051508 | 15.9408 | 49.0832 | 8.7512 | 1.6169 | 430.0652 | 1.4333 | 54.2561 | 7.8642 | 19.1563 | 0 | 5.0654 | 166.1479 | 6.2 | 40.1396 | 2.7455 | 30.5321 | 476.087 | 98.1114 | 7.1347 | 10.3643 | 0.16828 | 0.0060901 | 19.5122
2020 | 52.6756 | 517.1739 | 0.098775 | 16.0196 | 50.5697 | 8.9324 | 2.2846 | 431.2435 | 1.5817 | 54.761 | 7.8809 | 20.268 | 0 | 1.9508 | 168.0933 | 6.5333 | 40.5421 | 2.7713 | 30.9412 | 477.3913 | 100.0976 | 7.3501 | 8.479 | 0.3295 | 0.0045794 | 19.7978

## Supply
Year | APLNG 2P | Arrow Surat 2P | Bass 2P | Camden 2P | Casino Henry Netherby 2P | Cooper Conventional 2P | Gippsland 2P | GLNG Surat 2P | Gloucester 2P | Gunnedah 2P | La Bella 2C3P | Longtom 2P | Minerva 2P | Moranbah 2P | Otway GP 2P | QCLNG 2P | Qld Conventional 2P | Qld CSG 2P | Santos Surat 2P | Silver Springs ST
2014 | 31.6073 | 5.6421 | 25.55 | 9.49 | 9.9682 | 124.1836 | 275.0111 | 6.8055 | 0 | 0 | 0 | 0.3538 | 18.4802 | 15.5188 | 71.0864 | 62.2102 | 29.9191 | 3.8502 | 8.954 | 0
2015 | 158.5883 | 0 | 25.55 | 9.49 | 2.6974 | 128.3051 | 268.1454 | 113.1854 | 0 | 0 | 0 | 0.34264 | 12.4273 | 16.1713 | 72.7568 | 310.1182 | 29.9294 | 0 | 0 | 10.95
2016 | 478.1951 | 0.10425 | 25.62 | 9.516 | 2.5291 | 131.7976 | 267.5483 | 247.4577 | 0 | 0 | 0 | 0.72022 | 11.9298 | 14.7405 | 73.239 | 466.4113 | 30.012 | 0.051 | 0.51852 | 10.98
2017 | 573.2134 | 1.3315 | 25.55 | 9.49 | 2.4449 | 152.7616 | 278.5366 | 264.8303 | 0.82421 | 0 | 0 | 0.73205 | 11.0242 | 17.1932 | 72.8633 | 465.137 | 29.93 | 0.19475 | 1.2694 | 10.95
2018 | 581.0339 | 25.685 | 25.55 | 9.49 | 1.8891 | 172.6632 | 282.8258 | 271.4385 | 5.8427 | 0.87925 | 0 | 1.047 | 10.7651 | 17.7425 | 72.7482 | 477.2979 | 29.93 | 3.9855 | 10.603 | 2.12
2019 | 598.1991 | 33.1743 | 25.55 | 9.49 | 1.9055 | 173.386 | 286.0557 | 254.77 | 6.9424 | 1.5561 | 0 | 1.289 | 11.0392 | 16.5643 | 72.8184 | 480.9612 | 17.2794 | 5.1243 | 10.95 | 0
2020 | 607.9273 | 33.6734 | 25.62 | 9.516 | 51.6463 | 174.4374 | 289.8121 | 254.2865 | 8.2549 | 2.2163 | 0.15631 | 1.5201 | 27.5983 | 15.0123 | 6.4881 | 480.4456 | 0 | 4.8128 | 10.98 | 0