Department of Planning, Transport and Infrastructure

37 - 41 The Parade

Norwood  SA  5067

GPO Box 1533

Adelaide  SA  5001

Telephone:	08 8226 8222

Facsimile:	08 8226 8330

ABN   92 366 288 135

| In reply please quote |  |
| --- | --- |

Enquiries to Robin Camens

Telephone 08 8226 8206

David Ripper

Senior Metrology Engineer

Australian Energy Market Operator

Level 22, 530 Collins St

Melbourne, VIC 3000

Amendment of SOUTH AUSTRALIA Traffic SigNALs Load Table

Dear David,

The Department of Planning, Transport and Infrastructure would like to add the following items to the SA Traffic Signals load table:

Linking Control Module PSTN		2.7w

Linking Control Module 3G			3.3w

Linking Control Module EW		2.9w

Bluetooth SD 1000				0.33w

These devices provide the communications for our Traffic Signal Controllers to the SCATS system and as such are on continually. The Bluetooth SD 1000 can be used in conjunction with any of the Linking Control Modules if required.

A Test Report # 4349.11 conducted by ANTL is included to support this application and the results were achieved thus:

“The test period for each test was an average reading over a 5 minute period, after a minimum period of 2hrs running time before each measurement was taken, the units were "loaded" as such by connecting each unit to the communication devices to ensure the units were under load over the time of measurement. “

Datasheets for the devices have also been included.

The Department would also like to remove the following obsolete controllers from the list:

CJ38

CT250

PTF ST1

PTF ST4

ALPHA 16

Yours sincerely,

Robin Camens

Technical Officer Data and Energy Management

Electrical Assets Section

1 August 2014