## TOC
Forecast | Annual energy abbreviation
Table of Contents | TOC
Operational | OP
Residential and commercial1 | R&C
Large industrial | IND
Rooftop PV | PV
Energy efficiency (post-modelling adjustment) | EE
Small non-scheduled generation | SNSG
Transmission losses | TX
Auxiliary loads | AUX
Native | NAT
Operational annual energy breakdown | Breakdown
National Electricity Forecasting Report 2013 | NEFR 2013
National Electricity Forecasting Report 2014 | NEFR 2014
Total Electricity Price Index | TEPI
1 Includes light industrial
National Electricity Forecasting Report 2014 Update: National Electricity Market
Annual energy
This workbook
This workbook provides AEMO's 2014 updated annual energy forecasts for the National Electricity Market (NEM) and provides forecast information that includes data tables accompanied by charts of results. Please refer to the 2014 NEFR workbook for commentary on the forecasts and drivers.
Native and operational annual energy forecasts are on a sent-out basis, which does not include generator auxiliary loads.
Operational annual energy forecasts are the total of residential and commercial1, large industrial, and transmission losses forecasts.
Native forecasts are the operational forecasts, plus the contribution from small non-scheduled generation.
Residential and commercial forecasts are the loads on the network from residential, commercial and small industrial customers, assuming the forecast energy efficiency savings and rooftop PV contribution.

## NEM Overview
The NEM-wide operational consumption1 for 2013-14 was 181,248 GWh, 9 GWh higher than estimated in the 2014 NEFR.
Changes to the consumption forecasts for Queensland and Tasmania affect the NEM-wide consumption forecast as follows:
i. A 0.7% (1,172 GWh) increase in forecast operational consumption for 2014-15.
ii. No change to the short-term average annual growth rate of 0.4%2.
1 Operational consumption in this report is referred to as annual energy in previous reports.
2 Growth rates are based on 12 months of actual data for 2013-14. These are different from the growth rates published in the 2014 NEFR, which are based on nine months actual data and three months estimated data.
2014 NEFR UPDATE: OVERVIEW
NEM

## Summary
Financial Year | Rooftop PV | Transmission Losses | Auxiliary Loads | Industrial Consumption | Residential and commercial | Small Non-Scheduled Generation | Energy Efficiency | Operational - as gen | Operational - as sent out | Native - as generated | Native - as sent out | Population ('000s) | Gross Domestic Product ($ 2011-12 million)
2005-06 | 19.5846 | 5430.6946 | 13179.3555 | 40397.0551 | 143800.488 | 856.1481 | 0 | 202807.5932 | 189628.2377 | 203663.7414 | 190484.3858 | 18073.15 | 1060338
2006-07 | 21.6734 | 5322.0031 | 13153.8947 | 43609.9473 | 143556.2345 | 1489.0808 | 0 | 205642.0796 | 192488.1849 | 207131.1604 | 193977.2657 | 18347.085 | 1096507
2007-08 | 28.7808 | 5301.36 | 13598.6121 | 43045.7289 | 145341.1699 | 1635.7949 | 0 | 207286.871 | 193688.2589 | 208922.6659 | 195324.0538 | 18680.0815 | 1136019
2008-09 | 54.3025 | 5256.5524 | 14242.9349 | 45045.3091 | 144670.1111 | 2244.7887 | 0 | 209214.9075 | 194971.9726 | 211459.6962 | 197216.7613 | 19038.721 | 1150888
2009-10 | 163.2982 | 5492.8529 | 13888.5467 | 45111.858 | 144247.6279 | 2867.0822 | 0 | 208740.8855 | 194852.3388 | 211607.9677 | 197719.4211 | 19365.286 | 1169361
2010-11 | 686.6802 | 5151.8046 | 13658.4823 | 46804.8405 | 140887.6061 | 2766.6741 | 0 | 206502.7335 | 192844.2512 | 209269.4076 | 195610.9253 | 19630.139 | 1191966
2011-12 | 1697.8895 | 5060.4715 | 13196.7805 | 46218.0976 | 137830.5539 | 2880.0063 | 0 | 202305.9035 | 189109.123 | 205185.9098 | 191989.1293 | 19900.7895 | 1226447
2012-13 | 2913.4739 | 4752.8913 | 12453.5012 | 44731.317 | 135162.827 | 2878.2798 | 0 | 197100.5365 | 184647.0353 | 199978.8163 | 187525.3151 | 20210.224 | 1252110
2013-14 | 3897.0537 | 4694.9327 | 11702.8681 | 44511.6946 | 132045.729 | 3173.7941 | 0 | 192955.2244 | 181248.4518 | 196129.0185 | 184422.2459 | 20528.5751 | 1270809.0336
2014-15 | 4872.3109 | 4769.3 | 11695.6 | 42054.6734 | 130039.2416 | 3473.9746 | 2897.525 | 188558.815 | 176863.2625 | 192032.7896 | 180337.2371 | 20854.2883 | 1299299.998
2015-16 | 6029.5268 | 4855.4 | 11412.5 | 44957.6043 | 129958.9349 | 3473.9746 | 3953 | 191184.4392 | 179771.9776 | 194658.4138 | 183245.9522 | 21185.5821 | 1348829.968
2016-17 | 7237.4787 | 4955.4 | 11363.6 | 48076.4892 | 130131.7449 | 3473.9746 | 4893.4 | 194527.2341 | 183163.6105 | 198001.2087 | 186637.5851 | 21516.2257 | 1401446.102
2017-18 | 8447.5443 | 4990.2 | 11240.1 | 49253.5573 | 130101.6498 | 3473.9746 | 6293.4 | 195585.5071 | 184345.4064 | 199059.4817 | 187819.3458 | 21844.7444 | 1446218.948
2018-19 | 9574.6142 | 4994.2 | 11096.5 | 49543.4241 | 129968.6 | 3473.9746 | 7746.5 | 195602.7241 | 184506.2412 | 199076.6987 | 187980.1806 | 22169.5424 | 1481761.98
2019-20 | 10583.9309 | 4994.7 | 10830.2 | 49557.6069 | 129985.2 | 3473.9746 | 9223.7 | 195367.7069 | 184537.6227 | 198841.6815 | 188011.562 | 22490.5513 | 1516568.179
2020-21 | 11510.202 | 5009.4 | 10708.1 | 49441.453 | 130630.3 | 3473.9746 | 10253.9 | 195789.253 | 185081.1521 | 199263.2276 | 188555.0914 | 22807.2748 | 1556707.261
2021-22 | 12382.5218 | 5025.6 | 10776.5 | 49427.9038 | 131226.9 | 3473.9746 | 11131.2 | 196456.9038 | 185680.4233 | 199930.8784 | 189154.3626 | 23120.0408 | 1601918.714
2022-23 | 13216.265 | 5032 | 10799.9 | 49424.258 | 131474 | 3473.9746 | 12239.1 | 196730.158 | 185930.2622 | 200204.1326 | 189404.3015 | 23429.6336 | 1647534.603
2023-24 | 14014.8862 | 5042.6 | 10838.5 | 49287.927 | 131998.2 | 3473.9746 | 13188.8 | 197167.227 | 186328.7853 | 200641.2016 | 189802.7246 | 23735.7263 | 1692043.069
Growth Rates
2009-10 to 2013-14 | 121% | -3.848% | -4.19% | -0.3343% | -2.185% | 2.573% | N/A | -1.947% | -1.793% | -1.881% | -1.725% | 1.469% | 2.102%
2013-14 to 2016-17 | 22.92% | 1.816% | -0.9758% | 2.601% | -0.4855% | 3.058% | N/A | 0.2708% | 0.351% | 0.3172% | 0.3988% | 1.579% | 3.315%
2016-17 to 2023-24 | 9.901% | 0.2495% | -0.6736% | 0.3561% | 0.2036% | 0% | 15.22% | 0.1928% | 0.2451% | 0.1894% | 0.2405% | 1.412% | 2.728%
2013-14 to 2023-24 | 13.65% | 0.7169% | -0.7644% | 1.024% | -0.0036% | 0.9078% | N/A | 0.2162% | 0.2768% | 0.2277% | 0.288% | 1.462% | 2.904%
2014 NEFR UPDATE: SUMMARY
NEM

## OP
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 189628.2377
2006-07 | 192488.1849
2007-08 | 193688.2589
2008-09 | 194971.9726
2009-10 | 194852.3388
2010-11 | 192844.2512
2011-12 | 189109.123
2012-13 | 184647.0353 |  |  |  | 185422.2707 | 0 | 2012-13
2013-14 | 181248.4518 |  |  |  | 187023.4712 | 0 | 2013-14
2014-15 |  | 180904.1548 | 176863.2625 | 172038.7319 | 189397.6303 | 0 | 2014-15
2015-16 |  | 186100.6107 | 179771.9776 | 168323.2835 | 192585.0788 | 0 | 2015-16
2016-17 |  | 190726.1339 | 183163.6105 | 163540.2728 | 194853.1069 | 0 | 2016-17
2017-18 |  | 194062.2642 | 184345.4064 | 164969.3507 | 197045.8112 | 0 | 2017-18
2018-19 |  | 196612.6172 | 184506.2412 | 164355.5999 | 197411.1523 | 0 | 2018-19
2019-20 |  | 199478.7759 | 184537.6227 | 163015.5185 | 197762.9662 | 0 | 2019-20
2020-21 |  | 202668.2196 | 185081.1521 | 161147.8585 | 199074.0012 | 0 | 2020-21
2021-22 |  | 204936.1043 | 185680.4233 | 158982.0958 | 199645.7115 | 0 | 2021-22
2022-23 |  | 207183.223 | 185930.2622 | 156961.3768 | 199736.3079 | 0 | 2022-23
2023-24 |  | 209265.4464 | 186328.7853 | 155633.8745 | 199677.5526 | 0 | 2023-24
2024-25 |  | 211354.7189 | 186829.0904 | 154629.1185 | 200261.3071 | 0 | 2024-25
2025-26 |  | 213528.8499 | 187813.8583 | 154321.8228 | 200854.102 | 0 | 2025-26
2026-27 |  | 215210.2478 | 188700.0051 | 152668.6625 | 201589.8573 | 0 | 2026-27
2027-28 |  | 217267.5616 | 189777.2241 | 152446.7009 | 202319.4522 | 0 | 2027-28
2028-29 |  | 219629.9539 | 190965.4829 | 150322.3997 | 202763.0867 | 0 | 2028-29
2029-30 |  | 222126.2065 | 192379.9224 | 144212.6824 | 202966.2722 | 0 | 2029-30
2030-31 |  | 224123.6515 | 192745.7736 | 144223.379 | 203115.4532 | 0 | 2030-31
2031-32 |  | 225853.4591 | 192943.2879 | 143973.9931 | 203280.2276 | 0 | 2031-32
2032-33 |  | 227755.7343 | 193134.4898 | 143367.0278
2033-34 |  | 229255.3582 | 193588.3591 | 143025.1977
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -1.793%
2013-14 to 2016-17 |  | 1.714% | 0.351% | -3.369%
2016-17 to 2023-24 |  | 1.334% | 0.2451% | -0.7054%
2013-14 to 2023-24 |  | 1.448% | 0.2768% | -1.512%
2014 NEFR UPDATE: OPERATIONAL ANNUAL ENERGY
NEM

## R+C
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 143800.488
2006-07 | 143556.2345
2007-08 | 145341.1699
2008-09 | 144670.1111
2009-10 | 144247.6279
2010-11 | 140887.6061
2011-12 | 137830.5539
2012-13 | 135162.827 |  |  |  | 153773.4598 | 153068.1603 | 151912.239
2013-14 | 132045.729 |  |  |  | 156030.5987 | 154672.9696 | 152912.7317
2014-15 |  | 133140.3 | 130039.2416 | 129255.6 | 159190.2882 | 156988.9905 | 154393.5403
2015-16 |  | 134533.8 | 129958.9349 | 128747.6 | 162494.9067 | 159497.3488 | 155829.5765
2016-17 |  | 136087.6 | 130131.7449 | 128673.1 | 165141.106 | 161759.5125 | 157211.0561
2017-18 |  | 137980 | 130101.6498 | 128218.3 | 168260.206 | 164461.7179 | 159194.1061
2018-19 |  | 139839.7 | 129968.6 | 127280.6 | 170496.2975 | 166206.9116 | 159660.1516
2019-20 |  | 141745.7 | 129985.2 | 126025.1 | 172660.9894 | 168089.8148 | 160206.6802
2020-21 |  | 143728.4 | 130630.3 | 124412 | 175721.0049 | 170736.7611 | 161711.3698
2021-22 |  | 145790.8 | 131226.9 | 122398 | 178147.4286 | 172562.2041 | 162395.5879
2022-23 |  | 147927.5 | 131474 | 120514.8 | 179783.1993 | 173554.4822 | 162416.1427
2023-24 |  | 150140 | 131998.2 | 119408.7 | 181558.5896 | 174374.2811 | 162280.8392
2024-25 |  | 152273.8 | 132627.9 | 118617.5 | 183957.4208 | 175721.4402 | 162721.1782
2025-26 |  | 154351.5 | 133573.3 | 118377.5 | 186448.7371 | 177620.0231 | 163265.1719
2026-27 |  | 156177.8 | 134557.1 | 118225.3 | 188989.1258 | 179824.5065 | 164117.5366
2027-28 |  | 158125.4 | 135605.2 | 118072.9 | 191581.1045 | 182043.9858 | 164953.8782
2028-29 |  | 160420.3 | 136798.8 | 117997.4 | 193868.3623 | 183746.7278 | 165503.7568
2029-30 |  | 162641.7 | 138025.3 | 117964.2 | 195793.613 | 185130.6026 | 165809.5492
2030-31 |  | 164351.3 | 138187.3 | 117824.3 | 197752.0779 | 186386.7126 | 166079.401
2031-32 |  | 166234.9 | 138612.9 | 117831.5 | 199375.8163 | 187320.3344 | 166294.6039
2032-33 |  | 168079.2 | 138832.2 | 117305.4
2033-34 |  | 170067.9 | 139475.5 | 117182.8
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -2.185%
2013-14 to 2016-17 |  | 1.01% | -0.4855% | -0.8587%
2016-17 to 2023-24 |  | 1.414% | 0.2036% | -1.062%
2013-14 to 2023-24 |  | 1.292% | -0.0036% | -1.001%
2014 NEFR UPDATE: RESIDENTIAL & COMMERCIAL ANNUAL ENERGY
NEM

## IND
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 40397.0551
2006-07 | 43609.9473
2007-08 | 43045.7289
2008-09 | 45045.3091
2009-10 | 45111.858
2010-11 | 46804.8405
2011-12 | 46218.0976
2012-13 | 44731.317 |  |  |  | 31024.4172 | 0 | 2012-13
2013-14 | 44511.6946 |  |  |  | 31680.6919 | 0 | 2013-14
2014-15 |  | 42886.4717 | 42054.6734 | 38152.0852 | 32608.1667 | 0 | 2014-15
2015-16 |  | 46538.7554 | 44957.6043 | 35051.1198 | 34358.5934 | 0 | 2015-16
2016-17 |  | 49479.1416 | 48076.4892 | 30461.6971 | 35271.152 | 0 | 2016-17
2017-18 |  | 50829.8642 | 49253.5573 | 32301.4118 | 35512.7949 | 0 | 2017-18
2018-19 |  | 51451.3729 | 49543.4241 | 32641.4989 | 35514.4927 | 0 | 2018-19
2019-20 |  | 52332.2883 | 49557.6069 | 32593.8136 | 35420.8561 | 0 | 2019-20
2020-21 |  | 53449.0653 | 49441.453 | 32389.526 | 35292.1049 | 0 | 2020-21
2021-22 |  | 53592.8 | 49427.9038 | 32296.2585 | 35268.7481 | 0 | 2021-22
2022-23 |  | 53642.8424 | 49424.258 | 32213.229 | 35444.9065 | 0 | 2022-23
2023-24 |  | 53456.3636 | 49287.927 | 32027.3585 | 35627.4305 | 0 | 2023-24
2024-25 |  | 53355.1028 | 49144.8561 | 31840.1279 | 35853.3408 | 0 | 2024-25
2025-26 |  | 53393.3866 | 49158.0055 | 31781.2633 | 35984.9143 | 0 | 2025-26
2026-27 |  | 53204.4634 | 49037.1055 | 30331.4708 | 35948.732 | 0 | 2026-27
2027-28 |  | 53259.1314 | 49037.8222 | 30268.1356 | 35931.8343 | 0 | 2027-28
2028-29 |  | 53263.4008 | 49001.1015 | 28271.9685 | 35913.8076 | 0 | 2028-29
2029-30 |  | 53470.5026 | 49150.6724 | 22366.6992 | 35906.8825 | 0 | 2029-30
2030-31 |  | 53704.5607 | 49344.5503 | 22516.635 | 35889.1571 | 0 | 2030-31
2031-32 |  | 53505.0525 | 49111.7987 | 22267.1993 | 35935.0375 | 0 | 2031-32
2032-33 |  | 53512.4189 | 49079.3543 | 22203.4251
2033-34 |  | 52983.6113 | 48878.2543 | 21993.407
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -0.3343%
2013-14 to 2016-17 |  | 3.59% | 2.601% | -11.88%
2016-17 to 2023-24 |  | 1.111% | 0.3561% | 0.7186%
2013-14 to 2023-24 |  | 1.848% | 1.024% | -3.238%
2014 NEFR UPDATE: INDUSTRIAL ANNUAL ENERGY
NEM

## PV
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 19.5846
2006-07 | 21.6734
2007-08 | 28.7808 |  |  |  |  | 0
2008-09 | 54.3025 |  |  |  |  | 28.1924
2009-10 | 163.2982 |  |  |  |  | 155.6206
2010-11 | 686.6802 |  |  |  |  | 645.9022
2011-12 | 1697.8895 |  |  |  |  | 1701.5119
2012-13 | 2913.4739 |  |  |  | 2473.203 | 2473.203 | 2473.203
2013-14 | 3897.0537 |  |  |  | 2766.2782 | 2766.2782 | 2766.2782
2014-15 |  | 4722.5403 | 4872.3109 | 4878.8668 | 3050.9847 | 3050.9847 | 3050.9847
2015-16 |  | 5594.8208 | 6029.5268 | 6044.4002 | 3437.4668 | 3437.4668 | 3437.4668
2016-17 |  | 6509.8771 | 7237.4787 | 7266.665 | 3890.3013 | 3890.3013 | 3890.3013
2017-18 |  | 7376.4603 | 8447.5443 | 8510.9324 | 4485.2298 | 4485.2298 | 4485.2298
2018-19 |  | 8158.9969 | 9574.6142 | 9775.3558 | 5157.5998 | 5157.5998 | 5157.5998
2019-20 |  | 8897.0924 | 10583.9309 | 11030.7604 | 5921.8183 | 5921.8183 | 5921.8183
2020-21 |  | 9598.4865 | 11510.202 | 12168.9845 | 6732.1787 | 6732.1787 | 6732.1787
2021-22 |  | 10270.0222 | 12382.5218 | 13216.4872 | 7558.0851 | 7558.0851 | 7558.0851
2022-23 |  | 10917.8386 | 13216.265 | 14200.7928 | 8407.9568 | 8407.9568 | 8407.9568
2023-24 |  | 11547.5475 | 14014.8862 | 15135.2907 | 9245.7546 | 9245.7546 | 9245.7546
2024-25 |  | 12163.4283 | 14786.5217 | 16034.1587 | 10118.4466 | 10118.4466 | 10118.4466
2025-26 |  | 12770.9203 | 15538.034 | 16907.0538 | 10995.0955 | 10995.0955 | 10995.0955
2026-27 |  | 13373.0595 | 16272.3194 | 17759.6017 | 11864.094 | 11864.094 | 11864.094
2027-28 |  | 13970.178 | 16991.6729 | 18595.8902 | 12695.5037 | 12695.5037 | 12695.5037
2028-29 |  | 14559.8003 | 17695.674 | 19416.431 | 13538.5083 | 13538.5083 | 13538.5083
2029-30 |  | 15145.2053 | 18371.752 | 20220.726 | 14351.142 | 14351.142 | 14351.142
2030-31 |  | 15730.4579 | 19023.3247 | 20986.3855 | 15027.2373 | 15027.2373 | 15027.2373
2031-32 |  | 16307.3754 | 19655.1859 | 21708.3033 | 15727.5614 | 15727.5614 | 15727.5614
2032-33 |  | 16878.7926 | 20272.9601 | 22400.4746
2033-34 |  | 17447.9551 | 20880.7577 | 23068.6209
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | 121%
2013-14 to 2016-17 |  | 18.65% | 22.92% | 23.08%
2016-17 to 2023-24 |  | 8.532% | 9.901% | 11.05%
2013-14 to 2023-24 |  | 11.47% | 13.65% | 14.53%
2014 NEFR UPDATE: ROOFTOP PV ANNUAL ENERGY
NEM

## EE
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 0
2006-07 | 0
2007-08 | 0
2008-09 | 0
2009-10 | 0
2010-11 | 0
2011-12 | 0 | [5 empty] | 98.6343
2012-13 | 0 |  |  |  | 1587.6892 | 1587.6892 | .
2013-14 | 0 |  |  |  | 2353.9896 | 2353.9896 | 0
2014-15 |  | 0 | 2897.525 | 3792.675 | 3047.7505 | 3047.7505 | 0
2015-16 |  | 0 | 3953 | 5123.4 | 3735.2769 | 3735.2769 | 0
2016-17 |  | 0 | 4893.4 | 5977.9 | 4419.9358 | 4419.9358 | 0
2017-18 |  | 0 | 6293.4 | 7572.1 | 5100.907 | 5100.907 | 0
2018-19 |  | 0 | 7746.5 | 9496.7 | 5783.7341 | 5783.7341 | 0
2019-20 |  | 0 | 9223.7 | 11450.3 | 6464.4 | 6464.4 | 0
2020-21 |  | 0 | 10253.9 | 12951.8 | 6791.2111 | 6791.2111 | 0
2021-22 |  | 0 | 11131.2 | 14211.4 | 7095.506 | 7095.506 | 0
2022-23 |  | 0 | 12239.1 | 15795.2 | 7352.2572 | 7352.2572 | 0
2023-24 |  | 0 | 13188.8 | 17217.7 | 7680.4755 | 7680.4755 | 0
2024-25 |  | 0 | 13987.5 | 18492.4 | 8136.3288 | 8136.3288 | 0
2025-26 |  | 0 | 14496.6 | 19340.7 | 8630.4715 | 8630.4715 | 0
2026-27 |  | 0 | 14963.7 | 20105 | 9049.1504 | 9049.1504 | 0
2027-28 |  | 0 | 15379.2 | 20870.4 | 9230.607 | 9230.607 | 0
2028-29 |  | 0 | 15738 | 21495.7 | 9460.5518 | 9460.5518 | 0
2029-30 |  | 0 | 16111.5 | 21953.4 | 9815.1395 | 9815.1395 | 0
2030-31 |  | 0 | 16624.2 | 22798.3 | 10177.3424 | 10177.3424 | 0
2031-32 |  | 0 | 17027.6 | 23542.7 | 10515.7377 | 10515.7377 | 0
2032-33 |  | 0 | 17432.8 | 24291.3
2033-34 |  | 0 | 17824.2 | 25022.4
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | N/A
2013-14 to 2016-17 |  | N/A | N/A | N/A
2016-17 to 2023-24 |  | N/A | 15.22% | 16.31%
2013-14 to 2023-24 |  | N/A | N/A | N/A
2014 NEFR UPDATE: ENERGY EFFICIENCY ANNUAL ENERGY
NEM

## Total EE
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06
2006-07
2007-08
2008-09
2009-10
2010-11
2011-12 | [6 empty] | 98.6343
2012-13 |  |  |  |  | 1587.6892 | 1587.6892 | .
2013-14 | 17671.5246 |  |  |  | 2353.9896 | 2353.9896 | 0
2014-15 |  | 18359.641 | 19544.5752 | 20931.9453 | 3047.7505 | 3047.7505 | 0
2015-16 |  | 20160.0026 | 21562.5269 | 22869.0721 | 3735.2769 | 3735.2769 | 0
2016-17 |  | 21600.1093 | 23550.0339 | 24501.2645 | 4419.9358 | 4419.9358 | 0
2017-18 |  | 23347.5285 | 26108.3905 | 27126.3886 | 5100.907 | 5100.907 | 0
2018-19 |  | 25113.4625 | 28672.636 | 30048.2738 | 5783.7341 | 5783.7341 | 0
2019-20 |  | 26883.1824 | 31259.9821 | 32997.9605 | 6464.4 | 6464.4 | 0
2020-21 |  | 28190.5839 | 33423.3702 | 35518.2516 | 6791.2111 | 6791.2111 | 0
2021-22 |  | 29292.3238 | 35344.5072 | 37779.9089 | 7095.506 | 7095.506 | 0
2022-23 |  | 30675.8961 | 37568.8365 | 40373.5351 | 7352.2572 | 7352.2572 | 0
2023-24 |  | 32090.6369 | 39644.5371 | 42813.1266 | 7680.4755 | 7680.4755 | 0
2024-25 |  | 33416.9866 | 41572.078 | 45103.0167 | 8136.3288 | 8136.3288 | 0
2025-26 |  | 34527.6057 | 43230.596 | 46994.7859 | 8630.4715 | 8630.4715 | 0
2026-27 |  | 35661.9265 | 44854.0725 | 48762.2244 | 9049.1504 | 9049.1504 | 0
2027-28 |  | 36829.1838 | 46441.9975 | 50591.468 | 9230.607 | 9230.607 | 0
2028-29 |  | 38006.885 | 47968.5439 | 52199.8253 | 9460.5518 | 9460.5518 | 0
2029-30 |  | 39196.8457 | 49502.0989 | 53492.2932 | 9815.1395 | 9815.1395 | 0
2030-31 |  | 40333.8443 | 51074.1891 | 55295.8424 | 10177.3424 | 10177.3424 | 0
2031-32 |  | 41502.9135 | 52639.0139 | 57097.0058 | 10515.7377 | 10515.7377 | 0
2032-33 |  | 42678.9227 | 54212.4383 | 58906.9735
2033-34 |  | 43852.583 | 55788.2639 | 60710.568
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | N/A
2013-14 to 2016-17 |  | 6.92% | 10.05% | 11.51%
2016-17 to 2023-24 |  | 5.818% | 7.724% | 8.3%
2013-14 to 2023-24 |  | 6.148% | 8.415% | 9.252%
2014 NEFR UPDATE: ENERGY EFFICIENCY TOTAL ANNUAL ENERGY
NEM
Forecasts have not changed since the 2014 NEFR

## SNSG
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 856.1481
2006-07 | 1489.0808
2007-08 | 1635.7949
2008-09 | 2244.7887
2009-10 | 2867.0822
2010-11 | 2766.6741
2011-12 | 2880.0063
2012-13 | 2878.2798 |  |  |  | 2595.3723 | 0 | 2012–13
2013-14 | 3173.7941 |  |  |  | 2701.2005 | 0 | 2013–14
2014-15 |  | 3759.1746 | 3473.9746 | 3392.2746 | 2807.0287 | 0 | 2014–15
2015-16 |  | 3759.1746 | 3473.9746 | 3392.2746 | 2912.8569 | 0 | 2015–16
2016-17 |  | 3759.1746 | 3473.9746 | 3392.2746 | 3018.6851 | 0 | 2016–17
2017-18 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3124.5132 | 0 | 2017–18
2018-19 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3230.3414 | 0 | 2018–19
2019-20 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3336.1696 | 0 | 2019–20
2020-21 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3441.9978 | 0 | 2020–21
2021-22 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3547.8259 | 0 | 2021-22
2022-23 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3653.6541 | 0 | 2022-23
2023-24 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3759.4823 | 0 | 2023-24
2024-25 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3865.3105 | 0 | 2024-25
2025-26 |  | 4140.8677 | 3473.9746 | 3392.2746 | 3971.1386 | 0 | 2025-26
2026-27 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4076.9668 | 0 | 2026-27
2027-28 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4182.795 | 0 | 2027-28
2028-29 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4288.6232 | 0 | 2028-29
2029-30 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4394.4513 | 0 | 2029-30
2030-31 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4500.2795 | 0 | 2030-31
2031-32 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4606.1077 | 0 | 2031-32
2032-33 |  | 4140.8677 | 3473.9746 | 3392.2746
2033-34 |  | 4140.8677 | 3473.9746 | 3392.2746
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | 2.573%
2013-14 to 2016-17 |  | 5.805% | 3.058% | 2.244%
2016-17 to 2023-24 |  | 1.391% | 0% | 0%
2013-14 to 2023-24 |  | 2.695% | 0.9078% | 0.668%
2014 NEFR UPDATE: SMALL NON-SCHEDULED GENERATION ANNUAL ENERGY
NEM

## TX
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 5430.6946
2006-07 | 5322.0031
2007-08 | 5301.36
2008-09 | 5256.5524
2009-10 | 5492.8529
2010-11 | 5151.8046
2011-12 | 5060.4715
2012-13 | 4752.8913 |  |  |  | 5080.9867 | 0 | 2012-13
2013-14 | 4694.9327 |  |  |  | 5131.2488 | 0 | 2013-14
2014-15 |  | 4877.4 | 4769.3 | 4631 | 5202.9493 | 0 | 2014-15
2015-16 |  | 5028 | 4855.4 | 4524.6 | 5309.7671 | 0 | 2015-16
2016-17 |  | 5159.4 | 4955.4 | 4405.5 | 5389.5818 | 0 | 2016-17
2017-18 |  | 5252.4 | 4990.2 | 4449.6 | 5463.4191 | 0 | 2017-18
2018-19 |  | 5321.5 | 4994.2 | 4433.6 | 5466.8518 | 0 | 2018-19
2019-20 |  | 5400.9 | 4994.7 | 4396.6 | 5471.5971 | 0 | 2019-20
2020-21 |  | 5490.7 | 5009.4 | 4346.3 | 5512.5212 | 0 | 2020-21
2021-22 |  | 5552.5 | 5025.6 | 4287.8 | 5529.1999 | 0 | 2021-22
2022-23 |  | 5612.9 | 5032 | 4233.3 | 5528.9009 | 0 | 2022-23
2023-24 |  | 5669.1 | 5042.6 | 4197.8 | 5528.7688 | 0 | 2023-24
2024-25 |  | 5725.8 | 5056.4 | 4171.4 | 5552.096 | 0 | 2024-25
2025-26 |  | 5784 | 5082.5 | 4163 | 5575.1608 | 0 | 2025-26
2026-27 |  | 5828 | 5105.8 | 4111.9 | 5600.5597 | 0 | 2026-27
2027-28 |  | 5883.1 | 5134.2 | 4105.7 | 5616.5391 | 0 | 2027-28
2028-29 |  | 5946.3 | 5165.7 | 4053 | 5634.1462 | 0 | 2028-29
2029-30 |  | 6014 | 5203.9 | 3881.8 | 5644.2836 | 0 | 2029-30
2030-31 |  | 6067.7 | 5213.9 | 3882.4 | 5647.1682 | 0 | 2030-31
2031-32 |  | 6113.6 | 5218.6 | 3875.3 | 5656.6898 | 0 | 2031-32
2032-33 |  | 6164.1 | 5222.9 | 3858.2
2033-34 |  | 6203.8 | 5234.7 | 3849
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -3.848%
2013-14 to 2016-17 |  | 3.195% | 1.816% | -2.099%
2016-17 to 2023-24 |  | 1.355% | 0.2495% | -0.6875%
2013-14 to 2023-24 |  | 1.903% | 0.7169% | -1.113%
2014 NEFR UPDATE: TRANSMISSION LOSSES ANNUAL ENERGY
NEM

## AUX
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 13179.3555
2006-07 | 13153.8947
2007-08 | 13598.6121
2008-09 | 14242.9349
2009-10 | 13888.5467
2010-11 | 13658.4823
2011-12 | 13196.7805
2012-13 | 12453.5012 |  |  |  | 13065.18 | 0 | 2012-13
2013-14 | 11702.8681 |  |  |  | 13197.005 | 0 | 2013-14
2014-15 |  | 11987.7 | 11695.6 | 11369.4 | 13292.281 | 0 | 2014-15
2015-16 |  | 11835.7 | 11412.5 | 10593.9 | 13384.9302 | 0 | 2015-16
2016-17 |  | 11843.4 | 11363.6 | 10120.4 | 13445.9268 | 0 | 2016-17
2017-18 |  | 11867 | 11240.1 | 10042.9 | 13529.3877 | 0 | 2017-18
2018-19 |  | 11859.6 | 11096.5 | 9872 | 13531.0872 | 0 | 2018-19
2019-20 |  | 11746.6 | 10830.2 | 9556.2 | 13545.7138 | 0 | 2019-20
2020-21 |  | 11771.9 | 10708.1 | 9323.1 | 13544.7394 | 0 | 2020-21
2021-22 |  | 11940.5 | 10776.5 | 9234.9 | 13560.7184 | 0 | 2021-22
2022-23 |  | 12081.9 | 10799.9 | 9128.1 | 13535.1522 | 0 | 2022-23
2023-24 |  | 12218.3 | 10838.5 | 9066.7 | 13529.78 | 0 | 2023-24
2024-25 |  | 12342.2 | 10870.1 | 9013.1 | 13554.5022 | 0 | 2024-25
2025-26 |  | 12492.5 | 10949.2 | 9015.9 | 13564.1692 | 0 | 2025-26
2026-27 |  | 12744 | 11132.7 | 9091.3 | 13587.2888 | 0 | 2026-27
2027-28 |  | 12863.3 | 11194.1 | 9078.1 | 13586.4729 | 0 | 2027-28
2028-29 |  | 13005.8 | 11268.3 | 8977.1 | 13603.3336 | 0 | 2028-29
2029-30 |  | 13153.8 | 11351.5 | 8611.8 | 13598.8615 | 0 | 2029-30
2030-31 |  | 13152.6 | 11273.4 | 8527.8 | 13604.6947 | 0 | 2030-31
2031-32 |  | 13249.9 | 11278.8 | 8511.3 | 13609.6872 | 0 | 2031-32
2032-33 |  | 13337.9 | 11273.7 | 8462.6
2033-34 |  | 13408.8 | 11293.6 | 8437
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -4.19%
2013-14 to 2016-17 |  | 0.3987% | -0.9758% | -4.727%
2016-17 to 2023-24 |  | 0.4462% | -0.6736% | -1.558%
2013-14 to 2023-24 |  | 0.4319% | -0.7644% | -2.52%
2014 NEFR UPDATE: AUXILIARY LOADS ANNUAL ENERGY
NEM

## NAT
2012
Financial Year | Actual | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 190484.3858
2006-07 | 193977.2657
2007-08 | 195324.0538
2008-09 | 197216.7613
2009-10 | 197719.4211
2010-11 | 195610.9253
2011-12 | 191989.1293
2012-13 | 187525.3151 |  |  |  | 188017.6431 | 0 | 2012-13
2013-14 | 184422.2459 |  |  |  | 189724.6718 | 0 | 2013-14
2014-15 |  | 184663.2941 | 180337.2371 | 175430.9712 | 192204.659 | 0 | 2014-15
2015-16 |  | 189859.85 | 183245.9522 | 171715.6229 | 195497.9357 | 0 | 2015-16
2016-17 |  | 194485.3732 | 186637.5851 | 166932.5121 | 197871.7919 | 0 | 2016-17
2017-18 |  | 198203.1966 | 187819.3458 | 168361.69 | 200170.3245 | 0 | 2017-18
2018-19 |  | 200753.4496 | 187980.1806 | 167747.9392 | 200641.4937 | 0 | 2018-19
2019-20 |  | 203619.7083 | 188011.562 | 166407.8578 | 201099.1358 | 0 | 2019-20
2020-21 |  | 206809.052 | 188555.0914 | 164540.0978 | 202515.999 | 0 | 2020-21
2021-22 |  | 209076.9367 | 189154.3626 | 162374.3351 | 203193.5375 | 0 | 2021-22
2022-23 |  | 211324.0555 | 189404.3015 | 160353.6161 | 203389.962 | 0 | 2022-23
2023-24 |  | 213406.2789 | 189802.7246 | 159026.1138 | 203437.0349 | 0 | 2023-24
2024-25 |  | 215495.5513 | 190303.1298 | 158021.3578 | 204126.6176 | 0 | 2024-25
2025-26 |  | 217669.7823 | 191287.7976 | 157714.0621 | 204825.2406 | 0 | 2025-26
2026-27 |  | 219351.0803 | 192173.9444 | 156060.9018 | 205666.8242 | 0 | 2026-27
2027-28 |  | 221408.394 | 193251.2635 | 155839.0402 | 206502.2472 | 0 | 2027-28
2028-29 |  | 223770.8863 | 194439.5223 | 153714.739 | 207051.7099 | 0 | 2028-29
2029-30 |  | 226267.0389 | 195853.8617 | 147604.9217 | 207360.7236 | 0 | 2029-30
2030-31 |  | 228264.4839 | 196219.7129 | 147615.6183 | 207615.7327 | 0 | 2030-31
2031-32 |  | 229994.3916 | 196417.3272 | 147366.2324 | 207886.3353 | 0 | 2031-32
2032-33 |  | 231896.5667 | 196608.4291 | 146759.3671
2033-34 |  | 233396.1906 | 197062.3985 | 146417.437
Growth Rates (annualised average) | Actual | High | Medium | Low
2009-10 to 2013-14 | -1.725%
2013-14 to 2016-17 |  | 1.787% | 0.3988% | -3.267%
2016-17 to 2023-24 |  | 1.335% | 0.2405% | -0.6908%
2013-14 to 2023-24 |  | 1.47% | 0.288% | -1.471%
2014 NEFR UPDATE: NATIVE ANNUAL ENERGY
NEM

## Breakdown
2014 NEFR Update native annual energy forecasts breakdown (GWh) - NEM
Financial year | Customer sales | Transmission network losses | Native annual energy (sent-out basis) | Auxiliary energy use | Native annual energy (as-generated basis)
Actual
2005-06 | 185053.6912 | 5430.6946 | 190484.3858 | 13179.3555 | 203663.7414
2006-07 | 188655.2626 | 5322.0031 | 193977.2657 | 13153.8947 | 207131.1604
2007-08 | 190022.6938 | 5301.36 | 195324.0538 | 13598.6121 | 208922.6659
2008-09 | 191960.2089 | 5256.5524 | 197216.7613 | 14242.9349 | 211459.6962
2009-10 | 192226.5682 | 5492.8529 | 197719.4211 | 13888.5467 | 211607.9677
2010-11 | 190459.1207 | 5151.8046 | 195610.9253 | 13658.4823 | 209269.4076
2011-12 | 186928.6578 | 5060.4715 | 191989.1293 | 13196.7805 | 205185.9098
2012-13 | 182772.4239 | 4752.8913 | 187525.3151 | 12453.5012 | 199978.8163
2013-14 | 179727.3132 | 4694.9327 | 184422.2459 | 11702.8681 | 196125.114
Low
2014-15 | 170797.5712 | 4630.9 | 175428.4712 | 11369.2 | 186797.6712
2015-16 | 167186.4229 | 4524.5 | 171710.9229 | 10593.5 | 182304.4229
2016-17 | 162521.4121 | 4405.3 | 166926.7121 | 10120 | 177046.7121
2017-18 | 163905.99 | 4449.4 | 168355.39 | 10042.5 | 178397.89
2018-19 | 163308.3392 | 4433.4 | 167741.7392 | 9871.6 | 177613.3392
2019-20 | 162004.1578 | 4396.4 | 166400.5578 | 9555.7 | 175956.2578
2020-21 | 160186.8978 | 4346.1 | 164532.9978 | 9322.6 | 173855.5978
2021-22 | 158078.6351 | 4287.6 | 162366.2351 | 9234.3 | 171600.5351
2022-23 | 156113.2161 | 4233 | 160346.2161 | 9127.6 | 169473.8161
2023-24 | 154821.7138 | 4197.5 | 159019.2138 | 9066.3 | 168085.5138
2024-25 | 153843.5578 | 4171.2 | 158014.7578 | 9012.7 | 167027.4578
2025-26 | 153544.8621 | 4162.8 | 157707.6621 | 9015.5 | 166723.1621
2026-27 | 151943.1018 | 4111.8 | 156054.9018 | 9090.9 | 165145.8018
2027-28 | 151727.6402 | 4105.5 | 155833.1402 | 9077.7 | 164910.8402
2028-29 | 149656.039 | 4052.8 | 153708.839 | 8976.7 | 162685.539
2029-30 | 143717.5217 | 3881.6 | 147599.1217 | 8611.4 | 156210.5217
2030-31 | 143727.7183 | 3882.2 | 147609.9183 | 8527.4 | 156137.3183
2031-32 | 143484.9324 | 3875.1 | 147360.0324 | 8510.9 | 155870.9324
2032-33 | 142895.6671 | 3858 | 146753.6671 | 8462.3 | 155215.9671
2033-34 | 142563.437 | 3848.9 | 146412.337 | 8436.7 | 154849.037
Medium
2014-15 | 175567.9371 | 4769.3 | 180337.2371 | 11695.6 | 192032.8371
2015-16 | 178390.5522 | 4855.4 | 183245.9522 | 11412.5 | 194658.4522
2016-17 | 181682.1851 | 4955.4 | 186637.5851 | 11363.6 | 198001.1851
2017-18 | 182829.1458 | 4990.2 | 187819.3458 | 11240.1 | 199059.4458
2018-19 | 182985.9806 | 4994.2 | 187980.1806 | 11096.5 | 199076.6806
2019-20 | 183016.862 | 4994.7 | 188011.562 | 10830.2 | 198841.762
2020-21 | 183545.6914 | 5009.4 | 188555.0914 | 10708.1 | 199263.1914
2021-22 | 184128.7626 | 5025.6 | 189154.3626 | 10776.5 | 199930.8626
2022-23 | 184372.3015 | 5032 | 189404.3015 | 10799.9 | 200204.2015
2023-24 | 184760.1246 | 5042.6 | 189802.7246 | 10838.5 | 200641.2246
2024-25 | 185246.7298 | 5056.4 | 190303.1298 | 10870.1 | 201173.2298
2025-26 | 186205.2976 | 5082.5 | 191287.7976 | 10949.2 | 202236.9976
2026-27 | 187068.1444 | 5105.8 | 192173.9444 | 11132.7 | 203306.6444
2027-28 | 188117.0635 | 5134.2 | 193251.2635 | 11194.1 | 204445.3635
2028-29 | 189273.8223 | 5165.7 | 194439.5223 | 11268.3 | 205707.8223
2029-30 | 190649.9617 | 5203.9 | 195853.8617 | 11351.5 | 207205.3617
2030-31 | 191005.8129 | 5213.9 | 196219.7129 | 11273.4 | 207493.1129
2031-32 | 191198.7272 | 5218.6 | 196417.3272 | 11278.8 | 207696.1272
2032-33 | 191385.5291 | 5222.9 | 196608.4291 | 11273.7 | 207882.1291
2033-34 | 191827.6985 | 5234.7 | 197062.3985 | 11293.6 | 208355.9985
High
2014-15 | 179786.2941 | 4877.4 | 184663.6941 | 11987.7 | 196651.3941
2015-16 | 184832.55 | 5028 | 189860.55 | 11835.7 | 201696.25
2016-17 | 189326.8732 | 5159.4 | 194486.2732 | 11843.5 | 206329.7732
2017-18 | 192951.5966 | 5252.4 | 198203.9966 | 11867.1 | 210071.0966
2018-19 | 195432.7496 | 5321.6 | 200754.3496 | 11859.7 | 212614.0496
2019-20 | 198219.6083 | 5400.9 | 203620.5083 | 11746.7 | 215367.2083
2020-21 | 201319.252 | 5490.7 | 206809.952 | 11771.9 | 218581.852
2021-22 | 203525.3367 | 5552.5 | 209077.8367 | 11940.5 | 221018.3367
2022-23 | 205712.0555 | 5612.9 | 211324.9555 | 12082 | 223406.9555
2023-24 | 207738.0789 | 5669.2 | 213407.2789 | 12218.3 | 225625.5789
2024-25 | 209770.6513 | 5725.8 | 215496.4513 | 12342.2 | 227838.6513
2025-26 | 211886.7823 | 5784 | 217670.7823 | 12492.6 | 230163.3823
2026-27 | 213524.0803 | 5828 | 219352.0803 | 12744.1 | 232096.1803
2027-28 | 215526.194 | 5883.2 | 221409.394 | 12863.4 | 234272.794
2028-29 | 217825.4863 | 5946.4 | 223771.8863 | 13005.8 | 236777.6863
2029-30 | 220253.9389 | 6014 | 226267.9389 | 13153.9 | 239421.8389
2030-31 | 222197.6839 | 6067.7 | 228265.3839 | 13152.6 | 241417.9839
2031-32 | 223881.7916 | 6113.7 | 229995.4916 | 13250 | 243245.4916
2032-33 | 225733.4667 | 6164.1 | 231897.5667 | 13338 | 245235.5667
2033-34 | 227193.3906 | 6203.8 | 233397.1906 | 13408.8 | 246805.9906

## NEFR 2013
2013 and 2014 NEFR native annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2013 and 2014 NEFR rooftop PV forecasts comparison - NEM | [7 empty] | 2013 and 2014 NEFR energy efficiency forecasts comparison - NEM
Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  | Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  | Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR
|  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth) |  |  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth) |  |  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 190484.3858 | [6 empty] | 2005-06 | 19.5846 | [6 empty] | 2005-06 | 0
2006-07 | 193977.2657 | [6 empty] | 2006-07 | 21.6734 | [6 empty] | 2006-07 | 0
2007-08 | 195324.0538 | [6 empty] | 2007-08 | 28.7808 | [6 empty] | 2007-08 | 0
2008-09 | 197216.7613 | [6 empty] | 2008-09 | 54.3025 | [6 empty] | 2008-09 | 0
2009-10 | 197719.4211 | [6 empty] | 2009-10 | 163.2982 | [6 empty] | 2009-10 | 0
2010-11 | 195610.9253 | [6 empty] | 2010-11 | 686.6802 | [6 empty] | 2010-11 | 0
2011-12 | 191989.1293 | [6 empty] | 2011-12 | 1697.8895 | [6 empty] | 2011-12 | 0
2012-13 | 187525.3151 | [6 empty] | 2012-13 | 2913.4739 | [6 empty] | 2012-13 | 0
2013-14 (estimate) | 184387.5063 |  |  |  | 192246.8434 | 189770.1531 | 185588.2953 | 2013-14 (estimate) | 3951.1747 |  |  |  | 3261 | 3261 | 3261 | 2013-14 (estimate) | 607.5976 |  |  |  | 3242 | 3242 | 3242
2014-15 |  | 183877 | 179108.2 | 172940.8 | 199105.7882 | 195549.8667 | 188190.4693 | 2014-15 |  | 4881.8 | 5062.1 | 5071 | 3634 | 3634 | 3634 | 2014-15 |  | 0 | 3131.8 | 4102.9 | 4364 | 4364 | 4364
2015-16 |  | 190129.5 | 183580.3 | 170508.6 | 204035.7121 | 199727.2002 | 191158.1092 | 2015-16 |  | 5761.7 | 6234.5 | 6253.8 | 4021 | 4021 | 4021 | 2015-16 |  | 0 | 3953 | 5123.4 | 5771 | 5771 | 5771
2016-17 |  | 194443.8 | 186868.1 | 165725.4 | 208401.0153 | 202462.9847 | 192652.3969 | 2016-17 |  | 6670.6 | 7454.5 | 7490.9 | 4452 | 4452 | 4452 | 2016-17 |  | 0 | 4893.4 | 5977.9 | 6831 | 6831 | 6831
2017-18 |  | 197467.1 | 187338.2 | 166838.8 | 211066.7105 | 204256.4728 | 193782.1697 | 2017-18 |  | 7507.7 | 8663.2 | 8750.3 | 4934 | 4934 | 4934 | 2017-18 |  | 0 | 6293.4 | 7572.1 | 8048 | 8048 | 8048
2018-19 |  | 199968.2 | 187418.2 | 166136.8 | 214216.8506 | 206667.5709 | 195367.2296 | 2018-19 |  | 8270.9 | 9752.2 | 10025.7 | 5482 | 5482 | 5482 | 2018-19 |  | 0 | 7746.5 | 9496.7 | 9255 | 9255 | 9255
2019-20 |  | 202789.3 | 187438.2 | 164830.6 | 216586.9133 | 208878.4154 | 196599.7636 | 2019-20 |  | 8995.6 | 10734.3 | 11243.9 | 6102 | 6102 | 6102 | 2019-20 |  | 0 | 9223.7 | 11450.3 | 10464 | 10464 | 10464
2020-21 |  | 205931.1 | 188000.7 | 163007.6 | 219026.314 | 211090.0519 | 197733.8835 | 2020-21 |  | 9687.3 | 11641.9 | 12342.6 | 6795 | 6795 | 6795 | 2020-21 |  | 0 | 10253.9 | 12951.8 | 11030 | 11030 | 11030
2021-22 |  | 208189.8 | 188609.7 | 160901.4 | 221145.4476 | 212668.5321 | 198437.4945 | 2021-22 |  | 10351.7 | 12500.6 | 13363.1 | 7433 | 7433 | 7433 | 2021-22 |  | 0 | 11131.2 | 14211.4 | 11358 | 11358 | 11358
2022-23 |  | 210428.5 | 188864.7 | 158938 | 222723.2338 | 213596.3219 | 198578.8359 | 2022-23 |  | 10994 | 13323.8 | 14327.7 | 8097 | 8097 | 8097 | 2022-23 |  | 0 | 12239.1 | 15795.2 | 11874 | 11874 | 11874
2023-24 |  | 212503.5 | 189262.6 | 157617.2 | 224625.024 | 214849.1021 | 198925.6621 | 2023-24 |  | 11619.3 | 14114.1 | 15247.2 | 8803 | 8803 | 8803 | 2023-24 |  | 0 | 13188.8 | 17217.7 | 12313 | 12313 | 12313
2013 and 2014 NEFR operational annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2013 and 2014 NEFR SNSG forecasts comparison - NEM | [7 empty] | Residential and Commercial per Capita
Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  | Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  | Financial Year | Medium
|  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth) |  |  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 189628.2377 | [6 empty] | 2005-06 | 856.1481 | [6 empty] | 2005-06 | 7956.5813
2006-07 | 192488.1849 | [6 empty] | 2006-07 | 1489.0808 | [6 empty] | 2006-07 | 7824.471
2007-08 | 193688.2589 | [6 empty] | 2007-08 | 1635.7949 | [6 empty] | 2007-08 | 7780.5426
2008-09 | 194971.9726 | [6 empty] | 2008-09 | 2244.7887 | [6 empty] | 2008-09 | 7598.7306
2009-10 | 194852.3388 | [6 empty] | 2009-10 | 2867.0822 | [6 empty] | 2009-10 | 7448.7734
2010-11 | 192844.2512 | [6 empty] | 2010-11 | 2766.6741 | [6 empty] | 2010-11 | 7177.1069
2011-12 | 189109.123 | [6 empty] | 2011-12 | 2880.0063 | [6 empty] | 2011-12 | 6925.8837
2012-13 | 184647.0353 | [6 empty] | 2012-13 | 2878.2798 | [6 empty] | 2012-13 | 6687.8441
2013-14 (estimate) | 181238.5084 |  |  |  | 189080.1142 | 186603.424 | 182502.0418 | 2013-14 (estimate) | 3148.9979 |  |  |  | 3167 | 3167 | 3086 | 2013-14 (estimate) | 6427.7403
2014-15 |  | 180175.5 | 175691.9 | 169606.2 | 195689.7678 | 192383.1376 | 185104.2158 | 2014-15 |  | 3701.5 | 3416.3 | 3334.6 | 3416 | 3167 | 3086 | 2014-15 | 6216.2408
2015-16 |  | 186428 | 180164 | 167174 | 200619.6917 | 196560.471 | 188071.8557 | 2015-16 |  | 3701.5 | 3416.3 | 3334.6 | 3416 | 3167 | 3086 | 2015-16 | 6123.2534
2016-17 |  | 190742.3 | 183451.8 | 162390.8 | 204921.1596 | 199296.2556 | 189566.1433 | 2016-17 |  | 3701.5 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2016-17 | 6036.8335
2017-18 |  | 193383.9 | 183921.9 | 163504.2 | 207586.8549 | 201089.7436 | 190695.9162 | 2017-18 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2017-18 | 5946.5567
2018-19 |  | 195885 | 184001.9 | 162802.2 | 210736.9949 | 203500.8417 | 192280.976 | 2018-19 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2018-19 | 5855.7405
2019-20 |  | 198706.1 | 184021.9 | 161496 | 213107.0576 | 205711.6862 | 193513.5101 | 2019-20 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2019-20 | 5774.0567
2020-21 |  | 201847.9 | 184584.4 | 159673 | 215546.4584 | 207923.3228 | 194647.6299 | 2020-21 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2020-21 | 5723.1789
2021-22 |  | 204106.6 | 185193.4 | 157566.8 | 217665.5919 | 209501.8029 | 195351.2409 | 2021-22 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2021-22 | 5671.6783
2022-23 |  | 206345.3 | 185448.4 | 155603.4 | 219243.3782 | 210429.5927 | 195492.5823 | 2022-23 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2022-23 | 5607.8888
2023-24 |  | 208420.3 | 185846.3 | 154282.6 | 221145.1684 | 211682.3729 | 195839.4086 | 2023-24 |  | 4083.2 | 3416.3 | 3334.6 | 3480 | 3167 | 3086 | 2023-24 | 5557.8845
2013 and 2014 NEFR Residential and Commercial annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2013 and 2014 NEFR transmission losses annual energy forecasts comparison (GWh) - NEM
Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  |  | Actual | 2014 NEFR |  |  | 2013 NEFR
|  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth) | Financial Year |  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 143800.488 | [7 empty] | 5430.6946
2006-07 | 143556.2345 | [6 empty] | 2006-07 | 5322.0031
2007-08 | 145341.1699 | [6 empty] | 2007-08 | 5301.36
2008-09 | 144670.1111 | [6 empty] | 2008-09 | 5256.5524
2009-10 | 144247.6279 | [6 empty] | 2009-10 | 5492.8529
2010-11 | 140887.6061 | [6 empty] | 2010-11 | 5151.8046
2011-12 | 137830.5539 | [6 empty] | 2011-12 | 5060.4715
2012-13 | 135162.827 | [6 empty] | 2012-13 | 4752.8913
2013-14 (estimate) | 131984.5911 |  |  |  | 146233.4853 | 144958.2104 | 143518.8663 | 2013-14 (estimate) | 4754.9406 |  |  |  | 5373.7982 | 5302.541 | 5180.1826
2014-15 |  | 133096.3 | 129683 | 128818.1 | 148107.4829 | 146031.3511 | 143763.5512 | 2014-15 |  | 4847.9 | 4726.4 | 4550.9 | 5598.533 | 5494.4945 | 5277.5395
2015-16 |  | 134400.8 | 129772.6 | 128561.2 | 149692.1874 | 147066.5231 | 143948.6813 | 2015-16 |  | 5032.9 | 4862.1 | 4483.4 | 5761.1914 | 5634.0542 | 5380.7573
2016-17 |  | 135908.9 | 129938 | 128524.6 | 151727.7604 | 148691.7085 | 144888.007 | 2016-17 |  | 5156.2 | 4960.6 | 4371.8 | 5899.6236 | 5721.1464 | 5432.6708
2017-18 |  | 137839.9 | 129949.3 | 128118 | 153823.9042 | 150504.316 | 146039.0146 | 2017-18 |  | 5228.1 | 4974.3 | 4407.3 | 5980.5071 | 5774.2142 | 5466.8373
2018-19 |  | 139715.2 | 129867.5 | 127194.6 | 156293.1131 | 152790.8248 | 147505.4599 | 2018-19 |  | 5296.1 | 4976.1 | 4388.8 | 6074.7535 | 5844.367 | 5513.6329
2019-20 |  | 141615.3 | 129910.3 | 126005.1 | 158517.2207 | 154809.6575 | 148598.208 | 2019-20 |  | 5374.9 | 4976.4 | 4352.9 | 6145.3094 | 5910.0675 | 5551.2181
2020-21 |  | 143557.1 | 130579.1 | 124442 | 160655.8896 | 156699.6871 | 149542.2072 | 2020-21 |  | 5464.2 | 4991.8 | 4304.3 | 6219.7569 | 5977.7002 | 5587.0779
2021-22 |  | 145604.2 | 131178.8 | 122469.6 | 162677.0096 | 158280.3854 | 150284.222 | 2021-22 |  | 5526.2 | 5008.6 | 4248.3 | 6282.9966 | 6024.5275 | 5608.1234
2022-23 |  | 147742.6 | 131440.4 | 120650.3 | 164140.3358 | 159117.3594 | 150373.0933 | 2022-23 |  | 5586.6 | 5015.5 | 4195.6 | 6331.2597 | 6053.1171 | 5614.1335
2023-24 |  | 149953.4 | 131970.4 | 119543.5 | 165937.6848 | 160291.0692 | 150682.9848 | 2023-24 |  | 5643 | 5026.2 | 4160.4 | 6389.6471 | 6091.6473 | 5626.5895
2013 and 2014 NEFR industrial annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2013 and 2014 NEFR auxiliary loads annual energy forecasts comparison (GWh) - NEM
Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR |  |  | Financial Year | Actual | 2014 NEFR |  |  | 2013 NEFR
|  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth) |  |  | High | Medium | Low | High (Scenario 2, Fast World Recovery) | Medium (Scenario 3, Planning) | Low (Scenario 6, Slow Growth)
2005-06 | 40397.0551 | [6 empty] | 2005-06 | 13179.3555
2006-07 | 43609.9473 | [6 empty] | 2006-07 | 13153.8947
2007-08 | 43045.7289 | [6 empty] | 2007-08 | 13598.6121
2008-09 | 45045.3091 | [6 empty] | 2008-09 | 14242.9349
2009-10 | 45111.858 | [6 empty] | 2009-10 | 13888.5467
2010-11 | 46804.8405 | [6 empty] | 2010-11 | 13658.4823
2011-12 | 46218.0976 | [6 empty] | 2011-12 | 13196.7805
2012-13 | 44731.317 | [6 empty] | 2012-13 | 12453.5012
2013-14 (estimate) | 44498.9767 |  |  |  | 40639.5599 | 39509.4018 | 36889.2464 | 2013-14 (estimate) | 11502.4869 |  |  |  | 12884.5364 | 12717.8433 | 12392.8757
2014-15 |  | 42231.3 | 41282.5 | 36237.2 | 45399.7723 | 44024.0211 | 39149.3786 | 2014-15 |  | 11934.1 | 11613.1 | 11257.9 | 13417.8728 | 13170.3863 | 12584.1021
2015-16 |  | 46994.3 | 45529.3 | 34129.4 | 48582.3333 | 47026.6229 | 41828.6706 | 2015-16 |  | 11860.9 | 11437.5 | 10574.4 | 12893.7253 | 12608.0317 | 12009.6654
2016-17 |  | 49677.2 | 48553.2 | 29494.4 | 50773.6313 | 48050.1299 | 42331.7191 | 2016-17 |  | 11846.8 | 11381.3 | 10112.2 | 12879.1409 | 12483.0986 | 11831.5406
2017-18 |  | 50315.9 | 48998.3 | 30978.9 | 51262.2992 | 47977.9426 | 42276.3178 | 2017-18 |  | 11818.9 | 11207.2 | 10011.8 | 12753.7447 | 12308.2205 | 11622.6649
2018-19 |  | 50873.7 | 49158.3 | 31218.8 | 51848.984 | 48032.379 | 42348.1368 | 2018-19 |  | 11807.3 | 11058.5 | 9834.1 | 12928.1707 | 12429.644 | 11696.8172
2019-20 |  | 51715.9 | 49135.2 | 31138 | 51924.3831 | 48158.6903 | 42450.3376 | 2019-20 |  | 11692.9 | 10792.3 | 9520.4 | 12457.5635 | 11964.4301 | 11227.1856
2020-21 |  | 52826.6 | 49013.5 | 30926.7 | 52150.6675 | 48412.6647 | 42604.5983 | 2020-21 |  | 11719.3 | 10672.4 | 9290.6 | 12618.2156 | 12110.6635 | 11307.5524
2021-22 |  | 52976.2 | 49006 | 30848.9 | 52185.4414 | 48363.6191 | 42545.1491 | 2021-22 |  | 11888.1 | 10742 | 9205.6 | 12754.2967 | 12211.7034 | 11355.1284
2022-23 |  | 53016.1 | 48992.5 | 30757.5 | 52251.6383 | 48425.8454 | 42591.6091 | 2022-23 |  | 12029 | 10765.5 | 9099.4 | 12858.0428 | 12273.9549 | 11371.1221
2023-24 |  | 52823.9 | 48849.7 | 30578.7 | 52297.6922 | 48466.3856 | 42616.0878 | 2023-24 |  | 12164.7 | 10803.9 | 9038 | 12986.0528 | 12359.7791 | 11403.0092

## NEFR 2014
2014 NEFR and 2014 NEFR Update native annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2014 NEFR and 2014 NEFR Update rooftop PV forecasts comparison - NEM | [7 empty] | 2014 NEFR and 2014 NEFR Update energy efficiency forecasts comparison - NEM
Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR
|  | High | Medium | Low | High | Medium | Low |  |  | High | Medium | Low | High | Medium | Low |  |  | High | Medium | Low | High | Medium | Low
2005-06 | 190484.3858 | [6 empty] | 2005-06 | 19.5846 | [6 empty] | 2005-06 | 0
2006-07 | 193977.2657 | [6 empty] | 2006-07 | 21.6734 | [6 empty] | 2006-07 | 0
2007-08 | 195324.0538 | [6 empty] | 2007-08 | 28.7808 | [6 empty] | 2007-08 | 0
2008-09 | 197216.7613 | [6 empty] | 2008-09 | 54.3025 | [6 empty] | 2008-09 | 0
2009-10 | 197719.4211 | [6 empty] | 2009-10 | 163.2982 | [6 empty] | 2009-10 | 0
2010-11 | 195610.9253 | [6 empty] | 2010-11 | 686.6802 | [6 empty] | 2010-11 | 0
2011-12 | 191989.1293 | [6 empty] | 2011-12 | 1697.8895 | [6 empty] | 2011-12 | 0
2012-13 | 187525.3151 | [6 empty] | 2012-13 | 2913.4739 | [6 empty] | 2012-13 | 0
2013-14 | 184422.2459 | [6 empty] | 2013-14 | 3897.0537 | [6 empty] | 2013-14 | 0
2014-15 |  | 184663.2941 | 180337.2371 | 175430.9712 | 183877 | 179108.2 | 172940.8 | 2014-15 |  | 4722.5403 | 4872.3109 | 4878.8668 | 4881.8 | 5062.1 | 5071 | 2014-15 |  | 0 | 2897.525 | 3792.675 | 0 | 3131.8 | 4102.9
2015-16 |  | 189859.85 | 183245.9522 | 171715.6229 | 190129.5 | 183580.3 | 170508.6 | 2015-16 |  | 5594.8208 | 6029.5268 | 6044.4002 | 5761.7 | 6234.5 | 6253.8 | 2015-16 |  | 0 | 3953 | 5123.4 | 0 | 3953 | 5123.4
2016-17 |  | 194485.3732 | 186637.5851 | 166932.5121 | 194443.8 | 186868.1 | 165725.4 | 2016-17 |  | 6509.8771 | 7237.4787 | 7266.665 | 6670.6 | 7454.5 | 7490.9 | 2016-17 |  | 0 | 4893.4 | 5977.9 | 0 | 4893.4 | 5977.9
2017-18 |  | 198203.1966 | 187819.3458 | 168361.69 | 197467.1 | 187338.2 | 166838.8 | 2017-18 |  | 7376.4603 | 8447.5443 | 8510.9324 | 7507.7 | 8663.2 | 8750.3 | 2017-18 |  | 0 | 6293.4 | 7572.1 | 0 | 6293.4 | 7572.1
2018-19 |  | 200753.4496 | 187980.1806 | 167747.9392 | 199968.2 | 187418.2 | 166136.8 | 2018-19 |  | 8158.9969 | 9574.6142 | 9775.3558 | 8270.9 | 9752.2 | 10025.7 | 2018-19 |  | 0 | 7746.5 | 9496.7 | 0 | 7746.5 | 9496.7
2019-20 |  | 203619.7083 | 188011.562 | 166407.8578 | 202789.3 | 187438.2 | 164830.6 | 2019-20 |  | 8897.0924 | 10583.9309 | 11030.7604 | 8995.6 | 10734.3 | 11243.9 | 2019-20 |  | 0 | 9223.7 | 11450.3 | 0 | 9223.7 | 11450.3
2020-21 |  | 206809.052 | 188555.0914 | 164540.0978 | 205931.1 | 188000.7 | 163007.6 | 2020-21 |  | 9598.4865 | 11510.202 | 12168.9845 | 9687.3 | 11641.9 | 12342.6 | 2020-21 |  | 0 | 10253.9 | 12951.8 | 0 | 10253.9 | 12951.8
2021-22 |  | 209076.9367 | 189154.3626 | 162374.3351 | 208189.8 | 188609.7 | 160901.4 | 2021-22 |  | 10270.0222 | 12382.5218 | 13216.4872 | 10351.7 | 12500.6 | 13363.1 | 2021-22 |  | 0 | 11131.2 | 14211.4 | 0 | 11131.2 | 14211.4
2022-23 |  | 211324.0555 | 189404.3015 | 160353.6161 | 210428.5 | 188864.7 | 158938 | 2022-23 |  | 10917.8386 | 13216.265 | 14200.7928 | 10994 | 13323.8 | 14327.7 | 2022-23 |  | 0 | 12239.1 | 15795.2 | 0 | 12239.1 | 15795.2
2023-24 |  | 213406.2789 | 189802.7246 | 159026.1138 | 212503.5 | 189262.6 | 157617.2 | 2023-24 |  | 11547.5475 | 14014.8862 | 15135.2907 | 11619.3 | 14114.1 | 15247.2 | 2023-24 |  | 0 | 13188.8 | 17217.7 | 0 | 13188.8 | 17217.7
2014 NEFR and 2014 NEFR Update operational annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2014 NEFR and 2014 NEFR Update SNSG forecasts comparison - NEM | [7 empty] | Residential and Commercial per Capita
Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Medium
|  | High | Medium | Low | High | Medium | Low |  |  | High | Medium | Low | High | Medium | Low
2005-06 | 189628.2377 | [6 empty] | 2005-06 | 856.1481 | [6 empty] | 2005-06 | 7956.5813
2006-07 | 192488.1849 | [6 empty] | 2006-07 | 1489.0808 | [6 empty] | 2006-07 | 7824.471
2007-08 | 193688.2589 | [6 empty] | 2007-08 | 1635.7949 | [6 empty] | 2007-08 | 7780.5426
2008-09 | 194971.9726 | [6 empty] | 2008-09 | 2244.7887 | [6 empty] | 2008-09 | 7598.7306
2009-10 | 194852.3388 | [6 empty] | 2009-10 | 2867.0822 | [6 empty] | 2009-10 | 7448.7734
2010-11 | 192844.2512 | [6 empty] | 2010-11 | 2766.6741 | [6 empty] | 2010-11 | 7177.1069
2011-12 | 189109.123 | [6 empty] | 2011-12 | 2880.0063 | [6 empty] | 2011-12 | 6925.8837
2012-13 | 184647.0353 | [6 empty] | 2012-13 | 2878.2798 | [6 empty] | 2012-13 | 6687.8441
2013-14 | 181248.4518 | [6 empty] | 2013-14 | 3173.7941 | [6 empty] | 2013-14 | 6432.289
2014-15 |  | 180904.1548 | 176863.2625 | 172038.7319 | 180175.5 | 175691.9 | 169606.2 | 2014-15 |  | 3759.1746 | 3473.9746 | 3392.2746 | 3701.5 | 3416.3 | 3334.6 | 2014-15 | 6235.6116
2015-16 |  | 186100.6107 | 179771.9776 | 168323.2835 | 186428 | 180164 | 167174 | 2015-16 |  | 3759.1746 | 3473.9746 | 3392.2746 | 3701.5 | 3416.3 | 3334.6 | 2015-16 | 6134.3103
2016-17 |  | 190726.1339 | 183163.6105 | 163540.2728 | 190742.3 | 183451.8 | 162390.8 | 2016-17 |  | 3759.1746 | 3473.9746 | 3392.2746 | 3701.5 | 3416.3 | 3334.6 | 2016-17 | 6048.0749
2017-18 |  | 194062.2642 | 184345.4064 | 164969.3507 | 193383.9 | 183921.9 | 163504.2 | 2017-18 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2017-18 | 5955.7415
2018-19 |  | 196612.6172 | 184506.2412 | 164355.5999 | 195885 | 184001.9 | 162802.2 | 2018-19 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2018-19 | 5862.4846
2019-20 |  | 199478.7759 | 184537.6227 | 163015.5185 | 198706.1 | 184021.9 | 161496 | 2019-20 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2019-20 | 5779.5471
2020-21 |  | 202668.2196 | 185081.1521 | 161147.8585 | 201847.9 | 184584.4 | 159673 | 2020-21 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2020-21 | 5727.5716
2021-22 |  | 204936.1043 | 185680.4233 | 158982.0958 | 204106.6 | 185193.4 | 157566.8 | 2021-22 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2021-22 | 5675.894
2022-23 |  | 207183.223 | 185930.2622 | 156961.3768 | 206345.3 | 185448.4 | 155603.4 | 2022-23 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2022-23 | 5611.4407
2023-24 |  | 209265.4464 | 186328.7853 | 155633.8745 | 208420.3 | 185846.3 | 154282.6 | 2023-24 |  | 4140.8677 | 3473.9746 | 3392.2746 | 4083.2 | 3416.3 | 3334.6 | 2023-24 | 5561.1612
2014 NEFR and 2014 NEFR Update Residential and Commercial annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2014 NEFR and 2014 NEFR Update transmission losses annual energy forecasts comparison (GWh) - NEM
Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR
|  | High | Medium | Low | High | Medium | Low |  |  | High | Medium | Low | High | Medium | Low
2005-06 | 143800.488 | [6 empty] | 2005-06 | 5430.6946
2006-07 | 143556.2345 | [6 empty] | 2006-07 | 5322.0031
2007-08 | 145341.1699 | [6 empty] | 2007-08 | 5301.36
2008-09 | 144670.1111 | [6 empty] | 2008-09 | 5256.5524
2009-10 | 144247.6279 | [6 empty] | 2009-10 | 5492.8529
2010-11 | 140887.6061 | [6 empty] | 2010-11 | 5151.8046
2011-12 | 137830.5539 | [6 empty] | 2011-12 | 5060.4715
2012-13 | 135162.827 | [6 empty] | 2012-13 | 4752.8913
2013-14 | 132045.729 | [6 empty] | 2013-14 | 4694.9327
2014-15 |  | 133140.3 | 130039.2416 | 129255.6 | 133096.3 | 129683 | 128818.1 | 2014-15 |  | 4877.4 | 4769.3 | 4631 | 4847.9 | 4726.4 | 4550.9
2015-16 |  | 134533.8 | 129958.9349 | 128747.6 | 134400.8 | 129772.6 | 128561.2 | 2015-16 |  | 5028 | 4855.4 | 4524.6 | 5032.9 | 4862.1 | 4483.4
2016-17 |  | 136087.6 | 130131.7449 | 128673.1 | 135908.9 | 129938 | 128524.6 | 2016-17 |  | 5159.4 | 4955.4 | 4405.5 | 5156.2 | 4960.6 | 4371.8
2017-18 |  | 137980 | 130101.6498 | 128218.3 | 137839.9 | 129949.3 | 128118 | 2017-18 |  | 5252.4 | 4990.2 | 4449.6 | 5228.1 | 4974.3 | 4407.3
2018-19 |  | 139839.7 | 129968.6 | 127280.6 | 139715.2 | 129867.5 | 127194.6 | 2018-19 |  | 5321.5 | 4994.2 | 4433.6 | 5296.1 | 4976.1 | 4388.8
2019-20 |  | 141745.7 | 129985.2 | 126025.1 | 141615.3 | 129910.3 | 126005.1 | 2019-20 |  | 5400.9 | 4994.7 | 4396.6 | 5374.9 | 4976.4 | 4352.9
2020-21 |  | 143728.4 | 130630.3 | 124412 | 143557.1 | 130579.1 | 124442 | 2020-21 |  | 5490.7 | 5009.4 | 4346.3 | 5464.2 | 4991.8 | 4304.3
2021-22 |  | 145790.8 | 131226.9 | 122398 | 145604.2 | 131178.8 | 122469.6 | 2021-22 |  | 5552.5 | 5025.6 | 4287.8 | 5526.2 | 5008.6 | 4248.3
2022-23 |  | 147927.5 | 131474 | 120514.8 | 147742.6 | 131440.4 | 120650.3 | 2022-23 |  | 5612.9 | 5032 | 4233.3 | 5586.6 | 5015.5 | 4195.6
2023-24 |  | 150140 | 131998.2 | 119408.7 | 149953.4 | 131970.4 | 119543.5 | 2023-24 |  | 5669.1 | 5042.6 | 4197.8 | 5643 | 5026.2 | 4160.4
2014 NEFR and 2014 NEFR Update industrial annual energy forecasts comparison (GWh) - NEM | [7 empty] | 2014 NEFR and 2014 NEFR Update auxiliary loads annual energy forecasts comparison (GWh) - NEM
Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR |  |  | Financial Year | Actual | 2014 NEFR Update |  |  | 2014 NEFR
|  | High | Medium | Low | High | Medium | Low |  |  | High | Medium | Low | High | Medium | Low
2005-06 | 40397.0551 | [6 empty] | 2005-06 | 13179.3555
2006-07 | 43609.9473 | [6 empty] | 2006-07 | 13153.8947
2007-08 | 43045.7289 | [6 empty] | 2007-08 | 13598.6121
2008-09 | 45045.3091 | [6 empty] | 2008-09 | 14242.9349
2009-10 | 45111.858 | [6 empty] | 2009-10 | 13888.5467
2010-11 | 46804.8405 | [6 empty] | 2010-11 | 13658.4823
2011-12 | 46218.0976 | [6 empty] | 2011-12 | 13196.7805
2012-13 | 44731.317 | [6 empty] | 2012-13 | 12453.5012
2013-14 | 44511.6946 | [6 empty] | 2013-14 | 11702.8681
2014-15 |  | 42886.4717 | 42054.6734 | 38152.0852 | 42231.3 | 41282.5 | 36237.2 | 2014-15 |  | 11987.7 | 11695.6 | 11369.4 | 11934.1 | 11613.1 | 11257.9
2015-16 |  | 46538.7554 | 44957.6043 | 35051.1198 | 46994.3 | 45529.3 | 34129.4 | 2015-16 |  | 11835.7 | 11412.5 | 10593.9 | 11860.9 | 11437.5 | 10574.4
2016-17 |  | 49479.1416 | 48076.4892 | 30461.6971 | 49677.2 | 48553.2 | 29494.4 | 2016-17 |  | 11843.4 | 11363.6 | 10120.4 | 11846.8 | 11381.3 | 10112.2
2017-18 |  | 50829.8642 | 49253.5573 | 32301.4118 | 50315.9 | 48998.3 | 30978.9 | 2017-18 |  | 11867 | 11240.1 | 10042.9 | 11818.9 | 11207.2 | 10011.8
2018-19 |  | 51451.3729 | 49543.4241 | 32641.4989 | 50873.7 | 49158.3 | 31218.8 | 2018-19 |  | 11859.6 | 11096.5 | 9872 | 11807.3 | 11058.5 | 9834.1
2019-20 |  | 52332.2883 | 49557.6069 | 32593.8136 | 51715.9 | 49135.2 | 31138 | 2019-20 |  | 11746.6 | 10830.2 | 9556.2 | 11692.9 | 10792.3 | 9520.4
2020-21 |  | 53449.0653 | 49441.453 | 32389.526 | 52826.6 | 49013.5 | 30926.7 | 2020-21 |  | 11771.9 | 10708.1 | 9323.1 | 11719.3 | 10672.4 | 9290.6
2021-22 |  | 53592.8 | 49427.9038 | 32296.2585 | 52976.2 | 49006 | 30848.9 | 2021-22 |  | 11940.5 | 10776.5 | 9234.9 | 11888.1 | 10742 | 9205.6
2022-23 |  | 53642.8424 | 49424.258 | 32213.229 | 53016.1 | 48992.5 | 30757.5 | 2022-23 |  | 12081.9 | 10799.9 | 9128.1 | 12029 | 10765.5 | 9099.4
2023-24 |  | 53456.3636 | 49287.927 | 32027.3585 | 52823.9 | 48849.7 | 30578.7 | 2023-24 |  | 12218.3 | 10838.5 | 9066.7 | 12164.7 | 10803.9 | 9038