## Sheet1
Key Connection Information (KCI)
Connection Enquiry / Application | [6 empty] | Connection Proponent |  |  | Whole plant | [5 empty] | Individual Generating Unit
TNSP Name | KCI datafile compilation date time stamp | TNSP Connection Enquiry / Application ID | KCI received in / under NER | KCI data – Connection Applicant Notification Date | KCI data – TNSP Validation Date | Corresponding Connection Enquiry / Application Activity Status | Organisation Name | ABN | ACN | Site Name [1] | Site Location Description | Region to be supplied | Maximum power generation (Lower estimate) | Maximum power generation (Upper estimate) | Latest expected forecast completion Date | Energy Conversion Technology Type | Energy Conversion Technology Sub Type (if known) | Number of individual Generating Units [2] (Lower estimate) | Number of individual Generating Units [3] (Upper estimate) | Electricity Generation Technology Type | Maximum power generation (Lower estimate)2 | Maximum power generation (Upper estimate)3 | Nameplate Capacity (Lower estimate) | Nameplate Capacity (Upper estimate) | AEMO KCI ID
TransGrid | 2019-12-20 11:46 | TGCE201218 | New connection enquiry (NER 5.3) | 2019-11-18 | 2019-11-18 | Active | Global Power Generation Australia Pty Ltd | 74 130 542 031 | 130 542 031 | Paling Yards Wind Farm | Oberon | NSW1 | 275 |  |  | Wind Turbine | Onshore | 55 | 55 | Asynchronous |  |  |  |  | N00001
TransGrid | 202109161600 | TGCE21091616009 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-08-27 | 2021-08-27 | Active | Global Power Generation Australia Pty Ltd | 74 130 542 031 | 130 542 031 | Paling Yards Wind Farm | Southern part of Oberon Council, along the Goulburn-Taralga-Oberon Road | NSW1 |  | 290 | 2024-06-30 | Wind Turbine | Onshore |  | 47 | Asynchronous |  | 6.2 |  |  | N00001
TransGrid | 2020-03-19 14:27 | TGCE2003190001 | Material change to connection enquiry (NER 5.3.8(d1)) | 2019-12-02 | 2019-12-02 | Complete | FRV Services Australia Pty Ltd | 60 151 469 662 | n/a | Wandoona Solar Farm | Approx 2.5 km away from the Wollar 500/330 kV Substation | NSW1 | n/a | 800 | 2022-12-01 | Solar PV | Other | 136 | 136 | Asynchronous |  | 7 |  | 3.5 | N00002
TransGrid | 2020-03-19 14:27 | TGCE2003190002 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-12-20 | 2020-12-20 | Complete | RES Australia Pty Ltd | 55 106 637 754 | n/a | Tara Springs Wind Farm | On Oxley Highway between townships of Bendemeer and Walcha Road in north NSW | NSW1 | 268 | 402 | 2024-03-01 | Wind Turbine | Onshore | 67 | 67 | Asynchronous | 4 | 6 |  |  | N00003
TransGrid | 2020-03-19 14:27 | TGCE2003190003 | New connection enquiry (NER 5.3) | 2020-01-10 | 2020-01-10 | Complete | Wallaroo Solar Farm Pty Ltd | 58 635 212 501 | n/a | Wallaroo Solar Farm | Connect to Canberra 330 kV Substation 132 kV busbar through a new 132 kV Transmission Line, approximately 3.1 km | NSW1 | n/a | 118 | 2021-05-30 | Solar PV | Other | 40 | 40 | Asynchronous |  | 2.5 |  | 2.5 | N00004
TransGrid | 202012151159 | TGCE201215007 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-11-30 | 2020-11-30 | Active | Wallaroo Solar Farm Pty Ltd | 58 635 212 501 | Not Provided | Wallaroo Solar Farm | West Belconnen ACT | NSW1 | Not Provided | 100 | 2021-12-31 | Solar PV | Not provided | Not Provided | 40 | Asynchronous | Not Provided | 2.5 | Not Provided | Not Provided | N00004
TransGrid | 2020-03-19 14:27 | TGCE2003190004 | New connection enquiry (NER 5.3) | 2020-01-24 | 2020-01-24 | Complete | Dumaresq Solar Farm Pty Ltd | 64 636 603 373 | n/a | Dumaresq Solar Farm | Bonshaw Road near Bruxner Highway south of village of Bonshaw in northern NSW | NSW1 | n/a | 188 | 2021-08-30 | Solar PV | Other | n/a | n/a | Asynchronous |  |  |  |  | N00005
TransGrid | 2020-03-19 14:27 | TGCE2003190005 | New connection enquiry (NER 5.3) | 2020-02-06 | 2020-02-06 | Active | TransGrid | 68 250 995 390 | n/a | NSW Grid BESS | Wallgrove NSW adjacent Wallgrove Substation | NSW1 | n/a | 48 | 2021-04-29 | Storage | Battery | 1 | 1 | Synchronous |  | 50 |  | 50 | N00006
TransGrid | 202103191700 | 466 | New application to connect (NER 5.3) | 2021-01-20 | 2021-01-25 | Active | Infigen Energy Wallgrove Pty Ltd | 23 643 582 156 | 643 582 156 | Wallgrove BESS | Eastern Creek | NSW1 | 46 | 50 | 2021-10-20 | Storage | Battery |  | 36 | Asynchronous |  | 1.294 |  | 1.3889 | N00006
TransGrid | 202106071130 | 466 | Material change to application to connect (NER 5.3.8(e)) | 2021-01-20 | 2021-01-25 | Active | Infigen Energy Wallgrove Pty Ltd | 23 643 582 156 | 643 582 156 | Wallgrove Grid Battery | Eastern Creek | NSW1 | 46 | 50 | 2021-10-20 | Storage | Battery |  | 36 | Asynchronous |  | 1.294 |  | 1.3888 | N00006
TransGrid | 2020-03-19 14:27 | TGCE2003190006 | Non-material changes to connection enquiry (NER 5.3.8(d1)) only | 2020-02-19 | 2020-02-19 | Active | OMPS Pty Ltd | 22 160 259 174 | 160 259 174 | Oven Mountain Pumped Storage | In New England are between Armidale and Kempsey on the 965 line | NSW1 | n/a | 600 | 2025-12-01 | Storage | Pumped Hydro | 4 | 4 | Synchronous | 150 | 150 |  |  | N00007
TransGrid | 2020-03-19 14:27 | TGCE2003190007 | Material change to connection enquiry (NER 5.3.8(d1)) | 1900-01-06 | 2020-03-10 | Active | GAIA Australia Pty Ltd | 67 607 860 597 |  | Bonshaw Solar Farm | situated on Lot 2 of Deposited Plan 1039785 which is adjacent to a TransGrid asset, Armidale to Texas 330kV TL (QLD INTR) – Feeder 8L and 8M – structure span 112 to 214 (Dumaresq substation). | NSW1 | n/a | 200 | 2022-03-01 | Solar PV | other | n/a | 65 | Asynchronous |  | 3 |  |  | N00008
TransGrid | 202109171030 | 465 | New application to connect (NER 5.3) | 2021-08-31 |  | Active | GAIA Australia Pty Ltd | 67607860597 |  | Bonshaw Hybrid Solar Farm | Dumaresq | NSW1 |  |  | 2022-05-01 | Storage | Battery | [7 empty] | N00008
TransGrid | 202109171030 | 465 | New application to connect (NER 5.3) | 2021-08-31 |  | Active | GAIA Australia Pty Ltd | 67607860597 |  | Bonshaw Hybrid Solar Farm | Dumaresq | NSW1 |  | 200 | 2022-05-01 | Solar PV |  | 39 | 39 | Asynchronous |  | 5.1282 |  | 7.02 | N00008
TransGrid | 202006161100 | TGCE2006150001 | New connection enquiry (NER 5.3) | 2020-03-13 | 2020-03-13 | On-hold | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 |  | Cooma Solar Farm | Off Old Dangelong Rd outside of Cooma | NSW1 |  | 100 | 2021-09-30 | Solar PV | Other |  | 33 | Asynchronous |  | 3.63 |  |  | N00009
TransGrid | 202006161100 | TGCE2006150002 | New connection enquiry (NER 5.3) | 2020-03-27 | 2020-03-27 | Complete | Global Power Generation Australia Pty Ltd | 74 130 542 031 |  | Queanbeyan BESS | Adjacent to Queanbeyan Substation | NSW1 |  | 10 | 2021-09-30 | Storage | Battery |  | 1 | Synchronous |  | 10 |  |  | N00010
TransGrid | 202106071130 | 397 | New application to connect (NER 5.3) | 2021-04-19 | 2021-04-28 | Active | Berrybank 2 Asset Pty Ltd (GPG) | 66 420 407 293 | 642 735 288 | ACT Renewables Battery Storage | Queanbeyan | NSW1 | 10 | 12 | 2022-08-31 | Storage | Battery |  | 8 | Asynchronous |  |  |  | 1.5 | N00010
TransGrid | 202006161100 | TGCE2006150003 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-03-13 | 2020-03-18 | Complete | White Rock Wind Farm Pty Ltd | 45 153 592 173 |  | White Rock Solar & Wind Farm | New England Tablelands approximately 20 km west of Glen Innes and 40 km east of Inverell. | NSW1 |  | 212 | 2021-12-31 | Wind Turbine | Onshore |  | 47 | Asynchronous |  | 4.5 |  |  | N00011
TransGrid | 202006161100 | TGCE2006150003 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-03-13 | 2020-03-18 | Complete | White Rock Wind Farm Pty Ltd | 45 153 592 173 |  | White Rock Solar & Wind Farm | New England Tablelands approximately 20 km west of Glen Innes and 40 km east of Inverell. | NSW1 |  | 22 | 2021-12-31 | Solar PV | Other |  | 8 | Asynchronous |  | 2.75 |  |  | N00011
TransGrid | 202006161100 | TGCE2006150004 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-03-19 | 2020-03-19 | Complete | Glenellen Solar Farm Pty Ltd |  | 619 967 636 | Glenellen Solar Farm | Adjacent to Jindera Substation, Lindner Road Jinderra | NSW1 |  | 200 | 2022-12-31 | Solar PV | Other |  | 144 | Asynchronous |  | 1.637 |  |  | N00012
TransGrid | 202006161100 | TGCE2006150005 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-04-29 | 2020-04-29 | Complete | Tetris Energy Pty Ltd | 82 625 741 399 | n/a | Yass Solar Farm | Adjacent to Yass Substation | NSW1 |  | 80 | 2022-06-30 | Solar PV | Other |  | 40 | Asynchronous |  | 2.5 |  |  | N00013
TransGrid | 202006161100 | TGCE2006150006 | New connection enquiry (NER 5.3) | 2020-05-06 | 2020-05-07 | Complete | Risen Energy (Australia) Pty Ltd |  | 168 750 374 | Cooma Solar Farm | 471 Monaro Hwy, Cooma, NSW, 2630 | NSW1 |  | 30 | 2021-12-31 | Storage | Battery |  | 10 | Synchronous |  | 2.9 |  |  | N00014
TransGrid | 202006161100 | TGCE2006150006 | New connection enquiry (NER 5.3) | 2020-05-06 | 2020-05-07 | Complete | Risen Energy (Australia) Pty Ltd |  | 168 750 374 | Cooma Solar Farm | 471 Monaro Hwy, Cooma, NSW, 2630 | NSW1 |  | 70 | 2021-12-31 | Solar PV | Other |  | 28 | Asynchronous |  | 2.5 |  |  | N00014
TransGrid | 202006161100 | TGCE2006150007 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-06-10 | 2020-06-10 | Complete | Enerparc Australia Pty Ltd | 46 622 182 469 |  | Tilbuster Solar Farm | 80m from Transmission Line 8C 27km from Armidale Substation towards Dumaresq Substation | NSW1 |  | 150 | 2022-09-30 | Solar PV | Other | 25 | 30 | Asynchronous |  | 6 |  |  | N00015
TransGrid | 202009220800 | 359 | Non-material changes to application to connect (NER 5.3.8(e)) only | 2020-04-04 | 2020-04-16 | Active | Tamworth Solar Farm Pty Ltd | 19 622 261 232 |  | Tamworth Solar Farm | Tamworth Regional | NSW1 | NP | 65 | 2021-04-01 | Solar PV | NP | NP | 19 | Asynchronous | NP | 3.421 | NP | 4.4 | N00016
TransGrid | 202007021034 | 359 | New application to connect (NER 5.3) | 2020-04-04 | 2020-04-16 | Active | Tamworth Solar Farm Pty Ltd | 19 622 261 232 |  | Tamworth Solar Farm | Tamworth Regional | NSW1 |  | 65 | 2021-04-01 | Solar PV |  | 19 |  | Asynchronous |  |  |  | 4.4 | N00016
TransGrid | 202007021034 | 351 | New application to connect (NER 5.3) | 2020-06-11 | 2020-06-11 | Active | UPC Stubbo Solar Farm Pty Ltd |  | 633 105 405 | Stubbo Solar Farm | Gulgong in mid western regional council LGA | NSW1 |  | 400 | 2022-03-31 | Solar PV |  |  | 308 | Asynchronous |  |  |  | 1.637 | N00017
TransGrid | 202009220800 | 351 | Material change to application to connect (NER 5.3.8(e)) | 2020-06-11 | 2020-06-26 | Active | UPC Stubbo Solar Farm Pty Ltd | 12 622 402 199 |  | Stubbo Solar Farm | Gungal, Mid-Western Region Local Government Area | NSW1 | NP | 400 | 2022-02-02 | Solar PV | NP | NP | 308 | Asynchronous | NP | 1.637 |  | 4.91 | N00017
TransGrid | 202009220800 | 355 | Non-material changes to application to connect (NER 5.3.8(e)) only | 2020-05-01 | 2020-05-01 | Active | Walla Solar Farm Pty Ltd | 26 627 937 473 |  | Walla Walla Solar Farm | Greater Hume Shire | NSW1 | NP | 300 | 2022-01-25 | Solar PV | NP | NP | 152 | Asynchronous | NP | 1.973 | NP | 2.5 | N00018
TransGrid | 202007021034 | 355 | New application to connect (NER 5.3) | 2020-05-01 | 2020-05-01 | Active | Walla Solar Farm Pty Ltd | 26 627 937 473 |  | Walla Walla Solar Farm | Greater Hume Shire | NSW1 |  | 300 | 2022-01-25 | Solar PV |  |  |  | Asynchronous |  |  |  |  | N00018
TransGrid | 202009220800 | 223 | Material change to application to connect (NER 5.3.8(e)) | 2020-06-01 | 2020-06-12 | Active | BWF Nominees Pty Ltd as trustee for the BWF Trust | 60 747 209 343 | 633 105 405 | Bango 999 Wind Farm | Hilltops Yass Valley | NSW1 | NP | 82.8 | 2020-11-30 | Wind Turbine | Onshore | NP | 16 | Asynchronous | NP | 5.175 | NP | 5.88 | N00019
TransGrid | 202007021034 | 223 | New application to connect (NER 5.3) | 2020-06-01 | 2020-06-12 | Active | BWF Nominees Pty Ltd as trustee for the BWF Trust | 60 747 209 343 |  | Bango 999 Wind Farm | Hilltops Yass Valley | NSW1 |  | 82.8 | 2020-09-30 | Wind Turbine |  |  |  | Asynchronous |  |  |  | 5.88 | N00019
TransGrid | 202009161800 | TGCE200916001 | New connection enquiry (NER 5.3) | 2020-07-14 | 2020-07-14 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | Not Applicable | Eglington Solar Farm | Approx.8km north of Bathurst NSW | NSW1 | Not Provided | 250 | 2022-12-31 | Solar PV | Not provided | Not Provided | 65 | Asynchronous | Not Provided | 4 | Not Provided | Not Provided | N00020
TransGrid | 202009161800 | TGCE200916002 | New connection enquiry (NER 5.3) | 2020-07-23 | 2020-07-23 | Active | Edify Energy Pty Ltd | Not Applicable | 606 684 995 | Riverina Energy Storage System | Off Donald Ross Drive, Darlington Point NSW | NSW1 | Not Provided | 250 | 2022-06-30 | Storage | Battery | Not Provided | 150 | Asynchronous | Not Provided | 1 | Not Provided | Not Provided | N00021
TransGrid | 202009161800 | TGCE200916003 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-08-05 | 2020-08-05 | Active | Esco Solar Farm 3 Pty Ltd | Not Applicable | 631 527 001 | Sandigo Solar Farm | On TL 63 Kywong-Faithfull Rd, Galore, 77km W Wagga | NSW1 | Not Provided | 500 | 2023-09-30 | Solar PV | Not provided | Not Provided | 100 | Asynchronous | Not Provided | 5 | Not Provided | Not Provided | N00022
TransGrid | 202009161800 | TGCE200916004 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-08-05 | 2020-08-05 | Active | Esco Solar Farm 3 Pty Ltd | Not Applicable | 631 527 001 | Sandigo Solar Farm | On TL 94 Kywong-Faithfull Rd, Galore, 77km W Wagga | NSW1 | Not Provided | 230 | 2023-09-30 | Solar PV | Not provided | Not Provided | 46 | Asynchronous | Not Provided | 5 | Not Provided | Not Provided | N00023
TransGrid | 202009161800 | TGCE200916005 | New connection enquiry (NER 5.3) | 2020-08-24 | 2020-08-24 | Active | Risen Energy (Australia) Pty Ltd | Not Applicable | 168 750 374 | Coleambally BESS | Ercildoune Rd, Coleambally NSW | NSW1 | Not Provided | 100 | 2022-03-31 | Storage | Battery | Not Provided | 38 | Asynchronous | Not Provided | 2.67 | Not Provided | Not Provided | N00024
TransGrid | 202009161800 | TGCE200916006 | New connection enquiry (NER 5.3) | 2020-09-02 | 2020-09-02 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | Not Applicable | Queanbeyan BESS | Pialligo Ave, Pialligo ACT | NSW1 | Not Provided | 125 | 2022-06-30 | Storage | Battery | Not Provided | Not provided | Asynchronous | Not Provided | Not provided | Not Provided | Not Provided | N00025
TransGrid | 202109171030 | 463 | New application to connect (NER 5.3) | 2021-06-16 | 2021-07-07 | Active | Neoen Australia Pty Ltd | 57 160 905 706 |  | Capital Battery Energy Storage System | Queanbeyan | NSW1 | 93 | 100 | 2022-09-30 | Storage | Battery |  | 33 | Asynchronous | 3.03 | 3.67 |  | 3.8 | N00025
TransGrid | 202009161800 | TGCE200916007 | New connection enquiry (NER 5.3) | 2020-09-03 | 2020-09-03 | Active | Risen Energy (Australia) Pty Ltd | Not Applicable | 168 750 374 | Armidale BESS | Waterfall Way, Armidale NSW | NSW1 | Not Provided | 100 | 2021-12-31 | Storage | Battery | Not Provided | 38 | Asynchronous | Not Provided | 2.67 | Not Provided | Not Provided | N00026
TransGrid | 202009220800 | 343 | New application to connect (NER 5.3) | 2020-08-11 | 2020-08-11 | Active | Enerparc Australia Pty Ltd | 46 622 182 469 | 622 182 469 | Tenterfield Solar Farm | Tenterfield Shire Council | NSW1 |  | 25 | 2022-03-01 | Solar PV |  |  | 10 | Asynchronous |  | 3 |  |  | N00027
TransGrid | 202009220800 | 317 | New application to connect (NER 5.3) | 2020-07-08 | 2020-07-10 | Active | Gregadoo Solar Farm Pty Ltd | 62 621 818 862 | 621 818 862 | Gregadoo Solar Farm | Wagga Wagga City | NSW1 | NP | 43 | 2021-11-30 | Solar PV | NP | NP | 11 | Asynchronous | NP | NP | NP | NP | N00028
TransGrid | 202009220800 | 68 | New application to connect (NER 5.3) | 2020-06-26 | 2020-06-26 | Active | Coppabella Wind Farm Pty Ltd | 72 141 003 161 |  | Coppabella Wind Farm | Hilltops Yass Valley | NSW1 | NP | 289.8 | 2020-09-30 | Wind Turbine | Onshore | NP | 69 | Asynchronous | NP | 4.2 | NP | NP | N00029
TransGrid | 202012151159 | TGCE201215001 | New connection enquiry (NER 5.3) | 2020-09-17 | 2020-09-17 | Active | New England Solar Farm Pty Ltd | 45 494 489 262 | Not Provided | New England Solar Farm BESS 1 | Uralla NSW 2358 | NSW1 | 50 | 250 | 2022-03-31 | Storage | Battery | 50 | 250 | Asynchronous | Not Provided | 1.2 | Not Provided | Not Provided | N00030
TransGrid | 202109171030 | 522 | New application to connect (NER 5.3) | 2021-08-24 | 2021-09-06 | Active | NESF Pty Ltd (ACN 634 831 262) as trustee for New England Solar Project Trust | 45 494 489 321 |  | New England Battery Energy Storage System | New England | NSW1 | 43.35 | 50 | 2022-05-01 | Storage | Battery |  | 7 | Asynchronous | 6.19 | 7.142 |  | 7.142 | N00030
TransGrid | 202012151159 | TGCE201215002 | New connection enquiry (NER 5.3) | 2020-11-03 | 2020-11-03 | Active | Australian Industrial Power | Not Provided | 645 593 497 | Combined Cycle Gas | Paynes Rd, Kembla Grange NSW | NSW1 | Not Provided | 880 | 2023-12-31 | Turbine | OCGT | Not Provided | 1 | Synchronous | Not Provided | 880 | Not Provided | Not Provided | N00031
TransGrid | 202106161600 | TGCE21061616003 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-03-18 | 2021-03-18 | Active | Australian Industrial Power | Not Provided | 645 593 497 | Port Kembla Power Station | Kembla Grange, NSW | NSW1 | Not Provided | 660 | 2023-12-31 | Other | Other | Not Provided | 1 | Synchronous | Not Provided | 660 | Not Provided | Not Provided | N00031
TransGrid | 202012151159 | TGCE201215003 | New connection enquiry (NER 5.3) | 2020-11-19 | 2020-11-19 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | Not Provided | Great Western Battery | Brays Lane, Wallerawang NSW | NSW1 | Not Provided | 500 | 2022-09-30 | Storage | Battery | Not Provided | 200 | Asynchronous | Not Provided | 4 | Not Provided | Not Provided | N00032
TransGrid | 202012151159 | TGCE201215004 | New connection enquiry (NER 5.3) | 2020-11-20 | 2020-11-20 | Active | Pacific Hydro Pty Ltd | 31 057 279 508 | Not Provided | Daroobalgie Solar Farm | Troubalgie Road, Daroobalgie NSW | NSW1 | Not Provided | 121 | 2024-12-31 | Solar PV | Not provided | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00033
TransGrid | 202012151159 | TGCE201215005 | New connection enquiry (NER 5.3) | 2020-11-20 | 2020-11-20 | Active | Pacific Hydro Pty Ltd | 31 057 279 508 | Not Provided | Daroobalgie Solar Farm | Troubalgie Road, Daroobalgie NSW | NSW1 | Not Provided | 40 | 2024-12-31 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00034
TransGrid | 202012151159 | TGCE201215006 | New connection enquiry (NER 5.3) | 2020-11-27 | 2020-11-27 | Active | Greenspot Wallerawang Pty Ltd | 87 161 961 465 | Not Provided | Wallerawang BESS | Main Street, Wallerawang NSW | NSW1 | Not Provided | 500 | 2022-03-31 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00035
TransGrid | 202012151159 | TGCE201215008 | New connection enquiry (NER 5.3) | 2020-12-07 | 2020-12-07 | Active | Terrain Solar Pty Ltd | Not Provided | 616 856 172 | Monaro Solar Farm | Old Mill Rd, Dry Plains, NSW | NSW1 | Not Provided | 102 | 2023-03-31 | Solar PV | Not provided | Not Provided | 75 | Asynchronous | Not Provided | 1.637 | Not Provided | Not Provided | N00036
TransGrid | 202106161600 | TGCE21061616007 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-04-19 | 2021-04-19 | Active | Terrain Solar Pty Ltd | Not Provided | 615 856 172 | Monaro Solar Farm | Dry Plains, NSW | NSW1 | Not Provided | 70 | 2023-03-30 | Solar PV | Single axis tracking | Not Provided | 45 | Asynchronous | Not Provided | 1.637 | Not Provided | Not Provided | N00036
TransGrid | 202103161600 | TGCE210316001 | New connection enquiry (NER 5.3) | 2020-12-15 | 2020-12-15 | Active | Maoneng Australia Pty Ltd | 16 610 857 746 | Not Provided | Lismore BESS | McKees Hill NSW 2840 | NSW1 | Not Provided | 100 | 2023-03-31 | Storage | Battery | Not Provided | 40 | Asynchronous | Not Provided | Not Provided | 3.4 | Not Provided | N00037
TransGrid | 202103161600 | TGCE210316002 | New connection enquiry (NER 5.3) | 2020-12-16 | 2020-12-16 | Active | UPC-AC | 27 616 856 672 | Not Provided | Aquila Wind Farm | Euchareena, NSW | NSW1 | Not Provided | 500 | 2025-03-31 | Wind Turbine | Onshore | Not Provided | 82 | Asynchronous | Not Provided | Not Provided | 6 | Not Provided | N00038
TransGrid | 202103161600 | TGCE210316003 | New connection enquiry (NER 5.3) | 2021-01-04 | 2021-01-04 | Active | Risen Energy (Australia) Pty Ltd | Not Provided | 168 750 374 | Armidale BESS | Armidale, NSW 2350 | NSW1 | Not Provided | 300 | 2021-12-31 | Storage | Battery | Not Provided | 114 | Asynchronous | 2.67 | 2.94 | Not Provided | Not Provided | N00039
TransGrid | 202103161600 | TGCE210316004 | New connection enquiry (NER 5.3) | 2021-01-14 | 2021-01-14 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | Not Provided | Rosedale Solar Farm | Yass-Marulan TL4/5 | NSW1 | Not Provided | 500 | 2023-12-31 | Solar PV | Not provided | Not Provided | 150 | Asynchronous | 3 | 5 | Not Provided | Not Provided | N00040
TransGrid | 202103161600 | TGCE210316005 | New connection enquiry (NER 5.3) | 2021-01-21 | 2021-01-21 | Active | GPG Australia | 70 631 831 297 | Not Provided | Crookwell 3 Wind Farm | Woodhouselee, NSW 2580 | NSW1 | Not Provided | 61 | 2023-03-31 | Wind Turbine | Battery | Not Provided | 16 | Asynchronous | Not Provided | 3.83 | Not Provided | Not Provided | N00041
TransGrid | 202103161600 | TGCE210316006 | New connection enquiry (NER 5.3) | 2021-02-22 | 2021-02-22 | Active | Western Sydney Energy & Resource Recovery Centre | 15 224 694 303 | 635 427 262 | Western Sydney Energy & Resource Recovery Centre | Eastern Creek, NSW 2766 | NSW1 | Not Provided | 58 | 2024-12-31 | Other | Not provided | Not Provided | Not Provided | Synchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00042
TransGrid | 202103161600 | TGCE210316007 | New connection enquiry (NER 5.3) | 2021-02-05 | 2021-02-05 | Active | Origin Energy | 31 357 688 069 | Not Provided | Eraring BESS | Eraring, NSW | NSW1 | Not Provided | 700 | 2029-09-30 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00043
TransGrid | 202103161600 | TGCE210316008 | New connection enquiry (NER 5.3) | 2021-02-16 | 2021-02-16 | Active | Blind Creek Solar Farm P/L | 89 641 992 412 | Not Provided | Blind Creek Solar Farm | Bungendore, NSW | NSW1 | Not Provided | 300 | 2022-12-31 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00044
TransGrid | 202103161600 | TGCE210316008 | New connection enquiry (NER 5.3) | 2021-02-16 | 2021-02-16 | Active | Blind Creek Solar Farm P/L | 89 641 992 412 | Not Provided | Blind Creek Solar Farm | Bungendore, NSW | NSW1 | Not Provided | 400 | 2022-12-31 | Solar PV | Not provided | Not Provided | 133 | Asynchronous | Not Provided | 3 | Not Provided | Not Provided | N00044
TransGrid | 202103161600 | TGCE210316009 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-03-08 | 2021-03-08 | Active | Canadian Solar | Not Provided | 159 386 268 | Gunning Solar Farm | Gunning, NSW | NSW1 | Not Provided | 200 | 2024-03-31 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00045
TransGrid | 202103161600 | TGCE210316009 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-03-08 | 2021-03-08 | Active | Canadian Solar | Not Provided | 159 386 268 | Gunning Solar Farm | Gunning, NSW | NSW1 | Not Provided | 250 | 2024-03-31 | Solar PV | Not provided | Not Provided | 196 | Asynchronous | Not Provided | 1.59 | Not Provided | Not Provided | N00045
TransGrid | 202103191700 | 313 | New application to connect (NER 5.3) | 2021-01-15 | 2021-01-15 | Active | Tilt Renewables Australia Pty Ltd | 11 153 598 586 | 101 038 331 | Rye Park Wind Farm | Hilltops Yass Valley | NSW1 | 384 | 396 | 2022-08-12 | Wind Turbine | Onshore |  | 66 | Asynchronous |  | 5.818 |  | 6 | N00046
TransGrid | 202103191700 | 286 | New application to connect (NER 5.3) | 2021-03-18 | 2021-03-24 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | 623 301 799 | Wellington North Solar Farm | Dubbo Regional | NSW1 | 330 | 340 | 2022-06-01 | Solar PV | Single axis tracking |  | 118 | Asynchronous |  | 3.171 |  | 3.267 | N00047
TransGrid | 202106161600 | TGCE21061616001 | New connection enquiry (NER 5.3) | 2021-03-18 | 2021-03-18 | Active | Canadian Solar | Not Provided | 620 649 096 | Sundown Solar Farm | 100km Nth of Armidale and 30km Sth West of Glen Innes, NSW | NSW1 | Not Provided | 360 | 2024-06-30 | Solar PV | Not provided | Not Provided | 300 | Asynchronous | Not Provided | 1.6 | Not Provided | Not Provided | N00048
TransGrid | 202106161600 | TGCE21061616002 | New connection enquiry (NER 5.3) | 2021-03-12 | 2021-03-12 | On-Hold | RES Australia Pty Ltd | 55 106 637 754 | Not Provided | Kerrs Creek Wind Farm | Kerrs Creek Road | NSW1 | Not Provided | 385 | 2025-03-31 | Wind Turbine | Onshore | Not Provided | 77 | Asynchronous | Not Provided | 5 | Not Provided | Not Provided | N00049
TransGrid | 202106161600 | TGCE21061616004 | New connection enquiry (NER 5.3) | 2021-03-23 | 2021-03-23 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | Not Provided | Wellington North BESS | 7km from Wellington Substation | NSW1 | Not Provided | 500 | 2023-12-31 | Storage | Battery | Not Provided | 130 | Synchronous | Not Provided | 4 | Not Provided | Not Provided | N00050
TransGrid | 202106161600 | TGCE21061616005 | New connection enquiry (NER 5.3) | 2021-04-14 | 2021-04-14 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | Not Provided | Goulburn River Solar Farm | Manobalai, NSW | NSW1 | Not Provided | 500 | 2023-09-30 | Solar PV | Not provided | Not Provided | Not provided | Asynchronous | Not Provided | Not provided | Not Provided | Not Provided | N00051
TransGrid | 202106161600 | TGCE21061616005 | New connection enquiry (NER 5.3) | 2021-04-14 | 2021-04-14 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | Not Provided | Goulburn River BESS | Manobalai, NSW | NSW1 | Not Provided | 500 | 2023-09-30 | Storage | Battery | Not Provided | Not provided | Asynchronous | Not Provided | Not provided | Not Provided | Not Provided | N00052
TransGrid | 202106161600 | TGCE21061616008 | New connection enquiry (NER 5.3) | 2021-05-26 | 2021-05-26 | Active | Risen Energy (Australia) Pty Ltd | Not Provided | 168 750 374 | Darlington Point BESS | Donald Ross Dr, Darlington Point, NSW | NSW1 | Not Provided | 300 | 2022-12-30 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | N00053
TransGrid | 202109161600 | TGCE21091616001 | New connection enquiry (NER 5.3) | 2021-06-16 | 2021-06-16 | Active | ATCO Australia Pumped Hydro Pty Ltd |  | 636 877 104 | Central West Pumped Hydro | Molybdonite Road, Yetholme, 6.5km from line 72 | NSW1 |  | 325 | 2025-03-31 | Hydro | Not provided |  | 2 | Synchronous |  | 163 |  |  | N00054
TransGrid | 202109161600 | TGCE21091616002 | New connection enquiry (NER 5.3) | 2021-06-18 | 2021-06-18 | Active | Ampyr Australia Pty Ltd | 68 630 312 015 |  | Wellington BESS | East of Wellington Substation, at ‘Mount Namina’ - 6773 Goolma Road Wuuluman being Lot 32, DP622471 | NSW1 |  | 500 | 2023-12-31 | Storage | Battery |  | 100 | Synchronous |  | 6.5 |  |  | N00055
TransGrid | 202109161600 | TGCE21091616003 | New connection enquiry (NER 5.3) | 2021-06-22 | 2021-06-22 | On-Hold | Midgar Solar Project Pty Ltd |  | 622 832 446 | Merriwa Solar Farm | Flaggs Road, Merriwa NSW | NSW1 |  | 550 | 2023-09-30 | Solar PV | Not provided |  | 159 | Asynchronous |  | 4.6 |  |  | N00056
TransGrid | 202109161600 | TGCE21091616004 | New connection enquiry (NER 5.3) | 2021-06-22 | 2021-06-22 | Active | Armidale BESS Project Pty Ltd |  | 636 880 549 | Armidale BESS | Approximately 0.37km in a straight line to Armidale. | NSW1 |  | 150 | 2023-09-30 | Storage | Battery |  | 60 | Asynchronous |  | 3.3 |  |  | N00057
TransGrid | 202109161600 | TGCE21091616005 | New connection enquiry (NER 5.3) | 2021-06-22 | 2021-06-22 | Active | Tamworth BESS Project Pty Ltd |  | 636 880 503 | Tamworth BESS | 696 Burgmanns Lane, Kingswood | NSW1 |  | 200 | 2023-09-30 | Storage | Battery |  | 80 | Asynchronous |  | 3.3 |  |  | N00058
TransGrid | 202109161600 | TGCE21091616006 | New connection enquiry (NER 5.3) | 2021-08-16 | 2021-08-16 | Active | Narrabri Power Pty Ltd |  | 649 600 064 | Narrabri Solar Farm | 479 Logans Lane Narrabri NSW | NSW1 |  | 120 | 2023-12-31 | Solar PV | Not provided |  | 29 | Asynchronous |  | 5 |  |  | N00059
TransGrid | 202109161600 | TGCE21091616007 | New connection enquiry (NER 5.3) | 2021-08-16 | 2021-08-16 | Active | Forbes Solar Farm Pty Ltd |  | 649 598 676 | Forbes Solar Farm | 207 Hoopes Road Forbes NSW 2871 | NSW1 |  | 120 | 2023-12-31 | Solar PV | Not provided |  | 35 | Asynchronous |  | 5 |  |  | N00060
TransGrid | 202109161600 | TGCE21091616008 | New connection enquiry (NER 5.3) | 2021-08-26 | 2021-08-26 | Active | Epuron Projects Pty Ltd | 84 150 163 143 |  | Bowmans Creek Wind Farm | Albano Road, approx 15km east of Muwellbrook and 15km north east from Liddell switching station | NSW1 |  | 347 | 2023-09-30 | Wind Turbine | Onshore |  | 56 | Asynchronous |  | 6.2 |  |  | N00061
TransGrid | 202109161600 | TGCE21091616010 | New connection enquiry (NER 5.3) | 2021-08-28 | 2021-08-28 | Active | Wagga Wagga Operationsco Pty Ltd as trustee for the Wagga Wagga Operations Trust | 74 319 039 965 | 622 310 776 | Wagga North Solar Farm BESS | East Bomen Road in Bomen, 10km NE of Wagga Wagga CBD | NSW1 |  | 15 | 2022-06-30 | Storage | Battery |  | TBA | Asynchronous |  | TBA |  |  | N00062
Powerlink | 2020-03-19 14:00 | PQ448 | New connection enquiry (NER 5.3) | 2019-12-20 | 2019-12-20 | Active | Elecseed Pty Ltd | 57 632 472 327 | 632 472 327 | Kumbarilla Renewable Energy Park (K-REP) | Lot 4 DY 457, Kumbarilla QLD 4405 | QLD1 | 85 | 90 | 2022-06-30 | Solar PV | Single axis tracking | 60 | 90 | Asynchronous | 1 | 1.5 |  |  | Q00001
Powerlink | 202009191300 | PQ448 | New application to connect (NER 5.3) | 2020-08-18 | 2020-08-18 | Active | Elecseed Pty Ltd | 57 632 472 327 | 632 472 327 | Kumbarilla Renewable Energy Park (K-REP) | Lot 4 DY 457, Kumbarilla QLD 4405 | QLD1 | 85 | 90 |  | Solar PV | Single axis tracking |  | 60 | Asynchronous |  | 1.5 |  |  | Q00001
Powerlink | 2020-03-19 14:00 | PQ449 | New connection enquiry (NER 5.3) | 2020-02-10 | 2020-02-10 | Active | Fraser Coast Solar Park Pty Ltd (FCSP) | 94 634 420 527 | 634 420 527 | Powerlink Teebar Creek Substation | Teebar Creek | QLD1 |  | 290 | 2022-03-31 | Solar PV |  | 193 | 290 | Asynchronous | 1 | 1.5 |  |  | Q00002
Powerlink | 202009191300 | PQ449 | New application to connect (NER 5.3) | 2020-09-17 | 2020-09-17 | Active | Fraser Coast Solar Park Pty Ltd (FCSP) | 94 634 420 527 | 634 420 527 | Powerlink Teebar Creek Substation | Teebar Creek | QLD1 |  | 250 |  | Solar PV | Not provided |  | 77 | Asynchronous |  | 3.2468 |  |  | Q00002
Powerlink | 202006191300 | PQ450 | New connection enquiry (NER 5.3) | 2020-03-04 | 2020-03-04 | Active | Genex Power Limited | 18 152 098 854 | 152 098 854 | Yabulu Battery Energy Storage Systems | Powerlink lands surrounding Yabulu South substation. | QLD1 |  | 40 | 2021-10-31 | Storage | Battery |  | 16 | Asynchronous |  | 2.5 |  |  | Q00003
Powerlink | 202006191300 | PQ451 | New connection enquiry (NER 5.3) | 2020-03-04 | 2020-03-04 | Active | Genex Power Limited | 18 152 098 854 | 152 098 854 | Bouldercombe Battery Energy Storage Systems | Powerlink lands surrounding Yabulu South substation. | QLD1 |  | 100 | 2022-10-31 | Storage | Battery |  | 40 | Asynchronous |  | 2.5 |  |  | Q00004
Powerlink | 202012191530 | PQ451 | New application to connect (NER 5.3) | 2020-09-29 | 2020-09-29 | Active | Genex Power Limited | 18 152 098 854 | 152 098 854 | Bouldercombe Battery Energy Storage Systems | Powerlink lands surrounding Yabulu South substation. | QLD1 |  | 50.58 |  | Storage | Battery |  | 40 | Asynchronous |  | 1.2645 |  |  | Q00004
Powerlink | 202006191300 | PQ452 | New connection enquiry (NER 5.3) | 2020-03-20 | 2020-03-20 | Active | ACCIONA Energy Australia Global Pty Ltd | 54 600 910 647 | 600 910 647 | CleanCo Wind Farm (Small Mac) | Gore – Goldfields Queenland area | QLD1 |  | 103 | 2022-06-30 | Wind Turbine | Onshore |  | 18 | Asynchronous |  | 5.7 |  |  | Q00005
Powerlink | 202006191300 | PQ453 | New connection enquiry (NER 5.3) | 2020-03-20 | 2020-03-20 | Active | ACCIONA Energy Australia Global Pty Ltd | 54 600 910 647 | 600 910 647 | Macintyre Wind Farm (Big Mac) | Gore – Goldfields Queenland area | QLD1 |  | 923 | 2022-06-30 | Wind Turbine | Onshore |  | 164 | Asynchronous |  | 5.7 |  |  | Q00006
Powerlink | 202009191300 | PQ453 | New application to connect (NER 5.3) | 2020-08-07 | 2020-08-07 | Active | ACCIONA Energy Australia Global Pty Ltd | 54 600 910 647 | 600 910 647 | Macintyre Wind Farm (Big Mac) | Gore – Goldfields Queenland area | QLD1 |  | 923 |  | Wind Turbine | Onshore |  | 162 | Asynchronous |  | 5.7 |  |  | Q00006
Powerlink | 202006191300 | PQ454 | New connection enquiry (NER 5.3) | 2020-04-28 | 2020-04-28 | Active | Vena Energy Services (Australia) Pty Ltd | 89 609 132 747 | 609 132 747 | Wandoan South Solar Farm | Gadsbys Road, Woleebee Qld. | QLD1 |  | 125 | 2022-04-30 | Solar PV | Single axis tracking |  | 44 | Asynchronous |  | 2.84 |  |  | Q00007
Powerlink | 202009191300 | PQ454 | New application to connect (NER 5.3) | 2020-07-27 | 2020-07-27 | Active | Vena Energy Services (Australia) Pty Ltd | 89 609 132 747 | 609 132 747 | Wandoan South Solar Farm | Gadsbys Road, Woleebee Qld. | QLD1 |  | 125 |  | Solar PV | Single axis tracking |  | 44 | Asynchronous |  | 2.84 |  |  | Q00007
Powerlink | 202006191300 | PQ456 | New connection enquiry (NER 5.3) | 2020-05-28 | 2020-05-28 | Active | Mount Fox Energy Park Pty Ltd | 39 636 341 627 | 636 341 627 | Mt Fox Energy Park | Mount Fox, Far North Queensland | QLD1 |  | 342 | 2023-12-31 | Wind Turbine | Onshore |  | 57 | Asynchronous |  | 6 |  |  | Q00008
Powerlink | 202009191300 | PQ457 | New connection enquiry (NER 5.3) | 2020-07-01 | 2020-07-01 | Active | RES Australia Pty Ltd | 55 106 637 754 | 106 637 754 | Iron Leaf Wind Farm | Near Mannuem | QLD1 |  | 900 |  | Wind Turbine | Onshore |  | 151 | Asynchronous |  | 5.9603 |  |  | Q00009
Powerlink | 202009191300 | PQ458 | New connection enquiry (NER 5.3) | 2020-06-30 | 2020-06-30 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Western Downs Battery Connection | Connection to Western Downs Substation | QLD1 |  | 100 |  | Storage | Battery |  | 1 | Asynchronous |  | 100 |  |  | Q00010
Powerlink | 202103191530 | PQ458 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-06-30 | 2020-06-30 | Withdrawn | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Western Downs Battery Connection | Connection to Western Downs Substation | QLD1 |  | 100 |  | Storage | Battery |  | 1 | Asynchronous |  | 100 |  |  | Q00010
Powerlink | 202009191300 | PQ459 | New connection enquiry (NER 5.3) | 2020-08-07 | 2020-08-07 | Active | Crossroads Energy Pty Ltd | 35 633 524 802 | 633 524 802 | Cross Roads Energy Solar Farm | New (proposed Crossroads) substation on Orana to Columboola 275 kV line | QLD1 |  | 650 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00011
Powerlink | 202009191300 | PQ460 | New connection enquiry (NER 5.3) | 2020-09-02 | 2020-09-02 | Active | Epuron Projects Pty Ltd | 84 150 163 143 | 150 163 143 | Chalumbin Wind Farm | Connection point is at Powerlink’s Chalumbin substation at 275kV | QLD1 |  | 600 |  | Wind Turbine | Onshore |  | 100 | Asynchronous |  | 6 |  |  | Q00012
Powerlink | 202009191300 | PQ462 | New connection enquiry (NER 5.3) | 2020-09-14 | 2020-09-14 | Active | Epuron Projects Pty Ltd | 84 150 163 143 | 150 163 143 | Boulder Creek Wind Farm with BESS | The proposed connection point is approximately 20 km south of the Stanwell substation on the 3 x 275kV Stanwell - Calvale circuits | QLD1 |  | 466 |  | Wind Turbine | Onshore |  | 61 | Asynchronous |  | 6 |  |  | Q00013
Powerlink | 202012191530 | PQ463 | New connection enquiry (NER 5.3) | 2020-10-16 | 2020-10-16 | Active | EEW Eco Energy World Pty Ltd | 14 611 582 239 | 611 582 239 | Raglan Solar Farm | Off the Bruce Highway, Queensland 4697, South-East of Raglan | QLD1 |  | 235 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00014
Powerlink | 202012191530 | PQ464 | New connection enquiry (NER 5.3) | 2020-10-13 | 2020-10-13 | Active | ICA Partners Pty Ltd | 55 158 181 241 | 158 181 241 | Mt Rawdon Pumped Hydro Energy Storage Project | Mt Rawdon Mine, Qld 4671 | QLD1 |  | 1000 |  | Hydro | Other |  | 4 | Asynchronous |  | 250 |  |  | Q00015
Powerlink | 202012191530 | PQ465 | New connection enquiry (NER 5.3) | 2020-10-14 | 2020-10-14 | Active | DP Green Energy Pty Ltd | 83 619 723 929 | 619 723 929 | Callide Wind Farm | Co-ordinates: 24° 7'31.76"S, 150°35'37.14"E (project centre) | QLD1 |  | 450 |  | Wind Turbine | Onshore |  | 75 | Asynchronous |  | 6 |  |  | Q00016
Powerlink | 202012191530 | PQ466 | New connection enquiry (NER 5.3) | 2020-11-05 | 2020-11-05 | Active | Shine Energy | 90 614 944 955 | 614 944 955 | Collinsville Coal Fired Power Station Project | Collinsville - connecting at Strathmore substation | QLD1 |  | 990 |  | Other | Other |  | 3 | Synchronous |  | 330 |  |  | Q00017
Powerlink | 202012191530 | PQ467 | New connection enquiry (NER 5.3) | 2020-11-05 | 2020-11-05 | Active | Solar Projects Australia Pty Ltd | 61 642 769 524 | 642 769 524 | Baking Board Solar Farm | 3746 Warrego Highway, Chinchilla Qld 44123 | QLD1 |  | 400 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00018
Powerlink | 202012191530 | PQ467 | New connection enquiry (NER 5.3) | 2020-11-05 | 2020-11-05 | Active | Solar Projects Australia Pty Ltd | 61 642 769 524 | 642 769 524 | Baking Board Solar Farm | 3746 Warrego Highway, Chinchilla Qld 44123 | QLD1 |  | 250 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00018
Powerlink | 202103191530 | PQ468 | New connection enquiry (NER 5.3) | 2020-12-17 | 2020-12-17 | Active | UGL Pty Ltd | 85 009 180 287 | 009 180 287 | Halys to Chinchilla Dedicated Connection Asset (DCA): Battery | 774 Chinchilla Wondai Rd, Chances Plain, QLD 4413 | QLD1 |  | 150 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00019
Powerlink | 202103191530 | PQ468 | New connection enquiry (NER 5.3) | 2020-12-17 | 2020-12-17 | Active | UGL Pty Ltd | 85 009 180 287 | 009 180 287 | Halys to Chinchilla Dedicated Connection Asset (DCA): Synchronous Condenser | 774 Chinchilla Wondai Rd, Chances Plain, QLD 4413 | QLD1 |  | 450 |  | Other | Other |  | Not provided | Asynchronous |  | Not provided |  |  | Q00019
Powerlink | 202103191530 | PQ469 | New connection enquiry (NER 5.3) | 2021-01-07 | 2021-01-07 | Active | Ubergy Pty Ltd | 33 622 848 695 | 622 848 695 | Barunggam Solar Battery Farm | 453 Engine Road, Baking Board, QLD & 539 Engine Road, Baking Board | QLD1 |  | 100 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00020
Powerlink | 202103191530 | PQ469 | New connection enquiry (NER 5.3) | 2021-01-07 | 2021-01-07 | Active | Ubergy Pty Ltd | 33 622 848 695 | 622 848 695 | Barunggam Solar Battery Farm | 453 Engine Road, Baking Board, QLD & 539 Engine Road, Baking Board | QLD1 |  | 315 |  | Solar PV | Not provided |  | 352 | Asynchronous |  | 0.89488 |  |  | Q00020
Powerlink | 202103191530 | PQ470 | New connection enquiry (NER 5.3) | 2021-01-24 | 2021-01-24 | Active | Hadstone Energy Pty Ltd (Broadsound Solar Farm Pty Ltd) | 15 620 028 097 | 620 028 097 | Broadsound Solar Farm | Corner of Marlborough Sarina Road and Manly Access Road, Clarke Creek, QLD 4705 | QLD1 |  | 296 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00021
Powerlink | 202103191530 | PQ471 | New connection enquiry (NER 5.3) | 2021-01-25 | 2021-01-25 | Active | Stanwell Corporation Ltd | 37 078 848 674 | 078 848 674 | Stanwell Energy Park - BESS connected to Tarong Substation | Battery will be located at the Tarong Power Station complex on existing Stanwell-owned land. | QLD1 |  | 350 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00022
Powerlink | 202103191530 | PQ472 | New connection enquiry (NER 5.3) | 2021-01-25 | 2021-01-25 | Active | Stanwell Corporation Ltd | 37 078 848 674 | 078 848 674 | Stanwell Energy Park - BESS connected to Stanwell Substation | The Australian Magnesium Corporation site at Stanwell Power Station on existing Stanwell-owned land. | QLD1 |  | 350 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00023
Powerlink | 202103191530 | PQ473 | New connection enquiry (NER 5.3) | 2021-02-01 | 2021-02-01 | Active | ENEL Green Power Australia Pty Ltd | 41 618 296 030 | 618 296 030 | Bouldercombe Solar Farm + BESS | Lot 742 Cherryfield Road, Gracemere | QLD1 |  | 150 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00024
Powerlink | 202103191530 | PQ473 | New connection enquiry (NER 5.3) | 2021-02-01 | 2021-02-01 | Active | ENEL Green Power Australia Pty Ltd | 41 618 296 030 | 618 296 030 | Bouldercombe Solar Farm + BESS | Lot 742 Cherryfield Road, Gracemere | QLD1 |  | 286 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00024
Powerlink | 202103191530 | PQ474 | New connection enquiry (NER 5.3) | 2021-02-24 | 2021-02-24 | Active | Gatton Solar Farm Pty Ltd | 37 646 041 741 | 646 041 741 | Blenheim Solar Farm | 19 Mount Berryman Road, Blenheim 4341, QLD and adjoining land | QLD1 |  | 29.25 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00025
Powerlink | 202103191530 | PQ474 | New connection enquiry (NER 5.3) | 2021-02-24 | 2021-02-24 | Active | Gatton Solar Farm Pty Ltd | 37 646 041 741 | 646 041 741 | Blenheim Solar Farm | 19 Mount Berryman Road, Blenheim 4341, QLD and adjoining land | QLD1 |  | 106 |  | Solar PV | Not provided |  | Not provided | Asynchronous |  | Not provided |  |  | Q00025
Powerlink | 202103191530 | PQ475 | New connection enquiry (NER 5.3) | 2021-02-26 | 2021-02-26 | Active | Harlin Solar Pty Ltd | 68 643 351 044 | 643 351 044 | Harlin Solar Farm | D’Aguilar Highway, Harlin, Somerset Region, Queensland | QLD1 |  | 240 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00026
Powerlink | 202103191530 | PQ475 | New connection enquiry (NER 5.3) | 2021-02-26 | 2021-02-26 | Active | Harlin Solar Pty Ltd | 68 643 351 044 | 643 351 044 | Harlin Solar Farm | D’Aguilar Highway, Harlin, Somerset Region, Queensland | QLD1 |  | 800 |  | Solar PV | Not provided |  | 320 | Asynchronous |  | 2.5 |  |  | Q00026
Powerlink | 202103191530 | PQ476 | New connection enquiry (NER 5.3) | 2021-02-26 | 2021-02-26 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Western Downs Battery Connection | Connection to Western Downs Substation | QLD1 |  | 1000 |  | Storage | Battery |  | Not provided | Asynchronous |  | Not provided |  |  | Q00027
Powerlink | 202103191530 | PQ477 | New application to connect (NER 5.3) | 2021-03-18 | 2021-03-18 | Active | Cubico Sustainable Investments Australia Pty Ltd | 48 624 996 078 | 624 996 078 | Wambo Wind Farm | Connection to Halys Substation | QLD1 |  | 500 |  | Wind Turbine | Onshore |  | 81 | Asynchronous |  | 6.2 |  |  | Q00028
Powerlink | 202106251021 | PQ478 | New connection enquiry (NER 5.3) | 2021-04-22 | 2021-04-22 | Active | Lightsource Development Services Australia Pty Ltd | 26 623 301 799 | 623 301 799 | Woolooga Battery Energy Storage System (BESS) | Woolooga Energy Solar Park | QLD1 |  | 176 |  | Storage | Battery |  |  | Asynchronous |  | Not provided |  |  | Q00029
Powerlink | 202106251021 | PQ479 | New connection enquiry (NER 5.3) | 2021-05-04 | 2021-05-04 | Active | Pacific Hydro Australia Pty Ltd | 56 161 024 755 | 161 024 755 | Haughton Solar Farm - Stage 2 | Vicinities of Haughton Solar Farm | QLD1 |  | 250 |  | Storage | Not provided |  |  | Asynchronous |  | Not provided |  |  | Q00030
Powerlink | 202106251021 | PQ480 | New connection enquiry (NER 5.3) | 2021-05-01 | 2021-05-01 | Active | Origin Energy Electricity Limited | 33 071 052 287 | 071 052 287 | Darling Downs Power Station - Battery Connection | Battery connection into Braemar Substation | QLD1 |  | 500 |  | Storage | Battery |  |  | Asynchronous |  | Not provided |  |  | Q00031
Powerlink | 202106251021 | PQ481 | New connection enquiry (NER 5.3) | 2021-05-04 | 2021-05-04 | Active | CS Energy Ltd | 54 078 848 745 | 078 848 745 | Kogan Battery Energy Storage System (BESS) | Connection into Western Downs Substation | QLD1 |  | 200 |  | Storage | Battery |  |  | Asynchronous |  | Not provided |  |  | Q00032
Powerlink | 202109151021 | PQ486 | New connection enquiry (NER 5.3) | 2021-08-16 | 2021-08-16 | Active | PowerGen P51 Pty Ltd | 55639725965 | 119104737 | Western Downs Gas Peaking Plant | North of Western Downs substation | QLD1 |  | 207MW |  | Turbine | CCGT | 3 | 3 | Synchronous | 207 | 285 | 60 | 60 | Q00033
ElectraNet | 2019-12-19 19:11 | N/A | New application to connect (NER 5.3) | 2019-11-28 | 2019-12-19 | Active | 1265 Warnecke Rd Pty Ltd | Not Supplied | 632 594 248 | Monash Solar Farm | The substation will be located approx. 1 km North of the existing ElectraNet Monash substation on Harding Rd. | SA1 | 100 | 100 |  | Solar PV | Single axis tracking | 38 | 38 | Asynchronous | 3 | 3 | 3 | 3 | S00001
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-03-23 | 2020-03-24 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Crystal Brook Energy Park | Cut-in switchyard connected to Bungama-Blyth West 275 kV line - site 6 km north of Crystal Brook | SA1 | 123 | 146 | 2022-12-31 | Wind Turbine | Onshore | 24 | 26 | Asynchronous | 5.125 | 5.615 | NP | NP | S00002
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-03-23 | 2020-03-24 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Crystal Brook Energy Park | Cut-in switchyard connected to Bungama-Blyth West 275 kV line - site 6 km north of Crystal Brook | SA1 | 110 | 130 | 2022-07-31 | Storage | Battery | 29 | 35 | Asynchronous | 3.793 | 3.714 | NP | NP | S00002
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-03-23 | 2020-03-24 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Crystal Brook Energy Park | Cut-in switchyard connected to Bungama-Blyth West 275 kV line - site 6 km north of Crystal Brook | SA1 | 60 | 120 | 2022-07-31 | Solar PV | NP | 16 | 32 | Asynchronous | 3.75 | 3.75 | NP | NP | S00002
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-04-27 | 2020-04-28 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Goyder South Hybrid Renewable Energy Facility | Connected to expanded Robertstown Substation | SA1 | 202 | 403 | 2024-05-31 | Wind Turbine | Onshore | 36 | 72 | Asynchronous | 5.611 | 5.597 | NP | NP | S00003
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-04-27 | 2020-04-28 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Goyder South Hybrid Renewable Energy Facility | Connected to expanded Robertstown Substation | SA1 | 100 | 300 | 2024-05-31 | Storage | Battery | 27 | 79 | Asynchronous | 3.704 | 3.797 | NP | NP | S00003
ElectraNet | 202007101300 | N/A | New connection enquiry (NER 5.3) | 2020-04-27 | 2020-04-28 | Active | Neoen Australia Pty Ltd | 57 160 905 706 | 160 905 706 | Goyder South Hybrid Renewable Energy Facility | Connected to expanded Robertstown Substation | SA1 |  | 200 | 2024-05-31 | Solar PV | NP |  | 53 | Asynchronous |  | 3.774 | NP | NP | S00003
ElectraNet | 202010010846 | N/A | New connection enquiry (NER 5.3) | 2020-08-20 | 2020-08-21 | Active | Risen Energy (Australia) Pty Ltd | 97 168 750 374 |  | Bungama BESS | Lot 54, Warnertown Road, Bungama, SA 5540 | SA1 | 200 | 200 | 2022-03-01 | Storage | Battery | 75 | 75 | Asynchronous | 2.94 | 2.94 | 2.94 | 2.94 | S00004
ElectraNet | 202010010846 | N/A | New connection enquiry (NER 5.3) | 2020-06-19 | 2020-06-20 | Active | Nexif Energy Development Australia Pty Ltd | 75 623 565 275 | 623 565 275 | Lincoln Gap Wind Farm stage 3 | The Project site is located 15 km south-west of Port Augusta in South Australia. The Site is located across three allotments, and is intersected by the Eyre Highway. | SA1 | 252 | 252 | 2023-09-01 | Wind Turbine | Onshore | 42 | 42 | Asynchronous |  | NP |  | NP | S00005
ElectraNet | 202010010846 | N/A | New application to connect (NER 5.3) | 2020-07-17 | 2020-07-18 | Active | FRV Services Australia Pty Ltd | 60 151 469 662 |  | Chaff Mill (Mintaro) Solar Farm | Site is approximately 3.5km north-east of Mintaro. Land is situated on the corner of Wockie Creek road and Merildin Road. A second parcel of land is on Chaff Mill Road to the east | SA1 | 50 | 50 | 2023-01-01 | Storage | Battery | NP | NP | Asynchronous |  | 0.0715 |  | 0.0715 | S00006
ElectraNet | 202010010846 | N/A | New application to connect (NER 5.3) | 2020-07-17 | 2020-07-18 | Active | FRV Services Australia Pty Ltd | 60 151 469 662 |  | Chaff Mill (Mintaro) Solar Farm | Site is approximately 3.5km north-east of Mintaro. Land is situated on the corner of Wockie Creek road and Merildin Road. A second parcel of land is on Chaff Mill Road to the east | SA1 | 100 | 100 | 2023-01-01 | Solar PV | Not provided | 34 | 34 | Asynchronous |  | 3.63 |  | 3.51 | S00006
ElectraNet | 202010010846 | N/A | New application to connect (NER 5.3) | 2020-07-13 | 2020-07-13 | Active | Lincoln Gap Windfarm Pty Ltd | 52 133 372 595 | 133 372 595 | Lincoln Gap Windfarm |  | SA1 | 207 | 207 | 2023-01-01 | Wind Turbine | Onshore | 59 | 59 | Asynchronous |  | 3.6 |  | 3.6 | S00007
ElectraNet | 202012100000 | N/A | New connection enquiry (NER 5.3) | 2020-09-30 | 2020-10-01 | Active | AGL SA Generation Pty Limited | 84 081 074 204 | 081 074 204 | Torrens Island Battery | Torrens Island Power Station via The Grand Trunkway Torrens Island SA 5960 | SA1 | 120 | 280 | 2022-04-01 | Storage | Battery | NP | NP | Asynchronous | 120 | 280 | 120 | 280 | S00008
ElectraNet | 202012100000 | N/A | New connection enquiry (NER 5.3) | 2020-10-02 | 2020-10-09 | Active | GreenPower Investment Pty Ltd | 98 625 596 054 | 625 596 054 | Templers BESS | Templers West, Templers SA 5371, | SA1 | 200 | 200 | 2022-06-01 | Storage | Battery | NP | NP | Asynchronous | 200 | 200 | 200 | 200 | S00009
ElectraNet | 202012100000 | N/A | New application to connect (NER 5.3) | 2020-10-27 | 2020-10-27 | Active | South Australia Water Corporation (SA Water) Pty Ltd | 69 336 525 019 |  | Mannum Adelaide Pumping Station 2 Solar | Palmer, SA | SA1 | 13.4 | 13.4 |  | Solar PV | Not provided | NP |  | Asynchronous |  |  |  |  | S00010
ElectraNet | 202012100000 | N/A | New application to connect (NER 5.3) | 2020-11-04 | 2020-11-04 | Active | South Australia Water Corporation (SA Water) Pty Ltd | 69 336 525 019 |  | Mannum Adelaide Pumping Station 3 Solar | Palmer, SA | SA1 | 12.4 | 12.4 |  | Solar PV | Not provided | NP |  | Asynchronous |  |  |  |  | S00011
ElectraNet | 202012100000 | N/A | New application to connect (NER 5.3) | 2020-11-27 | 2020-11-27 | Active | South Australia Water Corporation (SA Water) Pty Ltd | 69 336 525 019 |  | Murray Bridge Hahndorf Pumping Station 2 Solar | 6.5 km from MURRAY BRIDGE towards Monarto | SA1 | 10.3 | 10.3 |  | Solar PV | Not provided | NP |  | Asynchronous |  |  |  |  | S00012
ElectraNet | 202103310000 | CE_08022021 | New connection enquiry (NER 5.3) | 2021-02-08 | 2021-02-12 | Active | Maoneng Australia Pty Ltd | 16 610 857 746 | 610 857 746 | Para Substation/Gould Creek BESS | Para, South Australia | SA1 | 200 | 225 | 2023-06-01 | Storage | Battery |  |  | Asynchronous | Not Provided | Not provided | Not provided | Not provided | S00013
ElectraNet | 202103310000 | CE_24032021 | New connection enquiry (NER 5.3) | 2021-03-24 | 2021-03-24 | Active | North West Bend Solar Project Pty Ltd |  | 644 802 184 | North West Bend Substation | North West Bend, SA | SA1 | 0 | 147 | 2024-06-01 | Solar PV | Not provided |  |  | Asynchronous | Not provided | Not provided | Not provided | Not provided | S00014
ElectraNet | 202103310000 |  | New application to connect (NER 5.3) | 2021-01-13 | 2021-01-13 | Active | Australia Plains Solar Project Pty Ltd |  | 644 802 184 | Australia Plains Solar Farm | Lot 315 Bower Road Lot 309 Emmaus Road Australia Plains, SA | SA1 |  | 150 | 2022-12-01 | Solar PV | Not provided |  |  | Asynchronous | Not provided | Not provided | Not provided | Not provided | S00015
ElectraNet | 202106291400 | CE_14042021 | New connection enquiry (NER 5.3) | 2021-04-14 | 2021-04-19 | Active | Canadian Solar (Australia) Pty Ltd | 61 149 125 020 | 149 125 020 | Mannum BESS | Mannum 132 kV substation | SA1 | 100 | 100 | 2023-04-01 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | S00016
ElectraNet | 202106291400 | CE_16062021 | New connection enquiry (NER 5.3) | 2021-06-16 | 2021-06-18 | Active | RES Australia Pty Ltd | 55 106 637 754 | 106 637 754 | Templers BESS | Templers 132 kV substation | SA1 | 115 | 115 | 2024-06-01 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | S00017
ElectraNet | 202106291400 | CE_07042021 | New connection enquiry (NER 5.3) | 2021-04-07 | 2021-04-12 | Active | Risen Energy (Australia) Pty Ltd | 97 168 750 374 | 168 750 374 | Geranium Plains Solar and BESS | Cut in on the 275 kV Robertstown to Para line | SA1 | 150 | 150 | 2024-04-01 | Storage | Battery | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | S00018
ElectraNet | 202106291400 | CE_07042021 | New connection enquiry (NER 5.3) | 2021-04-07 | 2021-04-12 | Active | Risen Energy (Australia) Pty Ltd | 97 168 750 374 | 168 750 374 | Geranium Plains Solar and BESS | Cut in on the 275 kV Robertstown to Para line | SA1 | 250 | 250 | 2024-04-01 | Solar PV | Not provided | Not Provided | Not Provided | Asynchronous | Not Provided | Not Provided | Not Provided | Not Provided | S00018
ElectraNet | 202109170000 | CE_30082021 | New connection enquiry (NER 5.3) | 2021-08-30 | 2021-09-06 | Active | Enel Green Power Australia Pty Ltd | 24 627 750 586 | 618 296 030 | Bungala BESS | Emeroo 132 kV substation | SA1 | 40 | 40 | 2022-09-30 | Storage | Battery | 16 | 16 | Asynchronous | 2.5 | 2.5 | Not Provided | Not Provided | S00019
TasNetworks | 202006191500 | TN GC 001 | New connection enquiry (NER 5.3) | 2020-03-18 | 2020-03-23 | Complete | Hydro Tasmania | 48 072 377 158 |  | Cethana Pumped Hydro Option | North West Tasmania in the Kentish LGA | TAS1 |  | 750 | 2028-06-30 | Hydro |  |  | 4 | Synchronous |  | 187.4 |  |  | T00001
TasNetworks | 202006191500 | TN GC 002 | New connection enquiry (NER 5.3) | 2020-03-18 | 2020-03-23 | Complete | Hydro Tasmania | 48 072 377 158 |  | Rowallan Pumped Hydro Option | North West Tasmania in the Meander Valley LGA | TAS1 |  | 750 | 2028-06-30 | Hydro |  |  | 4 | Synchronous |  | 187.4 |  |  | T00002
TasNetworks | 202012181206 | TN GC 002 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-12-16 | 2020-12-16 | Withdrawn | Hydro Tasmania | 48 072 377 158 |  | Rowallan Pumped Hydro Option | North West Tasmania in the Meander Valley LGA | TAS1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | T00002
TasNetworks | 202006191500 | TN GC 003 | New connection enquiry (NER 5.3) | 2020-03-18 | 2020-03-23 | Complete | Hydro Tasmania | 48 072 377 158 |  | Tribute Pumped Hydro Option | West Tasmania in the West Coast LGA | TAS1 |  | 750 | 2028-06-30 | Hydro |  |  | 4 | Synchronous |  | 187.4 |  |  | T00003
TasNetworks | 202012181206 | TN GC 003 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-12-16 | 2020-12-16 | Withdrawn | Hydro Tasmania | 48 072 377 158 |  | Tribute Pumped Hydro Option | West Tasmania in the West Coast LGA | TAS1 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | T00003
TasNetworks | 202010141231 | N/001092 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-08-11 | 2020-09-22 | Active | Epuron Projects Pty Ltd | 84 150 163 143 |  | Hellyer Wind Farm | Burnie LGA | TAS1 | 224 | 224 | 2025-07-01 | Wind Turbine | Onshore |  |  | Asynchronous | 3.6 | 3.6 |  |  | T00004
TasNetworks | 202010141231 | N/00885 | Material change to connection enquiry (NER 5.3.8(d1)) | 2020-08-11 | 2020-09-22 | Active | Epuron Projects Pty Ltd | 84 150 163 143 |  | Guildford Wind Farm | Warratah/Wynyard LGA | TAS1 | 288 | 288 | 2025-07-01 | Wind Turbine | Onshore | 80 |  | Asynchronous | 3.6 | 3.6 |  |  | T00005
TasNetworks | 202010141231 | N/004725 | New application to connect (NER 5.3) | 2020-07-27 | 2020-08-27 | Active | Nekon Pty Ltd | 95 145 948 492 |  | Port Latta Wind Farm |  | TAS1 | 21 | 21 | 2021-07-01 | Wind Turbine | Onshore | 5 | 5 | Asynchronous | 4.2 | 4.2 |  |  | T00006
TasNetworks | 202010141231 | N/004725 | Material change to application to connect (NER 5.3.8(e)) | 2020-10-21 | 2020-10-21 | Active | Nekon Pty Ltd | 95 145 948 492 |  | Port Latta Wind Farm | Circular Head LGA - Adjacent to Port Latta Substation | TAS1 | 21 | 21 |  | Wind Turbine | Onshore | 5 | 5 | Asynchronous | 4.2 | 4.2 |  |  | T00006
TasNetworks | 202010141231 | N/005970 | New connection enquiry (NER 5.3) | 2020-12-08 | 2020-12-13 | Active | Fera Australia Pty Ltd | 36 637 473 637 |  | Triabunna Wind Farm | Glamorgan/Spring Bay LGA | TAS1 | 25 | 30 |  | Wind Turbine | Onshore | 5 | 5 | Asynchronous | 5.6 | 5.6 |  |  | T00007
TasNetworks | 202106211230 | N/006499 | New connection enquiry (NER 5.3) | 2021-05-07 | 2021-05-12 | Active | West Coast Renewables | 31 633 216 163 |  | George Town Wind Farm | George Town LSA, immediately east of George Town Substation | TAS1 |  | 232 | 2024-01-01 | Wind Turbine | Onshore |  | 40 | Asynchronous |  | 5.8 |  |  | T00008
TasNetworks | 202106211230 | N/006910 | New connection enquiry (NER 5.3) | 2021-05-24 | 2021-05-31 | Active | Edify Energy Pty Ltd | 85 606 684 995 |  | Bridgewater BESS | Brighton LGA, within 2 km of Bridgewater Substation | TAS1 |  | 100 |  | Storage | Battery |  | Not Provided | Asynchronous |  | 100 |  |  | T00009
TasNetworks | 202106211230 | N/006821 | New connection enquiry (NER 5.3) | 2021-05-24 | 2021-06-07 | Active | Brookvale Energy Pty Ltd | 95 840 973 075 |  | Bass Offshore Wind Energy Project | Windfarm located offshore in Bass Strait, landing point TBC | TAS1 |  | 500 | 2026-06-30 | Wind Turbine | Offshore |  | 34 | Asynchronous |  | 14 |  |  | T00010
TasNetworks | 202109201500 | N/004739 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-09-20 | 2021-09-20 | Active | Epuron Projects Pty Ltd | 84 150 163 143 |  | Western Plains Wind Farm | Circular Head LGA, (Near Stanley) | TAS1 |  | 50.4 | 2025-10-01 | Wind Turbine | Onshore |  | 14 | Asynchronous |  | 3.6 | 3.6 |  | T00011
AEMO Vic | 2020-03-17 | 657 | New connection enquiry (NER 5.3) | 2020-01-24 | 2020-01-24 | Active | Syncline Energy Pty Ltd | 26 117 458 803 |  | Melton Renewable Energy Hub | Moorabool, Victoria | VIC1 | 400 |  | 2021-06-01 | Storage |  |  |  | Asynchronous |  |  | 410 |  | V00001
AEMO Vic | 2020-03-17 | 669 | New connection enquiry (NER 5.3) | 2020-01-24 | 2020-01-24 | Active | Syncline Energy Pty Ltd | 26 117 458 803 |  | Lovely Banks Renewable Energy Hub | Plumpton, Victoria | VIC1 | 400 |  | 2021-06-01 | Storage |  |  |  | Asynchronous |  |  | 410 |  | V00002
AEMO Vic | 2020-03-17 | 670 | New connection enquiry (NER 5.3) | 2020-02-27 | 2020-02-27 | Active | Maoneng Australia Pty Ltd | 16 610 857 746 |  | Tyabb Terminal Station | Tyabb, Victoria | VIC1 | 120 |  | 2020-11-01 | Storage |  | 60 |  | Asynchronous |  |  | 2.2 |  | V00003
AEMO Vic | 202103190000 | 670 | New application to connect (NER 5.3) | 2021-01-20 | 2021-01-20 | Active | Maoneng Australia Pty Ltd | 16 610 857 746 |  | Mornington BESS | Tyabb, Vic | VIC1 |  | 240 | 2021-11-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00003
AEMO Vic | 2020-03-17 | 301 | New application to connect (NER 5.3) | 2020-03-03 | 2020-03-03 | Active | Westwind Energy Pty Ltd | 94 109 132 201 |  | Golden Plains Wind Find | Barunah Park, Victoria | VIC1 | 1419 |  | 2024-12-31 | Wind Turbine |  | 258 |  | Asynchronous |  |  | 5.5 |  | V00004
AEMO Vic | 2020-03-17 | 317 | New connection enquiry (NER 5.3) | 2020-01-02 | 2020-01-02 | Active | Acciona Solar Pty Ltd | 53 618 445 177 |  | Kerang Solar Farm | Kerang, Victoria | VIC1 | 53 |  | 2020-12-01 | Solar PV |  | 38 |  | Asynchronous |  | 1 | 1.4 |  | V00005
AEMO Vic | 2020-03-17 | 650 | New connection enquiry (NER 5.3) | 2020-01-06 | 2020-01-06 | Active | Aceenergy Pty Ltd | 51 007 207 347 |  | Terang Terminal Station | Terang | VIC1 | 100 |  | 2021-03-01 | Storage |  | 44 |  | Asynchronous |  |  | 2.5 |  | V00006
AEMO Vic | 202006170000 | 673 | New connection enquiry (NER 5.3) | 2020-03-13 | 2020-03-13 | Active | International Power (Energy) Pty Ltd | 59 092 560 793 |  | Hazelwood Battery Energy Storage System Facility | Hazelwood, Victoria | VIC1 | 413 |  | 2020-12-01 | Storage |  |  | 162 | Asynchronous |  | 2.55 |  | 2.55 | V00007
AEMO Vic | 202006170000 | 688 | New connection enquiry (NER 5.3) | 2020-03-19 | 2020-03-19 | Active | Clean Technology Partners | 19 149 191 337 |  | Little River Solar Farm | Little River, Victoria | VIC1 | 279 |  | 2022-07-01 | Solar PV |  |  | 100 | Asynchronous |  | 2.79 |  | 3 | V00008
AEMO Vic | 202006170000 | 683 | New connection enquiry (NER 5.3) | 2020-03-04 | 2020-03-04 | Active | Canadian Solar (Australia) Pty Ltd | 61 149 125 020 |  | Latrobe Solar Farm | Morwell, Victoria | VIC1 | 400 |  | 2021-09-30 | Solar PV |  |  | 115 | Asynchronous |  | 3.5 |  |  | V00009
AEMO Vic | 202006170000 | 694 | New connection enquiry (NER 5.3) | 2020-04-17 | 2020-04-17 | Active | Maoneng Australia Pty Ltd | 16 601 857 746 |  | South Morang Battery Energy Storage System | South Morang, Victoria | VIC1 | 156 |  | 2021-04-01 | Storage |  |  | 78 | Asynchronous |  |  |  |  | V00010
AEMO Vic | 202006170000 | 686 | New connection enquiry (NER 5.3) | 2020-03-30 | 2020-03-30 | Active | ACEenergy Pty Ltd on behalf of Energy Storage Project No 3 Pty Ltd | 89 628 883 447 |  | Elaine Battery Energy Storage System | Elaine, Victoria | VIC1 | 300 |  | 2021-06-01 | Storage |  |  | 115 | Asynchronous |  |  |  | 2.9 | V00011
AEMO Vic | 202006170000 | 698 | New connection enquiry (NER 5.3) | 2020-04-17 | 2020-04-17 | Active | Maoneng Australia Pty Ltd | 16 601 857 746 |  | Morwell Battery Energy Storage System | Morwell, Victoria | VIC1 | 230 |  | 2021-04-01 | Storage |  |  | 116 | Asynchronous |  |  |  |  | V00012
AEMO Vic | 202006170000 | 693 | New connection enquiry (NER 5.3) | 2020-05-19 | 2020-05-19 | Active | Neoen Australia Pty Ltd | 57 160 905 706 |  | Navarre Wind Farm | Navarre, Victoria | VIC1 | 526 |  | 2024-12-01 | Wind Turbine |  |  | 94 | Asynchronous |  | 5.59 |  |  | V00013
AEMO Vic | 202006170000 | 695 | New connection enquiry (NER 5.3) | 2020-05-15 | 2020-05-15 | Active | Maoneng Australia Pty Ltd | 16 601 857 746 |  | Cranbourne Battery Energy Storage System | Cranbourne, Victora | VIC1 | 240 |  | 2021-04-01 | Storage |  |  | 60 | Asynchronous |  | 4 |  |  | V00014
AEMO Vic | 202012180000 | 689 | New connection enquiry (NER 5.3) | 2020-04-09 | 2020-04-09 | Withdrawn | Energy Australia Pty Ltd | 99 086 014 968 |  | Newport Battery Energy Storage System | Newport, Victoria | VIC1 |  | 250 | 2020-12-01 | Storage |  |  | Not provided | Asynchronous |  |  |  |  | V00015
AEMO Vic | 202006170000 | 689 | New connection enquiry (NER 5.3) | 2020-04-09 | 2020-04-09 | Active | Energy Australia Pty Ltd | 99 086 014 968 |  | Newport Battery Energy Storage System | Newport, Victoria | VIC1 | 250 |  | 2020-12-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00015
AEMO Vic | 202006170000 | 699 | New connection enquiry (NER 5.3) | 2020-05-22 | 2020-05-22 | Active | Energy Australia Pty Ltd | 99 086 014 968 |  | Yallourn 220kV Connection Gas Turbine | Yallourn, Victoria | VIC1 | 1000 |  | 2031-01-01 | Turbine |  |  | 3 | Synchronous |  | 330 |  |  | V00016
AEMO Vic | 202006170000 | 700 | New connection enquiry (NER 5.3) | 2020-05-22 | 2020-05-22 | Active | Energy Australia Pty Ltd | 99 086 014 968 |  | Yallourn 500kV Connection Gas Turbine | Newport, Victoria | VIC1 | 1000 |  | 2031-01-01 | Turbine |  |  | 3 | Synchronous |  | 330 |  |  | V00017
AEMO Vic | 202006170000 | 697 | New connection enquiry (NER 5.3) | 2020-05-22 | 2020-05-22 | Active | Origin Energy Power Limited | 93 008 289 398 |  | Mortlake Battery Energy Storage System | Mortlake, Victoria | VIC1 | 300 |  | 2020-12-31 | Storage |  |  |  | Asynchronous |  |  |  |  | V00018
AEMO Vic | 202009170000 | 697 | New application to connect (NER 5.3) | 2020-09-11 | 2020-09-11 | Active | Origin Energy |  |  | Mortlake BESS | Mortlake Power Station | VIC1 | 300 |  |  | Storage |  |  | 210 | Asynchronous |  | 1.42 |  | 1.42 | V00018
AEMO Vic | 202006170000 | 92 | New connection enquiry (NER 5.3) | 2020-05-22 | 2020-05-22 | Active | Ryan Corner Development Pty Ltd | 75 130 542 915 |  | Ryan Corner and Hawkesdale Windfarm Connections | Hawkesdale, Victoria | VIC1 | 315 |  | 2022-07-01 | Wind Turbine |  |  | 75 | Asynchronous |  | 4.2 |  |  | V00019
AEMO Vic | 202009170000 | 92 | New application to connect (NER 5.3) | 2020-09-03 | 2020-09-03 | Active | Global Power Generation Australia Pty Ltd | 75 130 542 915 |  | Ryans Corner Wind Farm | Vic | VIC1 | 218.4 |  | 2022-07-01 | Wind Turbine |  |  | 55 | Asynchronous |  | 3.96 |  | 3.96 | V00019
AEMO Vic | 202009170000 | 709 | New connection enquiry (NER 5.3) | 2020-07-03 | 2020-07-03 | Active | Acciona Solar Pty Ltd |  |  | Meredith Wind Farm | Meredith, Vic | VIC1 | 285 | ` | 2021-12-01 | Wind Turbine |  |  | 50 | Asynchronous |  | 5.7 |  | 5.7 | V00020
AEMO Vic | 202009170000 | 713 | New connection enquiry (NER 5.3) | 2020-07-13 | 2020-07-13 | Active | Total Eren |  |  | Deer Park Battery Energy Storage System | Deer Park, Vic | VIC1 | 50 |  | 2021-12-01 | Storage |  |  | 25 | Asynchronous |  | 2 |  | 2 | V00021
AEMO Vic | 202009170000 | 711 | New connection enquiry (NER 5.3) | 2020-07-08 | 2020-07-08 | Active | Tilt Renewables Australia Pty Ltd | 15 101 038 331 |  | Terang Battery Energy Storage System | Terang, Vic | VIC1 | 100 |  | 2022-04-07 | Storage |  |  | tbc | Asynchronous |  |  |  |  | V00022
AEMO Vic | 202009170000 | 285 | New connection enquiry (NER 5.3) | 2020-07-08 | 2020-07-08 | Active | APA Power Holdings Pty Ltd |  |  | Wollert Gas Turbine | Wollert, Vic | VIC1 | 600 |  | 2024-01-01 | Turbine |  |  | 2 | Synchronous |  | 300 |  | 300 | V00023
AEMO Vic | 202009170000 | 701 | New connection enquiry (NER 5.3) | 2020-06-12 | 2020-06-12 | Active | Emergent Technologies | 56 606 903 495 |  | Melbourne Solar Farm | Vic | VIC1 | 350 |  | 2022-11-01 | Solar PV |  |  | tbc | Asynchronous |  |  |  |  | V00024
AEMO Vic | 202009170000 | 352 | New connection enquiry (NER 5.3) | 2020-07-06 | 2020-07-06 | Active | UPC Renewables Australia | 83 628 709 259 |  | Axedale Solar Farm | Vic | VIC1 | 190 |  | 2022-12-01 | Solar PV |  |  | 64 | Asynchronous |  | 2.96 |  | 2.96 | V00025
AEMO Vic | 202012180000 | 352 | New application to connect (NER 5.3) | 2020-12-15 | 2020-12-15 | Active | UPC Renewables | 83 628 709 259 |  | Axedale Solar Farm Pty Ltd | Fosterville Vic | VIC1 |  | 30 | 2022-12-01 | Storage |  |  | Not provided | Asynchronous |  |  |  |  | V00025
AEMO Vic | 202012180000 | 352 | New application to connect (NER 5.3) | 2020-12-15 | 2020-12-15 | Active | UPC Renewables | 83 628 709 259 |  | Axedale Solar Farm Pty Ltd | Fosterville Vic | VIC1 |  | 160 | 2022-12-01 | Solar PV |  |  | Not provided | Asynchronous |  |  |  |  | V00025
AEMO Vic | 202009170000 | 708 | New connection enquiry (NER 5.3) | 2020-07-06 | 2020-07-06 | Active | Maoneng Australia Pty Ltd | 16 610 857 746 |  | Jeeralang Battery Energy Storage System | Jeeralang Junction, Vic | VIC1 | 400 |  | 2021-12-01 | Storage |  |  | 170 | Asynchronous |  | 2.35 |  | 2.35 | V00026
AEMO Vic | 202009170000 | 288 | New connection enquiry (NER 5.3) | 2020-09-14 | 2020-09-14 | Active | Esco Pacific Holdings Pty Ltd | 70 636 892 647 |  | Horsham Solar Farm | Horsham, Vic | VIC1 | 140 |  | 2022-04-01 | Solar PV |  |  | 35 | Asynchronous |  | 4 |  | 4 | V00027
AEMO Vic | 202109190000 | 58 | Material change to connection enquiry (NER 5.3.8(d1)) | 2021-07-20 | 2021-07-20 | Active | Esco Pacific Holdings Pty Ltd | 70 636 892 647 |  | Horsham Solar Farm & BESS | Horsham, Vic | VIC1 |  | 118.8 | 2022-01-10 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00027
AEMO Vic | 202009170000 | 725 | New connection enquiry (NER 5.3) | 2020-09-03 | 2020-09-03 | Active | APA Power Holdings Pty Ltd | 57 149 762 121 |  | Winchelsea Gas Turbines | Winchelsea, Vic | VIC1 | 220 |  | 2023-01-01 | Turbine |  | 12 | 22 | Synchronous |  | 10 |  | 10 | V00028
AEMO Vic | 202009170000 | 724 | New connection enquiry (NER 5.3) | 2020-09-03 | 2020-09-03 | Active | APA Power Holdings Pty Ltd | 57 149 762 121 |  | Stonehaven Gas Turbines | Stonehaven, Vic | VIC1 | 220 |  | 2023-01-01 | Turbine |  | 12 | 22 | Synchronous |  | 10 |  | 10 | V00029
AEMO Vic | 202009170000 | 437 | New connection enquiry (NER 5.3) | 2020-08-26 | 2020-08-26 | Active | juwi Renewable Energy Pty Ltd | 42 159 228 145 |  | Mallee Solar Farm | Mildura, Vic | VIC1 | 220 |  |  | Solar PV |  |  | 34 | Asynchronous |  | 6.47 |  | 6.47 | V00030
AEMO Vic | 202009170000 | 723 | New application to connect (NER 5.3) | 2020-09-07 | 2020-09-07 | Active | Global Power Generation Australia Pty Ltd | 75 130 542 915 |  | Hawksdale Wind Farm | Vic | VIC1 | 97 |  | 2022-07-01 | Wind Turbine |  |  | 23 | Asynchronous |  | 4.21 |  | 4.21 | V00031
AEMO Vic | 202009170000 | 687 | New connection enquiry (NER 5.3) | 2020-03-30 | 2020-03-30 | Active | ACEnergy Pty Ltd on behalf of Energy Storage Project No 1 Pty Ltd | 89 628 883 447 |  | Gnarwarre BESS Facility | Gnarwarre, Vic | VIC1 | 300 |  | 2021-06-01 | Storage |  | 115 |  | Asynchronous |  |  | 2.6 |  | V00033
AEMO Vic | 202103190000 | 687 | New application to connect (NER 5.3) | 2021-01-20 | 2021-01-20 | Active | ACEnergy Pty Ltd | 89 628 883 447 |  | Gnarwarre BESS Facility | Vic | VIC1 |  | 250 | 2022-01-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00033
AEMO Vic | 202012180000 | 737 | New connection enquiry (NER 5.3) | 2020-09-22 | 2020-09-22 | Active | RES Australia Pty Ltd | 55 106 637 754 |  | Watta Wella Power Station | Stawell, Vic | VIC1 |  | 300 | 2026-06-01 | Wind Turbine |  |  | 44 | Asynchronous |  | 5.6 |  |  | V00034
AEMO Vic | 202012180000 | 747 | New connection enquiry (NER 5.3) | 2020-11-12 | 2020-11-12 | Active | Macquarie Corporate Holdings Pty Ltd | 54 096 705 109 |  | Cranbourne BESS | Cranbourne West, Vic | VIC1 |  | 150 | 2021-10-01 | Storage |  |  | 19 | Asynchronous |  | 7.89 |  |  | V00035
AEMO Vic | 202012180000 | 740 | New connection enquiry (NER 5.3) | 2020-12-12 | 2020-12-12 | Active | Biscon Energy Australia Pty Ltd | 63 628 361 615 |  | Mansfield Solar Farm | Mansfield, Vic | VIC1 |  |  | 2023-06-01 | Storage |  |  | Not provided | Asynchronous |  |  |  |  | V00036
AEMO Vic | 202012180000 | 740 | New connection enquiry (NER 5.3) | 2020-12-12 | 2020-12-12 | Active | Biscon Energy Australia Pty Ltd | 63 628 361 615 |  | Mansfield Solar Farm | Mansfield, Vic | VIC1 |  | 350 | 2023-06-01 | Solar PV |  |  | Not provided | Asynchronous |  |  |  |  | V00036
AEMO Vic | 202012180000 | 746 | New connection enquiry (NER 5.3) | 2020-11-18 | 2020-11-18 | Active | AGL Energy Ltd | 74 115 061 375 |  | Loy Yang BESS | Loy Yang Power Station | VIC1 |  | 200 | 2022-03-01 | Storage |  |  | Not provided | Asynchronous |  |  |  |  | V00038
AEMO Vic | 202012180000 | 137 | New connection enquiry (NER 5.3) | 2020-11-17 | 2020-11-17 | Active | Global Power Generation Australia Pty Ltd | 74 130 542 031 |  | Darlington Wind Farm | Darlington Vic | VIC1 |  | 360 | 2024-01-01 | Wind Turbine |  |  | 60 | Asynchronous |  | 6 |  |  | V00039
AEMO Vic | 202103190000 | 758 | New connection enquiry (NER 5.3) | 2021-01-25 | 2021-01-25 | Active | Tilt Renewables Australia Pty Ltd | 15 101 038 331 |  | LaTrobe Valley BESS | Morwell, Vic | VIC1 |  | 150 | 2022-07-29 | Storage |  |  | - | Asynchronous |  |  |  |  | V00040
AEMO Vic | 202103190000 | 765 | New connection enquiry (NER 5.3) | 2021-02-12 | 2021-02-12 | Active | Lochard Energy | 25 151 811 449 |  | Winton Energy Reserve 1 | Glenrowan, Vic | VIC1 |  | 200 | 2025-01-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00041
AEMO Vic | 202103190000 | 765 | New connection enquiry (NER 5.3) | 2021-02-12 | 2021-02-12 | Active | Lochard Energy | 25 151 811 449 |  | Winton Energy Reserve 1 | Glenrowan, Vic | VIC1 |  | 200 | 2025-01-01 | Reciprocating Engine |  |  | 10 | Synchronous |  | 20 |  |  | V00041
AEMO Vic | 202103190000 | 763 | New connection enquiry (NER 5.3) | 2021-02-12 | 2021-02-12 | Active | Wind Prospect Pty Ltd | 22 091 885 924 |  | Lubeck Wind Farm | Vic | VIC1 |  | 108 | 2027-01-01 | Wind Turbine |  |  | 18 | Asynchronous |  | 6 |  |  | V00042
AEMO Vic | 202103190000 | 764 | New connection enquiry (NER 5.3) | 2021-02-12 | 2021-02-12 | Active | Wind Prospect Pty Ltd | 22 091 885 924 |  | Tulkara Wind Farm | Vic | VIC1 |  | 234 | 2027-01-01 | Wind Turbine |  |  | 39 | Asynchronous |  | 6 |  |  | V00043
AEMO Vic | 202103190000 | 436 | New application to connect (NER 5.3) | 2021-01-27 | 2021-01-27 | Active | Star of the South Wind Farm Pty Ltd | 68 239 717 297 |  | Star of the South Wind Farm | Vic | VIC1 |  | 2000 | 2024-01-01 | Wind Turbine |  |  |  | Asynchronous |  |  |  |  | V00044
AEMO Vic | 202106180000 | 766 | New connection enquiry (NER 5.3) | 2021-05-25 | 2021-05-25 | Active | Flow Energy | 51 111 418 270 |  | Monash BESS | Morwell, Vic | VIC1 |  | 100 | 2022-01-10 | Storage |  |  |  | Asynchronous |  |  |  |  | V00045
AEMO Vic | 202106180000 | 767 | New connection enquiry (NER 5.3) | 2021-05-24 | 2021-05-24 | Active | ACCIONA Energy Australia Global Pty Ltd | 54 600 910 647 |  | Waubra North Wind Farm | Waubra Terminal Station, Vic | VIC1 |  | 307 | 2024-01-12 | Wind Turbine |  | 54 | 54 | Asynchronous |  | 5.7 |  |  | V00046
AEMO Vic | 202106180000 | 768 | New connection enquiry (NER 5.3) | 2021-05-21 | 2021-05-21 | Active | FRV Services Australia Pty Ltd | 60 151 469 662 |  | Birkins Solar Farm | Carwarp, Vic | VIC1 |  | 200 | 2024-01-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00047
AEMO Vic | 202106180000 | 769 | New connection enquiry (NER 5.3) | 2021-05-21 | 2021-05-21 | Active | FRV Services Australia Pty Ltd | 60 151 469 662 |  | Birkins Solar Farm | Carwarp, Vic | VIC1 |  | 400 | 2024-01-01 | Solar PV |  | 100 | 100 | Asynchronous |  | 4.4 |  |  | V00048
AEMO Vic | 202106180000 | 770 | New connection enquiry (NER 5.3) | 2021-05-21 | 2021-05-21 | Active | FRV Services Australia Pty Ltd | 60 151 469 662 |  | Birkins Solar Farm | Carwarp, Vic | VIC1 |  | 100 | 2024-01-01 | Hydrogen |  |  |  | Asynchronous |  |  |  |  | V00049
AEMO Vic | 202106180000 | 771 | New connection enquiry (NER 5.3) | 2021-05-19 | 2021-05-19 | Active | Wind Prospect Pty Ltd | 22 091 885 924 |  | Willatook Wind Farm | Tarrone Terminal Station, Vic | VIC1 |  | 450 | 2025-01-01 | Wind Turbine |  | 75 | 75 | Asynchronous |  | 6 |  |  | V00050
AEMO Vic | 202106180000 | 772 | New connection enquiry (NER 5.3) | 2021-05-13 | 2021-05-13 | Active | Flotation Energy plc | 16 637 047 039 |  | Gippsland offshore wind farm | Between Seaspray & Golden Beach ,Vic | VIC1 |  | 1500 | 2031-01-01 | Wind Turbine |  | 107 | 107 | Asynchronous |  | 14 |  |  | V00051
AEMO Vic | 202109190000 | 154 | New connection enquiry (NER 5.3) | 2021-06-01 | 2021-06-01 | Active | Vena Energy Services (Australia) Pty Ltd | 89 609 132 747 |  | Heywood BESS | Horsham Vic | VIC1 |  | 400 | 2024-12-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00052
AEMO Vic | 202109190000 | 154 | New connection enquiry (NER 5.3) | 2021-06-01 | 2021-06-01 | Active | Vena Energy Services (Australia) Pty Ltd | 89 609 132 747 |  | Haunted Gully | Near Portland Vic | VIC1 |  | 400 | 2024-12-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00053
AEMO Vic | 202109190000 | 154 | New connection enquiry (NER 5.3) | 2021-06-01 | 2021-06-01 | Active | Vena Energy Services (Australia) Pty Ltd | 89 609 132 747 |  | Connewarren BESS | Near Lismore Vic | VIC1 |  | 400 | 2024-12-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00054
AEMO Vic | 202109190000 | 157 | New connection enquiry (NER 5.3) | 2021-06-11 | 2021-06-11 | Active | ACE Power |  | 649 600 162 | Redcliffs Solar & BESS | Near Mortlake Vic | VIC1 |  | 60 | 2024-03-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00055
AEMO Vic | 202109190000 | 157 | New application to connect (NER 5.3) | 2021-08-26 | 2021-08-26 | Active | ACE Power |  | 649 600 162 | Redcliffs Solar & BESS | Near Mortlake Vic | VIC1 |  | 60 | 2024-03-01 | Storage |  |  |  | Asynchronous |  |  |  |  | V00055
AEMO Vic | 202109190000 | 158 | New connection enquiry (NER 5.3) | 2021-07-09 | 2021-07-09 | Active | Venn Artibit Group Pty Ltd | 42 632 214 674 |  | Moonah Solar Farm | Redcliffs Vic | VIC1 |  | 230 | 2024-03-01 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00056
AEMO Vic | 202109190000 | 162 | New connection enquiry (NER 5.3) | 2021-07-02 | 2021-07-02 | Active | Clean Technologies Partners | 19 149 191 337 |  | Meadow Creek Solar Farm | Near Glenrowan Vic | VIC1 |  | 180 | 2023-07-01 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00057
AEMO Vic | 202109190000 | 162 | New application to connect (NER 5.3) | 2021-08-19 | 2021-08-19 | Active | Clean Technologies Partners | 19 149 191 337 |  | Meadow Creek Solar Farm | Near Glenrowan Vic | VIC1 |  | 180 | 2023-07-01 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00057
AEMO Vic | 202109190000 | 163 | New connection enquiry (NER 5.3) | 2021-06-23 | 2021-06-23 | Active | Venn Artibit Group Pty Ltd | 42 632 214 674 |  | Cooba Solar Farm | Near Fosterville Vic | VIC1 |  | 270 | 2023-06-01 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00058
AEMO Vic | 202109190000 | 163 | New application to connect (NER 5.3) | 2021-08-23 | 2021-08-23 | Active | Venn Artibit Group Pty Ltd | 42 632 214 674 |  | Cooba Solar Farm | Near Fosterville Vic | VIC1 |  | 270 | 2023-06-01 | Solar PV |  |  |  | Asynchronous |  |  |  |  | V00058