## Intro
Generator emission factors
ACIL Allen update of input values for AEMO
2016-05-11
Notes:
Deliverable for public release
Worksheets
Existing generators: Summarises the NGER data points for emission intensity and emission factors, with previous and updated assumption values
ImpactofChange: Shows the impact of emission factor changes when applied to actual cal 15 dispatch outcomes
New entrants: emission factors for new enrtant technologies

## Existing generators
Scope 1 emission factors (kg CO2-e/GJ of fuel) | [9 empty] | Scope 1 emission intensity (tonnes CO2-e/MWh as generated)
Station Name | Region | Generation - Fuel Type | NGER 2012-13 | NGER 2013-14 | NGER 2014-15 | Average NGER value | Previous assumption | Proposed new value | Change | Station Name | Region | Generation - Fuel Type | NGER 2012-13 | NGER 2013-14 | NGER 2014-15 | Average NGER value | Previous assumption | Proposed new value | Change
Bayswater | NSW | Steam turbine - Black Coal | 91.8163 | 91.494 | 92.5048 | 91.9384 | 91.82 | 91.82 | 0 | Bayswater | NSW | Steam turbine - Black Coal | 0.86548 | 0.86244 | 0.87197 | 0.86663 | 0.86551 | 0.86551 | 0
Bluewaters 1 | SWIS | Steam turbine - Black coal | 89.2566 | 92.315 | 93.3182 | 91.63 | 90.23 | 91.7027 | 1.4727 | Bluewaters 1 | SWIS | Steam turbine - Black coal | 0.84679 | 0.87581 | 0.88533 | 0.86931 | 0.85603 | 0.87 | 0.013972
Bluewaters 2 | SWIS | Steam turbine - Black coal | 96.1136 | 90.3486 | 88.204 | 91.5554 | 90.23 | 91.8919 | 1.6619 | Bluewaters 2 | SWIS | Steam turbine - Black coal | 0.88905 | 0.83572 | 0.81589 | 0.84689 | 0.83463 | 0.85 | 0.015372
Callide B | QLD | Steam turbine - Black Coal | 99.7188 | 103.2811 | 102.5575 | 101.8525 | 94.19 | 101.3797 | 7.1897 | Callide B | QLD | Steam turbine - Black Coal | 0.90493 | 0.93725 | 0.93069 | 0.92429 | 0.85475 | 0.92 | 0.065245
Callide Power Plant | QLD | Steam turbine - Black Coal | 97.2073 | 100.3292 | 96.3739 | 97.9701 | 96.57 | 96.57 | 0 | Callide Power Plant | QLD | Steam turbine - Black Coal | 0.90123 | 0.93018 | 0.8935 | 0.9083 | 0.89532 | 0.89532 | 0
Collie | SWIS | Steam turbine - Black coal | 90.7696 | 92.2838 | 92.6881 | 91.9138 | 90.23 | 90.23 | 0 | Collie | SWIS | Steam turbine - Black coal | 0.88516 | 0.89993 | 0.90387 | 0.89632 | 0.8799 | 0.8799 | 0
Eraring | NSW | Steam turbine - Black Coal | 90.2088 | 89.9615 | 89.7887 | 89.9863 | 90.21 | 90.21 | 0 | Eraring | NSW | Steam turbine - Black Coal | 0.86234 | 0.85997 | 0.85832 | 0.86021 | 0.86235 | 0.86235 | 0
Gladstone | QLD | Steam turbine - Black Coal | 100.3303 | 102.383 | 103.306 | 102.0064 | 90.35 | 102.029 | 11.679 | Gladstone | QLD | Steam turbine - Black Coal | 0.94402 | 0.96333 | 0.97202 | 0.95979 | 0.85011 | 0.96 | 0.10989
Kogan Creek | QLD | Steam turbine - Black Coal | 92.4952 | 91.6178 | 94.0544 | 92.7225 | 87.03 | 92.8442 | 5.8142 | Kogan Creek | QLD | Steam turbine - Black Coal | 0.81692 | 0.80917 | 0.83069 | 0.81892 | 0.76865 | 0.82 | 0.051351
Liddell | NSW | Steam turbine - Black Coal | 90.9054 | 90.9674 | 92.7973 | 91.5567 | 90.91 | 91.9123 | 1.0023 | Liddell | NSW | Steam turbine - Black Coal | 0.91981 | 0.92044 | 0.93895 | 0.9264 | 0.91986 | 0.93 | 0.010141
Millmerran | QLD | Steam turbine - Black Coal | 89.069 | 92.9288 | 88.5527 | 90.1835 | 90.52 | 90.52 | 0 | Millmerran | QLD | Steam turbine - Black Coal | 0.81683 | 0.85223 | 0.81209 | 0.82705 | 0.83013 | 0.83013 | 0
Mt Piper | NSW | Steam turbine - Black Coal | 93.2854 | 89.8939 | 93.5471 | 92.2421 | 93.29 | 93.29 | 0 | Mt Piper | NSW | Steam turbine - Black Coal | 0.86226 | 0.83091 | 0.86468 | 0.85262 | 0.8623 | 0.8623 | 0
Muja A&B | SWIS | Steam turbine - Black coal | 73.587 | 75.4655 | 78.1002 | 75.7176 | 90.23 | 90.23 | 0 | Muja A&B | SWIS | Steam turbine - Black coal | 0.91817 | 0.9416 | 0.97448 | 0.94475 | 1.1258 | 1.1258 | 0
Muja C | SWIS | Steam turbine - Black coal | 89.1964 | 91.4733 | 94.667 | 91.7789 | 90.23 | 90.23 | 0 | Muja C | SWIS | Steam turbine - Black coal | 0.91817 | 0.9416 | 0.97448 | 0.94475 | 0.92881 | 0.92881 | 0
Muja D | SWIS | Steam turbine - Black coal | 91.9838 | 94.3319 | 97.6253 | 94.647 | 90.23 | 90.23 | 0 | Muja D | SWIS | Steam turbine - Black coal | 0.91817 | 0.9416 | 0.97448 | 0.94475 | 0.90066 | 0.90066 | 0
Northern | SA | Steam turbine - Black Coal | 108.8088 | 108.4882 | 111.3181 | 109.5384 | 108.81 | 108.81 | 0 | Northern | SA | Steam turbine - Black Coal | 1.0101 | 1.0072 | 1.0334 | 1.0169 | 1.0102 | 1.0102 | 0
Redbank | NSW | Steam turbine - Black Coal | 105.0319 |  |  | 105.0319 | 105.03 | 105.03 | 0 | Redbank | NSW | Steam turbine - Black Coal | 1.1873 |  |  | 1.1873 | 1.1872 | 1.1872 | 0
Stanwell | QLD | Steam turbine - Black Coal | 95.6568 | 96.1098 | 93.8663 | 95.211 | 95.66 | 95.66 | 0 | Stanwell | QLD | Steam turbine - Black Coal | 0.86091 | 0.86499 | 0.8448 | 0.8569 | 0.86094 | 0.86094 | 0
Tarong | QLD | Steam turbine - Black Coal | 92.9604 | 92.5245 | 95.9993 | 93.8281 | 94 | 94 | 0 | Tarong | QLD | Steam turbine - Black Coal | 0.85051 | 0.84652 | 0.87831 | 0.85845 | 0.86002 | 0.86002 | 0
Tarong North | QLD | Steam turbine - Black Coal | 98.5225 | 98.0605 | 101.7432 | 99.4421 | 96.49 | 96.49 | 0 | Tarong North | QLD | Steam turbine - Black Coal | 0.85051 | 0.84652 | 0.87831 | 0.85845 | 0.83296 | 0.83296 | 0
Vales Point B | NSW | Steam turbine - Black Coal | 90.5799 | 85.9946 | 89.8241 | 88.7995 | 87.25 | 89.0175 | 1.7675 | Vales Point B | NSW | Steam turbine - Black Coal | 0.87509 | 0.8308 | 0.86779 | 0.85789 | 0.84292 | 0.86 | 0.017076
Wallerawang C | NSW | Steam turbine - Black Coal | 85.507 | 83.7676 |  | 84.6373 | 85.51 | 85.51 | 0 | Wallerawang C | NSW | Steam turbine - Black Coal | 0.86489 | 0.84729 |  | 0.85609 | 0.86492 | 0.86492 | 0
Worsley | SWIS | Cogeneration - Black coal |  |  |  |  | 90.23 | 90.23 | 0 | Worsley | SWIS | Cogeneration - Black coal |  |  |  |  | 1.1601 | 1.1601 | 0
Anglesea | VIC | Steam turbine - Brown Coal | 90.4201 | 88.588 | 89.5536 | 89.5206 | 92.43 | 89.5169 | -2.9131 | Anglesea | VIC | Steam turbine - Brown Coal | 1.101 | 1.0787 | 1.0904 | 1.09 | 1.1255 | 1.09 | -0.035471
Energy Brix Complex | VIC | Steam turbine - Brown Coal | 230.1622 | 252.6414 | 189.4207 | 224.0748 | 109.51 | 219.6078 | 110.0978 | Energy Brix Complex | VIC | Steam turbine - Brown Coal | 2.9346 | 3.2212 | 2.4151 | 2.857 | 1.3963 | 2.8 | 1.4037
Hazelwood | VIC | Steam turbine - Brown Coal | 94.8112 | 94.7266 | 95.0402 | 94.8593 | 94.81 | 94.81 | 0 | Hazelwood | VIC | Steam turbine - Brown Coal | 1.3963 | 1.3951 | 1.3997 | 1.397 | 1.3963 | 1.3963 | 0
Loy Yang A | VIC | Steam turbine - Brown Coal | 96.2955 | 95.3109 | 94.6987 | 95.435 | 96.3 | 95.4823 | -0.8177 | Loy Yang A | VIC | Steam turbine - Brown Coal | 1.1598 | 1.1479 | 1.1406 | 1.1494 | 1.1598 | 1.15 | -0.0098485
Loy Yang B | VIC | Steam turbine - Brown Coal | 91.2445 | 90.7057 | 90.8686 | 90.9396 | 91.24 | 91.24 | 0 | Loy Yang B | VIC | Steam turbine - Brown Coal | 1.1361 | 1.1294 | 1.1314 | 1.1323 | 1.136 | 1.136 | 0
Yallourn | VIC | Steam turbine - Brown Coal | 96.955 | 94.7757 | 92.2804 | 94.6703 | 96.96 | 95.0154 | -1.9446 | Yallourn | VIC | Steam turbine - Brown Coal | 1.3367 | 1.3067 | 1.2723 | 1.3052 | 1.3368 | 1.31 | -0.02681
Geraldton | SWIS | OCGT - Distillate | 71.738 | 66.8027 | 69.9203 | 69.487 | 70.2 | 68.9559 | -1.2441 | Geraldton | SWIS | OCGT - Distillate | 1.3525 | 1.2594 | 1.3182 | 1.31 | 1.3235 | 1.3 | -0.023455
Hunter Valley | NSW | OCGT - Distillate | 221.2221 |  | 113.6186 | 167.4204 | 69.7 | 69.7 | 0 | Hunter Valley | NSW | OCGT - Distillate | 2.8158 |  | 1.4462 | 2.131 | 0.88718 | 0.88718 | 0
Kalgoorlie | SWIS | OCGT - Distillate | 66.2553 | 66.6517 | 65.2822 | 66.0631 | 70.2 | 70.2 | 0 | Kalgoorlie | SWIS | OCGT - Distillate | 0.94931 | 0.95498 | 0.93536 | 0.94655 | 1.0058 | 1.0058 | 0
Kwinana GT | SWIS | OCGT - Natural gas | 57.701 | 48.0751 | 48.1606 | 51.3122 | 51.53 | 51.53 | 0 | Kwinana GT | SWIS | OCGT - Natural gas | 0.73816 | 0.61502 | 0.61611 | 0.65643 | 0.65922 | 0.65922 | 0
Mackay | QLD | OCGT - Distillate | 3420.8754 | 1019.4973 | 89.6325 | 1510.0017 | 69.7 | 78.5634 | 8.8634 | Mackay | QLD | OCGT - Distillate | 43.5429 | 12.9767 | 1.1409 | 19.2202 | 0.88718 | 1 | 0.11282
Mt Stuart | QLD | OCGT - Distillate | 80.4606 | 91.4051 | 73.8358 | 81.9005 | 80.46 | 80.46 | 0 | Mt Stuart | QLD | OCGT - Distillate | 0.95587 | 1.0859 | 0.87717 | 0.97298 | 0.95586 | 0.95586 | 0
Namarkkon | SWIS | OCGT - Distillate |  |  |  |  | 70.2 | 70.2 | 0 | Namarkkon | SWIS | OCGT - Distillate |  |  |  |  | 0.83398 | 0.83398 | 0
Port Lincoln | SA | OCGT - Distillate | 115.5813 | 105.2644 | 112.3502 | 111.0653 | 67.9 | 109.9034 | 42.0034 | Port Lincoln | SA | OCGT - Distillate | 1.4723 | 1.3409 | 1.4312 | 1.4148 | 0.86494 | 1.4 | 0.53506
Snuggery | SA | OCGT - Distillate | 93.9947 | 131.8933 | 101.26 | 109.0494 | 67.9 | 104.2383 | 36.3383 | Snuggery | SA | OCGT - Distillate | 1.2624 | 1.7714 | 1.36 | 1.4646 | 0.91195 | 1.4 | 0.48805
Tesla | SWIS | OCGT - Distillate |  |  |  |  | 70.2 | 70.2 | 0 | Tesla | SWIS | OCGT - Distillate |  |  |  |  | 0.83819 | 0.83819 | 0
Western Energy Peaker | SWIS | OCGT - Distillate |  |  |  |  | 70.2 | 70.2 | 0 | Western Energy Peaker | SWIS | OCGT - Distillate |  |  |  |  | 0.89806 | 0.89806 | 0
Jandakot Bioenergy | SWIS | Reciprocating engine - Biomass |  |  |  |  | 4.83 | 4.83 | 0 | Jandakot Bioenergy | SWIS | Reciprocating engine - Biomass |  |  |  |  | 0.04819 | 0.04819 | 0
Atlas LFG | SWIS | Reciprocating engine - Landfill gas | 4.6592 | 4.8274 | 4.9344 | 4.807 | 4.83 | 4.83 | 0 | Atlas LFG | SWIS | Reciprocating engine - Landfill gas | 0.054106 | 0.05606 | 0.057303 | 0.055823 | 0.05609 | 0.05609 | 0
Canning/Melville LFG | SWIS | Reciprocating engine - Landfill gas | 4.7789 | 4.8311 | 4.9168 | 4.8423 | 4.83 | 4.83 | 0 | Canning/Melville LFG | SWIS | Reciprocating engine - Landfill gas | 0.052936 | 0.053514 | 0.054463 | 0.053637 | 0.053502 | 0.053502 | 0
Gosnells LFG | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 4.83 | 4.83 | 0 | Gosnells LFG | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 0.04968 | 0.04968 | 0
Henderson | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 4.83 | 4.83 | 0 | Henderson | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 0.069552 | 0.069552 | 0
Kalamunda LFG | SWIS | Reciprocating engine - Landfill gas | 416.6667 | 305.5556 | 219.9074 | 314.0432 | 4.83 | 4.83 | 0 | Kalamunda LFG | SWIS | Reciprocating engine - Landfill gas | 6 | 4.4 | 3.1667 | 4.5222 | 0.069552 | 0.069552 | 0
Mount Herron | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 4.83 | 4.83 | 0 | Mount Herron | SWIS | Reciprocating engine - Landfill gas |  |  |  |  | 0.069552 | 0.069552 | 0
Red Hill LFG | SWIS | Reciprocating engine - Landfill gas | 4.8683 | 4.8138 | 4.8643 | 4.8488 | 4.83 | 4.83 | 0 | Red Hill LFG | SWIS | Reciprocating engine - Landfill gas | 0.050074 | 0.049513 | 0.050033 | 0.049873 | 0.04968 | 0.04968 | 0
Rockingham LFG | SWIS | Reciprocating engine - Landfill gas | 4.9549 | 4.3254 | 5.1182 | 4.7995 | 4.83 | 4.83 | 0 | Rockingham LFG | SWIS | Reciprocating engine - Landfill gas | 0.059459 | 0.051905 | 0.061418 | 0.057594 | 0.05796 | 0.05796 | 0
South Cardup LFG | SWIS | Reciprocating engine - Landfill gas | 4.7462 | 4.8028 | 4.8073 | 4.7854 | 4.83 | 4.83 | 0 | South Cardup LFG | SWIS | Reciprocating engine - Landfill gas | 0.056954 | 0.057634 | 0.057687 | 0.057425 | 0.05796 | 0.05796 | 0
Tamala Park LFG | SWIS | Reciprocating engine - Landfill gas | 4.8712 | 4.8271 | 4.8424 | 4.8469 | 4.83 | 4.83 | 0 | Tamala Park LFG | SWIS | Reciprocating engine - Landfill gas | 0.050104 | 0.049651 | 0.049807 | 0.049854 | 0.04968 | 0.04968 | 0
Cockburn | SWIS | CCGT - Natural gas | 51.3503 | 50.9816 | 51.2327 | 51.1882 | 51.53 | 51.53 | 0 | Cockburn | SWIS | CCGT - Natural gas | 0.39654 | 0.39369 | 0.39563 | 0.39529 | 0.39792 | 0.39792 | 0
Condamine | QLD | CCGT - Natural gas | 62.4503 | 63.6111 | 59.9232 | 61.9949 | 62.45 | 62.45 | 0 | Condamine | QLD | CCGT - Natural gas | 0.45433 | 0.46277 | 0.43594 | 0.45101 | 0.45432 | 0.45432 | 0
Darling Downs | QLD | CCGT - Natural gas | 57.1179 | 56.156 | 55.3909 | 56.2216 | 57.12 | 57.12 | 0 | Darling Downs | QLD | CCGT - Natural gas | 0.42019 | 0.41311 | 0.40748 | 0.4136 | 0.4202 | 0.4202 | 0
Newgen Power | SWIS | CCGT - Natural gas | 53.5981 | 53.3213 | 52.137 | 53.0188 | 51.53 | 51.53 | 0 | Newgen Power | SWIS | CCGT - Natural gas | 0.40665 | 0.40455 | 0.39557 | 0.40226 | 0.39096 | 0.39096 | 0
Osborne | SA | CCGT - Natural gas | 61.7419 | 51.2876 |  | 56.5148 | 61.74 | 56.4912 | -5.2488 | Osborne | SA | CCGT - Natural gas | 0.50276 | 0.41763 |  | 0.46019 | 0.50274 | 0.46 | -0.04274
Pelican Point | SA | CCGT - Natural gas | 54.0461 | 54.7206 | 54.408 | 54.3916 | 54.05 | 54.05 | 0 | Pelican Point | SA | CCGT - Natural gas | 0.39724 | 0.4022 | 0.3999 | 0.39978 | 0.39727 | 0.39727 | 0
Swanbank E | QLD | CCGT - Natural gas | 51.8863 | 49.4045 | 48.2671 | 49.8526 | 51.89 | 49.7995 | -2.0905 | Swanbank E | QLD | CCGT - Natural gas | 0.3855 | 0.36706 | 0.35861 | 0.37039 | 0.38553 | 0.37 | -0.015532
Tallawarra | NSW | CCGT - Natural gas | 51.2839 | 50.8085 | 52.1576 | 51.4167 | 51.28 | 51.28 | 0 | Tallawarra | NSW | CCGT - Natural gas | 0.35817 | 0.35485 | 0.36427 | 0.35909 | 0.35814 | 0.35814 | 0
Tamar Valley CCGT | TAS | CCGT - Natural gas | 56.43 | 57.3441 | 42.1742 | 51.9828 | 56.41 | 56.41 | 0 | Tamar Valley CCGT | TAS | CCGT - Natural gas | 0.41053 | 0.41718 | 0.30682 | 0.37817 | 0.41038 | 0.41038 | 0
Townsville | QLD | CCGT - Natural gas | 56.0896 | 58.5986 | 64.9744 | 59.8875 | 56.09 | 59.2784 | 3.1884 | Townsville | QLD | CCGT - Natural gas | 0.42579 | 0.44484 | 0.49324 | 0.45462 | 0.4258 | 0.45 | 0.024204
BP Cogen | SWIS | Cogeneration - Natural gas | 56.7302 | 56.7283 | 55.8668 | 56.4418 | 51.53 | 56.0091 | 4.4791 | BP Cogen | SWIS | Cogeneration - Natural gas | 0.5267 | 0.52668 | 0.51868 | 0.52402 | 0.47842 | 0.52 | 0.041585
Smithfield | NSW | Cogeneration - Natural gas | 57.6557 | 58.2068 | 56.9456 | 57.6027 | 57.66 | 57.66 | 0 | Smithfield | NSW | Cogeneration - Natural gas | 0.48093 | 0.48553 | 0.47501 | 0.48049 | 0.48097 | 0.48097 | 0
Tiwest Cogen | SWIS | Cogeneration - Natural gas |  |  |  |  | 51.53 | 51.53 | 0 | Tiwest Cogen | SWIS | Cogeneration - Natural gas |  |  |  |  | 0.63009 | 0.63009 | 0
Worsley SWCJV | SWIS | Cogeneration - Natural gas | 51.5431 | 51.8299 | 51.7258 | 51.6996 | 51.53 | 51.53 | 0 | Worsley SWCJV | SWIS | Cogeneration - Natural gas | 0.62705 | 0.63054 | 0.62927 | 0.62895 | 0.62689 | 0.62689 | 0
Yarwun CoGen | QLD | Cogeneration - Natural gas |  |  |  |  | 51.3 | 51.3 | 0 | Yarwun CoGen | QLD | Cogeneration - Natural gas |  |  |  |  | 0.53231 | 0.53231 | 0
Bairnsdale | VIC | OCGT - Natural gas | 50.0246 | 49.6716 | 51.6311 | 50.4424 | 50.02 | 50.02 | 0 | Bairnsdale | VIC | OCGT - Natural gas | 0.52438 | 0.52067 | 0.54122 | 0.52876 | 0.52433 | 0.52433 | 0
Barcaldine | QLD | OCGT - Natural gas |  |  |  |  | 78.56 | 78.56 | 0 | Barcaldine | QLD | OCGT - Natural gas |  |  |  |  | 0.99996 | 0.99996 | 0
Bell Bay Three | TAS | OCGT - Natural gas |  |  |  |  | 51.3 | 51.3 | 0 | Bell Bay Three | TAS | OCGT - Natural gas |  |  |  |  | 0.61772 | 0.61772 | 0
Braemar | QLD | OCGT - Natural gas | 48.0229 | 47.4553 | 47.6408 | 47.7063 | 48.02 | 48.02 | 0 | Braemar | QLD | OCGT - Natural gas | 0.57051 | 0.56377 | 0.56597 | 0.56675 | 0.57048 | 0.57048 | 0
Braemar 2 | QLD | OCGT - Natural gas | 49.816 | 50.2604 | 49.4824 | 49.8529 | 49.82 | 49.82 | 0 | Braemar 2 | QLD | OCGT - Natural gas | 0.59181 | 0.59709 | 0.58785 | 0.59225 | 0.59186 | 0.59186 | 0
Colongra GT | NSW | OCGT - Natural gas | 58.9351 | 57.0616 | 51.9761 | 55.9909 | 58.94 | 57.4635 | -1.4765 | Colongra GT | NSW | OCGT - Natural gas | 0.65639 | 0.63552 | 0.57888 | 0.6236 | 0.65644 | 0.64 | -0.016444
Dry Creek | SA | OCGT - Natural gas | 92.7982 | 85.1714 | 91.1337 | 89.7011 | 58.36 | 87.5421 | 29.1821 | Dry Creek | SA | OCGT - Natural gas | 1.272 | 1.1675 | 1.2492 | 1.2296 | 0.79998 | 1.2 | 0.40002
Hallett | SA | OCGT - Natural gas | 68.605 | 66.2293 | 70.5426 | 68.4589 | 57.24 | 68.6869 | 11.4469 | Hallett | SA | OCGT - Natural gas | 1.0188 | 0.98351 | 1.0476 | 1.0166 | 0.85001 | 1.02 | 0.16999
Jeeralang A | VIC | OCGT - Natural gas | 53.886 | 55.8334 | 46.2691 | 51.9962 | 53.77 | 53.77 | 0 | Jeeralang A | VIC | OCGT - Natural gas | 0.8217 | 0.8514 | 0.70555 | 0.79288 | 0.81993 | 0.81993 | 0
Jeeralang B | VIC | OCGT - Natural gas | 53.886 | 55.8334 | 46.2691 | 51.9962 | 53.77 | 53.77 | 0 | Jeeralang B | VIC | OCGT - Natural gas | 0.8217 | 0.8514 | 0.70555 | 0.79288 | 0.81993 | 0.81993 | 0
Kalgoorlie Nickel | SWIS | OCGT - Natural gas | 52.4459 | 54.9487 | 58.9565 | 55.4503 | 51.53 | 55.2764 | 3.7464 | Kalgoorlie Nickel | SWIS | OCGT - Natural gas | 0.56928 | 0.59644 | 0.63995 | 0.60189 | 0.55933 | 0.6 | 0.040665
Kemerton | SWIS | OCGT - Natural gas | 52.0947 | 58.4073 | 54.7177 | 55.0732 | 51.53 | 55.2764 | 3.7464 | Kemerton | SWIS | OCGT - Natural gas | 0.62201 | 0.69738 | 0.65333 | 0.65757 | 0.61527 | 0.66 | 0.044732
Kwinana HEGT | SWIS | OCGT - Natural gas | 77.2782 | 64.3863 | 64.5008 | 68.7217 | 51.53 | 51.53 | 0 | Kwinana HEGT | SWIS | OCGT - Natural gas | 0.73816 | 0.61502 | 0.61611 | 0.65643 | 0.49221 | 0.49221 | 0
Ladbroke Grove | SA | OCGT - Natural gas | 46.3999 | 43.0595 | 44.0093 | 44.4896 | 46.4 | 44.6128 | -1.7872 | Ladbroke Grove | SA | OCGT - Natural gas | 0.55123 | 0.51155 | 0.52283 | 0.52854 | 0.55123 | 0.53 | -0.021232
Laverton North | VIC | OCGT - Natural gas | 64.8916 | 60.8267 | 141.0857 | 88.9347 | 64.89 | 64.89 | 0 | Laverton North | VIC | OCGT - Natural gas | 0.7454 | 0.69871 | 1.6206 | 1.0216 | 0.74538 | 0.74538 | 0
Mintaro | SA | OCGT - Natural gas | 67.3788 | 60.549 | 63.8176 | 63.9151 | 67.38 | 64.422 | -2.958 | Mintaro | SA | OCGT - Natural gas | 0.85764 | 0.7707 | 0.81231 | 0.81355 | 0.85765 | 0.82 | -0.037651
Mortlake | VIC | OCGT - Natural gas | 46.1307 | 48.6216 | 47.6323 | 47.4615 | 46.13 | 47.587 | 1.457 | Mortlake | VIC | OCGT - Natural gas | 0.51378 | 0.54152 | 0.5305 | 0.5286 | 0.51377 | 0.53 | 0.016227
Mungarra | SWIS | OCGT - Natural gas | 59.9942 | 62.3131 | 59.7175 | 60.6749 | 51.53 | 60.7203 | 9.1903 | Mungarra | SWIS | OCGT - Natural gas | 0.8596 | 0.89282 | 0.85563 | 0.86935 | 0.73832 | 0.87 | 0.13168
Neerabup Peaker | SWIS | OCGT - Natural gas | 51.3604 | 49.7103 | 47.8325 | 49.6344 | 51.53 | 51.53 | 0 | Neerabup Peaker | SWIS | OCGT - Natural gas | 0.65374 | 0.63274 | 0.60884 | 0.63178 | 0.6559 | 0.6559 | 0
Oakey | QLD | OCGT - Natural gas | 82.1174 | 70.4286 | 57.0186 | 69.8549 | 82.12 | 69.5174 | -12.6026 | Oakey | QLD | OCGT - Natural gas | 0.89775 | 0.76996 | 0.62336 | 0.76369 | 0.89778 | 0.76 | -0.13778
Parkeston SCE | SWIS | OCGT - Natural gas | 50.6347 | 50.2922 | 51.5544 | 50.8271 | 51.53 | 51.53 | 0 | Parkeston SCE | SWIS | OCGT - Natural gas | 0.58508 | 0.58112 | 0.5957 | 0.5873 | 0.59542 | 0.59542 | 0
Pinjar A B | SWIS | OCGT - Natural gas | 49.9092 | 49.1273 | 49.8913 | 49.6426 | 51.53 | 51.53 | 0 | Pinjar A B | SWIS | OCGT - Natural gas | 0.81261 | 0.79988 | 0.81232 | 0.80827 | 0.839 | 0.839 | 0
Pinjar C | SWIS | OCGT - Natural gas | 54.4464 | 53.5934 | 54.4268 | 54.1555 | 51.53 | 51.53 | 0 | Pinjar C | SWIS | OCGT - Natural gas | 0.81261 | 0.79988 | 0.81232 | 0.80827 | 0.76909 | 0.76909 | 0
Pinjar D | SWIS | OCGT - Natural gas | 56.715 | 55.8264 | 56.6946 | 56.412 | 51.53 | 51.53 | 0 | Pinjar D | SWIS | OCGT - Natural gas | 0.81261 | 0.79988 | 0.81232 | 0.80827 | 0.73832 | 0.73832 | 0
Pinjarra Alinta Cogen | SWIS | OCGT - Natural gas | 62.9563 | 64.298 | 57.6325 | 61.629 | 51.53 | 61.6889 | 10.1589 | Pinjarra Alinta Cogen | SWIS | OCGT - Natural gas | 0.86746 | 0.88595 | 0.79411 | 0.84917 | 0.71002 | 0.85 | 0.13998
Quarantine | SA | OCGT - Natural gas | 64.4484 | 62.8755 | 68.3116 | 65.2118 | 64.45 | 64.45 | 0 | Quarantine | SA | OCGT - Natural gas | 0.68879 | 0.67198 | 0.73008 | 0.69695 | 0.68881 | 0.68881 | 0
Roma | QLD | OCGT - Natural gas | 55.8764 | 56.2846 | 54.6756 | 55.6122 | 55.88 | 55.88 | 0 | Roma | QLD | OCGT - Natural gas | 0.66381 | 0.66866 | 0.64955 | 0.66067 | 0.66385 | 0.66385 | 0
Somerton | VIC | OCGT - Natural gas | 49.0557 | 50.9359 | 53.9158 | 51.3025 | 49.06 | 51.1785 | 2.1185 | Somerton | VIC | OCGT - Natural gas | 0.72848 | 0.7564 | 0.80065 | 0.76184 | 0.72854 | 0.76 | 0.031459
Tamar Valley OCGT | TAS | OCGT - Natural gas |  |  |  |  | 51.3 | 51.3 | 0 | Tamar Valley OCGT | TAS | OCGT - Natural gas |  |  |  |  | 0.65298 | 0.65298 | 0
Uranquinty | NSW | OCGT - Natural gas | 52.2289 | 53.8322 | 46.5508 | 50.8706 | 52.23 | 52.23 | 0 | Uranquinty | NSW | OCGT - Natural gas | 0.5817 | 0.59956 | 0.51846 | 0.56657 | 0.58171 | 0.58171 | 0
Valley Power | VIC | OCGT - Natural gas | 54.7886 | 52.9839 | 55.8771 | 54.5499 | 54.79 | 54.79 | 0 | Valley Power | VIC | OCGT - Natural gas | 0.81361 | 0.78681 | 0.82977 | 0.81007 | 0.81363 | 0.81363 | 0
Wagerup Alinta Peaker | SWIS | OCGT - Natural gas | 47.9902 | 50.8863 | 52.0983 | 50.3249 | 51.53 | 51.53 | 0 | Wagerup Alinta Peaker | SWIS | OCGT - Natural gas | 0.573 | 0.60758 | 0.62205 | 0.60088 | 0.61527 | 0.61527 | 0
Kwinana A | SWIS | Steam turbine - Natural gas | 56.331 | 46.9336 | 47.0171 | 50.0939 | 51.53 | 51.53 | 0 | Kwinana A | SWIS | Steam turbine - Natural gas | 0.73816 | 0.61502 | 0.61611 | 0.65643 | 0.67525 | 0.67525 | 0
Kwinana B | SWIS | Steam turbine - Natural gas | 58.5842 | 48.8109 | 48.8977 | 52.0976 | 51.53 | 51.53 | 0 | Kwinana B | SWIS | Steam turbine - Natural gas | 0.73816 | 0.61502 | 0.61611 | 0.65643 | 0.64928 | 0.64928 | 0
Kwinana C | SWIS | Steam turbine - Natural gas | 57.6688 | 48.0483 | 48.1337 | 51.2836 | 51.53 | 51.53 | 0 | Kwinana C | SWIS | Steam turbine - Natural gas | 0.73816 | 0.61502 | 0.61611 | 0.65643 | 0.65958 | 0.65958 | 0
Newport | VIC | Steam turbine - Natural gas | 50.851 | 51.0245 | 53.8084 | 51.8946 | 50.85 | 51.6053 | 0.75526 | Newport | VIC | Steam turbine - Natural gas | 0.52225 | 0.52404 | 0.55263 | 0.53297 | 0.52224 | 0.53 | 0.0077568
Torrens Island A | SA | Steam turbine - Natural gas | 50.294 | 51.3483 | 51.2581 | 50.9668 | 50.04 | 51.7544 | 1.7144 | Torrens Island A | SA | Steam turbine - Natural gas | 0.57335 | 0.58537 | 0.58434 | 0.58102 | 0.57046 | 0.59 | 0.019544
Torrens Island B | SA | Steam turbine - Natural gas | 53.6469 | 54.7715 | 54.6753 | 54.3646 | 49.12 | 53.3333 | 4.2133 | Torrens Island B | SA | Steam turbine - Natural gas | 0.57335 | 0.58537 | 0.58434 | 0.58102 | 0.52497 | 0.57 | 0.04503
Scope 3 emission factors (kg CO2-e/GJ of fuel) | [9 empty] | Scope 3 emission intensity (tonnes CO2-e/MWh as generated)
Station Name | Region | Generation - Fuel Type | Previous assumption | Proposed new value | Change |  |  |  |  | Station Name | Region | Generation - Fuel Type | Previous assumption | Proposed new value | Change
Bayswater | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Bayswater | NSW | Steam turbine - Black Coal | 0.086721 | 0.047131 | -0.03959
Bluewaters 1 | SWIS | Steam turbine - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Bluewaters 1 | SWIS | Steam turbine - Black coal | 0.021821 | 0.023718 | 0.0018974
Bluewaters 2 | SWIS | Steam turbine - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Bluewaters 2 | SWIS | Steam turbine - Black coal | 0.021275 | 0.023125 | 0.00185
Callide B | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Callide B | QLD | Steam turbine - Black Coal | 0.020872 | 0.011343 | -0.0095285
Callide Power Plant | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Callide Power Plant | QLD | Steam turbine - Black Coal | 0.021324 | 0.011589 | -0.0097348
Collie | SWIS | Steam turbine - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Collie | SWIS | Steam turbine - Black coal | 0.022429 | 0.024379 | 0.0019504
Eraring | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Eraring | NSW | Steam turbine - Black Coal | 0.087946 | 0.047797 | -0.040149
Gladstone | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Gladstone | QLD | Steam turbine - Black Coal | 0.021641 | 0.011761 | -0.0098795
Kogan Creek | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Kogan Creek | QLD | Steam turbine - Black Coal | 0.020314 | 0.01104 | -0.0092736
Liddell | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Liddell | NSW | Steam turbine - Black Coal | 0.093089 | 0.050592 | -0.042497
Millmerran | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Millmerran | QLD | Steam turbine - Black Coal | 0.021093 | 0.011463 | -0.0096293
Mt Piper | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Mt Piper | NSW | Steam turbine - Black Coal | 0.085038 | 0.046216 | -0.038822
Muja A&B | SWIS | Steam turbine - Black coal | 1.9 | 2.5 | 0.6 |  |  |  |  | Muja A&B | SWIS | Steam turbine - Black coal | 0.023707 | 0.031193 | 0.0074864
Muja C | SWIS | Steam turbine - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Muja C | SWIS | Steam turbine - Black coal | 0.023676 | 0.025734 | 0.0020588
Muja D | SWIS | Steam turbine - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Muja D | SWIS | Steam turbine - Black coal | 0.022958 | 0.024955 | 0.0019964
Northern | SA | Steam turbine - Black Coal | 0.8 | 2.5 | 1.7 |  |  |  |  | Northern | SA | Steam turbine - Black Coal | 0.0074269 | 0.023209 | 0.015782
Redbank | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Redbank | NSW | Steam turbine - Black Coal | 0.10399 | 0.056519 | -0.047476
Stanwell | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Stanwell | QLD | Steam turbine - Black Coal | 0.0207 | 0.01125 | -0.00945
Tarong | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Tarong | QLD | Steam turbine - Black Coal | 0.021043 | 0.011436 | -0.0096066
Tarong North | QLD | Steam turbine - Black Coal | 2.3 | 1.25 | -1.05 |  |  |  |  | Tarong North | QLD | Steam turbine - Black Coal | 0.019855 | 0.010791 | -0.0090643
Vales Point B | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Vales Point B | NSW | Steam turbine - Black Coal | 0.088881 | 0.048305 | -0.040576
Wallerawang C | NSW | Steam turbine - Black Coal | 9.2 | 5 | -4.2 |  |  |  |  | Wallerawang C | NSW | Steam turbine - Black Coal | 0.093056 | 0.050574 | -0.042482
Worsley | SWIS | Cogeneration - Black coal | 2.3 | 2.5 | 0.2 |  |  |  |  | Worsley | SWIS | Cogeneration - Black coal | 0.029571 | 0.032143 | 0.0025714
Anglesea | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Anglesea | VIC | Steam turbine - Brown Coal | 0.0048706 | 0.0048706 | 0
Energy Brix Complex | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Energy Brix Complex | VIC | Steam turbine - Brown Coal | 0.0051 | 0.0051 | 0
Hazelwood | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Hazelwood | VIC | Steam turbine - Brown Coal | 0.0058909 | 0.0058909 | 0
Loy Yang A | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Loy Yang A | VIC | Steam turbine - Brown Coal | 0.0048176 | 0.0048176 | 0
Loy Yang B | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Loy Yang B | VIC | Steam turbine - Brown Coal | 0.0049805 | 0.0049805 | 0
Yallourn | VIC | Steam turbine - Brown Coal | 0.4 | 0.4 | 0 |  |  |  |  | Yallourn | VIC | Steam turbine - Brown Coal | 0.0055149 | 0.0055149 | 0
Geraldton | SWIS | OCGT - Distillate | 7 | 3.6 | -3.4 |  |  |  |  | Geraldton | SWIS | OCGT - Distillate | 0.13197 | 0.067869 | -0.064099
Hunter Valley | NSW | OCGT - Distillate | 5.3 | 3.6 | -1.7 |  |  |  |  | Hunter Valley | NSW | OCGT - Distillate | 0.067461 | 0.045823 | -0.021639
Kalgoorlie | SWIS | OCGT - Distillate | 7 | 3.6 | -3.4 |  |  |  |  | Kalgoorlie | SWIS | OCGT - Distillate | 0.1003 | 0.051581 | -0.048715
Kwinana GT | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Kwinana GT | SWIS | OCGT - Natural gas | 0.08955 | 0.051171 | -0.038379
Mackay | QLD | OCGT - Distillate | 5.3 | 3.6 | -1.7 |  |  |  |  | Mackay | QLD | OCGT - Distillate | 0.067461 | 0.045823 | -0.021639
Mt Stuart | QLD | OCGT - Distillate | 5.3 | 3.6 | -1.7 |  |  |  |  | Mt Stuart | QLD | OCGT - Distillate | 0.062964 | 0.042768 | -0.020196
Namarkkon | SWIS | OCGT - Distillate | 7 | 3.6 | -3.4 |  |  |  |  | Namarkkon | SWIS | OCGT - Distillate | 0.08316 | 0.042768 | -0.040392
Port Lincoln | SA | OCGT - Distillate | 5.3 | 3.6 | -1.7 |  |  |  |  | Port Lincoln | SA | OCGT - Distillate | 0.067514 | 0.045858 | -0.021655
Snuggery | SA | OCGT - Distillate | 5.3 | 3.6 | -1.7 |  |  |  |  | Snuggery | SA | OCGT - Distillate | 0.071183 | 0.048351 | -0.022832
Tesla | SWIS | OCGT - Distillate | 7 | 3.6 | -3.4 |  |  |  |  | Tesla | SWIS | OCGT - Distillate | 0.08358 | 0.042984 | -0.040596
Western Energy Peaker | SWIS | OCGT - Distillate | 7 | 3.6 | -3.4 |  |  |  |  | Western Energy Peaker | SWIS | OCGT - Distillate | 0.08955 | 0.046054 | -0.043496
Jandakot Bioenergy | SWIS | Reciprocating engine - Biomass | 0 | 0 | 0 |  |  |  |  | Jandakot Bioenergy | SWIS | Reciprocating engine - Biomass | 0 | 0 | 0
Atlas LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Atlas LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Canning/Melville LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Canning/Melville LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Gosnells LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Gosnells LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Henderson | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Henderson | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Kalamunda LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Kalamunda LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Mount Herron | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Mount Herron | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Red Hill LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Red Hill LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Rockingham LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Rockingham LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
South Cardup LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | South Cardup LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Tamala Park LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0 |  |  |  |  | Tamala Park LFG | SWIS | Reciprocating engine - Landfill gas | 0 | 0 | 0
Cockburn | SWIS | CCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Cockburn | SWIS | CCGT - Natural gas | 0.054055 | 0.030889 | -0.023167
Condamine | QLD | CCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Condamine | QLD | CCGT - Natural gas | 0.05529 | 0.056745 | 0.001455
Darling Downs | QLD | CCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Darling Downs | QLD | CCGT - Natural gas | 0.05591 | 0.057381 | 0.0014713
Newgen Power | SWIS | CCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Newgen Power | SWIS | CCGT - Natural gas | 0.05311 | 0.030348 | -0.022761
Osborne | SA | CCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Osborne | SA | CCGT - Natural gas | 0.083057 | 0.084686 | 0.0016286
Pelican Point | SA | CCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Pelican Point | SA | CCGT - Natural gas | 0.07497 | 0.07644 | 0.00147
Swanbank E | QLD | CCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Swanbank E | QLD | CCGT - Natural gas | 0.056466 | 0.057952 | 0.001486
Tallawarra | NSW | CCGT - Natural gas | 13.5 | 12.8 | -0.7 |  |  |  |  | Tallawarra | NSW | CCGT - Natural gas | 0.094284 | 0.089395 | -0.0048888
Tamar Valley CCGT | TAS | CCGT - Natural gas | 0 | 3.9 | 3.9 |  |  |  |  | Tamar Valley CCGT | TAS | CCGT - Natural gas | 0 | 0.028372 | 0.028372
Townsville | QLD | CCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Townsville | QLD | CCGT - Natural gas | 0.057694 | 0.059212 | 0.0015183
BP Cogen | SWIS | Cogeneration - Natural gas | 7 | 4 | -3 |  |  |  |  | BP Cogen | SWIS | Cogeneration - Natural gas | 0.064989 | 0.037137 | -0.027853
Smithfield | NSW | Cogeneration - Natural gas | 13.5 | 12.8 | -0.7 |  |  |  |  | Smithfield | NSW | Cogeneration - Natural gas | 0.11261 | 0.10677 | -0.005839
Tiwest Cogen | SWIS | Cogeneration - Natural gas | 7 | 4 | -3 |  |  |  |  | Tiwest Cogen | SWIS | Cogeneration - Natural gas | 0.085593 | 0.04891 | -0.036683
Worsley SWCJV | SWIS | Cogeneration - Natural gas | 7 | 4 | -3 |  |  |  |  | Worsley SWCJV | SWIS | Cogeneration - Natural gas | 0.085159 | 0.048662 | -0.036497
Yarwun CoGen | QLD | Cogeneration - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Yarwun CoGen | QLD | Cogeneration - Natural gas | 0.078861 | 0.080936 | 0.0020753
Bairnsdale | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Bairnsdale | VIC | OCGT - Natural gas | 0.040881 | 0.040881 | 0
Barcaldine | QLD | OCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Barcaldine | QLD | OCGT - Natural gas | 0.096737 | 0.099283 | 0.0025457
Bell Bay Three | TAS | OCGT - Natural gas | 0 | 3.9 | 3.9 |  |  |  |  | Bell Bay Three | TAS | OCGT - Natural gas | 0 | 0.046961 | 0.046961
Braemar | QLD | OCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Braemar | QLD | OCGT - Natural gas | 0.090288 | 0.092664 | 0.002376
Braemar 2 | QLD | OCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Braemar 2 | QLD | OCGT - Natural gas | 0.090288 | 0.092664 | 0.002376
Colongra GT | NSW | OCGT - Natural gas | 13.5 | 12.8 | -0.7 |  |  |  |  | Colongra GT | NSW | OCGT - Natural gas | 0.15036 | 0.14256 | -0.0077963
Dry Creek | SA | OCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Dry Creek | SA | OCGT - Natural gas | 0.13982 | 0.14256 | 0.0027415
Hallett | SA | OCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Hallett | SA | OCGT - Natural gas | 0.15147 | 0.15444 | 0.00297
Jeeralang A | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Jeeralang A | VIC | OCGT - Natural gas | 0.059471 | 0.059471 | 0
Jeeralang B | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Jeeralang B | VIC | OCGT - Natural gas | 0.059471 | 0.059471 | 0
Kalgoorlie Nickel | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Kalgoorlie Nickel | SWIS | OCGT - Natural gas | 0.075982 | 0.043418 | -0.032564
Kemerton | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Kemerton | SWIS | OCGT - Natural gas | 0.08358 | 0.04776 | -0.03582
Kwinana HEGT | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Kwinana HEGT | SWIS | OCGT - Natural gas | 0.066864 | 0.038208 | -0.028656
Ladbroke Grove | SA | OCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Ladbroke Grove | SA | OCGT - Natural gas | 0.12118 | 0.12355 | 0.002376
Laverton North | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Laverton North | VIC | OCGT - Natural gas | 0.044799 | 0.044799 | 0
Mintaro | SA | OCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Mintaro | SA | OCGT - Natural gas | 0.12983 | 0.13238 | 0.0025457
Mortlake | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Mortlake | VIC | OCGT - Natural gas | 0.043436 | 0.043436 | 0
Mungarra | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Mungarra | SWIS | OCGT - Natural gas | 0.1003 | 0.057312 | -0.042984
Neerabup Peaker | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Neerabup Peaker | SWIS | OCGT - Natural gas | 0.0891 | 0.050914 | -0.038186
Oakey | QLD | OCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Oakey | QLD | OCGT - Natural gas | 0.083087 | 0.085274 | 0.0021865
Parkeston SCE | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Parkeston SCE | SWIS | OCGT - Natural gas | 0.080884 | 0.046219 | -0.034665
Pinjar A B | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Pinjar A B | SWIS | OCGT - Natural gas | 0.11397 | 0.065127 | -0.048845
Pinjar C | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Pinjar C | SWIS | OCGT - Natural gas | 0.10448 | 0.0597 | -0.044775
Pinjar D | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Pinjar D | SWIS | OCGT - Natural gas | 0.1003 | 0.057312 | -0.042984
Pinjarra Alinta Cogen | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Pinjarra Alinta Cogen | SWIS | OCGT - Natural gas | 0.096452 | 0.055115 | -0.041336
Quarantine | SA | OCGT - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Quarantine | SA | OCGT - Natural gas | 0.10901 | 0.11115 | 0.0021375
Roma | QLD | OCGT - Natural gas | 7.6 | 7.8 | 0.2 |  |  |  |  | Roma | QLD | OCGT - Natural gas | 0.090288 | 0.092664 | 0.002376
Somerton | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Somerton | VIC | OCGT - Natural gas | 0.057915 | 0.057915 | 0
Tamar Valley OCGT | TAS | OCGT - Natural gas | 0 | 3.9 | 3.9 |  |  |  |  | Tamar Valley OCGT | TAS | OCGT - Natural gas | 0 | 0.049641 | 0.049641
Uranquinty | NSW | OCGT - Natural gas | 13.5 | 12.8 | -0.7 |  |  |  |  | Uranquinty | NSW | OCGT - Natural gas | 0.15036 | 0.14256 | -0.0077963
Valley Power | VIC | OCGT - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Valley Power | VIC | OCGT - Natural gas | 0.057915 | 0.057915 | 0
Wagerup Alinta Peaker | SWIS | OCGT - Natural gas | 7 | 4 | -3 |  |  |  |  | Wagerup Alinta Peaker | SWIS | OCGT - Natural gas | 0.08358 | 0.04776 | -0.03582
Kwinana A | SWIS | Steam turbine - Natural gas | 7 | 4 | -3 |  |  |  |  | Kwinana A | SWIS | Steam turbine - Natural gas | 0.091728 | 0.052416 | -0.039312
Kwinana B | SWIS | Steam turbine - Natural gas | 7 | 4 | -3 |  |  |  |  | Kwinana B | SWIS | Steam turbine - Natural gas | 0.0882 | 0.0504 | -0.0378
Kwinana C | SWIS | Steam turbine - Natural gas | 7 | 4 | -3 |  |  |  |  | Kwinana C | SWIS | Steam turbine - Natural gas | 0.0896 | 0.0512 | -0.0384
Newport | VIC | Steam turbine - Natural gas | 3.9 | 3.9 | 0 |  |  |  |  | Newport | VIC | Steam turbine - Natural gas | 0.040054 | 0.040054 | 0
Torrens Island A | SA | Steam turbine - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Torrens Island A | SA | Steam turbine - Natural gas | 0.11628 | 0.11856 | 0.00228
Torrens Island B | SA | Steam turbine - Natural gas | 10.2 | 10.4 | 0.2 |  |  |  |  | Torrens Island B | SA | Steam turbine - Natural gas | 0.10901 | 0.11115 | 0.0021375

## ImpactofChange
|  |  | Scope 1 Intensity (tonnes CO2-e/MWh as generated) |  | Scope 1 Emissions ('000 tonnes CO2-e) |  |  | Scope 3 Intensity (tonnes CO2-e/MWh as generated) |  | Scope 3 Emissions ('000 tonnes CO2-e)
REGION | GENERATOR | Cal 2015 GWh as generated | Previous value | Proposed new value | Previous value | Proposed new value | Change | Previous value | Proposed new value | Previous value | Proposed new value | Change
NSW1 | Bayswater | 18629.6112 | 0.86551 | 0.86551 | 16124.1558 | 16124.1558 | 0 | 0.086721 | 0.047131 | 1615.5765 | 878.0307 | -737.5458
NSW1 | Blowering | 97.7017
NSW1 | Boco Rock WF | 317.6485
NSW1 | Broken Hill Solar Plant | 35.9497
NSW1 | Colongra GT | 16.7717 | 0.65644 | 0.64 | 11.0097 | 10.7339 | -0.2758 | 0.15036 | 0.14256 | 2.5217 | 2.391 | -0.13076
NSW1 | Eraring | 13858.5156 | 0.86235 | 0.86235 | 11950.8416 | 11950.8416 | 0 | 0.087946 | 0.047797 | 1218.7977 | 662.3901 | -556.4077
NSW1 | Gullen Range WF | 449.2831
NSW1 | Gunning WF | 151.6836
NSW1 | Guthega | 119.6992
NSW1 | Hume NSW | 191.9006
NSW1 | Hunter Valley | 0.60448 | 0.88718 | 0.88718 | 0.53628 | 0.53628 | 0 | 0.067461 | 0.045823 | 0.040779 | 0.027699 | -0.01308
NSW1 | Liddell | 8561.3786 | 0.91986 | 0.93 | 7875.2575 | 7962.0821 | 86.8245 | 0.093089 | 0.050592 | 796.9681 | 433.1348 | -363.8333
NSW1 | Moree Solar Farm | 0
NSW1 | Mt Piper | 5467.4062 | 0.8623 | 0.8623 | 4714.5562 | 4714.5562 | 0 | 0.085038 | 0.046216 | 464.9364 | 252.6828 | -212.2536
NSW1 | Nyngan Solar Plant | 147.726
NSW1 | Redbank | 0 | 1.1872 | 1.1872 | 0 | 0 | 0 | 0.10399 | 0.056519 | 0 | 0 | 0
NSW1 | Shoalhaven | 101.4025
NSW1 | Smithfield | 910.3577 | 0.48097 | 0.48097 | 437.8536 | 437.8536 | 0 | 0.11261 | 0.10677 | 102.5152 | 97.1996 | -5.3156
NSW1 | Tallawarra | 2534.9318 | 0.35814 | 0.35814 | 907.8593 | 907.8593 | 0 | 0.094284 | 0.089395 | 239.0035 | 226.6107 | -12.3928
NSW1 | Taralga WF | 219.4032
NSW1 | Tumut 1 | 1037.0717
NSW1 | Tumut 3 | 325.3925
NSW1 | Uranquinty | 491.547 | 0.58171 | 0.58171 | 285.9386 | 285.9386 | 0 | 0.15036 | 0.14256 | 73.9072 | 70.0749 | -3.8322
NSW1 | Vales Point B | 8168.5561 | 0.84292 | 0.86 | 6885.4697 | 7024.9582 | 139.4885 | 0.088881 | 0.048305 | 726.0323 | 394.5828 | -331.4495
NSW1 | Woodlawn WF | 135.7997
QLD1 | Barcaldine | 5.7656 | 0.99996 | 0.99996 | 5.7654 | 5.7654 | 0 | 0.096737 | 0.099283 | 0.55775 | 0.57243 | 0.014678
QLD1 | Barron Gorge | 152.8209
QLD1 | Braemar | 1600.1674 | 0.57048 | 0.57048 | 912.8597 | 912.8597 | 0 | 0.090288 | 0.092664 | 144.4759 | 148.2779 | 3.802
QLD1 | Braemar 2 | 1944.9923 | 0.59186 | 0.59186 | 1151.1662 | 1151.1662 | 0 | 0.090288 | 0.092664 | 175.6095 | 180.2308 | 4.6213
QLD1 | Callide B | 3733.1757 | 0.85475 | 0.92 | 3190.9494 | 3434.5216 | 243.5722 | 0.020872 | 0.011343 | 77.9189 | 42.3472 | -35.5717
QLD1 | Callide Power Plant | 5679.5845 | 0.89532 | 0.89532 | 5085.0624 | 5085.0624 | 0 | 0.021324 | 0.011589 | 121.1105 | 65.8209 | -55.2896
QLD1 | Condamine | 527.1576 | 0.45432 | 0.45432 | 239.5002 | 239.5002 | 0 | 0.05529 | 0.056745 | 29.1465 | 29.9136 | 0.76701
QLD1 | Darling Downs | 4373.285 | 0.4202 | 0.4202 | 1837.6741 | 1837.6741 | 0 | 0.05591 | 0.057381 | 244.5085 | 250.9429 | 6.4344
QLD1 | Gladstone | 5351.85 | 0.85011 | 0.96 | 4549.6685 | 5137.776 | 588.1075 | 0.021641 | 0.011761 | 115.8189 | 62.9451 | -52.8738
QLD1 | Kareeya | 327.2158
QLD1 | Kogan Creek | 5764.7171 | 0.76865 | 0.82 | 4431.0438 | 4727.068 | 296.0242 | 0.020314 | 0.01104 | 117.1022 | 63.6425 | -53.4597
QLD1 | Mackay | 0.60255 | 0.88718 | 1 | 0.53457 | 0.60255 | 0.067979 | 0.067461 | 0.045823 | 0.040649 | 0.027611 | -0.013038
QLD1 | Millmerran | 6983.1149 | 0.83013 | 0.83013 | 5796.9255 | 5796.9255 | 0 | 0.021093 | 0.011463 | 147.2926 | 80.0503 | -67.2423
QLD1 | Mt Stuart | 25.3974 | 0.95586 | 0.95586 | 24.2764 | 24.2764 | 0 | 0.062964 | 0.042768 | 1.5991 | 1.0862 | -0.51292
QLD1 | Oakey | 739.3273 | 0.89778 | 0.76 | 663.7519 | 561.8887 | -101.8632 | 0.083087 | 0.085274 | 61.4286 | 63.0451 | 1.6165
QLD1 | Roma | 118.5746 | 0.66385 | 0.66385 | 78.7163 | 78.7163 | 0 | 0.090288 | 0.092664 | 10.7059 | 10.9876 | 0.28173
QLD1 | Stanwell | 9270.4073 | 0.86094 | 0.86094 | 7981.2645 | 7981.2645 | 0 | 0.0207 | 0.01125 | 191.8974 | 104.2921 | -87.6053
QLD1 | Swanbank E | 0 | 0.38553 | 0.37 | 0 | 0 | 0 | 0.056466 | 0.057952 | 0 | 0 | 0
QLD1 | Tarong | 6716.7107 | 0.86002 | 0.86002 | 5776.5196 | 5776.5196 | 0 | 0.021043 | 0.011436 | 141.3404 | 76.8154 | -64.525
QLD1 | Tarong North | 2671.7758 | 0.83296 | 0.83296 | 2225.4949 | 2225.4949 | 0 | 0.019855 | 0.010791 | 53.0484 | 28.8306 | -24.2177
QLD1 | Townsville | 53.5694 | 0.4258 | 0.45 | 22.8096 | 24.1062 | 1.2966 | 0.057694 | 0.059212 | 3.0906 | 3.172 | 0.081332
QLD1 | Yarwun CoGen | 1081.0125 | 0.53231 | 0.53231 | 575.4369 | 575.4369 | 0 | 0.078861 | 0.080936 | 85.2499 | 87.4933 | 2.2434
SA1 | Bluff WF | 136.3472
SA1 | Clements Gap WF | 168.9469
SA1 | Dry Creek | 5.3597 | 0.79998 | 1.2 | 4.2877 | 6.4317 | 2.144 | 0.13982 | 0.14256 | 0.74939 | 0.76408 | 0.014694
SA1 | Hallett | 30.7204 | 0.85001 | 1.02 | 26.1128 | 31.3348 | 5.222 | 0.15147 | 0.15444 | 4.6532 | 4.7445 | 0.09124
SA1 | Hallett 2 WF | 234.873
SA1 | Hallett WF | 300.5164
SA1 | Ladbroke Grove | 189.7666 | 0.55123 | 0.53 | 104.6054 | 100.5763 | -4.0291 | 0.12118 | 0.12355 | 22.9952 | 23.446 | 0.45089
SA1 | Lake Bonney 2 WF | 393.0049
SA1 | Lake Bonney 3 WF | 94.45
SA1 | Mintaro | 10.7465 | 0.85765 | 0.82 | 9.2167 | 8.8121 | -0.40462 | 0.12983 | 0.13238 | 1.3952 | 1.4226 | 0.027357
SA1 | North Brown Hill WF | 427.5413
SA1 | Northern | 2700.8666 | 1.0102 | 1.0102 | 2728.2963 | 2728.2963 | 0 | 0.0074269 | 0.023209 | 20.0592 | 62.6849 | 42.6257
SA1 | Osborne | 1337.4448 | 0.50274 | 0.46 | 672.387 | 615.2246 | -57.1624 | 0.083057 | 0.084686 | 111.0843 | 113.2625 | 2.1781
SA1 | Pelican Point | 561.248 | 0.39727 | 0.39727 | 222.9656 | 222.9656 | 0 | 0.07497 | 0.07644 | 42.0768 | 42.9018 | 0.82503
SA1 | Port Lincoln | 0.57749 | 0.86494 | 1.4 | 0.4995 | 0.80849 | 0.30899 | 0.067514 | 0.045858 | 0.038989 | 0.026483 | -0.012506
SA1 | Quarantine | 169.3073 | 0.68881 | 0.68881 | 116.6205 | 116.6205 | 0 | 0.10901 | 0.11115 | 18.4566 | 18.8185 | 0.36189
SA1 | Snowtown 2 North WF | 413.9198
SA1 | Snowtown 2 South WF | 414.6138
SA1 | Snowtown WF | 335.7543
SA1 | Snuggery | 0.89595 | 0.91195 | 1.4 | 0.81706 | 1.2543 | 0.43727 | 0.071183 | 0.048351 | 0.063776 | 0.04332 | -0.020457
SA1 | Torrens Island A | 440.1718 | 0.57046 | 0.59 | 251.0986 | 259.7013 | 8.6027 | 0.11628 | 0.11856 | 51.1832 | 52.1868 | 1.0036
SA1 | Torrens Island B | 1750.2978 | 0.52497 | 0.57 | 918.8539 | 997.6698 | 78.8159 | 0.10901 | 0.11115 | 190.8043 | 194.5456 | 3.7413
SA1 | Waterloo WF | 289.3766
TAS1 | Bastyan | 327.5794
TAS1 | Bell Bay Three | 5.6832 | 0.61772 | 0.61772 | 3.5107 | 3.5107 | 0 | 0 | 0.046961 | 0 | 0.26689 | 0.26689
TAS1 | Cethana | 38.5602
TAS1 | Devils Gate | 214.4762
TAS1 | Fisher | 82.8374
TAS1 | Gordon | 1358.0663
TAS1 | John Butters | 626.0191
TAS1 | Lake Echo | 79.2256
TAS1 | Lemonthyme_Wilmot | 299.3073
TAS1 | Liapootah_Wayatinah_Catagunya | 857.6499
TAS1 | Mackintosh | 315.9546
TAS1 | Meadowbank | 16.8008
TAS1 | Musselroe WF | 510.3853
TAS1 | Poatina | 1380.4528
TAS1 | Reece | 828.6022
TAS1 | Tamar Valley CCGT | 0 | 0.41038 | 0.41038 | 0 | 0 | 0 | 0 | 0.028372 | 0 | 0 | 0
TAS1 | Tamar Valley OCGT | 5.6803 | 0.65298 | 0.65298 | 3.7091 | 3.7091 | 0 | 0 | 0.049641 | 0 | 0.28198 | 0.28198
TAS1 | Tarraleah | 557.0597
TAS1 | Trevallyn | 337.9721
TAS1 | Tribute | 197.9719
TAS1 | Tungatinah | 494.0097
VIC1 | Anglesea | 798.4282 | 1.1255 | 1.09 | 898.608 | 870.2868 | -28.3212 | 0.0048706 | 0.0048706 | 3.8888 | 3.8888 | 0
VIC1 | Bairnsdale | 145.3824 | 0.52433 | 0.52433 | 76.2279 | 76.2279 | 0 | 0.040881 | 0.040881 | 5.9434 | 5.9434 | 0
VIC1 | Bald Hills WF | 234.4739
VIC1 | Dartmouth | 590.481
VIC1 | Eildon | 202.6748
VIC1 | Energy Brix Complex | 0.003695 | 1.3963 | 2.8 | 0.0051592 | 0.010346 | 0.0051868 | 0.0051 | 0.0051 | 1.8844e-05 | 1.8844e-05 | 0
VIC1 | Hazelwood | 10657.8921 | 1.3963 | 1.3963 | 14881.5372 | 14881.5372 | 0 | 0.0058909 | 0.0058909 | 62.7847 | 62.7847 | 0
VIC1 | Hume VIC | 2.0973
VIC1 | Jeeralang A | 11.7459 | 0.81993 | 0.81993 | 9.6309 | 9.6309 | 0 | 0.059471 | 0.059471 | 0.69854 | 0.69854 | 0
VIC1 | Jeeralang B | 26.4734 | 0.81993 | 0.81993 | 21.7065 | 21.7065 | 0 | 0.059471 | 0.059471 | 1.5744 | 1.5744 | 0
VIC1 | Laverton North | 9.385 | 0.74538 | 0.74538 | 6.9954 | 6.9954 | 0 | 0.044799 | 0.044799 | 0.42044 | 0.42044 | 0
VIC1 | Loy Yang A | 16415.3304 | 1.1598 | 1.15 | 19039.2968 | 18877.6299 | -161.6669 | 0.0048176 | 0.0048176 | 79.0833 | 79.0833 | 0
VIC1 | Loy Yang B | 8843.3397 | 1.136 | 1.136 | 10046.3956 | 10046.3956 | 0 | 0.0049805 | 0.0049805 | 44.0438 | 44.0438 | 0
VIC1 | Macarthur WF | 999.5485
VIC1 | McKay | 165.0625
VIC1 | Mortlake | 598.0841 | 0.51377 | 0.53 | 307.2794 | 316.9846 | 9.7052 | 0.043436 | 0.043436 | 25.9785 | 25.9785 | 0
VIC1 | Mt Mercer WF | 344.5962
VIC1 | Murray | 1491.225
VIC1 | Newport | 201.7973 | 0.52224 | 0.53 | 105.3873 | 106.9526 | 1.5653 | 0.040054 | 0.040054 | 8.0828 | 8.0828 | 0
VIC1 | Oaklands Hill WF | 157.4531
VIC1 | Somerton | 2.9558 | 0.72854 | 0.76 | 2.1534 | 2.2464 | 0.092987 | 0.057915 | 0.057915 | 0.17119 | 0.17119 | 0
VIC1 | Valley Power | 3.8239 | 0.81363 | 0.81363 | 3.1113 | 3.1113 | 0 | 0.057915 | 0.057915 | 0.22146 | 0.22146 | 0
VIC1 | West Kiewa | 111.9682
VIC1 | Yallourn | 11171.7372 | 1.3368 | 1.31 | 14934.4923 | 14634.9757 | -299.5167 | 0.0055149 | 0.0055149 | 61.6109 | 61.6109 | 0
|  | 191218.5673 |  |  | 159138.7063 | 159947.7476 | 809.0413 |  |  | 7720.304 | 5127.5168 | -2592.7872

## New entrants
Scope 1 emission factors (kg CO2-e/GJ) and emission intensity (tonnes CO2-e/MWh as generated)
Station Name | Auxiliary factor (%) | Thermal Efficiency (%, HHV sent-out) | Scope 1 emission factor (kg CO2-e/GJ of fuel) | Scope 1 intensity (tonnes CO2-e/MWh generated)
Biomass | 8% | 28% | 4.83 | 0.057132
CCGT - With CCS | 11.6% | 42% | 7.7295 | 0.058568
CCGT - Without CCS | 2.1% | 50% | 51.53 | 0.36322
OCGT - Without CCS | 1% | 34% | 51.53 | 0.54016
Solar PV SAT 50 MW | 1% | 100% | 0 | 0
Solar PV DAT 50 MW | 1% | 100% | 0 | 0
Solar PV FFP 50 MW | 0% | 100% | 0 | 0
Solar Thermal Central Receiver with 6 hrs storage | 10% | 100% | 0 | 0
Solar Thermal Compact Linear Fresnel no storage | 8% | 100% | 0 | 0
Solar Thermal Parabolic Trough with 6 hours storage | 10% | 100% | 0 | 0
Supercritical PC - Black coal with CCS | 21.2% | 29% | 9.023 | 0.088264
Supercritical PC - Black coal without CCS | 6.5% | 40% | 90.23 | 0.75929
Supercritical PC - Brown coal with CCS | 26.5% | 25% | 9.392 | 0.099405
Supercritical PC - Brown coal without CCS | 11.5% | 36% | 93.92 | 0.83119
Wind - 200 MW | 1% | 100% | 0 | 0
Scope 3 emission factors (kg CO2-e/GJ)
Station Name | NSW | QLD | SA | VIC | TAS | SWIS
Biomass | 0 | 0 | 0 | 0 | 0 | 0
CCGT - With CCS | 12.8 | 7.8 | 10.4 | 3.9 | 3.9 | 4
CCGT - Without CCS | 12.8 | 7.8 | 10.4 | 3.9 | 3.9 | 4
OCGT - Without CCS | 12.8 | 7.8 | 10.4 | 3.9 | 3.9 | 4
Solar PV SAT 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar PV DAT 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar PV FFP 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Central Receiver with 6 hrs storage | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Compact Linear Fresnel no storage | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Parabolic Trough with 6 hours storage | 0 | 0 | 0 | 0 | 0 | 0
Supercritical PC - Black coal with CCS | 5 | 1.25 | 2.5 |  |  | 2.5
Supercritical PC - Black coal without CCS | 5 | 1.25 | 2.5 |  |  | 2.5
Supercritical PC - Brown coal with CCS |  |  |  | 0.4
Supercritical PC - Brown coal without CCS |  |  |  | 0.4
Wind - 200 MW | 0 | 0 | 0 | 0 | 0 | 0
Scope 3 emission intensity (tonnes CO2-e/MWh as generated)
Station Name | NSW | QLD | SA | VIC | TAS | SWIS
Biomass | 0 | 0 | 0 | 0 | 0 | 0
CCGT - With CCS | 0.096987 | 0.059102 | 0.078802 | 0.029551 | 0.029551 | 0.030309
CCGT - Without CCS | 0.090225 | 0.054981 | 0.073308 | 0.02749 | 0.02749 | 0.028195
OCGT - Without CCS | 0.13417 | 0.081762 | 0.10902 | 0.040881 | 0.040881 | 0.041929
Solar PV SAT 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar PV DAT 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar PV FFP 50 MW | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Central Receiver with 6 hrs storage | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Compact Linear Fresnel no storage | 0 | 0 | 0 | 0 | 0 | 0
Solar Thermal Parabolic Trough with 6 hours storage | 0 | 0 | 0 | 0 | 0 | 0
Supercritical PC - Black coal with CCS | 0.04891 | 0.012228 | 0.024455 |  |  | 0.024455
Supercritical PC - Black coal without CCS | 0.042075 | 0.010519 | 0.021038 |  |  | 0.021038
Supercritical PC - Brown coal with CCS |  |  |  | 0.0042336
Supercritical PC - Brown coal without CCS |  |  |  | 0.00354
Wind - 200 MW | 0 | 0 | 0 | 0 | 0 | 0