## Introduction
In December 2018, AER made a final determination on a new Transmission Annual Planning Report (TAPR) Guideline, requiring TNSPs to publish specified information on emerging transmission line and terminal station limitations.
The "Summary Generation data" spreadsheet provides generation connection information on selected areas which may affect Declared Shared Network (DSN) emerging limitations driven by new generation connections based on AEMO’s VAPR and RIT-T reports.
The information provided includes the proposed generator size, technology and approximate location for connection applications and new (completed over the last 12 months as of June 2020) connection agreements in the selected areas.
More generation connection data is available at AEMO website:
• Generation information page, at http://www.aemo.com.au/Electricity/National-Electricity-Market-NEM/Planning-and-forecasting/Generation-information.
• Victorian Generation maps, at https://www.aemo.com.au/-/media/files/electricity/nem/network_connections/generation-maps/vic-map.pdf?la=en
• Generator Connections layer on AEMO's interactive map, at https://www.aemo.com.au/aemo/apps/visualisations/map.html .

## Summary_generation data
Approximate generator size (MW) | Approximate generator location | Associated generator type and technology | Connection status | Project Number
1529 | Central North REZ | Solar and BESS | Applications | 8
2629 | Gippsland REZ | Wind, Solar, and BESS | Applications | 4
1240 | Greater Melbourne & Geelong | BESS | Applications | 3
300 | Greater Melbourne & Geelong | BESS | Agreement | 1
585 | Murray River | Solar and BESS | Applications | 4
2007 | South West Victoria | Wind and BESS | Applications | 8