## Assumptions
Shared assumptions (base)
Network option lifespan | 50
Non-network option lifespan | 15
Discount rate | 6%
Network payment duration (years) | 30 | 30 year contract
Non-Network payment duration (years) | 10 | 10 year contract
Sensitivities
Discount rate | 0%
2.5%
-2.5%
Costs % | 100%
130%
70%
Payback period - years | 0 | AEMO contracts
-5
5
Sensitivities | Neutral noIC | Commitited gens | Early coal retirement | Total
Neutral noIC | 100% | 0% | 0% | 100%
Commitited gens | 0% | 100% | 0% | 100%
Early coal retirement | 0% | 0% | 100% | 100%
Options
Name | Description | Cost '000 | OPEX | Year
Option B3 | • Construction of a new 220 kV double circuit line from Moorabool to Elaine to Ballarat to Bulgana. • Retire Ballarat to Moorabool 220 kV circuit No.1 and cut in Ballarat to Moorabool 220 kV circuit No.2 at Elaine. New easements | 339610.252 | 0.6347% | 2024
Option C2 | • Construction of a new 220 kV double circuit line from Bulgana Terminal Station to Ballarat Terminal Station, or establish a new terminal station close to Ballarat, with a 220 kV double circuit connection to Ballarat Terminal Station. • Cut in Ballarat to Moorabool 220 kV circuit No.2 at Elaine. New easements | 203215.3143 | 0.8529% | 2025
Snowylink | Construction of a new 500 kV double circuit line from the new terminal station to Sydenham Terminal Station, with 2 x 500/220 kV transformers. This forms part of the future Snowylink interconnector. New easements | 295668.583 |  | 2035

## Results Summary
Benefits - Option B3 | Neutral noIC | Commitited gens | Early coal retirement | Neutral noIC | Commitited gens | Early coal retirement
Base assumptions | 110394.25 | 117030.63 | 59155.25 | 110394.25 | 117030.63 | 59155.25
Discount rate 0.025 | 46352.83 | -4808.68 | 4430.03 | 46352.83 | -4808.68 | 4430.03
Discount rate -0.025 | 232417.97 | 385410.61 | 169617.99 | 232417.97 | 385410.61 | 169617.99
Cost x 1.3 | 31506.53 | 38142.91 | -19732.46 | 31506.53 | 38142.91 | -19732.46
Cost x 0.7 | 189281.95 | 195918.34 | 138042.96 | 189281.95 | 195918.34 | 138042.96
Payback -5 years | 109812.91 | 116449.29 | 58573.91 | 109812.91 | 116449.29 | 58573.91
Payback +5 years | 110777.28 | 117413.66 | 59538.28 | 110777.28 | 117413.66 | 59538.28
Benefits - Option C2 | Neutral noIC | Commitited gens | Early coal retirement | Neutral noIC | Commitited gens | Early coal retirement
Base assumptions | 9246.56 | 123324.94 | 162598.28 | 9246.56 | 123324.94 | 162598.28
Discount rate 0.025 | -38898.04 | -17586.87 | 102209.52 | -38898.04 | -17586.87 | 102209.52
Discount rate -0.025 | 114267.52 | 428725.01 | 279973.85 | 114267.52 | 428725.01 | 279973.85
Cost x 1.3 | -100041.63 | 49701.82 | 118595.02 | -100041.63 | 49701.82 | 118595.02
Cost x 0.7 | 118534.74 | 196948.06 | 206601.53 | 118534.74 | 196948.06 | 206601.53
Payback -5 years | 8509.43 | 114288.92 | 146999.11 | 8509.43 | 114288.92 | 146999.11
Payback +5 years | 9732.23 | 130012.02 | 174189.73 | 9732.23 | 130012.02 | 174189.73

## Results Rank
Base | Option B3 | Option C2
Neutral noIC | 110394.25 | 9246.56
Commitited gens | 117030.63 | 123324.94
Early coal retirement | 59155.25 | 162598.28
Neutral noIC | 1 | 2
Commitited gens | 2 | 1
Early coal retirement | 2 | 1

## Benefits - Option B3
Assumptions in use |  | Base Assumptions
Discount rate | 6% | 6%
Costs - $M | 339610.25 | 339610.252
Payback period | 30 | 30
Scenarios | Neutral noIC | Commitited gens | Early coal retirement
NPV | 110394.2475 | 117030.6289 | 59155.2538
Sensitivities | Neutral noIC | Commitited gens | Early coal retirement | Total
Neutral noIC | 100% | 0% | 0% | 100%
Commitited gens | 0% | 100% | 0% | 100%
Early coal retirement | 0% | 0% | 100% | 100%
| Calculation parameters | Benefits - Option B3 | Neutral noIC | Commitited gens | Early coal retirement | Neutral noIC | Commitited gens | Early coal retirement
Discount rate | 6% | Base assumptions | 110394.25 | 117030.63 | 59155.25 | 110394.25 | 117030.63 | 59155.25
| 8.5% | Discount rate 0.025 | 46352.83 | -4808.68 | 4430.03 | 46352.83 | -4808.68 | 4430.03
| 3.5% | Discount rate -0.025 | 232417.97 | 385410.61 | 169617.99 | 232417.97 | 385410.61 | 169617.99
Costs - $M | 441493.3276 | Cost x 1.3 | 31506.53 | 38142.91 | -19732.46 | 31506.53 | 38142.91 | -19732.46
| 237727.1764 | Cost x 0.7 | 189281.95 | 195918.34 | 138042.96 | 189281.95 | 195918.34 | 138042.96
Payback period - years | 25 | Payback -5 years | 109812.91 | 116449.29 | 58573.91 | 109812.91 | 116449.29 | 58573.91
| 35 | Payback +5 years | 110777.28 | 117413.66 | 59538.28 | 110777.28 | 117413.66 | 59538.28
|  | Gross benefit | Investment Cost | Net benefit |  |  |  |  | Gross benefit | Investment Cost | Net benefit |  |  |  | Gross benefit | Investment Cost | Net benefit
| NPV | 373353.2826 | 262959.0352 | 110394.2475 |  |  |  | NPV | 379989.6641 | 262959.0352 | 117030.6289 |  |  | NPV | 322114.289 | 262959.0352 | 59155.2538
Fuel cost benefits and costs
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Region | Year | Gross benefit | Investment Cost | OPEX |  |  | Region | Year | Gross benefit | Investment Cost | OPEX |  | Region | Year | Gross benefit | Investment Cost | OPEX
NEM | 2020 | 3496.229 | 0 | 0 |  |  | NEM | 2020 | 0 | 0 | 0 |  | NEM | 2020 | 2586.4988 | 0 | 0
| 2021 | -7130.5638 | 0 | 0 |  |  |  | 2021 | 0 | 0 | 0 |  |  | 2021 | -7504.9157 | 0 | 0
| 2022 | -14462.5054 | 0 | 0 |  |  |  | 2022 | 0 | 0 | 0 |  |  | 2022 | -14230.5385 | 0 | 0
| 2023 | -50467.5038 | 0 | 0 |  |  |  | 2023 | 0 | 0 | 0 |  |  | 2023 | -59046.2334 | 0 | 0
| 2024 | 8275.7051 | 24672.315 | 156.5976 |  |  |  | 2024 | 22236.6904 | 24672.315 | 156.5976 |  |  | 2024 | 3743.6168 | 24672.315 | 156.5976
| 2025 | -24837.7672 | 24672.315 | 156.5976 |  |  |  | 2025 | -7446.5253 | 24672.315 | 156.5976 |  |  | 2025 | 6928.9978 | 24672.315 | 156.5976
| 2026 | -10413.5324 | 24672.315 | 156.5976 |  |  |  | 2026 | 10983.135 | 24672.315 | 156.5976 |  |  | 2026 | 3433.1888 | 24672.315 | 156.5976
| 2027 | -5976.907 | 24672.315 | 156.5976 |  |  |  | 2027 | 7455.5966 | 24672.315 | 156.5976 |  |  | 2027 | 856.5015 | 24672.315 | 156.5976
| 2028 | -6737.5467 | 24672.315 | 156.5976 |  |  |  | 2028 | 9249.7208 | 24672.315 | 156.5976 |  |  | 2028 | -801.3278 | 24672.315 | 156.5976
| 2029 | 8506.6323 | 24672.315 | 156.5976 |  |  |  | 2029 | 38271.8314 | 24672.315 | 156.5976 |  |  | 2029 | 2311.0551 | 24672.315 | 156.5976
| 2030 | 10957.3118 | 24672.315 | 156.5976 |  |  |  | 2030 | 38300.7018 | 24672.315 | 156.5976 |  |  | 2030 | 13201.0767 | 24672.315 | 156.5976
| 2031 | 11123.5258 | 24672.315 | 156.5976 |  |  |  | 2031 | 38584.0276 | 24672.315 | 156.5976 |  |  | 2031 | 15220.7603 | 24672.315 | 156.5976
| 2032 | 18097.989 | 24672.315 | 156.5976 |  |  |  | 2032 | 41038.5384 | 24672.315 | 156.5976 |  |  | 2032 | 12209.5738 | 24672.315 | 156.5976
| Residual | 203901.4284 | 290247.004 | 1842.226 |  |  |  | Residual | 598442.6328 | 290247.004 | 1842.226 |  |  | Residual | 206198.2249 | 290247.004 | 1842.226
Change in transmission network costs
Neutral noIC |  |  |  | 0 |  |  | Commitited gens |  |  |  | 0 |  | Early coal retirement |  |  |  | 0
Region | Year | Original investment year | New investment year | Bring forward cost |  |  | Region | Year | Original investment year | New investment year | Bring forward cost |  | Region | Year | Original investment year | New investment year | Bring forward cost
NEM | 2020 | 0 | 0 | 0 |  |  | NEM | 2020 | 0 | 0 | 0 |  | NEM | 2020 | 0 | 0 | 0
NEM | 2021 | 0 | 0 | 0 |  |  | NEM | 2021 | 0 | 0 | 0 |  | NEM | 2021 | 0 | 0 | 0
| 2022 | 0 | 0 | 0 |  |  |  | 2022 | 0 | 0 | 0 |  |  | 2022 | 0 | 0 | 0
| 2023 | 0 | 0 | 0 |  |  |  | 2023 | 0 | 0 | 0 |  |  | 2023 | 0 | 0 | 0
| 2024 | 0 | 0 | 0 |  |  |  | 2024 | 0 | 0 | 0 |  |  | 2024 | 0 | 0 | 0
| 2025 | 0 | 0 | 0 |  |  |  | 2025 | 0 | 0 | 0 |  |  | 2025 | 0 | 0 | 0
| 2026 | 0 | 0 | 0 |  |  |  | 2026 | 0 | 0 | 0 |  |  | 2026 | 0 | 0 | 0
| 2027 | 0 | 0 | 0 |  |  |  | 2027 | 0 | 0 | 0 |  |  | 2027 | 0 | 0 | 0
| 2028 | 0 | 0 | 0 |  |  |  | 2028 | 0 | 0 | 0 |  |  | 2028 | 0 | 0 | 0
| 2029 | 0 | 0 | 0 |  |  |  | 2029 | 0 | 0 | 0 |  |  | 2029 | 0 | 0 | 0
| 2030 | 0 | 0 | 0 |  |  |  | 2030 | 0 | 0 | 0 |  |  | 2030 | 0 | 0 | 0
| 2031 | 0 | 0 | 0 |  |  |  | 2031 | 0 | 0 | 0 |  |  | 2031 | 0 | 0 | 0
| 2032 | 0 | 0 | 0 |  |  |  | 2032 | 0 | 0 | 0 |  |  | 2032 | 0 | 0 | 0
| 2033 | 0 | 0 | 0 |  |  |  | 2033 | 0 | 0 | 0 |  |  | 2033 | 0 | 0 | 0
| 2034 | 0 | 0 | 0 |  |  |  | 2034 | 0 | 0 | 0 |  |  | 2034 | 0 | 0 | 0
| 2035 | 0 | 0 | 0 |  |  |  | 2035 | 0 | 0 | 0 |  |  | 2035 | 0 | 0 | 0
| 2036 | 0 | 0 | 0 |  |  |  | 2036 | 0 | 0 | 0 |  |  | 2036 | 0 | 0 | 0
| 2037 | 0 | 0 | 0 |  |  |  | 2037 | 0 | 0 | 0 |  |  | 2037 | 0 | 0 | 0
| 2038 | 0 | 0 | 0 |  |  |  | 2038 | 0 | 0 | 0 |  |  | 2038 | 0 | 0 | 0
| 2039 | 0 | 0 | 0 |  |  |  | 2039 | 0 | 0 | 0 |  |  | 2039 | 0 | 0 | 0
| 2040 | 0 | 0 | 0 |  |  |  | 2040 | 0 | 0 | 0 |  |  | 2040 | 0 | 0 | 0
Capital cost savings $000
Neutral noIC |  | 339787.0709 |  |  |  |  | Commitited gens |  | 6511.1567 |  |  |  | Early coal retirement |  | 262308.5725
Region | Year | Gross benefit |  |  |  |  | Region | Year | Gross benefit |  |  |  | Region | Year | Gross benefit
NEM | 2020 | -3818.2206 |  |  |  |  | NEM | 2020 | -3818.2206 |  |  |  | NEM | 2020 | -3852.2087
| 2021 | 21353.4618 | [5 empty] | 2021 | -3818.2206 |  |  |  |  | 2021 | 21319.4737
| 2022 | 39107.4302 | [5 empty] | 2022 | -3818.2206 |  |  |  |  | 2022 | 39073.4421
| 2023 | 92916.9923 | [5 empty] | 2023 | -17387.367 |  |  |  |  | 2023 | 92988.3589
| 2024 | 9899.7602 | [5 empty] | 2024 | -17387.367 |  |  |  |  | 2024 | 25100.1677
| 2025 | 59306.7803 | [5 empty] | 2025 | 29802.5536 |  |  |  |  | 2025 | 23252.1928
| 2026 | 50405.4938 | [5 empty] | 2026 | 20901.2671 |  |  |  |  | 2026 | 25768.7323
| 2027 | 50435.6274 | [5 empty] | 2027 | 20931.4008 |  |  |  |  | 2027 | 25968.8475
| 2028 | 50334.6556 | [5 empty] | 2028 | 20830.4289 |  |  |  |  | 2028 | 25970.1293
| 2029 | 39034.9387 | [5 empty] | 2029 | 9530.712 |  |  |  |  | 2029 | 22195.9372
| 2030 | 18123.3794 | [5 empty] | 2030 | -11380.8473 |  |  |  |  | 2030 | 14194.2824
| 2031 | 18123.3794 | [5 empty] | 2031 | -11380.8473 |  |  |  |  | 2031 | 14194.2824
| 2032 | 18134.8477 | [5 empty] | 2032 | -11369.379 |  |  |  |  | 2032 | 15381.6458
| Terminal | 56366.805 | [5 empty] | Terminal | -11824.4562 |  |  |  |  | Terminal | 50685.7288
Generation fuel cost savings $000
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Year | NSW | QLD | SA | TAS | VIC |  | Year | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC
2020 | 5264.3526 | 895.8212 | 1603.2573 | 0.7072 | 1195.5707 |  | 2020 | 5276.4282 | 1402.7195 | 1279.156 | 0.69507 | 907.1842 | 2020 | 4711.1763 | 2898.2161 | 561.82 | -0.19683 | 325.0935
2021 | -1237.3348 | -1326.5353 | 496.2738 | -4.6084 | 371.4554 |  | 2021 | 4062.8882 | 1946.5041 | 1155.6759 | 0.68864 | 1094.8924 | 2021 | -457.5595 | -1328.8692 | -120.4126 | -1.3763 | 50.1321
2022 | -5157.3718 | -2316.9669 | -1518.675 | 7.31 | -163.0795 |  | 2022 | 3807.4547 | 3241.9667 | 1663.3002 | 1.9016 | 1051.7208 | 2022 | -4288.9683 | -2376.6708 | -657.02 | 3.1112 | -317.5809
2023 | -17158.118 | -13516.334 | -5959.3127 | -21.9172 | -7262.0872 |  | 2023 | 12794.3317 | 7832.2508 | 3687.0393 | 59.5984 | 1141.3044 | 2023 | -24415.4151 | -17569.2542 | -5611.093 | 4.9839 | -2873.4667
2024 | 6285.687 | 2216.7878 | 216.3698 | 1.1332 | -444.2728 |  | 2024 | 12129.6057 | 6976.9101 | 1791.5075 | 14.8334 | 1323.8336 | 2024 | 1833.1507 | 3218.2161 | -1275.6419 | 46.9562 | -79.0643
2025 | -3004.6904 | -2508.8464 | -18484.8182 | -5.7957 | -833.6165 |  | 2025 | -3468.7992 | 174.3596 | -1637.5072 | -5.7787 | -2508.7998 | 2025 | 4296.5089 | 3168.0629 | 101.9202 | 180.6616 | -818.1557
2026 | 3923.7105 | -4051.5343 | -8827.1808 | -2.163 | -1456.3648 |  | 2026 | 7738.1817 | 2974.6716 | 946.6807 | -82.737 | -593.6621 | 2026 | 2401.9933 | 2632.2843 | -937.5285 | -14.739 | -648.8212
2027 | 3301.2102 | -2020.091 | -6869.1699 | 2.4515 | -391.3079 |  | 2027 | 6320.3122 | 377.254 | 914.2068 | 3.9183 | -160.0948 | 2027 | 3769.245 | -1207.3354 | -1316.8572 | 36.5132 | -425.0641
2028 | 5226.557 | -2787.4244 | -7413.5328 | 6.3235 | -1769.4701 |  | 2028 | 8833.3807 | 1296.82 | 104.9672 | 3.8919 | -989.339 | 2028 | 3125.0466 | 159.9929 | -2052.4261 | 40.6678 | -2074.609
2029 | 11181.5447 | 2851.6394 | -4403.3569 | 40.3746 | -1163.5695 |  | 2029 | 16962.265 | 1156.412 | 1676.5539 | 19819.9619 | -1343.3615 | 2029 | 13568.4144 | 4338.6816 | -1079.5477 | -2.616 | -14513.8772
2030 | 11698.0752 | 4285.4019 | -4809.686 | -7.4984 | -208.981 |  | 2030 | 20160.2884 | 4431.8897 | 2504.1174 | 11134.8086 | 69.5977 | 2030 | 10792.0707 | 3894.9537 | -23.8502 | 2.0128 | -1464.1103
2031 | 12513.4919 | 3119.5207 | -4394.799 | -8.4025 | -106.2853 |  | 2031 | 22003.3789 | 8692.2071 | 3625.7761 | 5701.2037 | -1438.5381 | 2031 | 13883.9736 | 5779.6975 | -117.4671 | 68.6465 | -4394.0902
2032 | 16308.8863 | 6002.7939 | -1614.2705 | -3.6972 | -2595.7236 |  | 2032 | 20202.0189 | 2214.8084 | 1219.3819 | 16079.7684 | 1322.5606 | 2032 | 13225.4421 | 6590.9484 | 336.1753 | -9.6371 | -7933.3549
Average 3 years | 13506.8178 | 4469.2388 | -3606.2518 | -6.5327 | -970.33 |  | Average 3 years | 20788.5621 | 5112.9684 | 2449.7585 | 10971.9269 | -15.4599 | Average 3 years | 12633.8288 | 5421.8665 | 64.9527 | 20.3407 | -4597.1851
Do Nothing generation cost
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Year | NSW | QLD | SA | TAS | VIC |  | Year | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC
2020 | 1497.5931 | 89.9362 | 1639.4772 | -0.44856 | 269.671 |  | 2020 | [5 empty] | 2020 | 721.9871 | 961.3215 | 956.6842 | -0.70675 | -52.7873
2021 | -4508.971 | -2069.8109 | 228.2173 | -5.0532 | -774.9461 |  | 2021 | [5 empty] | 2021 | -4391.2712 | -2748.1608 | -51.7959 | -1.3818 | -312.306
2022 | -7802.2103 | -4141.3333 | -1326.3079 | 12.0876 | -1204.7415 |  | 2022 | [5 empty] | 2022 | -7953.6195 | -4796.1601 | -770.0592 | -3.8765 | -706.8231
2023 | -20013.6249 | -15351.6371 | -6446.8513 | -34.3368 | -8621.0537 |  | 2023 | [5 empty] | 2023 | -28842.1708 | -20652.5724 | -5222.2571 | 6.1881 | -4335.4212
2024 | 4503.3173 | 886.8813 | -278.3505 | 2.4378 | -3396.7022 |  | 2024 | [5 empty] | 2024 | -9636.3165 | -4235.6383 | -3004.2719 | 36.3631 | -1555.4171
2025 | -5373.3235 | -3676.3647 | -18234.2122 | -4.127 | -3893.7484 |  | 2025 | [5 empty] | 2025 | -7752.2002 | -2792.3611 | -1758.1436 | 135.6967 | -1865.0189

## Benefits - Option C2
Assumptions in use |  | Base Assumptions
Discount rate | 6% | 6%
Costs - $M | 498883.9 | 498883.8973
Payback period | 30 | 30
Scenarios | Neutral noIC | Commitited gens | Early coal retirement
NPV | 9246.5563 | 123324.9391 | 162598.2775
Sensitivities | Neutral noIC | Commitited gens | Early coal retirement | Total
Neutral noIC | 100% | 0% | 0% | 100%
Commitited gens | 0% | 100% | 0% | 100%
Early coal retirement | 0% | 0% | 100% | 100%
| Calculation parameters | Benefits - Option C2 | Neutral noIC | Commitited gens | Early coal retirement | Neutral noIC | Commitited gens | Early coal retirement
Discount rate | 6% | Base assumptions | 9246.56 | 123324.94 | 162598.28 | 9246.56 | 123324.94 | 162598.28
| 8.5% | Discount rate 0.025 | -38898.04 | -17586.87 | 102209.52 | -38898.04 | -17586.87 | 102209.52
| 3.5% | Discount rate -0.025 | 114267.52 | 428725.01 | 279973.85 | 114267.52 | 428725.01 | 279973.85
Costs - $M | 648549.0665 | Cost x 1.3 | -100041.63 | 49701.82 | 118595.02 | -100041.63 | 49701.82 | 118595.02
| 349218.7281 | Cost x 0.7 | 118534.74 | 196948.06 | 206601.53 | 118534.74 | 196948.06 | 206601.53
Payback period - years | 25 | Payback -5 years | 8509.43 | 114288.92 | 146999.11 | 8509.43 | 114288.92 | 146999.11
| 35 | Payback +5 years | 9732.23 | 130012.02 | 174189.73 | 9732.23 | 130012.02 | 174189.73
|  | Gross benefit | Investment Cost | Net benefit |  |  |  |  | Gross benefit | Investment Cost | Net benefit |  |  |  | Gross benefit | Investment Cost | Net benefit
| NPV | 373540.5 | 364293.9437 | 9246.5563 |  |  |  | NPV | 487618.8828 | 364293.9437 | 123324.9391 |  |  | NPV | 526892.2212 | 364293.9437 | 162598.2775
Fuel cost benefits and costs
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Region | Year | Gross benefit | Investment Cost | OPEX |  |  | Region | Year | Gross benefit | Investment Cost | OPEX |  | Region | Year | Gross benefit | Investment Cost | OPEX
NEM | 2020 | 3496.229 | 0 | 0 |  |  | NEM | 2020 | 0 | 0 | 0 |  | NEM | 2020 | 2586.4988 | 0 | 0
| 2021 | -7130.5638 | 0 | 0 |  |  |  | 2021 | 0 | 0 | 0 |  |  | 2021 | -7504.9157 | 0 | 0
| 2022 | -14462.5054 | 0 | 0 |  |  |  | 2022 | 0 | 0 | 0 |  |  | 2022 | -14230.5385 | 0 | 0
| 2023 | -50467.5038 | 0 | 0 |  |  |  | 2023 | 0 | 0 | 0 |  |  | 2023 | -59046.2334 | 0 | 0
| 2024 | 1717.5838 | 0 | 0 |  |  |  | 2024 | 0 | 0 | 0 |  |  | 2024 | -18395.2807 | 0 | 0
| 2025 | -24370.9127 | 36243.3723 | 309.1222 |  |  |  | 2025 | -7069.3604 | 36243.3723 | 309.1222 |  |  | 2025 | 7838.1528 | 36243.3723 | 309.1222
| 2026 | -9853.954 | 36243.3723 | 309.1222 |  |  |  | 2026 | 11514.0486 | 36243.3723 | 309.1222 |  |  | 2026 | 3819.1702 | 36243.3723 | 309.1222
| 2027 | -6552.356 | 36243.3723 | 309.1222 |  |  |  | 2027 | 7727.6721 | 36243.3723 | 309.1222 |  |  | 2027 | 3176.3557 | 36243.3723 | 309.1222
| 2028 | -5697.0885 | 36243.3723 | 309.1222 |  |  |  | 2028 | 9255.4025 | 36243.3723 | 309.1222 |  |  | 2028 | -440.5209 | 36243.3723 | 309.1222
| 2029 | 8064.4146 | 36243.3723 | 309.1222 |  |  |  | 2029 | 38053.565 | 36243.3723 | 309.1222 |  |  | 2029 | 3903.3861 | 36243.3723 | 309.1222
| 2030 | 10683.1771 | 36243.3723 | 309.1222 |  |  |  | 2030 | 38500.0954 | 36243.3723 | 309.1222 |  |  | 2030 | 12897.9993 | 36243.3723 | 309.1222
| 2031 | 12290.7494 | 36243.3723 | 309.1222 |  |  |  | 2031 | 38336.6208 | 36243.3723 | 309.1222 |  |  | 2031 | 15206.9253 | 36243.3723 | 309.1222
| 2032 | 18627.8372 | 36243.3723 | 309.1222 |  |  |  | 2032 | 42285.332 | 36243.3723 | 309.1222 |  |  | 2032 | 12445.0685 | 36243.3723 | 309.1222
| Residual | 212254.597 | 436427.5292 | 3722.3198 |  |  |  | Residual | 607767.5571 | 436427.5292 | 3722.3198 |  |  | Residual | 206888.4022 | 436427.5292 | 3722.3198
Change in transmission network costs
Neutral noIC |  | 0 | 0 | 0 |  |  | Commitited gens |  | 118883.5523 | 0 | 118883.5523 |  | Early coal retirement |  | 217616.4285 | 0 | 217616.4285
Region | Year | Base case | Upgrade case | Benefit |  |  | Region | Year | Base case | Upgrade case | Benefit |  | Region | Year | Base case | Upgrade case | Benefit
NEM | 2020 | 0 | 0 | 0 |  |  | NEM | 2020 | 0 | 0 | 0 |  | NEM | 2020 | 0 | 0 | 0
NEM | 2021 | 0 | 0 | 0 |  |  | NEM | 2021 | 0 | 0 | 0 |  | NEM | 2021 | 0 | 0 | 0
| 2022 | 0 | 0 | 0 |  |  |  | 2022 | 0 | 0 | 0 |  |  | 2022 | 0 | 0 | 0
| 2023 | 0 | 0 | 0 |  |  |  | 2023 | 0 | 0 | 0 |  |  | 2023 | 0 | 0 | 0
| 2024 | 0 | 0 | 0 |  |  |  | 2024 | 0 | 0 | 0 |  |  | 2024 | 0 | 0 | 0
| 2025 | 0 | 0 | 0 |  |  |  | 2025 | 0 | 0 | 0 |  |  | 2025 | 21480.0008 | 0 | 21480.0008
| 2026 | 0 | 0 | 0 |  |  |  | 2026 | 0 | 0 | 0 |  |  | 2026 | 21480.0008 | 0 | 21480.0008
| 2027 | 0 | 0 | 0 |  |  |  | 2027 | 0 | 0 | 0 |  |  | 2027 | 21480.0008 | 0 | 21480.0008
| 2028 | 0 | 0 | 0 |  |  |  | 2028 | 0 | 0 | 0 |  |  | 2028 | 21480.0008 | 0 | 21480.0008
| 2029 | 0 | 0 | 0 |  |  |  | 2029 | 0 | 0 | 0 |  |  | 2029 | 21480.0008 | 0 | 21480.0008
| 2030 | 0 | 0 | 0 |  |  |  | 2030 | 0 | 0 | 0 |  |  | 2030 | 21480.0008 | 0 | 21480.0008
| 2031 | 0 | 0 | 0 |  |  |  | 2031 | 0 | 0 | 0 |  |  | 2031 | 21480.0008 | 0 | 21480.0008
| 2032 | 0 | 0 | 0 |  |  |  | 2032 | 0 | 0 | 0 |  |  | 2032 | 21480.0008 | 0 | 21480.0008
| 2033 | 0 | 0 | 0 |  |  |  | 2033 | 0 | 0 | 0 |  |  | 2033 | 21480.0008 | 0 | 21480.0008
| 2034 | 0 | 0 | 0 |  |  |  | 2034 | 0 | 0 | 0 |  |  | 2034 | 21480.0008 | 0 | 21480.0008
| 2035 | 0 | 0 | 0 |  |  |  | 2035 | 21480.0008 | 0 | 21480.0008 |  |  | 2035 | 21480.0008 | 0 | 21480.0008
| 2036 | 0 | 0 | 0 |  |  |  | 2036 | 21480.0008 | 0 | 21480.0008 |  |  | 2036 | 21480.0008 | 0 | 21480.0008
| 2037 | 0 | 0 | 0 |  |  |  | 2037 | 21480.0008 | 0 | 21480.0008 |  |  | 2037 | 21480.0008 | 0 | 21480.0008
| 2038 | 0 | 0 | 0 |  |  |  | 2038 | 21480.0008 | 0 | 21480.0008 |  |  | 2038 | 21480.0008 | 0 | 21480.0008
| 2039 | 0 | 0 | 0 |  |  |  | 2039 | 21480.0008 | 0 | 21480.0008 |  |  | 2039 | 21480.0008 | 0 | 21480.0008
| 2040 | 0 | 0 | 0 |  |  |  | 2040 | 21480.0008 | 0 | 21480.0008 |  |  | 2040 | 21480.0008 | 0 | 21480.0008
| Terminal | 0 | 0 | 0 |  |  |  | Terminal | 269581.6901 | 0 | 269581.6901 |  |  | Terminal | 199656.2625 | 0 | 199656.2625
Capital cost savings $000
Neutral noIC |  | 339787.0709 |  |  |  |  | Commitited gens |  | 6511.1567 |  |  |  | EC |  | 262308.5725
Region | Year | Gross benefit |  |  |  |  | Region | Year | Gross benefit |  |  |  | Region | Year | Gross benefit
NEM | 2020 | -3818.2206 |  |  |  |  | NEM | 2020 | -3818.2206 |  |  |  | NEM | 2020 | -3852.2087
| 2021 | 21353.4618 | [5 empty] | 2021 | -3818.2206 |  |  |  |  | 2021 | 21319.4737
| 2022 | 39107.4302 | [5 empty] | 2022 | -3818.2206 |  |  |  |  | 2022 | 39073.4421
| 2023 | 92916.9923 | [5 empty] | 2023 | -17387.367 |  |  |  |  | 2023 | 92988.3589
| 2024 | 9899.7602 | [5 empty] | 2024 | -17387.367 |  |  |  |  | 2024 | 25100.1677
| 2025 | 59306.7803 | [5 empty] | 2025 | 29802.5536 |  |  |  |  | 2025 | 23252.1928
| 2026 | 50405.4938 | [5 empty] | 2026 | 20901.2671 |  |  |  |  | 2026 | 25768.7323
| 2027 | 50435.6274 | [5 empty] | 2027 | 20931.4008 |  |  |  |  | 2027 | 25968.8475
| 2028 | 50334.6556 | [5 empty] | 2028 | 20830.4289 |  |  |  |  | 2028 | 25970.1293
| 2029 | 39034.9387 | [5 empty] | 2029 | 9530.712 |  |  |  |  | 2029 | 22195.9372
| 2030 | 18123.3794 | [5 empty] | 2030 | -11380.8473 |  |  |  |  | 2030 | 14194.2824
| 2031 | 18123.3794 | [5 empty] | 2031 | -11380.8473 |  |  |  |  | 2031 | 14194.2824
| 2032 | 18134.8477 | [5 empty] | 2032 | -11369.379 |  |  |  |  | 2032 | 15381.6458
| Terminal | 56366.805 | [5 empty] | Terminal | -11824.4562 |  |  |  |  | Terminal | 50685.7288
Generation fuel cost savings $000
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Year | NSW | QLD | SA | TAS | VIC |  | Year | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC
2020 | 5631.2453 | 407.9533 | 1689.4091 | 0.20947 | 1190.6161 |  | 2020 | 5375.8596 | 1287.9707 | 1310.0271 | -0.91339 | 922.1385 | 2020 | 4768.9353 | 2761.647 | 587.6376 | -0.9635 | 320.3214
2021 | -1358.4179 | -1191.0163 | 187.9731 | -5.8186 | 290.9558 |  | 2021 | 4290.2118 | 1557.3785 | 1151.2176 | 0.34744 | 1111.0245 | 2021 | -461.9722 | -1274.8669 | -113.3712 | -1.451 | 50.6362
2022 | -5301.5595 | -2387.156 | -1731.5229 | 10.8416 | -121.4308 |  | 2022 | 3965.8486 | 3039.4872 | 1585.6773 | 6.7963 | 1137.6148 | 2022 | -4270.0252 | -2310.0681 | -809.9409 | 1.1032 | -322.0853
2023 | -17460.8722 | -13328.9343 | -6246.7001 | -23.753 | -7365.8544 |  | 2023 | 12683.8848 | 7715.0154 | 3838.8612 | 59.5982 | 1518.3662 | 2023 | -24270.9108 | -18172.0403 | -4777.4812 | 4.6014 | -3740.639
2024 | 5986.9335 | 2194.7191 | 187.9428 | 5.621 | -35.849 |  | 2024 | 12018.8757 | 6910.6356 | 1621.9347 | 15.6694 | 1218.0288 | 2024 | 1810.279 | 3255.9673 | -1558.7867 | 47.5445 | -576.1316
2025 | -2368.4535 | -3077.4926 | -18411.9214 | -16.2183 | -496.8269 |  | 2025 | -2645.9887 | -383.8234 | -1533.6589 | -5.5553 | -2500.334 | 2025 | 4963.7245 | 3314.3136 | 160.2362 | 160.3893 | -760.5107
2026 | 4862.4875 | -4615.33 | -8715.2201 | -2.3028 | -1383.5887 |  | 2026 | 7068.5945 | 3656.536 | 1060.4687 | 375.1172 | -646.6679 | 2026 | 2805.8183 | 2938.1395 | -1100.2209 | -10.7433 | -813.8233
2027 | 3908.9333 | -1892.6028 | -7872.5921 | 2.7409 | -698.8354 |  | 2027 | 6345.2934 | 606.9061 | 975.2152 | 2.4508 | -202.1934 | 2027 | 3693.2979 | 898.8272 | -1206.0064 | 29.3993 | -239.1623
2028 | 5263.1538 | -3017.4892 | -6635.5592 | 0.31154 | -1307.5054 |  | 2028 | 9419.012 | 742.7665 | 158.5626 | -4.8725 | -1060.0661 | 2028 | 3646.8227 | 191.8412 | -2107.4436 | 37.3052 | -2209.0464
2029 | 11666.442 | 2669.2755 | -5800.8417 | 45.3738 | -515.8351 |  | 2029 | 17987.3113 | 1016.2703 | 1314.8915 | 19276.1636 | -1541.0717 | 2029 | 14703.7234 | 3923.5683 | 344.4281 | -6.017 | -15062.3167
2030 | 13423.8039 | 3589.5623 | -6236.571 | -7.8528 | -85.7653 |  | 2030 | 19963.282 | 4669.1917 | 2606.4684 | 11155.7274 | 105.4259 | 2030 | 11307.0221 | 3183.0129 | 155.1922 | 19.8141 | -1767.042
2031 | 13392.8747 | 4404.9415 | -5294.8399 | -6.9256 | -205.3013 |  | 2031 | 22090.4578 | 8436.9046 | 3474.1636 | 5832.7251 | -1497.6302 | 2031 | 14876.0784 | 5332.1293 | -77.7457 | 17.9744 | -4941.511
2032 | 16019.6223 | 7104.8241 | -2340.2479 | -2.5359 | -2153.8253 |  | 2032 | 18225.8569 | 3550.6796 | 1657.4332 | 16601.6169 | 2249.7453 | 2032 | 13305.1309 | 6206.1813 | -161.5116 | 17.9034 | -6922.6354
Average 3 years | 14278.767 | 5033.1093 | -4623.8863 | -5.7714 | -814.964 |  | Average 3 years | 20093.1989 | 5552.2586 | 2579.3551 | 11196.6898 | 285.847 | Average 3 years | 13162.7438 | 4907.1078 | -28.0217 | 18.564 | -4543.7295
Do Nothing generation cost
Neutral noIC | [6 empty] | Commitited gens | [5 empty] | Early coal retirement
Year | NSW | QLD | SA | TAS | VIC |  | Year | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC
2020 | 1497.5931 | 89.9362 | 1639.4772 | -0.44856 | 269.671 |  | 2020 | [5 empty] | 2020 | 721.9871 | 961.3215 | 956.6842 | -0.70675 | -52.7873
2021 | -4508.971 | -2069.8109 | 228.2173 | -5.0532 | -774.9461 |  | 2021 | [5 empty] | 2021 | -4391.2712 | -2748.1608 | -51.7959 | -1.3818 | -312.306
2022 | -7802.2103 | -4141.3333 | -1326.3079 | 12.0876 | -1204.7415 |  | 2022 | [5 empty] | 2022 | -7953.6195 | -4796.1601 | -770.0592 | -3.8765 | -706.8231
2023 | -20013.6249 | -15351.6371 | -6446.8513 | -34.3368 | -8621.0537 |  | 2023 | [5 empty] | 2023 | -28842.1708 | -20652.5724 | -5222.2571 | 6.1881 | -4335.4212
2024 | 4503.3173 | 886.8813 | -278.3505 | 2.4378 | -3396.7022 |  | 2024 | [5 empty] | 2024 | -9636.3165 | -4235.6383 | -3004.2719 | 36.3631 | -1555.4171
2025 | -5373.3235 | -3676.3647 | -18234.2122 | -4.127 | -3893.7484 |  | 2025 | [5 empty] | 2025 | -7752.2002 | -2792.3611 | -1758.1436 | 135.6967 | -1865.0189