## Queensland
Queensland (regional reference node is South Pine 275 kV)
Queensland Loads
Location | Voltage [kV] | TNI code | 2020/21 MLF | 2019/20 MLF
Abermain | 33 | QABM | 1.0019 | 1.0027
Abermain | 110 | QABR | 1.0027 | 1.0043
Alan Sherriff | 132 | QASF | 0.9676 | 0.9612
Algester | 33 | QALG | 1.0161 | 1.0164
Alligator Creek | 132 | QALH | 0.9649 | 0.956
Alligator Creek | 33 | QALC | 0.971 | 0.9641
Ashgrove West | 33 | QAGW | 1.0166 | 1.0152
Ashgrove West | 110 | QCBW | 1.0142 | 1.0128
Belmont | 110 | QBMH | 1.0115 | 1.0121
Belmont Wecker Road | 33 | QBBS | 1.0131 | 1.0111
Belmont Wecker Road | 11 | QMOB | 1.0125 | 1.0356
Biloela | 66/11 | QBIL | 0.9141 | 0.91
Blackstone | 110 | QBKS | 0.9995 | 1.0006
Blackwater | 66/11 | QBWL | 0.9618 | 0.9536
Blackwater | 132 | QBWH | 0.9546 | 0.9525
Bluff | 132 | QBLF | 0.957 | 0.9517
Bolingbroke | 132 | QBNB | 0.9509 | 0.9456
Bowen North | 66 | QBNN | 0.9492 | 0.9411
Boyne Island | 275 | QBOH | 0.949 | 0.9371
Boyne Island | 132 | QBOL | 0.9463 | 0.9355
Braemar – Kumbarilla Park | 275 | QBRE | 0.9758 | 0.9786
Bulli Creek (Essential Energy) | 132 | QBK2 | 0.9746 | 0.98
Bulli Creek (Waggamba) | 132 | QBLK | 0.9746 | 0.98
Bundamba | 110 | QBDA | 1.0016 | 1.002
Burton Downs | 132 | QBUR | 0.9618 | 0.9501
Cairns | 22 | QCRN | 0.9661 | 0.9581
Cairns City | 132 | QCNS | 0.9581 | 0.9525
Callemondah (Rail) | 132 | QCMD | 0.9375 | 0.9263
Calliope River | 132 | QCAR | 0.9351 | 0.9257
Cardwell | 22 | QCDW | 0.9731 | 0.9642
Chinchilla | 132 | QCHA | 0.9715 | 0.9844
Clare | 66 | QCLR | 0.9633 | 0.9755
Collinsville Load | 33 | QCOL | 0.9433 | 0.9405
Columboola | 132 | QCBL | 0.9917 | 0.9879
Columboola 132 (Bellevue LNG load) | 132 | QCBB | 0.9928 | 0.9909
Coppabella (Rail) | 132 | QCOP | 0.9721 | 0.9623
Dan Gleeson | 66 | QDGL | 0.9724 | 0.9628
Dingo (Rail) | 132 | QDNG | 0.9344 | 0.9417
Duaringa | 132 | QDRG | 0.9376 | 0.9476
Dysart | 66/22 | QDYS | 0.9728 | 0.9594
Eagle Downs Mine | 132 | QEGD | 0.9671 | 0.9555
Edmonton | 22 | QEMT | 0.9791 | 0.9753
Egans Hill | 66 | QEGN | 0.9228 | 0.914
El Arish | 22 | QELA | 0.9833 | 0.9771
Garbutt | 66 | QGAR | 0.974 | 0.9643
Gin Gin | 132 | QGNG | 0.9637 | 0.9557
Gladstone South | 66/11 | QGST | 0.9426 | 0.9301
Goodna | 33 | QGDA | 1.0055 | 1.0059
Goonyella Riverside Mine | 132 | QGYR | 0.9808 | 0.9697
Grantleigh (Rail) | 132 | QGRN | 0.9358 | 0.9213
Gregory (Rail) | 132 | QGRE | 0.9353 | 0.9286
Ingham | 66 | QING | 0.9853 | 1.0375
Innisfail | 22 | QINF | 0.9788 | 0.9695
Invicta Load | 132 | QINV | 0.9274 | 0.9045
Kamerunga | 22 | QKAM | 0.9775 | 0.9852
Kemmis | 66 | QEMS | 0.9602 | 0.9631
King Creek | 132 | QKCK | 0.9484 | 0.9469
Lilyvale | 66 | QLIL | 0.9414 | 0.9335
Lilyvale (Barcaldine) | 132 | QLCM | 0.9478 | 0.9658
Loganlea | 33 | QLGL | 1.0148 | 1.0142
Loganlea | 110 | QLGH | 1.0111 | 1.0117
Mackay | 33 | QMKA | 0.9603 | 0.9466
Middle Ridge (Energex) | 110 | QMRX | 0.9821 | 0.9858
Middle Ridge (Ergon) | 110 | QMRG | 0.9821 | 0.9858
Mindi (Rail) | 132 | QMND | 0.9448 | 0.9372
Molendinar | 110 | QMAR | 1.012 | 1.0137
Molendinar | 33 | QMAL | 1.0115 | 1.0132
Moranbah (Mine) | 66 | QMRN | 0.9842 | 0.97
Moranbah (Town) | 11 | QMRL | 0.9624 | 0.9639
Moranbah South (Rail) | 132 | QMBS | 0.9702 | 0.9569
Moranbah Substation | 132 | QMRH | 0.9721 | 0.9592
Moura | 66/11 | QMRA | 0.9349 | 0.9419
Mt McLaren (Rail) | 132 | QMTM | 0.9688 | 0.9625
Mudgeeraba | 33 | QMGL | 1.0106 | 1.0124
Mudgeeraba | 110 | QMGB | 1.0102 | 1.0121
Murarrie (Belmont) | 110 | QMRE | 1.0124 | 1.0133
Nebo | 11 | QNEB | 0.943 | 0.9346
Newlands | 66 | QNLD | 0.9837 | 0.9721
North Goonyella | 132 | QNGY | 0.9836 | 0.9721
Norwich Park (Rail) | 132 | QNOR | 0.9599 | 0.9464
Oakey | 110 | QOKT | 0.9809 | 0.9833
Oonooie (Rail) | 132 | QOON | 0.9658 | 0.9614
Orana LNG | 275 | QORH | 0.9795 | 0.9805
Palmwoods | 132 | QPWD | 1.0046 | 1.0021
Pandoin | 132 | QPAN | 0.9251 | 0.916
Pandoin | 66 | QPAL | 0.9257 | 0.9168
Peak Downs (Rail) | 132 | QPKD | 0.9794 | 0.9671
Pioneer Valley | 66 | QPIV | 0.9676 | 0.9724
Proserpine | 66 | QPRO | 0.9766 | 0.968
Queensland Alumina Ltd (Gladstone South) | 132 | QQAH | 0.9455 | 0.9337
Queensland Nickel (Yabulu) | 132 | QQNH | 0.9593 | 0.9515
Raglan | 275 | QRGL | 0.928 | 0.9191
Redbank Plains | 11 | QRPN | 1.0057 | 1.0061
Richlands | 33 | QRLD | 1.0152 | 1.0155
Rockhampton | 66 | QROC | 0.9291 | 0.9174
Rocklands (Rail) | 132 | QRCK | 0.9182 | 0.9103
Rocklea (Archerfield) | 110 | QRLE | 1.0058 | 1.0059
Ross | 132 | QROS | 0.965 | 0.9521
Runcorn | 33 | QRBS | 1.0171 | 1.0175
South Pine | 110 | QSPN | 1.0048 | 1.0042
Stony Creek | 132 | QSYC | 0.9594 | 0.9621
Sumner | 110 | QSUM | 1.0068 | 1.0072
Tangkam (Dalby) - Dual MLF Generation | 110 | QTKM | 0.9798 | 0.9848
Tangkam (Dalby) - Dual MLF Load | 110 | QTKM | 0.9843 | 0.9848
Tarong | 66 | QTRL | 0.9731 | 0.9756
Teebar Creek | 132 | QTBC | 0.9843 | 0.9728
Tennyson | 33 | QTNS | 1.0093 | 1.0096
Tennyson (Rail) | 110 | QTNN | 1.0079 | 1.0082
Townsville East | 66 | QTVE | 0.9591 | 0.9548
Townsville South | 66 | QTVS | 0.9625 | 0.9599
Townsville South (KZ) | 132 | QTZS | 0.9899 | 1.0037
Tully | 22 | QTLL | 0.971 | 1.0051
Turkinje | 66 | QTUL | 0.9942 | 0.9846
Turkinje (Craiglie) | 132 | QTUH | 1.0028 | 0.9867
Wandoan South | 132 | QWSH | 1.0035 | 0.9977
Wandoan South (NW Surat) | 275 | QWST | 1.0026 | 0.9966
Wandoo (Rail) | 132 | QWAN | 0.9506 | 0.9442
Wivenhoe Pump | 275 | QWIP | 0.9969 | 0.9976
Woolooga (Energex) | 132 | QWLG | 0.9841 | 0.9769
Woolooga (Ergon) | 132 | QWLN | 0.9841 | 0.9769
Woree | 132 | QWRE | 0.9677 | 0.9624
Wotonga (Rail) | 132 | QWOT | 0.9699 | 0.959
Wycarbah | 132 | QWCB | 0.926 | 0.9137
Yarwun – Boat Creek (Ergon) | 132 | QYAE | 0.938 | 0.9269
Yarwun – Rio Tinto | 132 | QYAR | 0.9333 | 0.923
Queensland Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020/21 MLF | 2019/20 MLF
Baking Board Solar Farm (Chinchilla Solar Farm) | 132 | BAKING1 | QCHS1C | QCHS | 0.9743 | 0.9862
Barcaldine PS – Lilyvale | 132 | BARCALDN | QBCG | QBCG | 0.9025 | 0.8873
Barcaldine Solar at Lilyvale (132) | 132 | BARCSF1 | QLLV1B | QLLV | 0.8889 | 0.8735
Barron Gorge Power Station (PS) Unit 1 | 132 | BARRON-1 | QBGH1 | QBGH | 0.9356 | 0.9144
Barron Gorge PS Unit 2 | 132 | BARRON-2 | QBGH2 | QBGH | 0.9356 | 0.9144
Braemar PS Unit 1 | 275 | BRAEMAR1 | QBRA1 | QBRA | 0.9609 | 0.9702
Braemar PS Unit 2 | 275 | BRAEMAR2 | QBRA2 | QBRA | 0.9609 | 0.9702
Braemar PS Unit 3 | 275 | BRAEMAR3 | QBRA3 | QBRA | 0.9609 | 0.9702
Braemar Stage 2 PS Unit 5 | 275 | BRAEMAR5 | QBRA5B | QBRA | 0.9609 | 0.9702
Braemar Stage 2 PS Unit 6 | 275 | BRAEMAR6 | QBRA6B | QBRA | 0.9609 | 0.9702
Braemar Stage 2 PS Unit 7 | 275 | BRAEMAR7 | QBRA7B | QBRA | 0.9609 | 0.9702
Browns Plains Landfill Gas PS | 110 | BPLANDF1 | QLGH3B | QLGH | 1.0111 | 1.0117
Callide A PS Unit 4 | 132 | CALL_A_4 | QCAA4 | QCAA | 0.9066 | 0.9022
Callide A PS Unit 4 Load | 132 | CALLNL4 | QCAA2 | QCAA | 0.9066 | 0.9022
Callide B PS Unit 1 | 275 | CALL_B_1 | QCAB1 | QCAB | 0.9086 | 0.905
Callide B PS Unit 2 | 275 | CALL_B_2 | QCAB2 | QCAB | 0.9086 | 0.905
Callide C PS Unit 3 | 275 | CPP_3 | QCAC3 | QCAC | 0.9076 | 0.9025
Callide C PS Unit 4 | 275 | CPP_4 | QCAC4 | QCAC | 0.9076 | 0.9025
Callide PS Load | 132 | CALLNL1 | QCAX | QCAX | 0.9048 | 0.9024
Childers Solar Farm | 132 | CHILDSF1 | QTBS1C | QTBS | 0.9608 | 0.9532
Clare Solar Farm | 132 | CLARESF1 | QCLA1C | QCLA | 0.8647 | 0.8596
Clermont Solar Farm | 132 | CLERMSF1 | QLLV3C | QLLV | 0.8889 | 0.8735
Collinsville Solar Farm | 33 | CSPVPS1 | QCOS1C | QCOS | 0.8738 | 0.8585
Columboola – Condamine PS | 132 | CPSA | QCND1C | QCND | 0.9884 | 0.9888
Coopers Gap Wind Farm | 275 | COOPGWF1 | QCPG1C | QCPG | 0.9681 | 0.9705
Daandine PS - Dual MLF (Generation) | 110 | DAANDINE | QTKM1 | QTKM | 0.9798 | 0.9848
Daandine PS - Dual MLF (Load) | 110 | DAANDINE | QTKM1 | QTKM | 0.9843 | 0.9848
Darling Downs PS | 275 | DDPS1 | QBRA8D | QBRA | 0.9609 | 0.9702
Darling Downs Solar Farm | 275 | DDSF1 | QBRS1D | QBRS | 0.9825 | 0.9822
Daydream Solar Farm | 33 | DAYDSF1 | QCCK1D | QCCK | 0.8825 | 0.8494
Emerald Solar Farm (effective prior to 08/12/2020) | 66 | EMERASF1 | QLIS1E | QLIS | 0.8864 | 0.8712
Emerald Solar Farm (effective from 08/12/2020) | 66 | EMERASF1 | QLIS1E | QLIS | 0.882
Gangarri Solar Farm | 132 | GANGARR1 | QWSS1G | QWSS | 0.9992
German Creek Generator | 66 | GERMCRK | QLIL2 | QLIL | 0.9414 | 0.9335
Gladstone PS (132 kV) Unit 3 | 132 | GSTONE3 | QGLD3 | QGLL | 0.9288 | 0.9203
Gladstone PS (132 kV) Unit 4 | 132 | GSTONE4 | QGLD4 | QGLL | 0.9288 | 0.9203
Gladstone PS (132kV) Load | 132 | GLADNL1 | QGLL | QGLL | 0.9288 | 0.9203
Gladstone PS (275 kV) Unit 1 | 275 | GSTONE1 | QGLD1 | QGLH | 0.9285 | 0.9223
Gladstone PS (275 kV) Unit 2 | 275 | GSTONE2 | QGLD2 | QGLH | 0.9285 | 0.9223
Gladstone PS (275 kV) Unit 5 | 275 | GSTONE5 | QGLD5 | QGLH | 0.9285 | 0.9223
Gladstone PS (275 kV) Unit 6 | 275 | GSTONE6 | QGLD6 | QGLH | 0.9285 | 0.9223
Grosvenor PS At Moranbah 66 No 1 | 66 | GROSV1 | QMRN2G | QMRV | 0.9696 | 0.9567
Grosvenor PS At Moranbah 66 No 2 | 66 | GROSV2 | QMRV1G | QMRV | 0.9696 | 0.9567
Hamilton Solar Farm | 33 | HAMISF1 | QSLD1H | QSLD | 0.8743 | 0.8573
Haughton Solar Farm | 275 | HAUGHT11 | QHAR1H | QHAR | 0.8765 | 0.8701
Hayman Solar Farm | 33 | HAYMSF1 | QCCK2H | QCCK | 0.8825 | 0.8494
Hughenden Solar Farm | 132 | HUGSF1 | QROG2H | QROG | 0.8907 | 0.8678
Invicta Sugar Mill | 132 | INVICTA | QINV1I | QINV | 0.9274 | 0.9045
Isis CSM | 132 | ICSM | QGNG1I | QTBC | 0.9843 | 0.9728
Kareeya PS Unit 1 | 132 | KAREEYA1 | QKAH1 | QKYH | 0.9465 | 0.9296
Kareeya PS Unit 2 | 132 | KAREEYA2 | QKAH2 | QKYH | 0.9465 | 0.9296
Kareeya PS Unit 3 | 132 | KAREEYA3 | QKAH3 | QKYH | 0.9465 | 0.9296
Kareeya PS Unit 4 | 132 | KAREEYA4 | QKAH4 | QKYH | 0.9465 | 0.9296
Kennedy Energy Park Battery (Generation) | 132 | KEPBG1 | QROW3K | QROW | 0.9581
Kennedy Energy Park Battery (Load) | 132 | KEPBL1 | QROW4K | QROW | 0.9581
Kennedy Energy Park Solar Farm | 132 | KEPSF1 | QROW2K | QROW | 0.9581
Kennedy Energy Park Wind Farm | 132 | KEPWF1 | QROW1K | QROW | 0.9581
Kidston Solar Farm | 132 | KSP1 | QROG1K | QROG | 0.8907 | 0.8678
Kogan Creek PS | 275 | KPP_1 | QBRA4K | QWDN | 0.9735 | 0.9711
Koombooloomba | 132 | KAREEYA5 | QKYH5 | QKYH | 0.9465 | 0.9296
Lilyvale Solar Farm | 33 | LILYSF1 | QBDR1L | QBDR | 0.8904 | 0.8692
Longreach Solar Farm | 132 | LRSF1 | QLLV2L | QLLV | 0.8889 | 0.8735
Mackay GT | 33 | MACKAYGT | QMKG | QMKG | 0.8893 | 0.9062
Maryorough Solar Farm (Brigalow Solar Farm) | 110 | MARYRSF1 | QMRY2M | QMRY | 0.9851 | 0.9872
Middlemount Solar Farm | 66 | MIDDLSF1 | QLIS2M | QLIS | 0.882
Millmerran PS Unit 1 | 330 | MPP_1 | QBCK1 | QMLN | 0.9763 | 0.9797
Millmerran PS Unit 2 | 330 | MPP_2 | QBCK2 | QMLN | 0.9763 | 0.9797
Moranbah Generation | 11 | MORANBAH | QMRL1M | QMRL | 0.9624 | 0.9639
Moranbah North PS | 66 | MBAHNTH | QMRN1P | QMRN | 0.9842 | 0.97
Mount Emerald Wind farm | 275 | MEWF1 | QWKM1M | QWKM | 0.955 | 0.944
Mt Stuart PS Unit 1 | 132 | MSTUART1 | QMSP1 | QMSP | 0.9229 | 0.9037
Mt Stuart PS Unit 2 | 132 | MSTUART2 | QMSP2 | QMSP | 0.9229 | 0.9037
Mt Stuart PS Unit 3 | 132 | MSTUART3 | QMSP3M | QMSP | 0.9229 | 0.9037
Oakey 1 Solar Farm | 110 | OAKEY1SF | QTKS1O | QTKS | 0.9783 | 0.9824
Oakey 2 Solar Farm | 110 | OAKEY2SF | QTKS2O | QTKS | 0.9783 | 0.9824
Oakey PS Unit 1 | 110 | OAKEY1 | QOKY1 | QOKY | 0.9591 | 0.9589
Oakey PS Unit 2 | 110 | OAKEY2 | QOKY2 | QOKY | 0.9591 | 0.9589
Oaky Creek 2 | 66 | OAKY2 | QLIL3O | QLIL | 0.9414 | 0.9335
Oaky Creek Generator | 66 | OAKYCREK | QLIL1 | QLIL | 0.9414 | 0.9335
Racecourse Mill PS 1 – 3 | 66 | RACOMIL1 | QMKA1R | QPIV | 0.9676 | 0.9724
Rochedale Renewable Energy Plant | 110 | ROCHEDAL | QBMH2 | QBMH | 1.0115 | 1.0121
Rocky Point Gen (Loganlea 110kV) | 110 | RPCG | QLGH2 | QLGH | 1.0111 | 1.0117
Roma PS Unit 7 – Columboola | 132 | ROMA_7 | QRMA7 | QRMA | 0.9761 | 0.9759
Roma PS Unit 8 – Columboola | 132 | ROMA_8 | QRMA8 | QRMA | 0.9761 | 0.9759
Ross River Solar Farm | 132 | RRSF1 | QROG3R | QROG | 0.8907 | 0.8678
Rugby Run Solar Farm | 132 | RUGBYR1 | QMPL1R | QMPL | 0.8886 | 0.8709
Stanwell PS Load | 132 | STANNL1 | QSTX | QSTX | 0.9216 | 0.9054
Stanwell PS Unit 1 | 275 | STAN-1 | QSTN1 | QSTN | 0.912 | 0.906
Stanwell PS Unit 2 | 275 | STAN-2 | QSTN2 | QSTN | 0.912 | 0.906
Stanwell PS Unit 3 | 275 | STAN-3 | QSTN3 | QSTN | 0.912 | 0.906
Stanwell PS Unit 4 | 275 | STAN-4 | QSTN4 | QSTN | 0.912 | 0.906
Stapylton | 110 | STAPYLTON1 | QLGH4S | QLGH | 1.0111 | 1.0117
Sun Metals Solar Farm | 132 | SMCSF1 | QTZS1S | QTZS | 0.9899 | 1.0037
Sunshine Coast Solar Farm | 132 | VALDORA1 | QPWD1S | QPWD | 1.0046 | 1.0021
Susan River Solar Farm | 132 | SRSF1 | QTBS2S | QTBS | 0.9608 | 0.9532
Swanbank E GT | 275 | SWAN_E | QSWE | QSWE | 0.9997 | 1.001
Tarong North PS | 275 | TNPS1 | QTNT | QTNT | 0.972 | 0.9745
Tarong PS Unit 1 | 275 | TARONG#1 | QTRN1 | QTRN | 0.9721 | 0.9748
Tarong PS Unit 2 | 275 | TARONG#2 | QTRN2 | QTRN | 0.9721 | 0.9748
Tarong PS Unit 3 | 275 | TARONG#3 | QTRN3 | QTRN | 0.9721 | 0.9748
Tarong PS Unit 4 | 275 | TARONG#4 | QTRN4 | QTRN | 0.9721 | 0.9748
Ti Tree BioReactor | 33 | TITREE | QABM1T | QABM | 1.0019 | 1.0027
Warwick Solar Farm 1 | 110 | WARWSF1 | QMRY3W | QMRY | 0.9851
Warwick Solar Farm 2 | 110 | WARWSF2 | QMRY4W | QMRY | 0.9851
Whitsunday Solar Farm | 33 | WHITSF1 | QSLS1W | QSLS | 0.8743 | 0.8573
Whitwood Rd Renewable Energy Plant | 110 | WHIT1 | QSBK1 | QBKS | 0.9995 | 1.0006
Windy Hill Wind Farm | 66 | WHILL1 | QTUL | QTUL | 0.9942 | 0.9846
Wivenhoe Generation Unit 1 | 275 | W/HOE#1 | QWIV1 | QWIV | 0.9919 | 0.9936
Wivenhoe Generation Unit 2 | 275 | W/HOE#2 | QWIV2 | QWIV | 0.9919 | 0.9936
Wivenhoe Pump 1 | 275 | PUMP1 | QWIP1 | QWIP | 0.9969 | 0.9976
Wivenhoe Pump 2 | 275 | PUMP2 | QWIP2 | QWIP | 0.9969 | 0.9976
Wivenhoe Small Hydro | 110 | WIVENSH | QABR1 | QABR | 1.0027 | 1.0043
Yabulu PS | 132 | YABULU | QTYP | QTYP | 0.9268 | 0.9156
Yabulu Steam Turbine (Garbutt 66kV) | 66 | YABULU2 | QGAR1 | QYST | 0.9196 | 0.9197
Yarranlea Solar Farm | 110 | YARANSF1 | QMRY1Y | QMRY | 0.9851 | 0.9872
Yarwun PS | 132 | YARWUN_1 | QYAG1R | QYAG | 0.9324 | 0.9225

## New South Wales
New South Wales (regional reference node is Sydney West 330 kV)
New South Wales Loads
Location | Voltage [kV] | TNI code | 2020/21 MLF | 2019/20 MLF
Alexandria | 33 | NALX | 1.0031 | 1.004
Albury | 132 | NALB | 0.9702 | 0.9772
Alcan | 132 | NALC | 0.9911 | 0.9915
Armidale | 66 | NAR1 | 0.9671 | 0.9395
Australian Newsprint Mill | 132 | NANM | 0.9828 | 0.9817
Balranald | 22 | NBAL | 0.9014 | 0.9078
Beaconsfield North | 132 | NBFN | 1.0029 | 1.0034
Beaconsfield South (effective prior to 28/03/2021) | 132 | NBFS | 1.003 | 1.0034
Beaconsfield South (effective from 28/03/2021) | 132 | NBFS | 1.0029
Belmore Park (effective prior to 28/03/2021) | 132 | NBM1 | 1.0031 | 1.0036
Belmore Park (effective from 28/03/2021) | 132 | NBM1 | 1.003
Beresfield | 33 | NBRF | 0.9912 | 0.9915
Beryl | 66 | NBER | 0.9794 | 0.971
BHP (Waratah) | 132 | NWR1 | 0.9908 | 0.9907
Boambee South | 132 | NWST | 0.9946 | 0.963
Boggabri East | 132 | NBGE | 1.0117 | 0.9897
Boggabri North | 132 | NBGN | 1.0109 | 0.9906
Brandy Hill | 11 | NBHL | 0.9943 | 0.994
Broken Hill | 22 | NBKG | 0.8734 | 0.8538
Broken Hill | 220 | NBKH | 0.8644 | 0.8349
Bunnerong | 132 | NBG1 | 1.0041 | 1.0032
Bunnerong | 33 | NBG3 | 1.0055 | 1.0056
Buronga | 220 | NBRG | 0.8127 | 0.8698
Burrinjuck | 132 | NBU2 | 0.9825 | 0.9729
Campbell St | 11 | NCBS | 1.0047
Campbell St | 132 | NCS1 | 1.0038
Canterbury (effective prior to 01/11/2020) | 33 | NCTB | 1.0204 | 1.012
Canterbury (effective from 01/11/2020) | 33 | NCTB | 1.017
Carlingford | 132 | NCAR | 1.001 | 1.001
Casino | 132 | NCSN | 1.0107 | 0.9599
Charmhaven | 11 | NCHM | 0.9935 | 0.9949
Chullora | 132 | NCHU | 1.0014 | 1.0021
Coffs Harbour | 66 | NCH1 | 0.9886 | 0.9592
Coleambally | 132 | NCLY | 0.9561 | 0.9483
Cooma | 66 | NCMA | 0.9809 | 0.9797
Cooma (AusNet Services) | 66 | NCM2 | 0.9809 | 0.9797
Croydon (effective prior to 04/04/2021) | 11 | NCRD | 1.0168 | 1.0178
Croydon (effective from 04/04/2021) | 11 | NCRD | 1.0171
Cowra | 66 | NCW8 | 1.0009 | 1.0314
Dapto (Endeavour Energy) | 132 | NDT1 | 0.9967 | 0.9929
Dapto (Essential Energy) | 132 | NDT2 | 0.9967 | 0.9929
Darlington Point | 132 | NDNT | 0.9575 | 0.9596
Deniliquin | 66 | NDN7 | 0.9843 | 0.9788
Dorrigo | 132 | NDOR | 0.9846 | 0.9573
Drummoyne (effective prior to 04/04/2021) | 11 | NDRM | 1.0187 | 1.0204
Drummoyne (effective from 04/04/2021) | 11 | NDRM | 1.019
Dunoon | 132 | NDUN | 1.0059 | 0.9676
Far North VTN |  | NEV1 | 0.9775 | 0.9723
Finley | 66 | NFNY | 0.9537 | 0.9895
Forbes | 66 | NFB2 | 1.0148 | 1.0437
Gadara | 132 | NGAD | 0.9951 | 0.9827
Glen Innes | 66 | NGLN | 0.9579 | 0.9205
Gosford | 66 | NGF3 | 1.0019 | 1.0036
Gosford | 33 | NGSF | 1.0026 | 1.0043
Grafton East 132 | 132 | NGFT | 0.9925 | 0.9608
Green Square | 11 | NGSQ | 1.0054 | 1.0059
Griffith | 33 | NGRF | 0.9888 | 0.9757
Gunnedah | 66 | NGN2 | 1.0064 | 0.9866
Haymarket (effective prior to 28/03/2021) | 132 | NHYM | 1.0031 | 1.0036
Haymarket (effective from 28/03/2021) | 132 | NHYM | 1.0032
Heron's Creek | 132 | NHNC | 1.0419 | 1.012
Holroyd | 132 | NHLD | 1.0024 | 1.0025
Holroyd (Ausgrid) | 132 | NHLX | 1.0024 | 1.0025
Hurstville North | 11 | NHVN | 1.0045 | 1.004
Homebush Bay | 11 | NHBB | 1.0168 | 1.0184
Ilford | 132 | NLFD | 0.9754 | 0.9665
Ingleburn | 66 | NING | 0.9983 | 0.9973
Inverell | 66 | NNVL | 0.9603 | 0.9303
Kemps Creek | 330 | NKCK | 0.9949 | 0.9944
Kempsey | 66 | NKS2 | 1.0155 | 0.984
Kempsey | 33 | NKS3 | 1.0223 | 0.9934
Koolkhan | 66 | NKL6 | 1.0061 | 0.9738
Kurnell | 132 | NKN1 | 1.0017 | 1.0014
Kogarah | 11 | NKOG | 1.0065 | 1.0062
Kurri | 33 | NKU3 | 0.9912 | 0.9916
Kurri | 11 | NKU1 | 0.9912 | 0.9915
Kurri | 132 | NKUR | 0.9912 | 0.9916
Lake Munmorah | 132 | NMUN | 0.9787 | 0.988
Lane Cove | 132 | NLCV | 1.0138 | 1.0151
Leichhardt (effective prior to 04/04/2021) | 11 | NLDT | 1.0169 | 1.0173
Leichhardt (effective from 04/04/2021) | 11 | NLDT | 1.0171
Liddell | 33 | NLD3 | 0.9673 | 0.9654
Lismore | 132 | NLS2 | 1.0432 | 1.0107
Liverpool | 132 | NLP1 | 1.0012 | 1.0009
Macarthur | 132 | NMC1 | 0.9955 | 0.9941
Macarthur | 66 | NMC2 | 0.9975 | 0.9957
Macksville | 132 | NMCV | 1.009 | 0.9794
Macquarie Park | 11 | NMQP | 1.0184 | 1.03
Manildra | 132 | NMLD | 1.0099 | 1.0252
Marrickville | 11 | NMKV | 1.0078 | 1.0089
Marulan (Endeavour Energy) | 132 | NMR1 | 1.0103 | 1.0086
Marulan (Essential Energy) | 132 | NMR2 | 1.0103 | 1.0086
Mason Park (effective prior to 04/04/2021) | 132 | NMPK | 1.014 | 1.0154
Mason Park (effective from 04/04/2021) | 132 | NMPK | 1.0139
Meadowbank | 11 | NMBK | 1.0175 | 1.0192
Molong | 132 | NMOL | 1.0216 | 1.0275
Moree | 66 | NMRE | 0.9913 | 0.9714
Morven | 132 | NMVN | 0.9731 | 0.974
Mt Piper | 66 | NMP6 | 0.9774 | 0.9729
Mudgee | 132 | NMDG | 0.9817 | 0.9722
Mullumbimby | 11 | NML1 | 1.0073 | 0.9594
Mullumbimby | 132 | NMLB | 0.9898 | 0.9559
Munmorah STS 33 | 33 | NMU3 | 0.9899 | 0.9906
Munyang | 11 | NMY1 | 0.9865 | 0.9922
Munyang | 33 | NMYG | 0.9865 | 0.9922
Murrumbateman | 132 | NMBM | 0.9791 | 0.9793
Murrumburrah | 66 | NMRU | 0.9894 | 0.9904
Muswellbrook | 132 | NMRK | 0.9784 | 0.9728
Nambucca Heads | 132 | NNAM | 1.0059 | 0.9764
Narrabri | 66 | NNB2 | 1.0212 | 1.003
Newcastle | 132 | NNEW | 0.9907 | 0.9907
North of Broken Bay VTN |  | NEV2 | 0.9932 | 0.9945
Orange | 66 | NRGE | 1.0376 | 1.0303
Orange North | 132 | NONO | 1.0364 | 1.0296
Ourimbah | 33 | NORB | 0.9986 | 1.0004
Ourimbah | 132 | NOR1 | 0.9976 | 0.9991
Ourimbah | 66 | NOR6 | 0.9982 | 0.9998
Panorama | 66 | NPMA | 1.0229 | 1.0167
Parkes | 66 | NPK6 | 1.0095 | 1.0385
Parkes | 132 | NPKS | 1.004 | 1.0322
Peakhurst | 33 | NPHT | 1.0035 | 1.003
Potts Hill 11 | 11 | NPHL | 1.0033 | 1.0036
Potts Hill 132 | 132 | NPO1 | 1.0004 | 1.0009
Pt Macquarie | 33 | NPMQ | 1.0382 | 1.0104
Pyrmont (effective prior to 04/04/2021) | 33 | NPT3 | 1.0063 | 1.007
Pyrmont (effective from 04/04/2021) | 33 | NPT3 | 1.0062
Pyrmont (effective prior to 04/04/2021) | 132 | NPT1 | 1.0035 | 1.004
Pyrmont (effective from 04/04/2021) | 132 | NPT1 | 1.0033
Queanbeyan 132 | 132 | NQBY | 0.9976 | 0.9913
Raleigh | 132 | NRAL | 0.9982 | 0.9722
Ravine | 330 | NRVN | 0.982
Regentville | 132 | NRGV | 0.9983 | 0.9981
Rockdale (Ausgrid) | 11 | NRKD | 1.0056 | 1.0047
Rookwood Road | 132 | NRWR | 1.0002 | 1.0023
Rose Bay | 11 | NRSB | 1.0051
Rozelle (effective prior to 04/04/2021) | 132 | NRZH | 1.0151 | 1.0174
Rozelle (effective from 04/04/2021) | 132 | NRZH | 1.0152
Rozelle (effective prior to 04/04/2021) | 33 | NRZL | 1.0154 | 1.0172
Rozelle (effective from 04/04/2021) | 33 | NRZL | 1.0155
Snowy Adit | 132 | NSAD | 0.9721 | 0.9767
Somersby | 11 | NSMB | 1.0031 | 1.0049
South of Broken Bay VTN |  | NEV3 | 1.0052 | 1.0057
St Peters | 11 | NSPT | 1.0063 | 1.0067
Strathfield South | 11 | NSFS | 1.009
Stroud | 132 | NSRD | 1.0084 | 1.0042
Sydney East | 132 | NSE2 | 1.0058 | 1.007
Sydney North (Ausgrid) | 132 | NSN1 | 1.0035 | 1.0045
Sydney North (Endeavour Energy) | 132 | NSN2 | 1.0035 | 1.0045
Sydney South | 132 | NSYS | 1.0009 | 1.0001
Sydney West (Ausgrid) | 132 | NSW1 | 1.001 | 1.001
Sydney West (Endeavour Energy) | 132 | NSW2 | 1.001 | 1.001
Tamworth | 66 | NTA2 | 0.976 | 0.9596
Taree (Essential Energy) | 132 | NTR2 | 1.0438 | 1.0238
Tenterfield | 132 | NTTF | 0.9763 | 0.9399
Terranora | 110 | NTNR | 1.0056 | 0.9835
Tomago | 330 | NTMG | 0.9908 | 0.991
Tomago (Ausgrid) | 132 | NTME | 0.9926 | 0.9927
Tomago (Essential Energy) | 132 | NTMC | 0.9926 | 0.9927
Top Ryde | 11 | NTPR | 1.0163 | 1.0181
Tuggerah | 132 | NTG3 | 0.994 | 0.9952
Tumut | 66 | NTU2 | 0.9913 | 0.984
Tumut 66 (AusNet DNSP) | 66 | NTUX | 0.9913 | 0.984
Vales Pt. | 132 | NVP1 | 0.9884 | 0.9902
Vineyard | 132 | NVYD | 0.9997 | 0.9997
Wagga | 66 | NWG2 | 0.9686 | 0.974
Wagga North | 132 | NWGN | 0.9754 | 0.9751
Wagga North | 66 | NWG6 | 0.9729 | 0.9757
Wallerawang (Endeavour Energy) | 132 | NWW6 | 0.9776 | 0.9733
Wallerawang (Essential Energy) | 132 | NWW5 | 0.9776 | 0.9733
Wallerawang 66 (Essential Energy) | 66 | NWW4 | 0.9779 | 0.974
Wallerawang 66 | 66 | NWW7 | 0.9779 | 0.974
Wallerawang 330 PS Load | 330 | NWWP | 0.977 | 0.9737
Waverley | 11 | NWAV | 1.0047
Wellington | 132 | NWL8 | 0.9887 | 0.9835
West Gosford | 11 | NGWF | 1.0035 | 1.0055
Williamsdale (Essential Energy) (Bogong) | 132 | NWD1 | 0.9795 | 0.984
Wyong | 11 | NWYG | 0.9961 | 0.9977
Yanco | 33 | NYA3 | 0.9683 | 0.9692
Yass | 66 | NYS6 | 0.9799 | 0.9799
Yass | 132 | NYS1 | 0.9392 | 0.9713
New South Wales Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020/21 MLF | 2019/20 MLF
AGL Sita Landfill 1 | 132 | AGLSITA1 | NLP13K | NLP1 | 1.0012 | 1.0009
Appin Power Station | 66 | APPIN | NAPP1A | NAPP | 0.9978 | 0.9953
Bango 973 Wind Farm | 132 | BANGOWF1 | NBA21B | NBA2 | 0.969
Bango 999 Wind Farm | 132 | BANGOWF2 | NBB21B | NBB2 | 0.9782
Bayswater PS Unit 1 | 330 | BW01 | NBAY1 | NBAY | 0.9625 | 0.9592
Bayswater PS Unit 2 | 330 | BW02 | NBAY2 | NBAY | 0.9625 | 0.9592
Bayswater PS Unit 3 | 500 | BW03 | NBAY3 | NBYW | 0.9633 | 0.9598
Bayswater PS Unit 4 | 500 | BW04 | NBAY4 | NBYW | 0.9633 | 0.9598
Beryl Solar Farm | 66 | BERYLSF1 | NBES1B | NBES | 0.9348 | 0.9243
Blowering | 132 | BLOWERNG | NBLW8 | NBLW | 0.958 | 0.9391
Boco Rock Wind Farm | 132 | BOCORWF1 | NCMA3B | NBCO | 0.9536 | 0.9555
Bodangora Wind Farm | 132 | BODWF1 | NBOD1B | NBOD | 0.9659 | 0.9495
Bomen Solar Farm | 132 | BOMENSF1 | NWGS1B | NWGS | 0.9417 | 0.9181
Broadwater PS | 132 | BWTR1 | NLS21B | NLS2 | 1.0432 | 1.0107
Broken Hill GT 1 | 22 | GB01 | NBKG1 | NBKG | 0.8734 | 0.8538
Broken Hill Solar Farm | 22 | BROKENH1 | NBK11B | NBK1 | 0.7844 | 0.7566
Brown Mountain | 66 | BROWNMT | NCMA1 | NCMA | 0.9809 | 0.9797
Burrendong Hydro PS | 132 | BDONGHYD | NWL81B | NWL8 | 0.9887 | 0.9835
Burrinjuck PS | 132 | BURRIN | NBUK | NBUK | 0.9848 | 0.967
Campbelltown WSLC | 66 | WESTCBT1 | NING1C | NING | 0.9983 | 0.9973
Capital Wind Farm | 330 | CAPTL_WF | NCWF1R | NCWF | 0.9674 | 0.9701
Coleambally Solar Farm | 132 | COLEASF1 | NCLS1C | NCLS | 0.9002 | 0.8689
Collector Wind Farm | 330 | COLWF01 | NCLW1C | NCLW | 0.9786
Colongra PS Unit 1 | 330 | CG1 | NCLG1D | NCLG | 0.9819 | 0.9852
Colongra PS Unit 2 | 330 | CG2 | NCLG2D | NCLG | 0.9819 | 0.9852
Colongra PS Unit 3 | 330 | CG3 | NCLG3D | NCLG | 0.9819 | 0.9852
Colongra PS Unit 4 | 330 | CG4 | NCLG4D | NCLG | 0.9819 | 0.9852
Condong PS | 110 | CONDONG1 | NTNR1C | NTNR | 1.0056 | 0.9835
Copeton Hydro PS | 66 | COPTNHYD | NNVL1C | NNVL | 0.9603 | 0.9303
Corowa Solar Farm | 132 | CRWASF1 | NAL11C | NAL1 | 0.9497
Crookwell 2 Wind Farm | 330 | CROOKWF2 | NCKW1C | NCKW | 0.9716 | 0.9742
Crudine Ridge Wind Farm | 132 | CRURWF1 | NCDS1C | NCDS | 0.9462
Cullerin Range Wind Farm | 132 | CULLRGWF | NYS11C | NYS1 | 0.9392 | 0.9713
Darlington Point Solar Farm | 132 | DARLSF1 | NDNS1D | NDNS | 0.916
Eastern Creek | 132 | EASTCRK | NSW21 | NSW2 | 1.001 | 1.001
Eastern Creek 2 | 132 | EASTCRK2 | NSW23L | NSW2 | 1.001 | 1.001
Eraring 330 BS UN (GT) | 330 | ERGT01 | NEP35B | NEP3 | 0.9835 | 0.9836
Eraring 330 PS Unit 1 | 330 | ER01 | NEPS1 | NEP3 | 0.9835 | 0.9836
Eraring 330 PS Unit 2 | 330 | ER02 | NEPS2 | NEP3 | 0.9835 | 0.9836
Eraring 500 PS Unit 3 | 500 | ER03 | NEPS3 | NEPS | 0.9845 | 0.9845
Eraring 500 PS Unit 4 | 500 | ER04 | NEPS4 | NEPS | 0.9845 | 0.9845
Eraring PS Load | 500 | ERNL1 | NEPSL | NNEW | 0.9907 | 0.9845
Finley Solar Farm | 132 | FINLYSF1 | NFNS1F | NFNS | 0.88 | 0.8461
Glenbawn Hydro PS | 132 | GLBWNHYD | NMRK2G | NMRK | 0.9784 | 0.9728
Glenn Innes (Pindari PS) | 66 | PINDARI | NGLN1 | NGLN | 0.9579 | 0.9205
Glennies Creek PS | 132 | GLENNCRK | NMRK3T | NMRK | 0.9784 | 0.9728
Grange Avenue | 132 | GRANGEAV | NVYD1 | NVYD | 0.9997 | 0.9997
Griffith Solar Farm | 33 | GRIFSF1 | NGG11G | NGG1 | 0.9001 | 0.9063
Goonumbla Solar Farm | 66 | GOONSF1 | NPG12G | NPG1 | 0.9259 | 0.9791
Gullen Range Solar Farm | 330 | GULLRSF1 | NGUR2G | NGUR | 0.9708 | 0.9694
Gullen Range 1 Wind Farm | 330 | GULLRWF1 | NGUR1G | NGUR | 0.9708 | 0.9694
Gullen Range 2 Wind Farm | 330 | GULLRWF2 | NGUR3G | NGUR | 0.9708 | 0.9694
Gunnedah Solar Farm | 132 | GNNDHSF1 | NGNE1G | NGNE | 0.896
Gunning Wind Farm | 132 | GUNNING1 | NYS12A | NYS1 | 0.9392 | 0.9713
Guthega | 132 | GUTHEGA | NGUT8 | NGUT | 0.9125 | 0.9016
Guthega Auxiliary Supply | 11 | GUTHNL1 | NMY11 | NMY1 | 0.9865 | 0.9922
Hume (New South Wales Share) | 132 | HUMENSW | NHUM | NHUM | 0.9471 | 0.9574
Jemalong Solar Farm | 66 | JEMALNG1 | NFBS1J | NFBS | 0.922
Jindabyne Generator | 66 | JNDABNE1 | NCMA2 | NCMA | 0.9809 | 0.9797
Jounama PS | 66 | JOUNAMA1 | NTU21J | NTU2 | 0.9913 | 0.984
Junee Solar Farm | 132 | JUNEESF1 | NWGJ1J | NWGJ | 0.9645
Kangaroo Valley – Bendeela (Shoalhaven) Generation – Dual MLF | 330 | SHGEN | NSHL | NSHN | 0.9809 | 0.9769
Kangaroo Valley (Shoalhaven) Pumps – Dual MLF | 330 | SHPUMP | NSHP1 | NSHN | 1.0007 | 0.9962
Keepit | 66 | KEEPIT | NKPT | NKPT | 1.0064 | 0.9866
Kincumber Landfill | 66 | KINCUM1 | NGF31K | NGF3 | 1.0019 | 1.0036
Liddell 33 – Hunter Valley GTs | 33 | HVGTS | NLD31 | NLD3 | 0.9673 | 0.9654
Liddell 330 PS Load | 330 | LIDDNL1 | NLDPL | NLDP | 0.9631 | 0.9593
Liddell 330 PS Unit 1 | 330 | LD01 | NLDP1 | NLDP | 0.9631 | 0.9593
Liddell 330 PS Unit 2 | 330 | LD02 | NLDP2 | NLDP | 0.9631 | 0.9593
Liddell 330 PS Unit 3 | 330 | LD03 | NLDP3 | NLDP | 0.9631 | 0.9593
Liddell 330 PS Unit 4 | 330 | LD04 | NLDP4 | NLDP | 0.9631 | 0.9593
Limondale Solar Farm 1 | 220 | LIMOSF11 | NBSF1L | NBSF | 0.7907
Limondale Solar Farm 2 | 22 | LIMOSF21 | NBL21L | NBL2 | 0.7926 | 0.7872
Liverpool 132 (Jacks Gully) | 132 | JACKSGUL | NLP11 | NSW2 | 1.001 | 1.001
Lower Tumut Generation – dual MLF | 330 | TUMUT3 | NLTS8 | NLTS | 0.9246 | 0.9276
Lower Tumut Pipeline Auxiliary | 66 | TUMT3NL3 | NTU2L3 | NTU2 | 0.9913 | 0.984
Lower Tumut Pumps – dual MLF | 330 | SNOWYP | NLTS3 | NLTS | 0.9942 | 0.9986
Lower Tumut T2 Auxiliary | 66 | TUMT3NL1 | NTU2L1 | NTU2 | 0.9913 | 0.984
Lower Tumut T4 Auxiliary | 66 | TUMT3NL2 | NTU2L2 | NTU2 | 0.9913 | 0.984
Lucas Heights II Power Plant | 132 | LUCASHGT | NSYS2G | NSYS | 1.0009 | 1.0001
Lucas Heights Stage 2 Power Station | 132 | LUCAS2S2 | NSYS1 | NSYS | 1.0009 | 1.0001
Manildra Solar Farm | 132 | MANSLR1 | NMLS1M | NMLS | 0.9542 | 0.9818
Molong Solar Farm | 66 | MOLNGSF1 | NMOS1M | NMOS | 0.9634
Moree Solar Farm | 66 | MOREESF1 | NMR41M | NMR4 | 0.895 | 0.8602
Mt Piper PS Load | 330 | MPNL1 | NMPPL | NMTP | 0.9745 | 0.9714
Mt Piper PS Unit 1 | 330 | MP1 | NMTP1 | NMTP | 0.9745 | 0.9714
Mt Piper PS Unit 2 | 330 | MP2 | NMTP2 | NMTP | 0.9745 | 0.9714
Narromine Solar Farm (effective prior to 04/11/2020) | 132 | NASF1 | NWLS1N | NWLS | 0.9569 | 0.9582
Narromine Solar Farm (effective from 04/11/2020) | 132 | NASF1 | NWLS1N | NWLS | 0.9471
Nevertire Solar Farm (effective prior to 04/11/2020) | 132 | NEVERSF1 | NWLS3N | NWLS | 0.9569 | 0.9582
Nevertire Solar Farm (effective from 04/11/2020) | 132 | NEVERSF1 | NWLS3N | NWLS | 0.9471
Nine Willoughby | 132 | NINEWIL1 | NSE21R | NSE2 | 1.0058 | 1.007
Nyngan Solar Farm | 132 | NYNGAN1 | NWL82N | NWL8 | 0.9887 | 0.9835
Parkes Solar Farm | 66 | PARSF1 | NPG11P | NPG1 | 0.9259 | 0.9812
Sapphire Wind Farm | 330 | SAPHWF1 | NSAP1S | NSAP | 0.9553 | 0.9301
Silverton Wind Farm | 220 | STWF1 | NBKW1S | NBKW | 0.8496 | 0.8298
Sithe (Holroyd Generation) | 132 | SITHE01 | NSYW1 | NHD2 | 1.0025 | 1.0029
South Keswick Solar Farm (effective prior to 04/11/2020) | 132 | SKSF1 | NWLS2S | NWLS | 0.9569 | 0.9582
South Keswick Solar Farm (effective from 04/11/2020) | 132 | SKSF1 | NWLS2S | NWLS | 0.9471
St George Leagues Club | 33 | STGEORG1 | NPHT1E | NPHT | 1.0035 | 1.003
Sunraysia Solar Farm | 220 | SUNRSF1 | NBSF2S | NBSF | 0.7907
Tahmoor PS | 132 | TAHMOOR1 | NLP12T | NLP1 | 1.0012 | 1.0009
Tallawarra PS | 132 | TALWA1 | NDT13T | NTWA | 0.9913 | 0.9893
Taralga Wind Farm | 132 | TARALGA1 | NMR22T | NMR2 | 1.0103 | 1.0086
Teralba Power Station | 132 | TERALBA | NNEW1 | NNEW | 0.9907 | 0.9907
The Drop Power Station | 66 | THEDROP1 | NFNY1D | NFNY | 0.9537 | 0.9895
Tower Power Plant | 132 | TOWER | NLP11T | NLP1 | 1.0012 | 1.0009
Upper Tumut | 330 | UPPTUMUT | NUTS8 | NUTS | 0.9468 | 0.9514
Uranquinty PS Unit 11 | 132 | URANQ11 | NURQ1U | NURQ | 0.857 | 0.8671
Uranquinty PS Unit 12 | 132 | URANQ12 | NURQ2U | NURQ | 0.857 | 0.8671
Uranquinty PS Unit 13 | 132 | URANQ13 | NURQ3U | NURQ | 0.857 | 0.8671
Uranquinty PS Unit 14 | 132 | URANQ14 | NURQ4U | NURQ | 0.857 | 0.8671
Vales Point 330 PS Load | 330 | VPNL1 | NVPPL | NVPP | 0.9857 | 0.9865
Vales Point 330 PS Unit 5 | 330 | VP5 | NVPP5 | NVPP | 0.9857 | 0.9865
Vales Point 330 PS Unit 6 | 330 | VP6 | NVPP6 | NVPP | 0.9857 | 0.9865
Wagga North Solar Farm | 66 | WAGGNSF1 | NWGG1W | NWGG | 0.9639
Wellington Solar Farm | 132 | WELLSF1 | NWLS4W | NWLS | 0.9471
West Nowra | 132 | AGLNOW1 | NDT12 | NDT1 | 0.9967 | 0.9929
Wests Illawara Leagues Club | 132 | WESTILL1 | NDT14E | NDT1 | 0.9967 | 0.9929
White Rock Solar Farm | 132 | WRSF1 | NWRK2W | NWRK | 0.8801 | 0.8394
White Rock Wind Farm | 132 | WRWF1 | NWRK1W | NWRK | 0.8801 | 0.8394
Wilga Park A | 66 | WILGAPK | NNB21W | NNB2 | 1.0212 | 1.003
Wilga Park B | 66 | WILGB01 | NNB22W | NNB2 | 1.0212 | 1.003
Woodlawn Bioreactor | 132 | WDLNGN01 | NMR21W | NMR2 | 1.0103 | 1.0086
Woodlawn Wind Farm | 330 | WOODLWN1 | NCWF2W | NCWF | 0.9674 | 0.9701
Woy Woy Landfill | 66 | WOYWOY1 | NGF32W | NGF3 | 1.0019 | 1.0036
Wyangala A PS | 66 | WYANGALA | NCW81A | NCW8 | 1.0009 | 1.0314
Wyangala B PS | 66 | WYANGALB | NCW82B | NCW8 | 1.0009 | 1.0314

## Australian Capital Territory
Australian Capital Territory (regional reference node is Sydney West 330 kV)
Australian Capital Territory Loads
Location | Voltage [kV] | TNI code | 2020/21 MLF | 2019/20 MLF
Angle Crossing | 132 | AAXG | 0.9722 | 0.9875
Belconnen | 132 | ABCN | 0.9804 | 0.9797
City East | 132 | ACTE | 0.9839 | 0.9825
Civic | 132 | ACVC | 0.9823 | 0.98
East lake | 132 | AELK | 0.9836 | 0.9813
Gilmore | 132 | AGLM | 0.9839 | 0.98
Gold Creek | 132 | AGCK | 0.9804 | 0.9793
Latham | 132 | ALTM | 0.9795 | 0.9788
Telopea Park | 132 | ATLP | 0.9839 | 0.9821
Theodore | 132 | ATDR | 0.9803 | 0.9793
Wanniassa | 132 | AWSA | 0.981 | 0.9802
Woden | 132 | AWDN | 0.9815 | 0.9792
ACT VTN | 132 | AAVT | 0.9819 | 0.9803
Queanbeyan (ACTEW) | 66 | AQB1 | 0.9982 | 0.989
Queanbeyan (Essential Energy) | 66 | AQB2 | 0.9982 | 0.989
Australian Capital Territory Embedded Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020/21 MLF | 2019/20 MLF
Capital East Solar Farm | 66 | CESF1 | AQB21C | AQB2 | 0.9982 | 0.989
Mugga Lane Solar Farm | 132 | MLSP1 | ACA12M | AMS1 | 0.9731 | 0.9645
Royalla Solar Farm | 132 | ROYALLA1 | ACA11R | ARS1 | 0.9725 | 0.9639

## Victoria
Victoria (regional reference node is Thomastown 66 kV)
Victoria Loads
Location | Voltage [kV] | TNI code | 2020/21 MLF | 2019/20 MLF
Altona | 66 | VATS | 1.0065 | 1.0033
Altona | 220 | VAT2 | 0.991 | 0.9944
Ballarat | 66 | VBAT | 0.9711 | 0.9716
Bendigo | 66 | VBE6 | 1.0022 | 1.0012
Bendigo | 22 | VBE2 | 1.009 | 1.0025
BHP Western Port | 220 | VJLA | 0.9907 | 0.9898
Brooklyn (Jemena) | 22 | VBL2 | 0.9989 | 1.0007
Brooklyn (Jemena) | 66 | VBL6 | 1.0037 | 1.0027
Brooklyn (POWERCOR) | 22 | VBL3 | 0.9989 | 1.0007
Brooklyn (POWERCOR) | 66 | VBL7 | 1.0037 | 1.0027
Brunswick (CitiPower) | 22 | VBT2 | 0.9976 | 0.9974
Brunswick (Jemena) | 22 | VBTS | 0.9976 | 0.9974
Brunswick 66 (CitiPower) | 66 | VBT6 | 0.9969 | 0.9958
Cranbourne | 220 | VCB2 | 0.9899 | 0.9882
Cranbourne (AusNet Services) | 66 | VCBT | 0.9918 | 0.9911
Cranbourne (United Energy) | 66 | VCB5 | 0.9918 | 0.9911
Deer Park | 66 | VDPT | 0.9982 | 0.9981
East Rowville (AusNet Services) | 66 | VER2 | 0.9948 | 0.9944
East Rowville (United Energy) | 66 | VERT | 0.9948 | 0.9944
Fishermens Bend (CITIPOWER) | 66 | VFBT | 0.9993 | 0.9992
Fishermens Bend (POWERCOR) | 66 | VFB2 | 0.9993 | 0.9992
Fosterville | 220 | VFVT | 1.0041 | 1.0009
Geelong | 66 | VGT6 | 0.9914 | 0.9908
Glenrowan | 66 | VGNT | 1.0274 | 1.0188
Heatherton | 66 | VHTS | 0.9967 | 0.997
Heywood | 22 | VHY2 | 0.9865 | 0.9889
Horsham | 66 | VHOT | 0.9269 | 0.9193
Keilor (Jemena) | 66 | VKT2 | 0.9969 | 0.9987
Keilor (POWERCOR) | 66 | VKTS | 0.9969 | 0.9987
Kerang | 22 | VKG2 | 1.0104 | 0.99
Kerang | 66 | VKG6 | 1.0096 | 0.981
Khancoban | 330 | NKHN | 1.0318 | 1.0087
Loy Yang Substation | 66 | VLY6 | 0.9763 | 0.9757
Malvern | 22 | VMT2 | 0.9946 | 0.9943
Malvern | 66 | VMT6 | 0.9935 | 0.9932
Morwell Power Station Units 1 to 3 | 66 | VMWG | 0.9726 | 0.9724
Morwell PS (G4&5) | 11 | VMWP | 0.9777 | 0.977
Morwell TS | 66 | VMWT | 0.9955 | 0.9938
Mt Beauty | 66 | VMBT | 1.0235 | 1.0192
Portland | 500 | VAPD | 0.9913 | 0.9922
Red Cliffs | 22 | VRC2 | 0.9516 | 0.9237
Red Cliffs | 66 | VRC6 | 0.9406 | 0.9082
Red Cliffs (Essential Energy) | 66 | VRCA | 0.9406 | 0.9082
Richmond | 22 | VRT2 | 0.9969 | 0.9959
Richmond (CITIPOWER) | 66 | VRT7 | 0.998 | 0.9972
Richmond (United Energy) | 66 | VRT6 | 0.998 | 0.9972
Ringwood (AusNet Services) | 22 | VRW3 | 0.9978 | 0.9973
Ringwood (AusNet Services) | 66 | VRW7 | 1.0011 | 1.0003
Ringwood (United Energy) | 22 | VRW2 | 0.9978 | 0.9973
Ringwood (United Energy) | 66 | VRW6 | 1.0011 | 1.0003
Shepparton | 66 | VSHT | 1.0289 | 1.0203
South Morang (Jemena) | 66 | VSM6 | 0.9954 | 0.9941
South Morang (AusNet Services) | 66 | VSMT | 0.9954 | 0.9941
Springvale (CITIPOWER) | 66 | VSVT | 0.9984 | 0.9987
Springvale (United Energy) | 66 | VSV2 | 0.9984 | 0.9987
Templestowe (CITIPOWER) | 66 | VTS2 | 0.9991 | 0.9985
Templestowe (Jemena) | 66 | VTST | 0.9991 | 0.9985
Templestowe (AusNet Services) | 66 | VTS3 | 0.9991 | 0.9985
Templestowe (United Energy) | 66 | VTS4 | 0.9991 | 0.9985
Terang (effective prior to 28/07/2020) | 66 | VTGT | 1.0063 | 1.0019
Terang (effective from 28/07/2020) | 66 | VTGT | 1.0079
Thomastown (Jemena) | 66 | VTTS | 1 | 1
Thomastown (AusNet Services) | 66 | VTT2 | 1 | 1
Tyabb | 66 | VTBT | 0.9921 | 0.991
Wemen 66 (Essential Energy) | 66 | VWEA | 0.9345 | 0.9161
Wemen TS | 66 | VWET | 0.9345 | 0.9161
West Melbourne | 22 | VWM2 | 0.9995 | 0.9987
West Melbourne (CITIPOWER) | 66 | VWM7 | 0.9978 | 0.9994
West Melbourne (Jemena) | 66 | VWM6 | 0.9978 | 0.9994
Wodonga | 22 | VWO2 | 1.0303 | 1.0164
Wodonga | 66 | VWO6 | 1.0263 | 1.0116
Yallourn | 11 | VYP1 | 0.9581 | 0.9563
Victoria Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020/21 MLF | 2019/20 MLF
Ararat Wind Farm | 220 | ARWF1 | VART1A | VART | 0.8983 | 0.9038
Bairnsdale Power Station | 66 | BDL01 | VMWT2 | VBDL | 0.9899 | 0.9871
Bairnsdale Power Station Generator Unit 2 | 66 | BDL02 | VMWT3 | VBDL | 0.9899 | 0.9871
Bald Hills Wind Farm | 66 | BALDHWF1 | VMWT9B | VMWT | 0.9955 | 0.9938
Ballarat BESS - Generation | 22 | BALBG1 | VBA21B | VBA2 | 0.9643 | 0.9634
Ballarat BESS - Load | 22 | BALBL1 | VBA22B | VBA2 | 0.963 | 0.983
Ballarat Health Services | 66 | BBASEHOS | VBAT1H | VBAT | 0.9711 | 0.9716
Banimboola | 220 | BAPS | VDPS2 | VDPS | 0.9854 | 0.949
Bannerton Solar Farm | 66 | BANN1 | VWES1B | VWES | 0.8096 | 0.8246
Basslink (Loy Yang Power Station Switchyard) Tasmania to Victoria | 500 | BLNKVIC | VLYP13 | VTBL | 0.962 | 0.9728
Basslink (Loy Yang Power Station Switchyard) Victoria to Tasmania | 500 | BLNKVIC | VLYP13 | VTBL | 0.962 | 0.9789
Berrybank Wind Farm | 220 | BRYB1WF1 | VBBT1B | VBBT | 0.9482
Broadmeadows Power Plant | 66 | BROADMDW | VTTS2B | VTTS | 1 | 1
Brooklyn Landfill & Recycling Facility | 66 | BROOKLYN | VBL61 | VBL6 | 1.0037 | 1.0027
Bulgana Green Power Hub | 220 | BULGANA1 | VBGT1B | VBGT | 0.8988 | 0.9014
Challicum Hills Wind Farm | 66 | CHALLHWF | VHOT1 | VBAT | 0.9711 | 0.9193
Chepstowe Wind Farm | 66 | CHPSTWF1 | VBAT3C | VBAT | 0.9711 | 0.9716
Cherry Tree Wind Farm | 66 | CHYTWF1 | VSM71C | VSM7 | 0.9958 | 0.9944
Clayton Landfill Gas Power Station | 66 | CLAYTON | VSV21B | VSV2 | 0.9984 | 0.9987
Clover PS | 66 | CLOVER | VMBT1 | VMBT | 1.0235 | 1.0192
Codrington Wind Farm (effective prior to 28/07/2020) | 66 | CODRNGTON | VTGT2C | VTGT | 1.0063 | 1.0019
Codrington Wind Farm (effective from 28/07/2020) | 66 | CODRNGTON | VTGT2C | VTGT | 1.0079
Cohuna Solar Farm | 66 | COHUNSF1 | VKGS2C | VKGS | 0.8863
Coonooer Bridge Wind Farm | 66 | CBWF1 | VBE61C | VBE6 | 1.0022 | 1.0012
Corio LFG PS | 66 | CORIO1 | VGT61C | VGT6 | 0.9914 | 0.9908
Crowlands Wind Farm | 220 | CROWLWF1 | VCWL1C | VCWL | 0.9026 | 0.9139
Dartmouth PS | 220 | DARTM1 | VDPS | VDPS | 0.9854 | 0.949
Dundonnell Wind Farm 1 | 500 | DUNDWF1 | VM051D | VM05 | 0.979 | 0.9812
Dundonnell Wind Farm 2 | 500 | DUNDWF2 | VM052D | VM05 | 0.979 | 0.9812
Dundonnell Wind Farm 3 | 500 | DUNDWF3 | VM053D | VM05 | 0.979 | 0.9812
Eildon Hydro PS | 66 | EILDON3 | VTT22E | VSMT | 0.9954 | 0.9941
Eildon PS Unit 1 | 220 | EILDON1 | VEPS1 | VEPS | 0.9903 | 0.9859
Eildon PS Unit 2 | 220 | EILDON2 | VEPS2 | VEPS | 0.9903 | 0.9859
Elaine Wind Farm | 220 | ELAINWF1 | VELT3E | VELT | 0.9501 | 0.965
Ferguson North Wind Farm | 66 | FNWF1 | VTGT6F | VTGT | 1.0079
Ferguson South Wind Farm | 66 | FSWF1 | VTGT7F | VTGT | 1.0079
Gannawarra BESS (Generation) | 66 | GANNBG1 | VKGB1G | VKGB | 0.9793 | 0.9643
Gannawarra BESS (Load) | 66 | GANNBL1 | VKGB2G | VKGL | 0.9823 | 1.0191
Gannawarra Solar Farm | 66 | GANNSF1 | VKGS1G | VKGS | 0.8863 | 0.8994
Glenmaggie Hydro PS | 66 | GLENMAG1 | VMWT8G | VMWT | 0.9955 | 0.9938
Glenrowan West Solar Farm | 66 | GLRWNSF1 | VGNS1G | VGNS | 0.9815
Hallam Mini Hydro (effective prior to 27/01/2021) | 66 | HLMSEW01 | VER21H | VER2 | 0.9948 | 0.9944
Hallam Mini Hydro (effective from 27/01/2021) | 66 | HLMSEW01 | VER21H | VCBT | 0.9918
Hallam Road Renewable Energy Facility | 66 | HALAMRD1 | VER22L | VER2 | 0.9948 | 0.9944
Hepburn Community Wind Farm | 66 | HEPWIND1 | VBAT2L | VBAT | 0.9711 | 0.9716
Hume (Victorian Share) | 66 | HUMEV | VHUM | VHUM | 0.9833 | 0.9439
Jeeralang A PS Unit 1 | 220 | JLA01 | VJLGA1 | VJLG | 0.9734 | 0.9731
Jeeralang A PS Unit 2 | 220 | JLA02 | VJLGA2 | VJLG | 0.9734 | 0.9731
Jeeralang A PS Unit 3 | 220 | JLA03 | VJLGA3 | VJLG | 0.9734 | 0.9731
Jeeralang A PS Unit 4 | 220 | JLA04 | VJLGA4 | VJLG | 0.9734 | 0.9731
Jeeralang B PS Unit 1 | 220 | JLB01 | VJLGB1 | VJLG | 0.9734 | 0.9731
Jeeralang B PS Unit 2 | 220 | JLB02 | VJLGB2 | VJLG | 0.9734 | 0.9731
Jeeralang B PS Unit 3 | 220 | JLB03 | VJLGB3 | VJLG | 0.9734 | 0.9731
Jindabyne pump at Guthega | 132 | SNOWYGJP | NGJP | NGJP | 1.1231 | 1.0211
Karadoc Solar Farm | 66 | KARSF1 | VRCS1K | VRCS | 0.8045 | 0.8097
Kiamal Solar Farm | 220 | KIAMSF1 | VKMT1K | VKMT | 0.8043
Kiata Wind Farm | 66 | KIATAWF1 | VHOG1K | VHOG | 0.8974 | 0.9066
Laverton PS (LNGS1) | 220 | LNGS1 | VAT21L | VAT2 | 0.991 | 0.9944
Laverton PS (LNGS2) | 220 | LNGS2 | VAT22L | VAT2 | 0.991 | 0.9944
Longford | 66 | LONGFORD | VMWT6 | VMWT | 0.9955 | 0.9938
Loy Yang A PS Load | 500 | LYNL1 | VLYPL | VLYP | 0.976 | 0.9754
Loy Yang A PS Unit 1 | 500 | LYA1 | VLYP1 | VLYP | 0.976 | 0.9754
Loy Yang A PS Unit 2 | 500 | LYA2 | VLYP2 | VLYP | 0.976 | 0.9754
Loy Yang A PS Unit 3 | 500 | LYA3 | VLYP3 | VLYP | 0.976 | 0.9754
Loy Yang A PS Unit 4 | 500 | LYA4 | VLYP4 | VLYP | 0.976 | 0.9754
Loy Yang B PS Unit 1 | 500 | LOYYB1 | VLYP5 | VLYP | 0.976 | 0.9754
Loy Yang B PS Unit 2 | 500 | LOYYB2 | VLYP6 | VLYP | 0.976 | 0.9754
MacArthur Wind Farm | 500 | MACARTH1 | VTRT1M | VTRT | 0.9757 | 0.9818
Maroona Wind Farm | 66 | MAROOWF1 | VBAT5M | VBAT | 0.9711 | 0.9716
McKay Creek / Bogong PS | 220 | MCKAY1 | VMKP1 | VT14 | 0.965 | 0.9618
Moorabool Wind Farm | 220 | MOORAWF1 | VELT2M | VELT | 0.9501
Mortlake Unit 1 | 500 | MORTLK11 | VM0P1O | VM0P | 0.9845 | 0.9852
Mortlake Unit 2 | 500 | MORTLK12 | VM0P2O | VM0P | 0.9845 | 0.9852
Mortons Lane Wind Farm (effective prior to 28/07/2020) | 66 | MLWF1 | VTGT4M | VTGT | 1.0063 | 1.0019
Mortons Lane Wind Farm (effective from 28/07/2020) | 66 | MLWF1 | VTGT4M | VTGT | 1.0079
Mt Gellibrand Windfarm | 66 | MTGELWF1 | VGTW1M | VGTW | 0.985 | 0.9871
Mt Mercer Windfarm | 220 | MERCER01 | VELT1M | VELT | 0.9501 | 0.965
Murra Warra Wind Farm | 220 | MUWAWF1 | VMRT1M | VMRT | 0.8885 | 0.8885
Murray | 330 | MURRAY | NMUR8 | NMUR | 0.9674 | 0.9539
Murray (Geehi Tee off Auxiliary) | 330 | MURAYNL3 | NMURL3 | NMUR | 0.9674 | 0.9539
Murray Power Station M1 Auxiliary | 330 | MURAYNL1 | NMURL1 | NMUR | 0.9674 | 0.9539
Murray Power Station M2 Auxiliary | 330 | MURAYNL2 | NMURL2 | NMUR | 0.9674 | 0.9539
Newport PS | 220 | NPS | VNPS | VNPS | 0.9914 | 0.9922
Numurkah Solar Farm | 66 | NUMURSF1 | VSHS1N | VSHS | 0.9945 | 0.9896
Oaklands Hill Wind Farm (effective prior to 28/07/2020) | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0063 | 1.0019
Oaklands Hill Wind Farm (effective from 28/07/2020) | 66 | OAKLAND1 | VTGT3A | VTGT | 1.0079
Rubicon Mountain Streams Station | 66 | RUBICON | VTT21R | VSMT | 0.9954 | 0.9941
Salt Creek Wind Farm | 66 | SALTCRK1 | VTG61S | VTG6 | 0.9588 | 0.9742
Shepparton Waste Gas | 66 | SHEP1 | VSHT2S | VSHT | 1.0289 | 1.0203
Somerton Power Station | 66 | AGLSOM | VTTS1 | VSOM | 0.9924 | 0.9915
Springvale Power Plant | 66 | SVALE1 | VSV22S | VSV2 | 0.9984 | 0.9987
Tatura | 66 | TATURA01 | VSHT1 | VSHT | 1.0289 | 1.0203
Timboon West Wind Farm (effective prior to 28/07/2020) | 66 | TIMWEST | VTGT5T | VTGT | 1.0063 | 1.0019
Timboon West Wind Farm (effective prior to 28/07/2020) | 66 | TIMWEST | VTGT5T | VTGT | 1.0079
Toora Wind Farm | 66 | TOORAWF | VMWT5 | VMWT | 0.9955 | 0.9938
Traralgon NSS | 66 | TGNSS1 | VMWT1T | VMWT | 0.9955 | 0.9938
Valley Power Unit 1 | 500 | VPGS1 | VLYP07 | VLYP | 0.976 | 0.9754
Valley Power Unit 2 | 500 | VPGS2 | VLYP08 | VLYP | 0.976 | 0.9754
Valley Power Unit 3 | 500 | VPGS3 | VLYP09 | VLYP | 0.976 | 0.9754
Valley Power Unit 4 | 500 | VPGS4 | VLYP010 | VLYP | 0.976 | 0.9754
Valley Power Unit 5 | 500 | VPGS5 | VLYP011 | VLYP | 0.976 | 0.9754
Valley Power Unit 6 | 500 | VPGS6 | VLYP012 | VLYP | 0.976 | 0.9754
Waubra Wind Farm | 220 | WAUBRAWF | VWBT1A | VWBT | 0.9228 | 0.9324
Wemen Solar Farm | 66 | WEMENSF1 | VWES2W | VWES | 0.8096 | 0.8246
West Kiewa PS Unit 1 | 220 | WKIEWA1 | VWKP1 | VWKP | 1.0024 | 0.9989
West Kiewa PS Unit 2 | 220 | WKIEWA2 | VWKP2 | VWKP | 1.0024 | 0.9989
William Hovell Hydro PS | 66 | WILLHOV1 | VW061W | VGNT | 1.0274 | 1.0188
Winton Solar Farm | 66 | WINTSF1 | VGNS2W | VGNS | 0.9815
Wollert Renewable Energy Facility | 66 | WOLLERT1 | VSMT1W | VSMT | 0.9954 | 0.9941
Wonthaggi Wind Farm | 66 | WONWP | VMWT7 | VMWT | 0.9955 | 0.9938
Yallourn W PS 220 Load | 220 | YWNL1 | VYP2L | VYP2 | 0.9549 | 0.9546
Yallourn W PS 220 Unit 1 | 220 | YWPS1 | VYP21 | VYP3 | 0.966 | 0.965
Yallourn W PS 220 Unit 2 | 220 | YWPS2 | VYP22 | VYP2 | 0.9549 | 0.9546
Yallourn W PS 220 Unit 3 | 220 | YWPS3 | VYP23 | VYP2 | 0.9549 | 0.9546
Yallourn W PS 220 Unit 4 | 220 | YWPS4 | VYP24 | VYP2 | 0.9549 | 0.9546
Yaloak South Wind Farm | 66 | YSWF1 | VBAT4Y | VBAT | 0.9711 | 0.9716
Yambuk Wind Farm (effective prior to 28/07/2020) | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0063 | 1.0019
Yambuk Wind Farm (effective from 28/07/2020) | 66 | YAMBUKWF | VTGT1 | VTGT | 1.0079
Yarrawonga Hydro PS | 66 | YWNGAHYD | VSHT3Y | VSHT | 1.0289 | 1.0203
Yatpool Solar Farm | 66 | YATSF1 | VRCS2Y | VRCS | 0.8045
Yawong Wind Farm | 66 | YAWWF1 | VBE62Y | VBE6 | 1.0022 | 1.0012
Yendon Wind Farm | 66 | YENDWF1 | VBAW1Y | VBAW | 0.9474 | 0.9612

## South Australia
South Australia (regional reference node is Torrens Island PS 66 kV)
South Australia Loads
Location | Voltage [kV] | TNI code | 2020/21 MLF | 2019/20 MLF
Angas Creek | 33 | SANC | 1.0119 | 1.0102
Ardrossan West | 33 | SARW | 0.9493 | 0.9419
Back Callington | 11 | SBAC | 1.0139 | 1.0137
Baroota | 33 | SBAR | 1.0018 | 0.9958
Berri | 66 | SBER | 1.0932 | 1.1277
Berri (POWERCOR) | 66 | SBE1 | 1.0932 | 1.1277
Blanche | 33 | SBLA | 1.0107 | 1.0285
Blanche (POWERCOR) | 33 | SBL1 | 1.0107 | 1.0285
Brinkworth | 33 | SBRK | 0.9951 | 0.9941
Bungama Industrial | 33 | SBUN | 0.9908 | 0.989
Bungama Rural | 33 | SBUR | 1.0013 | 0.9976
City West | 66 | SACR | 1.0075 | 1.0076
Clare North | 33 | SCLN | 0.9922 | 0.9923
Dalrymple | 33 | SDAL | 0.9141 | 0.9069
Davenport | 275 | SDAV | 0.9939 | 0.9937
Davenport | 33 | SDAW | 0.996 | 0.9957
Dorrien | 33 | SDRN | 1.0068 | 1.0053
East Terrace | 66 | SETC | 1.0022 | 1.0024
Happy Valley | 66 | SHVA | 1.0046 | 1.0053
Hummocks | 33 | SHUM | 0.9663 | 0.9597
Kadina East | 33 | SKAD | 0.9738 | 0.9654
Kanmantoo | 11 | SKAN | 1.0141 | 1.014
Keith | 33 | SKET | 1.0165 | 1.0256
Kilburn | 66 | SKLB | 1.0008 | 0.9998
Kincraig | 33 | SKNC | 1.0093 | 1.0243
Lefevre | 66 | SLFE | 1.0003 | 0.9998
Leigh Creek South | 33 | SLCS | 1.02 | 1.0604
Magill | 66 | SMAG | 1.0041 | 1.0046
Mannum | 33 | SMAN | 1.0162 | 1.015
Mannum – Adelaide Pipeline 1 | 3.3 | SMA1 | 1.0209 | 1.0177
Mannum – Adelaide Pipeline 2 | 3.3 | SMA2 | 1.0185 | 1.0156
Mannum – Adelaide Pipeline 3 | 3.3 | SMA3 | 1.0183 | 1.0152
Middleback | 33 | SMDL | 1.0116 | 0.9977
Middleback | 132 | SMBK | 1.0106 | 0.9957
Millbrook | 132 | SMLB | 1.0041 | 1.0038
Mobilong | 33 | SMBL | 1.0137 | 1.0143
Morgan – Whyalla Pipeline 1 (effective prior to 09/02/2021) | 3.3 | SMW1 | 1.036 | 1.0512
Morgan – Whyalla Pipeline 1 (effective from 09/02/2021) | 3.3 | SMW1 | 1.0211
Morgan – Whyalla Pipeline 2 (effective prior to 09/02/2021) | 3.3 | SMW2 | 1.0191 | 1.0284
Morgan – Whyalla Pipeline 2 (effective from 09/02/2021) | 3.3 | SMW2 | 1.0113
Morgan – Whyalla Pipeline 3 (effective prior to 26/10/2020) | 3.3 | SMW3 | 1.0026 | 1.0072
Morgan – Whyalla Pipeline 3 (effective from 26/10/2020) | 3.3 | SMW3 | 1.0005
Morgan – Whyalla Pipeline 4 (effective prior to 02/02/2021) | 3.3 | SMW4 | 0.9944 | 0.9963
Morgan – Whyalla Pipeline 4 (effective from 02/02/2021) | 3.3 | SMW4 | 0.9935
Morphett Vale East (effective prior to 20/04/2021) | 66 | SMVE | 1.005 | 1.0053
Morphett Vale East (effective from 20/04/2021) | 66 | SMVE | 1.0038
Mount Barker South | 66 | SMBS | 1.0061 | 1.0071
Mt Barker | 66 | SMBA | 1.0053 | 1.0064
Mt Gambier | 33 | SMGA | 1.0134 | 1.0316
Mt Gunson South | 132 | SMGS | 1.1561 | 1.131
Mt Gunson | 33 | SMGU | 1.0121 | 1.1148
Munno Para | 66 | SMUP | 1 | 1.0009
Murray Bridge – Hahndorf Pipeline 1 | 11 | SMH1 | 1.0158 | 1.017
Murray Bridge – Hahndorf Pipeline 2 | 11 | SMH2 | 1.0172 | 1.0181
Murray Bridge – Hahndorf Pipeline 3 | 11 | SMH3 | 1.015 | 1.0155
Neuroodla | 33 | SNEU | 1.0102 | 1.0256
New Osborne | 66 | SNBN | 1.0005 | 0.9999
North West Bend | 66 | SNWB | 1.0402 | 1.0531
Northfield | 66 | SNFD | 1.0027 | 1.0024
Para | 66 | SPAR | 1.0016 | 1.0009
Parafield Gardens West | 66 | SPGW | 1.0012 | 1.0016
Penola West 33 | 33 | SPEN | 1.0016 | 1.0199
Pimba | 132 | SPMB | 1.0176 | 1.2248
Playford | 132 | SPAA | 0.9923 | 0.9929
Port Lincoln | 33 | SPLN | 0.9851 | 0.9789
Port Pirie | 33 | SPPR | 0.9983 | 0.9949
Roseworthy | 11 | SRSW | 1.0109 | 1.0086
Snuggery Industrial - (Generation) | 33 | SSNN | 0.9723 | 0.9996
Snuggery Industrial – (Load) | 33 | SSNN | 0.9723 | 1.015
Snuggery Rural | 33 | SSNR | 0.9859 | 1.0045
South Australian VTN |  | SJP1 | 1.0045 | 1.006
Stony Point | 11 | SSPN | 0.9997 | 0.9985
Tailem Bend | 33 | STAL | 1.0127 | 1.0161
Templers | 33 | STEM | 1.0048 | 1.0035
Torrens Island | 66 | STSY | 1 | 1
Waterloo | 33 | SWAT | 0.9864 | 0.9854
Whyalla Central Substation | 33 | SWYC | 0.9994 | 1.0006
Whyalla Terminal BHP | 33 | SBHP | 1.0004 | 1.0006
Woomera | 132 | SWMA | 1.0169 | 1.1268
Wudina | 66 | SWUD | 1.0055 | 0.9936
Yadnarie | 66 | SYAD | 0.9913 | 0.9806
South Australia Generators
Generator | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020/21 MLF | 2019/20 MLF
Adelaide Desalination Plant Battery (Generation) | 66 | ADPBA1G | SMVE4D | SMVE | 1.0038
Adelaide Desalination Plant Battery (Load) | 66 | ADPBA1L | SMVE5D | SMVE | 1.0038
Adelaide Desalination Plant PV1 | 66 | ADPPV1 | SMVE6D | SMVE | 1.0038
Angaston Power Station | 33 | ANGAST1 | SDRN1 | SANG | 1.0079 | 0.9517
Barker Inlet PS | 275 | BARKIPS1 | SBPS1B | SBPS | 0.9998 | 0.9998
Bolivar WWT Plant | 66 | BOLIVAR1 | SPGW1B | SPGW | 1.0012 | 1.0016
Bungala One Solar Farm | 132 | BNGSF1 | SBEM1B | SBEM | 0.9744 | 0.9717
Bungala Two Solar Farm | 132 | BNGSF2 | SBEM2B | SBEM | 0.9744 | 0.9717
Canunda Wind Farm | 33 | CNUNDAWF | SSNN1 | SCND | 0.9702 | 0.9881
Cathedral Rocks Wind Farm | 132 | CATHROCK | SCRK | SCRK | 0.9324 | 0.8858
Clements Gap Wind Farm | 132 | CLEMGPWF | SCGW1P | SCGW | 0.9597 | 0.9583
Cummins Lonsdale PS (effective prior to 20/04/2021) | 66 | LONSDALE | SMVE1 | SMVE | 1.005 | 1.0053
Cummins Lonsdale PS (effective from 20/04/2021) | 66 | LONSDALE | SMVE1 | SMVE | 1.0038
Dalrymple North BESS (Generation) | 33 | DALNTH01 | SDAN1D | SDAM | 0.9193 | 0.9045
Dalrymple North BESS (Load) | 33 | DALNTHL1 | SDAN2D | SDAN | 0.9249 | 0.999
Dry Creek PS Unit 1 | 66 | DRYCGT1 | SDCA1 | SDPS | 1.0011 | 0.9971
Dry Creek PS Unit 2 | 66 | DRYCGT2 | SDCA2 | SDPS | 1.0011 | 0.9971
Dry Creek PS Unit 3 | 66 | DRYCGT3 | SDCA3 | SDPS | 1.0011 | 0.9971
Hallet 2 Wind Farm | 275 | HALLWF2 | SMOK1H | SMOK | 0.971 | 0.977
Hallett 1 Wind Farm | 275 | HALLWF1 | SHPS2W | SHPS | 0.9666 | 0.9748
Hallett PS | 275 | AGLHAL | SHPS1 | SHPS | 0.9666 | 0.9748
Hornsdale Battery (Generation) | 275 | HPRG1 | SMTL1H | SMTL | 0.9838 | 0.9851
Hornsdale Battery (Load) | 275 | HPRL1 | SMTL2H | SMTL | 0.979 | 0.9831
Hornsdale Wind Farm Stage 1 | 275 | HDWF1 | SHDW1H | SHDW | 0.9595 | 0.9698
Hornsdale Wind Farm Stage 2 | 275 | HDWF2 | SHDW2H | SHDW | 0.9595 | 0.9698
Hornsdale Wind Farm Stage 3 | 275 | HDWF3 | SHDW3H | SHDW | 0.9595 | 0.9698
Ladbroke Grove PS Unit 1 | 132 | LADBROK1 | SPEW1 | SPEW | 0.9685 | 0.9831
Ladbroke Grove PS Unit 2 | 132 | LADBROK2 | SPEW2 | SPEW | 0.9685 | 0.9831
Lake Bonney BESS - Generation | 33 | LBBG1 | SLBB1L | SLBB | 0.9741 | 0.9922
Lake Bonney BESS - Load | 33 | LBBL1 | SLBB2L | SLBB | 0.9925 | 1.0059
Lake Bonney Wind Farm | 33 | LKBONNY1 | SMAY1 | SMAY | 0.9587 | 0.9777
Lake Bonney Wind Farm Stage 2 | 33 | LKBONNY2 | SMAY2 | SMAY | 0.9587 | 0.9777
Lake Bonney Wind Farm Stage 3 | 33 | LKBONNY3 | SMAY3W | SMAY | 0.9587 | 0.9777
Lincoln Gap Wind Farm | 275 | LGAPWF1 | SLGW1L | SLGW | 0.9779 | 0.9821
Mintaro PS | 132 | MINTARO | SMPS | SMPS | 0.9907 | 0.9795
Morgan Whyalla Pump Station 1 PV | 3.3 | MWPS1PV1 | SMW11M | SMW1 | 1.0211
Morgan Whyalla Pump Station 2 PV | 3.3 | MWPS2PV1 | SMW21M | SMW2 | 1.0113
Morgan Whyalla Pump Station 3 PV | 3.3 | MWPS3PV1 | SMW31M | SMW3 | 1.0005
Morgan Whyalla Pump Station 4 PV | 3.3 | MWPS4PV1 | SMW41M | SMW4 | 0.9935
Temporary Generation South (TGS) Lonsdale | 66 | SATGS1 | SMVG1L | SMVG | 0.9972 | 1.0045
Mt Millar Wind Farm | 33 | MTMILLAR | SMTM1 | SMTM | 0.9355 | 0.8935
North Brown Hill Wind Farm | 275 | NBHWF1 | SBEL1A | SBEL | 0.9661 | 0.9728
O.C.P.L. Unit 1 | 66 | OSB-AG | SNBN1 | SOCP | 0.9998 | 0.9997
Temporary Generation North | 66 | SATGN1 | SPAG1E | SPAG | 0.9963 | 1.0006
Pelican Point PS | 275 | PPCCGT | SPPT | SPPT | 0.9987 | 0.9989
Port Lincoln 3 | 33 | POR03 | SPL31P | SPL3 | 0.9916 | 0.9707
Port Lincoln PS | 132 | POR01 | SPLN1 | SPTL | 0.9886 | 0.9676
Pt Stanvac PS (effective prior to 20/04/2021) | 66 | PTSTAN1 | SMVE3P | SMVE | 1.005 | 1.0053
Pt Stanvac PS (effective from 20/04/2021) | 66 | PTSTAN1 | SMVE3P | SMVE | 1.0038
Quarantine PS Unit 1 | 66 | QPS1 | SQPS1 | SQPS | 0.9854 | 0.9852
Quarantine PS Unit 2 | 66 | QPS2 | SQPS2 | SQPS | 0.9854 | 0.9852
Quarantine PS Unit 3 | 66 | QPS3 | SQPS3 | SQPS | 0.9854 | 0.9852
Quarantine PS Unit 4 | 66 | QPS4 | SQPS4 | SQPS | 0.9854 | 0.9852
Quarantine PS Unit 5 | 66 | QPS5 | SQPS5Q | SQPS | 0.9854 | 0.9852
Snowtown Wind Farm | 33 | SNOWTWN1 | SNWF1T | SNWF | 0.9165 | 0.9095
Snowtown Wind Farm Stage 2 – North | 275 | SNOWNTH1 | SBLWS1 | SBLW | 0.9717 | 0.9722
Snowtown Wind Farm Stage 2 – South | 275 | SNOWSTH1 | SBLWS2 | SBLW | 0.9717 | 0.9722
Snuggery PS Units 1 to 3 | 132 | SNUG1 | SSGA1 | SSPS | 0.9518 | 0.9474
Starfish Hill Wind Farm (effective prior to 20/04/2021) | 66 | STARHLWF | SMVE2 | SMVE | 1.005 | 1.0053
Starfish Hill Wind Farm (effective from 20/04/2021) | 66 | STARHLWF | SMVE2 | SMVE | 1.0038
Tailem Bend Solar Farm | 132 | TBSF1 | STBS1T | STBS | 1.0013 | 1.0054
Tatiara Meat Co | 33 | TATIARA1 | SKET1E | SKET | 1.0165 | 1.0256
The Bluff wind Farm | 275 | BLUFF1 | SBEL2P | SBEL | 0.9661 | 0.9728
Torrens Island PS A Unit 1 | 275 | TORRA1 | STSA1 | STPS | 0.9998 | 0.9997
Torrens Island PS A Unit 2 | 275 | TORRA2 | STSA2 | STPS | 0.9998 | 0.9997
Torrens Island PS A Unit 3 | 275 | TORRA3 | STSA3 | STPS | 0.9998 | 0.9997
Torrens Island PS A Unit 4 | 275 | TORRA4 | STSA4 | STPS | 0.9998 | 0.9997
Torrens Island PS B Unit 1 | 275 | TORRB1 | STSB1 | STPS | 0.9998 | 0.9997
Torrens Island PS B Unit 2 | 275 | TORRB2 | STSB2 | STPS | 0.9998 | 0.9997
Torrens Island PS B Unit 3 | 275 | TORRB3 | STSB3 | STPS | 0.9998 | 0.9997
Torrens Island PS B Unit 4 | 275 | TORRB4 | STSB4 | STPS | 0.9998 | 0.9997
Torrens Island PS Load | 66 | TORNL1 | STSYL | STSY | 1 | 1
Waterloo Wind Farm | 132 | WATERLWF | SWLE1R | SWLE | 0.9665 | 0.9677
Wattle Point Wind Farm | 132 | WPWF | SSYP1 | SSYP | 0.82 | 0.8125
Willogoleche Wind Farm | 275 | WGWF1 | SWGL1W | SWGL | 0.9693 | 0.9828
Wingfield 1 LFG PS | 66 | WINGF1_1 | SKLB1W | SKLB | 1.0008 | 0.9998
Wingfield 2 LFG PS | 66 | WINGF2_1 | SNBN2W | SNBN | 1.0005 | 0.9999

## Tasmania
Tasmania (regional reference node is George Town 220 kV)
Tasmania Loads
Location | Voltage (kV) | TNI code | 2020-21 MLF | 2019-20 MLF
Arthurs Lake | 6.6 | TAL2 | 0.9703 | 0.9902
Avoca | 22 | TAV2 | 0.9982 | 1.0064
Boyer SWA | 6.6 | TBYA | 1.0081 | 1.0168
Boyer SWB | 6.6 | TBYB | 1.0174 | 1.0169
Bridgewater | 11 | TBW2 | 1.0219 | 1.0265
Burnie | 22 | TBU3 | 0.9786 | 0.985
Chapel St. | 11 | TCS3 | 1.0085 | 1.0187
Comalco | 220 | TCO1 | 1.0006 | 1.0006
Creek Road | 33 | TCR2 | 1.0092 | 1.0186
Derby | 22 | TDE2 | 0.9527 | 0.9577
Derwent Bridge | 22 | TDB2 | 0.9155 | 0.9325
Devonport | 22 | TDP2 | 0.9824 | 0.9885
Electrona | 11 | TEL2 | 1.0239 | 1.0308
Emu Bay | 11 | TEB2 | 0.9761 | 0.9815
Fisher (Rowallan) | 220 | TFI1 | 0.9587 | 0.9688
George Town | 22 | TGT3 | 1.0018 | 1.002
George Town (Basslink) | 220 | TGT1 | 1 | 1
Gordon | 22 | TGO2 | 0.9859 | 0.9984
Greater Hobart Area VTN |  | TVN1 | 1.0106 | 1.0195
Hadspen | 22 | THA3 | 0.9893 | 0.9939
Hampshire | 110 | THM2 | 0.975 | 0.9798
Huon River | 11 | THR2 | 1.0256 | 1.0259
Kermandie | 11 | TKE2 | 1.031 | 1.0343
Kingston | 33 | TK13 | 1.0145 | 1.0233
Kingston | 11 | TKI2 | 1.0198 | 1.0258
Knights Road | 11 | TKR2 | 1.0265 | 1.0364
Lindisfarne | 33 | TLF2 | 1.011 | 1.0202
Meadowbank | 22 | TMB2 | 0.9913 | 0.9828
Mornington | 33 | TMT2 | 1.0125 | 1.0224
Mowbray | 22 | TMY2 | 0.9885 | 0.9924
New Norfolk | 22 | TNN2 | 1.0043 | 1.0112
Newton | 22 | TNT2 | 0.9633 | 0.9731
Newton | 11 | TNT3 | 0.9454 | 0.9611
North Hobart | 11 | TNH2 | 1.0077 | 1.0176
Norwood | 22 | TNW2 | 0.9873 | 0.9923
Palmerston | 22 | TPM3 | 0.9714 | 0.9816
Port Latta | 22 | TPL2 | 0.9479 | 0.9573
Que | 22 | TQU2 | 0.9746 | 0.9729
Queenstown | 11 | TQT3 | 0.9484 | 0.9637
Queenstown | 22 | TQT2 | 0.9517 | 0.9639
Railton | 22 | TRA2 | 0.9829 | 0.9894
Risdon | 33 | TRI4 | 1.012 | 1.0195
Risdon | 11 | TRI3 | 1.0142 | 1.0219
Rokeby | 11 | TRK2 | 1.0163 | 1.0223
Rosebery | 44 | TRB2 | 0.9611 | 0.9733
Savage River | 22 | TSR2 | 0.9942 | 1.003
Scottsdale | 22 | TSD2 | 0.9649 | 0.9704
Smithton | 22 | TST2 | 0.9326 | 0.9409
Sorell | 22 | TSO2 | 1.0306 | 1.0284
St Leonard | 22 | TSL2 | 0.9878 | 0.9921
St. Marys | 22 | TSM2 | 1.0175 | 1.0224
Starwood | 110 | TSW1 | 1.0007 | 1.0009
Tamar Region VTN |  | TVN2 | 0.9899 | 0.9938
Temco | 110 | TTE1 | 0.9998 | 1.0037
Trevallyn | 22 | TTR2 | 0.9891 | 0.9931
Triabunna | 22 | TTB2 | 1.0387 | 1.0393
Tungatinah | 22 | TTU2 | 0.9191 | 0.9351
Ulverstone | 22 | TUL2 | 0.9779 | 0.9847
Waddamana | 22 | TWA2 | 0.9354 | 0.9465
Wayatinah | 11 | TWY2 | 0.9865 | 0.9958
Wesley Vale | 22 | TWV2 | 0.9794 | 0.989
Tasmania Generators
Generator description | Voltage [kV] | DUID | Connection Point ID | TNI code | 2020-21 MLF | 2019-20 MLF
Basslink (George Town) | 220 | BLNKTAS | TGT11 | TGT1 | 1 | 1
Bastyan | 220 | BASTYAN | TFA11 | TFA1 | 0.9301 | 0.9456
Bell Bay No.3 | 110 | BBTHREE1 | TBB11 | TBB1 | 0.9975 | 0.9997
Bell Bay No.3 | 110 | BBTHREE2 | TBB12 | TBB1 | 0.9975 | 0.9997
Bell Bay No.3 | 110 | BBTHREE3 | TBB13 | TBB1 | 0.9975 | 0.9997
Bluff Point and Studland Bay Wind Farms | 110 | WOOLNTH1 | TST11 | TST1 | 0.8777 | 0.89
Butlers Gorge | 110 | BUTLERSG | TBG11 | TBG1 | 0.9101 | 0.9305
Catagunya | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9817 | 0.9936
Cethana | 220 | CETHANA | TCE11 | TCE1 | 0.9545 | 0.9658
Cluny | 220 | CLUNY | TCL11 | TCL1 | 0.9855 | 0.9961
Devils gate | 110 | DEVILS_G | TDG11 | TDG1 | 0.9618 | 0.9698
Fisher | 220 | FISHER | TFI11 | TFI1 | 0.9587 | 0.9688
Gordon | 220 | GORDON | TGO11 | TGO1 | 0.9491 | 0.9594
Granville Harbour Wind Farm | 220 | GRANWF1 | TGH11G | TGH1 | 0.9408 | 0.959
John Butters | 220 | JBUTTERS | TJB11 | TJB1 | 0.923 | 0.937
Lake Echo | 110 | LK_ECHO | TLE11 | TLE1 | 0.9173 | 0.9257
Lemonthyme | 220 | LEM_WIL | TSH11 | TSH1 | 0.9626 | 0.9716
Liapootah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9817 | 0.9936
Mackintosh | 110 | MACKNTSH | TMA11 | TMA1 | 0.9178 | 0.9347
Meadowbank | 110 | MEADOWBK | TMB11 | TMB1 | 0.9773 | 0.9716
Midlands PS | 22 | MIDLDPS1 | TAV21M | TAV2 | 0.9982 | 1.0064
Musselroe | 110 | MUSSELR1 | TDE11M | TDE1 | 0.9024 | 0.906
Paloona | 110 | PALOONA | TPA11 | TPA1 | 0.9604 | 0.9702
Poatina | 220 | POAT220 | TPM11 | TPM1 | 0.9715 | 0.9846
Poatina | 110 | POAT110 | TPM21 | TPM2 | 0.9561 | 0.9728
Reece No.1 | 220 | REECE1 | TRCA1 | TRCA | 0.9202 | 0.941
Reece No.2 | 220 | REECE2 | TRCB1 | TRCB | 0.9183 | 0.9351
Remount | 22 | REMOUNT | TMY21 | TVN2 | 0.9899 | 0.9938
Repulse | 220 | REPULSE | TCL12 | TCL1 | 0.9855 | 0.9961
Rowallan | 220 | ROWALLAN | TFI12 | TFI1 | 0.9587 | 0.9688
Tamar Valley CCGT | 220 | TVCC201 | TTV11A | TTV1 | 1 | 1
Tamar Valley OCGT | 110 | TVPP104 | TBB14A | TBB1 | 0.9975 | 0.9997
Tarraleah | 110 | TARRALEA | TTA11 | TTA1 | 0.9167 | 0.9363
Trevallyn | 110 | TREVALLN | TTR11 | TTR1 | 0.9805 | 0.9889
Tribute | 220 | TRIBUTE | TTI11 | TTI1 | 0.9183 | 0.9401
Tungatinah | 110 | TUNGATIN | TTU11 | TTU1 | 0.892 | 0.9065
Wayatinah | 220 | LI_WY_CA | TLI11 | TLI1 | 0.9817 | 0.9936
Wild Cattle Hill Wind Farm | 220 | CTHLWF1 | TWC11C | TWC1 | 0.985 | 0.986
Wilmot | 220 | LEM_WIL | TSH11 | TSH1 | 0.9626 | 0.9716