## Summary
Region | Generator | TNI | 2022/23 Forecast Generator Energy (GWh) based on individual TNI (Note 1) | 2022/23 Forecast Generator Energy (GWh) based on Station
NSW | Bayswater PS Units 1 and 2 (330 kV) | NBAY | 5733.761 | 11334.9845 | Note 1
NSW | Bayswater PS Units 3 and 4 (500 kV) | NBYW | 5601.2235
NSW | Blowering PS | NBLW | 148.1259 | 148.1259 | Monthly Generator Energy for 2020/21 Historical and 2022/23 Forecast are in 'Detailed' sheet
NSW | Colongra PS | NCLG | 48.185 | 48.185
NSW | Eraring PS Units 1 and 2 (330 kV) | NEP3 | 5335.761 | 11037.2515
NSW | Eraring PS Units 3 and 4 (500 kV) | NEPS | 5701.4905
NSW | Guthega PS | NGUT | 154.1241 | 154.1241
NSW | Hume PS (NSW Share) | NHUM | 133.2974 | 133.2974
NSW | Hunter Valley GT | NLD31 | -0.00583 | -0.00583
NSW | Liddell PS | NLDP | 4375.4671 | 4375.4671
NSW | Lower Tumut PS | NLTS | 505.6779 | 505.6779
NSW | Mount Piper PS | NMTP | 6143.1488 | 6143.1488
NSW | Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | -29.4371 | -29.4371
NSW | Smithfield Energy Facility | NHD2 | 23.7925 | 23.7925
NSW | Tallawarra PS | NTWA | 537.8635 | 537.8635
NSW | Uranquinty PS | NURQ | 130.2632 | 130.2632
NSW | Upper Tumut PS | NUTS | 1588.3468 | 1588.3468
NSW | Vales Point PS | NVPP | 5601.4403 | 5601.4403
VIC | Guthega - Jindabyne Pump | NGJP | -118.1205 | -118.1205
VIC | Murray PS | NMUR | 2193.0304 | 2193.0304
VIC | Laverton PS | VAT2 | 39.4497 | 39.4497
VIC | Bairnsdale PS | VBDL | 64.6663 | 64.6663
VIC | Dartmouth PS | VDPS | 40.6837 | 40.6837
VIC | Eildon PS | VEPS | 110.2304 | 110.2304
VIC | Hume PS (Victorian Share) | VHUM | 13.5853 | 13.5853
VIC | Jeeralang PS A and B | VJLG | 101.3938 | 101.3938
VIC | Loy Yang PS A | VLYP | 11800.3004 | 18289.2882
VIC | Loy Yang PS B | VLYP | 6488.9878
VIC | Mortlake PS | VM0P | 427.5373 | 427.5373
VIC | Morwell PS Units 1, 2 and 3 (66 kV) | VMWG | 0 | 0
VIC | Morwell PS Units 4 and 5 (11 kV) | VMWP | 0 | 0
VIC | Newport PS | VNPS | 207.9093 | 207.9093
VIC | Somerton PS | VSOM | 97.9624 | 97.9624
VIC | Bogong PS And McKay PS | VT14 | 188.8062 | 188.8062
VIC | West Kiewa PS | VWKP | 119.3569 | 119.3569
VIC | Yallourn PS Units 2, 3 and 4 | VYP2 | 5167.1247 | 5167.1247
VIC | Yallourn PS Unit 1 220 kV | VYP3 | 342.8814 | 1872.4383
VIC | Yallourn PS Unit 1 500 kV (Note 2) | VYP3 | 1529.5569
QLD | Barcaldine PS | QBCG | 3.1636 | 3.1636
QLD | Barron Gorge PS | QBGH | 179.0692 | 179.0692
QLD | Braemar PS Units 1, 2 and 3 | QBRA | 301.3943 | 2063.3295
QLD | Braemar PS Units 5, 6 and 7 | QBRA | 332.7334
QLD | Darling Downs PS | QBRA | 1429.2018
QLD | Callide B PS | QCAB | 3256.6069 | 3256.6069
QLD | Callide C PS | QCAC | 3041.3215 | 3041.3215
QLD | Condamine PS | QCND | 200.2999 | 200.2999
QLD | Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 3405.5876 | 3405.5876
QLD | Gladstone PS Units 3 and 4 (132 kV) | QGLL | 1777.8972 | 1777.8972
QLD | Kareeya PS | QKYH | 528.6652 | 528.6652
QLD | Millmerran PS | QMLN | 4864.8907 | 4864.8907
QLD | Mt Stuart PS unit 1 and 2 | QMSP | 18.0914 | 28.4517
QLD | Mt Stuart PS unit 3 | QMSP | 10.3603
QLD | Oakey PS | QOKY | 35.1343 | 35.1343
QLD | Roma PS | QRMA | 34.6273 | 34.6273
QLD | Stanwell PS | QSTN | 6948.1294 | 6948.1294
QLD | Swanbank E GT | QSWE | 857.3103 | 857.3103
QLD | Tarong North PS | QTNT | 2526.7277 | 2526.7277
QLD | Tarong PS | QTRN | 7147.1582 | 7147.1582
QLD | Yabulu PS (Townsville) | QTYP | 175.5909 | 175.5909
QLD | Kogan Creek PS | QWDN | 3411.7304 | 3411.7304
QLD | Wivenhoe Pump | QWIP | -291.9188 | -291.9188
QLD | Wivenhoe PS | QWIV | 186.1219 | 186.1219
QLD | Yabulu Steam Turbine | QYST | 15.5877 | 15.5877
SA | Angaston PS | SANG | -0.30251 | -0.30251
SA | Barker Inlet PS | SBPS | 313.2774 | 313.2774
SA | Cummins Lonsdale PS | SMVE | -0.42796 | -0.42796
SA | Dry Creek PS Units 1 and 2 | SDPS | 6.9684 | 12.4326
SA | Dry Creek PS Unit 3 | SDPS | 5.4642
SA | Hallett PS | SHPS | 34.9035 | 34.9035
SA | Mintaro PS | SMPS | 16.2619 | 16.2619
SA | OCPL PS | SOCP | 304.4087 | 304.4087
SA | Ladbroke Grove PS | SPEW | 65.6625 | 65.6625
SA | Port Lincoln PS Unit 3 (33 kV) | SPL3 | 0.08357 | 0.08357
SA | Port Stanvac PS | SMVE | 1.1033 | 1.1033
SA | Pelican Point PS | SPPT | 2016.9555 | 2016.9555
SA | Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 0.24087 | 0.24087
SA | Quarantine PS | SQPS | 102.1537 | 102.1537
SA | Snuggery PS | SSPS | -0.23862 | -0.23862
SA | Torrens Island PS A and B | STPS | 1126.6525 | 1126.6525
TAS | Bell Bay and Tamar Valley OCGT | TBB1 | 468.3131 | 468.3131
TAS | Cethana | TCE1 | 286.0812 | 286.0812
TAS | Devils Gate | TDG1 | 215.8068 | 215.8068
TAS | Bastyan | TFA1 | 304.6713 | 304.6713
TAS | Gordon | TGO1 | 1107.2132 | 1107.2132
TAS | John Butters | TJB1 | 389.6908 | 389.6908
TAS | Lake Echo | TLE1 | 70.5897 | 70.5897
TAS | Liapootah, Wayatinah and Catagunya | TLI1 | 843.7058 | 843.7058
TAS | Mackintosh | TMA1 | 285.9413 | 285.9413
TAS | Meadowbank | TMB1 | 108.3268 | 108.3268
TAS | Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 694.507 | 1112.5798
TAS | Poatina 1 and 2 (110 kV) | TPM2 | 418.0728
TAS | Reece 1 | TRCA | 390.256 | 762.4411
TAS | Reece 2 | TRCB | 372.1851
TAS | Lemonthyme / Wilmot | TSH1 | 304.649 | 304.649
TAS | Tarraleah | TTA1 | 587.3012 | 587.3012
TAS | Tribute | TTI1 | 209.6151 | 209.6151
TAS | Trevallyn | TTR1 | 404.8894 | 404.8894
TAS | Tungatinah | TTU1 | 454.2197 | 454.2197
TAS | Tamar Valley CCGT | TTV1 | 0.005945 | 0.005945

## Detailed
[5 empty] | 2020/21 Historical Monthly Generator Energy (GWh) | [13 empty] | 2022/23 Forecast Monthly Generator Energy (GWh) | [10 empty] | Difference in monthly energy (GWh) - if negative, energy has reduced in forecast | [12 empty] | Difference in monthly energy (%) - if negative, energy has reduced in forecast
NSW
Generator | TNI | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total
Bayswater PS Units 1 and 2 (330 kV) | NBAY | 749.9448 | 775.4443 | 769.3288 | 725.3551 | 445.9729 | 504.1668 | 690.3135 | 579.2507 | 386.3296 | 364.1932 | 389.3315 | 760.1629 | 7139.7942 | 633.4067 | 621.3838 | 645.754 | 556.5813 | 347.4098 | 380.9683 | 548.7611 | 456.5273 | 298.188 | 307.1386 | 319.6042 | 618.0377 | 5733.761 | -116.5381 | -154.0605 | -123.5748 | -168.7738 | -98.5631 | -123.1985 | -141.5524 | -122.7234 | -88.1415 | -57.0545 | -69.7273 | -142.1252 | -1406.0332 | -15.54% | -19.87% | -16.06% | -23.27% | -22.1% | -24.44% | -20.51% | -21.19% | -22.82% | -15.67% | -17.91% | -18.7% | -19.69%
Blowering PS | NBLW | 0.50161 | -1.3e-05 | 5.5423 | 6.3298 | 15.7514 | 48.2708 | 43.9735 | 16.8297 | 11.0389 | 0 | 0 | 0 | 148.238 | 0.5015 | -1.5e-05 | 5.542 | 6.3295 | 15.7435 | 48.1681 | 43.9735 | 16.8289 | 11.039 | 0 | 0 | 0 | 148.1259 | -0.000113 | -2e-06 | -0.000316 | -0.000252 | -0.007923 | -0.10276 | -4.2e-05 | -0.000745 | 6.3e-05 | 0 | 0 | 0 | -0.11209 | -0.02253% | -15.38% | -0.005702% | -0.003981% | -0.0503% | -0.2129% | -9.551e-05% | -0.004427% | 0.0005707% | 0% | 0% | 0% | -0.07561%
Bayswater PS Units 3 and 4 (500 kV) | NBYW | 730.6988 | 729.4832 | 346.8969 | 333.7652 | 480.536 | 673.1321 | 579.1545 | 517.446 | 644.8002 | 511.4299 | 628.1775 | 801.2726 | 6976.7931 | 617.0429 | 583.7731 | 290.1573 | 254.5285 | 375.2541 | 509.0685 | 460.277 | 407.9447 | 499.5104 | 434.0243 | 515.7572 | 653.8854 | 5601.2235 | -113.6559 | -145.7101 | -56.7396 | -79.2367 | -105.2819 | -164.0636 | -118.8775 | -109.5014 | -145.2898 | -77.4056 | -112.4203 | -147.3872 | -1375.5695 | -15.55% | -19.97% | -16.36% | -23.74% | -21.91% | -24.37% | -20.53% | -21.16% | -22.53% | -15.14% | -17.9% | -18.39% | -19.72%
Colongra PS | NCLG | 5.7047 | -0.0886 | 0.34203 | 1.3751 | 4.5435 | 12.3877 | -0.004928 | 2.0864 | -0.4124 | 0.19356 | 9.8445 | 24.6911 | 60.6627 | 4.6458 | -0.13507 | 0.30085 | 1.1284 | 3.4655 | 9.2055 | -0.04657 | 1.422 | -0.32681 | 0.088425 | 8.3517 | 20.0852 | 48.185 | -1.0589 | -0.04647 | -0.041175 | -0.24671 | -1.078 | -3.1821 | -0.041642 | -0.66443 | 0.085587 | -0.10513 | -1.4928 | -4.6059 | -12.4777 | -18.56% | -52.45% | -12.04% | -17.94% | -23.73% | -25.69% | <-100% | -31.85% | 20.75% | -54.32% | -15.16% | -18.65% | -20.57%
Eraring PS Units 1 and 2 (330 kV) | NEP3 | 694.5423 | 630.3448 | 54.8796 | 400.4741 | 719.9938 | 647.2366 | 480.2107 | 337.5137 | 616.1011 | 663.3591 | 662.6667 | 727.8628 | 6635.1853 | 588.9425 | 509.6066 | 44.2434 | 308.4689 | 565.2598 | 490.3271 | 382.819 | 265.55 | 476.0149 | 563.789 | 546.5216 | 594.2182 | 5335.761 | -105.5997 | -120.7383 | -10.6363 | -92.0051 | -154.734 | -156.9095 | -97.3917 | -71.9637 | -140.0862 | -99.5701 | -116.145 | -133.6446 | -1299.4243 | -15.2% | -19.15% | -19.38% | -22.97% | -21.49% | -24.24% | -20.28% | -21.32% | -22.74% | -15.01% | -17.53% | -18.36% | -19.58%
Eraring PS Units 3 and 4 (500 kV) | NEPS | 711.2003 | 624.0368 | 575.2259 | 643.4409 | 529.2065 | 529.2822 | 501.3745 | 510.9121 | 509.176 | 468.1475 | 676.986 | 791.245 | 7070.2337 | 602.791 | 502.9281 | 489.1548 | 496.5211 | 415.2033 | 402.1432 | 399.1976 | 403.1247 | 393.8356 | 395.7669 | 557.061 | 643.7631 | 5701.4905 | -108.4092 | -121.1087 | -86.0711 | -146.9198 | -114.0032 | -127.1391 | -102.1769 | -107.7874 | -115.3404 | -72.3805 | -119.9249 | -147.4819 | -1368.7432 | -15.24% | -19.41% | -14.96% | -22.83% | -21.54% | -24.02% | -20.38% | -21.1% | -22.65% | -15.46% | -17.71% | -18.64% | -19.36%
Guthega PS | NGUT | 9.4787 | 9.4399 | 29.6357 | 37.6432 | 10.3036 | 6.1238 | 5.2664 | 7.7105 | 8.2781 | 3.9103 | 15.2113 | 11.3998 | 154.4012 | 9.4377 | 9.3984 | 29.6147 | 37.6129 | 10.2622 | 6.0943 | 5.2516 | 7.6989 | 8.2708 | 3.9029 | 15.1871 | 11.3927 | 154.1241 | -0.040984 | -0.041523 | -0.020935 | -0.030314 | -0.041481 | -0.029475 | -0.014785 | -0.011617 | -0.007271 | -0.00744 | -0.024204 | -0.007087 | -0.27712 | -0.4324% | -0.4399% | -0.07064% | -0.08053% | -0.4026% | -0.4813% | -0.2807% | -0.1507% | -0.08783% | -0.1903% | -0.1591% | -0.06217% | -0.1795%
Hume PS (NSW Share) | NHUM | -0.10003 | -0.1044 | 6.8863 | 6.2325 | 26.8882 | 26.3328 | 24.6083 | 8.9331 | 16.0128 | 13.8944 | 3.8328 | -0.096893 | 133.3199 | -0.099965 | -0.1044 | 6.8854 | 6.2254 | 26.8753 | 26.3328 | 24.6083 | 8.932 | 16.0128 | 13.8943 | 3.8325 | -0.096915 | 133.2974 | 6.8e-05 | 2e-06 | -0.000959 | -0.007169 | -0.012928 | 1.1e-05 | 4.7e-05 | -0.001129 | -5e-05 | -8.4e-05 | -0.000324 | -2.2e-05 | -0.022537 | 0.06798% | 0.001916% | -0.01393% | -0.115% | -0.04808% | 4.177e-05% | 0.000191% | -0.01264% | -0.0003122% | -0.0006046% | -0.008453% | -0.02271% | -0.0169%
Hunter Valley GT | NLD31 | 0 | 0 | 0 | -0.00765 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00765 | 0 | 0 | 0 | -0.00583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -0.00583 | 0 | 0 | 0 | 0.00182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.00182 | 0% | 0% | 0% | 23.79% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 23.79%
Liddell PS | NLDP | 719.1231 | 710.8237 | 618.8865 | 561.0401 | 739.7448 | 547.068 | 751.4012 | 636.4345 | 695.9937 | 10.0161 | 0 | 0 | 5990.5315 | 534.2211 | 500.9944 | 475.9984 | 409.0182 | 481.552 | 368.8228 | 566.5828 | 497.1936 | 534.3857 | 6.6979 | 0 | 0 | 4375.4671 | -184.902 | -209.8292 | -142.8881 | -152.0218 | -258.1928 | -178.2452 | -184.8184 | -139.2409 | -161.608 | -3.3182 | 0 | 0 | -1615.0645 | -25.71% | -29.52% | -23.09% | -27.1% | -34.9% | -32.58% | -24.6% | -21.88% | -23.22% | -33.13% | 0% | 0% | -26.96%
Lower Tumut PS | NLTS | 50.2067 | 58.9559 | 31.2935 | 31.1035 | 55.1564 | 34.4146 | 25.9091 | 44.0174 | 32.7307 | 30.6477 | 70.582 | 42.4371 | 507.4545 | 49.9521 | 58.7128 | 31.1272 | 30.9082 | 54.9377 | 34.3258 | 25.8398 | 43.7858 | 32.6976 | 30.5742 | 70.4289 | 42.3878 | 505.6779 | -0.25457 | -0.24308 | -0.16633 | -0.19526 | -0.21867 | -0.088785 | -0.069298 | -0.2316 | -0.033072 | -0.073509 | -0.15306 | -0.049288 | -1.7765 | -0.507% | -0.4123% | -0.5315% | -0.6278% | -0.3965% | -0.258% | -0.2675% | -0.5262% | -0.101% | -0.2399% | -0.2168% | -0.1161% | -0.3501%
Mount Piper PS | NMTP | 832.3009 | 738.999 | 318.5354 | 370.2249 | 375.4897 | 603.0372 | 516.5189 | 662.1104 | 733.7088 | 754.872 | 823.1752 | 882.4537 | 7611.4262 | 702.7812 | 593.236 | 266.6641 | 284.0908 | 292.5425 | 457.054 | 410.6037 | 522.2569 | 570.4339 | 645.4031 | 678.0263 | 720.0563 | 6143.1488 | -129.5197 | -145.763 | -51.8713 | -86.1341 | -82.9472 | -145.9832 | -105.9152 | -139.8534 | -163.2749 | -109.469 | -145.1489 | -162.3974 | -1468.2774 | -15.56% | -19.72% | -16.28% | -23.27% | -22.09% | -24.21% | -20.51% | -21.12% | -22.25% | -14.5% | -17.63% | -18.4% | -19.29%
Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | 0.6685 | -0.25912 | -4.7939 | -6.3152 | -3.2654 | -9.1848 | -2.2138 | -0.691 | 0.17385 | -2.8443 | -0.13147 | -0.18216 | -29.0389 | 0.57007 | -0.28146 | -4.9052 | -6.3603 | -3.2976 | -9.2362 | -2.2221 | -0.70446 | 0.15824 | -2.8444 | -0.13149 | -0.18214 | -29.4371 | -0.09844 | -0.022345 | -0.1113 | -0.045039 | -0.032232 | -0.051408 | -0.008272 | -0.013451 | -0.01562 | -0.000114 | -1.6e-05 | 2.6e-05 | -0.39821 | -14.73% | -8.623% | -2.322% | -0.7132% | -0.9871% | -0.5597% | -0.3736% | -1.947% | -8.984% | -0.004008% | -0.01217% | 0.01427% | -1.371%
Smithfield Energy Facility | NHD2 | 3.0913 | 2.5779 | 0.41524 | 2.6038 | 1.4588 | 2.3303 | 0.48883 | -0.1146 | 0.20661 | 3.6596 | 2.9324 | 9.2913 | 28.9414 | 2.6851 | 2.1285 | 0.40486 | 2.0267 | 1.1177 | 1.7132 | 0.38035 | -0.08991 | 0.17131 | 3.2063 | 2.4721 | 7.5765 | 23.7925 | -0.4062 | -0.44942 | -0.010377 | -0.57713 | -0.3411 | -0.61711 | -0.10848 | 0.024692 | -0.035306 | -0.45327 | -0.46032 | -1.7149 | -5.1489 | -13.14% | -17.43% | -2.499% | -22.16% | -23.38% | -26.48% | -22.19% | 21.55% | -17.09% | -12.39% | -15.7% | -18.46% | -17.79%
Tallawarra PS | NTWA | 105.1093 | 89.5746 | 17.1457 | 94.5985 | 63.9028 | 33.5225 | 61.0858 | -0.50854 | 10.7461 | 25.5346 | 21.8405 | 132.7313 | 655.2832 | 91.1954 | 74.101 | 14.5587 | 73.1917 | 51.7879 | 26.0225 | 49.5025 | -0.39919 | 7.9843 | 22.906 | 18.4096 | 108.6031 | 537.8635 | -13.914 | -15.4736 | -2.587 | -21.4068 | -12.115 | -7.5 | -11.5833 | 0.10935 | -2.7617 | -2.6286 | -3.4309 | -24.1282 | -117.4197 | -13.24% | -17.27% | -15.09% | -22.63% | -18.96% | -22.37% | -18.96% | 21.5% | -25.7% | -10.29% | -15.71% | -18.18% | -17.92%
Uranquinty PS | NURQ | 0.4768 | 0.095381 | 2.915 | 19.8705 | 8.7077 | 17.543 | 1.1031 | -0.43531 | 20.6547 | 16.5795 | 26.2017 | 45.8566 | 159.5688 | 0.43929 | 0.10884 | 2.8872 | 15.2934 | 6.9892 | 13.1246 | 0.8608 | -0.34332 | 16.0841 | 14.7216 | 22.1443 | 37.9531 | 130.2632 | -0.037506 | 0.013454 | -0.027721 | -4.5771 | -1.7185 | -4.4185 | -0.24229 | 0.09199 | -4.5706 | -1.858 | -4.0574 | -7.9035 | -29.3056 | -7.866% | 14.11% | -0.951% | -23.03% | -19.74% | -25.19% | -21.96% | 21.13% | -22.13% | -11.21% | -15.49% | -17.24% | -18.37%
Upper Tumut PS | NUTS | 81.9793 | 193.5095 | 80.1048 | 56.112 | 124.5797 | 154.6654 | 144.9269 | 124.3579 | 111.9884 | 93.5481 | 208.0105 | 214.5759 | 1588.3584 | 81.9753 | 193.5068 | 80.1048 | 56.112 | 124.5797 | 154.6654 | 144.926 | 124.3579 | 111.9884 | 93.5454 | 208.0093 | 214.5758 | 1588.3468 | -0.00401 | -0.002703 | 4e-06 | -6.1e-05 | 6.8e-05 | 2.6e-05 | -0.000847 | 8e-06 | -4.6e-05 | -0.002757 | -0.001173 | -2.7e-05 | -0.011518 | -0.004891% | -0.001397% | 4.993e-06% | -0.0001087% | 5.458e-05% | 1.681e-05% | -0.0005844% | 6.433e-06% | -4.108e-05% | -0.002947% | -0.0005639% | -1.258e-05% | -0.0007252%
Vales Point PS | NVPP | 704.4765 | 366.3367 | 337.2155 | 556.8198 | 688.5915 | 619.7773 | 596.4823 | 468.5017 | 568.006 | 612.2811 | 756.4286 | 689.2794 | 6964.1964 | 596.1976 | 292.7097 | 279.3791 | 430.7486 | 539.783 | 472.129 | 476.4734 | 369.9485 | 443.1522 | 520.0588 | 621.2794 | 559.581 | 5601.4403 | -108.2789 | -73.627 | -57.8364 | -126.0712 | -148.8085 | -147.6483 | -120.0089 | -98.5532 | -124.8538 | -92.2223 | -135.1492 | -129.6984 | -1362.7561 | -15.37% | -20.1% | -17.15% | -22.64% | -21.61% | -23.82% | -20.12% | -21.04% | -21.98% | -15.06% | -17.87% | -18.82% | -19.57%
NSW Wind farms (Note 1)
VIC
Generator | TNI | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total
Guthega - Jindabyne Pump | NGJP | -28.4742 | -30.0001 | -0.65616 | -0.62214 | -4.9897 | -14.6143 | -17.3254 | -2.5107 | -0.8098 | -2.7085 | -0.59979 | -14.8103 | -118.121 | -28.4741 | -29.9999 | -0.65559 | -0.62109 | -4.9898 | -14.6145 | -17.3256 | -2.511 | -0.8099 | -2.7087 | -0.60022 | -14.8101 | -118.1205 | 8e-05 | 0.00019 | 0.000568 | 0.001055 | -5e-05 | -0.000254 | -0.00015 | -0.000363 | -0.000103 | -0.000216 | -0.000435 | 0.00016 | 0.000482 | 0.000281% | 0.0006333% | 0.08656% | 0.1696% | -0.001002% | -0.001738% | -0.0008658% | -0.01446% | -0.01272% | -0.007975% | -0.07253% | 0.00108% | 0.0004081%
Murray PS | NMUR | 266.3344 | 135.75 | 98.1074 | 181.8417 | 101.7685 | 65.9484 | 182.228 | 169.8365 | 276.9315 | 195.1336 | 197.8693 | 321.4959 | 2193.2451 | 266.0068 | 135.8037 | 98.2323 | 181.8716 | 101.8573 | 66.0987 | 182.3195 | 169.9172 | 276.9519 | 195.2069 | 197.2937 | 321.4709 | 2193.0304 | -0.32758 | 0.053773 | 0.12491 | 0.029882 | 0.088748 | 0.15031 | 0.091493 | 0.080668 | 0.02039 | 0.073361 | -0.57561 | -0.025037 | -0.21469 | -0.123% | 0.03961% | 0.1273% | 0.01643% | 0.08721% | 0.2279% | 0.05021% | 0.0475% | 0.007363% | 0.0376% | -0.2909% | -0.007788% | -0.009788%
Laverton PS | VAT2 | 4.2334 | 1.6933 | -0.12337 | 0.38059 | 0.58808 | -0.30917 | 0.16144 | 1.4961 | 1.077 | 0.39551 | 10.8899 | 27.9807 | 48.4635 | 3.7173 | 1.2354 | -0.092145 | 0.27719 | 0.49634 | -0.23599 | 0.11706 | 1.0642 | 0.73391 | 0.28159 | 9.2442 | 22.6105 | 39.4497 | -0.51604 | -0.45788 | 0.031226 | -0.1034 | -0.091744 | 0.07318 | -0.044377 | -0.43193 | -0.34305 | -0.11391 | -1.6457 | -5.3702 | -9.0138 | -12.19% | -27.04% | 25.31% | -27.17% | -15.6% | 23.67% | -27.49% | -28.87% | -31.85% | -28.8% | -15.11% | -19.19% | -18.6%
Bairnsdale PS | VBDL | 19.6494 | 12.4029 | 2.6078 | 2.7859 | 2.3498 | 0.86084 | 1.0474 | 0.32481 | 0.31886 | 7.7595 | 8.8729 | 12.9543 | 71.9342 | 17.6354 | 11.4277 | 2.3752 | 2.2218 | 2.2682 | 0.76763 | 1.0134 | 0.31027 | 0.27919 | 6.939 | 8.0691 | 11.3593 | 64.6663 | -2.014 | -0.97514 | -0.23257 | -0.5641 | -0.081567 | -0.09321 | -0.033975 | -0.014531 | -0.039666 | -0.82044 | -0.8038 | -1.5949 | -7.268 | -10.25% | -7.862% | -8.918% | -20.25% | -3.471% | -10.83% | -3.244% | -4.474% | -12.44% | -10.57% | -9.059% | -12.31% | -10.1%
Dartmouth PS | VDPS | 9.9937 | 2.5472 | 1.643 | 1.1041 | 2.0387 | 2.6827 | 3.0219 | 2.1856 | 3.7609 | 2.4592 | 7.8651 | 3.7475 | 43.0496 | 9.0751 | 2.4081 | 1.596 | 1.0786 | 1.9723 | 2.5837 | 2.8936 | 2.1419 | 3.5742 | 2.3979 | 7.3566 | 3.6056 | 40.6837 | -0.9186 | -0.13902 | -0.046989 | -0.025533 | -0.066364 | -0.099 | -0.1283 | -0.043719 | -0.18675 | -0.061224 | -0.5085 | -0.14185 | -2.3658 | -9.192% | -5.458% | -2.86% | -2.313% | -3.255% | -3.69% | -4.245% | -2% | -4.966% | -2.49% | -6.465% | -3.785% | -5.496%
Eildon PS | VEPS | 5.8615 | 2.1164 | 2.7294 | 5.7118 | 13.6242 | 11.8326 | 12.8286 | 10.0056 | 12.1103 | 18.9828 | 10.3925 | 4.0598 | 110.2555 | 5.8604 | 2.116 | 2.7285 | 5.7093 | 13.6237 | 11.8322 | 12.8282 | 10.0052 | 12.1097 | 18.9821 | 10.3922 | 4.0427 | 110.2304 | -0.001118 | -0.000392 | -0.000864 | -0.00244 | -0.000502 | -0.000393 | -0.000372 | -0.000361 | -0.000615 | -0.000693 | -0.000232 | -0.017143 | -0.025125 | -0.01907% | -0.01852% | -0.03166% | -0.04272% | -0.003685% | -0.003321% | -0.0029% | -0.003608% | -0.005078% | -0.003651% | -0.002232% | -0.4223% | -0.02279%
Hume PS (Victorian Share) | VHUM | 0 | 0 | 0 | 0.38245 | 0.85164 | 0.96477 | 2.8645 | 2.4025 | 0 | 4.99 | 1.1371 | -0.007254 | 13.5856 | 0 | 0 | 0 | 0.38249 | 0.85152 | 0.96478 | 2.8645 | 2.4023 | 0 | 4.99 | 1.1371 | -0.007255 | 13.5853 | 0 | 0 | 0 | 4.3e-05 | -0.000123 | 5e-06 | 2.2e-05 | -0.00021 | 0 | -2.9e-05 | -6e-06 | -1e-06 | -0.000299 | 0% | 0% | 0% | 0.01124% | -0.01444% | 0.0005183% | 0.000768% | -0.008741% | 0% | -0.0005812% | -0.0005277% | -0.01379% | -0.002201%
Jeeralang PS A and B | VJLG | 10.4388 | 11.5448 | 2.3351 | 15.6667 | 2.6459 | 0.42609 | 2.4412 | -0.24975 | 1.1193 | 15.4555 | 27.0569 | 32.3232 | 121.2039 | 9.0086 | 9.6566 | 2.0997 | 12.2432 | 2.1688 | 0.31382 | 1.9717 | -0.18699 | 0.91018 | 13.5637 | 22.931 | 26.7135 | 101.3938 | -1.4302 | -1.8882 | -0.23539 | -3.4236 | -0.47711 | -0.11227 | -0.46957 | 0.062757 | -0.20914 | -1.8917 | -4.1259 | -5.6097 | -19.8101 | -13.7% | -16.36% | -10.08% | -21.85% | -18.03% | -26.35% | -19.23% | 25.13% | -18.68% | -12.24% | -15.25% | -17.36% | -16.34%
Loy Yang PS A | VLYP | 1108.7112 | 1185.8789 | 1289.5375 | 1467.312 | 1154.936 | 1192.3927 | 1180.0041 | 1209.7759 | 1276.8245 | 1215.3231 | 1255.8538 | 1301.2996 | 14837.8493 | 931.9219 | 941.9228 | 1039.6674 | 1096.2202 | 902.1455 | 908.8724 | 938.9522 | 950.712 | 985.9659 | 1027.5922 | 1020.0998 | 1056.2282 | 11800.3004 | -176.7893 | -243.9562 | -249.8701 | -371.0918 | -252.7904 | -283.5203 | -241.0519 | -259.064 | -290.8586 | -187.7309 | -235.754 | -245.0714 | -3037.5489 | -15.95% | -20.57% | -19.38% | -25.29% | -21.89% | -23.78% | -20.43% | -21.41% | -22.78% | -15.45% | -18.77% | -18.83% | -20.47%
Loy Yang PS B | VLYP | 711.9072 | 604.376 | 599.6464 | 482.1373 | 705.2203 | 761.0205 | 757.5693 | 671.7596 | 762.2396 | 645.4898 | 696.7432 | 745.2666 | 8143.3759 | 598.3902 | 480.0452 | 483.4546 | 360.202 | 550.8629 | 580.0694 | 602.8126 | 527.9076 | 588.6027 | 545.781 | 565.9477 | 604.9119 | 6488.9878 | -113.517 | -124.3308 | -116.1918 | -121.9354 | -154.3574 | -180.9511 | -154.7567 | -143.852 | -173.637 | -99.7088 | -130.7955 | -140.3547 | -1654.3881 | -15.95% | -20.57% | -19.38% | -25.29% | -21.89% | -23.78% | -20.43% | -21.41% | -22.78% | -15.45% | -18.77% | -18.83% | -20.32%
Loy Yang PS A and B | VLYP | 1820.6184 | 1790.255 | 1889.1839 | 1949.4493 | 1860.1563 | 1953.4132 | 1937.5734 | 1881.5355 | 2039.0641 | 1860.813 | 1952.597 | 2046.5662 | 22981.2253 | 1530.3121 | 1421.968 | 1523.122 | 1456.4221 | 1453.0084 | 1488.9418 | 1541.7648 | 1478.6196 | 1574.5686 | 1573.3732 | 1586.0475 | 1661.1401 | 18289.2882 | -290.3062 | -368.287 | -366.062 | -493.0272 | -407.1479 | -464.4714 | -395.8086 | -402.916 | -464.4955 | -287.4397 | -366.5495 | -385.4261 | -4691.937 | -15.95% | -20.57% | -19.38% | -25.29% | -21.89% | -23.78% | -20.43% | -21.41% | -22.78% | -15.45% | -18.77% | -18.83% | -20.42%
Mortlake PS | VM0P | 137.7321 | 94.706 | 34.8152 | 62.4703 | 33.8024 | 5.7233 | 12.2469 | 6.0197 | 8.1488 | 10.2516 | 38.3021 | 72.0117 | 516.2299 | 117.1472 | 78.3329 | 29.7399 | 48.8426 | 27.8207 | 4.4821 | 9.9201 | 4.8008 | 6.5542 | 9.1875 | 31.5866 | 59.1228 | 427.5373 | -20.5849 | -16.3731 | -5.0752 | -13.6277 | -5.9817 | -1.2412 | -2.3267 | -1.2189 | -1.5946 | -1.0642 | -6.7156 | -12.8889 | -88.6926 | -14.95% | -17.29% | -14.58% | -21.81% | -17.7% | -21.69% | -19% | -20.25% | -19.57% | -10.38% | -17.53% | -17.9% | -17.18%
Morwell PS Units 1, 2 and 3 (66 kV) | VMWG | [12 empty] | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Morwell PS Units 4 and 5 (11 kV) | VMWP | [12 empty] | 0 | [12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Newport PS | VNPS | 46.5437 | 25.4658 | 7.9791 | 6.5232 | 20.9247 | 12.1914 | 8.3662 | 0 | 0 | 0 | -0.43058 | 123.6314 | 251.1947 | 40.5304 | 21.1602 | 6.5316 | 5.0079 | 16.819 | 9.3992 | 6.7618 | 0 | 0 | 0 | -0.34777 | 102.047 | 207.9093 | -6.0133 | -4.3055 | -1.4475 | -1.5153 | -4.1057 | -2.7921 | -1.6044 | 0 | 0 | 0 | 0.0828 | -21.5844 | -43.2854 | -12.92% | -16.91% | -18.14% | -23.23% | -19.62% | -22.9% | -19.18% | 0% | 0% | 0% | 19.23% | -17.46% | -17.23%
Somerton PS | VSOM | 30.5 | 14.4756 | 9.1598 | 0.12575 | 1.6209 | 0.32759 | 0.6202 | 0.17665 | 0.29806 | 9.3209 | 14.2203 | 17.1447 | 97.9905 | 30.5 | 14.4756 | 9.1598 | 0.12582 | 1.6199 | 0.32755 | 0.6171 | 0.16991 | 0.29805 | 9.3127 | 14.2134 | 17.1425 | 97.9624 | 2.9e-05 | -4.8e-05 | -1.3e-05 | 7.4e-05 | -0.000921 | -3.2e-05 | -0.003092 | -0.006736 | -6e-06 | -0.008157 | -0.00689 | -0.002234 | -0.028026 | 9.508e-05% | -0.0003316% | -0.0001419% | 0.05885% | -0.05682% | -0.009768% | -0.4986% | -3.813% | -0.002013% | -0.08751% | -0.04845% | -0.01303% | -0.0286%
Bogong PS And McKay PS | VT14 | 30.7032 | 15.4913 | 3.8266 | 32.4196 | 14.0091 | 3.0253 | 5.8164 | 15.2198 | 10.96 | 18.3583 | 16.3021 | 22.6997 | 188.8314 | 30.7032 | 15.4914 | 3.8266 | 32.4054 | 14.0007 | 3.0247 | 5.8164 | 15.2197 | 10.9595 | 18.3584 | 16.3004 | 22.6997 | 188.8062 | -1.4e-05 | 0.000107 | 4e-05 | -0.014218 | -0.008353 | -0.000551 | -2.7e-05 | -4.8e-05 | -0.000481 | 0.0001 | -0.001755 | 3.2e-05 | -0.025168 | -4.56e-05% | 0.0006907% | 0.001045% | -0.04386% | -0.05963% | -0.01821% | -0.0004642% | -0.0003154% | -0.004389% | 0.0005447% | -0.01077% | 0.000141% | -0.01333%
West Kiewa PS | VWKP | 17.3793 | 13.6925 | 12.7459 | 28.4524 | 11.7679 | 5.9505 | 4.9926 | 9.8643 | 6.6247 | 6.3016 | 1.601 | 0 | 119.3727 | 17.3769 | 13.6904 | 12.7417 | 28.4524 | 11.7664 | 5.9496 | 4.9921 | 9.8641 | 6.6242 | 6.2996 | 1.5995 | 0 | 119.3569 | -0.002421 | -0.002088 | -0.004247 | 3.8e-05 | -0.001502 | -0.000911 | -0.000481 | -0.000203 | -0.00045 | -0.001976 | -0.001567 | 0 | -0.015808 | -0.01393% | -0.01525% | -0.03332% | 0.0001336% | -0.01276% | -0.01531% | -0.009634% | -0.002058% | -0.006793% | -0.03136% | -0.09787% | 0% | -0.01324%
Yallourn PS Units 2, 3 and 4 | VYP2 | 702.1779 | 530.4319 | 622.0413 | 660.375 | 427.5181 | 529.678 | 628.2442 | 576.1859 | 614.6928 | 480.7161 | 455.2366 | 268.2434 | 6495.5413 | 590.4807 | 423.4297 | 505.4144 | 494.5628 | 333.1944 | 403.5256 | 498.2959 | 452.4199 | 475.4129 | 404.5448 | 370.2003 | 215.6433 | 5167.1247 | -111.6972 | -107.0022 | -116.6268 | -165.8122 | -94.3237 | -126.1525 | -129.9482 | -123.766 | -139.2799 | -76.1713 | -85.0363 | -52.6001 | -1328.4166 | -15.91% | -20.17% | -18.75% | -25.11% | -22.06% | -23.82% | -20.68% | -21.48% | -22.66% | -15.85% | -18.68% | -19.61% | -20.45%
Yallourn PS Unit 1 220 kV | VYP3220 | 5.4496 | 0 | 0 | 1.013 | 105.9771 | 127.2201 | 0 | 0 | 31.0894 | 20.0853 | 7.2854 | 149.597 | 447.7169 | 4.583 | 0 | 0 | 0.73705 | 81.0371 | 89.5665 | 0 | 0 | 23.8662 | 16.6357 | 5.6721 | 120.7838 | 342.8814 | -0.86664 | 0 | 0 | -0.27598 | -24.9399 | -37.6536 | 0 | 0 | -7.2233 | -3.4497 | -1.6133 | -28.8132 | -104.8355 | -15.9% | 0% | 0% | -27.24% | -23.53% | -29.6% | 0% | 0% | -23.23% | -17.18% | -22.14% | -19.26% | -23.42%
Yallourn PS Unit 1 500 kV | VYP3500 | 183.353 | 260.66 | 254.9085 | 184.9922 | 0 | 77.6344 | 265.5189 | 235.6613 | 169.64 | 133.0945 | 244.9287 | 27.5127 | 2037.9041 | 140.4257 | 198.0139 | 196.3368 | 132.0709 | 0 | 56.0935 | 192.5038 | 170.7117 | 120.8256 | 109.612 | 191.2126 | 21.7504 | 1529.5569 | -42.9273 | -62.6461 | -58.5717 | -52.9213 | 0 | -21.541 | -73.0151 | -64.9496 | -48.8143 | -23.4826 | -53.716 | -5.7622 | -508.3471 | -23.41% | -24.03% | -22.98% | -28.61% | 0% | -27.75% | -27.5% | -27.56% | -28.78% | -17.64% | -21.93% | -20.94% | -24.94%
VIC Wind farms (Note 1)
QLD
Generator | TNI | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total
Barcaldine PS | QBCG | -0.021574 | -0.019666 | 0.046128 | 0.034349 | 0.21689 | 0.63479 | 0.066819 | 0.33788 | 0.1739 | 0.051651 | 1.3607 | 1.0861 | 3.968 | -0.01778 | -0.015205 | 0.039595 | 0.02725 | 0.17805 | 0.46704 | 0.051825 | 0.24589 | 0.12833 | 0.04107 | 1.128 | 0.88949 | 3.1636 | 0.003794 | 0.004461 | -0.006533 | -0.007099 | -0.038842 | -0.16775 | -0.014994 | -0.091997 | -0.045578 | -0.010581 | -0.23267 | -0.19664 | -0.80443 | 17.59% | 22.68% | -14.16% | -20.67% | -17.91% | -26.43% | -22.44% | -27.23% | -26.21% | -20.49% | -17.1% | -18.1% | -20.27%
Barron Gorge PS | QBGH | 8.6487 | 8.112 | 4.4486 | 4.1527 | 4.0138 | 5.4803 | 38.4248 | 26.7303 | 22.4948 | 23.6537 | 23.3173 | 14.7845 | 184.2614 | 8.566 | 8.0513 | 4.4261 | 4.1469 | 3.9949 | 5.4471 | 37.0041 | 25.9278 | 21.6929 | 22.605 | 22.8359 | 14.3711 | 179.0692 | -0.08266 | -0.060707 | -0.022467 | -0.005823 | -0.018906 | -0.03317 | -1.4206 | -0.80258 | -0.80183 | -1.0486 | -0.4814 | -0.41338 | -5.1922 | -0.9558% | -0.7484% | -0.505% | -0.1402% | -0.471% | -0.6053% | -3.697% | -3.003% | -3.565% | -4.433% | -2.065% | -2.796% | -2.818%
Braemar PS Units 1, 2 and 3 | QBRA | 50.5592 | 37.1109 | 18.3367 | 11.1975 | 19.6137 | 36.524 | 6.8311 | 11.6497 | 14.2424 | 19.5652 | 42.0481 | 93.6105 | 361.2891 | 44.3955 | 31.5594 | 16.3812 | 9.126 | 16.0985 | 28.8556 | 5.6601 | 9.4106 | 11.3591 | 17.3617 | 35.0988 | 76.0879 | 301.3943 | -6.1637 | -5.5515 | -1.9555 | -2.0715 | -3.5152 | -7.6684 | -1.171 | -2.2392 | -2.8833 | -2.2035 | -6.9493 | -17.5226 | -59.8949 | -12.19% | -14.96% | -10.66% | -18.5% | -17.92% | -21% | -17.14% | -19.22% | -20.24% | -11.26% | -16.53% | -18.72% | -16.58%
Braemar PS Units 5, 6 and 7 | QBRA2 | 41.7034 | 30.9314 | 31.2306 | 13.9575 | 21.9718 | 32.293 | 19.6987 | 16.0819 | 24.2812 | 20.3833 | 53.082 | 93.32 | 398.9346 | 36.6033 | 26.6693 | 27.5707 | 11.4435 | 18.12 | 25.6745 | 16.3423 | 13.0034 | 19.2624 | 17.9343 | 44.1076 | 76.0022 | 332.7334 | -5.1001 | -4.2621 | -3.6599 | -2.514 | -3.8518 | -6.6185 | -3.3564 | -3.0785 | -5.0188 | -2.449 | -8.9744 | -17.3178 | -66.2012 | -12.23% | -13.78% | -11.72% | -18.01% | -17.53% | -20.5% | -17.04% | -19.14% | -20.67% | -12.01% | -16.91% | -18.56% | -16.59%
Darling Downs PS | QBRA8D | 236.3163 | 155.657 | 20.324 | 161.2366 | 158.6671 | 186.5722 | 133.0513 | 136.2012 | 171.1412 | 135.7063 | 14.2965 | 241.9791 | 1751.1488 | 203.2468 | 129.3155 | 17.0845 | 128.6288 | 128.9627 | 144.4271 | 107.5242 | 108.7185 | 134.1892 | 118.3949 | 11.7144 | 196.9953 | 1429.2018 | -33.0695 | -26.3415 | -3.2396 | -32.6078 | -29.7044 | -42.1451 | -25.5271 | -27.4827 | -36.9521 | -17.3114 | -2.5821 | -44.9837 | -321.9469 | -13.99% | -16.92% | -15.94% | -20.22% | -18.72% | -22.59% | -19.19% | -20.18% | -21.59% | -12.76% | -18.06% | -18.59% | -18.38%
Callide B PS | QCAB | 359.969 | 388.8494 | 374.9536 | 423.1034 | 285.4561 | 338.8418 | 372.7211 | 335.9679 | 364.922 | 271.6386 | 328.5491 | 221.3043 | 4066.2761 | 303.8757 | 308.8393 | 310.3519 | 322.5396 | 223.4754 | 261.0883 | 297.964 | 264.6715 | 282.9981 | 232.921 | 266.1911 | 181.6911 | 3256.6069 | -56.0932 | -80.0101 | -64.6017 | -100.5638 | -61.9807 | -77.7535 | -74.7571 | -71.2965 | -81.9239 | -38.7175 | -62.358 | -39.6132 | -809.6692 | -15.58% | -20.58% | -17.23% | -23.77% | -21.71% | -22.95% | -20.06% | -21.22% | -22.45% | -14.25% | -18.98% | -17.9% | -19.91%
Callide C PS | QCAC | 276.4563 | 262.7725 | 231.852 | 206.4283 | 260.9783 | 277.2589 | 283.2142 | 445.288 | 465.7267 | 405.6531 | 409.9944 | 260.0537 | 3785.6763 | 233.8606 | 209.9426 | 192.9108 | 158.6748 | 205.1262 | 213.7416 | 226.3592 | 350.4162 | 361.0579 | 346.6826 | 332.9274 | 209.6217 | 3041.3215 | -42.5957 | -52.8298 | -38.9412 | -47.7534 | -55.8521 | -63.5173 | -56.855 | -94.8719 | -104.6689 | -58.9705 | -77.067 | -50.4319 | -744.3549 | -15.41% | -20.1% | -16.8% | -23.13% | -21.4% | -22.91% | -20.07% | -21.31% | -22.47% | -14.54% | -18.8% | -19.39% | -19.66%
Condamine PS | QCND | 90.5611 | 41.6113 | 4.106 | 4.6933 | 7.3071 | 16.0954 | 16.262 | 4.2564 | 13.4544 | 2.1049 | 14.0158 | 28.2804 | 242.7481 | 76.5462 | 34.1548 | 3.4773 | 3.8681 | 5.9936 | 12.4995 | 13.1842 | 3.3262 | 10.5354 | 1.8963 | 11.5815 | 23.2367 | 200.2999 | -14.0149 | -7.4565 | -0.62866 | -0.82522 | -1.3135 | -3.5959 | -3.0778 | -0.93021 | -2.919 | -0.20866 | -2.4343 | -5.0437 | -42.4483 | -15.48% | -17.92% | -15.31% | -17.58% | -17.98% | -22.34% | -18.93% | -21.85% | -21.7% | -9.913% | -17.37% | -17.83% | -17.49%
Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 246.2784 | 373.609 | 395.2175 | 449.4914 | 364.9719 | 362.0802 | 376.9444 | 336.4827 | 504.0976 | 289 | 271.4809 | 296.5247 | 4266.1787 | 208.701 | 296.2245 | 327.2931 | 345.1301 | 287.2827 | 278.7429 | 301.0222 | 264.6669 | 391.3926 | 244.9592 | 219.8662 | 240.3063 | 3405.5876 | -37.5775 | -77.3845 | -67.9244 | -104.3613 | -77.6892 | -83.3373 | -75.9221 | -71.8157 | -112.705 | -44.0408 | -51.6148 | -56.2184 | -860.5911 | -15.26% | -20.71% | -17.19% | -23.22% | -21.29% | -23.02% | -20.14% | -21.34% | -22.36% | -15.24% | -19.01% | -18.96% | -20.17%
Gladstone PS Units 3 and 4 (132 kV) | QGLL | 225.7677 | 174.1969 | 179.7581 | 198.1595 | 167.7834 | 108.0506 | 121.0353 | 176.2251 | 241.2039 | 163.2422 | 205.3845 | 250.7164 | 2211.5235 | 191.0121 | 139.9991 | 149.5767 | 152.1224 | 132.3026 | 83.0267 | 96.5855 | 139.0461 | 187.0071 | 137.3449 | 166.3269 | 203.547 | 1777.8972 | -34.7556 | -34.1978 | -30.1814 | -46.037 | -35.4808 | -25.0239 | -24.4498 | -37.179 | -54.1968 | -25.8973 | -39.0577 | -47.1693 | -433.6263 | -15.39% | -19.63% | -16.79% | -23.23% | -21.15% | -23.16% | -20.2% | -21.1% | -22.47% | -15.86% | -19.02% | -18.81% | -19.61%
Kareeya PS | QKYH | 43.4904 | 33.3245 | 35.5165 | 27.3102 | 44.2177 | 10.7271 | 54.2062 | 51.1394 | 53.8281 | 57.4477 | 59.2846 | 59.4814 | 529.9737 | 43.3796 | 33.1813 | 35.4081 | 27.2421 | 44.2031 | 10.7128 | 54.0023 | 51.0094 | 53.7177 | 57.3122 | 59.1629 | 59.3336 | 528.6652 | -0.11071 | -0.14316 | -0.10839 | -0.068115 | -0.014646 | -0.014327 | -0.20385 | -0.13001 | -0.11038 | -0.13552 | -0.12166 | -0.14775 | -1.3085 | -0.2546% | -0.4296% | -0.3052% | -0.2494% | -0.03312% | -0.1336% | -0.3761% | -0.2542% | -0.2051% | -0.2359% | -0.2052% | -0.2484% | -0.2469%
Millmerran PS | QMLN | 483.873 | 585.4944 | 554.8396 | 568.3759 | 460.3397 | 558.7729 | 543.794 | 525.2353 | 468.6381 | 376.2884 | 578.2496 | 548.9181 | 6252.8191 | 399.8379 | 452.2949 | 448.3332 | 426.2724 | 355.9281 | 411.6945 | 415.151 | 395.1958 | 352.2039 | 313.5538 | 458.346 | 436.0791 | 4864.8907 | -84.0351 | -133.1995 | -106.5064 | -142.1035 | -104.4117 | -147.0784 | -128.6429 | -130.0395 | -116.4342 | -62.7346 | -119.9036 | -112.839 | -1387.9284 | -17.37% | -22.75% | -19.2% | -25% | -22.68% | -26.32% | -23.66% | -24.76% | -24.85% | -16.67% | -20.74% | -20.56% | -22.2%
Mt Stuart PS unit 1 and 2 | QMSP | -0.26159 | 0.096468 | -0.23867 | -0.055814 | -0.16537 | 3.5192 | 0.19155 | 0.87854 | 0.3306 | 0.08546 | 8.8953 | 8.604 | 21.8797 | -0.21979 | 0.09809 | -0.19596 | -0.033865 | -0.12366 | 2.8577 | 0.14201 | 0.71907 | 0.26555 | 0.05807 | 7.4477 | 7.0765 | 18.0914 | 0.041796 | 0.001622 | 0.042712 | 0.021949 | 0.041713 | -0.66149 | -0.049537 | -0.15947 | -0.065059 | -0.02739 | -1.4477 | -1.5275 | -3.7883 | 15.98% | 1.681% | 17.9% | 39.33% | 25.22% | -18.8% | -25.86% | -18.15% | -19.68% | -32.05% | -16.27% | -17.75% | -17.31%
Mt Stuart PS unit 3 | QMSP3 | -0.13288 | -0.14586 | -0.1426 | -0.12462 | -0.14157 | -0.18474 | -0.18172 | -0.16659 | 0.53659 | -0.16121 | 8.5167 | 4.7847 | 12.4562 | -0.1124 | -0.11553 | -0.11713 | -0.09486 | -0.11243 | -0.14168 | -0.1448 | -0.1309 | 0.37752 | -0.13586 | 7.1221 | 3.9663 | 10.3603 | 0.020484 | 0.030333 | 0.025468 | 0.029759 | 0.029138 | 0.043064 | 0.036917 | 0.035681 | -0.15907 | 0.025344 | -1.3946 | -0.81837 | -2.0959 | 15.42% | 20.8% | 17.86% | 23.88% | 20.58% | 23.31% | 20.32% | 21.42% | -29.64% | 15.72% | -16.38% | -17.1% | -16.83%
Oakey PS | QOKY | 0.76588 | 0.68355 | 0.15157 | 0.55738 | 2.9374 | 7.014 | 0.43881 | 3.9439 | 2.9641 | 0.88661 | 8.5691 | 14.1545 | 43.067 | 0.69201 | 0.60788 | 0.14797 | 0.45676 | 2.3776 | 5.5566 | 0.37414 | 3.1712 | 2.3929 | 0.7122 | 7.0771 | 11.568 | 35.1343 | -0.073874 | -0.075667 | -0.003603 | -0.10062 | -0.55989 | -1.4575 | -0.064673 | -0.77274 | -0.57121 | -0.17441 | -1.492 | -2.5865 | -7.9327 | -9.646% | -11.07% | -2.377% | -18.05% | -19.06% | -20.78% | -14.74% | -19.59% | -19.27% | -19.67% | -17.41% | -18.27% | -18.42%
Roma PS | QRMA | 1.2232 | 1.2634 | 1.9795 | 1.4264 | 2.9688 | 4.0125 | 1.35 | 2.5708 | 2.9115 | 3.323 | 15.8894 | 7.6163 | 46.5348 | 0.93656 | 0.9129 | 1.6013 | 1.0833 | 2.4072 | 2.8649 | 0.97085 | 1.8467 | 1.971 | 2.6502 | 11.8115 | 5.5709 | 34.6273 | -0.28663 | -0.35049 | -0.37816 | -0.34313 | -0.56162 | -1.1475 | -0.37916 | -0.72418 | -0.94048 | -0.67281 | -4.0779 | -2.0454 | -11.9075 | -23.43% | -27.74% | -19.1% | -24.06% | -18.92% | -28.6% | -28.09% | -28.17% | -32.3% | -20.25% | -25.66% | -26.86% | -25.59%
Stanwell PS | QSTN | 430.5608 | 643.5981 | 717.0206 | 733.9191 | 804.2156 | 864.8643 | 739.8861 | 580.0637 | 624.27 | 823.5728 | 855.1717 | 883.7257 | 8700.8686 | 363.0159 | 507.7342 | 591.8633 | 561.1317 | 630.4385 | 664.7345 | 590.638 | 456.5905 | 484.0834 | 695.0356 | 689.2531 | 713.6107 | 6948.1294 | -67.5449 | -135.864 | -125.1573 | -172.7874 | -173.777 | -200.1299 | -149.2481 | -123.4732 | -140.1866 | -128.5372 | -165.9186 | -170.1151 | -1752.7392 | -15.69% | -21.11% | -17.46% | -23.54% | -21.61% | -23.14% | -20.17% | -21.29% | -22.46% | -15.61% | -19.4% | -19.25% | -20.14%
Swanbank E GT | QSWE | 167.6144 | 94.6536 | 75.7065 | 77.7246 | 13.6429 | 71.1804 | 124.3652 | 127.643 | 107.2756 | 18.6974 | 70.7773 | 104.2794 | 1053.5602 | 143.0942 | 79.0788 | 65.232 | 61.731 | 10.4987 | 55.2313 | 100.0449 | 101.5976 | 83.4543 | 15.6097 | 57.8522 | 83.8856 | 857.3103 | -24.5203 | -15.5748 | -10.4745 | -15.9937 | -3.1442 | -15.949 | -24.3202 | -26.0454 | -23.8213 | -3.0877 | -12.9252 | -20.3937 | -196.2499 | -14.63% | -16.45% | -13.84% | -20.58% | -23.05% | -22.41% | -19.56% | -20.4% | -22.21% | -16.51% | -18.26% | -19.56% | -18.63%
Tarong North PS | QTNT | 241.6061 | 283.8144 | 269.5803 | 284.8596 | 274.3673 | 279.0459 | 184.4384 | 222.2107 | 270.7173 | 288.3747 | 291.4934 | 286.9998 | 3177.5078 | 202.9389 | 223.5995 | 220.951 | 215.2082 | 213.2562 | 213.3299 | 147.3579 | 174.4569 | 208.8495 | 242.6169 | 233.3938 | 230.769 | 2526.7277 | -38.6671 | -60.2149 | -48.6293 | -69.6514 | -61.1111 | -65.716 | -37.0806 | -47.7538 | -61.8677 | -45.7577 | -58.0996 | -56.2308 | -650.7801 | -16% | -21.22% | -18.04% | -24.45% | -22.27% | -23.55% | -20.1% | -21.49% | -22.85% | -15.87% | -19.93% | -19.59% | -20.48%
Tarong PS | QTRN | 696.0222 | 749.9131 | 578.7399 | 649.0667 | 827.3439 | 905.3133 | 779.9275 | 678.617 | 709.6671 | 725.3829 | 842.0379 | 810.496 | 8952.5275 | 587.998 | 596.6666 | 478.2406 | 494.6467 | 648.2543 | 693.6151 | 622.2071 | 533.853 | 550.605 | 613.5451 | 677.7058 | 649.8209 | 7147.1582 | -108.0242 | -153.2465 | -100.4993 | -154.42 | -179.0897 | -211.6982 | -157.7205 | -144.764 | -159.0621 | -111.8378 | -164.3321 | -160.6751 | -1805.3693 | -15.52% | -20.44% | -17.37% | -23.79% | -21.65% | -23.38% | -20.22% | -21.33% | -22.41% | -15.42% | -19.52% | -19.82% | -20.17%
Yabulu PS (Townsville) | QTYP | 13.369 | 16.4589 | 17.6482 | 19.0273 | 10.268 | 13.5687 | 5.5922 | 14.7308 | 11.9621 | 18.9194 | 47.7286 | 21.6208 | 210.8942 | 11.6916 | 13.8457 | 15.4099 | 15.5979 | 8.5488 | 10.6454 | 4.6366 | 11.7748 | 9.5773 | 16.5635 | 39.5428 | 17.7566 | 175.5909 | -1.6775 | -2.6132 | -2.2383 | -3.4294 | -1.7193 | -2.9233 | -0.95564 | -2.956 | -2.3848 | -2.3559 | -8.1857 | -3.8642 | -35.3032 | -12.55% | -15.88% | -12.68% | -18.02% | -16.74% | -21.54% | -17.09% | -20.07% | -19.94% | -12.45% | -17.15% | -17.87% | -16.74%
Kogan Creek PS | QWDN | 489.0044 | 429.9837 | 220.5576 | -1.4209 | 235.5516 | 456.8837 | 477.8293 | 432.6093 | 477.4061 | 447.2737 | 372.1183 | 208.8431 | 4246.6399 | 411.73 | 341.1022 | 182.1643 | -1.0747 | 184.9646 | 350.6632 | 380.8769 | 339.972 | 369.3402 | 377.3774 | 301.4531 | 173.1611 | 3411.7304 | -77.2744 | -88.8814 | -38.3933 | 0.34619 | -50.587 | -106.2205 | -96.9523 | -92.6373 | -108.0659 | -69.8963 | -70.6651 | -35.682 | -834.9095 | -15.8% | -20.67% | -17.41% | 24.36% | -21.48% | -23.25% | -20.29% | -21.41% | -22.64% | -15.63% | -18.99% | -17.09% | -19.66%
Wivenhoe Pump | QWIP | -21.6352 | -31.1575 | -31.2561 | -31.1381 | -33.3368 | -19.3142 | -18.5938 | -3.7571 | -9.8531 | -25.2585 | -31.4389 | -35.1792 | -291.9185 | -21.6353 | -31.1576 | -31.2562 | -31.1382 | -33.3369 | -19.3141 | -18.5938 | -3.7571 | -9.8531 | -25.2586 | -31.4389 | -35.1792 | -291.9188 | -0.000135 | -9.2e-05 | -1.9e-05 | -2.5e-05 | -7.2e-05 | 8e-06 | 1.2e-05 | 2.5e-05 | 9e-06 | -3.2e-05 | -1.3e-05 | 2.8e-05 | -0.000306 | -0.000624% | -0.0002953% | -6.079e-05% | -8.029e-05% | -0.000216% | 4.142e-05% | 6.454e-05% | 0.0006654% | 9.134e-05% | -0.0001267% | -4.135e-05% | 7.959e-05% | -0.0001048%
Wivenhoe PS | QWIV | 13.3939 | 19.4321 | 21.5847 | 20.4395 | 22.2142 | 12.4123 | 9.9848 | 2.4572 | 5.7123 | 15.6772 | 20.0893 | 23.6408 | 187.038 | 13.3449 | 19.2996 | 21.4986 | 20.3317 | 22.1254 | 12.3526 | 9.9468 | 2.4321 | 5.6641 | 15.598 | 19.9947 | 23.5332 | 186.1219 | -0.048956 | -0.13242 | -0.086026 | -0.10774 | -0.088771 | -0.059614 | -0.037951 | -0.025125 | -0.048234 | -0.079167 | -0.094578 | -0.10759 | -0.91617 | -0.3655% | -0.6815% | -0.3986% | -0.5271% | -0.3996% | -0.4803% | -0.3801% | -1.023% | -0.8444% | -0.505% | -0.4708% | -0.4551% | -0.4898%
Yabulu Steam Turbine | QYST | -0.092858 | 0.93458 | -0.064093 | -0.10513 | -0.12246 | 1.6067 | -0.092642 | 1.7318 | -0.12789 | -0.12813 | 11.3494 | 4.2024 | 19.0916 | -0.07836 | 0.77522 | -0.05152 | -0.07989 | -0.094975 | 1.2608 | -0.073655 | 1.3575 | -0.098735 | -0.10738 | 9.3798 | 3.3989 | 15.5877 | 0.014498 | -0.15936 | 0.012573 | 0.025236 | 0.027488 | -0.34592 | 0.018987 | -0.37424 | 0.029151 | 0.020752 | -1.9696 | -0.80353 | -3.504 | 15.61% | -17.05% | 19.62% | 24.01% | 22.45% | -21.53% | 20.5% | -21.61% | 22.79% | 16.2% | -17.35% | -19.12% | -18.35%
QLD Wind farms (Note 1)
SA
Generator | TNI | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total
Angaston PS | SANG | -0.11319 | -0.12652 | 0.026456 | -0.096989 | 0.022819 | -0.10317 | 0.11137 | -0.030463 | 0.089595 | -0.096172 | -0.10406 | 0.023179 | -0.39715 | -0.095215 | -0.10015 | 0.0209 | -0.074295 | 0.01416 | -0.07863 | 0.10186 | -0.01837 | 0.075895 | -0.08139 | -0.08426 | 0.01698 | -0.30251 | 0.017973 | 0.026375 | -0.005556 | 0.022694 | -0.008659 | 0.024544 | -0.009504 | 0.012093 | -0.0137 | 0.014782 | 0.019798 | -0.006199 | 0.094641 | 15.88% | 20.85% | -21% | 23.4% | -37.95% | 23.79% | -8.534% | 39.7% | -15.29% | 15.37% | 19.03% | -26.74% | 23.83%
Barker Inlet PS | SBPS | 71.8022 | 51.8676 | 31.877 | 17.4583 | 24.7932 | 6.3519 | 12.3201 | 6.683 | 30.2882 | 42.2746 | 32.9284 | 45.4115 | 374.056 | 61.1378 | 42.491 | 27.8228 | 13.827 | 20.2485 | 5.0447 | 10.2568 | 5.5297 | 24.3563 | 37.231 | 27.6833 | 37.6485 | 313.2774 | -10.6645 | -9.3765 | -4.0542 | -3.6312 | -4.5447 | -1.3072 | -2.0633 | -1.1533 | -5.9319 | -5.0436 | -5.2451 | -7.763 | -60.7786 | -14.85% | -18.08% | -12.72% | -20.8% | -18.33% | -20.58% | -16.75% | -17.26% | -19.58% | -11.93% | -15.93% | -17.09% | -16.25%
Lonsdale Cummins PS | SMVE1 | -0.067437 | -0.070171 | -0.064288 | -0.019772 | -0.009536 | -0.058058 | -0.010455 | -0.041399 | -0.008942 | -0.063872 | -0.058204 | -0.053592 | -0.52573 | -0.05674 | -0.05562 | -0.0529 | -0.01724 | -0.01017 | -0.04433 | -0.00774 | -0.031505 | -0.005365 | -0.05401 | -0.04831 | -0.044035 | -0.42796 | 0.010697 | 0.014551 | 0.011388 | 0.002532 | -0.000634 | 0.013728 | 0.002715 | 0.009894 | 0.003577 | 0.009862 | 0.009894 | 0.009557 | 0.097761 | 15.86% | 20.74% | 17.71% | 12.81% | -6.648% | 23.65% | 25.97% | 23.9% | 40% | 15.44% | 17% | 17.83% | 18.6%
Dry Creek PS Units 1 and 2 | SDPS | 0.33094 | 0.42682 | 0.010708 | 0.23805 | 0.26267 | 0.034688 | 0.61756 | 0 | 0.19684 | 2.9755 | 1.4431 | 1.673 | 8.2099 | 0.28903 | 0.36991 | 0.008845 | 0.19318 | 0.21376 | 0.025315 | 0.53664 | 0 | 0.15946 | 2.5567 | 1.2416 | 1.374 | 6.9684 | -0.041908 | -0.056912 | -0.001863 | -0.044878 | -0.048913 | -0.009373 | -0.080922 | 0 | -0.03738 | -0.41881 | -0.20151 | -0.29899 | -1.2415 | -12.66% | -13.33% | -17.4% | -18.85% | -18.62% | -27.02% | -13.1% | 0% | -18.99% | -14.08% | -13.96% | -17.87% | -15.12%
Dry Creek PS Unit 3 | SDPS3 | 0.58665 | 0.53762 | 0 | 0.35968 | 0.41587 | 0.076237 | 0.55979 | 0.042688 | 0.11931 | 1.7852 | 1.4386 | 0.68653 | 6.6081 | 0.51581 | 0.45211 | 0 | 0.2786 | 0.34476 | 0.05952 | 0.46122 | 0.036235 | 0.090075 | 1.4564 | 1.2098 | 0.55964 | 5.4642 | -0.070841 | -0.085513 | 0 | -0.081084 | -0.071108 | -0.016717 | -0.098577 | -0.006453 | -0.029238 | -0.32882 | -0.22872 | -0.12689 | -1.144 | -12.08% | -15.91% | 0% | -22.54% | -17.1% | -21.93% | -17.61% | -15.12% | -24.51% | -18.42% | -15.9% | -18.48% | -17.31%
Hallett PS | SHPS | 5.5334 | 3.4033 | 0.93521 | 1.5831 | 3.5726 | -0.025965 | 2.5846 | 1.2405 | 2.8319 | 3.8611 | 6.1145 | 10.2509 | 41.8851 | 4.6858 | 2.8772 | 0.84364 | 1.2653 | 2.7585 | -0.013745 | 2.1979 | 1.0624 | 2.2696 | 3.3498 | 5.1846 | 8.4224 | 34.9035 | -0.8476 | -0.52606 | -0.091569 | -0.3178 | -0.81411 | 0.01222 | -0.38676 | -0.17805 | -0.56232 | -0.51125 | -0.9299 | -1.8284 | -6.9816 | -15.32% | -15.46% | -9.791% | -20.07% | -22.79% | 47.06% | -14.96% | -14.35% | -19.86% | -13.24% | -15.21% | -17.84% | -16.67%
Mintaro PS | SMPS | 0.29409 | 0.671 | 0 | 0 | 0.68108 | 0.57583 | 0.38859 | 0.13928 | 0.46716 | 6.0865 | 4.1836 | 6.0078 | 19.4949 | 0.26315 | 0.57018 | 0 | 0 | 0.53266 | 0.44875 | 0.33276 | 0.11236 | 0.33638 | 5.1875 | 3.5188 | 4.9594 | 16.2619 | -0.030942 | -0.10081 | 0 | 0 | -0.14842 | -0.12709 | -0.055831 | -0.026926 | -0.13078 | -0.89896 | -0.66483 | -1.0484 | -3.233 | -10.52% | -15.02% | 0% | 0% | -21.79% | -22.07% | -14.37% | -19.33% | -28% | -14.77% | -15.89% | -17.45% | -16.58%
OCPL PS | SOCP | 105.4406 | 30.5373 | 19.5217 | 73.8667 | 58.6541 | 2.4806 | 7.3941 | 3.6701 | 0 | 44.382 | 8.1463 | 17.6795 | 371.773 | 89.3012 | 25.7256 | 16.597 | 56.8572 | 45.6066 | 1.9684 | 5.94 | 2.8393 | 0 | 37.758 | 6.8005 | 15.0149 | 304.4087 | -16.1394 | -4.8117 | -2.9247 | -17.0095 | -13.0475 | -0.51227 | -1.4541 | -0.83076 | 0 | -6.624 | -1.3458 | -2.6645 | -67.3644 | -15.31% | -15.76% | -14.98% | -23.03% | -22.24% | -20.65% | -19.67% | -22.64% | 0% | -14.93% | -16.52% | -15.07% | -18.12%
Ladbroke Grove PS | SPEW | 19.3127 | 15.3723 | 3.4132 | 5.2796 | 5.3248 | 2.8219 | 2.7867 | 3.6182 | 8.6228 | 5.9195 | 3.1496 | 7.2496 | 82.8708 | 15.825 | 12.1691 | 2.8858 | 4.0424 | 4.251 | 2.0335 | 2.1429 | 2.6511 | 6.1565 | 5.0545 | 2.6416 | 5.8092 | 65.6625 | -3.4876 | -3.2032 | -0.52737 | -1.2372 | -1.0738 | -0.78841 | -0.64383 | -0.9671 | -2.4663 | -0.86505 | -0.50799 | -1.4404 | -17.2083 | -18.06% | -20.84% | -15.45% | -23.43% | -20.17% | -27.94% | -23.1% | -26.73% | -28.6% | -14.61% | -16.13% | -19.87% | -20.77%
Port Lincoln PS Unit 3 (33 kV) | SPL3 | -0.002671 | 0.033512 | 0.28766 | 0.052725 | 0.12084 | 0.21585 | 0.25287 | 0.14488 | 0.15997 | 0.05843 | 0.004189 | 0.033668 | 1.3619 | -0.007425 | -0.006335 | -0.005945 | -0.00113 | -0.004155 | -0.00588 | 0.03823 | -0.00268 | 0.03806 | 0.04476 | -0.003625 | -0.000305 | 0.08357 | -0.004754 | -0.039847 | -0.29361 | -0.053855 | -0.12499 | -0.22173 | -0.21464 | -0.14756 | -0.12191 | -0.01367 | -0.007814 | -0.033973 | -1.2783 | <-100% | <-100% | <-100% | <-100% | <-100% | <-100% | -84.88% | <-100% | -76.21% | -23.4% | <-100% | <-100% | -93.86%
Port Stanvac PS | SMVE3P | 0.017767 | 0.066586 | 0 | 0.094327 | 0.14448 | 0.012614 | 0.32942 | 0.19969 | 0.34564 | 0.06236 | 0.012487 | 0.087402 | 1.3728 | 0.01441 | 0.057395 | 0 | 0.06459 | 0.10084 | 0.00953 | 0.27977 | 0.16795 | 0.27791 | 0.055795 | 0.01085 | 0.064205 | 1.1033 | -0.003357 | -0.009191 | 0 | -0.029737 | -0.043633 | -0.003084 | -0.049653 | -0.031733 | -0.067731 | -0.006565 | -0.001637 | -0.023197 | -0.26952 | -18.89% | -13.8% | 0% | -31.53% | -30.2% | -24.45% | -15.07% | -15.89% | -19.6% | -10.53% | -13.11% | -26.54% | -19.63%
Pelican Point PS | SPPT | 301.7968 | 268.488 | 206.7056 | 238.4892 | 203.5308 | 195.331 | 165.0927 | 139.0028 | 143.955 | 135.57 | 244.6027 | 253.9823 | 2496.5469 | 253.5394 | 216.2673 | 172.4969 | 183.9494 | 161.3193 | 150.5818 | 132.3038 | 110.3134 | 111.9491 | 117.0973 | 200.3904 | 206.7475 | 2016.9555 | -48.2574 | -52.2208 | -34.2087 | -54.5397 | -42.2115 | -44.7493 | -32.789 | -28.6894 | -32.0059 | -18.4727 | -44.2124 | -47.2348 | -479.5914 | -15.99% | -19.45% | -16.55% | -22.87% | -20.74% | -22.91% | -19.86% | -20.64% | -22.23% | -13.63% | -18.08% | -18.6% | -19.21%
Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | -0.017214 | -0.016251 | -0.001889 | -0.003098 | -0.009447 | -0.016924 | 0.05353 | -0.020061 | 0.089363 | 0.20875 | -0.010331 | 0.01592 | 0.27235 | -0.014445 | -0.013115 | -0.0008 | -0.00221 | -0.00837 | -0.01258 | 0.0458 | -0.015535 | 0.07204 | 0.18649 | -0.009345 | 0.01294 | 0.24087 | 0.002769 | 0.003136 | 0.001089 | 0.000888 | 0.001077 | 0.004344 | -0.00773 | 0.004526 | -0.017323 | -0.022263 | 0.000986 | -0.00298 | -0.031481 | 16.09% | 19.3% | 57.65% | 28.66% | 11.4% | 25.67% | -14.44% | 22.56% | -19.38% | -10.67% | 9.544% | -18.72% | -11.56%
Quarantine PS | SQPS | 17.701 | 11.6961 | 8.9825 | 4.5831 | 4.642 | 1.2022 | 3.6351 | 6.7374 | 11.4812 | 18.6433 | 19.6093 | 18.8239 | 127.737 | 14.6386 | 9.2359 | 7.6425 | 3.6749 | 3.5705 | 0.84288 | 2.7866 | 4.9126 | 7.8064 | 15.8819 | 16.0505 | 15.1105 | 102.1537 | -3.0624 | -2.4602 | -1.3399 | -0.90824 | -1.0715 | -0.35934 | -0.84852 | -1.8248 | -3.6748 | -2.7614 | -3.5589 | -3.7133 | -25.5833 | -17.3% | -21.03% | -14.92% | -19.82% | -23.08% | -29.89% | -23.34% | -27.08% | -32.01% | -14.81% | -18.15% | -19.73% | -20.03%
Snuggery PS | SSPS | -0.083045 | -0.068857 | -0.081257 | -0.080016 | -0.053886 | -0.077154 | 0.043036 | -0.065996 | 0.13053 | 0.12579 | -0.063066 | -0.034579 | -0.3085 | -0.070065 | -0.05408 | -0.066575 | -0.06046 | -0.043375 | -0.058705 | 0.034725 | -0.05298 | 0.10163 | 0.11044 | -0.05037 | -0.028805 | -0.23862 | 0.01298 | 0.014777 | 0.014682 | 0.019556 | 0.010511 | 0.018449 | -0.008311 | 0.013016 | -0.028898 | -0.015343 | 0.012696 | 0.005774 | 0.069889 | 15.63% | 21.46% | 18.07% | 24.44% | 19.51% | 23.91% | -19.31% | 19.72% | -22.14% | -12.2% | 20.13% | 16.7% | 22.65%
Torrens Island PS A and B | STPS | 274.4399 | 200.1555 | 110.6791 | 58.82 | 81.4769 | 81.4188 | 94.9749 | 93.2139 | 97.8167 | 134.1532 | 146.8002 | 177.311 | 1551.26 | 216.8753 | 144.6498 | 80.7587 | 44.7947 | 63.3351 | 61.5682 | 72.0541 | 73.2839 | 73.9343 | 82.1629 | 92.2279 | 121.0075 | 1126.6525 | -57.5646 | -55.5057 | -29.9203 | -14.0253 | -18.1418 | -19.8506 | -22.9208 | -19.93 | -23.8823 | -51.9904 | -54.5723 | -56.3035 | -424.6075 | -20.98% | -27.73% | -27.03% | -23.84% | -22.27% | -24.38% | -24.13% | -21.38% | -24.42% | -38.75% | -37.17% | -31.75% | -27.37%
SA Wind farms (Note 1)
TAS
Generator | TNI | 2020-07-01 | 2020-08-01 | 2020-09-01 | 2020-10-01 | 2020-11-01 | 2020-12-01 | 2021-01-01 | 2021-02-01 | 2021-03-01 | 2021-04-01 | 2021-05-01 | 2021-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total | 2022-07-01 | 2022-08-01 | 2022-09-01 | 2022-10-01 | 2022-11-01 | 2022-12-01 | 2023-01-01 | 2023-02-01 | 2023-03-01 | 2023-04-01 | 2023-05-01 | 2023-06-01 | Grand Total
Bell Bay and Tamar Valley OCGT | TBB1 | 22.6555 | 24.2158 | 4.5365 | 2.9946 | 7.5144 | 0.38436 | 1.5424 | 0.12208 | 0.035557 | 1.4896 | 7.5664 | 7.7575 | 80.8148 | 45.3087 | 38.1117 | 44.5642 | 43.9684 | 41.103 | 36.9152 | 32.719 | 29.0377 | 30.7163 | 35.9779 | 40.5663 | 49.3246 | 468.3131 | 22.6532 | 13.8958 | 40.0278 | 40.9737 | 33.5886 | 36.5309 | 31.1766 | 28.9157 | 30.6808 | 34.4883 | 32.9999 | 41.5671 | 387.4984 | 99.99% | 57.38% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100%
Cethana | TCE1 | 24.9817 | 22.0036 | 40.9485 | 41.0682 | 6.0028 | 10.8375 | 6.8907 | 11.7705 | 15.3927 | 35.3352 | 33.2172 | 39.7382 | 288.1868 | 24.9381 | 21.6475 | 40.7716 | 40.5706 | 5.9572 | 10.7375 | 6.8461 | 11.6629 | 15.3284 | 34.9744 | 33.0698 | 39.5771 | 286.0812 | -0.043598 | -0.35605 | -0.17691 | -0.49759 | -0.045593 | -0.10008 | -0.044528 | -0.1076 | -0.064322 | -0.36078 | -0.14737 | -0.16115 | -2.1056 | -0.1745% | -1.618% | -0.432% | -1.212% | -0.7595% | -0.9234% | -0.6462% | -0.9142% | -0.4179% | -1.021% | -0.4437% | -0.4055% | -0.7306%
Devils Gate | TDG1 | 18.2813 | 15.1043 | 29.8348 | 32.0522 | 3.5843 | 8.0619 | 4.8884 | 13.885 | 11.5767 | 26.9123 | 24.0882 | 28.5325 | 216.802 | 18.23 | 14.8827 | 29.6986 | 31.818 | 3.5607 | 8.0219 | 4.8794 | 13.8486 | 11.5231 | 26.8639 | 24.0004 | 28.4794 | 215.8068 | -0.051308 | -0.22167 | -0.13622 | -0.23416 | -0.023614 | -0.039931 | -0.009029 | -0.036416 | -0.053595 | -0.048325 | -0.087817 | -0.053188 | -0.99528 | -0.2807% | -1.468% | -0.4566% | -0.7306% | -0.6588% | -0.4953% | -0.1847% | -0.2623% | -0.463% | -0.1796% | -0.3646% | -0.1864% | -0.4591%
Bastyan | TFA1 | 24.7792 | 17.8728 | 35.5824 | 23.9053 | 6.6228 | 15.6978 | 8.1285 | 15.1794 | 29.5287 | 44.6202 | 46.3473 | 37.2985 | 305.5629 | 24.6341 | 17.7162 | 35.4784 | 23.8522 | 6.5905 | 15.6344 | 8.0665 | 15.1286 | 29.4511 | 44.5884 | 46.2894 | 37.2417 | 304.6713 | -0.14505 | -0.15658 | -0.10405 | -0.053162 | -0.032303 | -0.063399 | -0.061975 | -0.050818 | -0.07756 | -0.031865 | -0.05793 | -0.056843 | -0.89153 | -0.5854% | -0.8761% | -0.2924% | -0.2224% | -0.4878% | -0.4039% | -0.7624% | -0.3348% | -0.2627% | -0.07141% | -0.125% | -0.1524% | -0.2918%
Gordon | TGO1 | 254.1898 | 190.8424 | 83.7928 | 105.3835 | 123.264 | 88.1053 | 10.9424 | 8.7646 | 15.0057 | 26.7204 | 46.7083 | 156.899 | 1110.6181 | 252.4862 | 189.0007 | 83.6973 | 105.3563 | 122.997 | 88.0589 | 11.0167 | 8.7646 | 15.0056 | 26.7483 | 47.2274 | 156.8543 | 1107.2132 | -1.7036 | -1.8417 | -0.095552 | -0.027253 | -0.267 | -0.046447 | 0.074326 | 5.1e-05 | -4.3e-05 | 0.027984 | 0.51905 | -0.044787 | -3.405 | -0.6702% | -0.965% | -0.114% | -0.02586% | -0.2166% | -0.05272% | 0.6793% | 0.0005819% | -0.0002866% | 0.1047% | 1.111% | -0.02855% | -0.3066%
John Butters | TJB1 | 47.0386 | 33.7893 | 8.4095 | 29.5639 | 35.871 | 12.5516 | 43.9761 | 62.1014 | 54.0724 | 60.7978 | 0 | 1.844 | 390.0156 | 46.9307 | 33.6323 | 8.387 | 29.5014 | 35.7498 | 12.4786 | 43.9652 | 62.0787 | 54.0401 | 60.7726 | 0.29524 | 1.8591 | 389.6908 | -0.10796 | -0.15699 | -0.022521 | -0.062482 | -0.12124 | -0.072997 | -0.010927 | -0.022728 | -0.032205 | -0.025168 | 0.29524 | 0.015154 | -0.32483 | -0.2295% | -0.4646% | -0.2678% | -0.2113% | -0.338% | -0.5816% | -0.02485% | -0.0366% | -0.05956% | -0.0414% | 0% | 0.8218% | -0.08329%
Lake Echo | TLE1 | 11.0274 | 7.0004 | 0 | 0 | 15.1205 | 18.0015 | 2.0334 | 9.4979 | 7.9789 | 0 | 0 | 0 | 70.6599 | 10.9654 | 6.9699 | 0.01012 | 0.002195 | 15.0749 | 17.9764 | 2.0394 | 9.4949 | 7.9775 | 0.004935 | 0.05775 | 0.01628 | 70.5897 | -0.062011 | -0.030478 | 0.01012 | 0.002195 | -0.045513 | -0.025082 | 0.00593 | -0.00293 | -0.001387 | 0.004935 | 0.05775 | 0.01628 | -0.070191 | -0.5623% | -0.4354% | 0% | 0% | -0.301% | -0.1393% | 0.2916% | -0.03085% | -0.01738% | 0% | 0% | 0% | -0.09934%
Liapootah, Wayatinah and Catagunya | TLI1 | 91.574 | 77.5953 | 83.7958 | 97.256 | 67.5477 | 66.7934 | 56.5613 | 48.5281 | 55.5146 | 46.0907 | 68.8289 | 85.3437 | 845.4295 | 91.005 | 76.7179 | 83.64 | 97.209 | 67.4333 | 66.7083 | 56.5734 | 48.5275 | 55.5142 | 46.1098 | 68.904 | 85.3636 | 843.7058 | -0.56902 | -0.87745 | -0.15577 | -0.047035 | -0.11438 | -0.085099 | 0.012101 | -0.000659 | -0.000376 | 0.019077 | 0.075076 | 0.019809 | -1.7237 | -0.6214% | -1.131% | -0.1859% | -0.04836% | -0.1693% | -0.1274% | 0.02139% | -0.001358% | -0.0006773% | 0.04139% | 0.1091% | 0.02321% | -0.2039%
Mackintosh | TMA1 | 21.5242 | 15.1503 | 33.4405 | 22.3795 | 6.33 | 15.3125 | 7.4701 | 15.6946 | 28.7704 | 42.9146 | 44.1055 | 34.9787 | 288.0709 | 21.4754 | 15.042 | 33.2707 | 21.9007 | 6.3197 | 14.9399 | 7.3239 | 15.3482 | 28.4558 | 42.85 | 44.0849 | 34.93 | 285.9413 | -0.048858 | -0.10828 | -0.16975 | -0.47878 | -0.010207 | -0.37256 | -0.14617 | -0.34646 | -0.31459 | -0.064591 | -0.020594 | -0.048746 | -2.1296 | -0.227% | -0.7147% | -0.5076% | -2.139% | -0.1612% | -2.433% | -1.957% | -2.207% | -1.093% | -0.1505% | -0.04669% | -0.1394% | -0.7393%
Meadowbank | TMB1 | 0 | 0 | 0.33512 | 24.3003 | 10.9275 | 10.946 | 8.2806 | 4.0654 | 7.8457 | 12.6432 | 11.9329 | 16.9861 | 108.2629 | 0.059635 | 0.0329 | 0.34723 | 24.2829 | 10.9098 | 10.9332 | 8.2865 | 4.0654 | 7.8458 | 12.6419 | 11.9415 | 16.9801 | 108.3268 | 0.059635 | 0.0329 | 0.012108 | -0.017395 | -0.017697 | -0.012809 | 0.005889 | -4e-06 | 4.8e-05 | -0.001329 | 0.008597 | -0.006036 | 0.063907 | 0% | 0% | 3.613% | -0.07158% | -0.1619% | -0.117% | 0.07112% | -9.839e-05% | 0.0006118% | -0.01051% | 0.07204% | -0.03553% | 0.05903%
Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 82.1314 | 22.5565 | 1.085 | 3.2186 | 17.7977 | 25.2153 | 83.1974 | 61.8614 | 88.9896 | 86.9116 | 135.6878 | 86.4632 | 695.1154 | 81.8926 | 22.4724 | 1.1977 | 3.2135 | 17.7676 | 25.1648 | 83.1595 | 61.8534 | 88.9896 | 86.8765 | 135.5343 | 86.385 | 694.507 | -0.23881 | -0.084164 | 0.11275 | -0.005061 | -0.030028 | -0.050507 | -0.037918 | -0.008005 | 2e-05 | -0.035077 | -0.1535 | -0.078124 | -0.60843 | -0.2908% | -0.3731% | 10.39% | -0.1572% | -0.1687% | -0.2003% | -0.04558% | -0.01294% | 2.247e-05% | -0.04036% | -0.1131% | -0.09036% | -0.08753%
Poatina 1 and 2 (110 kV) | TPM2 | 44.5516 | 14.8161 | 3.3573 | 0.57447 | 14.0721 | 12.6917 | 56.622 | 40.1386 | 61.0716 | 55.8078 | 69.352 | 45.3097 | 418.3649 | 44.4513 | 14.697 | 3.3875 | 0.58773 | 14.06 | 12.6707 | 56.6148 | 40.1081 | 61.0291 | 55.788 | 69.364 | 45.3148 | 418.0728 | -0.10028 | -0.11913 | 0.030138 | 0.013264 | -0.01212 | -0.021027 | -0.007142 | -0.030456 | -0.042507 | -0.019819 | 0.011942 | 0.005119 | -0.29202 | -0.2251% | -0.8041% | 0.8977% | 2.309% | -0.08613% | -0.1657% | -0.01261% | -0.07588% | -0.0696% | -0.03551% | 0.01722% | 0.0113% | -0.0698%
Reece 1 | TRCA | 23.3986 | 27.7266 | 52.5517 | 40.3721 | 13.6613 | 37.1371 | 11.6601 | 10.0756 | 21.1095 | 57.6924 | 51.9644 | 46.4305 | 393.7799 | 23.4611 | 27.4865 | 52.0667 | 39.9692 | 13.5126 | 36.4095 | 11.5407 | 10.0343 | 20.9619 | 56.9811 | 51.7536 | 46.0788 | 390.256 | 0.062434 | -0.24009 | -0.48501 | -0.40295 | -0.14871 | -0.72759 | -0.11934 | -0.041304 | -0.14757 | -0.7113 | -0.21082 | -0.35168 | -3.5239 | 0.2668% | -0.8659% | -0.9229% | -0.9981% | -1.089% | -1.959% | -1.023% | -0.4099% | -0.6991% | -1.233% | -0.4057% | -0.7574% | -0.8949%
Reece 2 | TRCB | 45.2565 | 19.761 | 45.5992 | 28.7496 | 0.79222 | 3.5418 | 6.6446 | 28.9506 | 45.8029 | 52.9703 | 49.532 | 47.1253 | 374.7259 | 44.9545 | 19.5901 | 45.2808 | 28.4029 | 0.84191 | 3.4975 | 6.5601 | 28.8146 | 45.4821 | 52.4966 | 49.4805 | 46.7835 | 372.1851 | -0.30199 | -0.17083 | -0.31839 | -0.34668 | 0.049686 | -0.044247 | -0.084546 | -0.13597 | -0.32081 | -0.47369 | -0.051525 | -0.34182 | -2.5408 | -0.6673% | -0.8645% | -0.6982% | -1.206% | 6.272% | -1.249% | -1.272% | -0.4697% | -0.7004% | -0.8943% | -0.104% | -0.7253% | -0.678%
Lemonthyme / Wilmot | TSH1 | 25.3012 | 15.4091 | 39.5118 | 40.2404 | 8.0624 | 7.8441 | 7.0971 | 20.5553 | 19.2497 | 38.2199 | 38.3722 | 45.5626 | 305.4257 | 25.1847 | 15.2556 | 39.4243 | 40.2005 | 8.0184 | 7.8002 | 7.0769 | 20.5135 | 19.2121 | 38.1308 | 38.3078 | 45.5242 | 304.649 | -0.1165 | -0.15346 | -0.087468 | -0.039874 | -0.044027 | -0.04382 | -0.020239 | -0.041847 | -0.037546 | -0.089049 | -0.064431 | -0.038349 | -0.77661 | -0.4604% | -0.9959% | -0.2214% | -0.09909% | -0.5461% | -0.5586% | -0.2852% | -0.2036% | -0.195% | -0.233% | -0.1679% | -0.08417% | -0.2543%
Tarraleah | TTA1 | 56.1412 | 56.0879 | 54.0697 | 55.74 | 53.2615 | 54.3454 | 53.0718 | 47.1245 | 50.3765 | 32.4427 | 55.3576 | 54.8051 | 622.8238 | 50.9695 | 50.622 | 49.5593 | 51.3006 | 49.5744 | 52.7538 | 52.743 | 47.1115 | 50.3764 | 31.6924 | 51.3204 | 49.2779 | 587.3012 | -5.1717 | -5.4659 | -4.5104 | -4.4394 | -3.6871 | -1.5916 | -0.32874 | -0.013003 | -8.1e-05 | -0.75029 | -4.0372 | -5.5272 | -35.5226 | -9.212% | -9.745% | -8.342% | -7.964% | -6.923% | -2.929% | -0.6194% | -0.02759% | -0.0001608% | -2.313% | -7.293% | -10.09% | -5.703%
Tribute | TTI1 | 19.3052 | 16.2533 | 30.2363 | 16.8087 | 10.0393 | 23.7593 | 1.818 | 0 | 21.1753 | 29.1978 | 23.8228 | 19.2266 | 211.6423 | 19.125 | 16.0978 | 29.7149 | 16.6866 | 9.9249 | 23.4317 | 1.8091 | 0 | 21.0489 | 29.0266 | 23.6584 | 19.0912 | 209.6151 | -0.18018 | -0.1555 | -0.52139 | -0.12207 | -0.11438 | -0.32754 | -0.008858 | 0 | -0.1264 | -0.17115 | -0.16439 | -0.13539 | -2.0273 | -0.9333% | -0.9568% | -1.724% | -0.7262% | -1.139% | -1.379% | -0.4872% | 0% | -0.5969% | -0.5862% | -0.69% | -0.7042% | -0.9579%
Trevallyn | TTR1 | 48.3055 | 50.7398 | 22.0271 | 41.148 | 14.3652 | 20.1853 | 29.5286 | 31.8511 | 26.1143 | 34.007 | 41.69 | 45.7496 | 405.7115 | 48.0276 | 50.2053 | 21.9763 | 41.1308 | 14.3431 | 20.1477 | 29.5361 | 31.841 | 26.1148 | 34.01 | 41.7839 | 45.7728 | 404.8894 | -0.27787 | -0.53453 | -0.05079 | -0.017247 | -0.022093 | -0.037637 | 0.007527 | -0.010155 | 0.00047 | 0.003017 | 0.093894 | 0.023274 | -0.82214 | -0.5752% | -1.053% | -0.2306% | -0.04191% | -0.1538% | -0.1865% | 0.02549% | -0.03188% | 0.0018% | 0.008872% | 0.2252% | 0.05087% | -0.2026%
Tungatinah | TTU1 | 74.2324 | 39.5234 | 52.8314 | 59.4323 | 33.2257 | 27.2205 | 18.5625 | 13.5113 | 18.7507 | 42.4337 | 29.1123 | 50.5655 | 459.4018 | 72.9957 | 39.1758 | 51.8502 | 58.6459 | 33.0515 | 27.1315 | 18.5226 | 13.4479 | 18.7435 | 41.9388 | 28.9995 | 49.7169 | 454.2197 | -1.2367 | -0.34763 | -0.98122 | -0.78636 | -0.17426 | -0.089022 | -0.03986 | -0.063458 | -0.007267 | -0.49494 | -0.11277 | -0.84863 | -5.1821 | -1.666% | -0.8796% | -1.857% | -1.323% | -0.5245% | -0.327% | -0.2147% | -0.4697% | -0.03876% | -1.166% | -0.3874% | -1.678% | -1.128%
Tamar Valley CCGT | TTV1 | 0.000744 | 0.000744 | 0.00072 | 0.000744 | 0.00072 | 0.000744 | 0.000744 | 0.000672 | 0.000744 | 0.00072 | 0.000744 | 0.00072 | 0.00876 | 0.001375 | 0.000765 | 0.000365 | 7e-05 | 0.00022 | 5e-06 | 0.00022 | 0 | 0 | 0.000185 | 0.002135 | 0.000605 | 0.005945 | 0.000631 | 2.1e-05 | -0.000355 | -0.000674 | -0.0005 | -0.000739 | -0.000524 | -0.000672 | -0.000744 | -0.000535 | 0.001391 | -0.000115 | -0.002815 | 84.81% | 2.823% | -49.31% | -90.59% | -69.44% | -99.33% | -70.43% | -100% | -100% | -74.31% | >100% | -15.97% | -32.13%
TAS Wind farms (Note 1)
Fisher/Rowallan (Note 2)
Note 1
Wind farms and solar farms are not shown since per clause 5.5.7 of the Methodology, the output of transmission connected wind farms and solar farms are not adjusted.
Note 2
Fisher, a Scheduled generator, and Rowallan, a Non-Scheduled generator, are connected at the same TNI (TFI1).
For simplicity Fisher and Rowallan are combined and defined as a Non-Scheduled generator during MLF calculations. Therefore, these units are not dispatched and their monthly energy not included above.
Note 3
Reference year data is adjusted to reflect past and future outages.