## Summary
Region | Generator | TNI | 2023/24 Forecast Generator Energy at TNI (GWh) (Note 1) | 2023/24 Forecast Generator Energy (GWh) at Station
QLD | Barcaldine PS | QBCG | 7.1647 | 7.1647 | Note 1
QLD | Barron Gorge PS | QBGH | 219.198 | 219.198 | Monthly Generator Energy for 2021/22 Historical and 2023/24 Forecast are in 'Detailed' sheet
QLD | Braemar PS Units 1, 2 and 3 | QBRA | 492.2849 | 2816.7767
QLD | Braemar PS Units 5, 6 and 7 | QBRA | 514.8665
QLD | Darling Downs PS | QBRA | 1809.6253
QLD | Callide B PS | QCAB | 3677.3267 | 3677.3267
QLD | Callide C PS | QCAC | 5488.4487 | 5488.4487
QLD | Condamine PS | QCND | 199.6853 | 199.6853
QLD | Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 4476.0202 | 4476.0202
QLD | Gladstone PS Units 3 and 4 (132 kV) | QGLL | 2001.5367 | 2001.5367
QLD | Kareeya PS | QKYH | 450.735 | 450.735
QLD | Mackay GT | QMKG | 0 | 0
QLD | Millmerran PS | QMLN | 5526.7383 | 5526.7383
QLD | Mt Stuart PS unit 1 and 2 | QMSP | 42.9563 | 69.8888
QLD | Mt Stuart PS unit 3 | QMSP | 26.9325
QLD | Oakey PS | QOKY | 99.3309 | 99.3309
QLD | Roma PS | QRMA | 47.289 | 47.289
QLD | Stanwell PS | QSTN | 7351.4639 | 7351.4639
QLD | Swanbank E GT | QSWE | 206.7573 | 206.7573
QLD | Tarong North PS | QTNT | 2837.0388 | 2837.0388
QLD | Tarong PS | QTRN | 6647.6905 | 6647.6905
QLD | Yabulu PS (Townsville) | QTYP | 109.1481 | 109.1481
QLD | Kogan Creek PS | QWDN | 4556.882 | 4556.882
QLD | Wivenhoe Pump | QWIP | -612.5469 | -612.5469
QLD | Wivenhoe PS | QWIV | 394.8335 | 394.8335
QLD | Yabulu Steam Turbine | QYST | 7.312 | 7.312
NSW | Bayswater PS Units 1 and 2 (330 kV) | NBAY | 6043.4854 | 13309.3857
NSW | Bayswater PS Units 3 and 4 (500 kV) | NBYW | 7265.9002
NSW | Blowering PS | NBLW | 317.6024 | 317.6024
NSW | Colongra PS | NCLG | 256.8523 | 256.8523
NSW | Eraring PS Units 1 and 2 (330 kV) | NEP3 | 5347.4818 | 11656.821
NSW | Eraring PS Units 3 and 4 (500 kV) | NEPS | 6309.3392
NSW | Guthega PS | NGUT | 181.6736 | 181.6736
NSW | Hume PS (NSW Share) | NHUM | 196.5797 | 196.5797
NSW | Liddell PS | NLDP | 0 | 0
NSW | Lower Tumut PS | NLTS | 395.8273 | 395.8273
NSW | Mount Piper PS | NMTP | 5442.1706 | 5442.1706
NSW | Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | -2.128 | -2.128
NSW | Smithfield Energy Facility | NHD2 | 50.4675 | 50.4675
NSW | Tallawarra PS | NTWA | 1445.1816 | 1445.1816
NSW | Uranquinty PS | NURQ | 323.2102 | 323.2102
NSW | Upper Tumut PS | NUTS | 1271.0371 | 1271.0371
NSW | Vales Point PS | NVPP | 6234.6938 | 6234.6938
VIC | Guthega - Jindabyne Pump | NGJP | -170.2293 | -170.2293
VIC | Murray PS | NMUR | 1992.8722 | 1992.8722
VIC | Laverton PS | VAT2 | 157.171 | 157.171
VIC | Bairnsdale PS | VBDL | 52.4968 | 52.4968
VIC | Dartmouth PS | VDPS | 53.034 | 53.034
VIC | Eildon PS | VEPS | 89.1491 | 89.1491
VIC | Hume PS (Victorian Share) | VHUM | 6.0193 | 6.0193
VIC | Jeeralang PS A and B | VJLG | 81.6552 | 81.6552
VIC | Loy Yang PS A | VLYP | 14030.6158 | 21706.1663
VIC | Loy Yang PS B | VLYP | 7675.5505
VIC | Mortlake PS | VM0P | 419.3011 | 419.3011
VIC | Newport PS | VNPS | 488.9678 | 488.9678
VIC | Somerton PS | VSOM | 61.0398 | 61.0398
VIC | Bogong PS And McKay PS | VT14 | 235.0071 | 235.0071
VIC | Valley Power | VLYP7 | 66.7792 | 66.7792
VIC | West Kiewa PS | VWKP | 143.6442 | 143.6442
VIC | Yallourn PS Units 2, 3 and 4 | VYP2 | 5850.7598 | 5850.7598
VIC | Yallourn PS Unit 1 220 kV | VYP3 | 29.9413 | 1531.5242
VIC | Yallourn PS Unit 1 500 kV (Note 2) | VYP3 | 1501.5829
SA | Angaston PS | SANG | 8.7438 | 8.7438
SA | Barker Inlet PS | SBPS | 280.2361 | 280.2361
SA | Cummins Lonsdale PS | SMVE | 2.7639 | 2.7639
SA | Dry Creek PS Units 1 and 2 | SDPS | 11.5811 | 24.0126
SA | Dry Creek PS Unit 3 | SDPS | 12.4314
SA | Hallett PS | SHPS | 70.2327 | 70.2327
SA | Mintaro PS | SMPS | 2.377 | 2.377
SA | OCPL PS | SOCP | 547.1682 | 547.1682
SA | Ladbroke Grove PS | SPEW | 37.7931 | 37.7931
SA | Port Lincoln PS Unit 3 (33 kV) | SPL3 | -0.678 | -0.678
SA | Port Stanvac PS | SMVE | 13.1693 | 13.1693
SA | Pelican Point PS | SPPT | 1712.3246 | 1712.3246
SA | Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 2.5311 | 2.5311
SA | Quarantine PS | SQPS | 77.4125 | 77.4125
SA | Snuggery PS | SSPS | 2.5746 | 2.5746
SA | Torrens Island PS A and B | STPS | 728.5554 | 728.5554
TAS | Bell Bay and Tamar Valley OCGT | TBB1 | 1045.324 | 1045.324
TAS | Cethana | TCE1 | 367.8998 | 367.8998
TAS | Devils Gate | TDG1 | 266.9954 | 266.9954
TAS | Bastyan | TFA1 | 323.0107 | 323.0107
TAS | Gordon | TGO1 | 1626.4926 | 1626.4926
TAS | John Butters | TJB1 | 493.8016 | 493.8016
TAS | Lake Echo | TLE1 | 3.1247 | 3.1247
TAS | Liapootah, Wayatinah and Catagunya | TLI1 | 827.3135 | 827.3135
TAS | Mackintosh | TMA1 | 304.2884 | 304.2884
TAS | Meadowbank | TMB1 | 183.1 | 183.1
TAS | Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 896.6288 | 1306.5245
TAS | Poatina 1 and 2 (110 kV) | TPM2 | 409.8957
TAS | Reece 1 | TRCA | 421.8429 | 853.7655
TAS | Reece 2 | TRCB | 431.9227
TAS | Lemonthyme / Wilmot | TSH1 | 394.9801 | 394.9801
TAS | Tarraleah | TTA1 | 562.7881 | 562.7881
TAS | Tribute | TTI1 | 213.2084 | 213.2084
TAS | Trevallyn | TTR1 | 451.121 | 451.121
TAS | Tungatinah | TTU1 | 474.8905 | 474.8905
TAS | Tamar Valley CCGT | TTV1 | -5e-05 | -5e-05

## Detailed
|  | 2021/22 Historical Monthly Generator Energy (GWh) | [12 empty] | 2023/24 Forecast Monthly Generator Energy (GWh) | [12 empty] | Difference in monthly energy (GWh) - if negative, energy has reduced in forecast | [12 empty] | Difference in monthly energy (%) (Note 4)
QLD
Generator | TNI | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total
Barcaldine PS | QBCG | 0.35007 | 0.14962 | -0.009794 | 0.12516 | 0.30648 | 0.94444 | 0.30461 | 0.96459 | 0.37484 | 2.5096 | 0.19198 | 1.4987 | 7.7103 | 0.394 | 0.14049 | -0.008815 | 0.12836 | 0.3143 | 0.8893 | 0.30293 | 0.93399 | 0.34547 | 2.1782 | 0.16239 | 1.3841 | 7.1647 | 0.043927 | -0.00913 | 0.000979 | 0.003193 | 0.007812 | -0.055137 | -0.001687 | -0.030597 | -0.029365 | -0.33139 | -0.02959 | -0.11454 | -0.54553 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -13.2% | 0% | -7.643% | -7.075%
Barron Gorge PS | QBGH | 24.3188 | 21.5997 | 5.3933 | 9.0243 | 7.1659 | 6.0654 | 16.1281 | 29.7306 | 33.8745 | 19.0328 | 31.8965 | 21.7834 | 226.0133 | 23.649 | 20.8188 | 5.2288 | 8.785 | 6.9896 | 5.8687 | 15.5954 | 28.748 | 32.7464 | 18.3664 | 31.0653 | 21.3367 | 219.198 | -0.66983 | -0.78089 | -0.16446 | -0.23932 | -0.17625 | -0.19669 | -0.53272 | -0.98256 | -1.1281 | -0.66649 | -0.83125 | -0.44677 | -6.8153 | -2.754% | -3.615% | -3.049% | -2.652% | -2.46% | -3.243% | -3.303% | -3.305% | -3.33% | -3.502% | -2.606% | -2.051% | -3.015%
Braemar PS Units 1, 2 and 3 | QBRA | 66.3536 | 22.8909 | 18.4171 | 40.4229 | 41.7537 | 10.7853 | 41.5762 | 37.4362 | 38.7586 | 50.0042 | 65.0326 | 89.6917 | 523.1229 | 66.8712 | 21.6187 | 18.7012 | 40.4056 | 40.1957 | 10.0844 | 40.9922 | 35.9229 | 37.2339 | 43.0433 | 56.0914 | 81.1244 | 492.2849 | 0.51757 | -1.2722 | 0.28413 | -0.017281 | -1.558 | -0.70086 | -0.58406 | -1.5133 | -1.5247 | -6.9609 | -8.9412 | -8.5673 | -30.8381 | 0.78% | -5.558% | 1.543% | -0.04275% | -3.731% | -6.498% | -1.405% | -4.042% | -3.934% | -13.92% | -13.75% | -9.552% | -5.895%
Braemar PS Units 5, 6 and 7 | QBRA2 | 47.1506 | 18.37 | 12.2907 | 46.3319 | 37.9911 | 41.9864 | 65.4203 | 39.314 | 43.4651 | 81.0921 | 63.3929 | 50.143 | 546.9479 | 48.5364 | 17.4796 | 12.6817 | 46.9818 | 37.4374 | 39.0945 | 63.9716 | 38.1549 | 41.829 | 69.5387 | 53.9797 | 45.1811 | 514.8665 | 1.3859 | -0.89041 | 0.39106 | 0.64992 | -0.55372 | -2.8918 | -1.4487 | -1.1591 | -1.636 | -11.5534 | -9.4132 | -4.9619 | -32.0814 | 2.939% | -4.847% | 3.182% | 1.403% | -1.458% | -6.888% | -2.214% | -2.948% | -3.764% | -14.25% | -14.85% | -9.896% | -5.866%
Darling Downs PS | QBRA8D | 217.2385 | 166.5517 | 116.1693 | 38.3942 | 90.9992 | 190.361 | 171.9358 | 136.7845 | 211.984 | 114.3644 | 245.4214 | 239.8923 | 1940.0964 | 219.6804 | 151.6868 | 118.4161 | 38.8313 | 88.36 | 173.4505 | 167.8669 | 128.8504 | 200.5146 | 97.8114 | 210.8511 | 213.3058 | 1809.6253 | 2.4419 | -14.8649 | 2.2468 | 0.43704 | -2.6392 | -16.9105 | -4.0689 | -7.9341 | -11.4694 | -16.5531 | -34.5702 | -26.5865 | -130.4711 | 1.124% | -8.925% | 1.934% | 1.138% | -2.9% | -8.883% | -2.367% | -5.8% | -5.41% | -14.47% | -14.09% | -11.08% | -6.725%
Callide B PS | QCAB | 442.3568 | 401.9673 | 370.9113 | 338.3474 | 345.6939 | 313.0907 | 282.861 | 291.3495 | 315.155 | 295.8371 | 335.4383 | 209.3489 | 3942.3573 | 424.841 | 357.8772 | 346.995 | 222.5492 | 305.3037 | 284.5594 | 269.1774 | 269.5665 | 295.3588 | 247.7105 | 326.2631 | 327.1249 | 3677.3267 | -17.5157 | -44.0901 | -23.9164 | -115.7982 | -40.3903 | -28.5314 | -13.6836 | -21.783 | -19.7961 | -48.1266 | -9.1752 | 117.776 | -265.0306 | -3.96% | -10.97% | -6.448% | -34.22% | -11.68% | -9.113% | -4.838% | -7.477% | -6.281% | -16.27% | -2.735% | 56.26% | -6.723%
Callide C PS | QCAC | 50.2749 | 269.1288 | 249.6776 | 241.1166 | 271.7707 | 281.4936 | 273.5068 | 206.6864 | 222.2394 | -0.53977 | 147.7939 | 212.2742 | 2425.4232 | 304.5676 | 472.8992 | 451.812 | 492.3981 | 511.0234 | 497.3291 | 515.6796 | 413.515 | 483.5307 | 456.9015 | 468.7026 | 420.09 | 5488.4487 | 254.2926 | 203.7704 | 202.1344 | 251.2815 | 239.2526 | 215.8355 | 242.1728 | 206.8286 | 261.2913 | 457.4412 | 320.9087 | 207.8158 | 3063.0255 | >100% | 75.71% | 80.96% | >100% | 88.03% | 76.68% | 88.54% | >100% | >100% | 0% | >100% | 97.9% | >100%
Condamine PS | QCND | 24.6815 | 12.0426 | -0.10538 | 4.9164 | 2.6981 | 0.69836 | 0.84588 | 7.6123 | 1.2887 | 3.6642 | 88.3201 | 75.0065 | 221.6693 | 26.8385 | 10.9828 | -0.05234 | 5.2162 | 2.5566 | 0.68218 | 0.86069 | 7.1038 | 1.1552 | 3.1357 | 75.5385 | 65.6675 | 199.6853 | 2.157 | -1.0598 | 0.053043 | 0.29986 | -0.14157 | -0.016184 | 0.014811 | -0.50849 | -0.13347 | -0.52855 | -12.7816 | -9.339 | -21.984 | 8.739% | -8.801% | 0% | 6.099% | -5.247% | 0% | 0% | -6.68% | -10.36% | -14.42% | -14.47% | -12.45% | -9.917%
Gladstone PS Units 1, 2, 5 and 6 (275 kV) | QGLH | 190.2025 | 156.9826 | 138.0623 | 251.7053 | 315.7296 | 374.9357 | 358.3526 | 366.079 | 350.0111 | 237.0927 | 244.3416 | 451.322 | 3434.8171 | 499.6339 | 415.1832 | 322.1032 | 313.9161 | 324.7655 | 462.3629 | 407.872 | 343.0263 | 331.3843 | 289.1894 | 371.3789 | 395.2045 | 4476.0202 | 309.4314 | 258.2006 | 184.0409 | 62.2108 | 9.0359 | 87.4272 | 49.5193 | -23.0528 | -18.6269 | 52.0967 | 127.0372 | -56.1174 | 1041.203 | >100% | >100% | >100% | 24.72% | 2.862% | 23.32% | 13.82% | -6.297% | -5.322% | 21.97% | 51.99% | -12.43% | 30.31%
Gladstone PS Units 3 and 4 (132 kV) | QGLL | 245.7113 | 153.8452 | 177.7149 | 141.8149 | 198.066 | 204.6432 | 277.9698 | 208.0075 | 149.4367 | 144.0768 | 112.6141 | 68.4685 | 2082.3689 | 241.7491 | 137.5838 | 169.9034 | 138.1503 | 186.3672 | 187.3165 | 266.1243 | 194.4923 | 142.3224 | 124.8863 | 126.2295 | 86.4115 | 2001.5367 | -3.9621 | -16.2615 | -7.8115 | -3.6645 | -11.6988 | -17.3267 | -11.8454 | -13.5152 | -7.1143 | -19.1905 | 13.6153 | 17.9429 | -80.8322 | -1.613% | -10.57% | -4.396% | -2.584% | -5.907% | -8.467% | -4.261% | -6.497% | -4.761% | -13.32% | 12.09% | 26.21% | -3.882%
Kareeya PS | QKYH | 48.7509 | -0.12568 | 33.7341 | 50.9474 | 39.2991 | 22.4726 | 31.2419 | 49.4968 | 41.7873 | 33.5563 | 50.2118 | 49.7021 | 451.0749 | 48.6967 | -0.12565 | 33.7281 | 50.9338 | 39.2977 | 22.4705 | 31.1721 | 49.398 | 41.7383 | 33.5438 | 50.1895 | 49.6921 | 450.735 | -0.054239 | 2.9e-05 | -0.005993 | -0.01361 | -0.001445 | -0.002068 | -0.069866 | -0.098793 | -0.049087 | -0.01254 | -0.02232 | -0.009989 | -0.33992 | -0.1113% | 0% | -0.01777% | -0.02671% | -0.003677% | -0.009202% | -0.2236% | -0.1996% | -0.1175% | -0.03737% | -0.04445% | -0.0201% | -0.07536%
Mackay GT | QMKG | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Millmerran PS | QMLN | 583.7901 | 575.231 | 531.999 | 501.833 | 553.9509 | 526.5384 | 567.1198 | 511.6939 | 536.3183 | 508.0596 | 292.8834 | 410.0152 | 6099.4325 | 546.907 | 500.1975 | 488.3735 | 465.993 | 511.2734 | 462.5354 | 524.845 | 460.279 | 492.4197 | 292.9769 | 308.2954 | 472.6426 | 5526.7383 | -36.8831 | -75.0335 | -43.6255 | -35.84 | -42.6775 | -64.0031 | -42.2748 | -51.4149 | -43.8986 | -215.0827 | 15.412 | 62.6274 | -572.6942 | -6.318% | -13.04% | -8.2% | -7.142% | -7.704% | -12.16% | -7.454% | -10.05% | -8.185% | -42.33% | 5.262% | 15.27% | -9.389%
Mt Stuart PS unit 1 and 2 | QMSP | 18.7205 | 1.8016 | 0.27537 | 2.2403 | 0.5894 | 0.97065 | 1.4063 | 1.5042 | 0.71143 | 1.3692 | 5.5199 | 8.018 | 43.1268 | 20.4136 | 1.6891 | 0.31254 | 2.2069 | 0.58754 | 0.9183 | 1.4152 | 1.4865 | 0.65597 | 1.2145 | 4.8361 | 7.2201 | 42.9563 | 1.6931 | -0.11256 | 0.037167 | -0.033354 | -0.001861 | -0.05235 | 0.00895 | -0.017654 | -0.055469 | -0.15469 | -0.68379 | -0.79795 | -0.17046 | 9.044% | -6.248% | 0% | -1.489% | 0% | 0% | 0.6364% | -1.174% | 0% | -11.3% | -12.39% | -9.952% | -0.3953%
Mt Stuart PS unit 3 | QMSP3 | 9.1117 | 0.92902 | 2.613 | 5.3051 | 1.432 | 2.1474 | 0.46086 | 0.99222 | 0.03324 | 2.2312 | 1.6815 | -0.055426 | 26.8818 | 9.9399 | 0.90586 | 2.4712 | 5.3699 | 1.5095 | 1.9933 | 0.47345 | 0.97906 | 0.02783 | 1.9267 | 1.3846 | -0.048825 | 26.9325 | 0.82821 | -0.023159 | -0.14181 | 0.064815 | 0.077533 | -0.15407 | 0.01259 | -0.013156 | -0.00541 | -0.3045 | -0.29693 | 0.006601 | 0.050699 | 9.09% | 0% | -5.427% | 1.222% | 5.414% | -7.175% | 0% | 0% | 0% | -13.65% | -17.66% | 0% | 0.1886%
Oakey PS | QOKY | 6.6766 | -0.21701 | 1.2811 | 6.5571 | 6.29 | 10.2167 | 8.5124 | 21.648 | 19.4399 | -0.1781 | 2.8531 | 20.0517 | 103.1316 | 8.2468 | -0.19113 | 1.3264 | 6.4774 | 6.2381 | 9.4538 | 8.4077 | 20.4294 | 18.5158 | -0.14951 | 2.4324 | 18.1438 | 99.3309 | 1.5702 | 0.025882 | 0.045325 | -0.079712 | -0.051942 | -0.76298 | -0.10463 | -1.2186 | -0.92409 | 0.028591 | -0.4207 | -1.908 | -3.8007 | 23.52% | 0% | 3.538% | -1.216% | -0.8258% | -7.468% | -1.229% | -5.629% | -4.754% | 0% | -14.75% | -9.515% | -3.685%
Roma PS | QRMA | 7.8889 | 3.606 | 3.9652 | 9.1602 | 5.4613 | 5.6878 | 2.9152 | 2.7664 | 2.8938 | 5.1913 | 0.94895 | 3.5407 | 54.0257 | 6.9943 | 3.0285 | 3.7622 | 8.617 | 5.1305 | 4.6043 | 2.5551 | 2.3255 | 2.4595 | 4.2271 | 0.7546 | 2.8303 | 47.289 | -0.89456 | -0.57747 | -0.20305 | -0.54324 | -0.33076 | -1.0835 | -0.36007 | -0.4409 | -0.43434 | -0.96418 | -0.19435 | -0.71036 | -6.7367 | -11.34% | -16.01% | -5.121% | -5.93% | -6.056% | -19.05% | -12.35% | -15.94% | -15.01% | -18.57% | 0% | -20.06% | -12.47%
Stanwell PS | QSTN | 736.0483 | 764.6693 | 532.9729 | 494.2847 | 659.8785 | 698.2435 | 659.0581 | 668.355 | 760.1066 | 637.5457 | 744.9205 | 608.4276 | 7964.5107 | 498.6516 | 650.9358 | 657.2683 | 621.275 | 617.7204 | 634.3627 | 631.4671 | 621.9571 | 716.792 | 535.9882 | 633.1697 | 531.8761 | 7351.4639 | -237.3967 | -113.7336 | 124.2955 | 126.9902 | -42.1582 | -63.8808 | -27.591 | -46.3979 | -43.3145 | -101.5575 | -111.7509 | -76.5516 | -613.0469 | -32.25% | -14.87% | 23.32% | 25.69% | -6.389% | -9.149% | -4.186% | -6.942% | -5.698% | -15.93% | -15% | -12.58% | -7.697%
Swanbank E GT | QSWE | 8.2523 | 34.6778 | 30.3275 | 62.2674 | 38.4907 | 41.1634 | -0.32948 | -0.32066 | -0.35495 | -0.36629 | -0.081123 | -0.003905 | 213.7227 | 7.9708 | 32.2717 | 30.867 | 62.1373 | 37.1787 | 37.646 | -0.30741 | -0.296 | -0.32907 | -0.30746 | -0.069655 | -0.00462 | 206.7573 | -0.28151 | -2.4061 | 0.53955 | -0.13012 | -1.3119 | -3.5174 | 0.022069 | 0.024663 | 0.02588 | 0.058829 | 0.011468 | -0.000715 | -6.9654 | -3.411% | -6.938% | 1.779% | -0.209% | -3.408% | -8.545% | 0% | 0% | 0% | 0% | 0% | 0% | -3.259%
Tarong North PS | QTNT | 201.4927 | 4.7894 | 262.2678 | 293.763 | 265.8593 | 184.0296 | 257.6866 | 211.7052 | 261.7691 | 257.4884 | 295.2623 | 270.6437 | 2766.7569 | 265.8664 | 246.0154 | 243.47 | 275.3123 | 248.222 | 167.1544 | 245.524 | 196.8495 | 246.2631 | 216.0934 | 250.37 | 235.8981 | 2837.0388 | 64.3738 | 241.226 | -18.7978 | -18.4507 | -17.6372 | -16.8751 | -12.1626 | -14.8557 | -15.5059 | -41.3951 | -44.8922 | -34.7456 | 70.2819 | 31.95% | >100% | -7.167% | -6.281% | -6.634% | -9.17% | -4.72% | -7.017% | -5.924% | -16.08% | -15.2% | -12.84% | 2.54%
Tarong PS | QTRN | 630.0307 | 691.5005 | 593.656 | 666.7409 | 492.0545 | 436.3678 | 525.5808 | 567.6676 | 737.6875 | 771.7719 | 653.3436 | 733.3296 | 7499.7314 | 617.1081 | 612.2723 | 443.7097 | 538.1417 | 462.7384 | 396.9338 | 506.4209 | 527.9392 | 694.6902 | 649.3197 | 556.702 | 641.7144 | 6647.6905 | -12.9226 | -79.2281 | -149.9464 | -128.5991 | -29.3161 | -39.4341 | -19.1599 | -39.7283 | -42.9973 | -122.4522 | -96.6415 | -91.6152 | -852.0409 | -2.051% | -11.46% | -25.26% | -19.29% | -5.958% | -9.037% | -3.645% | -6.999% | -5.829% | -15.87% | -14.79% | -12.49% | -11.36%
Yabulu PS (Townsville) | QTYP | 8.214 | 3.0006 | 9.8848 | 20.4536 | 9.9441 | 10.1475 | 13.5441 | 15.9317 | 8.6709 | 3.9438 | 1.9972 | 7.2554 | 112.9878 | 8.5189 | 2.7888 | 9.9743 | 20.1872 | 9.8638 | 9.4269 | 13.2013 | 15.2064 | 8.123 | 3.4253 | 1.7423 | 6.69 | 109.1481 | 0.30491 | -0.21182 | 0.089521 | -0.26645 | -0.080284 | -0.72058 | -0.34282 | -0.72532 | -0.54796 | -0.51846 | -0.25496 | -0.56543 | -3.8397 | 3.712% | -7.059% | 0.9056% | -1.303% | -0.8074% | -7.101% | -2.531% | -4.553% | -6.32% | -13.15% | -12.77% | -7.793% | -3.398%
Kogan Creek PS | QWDN | 452.0557 | 464.9852 | 438.7087 | 464.5571 | 356.5033 | 475.2492 | 345.3161 | 160.9614 | 472.6811 | 457.6822 | 474.3381 | 451.7474 | 5014.7855 | 437.2077 | 411.5682 | 408.5231 | 438.0556 | 333.9143 | 431.0084 | 324.6884 | 147.8099 | 443.5223 | 384.075 | 402.9108 | 393.5981 | 4556.882 | -14.848 | -53.417 | -30.1855 | -26.5015 | -22.589 | -44.2407 | -20.6276 | -13.1515 | -29.1587 | -73.6072 | -71.4273 | -58.1494 | -457.9035 | -3.285% | -11.49% | -6.881% | -5.705% | -6.336% | -9.309% | -5.974% | -8.171% | -6.169% | -16.08% | -15.06% | -12.87% | -9.131%
Wivenhoe Pump | QWIP | -46.2526 | -40.4758 | -37.8782 | -32.8625 | -39.9651 | -60.2958 | -81.2414 | -50.1613 | -48.4313 | -61.8334 | -46.4427 | -66.7069 | -612.547 | -46.2526 | -40.4758 | -37.8783 | -32.8624 | -39.9651 | -60.2959 | -81.2413 | -50.1612 | -48.4312 | -61.8334 | -46.4427 | -66.7069 | -612.5469 | -4.3e-05 | -2.6e-05 | -3.2e-05 | 5.4e-05 | 1.7e-05 | -7.3e-05 | 8.4e-05 | 2.3e-05 | 3.8e-05 | 3.7e-05 | 2e-05 | 3e-05 | 0.000129 | -9.297e-05% | -6.424e-05% | -8.448e-05% | 0.0001643% | 4.254e-05% | -0.0001211% | 0.0001034% | 4.585e-05% | 7.846e-05% | 5.984e-05% | 4.306e-05% | 4.497e-05% | 2.106e-05%
Wivenhoe PS | QWIV | 30.7714 | 27.6313 | 24.7457 | 20.8531 | 26.4885 | 40.4012 | 55.4254 | 30.6004 | 31.9066 | 37.4098 | 28.3156 | 42.4697 | 397.0189 | 30.4895 | 27.0594 | 24.2773 | 20.5821 | 26.4236 | 40.3714 | 55.392 | 30.5775 | 31.8627 | 37.292 | 28.2216 | 42.2844 | 394.8335 | -0.28192 | -0.57191 | -0.46846 | -0.27103 | -0.064959 | -0.029772 | -0.033452 | -0.022904 | -0.043966 | -0.11775 | -0.093929 | -0.18534 | -2.1854 | -0.9162% | -2.07% | -1.893% | -1.3% | -0.2452% | -0.07369% | -0.06035% | -0.07485% | -0.1378% | -0.3148% | -0.3317% | -0.4364% | -0.5504%
Yabulu Steam Turbine | QYST | 0.62536 | -0.097231 | -0.041805 | -0.10014 | -0.10037 | -0.093311 | 1.4437 | 3.9229 | 2.2078 | -0.13751 | -0.089646 | -0.085277 | 7.4545 | 0.63449 | -0.086505 | -0.03734 | -0.088835 | -0.09221 | -0.084085 | 1.4599 | 3.7783 | 2.0941 | -0.11521 | -0.07634 | -0.07424 | 7.312 | 0.009137 | 0.010726 | 0.004465 | 0.011306 | 0.008162 | 0.009226 | 0.016151 | -0.14456 | -0.11376 | 0.022309 | 0.013306 | 0.011037 | -0.14249 | 0% | 0% | 0% | 0% | 0% | 0% | 1.119% | -3.685% | -5.153% | 0% | 0% | 0% | -1.912%
QLD Wind farms and Solar farms (Note 1)
NSW
Generator | TNI | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total
Bayswater PS Units 1 and 2 (330 kV) | NBAY | 272.6159 | 683.4447 | 697.7655 | 469.7789 | 437.1157 | 691.5489 | 601.483 | 751.2007 | 808.4433 | 748.986 | 656.2123 | 709.2596 | 7527.8545 | 279.6846 | 631.7279 | 342.1707 | 314.3761 | 351.4056 | 629.3143 | 576.5379 | 692.215 | 379.8717 | 632.7722 | 572.8848 | 640.5246 | 6043.4854 | 7.0687 | -51.7168 | -355.5948 | -155.4028 | -85.7101 | -62.2346 | -24.9451 | -58.9857 | -428.5716 | -116.2138 | -83.3275 | -68.735 | -1484.3691 | 2.593% | -7.567% | -50.96% | -33.08% | -19.61% | -8.999% | -4.147% | -7.852% | -53.01% | -15.52% | -12.7% | -9.691% | -19.72%
Blowering PS | NBLW | 4.9767 | 45.0834 | 18.762 | 23.6359 | 12.605 | 42.8135 | 31.9068 | 32.6102 | 11.5998 | 6.1963 | 49.4819 | 42.0887 | 321.7601 | 4.6206 | 41.9765 | 18.762 | 23.6358 | 12.6045 | 42.8133 | 31.9068 | 32.6102 | 11.5997 | 6.196 | 48.806 | 42.0709 | 317.6024 | -0.3561 | -3.1069 | 6.4e-05 | -4.3e-05 | -0.000429 | -0.000151 | -5.4e-05 | -7e-06 | -6.3e-05 | -0.000335 | -0.67598 | -0.017755 | -4.1577 | -7.155% | -6.891% | 0.0003411% | -0.0001819% | -0.003403% | -0.0003527% | -0.0001692% | -2.147e-05% | -0.0005431% | -0.005406% | -1.366% | -0.04218% | -1.292%
Bayswater PS Units 3 and 4 (500 kV) | NBYW | 818.2176 | 463.4085 | 575.4101 | 547.9949 | 703.9701 | 615.6936 | 758.0289 | 566.8144 | 416.8689 | 204.2772 | 450.0079 | 307.4273 | 6428.1193 | 815.9038 | 434.3256 | 554.8879 | 533.2064 | 664.7167 | 562.3342 | 723.9212 | 529.319 | 708.7409 | 495.0472 | 664.5616 | 578.9358 | 7265.9002 | -2.3138 | -29.0829 | -20.5222 | -14.7885 | -39.2534 | -53.3594 | -34.1077 | -37.4954 | 291.872 | 290.77 | 214.5537 | 271.5085 | 837.7809 | -0.2828% | -6.276% | -3.567% | -2.699% | -5.576% | -8.667% | -4.5% | -6.615% | 70.02% | >100% | 47.68% | 88.32% | 13.03%
Colongra PS | NCLG | 15.6485 | -0.11554 | 0.13185 | -0.17949 | 1.9241 | 0.35973 | -0.26231 | 5.9953 | 25.5521 | 33.5344 | 89.992 | 115.524 | 288.1047 | 16.7097 | -0.09082 | 0.46713 | -0.17142 | 1.7422 | 0.29932 | -0.24558 | 5.3676 | 24.317 | 28.7256 | 76.41 | 103.3216 | 256.8523 | 1.0612 | 0.024724 | 0.33528 | 0.008066 | -0.18193 | -0.060406 | 0.016731 | -0.62762 | -1.2351 | -4.8088 | -13.582 | -12.2024 | -31.2524 | 6.781% | 0% | 0% | 0% | -9.456% | 0% | 0% | -10.47% | -4.834% | -14.34% | -15.09% | -10.56% | -10.85%
Eraring PS Units 1 and 2 (330 kV) | NEP3 | 409.7655 | 629.8003 | 652.173 | 551.1931 | 518.2983 | 563.8735 | 517.4216 | 449.1886 | 255.6908 | 531.9634 | 675.2218 | 523.0718 | 6277.6617 | 414.6955 | 576.4537 | 314.397 | 359.6574 | 494.7128 | 515.8624 | 498.9084 | 419.7241 | 243.5175 | 450.7147 | 584.2378 | 474.6005 | 5347.4818 | 4.93 | -53.3466 | -337.776 | -191.5357 | -23.5856 | -48.0111 | -18.5132 | -29.4645 | -12.1733 | -81.2487 | -90.9841 | -48.4713 | -930.1799 | 1.203% | -8.47% | -51.79% | -34.75% | -4.551% | -8.515% | -3.578% | -6.559% | -4.761% | -15.27% | -13.47% | -9.267% | -14.82%
Eraring PS Units 3 and 4 (500 kV) | NEPS | 748.0111 | 474.0761 | 268.1926 | 272.7625 | 382.2554 | 291.0398 | 296.9443 | 290.4687 | 497.0077 | 416.0047 | 343.3982 | 523.6487 | 4803.8097 | 745.7708 | 544.8197 | 580.7153 | 526.9966 | 361.8998 | 543.2985 | 524.2073 | 527.9814 | 480.6037 | 509.7086 | 489.0378 | 474.2998 | 6309.3392 | -2.2403 | 70.7436 | 312.5227 | 254.2341 | -20.3556 | 252.2587 | 227.263 | 237.5127 | -16.404 | 93.7039 | 145.6396 | -49.3489 | 1505.5296 | -0.2995% | 14.92% | >100% | 93.21% | -5.325% | 86.67% | 76.53% | 81.77% | -3.301% | 22.52% | 42.41% | -9.424% | 31.34%
Guthega PS | NGUT | 8.3095 | 10.8573 | 30.7106 | 34.4495 | 30.396 | 17.239 | 10.0149 | 4.8512 | 8.6793 | 9.8586 | 9.1833 | 7.2109 | 181.7602 | 8.3083 | 10.8556 | 30.6854 | 34.43 | 30.3763 | 17.2353 | 10.0126 | 4.8509 | 8.6769 | 9.856 | 9.1825 | 7.2039 | 181.6736 | -0.001238 | -0.001688 | -0.025233 | -0.01953 | -0.019767 | -0.003709 | -0.002269 | -0.000231 | -0.002444 | -0.0026 | -0.000858 | -0.007021 | -0.086588 | -0.0149% | -0.01555% | -0.08216% | -0.05669% | -0.06503% | -0.02152% | -0.02266% | -0.004762% | -0.02816% | -0.02637% | -0.009343% | -0.09737% | -0.04764%
Hume PS (NSW Share) | NHUM | -0.10729 | 2.5785 | 21.6401 | 32.3355 | 32.5672 | 26.4094 | 18.557 | 6.5302 | 7.697 | 12.3698 | 7.6333 | 28.4737 | 196.6842 | -0.10733 | 2.5771 | 21.64 | 32.3346 | 32.5672 | 26.4094 | 18.557 | 6.5293 | 7.6969 | 12.3697 | 7.6323 | 28.3735 | 196.5797 | -3.5e-05 | -0.001347 | -5.7e-05 | -0.000931 | -1e-05 | -1.8e-05 | 4e-06 | -0.000912 | -0.000117 | -2.8e-05 | -0.00093 | -0.10013 | -0.10451 | 0% | -0.05224% | -0.0002634% | -0.002879% | -3.071e-05% | -6.816e-05% | 2.156e-05% | -0.01397% | -0.00152% | -0.0002264% | -0.01218% | -0.3517% | -0.05314%
Liddell PS | NLDP | 940.5101 | 741.9424 | 577.3382 | 655.9932 | 628.3378 | 691.9652 | 807.0951 | 437.0202 | 627.7606 | 652.8972 | 467.2612 | 381.4049 | 7609.5261 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -940.5101 | -741.9424 | -577.3382 | -655.9932 | -628.3378 | -691.9652 | -807.0951 | -437.0202 | -627.7606 | -652.8972 | -467.2612 | -381.4049 | -7609.5261 | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100% | -100%
Lower Tumut PS | NLTS | 17.2391 | 26.9358 | 23.3476 | 38.4207 | 22.4074 | 36.8204 | 46.6718 | 51.5393 | 19.2138 | 20.0218 | 55.1037 | 38.8949 | 396.6163 | 17.1607 | 26.8542 | 23.2464 | 38.3596 | 22.376 | 36.7912 | 46.6047 | 51.4916 | 19.1672 | 19.949 | 55.0449 | 38.7817 | 395.8273 | -0.078406 | -0.081621 | -0.10117 | -0.06106 | -0.031339 | -0.029204 | -0.06708 | -0.047641 | -0.046651 | -0.072713 | -0.058883 | -0.11322 | -0.78899 | -0.4548% | -0.303% | -0.4333% | -0.1589% | -0.1399% | -0.07931% | -0.1437% | -0.09244% | -0.2428% | -0.3632% | -0.1069% | -0.2911% | -0.1989%
Mount Piper PS | NMTP | 763.7668 | 539.4065 | 274.4328 | 316.2627 | 270.7943 | 178.2976 | 408.2827 | 429.2455 | 327.2546 | 448.8454 | 495.4101 | 621.0423 | 5073.0411 | 769.134 | 508.6317 | 273.7393 | 312.4285 | 257.5039 | 164.4862 | 397.8964 | 414.1848 | 699.1142 | 594.8606 | 488.6245 | 561.5664 | 5442.1706 | 5.3672 | -30.7748 | -0.69354 | -3.8342 | -13.2903 | -13.8114 | -10.3863 | -15.0607 | 371.8597 | 146.0153 | -6.7856 | -59.4758 | 369.1294 | 0.7027% | -5.705% | -0.2527% | -1.212% | -4.908% | -7.746% | -2.544% | -3.509% | >100% | 32.53% | -1.37% | -9.577% | 7.276%
Kangaroo Valley - Bendeela (Shoalhaven) | NSHN | -1.3915 | 2.6998 | -1.3079 | -5.3687 | -4.029 | 3.3163 | 1.409 | -7.6693 | 19.598 | 2.0954 | -5.6455 | -5.4726 | -1.766 | -1.4671 | 2.6698 | -1.3232 | -5.3794 | -4.0312 | 3.3109 | 1.4028 | -7.6783 | 19.5576 | 2.0279 | -5.7298 | -5.4881 | -2.128 | -0.075561 | -0.029996 | -0.015279 | -0.010782 | -0.002238 | -0.005433 | -0.006152 | -0.009059 | -0.04039 | -0.067456 | -0.084241 | -0.015446 | -0.36203 | -5.43% | -1.111% | -1.168% | -0.2008% | -0.05555% | -0.1638% | -0.4366% | -0.1181% | -0.2061% | -3.219% | -1.492% | -0.2822% | -20.5%
Smithfield Energy Facility | NHD2 | 4.9215 | 2.2209 | 0.95893 | 1.1385 | 0.18005 | 0.27468 | 1.017 | 0.9146 | 0.075938 | 16.2078 | 6.4498 | 21.0493 | 55.4091 | 5.5436 | 2.1575 | 1.1354 | 1.1114 | 0.17135 | 0.26614 | 0.94833 | 0.81508 | 0.0817 | 13.9142 | 5.3571 | 18.9658 | 50.4675 | 0.62208 | -0.063436 | 0.17647 | -0.027099 | -0.008709 | -0.008541 | -0.068707 | -0.099521 | 0.005762 | -2.2936 | -1.0927 | -2.0836 | -4.9416 | 12.64% | -2.856% | 0% | -2.38% | 0% | 0% | -6.756% | 0% | 0% | -14.15% | -16.94% | -9.898% | -8.918%
Tallawarra PS | NTWA | 95.4075 | 24.5258 | 72.8037 | 53.5765 | 50.4692 | 78.6766 | 178.5853 | 156.099 | 246.5405 | 113.6524 | 243.7529 | 249.8149 | 1563.9044 | 99.8045 | 23.0545 | 73.8173 | 53.3219 | 49.5465 | 73.0166 | 169.3117 | 144.0774 | 227.7819 | 96.0963 | 208.9004 | 226.4526 | 1445.1816 | 4.3969 | -1.4713 | 1.0136 | -0.25466 | -0.92264 | -5.66 | -9.2736 | -12.0217 | -18.7585 | -17.5562 | -34.8525 | -23.3623 | -118.7228 | 4.609% | -5.999% | 1.392% | -0.4753% | -1.828% | -7.194% | -5.193% | -7.701% | -7.609% | -15.45% | -14.3% | -9.352% | -7.591%
Uranquinty PS | NURQ | 93.8829 | 30.1891 | 15.9601 | 0.29815 | 4.658 | 8.4387 | 3.9321 | 11.9993 | 3.7825 | 11.7182 | 18.9254 | 137.2452 | 341.0296 | 98.0054 | 28.547 | 16.4008 | 0.39032 | 4.4472 | 7.9885 | 3.8727 | 11.1709 | 3.4814 | 10.0947 | 15.8234 | 122.9878 | 323.2102 | 4.1225 | -1.6421 | 0.44072 | 0.092161 | -0.21075 | -0.45029 | -0.059353 | -0.82834 | -0.30103 | -1.6236 | -3.1021 | -14.2574 | -17.8194 | 4.391% | -5.439% | 2.761% | 0% | -4.524% | -5.336% | -1.509% | -6.903% | -7.959% | -13.86% | -16.39% | -10.39% | -5.225%
Upper Tumut PS | NUTS | 67.7369 | 16.9716 | 15.2812 | 83.9883 | 72.1513 | 103.4992 | 149.0438 | 130.9083 | 133.415 | 86.4822 | 210.5603 | 201.0792 | 1271.1173 | 67.7358 | 16.9709 | 15.2803 | 83.9859 | 72.1381 | 103.4875 | 149.041 | 130.9082 | 133.3988 | 86.4725 | 210.5439 | 201.0742 | 1271.0371 | -0.001073 | -0.000701 | -0.000929 | -0.002405 | -0.013221 | -0.011752 | -0.002765 | -0.000103 | -0.01614 | -0.009649 | -0.016398 | -0.005022 | -0.080158 | -0.001584% | -0.00413% | -0.006079% | -0.002863% | -0.01832% | -0.01135% | -0.001855% | -7.868e-05% | -0.0121% | -0.01116% | -0.007788% | -0.002498% | -0.006306%
Vales Point PS | NVPP | 692.6007 | 622.331 | 410.9925 | 480.9736 | 492.1993 | 445.865 | 555.0408 | 494.9042 | 521.5456 | 413.4863 | 565.3751 | 620.7644 | 6316.0785 | 707.907 | 581.2593 | 407.5816 | 471.9754 | 468.3722 | 409.403 | 534.1464 | 463.818 | 498.2556 | 561.3145 | 568.055 | 562.6057 | 6234.6938 | 15.3063 | -41.0717 | -3.4109 | -8.9982 | -23.827 | -36.462 | -20.8943 | -31.0862 | -23.29 | 147.8282 | 2.6799 | -58.1587 | -81.3847 | 2.21% | -6.6% | -0.8299% | -1.871% | -4.841% | -8.178% | -3.764% | -6.281% | -4.466% | 35.75% | 0.474% | -9.369% | -1.289%
NSW Wind farms and Solar farms(Note 1)
VIC
Generator | TNI | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total
Guthega - Jindabyne Pump | NGJP | -13.6189 | -9.8799 | -2.7238 | -2.6008 | -2.0751 | -2.1149 | -26.8375 | -23.6981 | -19.2501 | -12.2568 | -22.8094 | -32.3627 | -170.228 | -13.6187 | -9.8796 | -2.7245 | -2.6004 | -2.0755 | -2.1153 | -26.8378 | -23.6981 | -19.2502 | -12.2571 | -22.8096 | -32.3627 | -170.2293 | 0.000229 | 0.000318 | -0.000678 | 0.000366 | -0.000363 | -0.000392 | -0.000208 | -5e-05 | -6.4e-05 | -0.000276 | -0.000151 | 1.5e-05 | -0.001254 | 0.001681% | 0.003219% | -0.02489% | 0.01407% | -0.01749% | -0.01854% | -0.000775% | -0.000211% | -0.0003325% | -0.002252% | -0.000662% | 4.635e-05% | -0.0007367%
Murray PS | NMUR | 231.6235 | 121.4439 | 131.1187 | 106.6632 | 210.3902 | 118.6183 | 132.5851 | 74.4278 | 111.8431 | 111.1854 | 337.3335 | 307.5895 | 1994.8221 | 231.6166 | 121.4176 | 131.0464 | 106.6242 | 210.3239 | 118.5814 | 132.5754 | 74.3655 | 111.8128 | 111.1288 | 335.9115 | 307.4681 | 1992.8722 | -0.006882 | -0.026273 | -0.07234 | -0.038963 | -0.066305 | -0.036864 | -0.009636 | -0.062331 | -0.030268 | -0.056593 | -1.422 | -0.12142 | -1.9499 | -0.002971% | -0.02163% | -0.05517% | -0.03653% | -0.03152% | -0.03108% | -0.007268% | -0.08375% | -0.02706% | -0.0509% | -0.4215% | -0.03948% | -0.09775%
Laverton PS | VAT2 | 3.3247 | 1.5796 | 0.73885 | -0.23013 | 0.043984 | 4.2743 | 1.466 | 1.7171 | 10.5985 | 13.1332 | 79.38 | 59.969 | 175.9949 | 3.6023 | 1.5435 | 0.77285 | -0.20343 | 0.02536 | 4.0452 | 1.4576 | 1.5429 | 10.065 | 11.3301 | 69.6627 | 53.3268 | 157.171 | 0.27752 | -0.036046 | 0.034004 | 0.026693 | -0.018624 | -0.22905 | -0.008396 | -0.17412 | -0.53347 | -1.803 | -9.7173 | -6.6422 | -18.824 | 8.347% | -2.282% | 0% | 0% | 0% | -5.359% | -0.5727% | -10.14% | -5.033% | -13.73% | -12.24% | -11.08% | -10.7%
Bairnsdale PS | VBDL | 8.5815 | 10.3126 | 2.9722 | 1.6113 | 0.72143 | 0.62321 | 3.217 | 2.4627 | 2.1526 | 11.3244 | 6.1779 | 9.8417 | 59.9984 | 7.6862 | 9.2588 | 2.6906 | 1.4965 | 0.66977 | 0.55931 | 2.8535 | 2.1053 | 1.9196 | 9.2304 | 5.4902 | 8.5368 | 52.4968 | -0.89523 | -1.0539 | -0.28165 | -0.11483 | -0.051651 | -0.063896 | -0.36353 | -0.35741 | -0.23299 | -2.094 | -0.68771 | -1.3049 | -7.5016 | -10.43% | -10.22% | -9.476% | -7.126% | 0% | 0% | -11.3% | -14.51% | -10.82% | -18.49% | -11.13% | -13.26% | -12.5%
Dartmouth PS | VDPS | 8.3953 | 3.498 | 0.99294 | 1.581 | 1.9615 | 1.7551 | 1.93 | 4.0263 | 8.1072 | 4.7142 | 9.2292 | 11.5824 | 57.7732 | 7.6676 | 3.2831 | 0.94493 | 1.5277 | 1.9134 | 1.711 | 1.8781 | 3.7337 | 7.3684 | 4.261 | 8.2746 | 10.4705 | 53.034 | -0.72771 | -0.21491 | -0.048015 | -0.05334 | -0.04803 | -0.044008 | -0.051939 | -0.29265 | -0.73882 | -0.45326 | -0.95463 | -1.1119 | -4.7392 | -8.668% | -6.144% | 0% | -3.374% | -2.449% | -2.508% | -2.691% | -7.268% | -9.113% | -9.615% | -10.34% | -9.6% | -8.203%
Eildon PS | VEPS | 4.4538 | 1.3956 | -1.1e-05 | 4.4662 | 2.0625 | 9.8645 | 12.0884 | 12.6368 | 24.8339 | 13.87 | 2.0528 | 1.4299 | 89.1544 | 4.4533 | 1.3947 | -1e-05 | 4.4655 | 2.0623 | 9.8643 | 12.0881 | 12.6351 | 24.8336 | 13.8696 | 2.0527 | 1.4298 | 89.1491 | -0.000434 | -0.000851 | 1e-06 | -0.000645 | -0.000252 | -0.00022 | -0.000323 | -0.001694 | -0.000387 | -0.000316 | -0.000116 | -7e-05 | -0.005307 | -0.009745% | -0.06098% | 0% | -0.01444% | -0.01222% | -0.00223% | -0.002672% | -0.01341% | -0.001558% | -0.002278% | -0.005651% | -0.004895% | -0.005953%
Hume PS (Victorian Share) | VHUM | -0.002701 | 0 | 0.013472 | -0.001161 | 0.46535 | 2.5963 | 1.9604 | 0.64658 | 0 | 0 | 0.1489 | 0.20183 | 6.0289 | -0.00271 | 0 | 0.012455 | -0.001155 | 0.46534 | 2.5892 | 1.9603 | 0.64659 | 0 | 0 | 0.14889 | 0.20046 | 6.0193 | -9e-06 | 0 | -0.001017 | 6e-06 | -8e-06 | -0.007112 | -7.7e-05 | 1.3e-05 | 0 | 0 | -2e-06 | -0.001368 | -0.009574 | 0% | 0% | 0% | 0% | 0% | -0.2739% | -0.003928% | 0% | 0% | 0% | 0% | 0% | -0.1588%
Jeeralang PS A and B | VJLG | 5.7316 | 4.8781 | 1.362 | 2.016 | 0.82554 | 0.16509 | 9.3475 | 6.3906 | 4.9563 | 23.0256 | 5.5739 | 23.2763 | 87.5486 | 6.2028 | 4.6612 | 1.4427 | 2.2368 | 0.88927 | 0.167 | 9.3333 | 6.0565 | 4.7877 | 20.1317 | 4.7909 | 20.9553 | 81.6552 | 0.4712 | -0.21689 | 0.080709 | 0.22072 | 0.063732 | 0.001913 | -0.014236 | -0.3341 | -0.16854 | -2.894 | -0.78298 | -2.3211 | -5.8935 | 8.221% | -4.446% | 5.926% | 10.95% | 0% | 0% | -0.1523% | -5.228% | -3.401% | -12.57% | -14.05% | -9.972% | -6.732%
Loy Yang PS A | VLYP | 1299.9643 | 1047.4738 | 888.644 | 1173.5343 | 988.1277 | 1237.0671 | 1329.4987 | 1152.7162 | 1250.2085 | 1181.1169 | 1078.2424 | 1025.3228 | 13651.9167 | 1282.147 | 1270.1536 | 1138.9819 | 1122.9674 | 938.1416 | 1139.8914 | 1275.8797 | 1079.5351 | 1185.4429 | 1158.0744 | 1228.4583 | 1210.9426 | 14030.6158 | -17.8173 | 222.6797 | 250.3379 | -50.567 | -49.9861 | -97.1757 | -53.619 | -73.1811 | -64.7657 | -23.0425 | 150.2159 | 185.6199 | 378.699 | -1.371% | 21.26% | 28.17% | -4.309% | -5.059% | -7.855% | -4.033% | -6.349% | -5.18% | -1.951% | 13.93% | 18.1% | 2.774%
Loy Yang PS B | VLYP | 767.337 | 702.0219 | 676.1205 | 655.5264 | 694.4937 | 692.0998 | 707.697 | 648.195 | 703.9467 | 641.0287 | 771.8985 | 748.9856 | 8409.3508 | 740.0973 | 630.3759 | 634.4441 | 620.1648 | 649.5704 | 630.7106 | 671.4529 | 599.2057 | 660.0938 | 530.4943 | 650.6594 | 658.2813 | 7675.5505 | -27.2397 | -71.646 | -41.6764 | -35.3616 | -44.9233 | -61.3892 | -36.2441 | -48.9892 | -43.853 | -110.5344 | -121.2391 | -90.7043 | -733.8003 | -3.55% | -10.21% | -6.164% | -5.394% | -6.468% | -8.87% | -5.121% | -7.558% | -6.23% | -17.24% | -15.71% | -12.11% | -8.726%
Loy Yang PS A and B | VLYP | 2067.3013 | 1749.4957 | 1564.7645 | 1829.0607 | 1682.6214 | 1929.1669 | 2037.1957 | 1800.9112 | 1954.1553 | 1822.1456 | 1850.1409 | 1774.3084 | 22061.2676 | 2022.2443 | 1900.5294 | 1773.426 | 1743.1321 | 1587.712 | 1770.602 | 1947.3326 | 1678.7409 | 1845.5366 | 1688.5687 | 1879.1176 | 1869.2239 | 21706.1663 | -45.057 | 151.0337 | 208.6615 | -85.9286 | -94.9094 | -158.5649 | -89.8631 | -122.1703 | -108.6186 | -133.5768 | 28.9768 | 94.9155 | -355.1013 | -2.18% | 8.633% | 13.34% | -4.698% | -5.641% | -8.219% | -4.411% | -6.784% | -5.558% | -7.331% | 1.566% | 5.349% | -1.61%
Mortlake PS | VM0P | 67.2018 | 74.7456 | 17.0793 | 7.9484 | 7.9169 | 2.6938 | 27.8194 | 21.4395 | 31.9127 | 66.0837 | 37.1312 | 84.6046 | 446.5769 | 70.4268 | 70.138 | 17.6998 | 7.7803 | 7.8182 | 2.6151 | 27.7839 | 20.2589 | 30.8215 | 56.6395 | 31.4373 | 75.8818 | 419.3011 | 3.225 | -4.6076 | 0.62052 | -0.16806 | -0.098701 | -0.078703 | -0.035477 | -1.1805 | -1.0913 | -9.4442 | -5.694 | -8.7228 | -27.2758 | 4.799% | -6.164% | 3.633% | -2.114% | -1.247% | -2.922% | -0.1275% | -5.506% | -3.42% | -14.29% | -15.33% | -10.31% | -6.108%
Newport PS | VNPS | 39.9565 | 38.028 | 10.8085 | 5.4347 | 2.7973 | 8.2594 | 39.909 | 45.0015 | 31.6865 | 142.301 | 69.2831 | 95.3826 | 528.8482 | 43.9018 | 36.2021 | 12.0535 | 5.9275 | 2.5814 | 8.0426 | 39.8712 | 42.7953 | 31.5962 | 121.9469 | 57.9365 | 86.1128 | 488.9678 | 3.9452 | -1.8259 | 1.245 | 0.49283 | -0.21586 | -0.2168 | -0.037875 | -2.2062 | -0.090272 | -20.3541 | -11.3466 | -9.2698 | -39.8804 | 9.874% | -4.802% | 11.52% | 9.068% | -7.717% | -2.625% | -0.0949% | -4.903% | -0.2849% | -14.3% | -16.38% | -9.719% | -7.541%
Somerton PS | VSOM | 9.1887 | 12.3351 | 3.6287 | 0.40141 | -0.051027 | -0.1163 | 0.2619 | 0.2815 | -0.094941 | 8.6836 | 7.9179 | 18.6134 | 61.0498 | 9.1881 | 12.333 | 3.6286 | 0.40125 | -0.050995 | -0.1163 | 0.26185 | 0.28144 | -0.095005 | 8.6802 | 7.9166 | 18.6109 | 61.0398 | -0.000549 | -0.002034 | -3.3e-05 | -0.000165 | 3.2e-05 | -1e-06 | -4.4e-05 | -6.4e-05 | -6.4e-05 | -0.003403 | -0.001235 | -0.002492 | -0.010052 | -0.005975% | -0.01649% | -0.0009094% | 0% | 0% | 0% | 0% | 0% | 0% | -0.03919% | -0.0156% | -0.01339% | -0.01647%
Bogong PS And McKay PS | VT14 | 32.4174 | 25.2306 | 26.383 | 25.7822 | 22.8772 | 15.2329 | 22.4434 | 7.2545 | 7.9026 | 8.4669 | 21.31 | 19.7141 | 235.0148 | 32.4174 | 25.2286 | 26.3806 | 25.7821 | 22.8756 | 15.233 | 22.4433 | 7.2543 | 7.9026 | 8.4657 | 21.3099 | 19.714 | 235.0071 | -3e-06 | -0.002031 | -0.002384 | -8e-05 | -0.001547 | 6e-05 | -8.3e-05 | -0.000113 | -5.5e-05 | -0.001267 | -1.6e-05 | -0.000105 | -0.007624 | -9.254e-06% | -0.00805% | -0.009036% | -0.0003103% | -0.006762% | 0.0003939% | -0.0003698% | -0.001558% | -0.000696% | -0.01496% | -7.508e-05% | -0.0005326% | -0.003244%
Valley Power | VLYP7 | 0.1726 | -0.10897 | -0.15243 | 0.16514 | -0.01909 | -0.032182 | -0.12146 | 0.079067 | 0.17399 | 1.5765 | 50.7912 | 22.3182 | 74.8425 | 0.1729 | -0.10484 | -0.14095 | 0.16908 | -0.002685 | -0.039395 | -0.11478 | 0.05311 | 0.16923 | 1.399 | 45.1573 | 20.0613 | 66.7792 | 0.000296 | 0.0041345 | 0.01149 | 0.003932 | 0.016405 | -0.0072135 | 0.00668 | -0.025957 | -0.0047635 | -0.17746 | -5.6339 | -2.2569 | -8.0633 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -11.26% | -11.09% | -10.11% | -10.77%
West Kiewa PS | VWKP | 0.68333 | 18.1194 | 22.0253 | 16.7461 | 15.1357 | 11.1858 | 14.3911 | 6.2926 | 3.5836 | 5.8696 | 10.8651 | 18.9286 | 143.8263 | 0.68328 | 18.1193 | 22.0081 | 16.7433 | 15.126 | 11.1567 | 14.3715 | 6.2747 | 3.5812 | 5.8413 | 10.8469 | 18.892 | 143.6442 | -5.1e-05 | -4.3e-05 | -0.017181 | -0.002848 | -0.009685 | -0.029075 | -0.019666 | -0.017961 | -0.002414 | -0.028284 | -0.018241 | -0.036594 | -0.18204 | 0% | -0.0002373% | -0.07801% | -0.01701% | -0.06399% | -0.2599% | -0.1367% | -0.2854% | -0.06736% | -0.4819% | -0.1679% | -0.1933% | -0.1266%
Yallourn PS Units 2, 3 and 4 | VYP2 | 605.6723 | 562.6131 | 391.5371 | 383.7382 | 350.582 | 394.5628 | 524.4316 | 360.7913 | 584.9319 | 419.4184 | 701.4936 | 621.1802 | 5900.9527 | 596.078 | 461.1885 | 271.9657 | 515.021 | 546.8109 | 566.0202 | 501.3683 | 335.4978 | 554.668 | 352.3494 | 599.893 | 549.8989 | 5850.7598 | -9.5943 | -101.4246 | -119.5714 | 131.2828 | 196.2289 | 171.4573 | -23.0633 | -25.2936 | -30.264 | -67.069 | -101.6006 | -71.2813 | -50.193 | -1.584% | -18.03% | -30.54% | 34.21% | 55.97% | 43.46% | -4.398% | -7.011% | -5.174% | -15.99% | -14.48% | -11.48% | -0.8506%
Yallourn PS Unit 1 220 kV | VYP3220 | 210.0548 | 122.9834 | 191.7558 | 140.1051 | 137.6369 | 169.5402 | 235.6969 | 77.7003 | 193.0647 | 113.9683 | 42.59 | 33.2129 | 1668.3094 | 0 | 0.47711 | 0 | 0 | 8.0787 | 0.23681 | 0 | 1.2451 | 0.29772 | 0.23013 | 4.7476 | 14.6281 | 29.9413 | -210.0548 | -122.5063 | -191.7558 | -140.1051 | -129.5582 | -169.3034 | -235.6969 | -76.4552 | -192.767 | -113.7382 | -37.8424 | -18.5848 | -1638.3681 | -100% | -99.61% | -100% | -100% | -94.13% | -99.86% | -100% | -98.4% | -99.85% | -99.8% | -88.85% | -55.96% | -98.21%
Yallourn PS Unit 1 500 kV | VYP3500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 203.2257 | 108.2356 | 179.074 | 134.1573 | 121.2757 | 149.8191 | 215.3403 | 70.0441 | 177.2763 | 95.2254 | 33.8658 | 14.0434 | 1501.5829 | 203.2257 | 108.2356 | 179.074 | 134.1573 | 121.2757 | 149.8191 | 215.3403 | 70.0441 | 177.2763 | 95.2254 | 33.8658 | 14.0434 | 1501.5829 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
VIC Wind farms and Solar farms (Note 1)
SA
Generator | TNI | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total
Angaston PS | SANG | 0.19224 | -0.096172 | -0.055775 | -0.11954 | -0.10712 | 0.17486 | 0.10399 | -0.089809 | -0.012487 | -0.081687 | 2.2214 | 7.4701 | 9.6001 | 0.24346 | -0.088035 | -0.042885 | -0.097035 | -0.09131 | 0.15433 | 0.12025 | -0.080185 | 0.00977 | -0.06763 | 1.9905 | 6.6926 | 8.7438 | 0.051212 | 0.008137 | 0.01289 | 0.022506 | 0.015813 | -0.02053 | 0.016258 | 0.009624 | 0.022257 | 0.014057 | -0.23093 | -0.77755 | -0.85625 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -10.4% | -10.41% | -8.919%
Barker Inlet PS | SBPS | 40.7062 | 32.5516 | 16.0208 | 10.4616 | 11.8683 | 12.9016 | 12.3981 | 3.6082 | 16.2118 | 45.9925 | 41.5404 | 52.4283 | 296.6893 | 42.3666 | 30.7974 | 17.0409 | 11.4127 | 11.566 | 12.1993 | 12.4146 | 3.5113 | 15.8543 | 39.3762 | 36.6489 | 47.048 | 280.2361 | 1.6604 | -1.7542 | 1.02 | 0.95108 | -0.30224 | -0.7023 | 0.01647 | -0.096966 | -0.35742 | -6.6163 | -4.8915 | -5.3803 | -16.4532 | 4.079% | -5.389% | 6.367% | 9.091% | -2.547% | -5.443% | 0.1328% | -2.687% | -2.205% | -14.39% | -11.78% | -10.26% | -5.546%
Lonsdale Cummins PS | SMVE1 | -0.033371 | -0.070489 | -0.0519 | -0.066925 | -0.018106 | -0.027814 | -0.038602 | -0.055528 | -0.04739 | -0.058926 | 0.53974 | 2.9577 | 3.0284 | -0.01118 | -0.062935 | -0.044565 | -0.055575 | -0.013235 | -0.015025 | -0.03061 | -0.04974 | -0.041155 | -0.04908 | 0.48952 | 2.6475 | 2.7639 | 0.022191 | 0.007554 | 0.007335 | 0.01135 | 0.004871 | 0.012789 | 0.007992 | 0.005788 | 0.006235 | 0.009846 | -0.050215 | -0.31024 | -0.2645 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -10.49% | -8.734%
Dry Creek PS Units 1 and 2 | SDPS | 0.27901 | 0.59239 | 0.4254 | 0.29418 | 0.10245 | 0.33623 | 1.0569 | 0.00541 | 0.32431 | 0.84259 | 6.7057 | 1.9225 | 12.8871 | 0.31661 | 0.58071 | 0.44843 | 0.2834 | 0.097245 | 0.31771 | 1.0313 | 0.00466 | 0.31247 | 0.73347 | 5.7354 | 1.7198 | 11.5811 | 0.037591 | -0.01167 | 0.023026 | -0.010783 | -0.005206 | -0.018523 | -0.025645 | -0.00075 | -0.011843 | -0.10912 | -0.97024 | -0.20277 | -1.3059 | 0% | 0% | 0% | 0% | 0% | 0% | -2.426% | 0% | 0% | 0% | -14.47% | -10.55% | -10.13%
Dry Creek PS Unit 3 | SDPS3 | 0.50243 | 0.38114 | 0.085675 | 0.35894 | 0.073304 | 0.6155 | 1.0669 | 0.27186 | 0.36993 | 3.8081 | 5.0631 | 1.7316 | 14.3285 | 0.54986 | 0.35145 | 0.086205 | 0.33899 | 0.06878 | 0.54798 | 0.95981 | 0.2148 | 0.33307 | 3.2605 | 4.2289 | 1.4911 | 12.4314 | 0.047435 | -0.029697 | 0.00053 | -0.019947 | -0.004524 | -0.067524 | -0.10713 | -0.057056 | -0.03686 | -0.54753 | -0.83419 | -0.24052 | -1.897 | 0% | 0% | 0% | 0% | 0% | 0% | -10.04% | 0% | 0% | -14.38% | -16.48% | -13.89% | -13.24%
Hallett PS | SHPS | 4.276 | 2.9754 | 2.1853 | 0.98543 | 2.0716 | 2.8206 | 6.9343 | 4.0146 | 6.6002 | 12.3627 | 12.1491 | 5.3813 | 62.7564 | 10.8425 | 2.8501 | 3.9941 | 1.8902 | 2.384 | 2.6855 | 7.5771 | 3.919 | 7.0879 | 10.7096 | 11.374 | 4.9188 | 70.2327 | 6.5666 | -0.12536 | 1.8088 | 0.90476 | 0.31238 | -0.13515 | 0.64279 | -0.095608 | 0.48772 | -1.6531 | -0.775 | -0.46247 | 7.4763 | >100% | -4.213% | 82.77% | 0% | 15.08% | -4.791% | 9.27% | -2.382% | 7.389% | -13.37% | -6.379% | -8.594% | 11.91%
Mintaro PS | SMPS | 1.7412 | 0.62588 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.3671 | 1.7957 | 0.58135 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.377 | 0.054484 | -0.044527 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.009957 | 3.129% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0.4206%
OCPL PS | SOCP | 67.3463 | 72.0979 | 67.6124 | 59.0923 | 25.1843 | 20.8636 | 32.58 | 14.5789 | 0 | 97.5059 | 69.7778 | 73.6074 | 600.2467 | 66.729 | 65.3912 | 65.1591 | 56.2474 | 23.0904 | 18.8506 | 31.8309 | 13.5449 | -1.1001 | 82.3703 | 59.7271 | 65.3273 | 547.1682 | -0.61735 | -6.7067 | -2.4533 | -2.8448 | -2.0938 | -2.013 | -0.7491 | -1.0339 | -1.1001 | -15.1356 | -10.0506 | -8.28 | -53.0784 | -0.9167% | -9.302% | -3.628% | -4.814% | -8.314% | -9.649% | -2.299% | -7.092% | 0% | -15.52% | -14.4% | -11.25% | -8.843%
Ladbroke Grove PS | SPEW | 6.4229 | 13.012 | 4.9676 | 0.52312 | 1.7954 | 1.5872 | 2.3976 | 1.1101 | 0.70356 | 5.6107 | 1.4502 | 1.5739 | 41.1544 | 6.3624 | 11.8982 | 4.8373 | 0.50999 | 1.62 | 1.3692 | 2.2028 | 0.97741 | 0.61006 | 4.7708 | 1.2501 | 1.3849 | 37.7931 | -0.060508 | -1.1139 | -0.13026 | -0.013126 | -0.17544 | -0.21809 | -0.19483 | -0.13268 | -0.093503 | -0.83986 | -0.20014 | -0.18901 | -3.3613 | -0.9421% | -8.56% | -2.622% | 0% | -9.772% | -13.74% | -8.126% | -11.95% | 0% | -14.97% | -13.8% | -12.01% | -8.168%
Port Lincoln PS Unit 3 (33 kV) | SPL3 | -0.054589 | -0.18231 | -0.65839 | -0.77974 | -0.24706 | -0.41662 | -0.19924 | -0.26312 | -0.24722 | -0.15048 | 0.63314 | 1.0067 | -1.5589 | -0.03448 | -0.13741 | -0.5163 | -0.65458 | -0.095155 | -0.10791 | -0.11441 | -0.17732 | -0.1505 | -0.10728 | 0.52317 | 0.89419 | -0.678 | 0.020109 | 0.044905 | 0.14209 | 0.12517 | 0.15191 | 0.30871 | 0.084825 | 0.085802 | 0.096715 | 0.043199 | -0.10997 | -0.11251 | 0.88094 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -11.18% | 56.51%
Port Stanvac PS | SMVE3P | 0.4452 | 0.023506 | 0.10767 | 0.012411 | 0.02148 | 0.58209 | 0.22252 | 0.008593 | 0.10776 | 0.16958 | 4.5632 | 8.17 | 14.434 | 0.52694 | 0.01767 | 0.15679 | 0.02116 | 0.01954 | 0.51755 | 0.23363 | 0.007985 | 0.11944 | 0.14206 | 4.0439 | 7.3627 | 13.1693 | 0.081734 | -0.005836 | 0.049126 | 0.008749 | -0.00194 | -0.064536 | 0.011114 | -0.000608 | 0.01169 | -0.027523 | -0.51926 | -0.80737 | -1.2647 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -11.38% | -9.882% | -8.762%
Pelican Point PS | SPPT | 194.1265 | 221.6214 | 177.7021 | 129.7313 | 129.3473 | 121.7073 | 155.0532 | 161.6959 | 180.7936 | -0.074211 | 117.2862 | 227.1703 | 1816.1608 | 194.6749 | 202.7827 | 170.6431 | 130.9011 | 122.3151 | 112.1614 | 150.5955 | 151.4741 | 172.4346 | -0.061455 | 104.0712 | 200.3324 | 1712.3246 | 0.54844 | -18.8387 | -7.059 | 1.1698 | -7.0322 | -9.5459 | -4.4577 | -10.2218 | -8.3589 | 0.012756 | -13.215 | -26.8379 | -103.8362 | 0.2825% | -8.5% | -3.972% | 0.9017% | -5.437% | -7.843% | -2.875% | -6.322% | -4.623% | 0% | -11.27% | -11.81% | -5.717%
Port Lincoln PS Units 1 and 2 (132 kV) | SPTL | 0.36982 | -0.009993 | -0.016265 | -0.006615 | 0.001752 | -0.017637 | 0.03525 | -0.017188 | 0.001223 | -0.014366 | 1.0827 | 1.354 | 2.7626 | 0.38543 | -0.009885 | -0.014785 | 0.013265 | 0.003125 | -0.014355 | 0.038115 | -0.015285 | 0.001125 | -0.011435 | 0.91743 | 1.2383 | 2.5311 | 0.015614 | 0.000108 | 0.00148 | 0.01988 | 0.001373 | 0.003282 | 0.002865 | 0.001903 | -9.8e-05 | 0.002931 | -0.16524 | -0.11562 | -0.23152 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -15.26% | -8.539% | -8.38%
Quarantine PS | SQPS | 11.3356 | 13.8686 | 9.5277 | 0.24196 | 1.0537 | 2.1848 | 1.4693 | 1.8622 | 1.9165 | 17.6168 | 19.2002 | 11.8486 | 92.126 | 10.7572 | 12.9587 | 9.4114 | 0.30675 | 0.8223 | 1.5331 | 1.2943 | 1.2492 | 1.3089 | 13.517 | 15.006 | 9.2476 | 77.4125 | -0.57842 | -0.90993 | -0.1163 | 0.064789 | -0.23144 | -0.6517 | -0.17498 | -0.61294 | -0.60756 | -4.0998 | -4.1942 | -2.601 | -14.7135 | -5.103% | -6.561% | -1.221% | 0% | -21.96% | -29.83% | -11.91% | -32.92% | -31.7% | -23.27% | -21.84% | -21.95% | -15.97%
Snuggery PS | SSPS | 0.33926 | -0.081321 | -0.077207 | -0.082023 | -0.051767 | -0.065993 | -0.023039 | -0.060433 | -0.081992 | -0.043913 | 1.6422 | 1.3894 | 2.8032 | 0.47507 | -0.072625 | -0.068315 | -0.07209 | -0.04588 | -0.052445 | -0.015315 | -0.054495 | -0.07365 | -0.034765 | 1.3434 | 1.2457 | 2.5746 | 0.13582 | 0.008696 | 0.008892 | 0.009933 | 0.005887 | 0.013548 | 0.007724 | 0.005938 | 0.008342 | 0.009148 | -0.29878 | -0.14375 | -0.2286 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | -18.19% | -10.35% | -8.155%
Torrens Island PS A and B | STPS | 153.471 | 125.9098 | 76.2952 | 60.927 | 59.9748 | 50.9361 | 62.7608 | 42.5413 | 55.1744 | 95.052 | 90.3708 | 122.2458 | 995.6589 | 119.1091 | 66.1277 | 41.4734 | 67.2759 | 52.9465 | 40.89 | 60.1963 | 38.1024 | 41.935 | 47.9737 | 43.4597 | 109.0656 | 728.5554 | -34.3618 | -59.7822 | -34.8217 | 6.349 | -7.0283 | -10.0461 | -2.5645 | -4.439 | -13.2393 | -47.0782 | -46.911 | -13.1802 | -267.1034 | -22.39% | -47.48% | -45.64% | 10.42% | -11.72% | -19.72% | -4.086% | -10.43% | -24% | -49.53% | -51.91% | -10.78% | -26.83%
SA Wind farms and Solar farms (Note 1)
TAS
Generator | TNI | 2021-07-01 | 2021-08-01 | 2021-09-01 | 2021-10-01 | 2021-11-01 | 2021-12-01 | 2022-01-01 | 2022-02-01 | 2022-03-01 | 2022-04-01 | 2022-05-01 | 2022-06-01 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total | 2023-07-01 | 2023-08-01 | 2023-09-01 | 2023-10-01 | 2023-11-01 | 2023-12-01 | 2024-01-01 | 2024-02-01 | 2024-02-29 | 2024-03-31 | 2024-04-30 | 2024-05-31 | Grand Total
Bell Bay and Tamar Valley OCGT | TBB1 | 0.30301 | -3.0565 | -1.9436 | -1.897 | -2.6181 | -2.5192 | 1.0612 | 2.532 | 7.0696 | 30.3153 | 3.9653 | 2.8423 | 36.0544 | 93.0147 | 98.7739 | 92.3587 | 84.4182 | 83.4777 | 69.9901 | 79.3192 | 72.2052 | 94.5207 | 98.9256 | 87.835 | 90.4852 | 1045.324 | 92.7116 | 101.8304 | 94.3023 | 86.3152 | 86.0958 | 72.5093 | 78.258 | 69.6732 | 87.4511 | 68.6102 | 83.8696 | 87.6429 | 1009.2697 | 0% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100% | >100%
Cethana | TCE1 | 50.0328 | 59.4383 | 49.4875 | 48.5577 | 40.3089 | 15.128 | 2.7403 | -0.66383 | 2.4705 | 6.0219 | 40.942 | 52.7026 | 367.1665 | 49.8541 | 57.894 | 48.3383 | 47.8939 | 39.9994 | 15.7311 | 3.8973 | 0.35184 | 3.0221 | 7.4053 | 40.9151 | 52.5973 | 367.8998 | -0.17876 | -1.5442 | -1.1492 | -0.66376 | -0.30952 | 0.60319 | 1.157 | 1.0157 | 0.55165 | 1.3835 | -0.026871 | -0.10538 | 0.73332 | -0.3573% | -2.598% | -2.322% | -1.367% | -0.7679% | 3.987% | 42.22% | 0% | 22.33% | 22.97% | -0.06563% | -0.2% | 0.1997%
Devils Gate | TDG1 | 35.744 | 40.8014 | 35.7996 | 37.055 | 30.9707 | 10.1521 | 2.5155 | 0.10284 | 2.786 | 6.196 | 32.2649 | 34.1043 | 268.4924 | 35.5302 | 40.0008 | 35.148 | 36.5287 | 30.7565 | 10.086 | 2.656 | 0.24999 | 3.0105 | 6.853 | 32.2896 | 33.8861 | 266.9954 | -0.21385 | -0.80057 | -0.65162 | -0.52628 | -0.21418 | -0.066051 | 0.14041 | 0.14715 | 0.22455 | 0.65693 | 0.02475 | -0.2182 | -1.497 | -0.5983% | -1.962% | -1.82% | -1.42% | -0.6916% | -0.6506% | 5.581% | 0% | 8.06% | 10.6% | 0.07671% | -0.6398% | -0.5575%
Bastyan | TFA1 | 32.4506 | 54.0654 | 49.3237 | 49.2351 | 21.6359 | 10.47 | 11.3321 | 2.1574 | 7.1802 | 5.5995 | 38.1768 | 39.9538 | 321.5805 | 32.4833 | 54.1393 | 49.3214 | 49.2334 | 21.7541 | 10.4368 | 11.3429 | 2.2636 | 7.3736 | 6.562 | 38.1694 | 39.931 | 323.0107 | 0.032668 | 0.073962 | -0.002257 | -0.001781 | 0.11815 | -0.033269 | 0.010757 | 0.10615 | 0.19343 | 0.96257 | -0.00748 | -0.022771 | 1.4301 | 0.1007% | 0.1368% | -0.004576% | -0.003617% | 0.5461% | -0.3178% | 0.09493% | 4.92% | 2.694% | 17.19% | -0.01959% | -0.05699% | 0.4447%
Gordon | TGO1 | 115.0986 | 37.4199 | 25.2429 | 22.0055 | 54.2357 | 92.7177 | 235.2794 | 215.541 | 240.763 | 241.0657 | 199.1759 | 139.9486 | 1618.4939 | 115.8014 | 41.3282 | 27.8265 | 22.8458 | 54.1358 | 92.3851 | 234.139 | 215.3568 | 240.8958 | 241.4888 | 199.5889 | 140.7005 | 1626.4926 | 0.70282 | 3.9084 | 2.5836 | 0.84031 | -0.099913 | -0.33267 | -1.1404 | -0.18427 | 0.13286 | 0.42318 | 0.41295 | 0.75189 | 7.9987 | 0.6106% | 10.44% | 10.23% | 3.819% | -0.1842% | -0.3588% | -0.4847% | -0.08549% | 0.05518% | 0.1755% | 0.2073% | 0.5373% | 0.4942%
John Butters | TJB1 | 49.6273 | 67.5547 | 58.3219 | 49.8019 | 57.0417 | 31.0768 | 39.589 | 17.84 | 31.5498 | 18.8611 | 26.3947 | 44.06 | 491.7189 | 49.5812 | 67.4224 | 57.8093 | 48.9874 | 56.7778 | 31.6775 | 39.7278 | 18.2916 | 31.779 | 20.7644 | 26.7933 | 44.19 | 493.8016 | -0.046103 | -0.13237 | -0.51261 | -0.81446 | -0.2639 | 0.60068 | 0.13878 | 0.45156 | 0.22925 | 1.9033 | 0.39864 | 0.13 | 2.0827 | -0.0929% | -0.1959% | -0.8789% | -1.635% | -0.4627% | 1.933% | 0.3506% | 2.531% | 0.7266% | 10.09% | 1.51% | 0.2951% | 0.4236%
Lake Echo | TLE1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.71288 | 0.71288 | 0.23583 | 0.53853 | 0.26696 | 0.09532 | 0.049895 | 0 | 0.09168 | 0.06937 | 0.15258 | 0.52433 | 0.15734 | 0.94287 | 3.1247 | 0.23583 | 0.53853 | 0.26696 | 0.09532 | 0.049895 | 0 | 0.09168 | 0.06937 | 0.15258 | 0.52433 | 0.15734 | 0.22999 | 2.4118 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | >100%
Liapootah, Wayatinah and Catagunya | TLI1 | 77.5422 | 89.5679 | 95.1514 | 92.9377 | 94.7901 | 53.6973 | 50.6887 | 48.0842 | 42.7161 | 59.5528 | 49.651 | 68.073 | 822.4525 | 77.9115 | 90.4822 | 95.3698 | 93.0345 | 94.8454 | 53.6973 | 50.8715 | 48.227 | 43.2556 | 60.966 | 50.2129 | 68.4398 | 827.3135 | 0.36931 | 0.91428 | 0.21845 | 0.096752 | 0.05531 | 3e-06 | 0.18278 | 0.14276 | 0.53953 | 1.4132 | 0.56197 | 0.36675 | 4.8611 | 0.4763% | 1.021% | 0.2296% | 0.1041% | 0.05835% | 5.587e-06% | 0.3606% | 0.2969% | 1.263% | 2.373% | 1.132% | 0.5388% | 0.591%
Mackintosh | TMA1 | 24.056 | 56.1923 | 50.7041 | 49.7288 | 22.6802 | 10.715 | 10.1852 | 1.5476 | 6.1098 | 5.0923 | 36.1887 | 37.4629 | 310.6629 | 24.4441 | 52.8217 | 47.2976 | 47.7937 | 22.293 | 10.5543 | 10.9189 | 2.3845 | 6.4485 | 6.2212 | 36.2196 | 36.8913 | 304.2884 | 0.38809 | -3.3706 | -3.4065 | -1.935 | -0.38727 | -0.16068 | 0.73368 | 0.83695 | 0.33871 | 1.1289 | 0.030913 | -0.57167 | -6.3745 | 1.613% | -5.998% | -6.718% | -3.891% | -1.708% | -1.5% | 7.203% | 54.08% | 5.544% | 22.17% | 0.08542% | -1.526% | -2.052%
Meadowbank | TMB1 | 15.7795 | 28.1117 | 26.5267 | 24.8832 | 23.4976 | 7.8037 | 6.9106 | 6.453 | 7.1926 | 8.6941 | 11.6188 | 15.3534 | 182.8247 | 15.8844 | 28.0636 | 26.464 | 24.8489 | 23.4788 | 7.5288 | 6.8471 | 6.4126 | 7.2064 | 9.2256 | 11.7309 | 15.409 | 183.1 | 0.10497 | -0.048099 | -0.062638 | -0.034231 | -0.018842 | -0.2749 | -0.063527 | -0.040448 | 0.013834 | 0.5315 | 0.11206 | 0.055619 | 0.2753 | 0.6652% | -0.1711% | -0.2361% | -0.1376% | -0.08019% | -3.523% | -0.9193% | -0.6268% | 0.1923% | 6.113% | 0.9645% | 0.3623% | 0.1506%
Poatina 3, 4, 5 and 6 (220 kV) | TPM1 | 92.1215 | 70.4261 | 44.6682 | 27.8606 | 77.9864 | 119.452 | 78.1662 | 77.007 | 105.3292 | 110.858 | 105.1659 | 63.2187 | 972.2597 | 83.2208 | 60.985 | 39.0021 | 24.5236 | 65.2007 | 118.7628 | 78.2939 | 77.1303 | 103.5506 | 87.4993 | 96.8322 | 61.6276 | 896.6288 | -8.9007 | -9.4411 | -5.6662 | -3.337 | -12.7857 | -0.68921 | 0.12774 | 0.12329 | -1.7786 | -23.3587 | -8.3336 | -1.5911 | -75.6309 | -9.662% | -13.41% | -12.69% | -11.98% | -16.39% | -0.577% | 0.1634% | 0.1601% | -1.689% | -21.07% | -7.924% | -2.517% | -7.779%
Poatina 1 and 2 (110 kV) | TPM2 | 40.6859 | 20.5688 | 20.9319 | 13.2053 | 24.8363 | 41.6572 | 40.1615 | 50.8724 | 59.3587 | 50.1143 | 54.9493 | 54.0886 | 471.4301 | 40.9256 | 21.7213 | 21.2591 | 13.3218 | 24.9312 | 40.1974 | 24.8973 | 30.3201 | 34.4995 | 50.6403 | 54.9737 | 52.2085 | 409.8957 | 0.23965 | 1.1525 | 0.32718 | 0.1165 | 0.094881 | -1.4598 | -15.2642 | -20.5523 | -24.8592 | 0.52606 | 0.02437 | -1.8801 | -61.5344 | 0.589% | 5.603% | 1.563% | 0.8822% | 0.382% | -3.504% | -38.01% | -40.4% | -41.88% | 1.05% | 0.04435% | -3.476% | -13.05%
Reece 1 | TRCA | 51.6636 | 78.6786 | 64.8383 | 56.0627 | 27.8248 | 8.8913 | 7.2948 | 2.6017 | 7.5367 | 2.0545 | 50.5495 | 61.3511 | 419.3477 | 51.4519 | 76.5238 | 63.7966 | 55.6606 | 28.3167 | 9.9112 | 8.1422 | 3.8338 | 8.0299 | 4.194 | 50.5896 | 61.3926 | 421.8429 | -0.21165 | -2.1548 | -1.0417 | -0.40214 | 0.49195 | 1.0199 | 0.84743 | 1.2321 | 0.49313 | 2.1395 | 0.04008 | 0.041407 | 2.4952 | -0.4097% | -2.739% | -1.607% | -0.7173% | 1.768% | 11.47% | 11.62% | 47.36% | 6.543% | >100% | 0.07929% | 0.06749% | 0.595%
Reece 2 | TRCB | 45.6519 | 76.4797 | 62.5697 | 61.3579 | 32.6027 | 11.7318 | 14.0165 | 0.98781 | 5.0424 | 8.1546 | 51.5452 | 61.8899 | 432.03 | 45.7609 | 74.6037 | 61.8931 | 60.7419 | 32.3089 | 11.649 | 14.2315 | 1.842 | 5.6478 | 10.1461 | 51.3557 | 61.7422 | 431.9227 | 0.10895 | -1.876 | -0.67656 | -0.61599 | -0.29377 | -0.082747 | 0.21501 | 0.85416 | 0.60535 | 1.9915 | -0.18957 | -0.1477 | -0.10737 | 0.2386% | -2.453% | -1.081% | -1.004% | -0.9011% | -0.7053% | 1.534% | 0% | 12.01% | 24.42% | -0.3678% | -0.2387% | -0.02485%
Lemonthyme / Wilmot | TSH1 | 51.8407 | 59.9052 | 51.4147 | 52.9331 | 44.1611 | 24.6668 | 3.1597 | 0.21559 | 3.7727 | 5.9569 | 38.6275 | 56.0279 | 392.6821 | 51.9291 | 59.9347 | 51.4322 | 52.978 | 44.1833 | 24.6337 | 3.3756 | 0.42073 | 4.1297 | 7.2051 | 38.709 | 56.049 | 394.9801 | 0.088363 | 0.029499 | 0.017456 | 0.044855 | 0.022207 | -0.033107 | 0.21586 | 0.20514 | 0.35692 | 1.2482 | 0.081529 | 0.021061 | 2.298 | 0.1705% | 0.04924% | 0.03395% | 0.08474% | 0.05029% | -0.1342% | 6.832% | 0% | 9.461% | 20.95% | 0.2111% | 0.03759% | 0.5852%
Tarraleah | TTA1 | 55.5772 | 53.4886 | 56.2442 | 55.8061 | 54.1278 | 52.9043 | 51.8216 | 45.1934 | 27.1447 | 52.6515 | 40.8925 | 41.6433 | 587.4953 | 52.824 | 48.9594 | 51.12 | 52.824 | 51.1187 | 51.3355 | 51.2971 | 45.1978 | 27.2367 | 50.7655 | 39.8858 | 40.2235 | 562.7881 | -2.7532 | -4.5292 | -5.1242 | -2.9821 | -3.0091 | -1.5688 | -0.52453 | 0.004346 | 0.092048 | -1.8859 | -1.0067 | -1.4198 | -24.7072 | -4.954% | -8.468% | -9.111% | -5.344% | -5.559% | -2.965% | -1.012% | 0.009616% | 0.3391% | -3.582% | -2.462% | -3.409% | -4.206%
Tribute | TTI1 | 30.1316 | 40.8222 | 28.0336 | 20.1919 | 14.034 | 12.4822 | 0.047585 | 0.061217 | 7.6e-05 | 3.6829 | 30.925 | 30.7079 | 211.1203 | 30.1336 | 40.9056 | 28.0085 | 20.1478 | 14.0073 | 12.421 | 0.31855 | 0.26664 | 0.45774 | 4.8576 | 30.8596 | 30.8245 | 213.2084 | 0.001979 | 0.083329 | -0.025147 | -0.044143 | -0.026607 | -0.061163 | 0.27096 | 0.20542 | 0.45766 | 1.1747 | -0.065394 | 0.11655 | 2.0881 | 0.006568% | 0.2041% | -0.0897% | -0.2186% | -0.1896% | -0.49% | 0% | 0% | 0% | 31.89% | -0.2115% | 0.3796% | 0.9891%
Trevallyn | TTR1 | 58.7346 | 59.1803 | 42.5758 | 32.3724 | 40.0826 | 25.6015 | 30.0096 | 20.5403 | 33.408 | 29.9144 | 37.4322 | 37.9977 | 447.8495 | 58.8942 | 59.5472 | 42.8913 | 32.5374 | 40.1509 | 25.6016 | 30.1757 | 20.6913 | 33.6561 | 30.8966 | 37.7079 | 38.371 | 451.121 | 0.15958 | 0.36684 | 0.31546 | 0.16497 | 0.068263 | 2.7e-05 | 0.16615 | 0.151 | 0.2481 | 0.98221 | 0.27568 | 0.37325 | 3.2715 | 0.2717% | 0.6199% | 0.7409% | 0.5096% | 0.1703% | 0.0001055% | 0.5536% | 0.7351% | 0.7426% | 3.283% | 0.7365% | 0.9823% | 0.7305%
Tungatinah | TTU1 | 38.1173 | 72.7536 | 77.8096 | 59.6279 | 70.1841 | 10.8946 | 9.3515 | 13.3816 | 39.3353 | 24.4489 | 22.7066 | 46.467 | 485.0782 | 37.9783 | 70.1487 | 73.5581 | 56.9703 | 68.118 | 10.8814 | 9.4925 | 13.4524 | 39.1811 | 25.6232 | 23.0224 | 46.4642 | 474.8905 | -0.13905 | -2.6049 | -4.2515 | -2.6576 | -2.0661 | -0.013177 | 0.14093 | 0.07081 | -0.15424 | 1.1743 | 0.3158 | -0.002864 | -10.1877 | -0.3648% | -3.58% | -5.464% | -4.457% | -2.944% | -0.121% | 1.507% | 0.5292% | -0.3921% | 4.803% | 1.391% | -0.006164% | -2.1%
Tamar Valley CCGT | TTV1 | -0.40382 | -0.41894 | -0.40825 | -0.41825 | -0.38707 | -0.39671 | -0.38064 | -0.36858 | -0.40176 | -0.40005 | -0.42341 | -0.39063 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5e-06 | -4.5e-05 | -5e-05 | 0.40382 | 0.41894 | 0.40825 | 0.41825 | 0.38707 | 0.39671 | 0.38064 | 0.36858 | 0.40176 | 0.40005 | 0.42341 | 0.39058 | -5e-05 | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
TAS Wind farms and Solar farms(Note 1)
Fisher/Rowallan (Note 2)
Note 1
Wind farms and solar farms are not shown since per clause 5.5.7 of the Methodology, the output of transmission connected wind farms and solar farms are not adjusted.
Note 2
Fisher, a Scheduled generator, and Rowallan, a Non-Scheduled generator, are connected at the same TNI (TFI1).
For simplicity Fisher and Rowallan are combined and defined as a Non-Scheduled generator during MLF calculations. Therefore, these units are not dispatched and their monthly energy not included above.
Note 3
Reference year data is adjusted to reflect past and future outages.
Note 4
Negative values indicate decrease, positive values indicate increase. Where underlying GWh between > -1 and < 1 value is set to 0%.