## Authorisation
2023 RCM - EOI facilities and connection inf
Version # | Date | Summary of change
0 | 2023-03-31 | Original version
Authorisation
| Date | Title | Name
Approver | 2023-04-13 | Transmission Grid Strategy & Planning Manager | Daniel Cassidy
DM# | 63108611

## Change log
Changes in the proposed arrangement by Western Power in comparison to 2022 EOI submission |  |  |  | Direct connection at the 330kV Landwehr Terminal
| Proponent name or Market Participant name | 2022 RCM | 2023 RCM | Three kilometres of new transmission line to a new transformer at Landwehr
| KING_ROCKS_WF1 | New 33/132 kV substation at the windfarm with 1km cut-in cut-out connection into the kondinin-bounty 132 kV line | Tee connection to KDN-BNY 81 line | Build a 5km new line from Bristol Springs Solar Farm to Point of Connection at Waroona Solar Farm (new customer 330kV substation) then 0.5km cable connection (by Western Power) to Landwehr Terminal
| BRISTOL_SPRINGS_PV1 (Bristol Springs Solar Farm) | Three kilometres of new transmission line to a new transformer at Landwehr | Direct connection to LWT via 330kV line

## WP Connection Advice
Questions
EOI Facility | ALINTA_WGP_U1 | ALINTA_WGP_U2 | AMBRISOLAR_PV1 | BLDR_ESR1 | BRISTOL_SPRINGS_PV1 (Bristol Springs Solar Farm) | BULL_NIGS1 | BWATR_ESR1 | CGEE_ESR1 | COLLIE_ESR1 | COLLIE_ESR1 | COLLIE_ESR2 | COLLIE_ESR3 | COLLIE_ESR4 | COLLIE_NIGS1 | CVALE_ESR1 | DNLLA_ESR1 | EBROOK_ESR1 | EBROOK_ESR2 | Flat Rocks Wind Farm 1 (FLATROCKS_WF1) | HRRSDL_ESR1 | KWINANA_ESR2 | KWINANA_GT3 | KWINANA_GT2 | MDURAH_ESR1 | MSPRING_ESR1 | MUCHEA_ESR1 | MUCHEA_PV1 | PINJAR_GT1 | PINJAR_GT2 | PINJAR_GT6 | PINJAR_GT8 | PKENN_ESR1 | PKENN_ESR2 | PKENN_ESR3 | PMELIA_ESR1 | SBSOLAR1_CUNDERDIN_PV1 | STRTN_ESR1 | TROCK_ESR1 | VSSE_ESR1 | ALINTA_WGP_ESR1 | WANROO_ESR1 | WAROONA_PV1 (Waroona Solar Farm) | WARRADARGE_WF1 | WESTGEN_BYFORD_IG1 | WESTGEN_BYFORD_IG2 | WESTGEN_BYFORD_IG1 | YKINE_ESR1 | PRDSO_AUGUSTA_1_HG1 | PRDSO_AUGUSTA_2_HG1 | PRDSO_BALINGUP_1_HG1 | PRDSO_BALINGUP_2_HG1 | PRDSO_BALINGUP_N1_HG1 | PRDSO_BALINGUP_N2_HG1 | PRDSO_BALINGUP_S1_HG1 | PRDSO_BALINGUP_S2_HG1 | PRDSO_BRUNSWICK_1_HG1 | PRDSO_BRUNSWICK_2_HG1 | PRDSO_CERVANTES_1_HG1 | PRDSO_CERVANTES_2_HG1 | PRDSO_DENMARK_E1_HG1 | PRDSO_DENMARK_E2_HG1 | PRDSO_DENMARK_N1_HG1 | PRDSO_DENMARK_N2_HG1 | PRDSO_DENMARK_W1_HG1 | PRDSO_DENMARK_W2_HG1 | PRDSO_HARVEY_E1_HG1 | PRDSO_HARVEY_E2_HG1 | PRDSO_HARVEY_N1_HG1 | PRDSO_HARVEY_N2_HG1 | PRDSO_HARVEY_S1_HG1 | PRDSO_HARVEY_S2_HG1 | PRDSO_HORROCKS_E_HG1 | PRDSO_HORROCKS_S_HG1 | PRDSO_HORROCKS_W_HG1 | PRDSO_JERRAMANGUP_HG1 | PRDSO_LANCELIN_1_HG1 | PRDSO_LANCELIN_2_HG1 | PRDSO_MULLEWA_HG1 | PRDSO_NANNUP_N_HG1 | PRDSO_NANNUP_S_HG1 | PRDSO_NORTHAMPTON_N1_HG1 | PRDSO_NORTHAMPTON_N2_HG1 | PRDSO_NORTHAMPTON_S1_HG1 | PRDSO_NORTHAMPTON_S2_HG1 | PRDSO_PEMBERTON_HG1 | PRDSO_PORTDENISON_1_HG1 | PRDSO_PORTDENISON_2_HG1 | PRDSO_PORTGREGORY_K1_HG1 | PRDSO_PORTGREGORY_K2_HG1 | PRDSO_PORTGREGORY_N1_HG1 | PRDSO_PORTGREGORY_N2_HG1 | PRDSO_RAVENSTHORPE_HG1 | PRDSO_ROELANDS_1_HG1 | PRDSO_ROELANDS_2_HG1 | PRDSO_YORK_E1_HG1 | PRDSO_YORK_E2_HG1 | PRDSO_YORK_W1_HG1 | PRDSO_YORK_W2_HG1 | KING_ROCKS_WF1 | COCKBURN_CCG1
Western Power Connection Advice | Landwehr Terminal (LWT) | Landwehr Terminal (LWT) | Merredin Substation (MER) | Piccadilly Substation (PCY) | Landwehr Terminal (LWT)- Direct connection to LWT via 330kV line | Wanneroo Substation (WNO) | Morley Substation (MOR) | Bibra Lake Substation (BIB) | Shotts 330kV Terminal (SHO) | CBS connected via (1) New 300m of 330kV line to tee to CPS-SHO 91 line at 300m from CPS & (2) new 3km of 330kV line to SHO | CBS connected via (1) New 300m of 330kV line to tee to CPS-SHO 91 line at 300m from CPS & (2) new 3km of 330kV line to SHO | CBS connected via (1) New 300m of 330kV line to tee to CPS-SHO 91 line at 300m from CPS & (2) new 3km of 330kV line to SHO | CBS connected via (1) New 300m of 330kV line to tee to CPS-SHO 91 line at 300m from CPS & (2) new 3km of 330kV line to SHO | Collie Substation (CO) | Southern River Substation (SNR) | Arkana Substation (A) | Henly Brook Substation (HBK) | Henly Brook Substation (HBK) | FRW1 (new substation) is teed to the existing 132kV Kojonup to Albany (KOJ-ALB81) transmission line. Data in SWIS base case. | Southern River Substation (SNR) | Kwinana 330kV Terminal (KW) | Kwinana 132kV Substation (KW) | Kwinana 132kV Substation (KW) | Mandurah Substation (MH) | Meadow Spring substation (MSS) | Muchea Substation (MUC) | Muchea Substation (MUC) | Pinjar 132kV Substation (PJR) | Pinjar 132kV Substation (PJR) | Pinjar 132kV Substation (PJR) | Pinjar 132kV Substation (PJR) | Waikiki Substation (WAI) | Waikiki Substation (WAI) | Waikiki Substation (WAI) | Medina Substation (MED) | New Cunderdin Solar Farm Substation (CNS) is teed to the MRT-NOR 81 line. Location of connection point in SWIS base case | Midland Junction Substation (MJ) | Yanchep Substation (YP) | Busselton Substation (BSN) | Landwehr Terminal (LWT) | Wanneroo Substation (WNO) | Landwehr Terminal (LWT) | Warradarge Windfarm (WDW) | Byford Substation (BYF) | Byford Substation (BYF) | Byford Substation (BYF) | Yokine Substation (Y) | Beenup Substation (BNP) | Beenup Substation (BNP) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Picton Substation (PIC) | Picton Substation (PIC) | Eneabba Substation (ENB) | Eneabba Substation (ENB) | Albany Substation (ALB) | Albany Substation (ALB) | Albany Substation (ALB) | Albany Substation (ALB) | Albany Substation (ALB) | Albany Substation (ALB) | Marriott Road Substation (MRR) | Marriott Road Substation (MRR) | Marriott Road Substation (MRR) | Marriott Road Substation (MRR) | Marriott Road Substation (MRR) | Marriott Road Substation (MRR) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Katanning Substation (KAT) | Regans Substation (RGN) | Regans Substation (RGN) | Geraldton Substation (GTN) | Bridgetown Substation (BTN) | Bridgetown Substation (BTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Manjimup Substation (MJP) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Geraldton Substation (GTN) | Katanning Substation (KAT) | Picton Substation (PIC) | Picton Substation (PIC) | Northam Substation (NOR) | Northam Substation (NOR) | Northam Substation (NOR) | Northam Substation (NOR) | KRW (tee to KDN-BNY 81 line) | Cockburn Power Station