## Lists (hidden)
The method to be used for determining the ambient temperature at the site of the Facility (where if no method is specified, a constant temperature of 41 degrees Celsius will be assumed) [Appendix 1(b)viii.]
SCADA
41 degrees
BOM
Standing Data: Unconstrained Forecasts
RTMS
SCADA
PERSISTANCE
Specify whether the facility is an Intermittent Load.
NDL with Intermittent Load Status under clause 1.48.2 ("Grandfathered IML")
NDL with Intermittent Load Status under clause 2.30B.2 ("New IML")
NDL without Intermittent Load

## Instructions
Purpose of Application Forms
The completion of this set of applications forms will allow applicants to gain provisional approval from AEMO for: • Facility General Information • Facility Standing Data
Method of Submission
The completed Excel Form and supporting attachments must be emailed to wa.operations@aemo.com.au.
Steps
1 | An applicant must complete all the below forms: • Facility General Information • Facility Standing Data
2 | Supporting documents required for an application must be attached in the email and clearly labelled as per the suggestion in the field. For example in the Facility General Information form > for Evidence for Arrangement of Access [MR 2.33.3.(c)xiv] -> Name attachment "FGI_network_access" and attach to email.
3 | Attach the completed Excel Form and attach all supporting attachments in an email with the respective Facility Name (WEMS Short Name) as the subject line to wa.operations@aemo.com.au Please do not include more than one Facility in an email (i.e. 1 Facility per email).

## Facility General Information
Facility General Information Change Request |  | Applicant Initial Comments | AEMO Consolidated Comments | Reserve Capacity | Prudentials & Settlements | Operational Planning & Forecasting | GPS | Congestion Modelling | Engineering | Real-Time Monitoring | Grid Modelling Operations | Real-Time Operations
General Facility Information
Data Field | New Effective Data
Facility Name (MR 2.33.3.(c)i)
Facility Owner (MR 2.33.3.(c)ii)
Facility Class / Facility Type (MR 2.33.3.(c)iii) | Non-Dispatchable Load
Facility Street Address (MR 2.33.3.(c)iv)
City/Town
State
Postal Code
Country
Associated Intermittent Load
Registration Sub-Type
Remote Flag
Austraclear ID to settle WEM invoices when Facility is registered and operational
Participants must have a valid Austraclear ID or use a 3rd party Austraclear Account ID in the WEMS Market Participant Interface (MPI) to enable the settlement of WEM invoices in relation to their Facility prior to the Facility being registered and operating in the WEM. If you do not have an Austraclear account the must apply to Austraclear for an account and ensure an Austraclear ID is available to AEMO for settlement. Its recommended to arrange this 1 month prior to expected Facility operation date and to confirm application times with Austraclear at https://www.asx.com.au/markets/clearing-and-settlement-services/austraclear Does AEMO have your Austraclear ID in WEMS (under Participant Information screen)? If not please provide reason or details of your Austraclear ID application /arrangement (i.e. use of 3rd party account)
Facility Contact Information [MR2.33.3(c)xii.]
Data Field | New Effective Data
Site Contact Phone (Primary)
Site Contact Phone (Backup)
Site Email Address (Primary)
Site Email Address (Backup)
Other Facility Registration Information
Data Field | New Effective Data
Evidence for Arrangement of Access [MR 2.33.3.(c)xiv] | -> Name attachment "FGI_network_access" and attach to email.
Details of operational control over the Facility [MR 2.33.3.(c)xv], including information on the communication systems [MR 2.33.3.(c)xvii.] | -> Name attachment "FGI_op_control" and attach to email.
Commencement Information
Data Field | New Effective Data
Proposed Date of Commencement of Commissioning of the Facility [MR 2.33.3.(c)xiii.1] | This field is not applicable to a Non-Dispatchable Load and can be left blank.
Current Commissioning Plan [MR 2.33.3.(c)xiii.2] | This field is not applicable to a Non-Dispatchable Load and can be left blank.

## Standing Data
Facility Standing Data Change Request |  | Additional notes | Applicant Initial Comments | Applicant Initial Comments | AEMO Consolidated Comments | Reserve Capacity | Prudentials & Settlements | Operational Planning & Forecasting | GPS | Congestion Modelling | Engineering | Real-Time Monitoring | Grid Modelling Operations | Real-Time Operations
Non-Dispatchable Load
Data Field | New Effective Data
Facility Name
Intermittent Load Status (Choose one of the drop down Options in cell B5) |  | (Choose one of the drop down Options in cell B5)
Intermittent Load Standing Data
Data Field | New Effective Data
The identity of the metering points measuring the Intermittent Loads [Appendix 1(g)i.] |  | The National Meter Identifier (NMI) of each metering points measuring the Intermittent Loads
For each metering point identified in Appendix 1(g)i, the maximum allowed level of Intermittent Load, in MW [Appendix 1(g)ii.] |  | The aggregated maximum allowed level of Intermittent Load behind the metering point(s)
For each metering point identified in Appendix 1(g)i, the maximum level of net consumption at that meter which is not separately metered and which is not Intermittent Load, in MW [Appendix 1(g)iii.] |  | The aggregated maximum level of net consumption at that meter which is not separately metered and which is not Intermittent Load, in MW
For each metering point identified in Appendix 1(g)i, the separately metered Energy Producing Systems and Loads behind that meter which are not to be included in the definition of that Intermittent Load [Appendix 1(g)iv.] | -> Name attachment "SD_metering_pts" and attach to email. | For all metering points identified in Appendix 1(g)i. a single line diagram for the Facility, that identifies any separately metered Energy Producing Systems and Loads behind that meter which are not to be included in the definition of that Intermittent Load.
Where the Load or part of the Load is and continues to be deemed to be an Intermittent Load under clause 1.48.2, provide the following: (Grandfathered IML only)
Data Field | New Effective Data
Anticipated reduction, measured in MW, in the maximum capacity described in clause 2.30B.3(a) when the ambient temperature is 45 degrees Celsius [MR2.30B.3.(b)i.]
The method to be used for determining the ambient temperature at the site of the Energy Producing System referred to in clause 2.30B.2(a) for the purpose of determining Intermittent Load Refunds. (where if no method is specified, a constant temperature of 41 degrees Celsius will be assumed) [MR2.30B.3.(b)ii.] |  | One of the following methods must be chosen: • SCADA • 41 degrees • BOM
Temperature Location |  | Can only select one option For SCADA one of the following: • CKB AMBIENT C • KMP AMBIENT C • MGA AMBIENT C • PJR AMBIENT C For BOM one of the following: Albany Airport, Badgingarra, Bickley, Bunbury, Collie East, Dwellingup, Garden Island HSF, Geraldton Airport 8351, Hopetoun North, Jandakot Aero, Karlgoorlie-Boulder Airport, Mandurah, Pearce RAAF, Perth Airport, Perth Metro, Rottnest Island, Southern Cross Airfield, Swanbourne .
Nominations of capacity requirements for Intermittent Loads, deemed to be Intermittent Loads under clause 1.48.2, expressed in MW, where the nominated quantity cannot exceed the greater of value defined in clause 4.28.8 (c)i. and 4.28.8 (c)ii. [4.28.8 (c).]
Intermittent Load Information to be provided under clause 2.30B.3
Data Field | New Effective Data
The maximum capacity in MW, excluding capacity for which Capacity Credits are held, that the Energy Producing System referred to in clause 2.30B.2(a) can be guaranteed to have available to supply Intermittent Load, when it is operated normally at an ambient temperature of 41 degrees Celsius [MR 2.30B.3.(a).]
Details of primary and any alternative fuels, including details and evidence of both firm and non-firm fuel supplies and the factors that determine restrictions on fuel availability that could prevent the Energy Producing System referred to in clause 2.30B.2(a) from operating at its full capacity [MR 2.30B.3(c).] | -> Name attachment "SD_fuels_eps" and attach to email.
Single line diagram which includes details of the Loads and Energy Producing Systems contained within the Facility and any other information AEMO requires to determine whether the Load meets the conditions specified in clause 2.30B [MR2.30 B.3 2.30B.3(d).] | -> Name attachment "SD_sld" and attach to email.
The Nominated Excess Capacity [MR 2.30B.3(e).] |  | In respect of a Facility containing an Intermittent Load, the maximum quantity of Injection (in MW) that the Market Participant intends the Facility to make in any Dispatch Interval, which must not be exceeded in more than 120 Dispatch Intervals within any continuous 12-month period.
Declared Sent Out Capacity and any other information AEMO requires to determine the System Size of the Facility [MR 2.30B.3(f).] | -> Name attachment "SD_system_size" and attach to email.
Optional - Information regarding protection schemes at the Facility, including whether the Facility is configured to automatically adjust load or generation where a Contingency Event, or an event behind the relevant connection point, affects the Energy Producing System, and evidence to support that configuration as required in the WEM Procedure referred to in clause 2.29.4N [MR 2.30B.3(g).] | -> Name attachment "SD_protection_scheme" and attach to email.
If applicable, I have provided AEMO the instantaneous output or consumption of the Energy Producing System referred to in clause 2.30B.2(a), with separate measurements for each separate electricity producing unit in the Energy Producing System [MR 2.30B.3(h).]
Contract Maximum Demand associated with the Facility [MR 2.30B.3(j).] |  | For a contracted point, means the maximum energy (MW) at which a user is permitted to transfer electricity out of the network.
FCESS & ROCOF Ride-Through Capability
Data Field | New Effective Data
RoCoF Ride-Through Capability of the Facility as determined by AEMO [Appendix 1(i).] | If this field is not applicable, please leave field blank
Supporting Evidence Comment
Data Field | New Effective Data
Standing Data Change Supporting Evidence Comment
Further supporting documentation | -> Name attachment "SD_support_info" and attach to email.