## README
AEMO Calculation Spreadsheet for Benchmark Reserve Capacity Price
Draft report for 2023-24
This spreadsheet performs the calculation of the Benchmark Reserve Capacity Price (BRCP). It has been published to improve the transparency of the BRCP determination for Market Participants.
Throughout this spreadsheet, the following conventions apply:
* The green cells are input values. These cells are editable to allow Market Participants to test the sensitivity of the various input values.
The following worksheets contain input parameters:
* The ANNUALISED_FIXED_O&M sheet calculates the annualised fixed O&M cost from the costs provided by GHD, Western Power and AEMO.
* The WACC sheet calculates the Weighted Average Cost of Capital from the DRP provided by Pricewaterhouse Coopers (PwC) and other WACC parameters calculated by AEMO.
* The PC sheet calculates the annualised power station capital cost from the costs provided by GHD.
* The M sheet contains the margin M for legal, financing and approval costs as provided by GHD.
* The TC sheet calculates the transmission connection cost from the parameters provided by Western Power.
* The FFC sheet calculates the fixed fuel cost from the costs provided by GHD.
* The LC sheet calculates the land cost from the costs provided by Landgate.
* The ESCALATION_FACTORS sheet contains the various cost escalation factors provided by GHD and Western Power.
* The WACC nominal risk free rate calculates the nominal risk free rate from RBA bonds
* [Superseeded] The WACC expected inflation is calculated from RBA's CPI data
The following worksheets perform or display the calculations that lead to the BRCP:
* The ANNUALISED_CAP_COST sheet determines the annualised capital cost for the power station.
* The BRCP_Calculation sheet displays the final BRCP equation and the various input values.
The following worksheets calculate and display information for reporting purposes:
* Graph hystorical bond yields
* BRCP chart
* Changes from previous BRCP
* BRCP chart breakdown
* Waterfall chart

## BRCP_Calculation
BENCHMARK RESERVE CAPACITY PRICE
BRCP =(ANNUALISED_FIXED_O&M + ANNUALISED_CAP_COST / CC) | 151694.6072 | $AUD/MW/Year
BRCP (rounded to the nearest hundred) | 151700 | $AUD/MW/Year
BRCP
The Benchmark Reserve Capacity Price to apply in a reserve Capacity Auction
ANNUALISED_FIXED_O&M | 32027.6589 | $AUD/MW/Year
Is the annualised fixed operating and maintenance costs for a typical open cycle gas turbine power station and any associated electricity transmission facilities determined in cluase 1.9 and expressed in Australian dollars in year t, per MW per year
ANNUALISED_CAP_COST | 18222882.8865 | $AUD/Year
Is the CAPCOST, expressed in Australia dollars, annualised over a 15 year period, using a Weighted Average Cost of Capital (WACC) as determined in clause 1.13
CC | 152.28 | MW
is the expected Capacity Credit allocation determined @ 41DegC including inlet cooling

## ANNUALISED_CAP_COST
ANNUALISED_CAP_COST
PC | 816437.1435 | $AUD/MW
Capital cost of an open cycle gas turbine power station, expressed in Australian dollars per MW as determined in step 1.7 for that location
M | 16.69% | %
Margin to cover legal, approval, financing and other costs and contingencies as determined in step 1.12
CC | 152.28 | MW
is the expected Capacity Credit allocation determined in conjunction with Power Station costs in step 1.7.1 (b)
TC | 180927 | $AUD/MW
is the Transmission Connection Cost Estimate, expressed in Australian dollars per MW, as determined in step 1.8
FFC | 6915716.9811 | $AUD
is the Fixed Fuel Cost as determined in step 1.10
LC | 2404251.1503 | $AUD
is the Land Cost as determined in step 1.11
WACC | 5.2% | %
Is the Weighted Average Cost of Capital as determined in step 1.13
CAP_COST | 186622113.5635 | $AUD
WACC | 5.2% | %
Term of Finance (Years) | 15 | Years
ANNUALISED_CAP_COST | 18222882.8865 | $AUD/Year
where ANNUALISED_CAP_COST = -PMT(WACC,TERM,CAPCOST)
= -PMT(WACC,15,(PCx (1+M) + TC) x CC + FFC + LC) x (1+ WACC)^1/2)
= -PMT(B26,B27,((B3*(1+B6)+B12)*B9+B15+B18)*(1+B21)^0.5)

## ANNUALISED_FIXED_O&M
ANNUALISED_FIXED_O&M
Generation
Generation O&M Costs (GHD Fixed O&M cost for OCGT power plant ($2020)
1 to 5 years |  | 10529785
6 to 10 years |  | 10529785
11 to 15 years |  | 10529785
16 to 20 years |  | 10529785
21 to 25 years |  | 10529785
26 to 30 years |  | 10529785
31 to 35 years |  | 10529785
36 to 40 years |  | 10529785
41 to 45 years |  | 10529785
46 to 50 years |  | 10529785
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785 | 10529785
Yearly Cost |  | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957 | 2105957
WACC |  | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2%
Present Value |  | 2001869.5345 | 1902926.6187 | 1808873.9819 | 1719469.9209 | 1634484.6785 | 1553699.8535 | 1476907.8393 | 1403911.2901 | 1334522.6141 | 1268563.4912 | 1205864.4149 | 1146264.2565 | 1089609.8513 | 1035755.6046 | 984563.1179
Total PV (Sum) |  | 10529785 1: 21567287.0676
Anuity |  | 10529785 1: 2105957
Escalation Type |  | 10529785 1: Generation_O&M
Prices as at |  | 10529785 1: 2020-06-30
To be escalated to |  | 10529785 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 10529785 1: -0.73%
| 2022-06-30 | 10529785 1: -0.15%
| 2023-06-30 | 10529785 1: 1.16%
| 2024-06-30 | 10529785 1: 1.84%
Cost Per MW Per Year |  | 10529785 1: 13931.3625; 10529785 2: Per MW Per Year
Transmission | bar: 10529785 1
Switchyard O&M Costs (GHD Five yearly aggregate fixed O&M costs for switchyard assets | bar: 10529785 1
1 to 5 years |  | 10529785 1: 396950
6 to 10 years |  | 10529785 1: 396950
11 to 15 years |  | 10529785 1: 396950
16 to 20 years |  | 10529785 1: 396950
21 to 25 years |  | 10529785 1: 396950
26 to 30 years |  | 10529785 1: 396950
31 to 35 years |  | 10529785 1: 396950
36 to 40 years |  | 10529785 1: 396950
41 to 45 years |  | 10529785 1: 396950
46 to 50 years |  | 10529785 1: 396950
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950 | 396950
Yearly Cost |  | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390 | 79390
WACC |  | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2%
Present Value |  | 75466.1289 | 71736.1961 | 68190.6162 | 64820.2774 | 61616.5186 | 58571.1063 | 55676.2144 | 52924.4032 | 50308.6009 | 47822.0854 | 45458.4666 | 43211.6702 | 41075.9223 | 39045.7343 | 37115.8888
Total PV (Sum) |  | 396950 1: 813039.8295
Anuity |  | 396950 1: 79390
Escalation Type |  | 396950 1: Connection_O&M
Prices as at |  | 396950 1: 2020-06-30
To be escalated to |  | 396950 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 396950 1: 0.96%
| 2022-06-30 | 396950 1: 0.95%
| 2023-06-30 | 396950 1: 1.68%
| 2024-06-30 | 396950 1: 2.53%
Cost Per MW Per Year |  | 396950 1: 543.715; 396950 2: Per MW Per Year
Transmission Line O&M Costs (GHD Five yearly aggregate fixed O&M costs for transmission line asset | bar: 396950 1
1 to 5 years |  | 396950 1: 24775
6 to 10 years |  | 396950 1: 24775
11 to 15 years |  | 396950 1: 24775
16 to 20 years |  | 396950 1: 24775
21 to 25 years |  | 396950 1: 24775
26 to 30 years |  | 396950 1: 24775
31 to 35 years |  | 396950 1: 24775
36 to 40 years |  | 396950 1: 24775
41 to 45 years |  | 396950 1: 24775
46 to 50 years |  | 396950 1: 24775
51 to 55 years |  | 396950 1: 24775
56 to 60 years |  | 396950 1: 24775
Year |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Year Factor |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
Switchyard O&M 5 Year Cost |  | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775 | 24775
Yearly Cost |  | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955 | 4955
WACC |  | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2% | 5.2%
Present Value |  | 4710.0979 | 4477.3001 | 4256.0084 | 4045.654 | 3845.6966 | 3655.622 | 3474.942 | 3303.1921 | 3139.9309 | 2984.7391 | 2837.2176 | 2696.9874 | 2563.6881 | 2436.9771 | 2316.5289
Total PV (Sum) |  | 24775 1: 50744.5819
Anuity |  | 24775 1: 4955
Escalation Type |  | 24775 1: Connection_O&M
Prices as at |  | 24775 1: 2020-06-30
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 24775 1: 0.96%
| 2022-06-30 | 24775 1: 0.95%
| 2023-06-30 | 24775 1: 1.68%
| 2024-06-30 | 24775 1: 2.53%
Cost Per MW Per Year |  | 24775 1: 33.9351; 24775 2: Per MW Per Year
Asset Insurance Costs | bar: 24775 1
Total cost of Power Stn build | 145080219.2115
Fixed Fuel Costs | 6915716.9811
Asset Replacement Insurance Percentage | 0.3686%
Terrorism Levy Mark up | 1.0267
Stamp Duty Mark up (also applies to Terrorism levy) | 1.1 | 24775 2: Actual BRCP; 24775 3: Chk if Same to nearest $100?
Asset replacement insurance |  | 24775 1: 632733.8017
Estimated BRCP | 151700 | 24775 2: 151694.6072; 24775 3: TRUE
Business interruption insurance |  | 24775 1: 192330.2091
Public and products liability insurance | 133089
Annual insurance site survey | 10000 | 24775 1: 150364.1067
Yearly cost |  | 24775 1: 975428.1175
Escalation Type |  | 24775 1: CPI
Prices as at |  | 24775 1: 2023-04-01
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 24775 1: 2.25%
| 2022-06-30 | 24775 1: 1.25%
2023-06-30 | bar: 24775 1
| 2024-06-30 | 24775 1: 2.5%
Cost per MW Per Year |  | 24775 1: 6477.3581; 24775 2: Per MW Per Year
Fixed Network Access/ ongoing charges | bar: 24775 1
Western Power Charges | values from the WP website
Control system service charge (unit price is $/kW/day) | 0.00213 | 24775 1: 118390.086
Transmission Metering (unit price is $/meter/day) | 8.9616 | 24775 1: 3270.9803
Use of system Charge (unit price is $/kW/day) | 0.02628 | 24775 1: 1460700.216
Total WP Charges |  | 24775 1: 1582361.2823
Escalation Type |  | 24775 1: CPI
Prices as at |  | 24775 1: 2020-07-01
To be escalated to |  | 24775 1: 2023-10-01
Escalation (Financial Year ending) | 2021-06-30 | 24775 1: 2.25%
| 2022-06-30 | 24775 1: 1.25%
2023-06-30 | bar: 24775 1
| 2024-06-30 | 24775 1: 2.5%
Cost Per MW Per year |  | 24775 1: 11041.2881; 24775 2: Per MW Per Year
ANNUALISED_FIXED_O&M |  | 24775 1: 32027.6589

## WACC
Weighted Average Cost of Capital (WACC)
CAPM Parameter | Review Frequency | Value | Value (For Calculation)
Nominal Risk Free Rate of Return (%) | Annual | 0.8019 | 0.008019
Expected Inflation (%) | Annual | 2.32 | 0.0232
Real risk free rate of return (%) | Annual | -1.4837 | -0.014837
Market Risk Premium (%) | 5- yearly | 5.9 | 0.059
Asset beta | 5- yearly | 0.5 | 0.5
Equity beta | 5- yearly | 0.83 | 0.83
Debt risk premium (%) , DRP (%) | Annual | 2.04 | 0.0204
Debt Issuance Costs (%) | 5-yearly | 0.1 | 0.001
Corporate tax rate (%) | Annual | 30 | 0.3
Franking credit value | 5- yearly | 0.5 | 0.5
Debt to total assets ratio (%) | 5- yearly | 40 | 0.4
Equity to total assets ratio (%) | 5- yearly | 60 | 0.6
Nominal pre-tax Cost of Debt (Nominal return on debt) | 2.942%
Nominal post-tax Cost of Equity (Nominal return on equity) | 5.699%
WACC (Nominal) | 5.2%
WACC (Real) | 2.814%
where WACC (Nominal) = ((1/(1-t*(1-γ)))*(Re*E/V))+(Rd*D/V)
=((1/(1-D12*(1-D13)))*(B18*D15))+(B17*D14)

## PC
PC
GHD Total EPC Cost ($) |  | 140028545
Capacity (MW) |  | 152.28
Total Cost Per MW |  | 919546.5261
Escalation Type |  | Power_Station_Capital
Prices as at |  | 2020-06-30
To be escalated to |  | 2023-04-01
Escalation (Financial Year ending) | 2021-06-30 | -7.837%
| 2022-06-30 | -3.645%
| 2023-06-30 | -0.025%
PC |  | 816437.1435

## M
M
Total M as a percentage of CAPEX | 16.69%

## TC
TC (Western Power Costing)
Total Transmission Costs | 180927
Escalation type | Transmission_Connection
Prices as at | 2023-04-01
To be escalated to | 2023-04-01
Escalation | 0.73%
TC | 180927

## LC
LC
Region | Land Area (Hectares) | Price Per Hectare | Stamp Duty on Land Parcel | Assessed Value | Stamp duty calculator:
https://apps.osr.wa.gov.au/portal/0/home
Pinjar | 3 | 1250000 | 187040 | 3937040
Kwinana | 3 | 2000000 | 302915 | 6302915
Kemerton | 3 | 325000 | 44127.5 | 1019127.5
Collie | 3 | 110000 | 11590 | 341590
Geraldton | 3 | 125000 | 13727.5 | 388727.5
Eneabba | 3 | 30000 | 1805 | 91805
Kalgoorlie | 3 | 600000 | 86615 | 1886615
Average Cost |  |  |  | 2287925.625
Escalation Type |  |  |  | CPI
Prices as at |  |  |  | 2020-06-30
To be escalated to |  |  |  | 2023-04-01
Escalation |  | Financial year ending | 2021-06-30 | 2.25%
|  |  | 2022-06-30 | 1.25%
|  |  | 2023-06-30 | 2%
LC |  |  |  | 2404251.1503
Average Land Parcel Cost | 2287925.625
Average Land Cost | 762641.875
Total easement cost as at 30 June 2020 | 4575851.25
Total easement cost as at 30 June 2021 | 4678807.9031

## FFC
FFC
Fixed Fuel Costs
ITEM A - Sub total for facility installation |  | 6286336
ITEM B - Fuel sufficient for 14 hours of operation at maximum capacity (litres * fuel price per litre) |  | 294776
Total |  | 6581112
Escalation Type |  | CPI
Prices as at |  | 2020-06-30
To be escalated to |  | 2023-04-01
Escalation (Financial Year ending) | 2021-06-30 | 2.25%
| 2022-06-30 | 1.25%
| 2023-06-30 | 2%
FFC |  | 6915716.9811

## ESCALATION_FACTORS
ESCALATION FACTORS
| 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30
Power_Station_Capital | -7.837% | -3.645% | -0.025% | 2.983%
Generation_O&M | -0.73% | -0.15% | 1.16% | 1.84%
Connection_O&M | 0.96% | 0.95% | 1.68% | 2.53%
CPI | 2.25% | 1.25% | 2% | 2.5%
Transmission_Connection | 0.73% | 0.73% | 0.73% | 0.73%

## WACC nominal risk free rate
RBA Bond Yields
Issue ID | TB155 | TB160
Maturity | 2030-05-21 | 2030-12-21
Date | TB155 | TB160 | Date + 10 years | Interpolated 10 year yield
2020-10-01 | 0.845 | 0.895 | 2030-10-01 | 0.87607
2020-10-02 | 0.78 | 0.83 | 2030-10-02 | 0.81131
2020-10-06 | 0.83 | 0.88 | 2030-10-06 | 0.86224
2020-10-07 | 0.79 | 0.84 | 2030-10-07 | 0.82248
2020-10-08 | 0.815 | 0.865 | 2030-10-08 | 0.84771
2020-10-09 | 0.8 | 0.85 | 2030-10-09 | 0.83294
2020-10-13 | 0.795 | 0.845 | 2030-10-13 | 0.82888
2020-10-14 | 0.785 | 0.835 | 2030-10-14 | 0.81911
2020-10-15 | 0.71 | 0.76 | 2030-10-15 | 0.74435
2020-10-16 | 0.67 | 0.72 | 2030-10-16 | 0.70458
2020-10-19 | 0.7 | 0.75 | 2030-10-19 | 0.73528
2020-10-20 | 0.705 | 0.755 | 2030-10-20 | 0.74051
2020-10-21 | 0.75 | 0.8 | 2030-10-21 | 0.78575
2020-10-22 | 0.76 | 0.81 | 2030-10-22 | 0.79598
2020-10-23 | 0.805 | 0.855 | 2030-10-23 | 0.84121
2020-10-26 | 0.755 | 0.805 | 2030-10-26 | 0.79192
2020-10-27 | 0.75 | 0.8 | 2030-10-27 | 0.78715
2020-10-28 | 0.73 | 0.78 | 2030-10-28 | 0.76738
2020-10-29 | 0.76 | 0.81 | 2030-10-29 | 0.79762
2020-10-30 | 0.775 | 0.825 | 2030-10-30 | 0.81285
|  |  | Nominal risk free rate | 0.8019%

## Graph historical bond yields
Date | Treasury Bond 155 | Treasury Bond 160
2020-05-13 | 0.0096 | 0.01015
2020-05-14 | 0.009 | 0.00955
2020-05-15 | 0.0091 | 0.00965
2020-05-18 | 0.0091 | 0.00965
2020-05-19 | 0.0098 | 0.01035
2020-05-20 | 0.0095 | 0.01005
2020-05-21 | 0.00915 | 0.0097
2020-05-22 | 0.0087 | 0.00925
2020-05-25 | 0.0086 | 0.00915
2020-05-26 | 0.00885 | 0.0094
2020-05-27 | 0.0088 | 0.00935
2020-05-28 | 0.0088 | 0.00935
2020-05-29 | 0.00885 | 0.0094
2020-06-01 | 0.00895 | 0.0095
2020-06-02 | 0.00905 | 0.0096
2020-06-03 | 0.00965 | 0.0102
2020-06-04 | 0.0102 | 0.0107
2020-06-05 | 0.0109 | 0.01145
2020-06-09 | 0.0105 | 0.01105
2020-06-10 | 0.0102 | 0.0107
2020-06-11 | 0.0092 | 0.0097
2020-06-12 | 0.0091 | 0.0096
2020-06-15 | 0.0086 | 0.0091
2020-06-16 | 0.00915 | 0.00965
2020-06-17 | 0.00915 | 0.00965
2020-06-18 | 0.0088 | 0.0093
2020-06-19 | 0.0086 | 0.0091
2020-06-22 | 0.00865 | 0.00915
2020-06-23 | 0.009 | 0.0095
2020-06-24 | 0.0092 | 0.0097
2020-06-25 | 0.0088 | 0.0093
2020-06-26 | 0.00865 | 0.00915
2020-06-29 | 0.0088 | 0.0093
2020-06-30 | 0.0087 | 0.0092
2020-07-01 | 0.00935 | 0.00985
2020-07-02 | 0.0092 | 0.00975
2020-07-03 | 0.00905 | 0.00955
2020-07-06 | 0.0092 | 0.00975
2020-07-07 | 0.00885 | 0.00935
2020-07-08 | 0.0087 | 0.0092
2020-07-09 | 0.009 | 0.0095
2020-07-10 | 0.0086 | 0.0091
2020-07-13 | 0.009 | 0.0095
2020-07-14 | 0.0091 | 0.0096
2020-07-15 | 0.0087 | 0.0092
2020-07-16 | 0.0088 | 0.00935
2020-07-17 | 0.00865 | 0.0092
2020-07-20 | 0.00885 | 0.0094
2020-07-21 | 0.00865 | 0.00915
2020-07-22 | 0.00885 | 0.0094
2020-07-23 | 0.0086 | 0.0091
2020-07-24 | 0.00865 | 0.00915
2020-07-27 | 0.00885 | 0.00935
2020-07-28 | 0.0092 | 0.0097
2020-07-29 | 0.00875 | 0.00925
2020-07-30 | 0.00855 | 0.00905
2020-07-31 | 0.00815 | 0.0086
2020-08-04 | 0.0083 | 0.0088
2020-08-05 | 0.0082 | 0.00865
2020-08-06 | 0.0085 | 0.009
2020-08-07 | 0.0083 | 0.00875
2020-08-10 | 0.0086 | 0.0091
2020-08-11 | 0.00865 | 0.00915
2020-08-12 | 0.00915 | 0.00965
2020-08-13 | 0.00885 | 0.00935
2020-08-14 | 0.0093 | 0.0098
2020-08-17 | 0.00895 | 0.00945
2020-08-18 | 0.0087 | 0.00915
2020-08-19 | 0.00865 | 0.0091
2020-08-20 | 0.00855 | 0.009
2020-08-21 | 0.0088 | 0.00925
2020-08-24 | 0.00855 | 0.009
2020-08-25 | 0.00885 | 0.0093
2020-08-26 | 0.0095 | 0.00995
2020-08-27 | 0.00915 | 0.0096
2020-08-28 | 0.0102 | 0.01065
2020-08-31 | 0.0098 | 0.01025
2020-09-01 | 0.0097 | 0.01015
2020-09-02 | 0.0093 | 0.0098
2020-09-03 | 0.0091 | 0.00955
2020-09-04 | 0.0089 | 0.00935
2020-09-07 | 0.0097 | 0.01015
2020-09-08 | 0.0097 | 0.01015
2020-09-09 | 0.0089 | 0.00935
2020-09-10 | 0.0093 | 0.00975
2020-09-11 | 0.0091 | 0.00955
2020-09-14 | 0.0087 | 0.00915
2020-09-15 | 0.00865 | 0.0091
2020-09-16 | 0.00865 | 0.0091
2020-09-17 | 0.00845 | 0.0089
2020-09-18 | 0.00885 | 0.00935
2020-09-21 | 0.0085 | 0.009
2020-09-22 | 0.00825 | 0.00875
2020-09-23 | 0.00805 | 0.00855
2020-09-24 | 0.008 | 0.00855
2020-09-25 | 0.00795 | 0.0085
2020-09-28 | 0.0077 | 0.00825
2020-09-29 | 0.00775 | 0.0083
2020-09-30 | 0.00785 | 0.00835
2020-10-01 | 0.00845 | 0.00895
2020-10-02 | 0.0078 | 0.0083
2020-10-06 | 0.0083 | 0.0088
2020-10-07 | 0.0079 | 0.0084
2020-10-08 | 0.00815 | 0.00865
2020-10-09 | 0.008 | 0.0085
2020-10-12 | 0.00795 | 0.00845
2020-10-13 | 0.00795 | 0.00845
2020-10-14 | 0.00785 | 0.00835
2020-10-15 | 0.0071 | 0.0076
2020-10-16 | 0.0067 | 0.0072
2020-10-19 | 0.007 | 0.0075
2020-10-20 | 0.00705 | 0.00755
2020-10-21 | 0.0075 | 0.008
2020-10-22 | 0.0076 | 0.0081
2020-10-23 | 0.00805 | 0.00855
2020-10-26 | 0.00755 | 0.00805
2020-10-27 | 0.0075 | 0.008
2020-10-28 | 0.0073 | 0.0078
2020-10-29 | 0.0076 | 0.0081
2020-10-30 | 0.00775 | 0.00825
2020-11-02 | 0.0077 | 0.0082
2020-11-03 | 0.0072 | 0.0077
2020-11-04 | 0.0074 | 0.0079
2020-11-05 | 0.0069 | 0.0074
2020-11-06 | 0.007 | 0.00755
2020-11-09 | 0.00715 | 0.0077
2020-11-10 | 0.0086 | 0.0092

## WACC expected inflation
RBA Statement on Monetary Policy-November 2020
Year ending | 2021-06-30 | 2022-06-30 | 2023-06-30 | 2024-06-30 | 2025-06-30 | 2026-06-30 | 2027-06-30 | 2028-06-30 | 2029-06-30 | 2030-06-30 | 2031-06-30
CPI | 2.25% | 1.25% | 2% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5% | 2.5%
Growth rate | 1.0225 | 1.0125 | 1.02 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025 | 1.025
Inflation i | 2021-06-30: 2.318%

## BRCP chart breakdown
Capacity Year
| 2008-09 | 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
PC ($AUD/MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 829446.75 | 878792.8332 | 865835.5707 | 834781.5319 | 810228.53 | 846751.15 | 843378.53 | 859629.3471 | 816437.1435
M (%) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 18.87% | 20.1% | 19.97% | 20% | 17.19% | 17.12% | 17.15% | 17.16% | 16.69%
CC (MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 159.6 | 150.5 | 150.5 | 150.5 | 148.5 | 151.4 | 151.4 | 152.28 | 152.28
TC ($AUD/MW) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 115124 | 141910 | 161194 | 160280 | 175444 | 174749 | 179028 | 181760 | 180927
FFC ($AUD) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 7069232.08 | 7206385.6294 | 7282059.8446 | 7089948.3878 | 6803923.69 | 6969444.026 | 7109637.85 | 7213563.7996 | 6915716.9811
LC ($AUD) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 2693872.28 | 2733933.1244 | 2751636.6139 | 2656498.8123 | 2430525.55 | 2394087.9383 | 2295990.53 | 2536249.7758 | 2404251.1503
ANNUALISED_FIXED_O&M ($AUD/Year) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 34238.67 | 33238.0089 | 32307.0168 | 32581.684 | 30143.2 | 30437 | 29776.44 | 31168.0145 | 32027.6589
ANNUALISED_CAP_COST ($AUD/Year) | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | LEGACY | 19599805.92 | 21607991.7001 | 19938595.5093 | 19149362.0563 | 17776436.03 | 18644285.14 | 18835624.58 | 16860715.3925 | 18222882.8865
RESERVE CAPACITY PRICE ($AUD/MW) | 97835 | 108459 | 144235 | 131805 | 186001 | 178477 | 122428 | 120199 | 121888.94 | 111753 | 138760.39 | 126683.47 | 114134.15 | 78573.33 | 85294
BRCP | 122500 | 142200 | 173400 | 164100 | 238500 | 240600 | 163900 | 157000 | 176800 | 164800 | 159800 | 149800 | 153600 | 154200 | 141900 | 151700
Capacity Year
| 2009-10 | 2010-11 | 2011-12 | 2012-13 | 2013-14 | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 | 2019-20 | 2020-21 | 2021-22 | 2022-23 | 2023-24
Power station cost (PC)* | 107404 | 135701 | 134091 | 149306 | 158709.6228 | 113971.1198 | 104178.112 | 119941.7519 | 108648.7164 | 103897.6702 | 95744.972 | 99424.9581 | 100002.3339 | 89002.193 | 95417.0927
Transmission cost (TC) | 18017 | 20672 | 13151 | 58493 | 51620.5221 | 12329.3428 | 12164.1448 | 16127.0107 | 16860.3036 | 16623.8291 | 17691.1641 | 17520.2376 | 18119.6534 | 16061.7868 | 18120.2517
Fixed O&M cost | 13363.3617 | 14392.0901 | 13431 | 27335 | 26648.64 | 33384.4889 | 34238.67 | 33238.0089 | 32307.0168 | 32581.684 | 30143.2 | 30437 | 29776.44 | 31168.0145 | 32027.6589
Fixed fuel cost (FFC) | 3456 | 2631 | 3151 | 2615 | 2824.5858 | 2239.0742 | 4680.0992 | 5441.5406 | 5060.9758 | 4886.0545 | 4620.0946 | 4615.2747 | 4752.8108 | 4186.0321 | 4548.3637
Land cost (LC) | 0 | 0 | 293 | 769 | 817.6146 | 1972.5491 | 1783.4454 | 2064.3924 | 1912.3664 | 1830.7324 | 1650.4092 | 1585.4024 | 1534.8755 | 1471.7861 | 1581.2401
Reserve Capacity Price | 108459 | 144235 | 131805 | 186001 | 178477 | 122428 | 120199 | 121888.94 | 111752.53 | 138760.39 | 126683.47 | 114134.15 | 78573.33 | 85294
BRCP | 142200 | 173400 | 164100 | 238500 | 240600 | 163900 | 157000 | 176800 | 164800 | 159800 | 149800 | 153600 | 154200 | 141900 | 151700

## Changes from previous BRCP
| Impact ($) | Impact (%) | BRCP ($) | draft BRCP ($)
2020 BRCP |  |  | 141900 | 141900
Escalation factors | -13100 | -9.232% | 128800 | 128900
Power station cost | 7600 | 5.356% | 136400 | 136500
Margin M | -400 | -0.2819% | 136000 | 136100
Fixed fuel cost | -200 | -0.1409% | 135800 | 136000
Land cost | 0 | 0% | 135800 | 135900
Transmission cost | -100 | -0.07047% | 135700 | 135800
WACC | 14200 | 10.01% | 149900 | 134500
CC allocation | 0 | 0% | 149900 | 134500
Fixed O&M | 1800 | 1.268% | 151700 | 136300
2021 BRCP | 9800 | 6.906% | 151700 | 136300
| 2020 BRCP | 2021 BRCP - draft | 2021 BRCP | Difference between 2020 BRCP and 2021 BRCP (final) |  | Difference between 2021 BRCP (draft) and 2021 BRCP (final)
BRCP | 141900 | 136300 | 151700 | 6.906% | 9800 | 11.3% | 15400
ANNUALISED_FIXED_O&M | 31168 | 31987.496 | 32027.6589 | 2.758% | 859.6589 | 0.1256% | 40.1629
ANNUALISED_CAP_COST | 16860715 | 15888821.2727 | 18222882.8865 | 8.079% | 1362167.8865 | 14.69% | 2334061.6138
PC | 859629 | 816437.1435 | 816437.1435 | -5.024% | -43191.8565 | 0% | 0
M | 17.16% | 16.69% | 16.69% | -2.725% | -0.004676 | 0% | 0
TC | 181760 | 180927 | 180927 | -0.4583% | -833 | 0% | 0
FFC | 7213564 | 6966443.5115 | 6915716.9811 | -4.129% | -297847.0189 | -0.7282% | -50726.5304
LC | 2536250 | 2421886.2443 | 2404251.1503 | -5.204% | -131998.8497 | -0.7282% | -17635.094
WACC | 3.51% | 3.344% | 5.2% | 48.13% | 0.016895 | 55.47% | 0.01855
CAP_COST | 194116340 | 185038881.1882 | 186622113.5635 | -3.861% | -7494226.4365 | 0.8556% | 1583232.3753
Generation O&M Costs | 14600 | 13931.3625 | 13931.3625 | -4.58% | -668.6375 | 0% | 0
Switchyard O&M Costs | 543.83 | 543.715 | 543.715 | -0.02114% | -0.11496 | 0% | 0
Transmission Line O&M Costs | 33.95 | 33.9351 | 33.9351 | -0.04387% | -0.014894 | 0% | 0
Asset Insurance Costs | 5393 | 6356.4305 | 6477.3581 | 20.11% | 1084.3581 | 1.902% | 120.9276
Fixed Network Access/ ongoing charges | 10596 | 11122.0528 | 11041.2881 | 4.202% | 445.2881 | -0.7262% | -80.7648
Nominal Risk Free Rate of Return | 0.98% | 0.941% | 0.8019% | -18.18% | -0.0017813 | -14.78% | -0.0013911
Expected Inflation | 2.36% | 2.386% | 2.318% | -1.801% | -0.00042493 | -2.851% | -0.00068
Real risk free rate of return | -1.35% | -1.415% | -1.484% | 9.902% | -0.0013368 | 4.84% | -0.00068501
Debt risk premium DRP | 2.23% | 2.01% | 2.04% | -8.52% | -0.0019 | 1.493% | 0.0003
Easement costs | 4890365 | 4713126.7875 | 4678807.9031 | -4.326% | -211557.0969 | -0.7282% | -34318.8844
Shallow connection | 24101215 | 23223271 | 23223271 | -3.643% | -877944 | 0% | 0
Diesel (c/L) | 0.8138 | 0.464 | 0.464 | -42.98% | 0 | 0% | 0
CC allocation |  | 152.28 | 152.28 |  | 0 | 0% | 0
Premium rate |  | 0.3686% | 0.3686% |  |  | 0% | 0

## Waterfall chart
Data for waterfall
2020 BRCP | 141900 | 2020 BRCP | 141900
Power station cost | 7600 | Escalation Factors | -13100
Transmission cost | -100 | Margin M | -400
Fixed O&M | 1800 | Fixed fuel cost | -200
CC allocation | 0 | Transmission cost | -100
Fixed fuel cost | -200 | CC allocation | 0
Land cost | 0 | Land cost | 0
Margin M | -400 | Fixed O&M | 1800
WACC | 14200 | Power station cost | 7600
Escalation Factors | -13100 | WACC | 14200
Proposed 2021 BRCP | 151700 | Proposed 2021 BRCP | 151700
This chart isn't available in your version of Excel. Editing this shape or saving this workbook into a different file format will permanently break the chart.