## Content
Purpose | NAQ Process Summary Reserve Capacity Cycle 2024
Issue Date | 01 November 2024
Reason for Issue | Release on AEMO Website after simplifying fields not relevant for publication
Sheet | Description
Content | This sheet shows the content of this Excel file.
NAQ Process Overview | Provide process level information: - Demand, Reserve Capacity Requirement, Appendix 3 part A or B selection. - Prioritisation Step details including Constraint Set used, Number of Scenarios, Total NAQ Result - Excess or Shortfall
NAQ Run Results | Provides detailed information at NAQ Entity Level: - Characteristics/Attributes associated to each NAQ Entity - Input parameters and NAQ Results associated to each NAQ Entity for each Prioritisation Step.
CC Assignment | Provides information at Faciliy level for all Facilities receiving CRC in the 2024 Reserve Capacity Cycle - Aggregation of NAQ Result from NAQ Entity level to Facility Level. - Highest NAQ - Final NAQ - CC
Binding_CE_Occurences | Provides for each Prioritisation Step, the RCM Constraint Equations binding occurrence in percentage of the total number of FDS solved. A Constraint Equation is identified as binding in a given FDS where its associated "slack" is zero after the FDS has been solved.
NaqResults_2024_3A_Final_202409 | NAQ Result (direct output from NAQ Engine) for step 3A
NaqResults_2024_3B_Final_202409 | NAQ Result (direct output from NAQ Engine) for step 3B
NaqResults_2024_5_Final_2024092 | NAQ Result (direct output from NAQ Engine) for step 3C
NaqResults_2024_5_Final_2024092 | NAQ Result (direct output from NAQ Engine) for step 5
References
WEM Procedure : Network Access Quantity Model | Procedure documenting the processes, methodologies, inputs parameters and assumptions to be applied in the Network Access Quantities to Facilities under Appendix 3 of the WEM Rules
WEM Rules section 4.15 | Network Acecss Quantity
WEM Rules Appendix 3 | Determination of Network Access Quantities
Constraint and limit advices library | Library where RCM Constraint Equations and Limit Advices are published
WEM Market Data Web Site | Website where NAQ related automatic publications are located, under the RCM section
Publication requirement
This spreadsheet provides an overview of the NAQ inputs and Results. The publication requirement specified in the NAQ WEM Procedure section 10 and in the WEM Rules 4.15.16. have been met by documents that were automatically uploaded on the AEMO WEM Market data site.

## NAQ Process Overview
RCCycleYear | 2024
Appendix 3 Part | B
Demand (10% POE determined under MR 4.5.10(a)(iv)) | 4555
RCR | 5696
RCR + 3% | 5866.88
Shortfall (as recorded in step 7 of Appendix 3 part B) | 0
Supplementary Reserve Capacity Process Required (Yes/No) | No
Step | 3A | 3B | 3C | 4 | 5 | 6A | 6B | 7&8&9 | 10a_1 | 10b_1 | 10a_2 | 10b_2
Type of Step (Prioritisation Step is where the NAQ Engine is run to determine a NAQ Result for a set of Entities ) | Prioritisation Step | Prioritisation Step | Prioritisation Step | Prioritisation Step Not Required (No NAFF) | Prioritisation Step | Prioritisation Step Not Required (Prelim NAQ > RCR +3%) | Prioritisation Step Not Required (Prelim NAQ > RCR +3%) | AC1&AC2 shortfall determination & NAQ Records | Prioritisation Step Not Required (No Early CRC) | Prioritisation Step Not Required (No Early CRC) | Prioritisation Step Not Required (No Early CRC) | Prioritisation Step Not Required (No Early CRC)
Version | a | a | a |  | a
Prioritisation Step Version Identifier | 3A_a | 3B_a | 3C_a |  | 5_a
Parent Prioritisation Step Version Identifier | n/a | 3A_a | 3B_a |  | 3C_a
ConstraintSetName | RCM-RCC2024-CY2026-S3A | RCM-RCC2024-CY2026-S3A | RCM-RCC2024-CY2026-S3A |  | RCM-RCC2024-CY2026-S3A
NumberScenarios in FDS set | 100000 | 100000 | 100000 |  | 100000
Number NAQ Entities | 65 | 65 | 65 |  | 74
Total NAQ Ceiling (MW) | 4964.397 | 4984.747 | 5039.323 |  | 6118.429
TotalNAQ Result | 4963.114 | 4976.787 | 5022.106 |  | 5952.655
Total NAQ Curtailment from Ceiling (MW) | 1.283 | 7.96 | 17.217 |  | 165.774
Total NAQ Curtailment from Ceiling (Percentage) | 0.02584% | 0.1597% | 0.3417% |  | 2.709%
Total Indicative NAQ | N/A | N/A | N/A |  | N/A |  |  | N/A
Total Preliminary NAQ (determined form NAQ Run Results sheet, check) | 4963.114 | 4976.787 | 5022.106 |  | 5952.655 |  |  | N/A
Total Final NAQ | [7 empty] | 5952.655
Shortfall (if negative)/Excess (if positive) | [7 empty] | 256.655

## NAQ Runs Results
NAQ Entity Name | Facility Class | 2024 CRC Entity | Entity Min Loading Level | Final Naq Previous Year | Highest NAQ Previous Year | Capability Class | Min CCQ | Market Participant | Facility Name | Technology Type | Has NCESS | NAQ Upgrade | NAFF | Fixed Price | Reserve Capacity Status | IsEarlyCRC | PrioritisationStepFirstIncluded | NAQCeil_3A_a | NAQFloor_3A_a | NAQResult_3A_a | NAQReduction_MW_3A_a | NAQReductionPct_3A_a | 3A_a | NAQCeil_3B_a | NAQFloor_3B_a | NAQResult_3B_a | NAQReduction_MW_3B_a | NAQReductionPct_3B_a | 3B_a | NAQCeil_3C_a | NAQFloor_3C_a | NAQResult_3C_a | NAQReduction_MW_3C_a | NAQReductionPct_3C_a | 3C_a | NAQCeil_5_a | NAQFloor_5_a | NAQResult_5_a | NAQReduction_MW_5_a | NAQReductionPct_5_a | 5_a | NAQEndResult | NAQEndResultPct | NAQReduction | NAQReductionPct
N_ALBANY_WF1 | SSF | 7.736 | 0 | 6.09 | 6.195 | 3 | NULL | ALBGRAS | ALBANY_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 6.09 | 0 | 6.09 | 0 | 0% | 1 | 6.195 | 6.09 | 6.195 | 0 | 0% | 1 | 7.736 | 6.195 | 7.736 | 0 | 0% | 1 | 7.736 | 7.736 | 7.736 | 0 | 0% | 1 | 7.736 | 100% | 0 | 0%
N_ALCOA_WGP | SF | 26 | 0 | 16 | 16 | 1 | NULL | ALCOA | ALCOA_WGP | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 16 | 0 | 16 | 0 | 0% | 1 | 16 | 16 | 16 | 0 | 0% | 1 | 26 | 16 | 18.88 | 7.12 | 27.38% | 1 | 26 | 18.88 | 18.88 | 7.12 | 27.38% | 1 | 18.88 | 72.62% | 7.12 | 27.38%
N_ALINTA_PNJ_U1 | SF | 142.447 | 5 | 142.45 | 142.45 | 1 | NULL | ALINTA | ALINTA_PNJ_U1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 142.447 | 0 | 141.164 | 1.283 | 0.9007% | 1 | 142.447 | 141.164 | 141.164 | 1.283 | 0.9007% | 1 | 142.447 | 141.164 | 141.164 | 1.283 | 0.9007% | 1 | 142.447 | 141.164 | 141.164 | 1.283 | 0.9007% | 1 | 141.164 | 99.1% | 1.283 | 0.9007%
N_ALINTA_PNJ_U2 | SF | 142.447 | 5 | 142.45 | 142.45 | 1 | NULL | ALINTA | ALINTA_PNJ_U2 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 142.447 | 0 | 142.447 | 0 | 0% | 1 | 142.447 | 142.447 | 142.447 | 0 | 0% | 1 | 142.447 | 142.447 | 142.447 | 0 | 0% | 1 | 142.447 | 142.447 | 142.447 | 0 | 0% | 1 | 142.447 | 100% | 0 | 0%
N_ALINTA_WGP_GT | SF | 208 | 30 | 196 | 196 | 1 | NULL | ALINTA | ALINTA_WGP_GT | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 196 | 0 | 196 | 0 | 0% | 1 | 196 | 196 | 196 | 0 | 0% | 1 | 208 | 196 | 207.076 | 0.924 | 0.4442% | 1 | 208 | 207.076 | 207.076 | 0.924 | 0.4442% | 1 | 207.076 | 99.56% | 0.924 | 0.4442%
N_ALINTA_WGP_U2 | SF | 208 | 30 | 196 | 196 | 1 | NULL | ALINTA | ALINTA_WGP_U2 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 196 | 0 | 196 | 0 | 0% | 1 | 196 | 196 | 196 | 0 | 0% | 1 | 208 | 196 | 206.787 | 1.213 | 0.5832% | 1 | 208 | 206.787 | 207.076 | 0.924 | 0.4442% | 1 | 207.076 | 99.56% | 0.924 | 0.4442%
N_ALINTA_WWF | SSF | 16.859 | 0 | 14.006 | 15.121 | 3 | NULL | ALINTA | ALINTA_WWF | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 14.006 | 0 | 14.006 | 0 | 0% | 1 | 15.121 | 14.006 | 15.121 | 0 | 0% | 1 | 16.859 | 15.121 | 16.859 | 0 | 0% | 1 | 16.859 | 16.859 | 16.859 | 0 | 0% | 1 | 16.859 | 100% | 0 | 0%
N_AMBRISOLAR_PV1 | NSF | 0.739 |  | 0.809 | 0.918 | 3 | NULL | MPOWER | AMBRISOLAR_PV1 | ESR | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.739 | 0 | 0.739 | 0 | 0% | 1 | 0.739 | 0.739 | 0.739 | 0 | 0% | 1 | 0.739 | 0.739 | 0.739 | 0 | 0% | 1 | 0.739 | 0.739 | 0.739 | 0 | 0% | 1 | 0.739 | 100% | 0 | 0%
N_BADGINGARRA_WF1 | SSF | 26.098 | 0 | 24.285 | 25.066 | 3 | NULL | ALINTA | BADGINGARRA_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 24.285 | 0 | 24.285 | 0 | 0% | 1 | 25.066 | 24.285 | 25.066 | 0 | 0% | 1 | 26.098 | 25.066 | 26.098 | 0 | 0% | 1 | 26.098 | 26.098 | 26.098 | 0 | 0% | 1 | 26.098 | 100% | 0 | 0%
N_BIOGAS01 | NSF | 0.425 |  | 0.387 | 0.414 | 3 | NULL | AMENERGY | BIOGAS01 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.387 | 0 | 0.387 | 0 | 0% | 1 | 0.414 | 0.387 | 0.414 | 0 | 0% | 1 | 0.425 | 0.414 | 0.425 | 0 | 0% | 1 | 0.425 | 0.425 | 0.425 | 0 | 0% | 1 | 0.425 | 100% | 0 | 0%
N_BLAIRFOX_KARAKIN_WF1 | NSF | 0.093 |  | 0.151 | 0.309 | 3 | NULL | BLAIRFOX | BLAIRFOX_KARAKIN_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.093 | 0 | 0.093 | 0 | 0% | 1 | 0.093 | 0.093 | 0.093 | 0 | 0% | 1 | 0.093 | 0.093 | 0.093 | 0 | 0% | 1 | 0.093 | 0.093 | 0.093 | 0 | 0% | 1 | 0.093 | 100% | 0 | 0%
N_BREMER_BAY_WF1 | NSF | 0.246 |  | 0.226 | 0.226 | 3 | NULL | WPGENER | BREMER_BAY_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.226 | 0 | 0.226 | 0 | 0% | 1 | 0.226 | 0.226 | 0.226 | 0 | 0% | 1 | 0.246 | 0.226 | 0.246 | 0 | 0% | 1 | 0.246 | 0.246 | 0.246 | 0 | 0% | 1 | 0.246 | 100% | 0 | 0%
N_BW1_BLUEWATERS_G2 | SF | 217 | 82 | 217 | 217 | 1 | NULL | GRIFFINP | BW1_BLUEWATERS_G2 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 217 | 0 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 100% | 0 | 0%
N_BW2_BLUEWATERS_G1 | SF | 217 | 82 | 217 | 217 | 1 | NULL | GRIFFIN2 | BW2_BLUEWATERS_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 217 | 0 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 217 | 217 | 0 | 0% | 1 | 217 | 100% | 0 | 0%
N_COCKBURN_CCG1 | SF | 240 | 122.35 | 240 | 240 | 1 | NULL | WPGENER | COCKBURN_CCG1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 240 | 0 | 240 | 0 | 0% | 1 | 240 | 240 | 240 | 0 | 0% | 1 | 240 | 240 | 240 | 0 | 0% | 1 | 240 | 240 | 240 | 0 | 0% | 1 | 240 | 100% | 0 | 0%
N_COLLIE_ESR1 | SF | 192.425 | 0 | 200 | 200 | 2 | NULL | COL_BESS | COLLIE_ESR1 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 192.425 | 0 | 192.425 | 0 | 0% | 1 | 192.425 | 192.425 | 192.425 | 0 | 0% | 1 | 192.425 | 192.425 | 192.425 | 0 | 0% | 1 | 192.425 | 192.425 | 192.425 | 0 | 0% | 1 | 192.425 | 100% | 0 | 0%
N_COLLIE_G1 | SF | 317.2 | 91 | 317.2 | 317.2 | 1 | NULL | WPGENER | COLLIE_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 317.2 | 0 | 317.2 | 0 | 0% | 1 | 317.2 | 317.2 | 317.2 | 0 | 0% | 1 | 317.2 | 317.2 | 317.2 | 0 | 0% | 1 | 317.2 | 317.2 | 317.2 | 0 | 0% | 1 | 317.2 | 100% | 0 | 0%
N_DCWL_DENMARK_WF1 | NSF | 0.571 |  | 0.491 | 0.492 | 3 | NULL | DCWL | DCWL_DENMARK_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.491 | 0 | 0.491 | 0 | 0% | 1 | 0.492 | 0.491 | 0.492 | 0 | 0% | 1 | 0.571 | 0.492 | 0.571 | 0 | 0% | 1 | 0.571 | 0.571 | 0.571 | 0 | 0% | 1 | 0.571 | 100% | 0 | 0%
N_EDWFMAN_WF1 | SSF | 11.356 | 0 | 10.32 | 11.404 | 3 | NULL | EDWFMAN | EDWFMAN_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 10.32 | 0 | 10.32 | 0 | 0% | 1 | 11.356 | 10.32 | 11.356 | 0 | 0% | 1 | 11.356 | 11.356 | 11.356 | 0 | 0% | 1 | 11.356 | 11.356 | 11.356 | 0 | 0% | 1 | 11.356 | 100% | 0 | 0%
N_ERRRF_WTE_G1 | SF | 25.134 | 2.86 | 25.134 | 25.134 | 1 | NULL | ERRRF | ERRRF_WTE_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 25.134 | 0 | 25.134 | 0 | 0% | 1 | 25.134 | 25.134 | 25.134 | 0 | 0% | 1 | 25.134 | 25.134 | 25.134 | 0 | 0% | 1 | 25.134 | 25.134 | 25.134 | 0 | 0% | 1 | 25.134 | 100% | 0 | 0%
N_FLATROCKS_WF1 | SSF | 25.341 | 0.2 | 22.561 | 22.561 | 3 | NULL | EGPA | FLATROCKS_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 22.561 | 0 | 22.561 | 0 | 0% | 1 | 22.561 | 22.561 | 22.561 | 0 | 0% | 1 | 25.341 | 22.561 | 25.341 | 0 | 0% | 1 | 25.341 | 25.341 | 25.341 | 0 | 0% | 1 | 25.341 | 100% | 0 | 0%
N_GRASMERE_WF1 | SSF | 5.434 | 0 | 4.268 | 4.268 | 3 | NULL | ALBGRAS | GRASMERE_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 4.268 | 0 | 4.268 | 0 | 0% | 1 | 4.268 | 4.268 | 4.268 | 0 | 0% | 1 | 5.434 | 4.268 | 5.434 | 0 | 0% | 1 | 5.434 | 5.434 | 5.434 | 0 | 0% | 1 | 5.434 | 100% | 0 | 0%
N_GREENOUGH_RIVER_PV1 | SSF | 4.394 | 0 | 4.01 | 4.01 | 3 | NULL | GRENOUGH | GREENOUGH_RIVER_PV1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 4.01 | 0 | 4.01 | 0 | 0% | 1 | 4.01 | 4.01 | 4.01 | 0 | 0% | 1 | 4.394 | 4.01 | 4.394 | 0 | 0% | 1 | 4.394 | 4.394 | 4.394 | 0 | 0% | 1 | 4.394 | 100% | 0 | 0%
N_HENDERSON_RENEWABLE_IG1 | NSF | 1.476 |  | 1.436 | 1.501 | 3 | NULL | WGRES | HENDERSON_RENEWABLE_IG1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 1.436 | 0 | 1.436 | 0 | 0% | 1 | 1.476 | 1.436 | 1.476 | 0 | 0% | 1 | 1.476 | 1.476 | 1.476 | 0 | 0% | 1 | 1.476 | 1.476 | 1.476 | 0 | 0% | 1 | 1.476 | 100% | 0 | 0%
N_INVESTEC_COLLGAR_WF1 | SSF | 27.964 | 0 | 24.243 | 25.162 | 3 | NULL | COLLGAR | INVESTEC_COLLGAR_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 24.243 | 0 | 24.243 | 0 | 0% | 1 | 25.162 | 24.243 | 25.162 | 0 | 0% | 1 | 27.964 | 25.162 | 27.964 | 0 | 0% | 1 | 27.964 | 27.964 | 27.964 | 0 | 0% | 1 | 27.964 | 100% | 0 | 0%
N_KALBARRI_WF1 | NSF | 0.114 |  | 0.12 | 0.155 | 3 | NULL | WPGENER | KALBARRI_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.114 | 0 | 0.114 | 0 | 0% | 1 | 0.114 | 0.114 | 0.114 | 0 | 0% | 1 | 0.114 | 0.114 | 0.114 | 0 | 0% | 1 | 0.114 | 0.114 | 0.114 | 0 | 0% | 1 | 0.114 | 100% | 0 | 0%
N_KEMERTON_GT11 | SF | 155 | 70 | 155 | 155 | 1 | NULL | WPGENER | KEMERTON_GT11 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 155 | 0 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 100% | 0 | 0%
N_KEMERTON_GT12 | SF | 155 | 70 | 155 | 155 | 1 | NULL | WPGENER | KEMERTON_GT12 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 155 | 0 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 155 | 155 | 0 | 0% | 1 | 155 | 100% | 0 | 0%
N_KWINANA_ESR1 | SF | 43.5 | 0 | 44.25 | 45.25 | 2 | NULL | WPGENER | KWINANA_ESR1 | ESR | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 43.5 | 0 | 43.5 | 0 | 0% | 1 | 43.5 | 43.5 | 43.5 | 0 | 0% | 1 | 43.5 | 43.5 | 43.5 | 0 | 0% | 1 | 43.5 | 43.5 | 43.5 | 0 | 0% | 1 | 43.5 | 100% | 0 | 0%
N_KWINANA_GT2 | SF | 98.5 | 23.5 | 98.5 | 98.5 | 1 | NULL | WPGENER | KWINANA_GT2 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 98.5 | 0 | 98.5 | 0 | 0% | 1 | 98.5 | 98.5 | 98.5 | 0 | 0% | 1 | 98.5 | 98.5 | 98.5 | 0 | 0% | 1 | 98.5 | 98.5 | 98.5 | 0 | 0% | 1 | 98.5 | 100% | 0 | 0%
N_KWINANA_GT3 | SF | 99.2 | 23.5 | 99.2 | 99.2 | 1 | NULL | WPGENER | KWINANA_GT3 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 99.2 | 0 | 99.2 | 0 | 0% | 1 | 99.2 | 99.2 | 99.2 | 0 | 0% | 1 | 99.2 | 99.2 | 99.2 | 0 | 0% | 1 | 99.2 | 99.2 | 99.2 | 0 | 0% | 1 | 99.2 | 100% | 0 | 0%
N_MERSOLAR_PV1 | SSF | 7.61 | 0 | 7.694 | 7.694 | 3 | NULL | SUNAUST22 | MERSOLAR_PV1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 7.61 | 0 | 7.61 | 0 | 0% | 1 | 7.61 | 7.61 | 7.61 | 0 | 0% | 1 | 7.61 | 7.61 | 7.61 | 0 | 0% | 1 | 7.61 | 7.61 | 7.61 | 0 | 0% | 1 | 7.61 | 100% | 0 | 0%
N_MUJA_G7 | SF | 211 | 55.3 | 211 | 211 | 1 | NULL | WPGENER | MUJA_G7 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 211 | 0 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 100% | 0 | 0%
N_MUJA_G8 | SF | 211 | 55.3 | 211 | 211 | 1 | NULL | WPGENER | MUJA_G8 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 211 | 0 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 211 | 211 | 0 | 0% | 1 | 211 | 100% | 0 | 0%
N_MWF_MUMBIDA_WF1 | SSF | 7.561 | 0 | 6.962 | 7.909 | 3 | NULL | MUMBIDA | MWF_MUMBIDA_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 6.962 | 0 | 6.962 | 0 | 0% | 1 | 7.561 | 6.962 | 7.561 | 0 | 0% | 1 | 7.561 | 7.561 | 7.561 | 0 | 0% | 1 | 7.561 | 7.561 | 7.561 | 0 | 0% | 1 | 7.561 | 100% | 0 | 0%
N_NAMKKN_MERR_SG1 | SF | 82 | 4 | 82 | 82 | 1 | NULL | MERREDIN | NAMKKN_MERR_SG1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 82 | 0 | 82 | 0 | 0% | 1 | 82 | 82 | 82 | 0 | 0% | 1 | 82 | 82 | 82 | 0 | 0% | 1 | 82 | 82 | 82 | 0 | 0% | 1 | 82 | 100% | 0 | 0%
N_NEWGEN_KWINANA_CCG1 | SF | 327.8 | 110 | 327.8 | 327.8 | 1 | NULL | NEWGEN | NEWGEN_KWINANA_CCG1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 327.8 | 0 | 327.8 | 0 | 0% | 1 | 327.8 | 327.8 | 327.8 | 0 | 0% | 1 | 327.8 | 327.8 | 327.8 | 0 | 0% | 1 | 327.8 | 327.8 | 327.8 | 0 | 0% | 1 | 327.8 | 100% | 0 | 0%
N_NEWGEN_NEERABUP_GT1 | SF | 330.6 | 80 | 330.6 | 330.6 | 1 | NULL | NGENEERP | NEWGEN_NEERABUP_GT1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 330.6 | 0 | 330.6 | 0 | 0% | 1 | 330.6 | 330.6 | 330.6 | 0 | 0% | 1 | 330.6 | 330.6 | 330.6 | 0 | 0% | 1 | 330.6 | 330.6 | 330.6 | 0 | 0% | 1 | 330.6 | 100% | 0 | 0%
N_NORTHAM_SF_PV1 | NSF | 0.839 |  | 0.811 | 0.821 | 3 | NULL | MEGHP1 | NORTHAM_SF_PV1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.811 | 0 | 0.811 | 0 | 0% | 1 | 0.821 | 0.811 | 0.821 | 0 | 0% | 1 | 0.839 | 0.821 | 0.839 | 0 | 0% | 1 | 0.839 | 0.839 | 0.839 | 0 | 0% | 1 | 0.839 | 100% | 0 | 0%
N_PERTHENERGY_KWINANA_GT1 | SF | 109 | 4 | 109 | 109 | 1 | NULL | WENERGY | PERTHENERGY_KWINANA_GT1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 109 | 0 | 109 | 0 | 0% | 1 | 109 | 109 | 109 | 0 | 0% | 1 | 109 | 109 | 109 | 0 | 0% | 1 | 109 | 109 | 109 | 0 | 0% | 1 | 109 | 100% | 0 | 0%
N_PHOENIX_KWINANA_WTE_G1 | SF | 33.909 | 2.128 | 33.909 | 33.909 | 1 | NULL | KWINWTE | PHOENIX_KWINANA_WTE_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 33.909 | 0 | 33.909 | 0 | 0% | 1 | 33.909 | 33.909 | 33.909 | 0 | 0% | 1 | 33.909 | 33.909 | 33.909 | 0 | 0% | 1 | 33.909 | 33.909 | 33.909 | 0 | 0% | 1 | 33.909 | 100% | 0 | 0%
N_PINJAR_GT1 | SF | 29.07 | 9.35 | 29.301 | 31 | 1 | NULL | WPGENER | PINJAR_GT1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 29.07 | 0 | 29.07 | 0 | 0% | 1 | 29.07 | 29.07 | 29.07 | 0 | 0% | 1 | 29.07 | 29.07 | 29.07 | 0 | 0% | 1 | 29.07 | 29.07 | 29.07 | 0 | 0% | 1 | 29.07 | 100% | 0 | 0%
N_PINJAR_GT10 | SF | 110.5 | 13.2 | 110.5 | 110.5 | 1 | NULL | WPGENER | PINJAR_GT10 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 110.5 | 0 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 100% | 0 | 0%
N_PINJAR_GT11 | SF | 123.35 | 13.2 | 123.7 | 124 | 1 | NULL | WPGENER | PINJAR_GT11 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 123.35 | 0 | 123.35 | 0 | 0% | 1 | 123.35 | 123.35 | 123.35 | 0 | 0% | 1 | 123.35 | 123.35 | 123.35 | 0 | 0% | 1 | 123.35 | 123.35 | 123.35 | 0 | 0% | 1 | 123.35 | 100% | 0 | 0%
N_PINJAR_GT2 | SF | 31.6 | 9.35 | 30.8 | 30.8 | 1 | NULL | WPGENER | PINJAR_GT2 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 30.8 | 0 | 30.8 | 0 | 0% | 1 | 30.8 | 30.8 | 30.8 | 0 | 0% | 1 | 31.6 | 30.8 | 31.6 | 0 | 0% | 1 | 31.6 | 31.6 | 31.6 | 0 | 0% | 1 | 31.6 | 100% | 0 | 0%
N_PINJAR_GT3 | SF | 37 | 9.25 | 37 | 37 | 1 | NULL | WPGENER | PINJAR_GT3 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 37 | 0 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 100% | 0 | 0%
N_PINJAR_GT4 | SF | 35.95 | 9.2 | 37 | 37 | 1 | NULL | WPGENER | PINJAR_GT4 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 35.95 | 0 | 35.95 | 0 | 0% | 1 | 35.95 | 35.95 | 35.95 | 0 | 0% | 1 | 35.95 | 35.95 | 35.95 | 0 | 0% | 1 | 35.95 | 35.95 | 35.95 | 0 | 0% | 1 | 35.95 | 100% | 0 | 0%
N_PINJAR_GT5 | SF | 37 | 9.2 | 37 | 37 | 1 | NULL | WPGENER | PINJAR_GT5 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 37 | 0 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 37 | 37 | 0 | 0% | 1 | 37 | 100% | 0 | 0%
N_PINJAR_GT7 | SF | 35.75 | 9.2 | 36.395 | 37 | 1 | NULL | WPGENER | PINJAR_GT7 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 35.75 | 0 | 35.75 | 0 | 0% | 1 | 35.75 | 35.75 | 35.75 | 0 | 0% | 1 | 35.75 | 35.75 | 35.75 | 0 | 0% | 1 | 35.75 | 35.75 | 35.75 | 0 | 0% | 1 | 35.75 | 100% | 0 | 0%
N_PINJAR_GT9 | SF | 110.5 | 13.2 | 110.5 | 111 | 1 | NULL | WPGENER | PINJAR_GT9 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 110.5 | 0 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 110.5 | 110.5 | 0 | 0% | 1 | 110.5 | 100% | 0 | 0%
N_PRDSO_WALPOLE_HG1 | NSF | 1.5 |  | 1.5 | 1.5 | 3 | NULL | PRDSO | PRDSO_WALPOLE_HG1 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 1.5 | 0 | 1.5 | 0 | 0% | 1 | 1.5 | 1.5 | 1.5 | 0 | 0% | 1 | 1.5 | 1.5 | 1.5 | 0 | 0% | 1 | 1.5 | 1.5 | 1.5 | 0 | 0% | 1 | 1.5 | 100% | 0 | 0%
N_PREMPWR_DSP_02 | DSP | 23 | 0 | 18.689 | 23 | 2 | NULL | PREMPWR | PREMPWR_DSP_02 |  | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 18.689 | 0 | 18.689 | 0 | 0% | 1 | 23 | 18.689 | 20.994 | 2.006 | 8.722% | 1 | 23 | 20.994 | 20.994 | 2.006 | 8.722% | 1 | 23 | 20.994 | 20.994 | 2.006 | 8.722% | 1 | 20.994 | 91.28% | 2.006 | 8.722%
N_RED_HILL | NSF | 2.361 |  | 2.497 | 2.603 | 3 | NULL | LNDFLLGP | RED_HILL | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 2.361 | 0 | 2.361 | 0 | 0% | 1 | 2.361 | 2.361 | 2.361 | 0 | 0% | 1 | 2.361 | 2.361 | 2.361 | 0 | 0% | 1 | 2.361 | 2.361 | 2.361 | 0 | 0% | 1 | 2.361 | 100% | 0 | 0%
N_ROCKINGHAM | NSF | 1.012 |  | 1.241 | 1.447 | 3 | NULL | PERTHNRGY | ROCKINGHAM | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 1.012 | 0 | 1.012 | 0 | 0% | 1 | 1.012 | 1.012 | 1.012 | 0 | 0% | 1 | 1.012 | 1.012 | 1.012 | 0 | 0% | 1 | 1.012 | 1.012 | 1.012 | 0 | 0% | 1 | 1.012 | 100% | 0 | 0%
N_SBSOLAR1_CUNDERDIN_PV1 | SSF | 47.07 | 0 | 47.981 | 48.677 | 2 | NULL | SBSOLAR1 | SBSOLAR1_CUNDERDIN_PV1 | IGS ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 47.07 | 0 | 47.07 | 0 | 0% | 1 | 47.07 | 47.07 | 47.07 | 0 | 0% | 1 | 47.07 | 47.07 | 47.07 | 0 | 0% | 1 | 47.07 | 47.07 | 47.07 | 0 | 0% | 1 | 47.07 | 100% | 0 | 0%
N_SKYFRM_MTBARKER_WF1 | NSF | 0.947 |  | 0.82 | 0.82 | 3 | NULL | MBARKER | SKYFRM_MTBARKER_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 0.82 | 0 | 0.82 | 0 | 0% | 1 | 0.82 | 0.82 | 0.82 | 0 | 0% | 1 | 0.947 | 0.82 | 0.947 | 0 | 0% | 1 | 0.947 | 0.947 | 0.947 | 0 | 0% | 1 | 0.947 | 100% | 0 | 0%
N_SOUTH_CARDUP | NSF | 1.707 |  | 1.788 | 1.788 | 3 | NULL | PERTHNRGY | SOUTH_CARDUP | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 1.707 | 0 | 1.707 | 0 | 0% | 1 | 1.707 | 1.707 | 1.707 | 0 | 0% | 1 | 1.707 | 1.707 | 1.707 | 0 | 0% | 1 | 1.707 | 1.707 | 1.707 | 0 | 0% | 1 | 1.707 | 100% | 0 | 0%
N_SYNERGY_DSP_04 | DSP | 42 | 0 | 33.136 | 42 | 2 | NULL | WPGENER | SYNERGY_DSP_04 |  | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 33.136 | 0 | 33.136 | 0 | 0% | 1 | 42 | 33.136 | 38.123 | 3.877 | 9.231% | 1 | 42 | 38.123 | 38.123 | 3.877 | 9.231% | 1 | 42 | 38.123 | 38.123 | 3.877 | 9.231% | 1 | 38.123 | 90.77% | 3.877 | 9.231%
N_TAMALA_PARK | NSF | 3.584 |  | 3.835 | 4.018 | 3 | NULL | LNDFLLGP | TAMALA_PARK | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 3.584 | 0 | 3.584 | 0 | 0% | 1 | 3.584 | 3.584 | 3.584 | 0 | 0% | 1 | 3.584 | 3.584 | 3.584 | 0 | 0% | 1 | 3.584 | 3.584 | 3.584 | 0 | 0% | 1 | 3.584 | 100% | 0 | 0%
N_TESLA_GERALDTON_G1 | SF | 9.999 | 1 | 9.999 | 9.999 | 1 | NULL | TSLA_GER | TESLA_GERALDTON_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 9.999 | 0 | 9.999 | 0 | 0% | 1 | 9.999 | 9.999 | 9.999 | 0 | 0% | 1 | 9.999 | 9.999 | 9.999 | 0 | 0% | 1 | 9.999 | 9.999 | 9.999 | 0 | 0% | 1 | 9.999 | 100% | 0 | 0%
N_TESLA_KEMERTON_G1 | SF | 9.999 | 1 | 8.286 | 9.999 | 1 | NULL | TSLA_KEM | TESLA_KEMERTON_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 8.286 | 0 | 8.286 | 0 | 0% | 1 | 9.999 | 8.286 | 9.205 | 0.794 | 7.941% | 1 | 9.999 | 9.205 | 9.205 | 0.794 | 7.941% | 1 | 9.999 | 9.205 | 9.205 | 0.794 | 7.941% | 1 | 9.205 | 92.06% | 0.794 | 7.941%
N_TIWEST_COG1 | SF | 36 | 14 | 36 | 36 | 1 | NULL | TIWEST | TIWEST_COG1 | NIGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 36 | 0 | 36 | 0 | 0% | 1 | 36 | 36 | 36 | 0 | 0% | 1 | 36 | 36 | 36 | 0 | 0% | 1 | 36 | 36 | 36 | 0 | 0% | 1 | 36 | 100% | 0 | 0%
N_WARRADARGE_WF1 | SSF | 34.902 | 0 | 28.959 | 29.788 | 3 | NULL | WARADGE | WARRADARGE_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 28.959 | 0 | 28.959 | 0 | 0% | 1 | 29.788 | 28.959 | 29.788 | 0 | 0% | 1 | 34.902 | 29.788 | 34.902 | 0 | 0% | 1 | 34.902 | 34.902 | 34.902 | 0 | 0% | 1 | 34.902 | 100% | 0 | 0%
N_YANDIN_WF1 | SSF | 37.504 | 0 | 34.54 | 34.54 | 3 | NULL | ALINTA | YANDIN_WF1 | IGS | FALSE | NULL | 0 | 0 | COMMERCIAL_OPERATION | 0 | 3A | 34.54 | 0 | 34.54 | 0 | 0% | 1 | 34.54 | 34.54 | 34.54 | 0 | 0% | 1 | 37.504 | 34.54 | 37.504 | 0 | 0% | 1 | 37.504 | 37.504 | 37.504 | 0 | 0% | 1 | 37.504 | 100% | 0 | 0%
N_ALINTA_WGP_ESR1 | SF | 48.739 | 0 | 0 | 0 | 2 | NULL | ALINTA | ALINTA_WGP_ESR1 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 48.739 | 0 | 48.536 | 0.203 | 0.4165% | 1 | 48.536 | 99.58% | 0.203 | 0.4165%
N_ARROWSMITH_EAST_G1 | SF | 85 | 1.79 | 0 | 0 | 1 | NULL | KINGIA | ARROWSMITH_EAST_G1 | NIGS | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 85 | 0 | 85 | 0 | 0% | 1 | 85 | 100% | 0 | 0%
N_COLLIE_BESS2 | SF | 300 | 0 | 0 | 0 | 2 | NULL | COLBESS | COLLIE_BESS2 | ESR | TRUE | NULL | 0 | 0 | COMMITTED | 0 | 3A | 300 | 0 | 300 | 0 | 0% | 1 | 300 | 300 | 300 | 0 | 0% | 1 | 300 | 300 | 300 | 0 | 0% | 1 | 300 | 300 | 300 | 0 | 0% | 1 | 300 | 100% | 0 | 0%
N_COLLIE_ESR4 | SF | 250 | 0 | 0 | 0 | 2 | NULL | SYNERGY | COLLIE_ESR4 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 250 | 0 | 176.01 | 73.99 | 29.6% | 1 | 176.01 | 70.4% | 73.99 | 29.6%
N_COLLIE_ESR5 | SF | 250 | 0 | 0 | 0 | 2 | NULL | SYNERGY | COLLIE_ESR5 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 250 | 0 | 175.347 | 74.653 | 29.86% | 1 | 175.347 | 70.14% | 74.653 | 29.86%
N_ENELX_DSP_01 | DSP | 110 | 0 | 0 | 0 | 2 | NULL | ENELX | ENELX_DSP_01 |  | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 110 | 0 | 110 | 0 | 0% | 1 | 110 | 100% | 0 | 0%
N_KWINANA_ESR2 | SF | 225 | 0 | 0 | 0 | 2 | NULL | SYNERGY | KWINANA_ESR2 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 225 | 0 | 225 | 0 | 0% | 1 | 225 | 100% | 0 | 0%
N_MERREDIN_ESR1 | SF | 94.5 | 0 | 0 | 0 | 2 | NULL | MBBTRUST | MERREDIN_ESR1 | ESR | FALSE | NULL | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 94.5 | 0 | 94.5 | 0 | 0% | 1 | 94.5 | 100% | 0 | 0%
N_WAROONA_PV1 | SSF | 87.192 | 0 | 0 | 0 | 2 | NULL | WAROONA | WAROONA_PV1 | IGS ESR | FALSE | NULL | 0 | 1 | COMMITTED | 0 | 6A-PartB | 0
N_WARRADARGE_WF1_IGS_01_UPG_01 | SSF | 22.642 | 0 | 0 | 0 | 3 | NULL | WARADGE | WARRADARGE_WF1 | IGS | FALSE | TRUE | 0 | 0 | PROPOSED | 0 | 6-partA | 0
N_KWINANA_GT2_NIGS_01_UPG_01 | SF | 8.263 | 0 | 0 | 0 | 1 | NULL | WPGENER | KWINANA_GT2 | NIGS | FALSE | TRUE | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 8.263 | 0 | 8.263 | 0 | 0% | 1 | 8.263 | 100% | 0 | 0%
N_KWINANA_GT3_NIGS_01_UPG_01 | SF | 7.604 | 0 | 0 | 0 | 1 | NULL | WPGENER | KWINANA_GT3 | NIGS | FALSE | TRUE | 0 | 0 | COMMITTED | 0 | 5 | 0 | [17 empty] | 7.604 | 0 | 7.604 | 0 | 0% | 1 | 7.604 | 100% | 0 | 0%
Total |  | 6228.263 | 1061.078 | 4676.83 | 4703.198 | [12 empty] | 4964.397 |  | 4963.114 | 1.283 |  | 65 | 4984.747 |  | 4976.787 | 7.96 |  | 65 | 5039.323 |  | 5022.106 | 17.217 |  | 65 | 6118.429 |  | 5952.655 | 165.774 |  | 74 | 5952.655 |  | 165.774

## CC assignment
Facility Name | Market Participant | Facility Class RCC2024 | Number of Entities | CRC RCC 2022 | CRC RCC 2023 | CRC RCC2024 | Final NAQ RCC2022 | Final NAQ RCC2023 | Final NAQ RCC2024 | Highest NAQ input for RC2024 | Highest NAQ post RC2024 | Capacity Credit RC2024
ALBANY_WF1 | ALBGRAS | SSF | 1 | 6.195 | 6.09 | 7.736 | 6.195 | 6.09 | 7.736 | 6.195 | 7.736 | 7.736
ALCOA_WGP | ALCOA | SF | 1 | 16 | 16 | 26 | 16 | 16 | 18.88 | 16 | 18.88 | 18.88
ALINTA_PNJ_U1 | ALINTA | SF | 1 | 142.45 | 142.45 | 142.447 | 142.45 | 142.45 | 141.164 | 142.45 | 142.447 | 141.164
ALINTA_PNJ_U2 | ALINTA | SF | 1 | 142.45 | 142.45 | 142.447 | 142.45 | 142.45 | 142.447 | 142.45 | 142.447 | 142.447
ALINTA_WGP_GT | ALINTA | SF | 1 | 196 | 196 | 208 | 196 | 196 | 207.076 | 196 | 207.076 | 207.076
ALINTA_WGP_U2 | ALINTA | SF | 1 | 196 | 196 | 208 | 196 | 196 | 207.076 | 196 | 207.076 | 207.076
ALINTA_WWF | ALINTA | SSF | 1 | 15.121 | 14.006 | 16.859 | 15.121 | 14.006 | 16.859 | 15.121 | 16.859 | 16.859
AMBRISOLAR_PV1 | MPOWER | NSF | 1 | 0.918 | 0.809 | 0.739 | 0.918 | 0.809 | 0.739 | 0.918 | 0.918 | 0.739
BADGINGARRA_WF1 | ALINTA | SSF | 1 | 25.066 | 24.285 | 26.098 | 25.066 | 24.285 | 26.098 | 25.066 | 26.098 | 26.098
BIOGAS01 | AMENERGY | NSF | 1 | 0.414 | 0.387 | 0.425 | 0.414 | 0.387 | 0.425 | 0.414 | 0.425 | 0.425
BLAIRFOX_KARAKIN_WF1 | BLAIRFOX | NSF | 1 | 0.309 | 0.151 | 0.093 | 0.309 | 0.151 | 0.093 | 0.309 | 0.309 | 0.093
BREMER_BAY_WF1 | WPGENER | NSF | 1 | 0.201 | 0.226 | 0.246 | 0.201 | 0.226 | 0.246 | 0.226 | 0.246 | 0.246
BW1_BLUEWATERS_G2 | GRIFFINP | SF | 1 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
BW2_BLUEWATERS_G1 | GRIFFIN2 | SF | 1 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217 | 217
COCKBURN_CCG1 | WPGENER | SF | 1 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240 | 240
COLLIE_ESR1 | NEOENAUS | SF | 1 | 0 | 200 | 192.425 |  | 200 | 192.425 | 200 | 192.425 | 192.425
COLLIE_G1 | WPGENER | SF | 1 | 317.2 | 317.2 | 317.2 | 317.2 | 317.2 | 317.2 | 317.2 | 317.2 | 317.2
DCWL_DENMARK_WF1 | DCWL | NSF | 1 | 0.492 | 0.491 | 0.571 | 0.492 | 0.491 | 0.571 | 0.492 | 0.571 | 0.571
EDWFMAN_WF1 | EDWFMAN | SSF | 1 | 11.404 | 10.32 | 11.356 | 11.404 | 10.32 | 11.356 | 11.404 | 11.404 | 11.356
ERRRF_WTE_G1 | ERRRF | SF | 1 | 25.134 | 25.134 | 25.134 | 25.134 | 25.134 | 25.134 | 25.134 | 25.134 | 25.134
FLATROCKS_WF1 | EGPA | SSF | 1 | 20.358 | 22.561 | 25.341 | 20.358 | 22.561 | 25.341 | 22.561 | 25.341 | 25.341
GRASMERE_WF1 | ALBGRAS | SSF | 1 | 4.22 | 4.268 | 5.434 | 4.22 | 4.268 | 5.434 | 4.268 | 5.434 | 5.434
GREENOUGH_RIVER_PV1 | GRENOUGH | SSF | 1 | 3.81 | 4.01 | 4.394 | 3.81 | 4.01 | 4.394 | 4.01 | 4.394 | 4.394
HENDERSON_RENEWABLE_IG1 | WGRES | NSF | 1 | 1.501 | 1.436 | 1.476 | 1.501 | 1.436 | 1.476 | 1.501 | 1.501 | 1.476
INVESTEC_COLLGAR_WF1 | COLLGAR | SSF | 1 | 25.162 | 24.243 | 27.964 | 25.162 | 24.243 | 27.964 | 25.162 | 27.964 | 27.964
KALBARRI_WF1 | WPGENER | NSF | 1 | 0.155 | 0.12 | 0.114 | 0.155 | 0.12 | 0.114 | 0.155 | 0.155 | 0.114
KEMERTON_GT11 | WPGENER | SF | 1 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155
KEMERTON_GT12 | WPGENER | SF | 1 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155 | 155
KWINANA_ESR1 | WPGENER | SF | 1 | 45.25 | 44.25 | 43.5 | 45.25 | 44.25 | 43.5 | 45.25 | 43.5 | 43.5
KWINANA_GT2 | WPGENER | SF | 2 | 98.5 | 98.5 | 106.763 | 98.5 | 98.5 | 106.763 | 98.5 | 106.763 | 106.763
KWINANA_GT3 | WPGENER | SF | 2 | 99.2 | 99.2 | 106.804 | 99.2 | 99.2 | 106.804 | 99.2 | 106.804 | 106.804
MERSOLAR_PV1 | SUNAUST22 | SSF | 1 | 7.062 | 7.694 | 7.61 | 7.062 | 7.694 | 7.61 | 7.694 | 7.694 | 7.61
MUJA_G7 | WPGENER | SF | 1 | 211 | 211 | 211 | 211 | 211 | 211 | 211 | 211 | 211
MUJA_G8 | WPGENER | SF | 1 | 211 | 211 | 211 | 211 | 211 | 211 | 211 | 211 | 211
MWF_MUMBIDA_WF1 | MUMBIDA | SSF | 1 | 7.909 | 6.962 | 7.561 | 7.909 | 6.962 | 7.561 | 7.909 | 7.909 | 7.561
NAMKKN_MERR_SG1 | MERREDIN | SF | 1 | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82 | 82
NEWGEN_KWINANA_CCG1 | NEWGEN | SF | 1 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8 | 327.8
NEWGEN_NEERABUP_GT1 | NGENEERP | SF | 1 | 330.6 | 330.6 | 330.6 | 330.6 | 330.6 | 330.6 | 330.6 | 330.6 | 330.6
NORTHAM_SF_PV1 | MEGHP1 | NSF | 1 | 0.821 | 0.811 | 0.839 | 0.821 | 0.811 | 0.839 | 0.821 | 0.839 | 0.839
PERTHENERGY_KWINANA_GT1 | WENERGY | SF | 1 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109 | 109
PHOENIX_KWINANA_WTE_G1 | KWINWTE | SF | 1 | 33.909 | 33.909 | 33.909 | 33.909 | 33.909 | 33.909 | 33.909 | 33.909 | 33.909
PINJAR_GT1 | WPGENER | SF | 1 | 31 | 29.301 | 29.07 | 31 | 29.301 | 29.07 | 31 | 29.07 | 29.07
PINJAR_GT10 | WPGENER | SF | 1 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5 | 110.5
PINJAR_GT11 | WPGENER | SF | 1 | 124 | 123.7 | 123.35 | 124 | 123.7 | 123.35 | 124 | 123.35 | 123.35
PINJAR_GT2 | WPGENER | SF | 1 | 30.5 | 30.8 | 31.6 | 30.5 | 30.8 | 31.6 | 30.8 | 31.6 | 31.6
PINJAR_GT3 | WPGENER | SF | 1 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37
PINJAR_GT4 | WPGENER | SF | 1 | 37 | 37 | 35.95 | 37 | 37 | 35.95 | 37 | 35.95 | 35.95
PINJAR_GT5 | WPGENER | SF | 1 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37 | 37
PINJAR_GT7 | WPGENER | SF | 1 | 37 | 36.395 | 35.75 | 37 | 36.395 | 35.75 | 37 | 35.75 | 35.75
PINJAR_GT9 | WPGENER | SF | 1 | 111 | 110.5 | 110.5 | 111 | 110.5 | 110.5 | 111 | 110.5 | 110.5
PRDSO_WALPOLE_HG1 | PRDSO | NSF | 1 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
PREMPWR_DSP_02 | PREMPWR | DSP | 1 | 23 | 23 | 23 | 23 | 18.689 | 20.994 | 23 | 23 | 20.994
RED_HILL | LNDFLLGP | NSF | 1 | 2.603 | 2.497 | 2.361 | 2.603 | 2.497 | 2.361 | 2.603 | 2.603 | 2.361
ROCKINGHAM | PERTHNRGY | NSF | 1 | 1.447 | 1.241 | 1.012 | 1.447 | 1.241 | 1.012 | 1.447 | 1.447 | 1.012
SBSOLAR1_CUNDERDIN_PV1 | SBSOLAR1 | SSF | 1 | 48.677 | 47.981 | 47.07 | 48.677 | 47.981 | 47.07 | 48.677 | 48.677 | 47.07
SKYFRM_MTBARKER_WF1 | MBARKER | NSF | 1 | 0.748 | 0.82 | 0.947 | 0.748 | 0.82 | 0.947 | 0.82 | 0.947 | 0.947
SOUTH_CARDUP | PERTHNRGY | NSF | 1 | 0 | 1.788 | 1.707 |  | 1.788 | 1.707 | 1.788 | 1.788 | 1.707
SYNERGY_DSP_04 | WPGENER | DSP | 1 | 42 | 42 | 42 | 42 | 33.136 | 38.123 | 42 | 42 | 38.123
TAMALA_PARK | LNDFLLGP | NSF | 1 | 4.018 | 3.835 | 3.584 | 4.018 | 3.835 | 3.584 | 4.018 | 4.018 | 3.584
TESLA_GERALDTON_G1 | TSLA_GER | SF | 1 | 9.999 | 9.999 | 9.999 | 9.999 | 9.999 | 9.999 | 9.999 | 9.999 | 9.999
TESLA_KEMERTON_G1 | TSLA_KEM | SF | 1 | 9.999 | 9.999 | 9.999 | 9.999 | 8.286 | 9.205 | 9.999 | 9.999 | 9.205
TIWEST_COG1 | TIWEST | SF | 1 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
WARRADARGE_WF1 | WARADGE | SSF | 2 | 29.788 | 28.959 | 57.544 | 29.788 | 28.959 | 34.902 | 29.788 | 34.902 | 34.902
YANDIN_WF1 | ALINTA | SSF | 1 | 33.388 | 34.54 | 37.504 | 33.388 | 34.54 | 37.504 | 34.54 | 37.504 | 37.504
ALINTA_WGP_ESR1 | ALINTA | SF | 1 |  |  | 48.739 |  |  | 48.536 |  | 48.536 | 48.536
ARROWSMITH_EAST_G1 | KINGIA | SF | 1 |  |  | 85 |  |  | 85 |  | 85 | 85
COLLIE_BESS2 | COLBESS | SF | 1 |  |  | 300 |  |  | 300 |  | 300 | 300
COLLIE_ESR4 | SYNERGY | SF | 1 |  |  | 250 |  |  | 176.01 |  | 176.01 | 176.01
COLLIE_ESR5 | SYNERGY | SF | 1 |  |  | 250 |  |  | 175.347 |  | 175.347 | 175.347
ENELX_DSP_01 | ENELX | DSP | 1 |  |  | 110 |  |  | 110 |  | 110 | 110
KWINANA_ESR2 | SYNERGY | SF | 1 |  |  | 225 |  |  | 225 |  | 225 | 225
MERREDIN_ESR1 | MBBTRUST | SF | 1 |  |  | 94.5 |  |  | 94.5 |  | 94.5 | 94.5
WAROONA_PV1 | WAROONA | SSF | 1 |  |  | 87.192 |  |  | 0 |  | 0 | 0
Total |  |  | 76 | [5 empty] | 5952.655 |  |  | 5952.655

## Binding_CE_Occurences
Constraint_Id | 3A | 3B | 3C | 5
RCM-RCC2024-CY2026-S3>{NT-LDE 81, SPS_NTLOAD}[NT-HBK 81 (NT~)] | 2.585 | 2.886 | 3.294 | 20.983
RCM-RCC2024-CY2026-S3>{CT-MSS-PNJ 81, SPS_MI_WGP}[MH-PNJ 81 (PNJ~)] | 5.6875 | 6.384 | 7.905 | 20.402
RCM-RCC2024-CY2026-S3>{ST-KNL 91}[ST-CT 81 (ST~)] | 2 | 2.28 | 2.288 | 15.652
RCM-RCC2024-CY2026-S3>{LWT-ST 91, SPS_MI_WGP}[KEM81-PPBK (KEM~)] |  |  | 0.078 | 3.144
RCM-RCC2024-CY2026-S3>{KW-CC-MED 81}[WM81-MWO (WM-)] | 2.6825 | 2.014 | 1.316 | 2.36
RCM-RCC2024-CY2026-S3>{ST-WLN 81}[ST-CC 81 (ST~)] | 0.1025 | 0.06 | 0.063 | 2.344
RCM-RCC2024-CY2026-S3>{D-MJ 81}[GLT-FFD 81 (GLT~)] | 1 | 1.068 | 1.3 | 2.014
RCM-RCC2024-CY2026-S3>{MU BTT1}[PIC-MRR 81 (MRR~)] | 0.3825 | 0.544 | 0.351 | 0.802
RCM-RCC2024-CY2026-S3>{ST T1}[ST-CC 81 (ST~)] |  |  |  | 0.172

## NaqResults_2024_3A_Final_202409
NAQEntityName | FacilityClass | NAQCeil | NAQFloor | NEntityMinContRange | NEntityMaxContRange | NAQResult | NAQResultFloorAdjustment | NAQResultConvergenceStatus | TotalNaqCeilingAboveDemand
N_ALBANY_WF1 | SSF | 6.09 | 0 | 0 | 6.09 | 6.09 | 0 | TRUE | TRUE
N_PINJAR_GT9 | SF | 110.5 | 0 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT7 | SF | 35.75 | 0 | 9.2 | 35.75 | 35.75 | 0 | TRUE | TRUE
N_PINJAR_GT5 | SF | 37 | 0 | 9.2 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT4 | SF | 35.95 | 0 | 9.2 | 35.95 | 35.95 | 0 | TRUE | TRUE
N_PINJAR_GT3 | SF | 37 | 0 | 9.25 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT2 | SF | 30.8 | 0 | 9.35 | 30.8 | 30.8 | 0 | TRUE | TRUE
N_PINJAR_GT11 | SF | 123.35 | 0 | 13.2 | 123.35 | 123.35 | 0 | TRUE | TRUE
N_PINJAR_GT10 | SF | 110.5 | 0 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT1 | SF | 29.07 | 0 | 9.35 | 29.07 | 29.07 | 0 | TRUE | TRUE
N_PHOENIX_KWINANA_WTE_G1 | SF | 33.909 | 0 | 2.128 | 33.909 | 33.909 | 0 | TRUE | TRUE
N_PERTHENERGY_KWINANA_GT1 | SF | 109 | 0 | 4 | 109 | 109 | 0 | TRUE | TRUE
N_NORTHAM_SF_PV1 | NSF | 0.811 | 0 | 0 | 0 | 0.811 | 0 | TRUE | TRUE
N_NEWGEN_NEERABUP_GT1 | SF | 330.6 | 0 | 80 | 330.6 | 330.6 | 0 | TRUE | TRUE
N_NEWGEN_KWINANA_CCG1 | SF | 327.8 | 0 | 110 | 327.8 | 327.8 | 0 | TRUE | TRUE
N_NAMKKN_MERR_SG1 | SF | 82 | 0 | 4 | 82 | 82 | 0 | TRUE | TRUE
N_PRDSO_WALPOLE_HG1 | NSF | 1.5 | 0 | 0 | 0 | 1.5 | 0 | TRUE | TRUE
N_PREMPWR_DSP_02 | DSP | 18.689 | 0 | 0 | 18.689 | 18.689 | 0 | TRUE | TRUE
N_RED_HILL | NSF | 2.361 | 0 | 0 | 0 | 2.361 | 0 | TRUE | TRUE
N_ROCKINGHAM | NSF | 1.012 | 0 | 0 | 0 | 1.012 | 0 | TRUE | TRUE
N_YANDIN_WF1 | SSF | 34.54 | 0 | 0 | 34.54 | 34.54 | 0 | TRUE | TRUE
N_WARRADARGE_WF1 | SSF | 28.959 | 0 | 0 | 28.959 | 28.959 | 0 | TRUE | TRUE
N_TIWEST_COG1 | SF | 36 | 0 | 14 | 36 | 36 | 0 | TRUE | TRUE
N_MWF_MUMBIDA_WF1 | SSF | 6.962 | 0 | 0 | 6.962 | 6.962 | 0 | TRUE | TRUE
N_TESLA_KEMERTON_G1 | SF | 8.286 | 0 | 1 | 8.286 | 8.286 | 0 | TRUE | TRUE
N_TESLA_GERALDTON_G1 | SF | 9.999 | 0 | 1 | 9.999 | 9.999 | 0 | TRUE | TRUE
N_TAMALA_PARK | NSF | 3.584 | 0 | 0 | 0 | 3.584 | 0 | TRUE | TRUE
N_SYNERGY_DSP_04 | DSP | 33.136 | 0 | 0 | 33.136 | 33.136 | 0 | TRUE | TRUE
N_SOUTH_CARDUP | NSF | 1.707 | 0 | 0 | 0 | 1.707 | 0 | TRUE | TRUE
N_SKYFRM_MTBARKER_WF1 | NSF | 0.82 | 0 | 0 | 0 | 0.82 | 0 | TRUE | TRUE
N_SBSOLAR1_CUNDERDIN_PV1 | SSF | 47.07 | 0 | 0 | 47.07 | 47.07 | 0 | TRUE | TRUE
N_MUJA_G8 | SF | 211 | 0 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MUJA_G7 | SF | 211 | 0 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MERSOLAR_PV1 | SSF | 7.61 | 0 | 0 | 7.61 | 7.61 | 0 | TRUE | TRUE
N_COLLIE_BESS2 | SF | 300 | 0 | 0 | 300 | 300 | 0 | TRUE | TRUE
N_COCKBURN_CCG1 | SF | 240 | 0 | 122.35 | 240 | 240 | 0 | TRUE | TRUE
N_BW2_BLUEWATERS_G1 | SF | 217 | 0 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BW1_BLUEWATERS_G2 | SF | 217 | 0 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BREMER_BAY_WF1 | NSF | 0.226 | 0 | 0 | 0 | 0.226 | 0 | TRUE | TRUE
N_BLAIRFOX_KARAKIN_WF1 | NSF | 0.093 | 0 | 0 | 0 | 0.093 | 0 | TRUE | TRUE
N_BIOGAS01 | NSF | 0.387 | 0 | 0 | 0 | 0.387 | 0 | TRUE | TRUE
N_COLLIE_ESR1 | SF | 192.425 | 0 | 0 | 192.425 | 192.425 | 0 | TRUE | TRUE
N_BADGINGARRA_WF1 | SSF | 24.285 | 0 | 0 | 24.285 | 24.285 | 0 | TRUE | TRUE
N_ALINTA_WWF | SSF | 14.006 | 0 | 0 | 14.006 | 14.006 | 0 | TRUE | TRUE
N_ALINTA_WGP_U2 | SF | 196 | 0 | 30 | 196 | 196 | 0 | TRUE | TRUE
N_ALINTA_WGP_GT | SF | 196 | 0 | 30 | 196 | 196 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U2 | SF | 142.447 | 0 | 5 | 142.447 | 142.447 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U1 | SF | 142.447 | 0 | 5 | 142.447 | 141.164 | 0 | TRUE | TRUE
N_ALCOA_WGP | SF | 16 | 0 | 0 | 16 | 16 | 0 | TRUE | TRUE
N_AMBRISOLAR_PV1 | NSF | 0.739 | 0 | 0 | 0 | 0.739 | 0 | TRUE | TRUE
N_COLLIE_G1 | SF | 317.2 | 0 | 91 | 317.2 | 317.2 | 0 | TRUE | TRUE
N_KWINANA_GT3 | SF | 99.2 | 0 | 23.5 | 99.2 | 99.2 | 0 | TRUE | TRUE
N_KWINANA_GT2 | SF | 98.5 | 0 | 23.5 | 98.5 | 98.5 | 0 | TRUE | TRUE
N_KWINANA_ESR1 | SF | 43.5 | 0 | 0 | 43.5 | 43.5 | 0 | TRUE | TRUE
N_KEMERTON_GT12 | SF | 155 | 0 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KEMERTON_GT11 | SF | 155 | 0 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KALBARRI_WF1 | NSF | 0.114 | 0 | 0 | 0 | 0.114 | 0 | TRUE | TRUE
N_HENDERSON_RENEWABLE_IG1 | NSF | 1.436 | 0 | 0 | 0 | 1.436 | 0 | TRUE | TRUE
N_GREENOUGH_RIVER_PV1 | SSF | 4.01 | 0 | 0 | 4.01 | 4.01 | 0 | TRUE | TRUE
N_GRASMERE_WF1 | SSF | 4.268 | 0 | 0 | 4.268 | 4.268 | 0 | TRUE | TRUE
N_FLATROCKS_WF1 | SSF | 22.561 | 0 | 0.2 | 22.561 | 22.561 | 0 | TRUE | TRUE
N_ERRRF_WTE_G1 | SF | 25.134 | 0 | 2.86 | 25.134 | 25.134 | 0 | TRUE | TRUE
N_EDWFMAN_WF1 | SSF | 10.32 | 0 | 0 | 10.32 | 10.32 | 0 | TRUE | TRUE
N_DCWL_DENMARK_WF1 | NSF | 0.491 | 0 | 0 | 0 | 0.491 | 0 | TRUE | TRUE
N_INVESTEC_COLLGAR_WF1 | SSF | 24.243 | 0 | 0 | 24.243 | 24.243 | 0 | TRUE | TRUE

## NaqResults_2024_3B_Final_202409
NAQEntityName | FacilityClass | NAQCeil | NAQFloor | NEntityMinContRange | NEntityMaxContRange | NAQResult | NAQResultFloorAdjustment | NAQResultConvergenceStatus | TotalNaqCeilingAboveDemand
N_ALBANY_WF1 | SSF | 6.195 | 6.09 | 0 | 6.195 | 6.195 | 0 | TRUE | TRUE
N_PINJAR_GT9 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT7 | SF | 35.75 | 35.75 | 9.2 | 35.75 | 35.75 | 0 | TRUE | TRUE
N_PINJAR_GT5 | SF | 37 | 37 | 9.2 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT4 | SF | 35.95 | 35.95 | 9.2 | 35.95 | 35.95 | 0 | TRUE | TRUE
N_PINJAR_GT3 | SF | 37 | 37 | 9.25 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT2 | SF | 30.8 | 30.8 | 9.35 | 30.8 | 30.8 | 0 | TRUE | TRUE
N_PINJAR_GT11 | SF | 123.35 | 123.35 | 13.2 | 123.35 | 123.35 | 0 | TRUE | TRUE
N_PINJAR_GT10 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT1 | SF | 29.07 | 29.07 | 9.35 | 29.07 | 29.07 | 0 | TRUE | TRUE
N_PHOENIX_KWINANA_WTE_G1 | SF | 33.909 | 33.909 | 2.128 | 33.909 | 33.909 | 0 | TRUE | TRUE
N_PERTHENERGY_KWINANA_GT1 | SF | 109 | 109 | 4 | 109 | 109 | 0 | TRUE | TRUE
N_NORTHAM_SF_PV1 | NSF | 0.821 | 0 | 0 | 0 | 0.821 | 0 | TRUE | TRUE
N_NEWGEN_NEERABUP_GT1 | SF | 330.6 | 330.6 | 80 | 330.6 | 330.6 | 0 | TRUE | TRUE
N_NEWGEN_KWINANA_CCG1 | SF | 327.8 | 327.8 | 110 | 327.8 | 327.8 | 0 | TRUE | TRUE
N_NAMKKN_MERR_SG1 | SF | 82 | 82 | 4 | 82 | 82 | 0 | TRUE | TRUE
N_PRDSO_WALPOLE_HG1 | NSF | 1.5 | 0 | 0 | 0 | 1.5 | 0 | TRUE | TRUE
N_PREMPWR_DSP_02 | DSP | 23 | 18.689 | 0 | 23 | 20.994 | 0 | TRUE | TRUE
N_RED_HILL | NSF | 2.361 | 0 | 0 | 0 | 2.361 | 0 | TRUE | TRUE
N_ROCKINGHAM | NSF | 1.012 | 0 | 0 | 0 | 1.012 | 0 | TRUE | TRUE
N_YANDIN_WF1 | SSF | 34.54 | 34.54 | 0 | 34.54 | 34.54 | 0 | TRUE | TRUE
N_WARRADARGE_WF1 | SSF | 29.788 | 28.959 | 0 | 29.788 | 29.788 | 0 | TRUE | TRUE
N_TIWEST_COG1 | SF | 36 | 36 | 14 | 36 | 36 | 0 | TRUE | TRUE
N_MWF_MUMBIDA_WF1 | SSF | 7.561 | 6.962 | 0 | 7.561 | 7.561 | 0 | TRUE | TRUE
N_TESLA_KEMERTON_G1 | SF | 9.999 | 8.286 | 1 | 9.999 | 9.205 | 0 | TRUE | TRUE
N_TESLA_GERALDTON_G1 | SF | 9.999 | 9.999 | 1 | 9.999 | 9.999 | 0 | TRUE | TRUE
N_TAMALA_PARK | NSF | 3.584 | 0 | 0 | 0 | 3.584 | 0 | TRUE | TRUE
N_SYNERGY_DSP_04 | DSP | 42 | 33.136 | 0 | 42 | 38.123 | 0 | TRUE | TRUE
N_SOUTH_CARDUP | NSF | 1.707 | 0 | 0 | 0 | 1.707 | 0 | TRUE | TRUE
N_SKYFRM_MTBARKER_WF1 | NSF | 0.82 | 0 | 0 | 0 | 0.82 | 0 | TRUE | TRUE
N_SBSOLAR1_CUNDERDIN_PV1 | SSF | 47.07 | 47.07 | 0 | 47.07 | 47.07 | 0 | TRUE | TRUE
N_MUJA_G8 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MUJA_G7 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MERSOLAR_PV1 | SSF | 7.61 | 7.61 | 0 | 7.61 | 7.61 | 0 | TRUE | TRUE
N_COLLIE_BESS2 | SF | 300 | 300 | 0 | 300 | 300 | 0 | TRUE | TRUE
N_COCKBURN_CCG1 | SF | 240 | 240 | 122.35 | 240 | 240 | 0 | TRUE | TRUE
N_BW2_BLUEWATERS_G1 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BW1_BLUEWATERS_G2 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BREMER_BAY_WF1 | NSF | 0.226 | 0 | 0 | 0 | 0.226 | 0 | TRUE | TRUE
N_BLAIRFOX_KARAKIN_WF1 | NSF | 0.093 | 0 | 0 | 0 | 0.093 | 0 | TRUE | TRUE
N_BIOGAS01 | NSF | 0.414 | 0 | 0 | 0 | 0.414 | 0 | TRUE | TRUE
N_COLLIE_ESR1 | SF | 192.425 | 192.425 | 0 | 192.425 | 192.425 | 0 | TRUE | TRUE
N_BADGINGARRA_WF1 | SSF | 25.066 | 24.285 | 0 | 25.066 | 25.066 | 0 | TRUE | TRUE
N_ALINTA_WWF | SSF | 15.121 | 14.006 | 0 | 15.121 | 15.121 | 0 | TRUE | TRUE
N_ALINTA_WGP_U2 | SF | 196 | 196 | 30 | 196 | 196 | 0 | TRUE | TRUE
N_ALINTA_WGP_GT | SF | 196 | 196 | 30 | 196 | 196 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U2 | SF | 142.447 | 142.447 | 5 | 142.447 | 142.447 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U1 | SF | 142.447 | 141.164 | 5 | 142.447 | 141.164 | 0 | TRUE | TRUE
N_ALCOA_WGP | SF | 16 | 16 | 0 | 16 | 16 | 0 | TRUE | TRUE
N_AMBRISOLAR_PV1 | NSF | 0.739 | 0 | 0 | 0 | 0.739 | 0 | TRUE | TRUE
N_COLLIE_G1 | SF | 317.2 | 317.2 | 91 | 317.2 | 317.2 | 0 | TRUE | TRUE
N_KWINANA_GT3 | SF | 99.2 | 99.2 | 23.5 | 99.2 | 99.2 | 0 | TRUE | TRUE
N_KWINANA_GT2 | SF | 98.5 | 98.5 | 23.5 | 98.5 | 98.5 | 0 | TRUE | TRUE
N_KWINANA_ESR1 | SF | 43.5 | 43.5 | 0 | 43.5 | 43.5 | 0 | TRUE | TRUE
N_KEMERTON_GT12 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KEMERTON_GT11 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KALBARRI_WF1 | NSF | 0.114 | 0 | 0 | 0 | 0.114 | 0 | TRUE | TRUE
N_HENDERSON_RENEWABLE_IG1 | NSF | 1.476 | 0 | 0 | 0 | 1.476 | 0 | TRUE | TRUE
N_GREENOUGH_RIVER_PV1 | SSF | 4.01 | 4.01 | 0 | 4.01 | 4.01 | 0 | TRUE | TRUE
N_GRASMERE_WF1 | SSF | 4.268 | 4.268 | 0 | 4.268 | 4.268 | 0 | TRUE | TRUE
N_FLATROCKS_WF1 | SSF | 22.561 | 22.561 | 0.2 | 22.561 | 22.561 | 0 | TRUE | TRUE
N_ERRRF_WTE_G1 | SF | 25.134 | 25.134 | 2.86 | 25.134 | 25.134 | 0 | TRUE | TRUE
N_EDWFMAN_WF1 | SSF | 11.356 | 10.32 | 0 | 11.356 | 11.356 | 0 | TRUE | TRUE
N_DCWL_DENMARK_WF1 | NSF | 0.492 | 0 | 0 | 0 | 0.492 | 0 | TRUE | TRUE
N_INVESTEC_COLLGAR_WF1 | SSF | 25.162 | 24.243 | 0 | 25.162 | 25.162 | 0 | TRUE | TRUE

## NaqResults_2024_3C_Final_202409
NAQEntityName | FacilityClass | NAQCeil | NAQFloor | NEntityMinContRange | NEntityMaxContRange | NAQResult | NAQResultFloorAdjustment | NAQResultConvergenceStatus | TotalNaqCeilingAboveDemand
N_ALBANY_WF1 | SSF | 7.736 | 6.195 | 0 | 7.736 | 7.736 | 0 | TRUE | TRUE
N_PINJAR_GT9 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT7 | SF | 35.75 | 35.75 | 9.2 | 35.75 | 35.75 | 0 | TRUE | TRUE
N_PINJAR_GT5 | SF | 37 | 37 | 9.2 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT4 | SF | 35.95 | 35.95 | 9.2 | 35.95 | 35.95 | 0 | TRUE | TRUE
N_PINJAR_GT3 | SF | 37 | 37 | 9.25 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT2 | SF | 31.6 | 30.8 | 9.35 | 31.6 | 31.6 | 0 | TRUE | TRUE
N_PINJAR_GT11 | SF | 123.35 | 123.35 | 13.2 | 123.35 | 123.35 | 0 | TRUE | TRUE
N_PINJAR_GT10 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT1 | SF | 29.07 | 29.07 | 9.35 | 29.07 | 29.07 | 0 | TRUE | TRUE
N_PHOENIX_KWINANA_WTE_G1 | SF | 33.909 | 33.909 | 2.128 | 33.909 | 33.909 | 0 | TRUE | TRUE
N_PERTHENERGY_KWINANA_GT1 | SF | 109 | 109 | 4 | 109 | 109 | 0 | TRUE | TRUE
N_NORTHAM_SF_PV1 | NSF | 0.839 | 0 | 0 | 0 | 0.839 | 0 | TRUE | TRUE
N_NEWGEN_NEERABUP_GT1 | SF | 330.6 | 330.6 | 80 | 330.6 | 330.6 | 0 | TRUE | TRUE
N_NEWGEN_KWINANA_CCG1 | SF | 327.8 | 327.8 | 110 | 327.8 | 327.8 | 0 | TRUE | TRUE
N_NAMKKN_MERR_SG1 | SF | 82 | 82 | 4 | 82 | 82 | 0 | TRUE | TRUE
N_PRDSO_WALPOLE_HG1 | NSF | 1.5 | 0 | 0 | 0 | 1.5 | 0 | TRUE | TRUE
N_PREMPWR_DSP_02 | DSP | 23 | 20.994 | 0 | 23 | 20.994 | 0 | TRUE | TRUE
N_RED_HILL | NSF | 2.361 | 0 | 0 | 0 | 2.361 | 0 | TRUE | TRUE
N_ROCKINGHAM | NSF | 1.012 | 0 | 0 | 0 | 1.012 | 0 | TRUE | TRUE
N_YANDIN_WF1 | SSF | 37.504 | 34.54 | 0 | 37.504 | 37.504 | 0 | TRUE | TRUE
N_WARRADARGE_WF1 | SSF | 34.902 | 29.788 | 0 | 34.902 | 34.902 | 0 | TRUE | TRUE
N_TIWEST_COG1 | SF | 36 | 36 | 14 | 36 | 36 | 0 | TRUE | TRUE
N_MWF_MUMBIDA_WF1 | SSF | 7.561 | 7.561 | 0 | 7.561 | 7.561 | 0 | TRUE | TRUE
N_TESLA_KEMERTON_G1 | SF | 9.999 | 9.205 | 1 | 9.999 | 9.205 | 0 | TRUE | TRUE
N_TESLA_GERALDTON_G1 | SF | 9.999 | 9.999 | 1 | 9.999 | 9.999 | 0 | TRUE | TRUE
N_TAMALA_PARK | NSF | 3.584 | 0 | 0 | 0 | 3.584 | 0 | TRUE | TRUE
N_SYNERGY_DSP_04 | DSP | 42 | 38.123 | 0 | 42 | 38.123 | 0 | TRUE | TRUE
N_SOUTH_CARDUP | NSF | 1.707 | 0 | 0 | 0 | 1.707 | 0 | TRUE | TRUE
N_SKYFRM_MTBARKER_WF1 | NSF | 0.947 | 0 | 0 | 0 | 0.947 | 0 | TRUE | TRUE
N_SBSOLAR1_CUNDERDIN_PV1 | SSF | 47.07 | 47.07 | 0 | 47.07 | 47.07 | 0 | TRUE | TRUE
N_MUJA_G8 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MUJA_G7 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MERSOLAR_PV1 | SSF | 7.61 | 7.61 | 0 | 7.61 | 7.61 | 0 | TRUE | TRUE
N_COLLIE_BESS2 | SF | 300 | 300 | 0 | 300 | 300 | 0 | TRUE | TRUE
N_COCKBURN_CCG1 | SF | 240 | 240 | 122.35 | 240 | 240 | 0 | TRUE | TRUE
N_BW2_BLUEWATERS_G1 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BW1_BLUEWATERS_G2 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BREMER_BAY_WF1 | NSF | 0.246 | 0 | 0 | 0 | 0.246 | 0 | TRUE | TRUE
N_BLAIRFOX_KARAKIN_WF1 | NSF | 0.093 | 0 | 0 | 0 | 0.093 | 0 | TRUE | TRUE
N_BIOGAS01 | NSF | 0.425 | 0 | 0 | 0 | 0.425 | 0 | TRUE | TRUE
N_COLLIE_ESR1 | SF | 192.425 | 192.425 | 0 | 192.425 | 192.425 | 0 | TRUE | TRUE
N_BADGINGARRA_WF1 | SSF | 26.098 | 25.066 | 0 | 26.098 | 26.098 | 0 | TRUE | TRUE
N_ALINTA_WWF | SSF | 16.859 | 15.121 | 0 | 16.859 | 16.859 | 0 | TRUE | TRUE
N_ALINTA_WGP_U2 | SF | 208 | 196 | 30 | 208 | 206.787 | 0 | FALSE | TRUE
N_ALINTA_WGP_GT | SF | 208 | 196 | 30 | 208 | 207.076 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U2 | SF | 142.447 | 142.447 | 5 | 142.447 | 142.447 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U1 | SF | 142.447 | 141.164 | 5 | 142.447 | 141.164 | 0 | TRUE | TRUE
N_ALCOA_WGP | SF | 26 | 16 | 0 | 26 | 18.88 | 0 | FALSE | TRUE
N_AMBRISOLAR_PV1 | NSF | 0.739 | 0 | 0 | 0 | 0.739 | 0 | TRUE | TRUE
N_COLLIE_G1 | SF | 317.2 | 317.2 | 91 | 317.2 | 317.2 | 0 | TRUE | TRUE
N_KWINANA_GT3 | SF | 99.2 | 99.2 | 23.5 | 99.2 | 99.2 | 0 | TRUE | TRUE
N_KWINANA_GT2 | SF | 98.5 | 98.5 | 23.5 | 98.5 | 98.5 | 0 | TRUE | TRUE
N_KWINANA_ESR1 | SF | 43.5 | 43.5 | 0 | 43.5 | 43.5 | 0 | TRUE | TRUE
N_KEMERTON_GT12 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KEMERTON_GT11 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KALBARRI_WF1 | NSF | 0.114 | 0 | 0 | 0 | 0.114 | 0 | TRUE | TRUE
N_HENDERSON_RENEWABLE_IG1 | NSF | 1.476 | 0 | 0 | 0 | 1.476 | 0 | TRUE | TRUE
N_GREENOUGH_RIVER_PV1 | SSF | 4.394 | 4.01 | 0 | 4.394 | 4.394 | 0 | TRUE | TRUE
N_GRASMERE_WF1 | SSF | 5.434 | 4.268 | 0 | 5.434 | 5.434 | 0 | TRUE | TRUE
N_FLATROCKS_WF1 | SSF | 25.341 | 22.561 | 0.2 | 25.341 | 25.341 | 0 | TRUE | TRUE
N_ERRRF_WTE_G1 | SF | 25.134 | 25.134 | 2.86 | 25.134 | 25.134 | 0 | TRUE | TRUE
N_EDWFMAN_WF1 | SSF | 11.356 | 11.356 | 0 | 11.356 | 11.356 | 0 | TRUE | TRUE
N_DCWL_DENMARK_WF1 | NSF | 0.571 | 0 | 0 | 0 | 0.571 | 0 | TRUE | TRUE
N_INVESTEC_COLLGAR_WF1 | SSF | 27.964 | 25.162 | 0 | 27.964 | 27.964 | 0 | TRUE | TRUE

## NaqResults_2024_5_Final_2024092
NAQEntityName | FacilityClass | NAQCeil | NAQFloor | NEntityMinContRange | NEntityMaxContRange | NAQResult | NAQResultFloorAdjustment | NAQResultConvergenceStatus | TotalNaqCeilingAboveDemand
N_ALBANY_WF1 | SSF | 7.736 | 7.736 | 0 | 7.736 | 7.736 | 0 | TRUE | TRUE
N_PINJAR_GT9 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT7 | SF | 35.75 | 35.75 | 9.2 | 35.75 | 35.75 | 0 | TRUE | TRUE
N_PINJAR_GT5 | SF | 37 | 37 | 9.2 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT4 | SF | 35.95 | 35.95 | 9.2 | 35.95 | 35.95 | 0 | TRUE | TRUE
N_PINJAR_GT3 | SF | 37 | 37 | 9.25 | 37 | 37 | 0 | TRUE | TRUE
N_PINJAR_GT2 | SF | 31.6 | 31.6 | 9.35 | 31.6 | 31.6 | 0 | TRUE | TRUE
N_PINJAR_GT11 | SF | 123.35 | 123.35 | 13.2 | 123.35 | 123.35 | 0 | TRUE | TRUE
N_PINJAR_GT10 | SF | 110.5 | 110.5 | 13.2 | 110.5 | 110.5 | 0 | TRUE | TRUE
N_PINJAR_GT1 | SF | 29.07 | 29.07 | 9.35 | 29.07 | 29.07 | 0 | TRUE | TRUE
N_PHOENIX_KWINANA_WTE_G1 | SF | 33.909 | 33.909 | 2.128 | 33.909 | 33.909 | 0 | TRUE | TRUE
N_PERTHENERGY_KWINANA_GT1 | SF | 109 | 109 | 4 | 109 | 109 | 0 | TRUE | TRUE
N_NORTHAM_SF_PV1 | NSF | 0.839 | 0 | 0 | 0 | 0.839 | 0 | TRUE | TRUE
N_NEWGEN_NEERABUP_GT1 | SF | 330.6 | 330.6 | 80 | 330.6 | 330.6 | 0 | TRUE | TRUE
N_NEWGEN_KWINANA_CCG1 | SF | 327.8 | 327.8 | 110 | 327.8 | 327.8 | 0 | TRUE | TRUE
N_NAMKKN_MERR_SG1 | SF | 82 | 82 | 4 | 82 | 82 | 0 | TRUE | TRUE
N_PRDSO_WALPOLE_HG1 | NSF | 1.5 | 0 | 0 | 0 | 1.5 | 0 | TRUE | TRUE
N_PREMPWR_DSP_02 | DSP | 23 | 20.994 | 0 | 23 | 20.994 | 0 | TRUE | TRUE
N_RED_HILL | NSF | 2.361 | 0 | 0 | 0 | 2.361 | 0 | TRUE | TRUE
N_ROCKINGHAM | NSF | 1.012 | 0 | 0 | 0 | 1.012 | 0 | TRUE | TRUE
N_ARROWSMITH_EAST_G1 | SF | 85 | 0 | 1.79 | 85 | 85 | 0 | TRUE | TRUE
N_YANDIN_WF1 | SSF | 37.504 | 37.504 | 0 | 37.504 | 37.504 | 0 | TRUE | TRUE
N_WARRADARGE_WF1 | SSF | 34.902 | 34.902 | 0 | 34.902 | 34.902 | 0 | TRUE | TRUE
N_TIWEST_COG1 | SF | 36 | 36 | 14 | 36 | 36 | 0 | TRUE | TRUE
N_MWF_MUMBIDA_WF1 | SSF | 7.561 | 7.561 | 0 | 7.561 | 7.561 | 0 | TRUE | TRUE
N_TESLA_KEMERTON_G1 | SF | 9.999 | 9.205 | 1 | 9.999 | 9.205 | 0 | TRUE | TRUE
N_TESLA_GERALDTON_G1 | SF | 9.999 | 9.999 | 1 | 9.999 | 9.999 | 0 | TRUE | TRUE
N_TAMALA_PARK | NSF | 3.584 | 0 | 0 | 0 | 3.584 | 0 | TRUE | TRUE
N_SYNERGY_DSP_04 | DSP | 42 | 38.123 | 0 | 42 | 38.123 | 0 | TRUE | TRUE
N_SOUTH_CARDUP | NSF | 1.707 | 0 | 0 | 0 | 1.707 | 0 | TRUE | TRUE
N_SKYFRM_MTBARKER_WF1 | NSF | 0.947 | 0 | 0 | 0 | 0.947 | 0 | TRUE | TRUE
N_SBSOLAR1_CUNDERDIN_PV1 | SSF | 47.07 | 47.07 | 0 | 47.07 | 47.07 | 0 | TRUE | TRUE
N_MUJA_G8 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MUJA_G7 | SF | 211 | 211 | 55.3 | 211 | 211 | 0 | TRUE | TRUE
N_MERSOLAR_PV1 | SSF | 7.61 | 7.61 | 0 | 7.61 | 7.61 | 0 | TRUE | TRUE
N_COLLIE_BESS2 | SF | 300 | 300 | 0 | 300 | 300 | 0 | TRUE | TRUE
N_COCKBURN_CCG1 | SF | 240 | 240 | 122.35 | 240 | 240 | 0 | TRUE | TRUE
N_BW2_BLUEWATERS_G1 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BW1_BLUEWATERS_G2 | SF | 217 | 217 | 82 | 217 | 217 | 0 | TRUE | TRUE
N_BREMER_BAY_WF1 | NSF | 0.246 | 0 | 0 | 0 | 0.246 | 0 | TRUE | TRUE
N_BLAIRFOX_KARAKIN_WF1 | NSF | 0.093 | 0 | 0 | 0 | 0.093 | 0 | TRUE | TRUE
N_BIOGAS01 | NSF | 0.425 | 0 | 0 | 0 | 0.425 | 0 | TRUE | TRUE
N_COLLIE_ESR1 | SF | 192.425 | 192.425 | 0 | 192.425 | 192.425 | 0 | TRUE | TRUE
N_BADGINGARRA_WF1 | SSF | 26.098 | 26.098 | 0 | 26.098 | 26.098 | 0 | TRUE | TRUE
N_ALINTA_WWF | SSF | 16.859 | 16.859 | 0 | 16.859 | 16.859 | 0 | TRUE | TRUE
N_ALINTA_WGP_U2 | SF | 208 | 206.787 | 30 | 208 | 207.076 | 0 | TRUE | TRUE
N_ALINTA_WGP_GT | SF | 208 | 207.076 | 30 | 208 | 207.076 | 0 | TRUE | TRUE
N_ALINTA_WGP_ESR1 | SF | 48.739 | 0 | 0 | 48.739 | 48.536 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U2 | SF | 142.447 | 142.447 | 5 | 142.447 | 142.447 | 0 | TRUE | TRUE
N_ALINTA_PNJ_U1 | SF | 142.447 | 141.164 | 5 | 142.447 | 141.164 | 0 | TRUE | TRUE
N_ALCOA_WGP | SF | 26 | 18.88 | 0 | 26 | 18.88 | 0 | TRUE | TRUE
N_AMBRISOLAR_PV1 | NSF | 0.739 | 0 | 0 | 0 | 0.739 | 0 | TRUE | TRUE
N_COLLIE_ESR4 | SF | 250 | 0 | 0 | 250 | 176.01 | 0 | FALSE | TRUE
N_COLLIE_G1 | SF | 317.2 | 317.2 | 91 | 317.2 | 317.2 | 0 | TRUE | TRUE
N_MERREDIN_ESR1 | SF | 94.5 | 0 | 0 | 94.5 | 94.5 | 0 | TRUE | TRUE
N_KWINANA_GT3_NIGS_01_UPG_01 | SF | 7.604 | 0 | 0 | 7.604 | 7.604 | 0 | TRUE | TRUE
N_KWINANA_GT3 | SF | 99.2 | 99.2 | 23.5 | 99.2 | 99.2 | 0 | TRUE | TRUE
N_KWINANA_GT2_NIGS_01_UPG_01 | SF | 8.263 | 0 | 0 | 8.263 | 8.263 | 0 | TRUE | TRUE
N_KWINANA_GT2 | SF | 98.5 | 98.5 | 23.5 | 98.5 | 98.5 | 0 | TRUE | TRUE
N_KWINANA_ESR2 | SF | 225 | 0 | 0 | 225 | 225 | 0 | TRUE | TRUE
N_KWINANA_ESR1 | SF | 43.5 | 43.5 | 0 | 43.5 | 43.5 | 0 | TRUE | TRUE
N_KEMERTON_GT12 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_KEMERTON_GT11 | SF | 155 | 155 | 70 | 155 | 155 | 0 | TRUE | TRUE
N_COLLIE_ESR5 | SF | 250 | 0 | 0 | 250 | 175.347 | 0 | FALSE | TRUE
N_KALBARRI_WF1 | NSF | 0.114 | 0 | 0 | 0 | 0.114 | 0 | TRUE | TRUE
N_HENDERSON_RENEWABLE_IG1 | NSF | 1.476 | 0 | 0 | 0 | 1.476 | 0 | TRUE | TRUE
N_GREENOUGH_RIVER_PV1 | SSF | 4.394 | 4.394 | 0 | 4.394 | 4.394 | 0 | TRUE | TRUE
N_GRASMERE_WF1 | SSF | 5.434 | 5.434 | 0 | 5.434 | 5.434 | 0 | TRUE | TRUE
N_FLATROCKS_WF1 | SSF | 25.341 | 25.341 | 0.2 | 25.341 | 25.341 | 0 | TRUE | TRUE
N_ERRRF_WTE_G1 | SF | 25.134 | 25.134 | 2.86 | 25.134 | 25.134 | 0 | TRUE | TRUE
N_EDWFMAN_WF1 | SSF | 11.356 | 11.356 | 0 | 11.356 | 11.356 | 0 | TRUE | TRUE
N_DCWL_DENMARK_WF1 | NSF | 0.571 | 0 | 0 | 0 | 0.571 | 0 | TRUE | TRUE
N_INVESTEC_COLLGAR_WF1 | SSF | 27.964 | 27.964 | 0 | 27.964 | 27.964 | 0 | TRUE | TRUE
N_ENELX_DSP_01 | DSP | 110 | 0 | 0 | 110 | 110 | 0 | TRUE | TRUE