## Sheet1
Gas Industry
Meter High Account or Meter Retake and Test Request Template
The purpose of this template is for: 1. Retail businesses to provide the Gas Distributor with information regarding a 'Meter High Account' or 'Meter Retake and Test' investigation request. The appropriate MHA or MRT service order request will also be issued. 2. Distribution businesses to provide Retailers details on the outcome of the investigation. The appropriate service order response will also be issued.
STEP 1: INITIATE REQUEST <to be completed by the retailer>
| Requesting Retailer |  |  |  | Date:
APA/ENVESTRA remove the meter for testing upon receipt of MHA & MRT request. Applies in all jurisdictions Commercial sized gas Meter’s - standard fees apply for domestic sized gas meter’s only (<10m3/hr.). Any Commercial meter’s (>10m3/hr.) will require a quote to be provided to the retailer for approval by the customer prior to commencement of works (meter testing).
| Distributor |  |  |  | MHA |  | <Tick the box for the type of investigation requested> | Multinet accept MHAs and MRTs as requested
[5 empty] | MRT |  |  | SP Ausnet accept MHAs as requested. Retailers are required to request a quote for the MRT, via email, prior to the retailer raising the MRT.
| MIRN # |  |  |  | MHA/MRT Service Order Request # |  |  |  | Meter # to be tested
| Customer Name |  |  |  | Street Address |  |  |  | Suburb
| Customer Account (Retailer Ref - optional) |  |  |  | Customer Contact Number (optional)
Appliance Types
COOKER
H.W.S
SPACE HEATER
CENTRAL HEATER
SPA/POOL HEATER
Other (please specify)
LAST 4 METER READINGS:
Index: | [9 empty] | Existing Meter #
|  | 1st |  | 2nd |  | 3rd |  | 4th
Date:
Was last meter reading verified |  |  |  |  | Date |  | Reading
Reading Obtained By
Comments
STEP 2: DISTRIBUTOR FIELD INVESTIGATION REPORT <to be completed by the fitter attending the site>
No. of Occupants
Meter Details
| Existing Meter # |  |  | Index |  |  | Type |  |  | Year
| Insitu Test: Test Meter No. |  |  |  | Ambient Temp |  |  | Test Meter Temp
|  |  | @ 20% Badge Capacity |  |  |  | @ 100% Badge Capacity
| Possible Index Fault |  |  |  | Meter Changed |  |  |  | Date
| New Meter # |  |  | Index |  | Type |  | Year |  | Stock Page
| Official Meter Test |  |  |  | Date Meter Sent for Testing |  |  |  | Date Results Received
|  |  | Service Regulator Type |  |  |  | Model
| Meter Outlet Pressure | [5 empty] | Regulator Adjusted to:
| Flowing - p.a |  |  | Static - p.a. |  |  | Flowing - p.a |  |  | Static - p.a.
|  | Meter Outlet Pressure - Flowing - p.a |  |  |  |  | Meter Outlet Pressure - Static - p.a.
Fitting Line
| Sound |  |  |  | Acceptable |  |  |  | Unsafe / Cut Off
Escapes
| Against Distributor |  |  |  | Source | [5 empty] | Escape Rate MJ's / HR
| Against Customer |  |  |  | Source
APPLIANCES
| TYPE | MAKE |  |  | MODEL |  | NO. | BADGED MJ/HR |  | Access | Re-Light
COOKER
H.W.S
SPACE HEATER
CENTRAL HEATER
SPA/POOL HEATER
Other
Distributor / Supervisor's Comments and Recommendations
| DB Job # |  |  | Fitter Details | [5 empty] | Date
Note on C76: Click on cell for Drop down menu: Yes No
Note on G76: Click on cell for Drop down menu: Yes No
Note on C98: Click on cell for Drop down menu: Yes No
Note on G98: Click on cell for Drop down menu: Yes No
Note on K98: Click on cell for Drop down menu: Yes No
Note on C103: Click on cell for Drop down menu: Yes No
Note on C107: Click on cell for Drop down menu: Yes No