## Job Enquiry Codes
WA DEFINITIONS AND USAGE
ENQUIRY CODE | WA BRIEF DESCRIPTION | WESTERN AUSTRALIA DETAILED DESCRIPTION | MIRN | WA Comments | For relevant Enquiry Codes, successful completion will result in the following MIRN and Meter status changes. | Completion Code Completed | Completion Code Can't do | Completion Code No Access | Completion Code Cancel
AML | Apply Meter Lock | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC device or DSD to cut Service. NO may also initiate for safety reasons and then provides the AML Service Order Response to the Current user. The successful completion of this service order will result in: meter valve physically locked, | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC device or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLN | Attach Locks/Plugs to Meter for Non-Payment | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when a customer has not paid their account. | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLU | Attach Locks/Plugs to Meter for Unauthorised usage (ie non-identification) | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when a customer has not contacted the retailer to set up an account. | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLB | Attach Locks/Plugs to Meter for breach of contract. | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when a a customer has continued to breach their contract. | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLI | Attach Locks/Plugs to Meter for illegal usage. | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when a customer continues to illegally use gas. | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLC | Attach Locks/Plugs to Meter at the request of a customer | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when the customer requests a site be disconnected. | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
AMLM | Attach Locks/Plugs to Meter at the request of a retailer when a customer is moving out | Used to request attachment of Locks or Plugs (wad) to the meter which will prevent the use of gas. This is to be used when a retailer requests a site be disconnected whena customer moves out | M | Only used for applying Meter Locks. If meter cannot be locked will result in failure of SO. To escalate use MRM to remove regulator, TCI to install TAC devide or DSD to cut Service. NO does not care why, does not have to be for debt. NO may also initiate for safety reasons and provides the AML Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Plugged. Meter physically plugged or locked, | 10-23 | 10-98 | 70-30 | 74-98
CLT (WA ONLY) | New Connection Cluster Development | Used to initiate a new connection on a strata titled property, the User needs to separately provide "Strata Management Approval". Note that no additional SCR or MFX service order request is required. The successful completion of this service order will result in: service and meter physically installed, with the meter valve possibly closed if the consumer installation is not commissioned. MIRN status = Commissioned |  | Used to initiate a new connection on a strata titled property, the User needs to separately provide "Strata Management Approval". Note that no additional SCR or MFX service order request is required. |  | 10-78 | 70-30 | Not Applicable | 74-98
CSL | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
DFC | Dissatisfied Customer | Used when a customer contacts the User with a complaint, and the complaint does not relate to the Users activities. The Network Operator will investigate the customer’s complaint. | O | Used to report complaints related to Gas staff that have attended at a property. Used by retailer if he had not visited site on the day of the complaint |  | 48-78 | 48-98 | 70-30 | 74-98
DMS | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
DSD | Disconnect Service in Street | Used to initiate when disconnection of supply when access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). NO may also initiate for safety reasons and then provides the DSD Service Order Response to the Current user. The successful completion of this service order is: Service physically disconnected, MIRN Status = Decommissioned. | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
DSDN | Disconnect in Street for Non-Payment | This may be requested by Retailer, or by Distributor as a matter of safety, when disconnection of supply is intended to be longer term or access to the meter is not available due to non-payment of outstanding account by the customer. On occasion, access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
DSDU | Disconnect in Street for Unauthorised Usage (ie Non identification) | This may be requested by Retailer, or by Distributor as a matter of safety, when disconnection of supply is intended to be longer term or access to the meter is not available due to unauthorised usage by the customer. On occasion, access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
DSDB | Disconnect in Street for Breach of Contract | This may be requested by Retailer, or by Distributor as a matter of safety, when disconnection of supply is intended to be longer term or access to the meter is not available due to breach of contract by the customer. On occasion, access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
DSDI | Disconnect in Street for Illegal Usage | This may be requested by Retailer, or by Distributor as a matter of safety, when disconnection of supply is intended to be longer term or access to the meter is not available due to illegal usage by the customer. On occasion, access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
DSDA | Disconnect in Street for no access | This may be requested by Retailer, or by Distributor as a matter of safety, when disconnection of supply is intended to be longer term or access to the meter is not available due to no access/access blocked by the customer. On occasion, access to the meter is not possible, or endangers the safety of the field personnel, and disconnection of supply can only be effected by disconnecting the service pipe in the street (or closing isolation valve). | M | Same Use in WA, reason may be other than Debt. NO may also initiate for safety reasons and provides the DSD Service Order Response to the Current user | MIRN status = Decommissioned, Meter status = Turned OFF Service physically plugged | 21-78 | 21-98 | 70-30 | 74-98
EBD | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EBS | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
ECO (WA ONLY) | Emergency Change Over | Used to initiate a urgent new LOM connection to facilitate a customer switching from an electric to a gas HWS. This should only be used for residential customers. Note that no additional SCR or MFX service order request is required. The successful completion of this service order will result in: service and meter physically installed, with the meter valve possibly closed if the consumer installation is not commissioned. MIRN status = Commissioned |  | Used to initiate a urgent new LOM connection to facilitate a customer switching from an electric to a gas HWS. This should only be used for residential customers. Note that no additional SCR or MFX service order request is required. |  | 10-78 | 70-30 | Not Applicable | 74-98
EFB | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EMG | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EMT | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EOT | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
ESE | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EST | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
EXP | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FAP | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FAT | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FHS | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FMN | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FMT | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
FSV | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
MAP | not applicable | Not used as an automated SO in WA, consumers arrange this direct by calling the networks call centre who will provide them with contact details of authorised service agents who quote and deal direct with the consumer | NA | Not used as an automated SO in WA. This Job does not exist in WA, consumers arrange this by calling the networks call centre who will provide them with contact details of authorised service agents who quote and deal direct with the consumer |  | not applicable | not applicable | not applicable | not applicable
MBO | not applicable | not applicable | NA | This Job does not exist in WA, we do not have pre-payment meters |  | not applicable | not applicable | not applicable | not applicable
MCH | Meter Change | Only used as SO response, cannot be initiated by User. Successful completion will result in: Meter is physically replaced at premise, MIRN status = as before | M | Retailers cannot use this to initiate a meter change, as time expiry is managed by NO. For faults contact network call centre direct |  | 10-10 | 10-98 | 70-30 | 74-98
MDM | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
MDO | Meter Defective Operation Ordinary | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | M | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
MFX | not applicable | Not used in WA. For new connections a SCR initiates the installation of Service and Meter | NA | Not used in WA. For new connections a SCR initiates the installation of Service and Meter |  | not applicable | not applicable | not applicable | not applicable
MFXA | Meter Fix - Fault Rectified | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | Not used in WA, consumer calls Network Operator emergency call centre direct |  | Not Applicable | Not Applicable | Not Applicable | Not Applicable
MHA | not applicable | Not used in WA, use MRT | NA | Not used in WA, use MRT |  | not applicable | not applicable | not applicable | not applicable
MRC | not applicable | Not used in WA, very in frequent, If required Retailer to contact Network Operator and discuss | NA | Not used in WA, very in frequent, If required Retailer to contact Network Operator and discuss |  | not applicable | not applicable | not applicable | not applicable
MRF | not applicable | not applicable | NA | Not used in WA, as we do not remove meter, but regulator |  | not applicable | not applicable | not applicable | not applicable
MRG | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
MRM | Remove Regulator | Initiates regulator removal. NO may also initiate for safety reasons and then provides the MRM Service Order Response to the Current user. The successful completion of this service order is: regulator physically removed | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRMN | Remove Regulator for Non Payment | Used to request regulator removal where a customer has not paid their account. | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRMU | Remove Regulator for Unauthorised Usage (ie Non Identification) | Used to request regulator removal where a customer has not contacted the retailer to set up an account. | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRMB | Remove regulator for Breach of Contract | Used to request regulator removal where there is a breach of contract by the customert. | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRMI | Remove regulator for Illegal Usage | Used to request regulator removal where a customer continues to use gas illegally | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRMC | Remove regulator at Customer Request | This is to be used when a customer requests their meter to be removed | M | Used in WA to initiate removal of Regulator. Meter remains at premises. NO may also initiate for safety reasons and provides the MRM Service Order Response to the Current user. To reinstall use MTN | MIRN Status = Decommissioned, Meter Status = 'No Reg' Meter regulator is physically removed from premises, | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
MRR | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
MRT | Meter Retake and Test | Used to initiate a meter test to see if falls within allowable limits. The successful completion of this service order will result in: Meter physically replaced at the premise, MIRN Status as before | M | In WA this is commonly referred to as a meter test. |  | 10-18 | Not Applicable | 70-30 | 74-98
MST | not applicable | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | Not used in WA, If required Retailer to contact Network Operator by phone |  | not applicable | not applicable | not applicable | not applicable
MTE | not applicable | not applicable | NA | Not used in WA, use MTN |  | not applicable | not applicable | not applicable | not applicable
MTJ | Meter Tap Jammed | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | not applicable | Not Applicable | Not Applicable | Not Applicable
MTN | Reinstall Regulator | Initiates regulator reinstallation. NO may also initiate when disconnection for safety reasons is no longer applicable and then provides the MRM Service Order Response to the Current user. The successful completion of this service order is: regulator physically reinstalled | M | This will be used to reinstall the regulator removed with a MRM | MIRN Status = Commissioned, Meter Status = Turned on. | 10-22 | Not Applicable | 70-30 | 74-98
OTH | Other | This code is used where no other code is applicable. Not to be used as work around for system or process problems. Note that completion code 74 - 30 will be used to close the job if "translation" to the correct JEC code is required. |  | Used for quotation Jobs??? Make clear not to be abused, NO may Nack |  | 10-78 | 10-98 | 70-30 | 74-98
RML | Remove Meter Lock | Used to request removal of Locks from the meter. NO may also initiate when disconnection for safety reasons is no longer applicable and then provides the RML Service Order Response to the Current user. The successful completion of this service order will result in: locks physically removed from the meter valve | M | In WA this only relates to a remove meter lock. To reinstall a regulator use MTM | MIRN status = Commissioned, Meter Status = Turned on. Plugs or locks physically removed from the meter. | 10-22 | Not Applicable | 70-30 | 74-98
PRE | not applicable | not applicable | NA | Not used in WA |  | not applicable | not applicable | not applicable | not applicable
RSD | Reconnect Service in Street | Used to request reconnection of gas supply, previously disconnected in the street. NO may also initiate when a previous disconnection for safety reasons has been resolved and then provides the RSD Service Order Response to the Current user. The successful completion of this service order is: Service physically reconnected | M | not specific re payment | MIRN status being "Commissioned" and Meter Status "Turned On". | 21-78 | Not Applicable | 70-30 | 74-98
RSR | not applicable | not applicable | NA | This Job does not exist in WA, consumers arrange this by calling the networks call centre who will provide them with contact details of authorised service agents who quote and deal direct with the consumer |  | not applicable | not applicable | not applicable | not applicable
SBS | Bad Supply | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | not applicable | Not Applicable | Not Applicable | Not Applicable
SCR | New Connection Request | Used for requesting a new connection. Should not be used for Emergency Change Over or Cluster Development. This should be used regardless of the size of the gas load. Also, note that no separate service order request is required for the installation of the gas meter. The successful completion of this service order will result in: service and meter physically installed, with the meter valve possibly closed if the consumer installation is not commissioned. |  | This initiates both the service and the initial meter installation, there is no separate service order request required for the installation of the gas meter. Cannot be used to initiate a connection to a cluster development or and emergency change over | MIRN status = Commissioned, Meter Status = Turned on. | 10-78 | 70-30 | Not Applicable | 74-98
SDR | Deregistration Request | Initiates the "permanent" removal of the Meter and ends the association of the User with the MIRN. Does not require a prior MRM. | M | This initiates a deregistration of the MIRN and results in the meter/regulator (and at the Network Operators Discretion the service) being removed | MIRN Status = Deregistered Meter Status = "No Meter". If meter is removed, then MIRN Status = Deregistered If meter and service is removed, then MIRN status = Deregistered | 21-78 | Not Applicable | 70-30 | 74-98
SNG | No Gas | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | not applicable | Not Applicable | Not Applicable | Not Applicable
SPN | Practically No Gas | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | not applicable | Not Applicable | Not Applicable | Not Applicable
TCI (WA Only) | Install Trailer Air Coupling to stop supply of gas | Used to request a Trailer Air Coupling to be installed to stop the flow of gas. NO may also initiate for safety reasons and then provides the TCI Service Order Response to the Current user. The successful completion of this service order is: Trailer Air Coupling device installed, | M |  | MIRN status = Decommissioned, Meter status = Trailer AC. Gas flow stopped | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
TCIN (WA Only) | Install Trailer Air Coupling to stop supply of gas for non-payment | Used to request a Trailer Air Coupling to be installed to stop the flow of gas. NO may also initiate for safety reasons and then provides the TCI Service Order Response to the Current user. The successful completion of this service order is: Trailer Air Coupling device installed, This is to be used when a customer has not paid their account. | M |  | MIRN status = Decommissioned, Meter status = Trailer AC. Gas flow stopped | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
TCIU (WA Only) | Install Trailer Air Coupling to stop supply of gas for unauthorised usage (ie Non Identification) | Used to request a Trailer Air Coupling to be installed to stop the flow of gas. NO may also initiate for safety reasons and then provides the TCI Service Order Response to the Current user. The successful completion of this service order is: Trailer Air Coupling device installed, This is to be used when a customer has not contacted the retailer to set up an account. | M |  | MIRN status = Decommissioned, Meter status = Trailer AC. Gas flow stopped | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
TCIB (WA Only) | Install Trailer Air Coupling to stop supply of gas for breach of contract | Used to request a Trailer Air Coupling to be installed to stop the flow of gas.NO may also initiate for safety reasons and then provides the TCI Service Order Response to the Current user. The successful completion of this service order is: Trailer Air Coupling device installed, This is to be used when a a customer has continued to breach their contract. | M |  | MIRN status = Decommissioned, Meter status = Trailer AC. Gas flow stopped | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
TCII (WA Only) | Install Trailer Air Coupling to stop supply of gas for illegal usage | Used to request a Trailer Air Coupling to be installed to stop the flow of gas.NO may also initiate for safety reasons and then provides the TCI Service Order Response to the Current user. The successful completion of this service order is: Trailer Air Coupling device installed, This is to be used when a customer continues to illegally use gas. | M |  | MIRN status = Decommissioned, Meter status = Trailer AC. Gas flow stopped | 10-23 | Not Applicable, use no access code | 70-30 | 74-98
TCR (WA Only) | Remove Trailer Air Coupling to allow gas to flow | Used to request a Trailer Air coupling to be removed to restore supply. The successful completion of this service order is: Trailer Air Coupling device removed. | M |  | MIRN status = Commissioned, Meter Status = Turned on. Trailer Air Coupling removed from the meter. | 10-22 | Not Applicable | 70-30 | 74-98
UEF | Upstream Equipment fault | Not used in WA as User does not initiate "fault" SO. If equipment or the equipment state is altered on site due to a Fault response a Network Operator initiated SO will be raised and the User will get a SO response, which could be a MCH, AML, MRM or DSD as applicable | NA | This is a Fault and must be raised by the customer directly to the networks 24 hour emergency call centre, retailer should transfer any faults calls to the NO |  | not applicable | Not Applicable | Not Applicable | Not Applicable
UMS | Upgrade Meter Size or Pressure | Used to initiate a meter set pressure change and/or meter size change (including as required a service size upgrade) NO may initiate SO response where the meter pressure is changed for a non-meter set meter. MIRN Status typically remains as Commissioned | M | Includes upgrade of Service as required, also used as SO response for upgrade pressure |  | 10-10 | 10-98 | 70-30 | 74-98
USR | not applicable | not applicable, refer UMS | M | Not used, part of UMS |  | not applicable | not applicable | not applicable | not applicable