## Disclaimer
Disclaimer
This workbook contains data provided by or collected from third parties,
and conclusions, opinions, assumptions or forecasts that are based on that data.
AEMO has made reasonable efforts to ensure the quality of the information in this publication but cannot
guarantee that information, forecasts and assumptions are accurate, complete or appropriate for your
circumstances.
Modelling work performed as part of preparing this publication inherently requires assumptions about future
behaviours and market interactions, which may result in forecasts that deviate from future conditions. There
will usually be differences between estimated and actual results, because events and circumstances
frequently do not occur as expected, and those differences may be material.
This publication does not include all of the information that an investor, participant or potential participant in
the National Electricity Market might require, and does not amount to a recommendation of any investment.
Anyone proposing to use the information in this publication (which includes information and forecasts from
third parties) should independently verify its accuracy, completeness and suitability for purpose, and obtain
independent and specific advice from appropriate experts.
Accordingly, to the maximum extent permitted by law, AEMO and its officers, employees and consultants
involved in the preparation of this publication:
• make no representation or warranty, express or implied, as to the currency, accuracy, reliability or
completeness of the information in this publication; and
• are not liable (whether by reason of negligence or otherwise) for any statements, opinions, information
or other matters contained in or derived from this publication, or any omissions from it, or in respect of
a person’s use of the information in this publication.

## Information
This workbook contains calculated estimates for average annual firm contribution factors for VRE, by region and technology. As detailed in the 2023 ISP Methodology, these are calculated from preliminary model outcomes, and are then introduced as an input for subsequent modelling.
These firm contribution factors have been approximated by calculating the effectively load carrying capacity (ELCC) of these technologies. More details on their derivation and use can be found in the 2023 ISP Methodology, Section 2.4.3.

## Firm Contribution Factors VRE
Firm contribution factors for VRE (%)
Solar PV
Summer | [15 empty] | Winter
| Step Change |  |  |  |  | Progressive Change |  |  |  |  | Green Energy Exports | [5 empty] | Step Change |  |  |  |  | Progressive Change |  |  |  |  | Green Energy Exports
Year | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC
2024-25 | 0.085432 | 0.023912 | 0.065587 | 0.25554 | 0.23163 | 0.10371 | 0.047622 | 0.086007 | 0.26926 | 0.24666 | 0.088673 | 0.05359 | 0.076648 | 0.17782 | 0.23925 | 2024-25 | 0 | 0.0015064 | 0 | 0.048865 | 0.0043791 | 0 | 0.001958 | 0 | 0.056667 | 0.0053155 | 0 | 0.0018789 | 2.1712e-05 | 0.037256 | 0.0048644
2025-26 | 0.085432 | 0.023912 | 0.065587 | 0.25554 | 0.23163 | 0.10371 | 0.047622 | 0.086007 | 0.26926 | 0.24666 | 0.088673 | 0.05359 | 0.076648 | 0.17782 | 0.23925 | 2025-26 | 0 | 0.0015064 | 0 | 0.048865 | 0.0043791 | 0 | 0.001958 | 0 | 0.056667 | 0.0053155 | 0 | 0.0018789 | 2.1712e-05 | 0.037256 | 0.0048644
2026-27 | 0.085432 | 0.023912 | 0.065587 | 0.25554 | 0.23163 | 0.10371 | 0.047622 | 0.086007 | 0.26926 | 0.24666 | 0.088673 | 0.05359 | 0.076648 | 0.17782 | 0.23925 | 2026-27 | 0 | 0.0015064 | 0 | 0.048865 | 0.0043791 | 0 | 0.001958 | 0 | 0.056667 | 0.0053155 | 0 | 0.0018789 | 2.1712e-05 | 0.037256 | 0.0048644
2027-28 | 0.085432 | 0.023912 | 0.065587 | 0.25554 | 0.23163 | 0.10371 | 0.047622 | 0.086007 | 0.26926 | 0.24666 | 0.088673 | 0.05359 | 0.076648 | 0.17782 | 0.23925 | 2027-28 | 0 | 0.0015064 | 0 | 0.048865 | 0.0043791 | 0 | 0.001958 | 0 | 0.056667 | 0.0053155 | 0 | 0.0018789 | 2.1712e-05 | 0.037256 | 0.0048644
2028-29 | 0.085432 | 0.023912 | 0.065587 | 0.25554 | 0.23163 | 0.10371 | 0.047622 | 0.086007 | 0.26926 | 0.24666 | 0.088673 | 0.05359 | 0.076648 | 0.17782 | 0.23925 | 2028-29 | 0 | 0.0015064 | 0 | 0.048865 | 0.0043791 | 0 | 0.001958 | 0 | 0.056667 | 0.0053155 | 0 | 0.0018789 | 2.1712e-05 | 0.037256 | 0.0048644
2029-30 | 0.047755 | 0.040486 | 0.049693 | 0.22124 | 0.15292 | 0.06617 | 0.063084 | 0.072777 | 0.16303 | 0.18856 | 0.053852 | 0.027614 | 0.048823 | 0.1054 | 0.089012 | 2029-30 | 0 | 0.0013443 | 0 | 0.022075 | 0.00061678 | 0 | 0.0036449 | 0 | 0.025918 | 0.0028341 | 0 | 0.0086104 | 0.00018475 | 0.013008 | 0.00056574
2030-31 | 0.047755 | 0.040486 | 0.049693 | 0.22124 | 0.15292 | 0.06617 | 0.063084 | 0.072777 | 0.16303 | 0.18856 | 0.053852 | 0.027614 | 0.048823 | 0.1054 | 0.089012 | 2030-31 | 0 | 0.0013443 | 0 | 0.022075 | 0.00061678 | 0 | 0.0036449 | 0 | 0.025918 | 0.0028341 | 0 | 0.0086104 | 0.00018475 | 0.013008 | 0.00056574
2031-32 | 0.047755 | 0.040486 | 0.049693 | 0.22124 | 0.15292 | 0.06617 | 0.063084 | 0.072777 | 0.16303 | 0.18856 | 0.053852 | 0.027614 | 0.048823 | 0.1054 | 0.089012 | 2031-32 | 0 | 0.0013443 | 0 | 0.022075 | 0.00061678 | 0 | 0.0036449 | 0 | 0.025918 | 0.0028341 | 0 | 0.0086104 | 0.00018475 | 0.013008 | 0.00056574
2032-33 | 0.047755 | 0.040486 | 0.049693 | 0.22124 | 0.15292 | 0.06617 | 0.063084 | 0.072777 | 0.16303 | 0.18856 | 0.053852 | 0.027614 | 0.048823 | 0.1054 | 0.089012 | 2032-33 | 0 | 0.0013443 | 0 | 0.022075 | 0.00061678 | 0 | 0.0036449 | 0 | 0.025918 | 0.0028341 | 0 | 0.0086104 | 0.00018475 | 0.013008 | 0.00056574
2033-34 | 0.047755 | 0.040486 | 0.049693 | 0.22124 | 0.15292 | 0.06617 | 0.063084 | 0.072777 | 0.16303 | 0.18856 | 0.053852 | 0.027614 | 0.048823 | 0.1054 | 0.089012 | 2033-34 | 0 | 0.0013443 | 0 | 0.022075 | 0.00061678 | 0 | 0.0036449 | 0 | 0.025918 | 0.0028341 | 0 | 0.0086104 | 0.00018475 | 0.013008 | 0.00056574
2034-35 | 0.033506 | 0.020627 | 0.03299 | 0.14859 | 0.075844 | 0.056203 | 0.048658 | 0.066758 | 0.13721 | 0.15972 | 0.033767 | 0.011348 | 0.039196 | 0.08013 | 0.043799 | 2034-35 | 3.2407e-07 | 0.0017456 | 0 | 0.017318 | 0.00055143 | 0 | 0.0012837 | 0 | 0.019871 | 0.00099892 | 0 | 0.017904 | 0.00016364 | 0.0058043 | 0.00047195
2035-36 | 0.033506 | 0.020627 | 0.03299 | 0.14859 | 0.075844 | 0.056203 | 0.048658 | 0.066758 | 0.13721 | 0.15972 | 0.033767 | 0.011348 | 0.039196 | 0.08013 | 0.043799 | 2035-36 | 3.2407e-07 | 0.0017456 | 0 | 0.017318 | 0.00055143 | 0 | 0.0012837 | 0 | 0.019871 | 0.00099892 | 0 | 0.017904 | 0.00016364 | 0.0058043 | 0.00047195
2036-37 | 0.033506 | 0.020627 | 0.03299 | 0.14859 | 0.075844 | 0.056203 | 0.048658 | 0.066758 | 0.13721 | 0.15972 | 0.033767 | 0.011348 | 0.039196 | 0.08013 | 0.043799 | 2036-37 | 3.2407e-07 | 0.0017456 | 0 | 0.017318 | 0.00055143 | 0 | 0.0012837 | 0 | 0.019871 | 0.00099892 | 0 | 0.017904 | 0.00016364 | 0.0058043 | 0.00047195
2037-38 | 0.033506 | 0.020627 | 0.03299 | 0.14859 | 0.075844 | 0.056203 | 0.048658 | 0.066758 | 0.13721 | 0.15972 | 0.033767 | 0.011348 | 0.039196 | 0.08013 | 0.043799 | 2037-38 | 3.2407e-07 | 0.0017456 | 0 | 0.017318 | 0.00055143 | 0 | 0.0012837 | 0 | 0.019871 | 0.00099892 | 0 | 0.017904 | 0.00016364 | 0.0058043 | 0.00047195
2038-39 | 0.033506 | 0.020627 | 0.03299 | 0.14859 | 0.075844 | 0.056203 | 0.048658 | 0.066758 | 0.13721 | 0.15972 | 0.033767 | 0.011348 | 0.039196 | 0.08013 | 0.043799 | 2038-39 | 3.2407e-07 | 0.0017456 | 0 | 0.017318 | 0.00055143 | 0 | 0.0012837 | 0 | 0.019871 | 0.00099892 | 0 | 0.017904 | 0.00016364 | 0.0058043 | 0.00047195
2039-40 | 0.023331 | 0.01082 | 0.028265 | 0.085945 | 0.04979 | 0.051522 | 0.045805 | 0.061051 | 0.12119 | 0.13753 | 0.015565 | 0.0055672 | 0.028766 | 0.058178 | 0.036575 | 2039-40 | 1.9886e-06 | 0.0014836 | 6.6375e-05 | 0.0069047 | 0.0007283 | 0 | 0.0016837 | 5.7808e-05 | 0.019878 | 0.0002131 | 0 | 0.012375 | 0.00018633 | 0.002138 | 0.00041793
2040-41 | 0.023331 | 0.01082 | 0.028265 | 0.085945 | 0.04979 | 0.051522 | 0.045805 | 0.061051 | 0.12119 | 0.13753 | 0.015565 | 0.0055672 | 0.028766 | 0.058178 | 0.036575 | 2040-41 | 1.9886e-06 | 0.0014836 | 6.6375e-05 | 0.0069047 | 0.0007283 | 0 | 0.0016837 | 5.7808e-05 | 0.019878 | 0.0002131 | 0 | 0.012375 | 0.00018633 | 0.002138 | 0.00041793
2041-42 | 0.023331 | 0.01082 | 0.028265 | 0.085945 | 0.04979 | 0.051522 | 0.045805 | 0.061051 | 0.12119 | 0.13753 | 0.015565 | 0.0055672 | 0.028766 | 0.058178 | 0.036575 | 2041-42 | 1.9886e-06 | 0.0014836 | 6.6375e-05 | 0.0069047 | 0.0007283 | 0 | 0.0016837 | 5.7808e-05 | 0.019878 | 0.0002131 | 0 | 0.012375 | 0.00018633 | 0.002138 | 0.00041793
2042-43 | 0.023331 | 0.01082 | 0.028265 | 0.085945 | 0.04979 | 0.051522 | 0.045805 | 0.061051 | 0.12119 | 0.13753 | 0.015565 | 0.0055672 | 0.028766 | 0.058178 | 0.036575 | 2042-43 | 1.9886e-06 | 0.0014836 | 6.6375e-05 | 0.0069047 | 0.0007283 | 0 | 0.0016837 | 5.7808e-05 | 0.019878 | 0.0002131 | 0 | 0.012375 | 0.00018633 | 0.002138 | 0.00041793
2043-44 | 0.023331 | 0.01082 | 0.028265 | 0.085945 | 0.04979 | 0.051522 | 0.045805 | 0.061051 | 0.12119 | 0.13753 | 0.015565 | 0.0055672 | 0.028766 | 0.058178 | 0.036575 | 2043-44 | 1.9886e-06 | 0.0014836 | 6.6375e-05 | 0.0069047 | 0.0007283 | 0 | 0.0016837 | 5.7808e-05 | 0.019878 | 0.0002131 | 0 | 0.012375 | 0.00018633 | 0.002138 | 0.00041793
2044-45 | 0.019655 | 0.0064348 | 0.027907 | 0.082752 | 0.032272 | 0.036523 | 0.033733 | 0.053382 | 0.097871 | 0.087667 | 0.01284 | 0.00589 | 0.026182 | 0.04279 | 0.026103 | 2044-45 | 0 | 0.0020358 | 4.4374e-05 | 0.0029914 | 0.00016045 | 0 | 0.0010011 | 0.00013016 | 0.019863 | 0.00027482 | 2.3601e-06 | 0.014999 | 0.00038462 | 0.0016047 | 0.00057347
2045-46 | 0.019655 | 0.0064348 | 0.027907 | 0.082752 | 0.032272 | 0.036523 | 0.033733 | 0.053382 | 0.097871 | 0.087667 | 0.01284 | 0.00589 | 0.026182 | 0.04279 | 0.026103 | 2045-46 | 0 | 0.0020358 | 4.4374e-05 | 0.0029914 | 0.00016045 | 0 | 0.0010011 | 0.00013016 | 0.019863 | 0.00027482 | 2.3601e-06 | 0.014999 | 0.00038462 | 0.0016047 | 0.00057347
2046-47 | 0.019655 | 0.0064348 | 0.027907 | 0.082752 | 0.032272 | 0.036523 | 0.033733 | 0.053382 | 0.097871 | 0.087667 | 0.01284 | 0.00589 | 0.026182 | 0.04279 | 0.026103 | 2046-47 | 0 | 0.0020358 | 4.4374e-05 | 0.0029914 | 0.00016045 | 0 | 0.0010011 | 0.00013016 | 0.019863 | 0.00027482 | 2.3601e-06 | 0.014999 | 0.00038462 | 0.0016047 | 0.00057347
2047-48 | 0.019655 | 0.0064348 | 0.027907 | 0.082752 | 0.032272 | 0.036523 | 0.033733 | 0.053382 | 0.097871 | 0.087667 | 0.01284 | 0.00589 | 0.026182 | 0.04279 | 0.026103 | 2047-48 | 0 | 0.0020358 | 4.4374e-05 | 0.0029914 | 0.00016045 | 0 | 0.0010011 | 0.00013016 | 0.019863 | 0.00027482 | 2.3601e-06 | 0.014999 | 0.00038462 | 0.0016047 | 0.00057347
2048-49 | 0.019655 | 0.0064348 | 0.027907 | 0.082752 | 0.032272 | 0.036523 | 0.033733 | 0.053382 | 0.097871 | 0.087667 | 0.01284 | 0.00589 | 0.026182 | 0.04279 | 0.026103 | 2048-49 | 0 | 0.0020358 | 4.4374e-05 | 0.0029914 | 0.00016045 | 0 | 0.0010011 | 0.00013016 | 0.019863 | 0.00027482 | 2.3601e-06 | 0.014999 | 0.00038462 | 0.0016047 | 0.00057347
2049-50 | 0.016829 | 0.005644 | 0.023378 | 0.065252 | 0.024641 | 0.036273 | 0.02996 | 0.061087 | 0.095693 | 0.043057 | 0.011696 | 0.0050161 | 0.019707 | 0.044653 | 0.019356 | 2049-50 | 0 | 0.0019793 | 4.387e-05 | 0.00049455 | 9.8568e-05 | 3.0246e-06 | 0.0023973 | 0 | 0.0069152 | 0 | 3.6005e-06 | 0.013148 | 0.00031885 | 0.00034318 | 0.0026495
2050-51 | 0.016829 | 0.005644 | 0.023378 | 0.065252 | 0.024641 | 0.036273 | 0.02996 | 0.061087 | 0.095693 | 0.043057 | 0.011696 | 0.0050161 | 0.019707 | 0.044653 | 0.019356 | 2050-51 | 0 | 0.0019793 | 4.387e-05 | 0.00049455 | 9.8568e-05 | 3.0246e-06 | 0.0023973 | 0 | 0.0069152 | 0 | 3.6005e-06 | 0.013148 | 0.00031885 | 0.00034318 | 0.0026495
2051-52 | 0.016829 | 0.005644 | 0.023378 | 0.065252 | 0.024641 | 0.036273 | 0.02996 | 0.061087 | 0.095693 | 0.043057 | 0.011696 | 0.0050161 | 0.019707 | 0.044653 | 0.019356 | 2051-52 | 0 | 0.0019793 | 4.387e-05 | 0.00049455 | 9.8568e-05 | 3.0246e-06 | 0.0023973 | 0 | 0.0069152 | 0 | 3.6005e-06 | 0.013148 | 0.00031885 | 0.00034318 | 0.0026495
Onshore Wind
Summer | [15 empty] | Winter
| Step Change NSW: Step Change; Progressive Change NSW: Progressive Change; Green Energy Exports NSW: Green Energy Exports |  | Step Change |  |  |  |  | Progressive Change |  |  |  |  | Green Energy Exports
Year | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | Year | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC | NSW | QLD | SA | TAS | VIC
2024-25 | 0.23932 | 0.21401 | 0.164 | 0.13188 | 0.21223 | 0.23245 | 0.21124 | 0.1684 | 0.14189 | 0.20791 | 0.23144 | 0.20192 | 0.15436 | 0.13795 | 0.207 | 2024-25 | 0.23254 | 0.27667 | 0.11314 | 0.078665 | 0.1139 | 0.22301 | 0.25597 | 0.12036 | 0.076741 | 0.11834 | 0.20511 | 0.23521 | 0.093624 | 0.076505 | 0.091851
2025-26 | 0.23932 | 0.21401 | 0.164 | 0.13188 | 0.21223 | 0.23245 | 0.21124 | 0.1684 | 0.14189 | 0.20791 | 0.23144 | 0.20192 | 0.15436 | 0.13795 | 0.207 | 2025-26 | 0.23254 | 0.27667 | 0.11314 | 0.078665 | 0.1139 | 0.22301 | 0.25597 | 0.12036 | 0.076741 | 0.11834 | 0.20511 | 0.23521 | 0.093624 | 0.076505 | 0.091851
2026-27 | 0.23932 | 0.21401 | 0.164 | 0.13188 | 0.21223 | 0.23245 | 0.21124 | 0.1684 | 0.14189 | 0.20791 | 0.23144 | 0.20192 | 0.15436 | 0.13795 | 0.207 | 2026-27 | 0.23254 | 0.27667 | 0.11314 | 0.078665 | 0.1139 | 0.22301 | 0.25597 | 0.12036 | 0.076741 | 0.11834 | 0.20511 | 0.23521 | 0.093624 | 0.076505 | 0.091851
2027-28 | 0.23932 | 0.21401 | 0.164 | 0.13188 | 0.21223 | 0.23245 | 0.21124 | 0.1684 | 0.14189 | 0.20791 | 0.23144 | 0.20192 | 0.15436 | 0.13795 | 0.207 | 2027-28 | 0.23254 | 0.27667 | 0.11314 | 0.078665 | 0.1139 | 0.22301 | 0.25597 | 0.12036 | 0.076741 | 0.11834 | 0.20511 | 0.23521 | 0.093624 | 0.076505 | 0.091851
2028-29 | 0.23932 | 0.21401 | 0.164 | 0.13188 | 0.21223 | 0.23245 | 0.21124 | 0.1684 | 0.14189 | 0.20791 | 0.23144 | 0.20192 | 0.15436 | 0.13795 | 0.207 | 2028-29 | 0.23254 | 0.27667 | 0.11314 | 0.078665 | 0.1139 | 0.22301 | 0.25597 | 0.12036 | 0.076741 | 0.11834 | 0.20511 | 0.23521 | 0.093624 | 0.076505 | 0.091851
2029-30 | 0.17596 | 0.17341 | 0.16055 | 0.070438 | 0.19764 | 0.18777 | 0.18154 | 0.17696 | 0.090369 | 0.19973 | 0.17806 | 0.14228 | 0.12885 | 0.046148 | 0.20451 | 2029-30 | 0.15839 | 0.16072 | 0.095495 | 0.049617 | 0.068938 | 0.18491 | 0.22742 | 0.12116 | 0.065926 | 0.072065 | 0.12673 | 0.13267 | 0.057548 | 0.025803 | 0.045761
2030-31 | 0.17596 | 0.17341 | 0.16055 | 0.070438 | 0.19764 | 0.18777 | 0.18154 | 0.17696 | 0.090369 | 0.19973 | 0.17806 | 0.14228 | 0.12885 | 0.046148 | 0.20451 | 2030-31 | 0.15839 | 0.16072 | 0.095495 | 0.049617 | 0.068938 | 0.18491 | 0.22742 | 0.12116 | 0.065926 | 0.072065 | 0.12673 | 0.13267 | 0.057548 | 0.025803 | 0.045761
2031-32 | 0.17596 | 0.17341 | 0.16055 | 0.070438 | 0.19764 | 0.18777 | 0.18154 | 0.17696 | 0.090369 | 0.19973 | 0.17806 | 0.14228 | 0.12885 | 0.046148 | 0.20451 | 2031-32 | 0.15839 | 0.16072 | 0.095495 | 0.049617 | 0.068938 | 0.18491 | 0.22742 | 0.12116 | 0.065926 | 0.072065 | 0.12673 | 0.13267 | 0.057548 | 0.025803 | 0.045761
2032-33 | 0.17596 | 0.17341 | 0.16055 | 0.070438 | 0.19764 | 0.18777 | 0.18154 | 0.17696 | 0.090369 | 0.19973 | 0.17806 | 0.14228 | 0.12885 | 0.046148 | 0.20451 | 2032-33 | 0.15839 | 0.16072 | 0.095495 | 0.049617 | 0.068938 | 0.18491 | 0.22742 | 0.12116 | 0.065926 | 0.072065 | 0.12673 | 0.13267 | 0.057548 | 0.025803 | 0.045761
2033-34 | 0.17596 | 0.17341 | 0.16055 | 0.070438 | 0.19764 | 0.18777 | 0.18154 | 0.17696 | 0.090369 | 0.19973 | 0.17806 | 0.14228 | 0.12885 | 0.046148 | 0.20451 | 2033-34 | 0.15839 | 0.16072 | 0.095495 | 0.049617 | 0.068938 | 0.18491 | 0.22742 | 0.12116 | 0.065926 | 0.072065 | 0.12673 | 0.13267 | 0.057548 | 0.025803 | 0.045761
2034-35 | 0.16333 | 0.15665 | 0.16759 | 0.069025 | 0.18831 | 0.19188 | 0.19022 | 0.18957 | 0.071112 | 0.18205 | 0.18179 | 0.10891 | 0.13315 | 0.048142 | 0.15458 | 2034-35 | 0.13461 | 0.13183 | 0.090134 | 0.046841 | 0.066421 | 0.18557 | 0.20429 | 0.14161 | 0.058843 | 0.056678 | 0.11819 | 0.12586 | 0.05421 | 0.02553 | 0.040037
2035-36 | 0.16333 | 0.15665 | 0.16759 | 0.069025 | 0.18831 | 0.19188 | 0.19022 | 0.18957 | 0.071112 | 0.18205 | 0.18179 | 0.10891 | 0.13315 | 0.048142 | 0.15458 | 2035-36 | 0.13461 | 0.13183 | 0.090134 | 0.046841 | 0.066421 | 0.18557 | 0.20429 | 0.14161 | 0.058843 | 0.056678 | 0.11819 | 0.12586 | 0.05421 | 0.02553 | 0.040037
2036-37 | 0.16333 | 0.15665 | 0.16759 | 0.069025 | 0.18831 | 0.19188 | 0.19022 | 0.18957 | 0.071112 | 0.18205 | 0.18179 | 0.10891 | 0.13315 | 0.048142 | 0.15458 | 2036-37 | 0.13461 | 0.13183 | 0.090134 | 0.046841 | 0.066421 | 0.18557 | 0.20429 | 0.14161 | 0.058843 | 0.056678 | 0.11819 | 0.12586 | 0.05421 | 0.02553 | 0.040037
2037-38 | 0.16333 | 0.15665 | 0.16759 | 0.069025 | 0.18831 | 0.19188 | 0.19022 | 0.18957 | 0.071112 | 0.18205 | 0.18179 | 0.10891 | 0.13315 | 0.048142 | 0.15458 | 2037-38 | 0.13461 | 0.13183 | 0.090134 | 0.046841 | 0.066421 | 0.18557 | 0.20429 | 0.14161 | 0.058843 | 0.056678 | 0.11819 | 0.12586 | 0.05421 | 0.02553 | 0.040037
2038-39 | 0.16333 | 0.15665 | 0.16759 | 0.069025 | 0.18831 | 0.19188 | 0.19022 | 0.18957 | 0.071112 | 0.18205 | 0.18179 | 0.10891 | 0.13315 | 0.048142 | 0.15458 | 2038-39 | 0.13461 | 0.13183 | 0.090134 | 0.046841 | 0.066421 | 0.18557 | 0.20429 | 0.14161 | 0.058843 | 0.056678 | 0.11819 | 0.12586 | 0.05421 | 0.02553 | 0.040037
2039-40 | 0.16021 | 0.14501 | 0.17484 | 0.073153 | 0.18458 | 0.17927 | 0.19194 | 0.21451 | 0.066444 | 0.17679 | 0.18215 | 0.099256 | 0.14416 | 0.036003 | 0.13891 | 2039-40 | 0.11506 | 0.10949 | 0.078877 | 0.046374 | 0.057542 | 0.16821 | 0.18591 | 0.16493 | 0.056975 | 0.04817 | 0.10682 | 0.11661 | 0.049526 | 0.016417 | 0.032789
2040-41 | 0.16021 | 0.14501 | 0.17484 | 0.073153 | 0.18458 | 0.17927 | 0.19194 | 0.21451 | 0.066444 | 0.17679 | 0.18215 | 0.099256 | 0.14416 | 0.036003 | 0.13891 | 2040-41 | 0.11506 | 0.10949 | 0.078877 | 0.046374 | 0.057542 | 0.16821 | 0.18591 | 0.16493 | 0.056975 | 0.04817 | 0.10682 | 0.11661 | 0.049526 | 0.016417 | 0.032789
2041-42 | 0.16021 | 0.14501 | 0.17484 | 0.073153 | 0.18458 | 0.17927 | 0.19194 | 0.21451 | 0.066444 | 0.17679 | 0.18215 | 0.099256 | 0.14416 | 0.036003 | 0.13891 | 2041-42 | 0.11506 | 0.10949 | 0.078877 | 0.046374 | 0.057542 | 0.16821 | 0.18591 | 0.16493 | 0.056975 | 0.04817 | 0.10682 | 0.11661 | 0.049526 | 0.016417 | 0.032789
2042-43 | 0.16021 | 0.14501 | 0.17484 | 0.073153 | 0.18458 | 0.17927 | 0.19194 | 0.21451 | 0.066444 | 0.17679 | 0.18215 | 0.099256 | 0.14416 | 0.036003 | 0.13891 | 2042-43 | 0.11506 | 0.10949 | 0.078877 | 0.046374 | 0.057542 | 0.16821 | 0.18591 | 0.16493 | 0.056975 | 0.04817 | 0.10682 | 0.11661 | 0.049526 | 0.016417 | 0.032789
2043-44 | 0.16021 | 0.14501 | 0.17484 | 0.073153 | 0.18458 | 0.17927 | 0.19194 | 0.21451 | 0.066444 | 0.17679 | 0.18215 | 0.099256 | 0.14416 | 0.036003 | 0.13891 | 2043-44 | 0.11506 | 0.10949 | 0.078877 | 0.046374 | 0.057542 | 0.16821 | 0.18591 | 0.16493 | 0.056975 | 0.04817 | 0.10682 | 0.11661 | 0.049526 | 0.016417 | 0.032789
2044-45 | 0.15704 | 0.13259 | 0.17098 | 0.081279 | 0.18385 | 0.16876 | 0.17811 | 0.20581 | 0.069316 | 0.18145 | 0.17561 | 0.083882 | 0.11956 | 0.039438 | 0.13558 | 2044-45 | 0.090224 | 0.098203 | 0.06653 | 0.045946 | 0.048121 | 0.15641 | 0.16816 | 0.12742 | 0.059457 | 0.048726 | 0.080228 | 0.09567 | 0.038227 | 0.01627 | 0.029903
2045-46 | 0.15704 | 0.13259 | 0.17098 | 0.081279 | 0.18385 | 0.16876 | 0.17811 | 0.20581 | 0.069316 | 0.18145 | 0.17561 | 0.083882 | 0.11956 | 0.039438 | 0.13558 | 2045-46 | 0.090224 | 0.098203 | 0.06653 | 0.045946 | 0.048121 | 0.15641 | 0.16816 | 0.12742 | 0.059457 | 0.048726 | 0.080228 | 0.09567 | 0.038227 | 0.01627 | 0.029903
2046-47 | 0.15704 | 0.13259 | 0.17098 | 0.081279 | 0.18385 | 0.16876 | 0.17811 | 0.20581 | 0.069316 | 0.18145 | 0.17561 | 0.083882 | 0.11956 | 0.039438 | 0.13558 | 2046-47 | 0.090224 | 0.098203 | 0.06653 | 0.045946 | 0.048121 | 0.15641 | 0.16816 | 0.12742 | 0.059457 | 0.048726 | 0.080228 | 0.09567 | 0.038227 | 0.01627 | 0.029903
2047-48 | 0.15704 | 0.13259 | 0.17098 | 0.081279 | 0.18385 | 0.16876 | 0.17811 | 0.20581 | 0.069316 | 0.18145 | 0.17561 | 0.083882 | 0.11956 | 0.039438 | 0.13558 | 2047-48 | 0.090224 | 0.098203 | 0.06653 | 0.045946 | 0.048121 | 0.15641 | 0.16816 | 0.12742 | 0.059457 | 0.048726 | 0.080228 | 0.09567 | 0.038227 | 0.01627 | 0.029903
2048-49 | 0.15704 | 0.13259 | 0.17098 | 0.081279 | 0.18385 | 0.16876 | 0.17811 | 0.20581 | 0.069316 | 0.18145 | 0.17561 | 0.083882 | 0.11956 | 0.039438 | 0.13558 | 2048-49 | 0.090224 | 0.098203 | 0.06653 | 0.045946 | 0.048121 | 0.15641 | 0.16816 | 0.12742 | 0.059457 | 0.048726 | 0.080228 | 0.09567 | 0.038227 | 0.01627 | 0.029903
2049-50 | 0.15703 | 0.13151 | 0.16749 | 0.09498 | 0.17744 | 0.14923 | 0.15483 | 0.20535 | 0.069702 | 0.16595 | 0.15018 | 0.076885 | 0.1146 | 0.033695 | 0.12945 | 2049-50 | 0.079587 | 0.096575 | 0.057584 | 0.042913 | 0.042907 | 0.13182 | 0.13971 | 0.10522 | 0.052393 | 0.048741 | 0.063191 | 0.086402 | 0.03866 | 0.013244 | 0.03667
2050-51 | 0.15703 | 0.13151 | 0.16749 | 0.09498 | 0.17744 | 0.14923 | 0.15483 | 0.20535 | 0.069702 | 0.16595 | 0.15018 | 0.076885 | 0.1146 | 0.033695 | 0.12945 | 2050-51 | 0.079587 | 0.096575 | 0.057584 | 0.042913 | 0.042907 | 0.13182 | 0.13971 | 0.10522 | 0.052393 | 0.048741 | 0.063191 | 0.086402 | 0.03866 | 0.013244 | 0.03667
2051-52 | 0.15703 | 0.13151 | 0.16749 | 0.09498 | 0.17744 | 0.14923 | 0.15483 | 0.20535 | 0.069702 | 0.16595 | 0.15018 | 0.076885 | 0.1146 | 0.033695 | 0.12945 | 2051-52 | 0.079587 | 0.096575 | 0.057584 | 0.042913 | 0.042907 | 0.13182 | 0.13971 | 0.10522 | 0.052393 | 0.048741 | 0.063191 | 0.086402 | 0.03866 | 0.013244 | 0.03667
Offshore Wind
Summer | [15 empty] | Winter
| Step Change NSW: Step Change; Step Change VIC: Progressive Change; Progressive Change TAS: Green Energy Exports |  | Step Change |  |  |  | Progressive Change |  |  |  | Green Energy Exports
Year | NSW | SA | TAS | VIC | NSW | SA | TAS | VIC | NSW | SA | TAS | VIC |  |  |  | Year | NSW | SA | TAS | VIC | NSW | SA | TAS | VIC | NSW | SA | TAS | VIC
2024-25 | 0.65919 | 0.28095 | 0.13498 | 0.36223 | 0.66359 | 0.31833 | 0.16801 | 0.3675 | 0.64126 | 0.24528 | 0.11621 | 0.29197 |  |  |  | 2024-25 | 0.32064 | 0.090715 | 0.067017 | 0.077558 | 0.30569 | 0.12263 | 0.056892 | 0.088978 | 0.29369 | 0.071987 | 0.047599 | 0.06589
2025-26 | 0.65919 | 0.28095 | 0.13498 | 0.36223 | 0.66359 | 0.31833 | 0.16801 | 0.3675 | 0.64126 | 0.24528 | 0.11621 | 0.29197 |  |  |  | 2025-26 | 0.32064 | 0.090715 | 0.067017 | 0.077558 | 0.30569 | 0.12263 | 0.056892 | 0.088978 | 0.29369 | 0.071987 | 0.047599 | 0.06589
2026-27 | 0.65919 | 0.28095 | 0.13498 | 0.36223 | 0.66359 | 0.31833 | 0.16801 | 0.3675 | 0.64126 | 0.24528 | 0.11621 | 0.29197 |  |  |  | 2026-27 | 0.32064 | 0.090715 | 0.067017 | 0.077558 | 0.30569 | 0.12263 | 0.056892 | 0.088978 | 0.29369 | 0.071987 | 0.047599 | 0.06589
2027-28 | 0.65919 | 0.28095 | 0.13498 | 0.36223 | 0.66359 | 0.31833 | 0.16801 | 0.3675 | 0.64126 | 0.24528 | 0.11621 | 0.29197 |  |  |  | 2027-28 | 0.32064 | 0.090715 | 0.067017 | 0.077558 | 0.30569 | 0.12263 | 0.056892 | 0.088978 | 0.29369 | 0.071987 | 0.047599 | 0.06589
2028-29 | 0.65919 | 0.28095 | 0.13498 | 0.36223 | 0.66359 | 0.31833 | 0.16801 | 0.3675 | 0.64126 | 0.24528 | 0.11621 | 0.29197 |  |  |  | 2028-29 | 0.32064 | 0.090715 | 0.067017 | 0.077558 | 0.30569 | 0.12263 | 0.056892 | 0.088978 | 0.29369 | 0.071987 | 0.047599 | 0.06589
2029-30 | 0.68873 | 0.21957 | 0.037961 | 0.3562 | 0.6611 | 0.34169 | 0.059608 | 0.37942 | 0.64764 | 0.22143 | 0.039673 | 0.17376 |  |  |  | 2029-30 | 0.19165 | 0.037113 | 0.017577 | 0.048616 | 0.27297 | 0.083086 | 0.05012 | 0.068048 | 0.17162 | 0.041539 | 0.016988 | 0.032111
2030-31 | 0.68873 | 0.21957 | 0.037961 | 0.3562 | 0.6611 | 0.34169 | 0.059608 | 0.37942 | 0.64764 | 0.22143 | 0.039673 | 0.17376 |  |  |  | 2030-31 | 0.19165 | 0.037113 | 0.017577 | 0.048616 | 0.27297 | 0.083086 | 0.05012 | 0.068048 | 0.17162 | 0.041539 | 0.016988 | 0.032111
2031-32 | 0.68873 | 0.21957 | 0.037961 | 0.3562 | 0.6611 | 0.34169 | 0.059608 | 0.37942 | 0.64764 | 0.22143 | 0.039673 | 0.17376 |  |  |  | 2031-32 | 0.19165 | 0.037113 | 0.017577 | 0.048616 | 0.27297 | 0.083086 | 0.05012 | 0.068048 | 0.17162 | 0.041539 | 0.016988 | 0.032111
2032-33 | 0.68873 | 0.21957 | 0.037961 | 0.3562 | 0.6611 | 0.34169 | 0.059608 | 0.37942 | 0.64764 | 0.22143 | 0.039673 | 0.17376 |  |  |  | 2032-33 | 0.19165 | 0.037113 | 0.017577 | 0.048616 | 0.27297 | 0.083086 | 0.05012 | 0.068048 | 0.17162 | 0.041539 | 0.016988 | 0.032111
2033-34 | 0.68873 | 0.21957 | 0.037961 | 0.3562 | 0.6611 | 0.34169 | 0.059608 | 0.37942 | 0.64764 | 0.22143 | 0.039673 | 0.17376 |  |  |  | 2033-34 | 0.19165 | 0.037113 | 0.017577 | 0.048616 | 0.27297 | 0.083086 | 0.05012 | 0.068048 | 0.17162 | 0.041539 | 0.016988 | 0.032111
2034-35 | 0.67276 | 0.22067 | 0.044462 | 0.21004 | 0.6682 | 0.35031 | 0.039748 | 0.26444 | 0.53466 | 0.20879 | 0.041777 | 0.17608 |  |  |  | 2034-35 | 0.17805 | 0.024989 | 0.015211 | 0.028444 | 0.26949 | 0.085038 | 0.060924 | 0.04691 | 0.10208 | 0.043801 | 0.017044 | 0.037012
2035-36 | 0.67276 | 0.22067 | 0.044462 | 0.21004 | 0.6682 | 0.35031 | 0.039748 | 0.26444 | 0.53466 | 0.20879 | 0.041777 | 0.17608 |  |  |  | 2035-36 | 0.17805 | 0.024989 | 0.015211 | 0.028444 | 0.26949 | 0.085038 | 0.060924 | 0.04691 | 0.10208 | 0.043801 | 0.017044 | 0.037012
2036-37 | 0.67276 | 0.22067 | 0.044462 | 0.21004 | 0.6682 | 0.35031 | 0.039748 | 0.26444 | 0.53466 | 0.20879 | 0.041777 | 0.17608 |  |  |  | 2036-37 | 0.17805 | 0.024989 | 0.015211 | 0.028444 | 0.26949 | 0.085038 | 0.060924 | 0.04691 | 0.10208 | 0.043801 | 0.017044 | 0.037012
2037-38 | 0.67276 | 0.22067 | 0.044462 | 0.21004 | 0.6682 | 0.35031 | 0.039748 | 0.26444 | 0.53466 | 0.20879 | 0.041777 | 0.17608 |  |  |  | 2037-38 | 0.17805 | 0.024989 | 0.015211 | 0.028444 | 0.26949 | 0.085038 | 0.060924 | 0.04691 | 0.10208 | 0.043801 | 0.017044 | 0.037012
2038-39 | 0.67276 | 0.22067 | 0.044462 | 0.21004 | 0.6682 | 0.35031 | 0.039748 | 0.26444 | 0.53466 | 0.20879 | 0.041777 | 0.17608 |  |  |  | 2038-39 | 0.17805 | 0.024989 | 0.015211 | 0.028444 | 0.26949 | 0.085038 | 0.060924 | 0.04691 | 0.10208 | 0.043801 | 0.017044 | 0.037012
2039-40 | 0.66487 | 0.21925 | 0.060003 | 0.16779 | 0.66976 | 0.40611 | 0.038031 | 0.22336 | 0.52486 | 0.21289 | 0.062897 | 0.15678 |  |  |  | 2039-40 | 0.15399 | 0.026484 | 0.013898 | 0.026929 | 0.17862 | 0.088876 | 0.052056 | 0.039242 | 0.085093 | 0.031513 | 0.012365 | 0.031296
2040-41 | 0.66487 | 0.21925 | 0.060003 | 0.16779 | 0.66976 | 0.40611 | 0.038031 | 0.22336 | 0.52486 | 0.21289 | 0.062897 | 0.15678 |  |  |  | 2040-41 | 0.15399 | 0.026484 | 0.013898 | 0.026929 | 0.17862 | 0.088876 | 0.052056 | 0.039242 | 0.085093 | 0.031513 | 0.012365 | 0.031296
2041-42 | 0.66487 | 0.21925 | 0.060003 | 0.16779 | 0.66976 | 0.40611 | 0.038031 | 0.22336 | 0.52486 | 0.21289 | 0.062897 | 0.15678 |  |  |  | 2041-42 | 0.15399 | 0.026484 | 0.013898 | 0.026929 | 0.17862 | 0.088876 | 0.052056 | 0.039242 | 0.085093 | 0.031513 | 0.012365 | 0.031296
2042-43 | 0.66487 | 0.21925 | 0.060003 | 0.16779 | 0.66976 | 0.40611 | 0.038031 | 0.22336 | 0.52486 | 0.21289 | 0.062897 | 0.15678 |  |  |  | 2042-43 | 0.15399 | 0.026484 | 0.013898 | 0.026929 | 0.17862 | 0.088876 | 0.052056 | 0.039242 | 0.085093 | 0.031513 | 0.012365 | 0.031296
2043-44 | 0.66487 | 0.21925 | 0.060003 | 0.16779 | 0.66976 | 0.40611 | 0.038031 | 0.22336 | 0.52486 | 0.21289 | 0.062897 | 0.15678 |  |  |  | 2043-44 | 0.15399 | 0.026484 | 0.013898 | 0.026929 | 0.17862 | 0.088876 | 0.052056 | 0.039242 | 0.085093 | 0.031513 | 0.012365 | 0.031296
2044-45 | 0.66131 | 0.19028 | 0.039333 | 0.16783 | 0.69119 | 0.367 | 0.047287 | 0.22857 | 0.48214 | 0.07809 | 0.064429 | 0.14737 |  |  |  | 2044-45 | 0.10979 | 0.027926 | 0.025339 | 0.02685 | 0.15377 | 0.08191 | 0.042765 | 0.033651 | 0.081347 | 0.027048 | 0.026805 | 0.030676
2045-46 | 0.66131 | 0.19028 | 0.039333 | 0.16783 | 0.69119 | 0.367 | 0.047287 | 0.22857 | 0.48214 | 0.07809 | 0.064429 | 0.14737 |  |  |  | 2045-46 | 0.10979 | 0.027926 | 0.025339 | 0.02685 | 0.15377 | 0.08191 | 0.042765 | 0.033651 | 0.081347 | 0.027048 | 0.026805 | 0.030676
2046-47 | 0.66131 | 0.19028 | 0.039333 | 0.16783 | 0.69119 | 0.367 | 0.047287 | 0.22857 | 0.48214 | 0.07809 | 0.064429 | 0.14737 |  |  |  | 2046-47 | 0.10979 | 0.027926 | 0.025339 | 0.02685 | 0.15377 | 0.08191 | 0.042765 | 0.033651 | 0.081347 | 0.027048 | 0.026805 | 0.030676
2047-48 | 0.66131 | 0.19028 | 0.039333 | 0.16783 | 0.69119 | 0.367 | 0.047287 | 0.22857 | 0.48214 | 0.07809 | 0.064429 | 0.14737 |  |  |  | 2047-48 | 0.10979 | 0.027926 | 0.025339 | 0.02685 | 0.15377 | 0.08191 | 0.042765 | 0.033651 | 0.081347 | 0.027048 | 0.026805 | 0.030676
2048-49 | 0.66131 | 0.19028 | 0.039333 | 0.16783 | 0.69119 | 0.367 | 0.047287 | 0.22857 | 0.48214 | 0.07809 | 0.064429 | 0.14737 |  |  |  | 2048-49 | 0.10979 | 0.027926 | 0.025339 | 0.02685 | 0.15377 | 0.08191 | 0.042765 | 0.033651 | 0.081347 | 0.027048 | 0.026805 | 0.030676
2049-50 | 0.65435 | 0.17665 | 0.057147 | 0.15706 | 0.68771 | 0.31573 | 0.12367 | 0.22213 | 0.46926 | 0.085463 | 0.0492 | 0.13167 |  |  |  | 2049-50 | 0.12189 | 0.025214 | 0.032833 | 0.024429 | 0.15578 | 0.078536 | 0.04687 | 0.033269 | 0.084405 | 0.0274 | 0.013029 | 0.030702
2050-51 | 0.65435 | 0.17665 | 0.057147 | 0.15706 | 0.68771 | 0.31573 | 0.12367 | 0.22213 | 0.46926 | 0.085463 | 0.0492 | 0.13167 |  |  |  | 2050-51 | 0.12189 | 0.025214 | 0.032833 | 0.024429 | 0.15578 | 0.078536 | 0.04687 | 0.033269 | 0.084405 | 0.0274 | 0.013029 | 0.030702
2051-52 | 0.65435 | 0.17665 | 0.057147 | 0.15706 | 0.68771 | 0.31573 | 0.12367 | 0.22213 | 0.46926 | 0.085463 | 0.0492 | 0.13167 |  |  |  | 2051-52 | 0.12189 | 0.025214 | 0.032833 | 0.024429 | 0.15578 | 0.078536 | 0.04687 | 0.033269 | 0.084405 | 0.0274 | 0.013029 | 0.030702